## Sheet1
Report date: | 16:18:39, 09/02/2024
Sample: | 1
File name:
Run date: | 16:08:22, 09/02/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 230.0 nm
EX End WL: | 520.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 600.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 235.0/515.0 | 312.3
2 | 240.0/525.0 | 281.3
3 | 245.0/535.0 | 251.3
4 | 250.0/275.0 | 561.2
5 | 250.0/550.0 | 231.3
6 | 255.0/280.0 | 620.4
7 | 255.0/560.0 | 218.2
8 | 260.0/290.0 | 791.9
9 | 260.0/575.0 | 196.4
10 | 265.0/295.0 | 1150
11 | 265.0/585.0 | 191.3
12 | 270.0/300.0 | 1659
13 | 275.0/305.0 | 1839
14 | 275.0/345.0 | 2754
15 | 280.0/315.0 | 1949
16 | 285.0/320.0 | 1921
17 | 315.0/355.0 | 522.7
18 | 320.0/360.0 | 462.2
19 | 325.0/365.0 | 392.1
20 | 330.0/375.0 | 401.4
21 | 335.0/380.0 | 400
22 | 340.0/385.0 | 384.9
23 | 345.0/395.0 | 394.8
24 | 350.0/400.0 | 401.4
25 | 355.0/405.0 | 390
26 | 360.0/410.0 | 365.3
27 | 365.0/420.0 | 346.6
28 | 365.0/510.0 | 196.8
29 | 370.0/425.0 | 310.5
30 | 370.0/505.0 | 196.7
31 | 380.0/440.0 | 234.4
32 | 385.0/445.0 | 212.8
33 | 390.0/450.0 | 183.5
34 | 395.0/460.0 | 154
35 | 400.0/465.0 | 137.8
36 | 405.0/470.0 | 117.7
37 | 410.0/480.0 | 99.48
38 | 415.0/485.0 | 94.62
39 | 435.0/515.0 | 136
40 | 440.0/520.0 | 142.2
41 | 445.0/305.0 | 4.815
42 | 445.0/525.0 | 135
43 | 455.0/335.0 | 6.064
44 | 460.0/345.0 | 5.668
45 | 465.0/350.0 | 5.784
46 | 510.0/280.0 | 7.963
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450 | 455 | 460 | 465 | 470 | 475 | 480 | 485 | 490 | 495 | 500 | 505 | 510 | 515 | 520
270 | 41.11 | 26.66 | 81.01 | 476 | 266.6 | 52.4 | 105.8 | 6540 | 9999.9 | 2321 | 21.85 | 11.93 | 7.864 | 6.259 | 5.345 | 4.44 | 3.879 | 3.429 | 3.912 | 3.261 | 3.267 | 2.905 | 3.517 | 2.841 | 2.822 | 3.088 | 2.646 | 3.044 | 2.854 | 2.594 | 2.963 | 2.532 | 2.711 | 2.455 | 2.222 | 2.157 | 2.165 | 2.452 | 2.066 | 2.016 | 2.02 | 1.936 | 1.951 | 1.882 | 1.768 | 1.553 | 1.651 | 1.567 | 1.405 | 1.674 | 1.5 | 2.71 | 4.64 | 5.094 | 2.998 | 1.796 | 1.404 | 1.505 | 1.663
275 | 89.83 | 34.48 | 34.03 | 166.9 | 561.2 | 217 | 83.66 | 542.2 | 9999.9 | 9999.9 | 2059 | 21.98 | 9.155 | 7.141 | 5.924 | 4.448 | 4.361 | 3.973 | 3.665 | 3.019 | 3.731 | 3.007 | 3.088 | 3.101 | 2.976 | 2.698 | 2.431 | 2.522 | 2.781 | 2.862 | 2.807 | 3.146 | 2.796 | 3.096 | 2.072 | 2.435 | 2.521 | 2.377 | 2.467 | 2.396 | 2.515 | 2.493 | 2.291 | 2.409 | 2.135 | 2.04 | 1.747 | 1.561 | 1.451 | 1.679 | 1.697 | 1.539 | 2.026 | 3.96 | 6.472 | 5.084 | 2.903 | 2.071 | 1.842
280 | 151.4 | 48.77 | 36.69 | 58.8 | 300.9 | 620.4 | 221.4 | 171.8 | 828 | 7760 | 9999.9 | 2004 | 18.9 | 8.439 | 6.081 | 5.58 | 4.288 | 3.632 | 3.931 | 3.875 | 3.252 | 3.238 | 3.199 | 2.748 | 3.106 | 2.753 | 3.269 | 2.823 | 2.812 | 2.873 | 3.21 | 2.813 | 2.99 | 2.996 | 3.055 | 2.98 | 2.86 | 2.545 | 2.808 | 2.543 | 2.667 | 2.506 | 2.81 | 2.778 | 2.394 | 2.173 | 2.043 | 1.96 | 1.585 | 1.685 | 1.573 | 1.375 | 1.657 | 2.03 | 2.637 | 6.048 | 7.963 | 5.593 | 2.904
285 | 296.4 | 90.44 | 65.28 | 72 | 117.1 | 482.3 | 676.9 | 305.1 | 319.1 | 732.8 | 7420 | 9999.9 | 1762 | 17.34 | 8.4 | 5.68 | 5.025 | 4.367 | 4.231 | 3.809 | 3.774 | 3.302 | 3.033 | 2.983 | 2.962 | 2.967 | 3.269 | 2.746 | 2.774 | 2.808 | 3.008 | 3.076 | 2.897 | 3.034 | 3.025 | 2.903 | 2.63 | 2.607 | 2.452 | 2.86 | 3.198 | 2.912 | 3.14 | 3.185 | 2.88 | 2.575 | 2.229 | 2.295 | 1.809 | 1.81 | 1.652 | 1.841 | 1.847 | 1.708 | 2.124 | 2.59 | 4.459 | 8.155 | 8.406
290 | 526.1 | 225.4 | 110.2 | 107 | 147.4 | 234.2 | 791.9 | 781.3 | 519.1 | 466.7 | 809.8 | 8365 | 9999.9 | 1611 | 14.01 | 6.753 | 5.878 | 5.251 | 4.335 | 4.083 | 3.701 | 3.902 | 3.366 | 3.13 | 2.975 | 3.426 | 3.003 | 3.038 | 3.078 | 2.91 | 2.97 | 2.979 | 3.482 | 3.323 | 3.111 | 3.082 | 3.166 | 2.898 | 2.513 | 2.67 | 3.217 | 3.039 | 3.561 | 3.866 | 3.654 | 3.227 | 3.08 | 2.975 | 2.272 | 2.243 | 1.861 | 1.794 | 1.954 | 2.179 | 2.159 | 2.881 | 2.723 | 3.738 | 7.245
295 | 801.4 | 361.8 | 198.4 | 159.5 | 190.8 | 271.5 | 464.3 | 1150 | 1049 | 705.9 | 588 | 864.4 | 7351 | 9999.9 | 1480 | 14.3 | 7.644 | 5.969 | 5.13 | 4.675 | 4.684 | 4.287 | 3.371 | 3.579 | 3.401 | 2.987 | 2.625 | 2.888 | 2.857 | 3.317 | 3.133 | 3.449 | 3.487 | 3.186 | 3.324 | 2.92 | 3.219 | 2.895 | 2.528 | 2.661 | 3.38 | 3.405 | 3.528 | 3.919 | 4.101 | 3.86 | 3.667 | 3.384 | 2.578 | 2.549 | 2.409 | 1.865 | 2.115 | 2.14 | 2.681 | 2.786 | 3.257 | 3.579 | 4.934
300 | 1009 | 486.2 | 293.3 | 233.1 | 260.9 | 360.4 | 522.5 | 844.4 | 1659 | 1157 | 809.1 | 510.6 | 686.7 | 7354 | 9999.9 | 1388 | 12.65 | 7.021 | 5.742 | 4.979 | 4.411 | 3.557 | 3.709 | 3.477 | 2.989 | 2.861 | 2.826 | 3.021 | 3.178 | 2.718 | 2.966 | 3.06 | 3.147 | 3.325 | 3.025 | 3.191 | 2.638 | 3.3 | 3.221 | 3.024 | 3.381 | 3.114 | 3.939 | 4.338 | 4.075 | 4.387 | 4.047 | 3.702 | 3.171 | 3.27 | 2.642 | 2.484 | 2.613 | 2.814 | 2.827 | 3.474 | 3.78 | 4.316 | 5.056
305 | 1181 | 624.2 | 374.7 | 305.1 | 346.7 | 454.7 | 628.8 | 864.1 | 1439 | 1839 | 1159 | 681.8 | 367 | 649.6 | 6936 | 9999.9 | 1254 | 13.13 | 7.265 | 6.253 | 5.69 | 4.403 | 3.983 | 3.915 | 3.597 | 3.444 | 3.265 | 3.222 | 3.047 | 2.8 | 2.89 | 2.876 | 3.537 | 2.968 | 3.003 | 3.3 | 2.554 | 2.904 | 3.184 | 3.054 | 3.226 | 3.269 | 3.59 | 4.815 | 4.716 | 4.312 | 4.176 | 4.141 | 3.365 | 3.595 | 2.985 | 3.07 | 3.062 | 3.203 | 3.84 | 3.834 | 4.408 | 5.037 | 6.094
310 | 1310 | 734.2 | 474.2 | 402 | 441.7 | 577.3 | 752.7 | 1011 | 1446 | 1738 | 1844 | 970.6 | 514.1 | 285.2 | 569 | 6571 | 9999.9 | 1276 | 11.56 | 6.994 | 6.047 | 5.282 | 4.626 | 4.021 | 3.654 | 3.684 | 3.663 | 3.24 | 2.955 | 3.177 | 2.878 | 3.272 | 3.402 | 3.235 | 3.089 | 2.999 | 2.473 | 2.945 | 2.876 | 3.022 | 2.871 | 3.356 | 3.758 | 4.413 | 4.613 | 5.585 | 4.802 | 4.582 | 3.78 | 3.575 | 3.726 | 3.568 | 3.371 | 3.502 | 4.061 | 4.735 | 5.294 | 6.272 | 6.912
315 | 1381 | 790.9 | 564.8 | 497.5 | 566 | 721.7 | 929.2 | 1218 | 1600 | 1666 | 1949 | 1594 | 742.2 | 369.4 | 198.2 | 512.6 | 6357 | 9999.9 | 1173 | 11.79 | 7.717 | 6.03 | 4.78 | 4.374 | 3.903 | 3.683 | 3.459 | 3.638 | 2.921 | 3.239 | 3.013 | 2.672 | 3.036 | 3.234 | 3.321 | 3.204 | 2.738 | 2.35 | 2.814 | 2.874 | 3.122 | 3.522 | 3.638 | 4.523 | 4.682 | 4.948 | 5.16 | 4.847 | 3.943 | 4.469 | 3.592 | 4.016 | 3.966 | 4.113 | 4.926 | 5.693 | 6.414 | 7.076 | 8.304
320 | 1442 | 890.1 | 654.5 | 604.5 | 698.3 | 884.2 | 1115 | 1409 | 1837 | 1869 | 1842 | 1921 | 1240 | 528.9 | 243.1 | 139.1 | 482.7 | 7238 | 9999.9 | 1149 | 13.3 | 7.434 | 5.957 | 4.976 | 4.065 | 4.285 | 3.67 | 3.822 | 3.677 | 3.154 | 3.534 | 3.125 | 3.233 | 3.547 | 3.112 | 2.919 | 2.927 | 2.488 | 2.558 | 2.913 | 3.228 | 3.54 | 3.765 | 4.621 | 4.953 | 5.61 | 5.39 | 5.309 | 4.297 | 4.076 | 4.595 | 4.785 | 4.28 | 5.078 | 5.726 | 6.679 | 7.465 | 7.873 | 9.92
325 | 1474 | 944.3 | 723.7 | 703.7 | 807.5 | 1036 | 1302 | 1633 | 2056 | 2124 | 2032 | 1777 | 1657 | 859.8 | 330.6 | 164 | 113.4 | 539.7 | 6369 | 9999.9 | 1259 | 11.81 | 7.264 | 5.9 | 5.502 | 4.524 | 4.157 | 3.955 | 3.645 | 3.834 | 3.372 | 3.152 | 2.975 | 2.791 | 3.001 | 2.975 | 3.101 | 2.814 | 3.107 | 2.83 | 3.383 | 3.925 | 4.061 | 4.522 | 5.013 | 4.969 | 5.065 | 5.591 | 4.402 | 4.698 | 4.674 | 4.853 | 5.265 | 6.15 | 6.597 | 7.279 | 8.76 | 9.923 | 11.35
330 | 1567 | 959.2 | 782.2 | 786.7 | 937.5 | 1175 | 1498 | 1865 | 2275 | 2364 | 2276 | 1928 | 1495 | 1268 | 531.2 | 209.2 | 116.5 | 99.24 | 470.3 | 6367 | 9999.9 | 1195 | 10.73 | 7.292 | 5.288 | 4.886 | 4.141 | 4.382 | 3.936 | 3.311 | 3.563 | 3.469 | 3.695 | 3.011 | 3.109 | 2.979 | 2.668 | 2.782 | 3.08 | 3.08 | 3.11 | 3.706 | 4.219 | 4.655 | 5.142 | 5.282 | 5.504 | 5.456 | 4.678 | 4.899 | 4.561 | 5.544 | 5.569 | 6.195 | 7.546 | 8.106 | 9.431 | 10.99 | 12.56
335 | 1560 | 1014 | 827.3 | 828.4 | 1036 | 1310 | 1650 | 2021 | 2432 | 2548 | 2445 | 2106 | 1551 | 1108 | 914.9 | 336.2 | 150.8 | 95.52 | 83.54 | 461.7 | 8556 | 9999.9 | 1103 | 11.68 | 6.952 | 5.761 | 5.071 | 4.689 | 4.116 | 3.76 | 3.664 | 3.153 | 3.136 | 3.011 | 3.329 | 2.914 | 2.958 | 2.883 | 2.924 | 3.264 | 3.312 | 3.907 | 4.053 | 4.719 | 4.901 | 6.064 | 5.433 | 5.276 | 4.596 | 5.472 | 4.994 | 5.366 | 5.846 | 6.448 | 7.576 | 8.872 | 10.32 | 11.35 | 13.35
340 | 1636 | 1003 | 846.5 | 881.2 | 1100 | 1395 | 1746 | 2150 | 2539 | 2688 | 2599 | 2267 | 1674 | 1055 | 837.9 | 661.7 | 221.7 | 117.7 | 72.9 | 71.97 | 606.8 | 6781 | 9999.9 | 1168 | 11.5 | 7.425 | 5.869 | 5.686 | 5.148 | 4.053 | 4.125 | 3.453 | 3.036 | 3.069 | 3.023 | 2.971 | 3.341 | 2.787 | 3.066 | 3.143 | 3.64 | 3.632 | 3.936 | 4.808 | 5.086 | 5.348 | 5.61 | 5.176 | 4.583 | 5.36 | 5.142 | 5.656 | 5.769 | 6.895 | 7.824 | 9.308 | 10.37 | 12.73 | 13.9
345 | 1567 | 1006 | 837.7 | 887.1 | 1110 | 1442 | 1807 | 2230 | 2594 | 2754 | 2655 | 2354 | 1761 | 1121 | 693.3 | 674.3 | 475.6 | 156.9 | 87.49 | 60.77 | 79.09 | 486.3 | 6166 | 9999.9 | 1104 | 10.51 | 7.199 | 6.216 | 5.026 | 4.222 | 4.451 | 3.67 | 3.621 | 2.986 | 3.344 | 3.374 | 2.995 | 3.033 | 3.109 | 3.308 | 3.072 | 3.563 | 4.312 | 4.721 | 5.125 | 5.607 | 5.668 | 5.463 | 4.44 | 5.372 | 5.345 | 5.505 | 6.163 | 7.06 | 8.063 | 9.296 | 10.65 | 12.83 | 14.9
350 | 1440 | 989.4 | 816.5 | 902.2 | 1100 | 1419 | 1764 | 2200 | 2548 | 2711 | 2624 | 2324 | 1791 | 1157 | 708.8 | 484 | 586.6 | 343.5 | 119.1 | 73.59 | 59.26 | 69.69 | 441.4 | 6261 | 9999.9 | 1115 | 10.96 | 7.573 | 6.126 | 4.857 | 4.57 | 4.174 | 3.554 | 3.706 | 3.326 | 3.266 | 3.074 | 2.905 | 2.51 | 3.428 | 3.526 | 3.639 | 4.084 | 4.754 | 5.019 | 5.408 | 5.347 | 5.784 | 4.779 | 5.425 | 4.832 | 6.167 | 5.996 | 6.69 | 7.686 | 9.066 | 10.83 | 12.24 | 14.62
355 | 1407 | 937.6 | 792.7 | 879.9 | 1052 | 1372 | 1731 | 2110 | 2469 | 2621 | 2540 | 2267 | 1771 | 1175 | 742.5 | 475.3 | 394.1 | 522.7 | 245.5 | 99.69 | 73.71 | 55.62 | 66.87 | 454.1 | 6293 | 9999.9 | 1109 | 10.79 | 7.159 | 5.989 | 5.907 | 3.617 | 3.796 | 3.467 | 2.738 | 3.228 | 2.941 | 2.852 | 3.167 | 2.932 | 3.588 | 3.413 | 3.917 | 4.697 | 4.596 | 5.218 | 5.29 | 4.669 | 4.682 | 5.128 | 4.899 | 5.433 | 6.062 | 6.77 | 7.866 | 8.941 | 10.1 | 12.22 | 14.17
360 | 1329 | 876.9 | 736.9 | 825.7 | 1016 | 1287 | 1633 | 2006 | 2331 | 2485 | 2435 | 2189 | 1711 | 1171 | 758.8 | 502 | 347 | 363.4 | 462.2 | 184.6 | 95.65 | 69.83 | 54.92 | 68.11 | 452.7 | 6213 | 9999.9 | 1156 | 11.2 | 7.171 | 6.646 | 4.697 | 4.039 | 3.778 | 3.627 | 2.989 | 2.763 | 3.434 | 2.903 | 3.166 | 3.765 | 3.497 | 4.298 | 4.679 | 4.788 | 4.699 | 4.549 | 4.605 | 4.15 | 5.525 | 4.826 | 5.367 | 6.088 | 6.821 | 7.693 | 8.448 | 10.16 | 11.15 | 13.14
365 | 1254 | 829 | 735.6 | 778.6 | 943.2 | 1193 | 1513 | 1844 | 2134 | 2304 | 2287 | 2058 | 1651 | 1143 | 775.4 | 534.6 | 377 | 286 | 369.2 | 392.1 | 148.8 | 89.28 | 69.34 | 54.15 | 66.07 | 450.8 | 6403 | 9999.9 | 1093 | 11.06 | 8.333 | 5.417 | 4.49 | 3.579 | 3.603 | 3.252 | 3.102 | 2.932 | 3.303 | 3.323 | 3.391 | 3.872 | 3.816 | 3.961 | 4.376 | 4.547 | 4.678 | 4.657 | 3.967 | 4.559 | 4.853 | 5.297 | 5.691 | 6.154 | 7.168 | 8.476 | 9.58 | 11.33 | 12.32
370 | 1196 | 774.5 | 699.3 | 731.3 | 879.2 | 1095 | 1385 | 1707 | 1965 | 2084 | 2084 | 1913 | 1549 | 1113 | 780 | 560.8 | 402.7 | 306.7 | 260.8 | 387.5 | 322.2 | 127.6 | 88.79 | 68.33 | 52.63 | 62.74 | 462.6 | 6587 | 9999.9 | 1040 | 11.9 | 6.76 | 4.811 | 4.544 | 3.966 | 3.281 | 3.373 | 3.425 | 3.112 | 3.235 | 3.296 | 3.689 | 3.702 | 4.397 | 4.313 | 4.171 | 4.707 | 4.091 | 4.173 | 4.657 | 4.768 | 5.217 | 5.736 | 5.928 | 6.995 | 7.455 | 8.655 | 10.46 | 11.43
375 | 1081 | 738.9 | 666.3 | 687.7 | 800 | 994.3 | 1271 | 1543 | 1767 | 1910 | 1906 | 1770 | 1451 | 1079 | 787 | 584.3 | 440.5 | 343.3 | 278 | 264.2 | 401.4 | 272.5 | 122.6 | 90.03 | 71.13 | 51.96 | 64.07 | 481.8 | 6530 | 9999.9 | 1218 | 10.1 | 6.287 | 5.144 | 4.212 | 3.912 | 3.86 | 3.51 | 3.172 | 3.443 | 3.533 | 3.479 | 3.498 | 3.998 | 3.99 | 4.48 | 4.614 | 4.357 | 4.054 | 4.36 | 4.516 | 4.63 | 5.298 | 5.684 | 6.099 | 6.713 | 8.283 | 9.222 | 10.32
380 | 1012 | 713.8 | 627.1 | 648.8 | 752.8 | 891.9 | 1139 | 1366 | 1572 | 1723 | 1735 | 1619 | 1376 | 1057 | 804.9 | 622.9 | 483.9 | 390 | 321.4 | 270.9 | 288 | 400 | 226.4 | 121 | 92.31 | 70.7 | 55.59 | 67.99 | 475.9 | 6466 | 9999.9 | 904 | 9.21 | 6.348 | 5.138 | 4.502 | 3.781 | 3.37 | 3.484 | 3.629 | 3.126 | 3.429 | 3.71 | 4.112 | 4.015 | 3.707 | 4.074 | 3.915 | 3.705 | 4.322 | 4.366 | 4.823 | 4.784 | 5.425 | 6.311 | 6.659 | 7.626 | 8.522 | 9.513
385 | 974.2 | 684.5 | 595.5 | 597.2 | 692.3 | 810.8 | 1004 | 1225 | 1395 | 1542 | 1566 | 1488 | 1311 | 1034 | 822.8 | 666.5 | 540.8 | 450 | 375.8 | 318.2 | 279.5 | 324.3 | 384.9 | 196.5 | 122.4 | 97.4 | 73.64 | 57.63 | 67.83 | 476.4 | 7233 | 9124 | 804.9 | 9.026 | 5.702 | 4.636 | 3.841 | 3.535 | 3.644 | 3.562 | 3.359 | 3.225 | 3.31 | 3.965 | 3.756 | 4.151 | 4.096 | 3.675 | 3.857 | 3.954 | 4.292 | 4.472 | 4.716 | 5.092 | 5.469 | 6.55 | 7.512 | 7.655 | 9.119
390 | 916.2 | 708.8 | 622.7 | 576.4 | 631 | 742.1 | 891.5 | 1085 | 1252 | 1386 | 1431 | 1376 | 1236 | 1018 | 855 | 723.7 | 602.3 | 520.1 | 442.2 | 380.7 | 331.9 | 296.5 | 360.3 | 359.5 | 182.2 | 131.4 | 104.7 | 78.06 | 55.84 | 67.47 | 520.1 | 5349 | 8177 | 789.6 | 8.504 | 5.73 | 4.572 | 4.14 | 3.722 | 3.407 | 3.355 | 3.132 | 3.65 | 3.585 | 3.836 | 4.282 | 4.136 | 3.911 | 3.624 | 4.144 | 4.402 | 4.524 | 4.94 | 5.116 | 5.476 | 5.937 | 6.811 | 7.836 | 7.876
395 | 904.2 | 708.5 | 609.1 | 565.9 | 601.3 | 685.4 | 799 | 962.9 | 1136 | 1258 | 1317 | 1298 | 1201 | 1031 | 886.5 | 777.7 | 669.3 | 588.2 | 516.9 | 449.5 | 394.8 | 341.3 | 310.3 | 394.8 | 317.1 | 175 | 135.7 | 103.5 | 73.34 | 52.59 | 66.22 | 395.4 | 4953 | 7679 | 727.5 | 8.674 | 5.715 | 4.74 | 4.301 | 3.812 | 3.768 | 3.519 | 3.827 | 3.708 | 3.557 | 4.375 | 4.16 | 3.918 | 4.249 | 4.639 | 4.37 | 4.668 | 4.343 | 4.78 | 5.456 | 5.954 | 6.557 | 6.608 | 7.188
400 | 889 | 705.2 | 607.5 | 562.7 | 566.7 | 615.9 | 715.3 | 869.9 | 1023 | 1144 | 1204 | 1229 | 1155 | 1041 | 928.1 | 831.5 | 738.4 | 653.9 | 589.8 | 519.3 | 456.3 | 391.4 | 340.9 | 327.8 | 401.4 | 285.2 | 176.1 | 132 | 95.35 | 64.58 | 45.89 | 53.93 | 359.7 | 4612 | 7444 | 665.7 | 7.889 | 5.777 | 4.484 | 3.971 | 3.576 | 3.467 | 3.812 | 3.594 | 3.808 | 3.707 | 4.146 | 3.843 | 3.761 | 4.048 | 4.373 | 4.578 | 4.465 | 4.65 | 5.194 | 5.72 | 5.684 | 6.153 | 7.266
405 | 898.9 | 693.8 | 600.4 | 541.8 | 550.9 | 602.7 | 669 | 807.7 | 924.5 | 1063 | 1122 | 1164 | 1120 | 1028 | 959.5 | 878.9 | 804.3 | 730.3 | 658.2 | 588.3 | 521.1 | 446 | 383.1 | 334.2 | 338.8 | 390 | 255.3 | 163.9 | 117.6 | 82.85 | 55.86 | 37.57 | 47.09 | 329.5 | 4221 | 7064 | 690.2 | 7.938 | 5.524 | 4.602 | 4.147 | 3.788 | 3.741 | 4.009 | 3.681 | 3.851 | 4.037 | 3.88 | 4.104 | 4.33 | 4.66 | 4.257 | 4.721 | 4.842 | 4.4 | 5.094 | 5.515 | 5.566 | 6.612
410 | 879.3 | 734.8 | 627.2 | 562.4 | 549.7 | 582.4 | 648.9 | 753.4 | 853.4 | 983.2 | 1068 | 1112 | 1094 | 1041 | 981.8 | 920.5 | 860 | 786.5 | 716.1 | 647.2 | 568.2 | 485.5 | 424.6 | 369.1 | 325.2 | 353.8 | 365.3 | 213.6 | 139.1 | 102.7 | 71.19 | 47.22 | 32 | 42.85 | 305.4 | 4284 | 6818 | 615.6 | 8.054 | 5.609 | 4.6 | 3.986 | 3.912 | 3.71 | 4.076 | 4.125 | 4.007 | 3.937 | 3.975 | 4.434 | 4.422 | 5.091 | 4.494 | 4.978 | 4.656 | 5.347 | 5.516 | 5.542 | 6.769
415 | 835.8 | 736.3 | 627.6 | 542.1 | 528.7 | 570.1 | 617.4 | 703.7 | 817.2 | 921.3 | 1010 | 1060 | 1053 | 1020 | 979 | 938.7 | 889.1 | 822.7 | 759.3 | 683.6 | 601.6 | 518.7 | 449.4 | 392.1 | 344.2 | 317.9 | 361.8 | 311.5 | 174.9 | 118 | 82.46 | 57.57 | 39.96 | 29.49 | 40.38 | 314.6 | 4167 | 6265 | 627.4 | 7.423 | 5.286 | 4.369 | 4.061 | 4.001 | 4.167 | 4.138 | 4.338 | 3.817 | 4.429 | 4.875 | 4.599 | 4.356 | 4.475 | 5.096 | 4.682 | 5.027 | 5.479 | 5.788 | 6.215
420 | 840 | 711 | 617 | 554.9 | 526.4 | 538.2 | 593.3 | 679.5 | 775.4 | 884.9 | 960.6 | 1001 | 1011 | 991.2 | 977.3 | 942.1 | 911.1 | 843.9 | 782.5 | 704.3 | 622.6 | 542.5 | 473.7 | 413.3 | 362.3 | 321 | 304.9 | 346.6 | 251.4 | 141.2 | 97.72 | 69.62 | 49.7 | 36.09 | 28.25 | 40.34 | 308.1 | 3893 | 6610 | 548.2 | 7.287 | 5.119 | 4.598 | 4.329 | 3.957 | 4.107 | 4.386 | 4.172 | 3.974 | 4.877 | 4.283 | 4.501 | 4.709 | 4.574 | 4.73 | 5.344 | 5.614 | 5.641 | 6.616
425 | 803 | 690.5 | 617.9 | 554.5 | 530.5 | 551.8 | 582.2 | 637.8 | 741.3 | 840.1 | 905.7 | 949.6 | 965 | 962.6 | 947.8 | 931.4 | 895 | 840.8 | 792.6 | 710.1 | 634.5 | 556.7 | 481 | 426 | 373.9 | 337.5 | 299.4 | 287.7 | 310.5 | 190.8 | 115.9 | 83.33 | 60.17 | 46.21 | 34.87 | 29.69 | 42.76 | 293.4 | 4178 | 5669 | 515.5 | 7.573 | 5.042 | 4.769 | 3.851 | 3.841 | 4.414 | 4.105 | 4.017 | 4.581 | 4.564 | 4.637 | 4.546 | 4.454 | 5.017 | 4.917 | 5.151 | 5.649 | 5.823
430 | 810.9 | 700.4 | 619.1 | 547 | 525.7 | 534.4 | 563 | 616.4 | 729.7 | 809.1 | 857.4 | 893.4 | 921.3 | 914 | 912.2 | 898.6 | 879.4 | 842.6 | 793.5 | 712.5 | 629.1 | 557.1 | 487.5 | 433 | 383.8 | 341.1 | 308.8 | 273.2 | 273 | 264.7 | 153.2 | 99.73 | 74.78 | 58.06 | 45.86 | 37.21 | 30.32 | 40.83 | 308.9 | 3543 | 5511 | 539.7 | 7.514 | 5.741 | 4.739 | 4.761 | 4.305 | 4.062 | 4.339 | 4.492 | 4.672 | 5.115 | 4.88 | 4.083 | 4.8 | 5.542 | 5.406 | 5.52 | 6.123
435 | 784.2 | 675.5 | 621 | 546.4 | 521 | 533.5 | 556.9 | 616.8 | 697.5 | 766.7 | 822 | 844.7 | 871.9 | 872.5 | 877.8 | 882.2 | 861.1 | 821.5 | 767.9 | 706.3 | 628.3 | 557.4 | 484.2 | 433.4 | 391.3 | 350.7 | 314.9 | 277.9 | 240.6 | 254.6 | 219.9 | 124.2 | 89.53 | 70.78 | 58.01 | 47.05 | 37.7 | 29.63 | 41.6 | 268.4 | 3506 | 5539 | 543 | 8.543 | 5.382 | 5.554 | 4.875 | 4.069 | 3.76 | 4.612 | 4.64 | 4.519 | 4.791 | 4.563 | 5.295 | 5.237 | 5.415 | 5.528 | 6.053
440 | 745.3 | 650.8 | 607.7 | 543.5 | 511.1 | 534.3 | 542.6 | 601.6 | 658.1 | 738.8 | 790 | 807 | 820.1 | 816.9 | 827.5 | 838.8 | 822.1 | 789.9 | 743.8 | 683.1 | 613.8 | 540.4 | 479.5 | 431.6 | 389.8 | 349.4 | 318.7 | 283.3 | 242.1 | 214.9 | 234.4 | 177.4 | 107.1 | 81.47 | 70 | 55.65 | 47.62 | 35.19 | 28.21 | 35.75 | 258.5 | 3554 | 5662 | 653.4 | 7.215 | 5.404 | 5.091 | 4.394 | 4.506 | 4.702 | 5.035 | 4.923 | 4.474 | 4.581 | 4.84 | 5.224 | 5.172 | 5.96 | 5.799
445 | 755.2 | 640.2 | 587.9 | 510.1 | 493.1 | 509.9 | 517.1 | 587.4 | 638.3 | 695.1 | 730.7 | 741.1 | 763.2 | 769.3 | 778.4 | 781.5 | 773.1 | 745.9 | 698.6 | 647.8 | 585.7 | 522.3 | 470.3 | 418.6 | 377.4 | 347.6 | 319.2 | 282.3 | 246.7 | 200.6 | 196 | 212.8 | 145 | 95.4 | 77.52 | 64.91 | 51.89 | 44.01 | 31.77 | 23.05 | 32.27 | 260.5 | 3426 | 6214 | 461 | 7.312 | 6.115 | 4.879 | 4.121 | 4.674 | 4.45 | 4.845 | 4.328 | 4.637 | 4.774 | 4.603 | 5.407 | 5.822 | 5.508
450 | 1285 | 597.5 | 533.3 | 503.3 | 482.8 | 494.9 | 508.1 | 540.5 | 596.2 | 648.6 | 670 | 685.1 | 702.1 | 699.6 | 714.1 | 722.7 | 715.7 | 695.2 | 663.4 | 605.7 | 549.1 | 491.7 | 445.3 | 397.6 | 365.3 | 333.6 | 309.1 | 280.6 | 246.1 | 206.9 | 178.8 | 182.8 | 183.5 | 120.5 | 86.59 | 71.97 | 58.4 | 47.84 | 34.92 | 25.07 | 19.94 | 30.14 | 250.6 | 3759 | 5229 | 485.1 | 7.178 | 5.212 | 4.77 | 4.548 | 4.489 | 4.902 | 4.619 | 4.577 | 4.788 | 4.751 | 4.677 | 5.584 | 5.668
455 | 3271 | 568.1 | 507.3 | 480.7 | 457.5 | 451 | 482.1 | 520.7 | 560 | 597.5 | 622.7 | 620.9 | 638.8 | 641.7 | 645.8 | 659.6 | 653 | 634.5 | 599 | 552.6 | 507 | 463.8 | 415.4 | 376.4 | 345.2 | 321.6 | 297 | 272 | 239.3 | 207.1 | 174.1 | 154.4 | 168.8 | 152.9 | 99.32 | 74.82 | 64.5 | 49.7 | 38.25 | 27.99 | 21.72 | 16.76 | 28.9 | 277.3 | 3208 | 5047 | 473.9 | 6.16 | 4.987 | 4.621 | 4.769 | 4.163 | 4.549 | 4.495 | 4.743 | 4.902 | 5.147 | 4.845 | 5.449
460 | 5314 | 996.9 | 457.5 | 432.8 | 437 | 426.1 | 440.1 | 477.1 | 511.2 | 548.4 | 550.7 | 560.3 | 572.6 | 569.5 | 585.1 | 588.9 | 585.8 | 568.7 | 545.6 | 509.2 | 464.3 | 425 | 383.1 | 353.3 | 319.4 | 301.5 | 281 | 257.1 | 232.2 | 201.5 | 170.6 | 144.2 | 137.2 | 154 | 126.6 | 80.82 | 66.6 | 51.4 | 41.05 | 30.06 | 23.07 | 17.55 | 14.69 | 28.8 | 232.8 | 3178 | 5290 | 400.3 | 6.678 | 5.252 | 4.828 | 4.422 | 4.437 | 4.362 | 4.78 | 4.271 | 5.297 | 5.319 | 4.87
465 | 3994 | 2773 | 449.2 | 407.6 | 407.4 | 400.6 | 417 | 438.1 | 467.1 | 492.1 | 499.6 | 508.2 | 515 | 505.2 | 518.1 | 524.2 | 522.2 | 506.2 | 489 | 458.3 | 419.8 | 377.9 | 345.3 | 321.9 | 299.3 | 278.9 | 258.7 | 239.9 | 215.9 | 189.9 | 166.5 | 142.8 | 124.3 | 123.3 | 137.8 | 100.4 | 69.32 | 55 | 43.24 | 32.61 | 25.6 | 19.54 | 15.45 | 14.13 | 25.57 | 234.1 | 3401 | 4257 | 400 | 6.425 | 5.425 | 4.642 | 4.966 | 4.604 | 4.132 | 4.421 | 4.48 | 4.701 | 4.836
470 | 1266 | 4639 | 847.7 | 366.9 | 357.7 | 355.1 | 376.3 | 396.4 | 423.4 | 442 | 446.4 | 450 | 449.6 | 447 | 453.4 | 456.6 | 456.2 | 448.4 | 434.9 | 409.2 | 375.1 | 346.3 | 315.6 | 291.4 | 274.2 | 256.8 | 239.9 | 222.7 | 203 | 177.9 | 158.6 | 136.6 | 118.7 | 106.9 | 114.6 | 117.7 | 79.06 | 56.06 | 43.81 | 33.76 | 27.07 | 21.76 | 18.14 | 15.46 | 13.41 | 25.96 | 248.3 | 2790 | 3833 | 394.9 | 7.285 | 5.445 | 5.068 | 4.353 | 4.185 | 4.505 | 4.391 | 4.658 | 4.598
475 | 463.2 | 3781 | 2474 | 346.7 | 330.1 | 331.5 | 348.4 | 365.3 | 388.8 | 394.7 | 401.7 | 392.8 | 394.4 | 390.9 | 394.6 | 403.1 | 409.9 | 389.3 | 381.8 | 358.6 | 334.2 | 306.7 | 284.9 | 263.8 | 246.1 | 234.9 | 220 | 210.2 | 188.9 | 170.5 | 150.9 | 133.8 | 115 | 100.9 | 92.84 | 108.3 | 96.51 | 61.7 | 46.15 | 36.96 | 31.29 | 25.91 | 21.48 | 18.26 | 15.22 | 14.83 | 27.01 | 210.4 | 2257 | 3591 | 307.3 | 7.379 | 5.848 | 4.7 | 4.589 | 4.292 | 4.975 | 4.81 | 4.606
480 | 362.2 | 1176 | 4339 | 727 | 306.3 | 307.9 | 320.9 | 332.1 | 354.6 | 370.9 | 363 | 350.4 | 340.1 | 340 | 345.9 | 347.3 | 355.4 | 340 | 335.4 | 317.6 | 297.6 | 275.6 | 257.3 | 237.2 | 224.3 | 214.3 | 208.5 | 192.5 | 178.9 | 161.6 | 142.9 | 127.3 | 113.6 | 99.17 | 89.13 | 86.08 | 99.48 | 78.84 | 52.89 | 42.03 | 35.51 | 30.1 | 26.9 | 24.06 | 20.65 | 18.81 | 17.99 | 27.14 | 169.9 | 2133 | 3421 | 335.1 | 8.038 | 6.239 | 5.352 | 4.504 | 4.234 | 4.597 | 4.226
485 | 305.4 | 366.4 | 3516 | 2244 | 300.9 | 295.4 | 314.6 | 339.8 | 343.2 | 350.1 | 340.7 | 323 | 311.9 | 301.9 | 301.9 | 310 | 311.4 | 303.2 | 298.3 | 281.9 | 267.2 | 247.7 | 239.9 | 218 | 212.1 | 204.6 | 195.5 | 185.3 | 175.5 | 162.7 | 144.2 | 129 | 111.8 | 101.3 | 90.14 | 81.62 | 85.87 | 94.62 | 68.73 | 50.41 | 43.09 | 39.45 | 35.6 | 32.59 | 28.87 | 25.49 | 22.93 | 22.49 | 28.7 | 172.5 | 2292 | 3330 | 273.7 | 8.52 | 6.469 | 5.444 | 4.623 | 4.342 | 4.254
490 | 327.7 | 282.2 | 1131 | 4008 | 613 | 284.5 | 307.6 | 336.2 | 347.1 | 346 | 321.6 | 300.4 | 284.6 | 267 | 270.5 | 276.2 | 272.8 | 269.6 | 266.9 | 255.1 | 243.6 | 232.8 | 221.1 | 208.9 | 201.1 | 196.6 | 189.6 | 184.3 | 176.5 | 160.8 | 146.6 | 131.2 | 116.6 | 104.3 | 94.04 | 84.44 | 80.87 | 89.75 | 90.04 | 65.65 | 56.37 | 51.69 | 49.15 | 45.81 | 41.53 | 38.22 | 33.67 | 30.5 | 26.89 | 33.28 | 186.1 | 2121 | 3163 | 307.2 | 8.687 | 6.462 | 5.214 | 4.988 | 4.935
495 | 366.6 | 269.6 | 342.2 | 3432 | 1952 | 295.5 | 320.1 | 360.3 | 361.1 | 349.8 | 317.3 | 281.3 | 260.4 | 243.2 | 235 | 243.1 | 243.6 | 241.3 | 235.8 | 224.9 | 223 | 213.5 | 206.7 | 198.2 | 197.1 | 188.6 | 190 | 185.6 | 180.1 | 168.2 | 154.3 | 136.3 | 123.7 | 112.1 | 100.2 | 92.47 | 88.73 | 87.51 | 96.14 | 91.84 | 76.03 | 67.19 | 64.71 | 60.39 | 57.79 | 53.05 | 49.3 | 44.99 | 37.96 | 33.19 | 39.2 | 176.9 | 2236 | 3363 | 284.2 | 8.016 | 6.558 | 5.635 | 5.139
500 | 386 | 264.6 | 257.4 | 1103 | 3612 | 589.9 | 330.7 | 375.5 | 377.8 | 359.4 | 323.7 | 276.5 | 234.4 | 214.4 | 210.7 | 207 | 211.5 | 212.9 | 210.1 | 205.5 | 204.3 | 199 | 192.7 | 189.7 | 191.8 | 190.2 | 191.4 | 193.4 | 186.6 | 175.8 | 159.4 | 143.9 | 128.9 | 117.2 | 106 | 100.9 | 95.38 | 92.55 | 97.42 | 107.3 | 99.29 | 86.52 | 82.65 | 79.47 | 74.52 | 68.97 | 65.04 | 59.75 | 52.18 | 43.86 | 37.76 | 39.16 | 183.7 | 2166 | 3048 | 258.3 | 7.433 | 6.268 | 5.541
505 | 336 | 282.7 | 235.4 | 303.1 | 3295 | 1760 | 355.7 | 391.4 | 397.6 | 370.1 | 325.8 | 262.6 | 214 | 190.4 | 182.9 | 183.6 | 183.3 | 183.8 | 185.6 | 182.1 | 183.9 | 182.6 | 184.2 | 181.9 | 182.9 | 189 | 192.4 | 196.6 | 196.7 | 181.1 | 166.4 | 150 | 133.9 | 119 | 111.7 | 107 | 104.8 | 103.6 | 103.1 | 111.1 | 119.2 | 107.8 | 99.14 | 98.35 | 92.78 | 85.33 | 79.01 | 73.56 | 64.79 | 54.82 | 46.26 | 37.17 | 37.17 | 175.3 | 1992 | 2820 | 261.7 | 7.373 | 6.165
510 | 279.4 | 310.9 | 243.3 | 236 | 1184 | 3363 | 632.8 | 403.7 | 413.5 | 372.3 | 318 | 249.8 | 194.5 | 166.6 | 155.8 | 160.1 | 160.8 | 165.1 | 161.7 | 163.8 | 166.4 | 168.9 | 172.5 | 172.9 | 182.7 | 185.3 | 193.9 | 196.8 | 196.1 | 189.3 | 172.7 | 154.9 | 137.4 | 123 | 116.5 | 109.7 | 109.8 | 109.2 | 108.9 | 112.5 | 122.9 | 128.4 | 116.4 | 110.9 | 105.3 | 99.41 | 91.56 | 82.82 | 75.95 | 64.52 | 53.91 | 41.54 | 31.31 | 31.95 | 158.4 | 1833 | 2970 | 246.2 | 6.897
515 | 233.6 | 312.3 | 246.6 | 224.5 | 328.7 | 3225 | 1702 | 410.5 | 414.9 | 374.8 | 310.1 | 242.7 | 177 | 145 | 137.4 | 139.6 | 140.2 | 145.8 | 142.5 | 146.5 | 148.8 | 155.9 | 160.2 | 166.5 | 172.3 | 181 | 190.8 | 194.2 | 194.4 | 188.5 | 170.4 | 154.4 | 136.2 | 124.8 | 115.3 | 112.5 | 112.9 | 111.7 | 115.2 | 115.6 | 122.1 | 136 | 134.2 | 120.6 | 114.6 | 106.3 | 99.95 | 93.38 | 82.61 | 70.15 | 58.17 | 45.76 | 32.53 | 24.44 | 25.96 | 147.9 | 1979 | 2621 | 197.6
520 | 213.3 | 270.3 | 258 | 210.9 | 241.6 | 1250 | 3314 | 645.5 | 412.3 | 365.8 | 302 | 224.3 | 162.6 | 129.8 | 120.7 | 118.2 | 120.5 | 124.9 | 127.8 | 129.9 | 135.9 | 143.6 | 146.2 | 155 | 161.8 | 171.9 | 181.8 | 187.2 | 190.5 | 182.7 | 169.2 | 150.8 | 134.3 | 122.8 | 113.2 | 110.2 | 111.3 | 113.8 | 114.9 | 118.5 | 123.4 | 133.5 | 142.2 | 129.9 | 118.4 | 110.6 | 101.6 | 94.88 | 86.58 | 73.88 | 60.78 | 47.22 | 33.83 | 24.18 | 17.58 | 21.26 | 153 | 1718 | 2241
525 | 212.5 | 202.1 | 281.3 | 204.6 | 221 | 352.8 | 3296 | 1587 | 385.9 | 341.9 | 287.7 | 208.6 | 143 | 110.6 | 103.7 | 103.8 | 103.7 | 108.5 | 110.4 | 113 | 122.2 | 128.9 | 133.1 | 142.4 | 151.6 | 159.7 | 169.1 | 177.4 | 180.9 | 174 | 162.6 | 145 | 127.5 | 114.1 | 107.4 | 107.3 | 107.1 | 110.4 | 111.9 | 113.9 | 118.4 | 123.2 | 134.8 | 135 | 123.8 | 110.5 | 103.5 | 95.89 | 84.43 | 72.59 | 61.16 | 47.87 | 34.3 | 23.84 | 17.22 | 12.71 | 18.99 | 133.3 | 1486
530 | 184.4 | 159.5 | 240.4 | 215.1 | 202.7 | 255.9 | 1422 | 2909 | 599.1 | 323.5 | 263 | 188.2 | 133.7 | 99.36 | 86.65 | 87.84 | 91.45 | 92.06 | 96.52 | 100.5 | 107.6 | 114.6 | 119.9 | 131.2 | 136 | 147.7 | 160.1 | 165.8 | 166.9 | 162.7 | 146.5 | 133.7 | 119.2 | 107.5 | 102.3 | 99.9 | 101.1 | 105.9 | 107.4 | 110.2 | 113.3 | 119.6 | 121.2 | 128 | 124.8 | 109.2 | 99.64 | 93.6 | 82.43 | 70.11 | 58.97 | 47.67 | 34.07 | 24.22 | 17.55 | 12.2 | 11.43 | 16.9 | 118.8
535 | 167.6 | 147.8 | 173.1 | 251.3 | 197.4 | 234.3 | 375.2 | 2907 | 1463 | 301.7 | 239.1 | 175.6 | 112.6 | 87.2 | 75.82 | 74.91 | 76.2 | 79.1 | 83.95 | 90.85 | 94 | 99.45 | 108.4 | 118.9 | 126.2 | 134.9 | 145.4 | 153.5 | 154.2 | 150.9 | 136.5 | 126 | 110.3 | 99.47 | 94.51 | 92.08 | 93.87 | 97.32 | 101.1 | 103.9 | 106.5 | 112.1 | 112.5 | 114.4 | 116.5 | 108.5 | 95.91 | 87.25 | 78.63 | 66.29 | 56.47 | 45.52 | 34.73 | 23.47 | 16.83 | 12.52 | 10.57 | 10.72 | 16.73
540 | 142.4 | 129.6 | 126.4 | 238.8 | 205.1 | 214.7 | 268.4 | 1309 | 2735 | 479.4 | 217.8 | 157 | 96.68 | 75.9 | 67.35 | 64.34 | 66.57 | 67.2 | 72.57 | 75.52 | 81.08 | 90.65 | 98.38 | 103.8 | 110.9 | 122.4 | 129.3 | 135 | 137.8 | 136.6 | 125.7 | 111 | 99.26 | 88.86 | 84.75 | 83.33 | 86.04 | 88.71 | 90.12 | 92.93 | 97.39 | 102.2 | 102.9 | 105.6 | 104.9 | 102.7 | 92.24 | 81.05 | 72.88 | 62.98 | 52.15 | 41.38 | 32.97 | 22.96 | 16.62 | 12.35 | 11.14 | 11.28 | 10.99
545 | 137.7 | 115.9 | 116.8 | 177.3 | 220 | 187.6 | 228.6 | 362.2 | 2837 | 1211 | 198.3 | 134.1 | 86.91 | 61.79 | 54.47 | 54.8 | 56.18 | 56.99 | 60.47 | 66.43 | 71.69 | 76.28 | 83.34 | 89.87 | 98.18 | 106.3 | 115.6 | 121.6 | 124.4 | 120.9 | 111 | 99.33 | 89.62 | 80.15 | 74.44 | 74.35 | 75.74 | 77.84 | 81.26 | 84.37 | 89.32 | 91.42 | 93.69 | 92.02 | 91.34 | 92.03 | 87.18 | 76.1 | 66.79 | 58.8 | 48.51 | 38.33 | 29.38 | 23.22 | 16.04 | 13.05 | 10.98 | 11.58 | 11.27
550 | 133.5 | 107.3 | 103.6 | 122.9 | 231.3 | 179.3 | 200.9 | 246.4 | 1310 | 2476 | 382.4 | 115.1 | 76.6 | 53.67 | 44.99 | 44.74 | 44.99 | 48.47 | 51.65 | 54.33 | 60.08 | 66.03 | 73.14 | 77.55 | 86.17 | 91.5 | 100.2 | 105.3 | 106.8 | 106.8 | 96.55 | 84.44 | 77.04 | 68.7 | 64.86 | 64.08 | 67.15 | 70.75 | 73.39 | 75.35 | 78.82 | 81.61 | 83 | 82.14 | 81.85 | 78.89 | 77.88 | 71.52 | 60.57 | 51.55 | 42.95 | 34.93 | 26.12 | 19.36 | 16.53 | 12.4 | 10.77 | 10.84 | 10.76
555 | 114 | 91.42 | 88.21 | 97.88 | 183.3 | 200.8 | 178.1 | 214.2 | 315.7 | 2766 | 1037 | 107.5 | 63.07 | 46.18 | 38.93 | 37.6 | 38.88 | 39.95 | 43.58 | 45.86 | 51.01 | 57.22 | 62.29 | 65.99 | 72.67 | 80.33 | 84.79 | 89.74 | 92.64 | 89.85 | 82.58 | 75.25 | 66.5 | 60.5 | 55.32 | 57.32 | 56.79 | 60.27 | 62.14 | 65.9 | 67.05 | 70.47 | 70.9 | 73.07 | 70.65 | 67.08 | 66.73 | 64.75 | 54.68 | 45.6 | 37.69 | 30.46 | 23.39 | 17.69 | 13.2 | 11.3 | 9.756 | 9.46 | 9.723
560 | 93.92 | 80.37 | 67.61 | 84.65 | 126.4 | 218.2 | 154.7 | 185.5 | 196.4 | 1400 | 2072 | 249.3 | 56.13 | 39.23 | 31 | 30.76 | 31.7 | 31.76 | 37.43 | 39.76 | 42.42 | 46.85 | 50.52 | 54.9 | 63.2 | 68.63 | 72.28 | 77.49 | 80.06 | 75.5 | 68.99 | 64.18 | 56.7 | 51.14 | 48.43 | 48.52 | 48.21 | 51.48 | 52.69 | 54.65 | 58.65 | 60.83 | 63.24 | 61.33 | 60.32 | 56.65 | 54.18 | 53.33 | 49.76 | 40.07 | 32.49 | 26.02 | 20.14 | 15.63 | 11.77 | 9.979 | 9.522 | 8.974 | 8.315
565 | 98.31 | 63.8 | 69.67 | 69.83 | 96.49 | 201 | 170.3 | 161.5 | 163.4 | 252.6 | 2291 | 804 | 48.13 | 31.77 | 25.57 | 25.3 | 26.21 | 27.16 | 29.36 | 31.51 | 35.91 | 39.35 | 42.2 | 46.15 | 51.3 | 55.16 | 60.26 | 64.93 | 66.64 | 64.93 | 59.69 | 53.23 | 46.54 | 42.57 | 40.11 | 40.83 | 41.91 | 43.71 | 43.98 | 46.8 | 48.63 | 50.17 | 51.57 | 52.68 | 50.88 | 47.76 | 45.8 | 43.01 | 41.71 | 35.87 | 29.3 | 23.51 | 17.78 | 13.09 | 9.841 | 8.398 | 8.291 | 7.554 | 7.118
570 | 104.6 | 61.23 | 59.41 | 57.46 | 75.39 | 149.5 | 195.8 | 151 | 152.2 | 138.7 | 1090 | 1726 | 176.3 | 27.13 | 22.65 | 20.98 | 20.4 | 22.02 | 24.86 | 27.34 | 28.55 | 32.25 | 34.79 | 39.27 | 43.34 | 46.97 | 50.66 | 51.75 | 53.95 | 53.44 | 50 | 44.27 | 38.86 | 35.56 | 33.16 | 33.48 | 34.69 | 35.61 | 37.37 | 37.9 | 40.94 | 42.74 | 44.22 | 42.88 | 42.34 | 40.37 | 37.82 | 35.26 | 34.53 | 30.5 | 25.69 | 19.22 | 14.6 | 10.95 | 8.199 | 6.772 | 6.27 | 7.143 | 7.007
575 | 92.22 | 66.24 | 51.24 | 60.59 | 67.59 | 96.27 | 196.4 | 152.1 | 139.2 | 125.1 | 181.6 | 2053 | 640.3 | 25.95 | 18.58 | 18.53 | 18.29 | 19.21 | 19.58 | 21.15 | 23.8 | 26.52 | 30.38 | 31.65 | 36.01 | 37.7 | 41.42 | 43.6 | 44.92 | 43.68 | 40.59 | 37.05 | 31.72 | 29.01 | 28.41 | 27.79 | 28.56 | 30.78 | 30.77 | 32.81 | 33.98 | 35.77 | 36.72 | 36.1 | 35.04 | 32.63 | 30.66 | 29.06 | 26.69 | 24.87 | 22.4 | 17.2 | 12.38 | 9.953 | 6.893 | 5.649 | 4.875 | 5.164 | 6.865
580 | 98.63 | 67.28 | 48.15 | 54.57 | 59.77 | 76.93 | 164.2 | 170.5 | 135.5 | 117.5 | 103.1 | 985.5 | 1455 | 135.2 | 15.91 | 14.01 | 14.97 | 15.71 | 16.99 | 17.51 | 19.93 | 22.38 | 23.99 | 25.16 | 29.01 | 31.82 | 34.88 | 36.43 | 37.74 | 36.25 | 33.34 | 29.83 | 27.28 | 24.36 | 23.06 | 23.97 | 23.91 | 24.72 | 25.21 | 27.55 | 28.14 | 28.48 | 29.48 | 29.74 | 28.49 | 28.88 | 26.46 | 24.17 | 21.95 | 19.62 | 18.68 | 15.72 | 11.5 | 7.88 | 6.089 | 4.722 | 4.409 | 4.158 | 4.809
585 | 104.9 | 62.3 | 48.93 | 43.54 | 54.13 | 67.16 | 117.6 | 191.3 | 137.4 | 119.7 | 94.34 | 141.8 | 1738 | 547.5 | 15.85 | 12.34 | 12.1 | 13.7 | 13.76 | 15.34 | 15.84 | 17.49 | 20.1 | 21.75 | 24.25 | 25.19 | 28.11 | 30.03 | 30.14 | 29.4 | 27.72 | 25.26 | 22.27 | 20.63 | 18.72 | 19.03 | 18.61 | 20.74 | 20.84 | 21.59 | 23.21 | 24.15 | 25.2 | 26.22 | 24.36 | 22.84 | 21.37 | 20.28 | 18.06 | 16.4 | 14.72 | 13.23 | 10.11 | 6.892 | 5.247 | 4.339 | 3.974 | 3.329 | 3.933
590 | 105.8 | 62.04 | 49.23 | 39.62 | 50.15 | 63.37 | 89.67 | 184.5 | 154.9 | 120.4 | 93.8 | 63.47 | 785.6 | 1404 | 104.4 | 11.34 | 11.06 | 11.44 | 12.36 | 13.75 | 14.11 | 14.58 | 15.58 | 18.03 | 19.05 | 20.63 | 22.76 | 25.17 | 24.84 | 24.63 | 22.97 | 20.3 | 17.77 | 16.68 | 15.64 | 15.29 | 16.33 | 17.4 | 17.78 | 19.12 | 19.53 | 19.57 | 20.93 | 20.21 | 19.67 | 19.63 | 17.98 | 17.33 | 14.79 | 13.36 | 11.39 | 10.73 | 9.452 | 6.735 | 5.024 | 3.658 | 3.258 | 3.163 | 3.514
595 | 112.3 | 65.64 | 45.76 | 37.04 | 46.92 | 65.97 | 85.55 | 147.7 | 185.2 | 127.5 | 93.78 | 60.59 | 97.66 | 1732 | 459.6 | 11.81 | 9.011 | 9.468 | 9.441 | 11.36 | 12.41 | 12.4 | 13.37 | 14.71 | 16.74 | 17.37 | 19.06 | 20.71 | 21.36 | 20.65 | 19.07 | 17.18 | 14.61 | 14.08 | 13.32 | 13.35 | 14.49 | 14.25 | 15.13 | 15.16 | 16.41 | 16.78 | 17.15 | 17.04 | 16.79 | 16.08 | 15.46 | 13.82 | 12.46 | 11.25 | 9.67 | 8.404 | 8.252 | 6.364 | 4.321 | 3.397 | 3.156 | 3.164 | 3.073
600 | 118.2 | 59.16 | 50.11 | 38.23 | 46.46 | 57.81 | 79.42 | 110.9 | 201.1 | 139.6 | 95.77 | 62.57 | 34.76 | 835.6 | 1205 | 73.33 | 9.534 | 8.105 | 8.479 | 9.283 | 9.717 | 10.01 | 11.86 | 12.51 | 14.09 | 15.31 | 15.81 | 17.28 | 16.85 | 17.13 | 16.02 | 14.11 | 12.54 | 11.84 | 11.66 | 11 | 10.75 | 11.45 | 11.79 | 13.04 | 13.49 | 14.26 | 14.56 | 14.74 | 13.47 | 13.25 | 12.46 | 11.79 | 10.87 | 9.275 | 8.217 | 7.415 | 6.171 | 5.666 | 5.142 | 3.715 | 3.157 | 2.751 | 3.011