## Sheet1
Report date: | 13:38:40, 04/15/2024
Sample: | 1
File name:
Run date: | 13:36:00, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/405.0 | 126.9
2 | 230.0/270.0 | 47.67
3 | 230.0/305.0 | 218.1
4 | 230.0/330.0 | 453.6
5 | 230.0/355.0 | 378.8
6 | 230.0/375.0 | 212.1
7 | 230.0/390.0 | 168.1
8 | 235.0/255.0 | 78.44
9 | 235.0/360.0 | 261.1
10 | 235.0/415.0 | 135.9
11 | 235.0/425.0 | 95.96
12 | 240.0/260.0 | 87.05
13 | 240.0/285.0 | 68.7
14 | 240.0/390.0 | 121.6
15 | 240.0/420.0 | 94.16
16 | 245.0/265.0 | 81.06
17 | 245.0/300.0 | 102.3
18 | 245.0/370.0 | 133.7
19 | 245.0/440.0 | 99.21
20 | 250.0/380.0 | 163
21 | 250.0/395.0 | 119.1
22 | 250.0/425.0 | 98.91
23 | 250.0/455.0 | 92.96
24 | 255.0/280.0 | 118.5
25 | 255.0/410.0 | 104
26 | 255.0/430.0 | 85.06
27 | 255.0/460.0 | 80.42
28 | 260.0/285.0 | 151.8
29 | 260.0/475.0 | 100.4
30 | 265.0/485.0 | 75.93
31 | 270.0/450.0 | 108
32 | 270.0/460.0 | 93.47
33 | 270.0/480.0 | 68.6
34 | 275.0/435.0 | 129.4
35 | 275.0/455.0 | 98.54
36 | 275.0/490.0 | 82.45
37 | 280.0/320.0 | 2713
38 | 280.0/430.0 | 169.4
39 | 285.0/335.0 | 2923
40 | 285.0/440.0 | 164
41 | 285.0/450.0 | 113.1
42 | 285.0/465.0 | 134.7
43 | 285.0/480.0 | 92.81
44 | 295.0/270.0 | 40.4
45 | 295.0/460.0 | 85.12
46 | 305.0/445.0 | 71.49
47 | 305.0/475.0 | 63.87
48 | 305.0/490.0 | 46.45
49 | 310.0/255.0 | 18.34
50 | 310.0/420.0 | 110
51 | 310.0/440.0 | 72.6
52 | 310.0/450.0 | 65.82
53 | 310.0/465.0 | 58
54 | 310.0/480.0 | 57.42
55 | 310.0/495.0 | 51.88
56 | 315.0/260.0 | 19.1
57 | 320.0/360.0 | 237
58 | 320.0/390.0 | 170.4
59 | 320.0/455.0 | 64.79
60 | 325.0/265.0 | 16.41
61 | 325.0/280.0 | 21.56
62 | 325.0/365.0 | 262.2
63 | 325.0/385.0 | 151.7
64 | 325.0/400.0 | 165.5
65 | 325.0/445.0 | 80.24
66 | 325.0/490.0 | 50.24
67 | 330.0/255.0 | 17.99
68 | 330.0/290.0 | 22.02
69 | 330.0/375.0 | 272
70 | 330.0/460.0 | 61.95
71 | 335.0/265.0 | 14.57
72 | 335.0/280.0 | 17.8
73 | 335.0/380.0 | 251.1
74 | 335.0/495.0 | 53.44
75 | 340.0/260.0 | 13.61
76 | 340.0/385.0 | 276.6
77 | 345.0/270.0 | 15.64
78 | 345.0/390.0 | 246.3
79 | 345.0/470.0 | 47.78
80 | 350.0/255.0 | 12.62
81 | 350.0/400.0 | 193.6
82 | 355.0/290.0 | 15.17
83 | 355.0/405.0 | 170.6
84 | 355.0/485.0 | 37.36
85 | 360.0/260.0 | 13.49
86 | 360.0/275.0 | 14.77
87 | 360.0/295.0 | 18.62
88 | 360.0/410.0 | 167
89 | 360.0/455.0 | 55.38
90 | 360.0/470.0 | 38.96
91 | 360.0/480.0 | 42.54
92 | 365.0/285.0 | 15.19
93 | 365.0/415.0 | 144.5
94 | 365.0/445.0 | 51.07
95 | 365.0/460.0 | 50.83
96 | 370.0/255.0 | 16.4
97 | 370.0/270.0 | 14.64
98 | 370.0/300.0 | 12.65
99 | 370.0/315.0 | 18.35
100 | 370.0/425.0 | 125.9
101 | 370.0/455.0 | 41.75
102 | 370.0/470.0 | 39.31
103 | 370.0/485.0 | 32.38
104 | 375.0/265.0 | 18.87
105 | 375.0/295.0 | 12.7
106 | 375.0/320.0 | 19.95
107 | 375.0/430.0 | 115.2
108 | 375.0/460.0 | 36.33
109 | 375.0/490.0 | 33.64
110 | 380.0/270.0 | 19.09
111 | 380.0/290.0 | 13.58
112 | 380.0/435.0 | 102.5
113 | 380.0/480.0 | 28.52
114 | 385.0/305.0 | 10.72
115 | 385.0/445.0 | 84.04
116 | 390.0/275.0 | 17.55
117 | 390.0/320.0 | 11.88
118 | 390.0/420.0 | 34.29
119 | 390.0/450.0 | 77.09
120 | 390.0/485.0 | 23.58
121 | 395.0/280.0 | 16.42
122 | 395.0/330.0 | 12.14
123 | 395.0/455.0 | 77.26
124 | 400.0/260.0 | 15.38
125 | 400.0/310.0 | 10.57
126 | 400.0/320.0 | 11.36
127 | 400.0/465.0 | 61.07
128 | 400.0/490.0 | 20.06
129 | 405.0/290.0 | 12.07
130 | 405.0/470.0 | 50.8
131 | 410.0/355.0 | 11.99
132 | 415.0/265.0 | 11.16
133 | 415.0/300.0 | 11.19
134 | 415.0/335.0 | 8.932
135 | 415.0/370.0 | 12.76
136 | 415.0/485.0 | 37.57
137 | 420.0/280.0 | 11.2
138 | 420.0/305.0 | 10.39
139 | 420.0/330.0 | 9.635
140 | 420.0/455.0 | 23.77
141 | 420.0/490.0 | 34.46
142 | 425.0/255.0 | 11.51
143 | 425.0/285.0 | 9.301
144 | 425.0/310.0 | 11.49
145 | 425.0/370.0 | 10.76
146 | 430.0/315.0 | 10.59
147 | 430.0/375.0 | 10.35
148 | 430.0/470.0 | 18.29
149 | 435.0/265.0 | 8.685
150 | 435.0/275.0 | 9.936
151 | 435.0/290.0 | 9.039
152 | 435.0/305.0 | 9.834
153 | 435.0/400.0 | 13.83
154 | 435.0/485.0 | 16.3
155 | 440.0/280.0 | 9.264
156 | 440.0/295.0 | 11.05
157 | 440.0/360.0 | 8.235
158 | 445.0/270.0 | 7.777
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 47.75 | 35.33 | 74.54 | 32.21 | 70.51 | 3612 | 9999.9 | 3163 | 59.91 | 10.39 | 30.87 | 27.29 | 25.89 | 26.05 | 21.73 | 13.15 | 17.66 | 15.86 | 13.03 | 18.4 | 11.32 | 8.251 | 14.11 | 15.34 | 6.754 | 10.73 | 5.122 | 15.03 | 18.89 | 16.29 | 13.23 | 13.2 | 11.11 | 11.31 | 18.22 | 15.63 | 10.72 | 10.88 | 8.595 | 6.383 | 9.815 | 9.809 | 6.326 | 4.819 | 4.708 | 4.623 | 3.617
255 | 29.55 | 22.77 | 17.99 | 78.44 | 28.05 | 266.5 | 3181 | 9999.9 | 6800 | 193.7 | 46.27 | 41.92 | 32.33 | 32.76 | 18.14 | 21.04 | 15.84 | 17.41 | 18.34 | 16.35 | 14.67 | 16.2 | 17.99 | 13.14 | 5.768 | 11.17 | 12.62 | 11.57 | 10.8 | 13.85 | 16.4 | 15.97 | 8.64 | 12.16 | 12.27 | 11.4 | 15.37 | 10.66 | 8.166 | 6.37 | 7.196 | 11.51 | 8.391 | 6.113 | 4.749 | 3.399 | 5.226
260 | 24.74 | 31.3 | 25.69 | 72.15 | 87.05 | 53.09 | 241 | 4670 | 9999.9 | 8278 | 240.1 | 30.21 | 48.59 | 22.17 | 16.66 | 11.87 | 16.57 | 12.9 | 17.26 | 19.1 | 16.1 | 6.466 | 9.268 | 10.95 | 13.61 | 11.62 | 11.37 | 9.465 | 13.49 | 6.761 | 16.37 | 12.47 | 17.79 | 13.05 | 9.203 | 8.978 | 15.38 | 13.21 | 9.913 | 10.69 | 7.396 | 6.812 | 7.417 | 7.224 | 6.028 | 4.953 | 3.556
265 | 36.13 | 23.18 | 18.61 | 23.21 | 52.12 | 81.06 | 50.47 | 350.6 | 5273 | 9999.9 | 9999.9 | 288.6 | 39.53 | 31.98 | 25.7 | 32.18 | 16.98 | 10.99 | 18.12 | 10.51 | 10.78 | 16.41 | 9.521 | 14.57 | 13.3 | 13.75 | 11.37 | 7.107 | 10.06 | 9.527 | 11.25 | 18.87 | 17.59 | 17.74 | 12.39 | 10.13 | 12.24 | 7.61 | 8.607 | 11.16 | 5.369 | 6.803 | 5.181 | 8.685 | 7.572 | 5.171 | 5.476
270 | 26.08 | 25.75 | 47.67 | 36.41 | 24.3 | 59.91 | 54.99 | 57.71 | 384.3 | 6799 | 9999.9 | 9999.9 | 444.6 | 26.04 | 28.67 | 40.4 | 28.87 | 10.54 | 14.98 | 14.16 | 9.447 | 11.03 | 8.998 | 10.75 | 12.82 | 15.64 | 12.94 | 10.73 | 14.76 | 11.14 | 14.64 | 12.83 | 19.09 | 15.12 | 13.18 | 8.771 | 8.774 | 10.7 | 10.17 | 10.28 | 5.956 | 8.586 | 8.194 | 7.078 | 6.598 | 7.777 | 4.806
275 | 43.89 | 31.75 | 47.62 | 27.23 | 19.9 | 35.81 | 96.2 | 96.55 | 66.29 | 502.3 | 9999.9 | 9999.9 | 9999.9 | 531.6 | 39.73 | 38.3 | 32.23 | 18.05 | 15.21 | 20.38 | 14.69 | 11.18 | 15.74 | 16.99 | 9.742 | 11.21 | 10.6 | 7.279 | 14.77 | 10.71 | 12.67 | 9.632 | 8.904 | 9.467 | 17.55 | 11.72 | 10.09 | 9.717 | 9.237 | 8.727 | 9.12 | 8.077 | 7.312 | 9.936 | 7.658 | 5.224 | 6.852
280 | 45.2 | -4.561 | 29.64 | 26.14 | 45.06 | 37.6 | 63.54 | 118.5 | 79.43 | 93.93 | 691.6 | 9999.9 | 9999.9 | 9999.9 | 525.1 | 41.34 | 44.41 | 35.95 | 20.21 | 18.87 | 18.73 | 21.56 | 15.01 | 17.8 | 14.22 | 15.61 | 12.39 | 9.857 | 13.01 | 12.28 | 9.657 | 9.77 | 12.26 | 13.05 | 15.52 | 16.42 | 14.38 | 10.12 | 8.338 | 9.771 | 11.2 | 7.722 | 8.235 | 6.679 | 9.264 | 5.379 | 6.297
285 | 53.25 | 41.38 | 32.42 | 48.39 | 68.7 | 52.7 | 33.05 | 70.73 | 151.8 | 93.13 | 155.6 | 756.9 | 9999.9 | 9999.9 | 9999.9 | 610.8 | 45.38 | 45.68 | 32.43 | 29.25 | 24.42 | 20.87 | 20.21 | 13.44 | 18.17 | 10.26 | 13.32 | 9.47 | 9.189 | 15.19 | 9.75 | 8.565 | 10.55 | 8.733 | 9.911 | 11.46 | 12.21 | 11.33 | 8.909 | 5.437 | 7.044 | 9.301 | 7.792 | 7.983 | 8.044 | 6.953 | 6.698
290 | 95.41 | 65.18 | 74.19 | 60.04 | 54.97 | 21.31 | 51.35 | 51.06 | 137.7 | 224.1 | 159.3 | 257.3 | 880.7 | 9999.9 | 9999.9 | 9999.9 | 581 | 59.87 | 40.56 | 42.79 | 31.85 | 19.56 | 22.02 | 18.15 | 18.97 | 8.928 | 13.15 | 15.17 | 12.96 | 11.24 | 11.17 | 9.447 | 13.58 | 8.388 | 8.168 | 4.836 | 11.89 | 12.07 | 9.478 | 6.876 | 6.154 | 8.794 | 8.277 | 9.039 | 7.621 | 6.471 | 7.746
295 | 55.49 | 65.46 | 100.8 | 104.5 | 61 | 76.87 | 56.85 | 56.19 | 106.1 | 304.4 | 380.5 | 351.4 | 438.1 | 1100 | 9999.9 | 9999.9 | 9999.9 | 575 | 52.72 | 55.95 | 40.68 | 16.01 | 20.72 | 21.48 | 21.45 | 14.05 | 14.27 | 14.32 | 18.62 | 9.384 | 9.065 | 12.7 | 12.38 | 9.048 | 5.259 | 5.876 | 8.509 | 11.39 | 8.102 | 8.25 | 8.04 | 6.813 | 6.135 | 8.728 | 11.05 | 6.963 | 5.807
300 | 93.11 | 116.5 | 216.2 | 85.58 | 97.82 | 102.3 | 73.85 | 87.37 | 156.6 | 334.1 | 583.8 | 692.6 | 699.7 | 809.5 | 1229 | 9999.9 | 9999.9 | 9999.9 | 544 | 59.15 | 55.95 | 27.4 | 22.82 | 20.8 | 21.43 | 22.14 | 13.9 | 13.6 | 13.75 | 11.5 | 12.65 | 12.18 | 11.39 | 7.492 | 6.588 | 5.24 | 6.547 | 8.268 | 9.409 | 11.19 | 9.653 | 8.294 | 6.725 | 5.949 | 7.043 | 9.959 | 6.669
305 | 85.01 | 179.3 | 218.1 | 178.9 | 123.5 | 94.74 | 131.2 | 142.4 | 224.1 | 430.2 | 551.6 | 927.3 | 1218 | 1219 | 967.5 | 1232 | 9999.9 | 9999.9 | 9999.9 | 522.1 | 64.46 | 37.74 | 40.28 | 23 | 19.23 | 19.89 | 19.98 | 18.05 | 15.72 | 11.04 | 12.4 | 12.68 | 8.372 | 10.72 | 9.525 | 9.458 | 9.527 | 7.925 | 7.635 | 9.702 | 10.39 | 9.563 | 7.187 | 9.834 | 7.269 | 10.35 | 9.83
310 | 125 | 190.9 | 203 | 229.9 | 117.6 | 94.84 | 138.9 | 229.4 | 317.2 | 560.6 | 808.2 | 1230 | 1702 | 1713 | 1305 | 854 | 1059 | 9999.9 | 9999.9 | 9999.9 | 564.8 | 48.86 | 46.75 | 39.98 | 20 | 24.58 | 20.19 | 15.52 | 13.93 | 14.89 | 11.06 | 12.6 | 12.28 | 7.863 | 8.24 | 9.483 | 10.57 | 8.888 | 7.031 | 7.975 | 7.772 | 11.49 | 8.634 | 7.697 | 8.16 | 9.156 | 8.226
315 | 139.2 | 190.7 | 306.7 | 261.6 | 224.7 | 193.9 | 179.7 | 230.8 | 406.1 | 688.1 | 1161 | 1524 | 2102 | 2312 | 1914 | 1097 | 520.9 | 872.3 | 9999.9 | 9999.9 | 9999.9 | 568.6 | 56.97 | 47.55 | 31.3 | 27.68 | 18.07 | 21.73 | 13.85 | 18.33 | 18.35 | 11.29 | 11.36 | 9.14 | 10.73 | 8.14 | 7.504 | 8.65 | 7.09 | 8.904 | 8.026 | 7.476 | 10.59 | 10.57 | 8.137 | 8.069 | 7.593
320 | 154 | 249.3 | 371.6 | 308.1 | 162 | 206.1 | 201.1 | 240 | 527.7 | 835.5 | 1366 | 1673 | 2713 | 2268 | 2375 | 1386 | 587.3 | 270.8 | 777.1 | 9999.9 | 9999.9 | 9999.9 | 497.1 | 73.45 | 47.14 | 36.77 | 37.59 | 20.7 | 13.99 | 20.23 | 16.28 | 19.95 | 9.94 | 10.21 | 11.88 | 9.253 | 11.36 | 7.771 | 8.279 | 8.418 | 6.541 | 6.559 | 9.852 | 10.24 | 8.598 | 8.415 | 9.724
325 | 167 | 357 | 437.5 | 260.8 | 211.9 | 156.5 | 211.8 | 298.2 | 583 | 947.2 | 1422 | 1772 | 2495 | 2842 | 2534 | 1589 | 727.2 | 259.3 | 174.3 | 764.3 | 9999.9 | 9999.9 | 9999.9 | 509.3 | 57.28 | 49.44 | 29.02 | 26.62 | 23.97 | 19.78 | 17 | 16.78 | 12.6 | 12.54 | 9.148 | 9.199 | 7.587 | 9.129 | 8.337 | 5.006 | 5.909 | 7.459 | 8.77 | 9.248 | 8.463 | 8.771 | 8.134
330 | 161.4 | 415.1 | 453.6 | 337.5 | 202 | 216.6 | 224.2 | 281.9 | 598.3 | 927.1 | 1383 | 1952 | 2710 | 2895 | 2609 | 1860 | 840.8 | 246.6 | 138.4 | 147.5 | 774.7 | 9999.9 | 9999.9 | 9999.9 | 465.6 | 64.96 | 39.63 | 27.71 | 32.89 | 22.19 | 22.71 | 17.39 | 14.6 | 12.57 | 8.352 | 12.14 | 7.393 | 8.179 | 7.744 | 8.413 | 9.635 | 9.095 | 6.894 | 7.646 | 8.182 | 8.241 | 8.589
335 | 193 | 317.3 | 442.7 | 409.4 | 280 | 213.4 | 203.6 | 321.4 | 560.6 | 910.6 | 1414 | 2195 | 2725 | 2923 | 2415 | 1654 | 956.2 | 370 | 134.4 | 88.56 | 127.3 | 761.5 | 9999.9 | 9999.9 | 9999.9 | 461.8 | 69.92 | 37.97 | 29.48 | 27.26 | 22.06 | 20.33 | 16.08 | 14.93 | 12.88 | 10.71 | 7.686 | 8.748 | 8.574 | 8.932 | 5.779 | 7.191 | 7.295 | 6.252 | 9.156 | 9.999 | 10.03
340 | 167.6 | 305 | 397.5 | 316.3 | 212.4 | 184.2 | 269.9 | 282 | 559.1 | 892.9 | 1276 | 1891 | 2533 | 2647 | 2620 | 1612 | 828.4 | 512 | 162.1 | 78.19 | 67.46 | 119.3 | 770.9 | 9999.9 | 9999.9 | 9999.9 | 502.5 | 75.95 | 45.51 | 38.51 | 26.43 | 23.28 | 18.21 | 17.45 | 14.23 | 11.34 | 10.33 | 8.794 | 9.338 | 7.385 | 7.206 | 5.332 | 7.464 | 5.524 | 4.798 | 8.459 | 9.327
345 | 126.2 | 254.9 | 373.5 | 287 | 189.6 | 151.7 | 187.5 | 304.4 | 541.4 | 864.4 | 1353 | 1770 | 2250 | 2236 | 2340 | 1409 | 721.1 | 412.5 | 300.8 | 103.8 | 61.43 | 83.81 | 129.1 | 783.5 | 9999.9 | 9999.9 | 9999.9 | 449.8 | 60.56 | 51.89 | 24.37 | 24.36 | 19.8 | 14.39 | 14.35 | 11.68 | 11.57 | 8.708 | 7.147 | 9.747 | 7.777 | 6.24 | 6.682 | 6.699 | 6.343 | 6.58 | 8.23
350 | 169.4 | 254.6 | 361.3 | 272.9 | 167.7 | 143.9 | 200.5 | 226.5 | 469.2 | 757.9 | 1088 | 1528 | 2006 | 2303 | 1920 | 1245 | 613.7 | 255.8 | 299.8 | 256.6 | 63.69 | 60.79 | 70.27 | 119 | 764 | 9999.9 | 9999.9 | 9999.9 | 431.4 | 65.13 | 48.89 | 28.97 | 22.01 | 15.96 | 12.37 | 11.91 | 10.88 | 10.19 | 8.836 | 8.839 | 9.675 | 6.353 | 8.249 | 7.159 | 7.489 | 7.003 | 7.64
355 | 127.2 | 275.7 | 378.8 | 180.2 | 123.7 | 103.5 | 160.3 | 227.9 | 381 | 614.9 | 901.5 | 1366 | 1822 | 2024 | 1795 | 1195 | 483.9 | 227.1 | 143.1 | 248.4 | 150.1 | 60.94 | 58.18 | 80.87 | 107.3 | 764.3 | 9999.9 | 9999.9 | 9999.9 | 406.7 | 69.28 | 38.5 | 25.56 | 21.46 | 19.47 | 15.6 | 14.13 | 9.427 | 11.99 | 9.662 | 7.704 | 8.867 | 8.38 | 6.76 | 5.21 | 7.409 | 5.287
360 | 159.8 | 183.5 | 225.5 | 261.1 | 124.3 | 127.3 | 185.5 | 268.1 | 386.5 | 537.4 | 865.4 | 1194 | 1421 | 1587 | 1477 | 1045 | 426 | 206.1 | 92.5 | 154.8 | 237 | 150.3 | 86.75 | 64.91 | 80.68 | 137.5 | 765.8 | 9999.9 | 9999.9 | 9999.9 | 408.1 | 58.92 | 45.39 | 32.03 | 21.46 | 14.04 | 14.34 | 11.04 | 10.09 | 10.57 | 7.777 | 9.026 | 7.648 | 7.012 | 8.235 | 5.647 | 5.982
365 | 138.4 | 145.8 | 229 | 209.2 | 140.9 | 117.6 | 148.6 | 146.4 | 293.8 | 472.5 | 728.4 | 966.6 | 1395 | 1434 | 1323 | 839.1 | 361.8 | 202.3 | 127.1 | 103.6 | 154.8 | 262.2 | 137.1 | 76.25 | 74.13 | 88.13 | 134.9 | 765.5 | 9999.9 | 9999.9 | 9999.9 | 360.3 | 57.34 | 43.19 | 24.12 | 17.63 | 13.74 | 14.92 | 11.7 | 11.11 | 11.57 | 8.76 | 8.159 | 6.521 | 6.111 | 5.844 | 7.264
370 | 115.6 | 144 | 187.4 | 163.8 | 115 | 133.7 | 106.9 | 196.7 | 223.1 | 448.5 | 523.4 | 908.2 | 1069 | 1192 | 1022 | 733 | 323.9 | 186.4 | 113 | 100.9 | 85.89 | 235.6 | 265.9 | 139.5 | 89.01 | 82.94 | 83.44 | 120.8 | 773.4 | 9999.9 | 9999.9 | 9999.9 | 342.5 | 58.31 | 41.31 | 26.17 | 20.19 | 14.19 | 10.11 | 12.76 | 8.855 | 10.76 | 7.88 | 7.185 | 7.009 | 7.002 | 7.056
375 | 114.2 | 164.6 | 212.1 | 198.8 | 149.8 | 97.25 | 145.5 | 157.7 | 227.4 | 364.8 | 521.4 | 693.6 | 910.5 | 881.3 | 879.1 | 629.9 | 330 | 199.5 | 104 | 106.9 | 113.8 | 138.9 | 272 | 245.4 | 120.1 | 91.5 | 72.93 | 72.07 | 119.1 | 777.1 | 9999.9 | 9999.9 | 9999.9 | 308.2 | 51.37 | 36.94 | 22.49 | 17.75 | 14.95 | 11.21 | 9.061 | 8.611 | 10.35 | 9.754 | 6.848 | 6.065 | 5.639
380 | 59.71 | 107 | 165.8 | 134.9 | 104.1 | 109.6 | 163 | 140 | 162.6 | 237.6 | 375.8 | 605 | 668.7 | 771.8 | 710.2 | 474.5 | 308.4 | 161.3 | 107.4 | 119.6 | 145.9 | 135.4 | 169.6 | 251.1 | 201.8 | 99.1 | 82.3 | 71.37 | 72.1 | 107.1 | 780.5 | 9999.9 | 9999.9 | 9999.9 | 330.1 | 47.6 | 38.63 | 21.99 | 18.16 | 13.38 | 12.9 | 9.204 | 6.406 | 9.791 | 7.818 | 6.443 | 5.746
385 | 73.87 | 109 | 99.95 | 164.9 | 104.5 | 115.4 | 86.48 | 166.3 | 168.7 | 218.2 | 338.7 | 461.2 | 607.3 | 674.1 | 667.4 | 420.2 | 256.1 | 164.4 | 142.3 | 122.7 | 122.4 | 151.7 | 128 | 188.1 | 276.6 | 140.9 | 93.54 | 59.91 | 65.84 | 62.01 | 108.6 | 777.2 | 9999.9 | 9999.9 | 9999.9 | 256.7 | 47.4 | 29.46 | 21.15 | 14.34 | 15.88 | 10.56 | 8.723 | 9.076 | 8.185 | 7.127 | 6.856
390 | 62.45 | 89.2 | 168.1 | 91.72 | 121.6 | 90.6 | 110.4 | 109.5 | 170.5 | 221.2 | 312.2 | 397.1 | 519.7 | 569.9 | 521.3 | 391.7 | 212.3 | 146.2 | 144.8 | 115.1 | 170.4 | 141.7 | 136.1 | 155.2 | 189.4 | 246.3 | 128.4 | 60.62 | 50.02 | 51.45 | 59.69 | 106.1 | 749.8 | 9999.9 | 9999.9 | 9999.9 | 270.8 | 46.42 | 29.74 | 17.18 | 16 | 12.01 | 9.835 | 8.907 | 9.739 | 7.622 | 6.964
395 | 121.7 | 108.4 | 94.85 | 100.7 | 96.72 | 93.46 | 119.1 | 90.29 | 110.9 | 166.2 | 244.2 | 330.5 | 469.6 | 493.9 | 442 | 294.5 | 192.8 | 121.9 | 128.5 | 129 | 146.5 | 156.5 | 127.9 | 137 | 137.6 | 208.8 | 187.1 | 94.81 | 51.34 | 48.53 | 48.78 | 54.99 | 96.29 | 757 | 9999.9 | 9999.9 | 9999.9 | 233.4 | 45.85 | 25.81 | 21.48 | 14.42 | 10.45 | 9.843 | 8.28 | 7.944 | 9.054
400 | 71.21 | 104.8 | 85.49 | 103.9 | 45.74 | 75.9 | 77.29 | 88.1 | 134.7 | 152.1 | 215 | 257.3 | 353.5 | 383.9 | 360.8 | 245.1 | 189.7 | 128.6 | 136.1 | 116.7 | 133.5 | 165.5 | 156.1 | 153.6 | 123.1 | 124 | 193.6 | 153.2 | 63.5 | 41.64 | 48.39 | 46.6 | 52.66 | 102.7 | 747.2 | 9999.9 | 9999.9 | 9999.9 | 208.6 | 38.95 | 24.88 | 20.51 | 9.487 | 13.83 | 10.06 | 10.52 | 7.185
405 | 59.72 | 126.9 | 118.2 | 98.05 | 73.5 | 69.26 | 49.88 | 93.36 | 99.96 | 121.4 | 167.2 | 238.4 | 261.8 | 289.5 | 310.7 | 221.2 | 157.2 | 131 | 115.6 | 116.4 | 132.9 | 150.4 | 149.5 | 110.3 | 116 | 86.97 | 110.5 | 170.6 | 106.3 | 46.49 | 34.09 | 36.25 | 39.52 | 43 | 89.91 | 719.3 | 9999.9 | 9999.9 | 9999.9 | 211.9 | 38.13 | 27.63 | 20.03 | 10.87 | 11.45 | 8.166 | 8.186
410 | 64.66 | 91.01 | 110.8 | 119.7 | 63.26 | 83.49 | 81.57 | 104 | 87.78 | 113.6 | 191 | 213.1 | 176.9 | 228.8 | 283.9 | 189 | 151.3 | 112.4 | 124.7 | 122.9 | 115.7 | 142.2 | 124.7 | 122 | 113.4 | 91.79 | 72.3 | 111.7 | 167 | 75.85 | 47.66 | 38.29 | 39.05 | 42.59 | 42.08 | 88.68 | 726.4 | 9999.9 | 9999.9 | 9999.9 | 189 | 37.45 | 23.73 | 16.09 | 11.96 | 9.902 | 9.077
415 | 68.96 | 86.82 | 112.6 | 135.9 | 59.07 | 73.04 | 76.47 | 93.23 | 87.69 | 107.1 | 159.7 | 158.1 | 225.1 | 234.9 | 224.3 | 129.5 | 109.4 | 103.1 | 87.3 | 121.7 | 113.1 | 121.3 | 120.4 | 115.4 | 83.06 | 78.21 | 66.85 | 70.8 | 144.4 | 144.5 | 59.99 | 42.2 | 37.19 | 34.15 | 29.4 | 35.31 | 86.68 | 733.3 | 9999.9 | 9999.9 | 9999.9 | 181.4 | 33.19 | 24.75 | 13.95 | 16.02 | 10.7
420 | 74.79 | 61.8 | 64.64 | 68.89 | 94.16 | 68.01 | 67.09 | 53.51 | 94.3 | 90.37 | 143.4 | 172 | 162.9 | 206.1 | 207.4 | 131.6 | 98.92 | 104 | 110 | 103.2 | 107.1 | 101.6 | 123 | 103.8 | 84.03 | 87.5 | 68.62 | 62.58 | 76.69 | 139.7 | 113.4 | 58.28 | 37.61 | 32.49 | 34.29 | 31.09 | 34.07 | 87.17 | 723.8 | 9999.9 | 9999.9 | 9999.9 | 178.5 | 31.08 | 25.21 | 15.72 | 10.87
425 | 63.24 | 39.1 | 75.92 | 95.96 | 60 | 80.2 | 98.91 | 84.44 | 52.38 | 66.98 | 117.8 | 130.2 | 142.8 | 179.9 | 165.8 | 135.5 | 104 | 93.1 | 74.81 | 104.9 | 95.05 | 88.31 | 107.6 | 78.33 | 72.82 | 78.05 | 61.66 | 60.86 | 53.33 | 69.4 | 125.9 | 76.28 | 40.8 | 27.83 | 30.95 | 24.96 | 28.76 | 32.6 | 82.29 | 728.1 | 9999.9 | 9999.9 | 9999.9 | 164.2 | 36.57 | 22.42 | 16.1
430 | 164.3 | 78.39 | 70.03 | 75.13 | 81.93 | 72.3 | 68.64 | 85.06 | 60.99 | 51.22 | 104.9 | 112.3 | 169.4 | 131.3 | 147.9 | 118.6 | 81.77 | 92.19 | 70.33 | 83.57 | 82.86 | 76.47 | 97.9 | 87.71 | 72.17 | 76.95 | 59.89 | 54.74 | 57.84 | 43.35 | 73.58 | 115.2 | 57.37 | 29.08 | 28.59 | 21.26 | 28.96 | 27.22 | 31.63 | 79.84 | 715.2 | 9999.9 | 9999.9 | 9999.9 | 164.8 | 33.16 | 22.95
435 | 289.4 | 103.5 | 88.67 | 59.51 | 95.33 | 97.16 | 55.05 | 49.21 | 56.68 | 72.23 | 89.43 | 129.4 | 87.71 | 136.3 | 139.1 | 113.5 | 71.83 | 75.8 | 70.61 | 90.06 | 86.01 | 69.33 | 93.62 | 84.08 | 78.75 | 72.06 | 63.72 | 52.67 | 47.21 | 49.19 | 48.21 | 76.59 | 102.5 | 49.98 | 27.5 | 24.25 | 27.57 | 21.57 | 29.36 | 31.23 | 77.7 | 720.6 | 9999.9 | 9999.9 | 9999.9 | 162.5 | 32.54
440 | 410.9 | 158.8 | 80.99 | 60.69 | 72.22 | 99.21 | 82.59 | 58.05 | 53.68 | 102.1 | 100.9 | 114.6 | 95.18 | 164 | 127.5 | 86.51 | 93.24 | 59.53 | 72.6 | 72.36 | 60.53 | 73.72 | 54.19 | 85.13 | 73.3 | 71.05 | 54.41 | 51 | 48.16 | 45.83 | 42.69 | 48.88 | 88.68 | 75.96 | 34.82 | 23.01 | 18.37 | 19.32 | 23.11 | 24.58 | 30.49 | 80.99 | 720 | 9999.9 | 9999.9 | 9999.9 | 135.7
445 | 214.2 | 671.5 | 91.2 | 52.94 | 62.92 | 79.38 | 70.78 | 37.34 | 67.16 | 79.32 | 77.38 | 108.9 | 90.17 | 91.05 | 104.9 | 75.18 | 66.2 | 71.49 | 57.35 | 51.44 | 53.53 | 80.24 | 59.97 | 70.48 | 64.28 | 59.29 | 57.09 | 52.81 | 47.41 | 51.07 | 38.36 | 35.82 | 46.21 | 84.04 | 53.64 | 25.95 | 17.53 | 21.56 | 24.09 | 22.25 | 25.01 | 29.38 | 76.58 | 714.5 | 9999.9 | 9999.9 | 9999.9
450 | 90.93 | 991.4 | 303.3 | 80.22 | 72.44 | 60.02 | 90.4 | 58.41 | 58.91 | 54.41 | 108 | 69.48 | 75.44 | 113.1 | 89.21 | 74.11 | 54.32 | 65.2 | 65.82 | 65.06 | 58.19 | 56.24 | 57.8 | 64.57 | 63.68 | 63.66 | 58.39 | 49.79 | 48.4 | 36.49 | 35.93 | 32.63 | 40.16 | 48.67 | 77.09 | 40.09 | 26.09 | 19.89 | 22.13 | 18.62 | 18.72 | 20.59 | 31.59 | 78.29 | 721.1 | 9999.9 | 9999.9
455 | 42.66 | 471.4 | 880.8 | 118 | 104.1 | 60.63 | 92.96 | 69.06 | 65.23 | 27.71 | 79.47 | 98.54 | 70.14 | 91.02 | 68.72 | 85 | 56.96 | 52.44 | 56.98 | 53.16 | 64.79 | 63.33 | 47.51 | 60.11 | 48.54 | 52.61 | 51.42 | 44.52 | 55.38 | 35.17 | 41.75 | 33.74 | 33.03 | 30.55 | 48.1 | 77.26 | 31.73 | 19.36 | 19.38 | 19.55 | 23.77 | 17.94 | 21.91 | 22.16 | 75.32 | 726.6 | 9999.9
460 | 55.02 | 137 | 1542 | 535.2 | 49.68 | 45.93 | 56.35 | 80.42 | 49.91 | 55.87 | 93.47 | 81.27 | 69.96 | 85.9 | 68.68 | 85.12 | 66.08 | 59.66 | 49.64 | 41.46 | 46.13 | 56.18 | 61.95 | 53.98 | 52.61 | 41.35 | 44.26 | 40.68 | 35.01 | 50.83 | 31.7 | 36.33 | 32.38 | 26.81 | 31.22 | 53.22 | 45.84 | 25.92 | 19.02 | 17.68 | 18.36 | 15.66 | 19.36 | 22.96 | 27.51 | 74.43 | 701.5
465 | 87.89 | 38.28 | 923 | 1156 | 129.3 | 80.58 | 65.44 | 65.22 | 64.5 | 85.92 | 89.09 | 77.26 | 90.29 | 134.7 | 72.32 | 67.91 | 51.99 | 38.13 | 58 | 54.84 | 54.23 | 52.99 | 59.78 | 52.49 | 37.69 | 47.07 | 43.05 | 43.66 | 35.6 | 48.98 | 34.17 | 32.71 | 28.6 | 27.5 | 23.98 | 26.69 | 61.07 | 42.95 | 20.93 | 14.97 | 17.9 | 17.3 | 16.78 | 18.07 | 21.37 | 27.87 | 70.79
470 | 112.1 | 82.54 | 223.3 | 2040 | 748.4 | 131.2 | 80.21 | 36.18 | 47.29 | 59.26 | 50.43 | 81.53 | 76.4 | 102.1 | 78.69 | 65.84 | 59.82 | 56.89 | 35.77 | 47.44 | 45.52 | 48.7 | 50.51 | 45.14 | 47.63 | 47.78 | 32.38 | 36.88 | 38.96 | 37.28 | 39.31 | 31.84 | 32.32 | 24.23 | 23.79 | 21.62 | 37.9 | 50.8 | 28.73 | 17.29 | 17.27 | 17.67 | 18.29 | 15.18 | 22.92 | 18.19 | 21.74
475 | 76.16 | 104.1 | 83.56 | 1321 | 2222 | 99.01 | 74.23 | 41.03 | 100.4 | 45.96 | 59.98 | 73.42 | 79.68 | 68.31 | 69.71 | 65.92 | 46.52 | 63.87 | 54.78 | 55.59 | 45.61 | 45.99 | 35.46 | 47.98 | 44.88 | 36.93 | 38.18 | 32.19 | 35.34 | 34.36 | 29.14 | 25.55 | 25.32 | 24.2 | 21.81 | 20.66 | 21.44 | 42.31 | 41.03 | 24.5 | 18.78 | 14.88 | 15.08 | 13.7 | 11.73 | 17.81 | 17
480 | 82.33 | 87.97 | 94.78 | 300.7 | 2900 | 818.2 | 64.77 | 47.76 | 55.69 | 58.52 | 68.6 | 51.78 | 54.21 | 92.81 | 52.82 | 58.86 | 54.36 | 41.34 | 57.42 | 43.27 | 43.1 | 45.58 | 34.25 | 29.34 | 40.81 | 34.35 | 34.04 | 34.36 | 42.54 | 26.56 | 27.74 | 27.8 | 28.52 | 20.93 | 19.74 | 19.94 | 18.77 | 20.17 | 38.65 | 36.67 | 14.79 | 15.44 | 13.42 | 14.62 | 16.3 | 14.06 | 16.2
485 | 51.93 | 70.46 | 106.7 | 88.8 | 1927 | 2512 | 141 | 52.99 | 72.83 | 75.93 | 51.8 | 54.36 | 63.93 | 90.03 | 75.05 | 43.33 | 51.13 | 35.19 | 44.39 | 29.29 | 34.71 | 40.81 | 36.76 | 29.52 | 39.69 | 32.55 | 30.21 | 37.36 | 30.29 | 28.68 | 32.38 | 30.17 | 24.13 | 21.43 | 23.58 | 19.16 | 17.37 | 17.36 | 22.1 | 37.57 | 25.58 | 14.22 | 14.71 | 16.3 | 13.82 | 13.25 | 17.26
490 | 75.62 | 78.98 | 69.61 | 75.09 | 432.9 | 3761 | 857 | 50.76 | 51.58 | 68.62 | 50.54 | 82.45 | 66.95 | 67.08 | 60.97 | 57.31 | 41.91 | 46.45 | 45.63 | 34.74 | 32.63 | 50.24 | 35.95 | 42.09 | 33.72 | 36.55 | 27.78 | 35.16 | 29.19 | 29.04 | 28.07 | 33.64 | 23.55 | 19.43 | 17.96 | 16.42 | 20.06 | 19.46 | 16.22 | 27.25 | 34.46 | 25.39 | 13.08 | 12.66 | 13.95 | 11.85 | 14.28
495 | 116.3 | 107.6 | 64.43 | 73.9 | 156.2 | 2369 | 2487 | 124.9 | 73.66 | 54.32 | 59.73 | 56.42 | 65.59 | 65.98 | 83.27 | 48.26 | 39.92 | 37.97 | 51.88 | 33.85 | 40.91 | 34.85 | 29.22 | 53.44 | 28.19 | 30.48 | 31.06 | 23.49 | 25.09 | 28.85 | 25.48 | 23.68 | 20.05 | 23.33 | 18.75 | 18.27 | 17.82 | 17.05 | 17.5 | 23.38 | 28.63 | 28.13 | 17.95 | 15.88 | 11.62 | 16.06 | 10.25
500 | 65.37 | 33.18 | 40.98 | 76.29 | 40.57 | 652.2 | 3513 | 652.7 | 43.6 | 27.74 | 57.34 | 53.9 | 74.37 | 65.68 | 46.22 | 44.7 | 50.01 | 50.65 | 21.14 | 26.42 | 29.67 | 27.07 | 32.41 | 29.58 | 29.8 | 28.74 | 30.66 | 24.34 | 31.94 | 25.39 | 25.75 | 26.32 | 27.5 | 19.11 | 18.53 | 20.43 | 15.9 | 15.81 | 14.42 | 15.99 | 18.49 | 32.44 | 22.37 | 15.1 | 11.3 | 15.41 | 13.33