## Sheet1
Report date: | 14:12:47, 04/15/2024
Sample: | 1
File name:
Run date: | 14:10:08, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/255.0 | 119.6
2 | 225.0/265.0 | 126.9
3 | 225.0/305.0 | 298.1
4 | 225.0/380.0 | 222.1
5 | 230.0/335.0 | 541.1
6 | 230.0/375.0 | 215.9
7 | 230.0/410.0 | 177.4
8 | 230.0/425.0 | 186.8
9 | 235.0/260.0 | 166.8
10 | 235.0/420.0 | 157.7
11 | 235.0/435.0 | 163.7
12 | 240.0/270.0 | 112.7
13 | 240.0/305.0 | 184.2
14 | 240.0/380.0 | 192
15 | 240.0/395.0 | 140
16 | 240.0/445.0 | 158.6
17 | 245.0/365.0 | 210.7
18 | 245.0/375.0 | 178.4
19 | 245.0/400.0 | 153.2
20 | 245.0/430.0 | 144.9
21 | 245.0/440.0 | 131.7
22 | 250.0/270.0 | 144.3
23 | 250.0/385.0 | 153.9
24 | 250.0/410.0 | 154.7
25 | 250.0/450.0 | 137.2
26 | 250.0/465.0 | 127.4
27 | 255.0/445.0 | 111.5
28 | 255.0/460.0 | 117.2
29 | 255.0/470.0 | 120.6
30 | 255.0/480.0 | 130.7
31 | 260.0/430.0 | 112.8
32 | 265.0/480.0 | 110.5
33 | 265.0/490.0 | 105.8
34 | 270.0/425.0 | 173.2
35 | 270.0/455.0 | 146.4
36 | 275.0/415.0 | 236.4
37 | 275.0/435.0 | 170.9
38 | 275.0/480.0 | 130.4
39 | 285.0/335.0 | 2905
40 | 285.0/440.0 | 169.5
41 | 285.0/460.0 | 143.2
42 | 285.0/480.0 | 112.4
43 | 285.0/490.0 | 111.2
44 | 290.0/340.0 | 2605
45 | 290.0/450.0 | 136.2
46 | 290.0/470.0 | 129.1
47 | 295.0/255.0 | 63.87
48 | 295.0/265.0 | 63.69
49 | 295.0/445.0 | 165.7
50 | 295.0/465.0 | 117.1
51 | 295.0/490.0 | 110.1
52 | 300.0/435.0 | 139.9
53 | 305.0/475.0 | 108.5
54 | 310.0/400.0 | 195.1
55 | 310.0/455.0 | 96.43
56 | 315.0/355.0 | 288.6
57 | 315.0/435.0 | 115.2
58 | 315.0/460.0 | 87.95
59 | 320.0/265.0 | 38.39
60 | 320.0/275.0 | 40.89
61 | 320.0/360.0 | 268.6
62 | 320.0/380.0 | 190.9
63 | 320.0/430.0 | 118.4
64 | 320.0/445.0 | 96.69
65 | 320.0/465.0 | 79.46
66 | 320.0/490.0 | 71.23
67 | 325.0/270.0 | 40.93
68 | 325.0/365.0 | 261.3
69 | 325.0/385.0 | 180.8
70 | 325.0/400.0 | 187.4
71 | 325.0/460.0 | 85.43
72 | 325.0/470.0 | 80.36
73 | 325.0/480.0 | 63.1
74 | 330.0/295.0 | 43.24
75 | 330.0/375.0 | 264.4
76 | 330.0/475.0 | 56.96
77 | 335.0/260.0 | 29.05
78 | 335.0/380.0 | 279
79 | 335.0/445.0 | 90.12
80 | 340.0/270.0 | 27.72
81 | 340.0/385.0 | 276.8
82 | 340.0/465.0 | 69.1
83 | 345.0/280.0 | 29.39
84 | 345.0/390.0 | 245.8
85 | 350.0/255.0 | 28.8
86 | 350.0/265.0 | 25.92
87 | 350.0/295.0 | 30.65
88 | 350.0/400.0 | 210.8
89 | 350.0/460.0 | 64.07
90 | 350.0/485.0 | 49.99
91 | 355.0/405.0 | 201.4
92 | 360.0/265.0 | 28.28
93 | 360.0/310.0 | 31.87
94 | 360.0/410.0 | 164.1
95 | 360.0/430.0 | 65.71
96 | 360.0/475.0 | 52.29
97 | 365.0/275.0 | 32.3
98 | 365.0/290.0 | 25.88
99 | 365.0/305.0 | 26.55
100 | 365.0/415.0 | 158.1
101 | 370.0/255.0 | 27.01
102 | 370.0/460.0 | 49.76
103 | 370.0/485.0 | 41.04
104 | 375.0/270.0 | 24.91
105 | 375.0/285.0 | 20.27
106 | 375.0/310.0 | 22.28
107 | 375.0/325.0 | 35.68
108 | 375.0/430.0 | 122.6
109 | 375.0/475.0 | 39.07
110 | 380.0/265.0 | 26.98
111 | 380.0/300.0 | 21.11
112 | 380.0/415.0 | 50.64
113 | 380.0/435.0 | 107.6
114 | 385.0/310.0 | 18.07
115 | 385.0/330.0 | 24.01
116 | 385.0/445.0 | 88.02
117 | 390.0/270.0 | 29.45
118 | 390.0/305.0 | 19.12
119 | 390.0/345.0 | 25.4
120 | 390.0/450.0 | 79.15
121 | 390.0/480.0 | 29.52
122 | 395.0/485.0 | 25.34
123 | 400.0/295.0 | 18.11
124 | 400.0/350.0 | 21.49
125 | 400.0/465.0 | 59.81
126 | 405.0/265.0 | 19.7
127 | 405.0/315.0 | 14.57
128 | 405.0/470.0 | 57.64
129 | 410.0/295.0 | 20.62
130 | 410.0/305.0 | 15.74
131 | 410.0/480.0 | 48.71
132 | 415.0/260.0 | 17.65
133 | 415.0/320.0 | 14.65
134 | 415.0/335.0 | 14.37
135 | 415.0/360.0 | 18.55
136 | 415.0/485.0 | 39.67
137 | 420.0/280.0 | 16.43
138 | 420.0/345.0 | 13.85
139 | 420.0/370.0 | 16.94
140 | 420.0/460.0 | 23.73
141 | 420.0/490.0 | 38.17
142 | 425.0/315.0 | 15.78
143 | 430.0/285.0 | 14.22
144 | 430.0/295.0 | 14.46
145 | 430.0/310.0 | 15.37
146 | 430.0/340.0 | 12.14
147 | 430.0/370.0 | 15.81
148 | 435.0/490.0 | 21.21
149 | 440.0/265.0 | 10.26
150 | 440.0/330.0 | 13.11
151 | 440.0/350.0 | 12.2
152 | 440.0/375.0 | 12.57
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 77.17 | 107.5 | 93.43 | 108.8 | 127 | 3008 | 9999.9 | 3148 | 83.73 | 62.19 | 29.52 | 61.46 | 92.71 | 38.92 | 69.32 | 46.56 | 49.82 | 30.01 | 41.36 | 38.78 | 31.39 | 42.92 | 28.2 | 27.08 | 23.52 | 19.4 | 19.61 | 18.46 | 24.95 | 24.38 | 25.4 | 20.01 | 20.37 | 21.83 | 22.13 | 19.3 | 14.81 | 14.62 | 12.47 | 9.897 | 10.26 | 13.28 | 10.64 | 6.773 | 8.742 | 6.392 | 5.155
255 | 80.41 | 119.6 | 59.98 | 98.22 | 122.7 | 253.7 | 2928 | 9999.9 | 6645 | 258.4 | 67.24 | 54.16 | 45.66 | 39.49 | 47.79 | 63.87 | 40.34 | 44.24 | 39 | 40.77 | 27.84 | 29.44 | 22.4 | 19.7 | 19.79 | 28.48 | 28.8 | 22.63 | 19.47 | 18.56 | 27.01 | 23.23 | 16.42 | 17.93 | 20.03 | 19.61 | 18.22 | 15.94 | 15.7 | 10.95 | 12.4 | 10.6 | 11.2 | 9.12 | 7.33 | 8.065 | 7.534
260 | 93.84 | 80.39 | 68.55 | 166.8 | 119.5 | 98.8 | 258.7 | 3793 | 9999.9 | 8876 | 337.7 | 96.87 | 64.25 | 56.79 | 59.03 | 61.47 | 47.06 | 47.06 | 45.58 | 34.89 | 30.66 | 33.03 | 24.33 | 29.05 | 20.64 | 21.85 | 17.21 | 21.63 | 17.6 | 16.8 | 21.35 | 21.55 | 26.02 | 13.54 | 13.82 | 16.78 | 16.93 | 15.97 | 13.05 | 17.65 | 13.08 | 10.92 | 10.07 | 9.164 | 8.48 | 7.12 | 5.511
265 | 66.49 | 126.9 | 80.48 | 103.9 | 78.67 | 90.29 | 108.9 | 320.8 | 5045 | 9999.9 | 9999.9 | 445.7 | 63.32 | 45.67 | 42.72 | 63.69 | 56.45 | 40.74 | 40.31 | 37.31 | 38.39 | 36.88 | 25.13 | 26.28 | 25.55 | 19.11 | 25.92 | 18.54 | 28.28 | 16.94 | 18.34 | 23.61 | 26.98 | 19.17 | 18.21 | 18.8 | 15.05 | 19.7 | 18.77 | 17.62 | 11.48 | 10.37 | 11.01 | 7.429 | 10.26 | 7.021 | 5.392
270 | 72.67 | 73.06 | 96.1 | 110.5 | 112.7 | 107 | 144.3 | 91.95 | 414 | 6616 | 9999.9 | 9999.9 | 518.8 | 65.58 | 60.18 | 60.05 | 41.27 | 38.19 | 38.29 | 29.17 | 32.71 | 40.93 | 38.57 | 20.39 | 27.72 | 15.41 | 23.06 | 24.2 | 17.31 | 17.64 | 17.58 | 24.91 | 20.02 | 25.79 | 29.45 | 18.02 | 17.81 | 12.54 | 15.23 | 17.24 | 11.53 | 11.51 | 10.54 | 10.8 | 8.398 | 8.572 | 7.174
275 | 69.8 | 75.72 | 85.6 | 77.21 | 109.2 | 96.56 | 127.8 | 99.87 | 97.07 | 499.1 | 8456 | 9999.9 | 9999.9 | 692.5 | 61.93 | 64.5 | 44.89 | 44.02 | 29.26 | 34.27 | 40.89 | 27.6 | 35.34 | 20.77 | 20.6 | 23.97 | 21.39 | 23.49 | 23.69 | 32.3 | 21.04 | 18.4 | 16.43 | 25.13 | 25.11 | 19.86 | 15.43 | 12.45 | 12.79 | 16.25 | 13.89 | 10.46 | 9.913 | 10.39 | 8.842 | 7.748 | 8.056
280 | 48.55 | 77.74 | 73.16 | 61.96 | 90.59 | 82.1 | 102.5 | 137.2 | 151 | 128.9 | 650.4 | 9999.9 | 9999.9 | 9999.9 | 777.1 | 94.16 | 59.54 | 59.64 | 40.68 | 31.88 | 29.03 | 23.36 | 26.23 | 21.15 | 19.89 | 29.39 | 22.58 | 24.76 | 16.97 | 19.63 | 18.12 | 19.29 | 15.71 | 13.74 | 24.46 | 21.8 | 17.02 | 13.33 | 14.88 | 15.42 | 16.43 | 12.99 | 12.4 | 11.89 | 10.73 | 6.425 | 9.84
285 | 68.46 | 83.06 | 135.6 | 105.4 | 104.4 | 68.97 | 76.41 | 92.45 | 151.7 | 124.7 | 130.5 | 814.4 | 9999.9 | 9999.9 | 9999.9 | 770.9 | 64.65 | 72.36 | 46.01 | 42.48 | 30.22 | 36.6 | 33.98 | 29.68 | 30.68 | 26.99 | 24.06 | 20.21 | 18.16 | 19.19 | 16.41 | 20.27 | 14.35 | 14 | 16.02 | 19.03 | 16.66 | 13.98 | 15.08 | 11.29 | 12.27 | 12.56 | 14.22 | 13.61 | 9.625 | 7.39 | 8.902
290 | 82.74 | 78.71 | 141.8 | 120.7 | 128.6 | 79.17 | 66.2 | 80.4 | 164.4 | 232.7 | 216.8 | 225.8 | 864.7 | 9999.9 | 9999.9 | 9999.9 | 712.9 | 87.3 | 77.56 | 59.53 | 57.93 | 45.94 | 34.32 | 37.41 | 28.17 | 27.52 | 23.6 | 21.65 | 16.91 | 25.88 | 23.48 | 17.56 | 16.98 | 16.13 | 16.96 | 15.65 | 12.66 | 17.26 | 17.76 | 12.67 | 9.274 | 11.71 | 11.37 | 10.63 | 8.996 | 11.18 | 9.558
295 | 139.6 | 135.9 | 165.3 | 140.8 | 121 | 117.8 | 106 | 88.11 | 147.1 | 243.2 | 431.3 | 337.8 | 575.9 | 1115 | 9999.9 | 9999.9 | 9999.9 | 867.6 | 87.49 | 56.92 | 50.6 | 35.88 | 43.24 | 32.89 | 22.94 | 24.45 | 30.65 | 20.03 | 19.33 | 24.65 | 21 | 18.8 | 12.34 | 13.78 | 13.3 | 12.4 | 18.11 | 11.72 | 20.62 | 18.43 | 11.7 | 10.25 | 14.46 | 11.73 | 11.73 | 12.09 | 11.27
300 | 102.5 | 199.9 | 166.8 | 150.7 | 147.9 | 112 | 122.1 | 125 | 177.1 | 271.4 | 577.4 | 753.1 | 715.6 | 827.1 | 1301 | 9999.9 | 9999.9 | 9999.9 | 810.8 | 79.62 | 50.21 | 49.8 | 39.09 | 36.74 | 35.76 | 25.21 | 29.1 | 19.83 | 22 | 21.02 | 21.07 | 14.21 | 21.11 | 19.16 | 11.64 | 15.19 | 13.94 | 13.45 | 14.01 | 12.1 | 14.06 | 10.17 | 12.41 | 10.57 | 10.89 | 12.8 | 11.78
305 | 142.2 | 298.1 | 245.1 | 163.6 | 184.2 | 150.4 | 136.2 | 172.2 | 237.7 | 399 | 595.9 | 935.8 | 1286 | 1136 | 889.6 | 1193 | 9999.9 | 9999.9 | 9999.9 | 721 | 78.29 | 61.76 | 46.84 | 53.88 | 32.14 | 31.84 | 22.61 | 26.56 | 21.71 | 26.55 | 16.62 | 19.63 | 17.52 | 15.81 | 19.12 | 15.76 | 13.57 | 12.04 | 15.74 | 13.58 | 14.69 | 14.13 | 9.513 | 9.88 | 12.47 | 12.71 | 12.03
310 | 192.1 | 200.5 | 299.3 | 246.8 | 173.6 | 206.8 | 134.5 | 239 | 325.7 | 536.7 | 813.7 | 1237 | 1445 | 1445 | 1319 | 964.6 | 1044 | 9999.9 | 9999.9 | 9999.9 | 738.6 | 83.9 | 57.48 | 51.25 | 39.34 | 43.86 | 33.43 | 27.43 | 31.87 | 25.54 | 18.03 | 22.28 | 16.26 | 18.07 | 17.5 | 12.29 | 10.89 | 11.14 | 12.46 | 10.81 | 15.3 | 14.9 | 15.37 | 12.2 | 10.74 | 9.017 | 11.35
315 | 198.8 | 224.9 | 355.7 | 266.5 | 190 | 131.6 | 185.8 | 271.3 | 474.6 | 629.4 | 1036 | 1367 | 1932 | 2255 | 1657 | 1102 | 518.4 | 876.6 | 9999.9 | 9999.9 | 9999.9 | 746.5 | 83.77 | 62.41 | 45.89 | 47.63 | 24 | 26.21 | 24.88 | 26.39 | 18.29 | 16.47 | 15.26 | 17.58 | 15.09 | 13.62 | 11.38 | 14.57 | 11.92 | 12.35 | 9.559 | 15.78 | 14.47 | 13.09 | 10.38 | 11.06 | 11.99
320 | 170.5 | 340.7 | 388.9 | 346.6 | 181 | 171.2 | 188.8 | 310.6 | 496.7 | 676.7 | 1128 | 1532 | 2063 | 2459 | 2308 | 1359 | 618.2 | 284.7 | 850.2 | 9999.9 | 9999.9 | 9999.9 | 717.1 | 72.29 | 52.72 | 52.45 | 36.28 | 28.68 | 21.87 | 26.18 | 21.16 | 19.71 | 15.31 | 14.31 | 16.29 | 14.95 | 13.69 | 13.93 | 8.281 | 14.65 | 10.15 | 12.37 | 13.77 | 12.53 | 10.91 | 11.38 | 10.68
325 | 185.9 | 276.9 | 431.5 | 305.1 | 261.3 | 176.2 | 276.2 | 306.1 | 541.2 | 770.3 | 1228 | 1756 | 2420 | 2424 | 2528 | 1756 | 704.4 | 296.6 | 208.1 | 788.3 | 9999.9 | 9999.9 | 9999.9 | 671.2 | 85.64 | 56.5 | 49.9 | 45.19 | 31.37 | 23.91 | 28.19 | 35.68 | 17.01 | 17.09 | 16.43 | 13.6 | 13.05 | 11.22 | 11.86 | 11.31 | 11.91 | 11.16 | 12.8 | 12.02 | 11.19 | 10.45 | 11.22
330 | 162.7 | 356.3 | 426 | 328.9 | 268.9 | 204.2 | 292.3 | 311.6 | 539.1 | 907.5 | 1296 | 1957 | 2517 | 2715 | 2469 | 1756 | 945.7 | 336.2 | 132.6 | 166.1 | 774.7 | 9999.9 | 9999.9 | 9999.9 | 642 | 70.66 | 73.8 | 42.67 | 42.45 | 30.26 | 30.34 | 22.12 | 17.31 | 24.01 | 22.18 | 14.44 | 14.88 | 14.25 | 11.64 | 11.49 | 8.315 | 9.999 | 9.981 | 11.14 | 13.11 | 12.03 | 9.883
335 | 212.8 | 341.2 | 541.1 | 297.3 | 358.8 | 167.3 | 277.2 | 357.9 | 522.3 | 884.1 | 1270 | 1830 | 2342 | 2905 | 2587 | 1714 | 1062 | 398.4 | 156.3 | 119.4 | 148.7 | 778 | 9999.9 | 9999.9 | 9999.9 | 665.5 | 82.46 | 71.07 | 46.25 | 29.52 | 32.63 | 28.64 | 24.86 | 21.34 | 19.17 | 14.8 | 15.47 | 12.08 | 13.49 | 14.37 | 10.83 | 9.212 | 9.206 | 10.94 | 10.08 | 8.845 | 11.32
340 | 240 | 324 | 461.8 | 288.3 | 289 | 177.4 | 248.4 | 356 | 441.4 | 812.7 | 1155 | 1667 | 2253 | 2483 | 2605 | 1656 | 833.6 | 549.2 | 227.2 | 111.2 | 99.85 | 126.1 | 795.7 | 9999.9 | 9999.9 | 9999.9 | 643.7 | 80.41 | 61.14 | 37.02 | 37.62 | 30.26 | 25.53 | 22.8 | 16.8 | 18.02 | 15.98 | 12.46 | 12.7 | 9.595 | 9.907 | 11.03 | 12.14 | 8.613 | 10.29 | 8.724 | 9.471
345 | 202.2 | 355.4 | 359.1 | 320.5 | 232.1 | 214.9 | 228.9 | 310.5 | 482.2 | 707.4 | 1052 | 1561 | 2208 | 2216 | 2297 | 1690 | 676.2 | 500.2 | 364.6 | 134.6 | 81.08 | 106.6 | 139.9 | 769.2 | 9999.9 | 9999.9 | 9999.9 | 580.8 | 74.76 | 64.43 | 34.75 | 33.44 | 27.57 | 22.48 | 25.4 | 19.02 | 16.56 | 17.36 | 14.83 | 12.74 | 13.85 | 8.391 | 9.616 | 8.136 | 9.083 | 10.69 | 9.733
350 | 180.8 | 235.9 | 320.9 | 293.9 | 260.5 | 233 | 185 | 240 | 476.8 | 707 | 932.8 | 1481 | 1926 | 2024 | 2161 | 1330 | 621.1 | 287.8 | 253.3 | 270.3 | 90.02 | 80.57 | 122.7 | 140.2 | 776.6 | 9999.9 | 9999.9 | 9999.9 | 560.6 | 90.18 | 55 | 39.1 | 35.33 | 26.75 | 21.75 | 17.94 | 21.49 | 18.08 | 13.37 | 12.23 | 10.76 | 10.6 | 10.07 | 10.43 | 12.2 | 8.137 | 9.733
355 | 177.7 | 238.6 | 290.6 | 236.5 | 228 | 174.3 | 153.9 | 248.1 | 416.3 | 665 | 1026 | 1228 | 1487 | 1934 | 1763 | 1229 | 631.3 | 285.9 | 187.4 | 288.6 | 181.1 | 73.59 | 79.97 | 103 | 130.5 | 759.5 | 9999.9 | 9999.9 | 9999.9 | 524.7 | 74.42 | 53.99 | 42.74 | 33.72 | 22.59 | 23.42 | 18.79 | 14.97 | 9.841 | 14.58 | 13.95 | 12.14 | 11.27 | 9.88 | 8.468 | 8.288 | 10.07
360 | 222.5 | 215.8 | 308.7 | 268.9 | 180.6 | 186.9 | 173.2 | 298.8 | 388.2 | 542.3 | 897.3 | 1135 | 1396 | 1476 | 1455 | 1002 | 498 | 262 | 149.5 | 159.6 | 268.6 | 140.3 | 77.47 | 93.8 | 86.74 | 138.1 | 773.1 | 9999.9 | 9999.9 | 9999.9 | 523.7 | 71.02 | 53.5 | 35.94 | 29.49 | 23.06 | 18.76 | 17.05 | 12.87 | 18.55 | 15.73 | 11.15 | 10.21 | 7.738 | 8.269 | 9.97 | 10.83
365 | 140.6 | 226.9 | 207.4 | 175.5 | 135.4 | 210.7 | 183.4 | 202.4 | 291 | 443.7 | 781.4 | 946.8 | 1301 | 1388 | 1387 | 896.8 | 443.4 | 238.2 | 126.7 | 118.1 | 200.5 | 261.3 | 131.5 | 96.91 | 96.37 | 100 | 139.2 | 770.5 | 9999.9 | 9999.9 | 9999.9 | 484.9 | 58.31 | 54.47 | 37 | 27.46 | 22.13 | 17.63 | 17.11 | 16.22 | 14.21 | 13.54 | 11.24 | 10.38 | 9.767 | 9.297 | 6.806
370 | 160.5 | 167.1 | 194.8 | 163.1 | 149.9 | 125.2 | 200.6 | 171.7 | 262 | 442.1 | 604.7 | 879.6 | 1070 | 1121 | 1115 | 717.1 | 434 | 228.2 | 150.7 | 139.6 | 144.6 | 217.2 | 258.7 | 131.2 | 94.63 | 100.3 | 100.7 | 150.1 | 776.4 | 9999.9 | 9999.9 | 9999.9 | 437.9 | 69.52 | 46.6 | 31.44 | 28.4 | 24.03 | 15.24 | 13.38 | 16.94 | 10.11 | 15.81 | 10.7 | 10.59 | 9.589 | 8.441
375 | 122.8 | 174.9 | 215.9 | 175.7 | 162.6 | 178.4 | 111.9 | 177.4 | 261.5 | 379.3 | 489.8 | 649.2 | 848.5 | 902.2 | 890.5 | 627.3 | 413.2 | 222.6 | 183.3 | 127.2 | 150 | 156.2 | 264.4 | 257.5 | 112.3 | 102.3 | 93.35 | 104.7 | 141 | 762.9 | 9999.9 | 9999.9 | 9999.9 | 413.7 | 61.91 | 41.64 | 32.99 | 20.6 | 19.58 | 14.25 | 13.09 | 14.45 | 13.3 | 11.14 | 12.57 | 11.91 | 8.717
380 | 130.2 | 222.1 | 194.7 | 157.2 | 192 | 130.9 | 143.9 | 146.6 | 169.8 | 311.9 | 477.6 | 598.1 | 738 | 889.1 | 771.4 | 476.2 | 311.5 | 213.5 | 169.4 | 145.1 | 190.9 | 157.3 | 183 | 279 | 230.8 | 108.9 | 82.83 | 86.65 | 79.55 | 126.3 | 778.7 | 9999.9 | 9999.9 | 9999.9 | 385.4 | 55.35 | 44.58 | 31.48 | 18.66 | 20.24 | 15.75 | 17.03 | 16.31 | 9.266 | 8.892 | 10.39 | 7.185
385 | 103.4 | 112.6 | 204.1 | 178.6 | 150.9 | 123.7 | 153.9 | 131.6 | 190.8 | 282.1 | 399.7 | 499.7 | 550.7 | 769.2 | 631.9 | 488.6 | 303.5 | 207.2 | 178.7 | 137.4 | 158.4 | 180.8 | 153.3 | 200 | 276.8 | 166.9 | 109.3 | 71.02 | 60.59 | 70.95 | 115.8 | 767.2 | 9999.9 | 9999.9 | 9999.9 | 347.2 | 57.15 | 39.67 | 27.36 | 24.52 | 14.56 | 16.4 | 14.33 | 15.37 | 10.76 | 10.71 | 9.573
390 | 113.1 | 115.1 | 150.4 | 162.6 | 125.8 | 126.8 | 131.2 | 141.4 | 169.1 | 241 | 309.2 | 383.6 | 512.4 | 606.9 | 531.9 | 421.3 | 259.8 | 220 | 165.9 | 170.9 | 150.8 | 173.2 | 167.1 | 167.7 | 196.1 | 245.8 | 122.2 | 76.9 | 66.53 | 65.51 | 61.79 | 118.5 | 756.1 | 9999.9 | 9999.9 | 9999.9 | 365.5 | 53.48 | 35.77 | 29.53 | 21.46 | 17.64 | 14.46 | 12.37 | 12.35 | 8.939 | 9.16
395 | 98.59 | 126.1 | 134.3 | 128.5 | 140 | 126.6 | 128.3 | 155.8 | 194.7 | 184.3 | 292.1 | 327.8 | 427.8 | 548 | 500.8 | 330.7 | 266.8 | 168.4 | 165.2 | 150.9 | 163.3 | 178.2 | 149.6 | 157.7 | 137.4 | 215.7 | 184.9 | 77.2 | 63.06 | 61.88 | 53.54 | 54.22 | 104.3 | 767.1 | 9999.9 | 9999.9 | 9999.9 | 292.7 | 50.62 | 32.27 | 25.33 | 18.66 | 16.52 | 15.45 | 12.56 | 10.78 | 9.505
400 | 109.2 | 127.2 | 129.9 | 122 | 134.1 | 153.2 | 112.2 | 119.8 | 161.2 | 195.3 | 224.4 | 327.5 | 396.6 | 418.4 | 405.3 | 273.2 | 205.1 | 168.3 | 195.1 | 164.9 | 166.3 | 187.4 | 150.4 | 146.2 | 119.3 | 137.7 | 210.8 | 134.9 | 73.95 | 68.76 | 52.75 | 59.15 | 57.52 | 111.9 | 749.2 | 9999.9 | 9999.9 | 9999.9 | 272.9 | 53.81 | 34.6 | 24.76 | 16.87 | 13.38 | 11.87 | 12.19 | 8.97
405 | 89.12 | 126 | 126.8 | 121.3 | 135.8 | 100.6 | 122.6 | 120.8 | 146.2 | 152.6 | 224.4 | 258 | 289.6 | 353.1 | 369.7 | 230 | 202.2 | 170.3 | 183.7 | 165 | 145.4 | 163.2 | 161.7 | 157.8 | 129.8 | 109.5 | 124.6 | 201.4 | 133.5 | 61.3 | 47.88 | 49.17 | 54.89 | 58.57 | 106.6 | 731.2 | 9999.9 | 9999.9 | 9999.9 | 282.4 | 44.82 | 36.9 | 22.94 | 14.12 | 16.64 | 11.1 | 11.48
410 | 143.7 | 109 | 177.4 | 155.5 | 105 | 121.1 | 154.7 | 124.2 | 137 | 95.45 | 186 | 188.9 | 274.4 | 304.3 | 302.6 | 261 | 168.8 | 147.9 | 164.5 | 154.9 | 128.9 | 167 | 151 | 125.2 | 104.4 | 106.7 | 90.58 | 142 | 164.1 | 91.52 | 42.6 | 45.05 | 41.01 | 44.33 | 54.83 | 94.61 | 718.7 | 9999.9 | 9999.9 | 9999.9 | 243.9 | 40.6 | 29.19 | 21.84 | 17.96 | 17.14 | 13.25
415 | 80.29 | 119.6 | 137.5 | 103 | 126.9 | 125.4 | 126 | 99.52 | 143.7 | 178.6 | 163.4 | 236.4 | 230.5 | 233.3 | 196 | 207.5 | 131.8 | 125 | 148.6 | 150.2 | 134.1 | 145.2 | 136.2 | 125.2 | 99.21 | 100 | 87.32 | 80.19 | 137.9 | 158.1 | 74.69 | 42.82 | 50.64 | 43 | 40.9 | 54.29 | 92.29 | 732.2 | 9999.9 | 9999.9 | 9999.9 | 238.2 | 45.45 | 29.4 | 20.55 | 16.44 | 14.93
420 | 139.5 | 106.3 | 100.3 | 157.7 | 139.1 | 132.6 | 107.6 | 104.5 | 101.4 | 121.4 | 147.8 | 143.6 | 232.6 | 226.9 | 191.8 | 220.9 | 159.1 | 110.5 | 141.8 | 133.3 | 119.3 | 144.5 | 123.6 | 106.6 | 109.9 | 83.91 | 77.95 | 70.96 | 88.51 | 139 | 122.7 | 71.57 | 46.09 | 38.96 | 37.14 | 39.23 | 48.7 | 96.86 | 720.9 | 9999.9 | 9999.9 | 9999.9 | 230.8 | 41.54 | 27.54 | 16.77 | 15.44
425 | 144.3 | 109.7 | 186.8 | 119.2 | 105 | 137 | 87.4 | 110 | 109.6 | 117.8 | 173.2 | 149.6 | 177 | 182.6 | 165 | 170.4 | 125.8 | 129.1 | 125.1 | 102.7 | 107 | 93.98 | 112.6 | 112 | 100.4 | 90.77 | 78.43 | 56.94 | 62.87 | 77.18 | 122.2 | 93.79 | 40.84 | 37.83 | 35.05 | 29.29 | 37.49 | 40.37 | 88.21 | 717.3 | 9999.9 | 9999.9 | 9999.9 | 202.4 | 38.67 | 24.65 | 17.24
430 | 175.7 | 74.15 | 166.3 | 93.88 | 122.2 | 144.9 | 78.99 | 95.12 | 112.8 | 93.8 | 132.7 | 138.2 | 162 | 193.8 | 182.9 | 143.3 | 127.4 | 126.4 | 108.3 | 107.4 | 118.4 | 117.6 | 111 | 111.3 | 95.95 | 79.28 | 65.33 | 55.99 | 65.71 | 46.38 | 80.03 | 122.6 | 68.26 | 41.21 | 33.76 | 29.65 | 29.85 | 31.58 | 41.09 | 85.95 | 718.4 | 9999.9 | 9999.9 | 9999.9 | 194.9 | 35.92 | 25.58
435 | 289.3 | 97.77 | 138.1 | 163.7 | 97.59 | 99.44 | 98.23 | 91.18 | 104.4 | 95.51 | 125.6 | 170.9 | 111.6 | 142.2 | 157.7 | 112.5 | 139.9 | 99.57 | 106.7 | 115.2 | 85.88 | 106.3 | 98.98 | 96.99 | 94.58 | 71.8 | 73.22 | 59.87 | 62.97 | 47.5 | 41.72 | 92.55 | 107.6 | 46.38 | 31.95 | 29.82 | 29.07 | 32.03 | 30.95 | 39.27 | 78.67 | 715 | 9999.9 | 9999.9 | 9999.9 | 197.4 | 35.57
440 | 345.8 | 180.7 | 77.03 | 124.9 | 124.5 | 131.7 | 85.84 | 108.6 | 88 | 115.2 | 101.9 | 162.6 | 154.1 | 169.5 | 150.6 | 141.4 | 106.2 | 108.5 | 103.4 | 111.3 | 95.14 | 90.45 | 83.74 | 80.74 | 82.54 | 65.35 | 69.12 | 65.29 | 58.02 | 57.26 | 52.59 | 49.77 | 81.97 | 79.94 | 36.27 | 31.14 | 26.95 | 32.21 | 31.21 | 28.48 | 34.62 | 77.57 | 716.7 | 9999.9 | 9999.9 | 9999.9 | 157.7
445 | 263 | 664.5 | 142.8 | 106 | 158.6 | 119.4 | 73.4 | 111.5 | 82.68 | 65.04 | 90.75 | 131 | 123.6 | 146.4 | 115.1 | 165.7 | 102 | 83.09 | 83.89 | 80.35 | 96.69 | 94.17 | 82.54 | 90.12 | 72.99 | 68.21 | 51.44 | 48.1 | 47.52 | 48.42 | 41.92 | 41.86 | 50.75 | 88.02 | 66.69 | 33.07 | 27.56 | 25.94 | 26.91 | 27.84 | 25.08 | 35.59 | 76.83 | 707.6 | 9999.9 | 9999.9 | 9999.9
450 | 117.6 | 629.6 | 357.1 | 97.31 | 81.41 | 112.6 | 137.2 | 105.1 | 97.71 | 92.03 | 79.54 | 114.3 | 131.2 | 88.07 | 136.2 | 115.4 | 99.88 | 96.32 | 79.27 | 61.88 | 73.05 | 79.15 | 72.76 | 81.9 | 76.46 | 72.32 | 57.42 | 60.17 | 51.14 | 46.72 | 37.76 | 37.02 | 40.68 | 53.2 | 79.15 | 49.11 | 24.75 | 27.82 | 25.4 | 19.82 | 25.26 | 24.52 | 27.16 | 76.89 | 709.1 | 9999.9 | 9999.9
455 | 134.6 | 403.8 | 858.5 | 159.5 | 119.7 | 122.5 | 90.16 | 97.89 | 91.76 | 78.24 | 146.4 | 96.29 | 101.8 | 118.4 | 128.5 | 101.7 | 89.49 | 86.29 | 96.43 | 71.82 | 65.42 | 80.74 | 76.65 | 66.8 | 65.17 | 66.81 | 61 | 57.74 | 55.43 | 37.56 | 41.7 | 40.35 | 37.63 | 32.45 | 70.81 | 66.31 | 34.16 | 29.34 | 22.41 | 22.18 | 20.05 | 24.32 | 26.71 | 28.72 | 75.9 | 717.2 | 9999.9
460 | 111.2 | 211.2 | 1331 | 529.1 | 134.4 | 107.8 | 104.7 | 117.2 | 108.3 | 90.19 | 138.4 | 92.07 | 106.8 | 143.2 | 119.9 | 62.03 | 90.07 | 70.35 | 77.39 | 87.95 | 74.08 | 85.43 | 79.94 | 74.25 | 56.9 | 61.08 | 64.07 | 53.05 | 44.97 | 44.03 | 49.76 | 40.85 | 38.9 | 24.69 | 38.07 | 65.89 | 59.24 | 26.44 | 21.79 | 22.88 | 23.73 | 23.5 | 21.44 | 23.42 | 27.98 | 75.05 | 696
465 | 117.6 | 126.3 | 734 | 1564 | 167.1 | 96.27 | 127.4 | 85.24 | 96.39 | 68.93 | 126.1 | 111.6 | 106.7 | 113.1 | 89.3 | 117.1 | 114.2 | 75.73 | 67.93 | 79.04 | 79.46 | 67.8 | 68.11 | 63.7 | 69.1 | 67.53 | 54.69 | 48.38 | 44.02 | 42.68 | 43.12 | 35.72 | 35.55 | 36.01 | 36.72 | 34.47 | 59.81 | 43.59 | 23.72 | 19.97 | 20.33 | 22.04 | 19.71 | 24.06 | 26.49 | 31.71 | 77.65
470 | 153.2 | 95.24 | 247.2 | 2198 | 904.5 | 126.3 | 108.1 | 120.6 | 100.1 | 97.74 | 115.3 | 100.9 | 114.8 | 108.6 | 129.1 | 87.92 | 85.69 | 99.38 | 85.63 | 72.94 | 65.48 | 80.36 | 55.29 | 61.43 | 68.13 | 49.6 | 55.82 | 45.66 | 49.43 | 45.12 | 34.3 | 36.77 | 34.95 | 33.75 | 26.76 | 26.8 | 41.56 | 57.64 | 30.54 | 23.52 | 24.47 | 22.49 | 19 | 20.32 | 19.61 | 23.34 | 26.22
475 | 81.89 | 136.1 | 111 | 1171 | 2289 | 205.9 | 83.24 | 72.92 | 81.7 | 70.02 | 109.6 | 119.4 | 116.7 | 93.03 | 94.96 | 87.54 | 75.61 | 108.5 | 66.49 | 68.4 | 52.56 | 55.98 | 56.96 | 45.91 | 51.65 | 45.25 | 46.97 | 39.66 | 52.29 | 34.56 | 36.53 | 39.07 | 38.36 | 24.46 | 26.75 | 22.97 | 24.82 | 34.75 | 44.18 | 30.21 | 22.27 | 19.54 | 19.46 | 19.96 | 13.48 | 16.6 | 20.11
480 | 103.7 | 105 | 156.8 | 308.6 | 3391 | 1019 | 96.2 | 130.7 | 104.9 | 110.5 | 100.5 | 130.4 | 95.05 | 112.4 | 92.4 | 89.75 | 83.65 | 82.37 | 52.81 | 50.52 | 54.37 | 63.1 | 56.91 | 53.32 | 50.93 | 51.08 | 35.8 | 42.7 | 43.13 | 37.33 | 37.49 | 32.8 | 30.14 | 24.31 | 29.52 | 24.87 | 21.83 | 25.11 | 48.71 | 37.59 | 19.83 | 23.29 | 17.77 | 13.95 | 16.01 | 17.96 | 16.7
485 | 116.9 | 117 | 120.5 | 142.7 | 1712 | 2185 | 173.2 | 98.45 | 96.35 | 61.24 | 102.9 | 93.3 | 88.03 | 90.09 | 100.5 | 92.17 | 81.93 | 70.78 | 61.99 | 50.8 | 64.02 | 53.27 | 56.68 | 43.02 | 49.18 | 47.3 | 49.99 | 34.28 | 47.29 | 35.18 | 41.04 | 31.67 | 21.24 | 25.19 | 23.83 | 25.34 | 23.57 | 23.45 | 29.68 | 39.67 | 31.71 | 18.44 | 19.77 | 18.01 | 15.52 | 18.99 | 14.99
490 | 149.1 | 139.6 | 146 | 117.8 | 403.8 | 3303 | 1028 | 101.8 | 96.27 | 105.8 | 85.03 | 103.3 | 101.1 | 111.2 | 101.2 | 110.1 | 85.32 | 82.16 | 81.87 | 58.36 | 71.23 | 63.48 | 48.02 | 51.16 | 38.67 | 41.1 | 35.68 | 37.84 | 32.39 | 36.97 | 29.52 | 29.56 | 26.76 | 26.42 | 23.79 | 22.14 | 21.89 | 22.13 | 21.8 | 32.3 | 38.17 | 28.93 | 16.68 | 21.21 | 18.38 | 16.51 | 14.93
495 | 105 | 102.8 | 137.7 | 143.7 | 124.2 | 2424 | 3060 | 162 | 85.51 | 96.81 | 95.86 | 138.9 | 81.32 | 86.69 | 80.22 | 64.95 | 73.25 | 63.88 | 60.1 | 61.32 | 57.95 | 43.05 | 45.34 | 34.87 | 51.77 | 43.65 | 45.57 | 36.23 | 38.82 | 47.52 | 33.3 | 37.36 | 25.81 | 26.1 | 25.45 | 25.53 | 22.02 | 23.15 | 22.94 | 22.48 | 35.93 | 36.31 | 23.67 | 15.11 | 16.92 | 17.67 | 14.65
500 | 86.54 | 126.1 | 156.2 | 136.7 | 57.71 | 666.4 | 3518 | 802.9 | 91.35 | 67.78 | 88.89 | 87.9 | 87.3 | 81.16 | 78.68 | 69.93 | 91.03 | 64.8 | 43.67 | 59.87 | 49.39 | 51.61 | 44.58 | 46.98 | 43.56 | 36.09 | 42.89 | 32.99 | 36.04 | 34.99 | 33.83 | 27.46 | 29.94 | 26.83 | 23.74 | 17.8 | 20.64 | 20.36 | 21.32 | 22.21 | 25.9 | 42.45 | 31.23 | 18.86 | 13.89 | 18.75 | 15.89