## Sheet1
Report date: | 13:50:25, 04/15/2024
Sample: | 1
File name:
Run date: | 13:47:32, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/255.0 | 80.18
2 | 225.0/395.0 | 168.5
3 | 230.0/270.0 | 65.4
4 | 230.0/280.0 | 56.94
5 | 230.0/310.0 | 278.7
6 | 230.0/325.0 | 398.3
7 | 230.0/340.0 | 416.1
8 | 230.0/365.0 | 420.1
9 | 230.0/385.0 | 166.9
10 | 230.0/405.0 | 120.5
11 | 230.0/420.0 | 122.5
12 | 235.0/330.0 | 399
13 | 235.0/430.0 | 110.6
14 | 235.0/445.0 | 149.2
15 | 240.0/260.0 | 98.51
16 | 240.0/280.0 | 57.25
17 | 240.0/380.0 | 156.7
18 | 240.0/395.0 | 158.4
19 | 240.0/415.0 | 139
20 | 240.0/425.0 | 97.04
21 | 245.0/405.0 | 99.48
22 | 250.0/270.0 | 112.9
23 | 250.0/435.0 | 97.42
24 | 250.0/450.0 | 94.09
25 | 255.0/280.0 | 111.6
26 | 255.0/430.0 | 93.34
27 | 255.0/445.0 | 89.6
28 | 255.0/460.0 | 111.1
29 | 260.0/435.0 | 90.83
30 | 260.0/455.0 | 83.39
31 | 265.0/475.0 | 112
32 | 270.0/420.0 | 173.2
33 | 270.0/450.0 | 114.2
34 | 270.0/465.0 | 110.5
35 | 285.0/330.0 | 2813
36 | 285.0/445.0 | 171.4
37 | 285.0/475.0 | 103.6
38 | 290.0/260.0 | 46.17
39 | 290.0/325.0 | 2559
40 | 290.0/465.0 | 140.2
41 | 290.0/490.0 | 124.5
42 | 295.0/485.0 | 96.1
43 | 300.0/270.0 | 43.5
44 | 300.0/480.0 | 91.36
45 | 305.0/265.0 | 39.52
46 | 310.0/410.0 | 235.3
47 | 310.0/430.0 | 177.7
48 | 310.0/445.0 | 137.7
49 | 310.0/460.0 | 98.66
50 | 315.0/265.0 | 29.56
51 | 315.0/355.0 | 288.9
52 | 320.0/255.0 | 23.59
53 | 320.0/275.0 | 33.57
54 | 320.0/285.0 | 36.26
55 | 320.0/360.0 | 278
56 | 320.0/495.0 | 53.7
57 | 325.0/365.0 | 268.9
58 | 325.0/415.0 | 139.3
59 | 325.0/465.0 | 65.68
60 | 325.0/490.0 | 52.88
61 | 330.0/285.0 | 37.64
62 | 330.0/375.0 | 261
63 | 330.0/395.0 | 174.7
64 | 330.0/475.0 | 58.58
65 | 335.0/265.0 | 20.67
66 | 335.0/280.0 | 21.69
67 | 335.0/300.0 | 31.39
68 | 335.0/380.0 | 267.3
69 | 335.0/400.0 | 163.8
70 | 335.0/455.0 | 85.41
71 | 335.0/490.0 | 51.96
72 | 340.0/290.0 | 26.51
73 | 340.0/305.0 | 34.19
74 | 340.0/385.0 | 271.8
75 | 340.0/485.0 | 51.09
76 | 345.0/255.0 | 21.59
77 | 345.0/270.0 | 22.68
78 | 345.0/390.0 | 258.4
79 | 350.0/275.0 | 18.52
80 | 350.0/440.0 | 72.33
81 | 350.0/455.0 | 72.72
82 | 350.0/490.0 | 39.78
83 | 355.0/290.0 | 18.34
84 | 355.0/300.0 | 17.86
85 | 355.0/405.0 | 175
86 | 360.0/305.0 | 20.2
87 | 360.0/410.0 | 156.7
88 | 360.0/465.0 | 52.18
89 | 360.0/495.0 | 36.05
90 | 365.0/285.0 | 16.4
91 | 365.0/420.0 | 146.8
92 | 365.0/450.0 | 49.92
93 | 370.0/325.0 | 22.6
94 | 370.0/425.0 | 124.9
95 | 370.0/470.0 | 41.74
96 | 375.0/270.0 | 21.18
97 | 375.0/310.0 | 18.24
98 | 375.0/430.0 | 120.9
99 | 380.0/265.0 | 20.04
100 | 380.0/300.0 | 16.75
101 | 380.0/320.0 | 21.44
102 | 380.0/435.0 | 99.71
103 | 385.0/270.0 | 20.82
104 | 385.0/445.0 | 107.6
105 | 385.0/485.0 | 38.63
106 | 390.0/450.0 | 117
107 | 395.0/255.0 | 16.75
108 | 395.0/275.0 | 18.75
109 | 395.0/300.0 | 11.83
110 | 400.0/465.0 | 62.91
111 | 405.0/265.0 | 15.38
112 | 405.0/290.0 | 17.89
113 | 405.0/320.0 | 10.39
114 | 405.0/470.0 | 62.21
115 | 410.0/260.0 | 12.92
116 | 410.0/295.0 | 14.59
117 | 410.0/315.0 | 8.771
118 | 410.0/480.0 | 44.86
119 | 415.0/270.0 | 12.11
120 | 415.0/320.0 | 8.67
121 | 415.0/355.0 | 12.41
122 | 415.0/485.0 | 39.74
123 | 420.0/255.0 | 11.27
124 | 420.0/370.0 | 12.63
125 | 420.0/460.0 | 21.73
126 | 420.0/490.0 | 33.33
127 | 425.0/285.0 | 12.96
128 | 425.0/310.0 | 13.09
129 | 425.0/340.0 | 9.393
130 | 425.0/350.0 | 9.278
131 | 430.0/265.0 | 10.53
132 | 430.0/295.0 | 10.5
133 | 430.0/315.0 | 14.68
134 | 430.0/470.0 | 22.02
135 | 435.0/275.0 | 8.748
136 | 435.0/350.0 | 8.946
137 | 435.0/390.0 | 14.04
138 | 435.0/480.0 | 17.1
139 | 440.0/260.0 | 8.373
140 | 440.0/320.0 | 11.69
141 | 445.0/295.0 | 10.21
142 | 445.0/360.0 | 9.708
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 53.22 | 57.77 | 95.74 | 87.15 | 32.9 | 3573 | 9999.9 | 3148 | 75.58 | 43.17 | 39.59 | 42.93 | 47.02 | 34.93 | 29.4 | 24.16 | 24.98 | 37.57 | 15.77 | 21.08 | 14.55 | 12.39 | 16.26 | 19.42 | 15.84 | 8.796 | 16.48 | 14.29 | 17.66 | 21 | 20.85 | 13.94 | 13.83 | 18.97 | 18.99 | 13.16 | 11.42 | 11.36 | 9.72 | 11.18 | 9.3 | 8.773 | 5.973 | 6.779 | 5.077 | 3.826 | 4.843
255 | 75.23 | 80.18 | 44.62 | 54.23 | 41.58 | 285.9 | 3075 | 9999.9 | 6620 | 257.1 | 49.66 | 47.99 | 29.33 | 27.58 | 29.67 | 28.74 | 29.42 | 23.49 | 17.34 | 14.61 | 23.59 | 13.6 | 14.47 | 17.51 | 13.13 | 21.59 | 17.89 | 13.58 | 16.13 | 20.69 | 19.93 | 19.67 | 14.17 | 13.28 | 15.81 | 16.75 | 13.83 | 10.05 | 11.25 | 8.2 | 11.27 | 9.273 | 10.27 | 6.061 | 6.81 | 3.229 | 5.43
260 | 55.26 | 31.59 | 66.4 | 56.43 | 98.51 | 58.04 | 245.9 | 3265 | 9999.9 | 7871 | 270.4 | 42.73 | 48.02 | 26.94 | 46.17 | 19.69 | 22.76 | 22.18 | 14.2 | 22.52 | 13.21 | 14.88 | 15.29 | 10.33 | 17.05 | 17.04 | 14.95 | 14.56 | 9.987 | 13.59 | 14.68 | 17.26 | 13.06 | 12.87 | 11.92 | 11.19 | 10.48 | 10.29 | 12.92 | 12.06 | 6.778 | 6.724 | 8.354 | 7.476 | 8.373 | 6.178 | 2.941
265 | 69.2 | 43.13 | 43.8 | 47.76 | 52.13 | 66.78 | 34.39 | 266.4 | 5335 | 9999.9 | 9999.9 | 339.3 | 52.3 | 23.87 | 31.65 | 24.97 | 25.78 | 39.52 | 15.37 | 29.56 | 17.03 | 21.42 | 14.03 | 20.67 | 11.26 | 13.62 | 12.58 | 11.36 | 12.12 | 13.49 | 15.26 | 14.52 | 20.04 | 19.39 | 12.02 | 10.39 | 11.21 | 15.38 | 9.749 | 8.747 | 9.752 | 6.804 | 10.53 | 8.321 | 7.705 | 6.939 | 5.25
270 | 57.74 | 29.79 | 65.4 | 25.59 | 21.27 | 78.13 | 112.9 | 65.52 | 352.8 | 7142 | 9999.9 | 9999.9 | 439.6 | 43.62 | 25.5 | 33.82 | 43.5 | 23.22 | 16.7 | 26.45 | 19.2 | 19.97 | 18.41 | 15.68 | 14.87 | 22.68 | 15.59 | 6.364 | 12.36 | 11.18 | 8.106 | 21.18 | 15.8 | 20.82 | 13.45 | 11.3 | 10.02 | 10.8 | 10.93 | 12.11 | 10.59 | 9.682 | 9.224 | 6.915 | 5.905 | 7.437 | 6.036
275 | 31.51 | 42.7 | 41.18 | 36.18 | 48.9 | 53.07 | 82.18 | 82.37 | 62.7 | 525.5 | 8816 | 9999.9 | 9999.9 | 485.9 | 54.84 | 57.94 | 38.49 | 35.68 | 30.95 | 19.94 | 33.57 | 23.75 | 18.77 | 19.08 | 18.84 | 15.73 | 18.52 | 18.45 | 14.36 | 13.51 | 11.29 | 14.29 | 12.7 | 18.31 | 16.46 | 18.75 | 7.768 | 9.746 | 10.8 | 11.79 | 10.97 | 7.552 | 8.574 | 8.748 | 7.401 | 7.146 | 6.795
280 | 48.27 | 50.52 | 56.94 | 37.35 | 57.25 | 38.16 | 33.51 | 111.6 | 71.3 | 102.3 | 626.6 | 9999.9 | 9999.9 | 9999.9 | 563.5 | 60.64 | 47.39 | 37.18 | 35.18 | 23.3 | 26.09 | 18.87 | 20.79 | 21.69 | 16.82 | 16.69 | 16.16 | 16.52 | 8.596 | 13.56 | 11.79 | 9.513 | 8.851 | 12.28 | 11.2 | 16.54 | 15.47 | 10.33 | 8.901 | 9.079 | 8.457 | 11.86 | 8.224 | 7.725 | 5.978 | 10.21 | 7.788
285 | 83.54 | 47.94 | 51.51 | 94.3 | 46.29 | 66.96 | 27.2 | 72.97 | 145.3 | 106.7 | 161.5 | 749.3 | 9999.9 | 9999.9 | 9999.9 | 579.3 | 59.04 | 29.49 | 40.31 | 33.55 | 36.26 | 32.23 | 37.64 | 19.24 | 20.09 | 19.11 | 15.84 | 12.05 | 15.09 | 16.4 | 13.98 | 8.813 | 7.25 | 7.269 | 11.23 | 12.09 | 13.89 | 15.31 | 11.22 | 12.29 | 6.679 | 12.96 | 8.907 | 9.243 | 8.25 | 7.342 | 7.11
290 | 59.28 | 51.8 | 57.87 | 105.2 | 44.44 | 61.24 | 53.15 | 64.38 | 164.1 | 249.2 | 201.3 | 265 | 885.6 | 9999.9 | 9999.9 | 9999.9 | 557.9 | 56.01 | 51.85 | 42.69 | 21.65 | 25.46 | 18.73 | 16.33 | 26.51 | 13.66 | 16.74 | 18.34 | 15.03 | 15.98 | 13.87 | 10.76 | 10.34 | 11.97 | 10.61 | 10.11 | 15.05 | 17.89 | 13.62 | 11.6 | 7.049 | 7.2 | 10.14 | 10.07 | 8.392 | 7.951 | 7.11
295 | 82.45 | 108.6 | 101.7 | 134.5 | 100.8 | 69.69 | 64.21 | 78.87 | 116.1 | 285.4 | 416.8 | 440.1 | 434.5 | 1064 | 9999.9 | 9999.9 | 9999.9 | 581.4 | 89.53 | 51.52 | 44.64 | 31.1 | 26.89 | 23.73 | 14.74 | 19.87 | 9.527 | 14.09 | 17.94 | 11.78 | 12.88 | 11.14 | 13.01 | 11.36 | 9.306 | 11.81 | 10.35 | 10.81 | 14.59 | 9.901 | 9.124 | 8.109 | 10.5 | 8.582 | 10.08 | 10.21 | 8.268
300 | 72.88 | 138 | 198.6 | 155.4 | 74.57 | 103 | 98.23 | 118.7 | 167 | 322.7 | 581.7 | 761.8 | 859.3 | 793.1 | 1166 | 9999.9 | 9999.9 | 9999.9 | 603.4 | 59.69 | 40.44 | 33.19 | 26.33 | 31.39 | 21.39 | 21.36 | 15.43 | 17.86 | 16.83 | 13.41 | 14.69 | 15.29 | 16.75 | 15.01 | 9.525 | 11.83 | 11.75 | 9.953 | 14.33 | 13.6 | 9.247 | 7.128 | 8.992 | 7.262 | 9.33 | 9.179 | 8.3
305 | 115.6 | 153.5 | 189.5 | 197.3 | 124.6 | 123.7 | 98.23 | 137.7 | 222.8 | 361 | 737.6 | 1060 | 1059 | 1060 | 914.6 | 1189 | 9999.9 | 9999.9 | 9999.9 | 604.1 | 61.28 | 46.64 | 27.74 | 25.18 | 34.19 | 17.07 | 17.3 | 11.26 | 20.2 | 19.69 | 12.1 | 13.79 | 14.99 | 11.7 | 12.92 | 8.302 | 9.634 | 7.229 | 7.893 | 7.994 | 12.4 | 12.86 | 8.08 | 7.607 | 7.957 | 10.51 | 9.467
310 | 129.9 | 231.2 | 278.7 | 223.8 | 171.9 | 138 | 169.3 | 207.3 | 303.1 | 443.8 | 799.4 | 1105 | 1561 | 1504 | 1264 | 829.9 | 981.4 | 9999.9 | 9999.9 | 9999.9 | 581.9 | 82.7 | 53.59 | 42.07 | 30.97 | 27.71 | 21.55 | 21.49 | 20.19 | 15.63 | 14.63 | 18.24 | 13.73 | 14.48 | 9.721 | 9.145 | 7.886 | 7.557 | 7.619 | 8.362 | 10.8 | 13.09 | 11.62 | 8.957 | 6.984 | 8.996 | 8.617
315 | 195.2 | 254.2 | 227.4 | 271.3 | 175 | 129.5 | 172.4 | 296 | 379.2 | 689.7 | 955.8 | 1605 | 1809 | 2132 | 1949 | 1055 | 502.9 | 853.8 | 9999.9 | 9999.9 | 9999.9 | 574.9 | 57.36 | 45.97 | 30.02 | 29.54 | 24.23 | 19.57 | 15.74 | 13.2 | 12.69 | 17.27 | 12.4 | 9.373 | 10.65 | 10.42 | 5.969 | 7.947 | 8.771 | 6.057 | 7.608 | 11.51 | 14.68 | 9.723 | 9.818 | 6.691 | 8.309
320 | 222.7 | 304.2 | 300.6 | 307.2 | 209.9 | 172 | 216.4 | 271.3 | 487.7 | 849.2 | 1137 | 1678 | 2284 | 2231 | 2392 | 1281 | 545.1 | 266.8 | 807.6 | 9999.9 | 9999.9 | 9999.9 | 536.1 | 63.48 | 41.24 | 30.69 | 36.08 | 24.94 | 15.36 | 17.12 | 14.74 | 14.09 | 21.44 | 13.62 | 9.685 | 10.79 | 8.905 | 10.39 | 6.485 | 8.67 | 7.689 | 7.532 | 8.474 | 9.23 | 11.69 | 7.463 | 6.511
325 | 181.7 | 350 | 398.3 | 344.9 | 196.5 | 201.3 | 206.4 | 335.7 | 508 | 869.2 | 1389 | 1876 | 2376 | 2522 | 2559 | 1629 | 682.2 | 304.7 | 162.7 | 767 | 9999.9 | 9999.9 | 9999.9 | 516.4 | 65.07 | 38.85 | 32.53 | 23.23 | 20.06 | 18.03 | 22.6 | 16.2 | 18.28 | 16.94 | 12.92 | 11.12 | 10.18 | 8.931 | 6.636 | 8.397 | 8.471 | 8.573 | 8.383 | 9.282 | 9.182 | 9.315 | 9.809
330 | 138 | 368.2 | 366.6 | 399 | 215.4 | 230.8 | 199.5 | 365 | 567.5 | 872.6 | 1382 | 1992 | 2333 | 2813 | 2479 | 1650 | 840.6 | 325.1 | 132.2 | 148.2 | 771 | 9999.9 | 9999.9 | 9999.9 | 478.3 | 75.11 | 49.78 | 35.51 | 35.41 | 17.29 | 15.16 | 20.28 | 13 | 12.54 | 10.32 | 12.51 | 10.85 | 9.57 | 10.46 | 7.437 | 5.512 | 5.829 | 6.543 | 7.707 | 10.71 | 12 | 10.69
335 | 185.5 | 275.4 | 400.9 | 306 | 229.3 | 214.6 | 207.6 | 325.2 | 576.2 | 842.4 | 1476 | 2157 | 2425 | 2807 | 2439 | 1525 | 926.3 | 371.4 | 146.2 | 93.71 | 132.3 | 761.5 | 9999.9 | 9999.9 | 9999.9 | 485.8 | 61.28 | 48.44 | 28.59 | 25.41 | 24.92 | 25.08 | 17.95 | 15.53 | 13.74 | 12.59 | 12.7 | 13.24 | 9.794 | 9.812 | 8.769 | 8.346 | 7.401 | 8.289 | 7.644 | 9.772 | 10.27
340 | 161.1 | 302.7 | 416.1 | 274.6 | 231.9 | 156.3 | 272.5 | 353.4 | 496.8 | 773.6 | 1157 | 1908 | 2316 | 2518 | 2480 | 1532 | 858.9 | 518.8 | 177.6 | 98.88 | 88.65 | 145.3 | 758 | 9999.9 | 9999.9 | 9999.9 | 486.3 | 74.79 | 42.04 | 37.4 | 33.03 | 23.22 | 22.36 | 18.79 | 15.21 | 12.45 | 13.26 | 10.13 | 9.006 | 7.946 | 9.248 | 9.393 | 8.8 | 9.145 | 6.999 | 7.45 | 7.832
345 | 154.4 | 304.1 | 378.2 | 351.6 | 214.4 | 166.9 | 258.9 | 299 | 471.6 | 826.9 | 1201 | 1846 | 2165 | 2487 | 2156 | 1392 | 746.9 | 378.6 | 313.8 | 108.2 | 71.67 | 75.53 | 122.1 | 753.1 | 9999.9 | 9999.9 | 9999.9 | 461.8 | 57.98 | 41.49 | 34.37 | 29.78 | 20.63 | 18.06 | 13.4 | 14.01 | 10.69 | 8.314 | 9.425 | 10.64 | 9.132 | 6.119 | 7.357 | 6.234 | 6.641 | 7.552 | 8.587
350 | 147.5 | 286 | 370.6 | 298.5 | 198.7 | 183.7 | 175.8 | 281.4 | 447.4 | 761.3 | 1137 | 1444 | 1989 | 2166 | 2099 | 1240 | 620.5 | 288.5 | 286.7 | 226.3 | 89.78 | 63.09 | 78.63 | 111.2 | 771.1 | 9999.9 | 9999.9 | 9999.9 | 458.4 | 69.54 | 55.13 | 33.9 | 31.83 | 18.2 | 19.61 | 14.12 | 11.55 | 10.68 | 10.37 | 10.4 | 6.812 | 9.278 | 7.24 | 8.946 | 6.179 | 8.199 | 7.802
355 | 107.2 | 211.3 | 334.4 | 320.6 | 196.3 | 120.9 | 185.3 | 292.8 | 487.9 | 739.7 | 956.3 | 1259 | 1770 | 1897 | 1763 | 1164 | 575 | 259.3 | 152.1 | 288.9 | 188.8 | 67.73 | 60.66 | 74.13 | 126.3 | 766.8 | 9999.9 | 9999.9 | 9999.9 | 446.1 | 70.67 | 38.87 | 31.42 | 23.04 | 19.6 | 16.67 | 11.42 | 10.78 | 9.284 | 12.41 | 7.985 | 7.964 | 7.52 | 7.055 | 7.079 | 4.983 | 6.065
360 | 125.1 | 211.1 | 273.7 | 192.4 | 178.7 | 162.9 | 198.8 | 210.7 | 351.6 | 539 | 825.5 | 1135 | 1492 | 1560 | 1601 | 979.7 | 457.6 | 231.1 | 119.1 | 151.6 | 278 | 172.1 | 92.24 | 79.9 | 74.89 | 119.9 | 750 | 9999.9 | 9999.9 | 9999.9 | 423.8 | 64.44 | 44 | 32.27 | 20.74 | 20.62 | 16.85 | 16.15 | 10.37 | 11.96 | 7.668 | 9.142 | 5.697 | 8.082 | 8.609 | 9.708 | 6.853
365 | 127.5 | 220.1 | 420.1 | 183.4 | 167.4 | 156.8 | 130.3 | 195.4 | 304.9 | 498.8 | 783.4 | 954.4 | 1152 | 1349 | 1366 | 871.9 | 475.9 | 186.1 | 135.9 | 143.3 | 193.2 | 268.9 | 126 | 81.45 | 79.37 | 87.64 | 135.9 | 769.3 | 9999.9 | 9999.9 | 9999.9 | 403.3 | 61.05 | 34.16 | 29.48 | 23.12 | 21.3 | 12.19 | 10.13 | 11.23 | 10.46 | 9.858 | 7.883 | 7.136 | 7.311 | 8.792 | 7.622
370 | 113.7 | 186.5 | 228.3 | 156.1 | 125.9 | 116.7 | 142.6 | 144.8 | 305.2 | 349.6 | 545 | 749.8 | 1082 | 1206 | 1089 | 725.3 | 456.3 | 210.1 | 135.2 | 151 | 110.6 | 205.2 | 257.1 | 111.3 | 96.1 | 85.41 | 79.32 | 132.1 | 771.2 | 9999.9 | 9999.9 | 9999.9 | 348.2 | 64.65 | 34.55 | 25.55 | 19.84 | 16.65 | 16.78 | 11.07 | 12.63 | 11.75 | 8.791 | 6.58 | 6.119 | 7.208 | 5.933
375 | 131.6 | 202.7 | 148.7 | 133.6 | 102.3 | 106.2 | 143.6 | 142.5 | 181.4 | 345.7 | 434.6 | 710.2 | 893.8 | 995.4 | 916.7 | 656.2 | 370.6 | 247.6 | 172 | 116.3 | 123.7 | 147.1 | 261 | 222.1 | 115.9 | 88.05 | 77.41 | 76.86 | 126.2 | 775.2 | 9999.9 | 9999.9 | 9999.9 | 354.8 | 57.13 | 40.18 | 23.83 | 15.44 | 13.55 | 12.14 | 10.32 | 9.742 | 8.047 | 8.446 | 10.02 | 6.24 | 8.437
380 | 139 | 109.4 | 148.9 | 136.1 | 156.7 | 135.5 | 109.6 | 166.5 | 226 | 322.1 | 429.8 | 601.7 | 773.7 | 849 | 845.5 | 649.9 | 371.6 | 217.1 | 189.8 | 148.1 | 171.9 | 157.9 | 160.9 | 267.3 | 206.8 | 117.6 | 76.73 | 73.51 | 67.71 | 112.7 | 784.4 | 9999.9 | 9999.9 | 9999.9 | 339.7 | 52.14 | 39.46 | 19.48 | 17.31 | 15.68 | 12.89 | 11.8 | 10.4 | 10.02 | 10.36 | 8.614 | 6.916
385 | 89.35 | 124.1 | 166.9 | 152.7 | 115.8 | 122.4 | 139.3 | 156.7 | 228.1 | 225.7 | 357.8 | 469.9 | 603.2 | 739.8 | 743.3 | 615 | 415.2 | 238.2 | 186.8 | 185.3 | 178.1 | 151.4 | 174.4 | 212.8 | 271.8 | 153 | 100.9 | 62.83 | 62.92 | 61.97 | 112.3 | 787.3 | 9999.9 | 9999.9 | 9999.9 | 284.3 | 53.15 | 34.67 | 20.96 | 17.7 | 12.24 | 10.98 | 10.41 | 12.59 | 8.725 | 6.918 | 9.37
390 | 69.7 | 158.9 | 165.3 | 122.4 | 97.24 | 152.5 | 95.16 | 154.6 | 194.1 | 275.6 | 311.1 | 453.9 | 529.5 | 533.9 | 633.4 | 496.1 | 325.7 | 238.6 | 209.2 | 182.3 | 157.3 | 157.1 | 169.2 | 127.4 | 197.9 | 258.4 | 117.7 | 76.59 | 56.52 | 46.5 | 67.36 | 109.3 | 757.9 | 9999.9 | 9999.9 | 9999.9 | 293.3 | 47.02 | 33.53 | 22.76 | 14.82 | 13.99 | 10.99 | 14.04 | 8.152 | 8.629 | 7.728
395 | 48.11 | 168.5 | 150.4 | 147 | 158.4 | 152.7 | 126.6 | 110.8 | 138.6 | 217.2 | 242.4 | 320.1 | 458.1 | 544.4 | 529.1 | 468.2 | 330 | 273.9 | 218 | 192.3 | 158.9 | 171.5 | 174.7 | 138.6 | 151 | 211.6 | 187 | 88.15 | 60.52 | 56.74 | 51.46 | 57.06 | 108 | 760.6 | 9999.9 | 9999.9 | 9999.9 | 257.6 | 46.65 | 30.83 | 19.58 | 15.87 | 12.06 | 11.59 | 11.18 | 10.71 | 7.728
400 | 76.4 | 89.56 | 77.58 | 101.6 | 82.51 | 77.36 | 77.73 | 64.57 | 143.6 | 190.7 | 201.6 | 282.6 | 368.8 | 401.9 | 492.3 | 441.8 | 349.7 | 225.8 | 213.2 | 193.1 | 178.4 | 161 | 160.7 | 163.8 | 115.3 | 135 | 173.6 | 143.1 | 69.01 | 51.34 | 46.3 | 49.78 | 45.33 | 99.43 | 752.1 | 9999.9 | 9999.9 | 9999.9 | 215 | 39 | 29.72 | 17.67 | 15.7 | 14.59 | 11.52 | 10.69 | 9.611
405 | 83.27 | 115.5 | 120.5 | 83.45 | 78.72 | 99.48 | 84.88 | 106.9 | 122.3 | 128 | 182.9 | 229.9 | 300.7 | 375.1 | 401.2 | 373.7 | 348.7 | 240.2 | 227.2 | 184.5 | 155.1 | 138.2 | 154.9 | 128.1 | 115.2 | 97.7 | 105.9 | 175 | 106 | 61.49 | 45.75 | 43.19 | 37.42 | 42.22 | 114.4 | 714.5 | 9999.9 | 9999.9 | 9999.9 | 239.4 | 44.67 | 31.02 | 18.67 | 15.07 | 14.48 | 12.15 | 10.4
410 | 116.4 | 113.8 | 95.17 | 75.69 | 90 | 76.91 | 81.39 | 82.41 | 98.36 | 138 | 163 | 228.6 | 260.7 | 299.8 | 348.8 | 307.7 | 248.5 | 192.5 | 235.3 | 159.1 | 149.3 | 130.4 | 135.2 | 120.3 | 115.3 | 94.01 | 90.69 | 125.7 | 156.7 | 76.53 | 48.35 | 40.85 | 40.6 | 37.17 | 87.94 | 101.2 | 720.8 | 9999.9 | 9999.9 | 9999.9 | 201.3 | 37.67 | 26.53 | 16.9 | 14.18 | 11.2 | 9.733
415 | 72.59 | 81.27 | 76.31 | 84.59 | 139 | 77.97 | 100.8 | 104.8 | 107.5 | 132.6 | 135.2 | 167.3 | 213.8 | 286.4 | 297.5 | 302.6 | 232.5 | 223.7 | 192.8 | 173.9 | 124.6 | 139.3 | 126 | 102.8 | 92.9 | 79.5 | 95.52 | 78.76 | 144.7 | 143.4 | 71.98 | 48.05 | 33.86 | 42.8 | 88.97 | 54.03 | 88.16 | 722.9 | 9999.9 | 9999.9 | 9999.9 | 189.4 | 38.04 | 25.73 | 15.18 | 12.22 | 10.48
420 | 66.21 | 76.86 | 122.5 | 104.7 | 62.25 | 75.43 | 84.36 | 66.55 | 75.69 | 89.29 | 173.2 | 152.9 | 180.4 | 261.7 | 235 | 268.7 | 223.5 | 218 | 163.5 | 164.1 | 126.2 | 134 | 119.8 | 105.3 | 102 | 71.52 | 70.89 | 65.93 | 75.57 | 146.8 | 110.2 | 49.29 | 43.09 | 44.03 | 75.49 | 50.56 | 41.75 | 84.28 | 728.1 | 9999.9 | 9999.9 | 9999.9 | 188.9 | 34.47 | 23.21 | 15.13 | 12.63
425 | 109.7 | 77.01 | 96.05 | 61.32 | 97.04 | 63.61 | 74.06 | 76.43 | 82.75 | 100.5 | 124.1 | 157.1 | 216 | 220.1 | 229.3 | 256.6 | 251 | 157.3 | 141.5 | 159.4 | 125.5 | 114.2 | 114 | 105.1 | 101.2 | 81.01 | 79.7 | 60.32 | 56.15 | 69.14 | 124.9 | 88.67 | 39.73 | 47.24 | 77.07 | 34.78 | 32.96 | 31.85 | 79.87 | 724.9 | 9999.9 | 9999.9 | 9999.9 | 176.9 | 36.61 | 24.12 | 15.79
430 | 165.2 | 101.2 | 58.68 | 110.6 | 79.42 | 77.4 | 80.82 | 93.34 | 78.51 | 86.85 | 93.04 | 127.6 | 149.2 | 180.5 | 230.3 | 225.8 | 184.9 | 151.3 | 177.7 | 123.1 | 126.9 | 111.9 | 106.9 | 97.97 | 90.57 | 91.4 | 68.35 | 70.1 | 57.4 | 53.89 | 71.64 | 120.9 | 62.57 | 43.16 | 76.5 | 40.54 | 28.22 | 25.7 | 32.83 | 80.6 | 720.6 | 9999.9 | 9999.9 | 9999.9 | 166 | 28.35 | 25.19
435 | 434.4 | 108.2 | 98 | 97.2 | 94.62 | 75.17 | 97.42 | 80.11 | 90.83 | 64.57 | 129.2 | 116.3 | 140.8 | 176.8 | 209.5 | 216.6 | 180.8 | 155.8 | 123.1 | 117.9 | 105.1 | 105.9 | 91.12 | 97.1 | 87.05 | 82.68 | 66.12 | 58.79 | 50.22 | 48.81 | 53.22 | 88.79 | 99.71 | 55.4 | 79.4 | 37.39 | 27.27 | 27.55 | 30.95 | 29.99 | 78.65 | 721.5 | 9999.9 | 9999.9 | 9999.9 | 168.2 | 28.76
440 | 578.1 | 190.4 | 74.41 | 80.79 | 65.65 | 84.7 | 85.12 | 63 | 69.19 | 84.52 | 91.28 | 119.7 | 120.7 | 153.9 | 203.7 | 196.3 | 159.9 | 116.5 | 132.6 | 118.2 | 82.3 | 81.3 | 88.01 | 87.05 | 80.94 | 63.78 | 72.33 | 65.26 | 53.67 | 46.51 | 44.5 | 48.53 | 82.78 | 84.9 | 86.61 | 41.9 | 23.4 | 24.69 | 25 | 26.15 | 29 | 79.27 | 716.1 | 9999.9 | 9999.9 | 9999.9 | 144.2
445 | 303.8 | 612.8 | 101.9 | 149.2 | 113.4 | 91.46 | 64.02 | 89.6 | 74.61 | 92.56 | 107.8 | 113.2 | 146.9 | 171.4 | 140.7 | 163.3 | 145.1 | 108.7 | 137.7 | 115.6 | 91.66 | 73.73 | 72.75 | 66.31 | 68.82 | 65.61 | 63.76 | 58.39 | 46.75 | 46.6 | 46.25 | 39.66 | 56.53 | 107.6 | 104.7 | 43.56 | 21.56 | 21.45 | 18.46 | 21.57 | 20.64 | 27.72 | 80.03 | 710.3 | 9999.9 | 9999.9 | 9999.9
450 | 190.1 | 978.2 | 378.4 | 116.6 | 112.2 | 50.5 | 94.09 | 62.88 | 52.13 | 58.44 | 114.2 | 90.84 | 131.7 | 156.5 | 121.2 | 138.8 | 117.9 | 120 | 97.01 | 107.5 | 92.45 | 97.62 | 72.9 | 68.2 | 70.56 | 63.89 | 60.41 | 57.21 | 44.13 | 49.92 | 47.58 | 45.89 | 43.31 | 80.23 | 117 | 56.36 | 24.74 | 22.16 | 21.44 | 17.82 | 19.77 | 23.44 | 28.92 | 75.18 | 713.8 | 9999.9 | 9999.9
455 | 78.63 | 587.5 | 916.3 | 141.2 | 118.4 | 91.56 | 78.81 | 70.42 | 83.39 | 74.2 | 85.19 | 94.39 | 128.6 | 134.4 | 108.3 | 119.8 | 110.6 | 97.5 | 89.86 | 71.96 | 73.23 | 80.65 | 70.76 | 85.41 | 68.56 | 60.84 | 72.72 | 53.82 | 43.77 | 43.58 | 40.22 | 43.04 | 32.68 | 52.52 | 86.51 | 73.28 | 38.61 | 23.92 | 21.96 | 20.34 | 19.9 | 19.1 | 23.02 | 28.19 | 77.5 | 722.3 | 9999.9
460 | 124.2 | 170.8 | 1374 | 653.1 | 88.62 | 90.39 | 51.53 | 111.1 | 70.43 | 67.92 | 97.78 | 102.2 | 89.36 | 115 | 116.3 | 109.9 | 89.2 | 93.49 | 98.66 | 69.9 | 77.79 | 61.01 | 57.23 | 70.86 | 58.26 | 58.42 | 65.31 | 43.83 | 44.66 | 34.57 | 40.82 | 37.81 | 34.92 | 43.88 | 58.21 | 63.98 | 56.29 | 30.79 | 18.23 | 20.19 | 21.73 | 17.65 | 18.95 | 25.97 | 25.46 | 75.19 | 688.4
465 | 134.2 | 154.9 | 875.8 | 1636 | 132.5 | 78.92 | 51.22 | 48.06 | 74.93 | 79.4 | 110.5 | 109.4 | 99.26 | 95.99 | 140.2 | 103.3 | 102.6 | 86.02 | 75.19 | 72.96 | 55.31 | 65.68 | 52.72 | 54.75 | 58.72 | 53.1 | 53.7 | 46.1 | 52.18 | 40.69 | 41.14 | 41.52 | 35.86 | 37.63 | 55.21 | 38.74 | 62.91 | 48.52 | 21.55 | 17.78 | 17.84 | 16.36 | 16.11 | 17.07 | 18.87 | 26.76 | 73.54
470 | 119.4 | 109.3 | 251.4 | 2200 | 807 | 58.51 | 73.55 | 64.68 | 65.72 | 110.4 | 75.82 | 102.9 | 86.82 | 99.95 | 106.6 | 93.47 | 89.88 | 85.74 | 75.7 | 74.98 | 63.76 | 58.08 | 52.38 | 55.66 | 47.15 | 50.36 | 58.55 | 52.4 | 41.2 | 40.44 | 41.74 | 32.18 | 28.71 | 39.47 | 50.86 | 32.82 | 32.63 | 62.21 | 28.92 | 21.85 | 19.52 | 18.62 | 22.02 | 16.07 | 20.04 | 19.83 | 22.95
475 | 75.82 | 62.88 | 75.05 | 1636 | 2381 | 165.8 | 94.3 | 45.2 | 79.55 | 112 | 97.76 | 67.76 | 71.39 | 103.6 | 90.45 | 95.92 | 74.19 | 52.34 | 59.43 | 59.49 | 46.12 | 49.83 | 58.58 | 45.82 | 46.99 | 44.08 | 42.44 | 43.79 | 37.39 | 35.1 | 35.72 | 30.55 | 23.58 | 32.58 | 39.23 | 24.4 | 21.33 | 39.76 | 44.78 | 26.57 | 15.49 | 13.66 | 15.49 | 14.94 | 14.88 | 18.58 | 17.2
480 | 72.35 | 133.9 | 53.6 | 309.6 | 2858 | 890.6 | 89.48 | 71.42 | 67.4 | 54.89 | 83.29 | 71.45 | 66.69 | 99.82 | 68.48 | 80.49 | 91.36 | 80.27 | 57.94 | 59.31 | 52.17 | 47.54 | 55.08 | 53.82 | 46.67 | 43.57 | 34.71 | 40.23 | 26.54 | 30.06 | 32.68 | 24.97 | 22.87 | 35.35 | 37.62 | 19.17 | 21 | 25.03 | 44.86 | 35.66 | 20.83 | 15.18 | 13.15 | 17.1 | 14.64 | 14.77 | 14.07
485 | 77.94 | 109.7 | 98.23 | 98.63 | 1739 | 2795 | 127.2 | 109.1 | 81.47 | 63.71 | 87.14 | 81.36 | 70.08 | 84.03 | 65.61 | 96.1 | 78.56 | 67.19 | 53.69 | 54.67 | 52.22 | 52.84 | 43.55 | 43.6 | 51.09 | 43.88 | 38.82 | 38.97 | 33.82 | 29.38 | 32.63 | 21.49 | 30.12 | 38.63 | 32.6 | 21.48 | 17.49 | 20.79 | 25.84 | 39.74 | 24.78 | 14.78 | 14.89 | 16.21 | 13.4 | 16.47 | 12.17
490 | 73.2 | 110.5 | 51.73 | 67.5 | 353.2 | 3512 | 879.3 | 80.05 | 45.87 | 45.48 | 73.24 | 71.26 | 59.63 | 79.85 | 124.5 | 66.43 | 76.55 | 63.18 | 53.14 | 49.32 | 52.18 | 52.88 | 42.3 | 51.96 | 50.2 | 28.43 | 39.78 | 33.44 | 31.69 | 25.27 | 31.2 | 30.06 | 19.75 | 33.4 | 30.63 | 21.16 | 20.23 | 18.83 | 17.99 | 27.2 | 33.33 | 21.33 | 15.1 | 16.56 | 13.3 | 15.81 | 12.13
495 | 71.43 | 101.9 | 64.48 | 73.21 | 142.2 | 2375 | 2721 | 137.3 | 76.85 | 51.9 | 84.33 | 82.02 | 65.96 | 86.33 | 88.28 | 74.6 | 59.71 | 64.27 | 55.33 | 48.38 | 53.7 | 40.51 | 42.59 | 30.55 | 35.82 | 35.61 | 25.93 | 34.2 | 36.05 | 28.56 | 27.36 | 21.22 | 28.57 | 31.42 | 22.57 | 20.97 | 18.37 | 18.69 | 17.11 | 23.06 | 31.18 | 30.6 | 19.87 | 14.25 | 14.31 | 13.83 | 13.65
500 | 79.32 | 57.07 | 90.54 | 80.08 | 83.94 | 819.1 | 3505 | 670.9 | 71.97 | 40.57 | 70.2 | 70.63 | 48.94 | 83.42 | 50.31 | 60.84 | 67.67 | 44.21 | 52.57 | 39.67 | 38.18 | 28.34 | 37.94 | 33.53 | 30.7 | 29.99 | 35.86 | 25.35 | 23.16 | 28.16 | 23.04 | 25.74 | 21.82 | 30.28 | 29.4 | 18.61 | 18.3 | 16.39 | 18.41 | 14.52 | 23.52 | 31.3 | 25.13 | 14.37 | 14.22 | 14.07 | 14.53