## Sheet1
Report date: | 13:58:11, 04/15/2024
Sample: | 1
File name:
Run date: | 13:55:31, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/275.0 | 79.75
2 | 225.0/375.0 | 185.2
3 | 225.0/410.0 | 132.8
4 | 230.0/325.0 | 490.6
5 | 230.0/345.0 | 418.9
6 | 230.0/395.0 | 198.8
7 | 230.0/415.0 | 116.1
8 | 230.0/435.0 | 168.5
9 | 230.0/495.0 | 109.5
10 | 235.0/330.0 | 512.1
11 | 235.0/370.0 | 231.1
12 | 235.0/410.0 | 172.8
13 | 245.0/385.0 | 147.5
14 | 245.0/430.0 | 151.3
15 | 245.0/450.0 | 116.6
16 | 250.0/275.0 | 118.9
17 | 250.0/290.0 | 117.6
18 | 250.0/420.0 | 122.2
19 | 250.0/460.0 | 90.99
20 | 255.0/450.0 | 132.4
21 | 255.0/470.0 | 96.83
22 | 255.0/480.0 | 97.78
23 | 260.0/285.0 | 177.9
24 | 260.0/455.0 | 112
25 | 265.0/450.0 | 112.4
26 | 265.0/465.0 | 103.3
27 | 270.0/480.0 | 84.97
28 | 275.0/470.0 | 118.7
29 | 280.0/255.0 | 71.2
30 | 280.0/460.0 | 155.9
31 | 280.0/480.0 | 114.3
32 | 285.0/330.0 | 3491
33 | 285.0/420.0 | 274.7
34 | 285.0/440.0 | 163.6
35 | 290.0/455.0 | 129.6
36 | 290.0/470.0 | 112.4
37 | 295.0/460.0 | 111.1
38 | 295.0/490.0 | 87.41
39 | 300.0/485.0 | 77.92
40 | 305.0/265.0 | 38.83
41 | 305.0/415.0 | 158.3
42 | 305.0/435.0 | 104.3
43 | 305.0/465.0 | 95.94
44 | 305.0/475.0 | 86.88
45 | 310.0/470.0 | 76.65
46 | 315.0/355.0 | 288.1
47 | 315.0/390.0 | 178.3
48 | 315.0/460.0 | 71.13
49 | 315.0/490.0 | 57.98
50 | 320.0/270.0 | 28.18
51 | 320.0/360.0 | 270.3
52 | 320.0/395.0 | 178.1
53 | 320.0/415.0 | 150.7
54 | 325.0/290.0 | 42.16
55 | 325.0/365.0 | 296.3
56 | 325.0/385.0 | 184
57 | 325.0/420.0 | 135.3
58 | 325.0/430.0 | 122.9
59 | 325.0/460.0 | 80.88
60 | 325.0/490.0 | 54.92
61 | 330.0/255.0 | 29.88
62 | 330.0/375.0 | 313.6
63 | 330.0/395.0 | 184.7
64 | 330.0/405.0 | 184.7
65 | 330.0/475.0 | 63.04
66 | 335.0/380.0 | 313.4
67 | 335.0/465.0 | 70.71
68 | 340.0/270.0 | 24.03
69 | 340.0/280.0 | 23.4
70 | 340.0/300.0 | 31.89
71 | 340.0/385.0 | 259.7
72 | 340.0/450.0 | 86.99
73 | 340.0/470.0 | 58.24
74 | 340.0/485.0 | 66.79
75 | 345.0/295.0 | 28.88
76 | 345.0/390.0 | 251.9
77 | 345.0/490.0 | 44.84
78 | 350.0/280.0 | 19.02
79 | 350.0/420.0 | 92.16
80 | 350.0/475.0 | 58.08
81 | 350.0/485.0 | 45.23
82 | 355.0/275.0 | 20.3
83 | 355.0/290.0 | 23.01
84 | 355.0/405.0 | 184.8
85 | 355.0/470.0 | 55.26
86 | 360.0/410.0 | 150.2
87 | 360.0/455.0 | 65.41
88 | 360.0/490.0 | 44.76
89 | 365.0/265.0 | 19.86
90 | 365.0/295.0 | 19.88
91 | 365.0/415.0 | 150.1
92 | 370.0/290.0 | 20.27
93 | 370.0/305.0 | 21.25
94 | 370.0/425.0 | 131
95 | 375.0/260.0 | 24.37
96 | 375.0/275.0 | 21.08
97 | 375.0/320.0 | 25.85
98 | 375.0/430.0 | 112.4
99 | 375.0/460.0 | 43.54
100 | 380.0/310.0 | 19.4
101 | 380.0/435.0 | 110.9
102 | 380.0/485.0 | 38.59
103 | 385.0/275.0 | 21.71
104 | 385.0/335.0 | 21.12
105 | 385.0/445.0 | 85.08
106 | 385.0/475.0 | 31.56
107 | 390.0/320.0 | 15.32
108 | 390.0/450.0 | 76.82
109 | 395.0/280.0 | 21.97
110 | 395.0/455.0 | 65.89
111 | 400.0/255.0 | 18.65
112 | 400.0/285.0 | 18.11
113 | 400.0/330.0 | 13.7
114 | 400.0/440.0 | 32.59
115 | 400.0/465.0 | 59.87
116 | 400.0/490.0 | 23.33
117 | 405.0/260.0 | 18.08
118 | 405.0/290.0 | 17.71
119 | 405.0/300.0 | 13.53
120 | 405.0/320.0 | 13.34
121 | 405.0/470.0 | 54.04
122 | 405.0/495.0 | 25.02
123 | 410.0/295.0 | 17.5
124 | 410.0/340.0 | 13.77
125 | 410.0/365.0 | 17.87
126 | 410.0/475.0 | 49.77
127 | 415.0/255.0 | 14.93
128 | 415.0/270.0 | 16.65
129 | 415.0/300.0 | 17.78
130 | 415.0/335.0 | 15.61
131 | 415.0/345.0 | 11.92
132 | 420.0/275.0 | 13.55
133 | 420.0/330.0 | 13.83
134 | 420.0/370.0 | 15.74
135 | 420.0/490.0 | 36.14
136 | 425.0/280.0 | 13.11
137 | 425.0/310.0 | 15.34
138 | 425.0/325.0 | 11.29
139 | 425.0/475.0 | 19.62
140 | 430.0/260.0 | 10.97
141 | 430.0/290.0 | 15.15
142 | 430.0/350.0 | 12.26
143 | 430.0/365.0 | 15.69
144 | 430.0/465.0 | 23.72
145 | 435.0/320.0 | 13.92
146 | 440.0/275.0 | 11.68
147 | 440.0/300.0 | 12.99
148 | 440.0/345.0 | 11.21
149 | 440.0/370.0 | 13.09
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 44.94 | 62.33 | 110.8 | 89.27 | 86.9 | 4320 | 9999.9 | 3408 | 55.12 | 64 | 58.64 | 61.83 | 52.58 | 42.47 | 31.31 | 29.59 | 30.58 | 27.95 | 25.9 | 23.16 | 17.5 | 17.79 | 20.23 | 15.94 | 20.24 | 15.16 | 15.24 | 18.06 | 25.95 | 22.43 | 22.41 | 16.26 | 17.58 | 18.39 | 18.18 | 20.48 | 13.98 | 12.1 | 12.23 | 12.17 | 10.13 | 11.15 | 9.926 | 8.196 | 5.115 | 5.588 | 5.145
255 | 52.95 | 60.5 | 42.33 | 105.3 | 112.8 | 364.1 | 3426 | 9999.9 | 6939 | 215.1 | 37.65 | 59.53 | 71.2 | 50.64 | 28.83 | 31.59 | 35.98 | 26.7 | 21.96 | 18.76 | 19.51 | 24.05 | 29.88 | 22.53 | 16.29 | 17.51 | 16.99 | 18.16 | 18.4 | 17.19 | 21.59 | 18.24 | 17.18 | 15.5 | 14.8 | 14.38 | 18.65 | 12.91 | 13.1 | 14.93 | 11.44 | 7.462 | 8.589 | 7.614 | 8.584 | 7.681 | 5.867
260 | 42.75 | 83.2 | 79.3 | 84.43 | 78.29 | 99.18 | 281.3 | 3839 | 9999.9 | 9999.9 | 286.5 | 47.98 | 39.56 | 36.94 | 37.47 | 26.89 | 31.29 | 32.4 | 30.27 | 21.6 | 25.01 | 27.81 | 27.97 | 14.04 | 16.15 | 19.76 | 18.17 | 17.43 | 16.1 | 14.98 | 18.96 | 24.37 | 19.76 | 19.3 | 12.99 | 14.83 | 14.13 | 18.08 | 14.46 | 14.08 | 9.606 | 10.11 | 10.97 | 9.174 | 9.067 | 6.196 | 5.871
265 | 78.43 | 51.39 | 73.84 | 77.05 | 67.31 | 91.57 | 70.73 | 322.5 | 5321 | 9999.9 | 9999.9 | 368.1 | 57.12 | 46.61 | 50.48 | 27.98 | 30.48 | 38.83 | 26.64 | 29.71 | 21.89 | 26.93 | 23.07 | 17.87 | 18.39 | 19.77 | 12.5 | 19.26 | 16.62 | 19.86 | 17.32 | 23.31 | 20.04 | 17.57 | 16.73 | 14.72 | 15.91 | 14.28 | 14.59 | 13.3 | 8.243 | 10.59 | 8.865 | 8.684 | 11.38 | 7.261 | 5.141
270 | 83.84 | 68.62 | 53.28 | 73.47 | 60.23 | 101.5 | 105.6 | 105.3 | 377.7 | 6995 | 9999.9 | 9999.9 | 569.1 | 60.21 | 52.95 | 36.49 | 36.86 | 35.42 | 32.74 | 26.6 | 28.18 | 26.24 | 25.99 | 19.94 | 24.03 | 21.3 | 14.61 | 18.29 | 14.04 | 12.31 | 13.83 | 14.29 | 17.95 | 19.96 | 19.25 | 16.2 | 10.84 | 14.79 | 15.44 | 16.65 | 12.24 | 11.48 | 10.48 | 7.98 | 10.6 | 6.638 | 6.615
275 | 60.21 | 79.75 | 51.56 | 74.81 | 51.17 | 61.2 | 118.9 | 85 | 75.98 | 512.2 | 9999.9 | 9999.9 | 9999.9 | 594.7 | 57.49 | 46.45 | 45.11 | 37.64 | 34.84 | 37.99 | 24.6 | 19.68 | 15.44 | 20.08 | 18.75 | 16.91 | 18.96 | 20.3 | 15.92 | 14.39 | 15.36 | 21.08 | 12.46 | 21.71 | 20.06 | 19.3 | 13.85 | 12.28 | 14.42 | 11.62 | 13.55 | 12.13 | 9.062 | 8.041 | 11.68 | 6.983 | 5.851
280 | 65.56 | 76.01 | 44.67 | 62.6 | 46.9 | 35.85 | 117.4 | 113.2 | 127.6 | 83.8 | 708.7 | 9999.9 | 9999.9 | 9999.9 | 679.5 | 78.17 | 50.34 | 48.01 | 38.71 | 38.12 | 34.5 | 19.85 | 24.33 | 20.9 | 23.4 | 15.04 | 19.02 | 16.06 | 10.73 | 12.95 | 15.35 | 11.15 | 9.421 | 16.85 | 13.36 | 21.97 | 17.72 | 11.97 | 9.653 | 10.16 | 10.94 | 13.11 | 11.94 | 8.679 | 9.271 | 8.714 | 8.21
285 | 48.67 | 79.04 | 78.32 | 56.33 | 84.06 | 56.44 | 83.48 | 83.97 | 177.9 | 140.4 | 133.8 | 742.5 | 9999.9 | 9999.9 | 9999.9 | 754.6 | 66.07 | 59.21 | 53.05 | 46.46 | 27.81 | 38.51 | 29.14 | 25.99 | 13 | 23.27 | 16.47 | 21.79 | 15.67 | 13 | 13.4 | 12.14 | 8.078 | 12.7 | 11.33 | 16.79 | 18.11 | 16.98 | 13.87 | 12.2 | 9.054 | 10.03 | 12.91 | 10.12 | 9.102 | 9.417 | 9.311
290 | 83.9 | 84.37 | 100.1 | 95.86 | 74.09 | 66.18 | 117.6 | 63.89 | 132 | 220.4 | 241.1 | 279.8 | 921.6 | 9999.9 | 9999.9 | 9999.9 | 759.3 | 67.1 | 53.09 | 37.01 | 36 | 42.16 | 30.65 | 24.78 | 19.05 | 20.68 | 13.95 | 23.01 | 18.86 | 11.55 | 20.27 | 12.56 | 13.47 | 11.8 | 13.66 | 15.29 | 14.92 | 17.71 | 13.36 | 12.23 | 9.968 | 9.527 | 15.15 | 10.29 | 11.22 | 8.501 | 7.901
295 | 96.92 | 73.78 | 116.5 | 162.9 | 100.9 | 95.57 | 117 | 85.07 | 154.4 | 299.1 | 435 | 423.7 | 503.6 | 1142 | 9999.9 | 9999.9 | 9999.9 | 800 | 75.2 | 47.94 | 51.94 | 31.86 | 37.71 | 27.3 | 24.24 | 28.88 | 24.46 | 16.5 | 18.21 | 19.88 | 18.1 | 13.14 | 11.89 | 13.91 | 10.08 | 15.82 | 12.21 | 12.4 | 17.5 | 12.79 | 13.28 | 9.209 | 8.767 | 11.7 | 10.91 | 9.104 | 11.29
300 | 75.58 | 145.7 | 172.8 | 169.7 | 109.7 | 88.64 | 99.59 | 82.89 | 205.9 | 277.6 | 533.2 | 667.5 | 822.9 | 834.6 | 1292 | 9999.9 | 9999.9 | 9999.9 | 785.8 | 70.87 | 58.52 | 52.75 | 34.89 | 25.31 | 31.89 | 23.14 | 24.74 | 18.56 | 16.76 | 18.58 | 14.86 | 14.71 | 18.72 | 15.16 | 11.15 | 13.15 | 11.5 | 13.53 | 11.46 | 17.78 | 16.3 | 8.965 | 8.087 | 8.912 | 12.99 | 11.68 | 10.18
305 | 100.3 | 175 | 277.1 | 205.1 | 161.2 | 103.7 | 133.4 | 140.9 | 253.2 | 450 | 648.2 | 1061 | 1293 | 1164 | 1051 | 1325 | 9999.9 | 9999.9 | 9999.9 | 697 | 68.67 | 49.89 | 41.05 | 31.68 | 22.06 | 25.82 | 26.11 | 18.91 | 20.26 | 18.1 | 21.25 | 19.57 | 18.89 | 16.07 | 10.43 | 13.71 | 12.22 | 12.63 | 9.421 | 10.65 | 14.39 | 12.16 | 9.605 | 9.124 | 10.85 | 11.92 | 11.64
310 | 169.4 | 286 | 277.3 | 233.1 | 167.5 | 184.3 | 181.7 | 205.9 | 308.1 | 542.5 | 900.6 | 1243 | 1912 | 1649 | 1520 | 929 | 1071 | 9999.9 | 9999.9 | 9999.9 | 789.9 | 81.74 | 71.23 | 43.21 | 28.38 | 37.51 | 31.16 | 22.63 | 19.42 | 20.06 | 18.08 | 16.19 | 19.4 | 14.24 | 10.88 | 13.27 | 13.02 | 9.045 | 9.413 | 10.09 | 13.23 | 15.34 | 11.7 | 9.424 | 10.18 | 11 | 10.16
315 | 226.6 | 294.8 | 421.7 | 227.9 | 187.3 | 195.2 | 162 | 297.8 | 415.4 | 671.7 | 1181 | 1679 | 1972 | 2284 | 2047 | 1204 | 646 | 909.5 | 9999.9 | 9999.9 | 9999.9 | 776.2 | 77.8 | 49.04 | 44.52 | 36.3 | 29.44 | 30.42 | 26.94 | 26.27 | 14.18 | 19.26 | 17.55 | 15.65 | 11.14 | 11.24 | 11.58 | 10.72 | 10.68 | 10.73 | 12.56 | 11.79 | 12.07 | 11.01 | 9.972 | 10.47 | 8.427
320 | 204.1 | 306.9 | 489.4 | 382.3 | 197.3 | 231 | 164.5 | 310.4 | 470.1 | 757.7 | 1172 | 1818 | 2352 | 2566 | 2578 | 1684 | 674.9 | 310.7 | 815.6 | 9999.9 | 9999.9 | 9999.9 | 747.7 | 75.48 | 69.22 | 54.1 | 32.97 | 28.06 | 30.65 | 21.42 | 23.17 | 25.85 | 15.77 | 13.13 | 15.32 | 13.72 | 12.02 | 13.34 | 8.193 | 9.24 | 10.56 | 8.91 | 11.65 | 13.92 | 13.88 | 9.061 | 8.329
325 | 178.2 | 363.8 | 490.6 | 384.5 | 307.2 | 183.3 | 253.5 | 370.4 | 621.1 | 933.1 | 1536 | 2009 | 2678 | 2908 | 2694 | 1931 | 749.5 | 284.7 | 207 | 821.2 | 9999.9 | 9999.9 | 9999.9 | 755.2 | 90.43 | 73.44 | 50.56 | 39.73 | 28.24 | 30.14 | 21.9 | 19.97 | 14.46 | 15.44 | 12.82 | 10.28 | 13.04 | 12.17 | 9.373 | 10.37 | 11.07 | 11.29 | 10.16 | 9.613 | 12.92 | 11.76 | 10.96
330 | 273.9 | 419 | 443.4 | 512.1 | 243.2 | 225.2 | 284.3 | 390.3 | 549 | 958 | 1481 | 2186 | 2769 | 3491 | 2570 | 2060 | 882 | 318.7 | 155.1 | 170.3 | 802.6 | 9999.9 | 9999.9 | 9999.9 | 647.6 | 83.95 | 59.79 | 36.32 | 41.59 | 29.3 | 22.34 | 22.64 | 16.33 | 18.44 | 15.77 | 8.94 | 13.7 | 9.332 | 9.874 | 11.2 | 13.83 | 8.363 | 7.634 | 8.917 | 10.29 | 11.97 | 10.81
335 | 170.9 | 397.8 | 391.2 | 359.9 | 270.9 | 210.7 | 253.6 | 387.2 | 525.6 | 880.8 | 1536 | 2206 | 2866 | 2994 | 2650 | 1760 | 1056 | 460.6 | 141.2 | 97.56 | 135.1 | 771.9 | 9999.9 | 9999.9 | 9999.9 | 666.9 | 79.16 | 58.37 | 44.3 | 37.14 | 28.43 | 21.12 | 19.97 | 21.12 | 18.24 | 15.25 | 9.287 | 10.88 | 7.903 | 15.61 | 10.19 | 11.17 | 9.377 | 7.95 | 9.041 | 8.87 | 10.96
340 | 144.5 | 357.7 | 372.5 | 343.3 | 239.7 | 174.1 | 253.3 | 353.2 | 543.9 | 849.3 | 1425 | 2107 | 2722 | 2881 | 2727 | 1817 | 909.2 | 538.4 | 209.2 | 118.7 | 102.7 | 138 | 784.1 | 9999.9 | 9999.9 | 9999.9 | 697.8 | 86.71 | 58.7 | 46.01 | 31.68 | 26.31 | 22.66 | 19.47 | 16.52 | 17.51 | 12.14 | 11.33 | 13.77 | 10.88 | 10.94 | 9.859 | 9.922 | 9.945 | 8.935 | 9.729 | 12.43
345 | 200.8 | 271.2 | 418.9 | 348.4 | 223.4 | 245.7 | 212.5 | 329.8 | 543.1 | 815.7 | 1178 | 1825 | 2431 | 2616 | 2541 | 1734 | 720.8 | 406.5 | 324.2 | 116.5 | 86.4 | 96.91 | 139.1 | 790.6 | 9999.9 | 9999.9 | 9999.9 | 602.4 | 81.91 | 59.52 | 43.52 | 31.9 | 24.2 | 21.43 | 21.68 | 15.29 | 14.13 | 13.9 | 10.47 | 11.92 | 10.97 | 10.67 | 9.532 | 8.576 | 11.21 | 7.191 | 8.599
350 | 177.6 | 276.2 | 415.9 | 333.1 | 265.6 | 189.3 | 221.5 | 361.5 | 410.1 | 647.2 | 1105 | 1612 | 2235 | 2333 | 2343 | 1487 | 683.5 | 309.5 | 310.2 | 248.7 | 88.32 | 66.38 | 82.93 | 120.7 | 786.1 | 9999.9 | 9999.9 | 9999.9 | 595.1 | 80.63 | 54.28 | 35.34 | 28.19 | 22.99 | 22.65 | 13.82 | 16.77 | 14.5 | 13.47 | 10.79 | 12.13 | 10.14 | 12.26 | 7.858 | 10.8 | 9.044 | 9.816
355 | 186.9 | 364.6 | 373.9 | 247.4 | 236.6 | 134 | 187.2 | 255.2 | 358.4 | 669.5 | 1035 | 1491 | 1910 | 2030 | 1915 | 1239 | 580.6 | 279.2 | 155.5 | 288.1 | 176.6 | 80.76 | 91.99 | 74.73 | 130 | 790.3 | 9999.9 | 9999.9 | 9999.9 | 618.1 | 85.41 | 46.33 | 32.85 | 23.65 | 23.86 | 19.8 | 17.66 | 14.05 | 12.67 | 12.72 | 12.12 | 7.506 | 9.518 | 8.79 | 8.825 | 9.101 | 9.399
360 | 118.4 | 203.9 | 269.2 | 170.3 | 161.1 | 156 | 196.1 | 223.2 | 327.7 | 583.4 | 864.7 | 1132 | 1596 | 1850 | 1644 | 1176 | 520.3 | 260.9 | 142.3 | 151.9 | 270.3 | 151.2 | 80.22 | 68.53 | 82.76 | 142.6 | 765.4 | 9999.9 | 9999.9 | 9999.9 | 533.9 | 73.76 | 50.37 | 41.22 | 23.73 | 24.48 | 21.1 | 13.73 | 15.15 | 14.41 | 12.28 | 11.3 | 10.95 | 11.52 | 9.885 | 8.598 | 9.692
365 | 122.9 | 187.1 | 300.6 | 216.6 | 186.9 | 156.5 | 145.1 | 239.7 | 326.2 | 508.4 | 708.3 | 1025 | 1453 | 1542 | 1353 | 900.4 | 497.9 | 235.8 | 123.7 | 107 | 177.4 | 296.3 | 158.5 | 122 | 97.54 | 102.3 | 150.1 | 794.8 | 9999.9 | 9999.9 | 9999.9 | 513.1 | 72.77 | 51.73 | 39.38 | 22.63 | 23.08 | 16.15 | 17.87 | 15.63 | 11.54 | 11.27 | 15.69 | 11.49 | 10.45 | 8.973 | 7.253
370 | 146.1 | 171.4 | 201.2 | 231.1 | 165 | 165.3 | 156.8 | 200.2 | 284.3 | 368.8 | 656.1 | 835.2 | 1127 | 1219 | 1262 | 828.4 | 423 | 215.1 | 137.3 | 121.9 | 146.7 | 221.5 | 286.6 | 158.8 | 107.1 | 105.7 | 98.15 | 150.2 | 800.4 | 9999.9 | 9999.9 | 9999.9 | 467.9 | 67.73 | 48.3 | 33.05 | 22.8 | 20.07 | 15.39 | 14.43 | 15.74 | 11.38 | 11.92 | 10.68 | 13.09 | 9.862 | 9.9
375 | 101.8 | 185.2 | 159.3 | 199.6 | 175.1 | 161.5 | 101.6 | 198.1 | 259.2 | 357.6 | 554.5 | 753.9 | 906 | 978.8 | 989.1 | 679 | 410.8 | 221.4 | 142.7 | 151 | 150.8 | 159.1 | 313.6 | 236.8 | 126.4 | 107.7 | 106 | 97.04 | 152.7 | 803.2 | 9999.9 | 9999.9 | 9999.9 | 432.9 | 76.76 | 54.25 | 28.51 | 23.03 | 18.37 | 16.5 | 15.24 | 12.87 | 9.448 | 9.581 | 11 | 10.19 | 7.277
380 | 86.08 | 169.5 | 165.6 | 139.7 | 147.7 | 110.1 | 117.9 | 148.6 | 251.3 | 320.8 | 415.6 | 611.8 | 912.1 | 821 | 914.3 | 601.6 | 410.7 | 180 | 155.8 | 140.5 | 159.1 | 157.9 | 180.9 | 313.4 | 207.9 | 113.8 | 97.27 | 68.94 | 76.33 | 119.2 | 799 | 9999.9 | 9999.9 | 9999.9 | 450 | 65.56 | 49.75 | 27.78 | 21.58 | 18.61 | 15.59 | 16.31 | 14.72 | 10.92 | 11.73 | 9.941 | 8.937
385 | 105 | 121.3 | 132 | 133.5 | 90.79 | 147.5 | 133.9 | 135.8 | 182.1 | 234.9 | 419.1 | 459.6 | 717.1 | 717 | 654.4 | 474.7 | 287.4 | 193.2 | 179.8 | 176.2 | 175.7 | 184 | 173.9 | 206.8 | 259.7 | 183 | 94.28 | 88.98 | 80.84 | 69.1 | 118.2 | 803.3 | 9999.9 | 9999.9 | 9999.9 | 372.8 | 60.18 | 39.88 | 29.78 | 23.65 | 14.45 | 15.6 | 14.68 | 12.39 | 10.81 | 10.77 | 11.23
390 | 98.44 | 120.5 | 151.6 | 151.8 | 133.7 | 86.57 | 125.8 | 154.4 | 191.3 | 233.3 | 321.9 | 419.3 | 550.2 | 615.5 | 589.7 | 423.9 | 304.5 | 190.7 | 162.3 | 178.3 | 173.8 | 155.9 | 172 | 161.8 | 201.5 | 251.9 | 133.1 | 86.2 | 69.45 | 64.09 | 69.59 | 117.3 | 786.2 | 9999.9 | 9999.9 | 9999.9 | 366.6 | 61.54 | 38.17 | 25.34 | 21.37 | 17.67 | 13.72 | 12.03 | 10.87 | 11.13 | 8.528
395 | 77.59 | 103.7 | 198.8 | 162.6 | 162.7 | 146 | 131.7 | 131.5 | 173.9 | 206.3 | 281.5 | 384.6 | 502.5 | 527.1 | 481.4 | 427.2 | 246.1 | 180.4 | 168.5 | 146.6 | 178.1 | 158.6 | 184.7 | 179.4 | 138.4 | 222.6 | 204.2 | 97.31 | 66.49 | 52.51 | 60.11 | 61.22 | 119.4 | 791.7 | 9999.9 | 9999.9 | 9999.9 | 319.4 | 50.2 | 37.97 | 25.02 | 18.67 | 14.44 | 12.83 | 13.42 | 13.35 | 11.22
400 | 86.99 | 98.74 | 113.4 | 119.5 | 93.22 | 138.8 | 115.2 | 164 | 176.1 | 130.1 | 302.2 | 303.7 | 377.3 | 386.9 | 418.6 | 302.9 | 240.5 | 213.7 | 168 | 175.3 | 167.3 | 172 | 166.3 | 175.1 | 148.2 | 136.3 | 195.5 | 155.9 | 62.61 | 56.88 | 60.22 | 59.17 | 61.59 | 115.3 | 761.6 | 9999.9 | 9999.9 | 9999.9 | 270.2 | 50.66 | 37.9 | 23.38 | 18.34 | 15 | 15 | 10.13 | 13.17
405 | 108.7 | 98.03 | 133.2 | 162.5 | 111.1 | 116.5 | 114 | 104.2 | 142.8 | 143.9 | 199 | 292.3 | 337.4 | 363.5 | 374.3 | 258 | 186.2 | 151 | 140.9 | 166.2 | 166.8 | 173.6 | 184.7 | 144.1 | 116 | 134.8 | 112.8 | 184.8 | 119.2 | 59.24 | 52.34 | 46.73 | 45.57 | 56.25 | 102.1 | 750.6 | 9999.9 | 9999.9 | 9999.9 | 317.6 | 47.65 | 32.93 | 21.57 | 20.02 | 14.34 | 13.33 | 11.11
410 | 117.4 | 132.8 | 96.02 | 172.8 | 110.2 | 89.39 | 107.8 | 109.6 | 97.91 | 151 | 188.3 | 239.3 | 233.6 | 285.4 | 287.2 | 253.7 | 179 | 151 | 127.8 | 140 | 139.9 | 118.1 | 143.2 | 128.4 | 120.3 | 103.8 | 87.6 | 124.7 | 150.2 | 92.81 | 52.74 | 42.94 | 42.71 | 42.91 | 54.44 | 96.66 | 738.2 | 9999.9 | 9999.9 | 9999.9 | 269.2 | 46.65 | 31.57 | 20.26 | 15.33 | 14.86 | 11.45
415 | 81.82 | 111.9 | 116.1 | 103.2 | 110.9 | 114.7 | 117 | 85.9 | 92.16 | 107.6 | 175.1 | 165.9 | 247.2 | 263.9 | 250.7 | 180.2 | 135.9 | 158.3 | 131.9 | 126.7 | 150.7 | 130.7 | 134.2 | 124.1 | 113.9 | 99.77 | 84.42 | 78.59 | 141.9 | 150.1 | 88.57 | 47.22 | 49.25 | 44.5 | 44.27 | 46.74 | 93.75 | 741.1 | 9999.9 | 9999.9 | 9999.9 | 255.2 | 41.08 | 29.73 | 25.58 | 15.26 | 12.95
420 | 65.87 | 107 | 108.9 | 76.75 | 100.6 | 74.5 | 122.2 | 82.91 | 86.59 | 149.5 | 154.3 | 171.7 | 224.2 | 274.7 | 236.8 | 184.1 | 136 | 122.3 | 123.8 | 116.4 | 133.1 | 135.3 | 131.2 | 134.2 | 101.5 | 78.76 | 92.16 | 63.32 | 80.69 | 144 | 114.1 | 61.58 | 52.52 | 42.02 | 35.11 | 34.18 | 47.68 | 91.88 | 736.5 | 9999.9 | 9999.9 | 9999.9 | 240.4 | 44.48 | 29.58 | 21.24 | 14.54
425 | 102.9 | 85.14 | 112 | 78.94 | 95.9 | 93.91 | 74.36 | 92.05 | 104.7 | 104 | 132.2 | 133.1 | 161.3 | 229 | 195.7 | 176.2 | 163 | 116 | 110.9 | 105.5 | 117.4 | 119.3 | 96.93 | 109.9 | 99.96 | 96.9 | 83.53 | 57.84 | 59.31 | 72.26 | 131 | 85.18 | 47.35 | 42.11 | 37.76 | 31.94 | 33.09 | 38.15 | 87.56 | 738.5 | 9999.9 | 9999.9 | 9999.9 | 225.6 | 39.08 | 32.55 | 19.05
430 | 126.1 | 113.2 | 125.6 | 60.8 | 142.7 | 151.3 | 121.4 | 111.8 | 82.78 | 96.44 | 132 | 126.9 | 171.4 | 172.9 | 177 | 149.8 | 105.7 | 88.54 | 100.4 | 90.03 | 102 | 122.9 | 120.7 | 104.8 | 101.2 | 89.53 | 79.76 | 70.48 | 58.59 | 54.28 | 80.44 | 112.4 | 79.25 | 35.95 | 34.17 | 29.26 | 27.12 | 36.38 | 38.33 | 91.49 | 739.2 | 9999.9 | 9999.9 | 9999.9 | 218.2 | 42.98 | 22.77
435 | 356.6 | 113.7 | 168.5 | 89.18 | 124 | 65.59 | 90.86 | 102.7 | 62.46 | 98.42 | 100.5 | 127.8 | 162.7 | 145.1 | 159.9 | 116.7 | 92.81 | 104.3 | 97.36 | 85.47 | 93.45 | 121.4 | 83.77 | 94.02 | 84.04 | 77.26 | 75.29 | 59.36 | 52.07 | 48.72 | 61.37 | 99.76 | 110.9 | 47.16 | 30.63 | 30.66 | 27.51 | 33.28 | 31.28 | 36.65 | 86.67 | 742.8 | 9999.9 | 9999.9 | 9999.9 | 200.3 | 38.4
440 | 513.5 | 281.1 | 132.2 | 117.5 | 88.87 | 98.85 | 99.33 | 80.02 | 73.09 | 79.85 | 106.8 | 101 | 136.2 | 163.6 | 139.7 | 108.4 | 107.3 | 81.96 | 85.97 | 90.26 | 103.6 | 105.9 | 103.7 | 91.36 | 86.21 | 72 | 65.52 | 65.17 | 52.17 | 46.09 | 50.22 | 52.11 | 92.7 | 72.91 | 38.41 | 27.52 | 32.59 | 26.95 | 24.48 | 30.36 | 31.35 | 85.69 | 725.8 | 9999.9 | 9999.9 | 9999.9 | 180.6
445 | 265.1 | 718.3 | 175.3 | 109.4 | 66.99 | 88.69 | 65.69 | 115 | 73.71 | 77.48 | 87.62 | 116.8 | 107.8 | 152.3 | 137.7 | 129.2 | 93.28 | 88.44 | 90.67 | 87.74 | 89.87 | 94.21 | 86.84 | 77.04 | 81.13 | 77.46 | 70.45 | 68.19 | 46.16 | 47.74 | 44.2 | 37.77 | 51.19 | 85.08 | 65.17 | 28.49 | 26.35 | 23.87 | 22.91 | 30.41 | 27.97 | 33 | 82.99 | 724.1 | 9999.9 | 9999.9 | 9999.9
450 | 120.9 | 747 | 430.3 | 126.7 | 100.9 | 116.6 | 78.35 | 132.4 | 77.63 | 112.4 | 107.1 | 82.71 | 107.4 | 112.4 | 114.4 | 106.6 | 99.07 | 73.12 | 76.93 | 69.13 | 90.66 | 90.69 | 79.26 | 73.39 | 86.99 | 74.62 | 63.24 | 61.11 | 50.11 | 47.39 | 43.01 | 39.87 | 42.6 | 59.71 | 76.82 | 44.7 | 24.93 | 26.36 | 19.95 | 27.62 | 22.53 | 23.97 | 36.97 | 79.89 | 733.3 | 9999.9 | 9999.9
455 | 159.3 | 488.4 | 922.4 | 141.8 | 108.5 | 105.1 | 73.37 | 89.48 | 112 | 94.24 | 109.2 | 109.6 | 112.4 | 127.7 | 129.6 | 79.99 | 71.3 | 76.11 | 67.92 | 58.64 | 75.84 | 67.87 | 77 | 75.73 | 74.37 | 58.25 | 57.06 | 49.06 | 65.41 | 44.49 | 40.83 | 36.02 | 37.15 | 37.28 | 57.49 | 65.89 | 32.59 | 24.39 | 23.34 | 21.06 | 21.99 | 20.15 | 29.2 | 28.46 | 78.22 | 739.6 | 9999.9
460 | 124.2 | 145 | 1468 | 584.7 | 100.7 | 84.46 | 90.99 | 83.01 | 79.67 | 94.1 | 111.2 | 136.3 | 155.9 | 121.3 | 99.34 | 111.1 | 77.57 | 70.69 | 65.59 | 71.13 | 66.78 | 80.88 | 62.07 | 61.04 | 67.27 | 64.43 | 46.49 | 52.38 | 54.29 | 41.36 | 39.18 | 43.54 | 32.55 | 25.31 | 38.51 | 61.35 | 53.47 | 26.19 | 22.06 | 20.49 | 17 | 21.9 | 19.31 | 24.56 | 29.77 | 85.43 | 717.5
465 | 83.26 | 114.6 | 892.3 | 2069 | 189.2 | 82.32 | 76.39 | 96.48 | 91.86 | 103.3 | 72.03 | 94.38 | 104.7 | 117.8 | 94.61 | 94.2 | 86.78 | 95.94 | 75.45 | 50.26 | 71.27 | 72.38 | 61.09 | 70.71 | 52.38 | 58.35 | 45.49 | 42.57 | 36.84 | 40.9 | 42.64 | 42.77 | 38.94 | 26.84 | 28.71 | 37.14 | 59.87 | 42.54 | 22.51 | 18.63 | 20.73 | 17.99 | 23.72 | 19.64 | 26.3 | 29.33 | 79.94
470 | 122.2 | 140.6 | 265.3 | 2422 | 710.4 | 77 | 77.46 | 96.83 | 95.29 | 88.47 | 108.2 | 118.7 | 113.9 | 102.8 | 112.4 | 83.85 | 54.48 | 70.38 | 76.65 | 67.38 | 60.58 | 47.08 | 58.52 | 40.69 | 58.24 | 52.57 | 49.51 | 55.26 | 44.68 | 35.47 | 35.13 | 34.21 | 32.81 | 31 | 29.41 | 28.84 | 38.67 | 54.04 | 35.1 | 19.89 | 21.02 | 19.03 | 21.11 | 20.49 | 23.56 | 25.71 | 28.93
475 | 113.9 | 140 | 116.8 | 1401 | 2208 | 138.4 | 109.2 | 83.68 | 82.51 | 83.09 | 59.01 | 94.26 | 112 | 92.76 | 95.37 | 84.17 | 72.71 | 86.88 | 63.31 | 71.38 | 44.74 | 59.92 | 63.04 | 47.22 | 51.06 | 38.89 | 58.08 | 49.82 | 43.91 | 43.89 | 35.49 | 34.78 | 24.77 | 31.56 | 29.51 | 22.98 | 30.51 | 34.02 | 49.77 | 26.32 | 15.96 | 19.62 | 17.53 | 18.6 | 20.25 | 20.09 | 18.85
480 | 45.22 | 69.12 | 90.75 | 330.1 | 2711 | 1044 | 63.21 | 97.78 | 77.17 | 70.27 | 84.97 | 61.76 | 114.3 | 84.31 | 90.38 | 63.71 | 67.11 | 43.05 | 57.64 | 50 | 46.77 | 58.33 | 55.52 | 53.67 | 46.29 | 47.73 | 41.18 | 42.67 | 33.5 | 41.02 | 33.3 | 34.94 | 33 | 28.03 | 26.38 | 26.63 | 16.66 | 21 | 47.12 | 41.88 | 22.67 | 18.45 | 16.7 | 15.33 | 18.3 | 16.71 | 17.29
485 | 63.17 | 139 | 70.81 | 104.7 | 1950 | 3178 | 184.1 | 81.84 | 91.04 | 47.66 | 67.2 | 104.4 | 112.9 | 93.9 | 76.63 | 72.36 | 77.92 | 54.84 | 57.41 | 53.76 | 48.26 | 42.07 | 51.03 | 50.6 | 66.79 | 37.9 | 45.23 | 40.67 | 28.39 | 38.9 | 33.15 | 37.58 | 38.59 | 26.65 | 27.38 | 22.16 | 16.99 | 20.59 | 27.29 | 41.39 | 31.61 | 20.62 | 20.73 | 17.19 | 14.34 | 17.53 | 18.15
490 | 87.02 | 84.09 | 89.79 | 86.52 | 392.5 | 3486 | 1087 | 74.15 | 85.09 | 70.55 | 100.1 | 97.73 | 104.7 | 70.66 | 86.79 | 87.41 | 69.41 | 50.15 | 48.49 | 57.98 | 50.55 | 54.92 | 43.61 | 43.53 | 41.4 | 44.84 | 38.04 | 40.22 | 44.76 | 30.86 | 30.25 | 30.43 | 33.42 | 31.14 | 27.12 | 19.12 | 23.33 | 22.1 | 22.1 | 26.11 | 36.14 | 20.67 | 19.36 | 15.31 | 16.44 | 16.76 | 17.39
495 | 56.97 | 102 | 109.5 | 73.99 | 100.6 | 2246 | 3014 | 159.2 | 105.7 | 89.65 | 95.68 | 75.35 | 53.53 | 67.06 | 79.35 | 73.47 | 57.84 | 64.57 | 58.76 | 43.45 | 46.84 | 46.26 | 42.64 | 38.96 | 42.47 | 40.3 | 35.12 | 31.11 | 35.1 | 35.85 | 31.74 | 24.54 | 30.53 | 24.97 | 26.09 | 22.46 | 20.89 | 25.02 | 16.48 | 22.74 | 29.99 | 32.46 | 19.94 | 18.62 | 13.22 | 16.89 | 14.9
500 | 90.25 | 91.14 | 69.62 | 75.46 | 129.8 | 724.3 | 4540 | 902.1 | 55.29 | 69.41 | 97.47 | 68.34 | 101.2 | 78.86 | 63.95 | 43.23 | 52.16 | 44.85 | 52.37 | 44 | 55.24 | 56.34 | 47.9 | 44.23 | 48.15 | 40.07 | 35.33 | 32.47 | 34.59 | 32.33 | 29.36 | 30.66 | 34.94 | 27.55 | 31.49 | 21.23 | 19.31 | 15.08 | 18.35 | 17.96 | 22.3 | 38.93 | 23.14 | 18.65 | 13.25 | 14.31 | 16.15