## Sheet1
Report date: | 14:09:08, 04/15/2024
Sample: | 1
File name:
Run date: | 14:06:23, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/265.0 | 103
2 | 225.0/490.0 | 116.8
3 | 230.0/315.0 | 362.2
4 | 230.0/325.0 | 419.2
5 | 230.0/335.0 | 467.8
6 | 230.0/355.0 | 326.3
7 | 230.0/390.0 | 175.6
8 | 235.0/280.0 | 100.8
9 | 235.0/290.0 | 198.5
10 | 235.0/330.0 | 382.7
11 | 235.0/365.0 | 269.3
12 | 235.0/380.0 | 209.8
13 | 235.0/395.0 | 186.2
14 | 235.0/415.0 | 155.9
15 | 235.0/445.0 | 204.1
16 | 240.0/260.0 | 128
17 | 240.0/305.0 | 226.3
18 | 240.0/385.0 | 200.5
19 | 240.0/405.0 | 184.9
20 | 240.0/430.0 | 173
21 | 245.0/295.0 | 166
22 | 245.0/340.0 | 280.1
23 | 245.0/380.0 | 147.6
24 | 245.0/435.0 | 136.7
25 | 245.0/450.0 | 127.7
26 | 250.0/270.0 | 147
27 | 250.0/280.0 | 147.5
28 | 250.0/445.0 | 123.3
29 | 255.0/425.0 | 130.8
30 | 260.0/285.0 | 179.8
31 | 260.0/435.0 | 127.2
32 | 260.0/445.0 | 135
33 | 260.0/460.0 | 131.5
34 | 260.0/475.0 | 110.2
35 | 270.0/480.0 | 117.1
36 | 275.0/420.0 | 230.7
37 | 275.0/445.0 | 163.4
38 | 275.0/470.0 | 124.1
39 | 275.0/495.0 | 107.7
40 | 280.0/425.0 | 175.6
41 | 280.0/485.0 | 98.56
42 | 285.0/260.0 | 64.09
43 | 285.0/400.0 | 412.1
44 | 285.0/435.0 | 184.3
45 | 285.0/460.0 | 151.9
46 | 285.0/490.0 | 92.99
47 | 290.0/335.0 | 2888
48 | 290.0/450.0 | 138.7
49 | 290.0/485.0 | 89.28
50 | 300.0/255.0 | 43.03
51 | 300.0/440.0 | 126.7
52 | 300.0/465.0 | 98.52
53 | 300.0/485.0 | 96.42
54 | 305.0/430.0 | 118.4
55 | 310.0/415.0 | 163.4
56 | 310.0/450.0 | 92.03
57 | 310.0/465.0 | 91.82
58 | 315.0/355.0 | 294
59 | 315.0/385.0 | 193.3
60 | 315.0/395.0 | 196
61 | 315.0/430.0 | 125.9
62 | 315.0/455.0 | 91.21
63 | 315.0/475.0 | 75.54
64 | 320.0/270.0 | 34.92
65 | 320.0/360.0 | 278.4
66 | 320.0/445.0 | 106.7
67 | 320.0/485.0 | 68
68 | 325.0/255.0 | 34.72
69 | 325.0/290.0 | 45.45
70 | 325.0/365.0 | 252
71 | 325.0/390.0 | 211.1
72 | 325.0/415.0 | 166.4
73 | 325.0/435.0 | 117.4
74 | 325.0/460.0 | 83.09
75 | 330.0/265.0 | 35.87
76 | 330.0/370.0 | 297.3
77 | 330.0/400.0 | 205.4
78 | 330.0/450.0 | 102
79 | 330.0/475.0 | 67.99
80 | 335.0/260.0 | 28.03
81 | 335.0/275.0 | 37.92
82 | 335.0/380.0 | 288.2
83 | 335.0/425.0 | 125.9
84 | 335.0/485.0 | 61.74
85 | 340.0/280.0 | 34.68
86 | 340.0/290.0 | 38.09
87 | 340.0/385.0 | 316.8
88 | 340.0/465.0 | 67.66
89 | 345.0/255.0 | 25.09
90 | 345.0/270.0 | 25.33
91 | 345.0/285.0 | 25.78
92 | 345.0/390.0 | 235
93 | 345.0/455.0 | 81.12
94 | 345.0/485.0 | 54.06
95 | 350.0/310.0 | 37.99
96 | 350.0/400.0 | 189.2
97 | 350.0/450.0 | 73.31
98 | 355.0/270.0 | 24.92
99 | 355.0/305.0 | 27.87
100 | 355.0/405.0 | 195.5
101 | 360.0/410.0 | 176.6
102 | 365.0/295.0 | 27.06
103 | 365.0/325.0 | 34.68
104 | 365.0/395.0 | 72.96
105 | 365.0/415.0 | 186.9
106 | 365.0/450.0 | 76.28
107 | 365.0/465.0 | 62.04
108 | 365.0/480.0 | 52.55
109 | 370.0/255.0 | 26.1
110 | 370.0/315.0 | 29.1
111 | 370.0/425.0 | 149.7
112 | 370.0/490.0 | 40.26
113 | 375.0/280.0 | 19.8
114 | 375.0/430.0 | 121.4
115 | 375.0/475.0 | 39.92
116 | 380.0/265.0 | 27.42
117 | 380.0/320.0 | 22.69
118 | 380.0/435.0 | 121.8
119 | 380.0/460.0 | 41.83
120 | 380.0/485.0 | 35.51
121 | 385.0/305.0 | 17.68
122 | 385.0/495.0 | 35.37
123 | 390.0/270.0 | 25.26
124 | 390.0/450.0 | 75.65
125 | 395.0/255.0 | 22.6
126 | 395.0/310.0 | 15.35
127 | 395.0/460.0 | 67.74
128 | 400.0/285.0 | 19.94
129 | 400.0/485.0 | 25.84
130 | 405.0/260.0 | 18.87
131 | 405.0/290.0 | 18.88
132 | 405.0/445.0 | 28.34
133 | 405.0/470.0 | 57.51
134 | 410.0/270.0 | 15.26
135 | 410.0/300.0 | 16.51
136 | 410.0/325.0 | 14.52
137 | 410.0/475.0 | 47.13
138 | 415.0/260.0 | 15.89
139 | 415.0/280.0 | 15.4
140 | 415.0/295.0 | 16.24
141 | 415.0/370.0 | 17.93
142 | 420.0/270.0 | 16.78
143 | 420.0/305.0 | 17.59
144 | 420.0/330.0 | 12.36
145 | 420.0/340.0 | 12.85
146 | 420.0/490.0 | 39.67
147 | 425.0/285.0 | 12.93
148 | 425.0/350.0 | 12.33
149 | 430.0/275.0 | 13.03
150 | 430.0/295.0 | 14.12
151 | 430.0/335.0 | 9.887
152 | 430.0/370.0 | 14.39
153 | 435.0/270.0 | 11.36
154 | 435.0/285.0 | 12.04
155 | 435.0/315.0 | 17.17
156 | 435.0/340.0 | 11.24
157 | 435.0/375.0 | 12.82
158 | 435.0/385.0 | 14.72
159 | 440.0/290.0 | 13.39
160 | 445.0/380.0 | 12.11
161 | 445.0/480.0 | 19.46
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 93.45 | 59.55 | 92.14 | 80.56 | 96.76 | 4168 | 9999.9 | 3507 | 68.96 | 77.6 | 58.91 | 53.64 | 56.72 | 57.46 | 68.88 | 52.83 | 25.79 | 31.23 | 30.44 | 32.03 | 24.27 | 27.56 | 20.06 | 22.69 | 30.9 | 20.39 | 20.25 | 27.41 | 24.08 | 21.23 | 22.75 | 19.08 | 18.29 | 15.47 | 19.18 | 20.03 | 13.21 | 13.96 | 12.39 | 8.501 | 13.39 | 7.733 | 10.62 | 9.693 | 7.596 | 5.039 | 6.491
255 | 81.92 | 77.97 | 69.37 | 91.7 | 102.4 | 356 | 3147 | 9999.9 | 6407 | 239.6 | 54.53 | 40.75 | 57.57 | 52.13 | 45.23 | 32.89 | 43.03 | 34.07 | 38.23 | 24.91 | 25.4 | 34.72 | 31.35 | 19.14 | 20.48 | 25.09 | 20.9 | 23.43 | 20.6 | 21.33 | 26.1 | 24.62 | 18.51 | 14.45 | 18.23 | 22.6 | 20.01 | 15.68 | 17.04 | 13.19 | 10.66 | 11.11 | 10.38 | 7.805 | 10.08 | 7.564 | 4.944
260 | 72.24 | 75.9 | 120.2 | 117 | 128 | 114.5 | 284.5 | 3691 | 9999.9 | 9295 | 310.2 | 53.55 | 56.74 | 64.09 | 44.02 | 43.16 | 37.47 | 37.29 | 29.65 | 30.38 | 25.84 | 23.28 | 27.13 | 28.03 | 21.46 | 16.95 | 18.1 | 25.82 | 19.78 | 20.74 | 24.07 | 20.49 | 19.58 | 19.85 | 13.62 | 15.82 | 17.48 | 18.87 | 12.4 | 15.89 | 10.65 | 11.81 | 8.804 | 7.602 | 8.51 | 6.63 | 5.275
265 | 86.86 | 103 | 62.36 | 85.99 | 97.44 | 142.6 | 118.3 | 289.6 | 5010 | 9999.9 | 9999.9 | 476 | 78.12 | 53.71 | 43.58 | 54.62 | 41.62 | 37.31 | 32.77 | 33.6 | 34.42 | 30.39 | 35.87 | 18.63 | 22.1 | 24.37 | 21.73 | 11.39 | 14.72 | 16.84 | 19.88 | 19.6 | 27.42 | 22.77 | 18.13 | 13.57 | 15.8 | 15.69 | 14.65 | 12.03 | 13.95 | 10.9 | 9.082 | 10.31 | 7.405 | 8.09 | 7.176
270 | 45.83 | 76.55 | 77.29 | 77.04 | 90.12 | 139 | 147 | 81.73 | 377.7 | 6797 | 9999.9 | 9999.9 | 543.2 | 55.08 | 80.43 | 60.03 | 33.45 | 36.57 | 25.11 | 31.85 | 34.92 | 27.22 | 33.35 | 35.66 | 20.22 | 25.33 | 19.76 | 24.92 | 17.8 | 16.28 | 18.75 | 15 | 23.65 | 22.38 | 25.26 | 17.27 | 12.87 | 12.9 | 15.26 | 11.87 | 16.78 | 11.35 | 9.444 | 11.36 | 8.105 | 9.153 | 7.022
275 | 88.02 | 59.23 | 63.94 | 78.7 | 88.75 | 73.17 | 135 | 118.3 | 91.81 | 508.4 | 8941 | 9999.9 | 9999.9 | 632.6 | 76.58 | 81.89 | 43.31 | 49.62 | 29.23 | 23.76 | 28.04 | 30.77 | 24.24 | 37.92 | 23.88 | 24.31 | 22.03 | 17.11 | 12.39 | 17.47 | 15.62 | 18.26 | 18.61 | 19.35 | 20.84 | 16.74 | 13.94 | 14.86 | 14.93 | 11.5 | 11.27 | 11.67 | 13.03 | 9.921 | 10.75 | 9.424 | 9.192
280 | 107.1 | 63.2 | 98.3 | 100.8 | 76.61 | 80.9 | 147.5 | 139.6 | 107.8 | 113.9 | 652.6 | 9999.9 | 9999.9 | 9999.9 | 618.6 | 82.59 | 64.67 | 51.23 | 38.74 | 41.31 | 31.29 | 31.15 | 27.69 | 26.55 | 34.68 | 25.64 | 21.02 | 13.17 | 16.71 | 20.45 | 15.95 | 19.8 | 19.06 | 13.53 | 18.54 | 18.13 | 14.75 | 14.84 | 11.67 | 15.4 | 11.41 | 11.06 | 11.57 | 10.08 | 10.33 | 8.766 | 8.936
285 | 79.33 | 89.39 | 86.6 | 49.8 | 88.21 | 87.55 | 78.1 | 134.4 | 179.8 | 111.8 | 187.8 | 772.3 | 9999.9 | 9999.9 | 9999.9 | 837.2 | 66.55 | 72.06 | 46.74 | 44.01 | 39.42 | 36.31 | 19.25 | 25.51 | 19.72 | 25.78 | 17.85 | 18.57 | 12.96 | 21.26 | 18.04 | 15.33 | 12.04 | 13.98 | 11.95 | 15.94 | 19.94 | 16.11 | 14.77 | 11.64 | 12.66 | 12.93 | 10.66 | 12.04 | 9.742 | 11.04 | 8.603
290 | 71.92 | 85.24 | 103.5 | 198.5 | 82.81 | 99.06 | 112.2 | 113.6 | 159.5 | 246.2 | 223.5 | 313.6 | 903.7 | 9999.9 | 9999.9 | 9999.9 | 717.7 | 84.42 | 71.88 | 53.28 | 37.62 | 45.45 | 30.39 | 29.95 | 38.09 | 18.12 | 22.78 | 21.64 | 19.95 | 21.65 | 21.26 | 18.31 | 19.05 | 17.49 | 10.7 | 13.6 | 16.42 | 18.88 | 15.02 | 13.57 | 9.939 | 12.79 | 13.08 | 12 | 13.39 | 10.45 | 8.914
295 | 77.33 | 132.2 | 130.6 | 143.9 | 118.1 | 166 | 97.68 | 112.9 | 133.3 | 268.3 | 370.8 | 436.9 | 435.3 | 1144 | 9999.9 | 9999.9 | 9999.9 | 791.2 | 105.1 | 63.08 | 52.55 | 34.99 | 35.16 | 35.13 | 35.08 | 26.97 | 21.77 | 19.65 | 23.24 | 27.06 | 23.03 | 14.01 | 13.74 | 13.06 | 12.58 | 14.25 | 16.59 | 16.64 | 11.87 | 16.24 | 13.84 | 10.81 | 14.12 | 10.93 | 10.92 | 11.27 | 11.29
300 | 123.6 | 80.15 | 178.7 | 157.3 | 97.9 | 161.6 | 115.2 | 162.7 | 192.1 | 308.1 | 456.7 | 658.5 | 636 | 729.2 | 1106 | 9999.9 | 9999.9 | 9999.9 | 801.3 | 86.93 | 72.07 | 56.71 | 40.46 | 25.56 | 32.11 | 31.75 | 27.52 | 25.14 | 23.34 | 24.28 | 20.08 | 11.57 | 11.07 | 16.47 | 13.44 | 10.18 | 15.15 | 12.35 | 16.51 | 16.07 | 15.08 | 13.04 | 10.15 | 11.84 | 12.11 | 12.33 | 11.82
305 | 160.7 | 198.3 | 219.2 | 176.3 | 226.3 | 129.9 | 145.8 | 190.8 | 259.5 | 348.2 | 557.2 | 1197 | 1126 | 1038 | 948.9 | 1256 | 9999.9 | 9999.9 | 9999.9 | 679.9 | 79.65 | 63.78 | 42.91 | 41.12 | 26.19 | 30.72 | 23.3 | 27.87 | 21.51 | 20.88 | 18.92 | 18.42 | 12.28 | 17.68 | 13.45 | 14.05 | 10.35 | 12.99 | 10.81 | 14.05 | 17.59 | 13.21 | 11.91 | 9.772 | 10.43 | 10.65 | 13.43
310 | 161.8 | 247.4 | 325.7 | 259.8 | 191 | 134.8 | 192.1 | 192.5 | 321.1 | 467.6 | 774.6 | 1119 | 1584 | 1595 | 1362 | 858.1 | 1050 | 9999.9 | 9999.9 | 9999.9 | 791.6 | 70.64 | 44.64 | 42.01 | 32.14 | 33.6 | 37.99 | 23.87 | 21.68 | 25.12 | 23.12 | 17.73 | 17.59 | 13.57 | 13.71 | 15.35 | 12.09 | 7.426 | 12.57 | 11.31 | 12.88 | 12.14 | 12.44 | 10.06 | 10.36 | 11.33 | 11.91
315 | 220 | 232.2 | 362.2 | 323.8 | 145.5 | 142 | 253.1 | 293.1 | 396.3 | 680.2 | 919.3 | 1487 | 1758 | 2081 | 1787 | 1133 | 516.1 | 938.1 | 9999.9 | 9999.9 | 9999.9 | 757.1 | 79 | 57.36 | 45.36 | 26.8 | 34.85 | 31.02 | 22.31 | 27.48 | 29.1 | 23.42 | 18.46 | 16.11 | 13.95 | 9.946 | 11.73 | 11.24 | 8.277 | 10.13 | 9.458 | 12.46 | 13.74 | 17.17 | 11.1 | 9.894 | 10.57
320 | 223.1 | 296.8 | 303.2 | 322.7 | 188.5 | 179 | 203.3 | 333.9 | 489.8 | 765.3 | 1122 | 1661 | 2142 | 2327 | 2338 | 1346 | 578.9 | 343.3 | 811.4 | 9999.9 | 9999.9 | 9999.9 | 716.2 | 85.98 | 58.18 | 45.51 | 27.58 | 28.01 | 29.95 | 26.49 | 23.53 | 18.95 | 22.69 | 18.78 | 14.88 | 11.47 | 10.45 | 11.18 | 10.52 | 10.87 | 8.491 | 11.78 | 13.58 | 13.77 | 11.34 | 9.872 | 8.926
325 | 217.8 | 276.5 | 419.2 | 359.7 | 295.5 | 210.7 | 251.8 | 308.6 | 509.9 | 762.6 | 1225 | 1962 | 2065 | 2392 | 2242 | 1971 | 716.1 | 310.2 | 205 | 794.8 | 9999.9 | 9999.9 | 9999.9 | 687 | 84.65 | 56.54 | 46.83 | 35.59 | 32.2 | 34.68 | 23.05 | 20.6 | 21.89 | 19.63 | 17.79 | 11.98 | 11.99 | 12.64 | 14.52 | 13.42 | 9.206 | 10.49 | 9.36 | 9.748 | 11.3 | 13.56 | 9.773
330 | 174.3 | 292.7 | 367.7 | 382.7 | 291.6 | 167 | 204.6 | 318.4 | 513.9 | 857.3 | 1322 | 1859 | 2482 | 2561 | 2437 | 1786 | 861.3 | 338.4 | 171.4 | 164.7 | 781 | 9999.9 | 9999.9 | 9999.9 | 658.8 | 83.52 | 46.36 | 33.27 | 40.87 | 29.24 | 27.14 | 26.74 | 20.49 | 18.62 | 19.15 | 18.98 | 13.34 | 10.95 | 10.85 | 12.14 | 12.36 | 10 | 8.783 | 8.954 | 10.53 | 12.63 | 13.08
335 | 162.1 | 357.9 | 467.8 | 293.2 | 256.4 | 222.9 | 276.3 | 331.5 | 511.2 | 876 | 1372 | 1928 | 2282 | 2814 | 2888 | 1788 | 982.8 | 433.2 | 164.8 | 113.9 | 155.9 | 768.5 | 9999.9 | 9999.9 | 9999.9 | 658.8 | 85.26 | 59.26 | 47.01 | 31.41 | 31.16 | 25.14 | 26.87 | 14.44 | 18.73 | 13.07 | 12.83 | 12.87 | 10.6 | 11.6 | 8.926 | 8.709 | 9.887 | 9.787 | 8.15 | 11.41 | 11.36
340 | 169.7 | 261.3 | 436.4 | 315.1 | 198.8 | 280.1 | 216.5 | 306.2 | 560.2 | 824.1 | 1190 | 1840 | 2077 | 2531 | 2433 | 1603 | 837.9 | 541.1 | 201.9 | 117.6 | 111.2 | 146 | 813.5 | 9999.9 | 9999.9 | 9999.9 | 689.4 | 68.23 | 57.88 | 35.19 | 30.03 | 30.22 | 22.85 | 20.66 | 16.57 | 17.98 | 15.18 | 13.26 | 11.83 | 12.53 | 12.85 | 9.513 | 9.376 | 11.24 | 9.377 | 8.904 | 11.08
345 | 208.2 | 327.8 | 354.9 | 343.4 | 202.5 | 245.6 | 232.1 | 269.1 | 424.8 | 748.6 | 1138 | 1614 | 2115 | 2348 | 1992 | 1498 | 688.8 | 422.6 | 329.6 | 127.2 | 86.51 | 65.04 | 139.3 | 786.3 | 9999.9 | 9999.9 | 9999.9 | 578.3 | 81.52 | 63.51 | 36.8 | 34.35 | 26.51 | 19.26 | 21.71 | 20.2 | 15.75 | 11.86 | 11.26 | 11.87 | 12.39 | 10.29 | 8.262 | 9.405 | 8.757 | 14.14 | 11.02
350 | 112 | 262.4 | 260.1 | 246.5 | 173 | 234.7 | 218.5 | 287.4 | 453.5 | 636.3 | 962.5 | 1364 | 1857 | 2086 | 1972 | 1277 | 601.2 | 314.9 | 282 | 252.4 | 103.8 | 64.71 | 87.06 | 122.4 | 769.2 | 9999.9 | 9999.9 | 9999.9 | 591.6 | 77.06 | 59.44 | 39.15 | 28.93 | 22.34 | 23.79 | 19.58 | 17.44 | 15.53 | 12.39 | 10.97 | 11.52 | 12.33 | 6.736 | 10.78 | 9.067 | 9.79 | 9.548
355 | 142.2 | 223.2 | 326.3 | 281.6 | 133.3 | 222.1 | 201.7 | 242.6 | 376.6 | 593.6 | 912.8 | 1321 | 1601 | 1882 | 1820 | 1161 | 601 | 250.1 | 157.6 | 294 | 203.8 | 84.84 | 71.28 | 84.91 | 130.6 | 771.1 | 9999.9 | 9999.9 | 9999.9 | 597.5 | 78.49 | 49.35 | 37.33 | 33.96 | 28.67 | 22.78 | 14.95 | 15.8 | 14.87 | 12.92 | 12.08 | 8.442 | 8.561 | 10.11 | 6.274 | 10.37 | 7.356
360 | 182.4 | 180.6 | 218.5 | 190.1 | 140.6 | 173.7 | 149 | 239 | 329 | 527.4 | 735.2 | 1087 | 1398 | 1640 | 1383 | 1033 | 506.6 | 266.8 | 154.9 | 162.9 | 278.4 | 165.4 | 90.39 | 89.01 | 96.42 | 135.5 | 770.7 | 9999.9 | 9999.9 | 9999.9 | 532.7 | 53.42 | 49.6 | 33.09 | 23.77 | 24.27 | 14.82 | 17.41 | 12.67 | 12.5 | 12.44 | 12.45 | 9.478 | 10.64 | 7.263 | 10.85 | 9.242
365 | 144 | 206.3 | 231.2 | 269.3 | 164 | 172.6 | 217.1 | 226.9 | 289.8 | 406.2 | 695.6 | 970 | 1226 | 1308 | 1261 | 874.4 | 416.6 | 240.2 | 144.4 | 156.6 | 193.7 | 252 | 146.5 | 96.82 | 95.84 | 105 | 143.5 | 770.7 | 9999.9 | 9999.9 | 9999.9 | 474.3 | 66.46 | 41.99 | 28.78 | 21.47 | 22.68 | 18.96 | 16.49 | 15.47 | 14.19 | 12.36 | 11.45 | 9.998 | 10.29 | 8.145 | 8.342
370 | 106.1 | 128.9 | 194.1 | 177.3 | 177.7 | 171.3 | 149.6 | 154.8 | 262.9 | 384 | 643.6 | 867.9 | 932.1 | 1119 | 1078 | 746.9 | 401.5 | 242.9 | 178.6 | 123.4 | 143.8 | 248.7 | 297.3 | 132.6 | 111.1 | 113.9 | 89.79 | 131.8 | 784.2 | 9999.9 | 9999.9 | 9999.9 | 453.2 | 60.5 | 47.75 | 30.36 | 22.13 | 18.21 | 15.99 | 17.93 | 13.81 | 12.27 | 14.39 | 10.9 | 10.92 | 11.17 | 9.248
375 | 112.3 | 160.3 | 187.7 | 141 | 141.6 | 128.2 | 136.2 | 140.1 | 200 | 353.8 | 527.1 | 680 | 798.1 | 935.7 | 863.1 | 661.4 | 354.2 | 224 | 171.7 | 164 | 147.5 | 167 | 272.7 | 270.4 | 117.9 | 104.5 | 84.58 | 91.38 | 125.6 | 778.6 | 9999.9 | 9999.9 | 9999.9 | 452.2 | 59.27 | 38.9 | 30.76 | 23.55 | 23.66 | 14.02 | 14.55 | 12.46 | 11.31 | 12.82 | 9.096 | 10.24 | 8.929
380 | 121.7 | 177.3 | 194.6 | 209.8 | 111 | 147.6 | 122.6 | 196.7 | 221.2 | 307.1 | 384.3 | 602.1 | 842.5 | 732.9 | 728.2 | 592.8 | 344.3 | 242.9 | 178.7 | 176.4 | 153 | 179.5 | 173.5 | 288.2 | 207.7 | 113.6 | 98.07 | 80.44 | 82.81 | 129.9 | 798 | 9999.9 | 9999.9 | 9999.9 | 409.2 | 56.59 | 45.58 | 29.05 | 22.8 | 23.74 | 18.93 | 16.62 | 14.73 | 10.07 | 11.27 | 12.11 | 8.121
385 | 127.6 | 171.6 | 154.1 | 188.9 | 200.5 | 132 | 145.2 | 130.2 | 202 | 281.9 | 316.1 | 519.9 | 676.1 | 601 | 579.9 | 499 | 299.6 | 206.3 | 167.6 | 193.3 | 167.4 | 168 | 161.3 | 218.3 | 316.8 | 168.8 | 91.01 | 75.07 | 68.91 | 70.85 | 123.3 | 782.8 | 9999.9 | 9999.9 | 9999.9 | 332.7 | 53.48 | 35.69 | 27.37 | 25.12 | 14.97 | 13.81 | 13.64 | 14.72 | 12.28 | 9.792 | 8.758
390 | 117.5 | 116.9 | 175.6 | 125.9 | 169.2 | 123.9 | 135 | 144.9 | 189.7 | 214.1 | 326.7 | 384 | 518.2 | 531.2 | 482.7 | 389.1 | 297.5 | 196.5 | 172.7 | 181 | 163.4 | 211.1 | 179.5 | 147.1 | 199.2 | 235 | 143.2 | 88.95 | 57.24 | 52.03 | 65.85 | 113 | 748.4 | 9999.9 | 9999.9 | 9999.9 | 343.5 | 58.58 | 35.51 | 27.4 | 19.65 | 18.63 | 15.63 | 11.59 | 12.77 | 10.34 | 8.817
395 | 167.4 | 178.3 | 157.3 | 186.2 | 127 | 98.66 | 123.6 | 107.7 | 171.5 | 184.8 | 251.8 | 309.2 | 406.5 | 381.2 | 510.7 | 347.4 | 268.1 | 193 | 179.1 | 196 | 188.5 | 185.1 | 183.4 | 180.9 | 146.9 | 191.6 | 189 | 94.96 | 59.88 | 72.96 | 55.69 | 67.63 | 109.5 | 766 | 9999.9 | 9999.9 | 9999.9 | 308.7 | 50.31 | 35.4 | 21.72 | 17.98 | 13.86 | 10.88 | 12.32 | 11.6 | 10.05
400 | 122.8 | 134.7 | 132.6 | 131.4 | 103.6 | 111.2 | 109.2 | 104.3 | 107.1 | 165.3 | 204.7 | 344.4 | 368.1 | 412.1 | 389 | 289.8 | 240.8 | 171.5 | 142.7 | 163.9 | 185.7 | 158.2 | 205.4 | 155.2 | 152.1 | 134.7 | 189.2 | 156.8 | 71.94 | 56.8 | 50.32 | 54.56 | 64.67 | 107.6 | 759.5 | 9999.9 | 9999.9 | 9999.9 | 249.2 | 46.12 | 35.65 | 20.18 | 17.23 | 15.01 | 11.12 | 11.57 | 11.35
405 | 207.7 | 140.2 | 141.4 | 144.2 | 184.9 | 120.1 | 113.6 | 86.7 | 146 | 156.1 | 212.5 | 219.1 | 347 | 363 | 349.4 | 292.1 | 222.4 | 180.2 | 138.6 | 153.3 | 186 | 159.1 | 178.5 | 154.5 | 137.4 | 113.8 | 120.3 | 195.5 | 127.2 | 70.74 | 48.43 | 49.94 | 49.38 | 62.31 | 109.7 | 722.4 | 9999.9 | 9999.9 | 9999.9 | 302.3 | 40.7 | 33.56 | 19.55 | 18.83 | 14.84 | 13.25 | 12.11
410 | 124.5 | 114.8 | 99.41 | 91.14 | 111.5 | 90.11 | 102.7 | 141.5 | 158.8 | 161.2 | 165.9 | 227.9 | 275.8 | 286.1 | 310.3 | 273.8 | 181.9 | 165.7 | 148.1 | 151.6 | 142.6 | 147.6 | 146 | 150.3 | 114.3 | 92.6 | 104.6 | 128.5 | 176.6 | 92.99 | 49.55 | 45.88 | 44.22 | 52.1 | 47.78 | 95.91 | 730.6 | 9999.9 | 9999.9 | 9999.9 | 239.3 | 37.5 | 27.8 | 26.62 | 15.2 | 15.92 | 12.26
415 | 122 | 135.1 | 134.2 | 155.9 | 144.2 | 78.34 | 90.29 | 97.96 | 103.6 | 154 | 147.4 | 181.7 | 212.2 | 253.3 | 250.3 | 204.5 | 184.3 | 146.1 | 163.4 | 156.7 | 154.4 | 166.4 | 149.6 | 136.6 | 112.1 | 103.9 | 83.36 | 92.04 | 149.8 | 186.9 | 82.25 | 54.96 | 43.76 | 35.67 | 40.01 | 45.02 | 89.83 | 730.7 | 9999.9 | 9999.9 | 9999.9 | 234.6 | 44.83 | 30.17 | 21.18 | 16.77 | 12.97
420 | 124.7 | 66.48 | 92.23 | 91.72 | 127.5 | 94.65 | 92.3 | 106.2 | 109.2 | 115.1 | 148.8 | 230.7 | 162.7 | 248.7 | 235.6 | 162.3 | 163.8 | 132.7 | 152.7 | 127.7 | 129 | 134.4 | 122.2 | 119.7 | 117.1 | 101.2 | 75.38 | 67.48 | 84.04 | 164.5 | 135.6 | 67 | 54.33 | 46.74 | 34.71 | 41.92 | 44.65 | 90.06 | 719.4 | 9999.9 | 9999.9 | 9999.9 | 219.8 | 41.69 | 30.53 | 17.43 | 16.47
425 | 111.8 | 80.6 | 93.04 | 79.56 | 124.5 | 82.05 | 126.7 | 130.8 | 114.8 | 107.4 | 121.6 | 167.4 | 175.6 | 173.7 | 159.8 | 164 | 141.4 | 111.6 | 129.7 | 105.4 | 122.4 | 113.6 | 119.8 | 125.9 | 92.08 | 77.68 | 73.29 | 76.94 | 58.63 | 87.51 | 149.7 | 102.4 | 52.4 | 32.82 | 34.54 | 32.01 | 37.21 | 40.8 | 88.68 | 727.9 | 9999.9 | 9999.9 | 9999.9 | 201.3 | 39.02 | 28.16 | 17.97
430 | 189.7 | 79.61 | 101.9 | 97.03 | 173 | 99.24 | 110.2 | 92.05 | 99.1 | 107.2 | 124.9 | 189.9 | 157.5 | 163.8 | 169.4 | 125 | 110.6 | 118.4 | 107.7 | 125.9 | 117.7 | 106.8 | 100.1 | 118.4 | 91.04 | 80.83 | 59.18 | 69.89 | 59.28 | 74.78 | 89.51 | 121.4 | 56.93 | 39.32 | 32.07 | 29.33 | 30.73 | 34.29 | 35.54 | 80.48 | 713 | 9999.9 | 9999.9 | 9999.9 | 194.5 | 37.7 | 28.04
435 | 342.8 | 134.5 | 124.6 | 119.3 | 95.14 | 136.7 | 97.67 | 77.65 | 127.2 | 91.23 | 107.4 | 132.8 | 149.7 | 184.3 | 150.8 | 135.7 | 121.3 | 106.7 | 90.05 | 106.5 | 115.9 | 117.4 | 107.8 | 107.6 | 87.22 | 86.57 | 78.46 | 65.47 | 61.09 | 75.04 | 53.1 | 87.26 | 121.8 | 50.77 | 36.43 | 33.06 | 31.62 | 25.74 | 29.16 | 40.56 | 82.59 | 724.5 | 9999.9 | 9999.9 | 9999.9 | 200.6 | 36.52
440 | 443.5 | 317.3 | 113.9 | 129.3 | 123 | 136.4 | 112 | 85.75 | 85.69 | 121.5 | 133.7 | 145.9 | 116 | 114.1 | 107.1 | 97.2 | 126.7 | 96.34 | 89.32 | 105.8 | 91.64 | 95.71 | 91.5 | 91.15 | 91.05 | 78.25 | 61.77 | 57.55 | 50.15 | 71.54 | 46.32 | 57.42 | 108.3 | 91.53 | 37.5 | 32.58 | 26.7 | 24.59 | 31.86 | 29.72 | 38.6 | 80.77 | 721.2 | 9999.9 | 9999.9 | 9999.9 | 174.3
445 | 340.7 | 691.3 | 117.4 | 204.1 | 120.3 | 94.63 | 123.3 | 97.5 | 135 | 103.7 | 126.9 | 163.4 | 131.6 | 106 | 138.6 | 112.6 | 110 | 81.18 | 84.26 | 99.27 | 106.7 | 92.71 | 95.62 | 84.24 | 85.26 | 65.99 | 58.78 | 59.38 | 65.68 | 73.39 | 45.91 | 46.75 | 55.35 | 90.39 | 63.86 | 28.96 | 27.3 | 28.34 | 25.39 | 27.94 | 27.69 | 31.42 | 77.92 | 708.1 | 9999.9 | 9999.9 | 9999.9
450 | 117.7 | 795.3 | 383.4 | 112.4 | 100 | 127.7 | 95.06 | 80.62 | 107 | 104.1 | 101.8 | 131.2 | 118.1 | 134.1 | 138.7 | 138.6 | 99.15 | 82.54 | 92.03 | 75.93 | 75.27 | 87.1 | 102 | 79.46 | 73.2 | 71.18 | 73.31 | 62.99 | 58.1 | 76.28 | 45.04 | 49.51 | 43.22 | 52.3 | 75.65 | 55.42 | 29.92 | 24.83 | 25.83 | 23.96 | 23.85 | 27.38 | 33.41 | 79.66 | 718.6 | 9999.9 | 9999.9
455 | 96.43 | 509.2 | 976.3 | 123.6 | 115 | 100.5 | 106 | 75.59 | 96.86 | 87.68 | 102.6 | 121.5 | 94.2 | 104.9 | 100.6 | 101 | 88.16 | 74.3 | 79.92 | 91.21 | 83.36 | 76.15 | 81.68 | 54.15 | 50.42 | 81.12 | 51.48 | 48.82 | 54.1 | 64.51 | 42 | 38.85 | 29.1 | 33.92 | 57.09 | 66.46 | 38.92 | 24.89 | 28.47 | 20.44 | 22.07 | 20.9 | 26.33 | 29.49 | 77.33 | 730.4 | 9999.9
460 | 124.5 | 152.7 | 1388 | 619.8 | 70.38 | 105 | 99.92 | 102.5 | 131.5 | 105.5 | 99.95 | 112.2 | 103 | 151.9 | 113.5 | 100.3 | 94.09 | 90.97 | 80.3 | 77.4 | 76.88 | 83.09 | 75.67 | 69.14 | 65.36 | 51.1 | 59.12 | 49.3 | 54.75 | 59.89 | 37.01 | 40.56 | 41.83 | 38.87 | 37.51 | 67.74 | 65.6 | 33.03 | 24.46 | 21.03 | 19.19 | 26.92 | 26.79 | 27.47 | 31.35 | 77.86 | 704
465 | 115.9 | 127.8 | 919.8 | 1925 | 237.9 | 153.1 | 130.6 | 86.74 | 102.7 | 105 | 100.5 | 102.5 | 106.4 | 120.4 | 102.8 | 85.56 | 98.52 | 80.96 | 91.82 | 76.88 | 73.31 | 65.85 | 67.84 | 62.56 | 67.66 | 66.42 | 62.91 | 55.27 | 49.01 | 62.04 | 43.32 | 36.19 | 37.62 | 31.27 | 29.24 | 38.35 | 63.67 | 52.41 | 22.64 | 17.63 | 19.85 | 26.56 | 23.15 | 20.82 | 25.92 | 30.41 | 76.97
470 | 140.7 | 131.2 | 248.3 | 2128 | 835.4 | 90.86 | 88.18 | 66.41 | 87.42 | 72.34 | 60.68 | 124.1 | 114.9 | 113.8 | 86.15 | 73.94 | 85.44 | 73.77 | 79.89 | 50.82 | 72.35 | 60.81 | 63.08 | 61.07 | 67.32 | 45.24 | 49.02 | 51.96 | 44.44 | 59.07 | 47.66 | 39.29 | 33.75 | 29.9 | 29.78 | 27 | 38.29 | 57.51 | 39.26 | 17.83 | 20.25 | 19.87 | 23.53 | 21.39 | 20.47 | 23.01 | 27.07
475 | 85.33 | 91.2 | 110.1 | 1250 | 2071 | 160.5 | 69.33 | 55.57 | 110.2 | 96.81 | 56.13 | 120.9 | 101.9 | 118.3 | 106 | 78.16 | 57.71 | 70.16 | 66.35 | 75.54 | 52.94 | 66.63 | 67.99 | 52.71 | 55.48 | 53.78 | 39.27 | 51.76 | 37.65 | 43.47 | 34.3 | 39.92 | 33.53 | 29.67 | 27.18 | 22.19 | 22.07 | 41.1 | 47.13 | 28.56 | 23.44 | 17.97 | 15.19 | 18.42 | 19.22 | 15.34 | 20.14
480 | 108.8 | 102.5 | 139.8 | 295.6 | 2858 | 1011 | 106.1 | 108.5 | 80.46 | 89.02 | 117.1 | 93.45 | 88.35 | 82.36 | 81.26 | 70.9 | 86.75 | 66.32 | 70.38 | 64.93 | 54.51 | 63.21 | 58.47 | 59.36 | 55.63 | 44.87 | 32.07 | 50.14 | 38.2 | 52.55 | 37.1 | 30.74 | 31.43 | 23.2 | 27.98 | 24.78 | 22.81 | 24.49 | 46.82 | 42.02 | 22.48 | 15.21 | 18.22 | 18.18 | 18.35 | 19.46 | 15.21
485 | 109 | 107.9 | 93.66 | 148.6 | 1821 | 2813 | 170.3 | 94.4 | 76.07 | 71.74 | 95.72 | 80.2 | 98.56 | 79.44 | 89.28 | 62.73 | 96.42 | 69.31 | 47.83 | 67.69 | 68 | 39.14 | 54.92 | 61.74 | 43.92 | 54.06 | 46.09 | 44.94 | 32.31 | 45.43 | 34.04 | 28.46 | 35.51 | 25.71 | 21.53 | 23.42 | 25.84 | 24.05 | 28.14 | 40.14 | 32.32 | 19.23 | 20.02 | 18.58 | 14.89 | 17.63 | 18.07
490 | 110.8 | 116.8 | 89.63 | 132.1 | 455.6 | 3429 | 986.1 | 70.02 | 57.66 | 82.87 | 87.86 | 98.05 | 77.55 | 92.99 | 80.32 | 85.8 | 67.98 | 45.5 | 54.83 | 42.6 | 57.43 | 54.46 | 55.05 | 47.85 | 38.17 | 53.12 | 36.91 | 36.54 | 31.19 | 28.68 | 40.26 | 36.24 | 33.83 | 31.81 | 23.36 | 20.38 | 24.27 | 21.83 | 22.31 | 33.77 | 39.67 | 23.84 | 16.26 | 17.43 | 17.02 | 18 | 13.94
495 | 142.7 | 96.43 | 118.6 | 108.5 | 174.6 | 1828 | 2802 | 178.3 | 86.15 | 104 | 98.23 | 107.7 | 86.57 | 77.72 | 77.6 | 81.09 | 76.19 | 59.14 | 52.59 | 44.15 | 61.84 | 52.18 | 45.99 | 36.61 | 37.57 | 42.78 | 43.97 | 36.92 | 44.95 | 39.94 | 31.03 | 33.32 | 31.98 | 35.37 | 23.96 | 22.52 | 23.5 | 23.69 | 22.74 | 18.39 | 35.38 | 35.06 | 23.6 | 17.78 | 15.43 | 17.42 | 17.06
500 | 115 | 126.7 | 104.2 | 86.66 | 155.6 | 683.2 | 3848 | 773.9 | 99.08 | 86.7 | 94.81 | 60.48 | 99.94 | 105.4 | 72.45 | 61.27 | 51.17 | 73.28 | 65.44 | 51.58 | 63.07 | 47.02 | 42.1 | 47.21 | 34.38 | 32.94 | 36.67 | 45.18 | 34.72 | 36.01 | 29.55 | 38.57 | 25.63 | 25.66 | 22.97 | 26.12 | 20.47 | 20.38 | 18.4 | 19.63 | 25.13 | 33.29 | 29.16 | 18.7 | 16.75 | 17.4 | 13.8