## Sheet1
Report date: | 14:17:01, 04/15/2024
Sample: | 1
File name:
Run date: | 14:14:20, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/260.0 | 127.1
2 | 225.0/280.0 | 120.9
3 | 225.0/405.0 | 150.7
4 | 230.0/270.0 | 128.9
5 | 230.0/330.0 | 630.8
6 | 230.0/345.0 | 489.6
7 | 230.0/355.0 | 435.9
8 | 230.0/395.0 | 222.2
9 | 235.0/340.0 | 487.5
10 | 235.0/350.0 | 485.5
11 | 235.0/385.0 | 230
12 | 235.0/415.0 | 163.8
13 | 235.0/425.0 | 135.7
14 | 240.0/285.0 | 125.5
15 | 240.0/395.0 | 155.5
16 | 240.0/430.0 | 147.6
17 | 245.0/270.0 | 135.3
18 | 245.0/290.0 | 138.2
19 | 245.0/325.0 | 330.3
20 | 245.0/415.0 | 153.2
21 | 250.0/275.0 | 153
22 | 250.0/440.0 | 181.3
23 | 255.0/415.0 | 137.5
24 | 255.0/430.0 | 140.1
25 | 255.0/455.0 | 162.7
26 | 260.0/285.0 | 202
27 | 265.0/450.0 | 130
28 | 265.0/460.0 | 129.3
29 | 265.0/485.0 | 149.7
30 | 270.0/415.0 | 235.5
31 | 270.0/455.0 | 133.7
32 | 270.0/465.0 | 135.5
33 | 275.0/430.0 | 176.1
34 | 275.0/450.0 | 166
35 | 275.0/475.0 | 121.7
36 | 275.0/485.0 | 119.4
37 | 280.0/440.0 | 182.1
38 | 280.0/460.0 | 154.8
39 | 285.0/330.0 | 3350
40 | 285.0/340.0 | 3270
41 | 285.0/435.0 | 232.3
42 | 285.0/470.0 | 139.1
43 | 290.0/325.0 | 3126
44 | 290.0/465.0 | 156.1
45 | 290.0/490.0 | 145.4
46 | 295.0/265.0 | 82.95
47 | 295.0/455.0 | 127.7
48 | 300.0/270.0 | 69.1
49 | 300.0/460.0 | 105.4
50 | 300.0/485.0 | 87.53
51 | 305.0/450.0 | 97.55
52 | 310.0/255.0 | 48.52
53 | 310.0/445.0 | 86.43
54 | 310.0/465.0 | 89.89
55 | 315.0/275.0 | 51.96
56 | 315.0/355.0 | 319.8
57 | 315.0/410.0 | 108.3
58 | 315.0/425.0 | 99.82
59 | 315.0/470.0 | 68.81
60 | 320.0/270.0 | 45.45
61 | 320.0/360.0 | 281.6
62 | 320.0/380.0 | 84.38
63 | 320.0/390.0 | 90.19
64 | 320.0/420.0 | 83.07
65 | 320.0/430.0 | 77.56
66 | 320.0/465.0 | 68.58
67 | 320.0/475.0 | 67.25
68 | 320.0/490.0 | 64.83
69 | 325.0/265.0 | 35.28
70 | 325.0/365.0 | 252.7
71 | 325.0/395.0 | 87.91
72 | 325.0/405.0 | 83.86
73 | 325.0/440.0 | 83.9
74 | 325.0/455.0 | 69.67
75 | 325.0/480.0 | 71.12
76 | 330.0/255.0 | 44.31
77 | 330.0/370.0 | 227
78 | 330.0/415.0 | 85.03
79 | 330.0/425.0 | 83.51
80 | 335.0/260.0 | 24.98
81 | 335.0/380.0 | 193.2
82 | 335.0/400.0 | 87.22
83 | 335.0/420.0 | 88.72
84 | 335.0/440.0 | 87.67
85 | 335.0/465.0 | 72.66
86 | 340.0/255.0 | 29.53
87 | 340.0/385.0 | 206.8
88 | 340.0/410.0 | 76.9
89 | 340.0/450.0 | 71.84
90 | 340.0/460.0 | 79.71
91 | 345.0/260.0 | 32.62
92 | 345.0/275.0 | 27.89
93 | 345.0/390.0 | 188.4
94 | 345.0/425.0 | 79.8
95 | 345.0/475.0 | 54.29
96 | 345.0/490.0 | 56.47
97 | 350.0/395.0 | 173.1
98 | 350.0/450.0 | 71.45
99 | 350.0/485.0 | 58.94
100 | 355.0/275.0 | 30.32
101 | 355.0/300.0 | 35.21
102 | 355.0/405.0 | 171.2
103 | 355.0/425.0 | 71.3
104 | 360.0/285.0 | 27.62
105 | 360.0/435.0 | 63.02
106 | 360.0/460.0 | 62.63
107 | 360.0/495.0 | 49.71
108 | 365.0/275.0 | 29.66
109 | 365.0/290.0 | 25.76
110 | 365.0/415.0 | 167.7
111 | 365.0/470.0 | 53.55
112 | 370.0/265.0 | 27.9
113 | 370.0/325.0 | 38.45
114 | 370.0/445.0 | 56.52
115 | 370.0/465.0 | 48.66
116 | 370.0/485.0 | 40.64
117 | 375.0/260.0 | 31.23
118 | 375.0/305.0 | 22.14
119 | 375.0/430.0 | 123.1
120 | 375.0/480.0 | 40.44
121 | 380.0/320.0 | 23.57
122 | 380.0/435.0 | 112.1
123 | 385.0/270.0 | 25.83
124 | 385.0/285.0 | 20.36
125 | 385.0/295.0 | 20.59
126 | 385.0/445.0 | 97.75
127 | 390.0/450.0 | 83.54
128 | 395.0/290.0 | 18.73
129 | 395.0/320.0 | 16.67
130 | 395.0/455.0 | 69.29
131 | 400.0/255.0 | 22.53
132 | 400.0/310.0 | 18.04
133 | 400.0/325.0 | 17.69
134 | 400.0/355.0 | 25.11
135 | 400.0/485.0 | 27.04
136 | 405.0/265.0 | 20.16
137 | 405.0/285.0 | 21.13
138 | 405.0/315.0 | 16.45
139 | 405.0/470.0 | 57.41
140 | 410.0/450.0 | 28.58
141 | 410.0/475.0 | 49.32
142 | 415.0/270.0 | 18.44
143 | 415.0/325.0 | 14.5
144 | 415.0/350.0 | 18.31
145 | 415.0/485.0 | 40.57
146 | 420.0/320.0 | 13.06
147 | 420.0/335.0 | 14.18
148 | 420.0/345.0 | 15.58
149 | 420.0/355.0 | 15.32
150 | 420.0/365.0 | 17.78
151 | 420.0/490.0 | 41.43
152 | 425.0/280.0 | 16.13
153 | 425.0/315.0 | 17.7
154 | 425.0/360.0 | 14.52
155 | 425.0/465.0 | 27.2
156 | 430.0/275.0 | 13.54
157 | 430.0/290.0 | 13.86
158 | 430.0/340.0 | 14.77
159 | 430.0/480.0 | 22.29
160 | 435.0/320.0 | 15.75
161 | 435.0/350.0 | 13.98
162 | 435.0/365.0 | 15.36
163 | 435.0/380.0 | 16.29
164 | 440.0/270.0 | 12.61
165 | 440.0/295.0 | 14.61
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 77.09 | 98.8 | 110.8 | 83.85 | 78.35 | 4042 | 9999.9 | 4265 | 70.14 | 87.23 | 75.15 | 45.87 | 62.76 | 49.51 | 54.33 | 58.16 | 51.55 | 54.49 | 26.26 | 26.66 | 28.93 | 36.35 | 38.73 | 24.86 | 26.84 | 23.87 | 19.81 | 26.93 | 26.33 | 28.19 | 32.83 | 24.35 | 21.96 | 18.4 | 23.43 | 23.57 | 19 | 20.9 | 20.07 | 14.72 | 11.06 | 13.26 | 9.391 | 10.6 | 6.459 | 5.566 | 5.83
255 | 93.77 | 84.82 | 62.83 | 122.6 | 77.93 | 368.2 | 3399 | 9999.9 | 6802 | 243.4 | 65.6 | 64.23 | 61.23 | 63.61 | 43.78 | 73.28 | 39.44 | 44.73 | 48.52 | 21.54 | 33.39 | 22.05 | 44.31 | 24.91 | 29.53 | 28.03 | 22.55 | 25.42 | 26.2 | 26.64 | 29.51 | 23.11 | 20.1 | 19.61 | 20.38 | 20.34 | 22.53 | 19.44 | 20.31 | 14.24 | 15.8 | 13.57 | 12.04 | 10.93 | 9.289 | 5.56 | 5.932
260 | 92.78 | 127.1 | 61.36 | 104.6 | 84.3 | 91.74 | 297.9 | 3977 | 9999.9 | 9999.9 | 379.3 | 83.19 | 92.34 | 84.53 | 63.96 | 62.12 | 50.63 | 36.48 | 38.57 | 33.1 | 33.96 | 30.99 | 20.1 | 24.98 | 17.62 | 32.62 | 24.12 | 23.49 | 21.6 | 27.24 | 21.9 | 31.23 | 23.86 | 20.28 | 22.49 | 19.16 | 17.29 | 15.56 | 17.11 | 14.8 | 11.98 | 10.73 | 12.81 | 12.32 | 9.383 | 9.171 | 7.707
265 | 106.2 | 85.39 | 105.8 | 88.1 | 94.22 | 133.8 | 100 | 302.6 | 6043 | 9999.9 | 9999.9 | 424 | 86.29 | 68.73 | 54.16 | 82.95 | 41.04 | 37.01 | 30.04 | 30.8 | 30.42 | 35.28 | 33.37 | 23.8 | 26.33 | 23.44 | 24.02 | 21.47 | 22.28 | 25.37 | 27.9 | 27.46 | 23.06 | 22.74 | 18.97 | 18.85 | 14.12 | 20.16 | 15.06 | 12.48 | 14.78 | 13.97 | 13.91 | 10.63 | 9.521 | 8.344 | 8.441
270 | 84.07 | 122.2 | 128.9 | 111.2 | 106.2 | 135.3 | 115.2 | 112.8 | 463.2 | 7517 | 9999.9 | 9999.9 | 575.5 | 65.04 | 57.23 | 52.97 | 69.1 | 52.12 | 45.7 | 38.14 | 45.45 | 35.1 | 40.13 | 26.2 | 28.95 | 22.93 | 22.52 | 25.24 | 21.67 | 20.11 | 13.91 | 21.28 | 22.23 | 25.83 | 23.54 | 17.08 | 15.08 | 15.8 | 17.22 | 18.44 | 11.93 | 11.99 | 11.09 | 9.835 | 12.61 | 9.612 | 8.721
275 | 79.09 | 80.8 | 87.14 | 103.7 | 113.8 | 115.9 | 153 | 110.7 | 111.1 | 564.9 | 9707 | 9999.9 | 9999.9 | 595.4 | 106.2 | 66.43 | 62.52 | 52.95 | 31.45 | 51.96 | 42.88 | 28.16 | 30.64 | 18.6 | 23.23 | 27.89 | 21.82 | 30.32 | 24.27 | 29.66 | 26.16 | 23.78 | 17.89 | 17.82 | 23.38 | 21.86 | 21.25 | 13.64 | 14.56 | 17.09 | 14.01 | 12.26 | 13.54 | 12.55 | 11.42 | 10.08 | 10.38
280 | 72.3 | 120.9 | 67.57 | 71.71 | 91.6 | 84.99 | 65.74 | 136.1 | 157.9 | 117.3 | 712.8 | 9999.9 | 9999.9 | 9999.9 | 694.9 | 75.14 | 58.19 | 61.3 | 54.15 | 47.33 | 40.38 | 30.82 | 22.43 | 33.28 | 21.87 | 25.06 | 22.91 | 22.17 | 20.65 | 20.91 | 18.68 | 20.2 | 15.34 | 18.45 | 17.92 | 19.6 | 20.17 | 14.28 | 12.69 | 12.29 | 13.91 | 16.13 | 12.5 | 12.51 | 12.51 | 11.42 | 9.691
285 | 86.32 | 79.37 | 85.18 | 100.5 | 125.5 | 86.55 | 97.28 | 78.85 | 202 | 157.3 | 183 | 818.3 | 9999.9 | 9999.9 | 9999.9 | 879.6 | 108.5 | 83.56 | 61.88 | 55.4 | 51.1 | 40.45 | 26.95 | 31.19 | 31.41 | 25.73 | 26.72 | 20.03 | 27.62 | 23.33 | 23.62 | 20.27 | 17.37 | 20.36 | 16.78 | 14.71 | 17.53 | 21.13 | 15.11 | 13.55 | 13.17 | 14.55 | 13.01 | 11.16 | 13.37 | 10.57 | 9.511
290 | 80.23 | 102.4 | 129.2 | 135.1 | 104.2 | 138.2 | 89.38 | 111.8 | 144.5 | 250 | 223.9 | 303.4 | 1024 | 9999.9 | 9999.9 | 9999.9 | 843.3 | 86.57 | 75.48 | 62.59 | 42.71 | 48.74 | 32.39 | 34.03 | 34.22 | 26.16 | 26.9 | 22.88 | 21.85 | 25.76 | 20.3 | 19.62 | 15.41 | 15.24 | 14.5 | 18.73 | 15.88 | 18.54 | 17.46 | 17.52 | 12.89 | 12.45 | 13.86 | 12.47 | 14.39 | 11.68 | 8.266
295 | 115.9 | 170.5 | 212 | 151.7 | 127.8 | 110.7 | 126.8 | 170.9 | 156 | 327.4 | 475.7 | 431.2 | 686.3 | 1181 | 9999.9 | 9999.9 | 9999.9 | 915.6 | 102.4 | 71.92 | 56.76 | 45.12 | 43.58 | 34.47 | 37.06 | 29.14 | 27.55 | 25.59 | 24.23 | 23.95 | 20 | 18.1 | 16.91 | 20.59 | 15.79 | 17.23 | 13.2 | 14.22 | 15.91 | 16.52 | 12.91 | 12.18 | 12.56 | 13.47 | 14.61 | 10.76 | 10.57
300 | 177 | 151 | 342 | 280.3 | 139.6 | 151.4 | 140.5 | 171.1 | 234.7 | 367.8 | 632.8 | 823.6 | 871.6 | 1100 | 1411 | 9999.9 | 9999.9 | 9999.9 | 982.6 | 79.03 | 64.99 | 51.17 | 38.4 | 38.64 | 27.6 | 29.4 | 32.29 | 35.21 | 25.91 | 20.78 | 20.21 | 19.63 | 15.86 | 18.3 | 16.76 | 15.5 | 14.74 | 13.33 | 13.74 | 17.35 | 14.89 | 12.93 | 12.25 | 11.24 | 12.76 | 14.46 | 11.26
305 | 184.6 | 246.9 | 304.4 | 249.9 | 222.6 | 163.3 | 152.4 | 224.4 | 271.5 | 453 | 774 | 1168 | 1461 | 1452 | 1170 | 1251 | 9999.9 | 9999.9 | 9999.9 | 799.1 | 89.34 | 69.9 | 61.05 | 46.5 | 38.14 | 38.59 | 28.68 | 32.4 | 25.59 | 20.5 | 17.3 | 22.14 | 16.57 | 14.53 | 16.47 | 15.2 | 13.08 | 12.07 | 16.3 | 17.1 | 16.19 | 16.91 | 13.18 | 10.81 | 11.72 | 11.86 | 12.37
310 | 195.3 | 241.6 | 400.1 | 329.9 | 244.3 | 202.4 | 198.4 | 275.7 | 398.3 | 617.9 | 971 | 1492 | 2054 | 1943 | 1747 | 1007 | 1163 | 9999.9 | 9999.9 | 9999.9 | 843.6 | 88.93 | 65.81 | 46 | 43.64 | 42.6 | 33.96 | 21.55 | 26.12 | 25.15 | 15.36 | 20.49 | 20.02 | 18.8 | 16.54 | 14.35 | 18.04 | 10.31 | 10.9 | 14.12 | 14.58 | 14.58 | 14.63 | 12.52 | 10.88 | 12.56 | 11.61
315 | 216.6 | 325.5 | 437.5 | 340.5 | 228.8 | 213.1 | 254.1 | 275.7 | 495.9 | 744.2 | 1168 | 1621 | 2314 | 2631 | 2178 | 1330 | 739.1 | 938.7 | 9999.9 | 9999.9 | 9999.9 | 936.2 | 98.99 | 68.88 | 59.32 | 41.69 | 26.8 | 31.21 | 28.86 | 26.16 | 24.6 | 19.38 | 21.19 | 20.41 | 14.86 | 15.06 | 14.03 | 16.45 | 11.87 | 12.43 | 10.3 | 17.7 | 15.34 | 15.73 | 12.56 | 12 | 12.5
320 | 218.8 | 359.6 | 444.5 | 400.5 | 257.8 | 244.3 | 218.6 | 370 | 548.1 | 762.4 | 1391 | 2030 | 2401 | 3030 | 2824 | 1789 | 762.9 | 336.7 | 866.9 | 9999.9 | 9999.9 | 9999.9 | 811.6 | 101 | 60.42 | 47.23 | 45.58 | 34.1 | 35.81 | 28.81 | 24.93 | 21.58 | 23.57 | 15.67 | 16.36 | 16.67 | 13.23 | 13.57 | 10.18 | 11.02 | 13.06 | 10.79 | 15.72 | 15.75 | 11.03 | 12.59 | 10.87
325 | 208.8 | 398.4 | 493.9 | 411.7 | 272.5 | 330.3 | 246.4 | 346.5 | 594.4 | 908.8 | 1364 | 2276 | 2704 | 3026 | 3126 | 2203 | 901.6 | 383.9 | 225.2 | 853 | 9999.9 | 9999.9 | 9999.9 | 820.5 | 80.93 | 67.14 | 48.38 | 49.05 | 34.48 | 30.68 | 38.45 | 21.99 | 22.32 | 20.11 | 18.63 | 14.63 | 17.69 | 13.62 | 10.23 | 14.5 | 11.85 | 13.1 | 12.32 | 15.6 | 11.89 | 15.73 | 12.75
330 | 227.4 | 393.1 | 630.8 | 475.7 | 264.6 | 278 | 313.7 | 417.4 | 617.8 | 1008 | 1556 | 2176 | 3081 | 3350 | 3113 | 2429 | 1080 | 351.1 | 174.1 | 182.2 | 802.9 | 9999.9 | 9999.9 | 9999.9 | 771.2 | 90.76 | 73.52 | 47.73 | 48.59 | 28.59 | 27.77 | 30 | 21.58 | 20.05 | 19.3 | 18.17 | 16.73 | 12.44 | 13.2 | 14.18 | 11.4 | 9.553 | 12.13 | 12.12 | 11.65 | 14.54 | 12.51
335 | 270.8 | 414.2 | 493.4 | 460.7 | 286.3 | 265.3 | 380.9 | 383.5 | 628.9 | 941.9 | 1505 | 2465 | 3184 | 3194 | 2964 | 2080 | 1199 | 504.3 | 201 | 138.5 | 159.1 | 795.7 | 9999.9 | 9999.9 | 9999.9 | 755.9 | 98.87 | 66.49 | 47.59 | 35.28 | 36.69 | 31.69 | 23.67 | 20.15 | 21.91 | 20.54 | 17.23 | 11.99 | 13.62 | 10.83 | 14.18 | 14.18 | 11.72 | 10.54 | 11.45 | 14.06 | 12.95
340 | 222.6 | 348.3 | 459.5 | 487.5 | 283.4 | 303.3 | 263.6 | 393.4 | 596.3 | 997.3 | 1426 | 2209 | 2920 | 3270 | 3029 | 1951 | 1091 | 630.4 | 214.3 | 110.6 | 113.2 | 156.5 | 806.8 | 9999.9 | 9999.9 | 9999.9 | 774.9 | 78.91 | 60.9 | 38.19 | 31.19 | 25.86 | 30.69 | 22.06 | 23.65 | 19.64 | 12.97 | 12.2 | 12.8 | 12.53 | 11.84 | 13.81 | 14.77 | 9.997 | 9.973 | 12.33 | 13.26
345 | 248.4 | 317 | 489.6 | 419.1 | 230 | 245.9 | 284.5 | 326.5 | 597.6 | 924.7 | 1314 | 2038 | 2784 | 3123 | 2861 | 1887 | 885.7 | 535.3 | 374.1 | 155.3 | 90.59 | 92.67 | 145 | 801 | 9999.9 | 9999.9 | 9999.9 | 660 | 84.4 | 73.43 | 41.22 | 32.46 | 29.1 | 26.37 | 24.62 | 20.65 | 16.5 | 15.37 | 14.6 | 13.31 | 15.58 | 11.1 | 11.82 | 11.1 | 10.54 | 12.03 | 12.54
350 | 165.7 | 262.8 | 372.6 | 485.5 | 277.7 | 266.8 | 291 | 359.1 | 534.4 | 840.5 | 1359 | 1601 | 2380 | 2671 | 2456 | 1784 | 868.1 | 410.4 | 296.6 | 295.9 | 112 | 82.29 | 90.46 | 143.7 | 770.5 | 9999.9 | 9999.9 | 9999.9 | 644.7 | 85.76 | 63.78 | 39.39 | 33.42 | 29.03 | 20.25 | 19.07 | 23.43 | 13.17 | 14.57 | 18.31 | 14.08 | 11.72 | 12.01 | 13.98 | 9.901 | 9.366 | 9.675
355 | 211.7 | 244.9 | 435.9 | 406.5 | 273.1 | 234.2 | 214.6 | 334.8 | 445.5 | 691.2 | 987.2 | 1609 | 2338 | 2191 | 2232 | 1461 | 738.5 | 347 | 168.9 | 319.8 | 217.8 | 84.47 | 79.22 | 91.01 | 125.7 | 797 | 9999.9 | 9999.9 | 9999.9 | 626.8 | 86.83 | 58.39 | 54.88 | 34.71 | 25.8 | 22.48 | 25.11 | 18.21 | 16.14 | 11.77 | 15.32 | 14.3 | 9.695 | 13.16 | 10.92 | 10.48 | 10.37
360 | 161.2 | 246.3 | 336.7 | 274.5 | 221.8 | 194.2 | 282.7 | 318.9 | 394.9 | 586.6 | 983 | 1285 | 1959 | 1798 | 1928 | 1263 | 615.6 | 302.6 | 147.1 | 138.4 | 281.6 | 161.6 | 75.21 | 60.85 | 81.27 | 138.2 | 771.4 | 9999.9 | 9999.9 | 9999.9 | 595.7 | 78.68 | 66.29 | 37.31 | 30.79 | 26.31 | 24.36 | 18.85 | 16.33 | 11.23 | 13.17 | 14.52 | 12.83 | 10.71 | 10.52 | 9.481 | 9.584
365 | 171.1 | 232.4 | 297.3 | 283.2 | 232 | 148.9 | 288.7 | 276.1 | 426.1 | 537.5 | 818.9 | 1354 | 1533 | 1664 | 1657 | 1107 | 500.6 | 283.7 | 114.6 | 95.57 | 181.6 | 252.7 | 125.6 | 81.14 | 66.52 | 83.51 | 140.8 | 792.4 | 9999.9 | 9999.9 | 9999.9 | 522.1 | 72.73 | 61.04 | 39.76 | 23.09 | 22.52 | 19.54 | 17.35 | 12.58 | 17.78 | 13.15 | 12.48 | 15.36 | 10.48 | 9.228 | 11.2
370 | 163.1 | 171.1 | 247 | 259.4 | 244.7 | 190.9 | 173.6 | 231.5 | 313 | 421.1 | 642.5 | 1004 | 1337 | 1427 | 1435 | 970.7 | 475.5 | 257.8 | 131 | 91.11 | 76.18 | 173 | 227 | 107 | 62.54 | 73.46 | 87.41 | 135 | 798.1 | 9999.9 | 9999.9 | 9999.9 | 506.8 | 72.81 | 50.72 | 33.27 | 28.02 | 21.97 | 18.46 | 13.69 | 14.89 | 13.22 | 11 | 9.456 | 10.97 | 11.78 | 9.317
375 | 169.2 | 177.4 | 246.8 | 226.9 | 204.2 | 157.9 | 195.1 | 152.8 | 246 | 427.1 | 571.1 | 823.3 | 1044 | 1188 | 1099 | 765.4 | 445 | 215.3 | 106.6 | 74.53 | 82.14 | 104.1 | 214 | 179.9 | 95.54 | 58.1 | 65 | 75.68 | 134 | 782.7 | 9999.9 | 9999.9 | 9999.9 | 464.7 | 62.5 | 52.28 | 32.34 | 26.44 | 27.58 | 19.67 | 15.55 | 14.72 | 13.38 | 13.55 | 13.77 | 11.24 | 8.729
380 | 153.1 | 194.3 | 197.4 | 191.2 | 203.2 | 137.6 | 160.9 | 198.9 | 202.8 | 318.9 | 433.8 | 630 | 739.3 | 962.4 | 997.4 | 586 | 361.1 | 183.3 | 122 | 78.9 | 84.38 | 82.24 | 84.47 | 193.2 | 161.8 | 67.83 | 65.01 | 60.79 | 73.76 | 137.5 | 798.6 | 9999.9 | 9999.9 | 9999.9 | 473 | 66.99 | 51.02 | 32.52 | 21.28 | 21.7 | 14.9 | 15.35 | 12.21 | 16.29 | 10.8 | 13.19 | 10.25
385 | 77.89 | 196.9 | 211.6 | 230 | 151.2 | 149.6 | 151.5 | 142.1 | 241.4 | 307.1 | 390.9 | 517.8 | 666.2 | 788.9 | 753.1 | 546.2 | 311.3 | 173.5 | 83.95 | 82.51 | 69.64 | 83.82 | 72.74 | 116.2 | 206.8 | 129.1 | 57.32 | 69.81 | 81.13 | 76.65 | 129.5 | 787.5 | 9999.9 | 9999.9 | 9999.9 | 408.7 | 54.37 | 45.71 | 23 | 23.87 | 17.49 | 12.67 | 11.46 | 12.72 | 15.16 | 10.48 | 12.56
390 | 175 | 185.7 | 218.7 | 152.7 | 103.8 | 140.7 | 174.6 | 157.3 | 254.7 | 270.6 | 324.4 | 418.6 | 637.3 | 538.1 | 637.5 | 430.6 | 249.9 | 152.1 | 92.62 | 75 | 90.19 | 71.52 | 73.67 | 72.28 | 135.5 | 188.4 | 88.71 | 49.34 | 63.29 | 73.58 | 75.38 | 119.7 | 757.5 | 9999.9 | 9999.9 | 9999.9 | 400.7 | 58.17 | 42.42 | 29.05 | 21.43 | 17.26 | 15.5 | 13.83 | 14.21 | 11.39 | 9.84
395 | 137 | 117.8 | 222.2 | 141.4 | 155.5 | 148.7 | 138.8 | 113 | 135.3 | 200.2 | 335.5 | 393.8 | 479.6 | 504.7 | 527.5 | 382.7 | 236.7 | 135.3 | 114.5 | 68.26 | 78.57 | 87.91 | 71.07 | 73.86 | 79.97 | 133 | 173.1 | 64.01 | 66.98 | 64.03 | 51.49 | 67.31 | 117.4 | 793.9 | 9999.9 | 9999.9 | 9999.9 | 327.7 | 57.37 | 44 | 24.95 | 21.6 | 17.51 | 15.62 | 14.79 | 12.69 | 11.17
400 | 127.1 | 136.4 | 180.3 | 167.8 | 143.9 | 130.6 | 95.55 | 138.8 | 145 | 153.8 | 243.6 | 279.9 | 435 | 456.3 | 405.9 | 313.3 | 177.5 | 104.3 | 84.16 | 94.61 | 71.56 | 77.44 | 74.84 | 87.22 | 78.34 | 75.44 | 172 | 124.4 | 77.9 | 71.57 | 55.12 | 49.95 | 58.48 | 114.7 | 767.8 | 9999.9 | 9999.9 | 9999.9 | 284.1 | 47.62 | 35.73 | 25.48 | 21.04 | 17.64 | 15.07 | 12.04 | 10
405 | 119.9 | 150.7 | 141.3 | 131.3 | 131.8 | 116.6 | 103.7 | 134.7 | 156.1 | 156.5 | 200.8 | 312.5 | 352.6 | 325.8 | 403.9 | 258.1 | 156.1 | 137.5 | 84.67 | 88.8 | 79.44 | 83.86 | 79.7 | 71.56 | 61.49 | 80.86 | 96.1 | 171.2 | 106.9 | 70.5 | 58.54 | 53.14 | 57.68 | 53.85 | 109.1 | 738.1 | 9999.9 | 9999.9 | 9999.9 | 313.1 | 46.36 | 33.72 | 27.48 | 19.14 | 18.57 | 12.05 | 10.85
410 | 98.57 | 142.5 | 126.6 | 148.4 | 140.9 | 146.6 | 117.2 | 104.5 | 146 | 166.4 | 200.6 | 224.2 | 307.2 | 269.4 | 291.7 | 230 | 183.7 | 107 | 78.68 | 108.3 | 64.73 | 58.91 | 74.06 | 67.38 | 76.9 | 71.36 | 76.29 | 102.3 | 153.5 | 90.9 | 54.25 | 52.88 | 42.68 | 49.58 | 50.73 | 105.4 | 734.4 | 9999.9 | 9999.9 | 9999.9 | 286.2 | 48.1 | 32.71 | 23.58 | 20.22 | 17.52 | 14.54
415 | 166.4 | 133.3 | 159.8 | 163.8 | 139.4 | 153.2 | 125.9 | 137.5 | 129.1 | 127.9 | 235.5 | 205.3 | 218.8 | 245.4 | 257.5 | 208.4 | 142.2 | 90.36 | 80.34 | 96.11 | 76.09 | 69.17 | 85.03 | 69.83 | 72.44 | 61.59 | 71.4 | 72.93 | 154.2 | 167.7 | 79.84 | 52.96 | 50.87 | 43.73 | 52.96 | 49.79 | 96.09 | 738.5 | 9999.9 | 9999.9 | 9999.9 | 268.1 | 40.53 | 35.33 | 22.79 | 16.27 | 14.64
420 | 128.9 | 118.3 | 138.7 | 121.4 | 122.6 | 127.4 | 103.6 | 107.5 | 108.9 | 145 | 192.7 | 151.7 | 199.3 | 241.5 | 207 | 154.6 | 151.2 | 77.24 | 71.14 | 66.94 | 83.07 | 72.86 | 74.38 | 88.72 | 65.43 | 69.68 | 60.57 | 67.16 | 86.07 | 162.7 | 142.7 | 65.56 | 63.26 | 40.69 | 41.18 | 38.78 | 45.75 | 96.05 | 732.1 | 9999.9 | 9999.9 | 9999.9 | 247.8 | 43.8 | 28.57 | 23.97 | 14.9
425 | 147.3 | 110.5 | 105.6 | 135.7 | 121 | 128.4 | 101.3 | 107.6 | 121.8 | 131.5 | 162.4 | 155.1 | 179.8 | 191.8 | 212.1 | 162 | 111.3 | 91.64 | 72.78 | 99.82 | 71.35 | 72.27 | 83.51 | 81.85 | 68.64 | 79.8 | 64.64 | 71.3 | 65.39 | 86.82 | 133.2 | 83.8 | 49.94 | 41.41 | 36.69 | 33.61 | 36.23 | 43.23 | 90.32 | 732.3 | 9999.9 | 9999.9 | 9999.9 | 224.5 | 41.64 | 27.2 | 20.55
430 | 220.2 | 97.16 | 135.7 | 122.8 | 147.6 | 118.6 | 107.8 | 140.1 | 99.27 | 132.6 | 173 | 176.1 | 165.2 | 154.8 | 187.3 | 136.9 | 127.4 | 96.03 | 108.5 | 69.16 | 77.56 | 66.22 | 70.42 | 72.47 | 71.86 | 71.61 | 68.34 | 54.2 | 60.32 | 53.32 | 87.86 | 123.1 | 68.58 | 50.18 | 35.33 | 31.17 | 32.07 | 38.24 | 38.68 | 91.81 | 716.6 | 9999.9 | 9999.9 | 9999.9 | 218.1 | 42.76 | 26.06
435 | 292.8 | 130.9 | 138.3 | 114.8 | 121.6 | 134 | 156.5 | 104.9 | 104.2 | 96.07 | 111.2 | 139.6 | 151.9 | 232.3 | 177.3 | 119.7 | 104.4 | 94.9 | 103.6 | 73.23 | 75.16 | 62.97 | 73.8 | 68.95 | 70.52 | 67.6 | 60.91 | 60.91 | 63.02 | 52.19 | 53.6 | 90.68 | 112.1 | 50.87 | 31.01 | 26.87 | 29.84 | 33.97 | 32.09 | 41.62 | 82.19 | 724.6 | 9999.9 | 9999.9 | 9999.9 | 223.5 | 38.76
440 | 403.9 | 316.1 | 90.37 | 94.34 | 112 | 119 | 181.3 | 103.1 | 94.55 | 92.91 | 96.58 | 156.4 | 182.1 | 153.6 | 132.2 | 108.2 | 117 | 74.72 | 76.27 | 76.4 | 76.23 | 83.9 | 66.19 | 87.67 | 65.31 | 62.59 | 62.8 | 63.5 | 55.57 | 50.97 | 47.6 | 55.27 | 102.5 | 82.75 | 41.2 | 36.31 | 35.86 | 30.19 | 30.75 | 28.52 | 34.88 | 88.59 | 727.9 | 9999.9 | 9999.9 | 9999.9 | 189.9
445 | 282.7 | 753.8 | 171 | 63.56 | 135.4 | 119.8 | 165.4 | 103.1 | 94.66 | 117.1 | 122.8 | 120.4 | 143.5 | 147.2 | 104.8 | 106.4 | 87.57 | 67.62 | 86.43 | 83.76 | 71.01 | 65.25 | 79.37 | 83.72 | 61.57 | 64.72 | 65.2 | 61.8 | 56.31 | 49.48 | 56.52 | 47.1 | 57.54 | 97.75 | 63.41 | 34.17 | 26.55 | 30.45 | 25.74 | 29.89 | 24.42 | 31.72 | 84.81 | 715 | 9999.9 | 9999.9 | 9999.9
450 | 134.1 | 874.5 | 476.7 | 129.1 | 144.7 | 116.5 | 85.59 | 84.44 | 105.9 | 130 | 103.8 | 166 | 158.2 | 126.7 | 111.1 | 118.5 | 81.52 | 97.55 | 70.62 | 79.85 | 77.65 | 67.57 | 69.48 | 71.2 | 71.84 | 55.72 | 71.45 | 64.07 | 66.99 | 55.3 | 49.19 | 49.44 | 42.76 | 64.99 | 83.54 | 47.06 | 33.76 | 24.47 | 28.58 | 24.87 | 28.07 | 25.1 | 34.76 | 85.73 | 723.3 | 9999.9 | 9999.9
455 | 120.9 | 608.9 | 1149 | 203.7 | 122.4 | 100.4 | 121.8 | 162.7 | 102.8 | 113 | 133.7 | 127.8 | 128.8 | 126 | 110.2 | 127.7 | 91.99 | 90 | 84.51 | 63.46 | 49.18 | 69.67 | 65.88 | 63.84 | 60.95 | 59.24 | 48.75 | 57.2 | 49.45 | 55.09 | 51.96 | 50.95 | 37.46 | 37.82 | 67.71 | 69.29 | 38.67 | 23.86 | 27.99 | 23.22 | 19.67 | 25.44 | 28.46 | 31.43 | 80.39 | 733 | 9999.9
460 | 145.3 | 270.6 | 1487 | 637.5 | 158.9 | 113 | 98.09 | 107.8 | 118.2 | 129.3 | 118.9 | 130.4 | 154.8 | 141.6 | 126.8 | 98.62 | 105.4 | 93.94 | 64.4 | 62.22 | 67.47 | 52.12 | 63.89 | 52.6 | 79.71 | 60.62 | 61.23 | 53.22 | 62.63 | 47.76 | 36.94 | 45.65 | 36.68 | 40.21 | 37.45 | 64.6 | 60.24 | 26.56 | 23.93 | 20.08 | 20.99 | 26.12 | 24.71 | 25.58 | 32.45 | 82.59 | 708.1
465 | 113.5 | 130 | 975.7 | 1696 | 240.2 | 133.6 | 100.9 | 98.36 | 114.5 | 116.2 | 135.5 | 112.8 | 112.8 | 123.7 | 156.1 | 97.67 | 64.2 | 72.22 | 89.89 | 62.65 | 68.58 | 68.28 | 66.26 | 72.66 | 68.52 | 61.03 | 59.41 | 48.93 | 56.88 | 42.56 | 48.66 | 39 | 42.81 | 31.57 | 33.11 | 36.89 | 57.22 | 49.04 | 30.13 | 25.39 | 23.4 | 27.2 | 22.34 | 24.55 | 23.66 | 31.47 | 77.78
470 | 160.2 | 147.4 | 212.1 | 2502 | 986.7 | 139.3 | 129.9 | 101.9 | 74.74 | 108 | 100.2 | 117.1 | 119.8 | 139.1 | 134.8 | 109.1 | 98.81 | 92.6 | 54.85 | 68.81 | 63.16 | 53.86 | 68.42 | 70.27 | 62.79 | 49.55 | 58.32 | 48.92 | 43.53 | 53.55 | 45.51 | 39.04 | 37.17 | 36.66 | 36.07 | 35.78 | 40.09 | 57.41 | 39.11 | 18.21 | 21.44 | 24.88 | 22.4 | 24.38 | 23.82 | 28.94 | 32.36
475 | 86.82 | 130.1 | 143.9 | 1551 | 2496 | 229.5 | 128 | 83.17 | 81.87 | 103.9 | 112.7 | 121.7 | 97.02 | 109.1 | 97.48 | 99.5 | 81.45 | 74.11 | 53.27 | 45.45 | 67.25 | 55.07 | 61.83 | 52.77 | 48.01 | 54.29 | 40.78 | 47.11 | 41.84 | 45.38 | 37.72 | 36.06 | 39.97 | 29.59 | 30.12 | 24.71 | 28.18 | 43.8 | 49.32 | 33.21 | 24.42 | 21.12 | 20.87 | 21.78 | 22.55 | 24.12 | 22.01
480 | 117.8 | 110.4 | 141.5 | 486.6 | 3493 | 1212 | 150.8 | 110.6 | 103.4 | 105.5 | 87.32 | 108.3 | 76.45 | 97.22 | 102.4 | 89.71 | 65.6 | 61.49 | 51.85 | 68.99 | 66.97 | 71.12 | 68.28 | 47.62 | 45.77 | 45.87 | 52.42 | 44.98 | 47.52 | 35.73 | 36.28 | 40.44 | 32.66 | 31.62 | 25.79 | 23.38 | 23.03 | 27.73 | 47.61 | 37.12 | 25.53 | 18.18 | 22.29 | 19.57 | 20.74 | 23.92 | 16.47
485 | 109.7 | 160.5 | 119.9 | 143.7 | 2203 | 3401 | 213.9 | 82.37 | 101.3 | 149.7 | 91.42 | 119.4 | 113.2 | 109.1 | 105.1 | 75.3 | 87.53 | 80.3 | 74.49 | 61.1 | 55.85 | 43.93 | 61.35 | 57.58 | 46.19 | 46.11 | 58.94 | 42.56 | 43.17 | 37.06 | 40.64 | 32.61 | 27.57 | 31.92 | 24.19 | 26.46 | 27.04 | 24.33 | 31.79 | 40.57 | 36.28 | 19.17 | 15.45 | 19.2 | 18 | 17.2 | 18.02
490 | 132.8 | 188.6 | 159.2 | 168.1 | 528 | 4137 | 1097 | 101.7 | 100.1 | 110.6 | 108.9 | 86.74 | 99.76 | 101.5 | 145.4 | 62.35 | 58.91 | 67.99 | 56.34 | 60.62 | 64.83 | 56.05 | 56.54 | 55.02 | 44.96 | 56.47 | 43.3 | 38.03 | 45.36 | 38.58 | 38.5 | 32.74 | 31.93 | 32.71 | 32.5 | 22.86 | 26.8 | 20.44 | 16.99 | 31.98 | 41.43 | 25.61 | 18.35 | 16.88 | 17.28 | 20.59 | 16.7
495 | 112.3 | 128.9 | 144.2 | 120.1 | 137.5 | 2725 | 3284 | 187.7 | 93.95 | 109.6 | 98.79 | 86.94 | 103 | 113 | 92.13 | 82.37 | 75.15 | 85.9 | 60.65 | 58.53 | 57.78 | 64.68 | 48.13 | 55.77 | 42.95 | 42.48 | 41.61 | 35.41 | 49.71 | 31.83 | 33.77 | 33.13 | 31.27 | 27.9 | 27.83 | 22.9 | 24.45 | 18.84 | 25.71 | 20.64 | 35.89 | 28.29 | 23.92 | 15 | 17.16 | 16.49 | 17.41
500 | 75.24 | 110.3 | 127.1 | 136.2 | 120.5 | 792.8 | 4362 | 812.2 | 113.9 | 82.7 | 107.9 | 91.1 | 106 | 112.4 | 105.6 | 90.98 | 80.73 | 78 | 54.15 | 56.29 | 48.43 | 59.89 | 41.56 | 46.06 | 43.89 | 52.33 | 38.37 | 38.6 | 38.7 | 37.17 | 35.48 | 29.69 | 35.48 | 29.18 | 28.47 | 25.14 | 23.37 | 18.74 | 17.19 | 21.83 | 20.51 | 34.55 | 24.54 | 20.78 | 17.68 | 15.73 | 17.62