## Sheet1
Report date: | 14:50:18, 04/15/2024
Sample: | 1
File name:
Run date: | 14:47:36, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/290.0 | 208.8
2 | 225.0/425.0 | 208
3 | 225.0/490.0 | 187.6
4 | 230.0/265.0 | 181.2
5 | 230.0/315.0 | 441.2
6 | 230.0/335.0 | 581.9
7 | 230.0/355.0 | 423.5
8 | 230.0/375.0 | 268.5
9 | 235.0/255.0 | 157.4
10 | 235.0/275.0 | 161.1
11 | 235.0/320.0 | 516.8
12 | 235.0/345.0 | 438
13 | 235.0/365.0 | 355
14 | 235.0/385.0 | 232.2
15 | 235.0/400.0 | 187.2
16 | 235.0/445.0 | 210.7
17 | 240.0/260.0 | 175.5
18 | 240.0/295.0 | 191.3
19 | 240.0/415.0 | 211.7
20 | 240.0/450.0 | 228.9
21 | 245.0/280.0 | 151.5
22 | 245.0/290.0 | 170.2
23 | 245.0/360.0 | 258.3
24 | 245.0/385.0 | 186.5
25 | 245.0/395.0 | 225.4
26 | 245.0/425.0 | 150.3
27 | 250.0/275.0 | 161.1
28 | 250.0/285.0 | 157.9
29 | 250.0/380.0 | 222.1
30 | 250.0/420.0 | 191
31 | 250.0/435.0 | 173.4
32 | 255.0/280.0 | 198.4
33 | 255.0/390.0 | 199.2
34 | 260.0/285.0 | 230.4
35 | 260.0/480.0 | 162
36 | 260.0/490.0 | 145.3
37 | 265.0/450.0 | 174.1
38 | 265.0/465.0 | 174
39 | 270.0/455.0 | 158.4
40 | 270.0/475.0 | 175.8
41 | 275.0/425.0 | 230
42 | 275.0/440.0 | 185.9
43 | 275.0/460.0 | 155.3
44 | 275.0/470.0 | 155.2
45 | 275.0/485.0 | 168.7
46 | 280.0/430.0 | 224.7
47 | 280.0/495.0 | 154.8
48 | 285.0/340.0 | 3244
49 | 285.0/435.0 | 209.5
50 | 285.0/445.0 | 213
51 | 285.0/460.0 | 150.6
52 | 285.0/475.0 | 153.7
53 | 290.0/465.0 | 174.3
54 | 290.0/490.0 | 143.1
55 | 295.0/265.0 | 111.4
56 | 295.0/430.0 | 210.9
57 | 295.0/455.0 | 158.9
58 | 295.0/470.0 | 147
59 | 300.0/445.0 | 146.3
60 | 300.0/465.0 | 140
61 | 300.0/485.0 | 134.5
62 | 300.0/495.0 | 162.3
63 | 305.0/260.0 | 102.7
64 | 305.0/270.0 | 100.8
65 | 305.0/435.0 | 151.3
66 | 305.0/475.0 | 136.1
67 | 310.0/470.0 | 122.4
68 | 315.0/355.0 | 370.5
69 | 315.0/410.0 | 129.4
70 | 315.0/430.0 | 131.6
71 | 315.0/450.0 | 123.7
72 | 315.0/465.0 | 115.4
73 | 320.0/265.0 | 68.84
74 | 320.0/360.0 | 335.8
75 | 320.0/435.0 | 125.7
76 | 320.0/460.0 | 116.9
77 | 325.0/285.0 | 67.47
78 | 325.0/365.0 | 301.8
79 | 325.0/405.0 | 117.1
80 | 325.0/450.0 | 106
81 | 325.0/475.0 | 87.07
82 | 330.0/270.0 | 70.24
83 | 330.0/290.0 | 55.76
84 | 330.0/370.0 | 263.4
85 | 330.0/400.0 | 111
86 | 330.0/410.0 | 114.2
87 | 330.0/420.0 | 113.3
88 | 330.0/430.0 | 116.3
89 | 330.0/455.0 | 99.55
90 | 330.0/485.0 | 85.4
91 | 335.0/380.0 | 265.2
92 | 335.0/435.0 | 104.3
93 | 335.0/450.0 | 96.53
94 | 335.0/465.0 | 97.71
95 | 340.0/385.0 | 251.6
96 | 340.0/410.0 | 110.4
97 | 340.0/420.0 | 112.3
98 | 340.0/445.0 | 111.2
99 | 340.0/475.0 | 86.82
100 | 345.0/390.0 | 209.6
101 | 345.0/455.0 | 81.65
102 | 345.0/465.0 | 85.13
103 | 345.0/490.0 | 66.5
104 | 350.0/270.0 | 39.29
105 | 350.0/285.0 | 43.06
106 | 350.0/400.0 | 191.1
107 | 350.0/485.0 | 60.37
108 | 355.0/255.0 | 41.19
109 | 355.0/300.0 | 49.45
110 | 355.0/405.0 | 197.9
111 | 355.0/450.0 | 80.97
112 | 355.0/470.0 | 70.04
113 | 360.0/275.0 | 41.29
114 | 360.0/410.0 | 173.6
115 | 360.0/440.0 | 90.12
116 | 360.0/485.0 | 64.65
117 | 365.0/280.0 | 42.19
118 | 365.0/295.0 | 35.34
119 | 365.0/420.0 | 178.4
120 | 365.0/450.0 | 81.16
121 | 365.0/475.0 | 62.74
122 | 370.0/285.0 | 41.78
123 | 370.0/320.0 | 42.87
124 | 370.0/400.0 | 75.26
125 | 370.0/460.0 | 66.46
126 | 370.0/480.0 | 60.05
127 | 375.0/255.0 | 36.35
128 | 375.0/265.0 | 38.22
129 | 375.0/430.0 | 142
130 | 375.0/485.0 | 58.95
131 | 380.0/295.0 | 30.17
132 | 380.0/435.0 | 121.9
133 | 385.0/260.0 | 36.35
134 | 385.0/285.0 | 30.41
135 | 385.0/300.0 | 29.76
136 | 385.0/415.0 | 59.57
137 | 385.0/445.0 | 106.3
138 | 390.0/290.0 | 27.27
139 | 390.0/310.0 | 27.73
140 | 390.0/450.0 | 94.75
141 | 395.0/280.0 | 28.22
142 | 395.0/345.0 | 27.4
143 | 395.0/460.0 | 77.88
144 | 400.0/260.0 | 25.75
145 | 400.0/305.0 | 25.63
146 | 400.0/315.0 | 29.65
147 | 400.0/330.0 | 22.34
148 | 400.0/340.0 | 29.14
149 | 400.0/465.0 | 68.55
150 | 400.0/490.0 | 32.99
151 | 405.0/320.0 | 21.97
152 | 405.0/335.0 | 20.58
153 | 405.0/435.0 | 42.16
154 | 405.0/470.0 | 72.51
155 | 410.0/265.0 | 27.94
156 | 415.0/280.0 | 21.45
157 | 415.0/295.0 | 23.03
158 | 415.0/345.0 | 23.49
159 | 415.0/370.0 | 23.8
160 | 415.0/460.0 | 33.03
161 | 415.0/485.0 | 56.11
162 | 420.0/260.0 | 19.47
163 | 420.0/305.0 | 22.61
164 | 420.0/325.0 | 20.65
165 | 420.0/375.0 | 25.27
166 | 420.0/470.0 | 27.56
167 | 420.0/490.0 | 42.65
168 | 425.0/335.0 | 20.19
169 | 430.0/285.0 | 20.4
170 | 430.0/310.0 | 22.35
171 | 430.0/325.0 | 21.66
172 | 435.0/295.0 | 19.85
173 | 435.0/315.0 | 20.61
174 | 435.0/345.0 | 16.51
175 | 435.0/355.0 | 15.85
176 | 440.0/260.0 | 16.86
177 | 440.0/390.0 | 17.62
178 | 445.0/375.0 | 16.99
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 117.6 | 160.8 | 141.6 | 116.5 | 147.7 | 3820 | 9999.9 | 3273 | 110.2 | 108.5 | 70.25 | 112.3 | 84.24 | 113.4 | 108 | 78.92 | 80.51 | 57.93 | 59.87 | 56.98 | 51.83 | 48.45 | 42.76 | 52.52 | 49.83 | 48.21 | 35.12 | 36.06 | 38.84 | 40.34 | 33.55 | 32.66 | 29.32 | 22.66 | 30.9 | 30.57 | 23.8 | 24.93 | 21.84 | 14.16 | 16.09 | 12.34 | 15.42 | 11.84 | 12 | 11.16 | 8.938
255 | 100.4 | 111 | 155.4 | 157.4 | 145.5 | 382 | 2879 | 9999.9 | 6291 | 338.2 | 100.7 | 75.67 | 86.24 | 78.05 | 89.82 | 65.4 | 78.82 | 92.45 | 61.39 | 48.37 | 42.5 | 48.77 | 52.17 | 29.02 | 41.48 | 35.59 | 31.71 | 41.19 | 36.77 | 37.56 | 32.33 | 36.35 | 32.96 | 22.17 | 28.51 | 19.95 | 24.04 | 22.38 | 19.54 | 16.92 | 19.15 | 16.19 | 13.68 | 14.93 | 14.96 | 12.29 | 9.543
260 | 127.2 | 103.8 | 118.9 | 133.5 | 175.5 | 140.3 | 312 | 3470 | 9999.9 | 8857 | 440.3 | 103.3 | 91.42 | 110.7 | 91.52 | 88.63 | 62.57 | 102.7 | 68.8 | 74.76 | 58.94 | 57.72 | 52.39 | 47.84 | 38.82 | 34.58 | 33.81 | 37.47 | 25.8 | 34.06 | 30.96 | 28.96 | 31.29 | 36.35 | 30.28 | 19.89 | 25.75 | 22.62 | 17.03 | 18.59 | 19.47 | 14.07 | 13.35 | 11.65 | 16.86 | 11.52 | 8.603
265 | 111.9 | 127.7 | 181.2 | 110.6 | 159.4 | 171.7 | 149.1 | 366.2 | 4320 | 9999.9 | 9999.9 | 521.5 | 103 | 115.4 | 88.28 | 111.4 | 74.46 | 74.88 | 64.46 | 58.94 | 68.84 | 55.48 | 46.21 | 51.6 | 48.16 | 39.18 | 32.99 | 33.25 | 33.62 | 29.24 | 31.16 | 38.22 | 33.33 | 34.27 | 27.73 | 24.22 | 22.54 | 18.99 | 27.94 | 21.22 | 17.27 | 14.9 | 12.31 | 12.59 | 15.29 | 14.08 | 12.89
270 | 107.1 | 105.1 | 120 | 145.7 | 153.5 | 136.8 | 147.6 | 148.1 | 402.5 | 5734 | 9999.9 | 9999.9 | 593.4 | 122.4 | 99.22 | 90.6 | 85.79 | 100.8 | 83.17 | 64.68 | 53.34 | 54.24 | 70.24 | 55.21 | 38.69 | 35.19 | 39.29 | 30.24 | 30.08 | 29.99 | 31.93 | 31.22 | 26.52 | 29.57 | 29.02 | 24.82 | 18.72 | 20.78 | 23.6 | 20.63 | 21.56 | 20.04 | 15.83 | 14.55 | 16.14 | 12.37 | 12.3
275 | 128.2 | 99.58 | 124.9 | 161.1 | 136.5 | 133.8 | 161.1 | 147.8 | 154.3 | 510.6 | 7847 | 9999.9 | 9999.9 | 660 | 120.6 | 97.72 | 82.28 | 86.99 | 80.51 | 78.25 | 51.13 | 55.65 | 64.45 | 47.14 | 43.28 | 29.5 | 33.12 | 32.68 | 41.29 | 33.88 | 29.99 | 23.76 | 25.34 | 31.47 | 29.93 | 27.01 | 23.29 | 18.53 | 18.9 | 19.57 | 16.78 | 17.46 | 15.2 | 14.69 | 12.29 | 12.07 | 14.49
280 | 174.7 | 163.2 | 108.1 | 135.6 | 150.8 | 151.5 | 128.4 | 198.4 | 153.5 | 182 | 612.8 | 9999.9 | 9999.9 | 9999.9 | 715.2 | 126.3 | 130.7 | 91.96 | 69.21 | 73.97 | 50.21 | 64.47 | 57.69 | 45.18 | 49.44 | 32.92 | 38.04 | 35.18 | 34.45 | 42.19 | 29.27 | 27.83 | 23.65 | 24.32 | 24.24 | 28.22 | 27.75 | 19.7 | 18.5 | 21.45 | 18.94 | 18.88 | 17.26 | 18.95 | 15.21 | 15.63 | 14.86
285 | 156.7 | 142.3 | 147.4 | 143.4 | 125.2 | 132.3 | 157.9 | 138.9 | 230.4 | 217.5 | 185.2 | 844.2 | 9999.9 | 9999.9 | 9999.9 | 972 | 122.6 | 105.4 | 83.1 | 67.1 | 51.69 | 67.47 | 49.41 | 48.66 | 42.29 | 41.44 | 43.06 | 34.52 | 29.76 | 36.56 | 41.78 | 24.1 | 25.15 | 30.41 | 20.33 | 22.79 | 27.64 | 23.01 | 21.45 | 19.73 | 15.41 | 15.62 | 20.4 | 19.37 | 17.31 | 16.28 | 15.84
290 | 141.6 | 208.8 | 192.6 | 176.5 | 147.9 | 170.2 | 107.2 | 135.6 | 208.9 | 307.5 | 240.1 | 322.1 | 967.2 | 9999.9 | 9999.9 | 9999.9 | 940.1 | 110.5 | 111.4 | 75.06 | 69.39 | 50.7 | 55.76 | 47.83 | 47.24 | 41.43 | 39.28 | 31.29 | 30.5 | 30.33 | 31.54 | 25.69 | 27.01 | 25.52 | 27.27 | 23.38 | 18.09 | 19.96 | 22 | 22.47 | 16.38 | 15.37 | 17.36 | 16.59 | 17.1 | 13.7 | 12.87
295 | 200.9 | 168.9 | 165.6 | 169.7 | 191.3 | 143.5 | 130.1 | 145.7 | 234.9 | 322.4 | 507.3 | 557.2 | 538 | 1125 | 9999.9 | 9999.9 | 9999.9 | 1045 | 102.1 | 92.49 | 68.54 | 68.72 | 48.83 | 55.08 | 38.3 | 43.26 | 32.83 | 42.3 | 30.88 | 35.34 | 33.12 | 27.79 | 30.17 | 27.42 | 25.21 | 23.26 | 16.49 | 18.76 | 18.73 | 23.03 | 20.85 | 16.07 | 14.25 | 19.85 | 15.27 | 17.86 | 13.81
300 | 232 | 202.7 | 329.4 | 206.2 | 165.5 | 165.1 | 166.2 | 183.9 | 296.9 | 334.6 | 659.3 | 729.6 | 825.8 | 964 | 1363 | 9999.9 | 9999.9 | 9999.9 | 1137 | 132.4 | 89.68 | 61.22 | 58.38 | 55.44 | 47.17 | 50.58 | 42.18 | 49.45 | 36.36 | 33.46 | 29.59 | 30.96 | 23.68 | 29.76 | 25.15 | 25.63 | 18.71 | 20.34 | 18.01 | 19.2 | 21.66 | 17.32 | 14.92 | 14.79 | 16.27 | 17.63 | 12.93
305 | 211.7 | 256.5 | 313.9 | 297.4 | 224.2 | 169.2 | 150.4 | 246.8 | 322.8 | 441.5 | 678.2 | 993.7 | 1308 | 1145 | 1112 | 1274 | 9999.9 | 9999.9 | 9999.9 | 1021 | 114.6 | 111.5 | 82.48 | 61.53 | 56.23 | 51.43 | 38.7 | 32.44 | 36.21 | 33.97 | 30.56 | 29.11 | 28.51 | 28.3 | 22.72 | 17.79 | 25.63 | 22 | 20.74 | 17.66 | 22.61 | 20.23 | 17.3 | 13.73 | 16.53 | 14.91 | 14.87
310 | 196.6 | 312.8 | 367.4 | 344.2 | 307.5 | 182.9 | 208.3 | 287.6 | 420.5 | 517.4 | 780.6 | 1294 | 1837 | 1853 | 1443 | 924.1 | 1084 | 9999.9 | 9999.9 | 9999.9 | 992.5 | 107.4 | 82.34 | 69.87 | 54.84 | 53.76 | 48.13 | 38.29 | 41.68 | 33.09 | 32.5 | 27.88 | 27.2 | 25.67 | 27.73 | 18.28 | 18.22 | 18.55 | 14.94 | 19.43 | 18.7 | 22 | 22.35 | 16.53 | 15.87 | 15.82 | 15.47
315 | 202.8 | 350 | 441.2 | 383 | 343.4 | 237.1 | 268.7 | 379.7 | 415.4 | 740 | 1101 | 1612 | 2088 | 2403 | 2018 | 1392 | 692.4 | 982.1 | 9999.9 | 9999.9 | 9999.9 | 1033 | 128.3 | 75.74 | 63.76 | 63.17 | 47 | 39.9 | 42.6 | 35.09 | 33.29 | 32.11 | 24.59 | 26.08 | 22.7 | 20.18 | 29.65 | 16.04 | 17.48 | 18.49 | 18 | 17.84 | 18.27 | 20.61 | 16 | 13.44 | 17.94
320 | 253.3 | 350.3 | 383.7 | 516.8 | 284.7 | 207.8 | 279.7 | 325.6 | 502 | 906.3 | 1234 | 1770 | 2214 | 2576 | 2712 | 1648 | 774.9 | 428.8 | 883.4 | 9999.9 | 9999.9 | 9999.9 | 898.2 | 104.2 | 76.07 | 62.29 | 49.07 | 49.6 | 43.45 | 38.76 | 42.87 | 36.21 | 27.01 | 29.35 | 25.94 | 25.71 | 17.75 | 21.97 | 21.05 | 19.11 | 15.26 | 13.36 | 20.08 | 19.16 | 18.48 | 14.96 | 12.91
325 | 260 | 303 | 493.1 | 386.9 | 356.2 | 218.6 | 312.1 | 344.6 | 537.1 | 883.9 | 1459 | 1747 | 2849 | 2788 | 2903 | 2161 | 917.6 | 399.9 | 299.7 | 866.1 | 9999.9 | 9999.9 | 9999.9 | 951.9 | 109.2 | 89.87 | 58.04 | 40.24 | 48.76 | 44.67 | 39.19 | 41.25 | 28.6 | 30.56 | 27.32 | 23.09 | 19.17 | 21.25 | 17.59 | 19.14 | 20.65 | 16.3 | 21.66 | 18.91 | 17.35 | 16.17 | 14.97
330 | 210.1 | 402.8 | 495.3 | 466.7 | 340.1 | 254.4 | 337.8 | 381.4 | 506.9 | 785.2 | 1242 | 1977 | 2889 | 2955 | 2859 | 2219 | 1156 | 510.2 | 262.1 | 231.8 | 886 | 9999.9 | 9999.9 | 9999.9 | 894.3 | 96.86 | 80.84 | 50.87 | 53.03 | 42.11 | 41.1 | 39.45 | 32.07 | 35.14 | 20.45 | 21.68 | 22.34 | 19.45 | 17.27 | 18.53 | 14.97 | 18.41 | 19.29 | 15.52 | 17.26 | 14.9 | 14.07
335 | 279 | 410.7 | 581.9 | 369 | 392.5 | 222.1 | 322.6 | 395.2 | 581.7 | 876.4 | 1401 | 1998 | 2617 | 3213 | 2950 | 1968 | 1294 | 620.5 | 247.6 | 212.1 | 224.8 | 813.6 | 9999.9 | 9999.9 | 9999.9 | 805.6 | 99.79 | 87.65 | 57.96 | 48.18 | 47.96 | 35.55 | 24.22 | 27.36 | 27.17 | 20.52 | 18.18 | 20.58 | 19.93 | 18.23 | 16.67 | 20.19 | 15.6 | 14.19 | 13.15 | 15.23 | 18.16
340 | 199.9 | 363.4 | 406 | 388.1 | 306.8 | 233 | 294.5 | 404.6 | 484.8 | 843.1 | 1377 | 1842 | 2344 | 3244 | 2869 | 1884 | 1161 | 796 | 324.7 | 170.9 | 133.6 | 166.5 | 820.3 | 9999.9 | 9999.9 | 9999.9 | 810.4 | 105.4 | 82.06 | 64.19 | 49.8 | 49.7 | 25.88 | 29.52 | 29.41 | 20.99 | 29.14 | 15.62 | 16.75 | 17.97 | 15.2 | 17.51 | 15.45 | 13.94 | 15.1 | 16.89 | 15.62
345 | 194.6 | 376.9 | 415.4 | 438 | 358.6 | 303.9 | 311.5 | 359.1 | 476.7 | 813.2 | 1241 | 1805 | 2318 | 2789 | 2525 | 1745 | 969 | 629.1 | 494.5 | 239 | 123.2 | 119.7 | 171.1 | 813.1 | 9999.9 | 9999.9 | 9999.9 | 733 | 84.56 | 78.48 | 63.88 | 53.11 | 41.41 | 38.52 | 24.6 | 27.4 | 25.29 | 20.18 | 17.96 | 23.49 | 16.26 | 18.78 | 14.87 | 16.51 | 14.02 | 15.96 | 14.18
350 | 242.6 | 309.2 | 416.1 | 313.3 | 256.9 | 248.9 | 209.3 | 366.8 | 463.7 | 806.1 | 1147 | 1501 | 2121 | 2457 | 2503 | 1548 | 869.1 | 464.3 | 382.7 | 368 | 133.2 | 111.2 | 115.9 | 145 | 778.2 | 9999.9 | 9999.9 | 9999.9 | 701.7 | 92.19 | 69.99 | 50.36 | 41.28 | 42.29 | 29.84 | 18.13 | 24.33 | 20.48 | 20.33 | 17.35 | 15.91 | 13.04 | 15.77 | 13.16 | 14.72 | 14.88 | 13.53
355 | 265.6 | 312.7 | 423.5 | 305.5 | 300 | 223.6 | 232.8 | 236.1 | 435.4 | 723.9 | 950.8 | 1330 | 1815 | 1961 | 1868 | 1421 | 876.8 | 342.6 | 243.7 | 370.5 | 250.4 | 124.2 | 90.64 | 112.5 | 134 | 780.1 | 9999.9 | 9999.9 | 9999.9 | 687.9 | 96.14 | 60.69 | 46.98 | 44.67 | 32.63 | 23.03 | 26.76 | 21.96 | 21.12 | 17.92 | 14.58 | 17.03 | 13.46 | 15.85 | 14.5 | 11.66 | 13.22
360 | 210.3 | 277.1 | 295.3 | 305 | 218.8 | 258.3 | 212.1 | 261.1 | 462.6 | 594 | 763.5 | 1143 | 1583 | 1808 | 1828 | 1242 | 725.8 | 343.1 | 198 | 187.2 | 335.8 | 190.4 | 98.78 | 80.91 | 96.6 | 146.1 | 776.3 | 9999.9 | 9999.9 | 9999.9 | 610.3 | 88.69 | 60.7 | 50.64 | 33.56 | 32.98 | 27.88 | 29.94 | 23.68 | 21.35 | 18.2 | 18.84 | 14.73 | 13.08 | 14.07 | 13.06 | 12.48
365 | 215.8 | 257.4 | 283.8 | 355 | 224.5 | 182.5 | 241.5 | 223.2 | 311.9 | 546.5 | 776.1 | 1061 | 1490 | 1533 | 1535 | 1024 | 610.6 | 326.5 | 172.3 | 140.3 | 197.7 | 301.8 | 145.1 | 101.3 | 88.35 | 100.5 | 149.2 | 788.8 | 9999.9 | 9999.9 | 9999.9 | 617.1 | 94.98 | 68.45 | 43.77 | 39.41 | 31.62 | 25.82 | 23.35 | 23.57 | 20.92 | 19.8 | 18.37 | 15.08 | 14.28 | 16.79 | 12.81
370 | 180.2 | 204.5 | 256.4 | 338 | 208.1 | 209.2 | 228.7 | 215.5 | 303.9 | 492.9 | 660.7 | 869.3 | 1152 | 1242 | 1310 | 949.1 | 491.4 | 284.5 | 175.2 | 143.4 | 138.7 | 212.3 | 263.4 | 111.6 | 75.27 | 86.08 | 100.5 | 132.8 | 788 | 9999.9 | 9999.9 | 9999.9 | 520.1 | 74.73 | 56.66 | 30.12 | 35.78 | 29.64 | 21.42 | 23.8 | 19.44 | 15.09 | 17.19 | 15.69 | 16.38 | 12.76 | 11.66
375 | 203.6 | 237.1 | 268.5 | 230.5 | 223.8 | 181.3 | 162.4 | 212 | 271.6 | 380.9 | 570.4 | 757.7 | 974.7 | 1077 | 983 | 747 | 395.5 | 279.7 | 193.2 | 122.8 | 102.6 | 117.8 | 234.5 | 212.8 | 109.1 | 77.76 | 92.97 | 117 | 148.5 | 803.1 | 9999.9 | 9999.9 | 9999.9 | 498.4 | 71.18 | 54.07 | 42.16 | 27.94 | 26.01 | 18.52 | 25.27 | 17.39 | 17.72 | 14.82 | 15.89 | 16.99 | 10.67
380 | 171.3 | 209.5 | 244.8 | 208.8 | 200.7 | 183 | 222.1 | 170.9 | 253.2 | 313.4 | 445.3 | 581.6 | 789.9 | 845.5 | 914.6 | 633.7 | 394.6 | 240.7 | 164.8 | 128.3 | 128.2 | 81.02 | 133.4 | 265.2 | 181.2 | 77.99 | 69.31 | 74.29 | 82.83 | 131.2 | 790 | 9999.9 | 9999.9 | 9999.9 | 495 | 68.32 | 49.42 | 36.67 | 40.03 | 21.93 | 23.79 | 17.4 | 19.59 | 16.12 | 15.16 | 11.99 | 13.11
385 | 143.8 | 171.4 | 207.6 | 232.2 | 164.1 | 186.5 | 177.9 | 178.4 | 224.6 | 306.4 | 356 | 512.8 | 640.7 | 727.8 | 816.8 | 505.5 | 337.7 | 194.8 | 149.9 | 126.6 | 113.9 | 94.17 | 107.4 | 132.7 | 251.6 | 134.1 | 86.15 | 70.7 | 68.92 | 85.41 | 141.9 | 773.9 | 9999.9 | 9999.9 | 9999.9 | 410.5 | 66.72 | 42.65 | 39.52 | 28.68 | 22.59 | 20.5 | 20.27 | 17.68 | 16.22 | 12.81 | 15.52
390 | 161.3 | 169 | 220 | 223.5 | 159.4 | 177.3 | 142.3 | 199.2 | 166.9 | 247.8 | 312.9 | 489.4 | 591.1 | 645.2 | 601.3 | 450.5 | 273 | 204.9 | 164.8 | 125.8 | 108.8 | 97.24 | 107.7 | 83.95 | 170 | 209.6 | 125.7 | 85.8 | 83.37 | 82.65 | 85.99 | 141.3 | 770.8 | 9999.9 | 9999.9 | 9999.9 | 419.1 | 61.16 | 44.11 | 34.92 | 26.96 | 23.74 | 15.41 | 16.67 | 17.62 | 12.97 | 9.69
395 | 168.7 | 183.5 | 196.8 | 173.9 | 151.8 | 225.4 | 190.2 | 185.4 | 170.4 | 222.7 | 292.4 | 362 | 450.8 | 449 | 481.1 | 427.1 | 265.7 | 189.1 | 140.8 | 119.7 | 117.2 | 84.79 | 73.47 | 88.93 | 107.9 | 185.5 | 186.1 | 99.52 | 78.98 | 72.04 | 64.65 | 82.01 | 114.9 | 763.8 | 9999.9 | 9999.9 | 9999.9 | 347.1 | 52.58 | 46.11 | 26.93 | 26.2 | 18.57 | 17.12 | 16.14 | 13.74 | 14.88
400 | 212.8 | 207.7 | 126.5 | 187.2 | 173.3 | 174.5 | 130.4 | 159.1 | 183.3 | 198.4 | 246.3 | 294.1 | 383.3 | 391.9 | 407.9 | 322.1 | 226.2 | 140.5 | 142.2 | 118.9 | 118.8 | 90.17 | 111 | 87.8 | 89.63 | 108.7 | 191.1 | 157.6 | 77.07 | 70.84 | 75.26 | 66.25 | 52.82 | 118 | 749.6 | 9999.9 | 9999.9 | 9999.9 | 301.6 | 53.12 | 44.13 | 33.54 | 27.66 | 22.32 | 18.68 | 15.13 | 12.72
405 | 153 | 205.8 | 150.1 | 164.3 | 180.8 | 155.1 | 178 | 158.2 | 152.9 | 180.9 | 246.7 | 257.2 | 416.2 | 346.8 | 341.2 | 288.2 | 193.6 | 179.3 | 121.3 | 116.8 | 105.9 | 117.1 | 85.13 | 92.72 | 91.63 | 101.8 | 116.8 | 197.9 | 118.2 | 72.81 | 55.8 | 61.24 | 55.95 | 76.06 | 109.2 | 713.7 | 9999.9 | 9999.9 | 9999.9 | 342.1 | 51.69 | 41.15 | 25.77 | 22.62 | 22.51 | 16.97 | 14.93
410 | 181.5 | 143.4 | 168.9 | 191.1 | 180.2 | 159.5 | 170.1 | 141.3 | 144.5 | 227.9 | 243 | 223.3 | 311.5 | 296.9 | 323.1 | 233.7 | 179.9 | 144 | 122.9 | 129.4 | 126.7 | 86.1 | 114.2 | 87.77 | 110.4 | 86.07 | 106.5 | 134.8 | 173.6 | 103.6 | 74.3 | 55.21 | 56.94 | 50.48 | 57.09 | 108.6 | 728 | 9999.9 | 9999.9 | 9999.9 | 292.4 | 50.18 | 35.09 | 24.68 | 24 | 15.33 | 16.78
415 | 145.8 | 129 | 182.2 | 192.8 | 211.7 | 181.3 | 180.8 | 178.3 | 155.5 | 127 | 173.5 | 207.5 | 251.6 | 276.3 | 258.1 | 258.9 | 163.1 | 132.6 | 111.2 | 98.87 | 120.9 | 104.5 | 96.07 | 85.36 | 103.2 | 85.74 | 93.39 | 104.9 | 147.9 | 172.8 | 81.82 | 56.6 | 56.7 | 59.57 | 51.57 | 53.67 | 101.6 | 720.7 | 9999.9 | 9999.9 | 9999.9 | 263.4 | 45.54 | 40.16 | 27.42 | 22.07 | 19.88
420 | 149.5 | 137.1 | 178.9 | 122.3 | 135.9 | 142 | 191 | 162.9 | 124 | 157.4 | 186.6 | 221 | 225.7 | 227.6 | 238.5 | 209.2 | 138.4 | 122.2 | 109.6 | 107.6 | 111.6 | 112.7 | 113.3 | 104.1 | 112.3 | 78.22 | 83.26 | 98.46 | 96.87 | 178.4 | 163.8 | 86.51 | 62.94 | 46.61 | 50.91 | 48.85 | 48.46 | 99.49 | 726.3 | 9999.9 | 9999.9 | 9999.9 | 248.1 | 44.73 | 32.17 | 24.26 | 17.84
425 | 169.2 | 208 | 170.6 | 135.6 | 138.8 | 150.3 | 133 | 160.9 | 153.4 | 124 | 185.4 | 230 | 204.3 | 234 | 210.2 | 187.6 | 167.9 | 130.9 | 133.7 | 117.9 | 117 | 104.6 | 96.93 | 85.21 | 111.9 | 81.23 | 87.13 | 87.35 | 63.96 | 90 | 157.3 | 115.3 | 65.1 | 45.89 | 49.09 | 40.68 | 43.26 | 48.74 | 91.89 | 722.8 | 9999.9 | 9999.9 | 9999.9 | 219.6 | 49.68 | 32.85 | 20.29
430 | 204.6 | 154 | 147.7 | 196.3 | 149.4 | 141.9 | 102.2 | 97.47 | 127.1 | 121 | 131.5 | 194.3 | 224.7 | 164.5 | 177.5 | 210.9 | 132.6 | 116.8 | 107.3 | 131.6 | 84.73 | 105.2 | 116.3 | 92.6 | 111.3 | 82.9 | 87.06 | 77.24 | 65.36 | 70.33 | 105.9 | 142 | 80.58 | 44.7 | 50.3 | 40.95 | 36.62 | 38.74 | 41.1 | 90.89 | 708.9 | 9999.9 | 9999.9 | 9999.9 | 221.7 | 41.99 | 31.78
435 | 495.7 | 188.7 | 186.2 | 200.4 | 152.4 | 147.8 | 173.4 | 140.4 | 123.6 | 136 | 156.7 | 157.6 | 172.6 | 209.5 | 184.1 | 147.7 | 123.1 | 151.3 | 99.04 | 119.4 | 125.7 | 100.6 | 99.29 | 104.3 | 93.06 | 84.23 | 79.43 | 66.84 | 78.4 | 71.48 | 70.79 | 98.89 | 121.9 | 76.46 | 48.69 | 35.31 | 30.81 | 42.16 | 38 | 39.48 | 87.05 | 716.5 | 9999.9 | 9999.9 | 9999.9 | 224.8 | 38.94
440 | 486.6 | 305.9 | 183.1 | 205.2 | 156.5 | 114 | 93.63 | 111.3 | 125.9 | 136.4 | 161.8 | 185.9 | 184.3 | 172.1 | 171.5 | 145.2 | 131.4 | 147.8 | 117.5 | 110.8 | 109 | 83.82 | 85.91 | 87.43 | 100 | 85.86 | 71.75 | 72.89 | 90.12 | 87.53 | 62.53 | 68.5 | 117.5 | 96.43 | 60.1 | 40.66 | 35.4 | 37.47 | 36.06 | 34.58 | 39.11 | 87.49 | 710.6 | 9999.9 | 9999.9 | 9999.9 | 194.9
445 | 335.2 | 716.2 | 163.9 | 210.7 | 195.5 | 171.6 | 150.5 | 129.8 | 124.4 | 114.5 | 144.8 | 158.5 | 187.5 | 213 | 161.2 | 133.1 | 146.3 | 135.8 | 110.2 | 114.5 | 108.6 | 105.8 | 103.5 | 93.86 | 111.2 | 74.52 | 77.06 | 74.02 | 76.12 | 77.6 | 67.95 | 56.67 | 76.03 | 106.3 | 85.49 | 49.15 | 35.82 | 28.24 | 31.2 | 35.67 | 33.7 | 35.13 | 84.92 | 708.8 | 9999.9 | 9999.9 | 9999.9
450 | 208.5 | 830.8 | 501.2 | 189.4 | 228.9 | 194.9 | 178.2 | 184.5 | 134.3 | 174.1 | 110.7 | 171 | 159.9 | 154 | 165.8 | 151.3 | 137.4 | 105.9 | 112.9 | 123.7 | 95.62 | 106 | 88.57 | 96.53 | 88 | 79.19 | 77.45 | 80.97 | 65.53 | 81.16 | 54.37 | 59.37 | 44.36 | 69.26 | 94.75 | 60.17 | 33.15 | 34.59 | 28.71 | 33.01 | 31.33 | 33.67 | 38.57 | 84.69 | 714.1 | 9999.9 | 9999.9
455 | 174.4 | 516.9 | 1020 | 236.2 | 203.9 | 155.5 | 131.1 | 156.5 | 131 | 122.3 | 158.4 | 144.1 | 160.6 | 141.9 | 119.6 | 158.9 | 128.6 | 108.4 | 97.75 | 96.18 | 99.53 | 94.28 | 99.55 | 78.27 | 79.43 | 81.65 | 79.15 | 73.79 | 59.11 | 75.47 | 60.87 | 52.61 | 47.58 | 51.76 | 69.42 | 75.87 | 54.3 | 36.33 | 30.78 | 28.1 | 28.67 | 25.62 | 36.19 | 35.5 | 77.49 | 712.5 | 9999.9
460 | 166.7 | 315.2 | 1300 | 637.2 | 197.5 | 139.9 | 187.1 | 124.7 | 120.9 | 160.8 | 132.8 | 155.3 | 138.7 | 150.6 | 130 | 98.79 | 128.2 | 96.44 | 91.05 | 102.9 | 116.9 | 88.34 | 77.38 | 84.33 | 80.79 | 79.15 | 79.39 | 60.58 | 65.24 | 58.69 | 66.46 | 57.37 | 48.94 | 45.9 | 46.15 | 77.88 | 58.29 | 39.06 | 26.37 | 33.03 | 29.85 | 24.62 | 30.76 | 32.4 | 38.4 | 79.96 | 698.6
465 | 154 | 159.9 | 819.7 | 1570 | 217.5 | 198.3 | 188.8 | 132.2 | 146.3 | 174 | 142.8 | 139.9 | 141.3 | 148.8 | 174.3 | 124.5 | 140 | 131 | 80.69 | 115.4 | 103.7 | 81.88 | 93.32 | 97.71 | 81.17 | 85.13 | 83.07 | 68.95 | 71.07 | 55.49 | 59.35 | 48.51 | 50.35 | 46.59 | 34.08 | 43.85 | 68.55 | 52.77 | 33.16 | 24.56 | 24.34 | 27.25 | 28.33 | 29.54 | 24.99 | 36.12 | 82.68
470 | 182 | 123 | 323 | 2095 | 1004 | 209.5 | 155.9 | 138.4 | 155.9 | 126.9 | 150 | 155.2 | 148.9 | 116.6 | 145.1 | 147 | 116.1 | 101 | 122.4 | 115 | 92.77 | 73.55 | 76.48 | 87.86 | 78.46 | 82.36 | 63.92 | 70.04 | 62.76 | 61.84 | 55.63 | 55.86 | 50.4 | 45.88 | 35.24 | 33.74 | 51.58 | 72.51 | 47.62 | 25.31 | 27.56 | 25.88 | 28.79 | 20.82 | 24.68 | 27.56 | 35
475 | 157 | 218.5 | 191.1 | 1450 | 2294 | 273 | 141 | 141.7 | 154 | 99.39 | 175.8 | 147.4 | 142.1 | 153.7 | 123.2 | 122.4 | 97.27 | 136.1 | 114.4 | 106.7 | 76.07 | 87.07 | 73.42 | 68.77 | 86.82 | 66.75 | 64.13 | 66.71 | 53.48 | 62.74 | 52.17 | 53.09 | 41.13 | 45.52 | 39.47 | 34.33 | 36.26 | 56.88 | 56.05 | 40.5 | 26.84 | 24.41 | 27.37 | 24.97 | 25.02 | 25.36 | 23.19
480 | 167.4 | 217.8 | 144.9 | 404.7 | 2586 | 1128 | 133.9 | 123.7 | 162 | 120.2 | 141.8 | 151.2 | 108.3 | 136.4 | 105.3 | 122.3 | 125.1 | 103.6 | 100.3 | 109.1 | 93.06 | 83.38 | 64.35 | 70.81 | 74.85 | 66.69 | 53.57 | 63.98 | 59.35 | 54.47 | 60.05 | 52.86 | 34.23 | 36.69 | 38.16 | 33.07 | 30.37 | 38.29 | 55.63 | 49.5 | 24.83 | 25 | 24.89 | 24.14 | 25.09 | 21.35 | 24.07
485 | 145.4 | 144.4 | 171.1 | 174.5 | 1823 | 2802 | 212.2 | 151.4 | 122.1 | 130.1 | 164.2 | 168.7 | 144.5 | 125.5 | 138.6 | 127.4 | 134.5 | 113.5 | 91.94 | 89.31 | 74.65 | 65.93 | 85.4 | 62.74 | 60.55 | 55.76 | 60.37 | 50.18 | 64.65 | 53.96 | 53.46 | 58.95 | 35.84 | 40.88 | 28.55 | 27.94 | 29.3 | 24.87 | 31.42 | 56.11 | 35.64 | 19.81 | 22.35 | 15.71 | 24.99 | 20.35 | 24.02
490 | 144.7 | 187.6 | 181.4 | 127.4 | 455.8 | 3440 | 1030 | 110.3 | 145.3 | 138.9 | 129 | 131.6 | 153.7 | 131.1 | 143.1 | 114.9 | 123.4 | 97.45 | 107 | 79.86 | 71.86 | 73.45 | 68.7 | 65.2 | 62.83 | 66.5 | 51.92 | 45.9 | 57.21 | 47.24 | 36.28 | 45.02 | 43.64 | 35.36 | 33.25 | 29.72 | 32.99 | 31.32 | 30.37 | 37.06 | 42.65 | 32.27 | 20.2 | 21.47 | 18.35 | 20.22 | 17.63
495 | 148 | 149.4 | 193 | 212.2 | 144.1 | 2101 | 3176 | 220.4 | 130.8 | 135.5 | 115 | 149 | 154.8 | 104.2 | 117.9 | 108 | 162.3 | 107.4 | 119.4 | 83.97 | 87.78 | 71.82 | 76.98 | 71.49 | 58.55 | 61.38 | 57.53 | 52.57 | 58.47 | 54.11 | 39.57 | 45.08 | 38.71 | 31.97 | 30.6 | 34.87 | 25.58 | 29.23 | 26.83 | 27.18 | 40.52 | 37.86 | 28.73 | 23.78 | 17.58 | 19.98 | 20.91
500 | 123.3 | 193.9 | 156.1 | 214.5 | 150.2 | 614.4 | 3665 | 830.2 | 163.9 | 154.5 | 137 | 113.6 | 147.5 | 112.8 | 107.5 | 140 | 74.79 | 74.9 | 98.44 | 93.41 | 76.56 | 72.88 | 63.06 | 73.84 | 56.35 | 50.72 | 45.16 | 42.34 | 55.04 | 42.54 | 44.2 | 37.43 | 44.27 | 38.1 | 34.91 | 26.7 | 26.27 | 26.07 | 28.12 | 27.06 | 28.09 | 43.68 | 35.93 | 18.16 | 21.16 | 17.41 | 17.66