## Sheet1
Report date: | 14:20:42, 04/15/2024
Sample: | 1
File name:
Run date: | 14:18:03, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/275.0 | 121.7
2 | 225.0/375.0 | 270.2
3 | 230.0/255.0 | 110.3
4 | 230.0/330.0 | 572.8
5 | 230.0/340.0 | 553.9
6 | 230.0/360.0 | 397.4
7 | 230.0/385.0 | 238.2
8 | 230.0/400.0 | 179.3
9 | 230.0/415.0 | 161.6
10 | 230.0/430.0 | 147.5
11 | 235.0/270.0 | 129.4
12 | 235.0/305.0 | 356.1
13 | 235.0/320.0 | 466.4
14 | 235.0/335.0 | 554.2
15 | 240.0/395.0 | 153.9
16 | 240.0/405.0 | 153.8
17 | 240.0/420.0 | 197.2
18 | 240.0/430.0 | 147.6
19 | 245.0/265.0 | 167.8
20 | 245.0/425.0 | 152.1
21 | 245.0/445.0 | 175.7
22 | 250.0/380.0 | 217.7
23 | 250.0/405.0 | 174.7
24 | 250.0/430.0 | 150.7
25 | 250.0/455.0 | 158.4
26 | 255.0/280.0 | 162.7
27 | 255.0/410.0 | 140.2
28 | 255.0/435.0 | 158.1
29 | 260.0/395.0 | 225.6
30 | 260.0/415.0 | 138.6
31 | 260.0/440.0 | 133
32 | 260.0/470.0 | 129.6
33 | 260.0/485.0 | 121.1
34 | 265.0/495.0 | 116.2
35 | 270.0/450.0 | 118.4
36 | 270.0/460.0 | 141.4
37 | 270.0/485.0 | 124.8
38 | 280.0/255.0 | 111.5
39 | 280.0/450.0 | 166.2
40 | 280.0/470.0 | 131
41 | 285.0/335.0 | 3544
42 | 285.0/435.0 | 202.4
43 | 285.0/455.0 | 152.8
44 | 285.0/475.0 | 129
45 | 285.0/485.0 | 130.8
46 | 290.0/255.0 | 73.77
47 | 290.0/465.0 | 156
48 | 295.0/440.0 | 160.5
49 | 295.0/475.0 | 119.2
50 | 300.0/260.0 | 69.41
51 | 300.0/450.0 | 121.8
52 | 305.0/480.0 | 103.2
53 | 305.0/490.0 | 104.2
54 | 315.0/275.0 | 54.16
55 | 315.0/415.0 | 93.26
56 | 320.0/265.0 | 44.56
57 | 320.0/360.0 | 259.7
58 | 320.0/410.0 | 84.99
59 | 320.0/430.0 | 76.03
60 | 320.0/445.0 | 80.52
61 | 320.0/470.0 | 77.76
62 | 325.0/270.0 | 38.25
63 | 325.0/365.0 | 227.9
64 | 325.0/395.0 | 93.83
65 | 325.0/415.0 | 91.21
66 | 325.0/460.0 | 82.23
67 | 325.0/475.0 | 71.7
68 | 325.0/485.0 | 65.54
69 | 330.0/265.0 | 35.2
70 | 330.0/295.0 | 51.71
71 | 330.0/370.0 | 227.8
72 | 330.0/400.0 | 88.62
73 | 330.0/445.0 | 79.13
74 | 335.0/260.0 | 41.27
75 | 335.0/280.0 | 40.15
76 | 335.0/380.0 | 248
77 | 335.0/425.0 | 85.71
78 | 335.0/435.0 | 93.11
79 | 335.0/465.0 | 77.81
80 | 340.0/270.0 | 42.03
81 | 340.0/385.0 | 226.4
82 | 340.0/410.0 | 98.53
83 | 340.0/430.0 | 77.18
84 | 340.0/470.0 | 66.04
85 | 345.0/260.0 | 29.4
86 | 345.0/290.0 | 31.39
87 | 345.0/390.0 | 195.1
88 | 345.0/455.0 | 72.55
89 | 350.0/295.0 | 29.83
90 | 350.0/400.0 | 179.2
91 | 350.0/450.0 | 67.42
92 | 355.0/255.0 | 26.57
93 | 355.0/405.0 | 181.6
94 | 355.0/425.0 | 76.65
95 | 355.0/460.0 | 65.04
96 | 355.0/485.0 | 54.23
97 | 360.0/275.0 | 27.56
98 | 360.0/300.0 | 30.44
99 | 360.0/410.0 | 171.2
100 | 360.0/435.0 | 72.38
101 | 365.0/270.0 | 25.11
102 | 365.0/285.0 | 39.81
103 | 365.0/305.0 | 30.42
104 | 365.0/415.0 | 180.3
105 | 365.0/445.0 | 69.66
106 | 365.0/455.0 | 65.76
107 | 365.0/480.0 | 53.98
108 | 370.0/310.0 | 25
109 | 370.0/465.0 | 53.41
110 | 370.0/495.0 | 38.92
111 | 375.0/255.0 | 26.94
112 | 375.0/280.0 | 25.4
113 | 375.0/300.0 | 23.67
114 | 375.0/330.0 | 34.4
115 | 375.0/430.0 | 127.4
116 | 380.0/265.0 | 29.46
117 | 380.0/295.0 | 19.4
118 | 380.0/435.0 | 107.6
119 | 380.0/455.0 | 47.86
120 | 380.0/480.0 | 37.32
121 | 385.0/305.0 | 21.05
122 | 385.0/445.0 | 96.02
123 | 385.0/465.0 | 43.89
124 | 385.0/490.0 | 34.74
125 | 390.0/275.0 | 24.71
126 | 390.0/295.0 | 19.63
127 | 390.0/450.0 | 85.21
128 | 395.0/280.0 | 25.52
129 | 395.0/305.0 | 19.81
130 | 395.0/325.0 | 17.8
131 | 395.0/455.0 | 67.65
132 | 400.0/255.0 | 20.88
133 | 400.0/285.0 | 22.49
134 | 400.0/465.0 | 67.35
135 | 405.0/260.0 | 17.57
136 | 405.0/335.0 | 18.99
137 | 405.0/470.0 | 51.61
138 | 410.0/270.0 | 19.07
139 | 410.0/295.0 | 18.68
140 | 410.0/325.0 | 18.46
141 | 410.0/450.0 | 30.69
142 | 410.0/475.0 | 44.74
143 | 415.0/280.0 | 15.41
144 | 415.0/320.0 | 15.57
145 | 415.0/350.0 | 18.3
146 | 415.0/485.0 | 40.36
147 | 420.0/275.0 | 16.37
148 | 420.0/305.0 | 18.74
149 | 420.0/330.0 | 13.68
150 | 420.0/355.0 | 16.79
151 | 420.0/460.0 | 26.95
152 | 420.0/470.0 | 28.17
153 | 420.0/490.0 | 41.16
154 | 425.0/295.0 | 15.19
155 | 430.0/275.0 | 16.23
156 | 430.0/290.0 | 16.65
157 | 430.0/310.0 | 18.29
158 | 430.0/345.0 | 15.68
159 | 435.0/350.0 | 13.6
160 | 435.0/360.0 | 13.3
161 | 440.0/365.0 | 13.05
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 106.9 | 118.9 | 98.69 | 69.12 | 123.8 | 4264 | 9999.9 | 3773 | 119.2 | 64.11 | 60.4 | 73.99 | 97.27 | 72.45 | 69.95 | 88.97 | 62.11 | 61.38 | 47.11 | 41.53 | 42.44 | 33.69 | 32.39 | 34.85 | 20.77 | 24.12 | 24.84 | 23.46 | 34.8 | 26.87 | 25.72 | 23.14 | 18.58 | 26.96 | 20.43 | 19.28 | 18.13 | 16.82 | 15.69 | 12.48 | 12.26 | 11.54 | 10.92 | 9.036 | 9.347 | 6.742 | 7.091
255 | 77.25 | 67.83 | 110.3 | 91.25 | 93.39 | 321.2 | 3908 | 9999.9 | 8195 | 373.6 | 54.64 | 69.33 | 111.5 | 57.18 | 73.77 | 48.22 | 59.01 | 44.54 | 42.44 | 41.7 | 42.27 | 32.04 | 30.09 | 41.15 | 28.54 | 24 | 26.05 | 26.57 | 25.06 | 25.88 | 22.36 | 26.94 | 25.13 | 23.49 | 18.83 | 20.75 | 20.88 | 15.75 | 14.68 | 15.09 | 10.24 | 11.61 | 14.51 | 9.82 | 8.73 | 7.661 | 7.18
260 | 90.94 | 89.21 | 103.5 | 103 | 143.7 | 108.4 | 349.1 | 3780 | 9999.9 | 9999.9 | 379.2 | 77.38 | 83.53 | 75.51 | 62.58 | 63.71 | 69.41 | 42.56 | 44.78 | 31.47 | 31.65 | 31.49 | 29 | 41.27 | 23.03 | 29.4 | 19.35 | 25.57 | 28.14 | 25.04 | 23.75 | 25.5 | 26.98 | 20.96 | 14.07 | 13.04 | 17.13 | 17.57 | 16.17 | 14.77 | 12.12 | 12.03 | 11.74 | 9.99 | 9.572 | 7.49 | 5.93
265 | 72.36 | 95.05 | 90.54 | 127.3 | 119.8 | 167.8 | 85.32 | 317.8 | 5744 | 9999.9 | 9999.9 | 492.1 | 87.73 | 77.36 | 68.8 | 70.39 | 47.36 | 37.63 | 45.12 | 38.99 | 44.56 | 27.95 | 35.2 | 34.95 | 26.85 | 25.43 | 20.13 | 19.91 | 17.87 | 17.42 | 22.48 | 22.73 | 29.46 | 20.79 | 16.07 | 13.39 | 15.98 | 12.97 | 17.24 | 15.84 | 12.73 | 11.39 | 11.35 | 12.3 | 7.775 | 9.673 | 8.11
270 | 78.78 | 83.55 | 122.6 | 129.4 | 113.4 | 164.3 | 128.8 | 107 | 428.7 | 7879 | 9999.9 | 9999.9 | 597.3 | 90.17 | 101.8 | 84.13 | 58.72 | 35.05 | 44.79 | 42.26 | 31.14 | 38.25 | 28.51 | 31.84 | 42.03 | 28.21 | 28.28 | 15.94 | 24.91 | 25.11 | 21.09 | 14.87 | 20.04 | 23.89 | 24.31 | 18.01 | 16.16 | 10.93 | 19.07 | 13.27 | 10.18 | 11.48 | 10.91 | 8.802 | 10.37 | 11.29 | 10.28
275 | 101.2 | 121.7 | 99.07 | 99 | 112.2 | 85.7 | 126.4 | 113.2 | 122.7 | 594.3 | 9999.9 | 9999.9 | 9999.9 | 756 | 91.98 | 70.36 | 69.65 | 49.47 | 53.36 | 54.16 | 42.38 | 37.5 | 35.28 | 32.61 | 29.65 | 21.8 | 20.9 | 20.87 | 27.56 | 21.46 | 18.61 | 15.39 | 22.8 | 22.33 | 24.71 | 20.72 | 17.99 | 17 | 17.76 | 13.24 | 16.37 | 11.67 | 16.23 | 12.22 | 12.78 | 12.85 | 10.17
280 | 143.8 | 115.5 | 110.3 | 88.12 | 67.41 | 104.2 | 120.7 | 162.7 | 108.3 | 124.1 | 741 | 9999.9 | 9999.9 | 9999.9 | 763.3 | 92.54 | 73.78 | 51.71 | 49.49 | 39.79 | 36.33 | 29.82 | 30.1 | 40.15 | 22.1 | 20.75 | 27.78 | 23.56 | 23.41 | 21.46 | 15.51 | 25.4 | 20.76 | 19.3 | 23.22 | 25.52 | 21.9 | 12.1 | 13.77 | 15.41 | 13.44 | 12.82 | 12.33 | 13.08 | 9.237 | 12.19 | 9.719
285 | 122.9 | 116.4 | 124.8 | 96.61 | 87.42 | 86.21 | 109.2 | 122.6 | 144.9 | 127.5 | 228.4 | 779.4 | 9999.9 | 9999.9 | 9999.9 | 907.4 | 102.5 | 87.01 | 58.51 | 69.56 | 37.31 | 36.45 | 38.66 | 35.7 | 22.92 | 27.34 | 29.69 | 20.49 | 24.88 | 39.81 | 28.02 | 17.73 | 17.7 | 20.13 | 21.85 | 18.1 | 22.49 | 17.88 | 16.16 | 13.2 | 11.5 | 12.67 | 13.55 | 11.75 | 10.97 | 11.09 | 10.03
290 | 133.5 | 168.9 | 114.7 | 103.3 | 144.3 | 83.75 | 125.7 | 109.5 | 163.9 | 302.7 | 289.2 | 343.1 | 1001 | 9999.9 | 9999.9 | 9999.9 | 886 | 90.97 | 81.89 | 68.94 | 34.81 | 41.23 | 37.77 | 27.56 | 30.12 | 31.39 | 28.79 | 28.93 | 19.76 | 20.56 | 25.34 | 20.49 | 15.43 | 17.02 | 13.27 | 14.65 | 16.13 | 16.51 | 14.87 | 15.03 | 12.59 | 13.04 | 16.65 | 12.18 | 13.86 | 9.547 | 10.72
295 | 131.3 | 153.3 | 218.1 | 167.2 | 143.4 | 126.8 | 132.6 | 163.3 | 209.3 | 331.1 | 411.5 | 484.1 | 667.8 | 1306 | 9999.9 | 9999.9 | 9999.9 | 898.7 | 100.2 | 74.34 | 50.69 | 44.86 | 51.71 | 36 | 35.63 | 28.42 | 29.83 | 29.74 | 24.09 | 21.24 | 15.94 | 19.32 | 19.4 | 16.51 | 19.63 | 15.02 | 17.19 | 18.67 | 18.68 | 18.44 | 10.73 | 15.19 | 12.4 | 10.89 | 11.51 | 11.62 | 11.72
300 | 136.4 | 210.9 | 223.8 | 284.6 | 155.2 | 174 | 105 | 144.9 | 222.4 | 348.9 | 629.3 | 932.4 | 1047 | 1020 | 1416 | 9999.9 | 9999.9 | 9999.9 | 948.6 | 98.67 | 68.82 | 48.93 | 40.77 | 46.05 | 36.65 | 30.61 | 26.01 | 23.37 | 30.44 | 26.59 | 18.25 | 23.67 | 17.54 | 19.19 | 12.34 | 18.19 | 15.15 | 18.33 | 15.91 | 17.43 | 13.78 | 11.6 | 11.72 | 11.48 | 12.52 | 12.86 | 11.2
305 | 159.1 | 204.6 | 329.9 | 356.1 | 245.1 | 196.8 | 177.3 | 193.8 | 312.4 | 555.9 | 726.5 | 1332 | 1453 | 1417 | 1250 | 1257 | 9999.9 | 9999.9 | 9999.9 | 861 | 92.45 | 66.37 | 55.83 | 44.68 | 30.65 | 31.88 | 33.12 | 26.35 | 25.56 | 30.42 | 22.52 | 18.84 | 20.42 | 21.05 | 13.02 | 19.81 | 15.7 | 16.62 | 13.39 | 12.06 | 18.74 | 13.21 | 12.8 | 10.45 | 12.9 | 14.61 | 11.83
310 | 180.6 | 287.5 | 281.8 | 308 | 225.8 | 195 | 176 | 291 | 357.3 | 566.9 | 882.3 | 1508 | 2026 | 1993 | 1661 | 957 | 1184 | 9999.9 | 9999.9 | 9999.9 | 867.3 | 99.1 | 65.41 | 50.44 | 43.65 | 30.79 | 34.55 | 32.09 | 26.34 | 18.85 | 25 | 22.1 | 19.87 | 19.73 | 16.88 | 15.48 | 14.1 | 13.15 | 13.92 | 12.98 | 17.03 | 12 | 18.29 | 11.06 | 13.24 | 10.55 | 11.66
315 | 204 | 367.1 | 392 | 345.3 | 316.9 | 223.9 | 223.7 | 293.4 | 444.5 | 699.4 | 1180 | 1592 | 2594 | 2537 | 2081 | 1402 | 713 | 919.6 | 9999.9 | 9999.9 | 9999.9 | 856.3 | 87.7 | 69.12 | 62.55 | 40.67 | 37.71 | 35.89 | 27.1 | 23.71 | 23.27 | 23.9 | 22.08 | 19.75 | 15.33 | 16.32 | 15.95 | 14.26 | 13.79 | 12.53 | 18.25 | 12.15 | 15.15 | 13.12 | 12.82 | 16.63 | 10.06
320 | 189.6 | 371.8 | 439.6 | 466.4 | 284.5 | 249.7 | 246.4 | 379.3 | 548.2 | 863.6 | 1504 | 1881 | 2535 | 3139 | 2637 | 1829 | 816.7 | 406.5 | 860.2 | 9999.9 | 9999.9 | 9999.9 | 808.6 | 82.76 | 83.11 | 42.69 | 41.31 | 32.73 | 37.19 | 27.14 | 28.93 | 26.99 | 19.65 | 18.13 | 17.9 | 13.92 | 14.99 | 13.97 | 15.26 | 15.57 | 10.59 | 11.66 | 15.63 | 13.71 | 15.15 | 16.11 | 12.12
325 | 304.1 | 362.3 | 361 | 312.9 | 272.6 | 266.3 | 239.8 | 349.6 | 683.2 | 908.5 | 1398 | 2268 | 3001 | 3317 | 3198 | 2427 | 997 | 393.7 | 222.5 | 834.6 | 9999.9 | 9999.9 | 9999.9 | 876.4 | 95.92 | 76.02 | 57.06 | 38.34 | 33.26 | 29.16 | 30.12 | 18.88 | 24.8 | 24.75 | 14.23 | 17.8 | 13.61 | 14.96 | 18.46 | 13.31 | 12.24 | 14.32 | 14.49 | 14.21 | 14.28 | 15.99 | 12.33
330 | 265.4 | 340.4 | 572.8 | 436.7 | 258 | 308.1 | 311.9 | 398.5 | 640.9 | 866.1 | 1607 | 2329 | 3037 | 3482 | 3130 | 2128 | 1013 | 390.9 | 184.1 | 174.8 | 842 | 9999.9 | 9999.9 | 9999.9 | 807.4 | 86.04 | 77.87 | 58 | 48.54 | 35.01 | 30.71 | 34.4 | 27.06 | 20.78 | 25.21 | 13.67 | 15.09 | 12.72 | 15.5 | 11.9 | 13.68 | 12.91 | 12.39 | 11.17 | 11.92 | 14.39 | 16.11
335 | 206.6 | 372.8 | 510.2 | 554.2 | 308.3 | 276 | 319.3 | 493.3 | 568.7 | 987.9 | 1511 | 2263 | 2953 | 3544 | 3214 | 1926 | 1303 | 518.4 | 176.5 | 133.4 | 174.8 | 803 | 9999.9 | 9999.9 | 9999.9 | 763.4 | 87.65 | 62.2 | 61.56 | 39.83 | 38.68 | 29.53 | 26.48 | 20.64 | 24.83 | 15.96 | 18.81 | 18.99 | 12.84 | 14.39 | 9.811 | 10.73 | 10.06 | 12.13 | 12.31 | 10.42 | 16.01
340 | 220.1 | 376.3 | 553.9 | 472.6 | 263.2 | 255.3 | 283.4 | 460.3 | 595.3 | 1013 | 1526 | 2354 | 2962 | 3310 | 3110 | 2016 | 1069 | 639.5 | 246.4 | 90.37 | 120.6 | 156.4 | 827 | 9999.9 | 9999.9 | 9999.9 | 787.9 | 76.83 | 69.32 | 50.13 | 35.19 | 29.14 | 24.9 | 23.24 | 24.76 | 21.72 | 18.21 | 12.19 | 13.91 | 14.12 | 13.17 | 12.72 | 11.05 | 11.93 | 12.23 | 11.4 | 14.84
345 | 245.4 | 310.2 | 452 | 339.7 | 271.7 | 270.2 | 307.1 | 319.3 | 604.7 | 867.9 | 1374 | 2087 | 2565 | 2878 | 2871 | 1833 | 966.8 | 460.4 | 381.5 | 124.7 | 97.27 | 110.7 | 158.4 | 804.8 | 9999.9 | 9999.9 | 9999.9 | 748.2 | 93.92 | 59.47 | 47.77 | 31.31 | 25.13 | 23.98 | 25.09 | 19.53 | 12.05 | 14.51 | 15.85 | 15.3 | 13.12 | 12.5 | 15.68 | 7.453 | 12.07 | 10.69 | 12.04
350 | 235 | 269.1 | 474.1 | 375.3 | 330.3 | 260.1 | 301.7 | 353 | 524.5 | 755.4 | 1414 | 1940 | 2334 | 2557 | 2600 | 1684 | 817 | 364.9 | 295.4 | 292 | 96.78 | 92.72 | 100.9 | 138.5 | 776.7 | 9999.9 | 9999.9 | 9999.9 | 672.3 | 84.14 | 60.1 | 46.32 | 32.64 | 32.39 | 27.25 | 20.66 | 16.71 | 15.15 | 16.83 | 18.3 | 12.68 | 12 | 11.66 | 13.6 | 11.63 | 11.92 | 12.14
355 | 160.2 | 300.4 | 320.6 | 339.6 | 232 | 204.4 | 202.1 | 299.2 | 480.6 | 677.3 | 1183 | 1551 | 1975 | 2447 | 2334 | 1460 | 726.3 | 352.9 | 183 | 283.6 | 190.6 | 104.1 | 77.11 | 71.8 | 154.1 | 794.7 | 9999.9 | 9999.9 | 9999.9 | 687.1 | 81.82 | 65.04 | 43.34 | 28.5 | 24.39 | 25.67 | 22.88 | 18.68 | 14.98 | 15.24 | 16.79 | 14.66 | 10.87 | 10.22 | 7.361 | 8.905 | 10.96
360 | 224.5 | 228.6 | 397.4 | 355.4 | 211 | 156.4 | 245.1 | 273.7 | 428.9 | 709.8 | 872.7 | 1376 | 1663 | 2002 | 1905 | 1242 | 665.1 | 311.5 | 155.3 | 177 | 259.7 | 144.9 | 81.51 | 81.64 | 88.03 | 144.7 | 778.4 | 9999.9 | 9999.9 | 9999.9 | 593.9 | 83.91 | 60.06 | 37.12 | 32.8 | 24.1 | 24.93 | 21.53 | 17.56 | 16.41 | 13.48 | 14.92 | 12.29 | 13.3 | 11.83 | 10.5 | 13.6
365 | 207.8 | 230.3 | 295.3 | 274.6 | 204.5 | 194.2 | 232.1 | 275.8 | 343.4 | 620.9 | 731.5 | 1207 | 1471 | 1733 | 1605 | 1162 | 545.1 | 293.1 | 145.2 | 92.93 | 152.3 | 227.9 | 138.9 | 74.48 | 79.11 | 81.67 | 146.5 | 785.7 | 9999.9 | 9999.9 | 9999.9 | 573.8 | 76.77 | 52.94 | 36.23 | 26.3 | 26.72 | 20.72 | 17.96 | 14.61 | 14.09 | 14.56 | 11.71 | 12.1 | 13.05 | 8.985 | 11.21
370 | 130.9 | 229.2 | 277.8 | 256 | 265.1 | 225.2 | 145.2 | 233.9 | 326.1 | 489.4 | 744.4 | 1003 | 1322 | 1524 | 1353 | 1019 | 478.8 | 217.4 | 109.7 | 82.67 | 83.09 | 199.9 | 227.8 | 97.41 | 65.24 | 67.27 | 90.4 | 149.4 | 783.1 | 9999.9 | 9999.9 | 9999.9 | 502.6 | 81.42 | 53.39 | 36.48 | 24.84 | 20.83 | 20.61 | 19.38 | 19.05 | 15.68 | 15.81 | 13.67 | 9.918 | 10.19 | 10.43
375 | 182.6 | 270.2 | 259.9 | 205.8 | 183 | 179.8 | 150.2 | 190.8 | 289.1 | 445.5 | 554.8 | 878.3 | 1083 | 1115 | 1171 | 800.2 | 433 | 207 | 104.7 | 83.65 | 71.35 | 81.36 | 194.4 | 186.4 | 82.61 | 64.59 | 75.31 | 77.25 | 136.9 | 791.6 | 9999.9 | 9999.9 | 9999.9 | 453.6 | 63.58 | 46.28 | 43.34 | 28.14 | 25 | 20.6 | 14.9 | 14.11 | 12.48 | 12.48 | 10.32 | 13.24 | 9.795
380 | 181.6 | 205.8 | 204.7 | 220.8 | 198.9 | 203 | 217.7 | 159.2 | 233.6 | 350.8 | 459.4 | 668.2 | 857.6 | 928.2 | 857.1 | 575.9 | 338.9 | 207.2 | 118.2 | 79.99 | 61.13 | 62.43 | 116.1 | 248 | 144.2 | 63.03 | 67.03 | 68.63 | 79.07 | 132.6 | 768.5 | 9999.9 | 9999.9 | 9999.9 | 454.9 | 62.82 | 42.41 | 37.71 | 23.8 | 22.69 | 17.93 | 19.41 | 14.05 | 13.49 | 13.46 | 13.15 | 10.82
385 | 128 | 157.5 | 238.2 | 165.6 | 132.4 | 159.9 | 191 | 173.9 | 216.7 | 290.2 | 372.8 | 555.6 | 655.1 | 788.5 | 787.8 | 490.6 | 264.9 | 160.7 | 100.9 | 79.8 | 70.74 | 83.22 | 78.55 | 132.8 | 226.4 | 110.6 | 72.3 | 67.87 | 68.64 | 76.66 | 127.4 | 792.7 | 9999.9 | 9999.9 | 9999.9 | 382.4 | 57.05 | 46.44 | 27.55 | 19.99 | 19.95 | 15.93 | 11.66 | 12.04 | 12.28 | 9.397 | 9.289
390 | 112.6 | 187.8 | 198.1 | 163.6 | 131.6 | 163.2 | 196 | 187.5 | 185.6 | 243.2 | 306.5 | 415.3 | 613.4 | 631.4 | 664.3 | 398.4 | 275.5 | 181.4 | 111.5 | 82.96 | 71.27 | 65.15 | 77.61 | 77.36 | 171.3 | 195.1 | 107.2 | 77.02 | 69.55 | 60.44 | 63.32 | 124.8 | 770.8 | 9999.9 | 9999.9 | 9999.9 | 391 | 56.47 | 39.6 | 26.76 | 18.73 | 17.89 | 16.92 | 16.92 | 14.19 | 13.34 | 13.1
395 | 129.4 | 116 | 164.2 | 130 | 153.9 | 135.7 | 123.3 | 172.7 | 225.6 | 166.5 | 248.7 | 405.6 | 444.6 | 580.9 | 554.3 | 391.1 | 218.5 | 141.8 | 109.2 | 87.52 | 81.1 | 93.83 | 62.86 | 88.01 | 88.28 | 165.5 | 170.4 | 85.68 | 59.33 | 55.08 | 53.14 | 72.13 | 113.6 | 782.5 | 9999.9 | 9999.9 | 9999.9 | 327.5 | 50.49 | 36.02 | 26.91 | 29.07 | 18.58 | 17.48 | 12.88 | 12.35 | 10.76
400 | 153.2 | 168.8 | 179.3 | 150.6 | 135.9 | 113.1 | 157.2 | 161.6 | 155.9 | 196.4 | 257.6 | 269.7 | 349.8 | 417.5 | 351 | 307.7 | 163.1 | 139.9 | 75.17 | 81.28 | 74 | 75.18 | 88.62 | 77.84 | 83.75 | 83.73 | 179.2 | 129.2 | 62.04 | 65.86 | 59.5 | 60.84 | 68.64 | 111.7 | 754.5 | 9999.9 | 9999.9 | 9999.9 | 301.4 | 49.09 | 39.96 | 26.9 | 19.15 | 16.8 | 15.7 | 12.99 | 12.38
405 | 136.5 | 85.45 | 152.6 | 127.7 | 153.8 | 134.9 | 174.7 | 100 | 136.9 | 182 | 213 | 301.9 | 305.4 | 443.7 | 339.1 | 306.5 | 177.2 | 146.2 | 84.37 | 81.02 | 72.57 | 76.71 | 73.95 | 71.09 | 84.26 | 72.57 | 92.06 | 181.6 | 115 | 59.51 | 53.41 | 52.09 | 51.23 | 60.18 | 115.3 | 738 | 9999.9 | 9999.9 | 9999.9 | 329.3 | 44.58 | 39.21 | 28.94 | 19.68 | 17.22 | 14.9 | 12.36
410 | 121.1 | 134.9 | 159.8 | 119 | 124.1 | 100.1 | 132.1 | 140.2 | 96.9 | 148.5 | 211.8 | 212.4 | 297.9 | 350.3 | 272.8 | 214.9 | 147 | 100.7 | 100.6 | 74.17 | 84.99 | 82.4 | 74.81 | 70.85 | 98.53 | 70.53 | 65.51 | 130.9 | 171.2 | 88.64 | 62.54 | 49.79 | 48.97 | 43.47 | 51.48 | 106 | 721.5 | 9999.9 | 9999.9 | 9999.9 | 268.5 | 48.5 | 35.47 | 22.05 | 16.61 | 15.46 | 11.28
415 | 105.8 | 141.6 | 161.6 | 109.3 | 161.9 | 125.3 | 116.8 | 138.2 | 138.6 | 119.8 | 206.5 | 211.4 | 217.3 | 259.2 | 237.3 | 215.7 | 144.8 | 113 | 78.7 | 93.26 | 72.6 | 91.21 | 76.35 | 73.69 | 82.88 | 66.66 | 68.72 | 75.08 | 148.9 | 180.3 | 83.56 | 61.82 | 52.53 | 46.53 | 47.75 | 46.22 | 91.93 | 726.3 | 9999.9 | 9999.9 | 9999.9 | 256.3 | 43.59 | 28.53 | 22.64 | 17.81 | 16.96
420 | 115.4 | 81.01 | 111.6 | 137 | 197.2 | 141 | 128 | 115.8 | 111.9 | 117.6 | 155 | 179.6 | 205.8 | 214.3 | 242.6 | 191 | 136.1 | 100.1 | 92.2 | 88.16 | 72.75 | 86.68 | 75.29 | 84.27 | 63.41 | 65.74 | 69.37 | 72.49 | 72.5 | 153.7 | 138.6 | 71.67 | 45.06 | 48.48 | 36.98 | 35.67 | 50.5 | 99.35 | 718.4 | 9999.9 | 9999.9 | 9999.9 | 241.5 | 37.57 | 30.75 | 20.82 | 14.09
425 | 124.3 | 130.2 | 105.6 | 132.1 | 132.6 | 152.1 | 126.2 | 122.1 | 121.2 | 136.8 | 152 | 152.8 | 143.7 | 204.5 | 166.5 | 149.5 | 100.1 | 92.83 | 76.16 | 76.68 | 68.06 | 68.61 | 73.4 | 85.71 | 65.05 | 69.92 | 55.3 | 76.65 | 63.1 | 70.14 | 133.7 | 98.68 | 48.64 | 41.79 | 37.5 | 33.91 | 37.92 | 41.45 | 87.41 | 718.7 | 9999.9 | 9999.9 | 9999.9 | 217.5 | 43.22 | 28.99 | 20.65
430 | 211.7 | 136.6 | 147.5 | 136.7 | 147.6 | 111.3 | 150.7 | 141.2 | 104.9 | 106.7 | 130.6 | 128.4 | 166.4 | 170.5 | 166.9 | 153.8 | 123.7 | 115.5 | 83.77 | 67.81 | 76.03 | 75.82 | 73.37 | 65.12 | 77.18 | 72.55 | 66.49 | 75.54 | 61.85 | 58.98 | 80.72 | 127.4 | 71.08 | 38.67 | 30.33 | 33.89 | 30.2 | 35.04 | 38.26 | 87.56 | 712 | 9999.9 | 9999.9 | 9999.9 | 220.5 | 43.36 | 28.06
435 | 426.3 | 200.9 | 145.3 | 138.2 | 118.6 | 124.8 | 147.1 | 158.1 | 123.5 | 92.45 | 123.2 | 147.8 | 162.3 | 202.4 | 172.8 | 136.4 | 109.9 | 107.4 | 71.21 | 84.32 | 69.12 | 50.96 | 84.42 | 93.11 | 74.59 | 67.85 | 64.23 | 67.07 | 72.38 | 55.59 | 58.42 | 99.82 | 107.6 | 52.36 | 32.8 | 31.87 | 30.96 | 31.09 | 28.76 | 37.87 | 82.78 | 730.1 | 9999.9 | 9999.9 | 9999.9 | 218.8 | 41.11
440 | 513.4 | 257.3 | 138.8 | 144.3 | 124.9 | 138.4 | 134.6 | 106.5 | 133 | 95.86 | 117.9 | 142.7 | 155.1 | 137.3 | 134.5 | 160.5 | 93.19 | 95.23 | 85.32 | 88.31 | 75.68 | 61.04 | 72.62 | 73.75 | 60.45 | 64.64 | 65.7 | 69.22 | 70.79 | 60.37 | 54.23 | 55.22 | 107.2 | 81.73 | 36.16 | 33.14 | 34.56 | 29.14 | 27.05 | 31.3 | 36.75 | 82.78 | 710.7 | 9999.9 | 9999.9 | 9999.9 | 193
445 | 306.2 | 647.3 | 163.5 | 116.2 | 132.8 | 175.7 | 112.1 | 131.8 | 88.43 | 95.29 | 113.3 | 135.8 | 152.1 | 139.8 | 126 | 128.5 | 102.8 | 100 | 64.68 | 79.3 | 80.52 | 61.52 | 79.13 | 63.36 | 67.28 | 59.11 | 63.05 | 53.55 | 61.16 | 69.66 | 53.57 | 49.11 | 64.7 | 96.02 | 59.91 | 30.99 | 30.73 | 28.5 | 25.58 | 24.96 | 26.77 | 35.13 | 84.43 | 706.4 | 9999.9 | 9999.9 | 9999.9
450 | 173.1 | 865.9 | 500.6 | 129.7 | 134.4 | 81.09 | 98.29 | 120.2 | 106 | 100.3 | 118.4 | 105.8 | 166.2 | 125.3 | 116.3 | 103.6 | 121.8 | 106.2 | 84.33 | 74.89 | 61.34 | 80.08 | 76.31 | 75.38 | 60.8 | 66.39 | 67.42 | 63.77 | 58.71 | 42.94 | 45.98 | 49.51 | 43.84 | 57.86 | 85.21 | 46.92 | 31.79 | 29.02 | 30.69 | 24.22 | 24.38 | 32.16 | 34.14 | 80.04 | 710.7 | 9999.9 | 9999.9
455 | 109.9 | 516.9 | 1205 | 176.1 | 141.5 | 145.6 | 158.4 | 138 | 135.1 | 126.4 | 109.9 | 127.5 | 127.1 | 152.8 | 127 | 105.6 | 117.3 | 71.39 | 86.02 | 74.76 | 60.46 | 76.92 | 60.62 | 67.93 | 58.94 | 72.55 | 65.64 | 60.99 | 58.72 | 65.76 | 47.82 | 43.7 | 47.86 | 43.4 | 63.4 | 67.65 | 38.95 | 29.62 | 21.86 | 22.26 | 22.74 | 29.48 | 26.22 | 35.72 | 78.62 | 730 | 9999.9
460 | 109.9 | 165.1 | 1434 | 642.6 | 141.1 | 167.4 | 121 | 115.5 | 114.5 | 108.3 | 141.4 | 134.5 | 139.9 | 125.5 | 126.9 | 84.18 | 98.4 | 66.3 | 86.11 | 75.05 | 71.32 | 82.23 | 68.03 | 54.75 | 60.32 | 54.91 | 61.11 | 65.04 | 61.37 | 47.8 | 44.42 | 41.36 | 43.9 | 40.08 | 34.49 | 63.5 | 65.38 | 26.8 | 22.93 | 21.47 | 26.95 | 21.25 | 24.79 | 22.78 | 31.63 | 79.1 | 701.2
465 | 178 | 135.2 | 1091 | 1919 | 267.5 | 136 | 155.8 | 125.7 | 118.9 | 117.8 | 136.6 | 110.7 | 95.97 | 126.6 | 156 | 117 | 119.3 | 84.79 | 93.16 | 75.11 | 73.34 | 67.98 | 60.21 | 77.81 | 62.97 | 58.64 | 57.53 | 57.44 | 54.38 | 50.08 | 53.41 | 37.69 | 38.72 | 43.89 | 33.14 | 44.11 | 67.35 | 45.66 | 30.26 | 19.86 | 24.99 | 22.33 | 24.32 | 21.02 | 23.12 | 31.47 | 81.23
470 | 143.5 | 146.3 | 273.9 | 2913 | 998.7 | 125.4 | 122.6 | 107.8 | 129.6 | 102.1 | 122.2 | 98.2 | 131 | 111.4 | 101.9 | 109.5 | 92.19 | 98.77 | 84.35 | 57.17 | 77.76 | 70.17 | 49.57 | 62.91 | 66.04 | 64.46 | 60.67 | 48.76 | 46.84 | 48.48 | 48.91 | 43.07 | 33.94 | 31.49 | 30.41 | 31.83 | 41.57 | 51.61 | 33.16 | 22.32 | 28.17 | 21.86 | 23.98 | 19.89 | 22.57 | 27.34 | 29.97
475 | 112.1 | 127.3 | 126.6 | 1508 | 2568 | 206 | 103.9 | 118.5 | 93.77 | 110 | 106.7 | 114.9 | 107.3 | 129 | 95.66 | 119.2 | 62.62 | 85.04 | 66.03 | 63.59 | 68.64 | 71.7 | 63.92 | 67.13 | 63.29 | 62.72 | 58.61 | 50.12 | 41.89 | 43.75 | 40.26 | 42.89 | 31.95 | 29.93 | 25.48 | 25.85 | 24.86 | 38.28 | 44.74 | 28.07 | 21.95 | 20.32 | 19.66 | 19.78 | 22.19 | 18.15 | 20.57
480 | 115.5 | 143.8 | 107.4 | 437.8 | 3230 | 1156 | 141.7 | 124.3 | 84.3 | 110.3 | 123.9 | 119.9 | 115 | 123 | 86.24 | 104.1 | 78.86 | 103.2 | 72.43 | 62.73 | 54.43 | 59.07 | 47.68 | 53.14 | 57.92 | 47.13 | 50.6 | 47.41 | 44.69 | 53.98 | 45.19 | 30.52 | 37.32 | 33.3 | 33.44 | 27.55 | 24.5 | 25.25 | 41.89 | 39.35 | 23.8 | 21.88 | 20.66 | 17.89 | 16.05 | 19.18 | 17.41
485 | 131.8 | 161.9 | 162.6 | 186.1 | 2088 | 3414 | 182.4 | 104.3 | 121.1 | 104.2 | 124.8 | 88.76 | 126.6 | 130.8 | 103.4 | 72.81 | 75.69 | 78.25 | 67.3 | 50.12 | 56.37 | 65.54 | 64.78 | 64.76 | 54.81 | 54.43 | 43.13 | 54.23 | 46.82 | 34.27 | 40.4 | 38.6 | 29.02 | 32.44 | 27.63 | 23.36 | 21.95 | 24.35 | 28.33 | 40.36 | 28.28 | 20.7 | 16.94 | 15.37 | 17.64 | 17.3 | 16.16
490 | 169.8 | 118 | 136.9 | 192.7 | 491 | 4571 | 1369 | 107.7 | 117.4 | 113.5 | 103.7 | 83.84 | 85.51 | 97.9 | 87.66 | 88.95 | 78.31 | 104.2 | 57.21 | 63.75 | 54.87 | 56.89 | 58.06 | 46.87 | 49.46 | 50.9 | 41.96 | 39.8 | 49.38 | 45.76 | 35.32 | 36.39 | 31.8 | 34.74 | 28.74 | 24.82 | 21.66 | 24.93 | 20.5 | 33.56 | 41.16 | 29.89 | 19.93 | 18.49 | 20.03 | 17.44 | 18.97
495 | 129.4 | 112.5 | 127.3 | 164.3 | 164.2 | 2707 | 3086 | 196.4 | 88.54 | 116.2 | 113.6 | 104.9 | 108.7 | 108.9 | 143.1 | 66.38 | 69.66 | 78.01 | 75.48 | 52.03 | 47 | 63.98 | 46.35 | 39.96 | 50.41 | 49.05 | 43.79 | 40.28 | 36.35 | 34.31 | 38.92 | 34.47 | 34.83 | 32.09 | 33.44 | 26.43 | 17.98 | 23.08 | 18.27 | 24.94 | 34.22 | 39.54 | 24.08 | 20.7 | 15.5 | 16.04 | 16.92
500 | 115.6 | 113.4 | 164.5 | 153.6 | 110.1 | 773 | 4552 | 868.6 | 89.2 | 102.6 | 93.44 | 123.6 | 110.6 | 137.2 | 96.69 | 76.21 | 57.31 | 77.25 | 64.39 | 57.66 | 55.26 | 59.7 | 50.29 | 47.44 | 46.74 | 39.25 | 42.33 | 39.33 | 48.45 | 36.58 | 26.28 | 39.83 | 36.41 | 30.69 | 25.05 | 23.75 | 18.42 | 23.63 | 18.52 | 20.3 | 22.69 | 34.56 | 27.73 | 19 | 19.76 | 16.61 | 16.51