## Sheet1
Report date: | 14:24:28, 04/15/2024
Sample: | 1
File name:
Run date: | 14:21:41, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/255.0 | 98.72
2 | 225.0/270.0 | 137.4
3 | 230.0/260.0 | 186.2
4 | 230.0/275.0 | 174.2
5 | 230.0/325.0 | 521.5
6 | 230.0/345.0 | 549.7
7 | 230.0/395.0 | 215.5
8 | 235.0/335.0 | 561.4
9 | 235.0/360.0 | 401.9
10 | 235.0/405.0 | 210.1
11 | 240.0/265.0 | 128.2
12 | 240.0/275.0 | 136.2
13 | 240.0/295.0 | 198.7
14 | 240.0/385.0 | 254.5
15 | 245.0/270.0 | 161.1
16 | 245.0/395.0 | 174.8
17 | 250.0/375.0 | 210.7
18 | 250.0/425.0 | 145.4
19 | 250.0/440.0 | 178.8
20 | 250.0/460.0 | 172.7
21 | 255.0/415.0 | 149.2
22 | 255.0/450.0 | 138.8
23 | 255.0/465.0 | 152.1
24 | 260.0/455.0 | 152
25 | 260.0/490.0 | 127.8
26 | 265.0/450.0 | 156.1
27 | 270.0/465.0 | 137.3
28 | 270.0/475.0 | 135.3
29 | 270.0/490.0 | 155.7
30 | 275.0/435.0 | 176.7
31 | 280.0/255.0 | 84.95
32 | 280.0/440.0 | 177.3
33 | 280.0/455.0 | 178.7
34 | 285.0/330.0 | 3532
35 | 285.0/460.0 | 151
36 | 285.0/470.0 | 160
37 | 290.0/430.0 | 230.2
38 | 290.0/455.0 | 167.5
39 | 290.0/475.0 | 128
40 | 295.0/465.0 | 133
41 | 295.0/485.0 | 131
42 | 300.0/255.0 | 79.05
43 | 305.0/475.0 | 108.6
44 | 310.0/470.0 | 96.74
45 | 315.0/355.0 | 305.2
46 | 315.0/430.0 | 97.16
47 | 315.0/445.0 | 108.5
48 | 315.0/490.0 | 83.18
49 | 320.0/260.0 | 38.35
50 | 320.0/285.0 | 61.52
51 | 320.0/360.0 | 273.1
52 | 320.0/380.0 | 112.2
53 | 320.0/405.0 | 102.7
54 | 320.0/425.0 | 100.2
55 | 325.0/280.0 | 50.32
56 | 325.0/365.0 | 281.5
57 | 325.0/430.0 | 92
58 | 325.0/440.0 | 88.77
59 | 325.0/490.0 | 66.86
60 | 330.0/275.0 | 44.18
61 | 330.0/290.0 | 45.78
62 | 330.0/370.0 | 264.9
63 | 330.0/425.0 | 98.75
64 | 330.0/480.0 | 69.16
65 | 335.0/380.0 | 208.9
66 | 335.0/405.0 | 91.16
67 | 335.0/440.0 | 92.54
68 | 340.0/265.0 | 32.28
69 | 340.0/385.0 | 211.2
70 | 340.0/420.0 | 87.3
71 | 340.0/460.0 | 78.56
72 | 345.0/280.0 | 39.36
73 | 345.0/390.0 | 187.2
74 | 345.0/415.0 | 83.62
75 | 345.0/425.0 | 87.14
76 | 350.0/265.0 | 33.68
77 | 350.0/290.0 | 36.98
78 | 350.0/305.0 | 40.84
79 | 350.0/395.0 | 186
80 | 350.0/440.0 | 80.9
81 | 350.0/450.0 | 84.52
82 | 350.0/485.0 | 66.99
83 | 355.0/405.0 | 197.2
84 | 355.0/490.0 | 53.58
85 | 360.0/265.0 | 26.83
86 | 360.0/280.0 | 26.8
87 | 360.0/410.0 | 160.4
88 | 365.0/275.0 | 26.09
89 | 365.0/295.0 | 38.91
90 | 365.0/415.0 | 175.3
91 | 370.0/425.0 | 152.6
92 | 370.0/465.0 | 61.13
93 | 375.0/255.0 | 35.79
94 | 375.0/280.0 | 23.78
95 | 375.0/295.0 | 30.51
96 | 375.0/315.0 | 27.67
97 | 375.0/430.0 | 130
98 | 380.0/290.0 | 23.59
99 | 380.0/435.0 | 114.9
100 | 385.0/265.0 | 31.1
101 | 385.0/305.0 | 26.83
102 | 390.0/270.0 | 31.44
103 | 390.0/290.0 | 23.33
104 | 390.0/300.0 | 22.12
105 | 390.0/450.0 | 87.82
106 | 395.0/455.0 | 79.4
107 | 400.0/295.0 | 17.85
108 | 400.0/440.0 | 38.7
109 | 400.0/465.0 | 64.13
110 | 405.0/265.0 | 20.99
111 | 405.0/315.0 | 17.18
112 | 405.0/335.0 | 21.88
113 | 405.0/345.0 | 20.17
114 | 405.0/360.0 | 25.35
115 | 405.0/470.0 | 54.75
116 | 410.0/290.0 | 24.22
117 | 410.0/320.0 | 17.68
118 | 410.0/340.0 | 18.91
119 | 410.0/355.0 | 20.45
120 | 410.0/475.0 | 51.98
121 | 415.0/255.0 | 17.37
122 | 415.0/270.0 | 19.46
123 | 415.0/300.0 | 21.28
124 | 415.0/345.0 | 18.28
125 | 415.0/485.0 | 46.51
126 | 420.0/280.0 | 18.53
127 | 420.0/490.0 | 40.87
128 | 425.0/275.0 | 16.34
129 | 425.0/295.0 | 16.68
130 | 425.0/305.0 | 21.79
131 | 425.0/320.0 | 15.97
132 | 425.0/380.0 | 21.13
133 | 430.0/265.0 | 14.89
134 | 430.0/315.0 | 20.55
135 | 430.0/345.0 | 17.25
136 | 430.0/360.0 | 15.66
137 | 430.0/465.0 | 25.94
138 | 435.0/290.0 | 18.17
139 | 435.0/320.0 | 16.07
140 | 435.0/390.0 | 19.16
141 | 435.0/485.0 | 24.23
142 | 440.0/265.0 | 13.32
143 | 440.0/325.0 | 15.17
144 | 440.0/490.0 | 21.79
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 66.53 | 77.59 | 113.1 | 81.24 | 146 | 4048 | 9999.9 | 3955 | 143.2 | 72.7 | 69.75 | 104 | 81.04 | 49.62 | 63.43 | 53.47 | 45.73 | 62.95 | 40.36 | 32.1 | 21.99 | 28.66 | 35.1 | 38.26 | 34.48 | 28.56 | 33.99 | 33.29 | 30.36 | 29.51 | 26.1 | 23.73 | 21.71 | 26.2 | 27.34 | 22.39 | 17.4 | 19.08 | 17.67 | 14 | 14.4 | 12.29 | 9.907 | 11.22 | 7.648 | 7.627 | 6.658
255 | 94.8 | 98.72 | 86.24 | 113.5 | 120.3 | 337.4 | 3505 | 9999.9 | 8004 | 319.2 | 79.46 | 61.86 | 84.95 | 82.02 | 57.62 | 72.18 | 79.05 | 39.62 | 46.48 | 31.92 | 37.27 | 29.29 | 31.86 | 28.05 | 27.78 | 27.82 | 23.88 | 27.9 | 21.02 | 27.5 | 32.47 | 35.79 | 22.08 | 19.51 | 19.97 | 21.08 | 20.05 | 18.1 | 13.82 | 17.37 | 13.83 | 13.24 | 12.65 | 10.05 | 7.899 | 8.441 | 8.156
260 | 108.4 | 96.24 | 186.2 | 139.3 | 125.4 | 137.3 | 341.3 | 4529 | 9999.9 | 9336 | 355 | 80.83 | 54.54 | 72.98 | 64.11 | 50.23 | 57.9 | 53.66 | 38.84 | 37.21 | 38.35 | 33.31 | 19.66 | 37.92 | 25.72 | 27.82 | 28.45 | 26.56 | 21.79 | 25.05 | 30.61 | 33.24 | 28.66 | 22.49 | 19.56 | 19.8 | 20.07 | 20.18 | 16.67 | 15.87 | 12.09 | 12.76 | 14.75 | 12.74 | 12.38 | 11.99 | 9.494
265 | 97.76 | 90.46 | 94.55 | 85.81 | 128.2 | 88.01 | 143.4 | 354.7 | 5831 | 9999.9 | 9999.9 | 454 | 105.9 | 92.36 | 61.65 | 66.73 | 64.19 | 32.56 | 41.8 | 47.93 | 30.65 | 40.27 | 43.75 | 27.76 | 32.28 | 26.89 | 33.68 | 19.82 | 26.83 | 22.28 | 20.18 | 30.83 | 24.59 | 31.1 | 27.47 | 16.24 | 15.72 | 20.99 | 17.66 | 17.7 | 11.92 | 14.02 | 14.89 | 11.55 | 13.32 | 10.32 | 8.951
270 | 94.57 | 137.4 | 108.3 | 101.7 | 97.27 | 161.1 | 137.6 | 118 | 453.3 | 7805 | 9999.9 | 9999.9 | 651.4 | 79.56 | 104.4 | 60.25 | 55.99 | 49.21 | 41.44 | 45.81 | 33.61 | 30.35 | 43.65 | 33.75 | 30.37 | 27.36 | 24.48 | 26.49 | 25.42 | 21.81 | 19.05 | 26.36 | 23.78 | 29.42 | 31.44 | 23.76 | 18.97 | 17.91 | 16 | 19.46 | 16.39 | 16.26 | 13.83 | 12 | 11.46 | 10.48 | 10.15
275 | 101.9 | 77.83 | 174.2 | 79.65 | 136.2 | 107 | 136.7 | 146.6 | 125.4 | 588.8 | 9999.9 | 9999.9 | 9999.9 | 652.6 | 112.7 | 97.64 | 71.12 | 60.05 | 58.2 | 48.84 | 47.03 | 30.04 | 44.18 | 33.51 | 29.95 | 25.43 | 28.93 | 28.49 | 19.7 | 26.09 | 25.83 | 17.31 | 20.16 | 23.22 | 26.94 | 19.94 | 23.43 | 13.54 | 13.48 | 15.71 | 15.38 | 16.34 | 15.49 | 14.1 | 12.93 | 9.041 | 10.04
280 | 89.05 | 112.4 | 142.8 | 82.82 | 71.56 | 69 | 97.8 | 152.4 | 144.3 | 158.5 | 780.2 | 9999.9 | 9999.9 | 9999.9 | 746.9 | 97.64 | 93.6 | 83.59 | 60.61 | 52.39 | 42.92 | 50.32 | 36.95 | 27.09 | 27.07 | 39.36 | 30.6 | 24.17 | 26.8 | 22.55 | 20.77 | 23.78 | 20.43 | 14.63 | 19.22 | 23.37 | 23.39 | 18.54 | 15.89 | 16.1 | 18.53 | 14.79 | 12.62 | 13.02 | 10.88 | 11.14 | 11.1
285 | 89.61 | 109 | 117.7 | 117.5 | 133.2 | 126.1 | 130.8 | 93.64 | 165.4 | 133.6 | 160 | 829.9 | 9999.9 | 9999.9 | 9999.9 | 909.2 | 83.22 | 63.29 | 63.94 | 56.31 | 61.52 | 40.24 | 35.78 | 33.99 | 33.09 | 36.46 | 27.68 | 25.04 | 25.21 | 20.65 | 21.14 | 16.34 | 21.78 | 17.1 | 17.2 | 18.6 | 19.06 | 18.76 | 18.12 | 14.5 | 12.35 | 14.91 | 13.44 | 17.63 | 10.66 | 12.52 | 10.96
290 | 116.8 | 95 | 141.6 | 144.6 | 139.3 | 82.83 | 109.4 | 108.2 | 201.2 | 219.2 | 277.7 | 380 | 1057 | 9999.9 | 9999.9 | 9999.9 | 893.3 | 124.5 | 67.24 | 85.61 | 47.84 | 43.46 | 45.78 | 37.56 | 21.41 | 25.25 | 36.98 | 22.03 | 22.64 | 25.14 | 25.79 | 18.49 | 23.59 | 15.22 | 23.33 | 16.84 | 16.51 | 20.85 | 24.22 | 16.67 | 15.74 | 13.86 | 14.8 | 18.17 | 13.86 | 11.56 | 10.82
295 | 121.8 | 128 | 190.3 | 196.4 | 198.7 | 172.2 | 111.3 | 134.2 | 152.3 | 308.2 | 524.4 | 456.2 | 659.5 | 1246 | 9999.9 | 9999.9 | 9999.9 | 927.7 | 91.16 | 74.54 | 58.29 | 44.27 | 36.83 | 34.78 | 38.96 | 30.81 | 31.71 | 26.18 | 25.34 | 38.91 | 23.87 | 30.51 | 18.48 | 11.74 | 16.84 | 11.25 | 17.85 | 17.31 | 16.39 | 19.38 | 14.7 | 16.68 | 14.48 | 16 | 15.5 | 14.87 | 11.74
300 | 126.5 | 169.8 | 256.3 | 226.8 | 178.6 | 157.2 | 107.2 | 161.4 | 209.9 | 358.5 | 625.8 | 886.9 | 843.2 | 967.1 | 1413 | 9999.9 | 9999.9 | 9999.9 | 959.2 | 117.5 | 74.93 | 65.49 | 58.08 | 36.66 | 39.29 | 34.69 | 28.01 | 27.63 | 20.69 | 31.1 | 29.3 | 27.11 | 18.23 | 18.05 | 22.12 | 13.62 | 16.8 | 15.06 | 18.96 | 21.28 | 17.08 | 13.72 | 13.63 | 11.36 | 13.63 | 15.81 | 11.89
305 | 156 | 227.4 | 319.9 | 264.7 | 193.2 | 149.8 | 141.4 | 198.7 | 323.9 | 460.7 | 767.7 | 1179 | 1421 | 1556 | 1216 | 1424 | 9999.9 | 9999.9 | 9999.9 | 998.8 | 97.25 | 77.46 | 56.87 | 47.13 | 40.02 | 38.78 | 40.84 | 39.86 | 24.3 | 30.98 | 24.06 | 21.86 | 21.3 | 26.83 | 21.8 | 16.77 | 15.93 | 16.74 | 13.41 | 17.89 | 17.56 | 21.79 | 16.62 | 10.5 | 14.27 | 14.06 | 14.88
310 | 214.1 | 287.5 | 287.3 | 269.4 | 266.1 | 255.9 | 229.5 | 232.5 | 418.8 | 635.8 | 964.4 | 1478 | 1979 | 1887 | 1764 | 1116 | 1163 | 9999.9 | 9999.9 | 9999.9 | 989.5 | 103.7 | 63.56 | 55.52 | 44.12 | 40.43 | 30.68 | 33.58 | 29.45 | 30.66 | 24.52 | 20.99 | 19.42 | 21.14 | 19.09 | 16.21 | 14.67 | 15.82 | 14.28 | 16.74 | 15.72 | 15.91 | 13.79 | 12.46 | 10.45 | 14.11 | 14.6
315 | 204.7 | 295.5 | 487.4 | 391.6 | 289.3 | 216 | 288.5 | 316.2 | 586.6 | 804.6 | 1262 | 1559 | 2412 | 2736 | 2217 | 1491 | 664.1 | 1020 | 9999.9 | 9999.9 | 9999.9 | 906.1 | 107.4 | 81.94 | 48.26 | 39.25 | 36.33 | 32.9 | 31.89 | 27.86 | 26.25 | 27.67 | 25.06 | 22.64 | 15.64 | 15.59 | 13.83 | 17.18 | 17.01 | 15.79 | 14.83 | 12.71 | 20.55 | 13.17 | 9.837 | 11.44 | 12.99
320 | 177.8 | 346 | 500.8 | 367.7 | 300.2 | 293.1 | 300.8 | 347.9 | 593.7 | 960.3 | 1424 | 1935 | 2565 | 3060 | 2711 | 1705 | 772.9 | 422.5 | 871.4 | 9999.9 | 9999.9 | 9999.9 | 844.6 | 107.2 | 78.5 | 57.13 | 35.73 | 35.06 | 32.85 | 34.84 | 25.45 | 24.01 | 24.57 | 24.23 | 16.51 | 18.23 | 16.74 | 14.09 | 17.68 | 10.48 | 11.01 | 15.97 | 13.49 | 16.07 | 13.06 | 10.13 | 9.711
325 | 229.2 | 298.7 | 521.5 | 386.1 | 355 | 260.4 | 314.2 | 438.8 | 693.3 | 997.9 | 1601 | 2250 | 2779 | 3207 | 3237 | 2365 | 990.3 | 408.7 | 248 | 829.2 | 9999.9 | 9999.9 | 9999.9 | 966.4 | 100.7 | 95.52 | 51.24 | 41.45 | 38.47 | 38.01 | 32.35 | 29.32 | 26.68 | 21.81 | 21.36 | 18.45 | 18 | 15.12 | 16.42 | 10.02 | 11.86 | 15.43 | 12.99 | 12.96 | 15.17 | 15.12 | 12.27
330 | 239 | 413 | 488.9 | 417.3 | 332.6 | 323.3 | 293.6 | 347 | 770.2 | 986.3 | 1712 | 2244 | 3023 | 3532 | 3260 | 2461 | 1160 | 397.6 | 208.5 | 170.6 | 810.7 | 9999.9 | 9999.9 | 9999.9 | 826.7 | 95.22 | 71.41 | 55.24 | 44.11 | 42.51 | 37.56 | 31.51 | 31.23 | 23.87 | 20.94 | 19.48 | 19.77 | 15.41 | 16.21 | 13.08 | 11.12 | 13.75 | 10.05 | 10.4 | 14.64 | 16.06 | 16.07
335 | 260.5 | 408.1 | 504.7 | 561.4 | 372.1 | 292.9 | 332.7 | 344.1 | 766.9 | 1025 | 1687 | 2444 | 3075 | 3437 | 3081 | 2156 | 1245 | 514.2 | 215.7 | 160.7 | 157.8 | 787.1 | 9999.9 | 9999.9 | 9999.9 | 786.1 | 105.5 | 67.55 | 62.3 | 40.35 | 34.58 | 31.89 | 29.66 | 25.52 | 22.66 | 16.88 | 17.49 | 21.88 | 13.06 | 11.9 | 13.48 | 14.08 | 13.94 | 12.61 | 13.35 | 14.22 | 13.53
340 | 227.1 | 354.2 | 485.4 | 455.8 | 368.3 | 277.9 | 352.5 | 352.4 | 587 | 939.3 | 1600 | 2375 | 3054 | 3231 | 2882 | 2064 | 1047 | 667.1 | 252 | 130 | 107.7 | 158.8 | 797.9 | 9999.9 | 9999.9 | 9999.9 | 879.5 | 104.5 | 69.2 | 52.14 | 41.14 | 36.97 | 31.39 | 28.25 | 21.21 | 18.31 | 18.81 | 17.2 | 18.91 | 13.28 | 14.09 | 11.39 | 14.91 | 12.76 | 11.01 | 12.51 | 16.07
345 | 204.8 | 381.4 | 549.7 | 423.9 | 211.6 | 242.9 | 291 | 337 | 582.5 | 925.1 | 1521 | 2269 | 2635 | 2963 | 2910 | 1919 | 949.2 | 525.9 | 370 | 143.6 | 99.41 | 108.5 | 154.5 | 812.2 | 9999.9 | 9999.9 | 9999.9 | 761.3 | 98.63 | 74.16 | 42.53 | 43.71 | 34.51 | 30.22 | 23.62 | 23.95 | 15.37 | 20.17 | 14.96 | 18.28 | 11.9 | 11 | 17.25 | 11.67 | 11.39 | 10.59 | 12.1
350 | 214.6 | 324.7 | 449 | 369.2 | 296.2 | 246.8 | 278.2 | 318.1 | 492.8 | 899.7 | 1410 | 1687 | 2336 | 2575 | 2672 | 1773 | 840.6 | 380.6 | 318.6 | 268.3 | 113.8 | 78.55 | 92.88 | 148.3 | 804.4 | 9999.9 | 9999.9 | 9999.9 | 757.3 | 105.3 | 71.3 | 46.41 | 37.76 | 35.9 | 26.69 | 26.14 | 21.05 | 18.54 | 18.06 | 13.5 | 13.34 | 13.01 | 10.64 | 11.57 | 9.775 | 11.14 | 10.1
355 | 202.3 | 292.2 | 438.7 | 330.6 | 238.2 | 219.3 | 234 | 280.6 | 486.3 | 767.8 | 1182 | 1490 | 1996 | 2281 | 2264 | 1552 | 701.2 | 316.6 | 178.7 | 305.2 | 229.1 | 89.87 | 97.13 | 78.77 | 133.2 | 798.4 | 9999.9 | 9999.9 | 9999.9 | 767.5 | 87.12 | 64.58 | 45.43 | 40.58 | 32.04 | 23.79 | 16.44 | 19.63 | 20.45 | 15.68 | 15.81 | 13.67 | 13.26 | 12.59 | 10.66 | 14.35 | 13.57
360 | 219.7 | 301.7 | 368.5 | 401.9 | 321.7 | 270.5 | 270.5 | 281.5 | 449 | 658.3 | 1029 | 1240 | 1724 | 2073 | 1929 | 1409 | 656.2 | 290.7 | 162.1 | 148.7 | 273.1 | 162.4 | 80.6 | 88.05 | 105.9 | 152.5 | 798.9 | 9999.9 | 9999.9 | 9999.9 | 657.4 | 100.6 | 61.47 | 48.72 | 33.81 | 24.01 | 25.31 | 25.35 | 17.45 | 17.37 | 15.5 | 14.62 | 15.66 | 11.56 | 10.9 | 9.273 | 10.83
365 | 165.6 | 232.8 | 313.8 | 296.5 | 222.7 | 238 | 218.3 | 255.3 | 437.3 | 482.7 | 786.3 | 1221 | 1433 | 1778 | 1676 | 1156 | 595 | 268.9 | 169.3 | 110.3 | 144.6 | 281.5 | 136.4 | 81.72 | 86.92 | 83.73 | 137.6 | 819.6 | 9999.9 | 9999.9 | 9999.9 | 609.1 | 85.54 | 66.22 | 40.87 | 27.73 | 25.8 | 23.63 | 20.68 | 15.09 | 15.07 | 14.83 | 15.02 | 14.34 | 11.16 | 11.9 | 13.95
370 | 147.3 | 246.1 | 287.5 | 194.9 | 200.6 | 186.5 | 187.2 | 239.7 | 300.6 | 495.7 | 619.1 | 1012 | 1270 | 1481 | 1403 | 1036 | 502.7 | 235.8 | 137 | 100.8 | 113.3 | 214.3 | 264.9 | 108.7 | 75.66 | 76.69 | 86.34 | 132.7 | 805.3 | 9999.9 | 9999.9 | 9999.9 | 570.3 | 82.38 | 55.08 | 37.72 | 32.03 | 25.95 | 20.19 | 17.93 | 18.09 | 14.66 | 11.39 | 10.55 | 10.33 | 11.43 | 13.03
375 | 125 | 223.2 | 271 | 242.8 | 157.8 | 172.5 | 210.7 | 177.9 | 264.1 | 399 | 561.3 | 830.5 | 974.9 | 1147 | 1154 | 804.4 | 394.1 | 216 | 122.2 | 106.2 | 105.1 | 88.13 | 215.9 | 184.5 | 90.55 | 72.7 | 77.51 | 92.04 | 139.4 | 814.1 | 9999.9 | 9999.9 | 9999.9 | 508.2 | 81.42 | 52.16 | 43.24 | 29.49 | 26.81 | 16.42 | 17.37 | 17.01 | 14.43 | 12.3 | 11.21 | 12.06 | 11.76
380 | 174.5 | 190.5 | 227.6 | 239.7 | 172.7 | 174.6 | 166.1 | 209.2 | 266.8 | 327.5 | 441.4 | 723.3 | 841.7 | 1006 | 933.2 | 708.2 | 370.9 | 236.9 | 114.9 | 89.25 | 112.2 | 90.15 | 103.9 | 208.9 | 167.6 | 82.95 | 89.38 | 78.94 | 81.36 | 134.4 | 818.8 | 9999.9 | 9999.9 | 9999.9 | 526 | 70.24 | 51.33 | 35.39 | 26.23 | 22.83 | 17.8 | 21.13 | 15.38 | 11.86 | 10.73 | 12.03 | 10.35
385 | 123.6 | 151.3 | 182.6 | 207.9 | 254.5 | 129.3 | 157.5 | 184.9 | 228.3 | 285.3 | 439.2 | 581.8 | 693.2 | 679.4 | 682.9 | 564.5 | 287.5 | 177.4 | 125.9 | 80.37 | 79.21 | 78.78 | 81.89 | 141.5 | 211.2 | 110.6 | 57.31 | 78.91 | 76.35 | 88.52 | 128.2 | 798 | 9999.9 | 9999.9 | 9999.9 | 416.9 | 70.86 | 49.24 | 29.22 | 25.56 | 20.77 | 20.11 | 13.69 | 16.5 | 11.63 | 12.87 | 11
390 | 136.7 | 179.1 | 161.5 | 211.6 | 166.8 | 117.3 | 152.6 | 179.5 | 207.7 | 279.2 | 311.7 | 484.2 | 612.1 | 727.9 | 635 | 464.9 | 236 | 129.4 | 111.9 | 87.48 | 91.96 | 78.17 | 86.56 | 91.78 | 123.2 | 187.2 | 92.43 | 57.62 | 57.82 | 69.72 | 72.66 | 132.9 | 782.3 | 9999.9 | 9999.9 | 9999.9 | 458.3 | 64.4 | 41.17 | 36.8 | 24.77 | 18.57 | 17.95 | 19.16 | 15.75 | 10.95 | 10.04
395 | 141.8 | 157.7 | 215.5 | 129.1 | 155.8 | 174.8 | 140.8 | 197.3 | 190.1 | 219.2 | 338.4 | 444.8 | 445.6 | 567.7 | 475.7 | 402.8 | 247.3 | 149 | 115 | 97.27 | 88.76 | 86.9 | 81.49 | 75.87 | 86.47 | 172.5 | 186 | 83.2 | 54.57 | 64.95 | 74.87 | 68.73 | 118.1 | 793.4 | 9999.9 | 9999.9 | 9999.9 | 368.9 | 60.38 | 41.42 | 26.87 | 24.95 | 17.67 | 16.71 | 15.53 | 12.58 | 11.63
400 | 180.4 | 166.2 | 145 | 160.5 | 151.5 | 133.2 | 125.1 | 133 | 134.9 | 181.1 | 244.6 | 374.6 | 376.1 | 415.8 | 434.8 | 322.9 | 182.9 | 132.4 | 103 | 108 | 77.94 | 89.01 | 84.7 | 71.76 | 69.53 | 88.16 | 181.1 | 140.2 | 79.08 | 63.17 | 68.74 | 63.23 | 72.49 | 114.6 | 772.3 | 9999.9 | 9999.9 | 9999.9 | 316.3 | 63.41 | 38.62 | 31.01 | 24.53 | 23.19 | 15.89 | 11.39 | 11.9
405 | 114.6 | 140.2 | 139.6 | 210.1 | 176 | 135.2 | 111.8 | 135.3 | 137.6 | 156.6 | 231.6 | 285.6 | 345.5 | 384.2 | 380.1 | 311 | 166 | 119.8 | 121.2 | 79.11 | 102.7 | 97.99 | 65.55 | 91.16 | 86.08 | 80.9 | 98.15 | 197.2 | 129.3 | 65.6 | 68.63 | 59.62 | 58.56 | 71.22 | 109.7 | 752.3 | 9999.9 | 9999.9 | 9999.9 | 367 | 56.47 | 42.72 | 23.57 | 20.62 | 16.22 | 15.9 | 12.89
410 | 140.4 | 126.6 | 167.2 | 181.4 | 137 | 137.1 | 126.3 | 134 | 186.2 | 161.5 | 242.9 | 270.9 | 261.2 | 304.3 | 332.4 | 238 | 154 | 124.8 | 86.68 | 89.41 | 92.5 | 89.7 | 74.29 | 90.94 | 81.17 | 82.23 | 72.55 | 112.7 | 160.4 | 111.1 | 53.11 | 49.53 | 53.66 | 59.07 | 52.99 | 103.5 | 743.2 | 9999.9 | 9999.9 | 9999.9 | 306.9 | 47.61 | 36.99 | 23.77 | 22.99 | 17.03 | 15.23
415 | 122.4 | 131.5 | 161.4 | 179.9 | 123.6 | 142 | 104.5 | 149.2 | 142.9 | 131.7 | 197 | 177.8 | 237.7 | 286.1 | 249.6 | 209.8 | 129.7 | 116.5 | 95.76 | 94.15 | 75.08 | 87.93 | 90.94 | 81.09 | 68.22 | 83.62 | 69.41 | 76.99 | 158.7 | 175.3 | 82.12 | 72.4 | 48.51 | 49.44 | 51.08 | 50.42 | 95.72 | 752.2 | 9999.9 | 9999.9 | 9999.9 | 284.5 | 52.04 | 36.54 | 25.29 | 18.19 | 17.46
420 | 120.6 | 122.1 | 137.7 | 128.8 | 132 | 104.6 | 122.2 | 101.9 | 156.3 | 146.6 | 198.5 | 164.8 | 207.3 | 242.9 | 247.7 | 161.7 | 122 | 109.9 | 108.7 | 85.77 | 65.6 | 77.66 | 85.08 | 79.3 | 87.3 | 77.46 | 83.19 | 84.64 | 92.86 | 149.5 | 146.8 | 76.64 | 55.81 | 55.66 | 45.98 | 41.76 | 49.6 | 93.85 | 746.8 | 9999.9 | 9999.9 | 9999.9 | 283.1 | 46.62 | 34.72 | 24.75 | 16.23
425 | 130.2 | 100.8 | 123.9 | 152.5 | 141.1 | 126.7 | 145.4 | 121 | 127.2 | 144.9 | 179.6 | 160.5 | 181.7 | 188.9 | 199.3 | 160.8 | 120.4 | 112.6 | 91.53 | 96.58 | 100.2 | 79.82 | 98.75 | 84.65 | 79.5 | 87.14 | 70.5 | 70.07 | 69.65 | 84.56 | 152.6 | 112.7 | 54.55 | 46.72 | 43.34 | 41.96 | 41.35 | 42.78 | 93.33 | 739.5 | 9999.9 | 9999.9 | 9999.9 | 245.9 | 46.68 | 27.76 | 20.53
430 | 160.5 | 120.1 | 150 | 87.31 | 132.3 | 130.7 | 116 | 83.73 | 104.9 | 143.6 | 144 | 141.3 | 165.1 | 207.9 | 230.2 | 168.4 | 129.1 | 131.4 | 68.2 | 97.16 | 81.71 | 92 | 81.84 | 69.1 | 69.29 | 65.29 | 69.64 | 68.28 | 64.69 | 56.42 | 86.39 | 130 | 78.74 | 47.21 | 37.29 | 39.65 | 33.8 | 33.06 | 47.03 | 95.48 | 727 | 9999.9 | 9999.9 | 9999.9 | 249.1 | 43.95 | 31.09
435 | 341.1 | 139.9 | 118.8 | 121.7 | 137.5 | 121.8 | 138.7 | 92.81 | 146.1 | 139.7 | 154.4 | 176.7 | 139 | 192.6 | 177.2 | 138.9 | 97.12 | 116.2 | 94.6 | 91.96 | 75.29 | 78.39 | 74.96 | 72.59 | 69.15 | 73.83 | 78.97 | 71.8 | 72.27 | 59.53 | 60.83 | 104 | 114.9 | 55.12 | 45.73 | 32.79 | 31.4 | 33.43 | 29.28 | 47.05 | 96.2 | 733.8 | 9999.9 | 9999.9 | 9999.9 | 242.3 | 39.83
440 | 444.3 | 214.3 | 111.6 | 158.6 | 151.6 | 127.7 | 178.8 | 75.18 | 125.8 | 130.2 | 155.6 | 145.6 | 177.3 | 163.6 | 167.8 | 139.9 | 104.8 | 108.5 | 76.36 | 87.23 | 87.33 | 88.77 | 73.46 | 92.54 | 72.89 | 68.97 | 80.9 | 77.54 | 65.61 | 57.93 | 55.27 | 62.17 | 106.6 | 95.34 | 48.29 | 34.24 | 38.7 | 33.82 | 32.07 | 34.24 | 45.08 | 83.7 | 732.7 | 9999.9 | 9999.9 | 9999.9 | 209.1
445 | 297.1 | 760.1 | 175 | 180.9 | 123.9 | 128.2 | 128.3 | 121.9 | 109.9 | 138 | 153.7 | 138.8 | 108 | 146.8 | 132.2 | 135.4 | 132.1 | 113.4 | 90.76 | 108.5 | 69.52 | 79.04 | 69.9 | 79.88 | 76.33 | 68.22 | 72.02 | 63.94 | 63.03 | 51.59 | 50.76 | 58.01 | 58.64 | 95.02 | 69.94 | 30.74 | 32.16 | 24.62 | 29.09 | 32.7 | 37.76 | 36.29 | 91.64 | 714.2 | 9999.9 | 9999.9 | 9999.9
450 | 139.1 | 846.8 | 500.6 | 140.2 | 124.8 | 126.8 | 119.3 | 138.8 | 111.3 | 156.1 | 135.3 | 161.4 | 120.5 | 143.7 | 116 | 114.1 | 103.9 | 96.07 | 99.26 | 74.81 | 73.88 | 62.9 | 74.33 | 78.59 | 66.2 | 63.42 | 84.52 | 72.8 | 68.3 | 58.09 | 54.21 | 49.7 | 55.59 | 62.4 | 87.82 | 48.4 | 31.59 | 30.5 | 31.34 | 30.66 | 27.99 | 30.62 | 37.71 | 83.17 | 729.7 | 9999.9 | 9999.9
455 | 118.5 | 562.5 | 1022 | 216.7 | 144.5 | 123.4 | 130.2 | 123 | 152 | 132.5 | 117.9 | 164.4 | 178.7 | 148.4 | 167.5 | 142 | 90.63 | 89.47 | 87.89 | 82.14 | 78.6 | 67.37 | 68.91 | 71.95 | 68.36 | 64.85 | 80.82 | 54.73 | 59.01 | 58.57 | 52.52 | 40.97 | 39.59 | 44.01 | 70.1 | 79.4 | 44.21 | 29.49 | 26.51 | 29.26 | 22.79 | 26.66 | 29.24 | 36.69 | 81.42 | 741.6 | 9999.9
460 | 137.3 | 237.5 | 1384 | 706.8 | 116.4 | 136.5 | 172.7 | 111.3 | 144 | 94.43 | 118.4 | 151.1 | 131.6 | 151 | 124.4 | 112.1 | 115.5 | 84.47 | 90.39 | 77.07 | 78.61 | 59.9 | 69.43 | 70.07 | 78.56 | 61.05 | 78.72 | 61.24 | 68.24 | 53.73 | 57.75 | 44.86 | 43.85 | 43.72 | 47.71 | 73.26 | 60.38 | 38.43 | 27.5 | 24.58 | 24.9 | 25.19 | 24.06 | 26.68 | 32.71 | 84.66 | 713.9
465 | 150.1 | 154.9 | 994.4 | 1905 | 228.1 | 140.1 | 151.9 | 152.1 | 128 | 132.3 | 137.3 | 133 | 131.8 | 119.1 | 127.6 | 133 | 89.27 | 88.62 | 88.78 | 84.3 | 82.18 | 61.09 | 66.61 | 68.72 | 66.34 | 59.76 | 66.37 | 60.27 | 62.27 | 55.08 | 61.13 | 40.79 | 37.79 | 40.23 | 39.49 | 43.25 | 64.13 | 45.08 | 28.15 | 30.5 | 23.67 | 25.84 | 25.94 | 24.6 | 26.4 | 32.92 | 80.34
470 | 156.2 | 148.2 | 308.5 | 2574 | 1060 | 98.09 | 144 | 100.8 | 105.9 | 120.2 | 125.1 | 127.6 | 149.5 | 160 | 96.55 | 109.3 | 98.11 | 80.27 | 96.74 | 67.43 | 64.81 | 57.28 | 60.82 | 67.25 | 69.58 | 65.17 | 55.88 | 56.84 | 45.29 | 51.98 | 47.12 | 43.01 | 42.74 | 37.06 | 33.14 | 30.95 | 35.49 | 54.75 | 38.92 | 27.63 | 24.53 | 24.21 | 25.14 | 24.37 | 26.5 | 26.71 | 30.5
475 | 174.1 | 186.2 | 142.9 | 1515 | 2822 | 230.9 | 102.8 | 97.03 | 128.3 | 127.7 | 135.3 | 111.8 | 118.7 | 124.6 | 128 | 93.39 | 84.61 | 108.6 | 89.03 | 70.99 | 75.73 | 57.35 | 61.64 | 60.3 | 57.7 | 55.59 | 50.51 | 52.34 | 48.23 | 43.13 | 46.05 | 43.32 | 40.44 | 34.64 | 31.07 | 29.66 | 32.74 | 48.14 | 51.98 | 33.6 | 25.36 | 25.81 | 22.31 | 22.72 | 21.58 | 23.43 | 25.07
480 | 104 | 170.2 | 154.4 | 372 | 3580 | 1291 | 136.4 | 116.8 | 110.2 | 94.16 | 114.9 | 130.3 | 115.2 | 119.9 | 115.3 | 115.9 | 94.85 | 71.13 | 85.9 | 68.62 | 59.61 | 67.23 | 69.16 | 61.35 | 58.32 | 44.49 | 61.46 | 51.14 | 48.56 | 49.41 | 48.98 | 36.8 | 40.08 | 34.14 | 30.83 | 24.98 | 23.65 | 28.25 | 48.7 | 41.94 | 22.13 | 22.95 | 21.42 | 23.26 | 21.63 | 15 | 20.59
485 | 129.9 | 171 | 130.9 | 182.8 | 2144 | 3512 | 236.5 | 136.3 | 90.58 | 113.6 | 145.1 | 143.1 | 100.8 | 112.8 | 123.1 | 131 | 101.6 | 74.76 | 75.04 | 63.92 | 63.46 | 60.33 | 66.3 | 54.11 | 52.42 | 51.69 | 66.99 | 41.92 | 48.16 | 42.23 | 38.67 | 30.23 | 37.6 | 31.7 | 28.57 | 29.47 | 24.35 | 26.93 | 31.14 | 46.51 | 32.41 | 21.61 | 18.69 | 24.23 | 20.7 | 16.01 | 19.48
490 | 132.5 | 114.1 | 166.2 | 132.8 | 432.9 | 4686 | 1137 | 100.9 | 127.8 | 113 | 155.7 | 110 | 99.7 | 99.51 | 90.02 | 116.3 | 97.24 | 81 | 73.34 | 83.18 | 59.04 | 66.86 | 61.05 | 56.17 | 44.89 | 46.56 | 48.62 | 53.58 | 46.65 | 42.4 | 43.27 | 37.32 | 34.82 | 29.64 | 29.65 | 24.88 | 23.55 | 25.19 | 19.6 | 34.23 | 40.87 | 28.52 | 17.87 | 19.8 | 21.79 | 16.9 | 15.85
495 | 122.5 | 107.2 | 140 | 130.2 | 178.9 | 2842 | 3180 | 182 | 103.3 | 156.6 | 104.8 | 168.3 | 137 | 87.24 | 114.4 | 115.2 | 87.16 | 74.82 | 79.53 | 73.4 | 66.6 | 65.41 | 55.24 | 56.22 | 51.1 | 57.19 | 51.08 | 53.25 | 53.59 | 36.69 | 37.24 | 34.06 | 31.95 | 32.2 | 30.55 | 25.39 | 22.93 | 27.57 | 20.76 | 22.83 | 35.15 | 42.04 | 24.41 | 14.96 | 17.92 | 16.58 | 14.91
500 | 88.83 | 109.4 | 176.2 | 152.4 | 127.9 | 827.6 | 4621 | 898.8 | 130.7 | 114.9 | 106.8 | 100.6 | 137.9 | 59.6 | 104.9 | 101.1 | 82.12 | 79.91 | 69.57 | 55.34 | 54.54 | 62.98 | 45.68 | 61.97 | 41.97 | 54.43 | 51.26 | 41.29 | 40.54 | 41.21 | 36 | 34.53 | 32.31 | 23.79 | 26.63 | 24.88 | 25.66 | 23.62 | 20.88 | 16.31 | 27.66 | 38.43 | 30.87 | 20.23 | 17.19 | 19.2 | 14.42