## Sheet1
Report date: | 14:27:57, 04/15/2024
Sample: | 1
File name:
Run date: | 14:25:17, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/375.0 | 311.8
2 | 230.0/260.0 | 165.4
3 | 230.0/275.0 | 121.9
4 | 230.0/320.0 | 519.8
5 | 230.0/345.0 | 579.2
6 | 230.0/370.0 | 311
7 | 230.0/380.0 | 310.2
8 | 230.0/405.0 | 187.2
9 | 230.0/420.0 | 185.6
10 | 235.0/350.0 | 509.9
11 | 235.0/365.0 | 328
12 | 235.0/410.0 | 179.3
13 | 235.0/440.0 | 198.9
14 | 240.0/260.0 | 176.3
15 | 240.0/395.0 | 181.9
16 | 240.0/415.0 | 188.8
17 | 245.0/265.0 | 168.3
18 | 245.0/285.0 | 160.7
19 | 245.0/295.0 | 169.1
20 | 245.0/390.0 | 190.3
21 | 245.0/410.0 | 188.1
22 | 245.0/425.0 | 193.1
23 | 250.0/430.0 | 164.1
24 | 250.0/445.0 | 183.4
25 | 255.0/275.0 | 174.9
26 | 255.0/425.0 | 160.1
27 | 255.0/435.0 | 127.8
28 | 255.0/475.0 | 153.2
29 | 260.0/415.0 | 156
30 | 260.0/460.0 | 136.2
31 | 260.0/470.0 | 137.1
32 | 260.0/485.0 | 167.3
33 | 265.0/465.0 | 153.2
34 | 270.0/455.0 | 159.1
35 | 275.0/465.0 | 163.2
36 | 275.0/490.0 | 137.7
37 | 280.0/445.0 | 185.7
38 | 280.0/480.0 | 189.1
39 | 285.0/325.0 | 3770
40 | 285.0/475.0 | 156.7
41 | 290.0/445.0 | 190.5
42 | 290.0/470.0 | 144.6
43 | 290.0/480.0 | 152.4
44 | 300.0/270.0 | 85.12
45 | 300.0/490.0 | 106.4
46 | 305.0/275.0 | 96.95
47 | 305.0/470.0 | 137.2
48 | 310.0/260.0 | 60.04
49 | 310.0/435.0 | 101.2
50 | 310.0/485.0 | 100.1
51 | 315.0/255.0 | 50.07
52 | 315.0/355.0 | 299.5
53 | 315.0/390.0 | 107.5
54 | 315.0/430.0 | 107.3
55 | 315.0/465.0 | 90.22
56 | 320.0/360.0 | 282.4
57 | 320.0/410.0 | 107
58 | 320.0/440.0 | 106.7
59 | 320.0/485.0 | 87.99
60 | 325.0/275.0 | 45.58
61 | 325.0/290.0 | 60.31
62 | 325.0/365.0 | 255.2
63 | 325.0/435.0 | 91.7
64 | 325.0/460.0 | 89.48
65 | 325.0/480.0 | 73.43
66 | 330.0/255.0 | 45.7
67 | 330.0/370.0 | 238.1
68 | 330.0/400.0 | 99.86
69 | 330.0/440.0 | 90.22
70 | 330.0/450.0 | 97
71 | 335.0/270.0 | 41.26
72 | 335.0/285.0 | 37.27
73 | 335.0/380.0 | 238.9
74 | 335.0/420.0 | 98.85
75 | 335.0/430.0 | 89.24
76 | 335.0/460.0 | 78.64
77 | 340.0/385.0 | 221.2
78 | 340.0/445.0 | 86.91
79 | 345.0/260.0 | 39.67
80 | 345.0/280.0 | 35.93
81 | 345.0/290.0 | 36.14
82 | 345.0/390.0 | 212.1
83 | 345.0/460.0 | 81.7
84 | 350.0/400.0 | 184.6
85 | 350.0/425.0 | 100.9
86 | 350.0/435.0 | 94.15
87 | 350.0/480.0 | 73.99
88 | 355.0/265.0 | 35.4
89 | 355.0/315.0 | 49.88
90 | 355.0/405.0 | 180.7
91 | 360.0/280.0 | 37.12
92 | 360.0/295.0 | 34.65
93 | 360.0/305.0 | 32.95
94 | 360.0/410.0 | 191.1
95 | 365.0/270.0 | 31.8
96 | 365.0/290.0 | 31.44
97 | 365.0/320.0 | 39.39
98 | 365.0/415.0 | 182.7
99 | 365.0/485.0 | 55
100 | 365.0/495.0 | 53.35
101 | 370.0/255.0 | 39.67
102 | 370.0/425.0 | 147.6
103 | 370.0/470.0 | 58.64
104 | 370.0/490.0 | 49.79
105 | 375.0/260.0 | 37.25
106 | 375.0/310.0 | 36.6
107 | 375.0/335.0 | 47.44
108 | 375.0/430.0 | 141.3
109 | 380.0/440.0 | 112.4
110 | 380.0/475.0 | 48.36
111 | 380.0/485.0 | 42.54
112 | 385.0/295.0 | 25.95
113 | 385.0/305.0 | 27.47
114 | 385.0/315.0 | 29.57
115 | 385.0/415.0 | 61.39
116 | 385.0/445.0 | 119
117 | 390.0/290.0 | 23.65
118 | 390.0/335.0 | 27.17
119 | 390.0/450.0 | 87.42
120 | 400.0/255.0 | 24.7
121 | 400.0/325.0 | 20.24
122 | 400.0/465.0 | 75.41
123 | 405.0/290.0 | 23.2
124 | 405.0/320.0 | 19.81
125 | 405.0/335.0 | 22.42
126 | 405.0/470.0 | 55.89
127 | 410.0/280.0 | 20.28
128 | 410.0/315.0 | 19.98
129 | 410.0/365.0 | 22.23
130 | 410.0/450.0 | 36.2
131 | 410.0/475.0 | 56.2
132 | 415.0/270.0 | 23.54
133 | 415.0/295.0 | 20.23
134 | 415.0/355.0 | 19.4
135 | 415.0/485.0 | 46.76
136 | 420.0/285.0 | 20.56
137 | 420.0/305.0 | 19.15
138 | 420.0/320.0 | 17.93
139 | 420.0/490.0 | 42.97
140 | 425.0/335.0 | 16.66
141 | 430.0/255.0 | 13.8
142 | 430.0/270.0 | 17.2
143 | 430.0/320.0 | 17.52
144 | 430.0/345.0 | 17.94
145 | 430.0/470.0 | 26.59
146 | 435.0/260.0 | 13.92
147 | 435.0/315.0 | 18.17
148 | 435.0/335.0 | 14.03
149 | 435.0/375.0 | 17
150 | 440.0/275.0 | 14.35
151 | 440.0/295.0 | 15.91
152 | 440.0/370.0 | 14.9
153 | 440.0/485.0 | 22.67
154 | 445.0/300.0 | 15.61
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 88.17 | 96.81 | 108.5 | 145.5 | 150.5 | 4319 | 9999.9 | 3833 | 101.7 | 55.91 | 71.56 | 86.94 | 73.26 | 75.57 | 68.08 | 71.3 | 57.6 | 57.81 | 47.97 | 44.96 | 45.72 | 33.67 | 28.02 | 30.87 | 27.48 | 33.35 | 24.21 | 26.71 | 36.7 | 39.38 | 25.01 | 28.49 | 29.18 | 29.2 | 24.3 | 26.4 | 20.52 | 16.77 | 13.87 | 15.37 | 11.73 | 12.46 | 13.28 | 10.65 | 9.677 | 6.607 | 6.858
255 | 106.2 | 104.9 | 129.7 | 120.5 | 89.74 | 343 | 3637 | 9999.9 | 7781 | 309.3 | 78.32 | 105.8 | 86.09 | 60.78 | 53.27 | 64.06 | 66.35 | 46.54 | 42.89 | 50.07 | 30.22 | 38.26 | 45.7 | 30.63 | 31.59 | 27.27 | 33.5 | 27.7 | 19.7 | 28.86 | 39.67 | 30.43 | 23.72 | 26.87 | 19.94 | 19.32 | 24.7 | 21.02 | 16.67 | 15.4 | 12.07 | 13.63 | 13.8 | 9.45 | 9.75 | 10.44 | 8.751
260 | 97.8 | 101.4 | 165.4 | 124 | 176.3 | 137.2 | 310.2 | 4319 | 9999.9 | 9182 | 448.5 | 108.6 | 71.03 | 69.64 | 70.21 | 67.76 | 60.83 | 53.24 | 60.04 | 43.63 | 32.27 | 34.06 | 32.62 | 29.87 | 27.25 | 39.67 | 35.43 | 25.76 | 22.47 | 23.13 | 26.75 | 37.25 | 33.65 | 18.25 | 20.84 | 15.97 | 22.11 | 20.86 | 18.39 | 17.87 | 14.3 | 14.91 | 11.73 | 13.92 | 11.48 | 9.278 | 8.415
265 | 79.79 | 84.35 | 105.8 | 105.8 | 120.7 | 168.3 | 77.92 | 346.7 | 4982 | 9999.9 | 9999.9 | 523.9 | 74.27 | 69.08 | 53.63 | 51.73 | 72.28 | 42.99 | 43.34 | 48.16 | 40.01 | 37.08 | 31.62 | 34.85 | 31.96 | 31.24 | 27.17 | 35.4 | 27.69 | 21.88 | 23.68 | 23.69 | 29.92 | 29.52 | 21.41 | 17.59 | 18.01 | 20.61 | 19.88 | 16.99 | 15.27 | 11.73 | 13.58 | 13.06 | 13.45 | 10.6 | 7.776
270 | 80.94 | 105.1 | 103.2 | 131.3 | 126.6 | 151.9 | 129.2 | 111.6 | 408 | 7414 | 9999.9 | 9999.9 | 661.1 | 92.35 | 91.09 | 60.63 | 85.12 | 62.41 | 54.61 | 48.21 | 48.5 | 31.04 | 37.75 | 41.26 | 32.08 | 33.58 | 28.45 | 29.49 | 31.5 | 31.8 | 24.15 | 21.94 | 30.19 | 29.88 | 28.52 | 23.08 | 16.87 | 17.58 | 17.2 | 23.54 | 17.52 | 14.96 | 17.2 | 13.27 | 13.41 | 11.52 | 9.644
275 | 93.7 | 100.2 | 121.9 | 108 | 93.17 | 110 | 147.5 | 174.9 | 127.2 | 553.9 | 9610 | 9999.9 | 9999.9 | 782 | 92.72 | 98.12 | 81.32 | 96.95 | 67.95 | 56.25 | 37.21 | 45.58 | 39.27 | 32.63 | 28.44 | 30.4 | 24.01 | 29.88 | 28.31 | 28 | 14.76 | 22.71 | 24.73 | 24.48 | 25.08 | 19.58 | 19.55 | 14.17 | 19.67 | 19.35 | 17.21 | 15.64 | 12.47 | 12.98 | 14.35 | 11.24 | 11.18
280 | 115.9 | 111.7 | 103.7 | 101.4 | 112.6 | 97.73 | 102.9 | 159.4 | 143.4 | 133.1 | 719 | 9999.9 | 9999.9 | 9999.9 | 836.8 | 118.7 | 80.93 | 63.78 | 42.87 | 61.46 | 52.16 | 36.32 | 36.31 | 37.02 | 34.52 | 35.93 | 33.31 | 25 | 37.12 | 34.36 | 23.9 | 23.08 | 27.11 | 17.55 | 26.43 | 20.95 | 21.65 | 16.86 | 20.28 | 16.01 | 14.12 | 15.81 | 15.77 | 11.53 | 12.38 | 9.843 | 11.4
285 | 103.3 | 112.6 | 138.2 | 118.4 | 143.5 | 160.7 | 115.7 | 134.9 | 193.3 | 158.4 | 195.2 | 856 | 9999.9 | 9999.9 | 9999.9 | 911.9 | 98.46 | 88.12 | 83.4 | 79.43 | 53.25 | 37.93 | 35.87 | 37.27 | 32.51 | 28.63 | 31.77 | 26.04 | 25.87 | 27.63 | 23.75 | 17.07 | 21.6 | 15.71 | 18.01 | 17.5 | 19.33 | 18.82 | 19.14 | 17.6 | 20.56 | 17.86 | 16.94 | 14.68 | 14.19 | 12.39 | 9.158
290 | 130.4 | 147.1 | 147.5 | 180.9 | 166.9 | 124.9 | 110.8 | 140.4 | 194.2 | 291.8 | 272.9 | 390.6 | 1027 | 9999.9 | 9999.9 | 9999.9 | 1032 | 95.08 | 89.45 | 75.74 | 50.88 | 60.31 | 49.37 | 32.2 | 20.65 | 36.14 | 24.86 | 29.75 | 30.02 | 31.44 | 26.83 | 23.65 | 15.89 | 19.72 | 23.65 | 18.97 | 21.29 | 23.2 | 21.36 | 15.8 | 14.58 | 16.93 | 14.35 | 14.89 | 12.19 | 13.64 | 10.42
295 | 175.8 | 178.2 | 173.6 | 229.8 | 149.1 | 169.1 | 148.6 | 121.1 | 179.8 | 316.7 | 530.4 | 465.8 | 666.1 | 1267 | 9999.9 | 9999.9 | 9999.9 | 1060 | 120.2 | 86.92 | 62.69 | 46.04 | 42.91 | 52.29 | 33.54 | 31.91 | 27.79 | 29.72 | 34.65 | 24.57 | 26.01 | 21.5 | 21.21 | 25.95 | 20.07 | 18.92 | 15.47 | 20.48 | 17.18 | 20.23 | 15.42 | 12.94 | 11.63 | 14.15 | 15.91 | 15.08 | 13.38
300 | 128.9 | 188.6 | 242.4 | 225.3 | 176.6 | 157.1 | 140.6 | 186.9 | 272 | 371.7 | 632.1 | 923 | 1029 | 1216 | 1456 | 9999.9 | 9999.9 | 9999.9 | 1077 | 126.8 | 89.62 | 84.45 | 64.71 | 48.66 | 41.86 | 42.64 | 32.55 | 29.64 | 22.12 | 31.67 | 26.49 | 25.99 | 26.01 | 24.17 | 18.73 | 15.89 | 17.8 | 20.04 | 17.45 | 20.12 | 18.94 | 14.15 | 14.47 | 14.54 | 15.54 | 15.61 | 13.34
305 | 196.3 | 282.1 | 309.5 | 275.4 | 227.9 | 167.9 | 196.5 | 196 | 312.9 | 450.6 | 799 | 1346 | 1475 | 1648 | 1259 | 1455 | 9999.9 | 9999.9 | 9999.9 | 1010 | 114.7 | 84.93 | 68.09 | 59.07 | 54.87 | 36.16 | 35.54 | 29.23 | 32.95 | 30.2 | 25.7 | 27.76 | 25.79 | 27.47 | 21.27 | 16.55 | 18.16 | 17.31 | 18.09 | 16.99 | 19.15 | 16.68 | 16.4 | 13.79 | 13.43 | 14.87 | 17.39
310 | 174.6 | 278 | 323.5 | 359.7 | 261.1 | 277.3 | 214.9 | 311.9 | 439 | 681.8 | 1038 | 1786 | 2129 | 2098 | 1778 | 1022 | 1223 | 9999.9 | 9999.9 | 9999.9 | 1065 | 119 | 70.76 | 62.93 | 45.67 | 39.12 | 39.92 | 36.96 | 25.78 | 33.18 | 29.16 | 36.6 | 22.6 | 21.86 | 21.52 | 17.98 | 19.55 | 12.79 | 15.38 | 12.7 | 16.64 | 14.22 | 15.26 | 14.92 | 11.4 | 13.35 | 16.36
315 | 220.7 | 366.6 | 447.7 | 364.7 | 313.3 | 212.8 | 217.4 | 312.6 | 545.6 | 776.2 | 1266 | 1945 | 2427 | 2786 | 2498 | 1632 | 790.1 | 1033 | 9999.9 | 9999.9 | 9999.9 | 969.1 | 109.5 | 91.19 | 65.66 | 43.62 | 44.49 | 49.88 | 32.88 | 36.3 | 28.44 | 30.17 | 19.88 | 29.57 | 20.39 | 19.92 | 15.95 | 15.88 | 19.98 | 17.66 | 13.83 | 14.71 | 16.84 | 18.17 | 14.42 | 12.86 | 13.67
320 | 214.1 | 400.7 | 519.8 | 375 | 210.1 | 204.6 | 308.9 | 385.6 | 596.4 | 784.6 | 1678 | 2197 | 2860 | 3454 | 3122 | 1867 | 933.4 | 448.4 | 877.7 | 9999.9 | 9999.9 | 9999.9 | 918.2 | 110.6 | 60.31 | 60.79 | 53.48 | 38.22 | 35 | 39.39 | 26.51 | 21.62 | 22.2 | 22.25 | 19.62 | 20.48 | 15.57 | 19.81 | 15.21 | 15.31 | 17.93 | 11.44 | 17.52 | 16.71 | 16.08 | 13.96 | 12.47
325 | 266.1 | 393.8 | 488.4 | 403 | 360.3 | 318 | 309.2 | 359.8 | 641.4 | 967.7 | 1685 | 2416 | 3426 | 3770 | 3547 | 2319 | 1066 | 361.6 | 270.4 | 851.4 | 9999.9 | 9999.9 | 9999.9 | 935.4 | 93.08 | 84.56 | 58.54 | 52.05 | 54.7 | 32.46 | 26.06 | 34.07 | 26.15 | 21.74 | 18.99 | 20.1 | 20.24 | 18.83 | 13.14 | 13.22 | 16.72 | 13.67 | 10.31 | 11.67 | 15.39 | 17.03 | 15.76
330 | 217.2 | 448.2 | 455.5 | 340.3 | 389 | 259.8 | 300 | 421 | 760.1 | 1071 | 1652 | 2391 | 3318 | 3731 | 3629 | 2501 | 1208 | 442.6 | 239.5 | 218.6 | 859.4 | 9999.9 | 9999.9 | 9999.9 | 902.9 | 93.77 | 74.17 | 62.67 | 52.44 | 42.27 | 43.31 | 37.08 | 24.47 | 25.05 | 25.57 | 16.96 | 19.39 | 17.83 | 16.15 | 14.76 | 17.18 | 16.13 | 14.59 | 13.2 | 15.26 | 16.28 | 13.96
335 | 222.5 | 339 | 485.6 | 452.6 | 349.3 | 267.3 | 285.7 | 389.1 | 684.7 | 1266 | 1664 | 2419 | 3169 | 3723 | 3608 | 2257 | 1405 | 609.2 | 212.2 | 150.9 | 151 | 836.2 | 9999.9 | 9999.9 | 9999.9 | 841 | 98.25 | 74.66 | 60.9 | 46.09 | 40.14 | 47.44 | 28 | 26.12 | 27.17 | 22.73 | 17.3 | 22.42 | 18.18 | 15.48 | 13.09 | 16.66 | 12.11 | 14.03 | 10.7 | 15.67 | 17.65
340 | 245.7 | 388.5 | 551 | 484.2 | 358.3 | 321.3 | 323.3 | 388.4 | 696.6 | 1042 | 1626 | 2166 | 2943 | 3298 | 3334 | 2217 | 1208 | 722.5 | 265.9 | 106.3 | 115.3 | 180.7 | 823.1 | 9999.9 | 9999.9 | 9999.9 | 834.9 | 94.65 | 77.18 | 52.02 | 38.17 | 36.38 | 34.61 | 29.75 | 23.64 | 19.67 | 23.27 | 16.64 | 15.66 | 13.31 | 15.23 | 12.49 | 14.31 | 13.09 | 12.73 | 13.73 | 10.12
345 | 215.5 | 382.7 | 579.2 | 418.2 | 274.3 | 295.5 | 332.3 | 329.2 | 652.4 | 916.1 | 1398 | 2331 | 2759 | 3361 | 2944 | 2005 | 961.7 | 563.5 | 468.4 | 155.6 | 106.1 | 110 | 158.1 | 835.9 | 9999.9 | 9999.9 | 9999.9 | 769.2 | 89.82 | 68.96 | 49.19 | 35.69 | 36.28 | 30.82 | 25.78 | 22.76 | 23.59 | 19.38 | 16.45 | 12.96 | 15.54 | 12.62 | 17.94 | 10.66 | 10.63 | 13.64 | 11.39
350 | 217.8 | 427.9 | 491.3 | 509.9 | 263 | 245.9 | 258.2 | 361.1 | 517 | 849 | 1527 | 1964 | 2518 | 2918 | 2703 | 1906 | 997.9 | 446.3 | 342 | 290.3 | 104.2 | 86.53 | 101.6 | 162.3 | 799.2 | 9999.9 | 9999.9 | 9999.9 | 740.6 | 99.87 | 81.1 | 55.69 | 37.73 | 29.24 | 32.76 | 19.84 | 22.8 | 19.02 | 19.95 | 17.47 | 15.13 | 13.32 | 11.75 | 13.43 | 12.38 | 11.5 | 10.51
355 | 186.1 | 363.3 | 363.8 | 325.4 | 240 | 189.5 | 266.9 | 434.7 | 560.2 | 678.8 | 1247 | 1506 | 2112 | 2593 | 2552 | 1670 | 872.5 | 382 | 222.2 | 299.5 | 225.2 | 111.8 | 87.52 | 99.87 | 154.5 | 820 | 9999.9 | 9999.9 | 9999.9 | 769.9 | 96.19 | 75.89 | 52.17 | 36.54 | 31.31 | 24.99 | 23.73 | 24.2 | 18.16 | 19.4 | 17.01 | 15.18 | 12.82 | 12.92 | 12.84 | 10.86 | 12.17
360 | 161.5 | 257.3 | 311.5 | 323.1 | 293.4 | 241.9 | 216.6 | 289.4 | 371.6 | 603.6 | 1098 | 1431 | 2013 | 2001 | 2049 | 1387 | 741.7 | 340.7 | 167.2 | 143.8 | 282.4 | 180.9 | 96.74 | 91.43 | 104.1 | 160 | 791.6 | 9999.9 | 9999.9 | 9999.9 | 661.6 | 93.77 | 73.35 | 45.91 | 38.3 | 29.98 | 26.43 | 23.62 | 22.22 | 17.34 | 12.81 | 14.84 | 15.75 | 13.44 | 11.89 | 12.63 | 9.963
365 | 172.2 | 265.6 | 291.1 | 328 | 247.6 | 208.4 | 256 | 290.1 | 381 | 558.6 | 877.8 | 1099 | 1636 | 1730 | 1817 | 1183 | 614.2 | 325.3 | 134.7 | 124.2 | 192.6 | 255.2 | 133 | 109.8 | 76.7 | 98.72 | 158.1 | 834.9 | 9999.9 | 9999.9 | 9999.9 | 656.8 | 90.4 | 69.26 | 45.84 | 32.74 | 26.97 | 21.01 | 22.23 | 20.61 | 19.04 | 17.1 | 16.31 | 14.85 | 12.39 | 14.72 | 12.4
370 | 210 | 260.9 | 311 | 202 | 194.8 | 197 | 165.2 | 222.3 | 258 | 485.6 | 726.2 | 962.8 | 1322 | 1596 | 1523 | 983.5 | 493.6 | 281.5 | 181.3 | 106.5 | 102.8 | 168.6 | 238.1 | 102.6 | 98.08 | 93.09 | 95.18 | 150 | 837.6 | 9999.9 | 9999.9 | 9999.9 | 578.7 | 83.92 | 58.8 | 39.54 | 31.22 | 23.28 | 19.44 | 19.86 | 18.11 | 16.28 | 16.82 | 13.46 | 14.9 | 12.56 | 10.28
375 | 171.8 | 311.8 | 270.5 | 247.2 | 203.2 | 148.9 | 144.6 | 224.7 | 248.8 | 473 | 638.8 | 933.3 | 1237 | 1313 | 1220 | 998.2 | 394.8 | 256.1 | 142 | 95.43 | 95.31 | 94.08 | 206.1 | 229.1 | 74.32 | 76.72 | 82.53 | 86.95 | 147.9 | 804.5 | 9999.9 | 9999.9 | 9999.9 | 547.1 | 81.72 | 60.93 | 41.04 | 22.98 | 20.82 | 15.56 | 19.5 | 15.37 | 16.4 | 17 | 13.39 | 11.06 | 10.54
380 | 160 | 258.1 | 310.2 | 244.4 | 148.3 | 135 | 141.9 | 185.9 | 233.3 | 410.4 | 442.1 | 791.8 | 968.5 | 1024 | 934.1 | 755.4 | 375.3 | 202.6 | 123.5 | 93.02 | 102.8 | 78.8 | 109.6 | 238.9 | 137.4 | 91.94 | 66.43 | 88.31 | 91.63 | 153.3 | 806.5 | 9999.9 | 9999.9 | 9999.9 | 532.4 | 63.07 | 51.8 | 37.83 | 26.27 | 24.4 | 22.37 | 17.64 | 15.09 | 12.03 | 13.81 | 12 | 12.06
385 | 142.1 | 151.1 | 211.3 | 216.3 | 132.1 | 151.9 | 158.3 | 203.2 | 195.6 | 326.1 | 410.7 | 647.5 | 702.7 | 854.1 | 807.2 | 604.6 | 325.8 | 199.3 | 140.4 | 80.27 | 88.02 | 95.55 | 94.59 | 125 | 221.2 | 123.2 | 76.66 | 74.02 | 75.41 | 85.77 | 130.6 | 815.3 | 9999.9 | 9999.9 | 9999.9 | 435.1 | 73.21 | 46.55 | 35.77 | 23.16 | 19.9 | 17.97 | 18.4 | 14.08 | 12.56 | 12.37 | 11.09
390 | 132.6 | 144.5 | 223.9 | 159.5 | 165.8 | 190.3 | 131.8 | 146.3 | 168.5 | 273.3 | 447.5 | 573.5 | 653.7 | 728.9 | 737.8 | 521.1 | 258.4 | 196.7 | 86.99 | 107.5 | 95.02 | 77.58 | 88.43 | 79.46 | 152.2 | 212.1 | 117.2 | 78.03 | 67.1 | 82.59 | 86.87 | 143.6 | 790.4 | 9999.9 | 9999.9 | 9999.9 | 461.7 | 67.71 | 47.81 | 32.64 | 25.28 | 26.21 | 17.63 | 16.96 | 14.49 | 12.02 | 12.67
395 | 161.6 | 140.8 | 178.6 | 174.8 | 181.9 | 165.4 | 111 | 175.2 | 155.6 | 211.7 | 341.1 | 430.8 | 562.6 | 547.2 | 600.5 | 456.1 | 258.1 | 170.8 | 131.8 | 93.7 | 85.94 | 78.04 | 85.54 | 76.95 | 77.95 | 174.4 | 168 | 91.52 | 49.95 | 71.28 | 72.21 | 78.1 | 142.3 | 791.2 | 9999.9 | 9999.9 | 9999.9 | 364 | 63.34 | 42.66 | 30.46 | 21.93 | 22.03 | 18.4 | 18.21 | 17.1 | 13.2
400 | 124.3 | 150.3 | 153.4 | 164.8 | 179.2 | 149.9 | 117.2 | 126.2 | 143.1 | 227.1 | 334.7 | 364.1 | 419.8 | 474.3 | 450.4 | 320.8 | 224.3 | 163.8 | 116.1 | 109.5 | 103.5 | 87.9 | 99.86 | 72.56 | 81.89 | 96.84 | 184.6 | 149.8 | 61.71 | 65.39 | 55.69 | 62.76 | 76.62 | 131.4 | 775.6 | 9999.9 | 9999.9 | 9999.9 | 337.6 | 58.95 | 42.13 | 30.61 | 23.22 | 18.49 | 17.1 | 16.28 | 15.87
405 | 131.8 | 176.4 | 187.2 | 176.8 | 151.2 | 142.8 | 167.4 | 154.1 | 149.4 | 216 | 239.5 | 294.2 | 364.5 | 375.9 | 375.7 | 298.2 | 195.6 | 149.4 | 138.8 | 115.4 | 103 | 90.24 | 88.34 | 84.3 | 69.31 | 76.79 | 125.9 | 180.7 | 117 | 80.35 | 67.35 | 66.16 | 60.44 | 68.61 | 115.4 | 748.1 | 9999.9 | 9999.9 | 9999.9 | 364 | 57.81 | 41.86 | 29.79 | 20.87 | 17.85 | 18.64 | 13.31
410 | 173.4 | 124.3 | 154.2 | 179.3 | 105.4 | 188.1 | 181.1 | 131.3 | 119.7 | 177.1 | 193.4 | 242.3 | 284.8 | 327.6 | 332.8 | 285.4 | 225.6 | 107.8 | 92.73 | 91.87 | 107 | 93.4 | 86.35 | 85.09 | 85.14 | 73.39 | 86.53 | 141.8 | 191.1 | 118.7 | 68.02 | 63.64 | 60.92 | 51.11 | 58.07 | 105.5 | 756.3 | 9999.9 | 9999.9 | 9999.9 | 315.4 | 50.21 | 39.53 | 25.47 | 20.54 | 20.1 | 14.43
415 | 113.4 | 150.1 | 164.2 | 175.2 | 188.8 | 123.8 | 144.3 | 127.2 | 156 | 129.5 | 142.2 | 231.6 | 260.5 | 267.2 | 283.1 | 254.5 | 161.6 | 123.6 | 119.4 | 100.2 | 91.98 | 89.45 | 83.02 | 86.89 | 91.29 | 77.05 | 95.52 | 84.57 | 161.9 | 182.7 | 93.58 | 59.91 | 59.08 | 61.39 | 53.54 | 55.83 | 104.8 | 748 | 9999.9 | 9999.9 | 9999.9 | 286.9 | 55.26 | 38.48 | 26.93 | 19.06 | 15.66
420 | 170.7 | 160.4 | 185.6 | 144.4 | 140.2 | 166.1 | 104.3 | 136 | 131.6 | 143.4 | 175 | 197.1 | 211.4 | 230.2 | 270.5 | 172.3 | 163.6 | 126.3 | 102.3 | 90.58 | 89.23 | 76.81 | 90.1 | 98.85 | 92.06 | 81.89 | 87.4 | 76.94 | 98.77 | 158.7 | 142.1 | 78.01 | 61.98 | 55.77 | 45.67 | 48.26 | 49.17 | 98.3 | 758.9 | 9999.9 | 9999.9 | 9999.9 | 272.7 | 47.76 | 37.97 | 26.32 | 18.73
425 | 142.3 | 111.8 | 115.5 | 135.4 | 159.5 | 193.1 | 129.3 | 160.1 | 156.7 | 136.6 | 152.7 | 190.5 | 194.6 | 241.1 | 247.8 | 212.4 | 185.3 | 138.3 | 99.06 | 102.4 | 86.8 | 79.56 | 76.48 | 85.24 | 79.84 | 80.4 | 100.9 | 83.09 | 83.11 | 86.54 | 147.6 | 100.3 | 59.6 | 51.56 | 43.32 | 49.06 | 38.97 | 43.55 | 94.04 | 751.8 | 9999.9 | 9999.9 | 9999.9 | 245.9 | 48.35 | 39.05 | 25.09
430 | 189.3 | 162.7 | 113.3 | 133.2 | 122.4 | 156.7 | 164.1 | 103.8 | 126.3 | 132.6 | 119.7 | 154.2 | 200.6 | 210.4 | 191.1 | 188.7 | 146.6 | 99.52 | 85.97 | 107.3 | 84.49 | 72.31 | 79.29 | 89.24 | 81.76 | 74.25 | 85.27 | 70.99 | 79.7 | 72.2 | 93.72 | 141.3 | 85.51 | 58.45 | 44.79 | 44.83 | 41.47 | 44.69 | 45.65 | 98.12 | 740.2 | 9999.9 | 9999.9 | 9999.9 | 255.3 | 44 | 32.04
435 | 386.9 | 164.1 | 136.2 | 140.1 | 134.8 | 115.5 | 114.1 | 127.8 | 117.3 | 121.9 | 146.1 | 181.6 | 171.7 | 196.8 | 156.1 | 162.6 | 137.2 | 90.8 | 101.2 | 82.02 | 88.47 | 91.7 | 89.57 | 83.11 | 68.66 | 68.91 | 94.15 | 68.12 | 76.36 | 65.93 | 59.53 | 103.3 | 110.6 | 57.04 | 38.8 | 39.22 | 38.43 | 36.92 | 30.41 | 41.65 | 94.3 | 729.9 | 9999.9 | 9999.9 | 9999.9 | 250.8 | 44.34
440 | 492 | 330.5 | 156.2 | 198.9 | 158.6 | 127.9 | 126.2 | 96.22 | 102.8 | 134.7 | 147.4 | 157.2 | 153.6 | 187.1 | 171.4 | 182.2 | 104.2 | 102.4 | 83.74 | 92.58 | 106.7 | 67.71 | 90.22 | 87.71 | 63.78 | 79.54 | 91.13 | 77.88 | 69.83 | 68.88 | 52.1 | 66.52 | 112.4 | 91.1 | 45.79 | 39.14 | 30.97 | 34.39 | 33.28 | 40.98 | 43.74 | 87.98 | 726.8 | 9999.9 | 9999.9 | 9999.9 | 213.5
445 | 363.7 | 836.2 | 143.2 | 148.5 | 150.8 | 145.7 | 183.4 | 118.9 | 107.2 | 127.8 | 145.2 | 165.2 | 185.7 | 171.9 | 190.5 | 138.4 | 120.1 | 116.4 | 95.25 | 88.23 | 93.32 | 76.3 | 80.68 | 72.34 | 86.91 | 70.42 | 80.06 | 73.22 | 71.17 | 57.55 | 48.52 | 50.57 | 62.54 | 119 | 82.24 | 43.32 | 33.52 | 29.77 | 27.89 | 33.97 | 33.46 | 40.51 | 84.49 | 727 | 9999.9 | 9999.9 | 9999.9
450 | 164.1 | 748.7 | 437.6 | 117.9 | 145.5 | 130.4 | 125.8 | 99.24 | 112 | 142.9 | 153.5 | 152.4 | 153.4 | 160 | 144.9 | 138.2 | 133.2 | 104.1 | 105.2 | 83.33 | 85.25 | 78.58 | 97 | 74.97 | 68.88 | 73.52 | 77.75 | 76.79 | 71.99 | 55.61 | 49.77 | 52.43 | 56.7 | 70.99 | 87.42 | 50.31 | 34.67 | 32.63 | 36.2 | 32.94 | 30.64 | 35.32 | 35.73 | 86.64 | 728.3 | 9999.9 | 9999.9
455 | 150.1 | 541.1 | 1232 | 236.1 | 177.4 | 137.5 | 126.2 | 113.4 | 125.1 | 114.7 | 159.1 | 144.6 | 157.5 | 157.7 | 137.6 | 124.1 | 109.9 | 86.3 | 78.61 | 81.4 | 72.89 | 78.38 | 66.39 | 66.59 | 70.28 | 71.44 | 69.44 | 63.71 | 64.74 | 54.49 | 53.71 | 45.06 | 52.22 | 47.11 | 76.14 | 75.51 | 41.69 | 31.72 | 31.12 | 27.49 | 27.16 | 32.22 | 30.55 | 33.6 | 82.23 | 741.7 | 9999.9
460 | 146 | 217.2 | 1506 | 643.2 | 109.2 | 136 | 135.7 | 103.1 | 136.2 | 122.8 | 135.1 | 145 | 105.8 | 145.5 | 136.4 | 127.9 | 115.3 | 103.2 | 94.22 | 86.93 | 83.03 | 89.48 | 74.02 | 78.64 | 74.55 | 81.7 | 81.57 | 65.51 | 64.91 | 56.69 | 50.04 | 46.38 | 48.83 | 33.94 | 37.94 | 70.89 | 61.34 | 42.78 | 27.48 | 26.8 | 28.01 | 25.76 | 27.99 | 27.34 | 39.76 | 87.94 | 727.2
465 | 171.7 | 138.7 | 910 | 1979 | 248.4 | 165.1 | 119.4 | 125 | 127.3 | 153.2 | 121 | 163.2 | 156.7 | 162.1 | 110.6 | 91.88 | 110 | 115.7 | 76.56 | 90.22 | 67.64 | 76.35 | 72.66 | 62.99 | 75.66 | 75.9 | 67.17 | 65.86 | 61.42 | 62.33 | 56.43 | 52.34 | 49.73 | 38.39 | 38.81 | 43.92 | 75.41 | 52.1 | 28.54 | 29.26 | 26.37 | 27.36 | 23.23 | 25.01 | 32.69 | 34.39 | 79.6
470 | 148.1 | 120.7 | 336.4 | 2547 | 948.7 | 170.1 | 111.6 | 112.5 | 137.1 | 131 | 127.8 | 133.5 | 148.8 | 125.3 | 144.6 | 113.7 | 113.2 | 137.2 | 76.15 | 78.72 | 77.9 | 63.46 | 62.52 | 67.73 | 60.91 | 66.94 | 69.78 | 68.86 | 54.07 | 54.31 | 58.64 | 44.86 | 43.61 | 41.16 | 38.33 | 34.97 | 49.81 | 55.89 | 41.39 | 29.89 | 26.63 | 23.9 | 26.59 | 24.62 | 30.17 | 25.58 | 31.14
475 | 158.3 | 171.5 | 169.5 | 1883 | 2822 | 236.4 | 101.2 | 153.2 | 114.6 | 100.1 | 125.7 | 114.1 | 145.4 | 156.7 | 129.6 | 120.4 | 108.6 | 101.6 | 69.42 | 70.12 | 63.23 | 63.07 | 56.22 | 50.03 | 57.36 | 62.71 | 70.52 | 61.67 | 56.34 | 53.21 | 46.81 | 42.62 | 48.36 | 36.14 | 31.63 | 26.12 | 30.79 | 45.21 | 56.2 | 33.74 | 26.79 | 22.74 | 24.29 | 24.62 | 23.76 | 23.7 | 24.43
480 | 110.1 | 135.8 | 139.7 | 415.4 | 3383 | 1321 | 96.15 | 134.3 | 113.6 | 112.2 | 114.3 | 107.4 | 189.1 | 131.8 | 152.4 | 113.4 | 73.45 | 92.4 | 66.64 | 65.03 | 70.22 | 73.43 | 66.55 | 59.91 | 55.59 | 63.93 | 73.99 | 51.76 | 45.2 | 52.76 | 47.47 | 40.41 | 39.42 | 37.71 | 31.23 | 22.82 | 26.52 | 29.85 | 48.95 | 41.65 | 26.74 | 21.96 | 25.02 | 24.15 | 19.54 | 24.12 | 21.01
485 | 148.4 | 172.2 | 133.9 | 195.8 | 2180 | 3385 | 248 | 124.4 | 167.3 | 106.4 | 113.8 | 102.4 | 118.3 | 89.86 | 109.7 | 91.28 | 78.74 | 86.68 | 100.1 | 66.43 | 87.99 | 54.97 | 60.39 | 63.59 | 51.53 | 59.46 | 70.87 | 47.81 | 42.32 | 55 | 35.07 | 41.05 | 42.54 | 33.29 | 33.12 | 28.58 | 26.06 | 29.52 | 37.27 | 46.76 | 32.58 | 24.48 | 23.56 | 20.01 | 22.67 | 21.68 | 18.36
490 | 150.3 | 134.4 | 169.5 | 149.1 | 526.5 | 3826 | 1292 | 156.6 | 105 | 91.25 | 115.2 | 137.7 | 117.2 | 118.8 | 105.2 | 98.59 | 106.4 | 82.15 | 70.05 | 62.59 | 82.35 | 75.63 | 61.05 | 63.85 | 59.57 | 60.61 | 51.15 | 53.31 | 42.35 | 48.71 | 49.79 | 39.09 | 37.12 | 31.53 | 30.45 | 23.03 | 26.29 | 25.99 | 21.69 | 42.31 | 42.97 | 34.25 | 18.85 | 20.18 | 18.08 | 21.73 | 18.4
495 | 158.2 | 132 | 164 | 127.4 | 187.5 | 2476 | 3303 | 202.4 | 122 | 122.2 | 87.03 | 120.5 | 120 | 104.3 | 116.6 | 96.01 | 97.52 | 92.09 | 50.84 | 55.11 | 67.62 | 70.14 | 50.07 | 41.09 | 58.58 | 59.53 | 50.04 | 51.22 | 43.54 | 53.35 | 43.36 | 30.84 | 41.88 | 29.98 | 28.35 | 22.89 | 29.48 | 26.43 | 23.21 | 26.09 | 34.51 | 41.15 | 25.52 | 21.25 | 22.9 | 18.79 | 18.98
500 | 166.9 | 108.8 | 93.52 | 166.4 | 141.3 | 829.2 | 4128 | 955.1 | 103.2 | 122.7 | 115.6 | 93.59 | 135.7 | 122.7 | 119.8 | 127.1 | 92.15 | 95.58 | 71.92 | 89.86 | 70.27 | 55.04 | 58.72 | 50.4 | 41.01 | 46.58 | 52.02 | 48.98 | 43.53 | 40.61 | 48.22 | 35.42 | 33.82 | 32.07 | 26.07 | 24.24 | 26.26 | 25.48 | 27.64 | 22.61 | 23.4 | 35.01 | 36.47 | 18.55 | 18.67 | 17.59 | 15.07