## Sheet1
Report date: | 14:31:28, 04/15/2024
Sample: | 1
File name:
Run date: | 14:28:46, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/270.0 | 116.4
2 | 225.0/420.0 | 193.9
3 | 230.0/325.0 | 462.1
4 | 230.0/335.0 | 473.8
5 | 230.0/365.0 | 366.5
6 | 230.0/380.0 | 269.8
7 | 230.0/390.0 | 233.3
8 | 235.0/280.0 | 105.6
9 | 235.0/330.0 | 487.5
10 | 235.0/350.0 | 395.5
11 | 235.0/370.0 | 389.8
12 | 235.0/405.0 | 224.3
13 | 235.0/420.0 | 196
14 | 240.0/295.0 | 240.5
15 | 240.0/430.0 | 169.2
16 | 245.0/360.0 | 284.2
17 | 245.0/390.0 | 199.5
18 | 250.0/275.0 | 176.5
19 | 250.0/405.0 | 180
20 | 250.0/415.0 | 179.6
21 | 255.0/280.0 | 165
22 | 255.0/430.0 | 140.4
23 | 255.0/450.0 | 185.2
24 | 260.0/445.0 | 116.6
25 | 260.0/465.0 | 139.6
26 | 265.0/475.0 | 134.8
27 | 270.0/460.0 | 145.7
28 | 275.0/435.0 | 185
29 | 275.0/485.0 | 123.7
30 | 280.0/450.0 | 174.1
31 | 280.0/470.0 | 154.8
32 | 285.0/330.0 | 3395
33 | 285.0/345.0 | 2967
34 | 285.0/430.0 | 222.3
35 | 285.0/445.0 | 188.5
36 | 285.0/465.0 | 152.2
37 | 290.0/265.0 | 103.7
38 | 290.0/335.0 | 3101
39 | 290.0/435.0 | 190.5
40 | 290.0/450.0 | 171.3
41 | 290.0/460.0 | 176.6
42 | 290.0/485.0 | 132
43 | 295.0/255.0 | 86.43
44 | 295.0/440.0 | 165.6
45 | 300.0/450.0 | 124.2
46 | 300.0/465.0 | 120.2
47 | 300.0/485.0 | 113
48 | 310.0/265.0 | 70.16
49 | 310.0/440.0 | 118.7
50 | 310.0/480.0 | 106.3
51 | 315.0/355.0 | 318.4
52 | 315.0/470.0 | 97.56
53 | 315.0/490.0 | 84.57
54 | 320.0/265.0 | 53.77
55 | 320.0/360.0 | 286.5
56 | 320.0/405.0 | 109.6
57 | 320.0/435.0 | 97.45
58 | 320.0/460.0 | 95.57
59 | 325.0/255.0 | 49.72
60 | 325.0/290.0 | 60.37
61 | 325.0/365.0 | 264.7
62 | 325.0/390.0 | 113.2
63 | 325.0/420.0 | 101.8
64 | 325.0/450.0 | 88.27
65 | 325.0/485.0 | 70.15
66 | 330.0/260.0 | 41.28
67 | 330.0/375.0 | 241.3
68 | 330.0/405.0 | 96.48
69 | 330.0/430.0 | 97.8
70 | 335.0/265.0 | 34.83
71 | 335.0/380.0 | 244.7
72 | 335.0/415.0 | 96.93
73 | 335.0/470.0 | 71.88
74 | 340.0/255.0 | 45.69
75 | 340.0/385.0 | 201.6
76 | 340.0/405.0 | 91.08
77 | 340.0/425.0 | 99.24
78 | 340.0/445.0 | 83.87
79 | 340.0/455.0 | 77.4
80 | 340.0/480.0 | 67.22
81 | 345.0/265.0 | 36.29
82 | 345.0/295.0 | 42.2
83 | 345.0/390.0 | 201.3
84 | 345.0/490.0 | 60.28
85 | 350.0/290.0 | 42.99
86 | 350.0/395.0 | 185.3
87 | 350.0/470.0 | 75.69
88 | 355.0/305.0 | 45.62
89 | 355.0/405.0 | 159
90 | 355.0/440.0 | 70.84
91 | 355.0/450.0 | 73.6
92 | 360.0/260.0 | 39.17
93 | 360.0/300.0 | 34.81
94 | 360.0/325.0 | 52.57
95 | 360.0/410.0 | 188.2
96 | 365.0/255.0 | 35.3
97 | 365.0/290.0 | 33.63
98 | 365.0/415.0 | 156.7
99 | 365.0/485.0 | 57.93
100 | 370.0/260.0 | 33.63
101 | 370.0/275.0 | 29.09
102 | 370.0/285.0 | 30.15
103 | 370.0/295.0 | 33.64
104 | 370.0/425.0 | 141
105 | 375.0/255.0 | 34.94
106 | 375.0/430.0 | 128.3
107 | 375.0/480.0 | 53.25
108 | 380.0/270.0 | 38.43
109 | 380.0/305.0 | 26.15
110 | 380.0/435.0 | 125
111 | 385.0/255.0 | 26.96
112 | 385.0/295.0 | 24
113 | 385.0/315.0 | 26.95
114 | 385.0/325.0 | 30.12
115 | 385.0/445.0 | 110.6
116 | 390.0/450.0 | 91.15
117 | 395.0/300.0 | 19.32
118 | 395.0/315.0 | 22.44
119 | 395.0/455.0 | 79.65
120 | 400.0/255.0 | 27.07
121 | 400.0/265.0 | 26.66
122 | 400.0/280.0 | 27.83
123 | 400.0/320.0 | 19.33
124 | 400.0/465.0 | 65.08
125 | 405.0/260.0 | 25.12
126 | 405.0/290.0 | 23.4
127 | 405.0/305.0 | 21.81
128 | 405.0/315.0 | 18.93
129 | 405.0/470.0 | 69.26
130 | 410.0/255.0 | 20.61
131 | 410.0/270.0 | 20.08
132 | 410.0/295.0 | 26.69
133 | 410.0/475.0 | 58.22
134 | 415.0/300.0 | 22.18
135 | 415.0/320.0 | 18.95
136 | 415.0/330.0 | 16.08
137 | 415.0/485.0 | 49.41
138 | 420.0/275.0 | 20.77
139 | 420.0/325.0 | 17.79
140 | 420.0/465.0 | 30.5
141 | 425.0/285.0 | 17.79
142 | 425.0/310.0 | 19.8
143 | 425.0/335.0 | 15.21
144 | 425.0/460.0 | 30.31
145 | 430.0/260.0 | 17.27
146 | 430.0/480.0 | 25.59
147 | 435.0/295.0 | 17.52
148 | 435.0/345.0 | 18.4
149 | 440.0/265.0 | 14.79
150 | 440.0/280.0 | 13.25
151 | 440.0/320.0 | 17.61
152 | 440.0/330.0 | 17.23
153 | 440.0/375.0 | 15.8
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 110.6 | 116 | 131.5 | 134.6 | 128 | 4222 | 9999.9 | 3767 | 134.6 | 114.8 | 103.2 | 97.74 | 106.9 | 82.16 | 82.1 | 79.15 | 46.21 | 43.03 | 57.92 | 50.2 | 40.58 | 35.62 | 47.95 | 44.06 | 42.85 | 29.1 | 37.47 | 31.01 | 25.5 | 25.65 | 26.79 | 26.59 | 23.4 | 24.6 | 25.16 | 26.29 | 23.91 | 18.51 | 19.52 | 16.11 | 12.35 | 14.99 | 10.29 | 11.38 | 8.291 | 7.994 | 7.765
255 | 123.3 | 109 | 119.9 | 127.9 | 147.1 | 381.2 | 3451 | 9999.9 | 7632 | 335.5 | 96.32 | 105.5 | 98.3 | 69.06 | 80.57 | 86.43 | 71.64 | 35.63 | 48.72 | 41.46 | 39.26 | 49.72 | 34.75 | 42.91 | 45.69 | 28.44 | 29.81 | 29.12 | 31.98 | 35.3 | 32.14 | 34.94 | 23.36 | 26.96 | 22.7 | 22.17 | 27.07 | 15.15 | 20.61 | 16.63 | 14.47 | 12.79 | 13.45 | 13.26 | 8.602 | 8.8 | 6.878
260 | 104 | 96.9 | 112.8 | 120.9 | 113.2 | 129.2 | 276.6 | 4070 | 9999.9 | 9183 | 466.6 | 79.91 | 85.41 | 75.75 | 68.01 | 75.81 | 74.89 | 52.7 | 53.35 | 39.94 | 31.65 | 33.77 | 41.28 | 32.72 | 30.77 | 31.69 | 32.93 | 26.61 | 39.17 | 29.23 | 33.63 | 29.86 | 35.04 | 22.71 | 25.04 | 23.33 | 21.2 | 25.12 | 16.98 | 13.4 | 16.39 | 15.71 | 17.27 | 14.13 | 11.08 | 12.32 | 9.207
265 | 130.2 | 97.68 | 127.2 | 73.25 | 127.9 | 142.2 | 132.9 | 347.3 | 5359 | 9999.9 | 9999.9 | 461.6 | 84.86 | 87.96 | 103.7 | 53.31 | 66.3 | 54.33 | 70.16 | 40.7 | 53.77 | 31.31 | 29.77 | 34.83 | 29.04 | 36.29 | 33.31 | 23.8 | 30.39 | 28.45 | 25.06 | 21.65 | 38.09 | 24.74 | 24.61 | 17.84 | 26.66 | 20.59 | 18.95 | 17.47 | 16.73 | 14.04 | 13.8 | 13.38 | 14.79 | 11.07 | 8.739
270 | 111.4 | 116.4 | 103.2 | 107.2 | 110 | 128.6 | 168.3 | 102.8 | 453.9 | 6904 | 9999.9 | 9999.9 | 663.5 | 120.8 | 75.27 | 72.38 | 66.71 | 44.2 | 55.69 | 41.98 | 42.81 | 37.38 | 33.47 | 33.69 | 31.7 | 35.83 | 34.07 | 24.62 | 23.96 | 23.49 | 24.6 | 25.72 | 38.43 | 33.23 | 23.7 | 22.23 | 17.24 | 18.06 | 20.08 | 19.32 | 18.06 | 14.82 | 14.8 | 13.09 | 14.16 | 13 | 9.844
275 | 111.5 | 84.41 | 88.33 | 96.36 | 107.8 | 108.1 | 176.5 | 144.5 | 143 | 538.6 | 8851 | 9999.9 | 9999.9 | 786.8 | 98.51 | 69.33 | 81.17 | 85.33 | 65.4 | 55.07 | 54.83 | 39.87 | 40.04 | 37.51 | 35.11 | 34.82 | 31.19 | 26.52 | 18.87 | 25.43 | 29.09 | 23.49 | 23.55 | 33.11 | 27.55 | 24.89 | 21.49 | 14.55 | 19.2 | 18.24 | 20.77 | 14.98 | 13.61 | 13.57 | 10.86 | 11.8 | 11.92
280 | 155.4 | 92.91 | 102.3 | 105.6 | 103.3 | 96.6 | 95.38 | 165 | 132.6 | 110 | 674.8 | 9999.9 | 9999.9 | 9999.9 | 798.7 | 99.02 | 96.13 | 82.52 | 56.98 | 66.63 | 50.17 | 46.58 | 45.97 | 41 | 31.35 | 28.4 | 27.57 | 28.76 | 26.54 | 27.6 | 22.62 | 21.97 | 22.01 | 27.02 | 22.2 | 26.29 | 27.83 | 22.19 | 16.7 | 14.61 | 17.55 | 16.17 | 12.8 | 12.16 | 13.25 | 12.62 | 11.75
285 | 179.2 | 159.9 | 106.5 | 94.84 | 121.6 | 123.3 | 97.71 | 141.1 | 186.9 | 133.4 | 178.9 | 777.6 | 9999.9 | 9999.9 | 9999.9 | 998.6 | 123.2 | 94.57 | 85.91 | 75.74 | 69.44 | 54.31 | 48.68 | 38.8 | 25.89 | 27.84 | 35.25 | 33.06 | 29.42 | 25.01 | 30.15 | 22.96 | 24.24 | 17.06 | 18.17 | 21.73 | 23.52 | 21.7 | 17.98 | 19.2 | 12.07 | 17.79 | 14.85 | 14.41 | 11.88 | 15.2 | 12.62
290 | 117.7 | 159.3 | 180 | 136.4 | 178.7 | 119.8 | 159.5 | 159.1 | 200.5 | 268.6 | 271.9 | 361.9 | 991.7 | 9999.9 | 9999.9 | 9999.9 | 952.3 | 127 | 94.21 | 70.16 | 50.26 | 60.37 | 51.1 | 49.51 | 38.66 | 40.34 | 42.99 | 36.76 | 29.84 | 33.63 | 26.55 | 29.13 | 21.53 | 21.43 | 16.85 | 16.54 | 23.07 | 23.4 | 19.91 | 18.22 | 17.21 | 16.87 | 14.55 | 14.95 | 13.35 | 14.42 | 11.88
295 | 154.5 | 188.5 | 218.5 | 177.3 | 240.5 | 126.8 | 119.8 | 142.5 | 202.1 | 264.2 | 427.8 | 491.5 | 689.5 | 1174 | 9999.9 | 9999.9 | 9999.9 | 1100 | 107.7 | 90.3 | 70.15 | 53.59 | 61.3 | 39.83 | 30.76 | 42.2 | 38.12 | 35.85 | 31.53 | 30.6 | 33.64 | 21.96 | 19.51 | 24 | 22.51 | 17.64 | 15.94 | 21.03 | 26.69 | 18.8 | 14.56 | 13.89 | 13.54 | 17.52 | 13.31 | 16.09 | 12.94
300 | 188.3 | 172.5 | 263.2 | 172.7 | 217.1 | 163.7 | 166.9 | 203.7 | 273.2 | 332.1 | 543.8 | 801.6 | 820 | 913.6 | 1278 | 9999.9 | 9999.9 | 9999.9 | 982.4 | 96.47 | 86.29 | 61.62 | 56.15 | 38.9 | 42.85 | 35.23 | 36.31 | 32.65 | 34.81 | 34.8 | 25.43 | 25.53 | 20.65 | 20.79 | 15.67 | 19.32 | 15.25 | 18.79 | 21.21 | 22.18 | 17.27 | 15.07 | 13.28 | 13.8 | 13.5 | 14.45 | 14.01
305 | 163.3 | 279.5 | 322 | 228.4 | 184.4 | 153.5 | 173.8 | 200.4 | 314.7 | 489.2 | 710.3 | 1115 | 1404 | 1430 | 1161 | 1365 | 9999.9 | 9999.9 | 9999.9 | 907.9 | 111.2 | 80.26 | 63.2 | 55.13 | 47.07 | 40 | 33.46 | 45.62 | 31.94 | 28.18 | 25.69 | 24.96 | 26.15 | 23.3 | 17.94 | 15.93 | 14.95 | 21.81 | 13.91 | 20.04 | 19.05 | 15.34 | 17.15 | 13.81 | 13.99 | 13.96 | 15.94
310 | 198.2 | 294.6 | 349.9 | 296.1 | 262.2 | 191.4 | 227.7 | 219.5 | 368.4 | 630.2 | 950.8 | 1387 | 1726 | 1836 | 1475 | 1003 | 1077 | 9999.9 | 9999.9 | 9999.9 | 976.5 | 97.85 | 101.1 | 63.18 | 49.21 | 41.86 | 44.17 | 38.42 | 33.91 | 28.98 | 24.57 | 22.26 | 19.66 | 24.89 | 21.14 | 18.69 | 16.53 | 16.46 | 13.84 | 16.73 | 14.45 | 19.8 | 18.9 | 12.54 | 14.06 | 13.73 | 13.98
315 | 197.2 | 322.9 | 379.7 | 312.6 | 286.4 | 286 | 242.9 | 296.4 | 404.5 | 745.8 | 1125 | 1747 | 2074 | 2484 | 2109 | 1317 | 717 | 998.9 | 9999.9 | 9999.9 | 9999.9 | 967.4 | 111 | 85 | 71.08 | 50.93 | 44.67 | 34.25 | 35.37 | 31.84 | 22.73 | 25.8 | 22.27 | 26.95 | 15.26 | 22.44 | 13.42 | 18.93 | 13.64 | 15.47 | 15.4 | 15.06 | 17.7 | 15.55 | 12.87 | 12.76 | 16.08
320 | 213.5 | 297.2 | 441.4 | 311.9 | 268.9 | 239.4 | 240.6 | 430.2 | 487.2 | 847 | 1278 | 2147 | 2343 | 3054 | 2555 | 1633 | 819.1 | 402.8 | 883.4 | 9999.9 | 9999.9 | 9999.9 | 918 | 98.4 | 87.52 | 65.76 | 41.07 | 47.67 | 37.82 | 41.85 | 32.96 | 28.19 | 22.32 | 25.38 | 22.15 | 18.1 | 19.33 | 17.81 | 14.92 | 18.95 | 14.49 | 13.87 | 18.54 | 13.91 | 17.61 | 13.29 | 13.68
325 | 280.8 | 407.7 | 462.1 | 387.2 | 343.4 | 280.3 | 300.4 | 347.2 | 518.3 | 916.1 | 1361 | 2548 | 2664 | 3024 | 2969 | 2099 | 968.1 | 320.8 | 275.3 | 849.5 | 9999.9 | 9999.9 | 9999.9 | 956.6 | 106.4 | 70.4 | 58.07 | 43.71 | 52.57 | 39.85 | 33.59 | 32.13 | 24.62 | 30.12 | 19.55 | 18.8 | 16.15 | 18.11 | 13.78 | 13.21 | 17.79 | 12.06 | 15.09 | 14.4 | 14.9 | 14.96 | 16.57
330 | 245.2 | 329.7 | 434.8 | 487.5 | 300.1 | 304.5 | 266.9 | 360.3 | 702.5 | 1022 | 1485 | 2371 | 2704 | 3395 | 3037 | 2314 | 1079 | 409.9 | 196.2 | 197.1 | 794.1 | 9999.9 | 9999.9 | 9999.9 | 835.2 | 101.8 | 69.22 | 57.8 | 49.49 | 33.48 | 35.1 | 27.58 | 28.85 | 23.87 | 25.23 | 19.63 | 19.11 | 14.24 | 14.09 | 16.08 | 15.33 | 14.23 | 14.45 | 11.23 | 17.23 | 16.66 | 15.22
335 | 283 | 335.8 | 473.8 | 442.1 | 334.9 | 261.9 | 276.5 | 382.1 | 515.1 | 1046 | 1625 | 2185 | 2857 | 2942 | 3101 | 2091 | 1338 | 535.1 | 195.5 | 141.9 | 187.3 | 807.3 | 9999.9 | 9999.9 | 9999.9 | 825.5 | 94.11 | 82.48 | 51.32 | 47.89 | 48.42 | 24.95 | 26.3 | 24.64 | 23.71 | 20.97 | 19.93 | 17.2 | 13.93 | 14.87 | 12.08 | 15.21 | 14.04 | 10.61 | 15.36 | 13.33 | 15.94
340 | 232.7 | 339.6 | 449.1 | 429.6 | 337.5 | 227.9 | 294 | 370.9 | 609.1 | 937.8 | 1441 | 2083 | 2448 | 2893 | 2826 | 1951 | 1062 | 625.9 | 258.6 | 137.6 | 118.9 | 156.3 | 824.2 | 9999.9 | 9999.9 | 9999.9 | 880.4 | 106.1 | 69.88 | 60.81 | 48.1 | 34.37 | 26.36 | 28.34 | 27.93 | 22.5 | 15.8 | 18.78 | 14.19 | 13.09 | 12.8 | 14.17 | 12.66 | 16.8 | 16.61 | 13.51 | 15.73
345 | 228.2 | 340.6 | 464.6 | 366.3 | 318.5 | 220.5 | 296.8 | 392.9 | 575.1 | 930.3 | 1237 | 1936 | 2395 | 2967 | 2739 | 1969 | 931.3 | 516.2 | 457.2 | 141.5 | 105.2 | 96.49 | 177.7 | 820.9 | 9999.9 | 9999.9 | 9999.9 | 758.6 | 91.74 | 76.03 | 67.05 | 39.7 | 32.22 | 31.24 | 28.73 | 24.08 | 24.46 | 19.34 | 17.14 | 13.84 | 15.97 | 13.15 | 13.53 | 18.4 | 12.58 | 12.09 | 12.33
350 | 183 | 369.5 | 376.2 | 395.5 | 279.6 | 236.4 | 238.9 | 339 | 501.3 | 760.3 | 1192 | 1696 | 2039 | 2457 | 2328 | 1604 | 957.8 | 405.8 | 350.9 | 276.6 | 106.6 | 98.11 | 110.4 | 161 | 785.2 | 9999.9 | 9999.9 | 9999.9 | 755 | 82.58 | 71.31 | 53.81 | 43.62 | 37.75 | 29.47 | 26.24 | 23.06 | 18.35 | 19.45 | 15.71 | 15.41 | 16.01 | 15.82 | 15.41 | 12.77 | 11.55 | 10.89
355 | 241.2 | 315.9 | 317 | 388.2 | 217.2 | 243.4 | 252.6 | 318.6 | 454.2 | 646 | 1005 | 1455 | 1831 | 2262 | 2143 | 1464 | 745.4 | 295.5 | 206.1 | 318.4 | 215.9 | 100.3 | 81.61 | 100.4 | 145.7 | 777.3 | 9999.9 | 9999.9 | 9999.9 | 730.2 | 101.1 | 73.12 | 50.58 | 43.89 | 31.11 | 24.76 | 22.37 | 23.99 | 17.21 | 19.49 | 15.29 | 16.69 | 12.66 | 10.62 | 12.62 | 12.92 | 10.94
360 | 230.5 | 248.8 | 299.6 | 307.5 | 234.7 | 284.2 | 218.2 | 238.9 | 384.3 | 537.2 | 782.9 | 1207 | 1496 | 1882 | 1831 | 1256 | 618.5 | 276.6 | 151.1 | 169.3 | 286.5 | 158.4 | 100.1 | 91.07 | 104.4 | 156.6 | 798.1 | 9999.9 | 9999.9 | 9999.9 | 657.5 | 106.5 | 72.82 | 45 | 33.87 | 26.58 | 20.24 | 23.76 | 18.13 | 19.11 | 17.6 | 15.02 | 12.6 | 13.45 | 12.2 | 14.02 | 12.18
365 | 228.4 | 236.6 | 366.5 | 232.7 | 160.1 | 234.4 | 200.1 | 256 | 365.4 | 562.3 | 781.4 | 1135 | 1414 | 1735 | 1619 | 1116 | 573 | 274.4 | 122.1 | 96.42 | 173.2 | 264.7 | 133.9 | 83.22 | 91.66 | 94.94 | 147.8 | 799.1 | 9999.9 | 9999.9 | 9999.9 | 637.3 | 93.85 | 63.67 | 43.75 | 34.58 | 28.71 | 28.8 | 22.06 | 20.41 | 15.75 | 17.54 | 13.64 | 12.07 | 13.12 | 11.62 | 9.774
370 | 175.4 | 258.5 | 254.8 | 389.8 | 202.2 | 192.1 | 189.5 | 175 | 288.4 | 469 | 723.5 | 990.4 | 1100 | 1337 | 1250 | 1023 | 491.7 | 258.9 | 131.2 | 90.59 | 107.6 | 186.2 | 232.3 | 105.8 | 81.61 | 92.98 | 89.42 | 155.8 | 825.8 | 9999.9 | 9999.9 | 9999.9 | 562.7 | 91.03 | 61.48 | 42.41 | 34.39 | 31.31 | 21.51 | 19.11 | 18.92 | 18.56 | 14.45 | 15.38 | 15.38 | 11.35 | 10.43
375 | 186.5 | 181.2 | 174.8 | 245.1 | 188.4 | 153.4 | 167.6 | 288.5 | 270.9 | 320.6 | 665 | 750.7 | 995.5 | 1075 | 1028 | 758.3 | 414.1 | 218.1 | 124.9 | 99.16 | 99.75 | 103.6 | 241.3 | 211.6 | 91.61 | 76.7 | 77.97 | 96.73 | 144.6 | 799.2 | 9999.9 | 9999.9 | 9999.9 | 558.6 | 83.93 | 51.15 | 36.59 | 31.94 | 30.17 | 21.18 | 18.92 | 19.4 | 15.21 | 14.7 | 15.8 | 11.55 | 10.3
380 | 150.7 | 172.7 | 269.8 | 230.1 | 153.3 | 144.9 | 166.4 | 164.3 | 218 | 379.1 | 505.4 | 663.3 | 834.2 | 991.1 | 903.4 | 618.9 | 334.1 | 210.2 | 118.6 | 118.7 | 82.4 | 85.35 | 128.3 | 244.7 | 150.6 | 84.36 | 76.57 | 75.46 | 96.12 | 139.3 | 824 | 9999.9 | 9999.9 | 9999.9 | 534 | 74.91 | 50.34 | 40.86 | 32.41 | 19.54 | 19.77 | 16.29 | 15.48 | 12.1 | 14.59 | 13.65 | 10.8
385 | 135 | 191.5 | 202.9 | 162.3 | 133.2 | 178.4 | 138.4 | 163.6 | 246 | 281.9 | 381.5 | 520.2 | 695.5 | 829 | 757.9 | 539.3 | 285.5 | 180.5 | 115.2 | 105.7 | 96.8 | 91.44 | 88 | 130.2 | 201.6 | 140.5 | 85.87 | 76.78 | 79.43 | 84.2 | 136.6 | 813 | 9999.9 | 9999.9 | 9999.9 | 429 | 68.42 | 51.29 | 28.06 | 28.27 | 25.39 | 16.23 | 16.01 | 15.82 | 16.24 | 12.91 | 14.07
390 | 145 | 161.8 | 233.3 | 126.8 | 162.5 | 199.5 | 172.7 | 150.5 | 165.1 | 207.7 | 326.2 | 430.2 | 570.8 | 647.6 | 586.7 | 512.5 | 263.8 | 156.4 | 108.5 | 105.2 | 97.13 | 113.2 | 87.66 | 88.29 | 132.4 | 201.3 | 99.87 | 76.93 | 62.14 | 73.34 | 71.96 | 129.5 | 795 | 9999.9 | 9999.9 | 9999.9 | 456.1 | 65.96 | 49.54 | 34.23 | 24.66 | 20.99 | 19.57 | 20.68 | 14.54 | 13.48 | 14.64
395 | 138.9 | 170.6 | 204.1 | 141.3 | 158.9 | 116.9 | 156.2 | 137.3 | 158.4 | 219.9 | 271.5 | 396.1 | 443.7 | 465.8 | 499.8 | 351.5 | 221.2 | 163.7 | 110.4 | 80.28 | 73.94 | 95.27 | 94.98 | 62.99 | 82.98 | 173.4 | 185.3 | 101.7 | 62.97 | 72.84 | 71.03 | 82.93 | 124.5 | 814.9 | 9999.9 | 9999.9 | 9999.9 | 371.9 | 67.3 | 45.97 | 31.75 | 25.71 | 21.8 | 18.48 | 18.25 | 17.68 | 12.02
400 | 197.5 | 182.1 | 198.8 | 209.8 | 135.2 | 127.7 | 97.28 | 128.9 | 180.5 | 189.8 | 266.5 | 296.3 | 329.1 | 448.1 | 438.1 | 299.8 | 237.1 | 126.9 | 127.4 | 88.19 | 105.7 | 92.48 | 90.19 | 76.53 | 79.21 | 106.7 | 170.2 | 156.3 | 74.34 | 62.92 | 68.24 | 63.46 | 82.49 | 120.2 | 765.8 | 9999.9 | 9999.9 | 9999.9 | 333.9 | 59.3 | 38.27 | 27.3 | 23.29 | 20.2 | 15.31 | 14.45 | 13.58
405 | 163 | 123.6 | 164.7 | 224.3 | 196.3 | 148.1 | 180 | 142.4 | 150.7 | 171.2 | 212 | 280 | 337.7 | 358.8 | 377.7 | 293.5 | 172.1 | 129.4 | 107.8 | 109.3 | 109.6 | 70.19 | 96.48 | 73.16 | 91.08 | 81.78 | 94.45 | 159 | 136 | 64.39 | 62.5 | 54.99 | 58.54 | 54.73 | 120.5 | 749.4 | 9999.9 | 9999.9 | 9999.9 | 362.3 | 58.98 | 41.4 | 28.02 | 22.04 | 18.14 | 16.08 | 13.77
410 | 142.5 | 141.6 | 151.4 | 105.3 | 139.5 | 134.5 | 129.3 | 114.3 | 143.2 | 178.9 | 205.7 | 277.8 | 253.4 | 307.5 | 309.3 | 203.5 | 136 | 88 | 83.53 | 82.06 | 86.32 | 82.04 | 84.86 | 83.12 | 81.53 | 71.8 | 73.76 | 126.4 | 188.2 | 105.4 | 66.03 | 58.46 | 54.42 | 55.38 | 58.41 | 105.8 | 746.3 | 9999.9 | 9999.9 | 9999.9 | 306.7 | 55.49 | 36.7 | 24.7 | 20.58 | 15.52 | 13.56
415 | 161.7 | 134.9 | 138.7 | 171.7 | 157.1 | 121.5 | 179.6 | 116 | 131.3 | 153.6 | 172.4 | 215.9 | 228.4 | 234.2 | 232.7 | 187.4 | 152.8 | 111.9 | 112.3 | 80.93 | 79.83 | 95.18 | 92.76 | 96.93 | 81.24 | 68.33 | 79.98 | 100.3 | 145.5 | 156.7 | 75.06 | 57.06 | 49.81 | 47.04 | 45.29 | 57.03 | 106.9 | 747.7 | 9999.9 | 9999.9 | 9999.9 | 299.8 | 49.74 | 33.22 | 27.04 | 20.83 | 17.77
420 | 163.6 | 193.9 | 179.9 | 196 | 138.6 | 124.4 | 167.6 | 123 | 103 | 122 | 184.4 | 198.8 | 202.6 | 232 | 208.9 | 196.3 | 135.2 | 125.2 | 102.7 | 86.01 | 92.66 | 101.8 | 86.02 | 81.37 | 84.08 | 83.16 | 80.44 | 89.19 | 100.2 | 156.2 | 136.5 | 70.83 | 59.99 | 48.93 | 47.46 | 44 | 46.74 | 98.05 | 752.9 | 9999.9 | 9999.9 | 9999.9 | 282.9 | 44.62 | 33.03 | 25.19 | 18.97
425 | 157.1 | 165.1 | 116.9 | 101.8 | 154.9 | 135.4 | 149.1 | 121 | 137.2 | 167.9 | 168.3 | 162.4 | 188.4 | 183.5 | 198.6 | 164.4 | 173.3 | 109.6 | 105.7 | 76.13 | 76.12 | 81.74 | 97.66 | 84.64 | 99.24 | 79.54 | 76.84 | 67.68 | 67.33 | 87.95 | 141 | 108.2 | 60.29 | 40.68 | 41.68 | 39.22 | 40.2 | 51.51 | 96.57 | 730.5 | 9999.9 | 9999.9 | 9999.9 | 245.5 | 46.88 | 36.33 | 22.28
430 | 212.8 | 156.2 | 178 | 114.1 | 169.2 | 158.8 | 121.8 | 140.4 | 129.4 | 119.2 | 149.6 | 182.7 | 206.2 | 222.3 | 160.1 | 161.7 | 120.2 | 85.47 | 95.3 | 94.53 | 88.64 | 83.51 | 97.8 | 78.26 | 95.76 | 79.19 | 66.75 | 69.03 | 68.3 | 62.44 | 92.64 | 128.3 | 77.28 | 50.17 | 44.07 | 34.43 | 34.35 | 37.75 | 37.94 | 85.34 | 724.9 | 9999.9 | 9999.9 | 9999.9 | 246.3 | 49.94 | 35.13
435 | 430.9 | 194.8 | 118.3 | 128.4 | 155.1 | 140.2 | 108.1 | 135.1 | 99.18 | 119.7 | 175.3 | 185 | 180.8 | 166.7 | 190.5 | 159.1 | 141 | 91.06 | 82.59 | 84.89 | 97.45 | 81.53 | 96.62 | 77.5 | 75.4 | 75.84 | 73.29 | 58.58 | 59.42 | 66.74 | 63.14 | 89.51 | 125 | 57.41 | 41.61 | 33.6 | 33.47 | 40.82 | 35.89 | 38.45 | 89.12 | 736.2 | 9999.9 | 9999.9 | 9999.9 | 250.4 | 46.58
440 | 578 | 327.5 | 138.2 | 158.9 | 137.9 | 103.6 | 119.8 | 103.6 | 116.2 | 122.4 | 158.3 | 140.8 | 192.2 | 148.6 | 149 | 165.6 | 128.6 | 101.1 | 118.7 | 93.31 | 80.28 | 89.15 | 95.41 | 73.68 | 65.71 | 69.08 | 69 | 70.84 | 58.95 | 59.96 | 63.55 | 60.78 | 113.4 | 96.57 | 46.15 | 35.45 | 29.96 | 31.97 | 34.94 | 40.56 | 39.58 | 87.02 | 732.3 | 9999.9 | 9999.9 | 9999.9 | 209.1
445 | 401 | 653.9 | 165 | 130 | 89.35 | 130.3 | 127.2 | 108.8 | 116.6 | 106.2 | 126.6 | 109.2 | 124.3 | 188.5 | 137.8 | 139.6 | 105.4 | 102.6 | 86.14 | 86.15 | 80.35 | 80.83 | 64.14 | 83.35 | 83.87 | 65.59 | 66.16 | 66.32 | 65.28 | 61.9 | 50.7 | 55.87 | 62.69 | 110.6 | 81.62 | 33.21 | 36.6 | 28.26 | 31.3 | 27.68 | 35.53 | 41.17 | 87.48 | 726.2 | 9999.9 | 9999.9 | 9999.9
450 | 180.8 | 949.6 | 433.4 | 126.4 | 173.2 | 159.2 | 127 | 185.2 | 94.99 | 105.2 | 111.2 | 120.4 | 174.1 | 127.8 | 171.3 | 106 | 124.2 | 88.79 | 81.51 | 76.15 | 76.18 | 88.27 | 71.42 | 75.98 | 71 | 70.94 | 68.45 | 73.6 | 68.41 | 55.37 | 53.44 | 47.63 | 44.79 | 62.14 | 91.15 | 53.13 | 31.78 | 28.8 | 23.51 | 24.09 | 32.61 | 32.72 | 37.78 | 81.54 | 721.3 | 9999.9 | 9999.9
455 | 222.8 | 513.3 | 1060 | 227.8 | 189.3 | 144.8 | 123.8 | 113.6 | 115 | 113.8 | 90.89 | 151.9 | 166.1 | 142.3 | 151.3 | 125 | 117.2 | 101.7 | 93.75 | 87.04 | 72.85 | 72.39 | 67.73 | 66.55 | 77.4 | 73.73 | 69.7 | 62.41 | 59.58 | 46.01 | 55.86 | 55.15 | 46.86 | 49.11 | 69.81 | 79.65 | 52.17 | 27.59 | 31.78 | 24.15 | 25.78 | 26.04 | 26.02 | 36.15 | 85.81 | 731.3 | 9999.9
460 | 128.4 | 228.6 | 1467 | 762.3 | 147.6 | 160.4 | 102.3 | 118 | 129.9 | 144.8 | 145.7 | 130.3 | 144.7 | 151.8 | 176.6 | 132.7 | 119.6 | 84.05 | 92.38 | 75.77 | 95.57 | 74.99 | 74.59 | 73.95 | 73.68 | 70.6 | 60.57 | 61.97 | 62.53 | 56.67 | 59.03 | 46.21 | 44.12 | 47.71 | 35.94 | 68.76 | 64.84 | 30.02 | 25.56 | 25.21 | 24.93 | 30.31 | 25.53 | 30.95 | 32.01 | 85.91 | 707.9
465 | 168.7 | 191.9 | 966.1 | 1724 | 278.1 | 160.7 | 123.3 | 130.8 | 139.6 | 112 | 128.6 | 111.9 | 147.4 | 152.2 | 121 | 104.7 | 120.2 | 109.1 | 83.62 | 91.81 | 59.3 | 74.65 | 73.38 | 68.59 | 75.66 | 65.09 | 60.39 | 63.94 | 46.04 | 59 | 49.99 | 38.24 | 38.25 | 38.85 | 36.07 | 38.02 | 65.08 | 47.84 | 29.03 | 23.66 | 30.5 | 27.15 | 27.69 | 25.53 | 29.73 | 38.25 | 83.63
470 | 148.3 | 179.7 | 328.8 | 2465 | 1032 | 132 | 81.39 | 122.4 | 103.2 | 129.6 | 105.4 | 109.5 | 154.8 | 136.2 | 143.4 | 108.6 | 108.2 | 92.2 | 80.1 | 97.56 | 75.71 | 59.02 | 70.9 | 71.88 | 59.43 | 56.38 | 75.69 | 67.5 | 60.1 | 59.45 | 49.21 | 45.03 | 41.62 | 37.28 | 30.56 | 30.63 | 46.78 | 69.26 | 40.06 | 24.65 | 22.53 | 23.61 | 25.93 | 24.65 | 24.06 | 30.22 | 35.7
475 | 135.9 | 199.3 | 163 | 1493 | 3010 | 185.5 | 137.7 | 117 | 104.9 | 134.8 | 102.8 | 119.8 | 128.7 | 125.8 | 116.5 | 116.5 | 92.32 | 96.28 | 83.96 | 83.71 | 73.26 | 58.7 | 62.8 | 63.71 | 66.16 | 56.29 | 56.85 | 46.35 | 53.94 | 50.09 | 43.73 | 44.49 | 28.84 | 29.87 | 29.93 | 25 | 31.67 | 46.33 | 58.22 | 31.84 | 23.17 | 20.67 | 19.86 | 23.34 | 18.34 | 23.44 | 23.07
480 | 141 | 109.2 | 194.2 | 434.2 | 3863 | 1244 | 144.8 | 128.5 | 101.7 | 126.9 | 108.6 | 115.1 | 110.7 | 117.5 | 101.4 | 103.7 | 88.7 | 90.01 | 106.3 | 70.2 | 61.78 | 68.19 | 56.97 | 56.96 | 67.22 | 56.18 | 49.37 | 46.6 | 48.6 | 49.04 | 47.34 | 53.25 | 34.26 | 34.38 | 31.83 | 26 | 30.63 | 32.13 | 46.54 | 48.34 | 27.31 | 15.15 | 25.59 | 22.43 | 21.94 | 17.48 | 20.18
485 | 163.4 | 165.9 | 215.9 | 202.5 | 2126 | 2911 | 261.7 | 116.1 | 107.2 | 126.7 | 112.2 | 123.7 | 119.4 | 111.1 | 132 | 104.2 | 113 | 99.11 | 74.72 | 62.73 | 68.55 | 70.15 | 59.02 | 62.96 | 66.06 | 53.44 | 48.55 | 50.47 | 50.26 | 57.93 | 42.36 | 42.15 | 33.37 | 33.2 | 31.88 | 25.56 | 29.86 | 31 | 36.79 | 49.41 | 36.88 | 22.71 | 20.46 | 17.89 | 20.35 | 19.54 | 19.01
490 | 119.4 | 136.3 | 213.2 | 143.1 | 515.4 | 3808 | 1039 | 101.2 | 125.5 | 105.8 | 113.2 | 94.97 | 108.2 | 93.9 | 82.55 | 85.96 | 98.11 | 93.82 | 72.86 | 84.57 | 55.05 | 67.83 | 55.94 | 59.84 | 50.19 | 60.28 | 48.6 | 48.87 | 45.59 | 56.42 | 40.25 | 39.68 | 34.8 | 32.91 | 27.46 | 29.76 | 24.56 | 23.86 | 23.66 | 34.84 | 35.11 | 26.35 | 19.15 | 19.08 | 19.3 | 17.75 | 19.75
495 | 128.6 | 142.4 | 172.9 | 147.4 | 153.1 | 2160 | 3161 | 193.8 | 119.1 | 107.1 | 114.5 | 129.2 | 107.8 | 117.7 | 95.91 | 94.82 | 105.5 | 83.44 | 108.1 | 65.52 | 57.11 | 63.74 | 59.81 | 61.25 | 55.15 | 46.01 | 60.76 | 45.95 | 51.39 | 39.27 | 40.42 | 33.48 | 37.57 | 28.49 | 28.24 | 25.64 | 21.86 | 22.08 | 21.72 | 20.51 | 33.25 | 40.52 | 26.27 | 17.48 | 17.4 | 18.96 | 18.49
500 | 142.9 | 176.5 | 179.5 | 140.5 | 128.9 | 787.4 | 4737 | 845.6 | 125.1 | 134.2 | 130.4 | 95.15 | 107.7 | 96.97 | 109.7 | 85.17 | 79.14 | 85.33 | 74.85 | 49.93 | 72.4 | 72.16 | 59.64 | 58.94 | 51.16 | 39.16 | 59.84 | 39.69 | 43.96 | 43.68 | 41.45 | 32.13 | 37.23 | 33.37 | 32.43 | 24.59 | 28.01 | 25.18 | 21.98 | 19.88 | 26.65 | 32.21 | 33.07 | 18.51 | 17.93 | 15.73 | 16.67