## Sheet1
Report date: | 14:34:59, 04/15/2024
Sample: | 1
File name:
Run date: | 14:32:19, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/255.0 | 152.2
2 | 230.0/265.0 | 148.6
3 | 230.0/275.0 | 129.9
4 | 230.0/310.0 | 475.1
5 | 230.0/320.0 | 511.4
6 | 230.0/335.0 | 568.4
7 | 230.0/385.0 | 252.9
8 | 230.0/425.0 | 179.3
9 | 235.0/285.0 | 201.1
10 | 235.0/315.0 | 477.5
11 | 235.0/325.0 | 511.5
12 | 235.0/360.0 | 342
13 | 235.0/370.0 | 340.6
14 | 235.0/390.0 | 221.8
15 | 235.0/400.0 | 221.6
16 | 235.0/420.0 | 197
17 | 240.0/355.0 | 310.6
18 | 240.0/405.0 | 194.7
19 | 240.0/440.0 | 162.9
20 | 245.0/290.0 | 190.4
21 | 245.0/395.0 | 208.6
22 | 245.0/410.0 | 183.1
23 | 245.0/435.0 | 196.7
24 | 245.0/455.0 | 209.5
25 | 250.0/275.0 | 180
26 | 250.0/295.0 | 178.6
27 | 250.0/405.0 | 194.2
28 | 250.0/450.0 | 168.3
29 | 255.0/280.0 | 181.3
30 | 260.0/415.0 | 165.1
31 | 260.0/490.0 | 163.2
32 | 265.0/440.0 | 152.9
33 | 270.0/450.0 | 166.3
34 | 270.0/465.0 | 170.8
35 | 270.0/485.0 | 126.9
36 | 275.0/475.0 | 148.9
37 | 280.0/440.0 | 189.6
38 | 280.0/455.0 | 189.4
39 | 285.0/325.0 | 3397
40 | 285.0/480.0 | 161.7
41 | 290.0/330.0 | 3324
42 | 290.0/340.0 | 3352
43 | 290.0/430.0 | 219.5
44 | 290.0/490.0 | 131
45 | 295.0/265.0 | 108.4
46 | 295.0/440.0 | 188
47 | 295.0/455.0 | 160.3
48 | 295.0/465.0 | 151.6
49 | 295.0/485.0 | 151.2
50 | 305.0/255.0 | 71.82
51 | 305.0/450.0 | 136.9
52 | 305.0/460.0 | 138.1
53 | 310.0/270.0 | 72.27
54 | 315.0/255.0 | 62.73
55 | 315.0/355.0 | 320.7
56 | 315.0/440.0 | 112.5
57 | 320.0/280.0 | 66.43
58 | 320.0/360.0 | 294
59 | 320.0/400.0 | 118.4
60 | 320.0/415.0 | 111.6
61 | 320.0/425.0 | 101.6
62 | 320.0/435.0 | 107
63 | 320.0/450.0 | 100.9
64 | 320.0/470.0 | 110.4
65 | 325.0/365.0 | 284.2
66 | 325.0/405.0 | 112.7
67 | 325.0/445.0 | 93.38
68 | 330.0/270.0 | 55.35
69 | 330.0/370.0 | 246.3
70 | 330.0/430.0 | 104.4
71 | 330.0/460.0 | 115.1
72 | 330.0/485.0 | 74.61
73 | 335.0/260.0 | 45.93
74 | 335.0/295.0 | 46.3
75 | 335.0/380.0 | 251
76 | 335.0/400.0 | 89.92
77 | 335.0/440.0 | 97.46
78 | 335.0/470.0 | 93.6
79 | 340.0/385.0 | 233
80 | 340.0/410.0 | 104.9
81 | 340.0/420.0 | 110.2
82 | 340.0/465.0 | 82.77
83 | 340.0/480.0 | 75.42
84 | 345.0/275.0 | 39.15
85 | 345.0/290.0 | 42.84
86 | 345.0/390.0 | 207.1
87 | 345.0/430.0 | 88.79
88 | 345.0/450.0 | 102.8
89 | 350.0/270.0 | 36.78
90 | 350.0/400.0 | 190
91 | 355.0/285.0 | 40.83
92 | 355.0/405.0 | 186.5
93 | 355.0/430.0 | 84.8
94 | 355.0/490.0 | 65.24
95 | 360.0/295.0 | 33.58
96 | 360.0/315.0 | 40.43
97 | 360.0/410.0 | 167.8
98 | 360.0/440.0 | 83.61
99 | 360.0/450.0 | 88.94
100 | 360.0/465.0 | 76.67
101 | 365.0/255.0 | 34.04
102 | 365.0/270.0 | 35.34
103 | 365.0/280.0 | 33.04
104 | 365.0/300.0 | 33.85
105 | 365.0/325.0 | 44.56
106 | 365.0/420.0 | 181.4
107 | 365.0/475.0 | 60.95
108 | 370.0/485.0 | 53.35
109 | 375.0/290.0 | 28.19
110 | 375.0/315.0 | 32.75
111 | 375.0/430.0 | 139.8
112 | 380.0/265.0 | 38.24
113 | 380.0/435.0 | 111.8
114 | 385.0/285.0 | 26.31
115 | 385.0/330.0 | 27.89
116 | 385.0/445.0 | 101.6
117 | 385.0/475.0 | 45.17
118 | 390.0/310.0 | 23.8
119 | 390.0/320.0 | 26.74
120 | 390.0/450.0 | 97.08
121 | 395.0/255.0 | 26.22
122 | 395.0/280.0 | 31.91
123 | 395.0/325.0 | 25.59
124 | 395.0/455.0 | 86.1
125 | 400.0/330.0 | 22.55
126 | 400.0/440.0 | 38.59
127 | 400.0/465.0 | 76
128 | 405.0/260.0 | 22.41
129 | 405.0/285.0 | 23.75
130 | 405.0/305.0 | 19.73
131 | 405.0/320.0 | 20.78
132 | 405.0/470.0 | 66.74
133 | 410.0/290.0 | 24.18
134 | 410.0/325.0 | 18.51
135 | 410.0/345.0 | 20.77
136 | 415.0/270.0 | 21.94
137 | 415.0/300.0 | 20.09
138 | 415.0/310.0 | 18.16
139 | 415.0/340.0 | 19.25
140 | 415.0/485.0 | 51.9
141 | 420.0/275.0 | 19.48
142 | 420.0/360.0 | 18.25
143 | 420.0/490.0 | 41.62
144 | 425.0/280.0 | 19.19
145 | 425.0/295.0 | 20.39
146 | 425.0/305.0 | 20.85
147 | 425.0/350.0 | 18.11
148 | 430.0/300.0 | 17.34
149 | 435.0/255.0 | 13.95
150 | 435.0/290.0 | 22.23
151 | 435.0/320.0 | 19.37
152 | 435.0/345.0 | 16.32
153 | 435.0/485.0 | 25.89
154 | 440.0/325.0 | 19.26
155 | 440.0/355.0 | 16.63
156 | 440.0/370.0 | 13.78
157 | 440.0/490.0 | 21.96
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 78.08 | 125.5 | 109.8 | 184.2 | 130.4 | 4373 | 9999.9 | 3661 | 99.33 | 81.46 | 72.83 | 118.7 | 80.26 | 79.76 | 72 | 52.22 | 55.44 | 52.03 | 49.49 | 52.73 | 42.11 | 36.17 | 26.86 | 36.62 | 29.3 | 49.39 | 21.67 | 21.67 | 27.35 | 34.01 | 36.55 | 25.01 | 24.42 | 25.84 | 25.05 | 23.47 | 16.07 | 18.84 | 21.82 | 17.28 | 17.63 | 14.52 | 12 | 10.31 | 8.806 | 10.86 | 7.993
255 | 114.4 | 152.2 | 101.4 | 140 | 101.2 | 376.8 | 3540 | 9999.9 | 7829 | 289.3 | 61.16 | 69.4 | 92 | 73.65 | 79.17 | 61.69 | 68.16 | 71.82 | 49.11 | 62.73 | 45.12 | 45.58 | 35.69 | 39.81 | 37.52 | 29.25 | 32.67 | 25.24 | 28.47 | 34.04 | 33.1 | 28.44 | 22.95 | 23.4 | 18.1 | 26.22 | 18.43 | 19.79 | 19.08 | 13.87 | 14.58 | 13.27 | 8.836 | 13.95 | 9.963 | 11.69 | 8.506
260 | 131 | 105.8 | 82.66 | 132.2 | 161.2 | 137.1 | 293.2 | 4275 | 9999.9 | 9999.9 | 442.9 | 90.2 | 108.8 | 88.76 | 83.35 | 81.35 | 59 | 67.66 | 60.89 | 58.25 | 46.34 | 38.2 | 32.95 | 45.93 | 37.55 | 33.74 | 28.46 | 27.29 | 26.49 | 31.31 | 27.99 | 30.37 | 32.42 | 24.1 | 19.39 | 22.47 | 21.14 | 22.41 | 20.9 | 17.3 | 17.83 | 13.28 | 11.47 | 13.7 | 10.16 | 11.67 | 8.512
265 | 114.1 | 116.4 | 148.6 | 122.4 | 101.7 | 163.4 | 143.9 | 375.2 | 5880 | 9999.9 | 9999.9 | 511.8 | 118.6 | 78.9 | 81.35 | 108.4 | 62.21 | 55.27 | 71.97 | 54.82 | 34.97 | 37.63 | 37.68 | 40.57 | 34.24 | 31.69 | 24.6 | 25.56 | 29.67 | 26.19 | 24.96 | 33.02 | 38.24 | 32.08 | 22.76 | 18.81 | 20.34 | 21.26 | 17.27 | 17.79 | 14.48 | 13.58 | 14.3 | 11.63 | 14.02 | 11.46 | 11.55
270 | 69.9 | 102.7 | 104.3 | 81.96 | 106.8 | 124.3 | 162.9 | 99.48 | 491.1 | 7313 | 9999.9 | 9999.9 | 657.6 | 79.43 | 127 | 80.36 | 56.17 | 61.41 | 72.27 | 47.42 | 49.99 | 30.67 | 55.35 | 33.41 | 38.74 | 27.17 | 36.78 | 25.36 | 25.04 | 35.34 | 24.16 | 25.61 | 24.38 | 29.16 | 27.14 | 16.76 | 16.42 | 18.38 | 17 | 21.94 | 16.11 | 15.19 | 15.86 | 15.38 | 14.21 | 13.6 | 12.06
275 | 79.93 | 125.5 | 129.9 | 93.71 | 80.54 | 162.8 | 180 | 138.3 | 125.6 | 584.2 | 9999.9 | 9999.9 | 9999.9 | 783.1 | 147.1 | 98.13 | 80.83 | 68.17 | 43.64 | 48.65 | 44.64 | 61.55 | 35.97 | 36.19 | 31.55 | 39.15 | 35.7 | 26.96 | 31.58 | 27.17 | 28.06 | 27.35 | 27.29 | 29.52 | 28.94 | 26.88 | 18.53 | 15.74 | 15.48 | 18.02 | 19.48 | 16.23 | 13.64 | 13.19 | 12.51 | 11.45 | 13.27
280 | 96.59 | 129.9 | 117.6 | 162 | 127.1 | 155.5 | 125 | 181.3 | 154.7 | 136.4 | 775.5 | 9999.9 | 9999.9 | 9999.9 | 784.1 | 130.2 | 81.31 | 82.38 | 52.33 | 60.89 | 66.43 | 64.18 | 37.11 | 39.96 | 29.82 | 24.31 | 32.88 | 22.51 | 30.08 | 33.04 | 26.71 | 25.24 | 24.88 | 19.91 | 24.83 | 31.91 | 18.75 | 21.05 | 19.23 | 18.68 | 16.97 | 19.19 | 17.08 | 13.99 | 13.44 | 9.577 | 13.65
285 | 116.8 | 139.3 | 126.2 | 201.1 | 131.8 | 169.1 | 115.9 | 141.3 | 188.3 | 181 | 203.7 | 832.4 | 9999.9 | 9999.9 | 9999.9 | 993.1 | 101.6 | 105.6 | 74.89 | 60.7 | 46.63 | 30.61 | 43.27 | 39.45 | 29.77 | 26.17 | 28.13 | 40.83 | 33.1 | 28.07 | 28.66 | 25.43 | 24.03 | 26.31 | 20.11 | 23.42 | 21.2 | 23.75 | 16.87 | 15.07 | 13.57 | 17.88 | 16.54 | 16.64 | 13.59 | 12.59 | 11.15
290 | 160.2 | 139.6 | 137 | 121.1 | 118.6 | 190.4 | 98.88 | 118.6 | 194.3 | 302.5 | 281.2 | 316.4 | 1020 | 9999.9 | 9999.9 | 9999.9 | 945.5 | 105.1 | 82.01 | 71.96 | 62.37 | 51.94 | 47.19 | 44.64 | 26.97 | 42.84 | 28.34 | 30.38 | 27.15 | 29.61 | 26.74 | 28.19 | 26.19 | 17.43 | 21.05 | 17.84 | 18.75 | 22.08 | 24.18 | 18.82 | 17.64 | 15.66 | 16.62 | 22.23 | 12.42 | 13.45 | 12.51
295 | 185.7 | 169.6 | 214.1 | 218.5 | 197.1 | 150.4 | 178.6 | 151.5 | 163.9 | 322.5 | 403.6 | 448.8 | 598.6 | 1326 | 9999.9 | 9999.9 | 9999.9 | 1100 | 107.6 | 96.11 | 77.64 | 55.39 | 39.62 | 46.3 | 43.49 | 40.08 | 32.23 | 30.71 | 33.58 | 29.66 | 21.68 | 25.11 | 21.95 | 18.37 | 16.44 | 19.82 | 18.89 | 20.01 | 22.72 | 18.12 | 18.75 | 20.39 | 14.29 | 18.96 | 13.96 | 13.37 | 12.48
300 | 158.3 | 182.2 | 282.5 | 285.5 | 226.8 | 209.6 | 142.4 | 239.1 | 274.6 | 345.7 | 698.4 | 792.8 | 994.9 | 1046 | 1360 | 9999.9 | 9999.9 | 9999.9 | 1101 | 128.6 | 85.65 | 63.51 | 58.06 | 42.33 | 49.57 | 34.5 | 35.37 | 28.03 | 30.09 | 33.85 | 28.77 | 18.82 | 22.63 | 18.82 | 13.98 | 17.55 | 16.44 | 16.74 | 15.02 | 20.09 | 16.79 | 14.9 | 17.34 | 12.82 | 13.61 | 13.2 | 16.16
305 | 202.5 | 279.2 | 300.4 | 279.9 | 228.3 | 214.1 | 175.6 | 205.8 | 416.3 | 483.4 | 734.5 | 1033 | 1468 | 1395 | 1248 | 1321 | 9999.9 | 9999.9 | 9999.9 | 927.1 | 119.6 | 93.26 | 54.74 | 58.64 | 54.68 | 46.92 | 31.89 | 34.92 | 29.6 | 33.33 | 30.16 | 24.07 | 22.39 | 22.14 | 16.69 | 18.67 | 18.96 | 19.73 | 17.03 | 16.38 | 17.42 | 20.85 | 14.03 | 12.28 | 13.11 | 13.39 | 13.02
310 | 182.8 | 292.3 | 475.1 | 431.7 | 200.6 | 238.6 | 219.7 | 311.8 | 404.5 | 552.7 | 989.5 | 1375 | 1954 | 1992 | 1702 | 1046 | 1166 | 9999.9 | 9999.9 | 9999.9 | 960.9 | 116 | 86.89 | 63.99 | 49.89 | 51.9 | 44.24 | 35.4 | 27.72 | 32.8 | 28.69 | 25.1 | 21.97 | 22.63 | 23.8 | 21.21 | 18.63 | 17.58 | 12.53 | 18.16 | 15.46 | 17.27 | 17.36 | 15.5 | 13.28 | 15.19 | 14.99
315 | 150.8 | 364.8 | 394.8 | 477.5 | 294.8 | 278.3 | 270 | 319.5 | 459.6 | 740.1 | 1188 | 1599 | 2218 | 2705 | 2221 | 1447 | 762.4 | 1024 | 9999.9 | 9999.9 | 9999.9 | 1018 | 115.9 | 78.06 | 65.09 | 52.39 | 42.9 | 36.18 | 40.43 | 32.08 | 30.55 | 32.75 | 24.49 | 20.38 | 19.64 | 19.33 | 17.67 | 17.36 | 12.35 | 15.33 | 13.61 | 17.29 | 17.31 | 18.15 | 15.51 | 15.3 | 13.22
320 | 260.4 | 307 | 511.4 | 418.2 | 361.7 | 336.4 | 334.2 | 343.4 | 487.4 | 827.5 | 1239 | 1897 | 2630 | 3063 | 2895 | 1742 | 799.7 | 454.3 | 950.3 | 9999.9 | 9999.9 | 9999.9 | 855.1 | 90.72 | 71.39 | 63.75 | 54.49 | 42.83 | 40 | 35.8 | 29.4 | 27.61 | 25.6 | 21.92 | 26.74 | 17.39 | 15.85 | 20.78 | 17.19 | 16.2 | 15.13 | 17 | 18.51 | 19.37 | 17.24 | 15.97 | 12.82
325 | 207.2 | 443.6 | 446.2 | 511.5 | 334.8 | 311.5 | 284.1 | 393.5 | 530.1 | 900.6 | 1525 | 2448 | 2919 | 3397 | 3172 | 2180 | 954.7 | 436.6 | 280.6 | 860.8 | 9999.9 | 9999.9 | 9999.9 | 859.6 | 97.41 | 73.46 | 61.21 | 59.12 | 36.01 | 44.56 | 35.18 | 27.93 | 29.52 | 23.82 | 22.52 | 25.59 | 19.6 | 16.88 | 18.51 | 15.44 | 12.55 | 14.59 | 14.33 | 17.59 | 19.26 | 17.57 | 13.72
330 | 221.5 | 346.8 | 505.2 | 441 | 268.2 | 249.3 | 297.8 | 405.9 | 706 | 1110 | 1583 | 2571 | 3193 | 3114 | 3324 | 2201 | 1179 | 494.5 | 261 | 215.5 | 810.7 | 9999.9 | 9999.9 | 9999.9 | 888.2 | 95.36 | 69.66 | 59.29 | 51.76 | 40.16 | 36.56 | 32.03 | 22.71 | 27.89 | 22.55 | 17.13 | 22.55 | 15.66 | 12.86 | 16.12 | 15.62 | 14.95 | 15.58 | 13.88 | 16.91 | 14.79 | 18.29
335 | 247.3 | 365.9 | 568.4 | 412.6 | 379.2 | 325.2 | 329.4 | 372.1 | 631.4 | 966 | 1524 | 2177 | 2898 | 3162 | 3262 | 2179 | 1264 | 674.3 | 205.9 | 180.9 | 177.8 | 785.7 | 9999.9 | 9999.9 | 9999.9 | 846.7 | 88.62 | 77.97 | 48.67 | 46.64 | 40.96 | 30.15 | 29.23 | 24.1 | 25.07 | 21.49 | 18.85 | 16.29 | 16.79 | 16.12 | 14.53 | 14.29 | 11.52 | 13.52 | 14.82 | 16.48 | 15.76
340 | 184 | 326.8 | 558.6 | 403.2 | 298.5 | 227.7 | 283.8 | 483.9 | 621.2 | 995.5 | 1470 | 2001 | 2834 | 2969 | 3352 | 2323 | 1166 | 800 | 286.3 | 171.9 | 126.3 | 169.6 | 850.7 | 9999.9 | 9999.9 | 9999.9 | 902.4 | 102.9 | 77.96 | 53.8 | 49.79 | 38.27 | 36.13 | 31.57 | 32.02 | 18.74 | 17.72 | 17.8 | 18.05 | 19.25 | 16.26 | 13.3 | 12.1 | 12.57 | 9.463 | 14.18 | 15.51
345 | 232.5 | 360.4 | 479.3 | 407.7 | 326.7 | 299 | 286.6 | 453.3 | 580.9 | 935.1 | 1355 | 1832 | 2774 | 2847 | 3265 | 2060 | 985.5 | 592.1 | 472.3 | 178.8 | 125.1 | 122.2 | 166.7 | 822 | 9999.9 | 9999.9 | 9999.9 | 746.1 | 98.31 | 81.54 | 53.65 | 41.29 | 35.98 | 36.3 | 31.02 | 23 | 21.43 | 15 | 20.77 | 16.11 | 15.77 | 12.76 | 12.8 | 16.32 | 12.17 | 13.36 | 11.27
350 | 212.5 | 334.6 | 445.6 | 373 | 286 | 256.7 | 253.5 | 354.6 | 480 | 802 | 1210 | 1664 | 2272 | 2723 | 2507 | 1839 | 881.9 | 415.7 | 361.1 | 307.3 | 143.5 | 95.34 | 102.1 | 151.1 | 804.4 | 9999.9 | 9999.9 | 9999.9 | 756.3 | 111.5 | 70.98 | 46.43 | 41.27 | 31.14 | 31.8 | 24.33 | 24.29 | 22.37 | 19.31 | 16.29 | 14.96 | 18.11 | 11.25 | 13.09 | 14.49 | 11.94 | 12.21
355 | 200.3 | 299.3 | 366.1 | 274 | 310.6 | 263.7 | 231.4 | 286.6 | 472 | 684.5 | 1001 | 1624 | 2116 | 2253 | 2182 | 1487 | 849.1 | 385 | 253.4 | 320.7 | 230.3 | 98.26 | 116.3 | 95.92 | 156.7 | 801.5 | 9999.9 | 9999.9 | 9999.9 | 699.4 | 96.33 | 62.05 | 45.62 | 40.29 | 34.82 | 29.55 | 21.11 | 22.64 | 17.76 | 17.16 | 18.12 | 16.09 | 11.59 | 13.42 | 16.63 | 12.4 | 11.09
360 | 172.9 | 282 | 322.2 | 342 | 228.7 | 192.3 | 250.4 | 275.7 | 375.1 | 684.3 | 920.2 | 1319 | 1730 | 1976 | 1924 | 1225 | 754.2 | 405.2 | 218 | 184.8 | 294 | 207.8 | 84.91 | 93.28 | 82.6 | 148.7 | 781.1 | 9999.9 | 9999.9 | 9999.9 | 696.3 | 86.96 | 67.37 | 54.61 | 38.3 | 31.64 | 22.54 | 23.65 | 16.77 | 16.11 | 18.25 | 14.44 | 13.51 | 12.68 | 13.64 | 12.03 | 11.54
365 | 191.9 | 279.2 | 292 | 309.9 | 245.2 | 195.4 | 226.7 | 276.9 | 356.6 | 600.8 | 766.2 | 1044 | 1492 | 2006 | 1449 | 1156 | 602.2 | 307.7 | 173.3 | 137.6 | 203.5 | 284.2 | 170.9 | 102 | 89.96 | 91.52 | 134.3 | 806.1 | 9999.9 | 9999.9 | 9999.9 | 590.9 | 81.51 | 57.93 | 43.53 | 37.14 | 36.73 | 22.15 | 20.76 | 19.18 | 17.17 | 15.13 | 15.97 | 10.84 | 11.69 | 11.9 | 8.855
370 | 165.7 | 262.9 | 278.3 | 340.6 | 208.9 | 216 | 183.1 | 226.8 | 303.5 | 522.9 | 755.3 | 951.9 | 1152 | 1442 | 1378 | 955.1 | 476 | 277.3 | 170.1 | 128.4 | 95.49 | 206.3 | 246.3 | 102.4 | 84 | 82.63 | 94.91 | 136.7 | 814.4 | 9999.9 | 9999.9 | 9999.9 | 554.5 | 77.29 | 53.86 | 40.58 | 28.01 | 22.84 | 24.22 | 22.26 | 16.25 | 15.7 | 13.81 | 12.39 | 13.78 | 11.48 | 11.55
375 | 198.5 | 239 | 212.4 | 268.3 | 226.9 | 184.8 | 201.5 | 217.1 | 238 | 374.1 | 537.1 | 782.8 | 1041 | 1168 | 1109 | 877.8 | 458.2 | 232 | 158.7 | 123.8 | 93.28 | 112.7 | 232.7 | 191.1 | 99.93 | 74.71 | 83.97 | 88.99 | 146.1 | 805.8 | 9999.9 | 9999.9 | 9999.9 | 492.8 | 76.57 | 56.35 | 33.39 | 33.89 | 26.9 | 19.04 | 20.97 | 16.02 | 15.25 | 12.6 | 10.67 | 14.95 | 12.48
380 | 164 | 232.9 | 217.6 | 174.5 | 209.1 | 191 | 138.5 | 151.6 | 244.3 | 335.4 | 445 | 706 | 945.1 | 908 | 936.1 | 630.2 | 410.4 | 238.6 | 171.8 | 101.3 | 82.29 | 86.7 | 104.4 | 251 | 147.2 | 78.87 | 69.98 | 85.05 | 83.43 | 151.3 | 797.4 | 9999.9 | 9999.9 | 9999.9 | 523.5 | 77.83 | 52.82 | 38.05 | 33.02 | 28.47 | 20.36 | 16.65 | 16.12 | 15.35 | 14.25 | 15.33 | 11.01
385 | 185.1 | 150.4 | 252.9 | 208.4 | 192.6 | 127.9 | 139.3 | 156.3 | 228.5 | 298.3 | 415.2 | 549.6 | 761 | 891 | 681.3 | 613.3 | 322.7 | 180.3 | 137.1 | 103.6 | 106.9 | 86.41 | 74.76 | 150.6 | 233 | 131.4 | 74.37 | 81.79 | 62.15 | 84.48 | 125.2 | 807 | 9999.9 | 9999.9 | 9999.9 | 431.4 | 70.8 | 49.7 | 32.58 | 28.76 | 24.73 | 21.96 | 18.63 | 13.13 | 14.09 | 15.1 | 13.97
390 | 161.3 | 177.9 | 187.4 | 221.8 | 181.7 | 121.2 | 147.7 | 187 | 215.4 | 250 | 358 | 491.7 | 607.8 | 671.5 | 660.3 | 467.8 | 308.6 | 164.3 | 112 | 100.8 | 99.22 | 73.35 | 82.74 | 77.78 | 147.4 | 207.1 | 96.28 | 61.78 | 64.85 | 75.37 | 81.09 | 126.4 | 775.2 | 9999.9 | 9999.9 | 9999.9 | 434.7 | 63.8 | 49.66 | 35.65 | 25.39 | 26.23 | 19.07 | 14.12 | 17.2 | 16.03 | 14.28
395 | 153.5 | 177.7 | 184.9 | 186.3 | 167.3 | 208.6 | 161.6 | 119.5 | 227 | 206.8 | 346.3 | 351.6 | 535.8 | 518.9 | 463.1 | 422.8 | 275.2 | 143 | 136.4 | 103 | 95.35 | 98.35 | 91.66 | 85.34 | 111.3 | 171.3 | 164 | 88.14 | 72.66 | 59.97 | 73.98 | 82.86 | 127.7 | 794.9 | 9999.9 | 9999.9 | 9999.9 | 361.3 | 61.79 | 43.9 | 31.83 | 25.42 | 23.57 | 19.28 | 19.06 | 15.13 | 12.63
400 | 174 | 190.3 | 175.9 | 221.6 | 130.3 | 160.2 | 158.4 | 158.7 | 186.4 | 188.8 | 246 | 373.6 | 407.1 | 455 | 439.7 | 391.1 | 220.9 | 149.1 | 115.9 | 96.55 | 118.4 | 106.3 | 75.59 | 89.92 | 77.98 | 96.95 | 190 | 158.2 | 78.36 | 67.46 | 75.29 | 67.71 | 69.41 | 119 | 770.8 | 9999.9 | 9999.9 | 9999.9 | 318.6 | 57.43 | 41.21 | 30.97 | 19.32 | 17.22 | 17.88 | 13.91 | 13.28
405 | 123 | 187.8 | 145.1 | 183.9 | 194.7 | 137.9 | 194.2 | 181.1 | 139.1 | 177.6 | 228.1 | 347 | 347.4 | 365.6 | 373.1 | 309.9 | 227.5 | 174.7 | 110 | 116.5 | 88.27 | 112.7 | 72.65 | 74.9 | 102.5 | 87.49 | 108.5 | 186.5 | 129.7 | 72.59 | 63.12 | 66.45 | 58.02 | 76.39 | 121.3 | 726.8 | 9999.9 | 9999.9 | 9999.9 | 347.6 | 49.74 | 40.33 | 25.86 | 17.07 | 18.92 | 14.28 | 13.26
410 | 132 | 155.1 | 118.9 | 174.8 | 158.2 | 183.1 | 130.6 | 147.7 | 163.1 | 153.3 | 220.1 | 258.9 | 268.9 | 348 | 364.9 | 279.9 | 177.2 | 142.9 | 117.4 | 96.28 | 96.14 | 95.8 | 99.22 | 73.88 | 104.9 | 94.12 | 83.17 | 111.7 | 167.8 | 114.2 | 62.05 | 60.48 | 45.78 | 52.38 | 65.14 | 110.5 | 743.7 | 9999.9 | 9999.9 | 9999.9 | 293.8 | 49.85 | 35.11 | 23.97 | 20.15 | 22.08 | 18.52
415 | 196.5 | 125.8 | 183.3 | 195.4 | 147.9 | 162.4 | 147.6 | 160.6 | 165.1 | 143.9 | 167.7 | 224.6 | 281.4 | 304.5 | 254.2 | 212 | 162.6 | 130.5 | 99.04 | 106.1 | 111.6 | 108.5 | 105.6 | 97.45 | 81.07 | 91.57 | 84.8 | 80.64 | 141.6 | 173.5 | 84 | 57.36 | 61.49 | 53.5 | 55.69 | 56.59 | 99.76 | 740.4 | 9999.9 | 9999.9 | 9999.9 | 277.2 | 46.87 | 37.48 | 26.64 | 16.57 | 17.33
420 | 207 | 130.4 | 138.8 | 197 | 148.2 | 155.9 | 136.2 | 136.9 | 99.49 | 154.6 | 175.1 | 211.5 | 222.7 | 278.2 | 252.8 | 195.2 | 166.4 | 117.6 | 109.6 | 104.3 | 94.91 | 86.56 | 98.84 | 81.96 | 110.2 | 79.12 | 74.1 | 87.6 | 107.1 | 181.4 | 150.3 | 77.6 | 51.21 | 50 | 46.16 | 42.58 | 47.42 | 107.6 | 733.2 | 9999.9 | 9999.9 | 9999.9 | 271.7 | 46.79 | 33.76 | 24.58 | 19.9
425 | 177.7 | 120 | 179.3 | 176.5 | 149.4 | 164.1 | 143.9 | 127.7 | 132.8 | 147.8 | 211.1 | 216.6 | 196.2 | 234.1 | 192.6 | 149.2 | 155.1 | 116.1 | 93.9 | 96.92 | 101.6 | 99.22 | 99.61 | 84.91 | 105.5 | 88.04 | 93.2 | 73.58 | 72.3 | 83.98 | 134.4 | 98.43 | 56.16 | 48.47 | 49.14 | 43.13 | 41.94 | 52.79 | 93.58 | 736 | 9999.9 | 9999.9 | 9999.9 | 236.1 | 44.17 | 36.52 | 25.3
430 | 225.5 | 164.7 | 143.6 | 160.2 | 137.4 | 161.6 | 108.2 | 115.7 | 118.7 | 115.3 | 133.1 | 159.8 | 178 | 204.4 | 219.5 | 171.1 | 114.5 | 110.6 | 101.2 | 89.43 | 96.12 | 104.3 | 104.4 | 89.11 | 80.99 | 88.79 | 77.12 | 84.8 | 78.12 | 67.13 | 87.93 | 139.8 | 82.13 | 53.26 | 42.47 | 42.49 | 42.39 | 40.14 | 44.47 | 86.39 | 723.8 | 9999.9 | 9999.9 | 9999.9 | 244.5 | 49.73 | 33.18
435 | 432.5 | 193.8 | 189.6 | 178.6 | 126.7 | 196.7 | 167.9 | 127.6 | 116.9 | 114.6 | 128.2 | 172.2 | 183.7 | 189.8 | 167.1 | 165.5 | 148.3 | 116.8 | 91.3 | 94.05 | 107 | 89.56 | 90.65 | 85.19 | 77.34 | 78.23 | 69.21 | 78.16 | 76.78 | 68.67 | 76.61 | 104 | 111.8 | 71.34 | 40.7 | 37.74 | 35.83 | 33.91 | 32.98 | 41.86 | 94.09 | 720.4 | 9999.9 | 9999.9 | 9999.9 | 238.9 | 44.16
440 | 467.1 | 224.4 | 208.2 | 145.4 | 162.9 | 156.6 | 149.2 | 131 | 98.25 | 152.9 | 143.3 | 126 | 189.6 | 158.6 | 141.1 | 188 | 136.6 | 119.5 | 96.31 | 112.5 | 78.9 | 89.64 | 87.19 | 97.46 | 86.8 | 85.32 | 68.06 | 76.21 | 83.61 | 66.01 | 61.87 | 69.2 | 106.7 | 87.77 | 40.18 | 37.12 | 38.59 | 37.57 | 31.38 | 36.1 | 44.08 | 85.86 | 734.9 | 9999.9 | 9999.9 | 9999.9 | 205
445 | 267.9 | 678 | 187.1 | 146.2 | 162.7 | 147.4 | 147.4 | 77.15 | 120.6 | 144.8 | 144.8 | 142.9 | 141.8 | 166.1 | 162.1 | 167.5 | 106.9 | 104.9 | 105.2 | 101.5 | 84.76 | 93.38 | 78.89 | 81.55 | 83.23 | 89.53 | 86.22 | 75.24 | 70.61 | 66.77 | 56.36 | 56.24 | 62.34 | 101.6 | 82.1 | 41.08 | 34.72 | 36.32 | 27.93 | 36.7 | 34.25 | 40.44 | 81.25 | 716 | 9999.9 | 9999.9 | 9999.9
450 | 159.9 | 975.6 | 462.9 | 120 | 110.5 | 156.7 | 168.3 | 114.4 | 110.4 | 133.8 | 166.3 | 139.1 | 143.1 | 156.8 | 132.2 | 147.6 | 110.7 | 136.9 | 90.27 | 71.98 | 100.9 | 88.33 | 78.87 | 83.35 | 84.93 | 102.8 | 77.86 | 78.55 | 88.94 | 63.77 | 59.2 | 57.65 | 48.6 | 64.74 | 97.08 | 66.13 | 39.21 | 33.57 | 26.72 | 30.79 | 30.71 | 31.96 | 41.72 | 90.61 | 721.4 | 9999.9 | 9999.9
455 | 186.5 | 615.6 | 1207 | 217.4 | 114.1 | 209.5 | 136.2 | 102.8 | 111.5 | 148.1 | 135 | 114.6 | 189.4 | 163.8 | 135.1 | 160.3 | 126.7 | 95.78 | 88.91 | 83.04 | 78.4 | 83.46 | 89.65 | 80.2 | 82.34 | 78.33 | 76.51 | 70.79 | 76.84 | 68.28 | 55.44 | 54.61 | 47.18 | 37.87 | 73.06 | 86.1 | 49.5 | 27.79 | 28.38 | 27.01 | 26.26 | 26.53 | 28.63 | 31.54 | 87.27 | 742.1 | 9999.9
460 | 130.2 | 246.2 | 1352 | 788 | 193.7 | 182.3 | 164.3 | 148.8 | 123.1 | 151 | 135.9 | 146.3 | 151.7 | 160.8 | 152.8 | 129.7 | 112.7 | 138.1 | 128.6 | 101.4 | 85.19 | 95.14 | 115.1 | 85.35 | 80.36 | 73.02 | 65.24 | 67.76 | 65.47 | 66.7 | 64.76 | 46.67 | 48.81 | 39.72 | 47.38 | 63.25 | 63.77 | 36.07 | 27.59 | 25 | 28.46 | 27.4 | 26.51 | 29.19 | 35.61 | 83.52 | 709.3
465 | 154.7 | 142.9 | 1054 | 2077 | 265.7 | 156.5 | 171.7 | 142.8 | 125.2 | 156.1 | 170.8 | 146.8 | 158 | 142.2 | 146.5 | 151.6 | 133.6 | 129.9 | 120.2 | 93.72 | 84.52 | 84.46 | 76.9 | 80.56 | 82.77 | 74.99 | 76.05 | 73.1 | 76.67 | 66.05 | 58.39 | 47.81 | 42.46 | 43.54 | 34.93 | 47.52 | 76 | 58.75 | 32.04 | 26.27 | 22.34 | 24.45 | 30 | 27.55 | 35.91 | 36.52 | 81.73
470 | 162.1 | 134.2 | 250.2 | 2270 | 888.5 | 148.6 | 116 | 143.6 | 126 | 149.7 | 143.2 | 125.8 | 123.4 | 144.5 | 139.4 | 121.7 | 106.1 | 99.48 | 95.76 | 95.46 | 110.4 | 89.92 | 68.3 | 93.6 | 75.35 | 66.39 | 72.15 | 57.43 | 60.4 | 54.63 | 55.46 | 52.29 | 41.5 | 41.71 | 33.08 | 36.45 | 49.92 | 66.74 | 36.3 | 33.36 | 24.17 | 29.57 | 29.74 | 23.04 | 22.85 | 32.44 | 31.54
475 | 128.9 | 166.3 | 150.8 | 1277 | 3090 | 244.2 | 129.4 | 90.71 | 102.7 | 116.5 | 111.3 | 148.9 | 108 | 133.7 | 130.8 | 103.1 | 108.4 | 108.5 | 94.94 | 101.7 | 83.21 | 85.16 | 70.49 | 52.97 | 65.5 | 58.67 | 62.64 | 48.32 | 54.31 | 60.95 | 40.81 | 44.32 | 36.77 | 45.17 | 31.5 | 34.04 | 28.78 | 55.48 | 53.85 | 34.63 | 26.17 | 22.25 | 27.76 | 20.4 | 23.65 | 25.69 | 26.91
480 | 123.6 | 161 | 148 | 437.4 | 3423 | 1357 | 118.6 | 134.7 | 102.3 | 117.6 | 97.72 | 123.8 | 136.8 | 161.7 | 143.1 | 110 | 108.5 | 75.74 | 103 | 96.49 | 93.63 | 64.68 | 59.66 | 70.71 | 75.42 | 70.5 | 59.18 | 59.09 | 57.68 | 45.42 | 45.89 | 36.81 | 37.49 | 40.81 | 36.41 | 27.12 | 33.91 | 33.91 | 50.55 | 40.2 | 25.47 | 22.62 | 22.11 | 21.66 | 23.48 | 19.69 | 17.54
485 | 138.7 | 175.5 | 156.8 | 237.9 | 2423 | 2858 | 312.4 | 117.7 | 130.2 | 101.4 | 126.9 | 121.3 | 121.7 | 110.3 | 103.3 | 151.2 | 121.2 | 102.3 | 105.4 | 73.76 | 72.98 | 68 | 74.61 | 68.51 | 53.2 | 66.13 | 53.05 | 61.31 | 46.17 | 50.34 | 53.35 | 45.58 | 31.3 | 36.35 | 31.15 | 30.15 | 25.2 | 31.62 | 32.04 | 51.9 | 35.58 | 24.48 | 23.09 | 25.89 | 19.48 | 20.18 | 18.23
490 | 148.3 | 123 | 155.6 | 145.1 | 553.1 | 4089 | 1168 | 114.6 | 163.2 | 127.7 | 113.1 | 125.2 | 95.39 | 122.8 | 131 | 116.9 | 116.2 | 83.45 | 92.64 | 86.95 | 69.68 | 71.93 | 74.39 | 69.5 | 59.19 | 62.96 | 53.74 | 65.24 | 46.6 | 49.56 | 46.59 | 41.45 | 42.47 | 35.92 | 35.55 | 33.81 | 21.92 | 25.28 | 24.57 | 40.06 | 41.62 | 28.74 | 20.66 | 18.68 | 21.96 | 18.08 | 19.32
495 | 154.9 | 176.1 | 159.3 | 124.4 | 148.5 | 2970 | 3364 | 234.9 | 104.4 | 138.2 | 126.7 | 126.3 | 102.5 | 109.2 | 105.6 | 115.3 | 105.4 | 94.38 | 87.37 | 90.32 | 76.46 | 68.84 | 66.19 | 58.24 | 60.77 | 58.31 | 63.51 | 58.6 | 44.22 | 42.47 | 36.31 | 37.42 | 37.91 | 38.07 | 31.89 | 29.88 | 27.24 | 25.85 | 24.89 | 30.34 | 33.93 | 40.33 | 25.21 | 20.11 | 19.09 | 20.53 | 19.95
500 | 123.1 | 139.8 | 117.9 | 172.2 | 198.6 | 832 | 4694 | 1011 | 116.4 | 122.6 | 134.3 | 103 | 114.3 | 143.1 | 124.5 | 121.6 | 79.83 | 82.97 | 66.73 | 69.33 | 74.7 | 88 | 67.72 | 58.41 | 61.72 | 51.29 | 47.27 | 53.73 | 46.75 | 47.93 | 45.3 | 38.59 | 36.16 | 35.22 | 32.92 | 28.29 | 24.84 | 28.21 | 23.52 | 26.94 | 25.93 | 39.83 | 40.41 | 20.9 | 19.9 | 19.45 | 17.57