## Sheet1
Report date: | 14:38:38, 04/15/2024
Sample: | 1
File name:
Run date: | 14:35:58, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/275.0 | 148.2
2 | 230.0/310.0 | 421.7
3 | 230.0/325.0 | 549.6
4 | 230.0/340.0 | 533.4
5 | 230.0/400.0 | 207.1
6 | 230.0/425.0 | 205.3
7 | 235.0/260.0 | 139.7
8 | 235.0/300.0 | 261.6
9 | 235.0/350.0 | 433.5
10 | 235.0/365.0 | 382.5
11 | 235.0/375.0 | 359.4
12 | 235.0/390.0 | 245.3
13 | 235.0/410.0 | 199.6
14 | 240.0/265.0 | 159.1
15 | 240.0/395.0 | 212.2
16 | 240.0/435.0 | 209.8
17 | 245.0/385.0 | 229
18 | 245.0/410.0 | 174.2
19 | 245.0/420.0 | 194.6
20 | 250.0/275.0 | 169.1
21 | 250.0/405.0 | 170.2
22 | 250.0/415.0 | 196.7
23 | 250.0/430.0 | 161.2
24 | 250.0/445.0 | 170.5
25 | 255.0/280.0 | 188.3
26 | 255.0/410.0 | 176.3
27 | 255.0/480.0 | 144.1
28 | 260.0/435.0 | 172.5
29 | 265.0/440.0 | 169.5
30 | 265.0/455.0 | 156.1
31 | 265.0/480.0 | 141.1
32 | 270.0/450.0 | 185.4
33 | 270.0/460.0 | 178.2
34 | 275.0/440.0 | 187.7
35 | 275.0/485.0 | 140.8
36 | 280.0/450.0 | 185.8
37 | 280.0/465.0 | 188.8
38 | 285.0/260.0 | 96.77
39 | 285.0/330.0 | 3674
40 | 285.0/435.0 | 220.1
41 | 285.0/460.0 | 172.5
42 | 285.0/475.0 | 167.3
43 | 290.0/255.0 | 108.3
44 | 290.0/335.0 | 3598
45 | 290.0/485.0 | 147.2
46 | 295.0/265.0 | 93.41
47 | 295.0/440.0 | 201.4
48 | 295.0/460.0 | 161.1
49 | 295.0/470.0 | 148.5
50 | 300.0/270.0 | 94.54
51 | 305.0/255.0 | 70.85
52 | 310.0/455.0 | 117.8
53 | 310.0/465.0 | 123.5
54 | 310.0/495.0 | 107.7
55 | 315.0/415.0 | 207.4
56 | 315.0/445.0 | 194.2
57 | 315.0/460.0 | 120.7
58 | 315.0/485.0 | 112.7
59 | 320.0/360.0 | 301
60 | 325.0/255.0 | 45.89
61 | 325.0/285.0 | 66.3
62 | 325.0/365.0 | 274.2
63 | 325.0/450.0 | 115.5
64 | 330.0/275.0 | 59.39
65 | 330.0/370.0 | 275.9
66 | 330.0/395.0 | 111.3
67 | 330.0/440.0 | 112.9
68 | 330.0/455.0 | 101.1
69 | 330.0/465.0 | 101.1
70 | 335.0/255.0 | 43.05
71 | 335.0/380.0 | 242.3
72 | 335.0/410.0 | 105.8
73 | 335.0/475.0 | 78.4
74 | 340.0/285.0 | 40.96
75 | 340.0/300.0 | 69.68
76 | 340.0/385.0 | 222.7
77 | 340.0/415.0 | 98.88
78 | 340.0/430.0 | 107.5
79 | 340.0/460.0 | 90.65
80 | 340.0/480.0 | 74.33
81 | 345.0/270.0 | 35.88
82 | 345.0/280.0 | 44.46
83 | 345.0/390.0 | 224.1
84 | 350.0/295.0 | 55.41
85 | 350.0/400.0 | 222.3
86 | 350.0/415.0 | 167.4
87 | 350.0/435.0 | 174.6
88 | 350.0/465.0 | 122.9
89 | 355.0/265.0 | 36.73
90 | 355.0/405.0 | 189.6
91 | 360.0/270.0 | 38.96
92 | 360.0/300.0 | 41.02
93 | 360.0/410.0 | 180.8
94 | 360.0/450.0 | 91.78
95 | 360.0/485.0 | 64.18
96 | 365.0/285.0 | 34.05
97 | 365.0/415.0 | 181.4
98 | 365.0/435.0 | 92.79
99 | 370.0/290.0 | 33.69
100 | 370.0/425.0 | 168
101 | 375.0/260.0 | 42.22
102 | 375.0/430.0 | 136
103 | 380.0/265.0 | 35.89
104 | 380.0/295.0 | 33.29
105 | 380.0/435.0 | 105.2
106 | 380.0/475.0 | 59.42
107 | 385.0/270.0 | 36.16
108 | 385.0/290.0 | 27.61
109 | 385.0/315.0 | 27.6
110 | 385.0/445.0 | 109.8
111 | 385.0/490.0 | 43.09
112 | 390.0/275.0 | 34.71
113 | 390.0/310.0 | 25.48
114 | 390.0/320.0 | 28.07
115 | 390.0/330.0 | 28.52
116 | 390.0/450.0 | 90.12
117 | 390.0/485.0 | 39.31
118 | 395.0/280.0 | 30.22
119 | 395.0/295.0 | 22.48
120 | 395.0/455.0 | 84.17
121 | 400.0/465.0 | 70.44
122 | 400.0/490.0 | 31.55
123 | 405.0/290.0 | 26.59
124 | 405.0/300.0 | 20.85
125 | 405.0/345.0 | 24.2
126 | 405.0/470.0 | 68.67
127 | 410.0/265.0 | 25.08
128 | 410.0/295.0 | 26.92
129 | 410.0/340.0 | 23.56
130 | 410.0/475.0 | 63.52
131 | 415.0/255.0 | 19.42
132 | 415.0/275.0 | 22.4
133 | 415.0/325.0 | 18.22
134 | 415.0/455.0 | 35.14
135 | 415.0/485.0 | 44.24
136 | 420.0/310.0 | 21.8
137 | 420.0/490.0 | 45.2
138 | 425.0/285.0 | 22.24
139 | 425.0/370.0 | 21.96
140 | 425.0/455.0 | 38.28
141 | 425.0/465.0 | 32.14
142 | 430.0/315.0 | 25.03
143 | 430.0/335.0 | 17
144 | 430.0/355.0 | 17.89
145 | 435.0/260.0 | 18.03
146 | 435.0/290.0 | 19.85
147 | 435.0/330.0 | 17.55
148 | 435.0/345.0 | 17.23
149 | 435.0/470.0 | 31.85
150 | 440.0/325.0 | 19.7
151 | 445.0/295.0 | 17.58
152 | 445.0/370.0 | 16.69
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 193.2 | 117.3 | 129.3 | 115.8 | 115.8 | 4202 | 9999.9 | 3555 | 122.6 | 105.2 | 102.7 | 88.75 | 82.96 | 76.55 | 72.34 | 82.71 | 80.05 | 63.88 | 64.78 | 44.77 | 41.42 | 45.38 | 38.44 | 29.6 | 31.1 | 33.07 | 37.62 | 30.46 | 41.56 | 36.8 | 29.21 | 31.02 | 31.46 | 28.41 | 32.28 | 26.07 | 20.67 | 21.39 | 17.9 | 18.79 | 20.37 | 16.72 | 12.48 | 10.39 | 12.11 | 10.29 | 9.485
255 | 125.1 | 107 | 101.7 | 133.4 | 129.8 | 385 | 3622 | 9999.9 | 8177 | 364.5 | 90.16 | 76.55 | 85.84 | 96.06 | 108.3 | 71.01 | 51.16 | 70.85 | 51.18 | 47.86 | 42.02 | 45.89 | 34.42 | 43.05 | 32.27 | 28.82 | 35.52 | 31.46 | 28.43 | 29.81 | 34.28 | 35.18 | 32.4 | 22.35 | 24.7 | 25.01 | 24.61 | 20.45 | 16.85 | 19.42 | 16.31 | 18.64 | 14.76 | 14.12 | 10.98 | 9.889 | 8.363
260 | 93.54 | 90.71 | 128.9 | 139.7 | 103.2 | 175.5 | 356.2 | 4211 | 9999.9 | 9999.9 | 424 | 104.6 | 70.67 | 96.77 | 87.89 | 90.41 | 61.82 | 70.58 | 66.22 | 54.95 | 53.59 | 41.98 | 37 | 42.66 | 33.97 | 35 | 35.1 | 27.46 | 34.51 | 36.8 | 32.7 | 42.22 | 35.5 | 21.31 | 21.77 | 22.72 | 24.25 | 20.78 | 23 | 15.98 | 19.24 | 18.19 | 14.2 | 18.03 | 14.29 | 9.892 | 8.748
265 | 128.8 | 95.69 | 105.2 | 106.1 | 159.1 | 150.3 | 142.3 | 376.2 | 5637 | 9999.9 | 9999.9 | 428.6 | 80.11 | 86.71 | 77.85 | 93.41 | 81.14 | 59.49 | 62.97 | 55.69 | 46.18 | 46.2 | 28.15 | 37.97 | 27.58 | 33.33 | 29.15 | 36.73 | 31.13 | 30.91 | 27.69 | 30.88 | 35.89 | 28.93 | 22.25 | 22.34 | 20.79 | 16.74 | 25.08 | 20.52 | 15.98 | 18.38 | 15.07 | 14.1 | 10.53 | 10.49 | 10.37
270 | 98.95 | 98.87 | 70.18 | 114.3 | 125.3 | 123.2 | 112.9 | 109.9 | 437.6 | 7188 | 9999.9 | 9999.9 | 605.9 | 88.89 | 108.5 | 75.78 | 94.54 | 74.28 | 61.55 | 43.96 | 50.53 | 37.66 | 44.41 | 36.72 | 30.1 | 35.88 | 34.84 | 31.77 | 38.96 | 28.2 | 27.99 | 16.73 | 31.34 | 36.16 | 29.23 | 25.64 | 20.42 | 20.66 | 18.53 | 19.93 | 18.69 | 19.64 | 17.11 | 16.92 | 16.48 | 11.32 | 13.09
275 | 131.7 | 148.2 | 124.1 | 133.1 | 102.2 | 166.8 | 169.1 | 133.8 | 115.8 | 565.7 | 9192 | 9999.9 | 9999.9 | 743.8 | 106.8 | 104.6 | 74.5 | 86.13 | 61.01 | 45.81 | 49.32 | 53.41 | 59.39 | 46.25 | 33.17 | 32.75 | 27.61 | 30.91 | 30.24 | 26.52 | 25.41 | 22.25 | 24.43 | 32.43 | 34.71 | 25.95 | 23.18 | 20.06 | 18.52 | 22.4 | 19.82 | 19.13 | 16.96 | 15.93 | 11.52 | 14.9 | 11.4
280 | 107.8 | 131.1 | 117.5 | 124.6 | 108.9 | 129.8 | 126 | 188.3 | 144.1 | 153.6 | 728.1 | 9999.9 | 9999.9 | 9999.9 | 816.6 | 137.2 | 108.2 | 75.92 | 85.39 | 66.58 | 69.75 | 38.35 | 48.4 | 38.49 | 32.09 | 44.46 | 36.64 | 33.72 | 26.18 | 29.58 | 27.57 | 28.22 | 26.27 | 24.93 | 28.25 | 30.22 | 28.36 | 21.54 | 19.98 | 16.34 | 19.59 | 19.51 | 18.71 | 15.83 | 11.13 | 16.26 | 15.36
285 | 125.1 | 122.4 | 135.3 | 147.6 | 140.5 | 136.4 | 120 | 135.8 | 182 | 213.9 | 234.8 | 810.9 | 9999.9 | 9999.9 | 9999.9 | 1045 | 139.7 | 78.62 | 76.54 | 81.07 | 55.03 | 66.3 | 50.35 | 33.27 | 40.96 | 30.37 | 33.14 | 25.6 | 29.05 | 34.05 | 31.82 | 23.31 | 25.74 | 22.86 | 19.6 | 21.66 | 23.87 | 25.16 | 20.48 | 18.83 | 21.52 | 22.24 | 19.48 | 16.74 | 14.41 | 14.56 | 13.39
290 | 138.3 | 125.9 | 156.3 | 142.3 | 155.3 | 137.9 | 107.3 | 164.8 | 192.2 | 246.1 | 266.1 | 285.9 | 931.8 | 9999.9 | 9999.9 | 9999.9 | 964.8 | 114.7 | 103.9 | 88.78 | 55.86 | 65.15 | 52.16 | 47.7 | 31.86 | 34.47 | 47.03 | 35.9 | 26.51 | 23.32 | 33.69 | 27.61 | 23.62 | 27.61 | 19.64 | 17.3 | 20.31 | 26.59 | 23.6 | 22.5 | 16.04 | 14.16 | 15.8 | 19.85 | 13.42 | 16.63 | 14.82
295 | 100 | 223.6 | 226.6 | 205.7 | 198.4 | 137.6 | 115.2 | 168.5 | 204.4 | 327.6 | 470.3 | 461.2 | 617.2 | 1262 | 9999.9 | 9999.9 | 9999.9 | 1150 | 121.1 | 82.94 | 86.1 | 65.28 | 58.37 | 56 | 38.51 | 32.99 | 55.41 | 31.43 | 31.28 | 31.62 | 28.04 | 23.91 | 33.29 | 24.05 | 20.35 | 22.48 | 18.86 | 14.93 | 26.92 | 20.68 | 21.25 | 16 | 17.14 | 17.54 | 17.1 | 17.58 | 15.98
300 | 155.1 | 216.6 | 203 | 261.6 | 230.8 | 182.4 | 190.9 | 147.2 | 318.9 | 401.1 | 616.5 | 824.8 | 1052 | 1086 | 1460 | 9999.9 | 9999.9 | 9999.9 | 1278 | 109.4 | 108.9 | 76.29 | 66.55 | 48.89 | 69.68 | 35.97 | 32.64 | 31.54 | 41.02 | 40.34 | 32.16 | 24.23 | 20.59 | 20.16 | 19.69 | 18.71 | 18.74 | 20.85 | 18.68 | 21.5 | 19.45 | 17.92 | 16.34 | 17.33 | 16.81 | 15.47 | 14.69
305 | 141.5 | 197.2 | 297.2 | 220.6 | 229.5 | 198.6 | 192.3 | 225.6 | 285.7 | 552.6 | 775.1 | 1250 | 1470 | 1685 | 1234 | 1381 | 9999.9 | 9999.9 | 9999.9 | 1145 | 109.4 | 118.4 | 83.45 | 73.98 | 56.66 | 52.28 | 46.33 | 31.15 | 36 | 33.4 | 28.88 | 22.85 | 23.23 | 22.16 | 20.36 | 16.45 | 16.55 | 16.63 | 16.39 | 21.42 | 20.14 | 18.99 | 15.23 | 13.79 | 12.4 | 14.6 | 22.2
310 | 264.7 | 379.4 | 421.7 | 290.7 | 269 | 208.8 | 203.6 | 286.8 | 391.2 | 590.7 | 1081 | 1383 | 2018 | 2125 | 1718 | 1074 | 1254 | 9999.9 | 9999.9 | 9999.9 | 1138 | 132.4 | 88.18 | 68.59 | 52.02 | 48.74 | 50.27 | 47 | 41.48 | 27.68 | 31.24 | 28.13 | 20.05 | 18.85 | 25.48 | 18.57 | 17.84 | 16.48 | 20.06 | 18.57 | 21.8 | 17.04 | 20.84 | 18.1 | 14.72 | 16.08 | 19.75
315 | 255.6 | 363.9 | 351.6 | 345.4 | 296 | 246.1 | 276.7 | 336.4 | 498.2 | 923.2 | 1402 | 1675 | 2415 | 2729 | 2331 | 1529 | 800.2 | 1006 | 9999.9 | 9999.9 | 9999.9 | 1042 | 108.8 | 77.22 | 59.97 | 53.56 | 55.71 | 53.48 | 52.62 | 32.9 | 31.82 | 26.63 | 24.04 | 27.6 | 22.41 | 19.88 | 18.05 | 18.77 | 19.03 | 16.18 | 19.81 | 20.6 | 25.03 | 19.92 | 14.55 | 11.82 | 18.02
320 | 222.1 | 366 | 468.8 | 387 | 384.6 | 278.2 | 303 | 389.4 | 540 | 981.4 | 1364 | 2105 | 2667 | 2995 | 2941 | 1882 | 729.8 | 460.1 | 937 | 9999.9 | 9999.9 | 9999.9 | 954.3 | 108.9 | 86.67 | 69.24 | 66.01 | 37.98 | 44.07 | 37.29 | 37.44 | 29.07 | 27.47 | 25.14 | 28.07 | 20.18 | 21.33 | 19.77 | 19.02 | 16.81 | 14.54 | 18.31 | 20.46 | 19.73 | 15.45 | 19.5 | 14.09
325 | 299.3 | 356.7 | 549.6 | 423.2 | 355.9 | 309 | 274 | 405.5 | 662.8 | 1016 | 1626 | 2316 | 3029 | 3425 | 3411 | 2315 | 1200 | 523.3 | 281.5 | 915.8 | 9999.9 | 9999.9 | 9999.9 | 1036 | 92.92 | 87.45 | 70.16 | 57.09 | 54.2 | 50.93 | 43.97 | 30.28 | 29.66 | 27.48 | 25.3 | 23.95 | 25.25 | 17.73 | 14.93 | 18.22 | 14.43 | 16.89 | 15.28 | 16.34 | 19.7 | 16.06 | 14.89
330 | 212.4 | 422.7 | 487 | 481.3 | 363.3 | 342 | 297.8 | 480.7 | 641 | 1201 | 1576 | 2282 | 3058 | 3674 | 3493 | 2290 | 1273 | 505.5 | 242.1 | 233.9 | 888 | 9999.9 | 9999.9 | 9999.9 | 909.1 | 106.6 | 80.25 | 59.29 | 58.46 | 47.67 | 38.73 | 33.54 | 28.58 | 26.03 | 28.52 | 21.55 | 20 | 20.16 | 19.41 | 17.03 | 14.99 | 15.24 | 16.26 | 17.55 | 16.6 | 16.07 | 18.25
335 | 239.9 | 392.1 | 519.7 | 467.1 | 311.3 | 334.9 | 348.9 | 475.6 | 653.7 | 1108 | 1834 | 2246 | 3089 | 3548 | 3598 | 2490 | 1311 | 585.5 | 280.1 | 175.5 | 197.4 | 865.7 | 9999.9 | 9999.9 | 9999.9 | 859.4 | 110.6 | 80.4 | 63.72 | 47.71 | 45.85 | 34.26 | 35.39 | 25.63 | 25.27 | 18.72 | 18.57 | 18.94 | 17.94 | 17.9 | 15.19 | 16.52 | 17 | 16.28 | 14.43 | 16.44 | 15.58
340 | 243.2 | 388.3 | 533.4 | 410.7 | 371.2 | 286.1 | 264 | 342.7 | 566.7 | 1141 | 1584 | 2166 | 3067 | 3287 | 3278 | 2184 | 1205 | 739.9 | 291.3 | 152.2 | 152 | 182.6 | 830.2 | 9999.9 | 9999.9 | 9999.9 | 994.7 | 104 | 82.53 | 59.01 | 50.95 | 38.74 | 37.63 | 31.77 | 31.28 | 27.35 | 19.15 | 19.96 | 23.56 | 14.55 | 16.12 | 16.38 | 11.64 | 13.1 | 14.68 | 15.1 | 16.84
345 | 251.6 | 372.7 | 505 | 410.4 | 355.9 | 284.8 | 287.7 | 423.8 | 700.9 | 948 | 1382 | 2238 | 3146 | 3216 | 3040 | 2194 | 1102 | 593.7 | 488.1 | 195.8 | 109.8 | 114.1 | 189.3 | 843.9 | 9999.9 | 9999.9 | 9999.9 | 842.7 | 106.2 | 87.22 | 61.81 | 41.26 | 48.5 | 28.54 | 27.62 | 24.71 | 20.86 | 24.2 | 20.34 | 19.44 | 13.55 | 15.53 | 16.07 | 17.23 | 13.77 | 14.55 | 14.87
350 | 205.9 | 358.6 | 411.2 | 433.5 | 288 | 247.2 | 279.5 | 343.2 | 526.7 | 797.9 | 1299 | 1871 | 2542 | 2833 | 2645 | 2002 | 924.2 | 481 | 350.4 | 306.5 | 129 | 97.3 | 111.4 | 165.4 | 824.9 | 9999.9 | 9999.9 | 9999.9 | 869.1 | 112 | 74.69 | 66.03 | 44.97 | 39.2 | 28.63 | 28.31 | 21.59 | 19.72 | 21.9 | 17.39 | 16.06 | 15.42 | 12.83 | 13.26 | 13.56 | 13.2 | 13.07
355 | 201.6 | 342.6 | 408.1 | 305 | 307.3 | 268.6 | 225.5 | 348.6 | 518.3 | 856 | 1158 | 1511 | 2353 | 2612 | 2190 | 1656 | 863.2 | 444.4 | 199.5 | 289.9 | 220.5 | 114.7 | 80.87 | 95.49 | 165.7 | 811.3 | 9999.9 | 9999.9 | 9999.9 | 792.8 | 91.25 | 73.61 | 54.07 | 38.75 | 38.71 | 29.27 | 29.2 | 14.04 | 22.89 | 21.46 | 16.79 | 16.3 | 17.89 | 13.76 | 13.45 | 17.6 | 13.31
360 | 234.2 | 242.7 | 326 | 323.5 | 174.9 | 201.2 | 223.4 | 277.7 | 448.4 | 633.1 | 956.7 | 1392 | 1806 | 2106 | 2019 | 1481 | 720.3 | 351.7 | 191.6 | 175.5 | 301 | 167.1 | 109.2 | 98.21 | 102.4 | 166.6 | 815.8 | 9999.9 | 9999.9 | 9999.9 | 710.4 | 99.11 | 71.96 | 53.93 | 39.1 | 30.29 | 30.25 | 22.01 | 22.62 | 21.45 | 19.34 | 15.76 | 15.8 | 13.29 | 13.11 | 14.34 | 11.99
365 | 193.2 | 263.9 | 359.8 | 382.5 | 215.7 | 253 | 234.9 | 336.1 | 357 | 626.5 | 821.4 | 1229 | 1693 | 1830 | 1695 | 1256 | 641.2 | 341.8 | 200.4 | 136.4 | 191.2 | 274.2 | 144.8 | 87 | 95.44 | 107.1 | 168.2 | 819.3 | 9999.9 | 9999.9 | 9999.9 | 683.1 | 88.4 | 72.34 | 46.9 | 40.13 | 28.78 | 27.24 | 23.88 | 21.74 | 20.48 | 15.04 | 15 | 14.92 | 13.21 | 16.56 | 14.99
370 | 203.3 | 191 | 304.7 | 280 | 266.5 | 213.2 | 213.6 | 282.2 | 416.1 | 595.2 | 713.9 | 1102 | 1278 | 1534 | 1570 | 1079 | 599.6 | 330.8 | 182.3 | 128.2 | 109.2 | 197.7 | 275.9 | 103.8 | 80.2 | 99.11 | 112 | 155.1 | 836.9 | 9999.9 | 9999.9 | 9999.9 | 599.5 | 87.94 | 65.84 | 43.41 | 32.37 | 27.52 | 26.13 | 21.91 | 20.96 | 21.96 | 17.06 | 14.36 | 15.59 | 16.69 | 14.28
375 | 219.5 | 211.8 | 266.6 | 359.4 | 184.2 | 203.9 | 227.4 | 233.4 | 316.3 | 374.7 | 560.1 | 847.4 | 1215 | 1116 | 1165 | 813.1 | 476.5 | 254.6 | 164.4 | 137.7 | 101.7 | 118.1 | 261.5 | 207.9 | 88.94 | 83.05 | 84.06 | 88.42 | 156.3 | 824.9 | 9999.9 | 9999.9 | 9999.9 | 561.2 | 84.39 | 59.82 | 33.99 | 33.19 | 26.53 | 23.25 | 19.29 | 17.5 | 19 | 18.67 | 13.65 | 14.19 | 12.85
380 | 151.7 | 209.1 | 205.3 | 216.5 | 193.6 | 172.9 | 217.1 | 267.3 | 293.1 | 412.1 | 490.5 | 702.4 | 828.4 | 1029 | 1078 | 730.4 | 436.2 | 212.3 | 145.9 | 140.9 | 103 | 94.84 | 135.1 | 242.3 | 159.8 | 87.53 | 83.5 | 86.94 | 94.75 | 145.1 | 812.9 | 9999.9 | 9999.9 | 9999.9 | 571.2 | 75.49 | 59.11 | 34.52 | 26.46 | 29.28 | 20.66 | 22.19 | 18.01 | 19.38 | 15.07 | 15.04 | 11.82
385 | 180.8 | 204.3 | 219.6 | 222 | 182.2 | 229 | 207.6 | 159.3 | 236 | 322 | 393.9 | 563.4 | 676.6 | 820.5 | 861.2 | 660.1 | 346.4 | 224.4 | 152.5 | 117.6 | 102.9 | 105.3 | 122.3 | 157.6 | 222.7 | 125.1 | 89.99 | 77.87 | 73 | 94.06 | 151 | 816.2 | 9999.9 | 9999.9 | 9999.9 | 456.1 | 78.78 | 62.25 | 33.53 | 21.88 | 21.92 | 25.96 | 19.49 | 16.38 | 16.01 | 16.56 | 12.15
390 | 162.3 | 162.7 | 220 | 245.3 | 185.8 | 191 | 153.4 | 157.9 | 172.9 | 255 | 398.6 | 454.4 | 627.1 | 681.2 | 691.9 | 535.3 | 334.2 | 210.6 | 134.7 | 121.6 | 104 | 111.1 | 94.12 | 124.1 | 168.1 | 224.1 | 131.3 | 79.08 | 83.03 | 69.99 | 93.36 | 135.7 | 809.3 | 9999.9 | 9999.9 | 9999.9 | 481.1 | 74.49 | 49.4 | 38.25 | 27.44 | 24.46 | 21.37 | 19.34 | 20.92 | 14.76 | 13.18
395 | 126.2 | 184.1 | 194.2 | 197 | 212.2 | 172.8 | 146.9 | 136.8 | 163.4 | 271.7 | 280.6 | 438 | 486.5 | 563.8 | 501.1 | 462.6 | 251.5 | 168.8 | 136.8 | 128.3 | 80.18 | 91.9 | 111.3 | 101.5 | 89.2 | 172.4 | 201.5 | 100.1 | 76.99 | 70.15 | 80.51 | 79.25 | 147.9 | 807 | 9999.9 | 9999.9 | 9999.9 | 432.6 | 67.66 | 48.85 | 38.3 | 29.14 | 25.48 | 20.28 | 20.85 | 18.25 | 12.44
400 | 200 | 154.8 | 207.1 | 186.7 | 205.1 | 151 | 166.4 | 160.9 | 166.2 | 189.9 | 303.3 | 381 | 458.6 | 464.3 | 405.5 | 337.9 | 252 | 161 | 125.6 | 139.2 | 111.5 | 106.7 | 88.92 | 89.5 | 111.3 | 107.5 | 222.3 | 162.6 | 91.35 | 68.22 | 68.38 | 73.24 | 75.9 | 138.9 | 788.9 | 9999.9 | 9999.9 | 9999.9 | 359.1 | 61.55 | 49.97 | 33.15 | 25.13 | 18.65 | 21.11 | 16.57 | 13.88
405 | 161.3 | 144.8 | 192.1 | 196.8 | 186.4 | 150.9 | 170.2 | 129.9 | 176.3 | 202 | 288.8 | 294.7 | 380.5 | 447.8 | 331.2 | 290.3 | 207.5 | 174.2 | 132.3 | 148.4 | 133.4 | 97.7 | 95.73 | 92.91 | 98.12 | 85.14 | 164.7 | 189.6 | 150.6 | 79.28 | 76.04 | 59.65 | 68.27 | 62.72 | 120.2 | 763.3 | 9999.9 | 9999.9 | 9999.9 | 374.5 | 60.43 | 41.83 | 26.6 | 22.24 | 22.66 | 18.72 | 12.84
410 | 174.2 | 166.9 | 175.7 | 199.6 | 147.5 | 174.2 | 154.5 | 176.3 | 171.1 | 155.5 | 190.7 | 258 | 330.7 | 352.6 | 348.7 | 296.6 | 185 | 142.6 | 101 | 153.4 | 132.2 | 96.51 | 102.7 | 105.8 | 87.89 | 86.79 | 160.1 | 148.2 | 180.8 | 114.1 | 75.71 | 57.92 | 62.87 | 64.59 | 77.97 | 113.8 | 754.6 | 9999.9 | 9999.9 | 9999.9 | 341.3 | 60.39 | 41.51 | 29.24 | 23.92 | 23.78 | 14.29
415 | 150.6 | 181.9 | 168.6 | 196.3 | 144.6 | 147.6 | 196.7 | 117.5 | 156.1 | 159.2 | 184.2 | 209.9 | 282.7 | 362.5 | 320 | 239.7 | 145.4 | 134.2 | 110.3 | 207.4 | 113.2 | 90.53 | 87.52 | 97.95 | 98.88 | 88.43 | 167.4 | 112.9 | 141.7 | 181.4 | 100.6 | 59.32 | 56.33 | 45.93 | 54.61 | 61.33 | 120.5 | 763 | 9999.9 | 9999.9 | 9999.9 | 332.4 | 53.42 | 39 | 26.06 | 22.75 | 21.25
420 | 128.2 | 179.8 | 180.1 | 144 | 182.7 | 194.6 | 139.6 | 143.9 | 127.6 | 163.1 | 184.9 | 189.6 | 245.4 | 259.6 | 275.2 | 206.5 | 193.2 | 139.1 | 123.1 | 169.2 | 113.2 | 98.05 | 95.52 | 91.18 | 87.07 | 96.84 | 154.9 | 85.9 | 113.5 | 158.6 | 148.7 | 91.28 | 65.39 | 51.35 | 51.96 | 62.8 | 59.47 | 108.7 | 756.7 | 9999.9 | 9999.9 | 9999.9 | 303.3 | 51.67 | 42.6 | 25.55 | 23.88
425 | 146.9 | 132.8 | 205.3 | 195.6 | 203.3 | 148.8 | 145.9 | 125.1 | 149.7 | 156 | 137.3 | 181 | 246.1 | 209.2 | 249.5 | 199.5 | 164.2 | 125.2 | 104 | 182.8 | 116 | 104.7 | 96.94 | 95.74 | 101.2 | 91.72 | 141.7 | 87.15 | 76.58 | 104 | 168 | 114.4 | 76.86 | 57.34 | 47.59 | 47.82 | 48.56 | 55.1 | 99.61 | 754.5 | 9999.9 | 9999.9 | 9999.9 | 260.1 | 53.41 | 33.27 | 25.4
430 | 196.4 | 166.4 | 191.3 | 182.4 | 190.2 | 125.4 | 161.2 | 129.2 | 170.7 | 137.6 | 167 | 191.5 | 194.1 | 218.1 | 192.4 | 162.2 | 132.7 | 109.1 | 95.99 | 147.9 | 121.8 | 124.1 | 99.91 | 96.62 | 107.5 | 89.14 | 148.4 | 78.21 | 84.75 | 78.65 | 111.9 | 136 | 83.42 | 58.49 | 46.64 | 42.5 | 40.83 | 41.51 | 53.1 | 96.86 | 745.1 | 9999.9 | 9999.9 | 9999.9 | 263.6 | 57.05 | 34.67
435 | 483.1 | 194.4 | 157.1 | 134.4 | 209.8 | 179.6 | 120.9 | 139.3 | 172.5 | 115.4 | 177.9 | 164.2 | 195.9 | 220.1 | 208.4 | 170.1 | 137.1 | 109.6 | 112.6 | 155.8 | 106.8 | 109.4 | 109.1 | 95.07 | 81.39 | 81.71 | 174.6 | 86.68 | 92.23 | 92.79 | 67.34 | 97.8 | 105.2 | 69.31 | 47.86 | 34.83 | 36.45 | 38.5 | 42.44 | 45.55 | 98.71 | 750.5 | 9999.9 | 9999.9 | 9999.9 | 267.5 | 51.19
440 | 547 | 403.7 | 192.7 | 210.2 | 171.4 | 185.8 | 143.5 | 111.1 | 119.6 | 169.5 | 144.3 | 187.7 | 167.3 | 184.1 | 155.7 | 201.4 | 127.5 | 136 | 133.6 | 162.3 | 94.66 | 109.8 | 112.9 | 92.63 | 83.75 | 84.69 | 166.6 | 86.64 | 80.63 | 70.4 | 56.15 | 68.98 | 104.1 | 95.61 | 55.12 | 39.12 | 39.23 | 39.3 | 36 | 35.72 | 41.61 | 98.51 | 739.2 | 9999.9 | 9999.9 | 9999.9 | 235.8
445 | 330.7 | 738.8 | 224.6 | 151.1 | 163.1 | 144.2 | 170.5 | 118.6 | 152.8 | 149.1 | 173.8 | 180.4 | 156 | 201.5 | 175.3 | 146 | 141.7 | 104.9 | 88.94 | 194.2 | 109.5 | 74.5 | 87.29 | 85.27 | 91.31 | 90.09 | 137.2 | 77.58 | 74.72 | 66.17 | 59.14 | 69.4 | 75.88 | 109.8 | 78.44 | 46.71 | 38.36 | 38.35 | 35.44 | 36.45 | 35.07 | 44.03 | 95.54 | 731.8 | 9999.9 | 9999.9 | 9999.9
450 | 152 | 852.2 | 493.5 | 156.9 | 154.2 | 151.2 | 157.1 | 149.3 | 117.9 | 135.3 | 185.4 | 154.1 | 185.8 | 147.2 | 164 | 157 | 119.7 | 126.3 | 101.6 | 139.8 | 86.9 | 115.5 | 88.55 | 79.06 | 86.05 | 79.47 | 136.6 | 65.15 | 91.78 | 62.83 | 62.55 | 56.34 | 48.19 | 72.86 | 90.12 | 51.83 | 37.29 | 37.54 | 34.02 | 32.19 | 36.06 | 32.99 | 40.36 | 91.11 | 734.3 | 9999.9 | 9999.9
455 | 170.7 | 607.9 | 1038 | 193.3 | 126 | 132.1 | 101 | 111.5 | 136 | 156.1 | 95.04 | 147.5 | 151.3 | 148.6 | 146.1 | 156.9 | 108.8 | 115 | 117.8 | 110.7 | 96.37 | 63.32 | 101.1 | 89.24 | 78.99 | 81.86 | 126.9 | 90.97 | 78.82 | 65.29 | 65.13 | 49.04 | 47.88 | 57.19 | 71.65 | 84.17 | 45.95 | 33.16 | 33.58 | 35.14 | 30.97 | 38.28 | 30.71 | 39.85 | 85.53 | 752.4 | 9999.9
460 | 184 | 246.1 | 1626 | 752.6 | 170.8 | 197.2 | 142.4 | 97.28 | 126.5 | 119 | 178.2 | 125 | 137.6 | 172.5 | 128.3 | 161.1 | 151.5 | 120.7 | 90.44 | 120.7 | 98.66 | 86.77 | 77.52 | 87.27 | 90.65 | 75.48 | 109.5 | 77.68 | 71.64 | 64 | 60.97 | 55.09 | 51.74 | 48 | 46.33 | 74.22 | 66.21 | 48.54 | 35.75 | 26.31 | 31.57 | 28 | 32.13 | 29.67 | 39.31 | 87.07 | 717.1
465 | 127.6 | 201.3 | 941 | 1910 | 307.4 | 186.3 | 129.8 | 157.7 | 105.4 | 119.4 | 137.4 | 159.7 | 188.8 | 161 | 154.7 | 124.1 | 133.3 | 118.8 | 123.5 | 120.4 | 100.9 | 91.03 | 101.1 | 76.58 | 86.27 | 73.06 | 122.9 | 78.9 | 81.4 | 66.09 | 54.05 | 47.81 | 51.76 | 52.13 | 39.11 | 46.56 | 70.44 | 58.84 | 35.97 | 29.59 | 26.88 | 32.14 | 29.35 | 30.07 | 31.68 | 33.42 | 84.97
470 | 133.5 | 160.8 | 238.4 | 2873 | 1150 | 196 | 152.6 | 161 | 148.5 | 153.9 | 118.2 | 148.8 | 133 | 141.1 | 136.8 | 148.5 | 116 | 78.62 | 76.66 | 113 | 97.84 | 77.26 | 89.18 | 60.17 | 88.21 | 76.01 | 114.9 | 66.98 | 72.77 | 65.81 | 59.75 | 41.65 | 48.92 | 35.52 | 36.26 | 34.61 | 47.45 | 68.67 | 46.24 | 29.48 | 29.37 | 29.49 | 31.44 | 31.85 | 30.14 | 31.57 | 35.59
475 | 211.5 | 162 | 198.6 | 1613 | 2753 | 261.5 | 106.1 | 112.8 | 125.3 | 121.2 | 119 | 128.7 | 131 | 167.3 | 144.1 | 126.4 | 104.7 | 111 | 89.49 | 90.24 | 85.46 | 86.8 | 62.38 | 78.4 | 70.41 | 68.79 | 102.3 | 66.36 | 57.04 | 62.37 | 50.76 | 43.91 | 59.42 | 41.26 | 37 | 34.43 | 32.51 | 51.58 | 63.52 | 34.03 | 27.19 | 27.27 | 27.45 | 20.63 | 24.22 | 27.84 | 28.51
480 | 142.6 | 136.2 | 131 | 495.7 | 3504 | 1232 | 126.4 | 144.1 | 132.7 | 141.1 | 131.7 | 118.4 | 113 | 123.8 | 120.5 | 130.8 | 85.24 | 111 | 87.44 | 111.5 | 89.36 | 85.16 | 79.5 | 57.78 | 74.33 | 60.22 | 88.57 | 68.42 | 61.67 | 61.71 | 48.23 | 42.63 | 45.57 | 33.52 | 38.22 | 28.41 | 30.01 | 36.68 | 48.25 | 42.54 | 29.93 | 20.02 | 24.82 | 24.96 | 25.06 | 23.39 | 23.5
485 | 169.2 | 174.7 | 169.4 | 187.4 | 1985 | 3300 | 243.8 | 116.9 | 98.33 | 105.2 | 102.2 | 140.8 | 134.4 | 130.7 | 147.2 | 132.2 | 100.5 | 92.16 | 99.45 | 112.7 | 75.3 | 71.28 | 65.86 | 64.23 | 71.5 | 59.51 | 76.57 | 52.22 | 64.18 | 57.52 | 51.07 | 50.99 | 39.3 | 36.36 | 39.31 | 29.15 | 28.87 | 27.66 | 36.89 | 44.24 | 41.13 | 21.47 | 17.93 | 18.89 | 21.51 | 20.97 | 18.81
490 | 191.3 | 77.5 | 179.6 | 155.3 | 614.7 | 4313 | 1210 | 107.5 | 112.5 | 107.8 | 119.1 | 131.9 | 115.1 | 115.7 | 140.3 | 99.86 | 109.2 | 101.2 | 107.6 | 72.37 | 84.07 | 73.01 | 45.21 | 59.26 | 70.18 | 57.95 | 68.34 | 60.33 | 54.77 | 53.58 | 44.16 | 39.76 | 36.89 | 43.09 | 32.64 | 30.11 | 31.55 | 29.71 | 29.05 | 35.48 | 45.2 | 29.1 | 24.27 | 19.91 | 19.92 | 19.6 | 21.41
495 | 164.8 | 204.8 | 192.3 | 168.3 | 186.5 | 2373 | 3405 | 194.9 | 141.3 | 118.1 | 99.89 | 139.8 | 137.2 | 102.6 | 109.3 | 120.3 | 127.2 | 84.91 | 107.7 | 102.6 | 76.88 | 59.65 | 74.51 | 69.94 | 65.85 | 61.6 | 74.59 | 54.76 | 46.27 | 44.83 | 43.98 | 42.49 | 31.04 | 35.72 | 33.64 | 28.34 | 29.18 | 29.08 | 28.49 | 26.44 | 44.35 | 38.29 | 28.87 | 21.3 | 23.71 | 22.17 | 18.66
500 | 146 | 185.7 | 141.8 | 110 | 170.2 | 851.2 | 4052 | 788.4 | 100.4 | 148.2 | 160.8 | 155.3 | 126.6 | 147.7 | 111.9 | 105.6 | 100.1 | 95.23 | 82.92 | 81.78 | 84.32 | 73.19 | 66.81 | 65.15 | 57.11 | 48.23 | 68.64 | 56.07 | 53.18 | 50.65 | 43 | 41.74 | 37.3 | 37.81 | 32.59 | 32.28 | 26.79 | 23.24 | 25.09 | 23.14 | 28.22 | 40.27 | 30.29 | 22.49 | 18.75 | 22.17 | 17.63