## Sheet1
Report date: | 14:42:39, 04/15/2024
Sample: | 1
File name:
Run date: | 14:39:36, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/385.0 | 272.4
2 | 225.0/415.0 | 238.3
3 | 225.0/485.0 | 195.1
4 | 230.0/325.0 | 562.5
5 | 230.0/370.0 | 325.1
6 | 230.0/390.0 | 265
7 | 230.0/425.0 | 205.8
8 | 230.0/435.0 | 210.1
9 | 235.0/270.0 | 146.7
10 | 235.0/350.0 | 412.3
11 | 235.0/380.0 | 292.8
12 | 235.0/405.0 | 196.9
13 | 240.0/260.0 | 165.1
14 | 240.0/400.0 | 227
15 | 240.0/410.0 | 192.9
16 | 240.0/440.0 | 203.7
17 | 245.0/265.0 | 181.6
18 | 245.0/280.0 | 162.5
19 | 245.0/370.0 | 272.2
20 | 245.0/405.0 | 179.1
21 | 245.0/450.0 | 178
22 | 250.0/275.0 | 200.8
23 | 250.0/410.0 | 214.2
24 | 250.0/460.0 | 165.1
25 | 255.0/280.0 | 176.3
26 | 255.0/420.0 | 180.4
27 | 255.0/455.0 | 185.9
28 | 260.0/285.0 | 215.4
29 | 260.0/435.0 | 150.7
30 | 260.0/450.0 | 163.1
31 | 260.0/470.0 | 173.1
32 | 265.0/415.0 | 179.5
33 | 265.0/425.0 | 198.6
34 | 265.0/445.0 | 151.4
35 | 270.0/435.0 | 188.2
36 | 270.0/455.0 | 149.5
37 | 270.0/490.0 | 150
38 | 275.0/465.0 | 169.3
39 | 280.0/455.0 | 178.4
40 | 280.0/480.0 | 163.3
41 | 285.0/335.0 | 3339
42 | 285.0/440.0 | 190.1
43 | 285.0/485.0 | 145
44 | 290.0/330.0 | 3186
45 | 290.0/430.0 | 239
46 | 290.0/445.0 | 206.6
47 | 290.0/470.0 | 161.8
48 | 290.0/480.0 | 155.5
49 | 290.0/495.0 | 135.4
50 | 295.0/270.0 | 114.9
51 | 295.0/460.0 | 151.4
52 | 300.0/475.0 | 131.8
53 | 300.0/485.0 | 139.5
54 | 305.0/255.0 | 75.54
55 | 305.0/265.0 | 80.93
56 | 315.0/275.0 | 95.07
57 | 315.0/355.0 | 353.1
58 | 315.0/430.0 | 112.9
59 | 315.0/460.0 | 95.39
60 | 315.0/470.0 | 85.5
61 | 320.0/360.0 | 290.1
62 | 320.0/400.0 | 122.2
63 | 320.0/415.0 | 101.8
64 | 320.0/425.0 | 110.2
65 | 320.0/440.0 | 111.2
66 | 320.0/455.0 | 105.6
67 | 320.0/465.0 | 93.21
68 | 320.0/480.0 | 86.22
69 | 325.0/265.0 | 53.54
70 | 325.0/285.0 | 64.07
71 | 325.0/365.0 | 266.1
72 | 325.0/405.0 | 108.7
73 | 325.0/495.0 | 86.04
74 | 330.0/255.0 | 55.88
75 | 330.0/370.0 | 261.2
76 | 330.0/415.0 | 113.2
77 | 335.0/290.0 | 53.89
78 | 335.0/380.0 | 233.7
79 | 335.0/435.0 | 100.1
80 | 335.0/455.0 | 93.96
81 | 335.0/465.0 | 90.99
82 | 340.0/265.0 | 45.99
83 | 340.0/300.0 | 62.4
84 | 340.0/385.0 | 234.2
85 | 340.0/440.0 | 102.6
86 | 340.0/475.0 | 81.31
87 | 345.0/390.0 | 214.2
88 | 345.0/415.0 | 99.72
89 | 345.0/445.0 | 94.5
90 | 345.0/490.0 | 66.34
91 | 350.0/255.0 | 41.35
92 | 350.0/280.0 | 42.13
93 | 350.0/295.0 | 42.8
94 | 350.0/395.0 | 178.8
95 | 350.0/420.0 | 92.45
96 | 350.0/450.0 | 87.26
97 | 350.0/465.0 | 79.15
98 | 350.0/480.0 | 71.35
99 | 355.0/275.0 | 40.9
100 | 355.0/405.0 | 186.3
101 | 355.0/460.0 | 77.79
102 | 360.0/265.0 | 36.49
103 | 360.0/290.0 | 40.07
104 | 360.0/305.0 | 43.25
105 | 360.0/410.0 | 168.2
106 | 360.0/440.0 | 79.81
107 | 365.0/275.0 | 32.73
108 | 365.0/325.0 | 48.25
109 | 365.0/415.0 | 173.7
110 | 365.0/475.0 | 61.84
111 | 365.0/490.0 | 55.12
112 | 370.0/295.0 | 35.11
113 | 370.0/425.0 | 155.4
114 | 370.0/455.0 | 72.27
115 | 375.0/265.0 | 40.94
116 | 375.0/310.0 | 29.45
117 | 375.0/430.0 | 137.2
118 | 380.0/335.0 | 41.77
119 | 380.0/435.0 | 107.7
120 | 385.0/270.0 | 35.87
121 | 385.0/300.0 | 31.53
122 | 385.0/445.0 | 106.1
123 | 385.0/465.0 | 55.3
124 | 385.0/485.0 | 42.71
125 | 390.0/280.0 | 30.03
126 | 390.0/310.0 | 25.74
127 | 390.0/450.0 | 91.77
128 | 390.0/480.0 | 36.83
129 | 395.0/305.0 | 30.74
130 | 395.0/320.0 | 25.49
131 | 395.0/330.0 | 26.9
132 | 395.0/460.0 | 76.19
133 | 400.0/285.0 | 28.18
134 | 400.0/350.0 | 29.25
135 | 400.0/435.0 | 45.32
136 | 400.0/490.0 | 31.85
137 | 405.0/320.0 | 24.04
138 | 405.0/470.0 | 69.7
139 | 405.0/495.0 | 31.19
140 | 410.0/270.0 | 25.5
141 | 410.0/290.0 | 26.39
142 | 410.0/300.0 | 25.21
143 | 410.0/310.0 | 21.98
144 | 410.0/475.0 | 55.83
145 | 415.0/265.0 | 21.81
146 | 415.0/340.0 | 19.67
147 | 415.0/455.0 | 32.74
148 | 415.0/485.0 | 48.31
149 | 420.0/280.0 | 20.61
150 | 420.0/300.0 | 24.5
151 | 420.0/330.0 | 17.9
152 | 420.0/450.0 | 35.83
153 | 420.0/465.0 | 32.67
154 | 420.0/490.0 | 49.61
155 | 425.0/260.0 | 17.29
156 | 425.0/285.0 | 20.65
157 | 425.0/335.0 | 17.87
158 | 425.0/355.0 | 21.26
159 | 425.0/370.0 | 21.17
160 | 430.0/315.0 | 21.06
161 | 430.0/345.0 | 17.06
162 | 435.0/320.0 | 21.82
163 | 435.0/350.0 | 18.38
164 | 435.0/365.0 | 17.04
165 | 435.0/470.0 | 30.66
166 | 440.0/280.0 | 15.97
167 | 440.0/295.0 | 20.39
168 | 440.0/325.0 | 19.42
169 | 440.0/360.0 | 16.87
170 | 440.0/375.0 | 15.46
171 | 440.0/395.0 | 21.43
172 | 440.0/480.0 | 25.93
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 117.8 | 144.7 | 188.7 | 143.7 | 144.6 | 3606 | 9999.9 | 3259 | 114.9 | 58.77 | 96.97 | 101.4 | 85.6 | 76.08 | 67.66 | 65.12 | 72.53 | 67.72 | 65.07 | 50.98 | 59.92 | 41.32 | 42.87 | 25.22 | 39.16 | 32.43 | 37.18 | 29.45 | 37.24 | 40.01 | 31.61 | 30.06 | 21.04 | 31.01 | 27.79 | 27.6 | 21.77 | 24.22 | 19.91 | 18.41 | 14.18 | 13.84 | 12.9 | 13.91 | 9.704 | 14.34 | 8.579
255 | 91.82 | 91.45 | 99.07 | 135.8 | 137.4 | 315 | 3358 | 9999.9 | 6829 | 339.9 | 101.5 | 93.8 | 81.5 | 66.61 | 83.22 | 77.7 | 46.88 | 75.54 | 61.03 | 47.48 | 34.21 | 50.09 | 55.88 | 43.49 | 39.17 | 33.85 | 41.35 | 37.72 | 34.16 | 31.98 | 34.35 | 35.7 | 33.98 | 31.53 | 25.67 | 25.07 | 25.79 | 22.05 | 22.04 | 15.48 | 15.57 | 14.99 | 15.97 | 15.83 | 10.51 | 9.978 | 8.514
260 | 105.9 | 113.9 | 109.4 | 137.2 | 165.1 | 127.8 | 309.4 | 3887 | 9999.9 | 8770 | 441 | 104.9 | 93.66 | 83.04 | 81.2 | 70.66 | 80.15 | 59.61 | 57.42 | 54.3 | 49.01 | 40.77 | 44.82 | 37.67 | 36.23 | 36.41 | 36.88 | 27.75 | 33.93 | 25.31 | 33.98 | 34.08 | 32.08 | 24.29 | 24.01 | 24.91 | 25.71 | 21.76 | 20.37 | 19.33 | 15.48 | 17.29 | 14.68 | 15.91 | 11.65 | 12.48 | 10.47
265 | 147.6 | 131 | 121.5 | 127.4 | 162 | 181.6 | 122 | 333.2 | 4997 | 9999.9 | 9999.9 | 552.2 | 112.1 | 96.95 | 89.73 | 74.61 | 73.1 | 80.93 | 67.39 | 45.91 | 49.1 | 53.54 | 49.41 | 30.49 | 45.99 | 34.34 | 29.43 | 30.17 | 36.49 | 33.84 | 26.93 | 40.94 | 33.16 | 33.39 | 23.61 | 22.35 | 23.04 | 20.25 | 19.99 | 21.81 | 15.93 | 12.28 | 15.69 | 14.29 | 12.33 | 16.41 | 9.584
270 | 177.4 | 165.5 | 112.1 | 146.7 | 124 | 178.5 | 175.8 | 150.5 | 418.2 | 6183 | 9999.9 | 9999.9 | 650 | 81.99 | 94.73 | 114.9 | 87.32 | 80.36 | 69.52 | 66.06 | 49.3 | 51.75 | 45.51 | 32.68 | 33.49 | 32.76 | 29.59 | 33.85 | 29.52 | 26.45 | 29.31 | 30.98 | 32.22 | 35.87 | 25.16 | 23.42 | 19.6 | 18.84 | 25.5 | 21.36 | 19.06 | 16.24 | 18.5 | 16.94 | 12.47 | 16.53 | 11.85
275 | 140.5 | 155.5 | 102 | 112.6 | 127.9 | 111.5 | 200.8 | 138.8 | 131.8 | 477.5 | 8107 | 9999.9 | 9999.9 | 738.7 | 128.6 | 109 | 66.8 | 74.92 | 71.15 | 95.07 | 49.86 | 50.96 | 39.95 | 32.76 | 39.04 | 31.9 | 30.66 | 40.9 | 28.9 | 32.73 | 28 | 30.17 | 24.87 | 32.24 | 26.23 | 26.79 | 23.25 | 17.33 | 19.22 | 21.06 | 19.79 | 19.5 | 20.12 | 16.08 | 14.97 | 10.99 | 12.38
280 | 130.8 | 133.8 | 102.7 | 107.1 | 112.7 | 162.5 | 126.7 | 176.3 | 122.7 | 159.1 | 634.3 | 9999.9 | 9999.9 | 9999.9 | 833.9 | 97 | 72.51 | 93.17 | 69.98 | 61.72 | 60.1 | 57.04 | 56.15 | 43.54 | 42.85 | 29.83 | 42.13 | 33.24 | 34.94 | 28.36 | 23.06 | 25.62 | 22.5 | 27.64 | 30.03 | 27.62 | 26.57 | 22.51 | 21.8 | 17 | 20.61 | 18.08 | 19.01 | 11.69 | 15.97 | 14.91 | 11.97
285 | 163.2 | 151.7 | 171.5 | 148.9 | 148.7 | 142.3 | 109.4 | 121.3 | 215.4 | 159.9 | 197.1 | 801.8 | 9999.9 | 9999.9 | 9999.9 | 1037 | 125.1 | 104.6 | 74.25 | 68.68 | 53.82 | 64.07 | 45.4 | 51.33 | 30.41 | 36.78 | 39.89 | 27.36 | 35.44 | 31.93 | 30.38 | 25.17 | 21.3 | 24.73 | 25.77 | 23.8 | 28.18 | 26.39 | 18.92 | 19.15 | 16.07 | 20.65 | 17.53 | 14.18 | 12.59 | 16.8 | 11.46
290 | 109.2 | 165.2 | 183.9 | 163.5 | 132.9 | 142.4 | 132.3 | 142.5 | 163.6 | 291.2 | 307.6 | 364.9 | 1001 | 9999.9 | 9999.9 | 9999.9 | 1028 | 124.2 | 83.83 | 70.22 | 65.49 | 49.43 | 51.89 | 53.89 | 41.59 | 40.07 | 38.55 | 27.57 | 40.07 | 37.4 | 31.31 | 22.6 | 23.52 | 24.62 | 22.73 | 21 | 24.46 | 25.7 | 26.39 | 21.6 | 20.22 | 13.23 | 17.19 | 17.35 | 17.41 | 15.32 | 14.16
295 | 155.2 | 202.3 | 213.8 | 205.6 | 175 | 157.8 | 143 | 147.6 | 167.2 | 378.8 | 466.5 | 541.3 | 582.3 | 1230 | 9999.9 | 9999.9 | 9999.9 | 1163 | 125.2 | 91.45 | 75.2 | 50.78 | 51.56 | 53.46 | 45.44 | 34.74 | 42.8 | 34.64 | 31.98 | 27.51 | 35.11 | 21.93 | 19.11 | 27.23 | 21.07 | 21.29 | 16.63 | 20.93 | 21.65 | 19.8 | 19.21 | 17 | 16.42 | 18.06 | 20.39 | 18.12 | 14.48
300 | 179.9 | 232.3 | 199.7 | 282.8 | 200.6 | 172.3 | 215.1 | 195.1 | 287.5 | 355 | 700.4 | 745.8 | 729.9 | 991.7 | 1380 | 9999.9 | 9999.9 | 9999.9 | 1278 | 121.3 | 85.22 | 71.43 | 66.11 | 50.56 | 62.4 | 51.83 | 41.66 | 37.39 | 39.74 | 39.6 | 24.1 | 27.73 | 26.43 | 31.53 | 22.7 | 15.94 | 18.05 | 21.05 | 25.21 | 21.3 | 24.5 | 18.87 | 14.34 | 17.16 | 16.76 | 19.38 | 16.41
305 | 204.7 | 257.6 | 360.3 | 309.5 | 213.3 | 208.1 | 229.9 | 244.5 | 350.9 | 447.9 | 636 | 1187 | 1359 | 1432 | 1224 | 1395 | 9999.9 | 9999.9 | 9999.9 | 1009 | 122.7 | 97.09 | 65.48 | 53.34 | 50.35 | 42.34 | 28.91 | 33.87 | 43.25 | 34.35 | 24.25 | 26.22 | 21.69 | 22.12 | 23.42 | 30.74 | 16.08 | 17.16 | 17.26 | 18.7 | 22.37 | 19.51 | 20.15 | 15.51 | 18.47 | 12.92 | 15.43
310 | 217.3 | 338.8 | 348.7 | 340 | 272.3 | 206.1 | 238.8 | 282.5 | 400 | 641.1 | 853.4 | 1386 | 1826 | 2033 | 1667 | 1095 | 1178 | 9999.9 | 9999.9 | 9999.9 | 1090 | 115.3 | 77.06 | 69.85 | 55.79 | 37.82 | 35.93 | 42.22 | 37.8 | 31.64 | 25.03 | 29.45 | 24.81 | 23.9 | 25.74 | 23.55 | 21.17 | 20.53 | 21.98 | 20.19 | 22.63 | 19.09 | 19.39 | 13.07 | 12.74 | 13.69 | 12.5
315 | 267.1 | 407.9 | 394.4 | 410.6 | 278.7 | 214.4 | 227.4 | 311.8 | 509.6 | 760.3 | 1071 | 1710 | 2273 | 2618 | 2275 | 1528 | 780.6 | 1021 | 9999.9 | 9999.9 | 9999.9 | 1090 | 121.3 | 105.5 | 59.47 | 47.24 | 39.71 | 43.66 | 38.28 | 33.54 | 29.03 | 27.64 | 27.03 | 27.85 | 20.07 | 24.6 | 16.99 | 18.1 | 19.54 | 19.18 | 15.58 | 17.87 | 21.06 | 17.8 | 14.8 | 13.6 | 17.03
320 | 235.8 | 342.4 | 458.9 | 409.9 | 274.2 | 245.3 | 310.7 | 389.1 | 507.1 | 862 | 1309 | 2049 | 2638 | 3037 | 2775 | 1822 | 844.3 | 439.8 | 926 | 9999.9 | 9999.9 | 9999.9 | 926.3 | 100.4 | 67.81 | 48.45 | 50.88 | 48.64 | 47.42 | 33.94 | 37.94 | 28.88 | 22.7 | 24.91 | 24.37 | 25.49 | 19.94 | 24.04 | 17.37 | 19.29 | 14.54 | 17.53 | 18.63 | 21.82 | 17.77 | 16.42 | 13.83
325 | 283.2 | 406.3 | 562.5 | 417.8 | 297.3 | 317.8 | 253.1 | 411.8 | 541.9 | 985 | 1560 | 2104 | 2920 | 3212 | 3166 | 2121 | 1020 | 435.1 | 321.2 | 862.8 | 9999.9 | 9999.9 | 9999.9 | 985.8 | 110.9 | 86.32 | 58.84 | 45.29 | 38.25 | 48.25 | 34.42 | 29.43 | 27.48 | 27.64 | 23.13 | 19.94 | 19.43 | 19.73 | 15.96 | 16.59 | 14.57 | 17.61 | 14.82 | 18.07 | 19.42 | 18.22 | 13.46
330 | 271.8 | 477.9 | 513.2 | 453.8 | 354.6 | 291.4 | 348.5 | 398.5 | 607.1 | 1085 | 1549 | 2201 | 3087 | 3155 | 3186 | 2184 | 1195 | 515.6 | 249.8 | 239.9 | 825.7 | 9999.9 | 9999.9 | 9999.9 | 969.2 | 106.9 | 75.29 | 68.25 | 51.02 | 42.75 | 43.43 | 36.82 | 27.38 | 31.43 | 22.41 | 26.9 | 18.92 | 20.78 | 14.24 | 17.38 | 17.9 | 15.33 | 14.73 | 15.01 | 19.25 | 19.09 | 16.28
335 | 247.9 | 396.1 | 481.2 | 430 | 415.2 | 275.9 | 299 | 472.4 | 641.1 | 1007 | 1543 | 2240 | 2774 | 3339 | 3160 | 2307 | 1239 | 629.4 | 264.6 | 188 | 179.2 | 825.4 | 9999.9 | 9999.9 | 9999.9 | 869.7 | 97.48 | 87.54 | 55.56 | 53.28 | 41.06 | 39.58 | 41.77 | 30.21 | 25.64 | 20.75 | 22.61 | 16.59 | 14.97 | 15.92 | 15.35 | 17.87 | 15.25 | 15.4 | 16.64 | 17.75 | 14.84
340 | 238.5 | 378.3 | 495.2 | 303.4 | 309 | 237.3 | 299.3 | 445.3 | 624.9 | 981.1 | 1474 | 2093 | 2803 | 3065 | 3065 | 2105 | 1160 | 811.8 | 317.7 | 155.1 | 149.1 | 157.8 | 832.9 | 9999.9 | 9999.9 | 9999.9 | 888.4 | 105.3 | 70.71 | 64.76 | 51.25 | 41.72 | 35.23 | 30.58 | 25.18 | 19.54 | 20.42 | 21.63 | 18.3 | 19.67 | 17.8 | 16.21 | 16.46 | 16.33 | 11.33 | 16.93 | 12.69
345 | 242.8 | 408.4 | 444.9 | 355.9 | 294.5 | 262.4 | 309.6 | 438.4 | 647.9 | 876.2 | 1394 | 1957 | 2595 | 2776 | 2928 | 2031 | 1045 | 571.8 | 423.9 | 200.4 | 105.4 | 102.3 | 158.9 | 813.6 | 9999.9 | 9999.9 | 9999.9 | 755.6 | 118.3 | 76.79 | 58.7 | 48.38 | 41.97 | 39.09 | 30.64 | 24.81 | 25.44 | 22.66 | 18.58 | 15.9 | 13.91 | 15.59 | 17.06 | 15.59 | 13.9 | 15.41 | 14.03
350 | 187.1 | 339.2 | 375 | 412.3 | 322.3 | 199 | 282.7 | 344 | 516.3 | 778.4 | 1212 | 1714 | 2448 | 2491 | 2487 | 1865 | 951.2 | 494.3 | 384.6 | 297.7 | 138.5 | 103.5 | 113.8 | 165.9 | 815.9 | 9999.9 | 9999.9 | 9999.9 | 750.5 | 96.16 | 75.82 | 52.63 | 48.54 | 36.79 | 30.56 | 26.77 | 29.25 | 21.51 | 18.68 | 18.47 | 17.13 | 16.65 | 15.41 | 18.38 | 12.43 | 15.61 | 14.62
355 | 184.8 | 373.7 | 346 | 411.9 | 239.6 | 270.4 | 226.4 | 294 | 493.6 | 741.9 | 1087 | 1523 | 2150 | 2278 | 2232 | 1778 | 802.6 | 447 | 256.4 | 353.1 | 220.3 | 111.7 | 98.26 | 96.46 | 155.7 | 803.5 | 9999.9 | 9999.9 | 9999.9 | 781 | 101.3 | 78.99 | 56.8 | 44.24 | 30.47 | 29.22 | 26.72 | 24.92 | 20.56 | 15.83 | 16.37 | 21.26 | 16.9 | 14.06 | 14.2 | 14.28 | 11.86
360 | 222.1 | 293.9 | 332.8 | 330.6 | 220 | 258.7 | 263.3 | 313.1 | 475.3 | 586.4 | 948.2 | 1212 | 1780 | 1917 | 1993 | 1416 | 760.9 | 356.3 | 230.7 | 206 | 290.1 | 169 | 95.12 | 103.4 | 106.9 | 153 | 791.7 | 9999.9 | 9999.9 | 9999.9 | 692.6 | 95.06 | 66 | 48.46 | 34.9 | 33.34 | 30.11 | 29.58 | 20.9 | 24.44 | 15.64 | 17.41 | 13.4 | 15.9 | 16.87 | 13.78 | 12.3
365 | 217.3 | 280.7 | 279.6 | 281.3 | 199.3 | 214.6 | 180 | 286.1 | 412.4 | 548.7 | 816.8 | 1125 | 1491 | 1705 | 1553 | 1171 | 727.6 | 290.4 | 187.3 | 157.2 | 170.9 | 266.1 | 137.6 | 90.19 | 86.51 | 102.6 | 152.4 | 814.1 | 9999.9 | 9999.9 | 9999.9 | 662.5 | 103.4 | 76.1 | 46.57 | 30.45 | 33.37 | 22.77 | 22.14 | 21.77 | 14.54 | 17.18 | 15.22 | 17.04 | 11.67 | 15.44 | 13.46
370 | 173.5 | 217.1 | 325.1 | 258.6 | 219.6 | 272.2 | 146.2 | 312.1 | 357.6 | 504 | 722 | 857.5 | 1144 | 1437 | 1323 | 956.8 | 538.3 | 305.2 | 139.5 | 136.9 | 104.7 | 198.9 | 261.2 | 121.4 | 96.15 | 84.97 | 93.16 | 155.5 | 818.1 | 9999.9 | 9999.9 | 9999.9 | 583.3 | 84.22 | 58.95 | 44.44 | 33.59 | 25.08 | 23.9 | 22.6 | 18.59 | 21.17 | 17.1 | 15.53 | 14.7 | 15.44 | 13.15
375 | 164.1 | 214.8 | 319.9 | 243.2 | 229.7 | 156.8 | 182.8 | 218.7 | 321 | 403.4 | 624.7 | 800.8 | 1025 | 1275 | 1127 | 852.1 | 493.7 | 214.2 | 123 | 115.5 | 93.65 | 107.9 | 241.5 | 206.8 | 90.88 | 75.23 | 90.05 | 83.2 | 141.6 | 799.5 | 9999.9 | 9999.9 | 9999.9 | 544.7 | 76.73 | 51.7 | 45.14 | 33.21 | 30.55 | 21.71 | 16.83 | 19.5 | 17.84 | 14.38 | 15.46 | 14.27 | 13.24
380 | 153.4 | 256.4 | 217.2 | 292.8 | 210.7 | 222.5 | 184.6 | 228.6 | 247.5 | 342.4 | 507.3 | 682.4 | 797.3 | 891.9 | 940 | 710.4 | 384.5 | 211.7 | 151.7 | 129.4 | 90.12 | 88.55 | 143.5 | 233.7 | 171.5 | 85.01 | 67.96 | 73.45 | 88.55 | 145.8 | 786 | 9999.9 | 9999.9 | 9999.9 | 553.9 | 76.22 | 59.28 | 38.04 | 33.02 | 26.67 | 22.7 | 19 | 18.47 | 17.31 | 13.47 | 16.34 | 13.69
385 | 168.6 | 272.4 | 213.9 | 195.4 | 221.2 | 172.8 | 178.1 | 146 | 174.3 | 340.7 | 459.6 | 625.6 | 702.5 | 831.1 | 740.1 | 558.4 | 345.1 | 189.5 | 147.3 | 114.4 | 80.16 | 89.09 | 96.27 | 123.4 | 234.2 | 132 | 78.71 | 76.36 | 86.49 | 85.55 | 138.2 | 791.1 | 9999.9 | 9999.9 | 9999.9 | 460.3 | 70.8 | 49.68 | 34.63 | 29.64 | 27.16 | 21.62 | 19.52 | 15.68 | 15.02 | 14.87 | 13.4
390 | 129.6 | 237.2 | 265 | 226.5 | 237.8 | 124 | 166.8 | 204.3 | 205.9 | 268 | 334.9 | 527.6 | 575.1 | 664.7 | 646.4 | 456 | 408.5 | 182.1 | 134.3 | 115.6 | 107 | 100.9 | 98.46 | 114 | 163.2 | 214.2 | 120.8 | 71.62 | 68.09 | 74.1 | 72.5 | 143.4 | 789.2 | 9999.9 | 9999.9 | 9999.9 | 447.2 | 71.33 | 51.03 | 38.38 | 29.74 | 24.49 | 16.12 | 20.14 | 16.94 | 12.73 | 13.76
395 | 138.3 | 225.8 | 244.7 | 183 | 164.8 | 132.6 | 171.3 | 167.8 | 210.8 | 223.9 | 323.5 | 393.4 | 456.2 | 538.4 | 583.1 | 468 | 271.5 | 178.7 | 133.6 | 134.5 | 108.3 | 96.68 | 105.4 | 108.3 | 93.25 | 170.5 | 178.8 | 84.43 | 73.94 | 74.06 | 70.02 | 86.05 | 132.5 | 808.1 | 9999.9 | 9999.9 | 9999.9 | 384.3 | 68.96 | 46.71 | 32.71 | 28.05 | 26.05 | 19.13 | 21.43 | 17.01 | 13.51
400 | 170.5 | 202.8 | 177.2 | 155.1 | 227 | 175.9 | 133.1 | 193.9 | 194.4 | 215.4 | 260 | 340.9 | 420.8 | 385.3 | 427.4 | 343.5 | 224.9 | 166.4 | 135.4 | 94.38 | 122.2 | 82.87 | 94.64 | 103.9 | 89.32 | 96.04 | 175.3 | 140.2 | 84.57 | 66.96 | 62.95 | 72.94 | 71.99 | 127.3 | 772.7 | 9999.9 | 9999.9 | 9999.9 | 346.9 | 65.13 | 39.23 | 31.21 | 25.75 | 24.44 | 20.97 | 18.27 | 14.57
405 | 147.8 | 165 | 139.4 | 196.9 | 151.1 | 179.1 | 137.4 | 177.3 | 179.3 | 189.7 | 245 | 335.3 | 392.1 | 389.5 | 401.9 | 292 | 221.4 | 163.8 | 120.8 | 111.9 | 105 | 108.7 | 105.7 | 89.87 | 97.41 | 102.6 | 111.2 | 186.3 | 122.8 | 73.02 | 74.07 | 67.26 | 72.62 | 65.91 | 127.6 | 740.4 | 9999.9 | 9999.9 | 9999.9 | 361.3 | 58.71 | 40.54 | 27.64 | 23.26 | 17.7 | 18.62 | 15.43
410 | 181.7 | 163.9 | 155 | 184.2 | 192.9 | 125.1 | 214.2 | 184.7 | 138.8 | 160.6 | 257.1 | 238 | 333 | 346.6 | 287 | 282.6 | 208.9 | 130.8 | 138 | 103.4 | 91.87 | 80.15 | 81.1 | 86.72 | 91.83 | 77.65 | 82.47 | 129.7 | 168.2 | 103.2 | 62.37 | 60.74 | 53.91 | 60.33 | 69.35 | 110.9 | 751.6 | 9999.9 | 9999.9 | 9999.9 | 307.6 | 48.64 | 35.76 | 30.91 | 21.1 | 16.33 | 18.57
415 | 156 | 238.3 | 127.4 | 158.2 | 152 | 131.5 | 133.6 | 143.8 | 159 | 179.5 | 167.5 | 208.1 | 232.2 | 300.7 | 278 | 248.6 | 169.1 | 133.5 | 114.5 | 94.69 | 101.8 | 93.69 | 113.2 | 82.6 | 82.51 | 99.72 | 90.33 | 97.46 | 158.9 | 173.7 | 89.36 | 71.27 | 55.66 | 50.24 | 51.86 | 61.12 | 110.2 | 753.7 | 9999.9 | 9999.9 | 9999.9 | 285.3 | 49.83 | 35.67 | 27.76 | 21.65 | 16.53
420 | 169.7 | 117.2 | 181.4 | 170.1 | 167.4 | 124.2 | 135.7 | 180.4 | 155.5 | 153.5 | 174.4 | 240.1 | 238.4 | 270.5 | 237.1 | 201.3 | 166.5 | 140.3 | 130.8 | 98.22 | 92.06 | 99.13 | 100.9 | 82.45 | 81 | 78.74 | 92.45 | 84.87 | 115.6 | 173.4 | 155.3 | 72.15 | 62.89 | 56.26 | 46.07 | 44.62 | 59.49 | 109 | 739.1 | 9999.9 | 9999.9 | 9999.9 | 277.8 | 54.32 | 40.72 | 26.94 | 21.6
425 | 150.1 | 130.1 | 205.8 | 153.7 | 146.8 | 115.4 | 147.6 | 165 | 167.4 | 198.6 | 145.3 | 163 | 228.1 | 214.6 | 222.8 | 182.5 | 164.5 | 129.7 | 113.5 | 95.89 | 110.2 | 90.03 | 101.2 | 96.68 | 93.2 | 83.59 | 90.12 | 75.53 | 78.24 | 100.3 | 155.4 | 104.3 | 62.66 | 49.99 | 44.14 | 42.77 | 47.58 | 49.17 | 98.67 | 743.7 | 9999.9 | 9999.9 | 9999.9 | 257.4 | 41.63 | 36.34 | 26.98
430 | 216 | 159.7 | 169.5 | 135.4 | 162.7 | 163.9 | 117.4 | 141.8 | 130.5 | 170.7 | 161.9 | 190.2 | 181.4 | 208.1 | 239 | 193.3 | 127 | 115.2 | 103.1 | 112.9 | 78.18 | 97.59 | 93.7 | 92.04 | 81.84 | 78.05 | 82.27 | 69.68 | 67.09 | 76.87 | 86.76 | 137.2 | 73.11 | 46.52 | 41.43 | 42.2 | 38.65 | 39.74 | 44.75 | 100 | 729.4 | 9999.9 | 9999.9 | 9999.9 | 245.8 | 48.22 | 31.39
435 | 381.1 | 166.7 | 210.1 | 197.3 | 183.4 | 168.7 | 164.4 | 120.5 | 150.7 | 131.9 | 188.2 | 155.5 | 180.4 | 178.5 | 199.5 | 178.7 | 147.9 | 110.8 | 93.19 | 104.3 | 109.2 | 105 | 90.83 | 100.1 | 80.22 | 72.22 | 71.43 | 72.74 | 75.25 | 73.24 | 65.89 | 97.19 | 107.7 | 60.76 | 48.33 | 38.89 | 45.32 | 42.62 | 42.93 | 44.14 | 91.81 | 725.4 | 9999.9 | 9999.9 | 9999.9 | 241.9 | 44.62
440 | 477.1 | 329.3 | 158.2 | 116.7 | 203.7 | 173.1 | 140.3 | 133.5 | 132.2 | 134.5 | 147.1 | 148.5 | 184.2 | 190.1 | 154.6 | 156.2 | 137.5 | 117.9 | 92.74 | 98.14 | 111.2 | 96.35 | 89.61 | 95.1 | 102.6 | 87 | 76.85 | 79.39 | 79.81 | 68.65 | 62.53 | 73.85 | 104.5 | 96.07 | 53.64 | 37.29 | 37.13 | 34.6 | 33.27 | 37.81 | 41.84 | 94.82 | 731 | 9999.9 | 9999.9 | 9999.9 | 207.6
445 | 352.9 | 657.8 | 170.8 | 151.7 | 119.8 | 121.9 | 125.6 | 133.8 | 137.2 | 151.4 | 104.8 | 120.7 | 159.1 | 174 | 206.6 | 175.5 | 115.5 | 125.5 | 99.86 | 87.67 | 92.24 | 83.71 | 77.53 | 82.73 | 84.53 | 94.5 | 77.95 | 67.09 | 74.63 | 64.41 | 60.35 | 50.97 | 67.64 | 106.1 | 80.79 | 38.42 | 34.16 | 29.89 | 34.17 | 34.67 | 29.56 | 37.49 | 81.73 | 722.3 | 9999.9 | 9999.9 | 9999.9
450 | 166.6 | 790.4 | 489.1 | 155.5 | 158.8 | 178 | 101.2 | 110.4 | 163.1 | 142 | 134.1 | 122.3 | 164.1 | 154.7 | 150.2 | 132.6 | 104.6 | 104.1 | 103.9 | 79.58 | 90.47 | 87.92 | 68.58 | 86.83 | 84.6 | 72.97 | 87.26 | 63.37 | 76.84 | 60.14 | 58.73 | 54.73 | 54.48 | 69.22 | 91.77 | 52.52 | 33.89 | 26.65 | 31.45 | 30.3 | 35.83 | 32.76 | 40.05 | 91.54 | 733.4 | 9999.9 | 9999.9
455 | 164.8 | 571.5 | 1241 | 233.6 | 167.1 | 116 | 146.7 | 185.9 | 156.1 | 137.3 | 149.5 | 134.8 | 178.4 | 161.1 | 137 | 150.3 | 120.5 | 110.9 | 102.3 | 93.98 | 105.6 | 81.65 | 75.89 | 93.96 | 77.89 | 81.82 | 65.89 | 71.58 | 66.76 | 55.64 | 72.27 | 52.97 | 49.92 | 50.09 | 72.75 | 70.4 | 49.28 | 26.38 | 29.6 | 32.74 | 30.47 | 28.71 | 32.34 | 39.29 | 83.98 | 731.6 | 9999.9
460 | 153 | 219.1 | 1423 | 696.6 | 162 | 138.1 | 165.1 | 147.2 | 112.2 | 137.4 | 128.3 | 159.4 | 141 | 142.6 | 140.3 | 151.4 | 102.6 | 102.5 | 90.62 | 95.39 | 87.45 | 72.66 | 77.1 | 87.86 | 67.87 | 75.17 | 75.63 | 77.79 | 62.84 | 57.44 | 62.38 | 55.19 | 42.21 | 48.24 | 49.12 | 76.19 | 75.05 | 38.87 | 29 | 29.8 | 29.69 | 28.61 | 30.38 | 28.72 | 37.89 | 87.96 | 713.5
465 | 188.7 | 192.8 | 1123 | 1559 | 271.9 | 179.1 | 147.3 | 132.2 | 109.4 | 146 | 122.5 | 169.3 | 145.4 | 145.7 | 149 | 145.1 | 143.5 | 117.4 | 108.4 | 72.28 | 93.21 | 73.22 | 90.85 | 90.99 | 84.63 | 69.24 | 79.15 | 74.78 | 61.53 | 60.16 | 58.86 | 52.83 | 51.09 | 55.3 | 43.25 | 43.13 | 67.46 | 51.37 | 32.85 | 26.76 | 32.67 | 31.95 | 21.71 | 28.92 | 30.2 | 40.06 | 81.5
470 | 174.1 | 171.8 | 300.6 | 2104 | 977.7 | 219 | 105.9 | 126.9 | 173.1 | 148.5 | 119.7 | 149.1 | 143.2 | 127.6 | 161.8 | 147.6 | 124.6 | 136.4 | 75.14 | 85.5 | 83.92 | 79.27 | 75.83 | 81.74 | 67.81 | 71.96 | 73.78 | 73.86 | 67.52 | 58.9 | 54.59 | 49.76 | 47.88 | 43.43 | 36.33 | 38.24 | 49.45 | 69.7 | 42.25 | 28.11 | 29.93 | 26.09 | 25.18 | 30.66 | 25.36 | 28.22 | 32.11
475 | 214.8 | 180 | 200.7 | 1559 | 2648 | 210.7 | 149.4 | 142.2 | 120.1 | 127.6 | 109.8 | 137.9 | 162.7 | 162 | 108.1 | 110.5 | 131.8 | 100.9 | 95.12 | 85.46 | 83.66 | 68.14 | 75.83 | 73.04 | 81.31 | 71.52 | 57.06 | 58.85 | 59.83 | 61.84 | 49.95 | 42.45 | 44.88 | 38.85 | 32.49 | 35.25 | 36.86 | 48.2 | 55.83 | 37.63 | 27.92 | 26.45 | 22.35 | 23.76 | 23.46 | 25.44 | 23.78
480 | 114.4 | 183.2 | 191.7 | 358.9 | 3147 | 1108 | 113 | 141.7 | 86.31 | 131.3 | 133.8 | 133 | 163.3 | 106.8 | 155.5 | 113.5 | 121.9 | 104.6 | 106.4 | 75.49 | 86.22 | 79.17 | 78.03 | 61.98 | 74.86 | 67.38 | 71.35 | 55.64 | 46.86 | 59.2 | 43.56 | 43.95 | 37.18 | 34.88 | 36.83 | 35.01 | 32.21 | 33.72 | 55.02 | 46.08 | 26.61 | 18.24 | 22.21 | 22.27 | 25.93 | 23.8 | 23.41
485 | 184.4 | 195.1 | 141.4 | 167.7 | 2012 | 3056 | 240.6 | 131.1 | 99.25 | 135.4 | 135.5 | 127.9 | 120.9 | 145 | 118.5 | 132.2 | 139.5 | 92.59 | 96.99 | 86.07 | 77.45 | 62.68 | 61.95 | 60.68 | 69.15 | 57.18 | 63.09 | 58.63 | 54.94 | 50.45 | 50.51 | 41.6 | 39.3 | 42.71 | 34.48 | 29.8 | 22.57 | 28.48 | 36.33 | 48.31 | 37.66 | 27.67 | 24.2 | 20.99 | 23.02 | 22.51 | 20.68
490 | 186 | 153.2 | 128.7 | 146.4 | 534.2 | 3668 | 1266 | 138.6 | 128.1 | 130.4 | 150 | 127.2 | 128.2 | 98.87 | 129.5 | 114.5 | 79.5 | 73.97 | 81.7 | 92.43 | 62.97 | 78.76 | 57.55 | 64.37 | 58.87 | 66.34 | 61.02 | 56.48 | 52.96 | 55.12 | 49.41 | 49.64 | 40.01 | 38.36 | 34.6 | 29.47 | 31.85 | 30.33 | 27.64 | 35.69 | 49.61 | 31.05 | 23.28 | 22.14 | 19.28 | 21.02 | 21.55
495 | 158.7 | 210.7 | 140.4 | 136.3 | 188.4 | 2424 | 2996 | 218 | 114.7 | 111.8 | 135.1 | 125.7 | 132.4 | 110.5 | 135.4 | 101.3 | 88.95 | 104.5 | 78.33 | 107.6 | 75.36 | 86.04 | 69.95 | 65.32 | 67.5 | 51 | 58.69 | 45.39 | 54.19 | 45.42 | 41.44 | 38.75 | 36.05 | 34.17 | 37 | 29.76 | 28.41 | 31.19 | 26.64 | 23.39 | 39.09 | 49.3 | 23.28 | 21.78 | 23.52 | 22.47 | 21.92
500 | 148 | 145.5 | 145.9 | 167.1 | 142.9 | 802.1 | 3748 | 871.6 | 121.2 | 115.8 | 100.2 | 126.1 | 161.9 | 118.1 | 120 | 117.3 | 75.79 | 136.3 | 69.87 | 80.29 | 67.73 | 67.62 | 63.36 | 59.27 | 54.11 | 52.32 | 59.86 | 49.25 | 55.9 | 53.75 | 39.56 | 48.46 | 46.26 | 37.98 | 33.47 | 29.23 | 28.52 | 25.21 | 21.05 | 19.6 | 28.46 | 46.29 | 40.28 | 25.09 | 21.96 | 24.76 | 16.06