## Sheet1
Report date: | 14:46:32, 04/15/2024
Sample: | 1
File name:
Run date: | 14:43:51, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/405.0 | 212.2
2 | 225.0/495.0 | 231.2
3 | 230.0/295.0 | 250.3
4 | 230.0/335.0 | 577
5 | 230.0/355.0 | 543.1
6 | 230.0/365.0 | 335.2
7 | 230.0/395.0 | 241
8 | 230.0/415.0 | 239.7
9 | 235.0/260.0 | 145.7
10 | 235.0/380.0 | 286.1
11 | 235.0/410.0 | 200
12 | 235.0/425.0 | 233.7
13 | 240.0/285.0 | 175.5
14 | 240.0/440.0 | 195.5
15 | 245.0/270.0 | 187.3
16 | 245.0/310.0 | 263.8
17 | 245.0/370.0 | 239.5
18 | 245.0/385.0 | 259.4
19 | 250.0/275.0 | 180.9
20 | 250.0/420.0 | 175.1
21 | 250.0/430.0 | 204.7
22 | 250.0/460.0 | 203.3
23 | 255.0/410.0 | 211.2
24 | 265.0/430.0 | 174.2
25 | 265.0/455.0 | 167.4
26 | 265.0/470.0 | 184.5
27 | 270.0/440.0 | 190
28 | 270.0/490.0 | 157.2
29 | 275.0/450.0 | 219
30 | 280.0/430.0 | 252.2
31 | 280.0/475.0 | 151
32 | 285.0/330.0 | 3459
33 | 285.0/445.0 | 209.6
34 | 285.0/480.0 | 161
35 | 290.0/335.0 | 3782
36 | 290.0/435.0 | 217.5
37 | 290.0/460.0 | 174.1
38 | 295.0/455.0 | 187.5
39 | 295.0/465.0 | 171.6
40 | 300.0/470.0 | 160.7
41 | 300.0/485.0 | 130.2
42 | 310.0/265.0 | 74.89
43 | 310.0/275.0 | 93.22
44 | 310.0/465.0 | 128.5
45 | 315.0/445.0 | 122.5
46 | 315.0/485.0 | 89.97
47 | 320.0/280.0 | 74.43
48 | 320.0/360.0 | 272.7
49 | 320.0/385.0 | 125.6
50 | 320.0/415.0 | 124.9
51 | 320.0/460.0 | 119.4
52 | 320.0/480.0 | 99.99
53 | 325.0/365.0 | 288.9
54 | 325.0/410.0 | 110.6
55 | 325.0/435.0 | 107.6
56 | 330.0/255.0 | 56.45
57 | 330.0/270.0 | 61.64
58 | 330.0/370.0 | 249.4
59 | 330.0/415.0 | 131.1
60 | 330.0/440.0 | 129.1
61 | 330.0/470.0 | 99.32
62 | 335.0/265.0 | 52.28
63 | 335.0/275.0 | 66.13
64 | 335.0/380.0 | 243
65 | 335.0/430.0 | 108.6
66 | 335.0/445.0 | 109.8
67 | 340.0/260.0 | 47.62
68 | 340.0/270.0 | 48.85
69 | 340.0/285.0 | 46.16
70 | 340.0/385.0 | 219.2
71 | 340.0/405.0 | 110.5
72 | 340.0/435.0 | 104.1
73 | 340.0/490.0 | 87.19
74 | 345.0/280.0 | 40.38
75 | 345.0/305.0 | 50.39
76 | 345.0/390.0 | 207.6
77 | 345.0/425.0 | 104.7
78 | 345.0/445.0 | 96.63
79 | 345.0/460.0 | 90.55
80 | 345.0/475.0 | 81.59
81 | 350.0/285.0 | 45.16
82 | 350.0/310.0 | 51.26
83 | 350.0/395.0 | 207.9
84 | 350.0/430.0 | 95.15
85 | 355.0/265.0 | 36.59
86 | 355.0/405.0 | 181.6
87 | 355.0/470.0 | 75.24
88 | 355.0/485.0 | 59.08
89 | 360.0/300.0 | 46.53
90 | 360.0/320.0 | 52.92
91 | 360.0/410.0 | 192.8
92 | 360.0/435.0 | 86.14
93 | 360.0/455.0 | 81.23
94 | 365.0/280.0 | 44.93
95 | 365.0/305.0 | 41.63
96 | 365.0/420.0 | 195.9
97 | 365.0/440.0 | 81.66
98 | 365.0/480.0 | 61.7
99 | 370.0/255.0 | 41.12
100 | 370.0/460.0 | 67.61
101 | 370.0/475.0 | 74.4
102 | 370.0/485.0 | 55.87
103 | 375.0/260.0 | 41.03
104 | 375.0/270.0 | 33.5
105 | 375.0/280.0 | 34.18
106 | 375.0/295.0 | 32.21
107 | 375.0/310.0 | 38.29
108 | 375.0/430.0 | 133.2
109 | 375.0/450.0 | 69.75
110 | 375.0/470.0 | 61.46
111 | 380.0/265.0 | 34.66
112 | 380.0/305.0 | 30.77
113 | 380.0/440.0 | 110.1
114 | 385.0/255.0 | 34.17
115 | 385.0/270.0 | 38.34
116 | 385.0/445.0 | 98.58
117 | 390.0/290.0 | 28.56
118 | 390.0/305.0 | 25.67
119 | 390.0/315.0 | 30.98
120 | 390.0/450.0 | 92.22
121 | 390.0/480.0 | 42.3
122 | 395.0/280.0 | 30.36
123 | 395.0/335.0 | 31.57
124 | 395.0/460.0 | 73.52
125 | 400.0/260.0 | 28.13
126 | 400.0/285.0 | 29.81
127 | 405.0/470.0 | 73.75
128 | 405.0/495.0 | 32.46
129 | 410.0/290.0 | 25.27
130 | 410.0/345.0 | 25.82
131 | 410.0/475.0 | 54.92
132 | 415.0/300.0 | 24.38
133 | 415.0/455.0 | 31.3
134 | 415.0/485.0 | 51.73
135 | 420.0/350.0 | 26.03
136 | 420.0/365.0 | 22.68
137 | 420.0/490.0 | 46.49
138 | 425.0/385.0 | 23.31
139 | 430.0/295.0 | 19.2
140 | 430.0/320.0 | 20.73
141 | 430.0/335.0 | 17.41
142 | 430.0/350.0 | 18.18
143 | 430.0/465.0 | 31.66
144 | 430.0/475.0 | 30.25
145 | 435.0/285.0 | 19.96
146 | 440.0/260.0 | 17.06
147 | 440.0/290.0 | 17.92
148 | 440.0/325.0 | 18.94
149 | 440.0/350.0 | 17.86
150 | 440.0/385.0 | 19.61
151 | 440.0/485.0 | 27.26
152 | 445.0/270.0 | 16.56
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 106.8 | 118.9 | 168.7 | 175.6 | 112.3 | 3985 | 9999.9 | 3879 | 94.32 | 84.22 | 84.67 | 88.13 | 78.39 | 61.63 | 91.94 | 59.98 | 89.76 | 80.11 | 78.84 | 53.73 | 57.67 | 38.07 | 49.01 | 47.88 | 38.56 | 34.6 | 39.98 | 45.51 | 46.89 | 44.52 | 34.57 | 30.45 | 28.01 | 28.07 | 29.99 | 28.11 | 24.14 | 19.95 | 21.86 | 18.83 | 16.39 | 17.36 | 16.21 | 12.69 | 10.84 | 8.233 | 10.45
255 | 112 | 95.58 | 126.1 | 131.7 | 120 | 380.4 | 3170 | 9999.9 | 7320 | 313.1 | 97.37 | 104.1 | 103.3 | 91.27 | 83.31 | 74.43 | 80.36 | 63.75 | 63.91 | 56.52 | 42.89 | 47.53 | 56.45 | 46.81 | 41.86 | 28.74 | 29.9 | 39.26 | 29.3 | 36.89 | 41.12 | 35.58 | 31.82 | 34.17 | 27.84 | 25.28 | 24.53 | 23.93 | 19.84 | 17.14 | 20.64 | 18.67 | 17.48 | 11.37 | 13.5 | 9.083 | 12.68
260 | 123 | 122 | 113.3 | 145.7 | 109.4 | 154.7 | 297.4 | 4169 | 9999.9 | 9425 | 390.2 | 100.1 | 107.7 | 98.3 | 81.9 | 89.46 | 81.52 | 88.32 | 67.91 | 59.81 | 51.68 | 55.17 | 50.78 | 34.25 | 47.62 | 33.32 | 34.39 | 30.45 | 31.73 | 34.02 | 32.97 | 41.03 | 33.05 | 26.21 | 25.08 | 22.99 | 28.13 | 24.74 | 18.92 | 19.1 | 16.03 | 16.36 | 14.95 | 16.66 | 17.06 | 14.65 | 11.01
265 | 173.8 | 151.3 | 143.1 | 129.4 | 142.9 | 169.2 | 137.1 | 374.5 | 5283 | 9999.9 | 9999.9 | 541.1 | 118.9 | 113.1 | 99.25 | 85.29 | 80.09 | 58.73 | 74.89 | 67.17 | 58.79 | 54.97 | 46.04 | 52.28 | 40.29 | 30.39 | 25.65 | 36.59 | 29.07 | 31.55 | 28.66 | 26.05 | 34.66 | 30.33 | 29.32 | 22.03 | 23.88 | 21.36 | 19.38 | 20.66 | 17.85 | 20.83 | 13.83 | 14.11 | 14.14 | 12.59 | 10.81
270 | 117 | 117.2 | 114.6 | 131.6 | 170.8 | 187.3 | 166.9 | 144.9 | 441.4 | 6506 | 9999.9 | 9999.9 | 777.4 | 104 | 96.31 | 107.9 | 89.61 | 77.1 | 58.56 | 55.79 | 59.44 | 57.48 | 61.64 | 35.24 | 48.85 | 28.03 | 34.27 | 30.4 | 36.14 | 28.94 | 31.91 | 33.5 | 25.26 | 38.34 | 28.1 | 25.26 | 26.36 | 25.57 | 21.49 | 20.63 | 18.39 | 16.52 | 16.67 | 11.92 | 16.47 | 16.56 | 11.92
275 | 137.3 | 134.7 | 125.7 | 102.5 | 155.2 | 127.3 | 180.9 | 141.4 | 140.2 | 527.1 | 8886 | 9999.9 | 9999.9 | 945 | 146.9 | 99.83 | 86.43 | 59.49 | 93.22 | 77.53 | 60.04 | 67.54 | 42.59 | 66.13 | 46.02 | 37.2 | 36.61 | 25.76 | 34.52 | 36.99 | 30.2 | 30.89 | 27.55 | 33.06 | 26.75 | 25.6 | 25.78 | 21.99 | 21.26 | 21.35 | 21.3 | 20.61 | 17.79 | 16.53 | 14.76 | 14.1 | 12.12
280 | 133.5 | 143.5 | 113.1 | 109.1 | 111.9 | 131.9 | 179.8 | 158.3 | 142.3 | 167.6 | 681.7 | 9999.9 | 9999.9 | 9999.9 | 795.1 | 125.3 | 113 | 73.84 | 73.71 | 69.13 | 74.43 | 47.26 | 34.14 | 49.07 | 31.25 | 40.38 | 38.73 | 37.76 | 38.72 | 44.93 | 31.45 | 34.18 | 33.12 | 25.59 | 28.22 | 30.36 | 26.9 | 23.31 | 21.6 | 19.28 | 20.94 | 20.57 | 17.85 | 17.36 | 16 | 12.03 | 15.08
285 | 181.8 | 158.6 | 128.2 | 162.1 | 175.5 | 132.4 | 166.9 | 173.2 | 176.1 | 148.2 | 188 | 799.2 | 9999.9 | 9999.9 | 9999.9 | 1045 | 108.2 | 104.1 | 83.35 | 73.24 | 72.32 | 56.47 | 46.66 | 41.59 | 46.16 | 35.69 | 45.16 | 35.74 | 33.53 | 34.36 | 28.17 | 32.65 | 26.65 | 22.26 | 25.07 | 21.69 | 29.81 | 25.73 | 21.52 | 19.58 | 18.66 | 18.4 | 14.87 | 19.96 | 15.1 | 17.01 | 9.282
290 | 135.8 | 125.2 | 137.8 | 140.5 | 136.4 | 153.3 | 143.8 | 207.5 | 205.3 | 282.3 | 258.4 | 298 | 965.1 | 9999.9 | 9999.9 | 9999.9 | 929.5 | 118.4 | 96.79 | 75.43 | 66.9 | 67.05 | 54.93 | 56.32 | 36.13 | 36.61 | 42.21 | 37.72 | 35.93 | 35.28 | 25.89 | 24.85 | 23.71 | 24.49 | 28.56 | 23.03 | 24.29 | 24.8 | 25.27 | 19.94 | 16.35 | 16.63 | 14.55 | 16.48 | 17.92 | 16.15 | 12.88
295 | 178.5 | 207.3 | 250.3 | 175.5 | 171.7 | 160 | 159.9 | 176.7 | 181.6 | 380 | 497.3 | 541 | 676.5 | 1237 | 9999.9 | 9999.9 | 9999.9 | 1240 | 125.9 | 107.2 | 88.27 | 65.3 | 50.83 | 55.23 | 50.4 | 42.88 | 41.74 | 38.13 | 31.93 | 34.66 | 30.04 | 32.21 | 27.92 | 23.08 | 25.47 | 19.12 | 18.07 | 21.38 | 20.23 | 20.12 | 15.67 | 17.42 | 19.2 | 16.9 | 16.56 | 17.48 | 14.89
300 | 208.9 | 252.8 | 217.6 | 203.8 | 235.9 | 204.1 | 150.2 | 228.6 | 254.2 | 356.9 | 639.7 | 824.6 | 1075 | 1091 | 1380 | 9999.9 | 9999.9 | 9999.9 | 1199 | 127.3 | 107 | 78.57 | 69.81 | 46.72 | 39.12 | 46.6 | 37.42 | 37.69 | 46.53 | 30.33 | 26.53 | 30.12 | 25.9 | 19.88 | 21.79 | 20.51 | 20.9 | 20.98 | 17.31 | 24.38 | 22.77 | 17.28 | 15.44 | 15.79 | 14.53 | 17.4 | 14.2
305 | 164.1 | 285.8 | 266.1 | 260 | 234.6 | 206.6 | 214.2 | 284.3 | 313 | 599.3 | 827 | 1212 | 1462 | 1521 | 1190 | 1411 | 9999.9 | 9999.9 | 9999.9 | 1111 | 116.5 | 119.1 | 70.48 | 69.55 | 42.74 | 50.39 | 45.33 | 40.8 | 32.25 | 41.63 | 27.02 | 25.96 | 30.77 | 22.77 | 25.67 | 23.44 | 23.4 | 19.92 | 19.33 | 23.07 | 20.11 | 20.84 | 18.14 | 15.82 | 17.36 | 17.3 | 17.68
310 | 198.3 | 313.4 | 378.2 | 334.6 | 238.1 | 263.8 | 262.8 | 262.4 | 397.7 | 660.9 | 966.9 | 1496 | 1969 | 1846 | 1748 | 1173 | 1156 | 9999.9 | 9999.9 | 9999.9 | 1127 | 113.2 | 84.12 | 69.9 | 55.54 | 40.89 | 51.26 | 45.32 | 39.9 | 32.6 | 33.84 | 38.29 | 23.85 | 21.39 | 23.44 | 20.24 | 21.5 | 16.31 | 16.71 | 23.23 | 18.28 | 19.44 | 19.43 | 16.29 | 16.51 | 15.52 | 15.76
315 | 271 | 357.1 | 464.5 | 361.8 | 301.7 | 257.6 | 283.2 | 334.6 | 435.3 | 672.6 | 1198 | 1507 | 2588 | 2842 | 2266 | 1466 | 783.6 | 1027 | 9999.9 | 9999.9 | 9999.9 | 1137 | 132.8 | 90.27 | 80.53 | 49.08 | 49.08 | 38 | 39.3 | 34.68 | 35.66 | 24.76 | 29.07 | 21.3 | 30.98 | 25 | 19.65 | 14.82 | 18.23 | 18.53 | 17.91 | 18.85 | 20.27 | 17.44 | 16.05 | 14.83 | 14.05
320 | 282 | 356.7 | 500.6 | 434.5 | 332.3 | 256.2 | 278.7 | 387.3 | 559.1 | 873.3 | 1378 | 2206 | 2654 | 2764 | 2718 | 1792 | 798.1 | 456.4 | 902.7 | 9999.9 | 9999.9 | 9999.9 | 959.8 | 126.5 | 103.6 | 60.17 | 46.81 | 49.55 | 52.92 | 37.89 | 35.99 | 30.47 | 32.06 | 25.81 | 22.88 | 21.61 | 21.53 | 18.33 | 17.19 | 18.32 | 18.26 | 17.94 | 20.73 | 15.58 | 15.64 | 18.59 | 16.8
325 | 309.9 | 392.7 | 487.7 | 426.1 | 363.5 | 306.9 | 289 | 383.8 | 613.1 | 971.5 | 1646 | 2466 | 2966 | 2923 | 3174 | 2299 | 988.4 | 502.1 | 313.5 | 851.3 | 9999.9 | 9999.9 | 9999.9 | 1108 | 112.6 | 73.25 | 60.54 | 53.63 | 44.1 | 40.67 | 32.99 | 34.67 | 30.17 | 23.73 | 23.3 | 20.14 | 21.37 | 16.95 | 17.53 | 18.01 | 13.69 | 16.69 | 18.01 | 15.17 | 18.94 | 15.76 | 15.11
330 | 193.6 | 362 | 572.8 | 444.3 | 313.9 | 291.7 | 382.9 | 465 | 646.6 | 1289 | 1868 | 2278 | 2925 | 3459 | 3244 | 2462 | 1210 | 480.5 | 261.5 | 255.3 | 852.9 | 9999.9 | 9999.9 | 9999.9 | 969.3 | 99.82 | 91.83 | 61.48 | 48.56 | 39.46 | 33.24 | 40.44 | 31.54 | 32.31 | 27.2 | 24.13 | 22.48 | 19.16 | 18.75 | 14.44 | 14.92 | 16.54 | 14.87 | 11.62 | 16 | 17.84 | 18.12
335 | 295.8 | 387.2 | 577 | 552 | 347.9 | 312.6 | 420.4 | 457.1 | 670.2 | 1030 | 1603 | 2449 | 3176 | 3444 | 3782 | 2320 | 1346 | 620.9 | 234.6 | 174.3 | 183.6 | 803.7 | 9999.9 | 9999.9 | 9999.9 | 941.5 | 105.9 | 85.72 | 75.12 | 43.3 | 50.04 | 46.3 | 45.42 | 25.99 | 30.01 | 31.57 | 21.25 | 22.48 | 20.2 | 14.82 | 15.92 | 16.68 | 17.41 | 14.69 | 16.07 | 17.07 | 14.85
340 | 292.3 | 345.3 | 435.9 | 485.8 | 426.4 | 277.3 | 323.2 | 425.7 | 579.1 | 1004 | 1489 | 1968 | 2791 | 3205 | 3260 | 2069 | 1082 | 723.7 | 325 | 213.4 | 140 | 202.7 | 811.2 | 9999.9 | 9999.9 | 9999.9 | 963.9 | 114.2 | 82.58 | 71.33 | 52.5 | 43.53 | 40.12 | 33.95 | 29.48 | 24.6 | 23.56 | 16.44 | 19.16 | 19.6 | 14.63 | 17.04 | 14.23 | 15.36 | 16.04 | 15.35 | 15.82
345 | 231.1 | 325.2 | 475.1 | 421.1 | 336.2 | 264.6 | 317.1 | 350.2 | 603.1 | 826 | 1445 | 2104 | 2536 | 2848 | 2964 | 2018 | 1077 | 645.8 | 459.7 | 231.2 | 127.9 | 128.3 | 173.5 | 824.1 | 9999.9 | 9999.9 | 9999.9 | 840.4 | 87.46 | 93.33 | 65.68 | 43.44 | 36.91 | 35.04 | 34.43 | 27.15 | 26.57 | 24.19 | 25.82 | 21.23 | 16.7 | 14.31 | 14.38 | 12.61 | 16.7 | 15.16 | 14.76
350 | 223.8 | 323.1 | 461.3 | 414.7 | 344.2 | 322 | 327 | 402.2 | 433.2 | 820 | 1171 | 1837 | 2429 | 2691 | 2514 | 1896 | 887.4 | 477 | 349.7 | 343.5 | 148 | 97.66 | 107.6 | 148.7 | 798.1 | 9999.9 | 9999.9 | 9999.9 | 827.9 | 116.1 | 79.21 | 60.48 | 42.25 | 34.32 | 30.34 | 26.95 | 26.52 | 23.01 | 19.63 | 17.94 | 26.03 | 15.17 | 18.18 | 15.82 | 17.86 | 15.91 | 16.76
355 | 257.7 | 320.2 | 543.1 | 401.1 | 289.6 | 245.2 | 309.6 | 322.6 | 476 | 736 | 1067 | 1450 | 2006 | 2226 | 2210 | 1619 | 857.6 | 388.6 | 267.4 | 319.8 | 264.5 | 119.3 | 111.2 | 116.9 | 153.1 | 823.5 | 9999.9 | 9999.9 | 9999.9 | 843.6 | 119.5 | 71.82 | 56.18 | 39.93 | 37.01 | 29.86 | 21.75 | 19.28 | 22.4 | 21.7 | 17.93 | 16.39 | 16.8 | 12.71 | 12.77 | 13.77 | 14.49
360 | 263 | 303.5 | 304.2 | 319.9 | 244.6 | 235.7 | 265 | 310.4 | 442.3 | 703.9 | 901.1 | 1384 | 1701 | 1806 | 1986 | 1457 | 820.3 | 363.4 | 203.4 | 202.5 | 272.7 | 173.5 | 106 | 94.47 | 97.3 | 149.2 | 806.3 | 9999.9 | 9999.9 | 9999.9 | 737.1 | 93.67 | 69.49 | 51.06 | 34.99 | 28.59 | 27.14 | 28.2 | 24.99 | 18.07 | 19.85 | 19.43 | 15.11 | 16.14 | 14.04 | 12.53 | 11.34
365 | 227 | 252 | 335.2 | 315.5 | 202.8 | 194.9 | 281.2 | 271.8 | 370.4 | 535.8 | 809.2 | 1146 | 1523 | 1762 | 1653 | 1224 | 634.3 | 342.9 | 196.5 | 135.6 | 197 | 288.9 | 142 | 96.03 | 88.26 | 114.5 | 136 | 803.1 | 9999.9 | 9999.9 | 9999.9 | 676.6 | 88.55 | 59.3 | 49.11 | 35.62 | 27 | 30.86 | 21.13 | 19.24 | 22.68 | 18.04 | 14.02 | 13.97 | 13.53 | 15.23 | 14.85
370 | 177.6 | 198.3 | 304.8 | 308 | 208.4 | 239.5 | 199.4 | 203.8 | 325.5 | 503.5 | 769.3 | 1006 | 1271 | 1467 | 1269 | 1166 | 515 | 330.9 | 161.3 | 95.59 | 115.7 | 203 | 249.4 | 117.5 | 102.2 | 103.7 | 95.87 | 164.9 | 826.1 | 9999.9 | 9999.9 | 9999.9 | 570.1 | 80.8 | 63.91 | 42.54 | 34.21 | 33.17 | 29.1 | 23.72 | 19.66 | 18.6 | 17.34 | 17.86 | 18.23 | 17.05 | 14.74
375 | 197.1 | 200 | 280.4 | 223.3 | 210.1 | 202.4 | 167.5 | 225.8 | 311.4 | 420.4 | 607.7 | 803.7 | 1121 | 1155 | 1188 | 828.2 | 458.8 | 304.6 | 179.7 | 114.7 | 90.8 | 122.8 | 230.5 | 206.9 | 107.9 | 85.01 | 81.4 | 101.4 | 148.8 | 799.7 | 9999.9 | 9999.9 | 9999.9 | 580.9 | 86.71 | 52.77 | 38.47 | 30.78 | 23.61 | 24.47 | 23.66 | 19.37 | 18.44 | 13.92 | 14.34 | 12.69 | 10.64
380 | 196.9 | 284.5 | 275.2 | 286.1 | 156.9 | 201.8 | 167.9 | 249.7 | 314.7 | 295 | 495.8 | 591.4 | 901.4 | 1005 | 913.4 | 733.1 | 393.9 | 262.9 | 136.6 | 116.2 | 112.4 | 102.5 | 128 | 243 | 169.9 | 102.8 | 80.62 | 78.35 | 90.34 | 143.1 | 819.2 | 9999.9 | 9999.9 | 9999.9 | 562.5 | 81.43 | 52.55 | 40.4 | 34.39 | 27.36 | 27.46 | 20.87 | 21.92 | 17.45 | 15.65 | 15.94 | 13.2
385 | 157.1 | 201.4 | 253.3 | 235 | 258.8 | 259.4 | 189.9 | 198.9 | 270 | 296.5 | 501.2 | 577.5 | 756.4 | 868.9 | 786.3 | 615.8 | 371.4 | 194.1 | 144.6 | 101.4 | 125.6 | 101.8 | 81.39 | 154.9 | 219.2 | 131 | 74.51 | 71.94 | 79.5 | 90.62 | 130.1 | 800.8 | 9999.9 | 9999.9 | 9999.9 | 468.5 | 83.28 | 55.74 | 35.57 | 30.39 | 21.08 | 23.31 | 22.78 | 14.46 | 19.61 | 15.96 | 14.89
390 | 154 | 208.4 | 215.2 | 222.9 | 223.4 | 233.2 | 155.2 | 166.2 | 251.2 | 273.2 | 415.1 | 425.9 | 582 | 729.3 | 616.3 | 477.2 | 287.9 | 211 | 141.6 | 138.4 | 98.3 | 79.12 | 104.6 | 109.1 | 164.6 | 207.6 | 109.8 | 77.53 | 77.56 | 78.58 | 90.12 | 143.4 | 782.8 | 9999.9 | 9999.9 | 9999.9 | 502.2 | 68.68 | 52.91 | 34.42 | 27.76 | 19.99 | 21.33 | 17.26 | 19.3 | 13.42 | 14.72
395 | 203.8 | 183.9 | 241 | 239.5 | 221.5 | 219.1 | 166.9 | 155 | 166.8 | 293.5 | 328.5 | 412.6 | 422.1 | 580.1 | 497.3 | 415.7 | 329.4 | 156.7 | 137 | 130.8 | 112.9 | 113.3 | 102.6 | 111.3 | 110.7 | 192.9 | 207.9 | 95.88 | 70.35 | 70.64 | 76.19 | 79.08 | 137.2 | 808 | 9999.9 | 9999.9 | 9999.9 | 383.3 | 69.13 | 42.04 | 32.77 | 23.46 | 23.76 | 21.56 | 18.44 | 19.24 | 14.37
400 | 184 | 147.8 | 154.1 | 173.7 | 134 | 181.2 | 176.3 | 198.2 | 194.7 | 210.6 | 246.5 | 349.1 | 473.9 | 458.1 | 471.4 | 363.8 | 254 | 159.2 | 136.2 | 125.9 | 130.4 | 98.72 | 100.1 | 92.21 | 85.89 | 101.1 | 195.3 | 145.3 | 89.55 | 68.92 | 78.24 | 74.51 | 80.79 | 126.1 | 774.6 | 9999.9 | 9999.9 | 9999.9 | 350.4 | 64.33 | 41.02 | 33.94 | 29.47 | 20.87 | 17.19 | 18.3 | 15.35
405 | 139.8 | 212.2 | 130.3 | 182.7 | 171.9 | 159.8 | 165.5 | 153.3 | 197.7 | 186 | 256 | 302.6 | 368.4 | 408.8 | 381.9 | 297.5 | 241.9 | 162 | 133.3 | 109.2 | 105.6 | 109.4 | 116.5 | 84.55 | 110.5 | 75.11 | 125.6 | 181.6 | 138 | 66.99 | 61.51 | 64.9 | 69.37 | 67.25 | 121 | 745.7 | 9999.9 | 9999.9 | 9999.9 | 377.2 | 57.94 | 42.07 | 32.37 | 24.45 | 21.8 | 14.96 | 18.51
410 | 212.5 | 190.1 | 185.7 | 200 | 160.3 | 138.7 | 130.4 | 211.2 | 172.9 | 176.7 | 205 | 251.6 | 272 | 294.4 | 302.3 | 267.5 | 178.3 | 165.1 | 109.3 | 100.8 | 93.89 | 110.6 | 110.5 | 94.09 | 99.94 | 79.46 | 92.98 | 148.7 | 192.8 | 115.3 | 65.13 | 58.14 | 61.85 | 61.33 | 69.47 | 107.8 | 737.9 | 9999.9 | 9999.9 | 9999.9 | 320.4 | 54.53 | 39.77 | 30.17 | 22.69 | 19.13 | 19.31
415 | 227.9 | 154.8 | 239.7 | 199.7 | 207.5 | 142.7 | 132.3 | 163.8 | 149.3 | 146.6 | 203.7 | 234.3 | 304.4 | 271.6 | 273.6 | 245.3 | 184.2 | 183.2 | 107.6 | 114.7 | 124.9 | 94.98 | 131.1 | 79.61 | 87 | 91.6 | 91.03 | 100.9 | 164.2 | 177 | 94.89 | 60.02 | 53.35 | 56.2 | 54.32 | 57.25 | 106.3 | 743.5 | 9999.9 | 9999.9 | 9999.9 | 317.3 | 52.54 | 40 | 27.85 | 21.32 | 16.52
420 | 199 | 144.9 | 166.1 | 156.8 | 154.7 | 138.2 | 175.1 | 153.8 | 159.1 | 150.3 | 133.8 | 201 | 228.6 | 218.6 | 241.4 | 211.2 | 147.2 | 158.5 | 141.1 | 81.25 | 107.8 | 97.52 | 121.9 | 100.3 | 96.55 | 99.98 | 83.66 | 88.19 | 121.2 | 195.9 | 155.6 | 86.68 | 58.2 | 50.06 | 42.5 | 54.28 | 52.4 | 105.1 | 743 | 9999.9 | 9999.9 | 9999.9 | 287 | 46.58 | 34.74 | 28.9 | 15.94
425 | 148.8 | 128.4 | 218.8 | 233.7 | 216.9 | 158.1 | 131.8 | 156.3 | 131.9 | 159 | 157.1 | 207.7 | 250.5 | 240.9 | 197.8 | 190 | 182.2 | 128.6 | 136.7 | 99.27 | 107.1 | 109.6 | 113.4 | 98.72 | 92.43 | 104.7 | 87.1 | 84.82 | 91.5 | 106.3 | 154.7 | 104.9 | 56.98 | 49.86 | 41.99 | 42.99 | 51.13 | 49.86 | 101.9 | 748.3 | 9999.9 | 9999.9 | 9999.9 | 245.5 | 49.86 | 36.22 | 25.47
430 | 263.3 | 168.1 | 190.7 | 145.8 | 181.8 | 169.8 | 204.7 | 145.9 | 116.9 | 174.2 | 163.6 | 146.5 | 252.2 | 222.6 | 214.9 | 162.8 | 143.1 | 125.6 | 96.84 | 104.2 | 102 | 99.69 | 107.9 | 108.6 | 85.99 | 84.28 | 95.15 | 82.41 | 81.25 | 79.19 | 95.48 | 133.2 | 82.22 | 46.82 | 44.84 | 46.6 | 38.7 | 41.19 | 53.12 | 98.15 | 726 | 9999.9 | 9999.9 | 9999.9 | 274.7 | 48.01 | 35.3
435 | 390.4 | 195 | 192.4 | 177.6 | 154.8 | 152 | 123.2 | 98.83 | 131.6 | 148.7 | 138 | 197.2 | 235.5 | 197.7 | 217.5 | 150.7 | 167.4 | 109.2 | 118 | 106.6 | 95.46 | 107.6 | 105.3 | 92.75 | 104.1 | 90.61 | 84.14 | 81.05 | 86.14 | 79.92 | 72.5 | 107.7 | 108.2 | 65.9 | 44.51 | 33.16 | 38.77 | 36.34 | 42.52 | 47.34 | 94.97 | 730.2 | 9999.9 | 9999.9 | 9999.9 | 257.4 | 48.8
440 | 666.9 | 280 | 193.3 | 159.5 | 195.5 | 161.8 | 143.4 | 137.4 | 114.2 | 109.1 | 190 | 171.3 | 144 | 189.2 | 204.1 | 135.3 | 115.3 | 103.9 | 105.2 | 115 | 110 | 95.37 | 129.1 | 91.9 | 95.02 | 74.36 | 78.74 | 65.16 | 76.57 | 81.66 | 67.29 | 59.4 | 110.1 | 91.81 | 49.37 | 33.86 | 38.06 | 38.73 | 39.2 | 43.04 | 46.72 | 90.86 | 723.5 | 9999.9 | 9999.9 | 9999.9 | 216.6
445 | 431.9 | 623.7 | 217 | 152.4 | 146.9 | 159.5 | 129.4 | 127.2 | 116.7 | 127.4 | 155.6 | 159 | 166.5 | 209.6 | 171 | 174.6 | 135.3 | 117.7 | 110.5 | 122.5 | 94.59 | 87.97 | 106.7 | 109.8 | 84.91 | 96.63 | 85.69 | 76.49 | 73.58 | 72.3 | 72.78 | 57.58 | 54.88 | 98.58 | 80.02 | 44.76 | 27.41 | 33.44 | 33.73 | 32.63 | 36.25 | 39.28 | 91.46 | 719.4 | 9999.9 | 9999.9 | 9999.9
450 | 231.4 | 790 | 561.6 | 160.9 | 112.5 | 122.7 | 121.7 | 117.9 | 123.7 | 144.2 | 146.4 | 219 | 179.4 | 146.5 | 137.9 | 167.6 | 143.5 | 115.4 | 123.4 | 106.8 | 107.8 | 89.7 | 106.3 | 107.4 | 82.79 | 77.95 | 81.44 | 79.48 | 72.31 | 55.17 | 58.9 | 69.75 | 61.03 | 71.4 | 92.22 | 52.95 | 36.21 | 37.02 | 34.1 | 27.79 | 31.87 | 34.57 | 35.1 | 88.18 | 737 | 9999.9 | 9999.9
455 | 199.8 | 583.6 | 1212 | 220.1 | 189.3 | 150.3 | 156.6 | 136.5 | 98.48 | 167.4 | 139.1 | 169 | 159.3 | 147.9 | 165.2 | 187.5 | 128.5 | 114.8 | 115.2 | 86.64 | 82.65 | 97.52 | 99.94 | 93.51 | 91.49 | 90.52 | 71.68 | 70.4 | 81.23 | 66.85 | 60.4 | 61.38 | 52.53 | 45.28 | 74.52 | 72.67 | 47.55 | 29.41 | 28.26 | 31.3 | 28.69 | 29.84 | 32.01 | 35.47 | 83.41 | 735.8 | 9999.9
460 | 156.8 | 258.2 | 1678 | 632 | 228.4 | 169.7 | 203.3 | 142.9 | 150.7 | 122.4 | 154 | 159.5 | 143.9 | 128.5 | 174.1 | 135.1 | 134 | 115.5 | 97.02 | 90.67 | 119.4 | 87.3 | 102.2 | 83.57 | 90.51 | 90.55 | 79.2 | 70.88 | 73.01 | 58.63 | 67.61 | 44.33 | 46.65 | 40.55 | 45.36 | 73.52 | 73.19 | 41.6 | 35.04 | 29.38 | 26.9 | 25.8 | 28.79 | 34.06 | 34.4 | 87.77 | 715.2
465 | 191.1 | 178.9 | 863 | 1714 | 234.5 | 215.3 | 139.5 | 136.5 | 134 | 104.4 | 153.5 | 163.6 | 147.5 | 134.5 | 134.6 | 171.6 | 114.2 | 96.72 | 128.5 | 94.78 | 94.74 | 94.5 | 94.69 | 94.39 | 88.23 | 79.79 | 65.1 | 72.38 | 70.33 | 55.2 | 59.88 | 59.5 | 53.96 | 51.94 | 45.75 | 49.71 | 68.42 | 56.25 | 26.99 | 25.05 | 27.16 | 30.95 | 31.66 | 30.32 | 33.91 | 34.42 | 79.46
470 | 172.9 | 160.3 | 345.6 | 2382 | 866.1 | 168 | 123.4 | 155 | 166.7 | 184.5 | 133.5 | 152.9 | 128 | 146.6 | 143.4 | 150.9 | 160.7 | 107.3 | 107.4 | 95.6 | 89.83 | 89.89 | 99.32 | 89.78 | 84.59 | 63.92 | 57.85 | 75.24 | 66.44 | 56.7 | 55.16 | 61.46 | 49.6 | 47.6 | 38.2 | 37.9 | 52.41 | 73.75 | 35.83 | 30.11 | 26.54 | 29.27 | 27.42 | 26.44 | 28.18 | 29.64 | 32.2
475 | 158.6 | 180.2 | 162.4 | 1492 | 2492 | 206.5 | 140.2 | 137.1 | 120.4 | 122.6 | 140.1 | 123.7 | 151 | 150.6 | 131.8 | 136.4 | 114.8 | 120.5 | 102.5 | 90.34 | 96.39 | 79.57 | 82.08 | 73.75 | 75.36 | 81.59 | 71.05 | 61.6 | 57.23 | 51.13 | 74.4 | 61.38 | 45.76 | 37.76 | 31.08 | 39.06 | 33.45 | 48.96 | 54.92 | 39.77 | 32.39 | 25.2 | 30.25 | 24.71 | 24.45 | 24.22 | 26.1
480 | 118.5 | 163.2 | 219 | 399.6 | 3845 | 1122 | 154.9 | 151 | 137.7 | 98.4 | 111.9 | 107.6 | 127.5 | 161 | 138.2 | 132.5 | 128 | 117.9 | 122.5 | 76.71 | 99.99 | 77.54 | 77.26 | 77.4 | 66.79 | 68.91 | 62.93 | 49.18 | 57.11 | 61.7 | 50.55 | 45.69 | 43.77 | 33.74 | 42.3 | 33.99 | 31.52 | 33.29 | 47.53 | 48.03 | 26.8 | 24.51 | 21.83 | 24.58 | 25.41 | 27.45 | 23.72
485 | 105.9 | 154.6 | 193.9 | 199.6 | 2088 | 2568 | 247.2 | 127.7 | 134.9 | 115.4 | 116 | 118.6 | 123.6 | 140.6 | 112.8 | 99.44 | 130.2 | 116.8 | 84.27 | 89.97 | 86.79 | 66.02 | 67.89 | 68.88 | 60.42 | 67.96 | 55.27 | 59.08 | 55.43 | 51.77 | 55.87 | 37.18 | 39.79 | 34.72 | 40.9 | 33.23 | 32.11 | 30.52 | 32.72 | 51.73 | 37.86 | 24.45 | 26.22 | 24.42 | 27.26 | 21.41 | 25.14
490 | 156.1 | 191.5 | 179.5 | 147.9 | 496.8 | 3689 | 1177 | 181.3 | 128.4 | 125.2 | 157.2 | 139.4 | 123.4 | 118.2 | 111.1 | 108.8 | 123.2 | 98.76 | 89.54 | 86.56 | 80.03 | 74.94 | 75.63 | 60.84 | 87.19 | 67.08 | 51.52 | 56.62 | 52.81 | 51.59 | 50.25 | 36.16 | 39.83 | 35.96 | 37.16 | 31.32 | 29.31 | 30.12 | 26.65 | 42.83 | 46.49 | 32.47 | 18.45 | 20.47 | 22.95 | 21.93 | 22.98
495 | 134.4 | 231.2 | 171.1 | 137.9 | 217.9 | 2448 | 3250 | 269.5 | 147.7 | 134.3 | 148 | 148.3 | 128.1 | 125.6 | 129.8 | 95.45 | 97.34 | 108.7 | 88.71 | 90.28 | 87.74 | 83.96 | 79.22 | 60.93 | 67.44 | 64.96 | 45.16 | 46.29 | 57.87 | 51.87 | 48.89 | 38.3 | 36.83 | 38.86 | 35.95 | 32.93 | 28.22 | 32.46 | 24.06 | 26.06 | 38.45 | 35.38 | 25.17 | 20.24 | 24.93 | 19.81 | 20.87
500 | 122 | 138.4 | 161.3 | 196.4 | 179.9 | 828.8 | 4716 | 895.4 | 151.6 | 115.1 | 100.2 | 156.8 | 102.1 | 151.3 | 105.8 | 105.2 | 107.2 | 92.25 | 86.86 | 84.29 | 64.69 | 83.98 | 74.57 | 65.67 | 59.65 | 65.81 | 58.48 | 52.97 | 52.74 | 47.89 | 46.23 | 41.12 | 35.08 | 39.42 | 33.28 | 26.52 | 26.91 | 26.92 | 27.34 | 24.72 | 24.32 | 45.75 | 32.1 | 21.15 | 19.29 | 22.18 | 18.25