## Sheet1
Report date: | 14:57:58, 04/15/2024
Sample: | 1
File name:
Run date: | 14:55:19, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/370.0 | 246.3
2 | 225.0/395.0 | 199.4
3 | 225.0/420.0 | 174.2
4 | 230.0/345.0 | 481.9
5 | 230.0/375.0 | 300.2
6 | 230.0/400.0 | 217.8
7 | 230.0/430.0 | 199.8
8 | 235.0/265.0 | 187.9
9 | 235.0/330.0 | 530.8
10 | 235.0/365.0 | 351
11 | 235.0/380.0 | 260.6
12 | 235.0/410.0 | 204.3
13 | 235.0/425.0 | 240.5
14 | 235.0/435.0 | 174.5
15 | 240.0/270.0 | 192
16 | 240.0/280.0 | 194
17 | 240.0/385.0 | 277
18 | 240.0/450.0 | 210.6
19 | 245.0/420.0 | 180.6
20 | 245.0/440.0 | 211.5
21 | 250.0/395.0 | 196.9
22 | 250.0/410.0 | 174.4
23 | 250.0/465.0 | 170
24 | 255.0/280.0 | 228
25 | 255.0/435.0 | 161.4
26 | 260.0/405.0 | 210.2
27 | 260.0/445.0 | 177.2
28 | 260.0/455.0 | 170
29 | 260.0/485.0 | 197.5
30 | 265.0/435.0 | 151
31 | 265.0/490.0 | 165.5
32 | 270.0/450.0 | 173
33 | 270.0/470.0 | 152.3
34 | 275.0/440.0 | 185.7
35 | 275.0/455.0 | 175.4
36 | 275.0/480.0 | 185.7
37 | 280.0/445.0 | 190.3
38 | 280.0/470.0 | 194
39 | 285.0/325.0 | 2869
40 | 285.0/335.0 | 2927
41 | 285.0/410.0 | 307.9
42 | 285.0/425.0 | 226.9
43 | 290.0/330.0 | 3026
44 | 290.0/430.0 | 216.5
45 | 290.0/440.0 | 185.5
46 | 290.0/460.0 | 188.9
47 | 295.0/475.0 | 170.2
48 | 295.0/490.0 | 143.5
49 | 300.0/265.0 | 107.1
50 | 300.0/445.0 | 147.6
51 | 300.0/465.0 | 134.8
52 | 305.0/260.0 | 89.82
53 | 305.0/455.0 | 130.8
54 | 310.0/255.0 | 81.76
55 | 310.0/270.0 | 95.05
56 | 310.0/420.0 | 134.2
57 | 310.0/460.0 | 118.6
58 | 315.0/465.0 | 114.3
59 | 315.0/485.0 | 106.2
60 | 320.0/280.0 | 77.09
61 | 320.0/360.0 | 282.8
62 | 320.0/380.0 | 104.5
63 | 320.0/415.0 | 106.4
64 | 320.0/430.0 | 120.1
65 | 320.0/450.0 | 116
66 | 320.0/480.0 | 112.7
67 | 325.0/270.0 | 59.61
68 | 325.0/285.0 | 64.36
69 | 325.0/365.0 | 284.9
70 | 325.0/390.0 | 97.66
71 | 325.0/405.0 | 108.1
72 | 325.0/435.0 | 108.5
73 | 330.0/265.0 | 61.22
74 | 330.0/375.0 | 255.8
75 | 330.0/395.0 | 100.1
76 | 330.0/430.0 | 107.9
77 | 330.0/445.0 | 106.7
78 | 330.0/490.0 | 82.79
79 | 335.0/255.0 | 54.39
80 | 335.0/450.0 | 107.4
81 | 335.0/460.0 | 111.2
82 | 335.0/475.0 | 89.22
83 | 340.0/270.0 | 53.84
84 | 340.0/300.0 | 59.7
85 | 340.0/385.0 | 227.7
86 | 340.0/405.0 | 96.14
87 | 340.0/495.0 | 78.71
88 | 345.0/390.0 | 218
89 | 345.0/420.0 | 96.91
90 | 345.0/490.0 | 78.16
91 | 350.0/275.0 | 45.74
92 | 350.0/395.0 | 179.4
93 | 350.0/450.0 | 88.28
94 | 350.0/465.0 | 97.88
95 | 350.0/475.0 | 85.1
96 | 350.0/485.0 | 74.83
97 | 355.0/255.0 | 42
98 | 355.0/290.0 | 39.23
99 | 355.0/305.0 | 50.24
100 | 355.0/405.0 | 171
101 | 355.0/440.0 | 90.21
102 | 360.0/270.0 | 36.21
103 | 360.0/295.0 | 37.99
104 | 360.0/415.0 | 166.3
105 | 360.0/465.0 | 84.27
106 | 365.0/290.0 | 43.22
107 | 365.0/300.0 | 38.45
108 | 365.0/320.0 | 47.46
109 | 365.0/450.0 | 104.2
110 | 365.0/470.0 | 91.58
111 | 370.0/255.0 | 37.01
112 | 370.0/425.0 | 155
113 | 370.0/445.0 | 101.7
114 | 370.0/475.0 | 92.91
115 | 375.0/300.0 | 30.45
116 | 375.0/430.0 | 143.5
117 | 380.0/260.0 | 38.72
118 | 380.0/295.0 | 30.38
119 | 380.0/435.0 | 156.8
120 | 380.0/480.0 | 102.1
121 | 385.0/275.0 | 33.09
122 | 385.0/310.0 | 32.59
123 | 385.0/445.0 | 153.3
124 | 385.0/485.0 | 102.9
125 | 390.0/450.0 | 167
126 | 390.0/470.0 | 120.5
127 | 390.0/480.0 | 110.2
128 | 390.0/495.0 | 95.97
129 | 395.0/305.0 | 23.99
130 | 395.0/320.0 | 24.47
131 | 395.0/455.0 | 164.6
132 | 400.0/280.0 | 27.53
133 | 400.0/345.0 | 25.69
134 | 400.0/465.0 | 163.7
135 | 405.0/265.0 | 21.31
136 | 405.0/290.0 | 29.16
137 | 405.0/335.0 | 24.48
138 | 410.0/255.0 | 24.6
139 | 410.0/270.0 | 21.81
140 | 410.0/295.0 | 25.32
141 | 410.0/310.0 | 21.69
142 | 410.0/345.0 | 21.35
143 | 415.0/260.0 | 22.28
144 | 415.0/275.0 | 23.14
145 | 415.0/285.0 | 21.37
146 | 415.0/300.0 | 23
147 | 415.0/330.0 | 20
148 | 415.0/360.0 | 22.87
149 | 420.0/270.0 | 20.96
150 | 420.0/310.0 | 22.7
151 | 420.0/340.0 | 19.98
152 | 425.0/275.0 | 20.61
153 | 425.0/295.0 | 20.97
154 | 425.0/320.0 | 20.8
155 | 430.0/265.0 | 18.83
156 | 430.0/350.0 | 18.96
157 | 435.0/330.0 | 17.46
158 | 440.0/275.0 | 16.6
159 | 440.0/285.0 | 17.89
160 | 440.0/295.0 | 17.31
161 | 440.0/320.0 | 20.12
162 | 440.0/365.0 | 15.41
163 | 440.0/400.0 | 20.54
164 | 445.0/270.0 | 16.21
165 | 445.0/300.0 | 18.94
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 116.6 | 200.4 | 149.5 | 172.8 | 135.2 | 3179 | 9999.9 | 3251 | 125.8 | 80.22 | 124.4 | 84.02 | 109.4 | 73.51 | 89.1 | 69.96 | 96.64 | 66.71 | 70.41 | 44.46 | 61.45 | 46.17 | 44.1 | 49.94 | 52.31 | 43.31 | 31.56 | 34.58 | 35.37 | 36.84 | 32.02 | 30.75 | 31.52 | 24.68 | 28.61 | 30.03 | 26.16 | 24.95 | 19.8 | 18.78 | 18.87 | 18.8 | 15.12 | 11.18 | 16.44 | 9.501 | 10.17
255 | 118.8 | 140 | 112.3 | 154.9 | 148.6 | 349.6 | 2759 | 9999.9 | 6031 | 309.8 | 115.3 | 153.9 | 93.7 | 107.6 | 98.07 | 89.48 | 89.53 | 68.5 | 81.76 | 57.77 | 59.2 | 43.58 | 51.52 | 54.39 | 46.73 | 38.66 | 35.92 | 42 | 35.66 | 34.68 | 37.01 | 30.58 | 26.71 | 29.06 | 28.29 | 23.33 | 24.64 | 17.93 | 24.6 | 21.2 | 15.51 | 13.9 | 17.62 | 13.87 | 12.32 | 12.09 | 7.999
260 | 146.8 | 120.7 | 126.1 | 170.6 | 153.1 | 166.3 | 303.7 | 3448 | 9999.9 | 7943 | 368.6 | 118.1 | 87.6 | 100.6 | 95.85 | 86.07 | 89.49 | 89.82 | 80.79 | 66.12 | 66.06 | 50.7 | 58.4 | 43.39 | 45.06 | 39.79 | 35.04 | 40.35 | 37.26 | 33.43 | 33.13 | 31.12 | 38.72 | 25.8 | 25.4 | 24.17 | 25.14 | 19.37 | 17.92 | 22.28 | 15.32 | 17.54 | 16.82 | 11.27 | 16.07 | 9.895 | 9.987
265 | 190.8 | 160.4 | 113.3 | 187.9 | 163.1 | 177.9 | 146.4 | 349.9 | 4334 | 9999.9 | 9999.9 | 444.8 | 113.4 | 131.3 | 101 | 87.09 | 107.1 | 68.35 | 73.44 | 76.41 | 55.4 | 59.29 | 61.22 | 48.64 | 35.34 | 33.97 | 32.21 | 33.05 | 34.42 | 34.73 | 34.98 | 30.07 | 32.44 | 31.63 | 23.89 | 26.73 | 19.28 | 21.31 | 19.11 | 20.47 | 17.38 | 14.32 | 18.83 | 15.01 | 13.39 | 12.6 | 13.69
270 | 145.8 | 124.5 | 124.3 | 162.8 | 192 | 162.4 | 128.7 | 135.7 | 407.1 | 5391 | 9999.9 | 9999.9 | 541 | 120.5 | 114.1 | 115.4 | 82.8 | 73.6 | 95.05 | 81.19 | 50.81 | 59.61 | 45.2 | 48.98 | 53.84 | 40.7 | 44.2 | 34.24 | 36.21 | 35.44 | 26.72 | 29.58 | 22.85 | 31.49 | 28.4 | 22.45 | 18.78 | 17.35 | 21.81 | 12.96 | 20.96 | 18.99 | 16.33 | 15.59 | 14.48 | 16.21 | 10.18
275 | 129.8 | 134.2 | 95.99 | 142.8 | 178 | 121.2 | 144.7 | 164.7 | 109.8 | 448.1 | 8007 | 9999.9 | 9999.9 | 653 | 98.8 | 87.7 | 83.69 | 67.98 | 69.3 | 65.08 | 57.01 | 55.51 | 46.85 | 56.24 | 41.94 | 44.17 | 45.74 | 37.81 | 28.8 | 35.35 | 30.15 | 32.15 | 26.03 | 33.09 | 31.47 | 22.34 | 21.62 | 22.14 | 20.42 | 23.14 | 16.71 | 20.61 | 12.75 | 16.55 | 16.6 | 14.36 | 14.42
280 | 230.3 | 174.5 | 124.3 | 116.7 | 194 | 164.3 | 162.6 | 228 | 140.1 | 168.9 | 606.8 | 9760 | 9999.9 | 9999.9 | 630.8 | 89.97 | 89.47 | 87.13 | 55.75 | 71.69 | 77.09 | 63.59 | 48.93 | 55.1 | 38.27 | 42.73 | 36.91 | 32.9 | 27.36 | 28.18 | 25.61 | 30.14 | 22.94 | 24.77 | 29.25 | 25.77 | 27.53 | 20.16 | 17.76 | 15.1 | 18.46 | 19.7 | 14.84 | 15.34 | 13.17 | 12.27 | 11.26
285 | 146.5 | 173 | 120.8 | 157.3 | 178.5 | 132.2 | 132 | 129.3 | 175.6 | 167.4 | 179.9 | 807.1 | 9999.9 | 9999.9 | 9999.9 | 793.6 | 122.5 | 99.3 | 75.05 | 70.18 | 57.86 | 64.36 | 59.69 | 57.35 | 41.9 | 45.28 | 37.73 | 31.34 | 31.8 | 28.73 | 28.29 | 30.73 | 29.27 | 28.66 | 21.4 | 20.59 | 23.18 | 18.93 | 18.85 | 21.37 | 18.84 | 12.57 | 17.45 | 15.08 | 17.89 | 13.57 | 12.96
290 | 123.6 | 197.8 | 186.6 | 145.5 | 151.2 | 156.3 | 169.4 | 109.2 | 200.9 | 262 | 294.1 | 288.4 | 918.4 | 9999.9 | 9999.9 | 9999.9 | 840.2 | 147.4 | 108 | 72.03 | 76.59 | 64.17 | 70.29 | 44.32 | 43.33 | 38.41 | 36.69 | 39.23 | 37.93 | 43.22 | 35.25 | 28.2 | 28.98 | 21.94 | 18.23 | 21.38 | 21.07 | 29.16 | 22.59 | 20.13 | 16.66 | 20.15 | 19.41 | 14.8 | 14.83 | 11.09 | 12.96
295 | 132.4 | 234.6 | 217.9 | 196.6 | 214.4 | 179 | 174.4 | 165.8 | 192.3 | 298.9 | 474 | 471.7 | 679.4 | 1229 | 9999.9 | 9999.9 | 9999.9 | 873.1 | 127 | 81.28 | 88.37 | 54.67 | 43.16 | 48.03 | 29.97 | 34.67 | 37.54 | 34.56 | 37.99 | 33.28 | 33.19 | 24.12 | 30.38 | 21.03 | 21.66 | 20.1 | 19.48 | 18.78 | 25.32 | 21.32 | 18.93 | 20.97 | 16.32 | 14.51 | 17.31 | 12.54 | 11.28
300 | 212.1 | 265.9 | 207.3 | 230.6 | 228.6 | 162.4 | 151 | 182.8 | 195.5 | 412 | 655.2 | 810.5 | 924.9 | 968.3 | 1283 | 9999.9 | 9999.9 | 9999.9 | 1022 | 107.5 | 97.49 | 70.13 | 48.25 | 56.47 | 59.7 | 39.48 | 41.37 | 32.84 | 37.7 | 38.45 | 27.59 | 30.45 | 26.25 | 24.58 | 21.37 | 18.6 | 17.22 | 17.73 | 22.13 | 23 | 21.95 | 18.1 | 15.67 | 14.42 | 14.38 | 18.94 | 9.714
305 | 198.8 | 278.7 | 310.8 | 307.9 | 212.8 | 223.7 | 213.2 | 195.8 | 292.5 | 528 | 702.6 | 1191 | 1276 | 1272 | 1114 | 1320 | 9999.9 | 9999.9 | 9999.9 | 815.3 | 115.2 | 81.11 | 57.22 | 62.98 | 58.81 | 37.78 | 44.95 | 50.24 | 33.55 | 33.24 | 33.9 | 27.41 | 26.92 | 29.4 | 22.12 | 23.99 | 21.93 | 15.7 | 19.73 | 20.28 | 20.63 | 19.12 | 16.22 | 13.94 | 13.87 | 17.1 | 15.24
310 | 179.4 | 306.6 | 333 | 361.1 | 246.8 | 215.9 | 177.2 | 245.3 | 354.1 | 646.4 | 904.9 | 1331 | 1824 | 1826 | 1526 | 982.1 | 1108 | 9999.9 | 9999.9 | 9999.9 | 894.1 | 102.1 | 84.95 | 62.48 | 51.45 | 49.34 | 40.41 | 39.04 | 37.04 | 36.14 | 33.09 | 27.29 | 25.42 | 32.59 | 21.97 | 19.23 | 19.28 | 17.22 | 21.69 | 13.66 | 22.7 | 19.94 | 17.86 | 13.46 | 12.74 | 16.39 | 15.96
315 | 242.7 | 390.7 | 431.7 | 356 | 357.1 | 245.9 | 263.1 | 321 | 493.6 | 679.7 | 1218 | 1557 | 1991 | 2386 | 2042 | 1237 | 648.7 | 956.4 | 9999.9 | 9999.9 | 9999.9 | 813.1 | 97.41 | 72.38 | 69.95 | 43.96 | 50.56 | 46.57 | 43.51 | 32.77 | 37.09 | 33.67 | 24.39 | 31.82 | 20.83 | 22.61 | 21.03 | 20.58 | 17.63 | 16.32 | 14.19 | 13.18 | 17.35 | 17.82 | 17.17 | 17.43 | 15.23
320 | 251.2 | 362.2 | 431.4 | 361.9 | 315.6 | 249.7 | 326 | 356.6 | 583.4 | 714 | 1347 | 1750 | 2219 | 2693 | 2328 | 1596 | 725.3 | 391 | 858.9 | 9999.9 | 9999.9 | 9999.9 | 706.4 | 93.03 | 94.61 | 72.24 | 52.08 | 42.3 | 43.97 | 47.46 | 35.21 | 30.84 | 29.35 | 28.15 | 22.35 | 24.47 | 21.84 | 20.09 | 19.81 | 18.22 | 16.49 | 20.8 | 18.04 | 19.45 | 20.12 | 15.47 | 12.21
325 | 252.2 | 359.2 | 487.4 | 448.9 | 323.6 | 286.5 | 305.3 | 391.1 | 600.2 | 846.7 | 1552 | 1937 | 2631 | 2869 | 2658 | 1953 | 895.4 | 379.6 | 245.4 | 828.5 | 9999.9 | 9999.9 | 9999.9 | 757.4 | 86.85 | 64.42 | 56.82 | 41.32 | 32.41 | 40.72 | 40.16 | 29.08 | 24.22 | 28.17 | 26.19 | 17.18 | 19.41 | 17.85 | 19.56 | 17.32 | 16.29 | 19.21 | 15.54 | 15.6 | 16.76 | 15.71 | 13.68
330 | 256.5 | 435.7 | 495.5 | 530.8 | 340.5 | 273.2 | 341.3 | 408.5 | 499.5 | 841.1 | 1526 | 1972 | 2540 | 2784 | 3026 | 2064 | 1146 | 387.1 | 186.6 | 213.4 | 799.8 | 9999.9 | 9999.9 | 9999.9 | 708.9 | 82.22 | 78.87 | 60.44 | 47.44 | 44.9 | 41.3 | 34.35 | 27.28 | 26.58 | 25.84 | 20.62 | 22.57 | 18.21 | 17.34 | 20 | 19.22 | 15.66 | 15.88 | 17.46 | 14.59 | 15.11 | 16.91
335 | 300.1 | 375.2 | 465.8 | 460.4 | 416.3 | 297.6 | 349.5 | 353.5 | 542.5 | 1046 | 1345 | 1918 | 2652 | 2927 | 2908 | 2078 | 1147 | 523.1 | 195.7 | 140 | 159.8 | 771.9 | 9999.9 | 9999.9 | 9999.9 | 676.2 | 89.62 | 72.4 | 57.4 | 46.2 | 42.51 | 38.06 | 29.22 | 32.81 | 21.5 | 19.73 | 22.6 | 24.48 | 21.3 | 15.93 | 18.74 | 16.48 | 12.59 | 16.38 | 14.33 | 18.97 | 13.73
340 | 258.1 | 384.6 | 391.7 | 328.4 | 324.9 | 286.7 | 247.4 | 314.8 | 543.5 | 875.1 | 1198 | 1885 | 2469 | 2677 | 2595 | 1685 | 886 | 708.9 | 217.3 | 126.7 | 118.4 | 136.2 | 770.3 | 9999.9 | 9999.9 | 9999.9 | 664.9 | 88.82 | 60.54 | 57.08 | 52.16 | 39.46 | 32.55 | 31.96 | 27.49 | 21 | 25.44 | 21.7 | 16.23 | 19.79 | 19.98 | 14.86 | 14.14 | 16.62 | 13.49 | 17.3 | 14.86
345 | 219.1 | 293.4 | 481.9 | 362.7 | 280.2 | 238.1 | 308.7 | 286.8 | 484.2 | 864.8 | 1199 | 1902 | 2174 | 2330 | 2340 | 1742 | 763.8 | 499 | 362.5 | 175.7 | 105.1 | 110.1 | 161.4 | 773 | 9999.9 | 9999.9 | 9999.9 | 603.1 | 73.75 | 69.88 | 52.75 | 35.63 | 29.65 | 36 | 21.58 | 21.76 | 25.69 | 16.8 | 21.35 | 20.58 | 18.64 | 16.55 | 13.98 | 15.77 | 11.28 | 14.61 | 15.29
350 | 255.9 | 309.2 | 420.2 | 392.7 | 273.9 | 265.2 | 217.8 | 338.8 | 505.7 | 704.4 | 1045 | 1459 | 1808 | 2187 | 2227 | 1529 | 751.5 | 341.5 | 385.7 | 315.1 | 132.1 | 81.59 | 106.1 | 133.9 | 772.2 | 9999.9 | 9999.9 | 9999.9 | 593.8 | 88.7 | 72.27 | 40.03 | 41.47 | 36.12 | 33.57 | 23.87 | 18.92 | 20.51 | 16.56 | 19 | 17.95 | 17.31 | 18.96 | 17.14 | 14.77 | 13.65 | 13.95
355 | 191.8 | 316.8 | 341.8 | 318.5 | 261.8 | 213.5 | 296.4 | 303.8 | 429.5 | 658.9 | 1029 | 1161 | 1769 | 1876 | 1960 | 1292 | 673.7 | 317.3 | 189 | 292.4 | 226.2 | 104.1 | 87.96 | 103.3 | 141.9 | 773 | 9999.9 | 9999.9 | 9999.9 | 570.1 | 80.55 | 56.38 | 46.88 | 39.02 | 37.92 | 24.57 | 24.75 | 22.83 | 20.89 | 20.91 | 17.13 | 18.46 | 11.69 | 12.42 | 14.23 | 12.14 | 12.57
360 | 152.6 | 245.7 | 330.2 | 326.2 | 225.6 | 196.5 | 187 | 263.4 | 322.6 | 523.8 | 794.6 | 1263 | 1513 | 1894 | 1589 | 1052 | 567.6 | 298.4 | 162.6 | 172.6 | 282.8 | 173.1 | 87.45 | 76.24 | 84.33 | 145.3 | 766.3 | 9999.9 | 9999.9 | 9999.9 | 504.1 | 76.48 | 57.1 | 42.91 | 30.22 | 28.65 | 27.78 | 23.88 | 21.04 | 22.87 | 20.77 | 16.59 | 18.13 | 14.58 | 12.2 | 13.87 | 12.42
365 | 165.3 | 243.4 | 259.1 | 351 | 242.2 | 169.7 | 162.5 | 241.5 | 397.6 | 590.1 | 781.8 | 1103 | 1331 | 1429 | 1428 | 1004 | 523.8 | 254 | 135.8 | 124.9 | 155.1 | 284.9 | 142.7 | 91.11 | 91.62 | 86.09 | 121.3 | 778.1 | 9999.9 | 9999.9 | 9999.9 | 460.9 | 77.46 | 54.97 | 38.27 | 27.02 | 28.97 | 28.2 | 17.23 | 17.96 | 16.07 | 13.67 | 12.98 | 13.51 | 15.41 | 12.83 | 12.72
370 | 175.4 | 246.3 | 222 | 244.9 | 195.1 | 222 | 211.9 | 249.5 | 339.4 | 448.5 | 562.4 | 789.6 | 1120 | 1237 | 1091 | 799.1 | 462.9 | 266.1 | 146.4 | 98.72 | 97.39 | 206.4 | 255.8 | 142.7 | 84.84 | 94.84 | 69.94 | 114.6 | 742.2 | 9999.9 | 9999.9 | 9999.9 | 427.4 | 76.43 | 58.29 | 37.66 | 31.69 | 26.1 | 22.39 | 23.21 | 18.88 | 13.63 | 15.4 | 12.12 | 11.16 | 14.11 | 14.15
375 | 183.6 | 244.6 | 300.2 | 209.9 | 170.6 | 147.4 | 170.2 | 201.4 | 278.2 | 344.4 | 489.8 | 685.3 | 925.7 | 907.5 | 1045 | 615.1 | 382.5 | 187.4 | 136.9 | 107.6 | 94.56 | 117.2 | 255.8 | 247.8 | 110.6 | 77.28 | 70.27 | 81.39 | 118.3 | 743.1 | 9999.9 | 9999.9 | 9999.9 | 406.9 | 65.25 | 53.16 | 31.02 | 26.63 | 29.39 | 21.67 | 18.98 | 19.48 | 16.11 | 17.42 | 12.07 | 12.2 | 10.15
380 | 160.3 | 200.5 | 240 | 260.6 | 228.6 | 181.1 | 203.3 | 192.5 | 229.5 | 362.9 | 451.6 | 605.4 | 722.7 | 831.2 | 819 | 535.8 | 352 | 235.3 | 144.6 | 93.31 | 104.5 | 89.94 | 114.7 | 233.9 | 161.8 | 84.23 | 75.51 | 67.14 | 80.06 | 122.2 | 750.4 | 9999.9 | 9999.9 | 9999.9 | 388.3 | 55.89 | 47.81 | 35.33 | 30.1 | 25.46 | 21.92 | 18.38 | 19.23 | 17.54 | 17.19 | 12.62 | 9.484
385 | 192.5 | 200.9 | 207.7 | 213.2 | 277 | 189.2 | 186.6 | 139.3 | 204.7 | 294.4 | 331.6 | 447.1 | 540.9 | 612.5 | 655.3 | 474.8 | 309.8 | 197.3 | 108.2 | 104 | 95.37 | 92.72 | 103.3 | 139.6 | 227.7 | 159.4 | 64.53 | 57.28 | 68.44 | 76.15 | 107.4 | 729.3 | 9999.9 | 9999.9 | 9999.9 | 342.1 | 61.32 | 40.97 | 32.49 | 29.55 | 27.68 | 18.48 | 19.38 | 17.78 | 17.47 | 16.32 | 15.37
390 | 185.7 | 146.7 | 178.9 | 204.7 | 227.1 | 198.1 | 178.9 | 142.4 | 217.3 | 259.5 | 310.8 | 380.4 | 470 | 487.4 | 563.7 | 411.2 | 244.9 | 149.1 | 134.7 | 98.66 | 88.69 | 97.66 | 88.5 | 88.26 | 141.5 | 218 | 101.8 | 52.52 | 57.01 | 63.17 | 69.09 | 113.1 | 734.1 | 9999.9 | 9999.9 | 9999.9 | 335.6 | 52.48 | 39.06 | 30.74 | 22.44 | 23.99 | 22.69 | 21.53 | 14.53 | 18.98 | 13.44
395 | 160.7 | 199.4 | 164.6 | 144.4 | 170.8 | 170.3 | 196.9 | 154.8 | 183.9 | 247.6 | 271.7 | 449.4 | 461.6 | 492 | 421.8 | 383.6 | 201.1 | 158.1 | 136.1 | 102.4 | 85.79 | 94.42 | 100.1 | 81.7 | 79.06 | 158 | 179.4 | 78.77 | 63.1 | 65.23 | 66.06 | 70.39 | 118.8 | 735.5 | 9999.9 | 9999.9 | 9999.9 | 274.8 | 55.14 | 42.84 | 25.92 | 24.82 | 22.9 | 18.51 | 20.32 | 14.47 | 12.46
400 | 115.2 | 193.9 | 217.8 | 205.1 | 171.4 | 157.3 | 164.9 | 160.7 | 168.3 | 237.3 | 273.4 | 295.3 | 336.2 | 327.6 | 370 | 245.4 | 171.6 | 177.3 | 129.5 | 116 | 114.6 | 78.07 | 76.36 | 75.07 | 79.29 | 105.4 | 163.6 | 143.1 | 75.71 | 60.22 | 57.9 | 62.79 | 60.46 | 111.4 | 729.9 | 9999.9 | 9999.9 | 9999.9 | 248.3 | 48.74 | 40.04 | 28.88 | 27.08 | 17.07 | 20.54 | 17.64 | 14.03
405 | 159.8 | 161.9 | 207.5 | 186.5 | 143.1 | 137.7 | 164.5 | 129.6 | 210.2 | 201.6 | 192.9 | 288.8 | 321.2 | 260.4 | 274.4 | 252 | 193.8 | 125.6 | 110 | 105 | 88.68 | 108.1 | 80.12 | 72.68 | 96.14 | 68.55 | 102 | 171 | 122.9 | 57.27 | 62.7 | 51.67 | 51.52 | 61.61 | 100.2 | 718.6 | 9999.9 | 9999.9 | 9999.9 | 268.1 | 48.38 | 36.5 | 28.87 | 22.03 | 17.48 | 17.18 | 14.7
410 | 177 | 186.3 | 198.9 | 204.3 | 160.4 | 155.9 | 174.4 | 163 | 176.9 | 172.2 | 201.1 | 244.4 | 262.5 | 307.9 | 288 | 210.6 | 172.9 | 142 | 121.8 | 127.6 | 93.32 | 96.91 | 86.54 | 89.73 | 82.04 | 68.74 | 90.3 | 102.9 | 157.4 | 102.8 | 58.2 | 47.64 | 51.87 | 57.93 | 56.33 | 100.3 | 715.7 | 9999.9 | 9999.9 | 9999.9 | 260.6 | 46.96 | 33.22 | 25.22 | 23.61 | 15.76 | 13.58
415 | 183.5 | 167.1 | 175.1 | 191.2 | 176.5 | 157 | 141.9 | 165.2 | 164.3 | 203.6 | 203.5 | 223.1 | 255.5 | 246.9 | 273 | 236.7 | 152.1 | 119.4 | 110.6 | 98.46 | 106.4 | 105 | 90.18 | 97.19 | 79.03 | 72.34 | 76.65 | 89.03 | 166.3 | 153 | 88.94 | 49.77 | 47.92 | 58.8 | 62.78 | 56.09 | 98.69 | 715.9 | 9999.9 | 9999.9 | 9999.9 | 215.7 | 47.19 | 29.26 | 21.5 | 17.02 | 16.57
420 | 153.2 | 174.2 | 163.7 | 171.4 | 153.9 | 180.6 | 162.1 | 134.8 | 172.9 | 178.8 | 179.7 | 169.4 | 204.4 | 207 | 196.6 | 205.2 | 127.6 | 133.6 | 134.2 | 102.8 | 92.96 | 89.86 | 79.89 | 83.19 | 89.82 | 96.91 | 70.7 | 71.23 | 82.1 | 149.4 | 145.9 | 67.08 | 61.82 | 56.33 | 46.79 | 43.52 | 44.49 | 93.74 | 717.1 | 9999.9 | 9999.9 | 9999.9 | 218 | 38.16 | 32.18 | 21.31 | 18.27
425 | 227.7 | 160.7 | 185.5 | 240.5 | 165.6 | 162 | 137.4 | 146.5 | 144.3 | 127.2 | 184.8 | 186.8 | 195.5 | 226.9 | 181.1 | 159.8 | 147.2 | 128.8 | 120.6 | 112.8 | 107 | 101.9 | 104.5 | 84.42 | 87.6 | 91.66 | 80.49 | 74.47 | 83.55 | 89.98 | 155 | 101 | 63.37 | 52.71 | 57.77 | 56.46 | 59.04 | 58.96 | 101.8 | 723.2 | 9999.9 | 9999.9 | 9999.9 | 174.6 | 40.89 | 24.71 | 21.46
430 | 190.7 | 157.1 | 199.8 | 156 | 157.5 | 175.8 | 131.8 | 141.7 | 137.8 | 136.9 | 175.9 | 164.4 | 155.7 | 210.6 | 216.5 | 207.1 | 114.1 | 125 | 90.23 | 114.2 | 120.1 | 93.54 | 107.9 | 85.72 | 90.74 | 91.4 | 80.86 | 67.66 | 82.57 | 90.27 | 96.02 | 143.5 | 96.63 | 72.92 | 63.33 | 64.33 | 69.12 | 67.36 | 61.92 | 103.5 | 714.7 | 9999.9 | 9999.9 | 9999.9 | 186.5 | 37.86 | 23.48
435 | 292.4 | 191.9 | 154.7 | 174.5 | 155 | 181.2 | 142.5 | 161.4 | 142.8 | 151 | 140.5 | 156.9 | 177.1 | 181.7 | 164.9 | 161.1 | 134.4 | 142.1 | 115 | 106.6 | 94.92 | 108.5 | 105.5 | 108.4 | 83.11 | 81.48 | 85.76 | 85.06 | 74.03 | 85.9 | 78.81 | 117.3 | 156.8 | 96.46 | 79.48 | 76.15 | 76.31 | 76.51 | 74.04 | 67.96 | 105.9 | 719.2 | 9999.9 | 9999.9 | 9999.9 | 169.1 | 32.22
440 | 443.7 | 309.8 | 190 | 167.9 | 145.3 | 211.5 | 148.7 | 125.9 | 143 | 144.4 | 153.1 | 185.7 | 162.5 | 179 | 185.5 | 135.9 | 130.7 | 135.2 | 100.4 | 89.52 | 82.5 | 100.6 | 98.84 | 86.92 | 85.64 | 73.14 | 89.72 | 90.21 | 88.11 | 83.22 | 76.75 | 84.46 | 142.1 | 136.5 | 97.13 | 82.73 | 83.16 | 79.88 | 82.09 | 76.16 | 71.98 | 104.7 | 712.8 | 9999.9 | 9999.9 | 9999.9 | 139.4
445 | 368.4 | 639.6 | 202.3 | 158.9 | 158.5 | 188.2 | 186 | 143.3 | 177.2 | 142 | 124.9 | 162.4 | 190.3 | 177.8 | 164.6 | 108.4 | 147.6 | 107.4 | 113.3 | 93.79 | 100.3 | 99.26 | 106.7 | 79.4 | 89.67 | 87.75 | 82.96 | 83.95 | 87.89 | 92.39 | 101.7 | 95.6 | 118 | 153.3 | 133.4 | 108.1 | 96.5 | 101.6 | 92.35 | 81.73 | 68.4 | 63.92 | 91.69 | 703.9 | 9999.9 | 9999.9 | 9999.9
450 | 161.4 | 725.5 | 373.6 | 158.2 | 210.6 | 145.8 | 118.7 | 137.9 | 145.7 | 132.2 | 173 | 139.3 | 162.6 | 139.1 | 149.5 | 127.7 | 110.5 | 110.5 | 112.9 | 108 | 116 | 95.58 | 83.06 | 107.4 | 90.64 | 81.34 | 88.28 | 72.26 | 94.8 | 104.2 | 95.59 | 90.87 | 110.1 | 132 | 167 | 124 | 101.1 | 99.72 | 100.6 | 100.9 | 83.9 | 60.88 | 54.91 | 84.06 | 702.2 | 9999.9 | 9999.9
455 | 149.2 | 523.8 | 902.3 | 222.5 | 195.2 | 150.6 | 159.4 | 126.9 | 170 | 122.4 | 124.5 | 175.4 | 134.9 | 142.1 | 176.9 | 154.4 | 113.8 | 130.8 | 114.7 | 97.25 | 115.7 | 100.7 | 98.71 | 101.8 | 93.87 | 90.01 | 73.35 | 84.85 | 81.62 | 81.81 | 98.49 | 96.41 | 111.9 | 116.3 | 148.3 | 164.6 | 122.6 | 111.3 | 111.7 | 98.15 | 81.96 | 61.1 | 46.48 | 37.93 | 78.23 | 697 | 9999.9
460 | 174.6 | 237.4 | 1261 | 608.4 | 176.5 | 164.7 | 132.7 | 152 | 148.6 | 147.2 | 146.8 | 164.2 | 162.6 | 159.5 | 188.9 | 176.3 | 128.7 | 88.11 | 118.6 | 100.8 | 107.9 | 98.1 | 85.5 | 111.2 | 99.42 | 89.71 | 89.51 | 89.77 | 80.53 | 85.45 | 97.06 | 99.55 | 103.8 | 104.7 | 121.5 | 147.6 | 162.1 | 126.7 | 106.1 | 101.7 | 85.56 | 65.12 | 43.7 | 36.09 | 37.29 | 77.91 | 686.6
465 | 187.1 | 170.8 | 812.3 | 1436 | 199.5 | 138.9 | 170 | 153 | 150.5 | 151.1 | 131.4 | 120.4 | 181.7 | 156.1 | 159.6 | 130.4 | 134.8 | 134 | 103.3 | 114.3 | 93.38 | 88.28 | 74.7 | 94.43 | 88.48 | 94.97 | 97.88 | 78.14 | 84.27 | 80.26 | 88.76 | 93.88 | 101.4 | 103.7 | 110.2 | 131.7 | 163.7 | 143.7 | 115.3 | 102.4 | 78.97 | 62.43 | 44.58 | 33.79 | 31.57 | 33.21 | 72.78
470 | 163.4 | 164.9 | 315.8 | 2119 | 814.5 | 192.8 | 112.5 | 139.5 | 106.3 | 151.2 | 152.3 | 138.5 | 194 | 177.9 | 167.4 | 126.7 | 123 | 128.9 | 86 | 106.6 | 95.46 | 95.07 | 91.2 | 80.05 | 68.72 | 73.26 | 68.39 | 77.62 | 77.83 | 91.58 | 86.79 | 91 | 96.2 | 112.9 | 120.5 | 114.6 | 128.2 | 143.4 | 124.3 | 97.26 | 76.7 | 61.41 | 41.09 | 33.33 | 27.84 | 27.53 | 24.52
475 | 198.5 | 160.6 | 203.5 | 1284 | 1990 | 267.4 | 176.4 | 174.4 | 121.4 | 124.6 | 139.2 | 140.1 | 156.4 | 153.4 | 126.4 | 170.2 | 106.9 | 105.8 | 103.1 | 96.69 | 84.84 | 88.7 | 87.18 | 89.22 | 70.94 | 77.8 | 85.1 | 71 | 84.26 | 89.59 | 92.91 | 87.16 | 93.92 | 82.47 | 104.7 | 109.4 | 106.1 | 131.2 | 129.3 | 94.27 | 77.77 | 58.06 | 41.94 | 31.84 | 25.22 | 24.28 | 21.46
480 | 186.9 | 155.1 | 170.7 | 377.4 | 2821 | 968.7 | 197 | 141.9 | 129.6 | 127.5 | 154.6 | 185.7 | 156.5 | 163.5 | 124.8 | 129.3 | 101.3 | 107.2 | 99.18 | 82.38 | 112.7 | 84.25 | 81.92 | 83.21 | 76.8 | 75.62 | 59.1 | 76.02 | 83.65 | 84.88 | 82.53 | 88.97 | 102.1 | 89.91 | 110.2 | 105.6 | 106.7 | 104.5 | 123.9 | 110.9 | 78.01 | 52.29 | 38.66 | 29.69 | 23.71 | 23.1 | 15.3
485 | 178.1 | 208.4 | 182.8 | 236.2 | 1787 | 2150 | 238.1 | 140.1 | 197.5 | 149.7 | 131.7 | 133.2 | 145.1 | 121.4 | 127.9 | 106.3 | 120.5 | 104.7 | 93.63 | 106.2 | 91.27 | 87.69 | 72.05 | 82.7 | 64.02 | 58.93 | 74.83 | 58.38 | 75.22 | 75.91 | 65.7 | 73.38 | 82.48 | 102.9 | 100 | 96.34 | 101.6 | 105.5 | 107.5 | 109.2 | 82.07 | 54.75 | 37.47 | 29.18 | 23.98 | 24.52 | 14.97
490 | 172 | 164 | 144.7 | 136.4 | 500.5 | 3224 | 938.8 | 148.1 | 126.7 | 165.5 | 158.3 | 125.4 | 152.3 | 135.1 | 140.7 | 143.5 | 135.9 | 102.3 | 95.59 | 94.7 | 80.07 | 73.94 | 82.79 | 75.58 | 73.6 | 78.16 | 68.84 | 62.94 | 72.62 | 64.33 | 72.62 | 76.36 | 91.46 | 92.08 | 87.9 | 83.3 | 82.78 | 90.05 | 87.22 | 84.11 | 81.54 | 53.19 | 37.71 | 25.76 | 26.17 | 18.22 | 16.43
495 | 144.7 | 158 | 177.1 | 188.5 | 213.2 | 2130 | 2273 | 192.9 | 125.3 | 133.6 | 144.5 | 152.3 | 179.1 | 116.5 | 107.2 | 95.13 | 98.01 | 112.7 | 108.5 | 93.73 | 86.02 | 88.73 | 79.9 | 64.67 | 78.71 | 72.72 | 63.42 | 59.02 | 66.66 | 83.83 | 76.69 | 77 | 76.83 | 87.09 | 95.97 | 79.86 | 77.4 | 77.92 | 79.13 | 69.52 | 78.05 | 63.37 | 35.46 | 29.34 | 22.85 | 20.72 | 18.66
500 | 134.9 | 148.6 | 154.9 | 186 | 151.4 | 772.8 | 3373 | 757.2 | 96.65 | 103.2 | 146.6 | 120.7 | 144 | 130.5 | 136 | 121.7 | 81.39 | 100.2 | 85.88 | 115.1 | 85.19 | 73.66 | 63.56 | 91.66 | 55.67 | 57.18 | 66.21 | 63.2 | 54.79 | 63.35 | 73.43 | 64.55 | 69.9 | 77.22 | 74.19 | 71.41 | 77.11 | 81.78 | 81.68 | 59.37 | 58.6 | 64.58 | 50.87 | 26.2 | 19.75 | 20.16 | 17.12