## Sheet1
Report date: | 15:01:36, 04/15/2024
Sample: | 1
File name:
Run date: | 14:58:54, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/280.0 | 221.1
2 | 225.0/380.0 | 311.9
3 | 225.0/405.0 | 204.5
4 | 225.0/420.0 | 211.2
5 | 225.0/490.0 | 215.6
6 | 230.0/320.0 | 515.6
7 | 230.0/345.0 | 472.2
8 | 230.0/365.0 | 396.6
9 | 230.0/430.0 | 212.2
10 | 230.0/495.0 | 199.4
11 | 235.0/265.0 | 177.1
12 | 235.0/400.0 | 217
13 | 240.0/270.0 | 181.4
14 | 240.0/390.0 | 226.5
15 | 240.0/425.0 | 223.4
16 | 240.0/435.0 | 205.7
17 | 245.0/285.0 | 179.5
18 | 245.0/405.0 | 213.1
19 | 245.0/430.0 | 197.9
20 | 250.0/275.0 | 245.7
21 | 250.0/385.0 | 222.7
22 | 250.0/460.0 | 178.2
23 | 255.0/280.0 | 193.5
24 | 255.0/405.0 | 183.4
25 | 255.0/435.0 | 177.4
26 | 260.0/285.0 | 217.8
27 | 260.0/395.0 | 226.4
28 | 260.0/465.0 | 192.9
29 | 260.0/485.0 | 153.4
30 | 265.0/480.0 | 190.3
31 | 270.0/465.0 | 197
32 | 270.0/485.0 | 214.3
33 | 275.0/490.0 | 156.9
34 | 280.0/420.0 | 287.4
35 | 280.0/450.0 | 245.4
36 | 280.0/475.0 | 203
37 | 285.0/255.0 | 129
38 | 285.0/325.0 | 3105
39 | 285.0/335.0 | 3207
40 | 285.0/400.0 | 535.7
41 | 285.0/465.0 | 199.5
42 | 290.0/260.0 | 115.4
43 | 290.0/420.0 | 260.4
44 | 290.0/460.0 | 215.4
45 | 290.0/485.0 | 156.2
46 | 295.0/435.0 | 190.7
47 | 295.0/455.0 | 185.7
48 | 305.0/255.0 | 92.91
49 | 305.0/430.0 | 153.3
50 | 310.0/275.0 | 95.66
51 | 310.0/425.0 | 128.3
52 | 310.0/465.0 | 142.4
53 | 315.0/355.0 | 354.2
54 | 315.0/470.0 | 122.9
55 | 320.0/360.0 | 317.5
56 | 320.0/420.0 | 130.5
57 | 320.0/450.0 | 122.4
58 | 320.0/475.0 | 117.7
59 | 325.0/255.0 | 74.95
60 | 325.0/365.0 | 264.7
61 | 325.0/390.0 | 108
62 | 325.0/410.0 | 116.9
63 | 330.0/275.0 | 71.03
64 | 330.0/295.0 | 87.15
65 | 330.0/370.0 | 281.8
66 | 330.0/400.0 | 114.5
67 | 330.0/420.0 | 118.4
68 | 330.0/440.0 | 118
69 | 330.0/485.0 | 94.18
70 | 335.0/265.0 | 51.17
71 | 335.0/380.0 | 266.6
72 | 340.0/385.0 | 245
73 | 340.0/465.0 | 125.2
74 | 345.0/390.0 | 237.8
75 | 345.0/425.0 | 96.27
76 | 345.0/440.0 | 105.7
77 | 345.0/485.0 | 82.71
78 | 350.0/275.0 | 46.66
79 | 350.0/295.0 | 47.26
80 | 350.0/400.0 | 177.2
81 | 350.0/455.0 | 108.1
82 | 350.0/465.0 | 100.2
83 | 350.0/475.0 | 84.39
84 | 355.0/260.0 | 43.52
85 | 355.0/290.0 | 44.65
86 | 355.0/300.0 | 41.5
87 | 355.0/405.0 | 192.7
88 | 355.0/450.0 | 103.9
89 | 355.0/490.0 | 79.45
90 | 360.0/295.0 | 40.69
91 | 360.0/310.0 | 45.26
92 | 360.0/320.0 | 55.34
93 | 360.0/410.0 | 161.9
94 | 360.0/430.0 | 96.42
95 | 360.0/445.0 | 101.2
96 | 360.0/460.0 | 104.6
97 | 365.0/275.0 | 36.05
98 | 365.0/300.0 | 44.45
99 | 365.0/415.0 | 191.3
100 | 365.0/450.0 | 102.4
101 | 365.0/470.0 | 103.6
102 | 365.0/490.0 | 84.57
103 | 370.0/260.0 | 38.25
104 | 370.0/280.0 | 35.25
105 | 370.0/315.0 | 42.05
106 | 370.0/425.0 | 160.4
107 | 370.0/445.0 | 110.2
108 | 375.0/270.0 | 40.64
109 | 375.0/290.0 | 32.8
110 | 375.0/430.0 | 164.5
111 | 375.0/455.0 | 119.5
112 | 380.0/285.0 | 32.59
113 | 380.0/315.0 | 32.77
114 | 380.0/325.0 | 33.86
115 | 380.0/435.0 | 152.1
116 | 380.0/460.0 | 117.7
117 | 385.0/265.0 | 35.63
118 | 385.0/320.0 | 33.76
119 | 385.0/415.0 | 61
120 | 385.0/445.0 | 175.8
121 | 390.0/270.0 | 29.41
122 | 390.0/295.0 | 27.15
123 | 390.0/450.0 | 177.2
124 | 390.0/485.0 | 105.8
125 | 395.0/275.0 | 32.54
126 | 395.0/305.0 | 26.76
127 | 395.0/330.0 | 32.74
128 | 395.0/455.0 | 167.1
129 | 400.0/265.0 | 23.82
130 | 400.0/315.0 | 25.94
131 | 400.0/360.0 | 33.3
132 | 400.0/370.0 | 46.88
133 | 400.0/465.0 | 162
134 | 405.0/255.0 | 26.82
135 | 405.0/290.0 | 27.37
136 | 405.0/320.0 | 24.28
137 | 405.0/335.0 | 24.97
138 | 405.0/350.0 | 26.6
139 | 405.0/470.0 | 165.8
140 | 410.0/265.0 | 25.27
141 | 410.0/300.0 | 25.95
142 | 410.0/315.0 | 23.27
143 | 410.0/360.0 | 26.23
144 | 410.0/475.0 | 149.8
145 | 415.0/255.0 | 23.64
146 | 415.0/275.0 | 26.83
147 | 415.0/295.0 | 25.34
148 | 415.0/305.0 | 26.21
149 | 415.0/345.0 | 21.38
150 | 420.0/260.0 | 25.19
151 | 420.0/280.0 | 25.47
152 | 420.0/300.0 | 23.55
153 | 420.0/315.0 | 21.53
154 | 420.0/365.0 | 22.09
155 | 425.0/310.0 | 20.92
156 | 425.0/335.0 | 20.86
157 | 425.0/350.0 | 22.9
158 | 430.0/285.0 | 20.97
159 | 430.0/295.0 | 19.9
160 | 430.0/320.0 | 19.23
161 | 430.0/330.0 | 19.07
162 | 430.0/365.0 | 18.59
163 | 435.0/265.0 | 19.2
164 | 435.0/290.0 | 19.5
165 | 435.0/300.0 | 18.79
166 | 440.0/255.0 | 16.19
167 | 440.0/285.0 | 19.07
168 | 440.0/295.0 | 19.18
169 | 440.0/315.0 | 21.33
170 | 440.0/325.0 | 20.43
171 | 440.0/350.0 | 18.21
172 | 445.0/275.0 | 16.66
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 122.1 | 139.7 | 173.5 | 189.9 | 158.5 | 3307 | 9741 | 3354 | 123.9 | 113.7 | 114.5 | 111.4 | 121.7 | 116.3 | 104.8 | 89.36 | 74.39 | 91.75 | 73.48 | 73.92 | 62.02 | 48.05 | 51.48 | 69.77 | 50.3 | 40.78 | 40.71 | 34.04 | 30.24 | 46.89 | 31.39 | 30.05 | 30.8 | 28.22 | 32.53 | 24.67 | 27.28 | 20.96 | 22.12 | 22 | 19.66 | 13.88 | 15.13 | 15.49 | 15.61 | 13.8 | 11.22
255 | 182.1 | 153.7 | 148.2 | 202 | 167.7 | 369.1 | 2791 | 9999.9 | 6792 | 294 | 94.09 | 84.38 | 124.6 | 129 | 103.1 | 100.1 | 82.07 | 92.91 | 68.58 | 51.48 | 69.05 | 74.95 | 41.47 | 42.24 | 47.95 | 46.43 | 41.13 | 34.41 | 36.86 | 36.99 | 35.82 | 32.93 | 30.58 | 27.19 | 30.51 | 25.4 | 21.93 | 26.82 | 20.75 | 23.64 | 20.15 | 18.13 | 18.1 | 13.69 | 16.19 | 13.65 | 10.85
260 | 128 | 140.1 | 121.5 | 143.2 | 173 | 196.2 | 294.2 | 3658 | 9999.9 | 9717 | 465.6 | 111.5 | 89.11 | 92.65 | 115.4 | 91.54 | 88.3 | 90.51 | 73.79 | 66.81 | 57.15 | 65.44 | 46.67 | 43.86 | 40.3 | 36.82 | 38.86 | 43.52 | 31.43 | 34.9 | 38.25 | 37.53 | 35.22 | 25.18 | 24.72 | 18.54 | 23.1 | 25.26 | 22.53 | 17.26 | 25.19 | 19.58 | 15.77 | 14.98 | 11.92 | 12.87 | 10.58
265 | 160.4 | 123.1 | 126.1 | 177.1 | 163.5 | 164.3 | 133.9 | 342.3 | 4777 | 9999.9 | 9999.9 | 471.1 | 130.7 | 106.5 | 99.11 | 76.67 | 81.13 | 83.53 | 65.69 | 62.93 | 61.32 | 63.26 | 47.48 | 51.17 | 44.8 | 35.92 | 34.44 | 38.36 | 38.25 | 34.02 | 32.85 | 34.61 | 28.25 | 35.63 | 24.21 | 21.19 | 23.82 | 21.09 | 25.27 | 20.23 | 22.93 | 19.34 | 16.31 | 19.2 | 12.16 | 13.34 | 13.55
270 | 120.3 | 106.7 | 146.7 | 170 | 181.4 | 171.1 | 217 | 151.6 | 447 | 6238 | 9999.9 | 9999.9 | 653.7 | 140 | 139.8 | 106.8 | 114.9 | 67.1 | 81.79 | 77.71 | 57.74 | 45.72 | 56.28 | 42.87 | 39.86 | 38.32 | 43.85 | 37.71 | 39.98 | 30.43 | 29.48 | 40.64 | 24.89 | 29.28 | 29.41 | 26.14 | 22.53 | 24.37 | 24.92 | 25.41 | 19.6 | 18.41 | 13.87 | 13.38 | 14.21 | 13.95 | 13.47
275 | 141.3 | 141.6 | 168.8 | 149.8 | 123.6 | 163.6 | 245.7 | 150.1 | 142.6 | 525.1 | 9070 | 9999.9 | 9999.9 | 698.6 | 134.8 | 90.05 | 93.86 | 72.77 | 95.66 | 73.16 | 61.48 | 50.77 | 71.03 | 52.66 | 49.42 | 41.8 | 46.66 | 36.91 | 32.42 | 36.05 | 24.02 | 29.43 | 23.77 | 29.15 | 26.57 | 32.54 | 22.89 | 24.6 | 20.87 | 26.83 | 24.7 | 18.18 | 19.64 | 14.3 | 16.46 | 16.66 | 15.56
280 | 151.8 | 221.1 | 161.2 | 167.4 | 120.2 | 120.7 | 180.8 | 193.5 | 143.4 | 125.7 | 708 | 9999.9 | 9999.9 | 9999.9 | 817.3 | 129.2 | 125.3 | 86.87 | 68.06 | 62.58 | 70.55 | 60.59 | 45.99 | 44.76 | 43.27 | 35.37 | 46.01 | 32.43 | 33.02 | 31.14 | 35.25 | 24.76 | 24.69 | 22.69 | 28.18 | 29.71 | 22.86 | 23.41 | 21.29 | 19 | 25.47 | 16.36 | 17.36 | 14.63 | 15.73 | 14.2 | 12.38
285 | 153.5 | 130.7 | 186 | 179.3 | 170.8 | 179.5 | 164.3 | 145.1 | 217.8 | 193.8 | 173.9 | 797.2 | 9999.9 | 9999.9 | 9999.9 | 868 | 121.6 | 133.9 | 68.49 | 72.34 | 75.42 | 58.46 | 64.84 | 51.04 | 45.28 | 43.94 | 33.02 | 41.62 | 33.66 | 37.2 | 28.77 | 31.99 | 32.59 | 26.68 | 25 | 25.9 | 23.75 | 22.6 | 20.74 | 17.54 | 20.55 | 18.36 | 20.97 | 16.96 | 19.07 | 15.33 | 11.33
290 | 140.2 | 168.5 | 191.2 | 147.9 | 159.7 | 157.6 | 158.1 | 152.6 | 167.6 | 225.2 | 297 | 331.3 | 990.6 | 9999.9 | 9999.9 | 9999.9 | 1040 | 148.5 | 99.73 | 97.46 | 75.68 | 69.82 | 69.87 | 53.64 | 53.41 | 38.38 | 37.07 | 44.65 | 38.37 | 30.96 | 31.08 | 32.8 | 26.3 | 25.99 | 26.92 | 20.88 | 23.83 | 27.37 | 22.75 | 21.27 | 20.54 | 14.92 | 16.11 | 19.5 | 17.32 | 12.16 | 13.53
295 | 230.8 | 262.5 | 317.5 | 216.7 | 217.6 | 188.3 | 158.3 | 174.2 | 225.6 | 305.9 | 449.7 | 513.2 | 672.4 | 1232 | 9999.9 | 9999.9 | 9999.9 | 988.8 | 118.6 | 90.57 | 91.78 | 78.21 | 87.15 | 54.91 | 53.61 | 39.11 | 47.26 | 30.14 | 40.69 | 39.27 | 30.64 | 32.53 | 23.78 | 24.5 | 27.15 | 24.86 | 23.12 | 24.3 | 18.61 | 25.34 | 20.03 | 16.45 | 19.9 | 17.44 | 19.18 | 13.3 | 16.2
300 | 149.5 | 231.1 | 312.7 | 248.7 | 208.5 | 166.2 | 180.4 | 195.1 | 249.5 | 403 | 680.2 | 788.4 | 1111 | 1019 | 1430 | 9999.9 | 9999.9 | 9999.9 | 1050 | 147.2 | 91.46 | 87.71 | 70.95 | 63.08 | 51.23 | 47.57 | 34.69 | 41.5 | 36.16 | 44.45 | 30.12 | 31.18 | 25.68 | 24.56 | 22.43 | 24.07 | 20.51 | 18.93 | 25.95 | 20.3 | 23.55 | 19.98 | 16.77 | 18.79 | 14.88 | 19.48 | 12.62
305 | 168.6 | 284.3 | 339.3 | 309.4 | 226.1 | 263.2 | 219.6 | 244.5 | 386.6 | 531.1 | 739.2 | 1344 | 1596 | 1426 | 1189 | 1519 | 9999.9 | 9999.9 | 9999.9 | 1006 | 121.5 | 90.19 | 78.63 | 60.7 | 50.86 | 55.55 | 30.08 | 41.17 | 40.36 | 39.64 | 32.13 | 27.28 | 28.49 | 22.18 | 26.3 | 26.76 | 18.85 | 19.19 | 20.13 | 26.21 | 22.74 | 18.34 | 16.19 | 15.62 | 15.45 | 16.03 | 17.09
310 | 247.4 | 326.1 | 354.1 | 294.1 | 252.1 | 260.3 | 225.7 | 286 | 373.6 | 597.5 | 986 | 1471 | 2045 | 2123 | 1671 | 1109 | 1205 | 9999.9 | 9999.9 | 9999.9 | 958.4 | 130.9 | 99.01 | 73.41 | 68.64 | 51.62 | 45.86 | 34.32 | 45.26 | 33.61 | 41.54 | 27.45 | 28.29 | 26.75 | 20.33 | 19.79 | 23.65 | 18.29 | 21.16 | 17.73 | 18.09 | 20.92 | 16.56 | 15.99 | 15.55 | 21.07 | 16.7
315 | 232.2 | 348.9 | 482.8 | 374.3 | 336.2 | 280.2 | 296.2 | 386.4 | 596.8 | 778.1 | 1207 | 1671 | 2209 | 2639 | 2599 | 1272 | 691.9 | 981 | 9999.9 | 9999.9 | 9999.9 | 1009 | 108.8 | 90.63 | 66.67 | 50.67 | 52.18 | 47.15 | 40.31 | 36.73 | 42.05 | 29.33 | 32.77 | 29.35 | 26.11 | 22.09 | 25.94 | 19.26 | 23.27 | 15.04 | 21.53 | 19.77 | 18.96 | 19.14 | 21.33 | 15.25 | 15.71
320 | 256.5 | 383.5 | 515.6 | 468.9 | 444 | 304.5 | 263.2 | 334.7 | 629.2 | 949.1 | 1275 | 1887 | 2745 | 2982 | 2808 | 1811 | 765.9 | 432 | 898.5 | 9999.9 | 9999.9 | 9999.9 | 838.3 | 93.77 | 71.36 | 58.83 | 47.61 | 41.63 | 55.34 | 41.42 | 39.28 | 40.05 | 25.39 | 33.76 | 32.92 | 23.51 | 19.5 | 24.28 | 19.05 | 19.21 | 17.71 | 18.92 | 19.23 | 17.92 | 16.71 | 15.45 | 17.64
325 | 298.7 | 357.6 | 470.7 | 469 | 342.7 | 301.5 | 333 | 409.6 | 553.2 | 849.3 | 1434 | 2130 | 2765 | 3105 | 3064 | 1991 | 929.7 | 435.2 | 295.9 | 818.3 | 9999.9 | 9999.9 | 9999.9 | 915 | 88 | 95.09 | 61.39 | 59.97 | 43.44 | 47.76 | 37.45 | 27.04 | 33.86 | 29.49 | 25.39 | 24.45 | 22.49 | 21.19 | 20.47 | 19.58 | 15.96 | 17.21 | 14.17 | 18.43 | 20.43 | 19.77 | 16.04
330 | 229.1 | 369.9 | 433.8 | 434.8 | 298.2 | 317.8 | 309.2 | 443.8 | 594.6 | 1068 | 1665 | 2223 | 2689 | 2935 | 3008 | 2178 | 1230 | 489.7 | 235.3 | 188.4 | 832.1 | 9999.9 | 9999.9 | 9999.9 | 812.4 | 103.5 | 68.88 | 62.33 | 46.98 | 47.66 | 46.52 | 40.17 | 33.84 | 30.52 | 25.2 | 32.74 | 22.49 | 23.55 | 19.82 | 18.08 | 16.03 | 18.21 | 19.07 | 14.57 | 17.16 | 17.77 | 17.89
335 | 259.7 | 449.7 | 467.9 | 451.8 | 319.5 | 265.4 | 393.8 | 386.8 | 526.5 | 876 | 1526 | 1948 | 3065 | 3207 | 3078 | 2126 | 1106 | 582.9 | 207.7 | 126 | 182.6 | 816.9 | 9999.9 | 9999.9 | 9999.9 | 790.4 | 93.05 | 75.34 | 53.94 | 48.95 | 40.64 | 33.49 | 29.12 | 29.98 | 27.93 | 23.71 | 21.24 | 24.97 | 19.26 | 15.85 | 17.2 | 20.86 | 17.46 | 13.11 | 13.81 | 16.91 | 16.21
340 | 227.1 | 392.2 | 462.5 | 428.7 | 293.5 | 240.6 | 279.9 | 388.6 | 702.1 | 923.9 | 1547 | 2071 | 2651 | 2918 | 2604 | 1883 | 1020 | 727.5 | 277.3 | 139.9 | 149.7 | 164.9 | 809.9 | 9999.9 | 9999.9 | 9999.9 | 805.8 | 99.49 | 75.55 | 58.26 | 56.26 | 45.61 | 36.8 | 31.13 | 27.88 | 23.37 | 23.38 | 20.72 | 21.37 | 19.95 | 20.61 | 15.54 | 19.6 | 17.01 | 16.07 | 14.5 | 15.05
345 | 261.1 | 343.6 | 472.2 | 393.8 | 307.7 | 253.8 | 267.9 | 394 | 570.5 | 857.8 | 1477 | 2079 | 2453 | 2714 | 2698 | 1843 | 943.1 | 550.1 | 408.1 | 167.4 | 117.2 | 132.4 | 159.8 | 805.4 | 9999.9 | 9999.9 | 9999.9 | 685.3 | 91.52 | 81.88 | 69.47 | 43.17 | 37.88 | 29.88 | 24.64 | 24.4 | 19.02 | 16.44 | 20.03 | 21.38 | 19.92 | 19.38 | 19.72 | 16.23 | 16.68 | 19.84 | 14.63
350 | 233.6 | 439.6 | 458.1 | 434.2 | 233.1 | 234.1 | 306.1 | 376.7 | 522.1 | 749.9 | 1188 | 1866 | 2499 | 2469 | 2470 | 1518 | 843 | 438.5 | 357.7 | 336.6 | 130.5 | 101.7 | 109.2 | 155.1 | 773.9 | 9999.9 | 9999.9 | 9999.9 | 624.6 | 86.15 | 69.85 | 55.47 | 40.57 | 37.16 | 33.8 | 26.87 | 24.57 | 26.6 | 19.79 | 19.6 | 15.81 | 22.9 | 17.06 | 14.58 | 18.21 | 16.28 | 14.57
355 | 211.7 | 301.7 | 425.3 | 348.9 | 211.5 | 249 | 265.8 | 296.1 | 486.6 | 730.1 | 1111 | 1584 | 2101 | 1989 | 2090 | 1466 | 777.9 | 331.4 | 236.6 | 354.2 | 229.9 | 103.7 | 93.75 | 108.4 | 156.7 | 781.6 | 9999.9 | 9999.9 | 9999.9 | 621.4 | 81.83 | 68.37 | 49.38 | 37.87 | 30.5 | 24.56 | 27.12 | 23.24 | 24.16 | 21.65 | 21.18 | 17.89 | 15.45 | 13.49 | 14.53 | 14.3 | 14.17
360 | 233 | 257.3 | 356.8 | 349.6 | 235.7 | 251.3 | 324.9 | 329 | 425.2 | 598.2 | 890.1 | 1214 | 1783 | 1859 | 1848 | 1263 | 631.9 | 339.1 | 155.1 | 169.7 | 317.5 | 179 | 121.6 | 82.53 | 92.05 | 163.3 | 771.4 | 9999.9 | 9999.9 | 9999.9 | 558.7 | 86.48 | 59.23 | 49.53 | 26.49 | 25.25 | 33.3 | 24.28 | 26.23 | 23.64 | 20.54 | 17.08 | 16.61 | 16.85 | 12.57 | 15.45 | 13.74
365 | 229.6 | 254.3 | 396.6 | 306.2 | 226.5 | 269.9 | 262 | 285 | 422.5 | 662.1 | 840.6 | 1056 | 1266 | 1573 | 1416 | 1046 | 596.3 | 306 | 185.4 | 142.4 | 198.4 | 264.7 | 153.9 | 90.69 | 99.37 | 99.68 | 144.9 | 793.4 | 9999.9 | 9999.9 | 9999.9 | 522.3 | 86.71 | 60.07 | 47.46 | 33.13 | 24.29 | 25.25 | 20.52 | 21.03 | 22.09 | 15.73 | 18.59 | 17.35 | 18 | 12.98 | 13.88
370 | 194.9 | 282.4 | 358.2 | 263 | 217.3 | 206.1 | 165.6 | 251.9 | 365.8 | 536 | 707 | 946 | 1201 | 1423 | 1231 | 944.6 | 487.6 | 253.6 | 174.6 | 139.6 | 125.6 | 194.2 | 281.8 | 111.7 | 81.74 | 80.15 | 85.19 | 140.6 | 798.2 | 9999.9 | 9999.9 | 9999.9 | 485.6 | 72.42 | 54.73 | 39.57 | 46.88 | 33.19 | 26.46 | 25.58 | 18.39 | 18.17 | 16.36 | 17.22 | 16.06 | 16.41 | 14.36
375 | 203.1 | 228.3 | 316 | 281.4 | 240.6 | 168 | 206.9 | 253.4 | 260.5 | 363.7 | 600.2 | 771.2 | 1004 | 1144 | 1131 | 693.9 | 396.9 | 260 | 136.4 | 141.9 | 98.34 | 110.7 | 249.5 | 210.8 | 105.7 | 86.31 | 70.83 | 92.71 | 136.3 | 773.4 | 9999.9 | 9999.9 | 9999.9 | 438 | 76.08 | 49.39 | 35.69 | 29.92 | 26.34 | 24.52 | 18.52 | 16.93 | 13.2 | 15.43 | 15.88 | 14.15 | 13.03
380 | 191.8 | 311.9 | 256.1 | 244.8 | 201 | 205.5 | 192.2 | 213.9 | 224.8 | 348 | 541.3 | 636 | 774.2 | 832.7 | 903.4 | 682.1 | 396.6 | 228.4 | 152.3 | 123.1 | 107.6 | 117.7 | 123.4 | 266.6 | 167.4 | 92.8 | 69.6 | 77.89 | 85.31 | 133.3 | 770.4 | 9999.9 | 9999.9 | 9999.9 | 463 | 69.74 | 52.88 | 37.86 | 28.08 | 21.56 | 20.72 | 17.49 | 20.62 | 17.89 | 16.68 | 20.59 | 15.09
385 | 242.7 | 202 | 217.5 | 153.4 | 159.5 | 206 | 222.7 | 187.2 | 205.2 | 291.5 | 418.5 | 570.1 | 645.2 | 737.4 | 673.3 | 486.7 | 313.3 | 205.1 | 143.2 | 114.6 | 102 | 88.58 | 89.13 | 135.1 | 245 | 156.2 | 91.01 | 74.43 | 62.44 | 93.46 | 123.5 | 757.1 | 9999.9 | 9999.9 | 9999.9 | 398.5 | 62.91 | 49.67 | 32.19 | 29.73 | 23.7 | 22.04 | 19.89 | 16.83 | 17.29 | 14.63 | 13.59
390 | 160.6 | 215.8 | 224.4 | 194.9 | 226.5 | 204.6 | 169 | 222.3 | 224.9 | 259.5 | 359 | 402.2 | 600.5 | 570.9 | 625.8 | 458.3 | 272.7 | 145.6 | 144.2 | 116.7 | 86.32 | 108 | 107.3 | 94.18 | 167.8 | 237.8 | 109.8 | 67.27 | 75.46 | 73.84 | 84 | 122.3 | 740.9 | 9999.9 | 9999.9 | 9999.9 | 407.8 | 55.94 | 43.21 | 34.43 | 28.71 | 24.93 | 23.37 | 17.18 | 14.77 | 16.14 | 14.81
395 | 170.5 | 203.3 | 212.6 | 180.5 | 202.2 | 153 | 153.3 | 170.2 | 226.4 | 192.3 | 305.7 | 383.5 | 507.8 | 453.3 | 521.2 | 422.6 | 239.1 | 160.5 | 133.3 | 124 | 111.3 | 102.7 | 106.1 | 81.67 | 100.9 | 177.6 | 158.1 | 77.28 | 71.68 | 78.14 | 74.24 | 70.09 | 114.8 | 753.8 | 9999.9 | 9999.9 | 9999.9 | 322.8 | 60.35 | 33.41 | 32.32 | 27.37 | 26.51 | 20.22 | 18.79 | 15.89 | 14.95
400 | 193.6 | 198.6 | 186.5 | 217 | 176.2 | 199.9 | 187.2 | 137.9 | 186.9 | 263.7 | 315.3 | 372.4 | 341.1 | 535.7 | 482.8 | 315.2 | 218.9 | 159.6 | 135.9 | 118.2 | 119.8 | 100.1 | 114.5 | 110.7 | 85.71 | 93.9 | 177.2 | 131.6 | 75.93 | 59.76 | 65.69 | 67.73 | 68.92 | 119.2 | 739.5 | 9999.9 | 9999.9 | 9999.9 | 282.7 | 58.54 | 40.06 | 27.41 | 26.47 | 19.01 | 16.26 | 19.11 | 14.67
405 | 167.5 | 204.5 | 183.5 | 182.5 | 159.4 | 213.1 | 166.7 | 183.4 | 170.6 | 185.1 | 240.6 | 299.7 | 347 | 341.9 | 342.5 | 330.6 | 219 | 138.1 | 157.1 | 100.3 | 118.2 | 106.2 | 85.02 | 80.27 | 81.54 | 66.24 | 110.3 | 192.7 | 121.9 | 70.03 | 61.96 | 67.96 | 61.1 | 72.57 | 107.3 | 723.6 | 9999.9 | 9999.9 | 9999.9 | 320.7 | 51.18 | 42.19 | 29.59 | 24.48 | 16.74 | 15.93 | 13.76
410 | 201.9 | 203.2 | 189.4 | 120.5 | 162 | 207.8 | 132.8 | 172.3 | 163.5 | 164.7 | 210.3 | 283.3 | 265.9 | 338.5 | 303 | 228.4 | 171.6 | 123.4 | 130.8 | 116.2 | 106.6 | 116.9 | 81.19 | 98.43 | 82.22 | 86.36 | 83.41 | 117.9 | 161.9 | 122.3 | 61.03 | 61.43 | 58.6 | 56.45 | 57.45 | 99.42 | 717 | 9999.9 | 9999.9 | 9999.9 | 277.5 | 48.57 | 39.98 | 31.67 | 23.31 | 19.86 | 16.03
415 | 184.6 | 185.2 | 186.6 | 181.3 | 188.1 | 147.3 | 154.5 | 128.4 | 134 | 183.2 | 182.2 | 246.2 | 266.3 | 321.9 | 240.6 | 247.6 | 148.9 | 163.1 | 130.4 | 90.61 | 96.55 | 107.8 | 116.6 | 104 | 91.89 | 87.95 | 85.77 | 85.77 | 134.1 | 191.3 | 90.23 | 51.99 | 56.32 | 61 | 54.71 | 68.25 | 102.4 | 743.3 | 9999.9 | 9999.9 | 9999.9 | 271.5 | 44.65 | 36.26 | 25.71 | 20.17 | 13.82
420 | 150.7 | 211.2 | 165.9 | 207 | 178.9 | 172.7 | 113.2 | 133.5 | 167.6 | 145.1 | 171.4 | 230 | 287.4 | 218.6 | 260.4 | 199.7 | 154.9 | 127.3 | 123.4 | 124 | 130.5 | 109.4 | 118.4 | 104.5 | 83.18 | 89.08 | 80.17 | 83.96 | 95.56 | 158.2 | 148.7 | 76.62 | 61.08 | 59.07 | 53.66 | 55.7 | 63.32 | 106.7 | 732.4 | 9999.9 | 9999.9 | 9999.9 | 237.9 | 46.29 | 36.23 | 24.28 | 20.22
425 | 163.1 | 169.3 | 196.6 | 165.5 | 223.4 | 181.2 | 134.1 | 180.4 | 183.8 | 188.2 | 185.8 | 235.3 | 241.5 | 210.8 | 227.3 | 212.4 | 167.2 | 99.9 | 128.3 | 119.7 | 107.3 | 101.9 | 85.24 | 92.49 | 94.72 | 96.27 | 80 | 72.87 | 87.08 | 96.58 | 160.4 | 117.8 | 69.45 | 56.34 | 66.86 | 49.81 | 55.84 | 62.27 | 112 | 739 | 9999.9 | 9999.9 | 9999.9 | 212.2 | 45.81 | 34.4 | 22.03
430 | 210.3 | 173.1 | 212.2 | 159.2 | 167.4 | 197.9 | 160.1 | 165.6 | 122.3 | 158.7 | 185.3 | 179.2 | 228.1 | 220.5 | 181.3 | 149.8 | 134.7 | 153.3 | 118.8 | 70.57 | 98.16 | 88.26 | 94.7 | 102.4 | 97.41 | 91.27 | 81.25 | 88.39 | 96.42 | 81.52 | 112.2 | 164.5 | 105.8 | 83.25 | 66.58 | 71.26 | 68.92 | 60.82 | 74.54 | 119.3 | 725.7 | 9999.9 | 9999.9 | 9999.9 | 202 | 38.49 | 30.33
435 | 397.3 | 187.3 | 161.3 | 200 | 205.7 | 179.9 | 137.1 | 177.4 | 171 | 142.4 | 187 | 202.9 | 218.7 | 208.8 | 154.8 | 190.7 | 150.1 | 133.6 | 115.7 | 106.9 | 108.5 | 103.3 | 108.8 | 107.7 | 106.5 | 96.32 | 85.73 | 86.23 | 81.75 | 76.88 | 79.18 | 132.1 | 152.1 | 99.8 | 84.65 | 80.97 | 90.83 | 83.38 | 85.21 | 79.57 | 114.5 | 724.8 | 9999.9 | 9999.9 | 9999.9 | 209.7 | 35.08
440 | 431.4 | 332.2 | 169.9 | 153.4 | 193 | 181.3 | 142.6 | 152.8 | 119 | 131.6 | 152.3 | 180.9 | 178.5 | 194.2 | 174 | 175.9 | 125.2 | 133.1 | 121.1 | 106.5 | 116.4 | 85.93 | 118 | 102.1 | 100.6 | 105.7 | 103.4 | 87.92 | 88.98 | 79.45 | 74.96 | 112.6 | 145 | 152.1 | 108 | 92.13 | 88.08 | 96.16 | 103.7 | 85.83 | 78.99 | 107.4 | 722.3 | 9999.9 | 9999.9 | 9999.9 | 173.6
445 | 319.8 | 745.3 | 187.1 | 144.2 | 196 | 180.8 | 179.6 | 151.9 | 129.2 | 168.9 | 174.8 | 191.9 | 196.4 | 195.4 | 143.6 | 170.3 | 165.5 | 138.9 | 104.3 | 111.9 | 115 | 103.6 | 111.4 | 98.15 | 87.74 | 86.2 | 97.64 | 86.91 | 101.2 | 87.26 | 110.2 | 108.8 | 109.9 | 175.8 | 144.9 | 104.5 | 113.8 | 106.6 | 109 | 100.5 | 79.25 | 61.92 | 100.1 | 707.2 | 9999.9 | 9999.9 | 9999.9
450 | 161.1 | 741.2 | 503.9 | 225.9 | 183.2 | 202.3 | 162.2 | 150.4 | 143.4 | 146.9 | 148.7 | 191.4 | 245.4 | 193.4 | 212.8 | 167.4 | 130.9 | 96.54 | 136 | 92.75 | 122.4 | 109.2 | 100.8 | 102.5 | 100.8 | 88.72 | 96.54 | 103.9 | 87.26 | 102.4 | 99.94 | 98.97 | 114.8 | 142.2 | 177.2 | 137 | 118.1 | 122.6 | 111.8 | 103.3 | 79.28 | 68.17 | 58.55 | 89.26 | 713 | 9999.9 | 9999.9
455 | 139 | 536.2 | 1151 | 250.1 | 213.1 | 203.5 | 171.9 | 127.9 | 133 | 131.3 | 147.3 | 183.6 | 184.3 | 177.4 | 166.7 | 185.7 | 157 | 113.8 | 134.2 | 114 | 109.8 | 105.8 | 98.58 | 99.58 | 97.52 | 89.27 | 108.1 | 98.57 | 101 | 96.23 | 101.6 | 119.5 | 103.2 | 123 | 154.2 | 167.1 | 133.2 | 123 | 115.6 | 109.6 | 85.34 | 59.8 | 49.67 | 41.86 | 80.11 | 713.1 | 9999.9
460 | 180.9 | 213.7 | 1319 | 644 | 231.4 | 148.8 | 178.2 | 135.6 | 153.7 | 162.9 | 170.4 | 174 | 165.7 | 194 | 215.4 | 111.3 | 154.4 | 120.6 | 139.1 | 118.8 | 127.6 | 106.7 | 108.6 | 105.4 | 99.4 | 99.6 | 88.1 | 87.36 | 104.6 | 92.71 | 95.11 | 105.2 | 117.7 | 111.3 | 132.8 | 160.5 | 153.1 | 134.7 | 108.6 | 103.9 | 91.88 | 67.02 | 46.89 | 37.04 | 38.75 | 78.66 | 701.6
465 | 199.3 | 199.6 | 859.4 | 1370 | 367 | 166.8 | 174 | 133.4 | 192.9 | 136.1 | 197 | 182.7 | 145.2 | 199.5 | 183.3 | 156.2 | 128.7 | 142.2 | 142.4 | 106.9 | 101.4 | 93.4 | 103.2 | 109.3 | 125.2 | 92.78 | 100.2 | 85.88 | 84.18 | 96.1 | 85.18 | 104.4 | 110.5 | 124.4 | 131.3 | 136.9 | 162 | 146.9 | 127.8 | 109.9 | 89.4 | 62.25 | 47.72 | 34.72 | 35.49 | 34.34 | 74.67
470 | 206.3 | 189.7 | 248.8 | 2103 | 892.1 | 180.2 | 138.9 | 140.7 | 143.6 | 166.1 | 179.4 | 156.3 | 155.1 | 124.7 | 182.5 | 132.1 | 139.6 | 124.9 | 115.9 | 122.9 | 109.9 | 90.65 | 95.35 | 81.04 | 85.47 | 81.9 | 75.33 | 88.33 | 93.85 | 103.6 | 101.6 | 101.2 | 108.4 | 121.1 | 121.2 | 119.2 | 133 | 165.8 | 133.7 | 99.98 | 79.73 | 71.32 | 46.16 | 38.19 | 29.29 | 30.41 | 28.07
475 | 140.2 | 168.1 | 190.2 | 1437 | 2460 | 266.3 | 181 | 151.2 | 145.9 | 164.9 | 177.7 | 150 | 203 | 185.4 | 156.7 | 122.6 | 135.2 | 111.7 | 102.4 | 98.69 | 117.7 | 94.95 | 88.79 | 66.43 | 85.83 | 77.28 | 84.39 | 71.52 | 84.01 | 82.37 | 99.03 | 92.07 | 105.8 | 117.6 | 118.1 | 110.4 | 114.2 | 140.9 | 149.8 | 105.5 | 77.71 | 53.95 | 37.9 | 29.9 | 25.24 | 26.85 | 22.99
480 | 141.8 | 175.1 | 204.8 | 366.1 | 2813 | 1031 | 179.8 | 144.1 | 146.4 | 190.3 | 163.4 | 144.1 | 166.5 | 159.4 | 113.1 | 127.3 | 131.1 | 90.95 | 97.63 | 95.09 | 102.7 | 79.11 | 89.96 | 82.73 | 77.82 | 78.46 | 73.33 | 76.84 | 80.93 | 81.63 | 87.14 | 92.2 | 88.59 | 102.9 | 99.46 | 105.7 | 110.4 | 115.7 | 133.2 | 119 | 75.91 | 59.46 | 35.35 | 27.6 | 26.69 | 21.9 | 18.55
485 | 170 | 119.8 | 177.5 | 193.9 | 1627 | 2687 | 285.5 | 133.2 | 153.4 | 137.1 | 214.3 | 155.5 | 152.5 | 150.6 | 156.2 | 137 | 136.1 | 91.92 | 89.01 | 81.63 | 87.11 | 90.81 | 94.18 | 82.38 | 70.28 | 82.71 | 71.31 | 68.97 | 76.08 | 83.86 | 82.09 | 82.79 | 78.73 | 105.2 | 105.8 | 103.7 | 111.5 | 98.24 | 107.5 | 111.3 | 92.38 | 53.11 | 38.53 | 34.03 | 25.24 | 20.92 | 19.43
490 | 126.2 | 215.6 | 182.6 | 137.2 | 515.4 | 3239 | 997.4 | 140.6 | 127.4 | 128 | 147.7 | 156.9 | 153.3 | 133.4 | 132.4 | 136.4 | 125.5 | 123.5 | 100.6 | 98.7 | 92.57 | 83.56 | 83.56 | 82.38 | 77.23 | 64.52 | 62.26 | 79.45 | 70.06 | 84.57 | 78.71 | 80.17 | 80.33 | 99.41 | 96.61 | 87.58 | 104.8 | 97.13 | 89.48 | 93.66 | 88.2 | 56.29 | 37.14 | 29.6 | 23.41 | 23.45 | 16.99
495 | 167.8 | 183.5 | 199.4 | 182.2 | 193 | 1966 | 3108 | 233.2 | 125.1 | 142.3 | 149.1 | 143.6 | 146.5 | 97.08 | 166.5 | 142.7 | 110.2 | 103.3 | 122.5 | 103.3 | 109.9 | 67.64 | 77.06 | 72.13 | 79 | 83.76 | 66.85 | 58.18 | 67.07 | 67.86 | 69.25 | 76.59 | 90.06 | 92.27 | 86.85 | 91.52 | 101.3 | 88.18 | 92.37 | 76.46 | 77.27 | 57.52 | 40.76 | 29.52 | 24.27 | 18.98 | 21.22
500 | 213.7 | 156.2 | 135.3 | 113.6 | 200.8 | 771.6 | 3852 | 831.1 | 134 | 139.4 | 104.2 | 110.1 | 164.3 | 140.7 | 139.8 | 120.1 | 156.8 | 110.6 | 102.3 | 85 | 79.57 | 81.25 | 78.69 | 81.56 | 64.2 | 65.08 | 59.63 | 68.09 | 63.58 | 72.65 | 76.15 | 78.62 | 76.78 | 82.77 | 77.62 | 90.5 | 82.62 | 89.33 | 79.01 | 73.8 | 64.95 | 62.36 | 48.94 | 27.19 | 21.55 | 19.57 | 19.83