## Sheet1
Report date: | 15:05:17, 04/15/2024
Sample: | 1
File name:
Run date: | 15:02:26, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/255.0 | 143.2
2 | 225.0/285.0 | 192.1
3 | 225.0/380.0 | 242.3
4 | 225.0/395.0 | 216.8
5 | 225.0/405.0 | 221.6
6 | 225.0/425.0 | 263.7
7 | 225.0/485.0 | 247.4
8 | 230.0/290.0 | 212.8
9 | 230.0/315.0 | 557.6
10 | 230.0/325.0 | 611.8
11 | 230.0/335.0 | 679.2
12 | 230.0/360.0 | 409.1
13 | 230.0/390.0 | 260
14 | 230.0/400.0 | 221.4
15 | 230.0/430.0 | 201.1
16 | 235.0/260.0 | 190.4
17 | 235.0/275.0 | 155.3
18 | 235.0/355.0 | 426.6
19 | 235.0/415.0 | 255.4
20 | 235.0/440.0 | 227.7
21 | 240.0/270.0 | 171.3
22 | 240.0/405.0 | 227.4
23 | 240.0/425.0 | 187.6
24 | 240.0/435.0 | 232.3
25 | 240.0/450.0 | 270.9
26 | 245.0/265.0 | 202.4
27 | 245.0/280.0 | 190.4
28 | 245.0/370.0 | 290.8
29 | 245.0/385.0 | 212.6
30 | 245.0/395.0 | 244.4
31 | 245.0/420.0 | 207.4
32 | 245.0/440.0 | 225.6
33 | 250.0/270.0 | 178.2
34 | 250.0/290.0 | 182.2
35 | 250.0/400.0 | 208.5
36 | 250.0/410.0 | 197.3
37 | 250.0/455.0 | 223.3
38 | 255.0/435.0 | 210.3
39 | 255.0/450.0 | 216
40 | 265.0/425.0 | 189.4
41 | 265.0/460.0 | 213.7
42 | 265.0/475.0 | 207.4
43 | 270.0/445.0 | 230
44 | 270.0/480.0 | 200
45 | 270.0/490.0 | 196.4
46 | 275.0/435.0 | 217.6
47 | 275.0/450.0 | 221.3
48 | 275.0/465.0 | 237.1
49 | 280.0/475.0 | 229.5
50 | 280.0/495.0 | 189
51 | 285.0/325.0 | 3304
52 | 285.0/435.0 | 232.3
53 | 285.0/465.0 | 235.8
54 | 290.0/260.0 | 113.2
55 | 290.0/335.0 | 3182
56 | 290.0/425.0 | 302.9
57 | 290.0/445.0 | 254.3
58 | 290.0/470.0 | 201.7
59 | 295.0/455.0 | 208.3
60 | 300.0/445.0 | 179.4
61 | 300.0/460.0 | 171.9
62 | 305.0/465.0 | 158.7
63 | 310.0/265.0 | 111
64 | 310.0/480.0 | 133.7
65 | 315.0/275.0 | 102.5
66 | 315.0/355.0 | 326.7
67 | 315.0/420.0 | 144.3
68 | 315.0/435.0 | 153.3
69 | 320.0/285.0 | 103
70 | 320.0/360.0 | 310.7
71 | 320.0/415.0 | 142
72 | 320.0/445.0 | 142.1
73 | 320.0/460.0 | 140.7
74 | 325.0/265.0 | 68.56
75 | 325.0/280.0 | 63.92
76 | 325.0/365.0 | 293.9
77 | 330.0/295.0 | 81.9
78 | 330.0/370.0 | 243.8
79 | 330.0/395.0 | 125.3
80 | 330.0/410.0 | 121.6
81 | 330.0/425.0 | 129.8
82 | 330.0/460.0 | 149.7
83 | 335.0/270.0 | 52.58
84 | 335.0/305.0 | 81.55
85 | 335.0/380.0 | 281.4
86 | 335.0/435.0 | 118.3
87 | 335.0/450.0 | 127.8
88 | 335.0/470.0 | 137.1
89 | 340.0/280.0 | 54.32
90 | 340.0/385.0 | 255.4
91 | 340.0/430.0 | 123
92 | 340.0/480.0 | 128.4
93 | 345.0/390.0 | 236
94 | 345.0/435.0 | 120.7
95 | 350.0/270.0 | 49.03
96 | 350.0/400.0 | 179
97 | 350.0/420.0 | 106.4
98 | 350.0/465.0 | 124.7
99 | 350.0/490.0 | 95.78
100 | 355.0/265.0 | 51.19
101 | 355.0/290.0 | 48.35
102 | 355.0/315.0 | 56.48
103 | 355.0/405.0 | 207.4
104 | 355.0/430.0 | 110
105 | 355.0/450.0 | 126.3
106 | 360.0/320.0 | 58.11
107 | 360.0/485.0 | 121.4
108 | 365.0/280.0 | 42.89
109 | 365.0/300.0 | 41.75
110 | 365.0/315.0 | 50.29
111 | 365.0/415.0 | 186.1
112 | 370.0/285.0 | 47.44
113 | 370.0/325.0 | 49.07
114 | 370.0/425.0 | 176.2
115 | 370.0/445.0 | 148.6
116 | 375.0/270.0 | 37.13
117 | 375.0/330.0 | 45.18
118 | 375.0/430.0 | 171.4
119 | 380.0/260.0 | 37.03
120 | 380.0/305.0 | 34.83
121 | 380.0/440.0 | 197.3
122 | 385.0/265.0 | 37.79
123 | 385.0/445.0 | 235.5
124 | 390.0/300.0 | 33.28
125 | 390.0/450.0 | 247.9
126 | 395.0/275.0 | 31.61
127 | 395.0/460.0 | 265
128 | 400.0/260.0 | 29.81
129 | 400.0/270.0 | 30.33
130 | 400.0/285.0 | 33.39
131 | 400.0/300.0 | 29.3
132 | 400.0/310.0 | 27.68
133 | 405.0/255.0 | 34.3
134 | 405.0/290.0 | 29.27
135 | 405.0/330.0 | 30.7
136 | 405.0/365.0 | 32.4
137 | 410.0/280.0 | 24.79
138 | 410.0/315.0 | 23.73
139 | 410.0/350.0 | 27.07
140 | 415.0/275.0 | 25.65
141 | 415.0/305.0 | 22.94
142 | 415.0/360.0 | 25.03
143 | 420.0/270.0 | 22.45
144 | 420.0/300.0 | 22.17
145 | 420.0/340.0 | 23.25
146 | 420.0/370.0 | 24.18
147 | 425.0/280.0 | 24.4
148 | 430.0/290.0 | 22.94
149 | 430.0/310.0 | 25.13
150 | 430.0/335.0 | 18.3
151 | 430.0/385.0 | 23.67
152 | 435.0/270.0 | 19.45
153 | 435.0/345.0 | 20.58
154 | 435.0/360.0 | 19.6
155 | 440.0/265.0 | 18.16
156 | 440.0/300.0 | 21.06
157 | 440.0/320.0 | 20.32
158 | 440.0/350.0 | 17.73
159 | 445.0/345.0 | 18.36
160 | 445.0/400.0 | 20.15
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 186.4 | 140.4 | 174.3 | 162.2 | 131.2 | 3620 | 9999.9 | 3237 | 146.5 | 110.9 | 115.6 | 108.3 | 108.1 | 142.1 | 87.95 | 102.9 | 107.7 | 85.18 | 82.24 | 53.31 | 69.22 | 61.66 | 67.78 | 38.44 | 41.9 | 41.66 | 44.25 | 41.63 | 39.98 | 35.41 | 38.82 | 35.34 | 35.9 | 31.56 | 35.17 | 25.09 | 24.46 | 17.6 | 23.31 | 18.41 | 18.58 | 22.58 | 16.18 | 13.08 | 11.04 | 10.1 | 10.03
255 | 136.9 | 143.2 | 124 | 166.2 | 143.6 | 355.4 | 3165 | 9999.9 | 6936 | 332.5 | 131 | 86.46 | 95.6 | 110.1 | 102.4 | 78.65 | 101.9 | 81.25 | 70.18 | 68.91 | 67.9 | 55.33 | 42.33 | 44.78 | 34.51 | 39.95 | 35.66 | 38.59 | 39.66 | 34.97 | 34.32 | 34.64 | 32.62 | 26.17 | 32.12 | 29.45 | 24.45 | 34.3 | 20.93 | 19.49 | 21.32 | 19.4 | 20.17 | 16.73 | 13.7 | 12.72 | 10.91
260 | 119.7 | 123.7 | 154.1 | 190.4 | 188.8 | 163 | 299.7 | 3168 | 9999.9 | 8609 | 444.9 | 142.3 | 104.9 | 106.4 | 113.2 | 95.69 | 82.8 | 76.21 | 77.88 | 72.09 | 74.26 | 56.61 | 53.92 | 45.4 | 47.35 | 40.93 | 40.4 | 38.28 | 38.12 | 37.81 | 38.42 | 34.08 | 37.03 | 26.6 | 28.67 | 23.49 | 29.81 | 29.29 | 26.43 | 16.13 | 18.56 | 17.5 | 17 | 15.63 | 15.27 | 14.99 | 11.42
265 | 171.5 | 138 | 145.9 | 147.6 | 152 | 202.4 | 129.3 | 325.1 | 4425 | 9999.9 | 9999.9 | 579.3 | 115.1 | 115 | 79.32 | 114.8 | 77.05 | 91.49 | 111 | 82.81 | 47.38 | 68.56 | 54.68 | 41.49 | 42.24 | 40.9 | 46.35 | 51.19 | 44.26 | 27.82 | 36.5 | 30.88 | 33.42 | 37.79 | 28.64 | 27.18 | 26.39 | 23.05 | 25.4 | 19.63 | 18.09 | 15.96 | 16.65 | 16.28 | 18.16 | 17.18 | 11.3
270 | 145.4 | 105 | 117.8 | 150.1 | 171.3 | 143.8 | 178.2 | 138.1 | 416.7 | 6105 | 9999.9 | 9999.9 | 638.4 | 148.5 | 126.5 | 113.1 | 119.2 | 93.88 | 85.5 | 76.05 | 57.48 | 61.45 | 41.58 | 52.58 | 48.41 | 44.21 | 49.03 | 46.83 | 40.96 | 33.61 | 36.01 | 37.13 | 33.21 | 37.62 | 28.55 | 20.8 | 30.33 | 26.71 | 21.01 | 21.41 | 22.45 | 21.42 | 17.39 | 19.45 | 18 | 15.12 | 12.76
275 | 178.1 | 173.3 | 118 | 155.3 | 130.4 | 126.7 | 149.6 | 165.9 | 193.3 | 545.7 | 8342 | 9999.9 | 9999.9 | 759.5 | 107.8 | 129.6 | 97.57 | 91.01 | 95.89 | 102.5 | 64.37 | 56.82 | 55.56 | 46.63 | 41.88 | 47.14 | 46.46 | 42.99 | 34.58 | 38.13 | 33.4 | 22.57 | 28.87 | 33.18 | 28.82 | 31.61 | 28.34 | 19.11 | 19.13 | 25.65 | 19.63 | 21.64 | 15.57 | 16.52 | 15.08 | 12.48 | 15.21
280 | 151.6 | 157.5 | 140.2 | 113.4 | 172.3 | 190.4 | 185.7 | 181.8 | 153.9 | 163.1 | 636.8 | 9999.9 | 9999.9 | 9999.9 | 767.3 | 100.6 | 118.7 | 105.8 | 82.29 | 65.65 | 61.58 | 63.92 | 54.61 | 45.23 | 54.32 | 47.11 | 40.72 | 36.27 | 28.28 | 42.89 | 33.11 | 33.79 | 31.06 | 30.97 | 25.8 | 24.44 | 26.57 | 22.46 | 24.79 | 16.94 | 22.54 | 24.4 | 16.16 | 16.17 | 15.31 | 12.89 | 15.92
285 | 169.5 | 192.1 | 170 | 159.2 | 114.4 | 134.8 | 164.5 | 133.3 | 169.3 | 237.5 | 214.5 | 806.6 | 9999.9 | 9999.9 | 9999.9 | 1063 | 106.9 | 110.1 | 92.96 | 73.36 | 103 | 55.66 | 60.75 | 58.64 | 50.59 | 46.7 | 35.28 | 26.57 | 33.95 | 37.25 | 47.44 | 27.01 | 24.94 | 28.41 | 27.37 | 26.04 | 33.39 | 26.38 | 20.74 | 20.48 | 20.05 | 20.1 | 19.94 | 18.19 | 15.06 | 15.78 | 13.57
290 | 139.3 | 154.8 | 212.8 | 157.1 | 154.6 | 172.5 | 182.2 | 163.4 | 196.9 | 281.4 | 236.5 | 374.3 | 1062 | 9999.9 | 9999.9 | 9999.9 | 965.1 | 108.9 | 106.1 | 81.74 | 73.44 | 62.06 | 70.17 | 65.88 | 53.34 | 54.19 | 36.07 | 48.35 | 30.89 | 26.5 | 39.62 | 27.89 | 23.26 | 25.57 | 25.13 | 17.95 | 27.56 | 29.27 | 28.41 | 21.77 | 20.2 | 19.11 | 22.94 | 20.59 | 17.52 | 15.03 | 13.74
295 | 154.6 | 203.1 | 178.7 | 214.1 | 228.5 | 180.2 | 140.5 | 155.2 | 201.8 | 355.1 | 501.9 | 532.3 | 682 | 1317 | 9999.9 | 9999.9 | 9999.9 | 1121 | 167 | 114.7 | 75.58 | 69.78 | 81.9 | 52.63 | 47.18 | 40.24 | 54.73 | 41.43 | 34.88 | 37.72 | 32.57 | 31.6 | 29.77 | 29.26 | 23.72 | 20.52 | 24.67 | 27.16 | 23.35 | 24.5 | 15.96 | 18.7 | 20.31 | 19.38 | 17.15 | 15.8 | 13.04
300 | 192.2 | 225.5 | 224.5 | 189.5 | 224.7 | 211.9 | 220.9 | 221 | 259.4 | 391.8 | 694.6 | 821.3 | 1007 | 1017 | 1356 | 9999.9 | 9999.9 | 9999.9 | 1131 | 121.9 | 87.64 | 89.37 | 73.65 | 80.08 | 69.03 | 40.35 | 52.38 | 50.83 | 35.49 | 41.75 | 37.19 | 30.35 | 24.59 | 30.31 | 33.28 | 16.58 | 29.3 | 20.96 | 24.35 | 20.07 | 22.17 | 19.89 | 21.54 | 19.31 | 21.06 | 15.88 | 14.72
305 | 167.1 | 329.2 | 342.6 | 374.6 | 288.8 | 236.5 | 254.6 | 184.2 | 350.2 | 566.2 | 757.8 | 1262 | 1533 | 1346 | 1350 | 1388 | 9999.9 | 9999.9 | 9999.9 | 987.2 | 121.5 | 95.11 | 68.63 | 81.55 | 57.77 | 57.53 | 55.81 | 47.21 | 49.85 | 32.42 | 35.24 | 33.13 | 34.83 | 31.48 | 31.98 | 23.22 | 25.47 | 17.72 | 19.19 | 22.94 | 21.59 | 18.87 | 17.79 | 17.25 | 18.53 | 16.67 | 17.77
310 | 189.3 | 336.8 | 494 | 368.5 | 224.9 | 202.9 | 245.3 | 275.6 | 450.4 | 595.8 | 1001 | 1378 | 1806 | 2053 | 1533 | 1245 | 1241 | 9999.9 | 9999.9 | 9999.9 | 1089 | 111.9 | 73.72 | 73.09 | 55.66 | 53.86 | 39.88 | 51.64 | 37.56 | 35.02 | 37.05 | 36.67 | 29.26 | 24.33 | 27.37 | 20.93 | 27.68 | 19.21 | 19.07 | 17.78 | 19.46 | 23.54 | 25.13 | 19.44 | 15.15 | 14.1 | 17.48
315 | 254.7 | 377.9 | 557.6 | 456.9 | 305.7 | 261.4 | 257.6 | 311 | 515 | 729.4 | 1213 | 1764 | 2333 | 2544 | 2278 | 1633 | 742.7 | 992.2 | 9999.9 | 9999.9 | 9999.9 | 969.7 | 121.1 | 90.56 | 74.23 | 54.56 | 54.59 | 56.48 | 45.71 | 50.29 | 41.19 | 40.55 | 34.75 | 26.29 | 29.7 | 18.33 | 24.51 | 19.71 | 23.73 | 17.77 | 19.29 | 17.09 | 21.93 | 20.82 | 14.72 | 16.46 | 14.76
320 | 270.4 | 332.4 | 505.3 | 427.7 | 382.8 | 290.2 | 259.9 | 333.8 | 598.2 | 980.7 | 1410 | 2006 | 2563 | 2956 | 2862 | 1702 | 780.8 | 493.5 | 881.5 | 9999.9 | 9999.9 | 9999.9 | 907.1 | 120.7 | 97.66 | 73.32 | 50.96 | 46.29 | 58.11 | 41.3 | 30.54 | 40.21 | 30.8 | 30.44 | 25.45 | 19.43 | 24.64 | 22.39 | 19.89 | 19.43 | 19.36 | 19.52 | 17.91 | 17.83 | 20.32 | 17.3 | 17.19
325 | 342.4 | 357.8 | 611.8 | 549.9 | 423.5 | 278 | 335.2 | 424.5 | 700.8 | 1051 | 1570 | 2242 | 2858 | 3304 | 3212 | 2159 | 953.2 | 445.2 | 290.9 | 826.7 | 9999.9 | 9999.9 | 9999.9 | 970.4 | 107.2 | 88.03 | 72.21 | 66.89 | 45.41 | 40.12 | 49.07 | 33.17 | 30.41 | 26.12 | 23.97 | 24.86 | 24.12 | 24.55 | 20.33 | 20.52 | 19.42 | 19.17 | 15.33 | 19.53 | 19.69 | 21.17 | 18.7
330 | 251.4 | 444 | 476.3 | 409.6 | 331.8 | 309.5 | 287.6 | 449.2 | 668.6 | 1177 | 1517 | 2121 | 2716 | 3085 | 3117 | 2283 | 1135 | 454.9 | 234.1 | 229 | 804.7 | 9999.9 | 9999.9 | 9999.9 | 843.2 | 105.3 | 80.32 | 60.22 | 58.32 | 47.26 | 31.35 | 45.18 | 31.86 | 33.8 | 26.46 | 19.71 | 21.86 | 30.7 | 20.82 | 17.77 | 18.72 | 18.19 | 16.6 | 17.66 | 19.08 | 14.41 | 15.96
335 | 248 | 464.6 | 679.2 | 605.7 | 326 | 247.8 | 332.7 | 399.7 | 596.7 | 1033 | 1452 | 2123 | 3006 | 3028 | 3182 | 2060 | 1391 | 539.9 | 208.8 | 181.3 | 204.7 | 798.5 | 9999.9 | 9999.9 | 9999.9 | 831.8 | 100.4 | 81.56 | 55.49 | 52.91 | 42.16 | 38.23 | 35.86 | 34.25 | 30.73 | 25.1 | 23.92 | 25.28 | 24.72 | 18.01 | 16.62 | 14.24 | 18.3 | 16.01 | 19.76 | 17.86 | 16.59
340 | 268.9 | 395.5 | 556.4 | 469.6 | 333.1 | 266 | 316.2 | 414.5 | 633.6 | 896.9 | 1547 | 2019 | 2548 | 2968 | 2997 | 2140 | 1093 | 610.6 | 296.5 | 177.7 | 144 | 189.1 | 798.6 | 9999.9 | 9999.9 | 9999.9 | 763.6 | 98.71 | 68.96 | 52.83 | 53.85 | 39.51 | 32.27 | 33.32 | 30.43 | 30.22 | 25.64 | 25.35 | 20.11 | 19.87 | 23.25 | 14.59 | 17.13 | 18.52 | 13.06 | 17.08 | 16.77
345 | 258.5 | 390 | 541.7 | 423.8 | 315.3 | 295.9 | 296.1 | 390.6 | 541.3 | 864.1 | 1410 | 1875 | 2473 | 2828 | 2804 | 1901 | 980.2 | 503.2 | 479.3 | 165.8 | 148 | 115.6 | 132.4 | 801.9 | 9999.9 | 9999.9 | 9999.9 | 740.9 | 92.94 | 75.02 | 72.74 | 52.04 | 32.96 | 35.32 | 28.82 | 26.1 | 27.21 | 22.95 | 20.21 | 20 | 18.48 | 14.69 | 19.82 | 20.58 | 16.11 | 18.36 | 12.42
350 | 221.1 | 309 | 406.9 | 411.8 | 369.5 | 272.5 | 302.6 | 341.8 | 549.8 | 828.7 | 1256 | 1520 | 2273 | 2345 | 2408 | 1728 | 888.6 | 370 | 388.4 | 306.1 | 128.9 | 97.48 | 100.3 | 163.4 | 787.8 | 9999.9 | 9999.9 | 9999.9 | 702.6 | 86.4 | 73.01 | 48.43 | 40.81 | 37.17 | 32.94 | 23.7 | 25.39 | 23.54 | 27.07 | 17.83 | 19.05 | 18.18 | 15.52 | 16.34 | 17.73 | 14.58 | 16.5
355 | 249.4 | 315.3 | 389.6 | 426.6 | 260.1 | 239.8 | 310.3 | 339 | 492.3 | 699.2 | 1046 | 1510 | 1974 | 2258 | 2174 | 1380 | 787.5 | 373.8 | 244.5 | 326.7 | 259.7 | 104.6 | 113.5 | 104.6 | 152.8 | 781.1 | 9999.9 | 9999.9 | 9999.9 | 653.8 | 94.62 | 70.9 | 53.44 | 38.19 | 33.63 | 21.91 | 27.26 | 25.03 | 22.46 | 17.75 | 19.58 | 19.09 | 16.96 | 15.01 | 16.4 | 12.92 | 13.28
360 | 186 | 346.5 | 409.1 | 373.8 | 302 | 248.1 | 236.7 | 274 | 412.8 | 648.3 | 893.3 | 1314 | 1695 | 1929 | 1878 | 1233 | 684.2 | 357.2 | 220.1 | 163.5 | 310.7 | 166.7 | 130.1 | 83.77 | 120.5 | 154.7 | 764.4 | 9999.9 | 9999.9 | 9999.9 | 639.9 | 88.86 | 51.35 | 55.19 | 43.71 | 33.3 | 26.39 | 27.31 | 19.92 | 25.03 | 23.16 | 15.39 | 17.23 | 19.6 | 16.76 | 14.75 | 13.3
365 | 224.6 | 263.3 | 328.5 | 346.9 | 217.4 | 230.6 | 237.2 | 294.6 | 328.8 | 591.4 | 712 | 1170 | 1512 | 1558 | 1651 | 1158 | 599.2 | 289.5 | 162.1 | 139.7 | 209.5 | 293.9 | 151.7 | 100.8 | 110.4 | 102.8 | 143 | 782.3 | 9999.9 | 9999.9 | 9999.9 | 534.2 | 76.63 | 58.35 | 49.59 | 38.58 | 27.93 | 32.4 | 27.1 | 22.39 | 21.94 | 17.53 | 19.15 | 16.14 | 15.1 | 15.25 | 14.33
370 | 171.8 | 221.4 | 268.5 | 293.2 | 219.7 | 290.8 | 212 | 267.9 | 358 | 500 | 694.4 | 900.2 | 1158 | 1260 | 1218 | 934.4 | 515.7 | 305 | 166.6 | 130.7 | 127.7 | 236.3 | 243.8 | 133.4 | 108.5 | 85.29 | 89.37 | 140 | 766.9 | 9999.9 | 9999.9 | 9999.9 | 500.1 | 76.9 | 58.08 | 46.79 | 25.58 | 28.33 | 22.65 | 23.35 | 24.18 | 22.97 | 19.23 | 17.59 | 15.61 | 16.89 | 14.7
375 | 193.9 | 229.9 | 257.6 | 307.1 | 193.4 | 201.2 | 230.4 | 223.1 | 343.6 | 397.8 | 620.7 | 826.5 | 1173 | 1213 | 1186 | 809.4 | 516.2 | 269.7 | 162.7 | 120.9 | 114.6 | 121.4 | 210.4 | 231.1 | 116.1 | 87.95 | 90 | 100.6 | 145.7 | 767.5 | 9999.9 | 9999.9 | 9999.9 | 496.3 | 73.71 | 51.43 | 38.62 | 26.53 | 25.78 | 20.44 | 21.11 | 19.57 | 19.22 | 16.26 | 17.01 | 19.77 | 15.4
380 | 150.3 | 242.3 | 203.2 | 209.6 | 178.5 | 177 | 210.2 | 185.8 | 252 | 464.3 | 485.7 | 639.8 | 807.8 | 846.9 | 913.8 | 612 | 352.7 | 215.5 | 187.6 | 143.3 | 120.3 | 94.68 | 136.4 | 281.4 | 178.1 | 93.56 | 82.19 | 86.99 | 86.78 | 147 | 779.9 | 9999.9 | 9999.9 | 9999.9 | 476 | 71.46 | 52.63 | 35.65 | 35.03 | 24.23 | 23.48 | 19.85 | 19.86 | 16.21 | 17.04 | 16.36 | 15.94
385 | 156.1 | 218.5 | 245.1 | 237 | 182 | 212.6 | 188.5 | 151.5 | 232.5 | 306.7 | 387.7 | 611.7 | 675.5 | 811.8 | 704.3 | 516.5 | 313.9 | 205.1 | 152.9 | 140.6 | 107 | 106 | 124.1 | 139.5 | 255.4 | 140.8 | 84.64 | 75.21 | 72.47 | 80.7 | 137 | 758.3 | 9999.9 | 9999.9 | 9999.9 | 392.3 | 68.08 | 50.43 | 37.51 | 32.63 | 23.81 | 19.31 | 23.67 | 19.04 | 19.08 | 12.02 | 14.6
390 | 189.5 | 205.7 | 260 | 256.3 | 145.1 | 192.8 | 186.2 | 179.5 | 179.8 | 248.8 | 353.1 | 510.5 | 579.8 | 661.4 | 658.3 | 463.6 | 329.3 | 193.2 | 150.8 | 114.2 | 113.9 | 100.1 | 101.4 | 130.1 | 161.2 | 236 | 115.4 | 62.36 | 73.5 | 69.15 | 81.64 | 120.7 | 767.8 | 9999.9 | 9999.9 | 9999.9 | 417.1 | 61.27 | 46.64 | 32.39 | 26.71 | 25.24 | 21.21 | 19.73 | 16.62 | 17.13 | 12.49
395 | 134.1 | 216.8 | 188.5 | 201.4 | 178.7 | 244.4 | 152.1 | 157.8 | 207.4 | 253.3 | 331 | 389.6 | 501.3 | 500.2 | 546.9 | 360.5 | 284.5 | 172.5 | 148.7 | 110.6 | 98.1 | 110.3 | 125.3 | 109.3 | 117.6 | 175.7 | 172 | 92.24 | 84.51 | 70.5 | 78.59 | 80.54 | 122.4 | 763.2 | 9999.9 | 9999.9 | 9999.9 | 331.5 | 61.62 | 48.16 | 31.19 | 25.39 | 23.78 | 23.04 | 18.35 | 17.76 | 17.68
400 | 168.5 | 192 | 221.4 | 206 | 223.8 | 165.6 | 208.5 | 178 | 169.2 | 242.7 | 257.2 | 348.1 | 439.2 | 495.3 | 431.5 | 367.9 | 232.5 | 134.6 | 118.1 | 109.2 | 120.2 | 117.4 | 104.8 | 103.3 | 74.71 | 103 | 179 | 161.5 | 84.08 | 74.86 | 71.16 | 63.62 | 60.59 | 112.1 | 754.3 | 9999.9 | 9999.9 | 9999.9 | 298.3 | 50.69 | 40.62 | 27.92 | 30 | 21.11 | 18.46 | 20.15 | 14.24
405 | 171.7 | 221.6 | 159.8 | 191.9 | 227.4 | 174.4 | 157.9 | 144 | 204.5 | 188.7 | 255.9 | 310.7 | 303.9 | 436.9 | 392.1 | 335.1 | 194.7 | 165.1 | 128.8 | 127.7 | 123.4 | 119.3 | 120.9 | 120.9 | 81.03 | 101.4 | 123 | 207.4 | 132.8 | 68.77 | 67.7 | 64.25 | 63.83 | 65.33 | 116.7 | 736.5 | 9999.9 | 9999.9 | 9999.9 | 329.8 | 53.24 | 40.19 | 27.11 | 23.22 | 22.59 | 18.83 | 17.13
410 | 173.2 | 199.1 | 223.1 | 232.3 | 166.5 | 189.8 | 197.3 | 194 | 143.7 | 193.1 | 245.8 | 287.8 | 308.2 | 314.9 | 316.4 | 256.1 | 203.9 | 124.4 | 130.1 | 94.97 | 130.2 | 110.1 | 121.6 | 113.6 | 96.32 | 89.87 | 85.24 | 131.2 | 165.9 | 103.5 | 77.19 | 54.84 | 61.42 | 63.32 | 64.13 | 98.05 | 722.8 | 9999.9 | 9999.9 | 9999.9 | 295.6 | 54.88 | 43.13 | 25.12 | 21.65 | 18.29 | 16.63
415 | 180.3 | 153.2 | 175.6 | 255.4 | 160.7 | 191.9 | 147.4 | 159.9 | 149.5 | 155.2 | 144.9 | 284.2 | 308.1 | 286.1 | 270.4 | 234 | 218.1 | 147.6 | 130.2 | 115.1 | 142 | 117.8 | 104.7 | 114 | 100.8 | 98.29 | 78.97 | 95.62 | 170 | 186.1 | 97.64 | 79.59 | 67.83 | 57.01 | 57.56 | 70.1 | 104.3 | 739.4 | 9999.9 | 9999.9 | 9999.9 | 262.5 | 45.06 | 36.14 | 28.29 | 21.7 | 19.13
420 | 197.7 | 182.4 | 169.8 | 208.8 | 179.8 | 207.4 | 183 | 170.1 | 163.7 | 157.9 | 179.4 | 255.7 | 232.7 | 240.4 | 261 | 215.4 | 191.8 | 123 | 133.1 | 144.3 | 104.6 | 115 | 90.34 | 111.7 | 104.2 | 93.24 | 106.4 | 79.95 | 101.1 | 176.4 | 165.5 | 97.06 | 75.46 | 58.15 | 63.41 | 56.18 | 67.27 | 120.7 | 742.4 | 9999.9 | 9999.9 | 9999.9 | 247.2 | 48.53 | 34.7 | 26.62 | 17.96
425 | 175.4 | 263.7 | 175.5 | 169.4 | 187.6 | 128.5 | 178.5 | 186.4 | 187.9 | 189.4 | 188.1 | 171.2 | 206.2 | 275.7 | 302.9 | 173 | 154.3 | 160.1 | 123.2 | 124.1 | 113.9 | 123.5 | 129.8 | 96.81 | 101.9 | 95.36 | 91.85 | 93.26 | 90.25 | 111.2 | 176.2 | 130.4 | 90.85 | 78.8 | 70.3 | 81.19 | 75.05 | 75.77 | 120.9 | 755.7 | 9999.9 | 9999.9 | 9999.9 | 218.3 | 45.14 | 29.72 | 26.43
430 | 246.4 | 162 | 201.1 | 150.1 | 179.3 | 170.3 | 153.6 | 116.2 | 137.2 | 157.8 | 162.4 | 184 | 206 | 217.9 | 250.8 | 189.5 | 133.7 | 143.4 | 120.4 | 128.9 | 125.7 | 118 | 115 | 102.2 | 123 | 105.8 | 101.7 | 110 | 98.56 | 97.14 | 122.2 | 171.4 | 127.3 | 96.19 | 102.7 | 97.89 | 96.68 | 110.3 | 101.7 | 130.4 | 741.9 | 9999.9 | 9999.9 | 9999.9 | 224.9 | 42.18 | 30.28
435 | 464.3 | 204.4 | 192.3 | 192 | 232.3 | 191.1 | 183.5 | 210.3 | 146.9 | 176 | 175.1 | 217.6 | 163.7 | 232.3 | 186 | 178.1 | 149.7 | 138.1 | 119.9 | 153.3 | 128 | 108.5 | 112.7 | 118.3 | 105.6 | 120.7 | 99 | 100.6 | 106.6 | 105.9 | 113.6 | 150.8 | 167.6 | 144.8 | 127.8 | 134.8 | 130.6 | 131.4 | 121 | 108 | 135.3 | 747.5 | 9999.9 | 9999.9 | 9999.9 | 192.3 | 41.66
440 | 515.5 | 249.1 | 154.7 | 227.7 | 206.3 | 225.6 | 205.8 | 180.1 | 154.6 | 156.9 | 201.7 | 180.6 | 179.3 | 205.3 | 183.6 | 166.2 | 129.6 | 127.5 | 109.9 | 137.1 | 116.1 | 116.6 | 116.4 | 110.3 | 115.9 | 99.76 | 112.5 | 115 | 102.7 | 126.4 | 129.5 | 134.7 | 197.3 | 186.9 | 166.1 | 147.8 | 172 | 167.3 | 156.5 | 135.8 | 115.4 | 132.9 | 733 | 9999.9 | 9999.9 | 9999.9 | 175.5
445 | 258.8 | 629.5 | 263.5 | 211 | 189.1 | 154.9 | 158.7 | 158 | 137.4 | 188.6 | 230 | 210.9 | 173.6 | 216.6 | 254.3 | 150.2 | 179.4 | 150.6 | 139.5 | 141 | 142.1 | 116.8 | 117.9 | 119.6 | 117.9 | 102.7 | 117.3 | 114.7 | 108.4 | 126.9 | 148.6 | 133.1 | 176.9 | 235.5 | 196.2 | 171.3 | 180.3 | 176.8 | 182.7 | 161.5 | 118.1 | 97.51 | 118 | 720 | 9999.9 | 9999.9 | 9999.9
450 | 215 | 821.7 | 466.7 | 174.3 | 270.9 | 173.6 | 184.8 | 216 | 169.2 | 162.7 | 205.7 | 221.3 | 206.2 | 190.7 | 181.5 | 178.6 | 177.8 | 159 | 142.5 | 107.8 | 136.7 | 122.8 | 122.1 | 127.8 | 117.3 | 116.7 | 122.9 | 126.3 | 120.7 | 142.8 | 136.1 | 158.6 | 193.2 | 206.1 | 247.9 | 204.9 | 207 | 189.7 | 182.6 | 169.2 | 136.3 | 101.8 | 76.61 | 98.95 | 715.4 | 9999.9 | 9999.9
455 | 138.7 | 521.9 | 1016 | 330.3 | 215.4 | 206.4 | 223.3 | 174.5 | 167.3 | 174.9 | 170.8 | 190.6 | 193.4 | 162.8 | 189.6 | 208.3 | 141.5 | 137.1 | 134.2 | 130.4 | 130.4 | 111.5 | 111.8 | 120.7 | 110.3 | 116.4 | 121.7 | 110.6 | 119.4 | 141.6 | 154.6 | 160.7 | 174.6 | 203.5 | 216.4 | 256.9 | 229.5 | 213.8 | 188.5 | 172.5 | 130.2 | 103.1 | 75.33 | 51.77 | 91.43 | 714.1 | 9999.9
460 | 199.8 | 252.1 | 1511 | 601.9 | 148.9 | 161.7 | 173.3 | 188.8 | 149.2 | 213.7 | 177 | 170.1 | 208.9 | 189.8 | 183.6 | 158.1 | 171.9 | 144.1 | 137.7 | 123.1 | 140.7 | 128.2 | 149.7 | 120.7 | 125.3 | 100.2 | 104.4 | 118.5 | 139.5 | 145.5 | 157.3 | 159.9 | 178.2 | 199.9 | 219.4 | 265 | 261.3 | 222.4 | 203.5 | 189.3 | 144.7 | 94.27 | 69.24 | 44.7 | 42.76 | 84.41 | 698.8
465 | 161.3 | 201.5 | 969 | 1777 | 289.7 | 201.2 | 181 | 130.7 | 162.9 | 171.3 | 152.9 | 237.1 | 219.1 | 235.8 | 197.5 | 173.5 | 140.3 | 158.7 | 124.1 | 124.4 | 127.8 | 95.78 | 128.6 | 130.2 | 113.8 | 103.2 | 124.7 | 111.8 | 122 | 137.2 | 142 | 153.1 | 161.5 | 204.9 | 198.1 | 241.4 | 256.2 | 253 | 211 | 185.3 | 145.7 | 98.22 | 70.17 | 44.36 | 36.06 | 37.36 | 77.98
470 | 171.8 | 170.5 | 392 | 2216 | 929 | 181 | 142.6 | 141.3 | 165 | 181.3 | 168.3 | 178.2 | 202.7 | 172.2 | 201.7 | 154.3 | 128.1 | 140.6 | 132.6 | 117.1 | 103.3 | 119.4 | 135.4 | 137.1 | 126.7 | 91.75 | 114.2 | 113.6 | 118.4 | 140.8 | 142.5 | 144.7 | 180.6 | 186.4 | 203.5 | 226.1 | 238.1 | 243.1 | 216.9 | 180 | 135 | 105.7 | 69.96 | 46.45 | 35.75 | 35.32 | 32.18
475 | 136.6 | 179.4 | 245.1 | 1263 | 1853 | 263.2 | 221 | 153.7 | 183.9 | 207.4 | 151.9 | 196.6 | 229.5 | 193.8 | 188.8 | 161.6 | 133.4 | 119 | 118.2 | 110.7 | 104.1 | 108.1 | 128.8 | 108.4 | 101 | 101.2 | 103.9 | 117.8 | 119 | 109.1 | 136.4 | 157.5 | 173.1 | 186.3 | 203 | 199.5 | 191.8 | 232.9 | 212 | 177.5 | 134.4 | 100 | 64.69 | 42.2 | 36.25 | 25.71 | 23.95
480 | 164.3 | 179.7 | 177.1 | 458.2 | 2861 | 895.9 | 175.5 | 150.7 | 149.5 | 150.2 | 200 | 191.1 | 181.6 | 182.5 | 178.3 | 133.1 | 136.9 | 115.7 | 133.7 | 97.96 | 94.53 | 87.89 | 82.59 | 120.3 | 128.4 | 95.43 | 104.7 | 102.5 | 99.15 | 130.5 | 141 | 145.8 | 165.9 | 162 | 200.7 | 177.9 | 186.7 | 189.8 | 216 | 183.2 | 126.5 | 97.73 | 54.44 | 44.34 | 32.32 | 26.46 | 22.65
485 | 191.6 | 247.4 | 163.1 | 212 | 2171 | 2696 | 265.9 | 152.7 | 165.4 | 123.4 | 176.9 | 185.7 | 147.2 | 170.1 | 168.1 | 130.7 | 132.4 | 104.3 | 118.7 | 108.1 | 113.2 | 71.28 | 84.7 | 107.1 | 90.58 | 82.82 | 81.11 | 92.07 | 121.4 | 111.2 | 118.8 | 152.8 | 143.7 | 164.9 | 157.1 | 173.2 | 177.5 | 178.7 | 187.7 | 165.2 | 132.2 | 85.62 | 58.81 | 45.84 | 28.62 | 25.04 | 25.39
490 | 182.5 | 194.8 | 126.5 | 198.1 | 532.7 | 3662 | 1077 | 173.2 | 150.5 | 162.8 | 196.4 | 115.2 | 163.1 | 176.1 | 139.3 | 128.5 | 126.4 | 119.3 | 124 | 108.2 | 89.13 | 109.7 | 107 | 96.72 | 84.59 | 75.01 | 95.78 | 86.56 | 97.66 | 110.1 | 120.7 | 129.3 | 137.4 | 162.8 | 161.2 | 150.4 | 153.6 | 150.3 | 158.9 | 142.1 | 128.8 | 88.13 | 59.13 | 34.61 | 25.33 | 27.36 | 19.56
495 | 196 | 178.7 | 213.3 | 188.5 | 198.1 | 2193 | 3156 | 217.2 | 167.9 | 159.9 | 145.8 | 151.3 | 189 | 150 | 172.6 | 147.8 | 114 | 119.5 | 103.4 | 118.6 | 121.5 | 94.05 | 82.04 | 92.46 | 94.6 | 92.21 | 90.26 | 85.7 | 103.8 | 96.73 | 111.2 | 114 | 127.1 | 142.2 | 144.7 | 147.3 | 137 | 144.7 | 136.8 | 132.3 | 111.5 | 92.7 | 55.92 | 37.98 | 21.99 | 23.97 | 18.44
500 | 144.3 | 163.4 | 251.3 | 161.3 | 166.8 | 729.7 | 3730 | 787.7 | 167.4 | 149.1 | 183.1 | 166.6 | 134.4 | 137.5 | 131.1 | 147.8 | 107.9 | 127.3 | 102.1 | 127.6 | 90.33 | 109.9 | 73.92 | 87.25 | 78.55 | 68.27 | 87.25 | 67.09 | 100.6 | 84.97 | 97.88 | 108.1 | 120.3 | 138.1 | 133.8 | 143.2 | 140.2 | 131.8 | 139.3 | 125.5 | 98.25 | 82.38 | 60.14 | 33.28 | 26.8 | 25.73 | 22.05