## Sheet1
Report date: | 15:09:15, 04/15/2024
Sample: | 1
File name:
Run date: | 15:06:22, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/260.0 | 170
2 | 225.0/280.0 | 199
3 | 225.0/340.0 | 452.6
4 | 225.0/350.0 | 417.2
5 | 225.0/385.0 | 278.3
6 | 230.0/265.0 | 176
7 | 230.0/320.0 | 643.3
8 | 230.0/365.0 | 353.2
9 | 230.0/375.0 | 364
10 | 230.0/415.0 | 209.7
11 | 235.0/275.0 | 218.5
12 | 235.0/335.0 | 543.6
13 | 240.0/270.0 | 191.7
14 | 240.0/315.0 | 441
15 | 240.0/380.0 | 296.6
16 | 240.0/395.0 | 229.6
17 | 240.0/425.0 | 241.3
18 | 245.0/325.0 | 421.8
19 | 245.0/405.0 | 234.4
20 | 245.0/435.0 | 242.7
21 | 245.0/460.0 | 218
22 | 250.0/430.0 | 210.9
23 | 250.0/440.0 | 186.8
24 | 255.0/415.0 | 175.3
25 | 255.0/450.0 | 176.2
26 | 260.0/285.0 | 258.7
27 | 260.0/395.0 | 307.4
28 | 260.0/435.0 | 213.2
29 | 260.0/470.0 | 211.6
30 | 265.0/465.0 | 198.8
31 | 265.0/485.0 | 196.4
32 | 270.0/460.0 | 238.5
33 | 275.0/450.0 | 225.8
34 | 275.0/470.0 | 251.2
35 | 275.0/490.0 | 169
36 | 280.0/420.0 | 259.1
37 | 280.0/430.0 | 247.1
38 | 280.0/460.0 | 225.9
39 | 280.0/475.0 | 192.5
40 | 280.0/485.0 | 157.8
41 | 285.0/255.0 | 120.4
42 | 285.0/335.0 | 3515
43 | 285.0/410.0 | 412.1
44 | 285.0/450.0 | 234.4
45 | 285.0/465.0 | 232.7
46 | 290.0/260.0 | 113.2
47 | 290.0/495.0 | 188.9
48 | 295.0/430.0 | 222.9
49 | 300.0/260.0 | 118.5
50 | 300.0/455.0 | 180.2
51 | 305.0/255.0 | 106.8
52 | 305.0/270.0 | 95.07
53 | 305.0/460.0 | 220.3
54 | 310.0/435.0 | 153.4
55 | 310.0/450.0 | 140.7
56 | 310.0/490.0 | 120.2
57 | 315.0/355.0 | 333.4
58 | 315.0/440.0 | 148.1
59 | 315.0/475.0 | 128.2
60 | 315.0/485.0 | 127.3
61 | 320.0/360.0 | 322.9
62 | 320.0/430.0 | 138.5
63 | 320.0/490.0 | 123.6
64 | 325.0/265.0 | 61.12
65 | 325.0/285.0 | 71.02
66 | 325.0/365.0 | 274.5
67 | 325.0/405.0 | 129.1
68 | 325.0/415.0 | 131
69 | 325.0/445.0 | 141.5
70 | 325.0/470.0 | 163.5
71 | 330.0/255.0 | 59.55
72 | 330.0/280.0 | 73.81
73 | 330.0/410.0 | 130.6
74 | 330.0/425.0 | 147.6
75 | 330.0/460.0 | 141
76 | 330.0/485.0 | 104.7
77 | 335.0/375.0 | 262.3
78 | 335.0/435.0 | 145.4
79 | 340.0/265.0 | 52.26
80 | 340.0/385.0 | 226.7
81 | 340.0/420.0 | 116.9
82 | 340.0/455.0 | 125.6
83 | 340.0/470.0 | 118.7
84 | 340.0/480.0 | 121.5
85 | 345.0/255.0 | 54.76
86 | 345.0/390.0 | 214.7
87 | 345.0/410.0 | 115.3
88 | 345.0/425.0 | 117.5
89 | 345.0/445.0 | 124.2
90 | 345.0/475.0 | 117.2
91 | 350.0/305.0 | 52.87
92 | 350.0/400.0 | 189.8
93 | 350.0/430.0 | 107.9
94 | 355.0/255.0 | 45.66
95 | 355.0/285.0 | 49.46
96 | 355.0/300.0 | 48.42
97 | 355.0/315.0 | 57.61
98 | 355.0/405.0 | 183
99 | 360.0/260.0 | 41.56
100 | 360.0/280.0 | 40.83
101 | 360.0/410.0 | 183.2
102 | 360.0/485.0 | 126.5
103 | 365.0/265.0 | 41.22
104 | 365.0/285.0 | 39.08
105 | 365.0/295.0 | 37.78
106 | 365.0/415.0 | 202.6
107 | 370.0/255.0 | 48.48
108 | 370.0/270.0 | 36.53
109 | 370.0/305.0 | 43.56
110 | 370.0/425.0 | 174.4
111 | 375.0/265.0 | 37.33
112 | 375.0/430.0 | 183
113 | 380.0/285.0 | 31.49
114 | 380.0/325.0 | 37.61
115 | 380.0/440.0 | 202.8
116 | 385.0/265.0 | 38.69
117 | 385.0/305.0 | 34.76
118 | 385.0/320.0 | 36.47
119 | 385.0/415.0 | 69.49
120 | 390.0/295.0 | 28.6
121 | 390.0/450.0 | 262.7
122 | 395.0/275.0 | 29.83
123 | 395.0/355.0 | 34.51
124 | 395.0/460.0 | 289.9
125 | 400.0/265.0 | 25.14
126 | 400.0/300.0 | 28.14
127 | 400.0/465.0 | 286.2
128 | 405.0/260.0 | 31.75
129 | 405.0/285.0 | 27.19
130 | 405.0/360.0 | 32.3
131 | 410.0/265.0 | 27.73
132 | 410.0/305.0 | 27.48
133 | 410.0/315.0 | 24.28
134 | 410.0/335.0 | 26.7
135 | 415.0/295.0 | 27.7
136 | 415.0/320.0 | 23.82
137 | 415.0/365.0 | 25.84
138 | 420.0/275.0 | 28.3
139 | 420.0/290.0 | 23.39
140 | 420.0/305.0 | 25.18
141 | 420.0/355.0 | 21.93
142 | 425.0/255.0 | 18.53
143 | 425.0/310.0 | 24.91
144 | 425.0/330.0 | 21.56
145 | 425.0/340.0 | 21.92
146 | 425.0/375.0 | 20.94
147 | 430.0/285.0 | 26.1
148 | 430.0/300.0 | 22.36
149 | 430.0/370.0 | 20.08
150 | 430.0/385.0 | 25.7
151 | 435.0/280.0 | 19.53
152 | 435.0/315.0 | 22.61
153 | 435.0/350.0 | 20.99
154 | 440.0/335.0 | 20.85
155 | 440.0/360.0 | 22.34
156 | 440.0/370.0 | 20.14
157 | 440.0/390.0 | 20.91
158 | 445.0/275.0 | 17.84
159 | 445.0/285.0 | 18.32
160 | 445.0/325.0 | 21.01
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 165.6 | 123.9 | 194.1 | 117 | 202.3 | 3162 | 9999.9 | 3639 | 117.4 | 121 | 116.8 | 99.09 | 99.37 | 104.6 | 91.57 | 118.3 | 75.72 | 92.71 | 71.73 | 77.01 | 67.83 | 64.74 | 52.5 | 48.19 | 41.2 | 35.5 | 33.51 | 43.5 | 48.54 | 42.71 | 44.37 | 36.6 | 40.47 | 29.01 | 27.94 | 33.26 | 28.45 | 22.17 | 22.31 | 22.7 | 17.43 | 17.87 | 18.94 | 15.78 | 12.02 | 11.75 | 13.61
255 | 115.6 | 153.7 | 177.3 | 137.8 | 132.1 | 417.8 | 3271 | 9999.9 | 6769 | 360.6 | 146.9 | 83.92 | 118.4 | 120.4 | 97.51 | 108.7 | 86.21 | 106.8 | 75.58 | 73.65 | 71.59 | 49.81 | 59.55 | 58.07 | 43.86 | 54.76 | 40.76 | 45.66 | 38.72 | 38.67 | 48.48 | 37.02 | 30.12 | 30.67 | 23.11 | 29.45 | 23.99 | 25.96 | 21.69 | 21.97 | 16.63 | 18.53 | 18.25 | 17.3 | 11.69 | 14.7 | 13.92
260 | 154.1 | 170 | 121.9 | 132.1 | 165.2 | 187.8 | 291.5 | 3492 | 9999.9 | 8958 | 417.5 | 119.4 | 103 | 75.04 | 113.2 | 94.08 | 118.5 | 75.8 | 83.82 | 80.75 | 63.04 | 56.96 | 55.73 | 49.46 | 48.88 | 48.9 | 38.61 | 30.92 | 41.56 | 40.44 | 34.34 | 37.24 | 27.31 | 29.73 | 18.96 | 28.11 | 24.6 | 31.75 | 20.2 | 22.09 | 20.83 | 15.59 | 17.19 | 16.92 | 13.44 | 14.82 | 13.41
265 | 105.7 | 153 | 176 | 139.5 | 177.8 | 168.9 | 167.8 | 355.5 | 4763 | 9999.9 | 9999.9 | 525.6 | 130.5 | 153.4 | 85.07 | 120.1 | 100 | 90.07 | 89.47 | 64.37 | 53.85 | 61.12 | 51.33 | 47.61 | 52.26 | 47.07 | 45 | 40 | 41.05 | 41.22 | 30.56 | 37.33 | 29.29 | 38.69 | 29.28 | 22.58 | 25.14 | 22.65 | 27.73 | 24.93 | 17.35 | 15.29 | 18.13 | 17.77 | 16.86 | 13.91 | 12.28
270 | 153.1 | 145.4 | 159.3 | 127.7 | 191.7 | 161.2 | 172.2 | 176.8 | 418.3 | 6046 | 9999.9 | 9999.9 | 635.7 | 129.5 | 114.1 | 123 | 77.63 | 95.07 | 84.78 | 65.68 | 68.07 | 58.47 | 52.63 | 55.33 | 46.02 | 43.53 | 42.33 | 35.26 | 34.64 | 33.77 | 36.53 | 31.81 | 28.88 | 33.57 | 28.24 | 27.76 | 23.92 | 23.35 | 20.5 | 21.15 | 19.21 | 18.33 | 17.88 | 17.71 | 17.97 | 14.9 | 15.3
275 | 195.2 | 151.3 | 127.1 | 218.5 | 179.4 | 188 | 132.8 | 203.7 | 176.5 | 520.7 | 8547 | 9999.9 | 9999.9 | 825.6 | 109.1 | 151.7 | 96.19 | 80.66 | 80.16 | 54.63 | 69.6 | 54.79 | 64.96 | 43.02 | 45.78 | 43.24 | 31.88 | 35.8 | 39.2 | 38.73 | 32.81 | 29.73 | 28.26 | 35.92 | 24.57 | 29.83 | 23.04 | 21.88 | 17.88 | 23.69 | 28.3 | 19.83 | 19.26 | 13.8 | 16.78 | 17.84 | 14.51
280 | 130.6 | 199 | 124.8 | 122.2 | 124.5 | 137.4 | 139.2 | 156.1 | 222.8 | 163.2 | 736.3 | 9999.9 | 9999.9 | 9999.9 | 777.8 | 140.9 | 136.4 | 94.81 | 93.68 | 86.05 | 81.6 | 62.91 | 73.81 | 51.32 | 50.12 | 44.33 | 37.8 | 40.68 | 40.83 | 34.67 | 34.67 | 28.6 | 26.22 | 31.02 | 29.98 | 27.72 | 25.82 | 25.65 | 19.66 | 19.4 | 22.49 | 19.56 | 16.89 | 19.53 | 17.14 | 15.2 | 13.99
285 | 240.9 | 192.3 | 172.6 | 196.1 | 136.3 | 179.7 | 155.8 | 173.6 | 258.7 | 138.7 | 223.9 | 782.6 | 9999.9 | 9999.9 | 9999.9 | 1041 | 149.1 | 115.5 | 116.1 | 74.48 | 63.08 | 71.02 | 65.55 | 54.22 | 46.58 | 48.86 | 42.52 | 49.46 | 33.78 | 39.08 | 29.12 | 28.86 | 31.49 | 29.96 | 26.89 | 26.34 | 25.3 | 27.19 | 21.34 | 21.11 | 19.7 | 21.26 | 26.1 | 16.9 | 17.33 | 18.32 | 15.7
290 | 205.9 | 167.2 | 237.8 | 217.3 | 219.9 | 200.1 | 191.4 | 149.7 | 194.6 | 306.8 | 274 | 358 | 988.4 | 9999.9 | 9999.9 | 9999.9 | 1074 | 134 | 90.36 | 75.55 | 80.03 | 66.23 | 56.76 | 53.01 | 52.87 | 52.27 | 49.85 | 40.39 | 40.55 | 32.79 | 32.19 | 28.47 | 24.37 | 25.76 | 23 | 24.26 | 18.76 | 22.85 | 21.28 | 22.67 | 23.39 | 17.67 | 22.13 | 21.37 | 13.54 | 15.83 | 12.04
295 | 217.1 | 240.4 | 253.1 | 256 | 243.4 | 140.9 | 160 | 205.2 | 250.2 | 280.1 | 435.9 | 539.5 | 683.8 | 1317 | 9999.9 | 9999.9 | 9999.9 | 1052 | 151.3 | 97.44 | 97.36 | 81.25 | 73.75 | 57.01 | 43.69 | 37.97 | 35.75 | 39.93 | 35.95 | 37.78 | 36.68 | 28.65 | 25.64 | 21.87 | 28.6 | 25.93 | 23.6 | 23.01 | 24.68 | 27.7 | 20.95 | 19.47 | 20.66 | 15.85 | 19.1 | 16.93 | 18.28
300 | 201.8 | 264.1 | 266.7 | 297.4 | 238.1 | 176.2 | 158 | 229.1 | 259.1 | 385.9 | 640.8 | 927.3 | 964.2 | 1047 | 1468 | 9999.9 | 9999.9 | 9999.9 | 1078 | 142.2 | 115.2 | 95.82 | 60.51 | 68.45 | 56.97 | 51.61 | 44.29 | 48.42 | 37.82 | 33.92 | 35.78 | 31.91 | 31.63 | 19.83 | 25.32 | 17.07 | 28.14 | 24.12 | 21.99 | 24.99 | 20.94 | 18.23 | 22.36 | 17.26 | 17.86 | 19.27 | 16.78
305 | 172.7 | 311.7 | 346.2 | 315.4 | 315.8 | 186.2 | 235.4 | 322.1 | 324.4 | 447.4 | 870.4 | 1171 | 1512 | 1558 | 1252 | 1376 | 9999.9 | 9999.9 | 9999.9 | 1009 | 112.5 | 100.6 | 80.81 | 63.63 | 55.15 | 48.12 | 52.87 | 44.49 | 36.05 | 37.81 | 43.56 | 34.81 | 30.41 | 34.76 | 28.19 | 21.4 | 22.71 | 24 | 27.48 | 22.74 | 25.18 | 19.63 | 19.94 | 17.3 | 13.09 | 21.55 | 13.49
310 | 240.1 | 326.6 | 420.5 | 324.5 | 293.4 | 194.4 | 275.3 | 245.9 | 351.1 | 600.6 | 983.9 | 1491 | 1941 | 2100 | 1763 | 1125 | 1177 | 9999.9 | 9999.9 | 9999.9 | 997.9 | 91.37 | 92.43 | 92.51 | 66.48 | 54.9 | 49.13 | 39.06 | 36.79 | 44.57 | 37.68 | 32.33 | 30.59 | 30.36 | 24.64 | 21.59 | 20.81 | 21.49 | 19.94 | 18.25 | 20.78 | 24.91 | 22.34 | 19.11 | 15.62 | 19.06 | 14.74
315 | 301.3 | 304.7 | 416 | 386 | 441 | 332.5 | 267 | 342.3 | 506.9 | 822.3 | 1161 | 1666 | 2276 | 2520 | 2125 | 1459 | 806.2 | 989.6 | 9999.9 | 9999.9 | 9999.9 | 1007 | 121.3 | 101.3 | 83.81 | 59.92 | 49.7 | 57.61 | 47.49 | 51.89 | 38.86 | 41.02 | 37.13 | 28.81 | 26.47 | 23.04 | 24.56 | 19.79 | 24.28 | 13.19 | 21.39 | 21.4 | 20.53 | 22.61 | 19.25 | 17.87 | 14.41
320 | 288 | 441.8 | 643.3 | 408.7 | 302.1 | 266.8 | 274 | 346.2 | 537.3 | 954.8 | 1422 | 1789 | 2476 | 2840 | 2680 | 1675 | 847.2 | 443.1 | 906.1 | 9999.9 | 9999.9 | 9999.9 | 923.6 | 106 | 78.96 | 67.44 | 62.41 | 53.46 | 45.3 | 44.88 | 41.72 | 35.31 | 35.3 | 36.47 | 29.09 | 23.74 | 21.15 | 19.38 | 15.86 | 23.82 | 19.9 | 18.12 | 21.37 | 21.47 | 20.5 | 19.33 | 14.13
325 | 277.6 | 370.7 | 604.7 | 434 | 386.8 | 421.8 | 298.6 | 389.2 | 581.8 | 894.1 | 1307 | 2093 | 2720 | 3205 | 2941 | 2069 | 1001 | 436.6 | 292.5 | 843 | 9999.9 | 9999.9 | 9999.9 | 957.5 | 114.3 | 83.89 | 72.47 | 49.98 | 56.47 | 41.58 | 35.93 | 37.35 | 37.61 | 28.82 | 26.25 | 27.48 | 23.41 | 22.58 | 23.06 | 20.33 | 19.87 | 15.15 | 21.1 | 20.72 | 18.86 | 21.01 | 14.93
330 | 294 | 444.7 | 476.5 | 476.7 | 349.5 | 280.2 | 317 | 375.8 | 647.6 | 1123 | 1368 | 2321 | 2880 | 3274 | 3197 | 2181 | 1157 | 451.5 | 198.2 | 253.6 | 843 | 9999.9 | 9999.9 | 9999.9 | 828.1 | 100.9 | 77.07 | 81.8 | 61.89 | 49.23 | 42.44 | 34.46 | 31.76 | 32.84 | 29.62 | 25.44 | 19.73 | 21.46 | 19.1 | 21.21 | 16.47 | 21.56 | 15.17 | 19.69 | 17.04 | 19.64 | 19.75
335 | 262.2 | 385.3 | 490.6 | 543.6 | 394.3 | 345.1 | 334.6 | 446.5 | 616.4 | 1023 | 1461 | 2261 | 3128 | 3515 | 3039 | 2156 | 1280 | 543.5 | 228.8 | 162.6 | 177.9 | 807.9 | 9999.9 | 9999.9 | 9999.9 | 842.1 | 95.12 | 86.13 | 62.35 | 52.58 | 47.79 | 34.14 | 34.27 | 30.68 | 26.55 | 27.11 | 25.51 | 23.12 | 26.7 | 23.6 | 19.41 | 18.33 | 16.24 | 15.17 | 20.85 | 19.29 | 17.5
340 | 295.4 | 452.6 | 398.3 | 470.5 | 370 | 295.9 | 280.3 | 393.7 | 718.5 | 917.9 | 1420 | 2090 | 2714 | 2997 | 2863 | 1934 | 1171 | 706 | 305.7 | 172.4 | 147.6 | 187.3 | 805.8 | 9999.9 | 9999.9 | 9999.9 | 840.7 | 88.07 | 78.54 | 59.53 | 46.7 | 39.69 | 37.4 | 36.8 | 26.07 | 29.3 | 21.72 | 24.21 | 23.53 | 16.38 | 19.71 | 21.92 | 16.61 | 14.81 | 17.57 | 15.56 | 16.74
345 | 251.3 | 379.9 | 425.6 | 470.2 | 409.8 | 267.5 | 297.9 | 330 | 553.4 | 952.3 | 1503 | 1922 | 2639 | 2774 | 2716 | 1961 | 985 | 615.7 | 388.5 | 169.4 | 123.1 | 99.73 | 177.8 | 779.6 | 9999.9 | 9999.9 | 9999.9 | 765.2 | 87.02 | 76.83 | 62.67 | 49.21 | 39.93 | 32.25 | 30.99 | 25.13 | 21.94 | 23.71 | 21.54 | 17.94 | 18.93 | 19.4 | 17.77 | 15.15 | 16.37 | 14.05 | 15.71
350 | 236.8 | 417.2 | 372.6 | 427.6 | 286.8 | 304 | 261.2 | 335.8 | 553.6 | 807.3 | 1147 | 1752 | 2364 | 2473 | 2458 | 1632 | 841.9 | 450 | 359.2 | 287.2 | 122.4 | 106.7 | 116.8 | 151.9 | 792.9 | 9999.9 | 9999.9 | 9999.9 | 700.2 | 92.11 | 72.29 | 52.53 | 52.83 | 35.95 | 30.76 | 31.94 | 26.16 | 28.5 | 21.85 | 21.2 | 21.54 | 20.05 | 17.93 | 20.99 | 16.34 | 19.29 | 16.4
355 | 289.8 | 303.2 | 330 | 346.5 | 328.5 | 276.7 | 277.4 | 337.3 | 542.1 | 727.5 | 997.6 | 1512 | 2077 | 2078 | 2211 | 1339 | 802.7 | 438 | 245.7 | 333.4 | 246.8 | 115.2 | 94.38 | 110.4 | 155.2 | 791.9 | 9999.9 | 9999.9 | 9999.9 | 669.2 | 94.42 | 70.49 | 51.91 | 45.55 | 29.38 | 34.51 | 27.62 | 24.73 | 25.75 | 17.19 | 21.93 | 20.09 | 17.3 | 17.05 | 16.22 | 17.95 | 14.81
360 | 200.8 | 270.6 | 319.7 | 315.5 | 282.3 | 268.6 | 283.1 | 302 | 476 | 586.4 | 887.8 | 1206 | 1593 | 1791 | 1814 | 1362 | 655.8 | 336.4 | 202.1 | 207.9 | 322.9 | 176.1 | 107.2 | 109.6 | 90.59 | 146.2 | 775.4 | 9999.9 | 9999.9 | 9999.9 | 591.3 | 86.65 | 71.92 | 50.9 | 38.75 | 31.85 | 31.07 | 32.3 | 21.53 | 22.3 | 21.59 | 21.11 | 18.68 | 19.39 | 22.34 | 16.02 | 14.62
365 | 181.9 | 278.7 | 353.2 | 317.3 | 268.3 | 195.1 | 201.4 | 242.6 | 406.3 | 641.1 | 750.8 | 1078 | 1558 | 1613 | 1407 | 1015 | 593.9 | 309.4 | 172 | 149 | 200 | 274.5 | 157.4 | 97.65 | 90.12 | 113.9 | 150.4 | 776.8 | 9999.9 | 9999.9 | 9999.9 | 570.9 | 80.62 | 58.47 | 44.43 | 36.83 | 23.38 | 28.5 | 22.92 | 25.84 | 19.95 | 19.22 | 18.35 | 15.72 | 15.9 | 15.6 | 15.3
370 | 209.1 | 261 | 286.2 | 303.2 | 210.4 | 227.8 | 245.9 | 245.1 | 306.5 | 477 | 646.4 | 992.4 | 1250 | 1396 | 1116 | 923.7 | 520 | 248.2 | 160.8 | 132 | 119.7 | 238.5 | 247.4 | 135.1 | 93.72 | 88.93 | 91.28 | 142.5 | 793.4 | 9999.9 | 9999.9 | 9999.9 | 508.7 | 66.54 | 60.15 | 35.07 | 25.3 | 31.78 | 25.58 | 22.98 | 17.71 | 18.46 | 20.08 | 17.17 | 20.14 | 14.76 | 14.82
375 | 233.4 | 252.5 | 364 | 325.3 | 210.1 | 262.2 | 219.2 | 200.6 | 313 | 389.4 | 568.6 | 808.9 | 1069 | 1109 | 1051 | 964.5 | 433.9 | 271.1 | 148.6 | 146.4 | 128.1 | 157.3 | 249.8 | 262.3 | 114.4 | 93.19 | 90.65 | 78.2 | 145.7 | 774.4 | 9999.9 | 9999.9 | 9999.9 | 498.2 | 72.66 | 58.14 | 41.87 | 33.05 | 27.07 | 25.78 | 18.36 | 20.94 | 18.66 | 18.8 | 19.07 | 10.85 | 15.98
380 | 189.1 | 215.8 | 263.8 | 284.7 | 296.6 | 272.8 | 184.7 | 232.9 | 303.4 | 336.1 | 487.1 | 582 | 781.6 | 962.2 | 967.6 | 637.4 | 425.8 | 223.2 | 172.6 | 115.9 | 117.5 | 114.5 | 140.5 | 241.9 | 169.6 | 95.34 | 79.65 | 79.48 | 84.11 | 130.6 | 773.6 | 9999.9 | 9999.9 | 9999.9 | 472.1 | 70.89 | 52.33 | 33.23 | 35.88 | 28.22 | 27.29 | 19.28 | 21.94 | 21.71 | 19.22 | 14.84 | 13.7
385 | 233.2 | 278.3 | 261.6 | 221.6 | 217.8 | 177.6 | 186.1 | 234.7 | 240 | 323.1 | 447 | 538.3 | 547.7 | 773.4 | 710.6 | 572.4 | 316.4 | 190.2 | 168.9 | 147.2 | 126.3 | 130.5 | 129.6 | 142 | 226.7 | 152 | 79.24 | 81.96 | 72.62 | 87.34 | 131.2 | 789.1 | 9999.9 | 9999.9 | 9999.9 | 389 | 69.04 | 56.34 | 36.78 | 28.14 | 28.26 | 19.24 | 25.7 | 21.15 | 16.71 | 16.64 | 12.64
390 | 160 | 232 | 262.6 | 178.7 | 199.3 | 167.6 | 131.2 | 207.2 | 242.7 | 258 | 326 | 494.3 | 572.7 | 672.5 | 638.5 | 529.6 | 274.5 | 167.2 | 151.5 | 120.6 | 112.6 | 116.4 | 113.1 | 116.2 | 162.5 | 214.7 | 126.8 | 72.57 | 69.26 | 71.42 | 72.76 | 114.4 | 747.6 | 9999.9 | 9999.9 | 9999.9 | 408.9 | 62.6 | 50.44 | 31.46 | 29.44 | 23.88 | 19.95 | 19.5 | 20.91 | 15.92 | 14.63
395 | 181.1 | 185.1 | 238.7 | 211.6 | 229.6 | 155.2 | 169.5 | 187.2 | 307.4 | 203.9 | 283.6 | 373.5 | 527.7 | 523.9 | 474.8 | 425.6 | 256.9 | 208.8 | 154 | 92 | 116.2 | 110.9 | 112 | 101.3 | 95.13 | 173.5 | 189.3 | 99.35 | 72.27 | 76.01 | 72.49 | 83.54 | 118.6 | 761.2 | 9999.9 | 9999.9 | 9999.9 | 333.7 | 63.71 | 45.55 | 29.36 | 26.51 | 22.07 | 22.34 | 17.22 | 17.28 | 16.46
400 | 196.7 | 184.3 | 218.4 | 205.2 | 196.6 | 183.1 | 152.5 | 187 | 240.3 | 196.2 | 274.6 | 347.1 | 395.9 | 411.9 | 429.6 | 346.4 | 239 | 195.2 | 124.2 | 105.6 | 118.7 | 122.6 | 117.7 | 97.57 | 106.7 | 121 | 189.8 | 156.5 | 89.13 | 57.83 | 73.28 | 67.31 | 77.02 | 114.8 | 753.4 | 9999.9 | 9999.9 | 9999.9 | 299.3 | 58.19 | 45.29 | 30.03 | 24.84 | 22.17 | 16.26 | 18.24 | 16.18
405 | 177.9 | 187.5 | 210.6 | 167.6 | 180.6 | 234.4 | 182 | 114.6 | 204.1 | 225.8 | 267.2 | 275.4 | 336 | 410.9 | 395.4 | 313.2 | 246.1 | 230.2 | 138.1 | 129.6 | 122.5 | 129.1 | 119 | 88.62 | 92.91 | 103.5 | 132.6 | 183 | 132.2 | 71.27 | 78.34 | 62.03 | 51.39 | 62.09 | 111.2 | 716.7 | 9999.9 | 9999.9 | 9999.9 | 328.4 | 51.86 | 39.23 | 28.16 | 20.32 | 22.16 | 15.7 | 18.13
410 | 145 | 187.8 | 193.1 | 183.7 | 163.2 | 191.2 | 137.1 | 173 | 163.3 | 211.2 | 218.3 | 275 | 344.9 | 412.1 | 312.2 | 271.7 | 198.7 | 154.6 | 131.8 | 135.7 | 102.7 | 101.3 | 130.6 | 101.2 | 100.8 | 115.3 | 85.14 | 114 | 183.2 | 116.6 | 78.49 | 63.39 | 60.41 | 62.15 | 67.3 | 100.7 | 724.9 | 9999.9 | 9999.9 | 9999.9 | 269.6 | 55.06 | 35.85 | 26.79 | 22.35 | 17.58 | 15.56
415 | 200.4 | 186.8 | 209.7 | 171.4 | 200.9 | 190.5 | 126.7 | 175.3 | 165.6 | 133.6 | 240 | 230.7 | 212.1 | 275.7 | 284.8 | 261.1 | 183.5 | 154.4 | 138.3 | 119.7 | 100.3 | 131 | 128.9 | 101 | 114.7 | 95.4 | 97.92 | 91.92 | 148.8 | 202.6 | 98.27 | 71.13 | 65.75 | 69.49 | 61.47 | 59.67 | 112.8 | 734.2 | 9999.9 | 9999.9 | 9999.9 | 266.3 | 50.45 | 35.8 | 23.18 | 20.62 | 19.94
420 | 186.3 | 176.6 | 181.7 | 178.6 | 222.2 | 137.3 | 170.5 | 159.9 | 160.5 | 196.6 | 187.2 | 219.6 | 259.1 | 246.7 | 265.2 | 199.1 | 161 | 147.9 | 143.2 | 123.4 | 109.1 | 106.2 | 111.9 | 115.5 | 116.9 | 103.4 | 96.67 | 96.3 | 105.2 | 176.1 | 146.8 | 85.63 | 72.36 | 60.18 | 66.64 | 62.41 | 65.94 | 110.8 | 742.2 | 9999.9 | 9999.9 | 9999.9 | 242.3 | 48.86 | 37 | 28.47 | 18.87
425 | 176.3 | 188.6 | 205.5 | 219.3 | 241.3 | 189.6 | 195.3 | 167.8 | 163.6 | 154 | 197.8 | 181.9 | 221.3 | 214.5 | 261.2 | 195.9 | 184.7 | 151.1 | 153 | 119.7 | 135.1 | 113.3 | 147.6 | 108.8 | 113.8 | 117.5 | 96.64 | 90.88 | 105.1 | 115 | 174.4 | 135 | 73.86 | 72.94 | 83.53 | 80.52 | 78.7 | 76.53 | 132.4 | 746.6 | 9999.9 | 9999.9 | 9999.9 | 232.3 | 44.89 | 32.43 | 24.36
430 | 237.2 | 161.5 | 199.1 | 212.2 | 157.3 | 180.4 | 210.9 | 151.3 | 164.7 | 134.4 | 186.9 | 222.3 | 247.1 | 229.3 | 209.2 | 222.9 | 156.7 | 147.4 | 109.3 | 132.5 | 138.5 | 137.9 | 115.4 | 109.5 | 107.9 | 100.6 | 107.9 | 92.27 | 107.9 | 97.42 | 157.8 | 183 | 139.2 | 102 | 109.7 | 100.3 | 105.9 | 101.5 | 102.5 | 155.6 | 748.9 | 9999.9 | 9999.9 | 9999.9 | 223.8 | 42.13 | 32.83
435 | 449.7 | 162 | 183.4 | 210.7 | 203.2 | 242.7 | 174 | 148.8 | 213.2 | 147.7 | 169.9 | 194.6 | 206.4 | 208.1 | 159.2 | 177.9 | 140.2 | 144.2 | 153.4 | 105.5 | 117.4 | 120 | 125.2 | 145.4 | 127.6 | 126.8 | 91.87 | 109.1 | 122.4 | 118.7 | 113.3 | 161.8 | 190.7 | 173.3 | 127.3 | 134.8 | 142.4 | 130.8 | 136.6 | 115.8 | 149.7 | 762.5 | 9999.9 | 9999.9 | 9999.9 | 196.2 | 44.66
440 | 477.2 | 362.6 | 178.1 | 168.5 | 178.6 | 152.3 | 186.8 | 134.4 | 209.8 | 147.3 | 164.5 | 181.4 | 185.9 | 196.4 | 189.3 | 177.8 | 183.2 | 144 | 130.4 | 148.1 | 120.9 | 138.2 | 118 | 124 | 112 | 117.5 | 119.4 | 118.9 | 121.9 | 132.5 | 145.9 | 148.4 | 202.8 | 196.8 | 174.2 | 174.2 | 168.2 | 166.5 | 168 | 137.1 | 124.5 | 138.4 | 744.7 | 9999.9 | 9999.9 | 9999.9 | 168.1
445 | 300.6 | 563.9 | 223.6 | 161.9 | 173.5 | 171.2 | 180.4 | 162.9 | 185.9 | 184.9 | 168.7 | 213.1 | 180.9 | 202.2 | 190.7 | 165 | 144.6 | 147.4 | 122.8 | 131.4 | 108.3 | 141.5 | 132.8 | 117.3 | 116.2 | 124.2 | 120.1 | 126.3 | 122.7 | 133.1 | 137.4 | 164.5 | 176.7 | 226.7 | 227.9 | 200.4 | 225.6 | 193.8 | 193.4 | 159.6 | 130.9 | 106.6 | 124.1 | 717.8 | 9999.9 | 9999.9 | 9999.9
450 | 204.4 | 900.7 | 503.6 | 174.2 | 196.8 | 166.5 | 136.3 | 176.2 | 162 | 177.2 | 189.8 | 225.8 | 198.7 | 234.4 | 223.7 | 151.7 | 158.8 | 122.9 | 140.7 | 135 | 134.1 | 128 | 117.8 | 106.8 | 123.2 | 108.4 | 128.1 | 127.3 | 138.5 | 141.5 | 140.4 | 180.9 | 187.1 | 223.7 | 262.7 | 229.8 | 223.3 | 201.3 | 207.7 | 190.2 | 140 | 98.71 | 81.05 | 103.2 | 720.4 | 9999.9 | 9999.9
455 | 161.4 | 616.7 | 1133 | 233.9 | 175 | 184 | 151.1 | 145.8 | 183.8 | 180.5 | 206.9 | 199.1 | 200.4 | 199.2 | 174.2 | 161.1 | 180.2 | 154 | 127.1 | 130.4 | 123.5 | 126.6 | 114.9 | 113.3 | 125.6 | 108.2 | 107.5 | 133.1 | 138 | 145.6 | 168.6 | 178.6 | 211.7 | 225.5 | 259.7 | 276.3 | 263.2 | 240.9 | 222.6 | 204.6 | 159 | 118.4 | 72.43 | 58.53 | 96.57 | 710.3 | 9999.9
460 | 166.1 | 265.1 | 1320 | 700.3 | 190.3 | 218 | 200 | 165 | 157.7 | 175.9 | 238.5 | 208.2 | 225.9 | 213.5 | 189.4 | 175.9 | 139.1 | 220.3 | 139.9 | 126 | 124.2 | 116.2 | 141 | 137.9 | 122.2 | 111.1 | 108.4 | 115.2 | 133 | 142.8 | 182.3 | 171.5 | 209.7 | 227.5 | 228.3 | 289.9 | 260.6 | 239.3 | 215.6 | 196.4 | 165.7 | 106.8 | 76.62 | 40.3 | 46.21 | 79.18 | 701.5
465 | 212.1 | 195.5 | 887.2 | 1678 | 227.2 | 186.9 | 182.1 | 163.4 | 194.8 | 198.8 | 187.5 | 186.4 | 207 | 232.7 | 201.3 | 167.4 | 161.2 | 152.1 | 116.6 | 128.1 | 114.6 | 114.5 | 139.4 | 129.9 | 106.2 | 124.3 | 124.8 | 130.4 | 139.3 | 147.1 | 163.6 | 163.8 | 197.5 | 216.9 | 231.1 | 241 | 286.2 | 267.7 | 226 | 197.8 | 168.9 | 118.8 | 79.94 | 50.83 | 45.59 | 38.63 | 76.25
470 | 191.8 | 184.9 | 370.3 | 2152 | 779.7 | 188.1 | 157.5 | 162.8 | 211.6 | 166.8 | 200.7 | 251.2 | 159.4 | 221.3 | 193 | 164.6 | 154.4 | 134.2 | 118.8 | 103 | 129.7 | 163.5 | 125.4 | 100.6 | 118.7 | 108.5 | 122.7 | 125 | 141.3 | 155.6 | 158.1 | 162 | 178.9 | 208.4 | 236.7 | 231.5 | 254.1 | 266.1 | 250.7 | 196.4 | 164.6 | 105.1 | 72.07 | 50.84 | 32.78 | 32.84 | 31.41
475 | 214.9 | 163.1 | 263.3 | 1323 | 2150 | 290.2 | 182.6 | 164.8 | 165.6 | 162.7 | 181.8 | 191.1 | 192.5 | 189.1 | 158.3 | 146.7 | 152.2 | 148 | 115.8 | 128.2 | 113.5 | 111.1 | 107.8 | 103.5 | 109.6 | 117.2 | 105.7 | 105.2 | 116.7 | 131.3 | 162.7 | 167.2 | 190.4 | 207.3 | 188.6 | 215.2 | 209.1 | 239.2 | 236.3 | 183.5 | 151.8 | 94.48 | 70.38 | 45.43 | 30.38 | 30.75 | 26.25
480 | 187.5 | 195.6 | 235.2 | 378.4 | 3097 | 1019 | 165.8 | 145 | 142.2 | 174.7 | 189.3 | 153.3 | 142.9 | 168.8 | 119.1 | 145.8 | 143.8 | 139.3 | 113.5 | 107.3 | 103.9 | 124.7 | 99.68 | 108.6 | 121.5 | 101.2 | 112.4 | 112.2 | 99.8 | 125.2 | 148.3 | 157.7 | 177.2 | 194.5 | 190.2 | 194 | 193.1 | 213 | 245.3 | 203.6 | 151.2 | 108.4 | 64.94 | 43.24 | 28.08 | 27.09 | 21.58
485 | 154.7 | 163.9 | 161.7 | 272.2 | 2048 | 2570 | 293.2 | 172.9 | 149.3 | 196.4 | 138.5 | 156 | 157.8 | 149.2 | 165 | 145.5 | 128.6 | 120.6 | 105.8 | 127.3 | 109.2 | 94.01 | 104.7 | 91.64 | 106.4 | 95.87 | 93.62 | 104.9 | 126.5 | 110.8 | 144.1 | 137.6 | 158.5 | 195 | 188.5 | 193.5 | 186.4 | 190.1 | 188.1 | 203 | 143.3 | 89.25 | 62.11 | 39.66 | 33.98 | 24.55 | 19.49
490 | 178.2 | 163.5 | 183.4 | 199.4 | 497.2 | 3725 | 1205 | 142.8 | 164.2 | 182.5 | 105.2 | 169 | 140.4 | 165.8 | 178.3 | 132.7 | 118.4 | 114.2 | 120.2 | 110.9 | 123.6 | 118.2 | 99.57 | 83.68 | 97.21 | 94.11 | 86.22 | 77.32 | 105.6 | 110.2 | 128 | 133.4 | 146.1 | 170.8 | 180.1 | 179.6 | 172.3 | 195.4 | 169.9 | 167.8 | 148.5 | 81.17 | 55.8 | 38.89 | 27.8 | 26.21 | 20.38
495 | 153.1 | 187.7 | 195.6 | 197 | 179.7 | 2187 | 3048 | 269.4 | 164.4 | 131.6 | 133.9 | 153.1 | 163.1 | 154.9 | 188.9 | 124.4 | 134.1 | 137.3 | 111.6 | 104.6 | 79.23 | 97.61 | 113.1 | 85.48 | 94.14 | 91.34 | 77.33 | 88.02 | 92.66 | 99.61 | 119.9 | 123.8 | 130.7 | 155.4 | 174 | 160.4 | 166.5 | 159.6 | 158.1 | 145.6 | 129.1 | 103.1 | 54.77 | 41.37 | 26.58 | 21.04 | 21.41
500 | 138.1 | 181.5 | 195.6 | 177.1 | 146.1 | 611.4 | 3567 | 948 | 142.6 | 186.7 | 158 | 184.6 | 135.1 | 166.4 | 131.8 | 124.5 | 133.6 | 118.4 | 107.8 | 110.4 | 87.09 | 80.78 | 93.93 | 86.29 | 91.94 | 75.72 | 82.58 | 84.31 | 79.94 | 91.69 | 108.5 | 127.9 | 132.9 | 133.9 | 151.9 | 149.1 | 144.9 | 157.1 | 151.9 | 130.8 | 107.8 | 102.3 | 60.78 | 33.51 | 23.54 | 25.17 | 21.25