## Sheet1
Report date: | 15:13:04, 04/15/2024
Sample: | 1
File name:
Run date: | 15:10:19, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/260.0 | 213.1
2 | 225.0/275.0 | 189.6
3 | 225.0/325.0 | 451
4 | 225.0/375.0 | 268.7
5 | 225.0/405.0 | 238.9
6 | 230.0/315.0 | 467.6
7 | 230.0/335.0 | 565.5
8 | 230.0/385.0 | 290.4
9 | 230.0/395.0 | 293.6
10 | 230.0/410.0 | 244.4
11 | 235.0/320.0 | 497.7
12 | 235.0/345.0 | 493
13 | 235.0/360.0 | 383.7
14 | 235.0/400.0 | 240.1
15 | 235.0/420.0 | 235.4
16 | 235.0/430.0 | 216.8
17 | 240.0/260.0 | 210.2
18 | 240.0/285.0 | 190.7
19 | 240.0/375.0 | 284.2
20 | 240.0/395.0 | 201.7
21 | 240.0/410.0 | 196.6
22 | 240.0/435.0 | 208
23 | 245.0/350.0 | 321.7
24 | 245.0/365.0 | 279.6
25 | 245.0/390.0 | 223.5
26 | 245.0/405.0 | 246.1
27 | 245.0/450.0 | 210.5
28 | 250.0/430.0 | 233.8
29 | 255.0/445.0 | 228.3
30 | 260.0/285.0 | 225.3
31 | 260.0/420.0 | 181.5
32 | 260.0/440.0 | 220
33 | 260.0/450.0 | 205.9
34 | 260.0/465.0 | 179.8
35 | 265.0/430.0 | 213.2
36 | 265.0/475.0 | 213.8
37 | 270.0/440.0 | 215.4
38 | 270.0/470.0 | 217
39 | 275.0/430.0 | 227.7
40 | 275.0/445.0 | 281.8
41 | 275.0/460.0 | 245.7
42 | 275.0/475.0 | 213.1
43 | 280.0/420.0 | 290.1
44 | 280.0/440.0 | 223.7
45 | 280.0/465.0 | 239.5
46 | 280.0/480.0 | 202.5
47 | 280.0/495.0 | 200.3
48 | 285.0/325.0 | 3270
49 | 285.0/335.0 | 3173
50 | 285.0/450.0 | 267.7
51 | 290.0/330.0 | 3084
52 | 290.0/340.0 | 2987
53 | 290.0/425.0 | 269.6
54 | 290.0/455.0 | 224.7
55 | 290.0/465.0 | 268.4
56 | 295.0/440.0 | 217.7
57 | 295.0/480.0 | 196.7
58 | 300.0/270.0 | 125.1
59 | 300.0/455.0 | 177.4
60 | 300.0/485.0 | 171.3
61 | 305.0/435.0 | 201.9
62 | 305.0/450.0 | 188.4
63 | 305.0/460.0 | 191.2
64 | 310.0/255.0 | 106.8
65 | 310.0/415.0 | 182.2
66 | 315.0/355.0 | 360.3
67 | 320.0/260.0 | 91.27
68 | 320.0/360.0 | 337.2
69 | 320.0/440.0 | 159.2
70 | 320.0/450.0 | 164
71 | 320.0/465.0 | 165.9
72 | 320.0/475.0 | 150.9
73 | 320.0/495.0 | 132.5
74 | 325.0/365.0 | 289.9
75 | 325.0/405.0 | 140.2
76 | 325.0/420.0 | 149.1
77 | 325.0/460.0 | 155.4
78 | 325.0/485.0 | 149.1
79 | 330.0/370.0 | 269.8
80 | 330.0/435.0 | 138.5
81 | 330.0/445.0 | 154.5
82 | 335.0/380.0 | 270.2
83 | 335.0/440.0 | 154.5
84 | 335.0/455.0 | 150.4
85 | 335.0/465.0 | 148.7
86 | 335.0/490.0 | 124.8
87 | 340.0/275.0 | 54.06
88 | 340.0/385.0 | 279.3
89 | 340.0/410.0 | 115.8
90 | 340.0/450.0 | 158.3
91 | 345.0/265.0 | 51.86
92 | 345.0/280.0 | 49.94
93 | 345.0/390.0 | 269.9
94 | 345.0/430.0 | 121.6
95 | 345.0/445.0 | 144.7
96 | 345.0/455.0 | 136.7
97 | 345.0/475.0 | 137.8
98 | 350.0/305.0 | 56.88
99 | 350.0/400.0 | 214.1
100 | 350.0/450.0 | 151.3
101 | 355.0/280.0 | 50.49
102 | 355.0/295.0 | 46.73
103 | 355.0/405.0 | 184.1
104 | 355.0/485.0 | 141.5
105 | 360.0/255.0 | 43.94
106 | 360.0/275.0 | 48.06
107 | 360.0/305.0 | 51.76
108 | 360.0/325.0 | 61.99
109 | 360.0/410.0 | 194.2
110 | 365.0/260.0 | 46.64
111 | 365.0/280.0 | 41.06
112 | 365.0/300.0 | 50.23
113 | 365.0/415.0 | 188.8
114 | 370.0/275.0 | 37.68
115 | 370.0/425.0 | 188.1
116 | 375.0/260.0 | 36.86
117 | 375.0/285.0 | 39.13
118 | 375.0/300.0 | 45.09
119 | 375.0/310.0 | 40.41
120 | 375.0/325.0 | 43.44
121 | 375.0/430.0 | 203.6
122 | 380.0/290.0 | 32.81
123 | 380.0/320.0 | 39.42
124 | 385.0/270.0 | 39.61
125 | 385.0/295.0 | 31.15
126 | 385.0/410.0 | 72.04
127 | 385.0/445.0 | 295.9
128 | 390.0/305.0 | 28.93
129 | 390.0/320.0 | 31.37
130 | 390.0/450.0 | 337
131 | 395.0/280.0 | 32.33
132 | 400.0/255.0 | 32.08
133 | 400.0/290.0 | 29.22
134 | 400.0/335.0 | 28.73
135 | 400.0/465.0 | 362.9
136 | 405.0/260.0 | 27.56
137 | 405.0/270.0 | 28.06
138 | 405.0/340.0 | 27.84
139 | 405.0/355.0 | 31.34
140 | 405.0/470.0 | 351.9
141 | 415.0/260.0 | 25.13
142 | 415.0/280.0 | 22.78
143 | 415.0/290.0 | 29.71
144 | 415.0/305.0 | 24.99
145 | 415.0/340.0 | 22.64
146 | 415.0/365.0 | 25.3
147 | 420.0/265.0 | 22.99
148 | 420.0/300.0 | 25.22
149 | 420.0/335.0 | 23.42
150 | 425.0/365.0 | 22.85
151 | 430.0/270.0 | 21.9
152 | 430.0/280.0 | 21.05
153 | 430.0/315.0 | 22.91
154 | 435.0/285.0 | 21
155 | 435.0/325.0 | 23.84
156 | 435.0/345.0 | 18.79
157 | 435.0/365.0 | 18.67
158 | 440.0/265.0 | 19.35
159 | 440.0/300.0 | 23.45
160 | 445.0/365.0 | 19.06
161 | 445.0/400.0 | 21.14
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 206.6 | 144.6 | 206.7 | 205.7 | 172.3 | 3289 | 9999.9 | 3338 | 154.5 | 150.2 | 145.8 | 127.3 | 109.3 | 115.6 | 141.4 | 136.4 | 81.1 | 119.9 | 70.24 | 79.08 | 64.7 | 63.84 | 49.75 | 46.66 | 49 | 38.89 | 35.15 | 52.38 | 42.51 | 36.18 | 45.12 | 34.11 | 35.11 | 28.51 | 29.47 | 27.75 | 29.08 | 25.61 | 18.31 | 21.2 | 22.06 | 22.33 | 18.08 | 11.99 | 11.85 | 10.96 | 12.72
255 | 187.9 | 164.2 | 189 | 179.5 | 182.3 | 347.1 | 2749 | 9999.9 | 6347 | 329.9 | 156.3 | 127.3 | 124.4 | 123.2 | 128.2 | 121.1 | 95.28 | 87.57 | 106.8 | 77.29 | 63.26 | 61.84 | 58.75 | 57.5 | 49.66 | 42.81 | 45.66 | 28.58 | 43.94 | 38.28 | 44.95 | 34.59 | 32.74 | 30.02 | 25.94 | 27.57 | 32.08 | 23.46 | 21.35 | 23.53 | 18.45 | 19.59 | 14.31 | 13.51 | 17.44 | 13.62 | 11.83
260 | 172.4 | 213.1 | 165.1 | 201.6 | 210.2 | 170.2 | 291.7 | 3552 | 9999.9 | 9143 | 416.4 | 90.54 | 104.7 | 80.67 | 113.7 | 105.2 | 105.7 | 76.94 | 89.68 | 64.06 | 91.27 | 67.89 | 63.7 | 54.99 | 47.3 | 50.74 | 43.1 | 34.97 | 35.69 | 46.64 | 31.71 | 36.86 | 31.63 | 33.4 | 22.17 | 23.93 | 26.54 | 27.56 | 22.32 | 25.13 | 20.55 | 16.47 | 17.75 | 16.31 | 14.51 | 13.59 | 12.97
265 | 171.3 | 175.7 | 154.5 | 149.6 | 154.7 | 156.9 | 146.1 | 369.8 | 4586 | 9999.9 | 9999.9 | 496 | 142.5 | 105.7 | 112.4 | 88.71 | 107.4 | 111.8 | 91.86 | 74.7 | 86.53 | 62.6 | 55.17 | 41.5 | 39.21 | 51.86 | 45.58 | 39.77 | 37.83 | 36.62 | 30.25 | 29.88 | 29.27 | 37.73 | 30.95 | 24.59 | 26.57 | 23.64 | 23.28 | 19.76 | 22.99 | 17.12 | 21.16 | 12.97 | 19.35 | 13.94 | 17.49
270 | 176.5 | 158.6 | 157.8 | 143.2 | 134.1 | 134.8 | 147.3 | 199.1 | 443.2 | 5531 | 9999.9 | 9999.9 | 649.8 | 146.3 | 122.8 | 105.6 | 125.1 | 112.3 | 90.53 | 77.68 | 73.75 | 62.75 | 61.69 | 43.11 | 51.6 | 47.49 | 42.61 | 39.69 | 35.04 | 34.45 | 34.7 | 33.87 | 37.17 | 39.61 | 33.38 | 25.42 | 25.06 | 28.06 | 27.04 | 22.8 | 21.32 | 19.11 | 21.9 | 15.22 | 18.92 | 16.79 | 13.13
275 | 168.2 | 189.6 | 163.3 | 142.8 | 182.8 | 184.8 | 217.5 | 222.5 | 139.1 | 469.5 | 7568 | 9999.9 | 9999.9 | 777 | 144.4 | 122.7 | 113.9 | 90.77 | 98.75 | 90.59 | 81 | 66.21 | 69.73 | 41.34 | 54.06 | 39.07 | 39.61 | 44.62 | 48.06 | 34.07 | 37.68 | 31.35 | 26.8 | 32.08 | 32.57 | 30.49 | 23.56 | 22.81 | 24.95 | 21.5 | 22.95 | 19.5 | 17.83 | 15.52 | 16.95 | 13.95 | 13.27
280 | 95.91 | 118.1 | 161.8 | 131 | 172.1 | 154.7 | 157.5 | 197.1 | 174.1 | 156.9 | 634.5 | 9999.9 | 9999.9 | 9999.9 | 896.5 | 128.9 | 122.1 | 104 | 105.7 | 81.46 | 74.5 | 61.08 | 60.33 | 51.64 | 46.25 | 49.94 | 44.7 | 50.49 | 33.41 | 41.06 | 35.19 | 36.26 | 22.05 | 28.53 | 30.58 | 32.33 | 28.85 | 25.57 | 20.79 | 22.78 | 19.09 | 20.62 | 21.05 | 18.37 | 15.99 | 19.49 | 12.94
285 | 125.3 | 179.2 | 138.5 | 172.1 | 190.7 | 147.7 | 125.3 | 164.4 | 225.3 | 186.8 | 149.6 | 837.8 | 9999.9 | 9999.9 | 9999.9 | 992 | 129.1 | 127.7 | 115.9 | 71.86 | 65.25 | 71.03 | 61.1 | 56.74 | 43.96 | 48.38 | 42.19 | 46.18 | 44.26 | 30.92 | 30.93 | 39.13 | 31.37 | 26.84 | 23.44 | 26.13 | 24 | 26.98 | 18.55 | 21.47 | 21.64 | 21.27 | 18.68 | 21 | 18.65 | 18.12 | 12.97
290 | 144.7 | 200.5 | 234.8 | 208.4 | 179.5 | 168.8 | 175.5 | 184.5 | 193.6 | 289.9 | 276.4 | 366.3 | 1032 | 9999.9 | 9999.9 | 9999.9 | 936.3 | 125.3 | 119.4 | 115.1 | 83.36 | 82.78 | 62.35 | 63.13 | 60.87 | 47.59 | 44.02 | 42.23 | 33.83 | 33.07 | 25.28 | 29.5 | 32.81 | 26.93 | 24.86 | 24.15 | 29.22 | 27.61 | 29.16 | 29.71 | 23.06 | 17.88 | 18.27 | 20.95 | 18.47 | 16.63 | 15.21
295 | 223.8 | 248.5 | 248.6 | 244.8 | 211 | 162.2 | 141.9 | 168.7 | 184.5 | 341.1 | 510.5 | 497.3 | 648.3 | 1264 | 9999.9 | 9999.9 | 9999.9 | 1124 | 141.1 | 105.4 | 77.79 | 69.73 | 76.84 | 64.78 | 60.39 | 58.06 | 36.21 | 46.73 | 34.69 | 40.86 | 31.53 | 28.34 | 30.36 | 31.15 | 27.48 | 23.65 | 28.91 | 22.37 | 22.78 | 21.07 | 23.21 | 17.35 | 18.29 | 17.78 | 17.44 | 18.27 | 18.87
300 | 249 | 291.9 | 313.6 | 258.4 | 235.9 | 227.7 | 155.2 | 196 | 300.6 | 383.2 | 746.8 | 804.3 | 999.6 | 970.3 | 1485 | 9999.9 | 9999.9 | 9999.9 | 983 | 115.7 | 104.2 | 87.2 | 74.49 | 72.69 | 59.58 | 62.13 | 48.05 | 41.25 | 33.27 | 50.23 | 39.78 | 45.09 | 39.03 | 20.86 | 27.22 | 22.4 | 26.55 | 25.09 | 24.51 | 23.1 | 25.22 | 21.14 | 22.16 | 13.89 | 23.45 | 18.34 | 17.64
305 | 177.6 | 324.9 | 340.5 | 316.6 | 273.9 | 258 | 200.1 | 270.8 | 415.4 | 524.6 | 819 | 1104 | 1398 | 1443 | 1244 | 1400 | 9999.9 | 9999.9 | 9999.9 | 994.6 | 113.2 | 89.11 | 77.87 | 68.75 | 57.02 | 46.48 | 56.88 | 46.4 | 51.76 | 37.66 | 38.55 | 31.18 | 30.2 | 24.04 | 28.93 | 25.12 | 26.07 | 24.16 | 18.61 | 24.99 | 23.51 | 23.49 | 21 | 18.44 | 22.85 | 16.44 | 20.66
310 | 259.5 | 325.4 | 422.7 | 428.8 | 286.3 | 278.5 | 251.3 | 311.6 | 443.9 | 554.3 | 1003 | 1371 | 1965 | 2130 | 1768 | 1147 | 1223 | 9999.9 | 9999.9 | 9999.9 | 977 | 120.1 | 86.53 | 91.13 | 70.78 | 55.95 | 55.75 | 39.39 | 44.72 | 30.04 | 34.21 | 40.41 | 34.09 | 31.84 | 22.46 | 17.84 | 25.25 | 25.19 | 24.52 | 22.92 | 23.25 | 22.28 | 21.58 | 16.5 | 17.12 | 16.13 | 18.07
315 | 232.3 | 365.3 | 467.6 | 420.5 | 354.4 | 245.8 | 272.6 | 345.8 | 492.3 | 673.6 | 1114 | 1622 | 2099 | 2757 | 2181 | 1508 | 786.9 | 954.7 | 9999.9 | 9999.9 | 9999.9 | 1014 | 119.5 | 105 | 75.06 | 62 | 43.17 | 51.47 | 48.21 | 37.92 | 38.45 | 34.97 | 29.48 | 26.05 | 28.87 | 18.65 | 24.17 | 23.52 | 22.31 | 19.7 | 14.79 | 17.84 | 22.91 | 17.83 | 18.06 | 17.37 | 14.98
320 | 305.7 | 331.3 | 447.1 | 497.7 | 292.7 | 280.4 | 282.2 | 366.2 | 538.9 | 828.6 | 1528 | 2015 | 2338 | 2879 | 2900 | 1681 | 807 | 423 | 903.9 | 9999.9 | 9999.9 | 9999.9 | 923.6 | 103.7 | 81.55 | 77.03 | 57.5 | 53.29 | 40.28 | 37.25 | 37.95 | 32.74 | 39.42 | 26.14 | 31.37 | 25.46 | 23.69 | 21.52 | 22.02 | 19.54 | 19.06 | 16.55 | 20.58 | 19.85 | 17.27 | 17.32 | 13.56
325 | 269.1 | 451 | 443 | 448.9 | 316.1 | 299.5 | 279.2 | 491.7 | 655.7 | 901.9 | 1600 | 2224 | 2652 | 3270 | 2962 | 2041 | 1066 | 454.1 | 328.5 | 798.2 | 9999.9 | 9999.9 | 9999.9 | 943.3 | 114.5 | 79.7 | 63.81 | 51.02 | 61.99 | 37.4 | 42.76 | 43.44 | 30.08 | 25.89 | 30.55 | 27.85 | 23.1 | 22.4 | 22.78 | 19.35 | 18.61 | 16.37 | 19.12 | 23.84 | 23.55 | 18.62 | 16.97
330 | 314.4 | 341.7 | 516.3 | 418.2 | 397 | 278.7 | 310.1 | 449.3 | 608.2 | 1046 | 1494 | 2387 | 2951 | 3030 | 3084 | 2342 | 1107 | 517.2 | 276.5 | 229.7 | 815 | 9999.9 | 9999.9 | 9999.9 | 765.1 | 88.35 | 80.83 | 66.9 | 59.79 | 41.01 | 42.76 | 38.14 | 34.86 | 30.85 | 29.13 | 22.18 | 26.72 | 23.88 | 20.77 | 19.71 | 20.87 | 19.16 | 14.49 | 16.13 | 19.22 | 21.91 | 20.26
335 | 284.2 | 386.3 | 565.5 | 472.2 | 332.8 | 305.4 | 326.7 | 419.9 | 658.6 | 997.1 | 1600 | 2172 | 2769 | 3173 | 2863 | 2084 | 1129 | 603.2 | 273.3 | 192.5 | 171.6 | 830.1 | 9999.9 | 9999.9 | 9999.9 | 786.5 | 110.7 | 81.45 | 54.75 | 53.26 | 42.49 | 34.92 | 31 | 30.84 | 26.15 | 27.7 | 28.73 | 21.76 | 21.18 | 22.38 | 23.42 | 16.17 | 15.87 | 12.5 | 20.25 | 20.45 | 19.09
340 | 288.6 | 372.4 | 461.2 | 415.6 | 321.5 | 316.9 | 328.9 | 400 | 515.8 | 978.2 | 1499 | 2060 | 2903 | 2949 | 2987 | 2132 | 1151 | 670.8 | 271.6 | 177.2 | 135.1 | 166.1 | 798.4 | 9999.9 | 9999.9 | 9999.9 | 792.5 | 115.4 | 78.61 | 69.05 | 57.52 | 39.53 | 40.16 | 37.43 | 32.92 | 25.3 | 24.1 | 27.84 | 20.73 | 22.64 | 22.26 | 20.64 | 14.63 | 15.69 | 12.12 | 17 | 16.11
345 | 216 | 334.3 | 449.6 | 493 | 297.2 | 272.9 | 314.2 | 339.6 | 553 | 816.5 | 1342 | 1814 | 2436 | 2905 | 2536 | 1907 | 960.1 | 593.9 | 445.4 | 217.1 | 132.7 | 117.1 | 181.6 | 799.2 | 9999.9 | 9999.9 | 9999.9 | 712.7 | 110.4 | 80.25 | 68.96 | 42.2 | 34.62 | 33.54 | 33.15 | 31.74 | 26.51 | 23.03 | 21.35 | 20.98 | 19.41 | 18.24 | 17.21 | 18.79 | 16.13 | 19.22 | 16.85
350 | 242 | 344.5 | 403.5 | 375.1 | 281.4 | 321.7 | 291.5 | 344 | 554.9 | 790.6 | 1196 | 1701 | 2232 | 2330 | 2112 | 1692 | 800.2 | 450.5 | 396.5 | 311.5 | 153 | 109.7 | 119 | 171.4 | 785.8 | 9999.9 | 9999.9 | 9999.9 | 626.7 | 101 | 64.51 | 50.77 | 40.73 | 37.04 | 32.74 | 29.9 | 29.43 | 23.57 | 26.41 | 20.24 | 20.51 | 18.97 | 18.75 | 15.84 | 14.9 | 17.7 | 14.59
355 | 271.3 | 296.5 | 402.9 | 369.8 | 308.9 | 313 | 270.6 | 452.4 | 480.9 | 796.6 | 1165 | 1509 | 2003 | 2158 | 2202 | 1344 | 769.3 | 403.8 | 232.2 | 360.3 | 265.2 | 109.5 | 95.49 | 118.6 | 165.6 | 781.2 | 9999.9 | 9999.9 | 9999.9 | 665.4 | 97.25 | 71.85 | 52.06 | 46.51 | 40.32 | 29.44 | 26.66 | 31.34 | 27.73 | 23.22 | 18.88 | 20.43 | 19.98 | 17.89 | 15.19 | 15.65 | 15.88
360 | 220.9 | 252.8 | 380.9 | 383.7 | 320.7 | 202.8 | 233.5 | 298.6 | 402.7 | 654.3 | 823.3 | 1271 | 1699 | 1818 | 1800 | 1203 | 650.4 | 371.3 | 247.1 | 217.1 | 337.2 | 185.7 | 106.8 | 91.52 | 102.2 | 154 | 773.1 | 9999.9 | 9999.9 | 9999.9 | 607.3 | 80.32 | 67 | 52.12 | 42.82 | 29.6 | 27.86 | 29.13 | 27.42 | 23.83 | 23.6 | 21.18 | 20.78 | 17.8 | 17.99 | 15.56 | 13.87
365 | 243.6 | 269.5 | 309.6 | 225.8 | 273.4 | 279.6 | 245.5 | 319.5 | 352.4 | 548.8 | 741.3 | 1193 | 1408 | 1595 | 1687 | 1078 | 605.8 | 324.6 | 195 | 131.2 | 207.4 | 289.9 | 173.2 | 98.86 | 105.8 | 99.85 | 136.5 | 784.8 | 9999.9 | 9999.9 | 9999.9 | 559 | 86.61 | 60.43 | 48.9 | 35.64 | 33.27 | 33.28 | 18.15 | 25.3 | 20.35 | 22.85 | 17.16 | 18.67 | 16.35 | 19.06 | 13.58
370 | 220.5 | 240.9 | 315.5 | 275.7 | 234.5 | 197.2 | 237.8 | 254.2 | 300.3 | 446.5 | 640.1 | 935.4 | 1137 | 1313 | 1374 | 900.6 | 494.7 | 271.6 | 179.1 | 140.5 | 109.8 | 238.8 | 269.8 | 138.4 | 102.5 | 101.1 | 90.2 | 139.5 | 787.5 | 9999.9 | 9999.9 | 9999.9 | 503 | 88.76 | 61.02 | 41.07 | 34.15 | 30.95 | 24.79 | 23.34 | 20.92 | 18.63 | 17.29 | 17.05 | 17.65 | 15.77 | 17.4
375 | 200.3 | 268.7 | 255 | 247.8 | 284.2 | 238.8 | 185.4 | 251.7 | 288.2 | 406.9 | 593 | 762.7 | 1065 | 1083 | 1138 | 807.5 | 397.4 | 254.3 | 157.2 | 160.9 | 142.2 | 111.6 | 247.8 | 231 | 88.94 | 96.14 | 91.77 | 80.27 | 134.4 | 787.1 | 9999.9 | 9999.9 | 9999.9 | 527.7 | 79.81 | 52.57 | 41.8 | 36.38 | 30.82 | 22.12 | 20.01 | 20.94 | 22.52 | 19.97 | 16.57 | 14.86 | 14.32
380 | 203.8 | 196.6 | 255.4 | 262.5 | 184 | 216 | 194.8 | 211.7 | 234 | 311 | 472.8 | 637.8 | 861 | 884 | 954.2 | 647.1 | 389.1 | 247.2 | 168.9 | 147.2 | 138.7 | 127 | 129.3 | 270.2 | 194.2 | 109.3 | 83.88 | 89.48 | 89.69 | 146.3 | 781 | 9999.9 | 9999.9 | 9999.9 | 479.9 | 64.15 | 54.86 | 41.16 | 37.68 | 27.76 | 24.18 | 21.01 | 21.86 | 18.21 | 19 | 16.31 | 12.49
385 | 203.5 | 256.4 | 290.4 | 264.5 | 208 | 219.7 | 187.6 | 192.9 | 215.5 | 289.1 | 399.2 | 548.8 | 711.8 | 722.5 | 732.4 | 560.9 | 356 | 203.4 | 178.1 | 123.1 | 127.3 | 122.8 | 109.8 | 167.7 | 279.3 | 140.4 | 87.17 | 86.79 | 72.61 | 90.96 | 131.5 | 756.8 | 9999.9 | 9999.9 | 9999.9 | 399.9 | 65.35 | 55.41 | 36.2 | 28.95 | 28.01 | 23.51 | 22.86 | 21.16 | 14.89 | 15.34 | 14.02
390 | 169.6 | 197 | 224.9 | 207.9 | 172.5 | 223.5 | 192.7 | 176.3 | 218.8 | 278.5 | 368.9 | 485.6 | 603.8 | 605.9 | 567.3 | 548.7 | 275.4 | 191.3 | 196.3 | 122 | 131.2 | 124.6 | 101.1 | 105.4 | 158.6 | 269.9 | 134.7 | 81.68 | 69.74 | 79.84 | 86.44 | 135.2 | 746.9 | 9999.9 | 9999.9 | 9999.9 | 413.5 | 64.99 | 42.02 | 33.67 | 33.41 | 25.02 | 22.84 | 18.89 | 17.83 | 15.1 | 13.53
395 | 150.5 | 216.3 | 293.6 | 148.9 | 201.7 | 196.9 | 161.3 | 203.8 | 214.9 | 223.8 | 330.3 | 432.3 | 451.7 | 555.8 | 508.7 | 437.3 | 284.9 | 172.5 | 163.4 | 148.5 | 135.9 | 119.2 | 124.9 | 110.3 | 98.45 | 192.8 | 197.6 | 85.15 | 72.18 | 78.37 | 66.21 | 77.2 | 119.8 | 765.4 | 9999.9 | 9999.9 | 9999.9 | 337.6 | 56.48 | 45.7 | 40.41 | 35.82 | 21.45 | 20.9 | 20.23 | 16.4 | 17.24
400 | 201.5 | 238.5 | 205.9 | 240.1 | 182.4 | 201.3 | 173.2 | 186.3 | 177.2 | 221 | 304.1 | 343.5 | 394 | 461.5 | 409.5 | 316.4 | 237.5 | 171.2 | 134.2 | 151.2 | 120.8 | 118.3 | 115.8 | 114.1 | 94.26 | 110 | 214.1 | 164.3 | 77.46 | 68.33 | 68.74 | 65.95 | 74.81 | 111.9 | 738.3 | 9999.9 | 9999.9 | 9999.9 | 314.5 | 51.69 | 40.43 | 29.26 | 25.39 | 20.66 | 18.8 | 21.14 | 14.92
405 | 166.9 | 238.9 | 212.8 | 170.1 | 193.4 | 246.1 | 192 | 177.7 | 167.1 | 215 | 297.2 | 315.7 | 327.4 | 378 | 416 | 296.6 | 254.1 | 194.3 | 171.8 | 153 | 118.9 | 140.2 | 127.1 | 109.1 | 105.5 | 93.2 | 123.9 | 184.1 | 140.5 | 74.46 | 72.25 | 61.5 | 69.9 | 65.22 | 117.9 | 717 | 9999.9 | 9999.9 | 9999.9 | 334.9 | 53.46 | 42.19 | 32.13 | 23.16 | 20.49 | 17.55 | 15.42
410 | 183.3 | 218.3 | 244.4 | 169.3 | 196.6 | 182.6 | 150.7 | 169.4 | 155.6 | 204.6 | 214.5 | 309.8 | 319.9 | 337.7 | 320 | 292.9 | 205.4 | 196.4 | 170.5 | 160.9 | 133.1 | 126.6 | 112.7 | 110.5 | 115.8 | 97.66 | 100.3 | 139.8 | 194.2 | 96.17 | 75.11 | 68.12 | 57.42 | 72.04 | 62.15 | 104.7 | 738.3 | 9999.9 | 9999.9 | 9999.9 | 274 | 54.66 | 42.09 | 28.44 | 24.72 | 20.4 | 18.37
415 | 179.5 | 204.9 | 189.4 | 216.1 | 194.9 | 155.7 | 133.5 | 108.9 | 162.7 | 195.2 | 197.8 | 265 | 233.9 | 306 | 282.5 | 289.6 | 192.8 | 137.7 | 182.2 | 135 | 114.8 | 123.9 | 114.3 | 109.5 | 108.7 | 92.66 | 95.28 | 94.65 | 180.6 | 188.8 | 101.2 | 76.24 | 67.68 | 66.56 | 59.47 | 63.73 | 105.6 | 725.5 | 9999.9 | 9999.9 | 9999.9 | 266 | 51.68 | 36.59 | 28.96 | 22.81 | 15.89
420 | 197.4 | 172.9 | 163.1 | 235.4 | 170.5 | 186.6 | 129.8 | 164.3 | 181.5 | 135.5 | 231.3 | 257.5 | 290.1 | 233.1 | 236.9 | 237.2 | 195.4 | 147.7 | 156.5 | 155.1 | 125.2 | 149.1 | 102.8 | 125.5 | 115 | 105.3 | 110.3 | 94.64 | 107.4 | 187 | 172.7 | 100.2 | 72.95 | 72.12 | 63.95 | 64.19 | 74.17 | 122.3 | 739.1 | 9999.9 | 9999.9 | 9999.9 | 254.9 | 49.71 | 33.7 | 25.96 | 20.37
425 | 148.3 | 193.9 | 151 | 191.4 | 171.2 | 192.2 | 224.2 | 165.3 | 175.5 | 159.3 | 173.1 | 190.9 | 249.7 | 222.6 | 269.6 | 243.1 | 184.7 | 161.2 | 165.1 | 122.3 | 127.6 | 131.5 | 126.5 | 122.9 | 115 | 97.71 | 110.8 | 92.29 | 107 | 128.1 | 188.1 | 162 | 98.57 | 103.4 | 95.05 | 91.44 | 87.83 | 94.28 | 150.4 | 777.2 | 9999.9 | 9999.9 | 9999.9 | 229.8 | 49.97 | 34.71 | 25.63
430 | 301.9 | 146.5 | 216.6 | 216.8 | 180.1 | 189 | 233.8 | 206.1 | 156.4 | 213.2 | 176.3 | 227.7 | 197 | 221.8 | 231.2 | 186.4 | 183.4 | 160.4 | 142 | 123.4 | 115 | 129.2 | 124.4 | 135.4 | 112.9 | 121.6 | 111.8 | 122.5 | 103.5 | 113.1 | 151.9 | 203.6 | 139.8 | 132 | 140.7 | 127.6 | 121.1 | 140.2 | 138.9 | 166.9 | 770.5 | 9999.9 | 9999.9 | 9999.9 | 211.1 | 51.02 | 33.62
435 | 402.8 | 282.5 | 181 | 203.5 | 208 | 193.4 | 175.6 | 139.6 | 150.9 | 169.5 | 186.1 | 194.4 | 213.9 | 182.1 | 220.5 | 188.5 | 192.9 | 201.9 | 140.7 | 149.9 | 141.4 | 133.8 | 138.5 | 136 | 136.4 | 115.1 | 117.6 | 117 | 127.3 | 134.8 | 140.6 | 177.1 | 215.6 | 181.1 | 184.6 | 158.8 | 167.8 | 182.1 | 177.2 | 170.4 | 180 | 782.5 | 9999.9 | 9999.9 | 9999.9 | 197.8 | 39.1
440 | 379.5 | 302.6 | 174.8 | 225.6 | 180.1 | 141 | 178 | 182.6 | 220 | 164.5 | 215.4 | 199.7 | 223.7 | 194.5 | 204.5 | 217.7 | 175.4 | 164.4 | 140.9 | 150.3 | 159.2 | 124.3 | 124.5 | 154.5 | 124.9 | 115.5 | 123.6 | 139.3 | 141.8 | 163.6 | 171.5 | 188.5 | 243.9 | 253 | 218.2 | 223.7 | 219 | 218.5 | 223.5 | 208.4 | 159.9 | 164.9 | 769.8 | 9999.9 | 9999.9 | 9999.9 | 176.5
445 | 339.2 | 659.2 | 289 | 238.3 | 190.5 | 203.2 | 159.7 | 228.3 | 173.4 | 221.1 | 207.5 | 281.8 | 216.7 | 180.9 | 220.2 | 206.9 | 185.9 | 157.3 | 170.8 | 112.5 | 127 | 140.4 | 154.5 | 153 | 124.2 | 144.7 | 137.8 | 144.9 | 143.7 | 181.1 | 199.9 | 192.4 | 227.3 | 295.9 | 285.7 | 275.7 | 257.2 | 252.5 | 270.7 | 217 | 175.8 | 128.1 | 128.3 | 733.6 | 9999.9 | 9999.9 | 9999.9
450 | 149.4 | 779.3 | 445.8 | 174.8 | 207.4 | 210.5 | 188.1 | 162 | 205.9 | 171.8 | 211.2 | 237.6 | 234.6 | 267.7 | 223.6 | 185.9 | 161.9 | 188.4 | 130.5 | 151.7 | 164 | 154.8 | 138 | 117.5 | 158.3 | 126.1 | 151.3 | 128.2 | 148.1 | 190.2 | 196.5 | 211.3 | 236.8 | 294.8 | 337 | 305.7 | 284.7 | 312.5 | 291.6 | 245.4 | 199.1 | 150.2 | 93.24 | 110 | 720.5 | 9999.9 | 9999.9
455 | 167.3 | 465.8 | 1111 | 188 | 172.1 | 191.7 | 208.8 | 156.2 | 147.8 | 183.3 | 191.3 | 231.7 | 234 | 203.1 | 224.7 | 151.9 | 177.4 | 174.8 | 166.6 | 171.5 | 145.8 | 115.5 | 139.1 | 150.4 | 129.2 | 136.7 | 132.6 | 149.1 | 174.9 | 180.5 | 215.2 | 235 | 240.2 | 282.7 | 330.9 | 346.4 | 340.4 | 325.1 | 320.3 | 272.5 | 214.3 | 150.1 | 85.72 | 63.57 | 92.31 | 711.4 | 9999.9
460 | 174.7 | 249.3 | 1413 | 640.7 | 258.9 | 233.2 | 211.5 | 142.3 | 164.1 | 181 | 161.2 | 245.7 | 215.8 | 206.6 | 219.6 | 163.2 | 141.7 | 191.2 | 145.7 | 151.4 | 155 | 155.4 | 150.8 | 141.5 | 143 | 125.7 | 132.5 | 133.2 | 139.7 | 178.9 | 211.3 | 245.3 | 264.9 | 281.7 | 322.5 | 351.3 | 357.7 | 326.3 | 329.4 | 274.6 | 217 | 145.5 | 93.98 | 62.9 | 50.56 | 86.35 | 694.8
465 | 148 | 222.3 | 902.4 | 1704 | 276.2 | 185.1 | 176.8 | 177 | 179.8 | 170.2 | 177.9 | 215.7 | 239.5 | 179.4 | 268.4 | 192.3 | 187.1 | 159 | 141.9 | 145.8 | 165.9 | 142.3 | 138.7 | 148.7 | 143.8 | 126.9 | 138.9 | 143.8 | 162.4 | 177.7 | 207.5 | 229 | 246.4 | 285.4 | 304.2 | 307.7 | 362.9 | 342 | 315 | 264.5 | 217.7 | 154.6 | 93.19 | 57.14 | 45.8 | 43.43 | 79.34
470 | 210.1 | 195.5 | 368 | 2068 | 875.5 | 219.3 | 176.1 | 164.1 | 162.2 | 206.9 | 217 | 189.7 | 189.1 | 195 | 207.9 | 170.8 | 172.3 | 172.6 | 167.2 | 151.9 | 129.7 | 135 | 129.6 | 127.2 | 132.1 | 119.1 | 146.8 | 139.4 | 162.5 | 179.1 | 181.4 | 203.6 | 252.8 | 283.2 | 292.1 | 290.8 | 345.9 | 351.9 | 319.5 | 271.5 | 204 | 142.2 | 91.96 | 60.35 | 45.2 | 37.52 | 34.26
475 | 173.2 | 185.8 | 201.2 | 1280 | 2146 | 282.8 | 156.6 | 151 | 193.4 | 213.8 | 152.8 | 213.1 | 180.7 | 193 | 168.3 | 148.8 | 168.9 | 142.4 | 152.7 | 134.3 | 150.9 | 121.9 | 137.1 | 111.2 | 112.4 | 137.8 | 125.2 | 120.7 | 156.2 | 171.8 | 181.2 | 202 | 230.4 | 280.4 | 274.1 | 284.7 | 305.3 | 319.9 | 316.8 | 275.3 | 190.2 | 143.1 | 92.71 | 54.77 | 39.63 | 29.87 | 28.59
480 | 161.8 | 180.7 | 198 | 423.1 | 2628 | 1227 | 253 | 134.7 | 159.8 | 193 | 193.4 | 193.7 | 202.5 | 178.4 | 140.8 | 196.7 | 150.5 | 139.8 | 113.9 | 117.7 | 134.6 | 144.9 | 144.2 | 119.2 | 115 | 116.7 | 111.4 | 120.2 | 130.7 | 146.3 | 181.5 | 193.2 | 222.7 | 247 | 273.6 | 282 | 279 | 285.8 | 307.8 | 242.5 | 188 | 127 | 84.93 | 50.51 | 33.41 | 26.71 | 23.51
485 | 191.1 | 184.4 | 166.3 | 205.1 | 1578 | 2610 | 322.4 | 145.8 | 177.7 | 191.9 | 190 | 187.5 | 151.6 | 163.9 | 139.3 | 137.1 | 171.3 | 138.8 | 134.9 | 123 | 115.9 | 149.1 | 120.1 | 109.8 | 112.9 | 121 | 91.72 | 141.5 | 136.1 | 134.1 | 178.3 | 194.6 | 204.4 | 225.5 | 259.4 | 253.3 | 257.6 | 272.1 | 268.8 | 248.1 | 204.4 | 123.2 | 77.73 | 47.7 | 37.34 | 27.19 | 19.35
490 | 171.6 | 199.7 | 145.1 | 234.9 | 411.4 | 3645 | 1099 | 150.4 | 144.4 | 172.8 | 181.3 | 186.3 | 181.6 | 175.4 | 124.1 | 141.4 | 134.9 | 137.1 | 116.5 | 118.2 | 125.6 | 128.6 | 113.6 | 124.8 | 109.1 | 98.13 | 100.8 | 108.3 | 139.1 | 133.7 | 161.8 | 179.2 | 187.9 | 212.5 | 237.1 | 239.9 | 231.5 | 245.8 | 246.4 | 210.6 | 192.5 | 128.9 | 66.17 | 46.92 | 32.21 | 23.13 | 26.13
495 | 173.8 | 181.4 | 215.9 | 176.2 | 220.2 | 2154 | 2640 | 205.7 | 152.6 | 209 | 169.3 | 192.4 | 200.3 | 165.1 | 185.1 | 179.7 | 138.9 | 134 | 118.9 | 113.1 | 132.5 | 122.2 | 99.92 | 116.8 | 104.3 | 89.77 | 100.2 | 109.3 | 126.7 | 119.4 | 151.7 | 168.9 | 172.3 | 190 | 204.9 | 209.5 | 230.8 | 213.5 | 219.1 | 195.5 | 159.3 | 119 | 69.76 | 42.94 | 28.75 | 25.22 | 20.83
500 | 166.1 | 200.3 | 216.5 | 245.6 | 162.6 | 793 | 3539 | 771.3 | 144.9 | 196.1 | 169.5 | 209.4 | 143 | 188.8 | 159.6 | 133.7 | 144.8 | 115.2 | 131.2 | 131.2 | 104.4 | 111.9 | 113.4 | 110.3 | 97.28 | 93.71 | 82.83 | 97 | 105 | 122.7 | 147.5 | 143.8 | 156 | 183.5 | 193.8 | 196.1 | 193.5 | 193 | 183.2 | 170.8 | 144.1 | 114.4 | 79.09 | 45.65 | 28.42 | 28.33 | 22.08