## Sheet1
Report date: | 15:16:38, 04/15/2024
Sample: | 1
File name:
Run date: | 15:13:55, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/260.0 | 184.3
2 | 225.0/365.0 | 327.6
3 | 225.0/405.0 | 275.9
4 | 225.0/450.0 | 734.7
5 | 225.0/490.0 | 203.9
6 | 230.0/255.0 | 190.7
7 | 230.0/310.0 | 417.5
8 | 230.0/325.0 | 537.7
9 | 230.0/335.0 | 587.7
10 | 230.0/355.0 | 456.1
11 | 230.0/385.0 | 296.2
12 | 230.0/395.0 | 287.3
13 | 230.0/420.0 | 219.1
14 | 235.0/280.0 | 197.7
15 | 235.0/340.0 | 511.6
16 | 235.0/370.0 | 277.4
17 | 235.0/380.0 | 255.7
18 | 235.0/435.0 | 235.1
19 | 240.0/375.0 | 285.3
20 | 240.0/390.0 | 226
21 | 240.0/415.0 | 245.9
22 | 245.0/265.0 | 226
23 | 245.0/285.0 | 206.4
24 | 245.0/400.0 | 230.9
25 | 245.0/410.0 | 236.4
26 | 245.0/435.0 | 192.4
27 | 245.0/455.0 | 256.3
28 | 250.0/310.0 | 301
29 | 250.0/420.0 | 202.7
30 | 250.0/450.0 | 191.2
31 | 255.0/425.0 | 205.3
32 | 255.0/435.0 | 196
33 | 260.0/285.0 | 274.4
34 | 260.0/405.0 | 241.4
35 | 260.0/440.0 | 177.6
36 | 260.0/450.0 | 201.8
37 | 260.0/470.0 | 188
38 | 265.0/410.0 | 223.5
39 | 265.0/465.0 | 200.6
40 | 265.0/475.0 | 190.5
41 | 270.0/430.0 | 217.4
42 | 270.0/460.0 | 198.5
43 | 270.0/480.0 | 199.6
44 | 270.0/490.0 | 206.6
45 | 280.0/440.0 | 265.2
46 | 280.0/470.0 | 234.4
47 | 285.0/260.0 | 140
48 | 285.0/330.0 | 3291
49 | 285.0/420.0 | 308.6
50 | 285.0/435.0 | 272.9
51 | 285.0/475.0 | 188.3
52 | 285.0/495.0 | 172.2
53 | 290.0/265.0 | 140.8
54 | 290.0/325.0 | 3256
55 | 290.0/450.0 | 244.3
56 | 290.0/465.0 | 209.8
57 | 290.0/480.0 | 199.7
58 | 295.0/460.0 | 224.9
59 | 300.0/265.0 | 104.6
60 | 300.0/490.0 | 151.9
61 | 305.0/260.0 | 112.4
62 | 305.0/455.0 | 163.7
63 | 310.0/255.0 | 119
64 | 310.0/270.0 | 118.8
65 | 310.0/485.0 | 159.5
66 | 320.0/275.0 | 98.28
67 | 320.0/360.0 | 292.9
68 | 320.0/425.0 | 163.3
69 | 320.0/445.0 | 152.9
70 | 320.0/470.0 | 147.5
71 | 320.0/480.0 | 137.8
72 | 325.0/285.0 | 107.3
73 | 325.0/365.0 | 267.3
74 | 325.0/415.0 | 141.6
75 | 325.0/450.0 | 138.8
76 | 330.0/375.0 | 301.9
77 | 330.0/400.0 | 141.4
78 | 330.0/430.0 | 146.1
79 | 330.0/455.0 | 132.8
80 | 335.0/380.0 | 283.4
81 | 335.0/395.0 | 131.3
82 | 335.0/405.0 | 121.8
83 | 335.0/425.0 | 163.7
84 | 335.0/460.0 | 138.8
85 | 335.0/470.0 | 127.7
86 | 340.0/280.0 | 68.27
87 | 340.0/295.0 | 65.64
88 | 340.0/385.0 | 291.8
89 | 340.0/415.0 | 123.7
90 | 340.0/445.0 | 131.7
91 | 340.0/475.0 | 122.9
92 | 340.0/495.0 | 101.8
93 | 345.0/275.0 | 57.04
94 | 345.0/290.0 | 64.11
95 | 345.0/305.0 | 68.7
96 | 345.0/390.0 | 225.5
97 | 345.0/410.0 | 120.8
98 | 345.0/440.0 | 134.5
99 | 345.0/455.0 | 131
100 | 350.0/255.0 | 51.83
101 | 350.0/280.0 | 53.95
102 | 350.0/300.0 | 63.24
103 | 350.0/395.0 | 214.6
104 | 350.0/420.0 | 110.8
105 | 350.0/465.0 | 126.8
106 | 350.0/485.0 | 119.7
107 | 355.0/405.0 | 217.8
108 | 360.0/270.0 | 44.51
109 | 360.0/410.0 | 219.3
110 | 360.0/435.0 | 145.3
111 | 360.0/455.0 | 138
112 | 360.0/465.0 | 130.3
113 | 360.0/475.0 | 132.3
114 | 360.0/495.0 | 97.35
115 | 365.0/260.0 | 50.06
116 | 365.0/285.0 | 48.06
117 | 365.0/300.0 | 46.03
118 | 365.0/450.0 | 139.1
119 | 370.0/270.0 | 39.91
120 | 370.0/310.0 | 45.51
121 | 370.0/425.0 | 176.8
122 | 370.0/445.0 | 138.5
123 | 370.0/475.0 | 137.1
124 | 375.0/300.0 | 37.75
125 | 375.0/430.0 | 178.5
126 | 375.0/470.0 | 153.4
127 | 375.0/490.0 | 126.1
128 | 380.0/295.0 | 40.77
129 | 380.0/310.0 | 39.01
130 | 380.0/435.0 | 199.6
131 | 380.0/495.0 | 116.3
132 | 385.0/265.0 | 41.01
133 | 385.0/285.0 | 34.67
134 | 385.0/330.0 | 38.64
135 | 385.0/415.0 | 68.58
136 | 385.0/445.0 | 192
137 | 390.0/280.0 | 36.62
138 | 390.0/450.0 | 214.1
139 | 390.0/485.0 | 153.3
140 | 395.0/285.0 | 38.76
141 | 395.0/320.0 | 32.39
142 | 395.0/455.0 | 207.2
143 | 400.0/255.0 | 34.19
144 | 400.0/265.0 | 30.7
145 | 400.0/280.0 | 33.73
146 | 400.0/295.0 | 30.94
147 | 400.0/315.0 | 35.8
148 | 400.0/360.0 | 35.7
149 | 400.0/460.0 | 207.1
150 | 405.0/260.0 | 31.63
151 | 405.0/275.0 | 30.7
152 | 405.0/340.0 | 32.59
153 | 405.0/470.0 | 198.1
154 | 410.0/290.0 | 26.99
155 | 410.0/315.0 | 28.49
156 | 410.0/355.0 | 29.75
157 | 410.0/375.0 | 38.9
158 | 415.0/270.0 | 28.8
159 | 415.0/295.0 | 28.39
160 | 420.0/280.0 | 23.99
161 | 420.0/300.0 | 31.85
162 | 420.0/345.0 | 22.86
163 | 425.0/275.0 | 23.63
164 | 425.0/310.0 | 26.8
165 | 425.0/320.0 | 22.08
166 | 425.0/340.0 | 25.56
167 | 425.0/350.0 | 20.8
168 | 430.0/285.0 | 23.71
169 | 430.0/335.0 | 20.86
170 | 435.0/300.0 | 20.41
171 | 435.0/340.0 | 23.08
172 | 435.0/355.0 | 23.79
173 | 435.0/365.0 | 20.31
174 | 435.0/390.0 | 24.34
175 | 440.0/260.0 | 19.58
176 | 440.0/320.0 | 22.73
177 | 445.0/270.0 | 19.22
178 | 445.0/300.0 | 19.83
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 208.1 | 170.7 | 154.2 | 156.2 | 147 | 2930 | 9999.9 | 3341 | 136 | 114.8 | 129.2 | 121.5 | 105.2 | 117.9 | 113.7 | 107.3 | 129.1 | 74.02 | 98.88 | 87.06 | 82.46 | 64.81 | 60.98 | 50.58 | 56.83 | 43.72 | 43.66 | 48.27 | 48.89 | 42.02 | 43.2 | 36.79 | 29.92 | 25.49 | 28.32 | 26.49 | 26.06 | 26.11 | 23.18 | 17.62 | 24.38 | 23.05 | 22.47 | 18.48 | 18.11 | 12.28 | 11.58
255 | 127.3 | 183 | 190.7 | 127.4 | 208.1 | 299.2 | 2608 | 9999.9 | 6635 | 361.4 | 168.1 | 137.3 | 114.8 | 116.3 | 145 | 111.5 | 117 | 99.52 | 119 | 78.38 | 81.5 | 68.03 | 59.59 | 47.88 | 52.03 | 47.8 | 51.83 | 45.31 | 35.76 | 46.88 | 45.56 | 42.08 | 37.94 | 26.45 | 27.13 | 30.74 | 34.19 | 28.79 | 28.67 | 26.19 | 20.68 | 15.88 | 18.81 | 17.22 | 14.19 | 13.42 | 10.84
260 | 141.3 | 184.3 | 138.8 | 122 | 157.7 | 160.5 | 330.1 | 3256 | 9999.9 | 8511 | 405.5 | 124.1 | 110.4 | 140 | 127.4 | 112.7 | 93.78 | 112.4 | 89.7 | 92.91 | 82.11 | 68.67 | 67.43 | 65.38 | 51.88 | 46.18 | 50.72 | 48.66 | 40.85 | 50.06 | 32.83 | 38.46 | 38.43 | 38.4 | 33.43 | 28.59 | 23.74 | 31.63 | 29.74 | 19.1 | 20.33 | 18.09 | 17.48 | 19.4 | 19.58 | 16.54 | 12.1
265 | 180.2 | 149.6 | 143.5 | 140.3 | 187.3 | 226 | 176.5 | 318.8 | 4468 | 9999.9 | 9999.9 | 489 | 137.1 | 135.9 | 140.8 | 98.85 | 104.6 | 99.92 | 64.4 | 89.62 | 82.51 | 67.45 | 57.99 | 60.69 | 52.2 | 54.83 | 40.15 | 46.12 | 30.71 | 36.36 | 33.77 | 38.37 | 36.47 | 41.01 | 34.51 | 27.12 | 30.7 | 27.78 | 25.75 | 26.16 | 26.21 | 20.45 | 19.8 | 16.59 | 16.98 | 15.9 | 12.19
270 | 166.7 | 142.8 | 135.6 | 168.5 | 182.8 | 179.1 | 216 | 191.5 | 410.3 | 5951 | 9999.9 | 9999.9 | 699 | 128.9 | 138.5 | 120.5 | 93.2 | 102 | 118.8 | 85.39 | 72.85 | 72.54 | 60.42 | 50.34 | 52.86 | 50.1 | 40.03 | 40.73 | 44.51 | 37.13 | 39.91 | 39.37 | 31.93 | 30.98 | 30.62 | 30.12 | 23.26 | 23.19 | 24.31 | 28.8 | 28.3 | 20.22 | 20.26 | 18.07 | 18.74 | 19.22 | 14.17
275 | 173 | 150.8 | 156.1 | 177.9 | 143.6 | 114.1 | 146.6 | 195.8 | 152.5 | 519.8 | 8968 | 9999.9 | 9999.9 | 755.5 | 115.8 | 113.9 | 93.53 | 115.1 | 90.33 | 74.39 | 98.28 | 70.33 | 59.46 | 57.94 | 42.61 | 57.04 | 38.68 | 36.22 | 42.5 | 43.44 | 32.53 | 36.05 | 32.05 | 30.93 | 33.54 | 29.51 | 24.26 | 30.7 | 22.49 | 23.89 | 21.47 | 23.63 | 18.67 | 14.28 | 17.32 | 15.81 | 14.41
280 | 143.1 | 172.2 | 163.9 | 197.7 | 162.5 | 144.6 | 171.2 | 164.7 | 190.1 | 181.9 | 729.1 | 9955 | 9999.9 | 9999.9 | 948.3 | 134.3 | 139.4 | 137.4 | 88.47 | 103.3 | 87.29 | 85.76 | 76.12 | 52.91 | 68.27 | 48.33 | 53.95 | 47.56 | 38.37 | 41.05 | 39.84 | 40.77 | 22.22 | 30.4 | 36.62 | 28.86 | 33.73 | 29.79 | 29.01 | 21.02 | 23.99 | 23.54 | 20.04 | 19.51 | 17.68 | 17.9 | 11.55
285 | 161.5 | 179.3 | 164.9 | 186.7 | 158.2 | 206.4 | 191.5 | 168 | 274.4 | 187.4 | 251.7 | 799.5 | 9999.9 | 9999.9 | 9999.9 | 975.4 | 147.4 | 109 | 112.3 | 100.9 | 72.22 | 107.3 | 67.77 | 58.95 | 55.06 | 59.66 | 53.5 | 41.63 | 35.34 | 48.06 | 37.66 | 30.95 | 30.76 | 34.67 | 26.64 | 38.76 | 28.44 | 27.22 | 23.44 | 23.17 | 20.33 | 21.83 | 23.71 | 17.75 | 16.99 | 17.37 | 13.54
290 | 152.8 | 152.5 | 220.2 | 196.3 | 199.8 | 184.3 | 148 | 141.3 | 149.5 | 301.8 | 265.7 | 382.6 | 993.6 | 9999.9 | 9999.9 | 9999.9 | 954.7 | 129.7 | 110.8 | 107.1 | 102.5 | 75.06 | 61.73 | 58.2 | 54.19 | 64.11 | 41.29 | 45.04 | 42 | 36.13 | 37.23 | 35.3 | 31.64 | 27.39 | 24.43 | 29.41 | 25.82 | 25.18 | 26.99 | 19.88 | 16.57 | 21.29 | 20.15 | 15.24 | 17.04 | 15.87 | 17.3
295 | 134.5 | 220.2 | 233.5 | 221.6 | 221.8 | 205.1 | 171.5 | 188.7 | 217 | 310.8 | 556.1 | 470 | 618.6 | 1300 | 9999.9 | 9999.9 | 9999.9 | 1007 | 132 | 118.9 | 90.5 | 94.01 | 79.44 | 59.73 | 65.64 | 58.71 | 47.52 | 50.63 | 44.33 | 37.32 | 35.69 | 35.51 | 40.77 | 26.97 | 28.15 | 25.35 | 30.94 | 28.69 | 25.06 | 28.39 | 24.84 | 24.16 | 16.76 | 19.09 | 18.75 | 18.38 | 14.65
300 | 275 | 237.4 | 249.5 | 306 | 206.6 | 217.5 | 191.6 | 238.6 | 274.6 | 415.4 | 557 | 811.3 | 1042 | 1134 | 1398 | 9999.9 | 9999.9 | 9999.9 | 1049 | 134.3 | 126.3 | 88.11 | 90.03 | 68.87 | 52.4 | 57.62 | 63.24 | 44.24 | 43.66 | 46.03 | 34.8 | 37.75 | 37.58 | 31.94 | 30.05 | 24.27 | 30.27 | 22.75 | 26.52 | 26.81 | 31.85 | 18.5 | 19.01 | 20.41 | 18.22 | 19.83 | 15.33
305 | 235.2 | 320.5 | 354.2 | 373.8 | 282.7 | 236.6 | 229.9 | 253.4 | 381.5 | 500.7 | 729.7 | 1110 | 1367 | 1326 | 1266 | 1406 | 9999.9 | 9999.9 | 9999.9 | 911 | 153.4 | 134.3 | 99.86 | 74.94 | 60.31 | 68.7 | 53.03 | 56.66 | 39.61 | 37.51 | 36.27 | 36.39 | 28.51 | 30.82 | 21.74 | 24.48 | 26.26 | 24.86 | 15.25 | 21.72 | 25.29 | 24.18 | 23.93 | 14.63 | 17.39 | 17.94 | 16.51
310 | 223.7 | 400.6 | 417.5 | 357.9 | 291.8 | 260.3 | 301 | 247.6 | 390.6 | 618.3 | 967.1 | 1485 | 1622 | 1910 | 1593 | 1061 | 1151 | 9999.9 | 9999.9 | 9999.9 | 1077 | 132.5 | 116.6 | 96.55 | 53.96 | 57.74 | 54.96 | 60.39 | 40.29 | 36.41 | 45.51 | 33.36 | 39.01 | 31.47 | 28.26 | 28.74 | 26.18 | 20.41 | 23.15 | 18.78 | 25.59 | 26.8 | 23.92 | 20.13 | 16.35 | 17.89 | 16.47
315 | 259.7 | 275.6 | 385.5 | 399.1 | 328.5 | 246.9 | 264.6 | 340.7 | 527 | 711.2 | 1265 | 1522 | 2150 | 2534 | 2063 | 1572 | 713.7 | 1004 | 9999.9 | 9999.9 | 9999.9 | 1121 | 131 | 106.2 | 86.08 | 77.07 | 58.2 | 61.7 | 52.02 | 49.57 | 34.99 | 33.21 | 33.95 | 33.34 | 22.09 | 27.87 | 35.8 | 19.99 | 28.49 | 19.82 | 20.7 | 19.75 | 23.49 | 16.82 | 19.88 | 17.25 | 17.56
320 | 258.1 | 393.3 | 471.4 | 446.6 | 319.4 | 342.8 | 299.4 | 409.5 | 487.9 | 852 | 1422 | 2050 | 2361 | 2931 | 2634 | 1684 | 813.9 | 416.4 | 892 | 9999.9 | 9999.9 | 9999.9 | 960.5 | 136.2 | 106.7 | 76.95 | 62.59 | 48.8 | 51.84 | 51.65 | 50.33 | 40.71 | 37.96 | 34.25 | 24.78 | 32.39 | 26.49 | 22.85 | 24.2 | 21.93 | 16.59 | 22.08 | 20.67 | 21.99 | 22.73 | 18.32 | 16.58
325 | 233.8 | 434 | 537.7 | 432.3 | 333 | 296.2 | 322.3 | 455.6 | 612.8 | 949.5 | 1351 | 2081 | 2422 | 3062 | 3256 | 2093 | 1047 | 408.5 | 277.8 | 865.2 | 9999.9 | 9999.9 | 9999.9 | 1005 | 113.8 | 85.83 | 77.93 | 53.86 | 59.17 | 44.36 | 41.87 | 41.81 | 35.15 | 32.91 | 26.53 | 22.65 | 26.85 | 24.52 | 25.5 | 18.66 | 21.35 | 18.55 | 16.52 | 20.99 | 21.74 | 19.13 | 16.75
330 | 274.1 | 421.6 | 499.9 | 469.4 | 350.3 | 335.9 | 271.8 | 461.2 | 653.2 | 1012 | 1454 | 2153 | 2911 | 3291 | 2881 | 2031 | 1189 | 470.9 | 260 | 255.8 | 847.7 | 9999.9 | 9999.9 | 9999.9 | 872.5 | 119.2 | 84.94 | 65.59 | 60.73 | 42.04 | 47.96 | 35.95 | 38.16 | 38.64 | 33.62 | 33.74 | 28.95 | 24.1 | 19.4 | 18.24 | 21.22 | 19.33 | 19.84 | 18.08 | 17.68 | 20.62 | 21.52
335 | 318.1 | 357.4 | 587.7 | 482.3 | 381 | 270.6 | 312.4 | 466.3 | 687.1 | 946 | 1343 | 1990 | 2686 | 3211 | 3018 | 2063 | 1304 | 567.4 | 231.9 | 187.2 | 217.9 | 799.2 | 9999.9 | 9999.9 | 9999.9 | 797.5 | 96.63 | 85.65 | 60.76 | 53.38 | 42.66 | 43.27 | 35.69 | 35.84 | 31.89 | 30.21 | 24.96 | 24.45 | 19.83 | 18.58 | 22.42 | 17.13 | 20.86 | 19.69 | 19.61 | 20.52 | 18.11
340 | 238.6 | 378.4 | 474.6 | 511.6 | 314 | 241.4 | 291.9 | 406.1 | 666.4 | 898.3 | 1368 | 2123 | 2571 | 2632 | 2695 | 1905 | 1026 | 671.6 | 285.5 | 176.9 | 143.6 | 211.8 | 820.2 | 9999.9 | 9999.9 | 9999.9 | 822.9 | 115.3 | 73.91 | 50.12 | 45.88 | 42.11 | 41.92 | 33.8 | 28.35 | 28.89 | 25.88 | 32.59 | 22.51 | 18.12 | 22.52 | 25.56 | 19.19 | 23.08 | 15.67 | 16.22 | 19.46
345 | 192.7 | 340.7 | 460.2 | 412.7 | 309.2 | 244.6 | 302.1 | 382.5 | 529 | 856.2 | 1374 | 1665 | 2170 | 2705 | 2761 | 1693 | 1040 | 601.3 | 426.5 | 213.3 | 142.1 | 134.6 | 189.2 | 786.9 | 9999.9 | 9999.9 | 9999.9 | 717.2 | 121 | 75.69 | 75.88 | 56.7 | 32.11 | 34.44 | 31.76 | 30.97 | 28.15 | 22.98 | 22.43 | 18.21 | 22.86 | 18.86 | 16.71 | 20.23 | 19.56 | 15.09 | 18.07
350 | 233.8 | 357.9 | 424.1 | 361.7 | 366.9 | 253.3 | 265.2 | 416 | 513.7 | 747.7 | 1169 | 1708 | 1902 | 2427 | 2360 | 1660 | 906.1 | 513.4 | 407.3 | 342.1 | 121.5 | 128.3 | 127.9 | 156.7 | 801 | 9999.9 | 9999.9 | 9999.9 | 694.5 | 80.14 | 77.77 | 58.38 | 45.4 | 43.3 | 35.8 | 31.18 | 28.06 | 23.98 | 29.42 | 21.85 | 18.74 | 20.8 | 19.77 | 17.77 | 15.28 | 19.06 | 14.46
355 | 218.8 | 340.7 | 456.1 | 349.2 | 326.5 | 290.9 | 288 | 264.9 | 446 | 696.8 | 957.1 | 1532 | 1944 | 1994 | 2104 | 1416 | 807.1 | 377.9 | 253.4 | 338.1 | 265.6 | 118.2 | 117.4 | 107.5 | 166.1 | 794.2 | 9999.9 | 9999.9 | 9999.9 | 671.6 | 92.18 | 71.16 | 57.4 | 44.68 | 36.16 | 26.47 | 29.94 | 21.68 | 29.75 | 20.03 | 22.9 | 17.91 | 21.53 | 23.79 | 20.45 | 15.77 | 17.43
360 | 227 | 288.6 | 387.5 | 366.1 | 257.8 | 300.1 | 286 | 314.9 | 420.7 | 555.5 | 908.6 | 1317 | 1543 | 1787 | 1728 | 1275 | 704.6 | 333.7 | 183.8 | 173.2 | 292.9 | 192.9 | 127.7 | 112.8 | 138.9 | 145.3 | 782.2 | 9999.9 | 9999.9 | 9999.9 | 544.2 | 86.34 | 57.69 | 40.72 | 40.61 | 31.22 | 35.7 | 28.69 | 27.13 | 26.7 | 23.45 | 20.62 | 21.27 | 18.21 | 14.67 | 17.07 | 15.36
365 | 231 | 327.6 | 310.5 | 244.5 | 268.2 | 201.6 | 193.6 | 340 | 327.6 | 511.6 | 779.4 | 1028 | 1293 | 1462 | 1385 | 1227 | 561.9 | 343.5 | 200.3 | 147.8 | 210.4 | 267.3 | 169.5 | 113.2 | 105 | 99.79 | 147.4 | 782.3 | 9999.9 | 9999.9 | 9999.9 | 555 | 78.05 | 66.37 | 54.23 | 29.58 | 33.82 | 31.13 | 25.06 | 25.4 | 21.15 | 16.87 | 19.51 | 20.31 | 16.28 | 17.55 | 13.46
370 | 155.3 | 277 | 249.9 | 277.4 | 260 | 186.1 | 203.9 | 222.6 | 330.1 | 457.7 | 644.2 | 876.7 | 1101 | 1288 | 1178 | 913.1 | 572.5 | 250 | 191.9 | 154.1 | 140 | 208.2 | 274 | 148.2 | 118 | 106.7 | 109.3 | 166.1 | 794.5 | 9999.9 | 9999.9 | 9999.9 | 491.1 | 82.12 | 57.33 | 47.75 | 36.92 | 30.82 | 28.81 | 27.7 | 20.6 | 20.57 | 15.89 | 17.12 | 16.04 | 18.35 | 15.92
375 | 221.3 | 277.9 | 262.8 | 227.4 | 285.3 | 228.1 | 148.8 | 227.5 | 261.5 | 380.2 | 514.6 | 718 | 961.6 | 1028 | 1094 | 779.3 | 505.9 | 245.7 | 163.7 | 149.5 | 140.5 | 131.3 | 301.9 | 222.8 | 123.9 | 102.6 | 104 | 92.58 | 142.9 | 774.5 | 9999.9 | 9999.9 | 9999.9 | 500.4 | 80.83 | 62.95 | 36.96 | 32.09 | 38.9 | 28.53 | 26.81 | 21.7 | 19.55 | 19.24 | 18.42 | 15.88 | 13.61
380 | 188.8 | 271.1 | 184.3 | 255.7 | 214.3 | 201.1 | 169.9 | 231.1 | 282.3 | 337.6 | 460.9 | 661 | 753.2 | 802.1 | 863.6 | 654.1 | 428.2 | 258.5 | 171.5 | 137.1 | 143.7 | 143.6 | 154.6 | 283.4 | 193.3 | 106.2 | 89.56 | 92.62 | 91.37 | 125.3 | 772.6 | 9999.9 | 9999.9 | 9999.9 | 443.1 | 68.08 | 52.01 | 42.37 | 33.35 | 31.44 | 23.52 | 22.47 | 23.02 | 20.16 | 16.07 | 16.18 | 14.1
385 | 190.4 | 222.2 | 296.2 | 233.8 | 215.7 | 203.5 | 190.5 | 179.8 | 198.9 | 304.4 | 418.5 | 533.2 | 707.6 | 799.9 | 708.1 | 584.5 | 346 | 204.2 | 183.1 | 177.2 | 136.1 | 121.2 | 136.7 | 184.6 | 291.8 | 166.7 | 105 | 81.46 | 87.25 | 84.57 | 137.9 | 758.5 | 9999.9 | 9999.9 | 9999.9 | 388 | 62.73 | 50.37 | 42.77 | 31.77 | 30.63 | 21.64 | 21.68 | 18.32 | 16.81 | 18.16 | 13.24
390 | 244.1 | 208.4 | 221.7 | 180.3 | 226 | 156.4 | 172.2 | 185.3 | 240.6 | 262.7 | 368.2 | 520.7 | 611 | 622.2 | 581.2 | 476.1 | 283.6 | 237.4 | 167 | 137.4 | 135.3 | 129.4 | 134.3 | 116.1 | 162.5 | 225.5 | 108.8 | 77.42 | 89.43 | 65.1 | 86.48 | 125.1 | 761.2 | 9999.9 | 9999.9 | 9999.9 | 444.4 | 60.01 | 43.36 | 28.46 | 26.53 | 27.28 | 21.6 | 24.34 | 19.27 | 19.89 | 17.25
395 | 203.9 | 231.2 | 287.3 | 185.6 | 199.7 | 221.8 | 164.9 | 173.4 | 168.1 | 207.5 | 362.3 | 333.9 | 418.7 | 476.3 | 480.8 | 416.5 | 271.4 | 202.2 | 168.3 | 158.5 | 154.2 | 129.1 | 123.7 | 131.3 | 121.9 | 189.8 | 214.6 | 106.7 | 79.7 | 84.58 | 92.07 | 74.49 | 117.2 | 748.6 | 9999.9 | 9999.9 | 9999.9 | 319.4 | 64.91 | 41.78 | 33.57 | 30.31 | 22.51 | 23.87 | 18.69 | 17.56 | 18.69
400 | 135.1 | 216.3 | 254.7 | 248.2 | 172 | 230.9 | 184 | 141.5 | 195 | 210.4 | 286.5 | 348.5 | 419.9 | 450.4 | 370.5 | 315.8 | 228.5 | 186.2 | 162.1 | 160.9 | 142.9 | 105.4 | 141.4 | 106.3 | 115.1 | 119.4 | 196.6 | 172.8 | 108.4 | 78.37 | 74.84 | 71.71 | 82.78 | 113 | 742 | 9999.9 | 9999.9 | 9999.9 | 284.3 | 62.67 | 43.45 | 39.08 | 21.29 | 22.1 | 19.92 | 21.1 | 18.77
405 | 205.1 | 275.9 | 182.7 | 219 | 199.7 | 171.6 | 156.3 | 146.6 | 241.4 | 194.3 | 286.4 | 290.1 | 342.5 | 428.1 | 378.3 | 292.5 | 219 | 173.3 | 166.4 | 168.1 | 155.7 | 120.6 | 121.1 | 121.8 | 111.2 | 101.9 | 124.2 | 217.8 | 181.3 | 96.57 | 72.09 | 72.05 | 69 | 64.06 | 116.3 | 730 | 9999.9 | 9999.9 | 9999.9 | 328.3 | 50.06 | 41.04 | 36.11 | 26.15 | 19.4 | 19.83 | 15.04
410 | 231.6 | 187.4 | 199.1 | 186.9 | 195.2 | 236.4 | 162.3 | 174.3 | 199.8 | 223.5 | 207.8 | 282.3 | 304.6 | 308.7 | 294.6 | 292.9 | 217.7 | 173.3 | 149.5 | 147.3 | 145.4 | 119 | 108.4 | 103.9 | 111.8 | 120.8 | 111.9 | 137 | 219.3 | 137.8 | 73.83 | 72.29 | 69.36 | 58.91 | 65.98 | 114.2 | 730.3 | 9999.9 | 9999.9 | 9999.9 | 259 | 46.01 | 38.25 | 27.96 | 27.01 | 21.51 | 18.63
415 | 203.9 | 165.4 | 192.5 | 173.9 | 245.9 | 194.4 | 155.6 | 131 | 199.3 | 185 | 203.3 | 194.1 | 255.7 | 247 | 269.5 | 205 | 201 | 158.1 | 168.7 | 130.7 | 109.7 | 141.6 | 130.5 | 113.2 | 123.7 | 101.9 | 96.35 | 116 | 197.3 | 194.7 | 102.5 | 70.64 | 59.75 | 68.58 | 58.76 | 60.99 | 100.8 | 733.5 | 9999.9 | 9999.9 | 9999.9 | 263.3 | 55.1 | 41.37 | 28.26 | 21.2 | 15.94
420 | 204.7 | 144.4 | 219.1 | 213.5 | 177.5 | 182.3 | 202.7 | 194 | 192.2 | 192.2 | 153.6 | 202.6 | 267.8 | 308.6 | 263.8 | 209.4 | 189.6 | 145.9 | 156.6 | 151.7 | 152.6 | 131 | 131.3 | 113.3 | 106.1 | 103.4 | 110.8 | 103 | 155.1 | 175.7 | 151.7 | 89.09 | 77.01 | 59.96 | 70.94 | 53.97 | 61.91 | 111.1 | 735.7 | 9999.9 | 9999.9 | 9999.9 | 231 | 47.93 | 34.72 | 31.45 | 24.47
425 | 206 | 201.5 | 164.6 | 170.6 | 190.3 | 172.2 | 188.5 | 205.3 | 181.4 | 171.4 | 174.3 | 206.8 | 219 | 260 | 249 | 227 | 155.8 | 149.1 | 147.7 | 123.5 | 163.3 | 148.6 | 114.7 | 163.7 | 124.6 | 112.6 | 106.3 | 105.2 | 132 | 119.7 | 176.8 | 126 | 86.2 | 69.68 | 71.9 | 72.37 | 76.65 | 75.1 | 104.9 | 730.5 | 9999.9 | 9999.9 | 9999.9 | 216.2 | 48.2 | 32.71 | 23.97
430 | 235.8 | 202.4 | 173 | 199.8 | 168 | 175.7 | 168.5 | 170.8 | 149.3 | 171.7 | 217.4 | 190.1 | 234.4 | 188.3 | 234.4 | 182.7 | 188.9 | 173 | 140.4 | 129.7 | 137.3 | 113.6 | 146.1 | 107.3 | 110.7 | 115.9 | 101.3 | 104.9 | 144.2 | 117.8 | 133.9 | 178.5 | 125.2 | 81.67 | 82.54 | 91.47 | 79.92 | 83.99 | 79.83 | 128.6 | 747.5 | 9999.9 | 9999.9 | 9999.9 | 217.9 | 45.97 | 30.23
435 | 354.6 | 213.9 | 212.6 | 235.1 | 144.7 | 192.4 | 150.2 | 196 | 151.5 | 186.1 | 195.5 | 199.1 | 255.3 | 272.9 | 216.3 | 206.6 | 169.2 | 176.3 | 166.5 | 170.7 | 149.4 | 149.2 | 138 | 137.7 | 116.9 | 121.3 | 112.3 | 104.7 | 145.3 | 124.8 | 110.9 | 157.7 | 199.6 | 128.8 | 115.2 | 100.4 | 90.79 | 97.02 | 97.29 | 94.37 | 120 | 739.9 | 9999.9 | 9999.9 | 9999.9 | 215.3 | 40.94
440 | 485 | 327.1 | 219.7 | 191.7 | 163.5 | 188.3 | 161.4 | 136.6 | 177.6 | 156.8 | 159.3 | 161.2 | 265.2 | 219.7 | 196.4 | 195.6 | 138.6 | 159.6 | 145.3 | 140.2 | 125.4 | 134.8 | 122.6 | 135.5 | 121.3 | 134.5 | 117.6 | 102.3 | 143.2 | 119.9 | 110 | 111.7 | 178.6 | 170.3 | 137.5 | 125.1 | 129.8 | 123.5 | 105.8 | 105 | 88.95 | 118.2 | 736.4 | 9999.9 | 9999.9 | 9999.9 | 165.9
445 | 444.3 | 652.7 | 285.6 | 222.1 | 176 | 196.4 | 153.5 | 152.4 | 138 | 156.4 | 159.6 | 185.3 | 212.4 | 193.3 | 222.1 | 200.1 | 162 | 140.9 | 149.8 | 138 | 152.9 | 135.5 | 133 | 120.6 | 131.7 | 117.4 | 110.9 | 101.1 | 123.3 | 132.2 | 138.5 | 122.7 | 146.3 | 192 | 170.8 | 135.7 | 131.2 | 127.9 | 134.7 | 118.2 | 100.7 | 79.59 | 102.1 | 709.8 | 9999.9 | 9999.9 | 9999.9
450 | 249.4 | 734.7 | 425.5 | 263.7 | 184.2 | 134.3 | 191.2 | 148.4 | 201.8 | 175.1 | 185.1 | 208.5 | 211.5 | 188.4 | 244.3 | 170.7 | 203.3 | 125.8 | 130.4 | 137.7 | 122.1 | 138.8 | 115.3 | 126.1 | 119 | 112.9 | 115 | 105.7 | 130.7 | 139.1 | 130.5 | 136.2 | 147.1 | 157.8 | 214.1 | 173.9 | 150.5 | 156.7 | 145.9 | 139.8 | 105.3 | 80.75 | 72.14 | 96.92 | 701.6 | 9999.9 | 9999.9
455 | 187.4 | 510.8 | 990.2 | 194.4 | 188.7 | 256.3 | 175.2 | 127.1 | 162.9 | 173.8 | 145.4 | 165.6 | 208.7 | 205.5 | 204.7 | 156.7 | 157.5 | 163.7 | 153.5 | 139.1 | 137.9 | 121.9 | 132.8 | 112 | 112.2 | 131 | 130.3 | 124.6 | 138 | 131 | 129.3 | 146.9 | 150.8 | 158.1 | 203.5 | 207.2 | 167.1 | 165.8 | 151.9 | 148.2 | 120.8 | 86.77 | 63.14 | 55.74 | 92.7 | 708.1 | 9999.9
460 | 173.3 | 273 | 1381 | 673.5 | 217.6 | 181.9 | 189.5 | 157.2 | 168.4 | 153.7 | 198.5 | 179.5 | 167.9 | 192.7 | 152 | 224.9 | 165.5 | 158.9 | 161 | 152.7 | 132.9 | 124.6 | 116.2 | 138.8 | 132.6 | 127.2 | 118.1 | 126 | 122.4 | 135.7 | 138.1 | 154.2 | 152.3 | 157.2 | 183.3 | 204.5 | 207.1 | 171.5 | 153.5 | 134.3 | 115.1 | 88.16 | 58.01 | 47.61 | 43.38 | 83.28 | 692.9
465 | 189.4 | 177.3 | 979 | 1480 | 279.7 | 223.5 | 203.3 | 139.2 | 161.8 | 200.6 | 162.6 | 171.9 | 166.1 | 181.6 | 209.8 | 164.5 | 164.3 | 152 | 124.2 | 135.7 | 117.2 | 125.3 | 122.9 | 122.5 | 120.9 | 114.3 | 126.8 | 123.3 | 130.3 | 127.4 | 120.4 | 141.4 | 153.7 | 158.7 | 174.6 | 164.2 | 206.5 | 195.8 | 156.7 | 133.4 | 118.4 | 82.33 | 58.33 | 43.3 | 42.71 | 42.49 | 76.31
470 | 196.2 | 233.3 | 310 | 2262 | 830.2 | 220.3 | 135.1 | 150.3 | 188 | 161.6 | 191.1 | 200.1 | 234.4 | 180.8 | 209.4 | 157.8 | 160.3 | 146.5 | 128.1 | 126.3 | 147.5 | 142.6 | 114.7 | 127.7 | 106.1 | 109.9 | 124.4 | 114.7 | 121.4 | 122.8 | 130.6 | 153.4 | 150.1 | 144.7 | 158.4 | 167.3 | 176.3 | 198.1 | 167.2 | 128.1 | 116.5 | 83.24 | 66.39 | 44.09 | 37.4 | 28.6 | 31.15
475 | 193 | 161.7 | 218.7 | 1324 | 2127 | 315.9 | 200.7 | 159 | 147.8 | 190.5 | 190 | 187.6 | 165.7 | 188.3 | 186.3 | 154 | 127.1 | 116.6 | 129.3 | 93.32 | 118.2 | 122.8 | 103.2 | 122 | 122.9 | 118.1 | 106.8 | 121.7 | 132.3 | 113.2 | 137.1 | 125.1 | 130 | 144.3 | 155.8 | 153.8 | 164.9 | 179.7 | 171.6 | 133.2 | 112 | 79.43 | 58.13 | 37.22 | 33.57 | 25.13 | 22.87
480 | 167.4 | 182.1 | 205.5 | 382.4 | 3203 | 942.1 | 159.4 | 156.3 | 168.6 | 175.9 | 199.6 | 152.2 | 171.3 | 180.3 | 199.7 | 153.6 | 154.7 | 149.5 | 131.4 | 130.8 | 137.8 | 116.5 | 109.6 | 95.24 | 106.8 | 101.5 | 118.6 | 107.6 | 119.4 | 98.43 | 107.9 | 118 | 129.5 | 129.6 | 138.3 | 127 | 138.9 | 144.5 | 155.3 | 141.3 | 102.1 | 74.99 | 50.13 | 38.13 | 28.78 | 24.96 | 22.46
485 | 144.3 | 174.5 | 208.6 | 210.3 | 1500 | 2788 | 248 | 133.9 | 160 | 143.5 | 180.7 | 163.3 | 168.8 | 164 | 136.8 | 142.5 | 122.2 | 153.1 | 159.5 | 133.6 | 123 | 117.2 | 113.8 | 102.1 | 86.49 | 102.3 | 119.7 | 81.78 | 94.84 | 100.4 | 105.8 | 112.7 | 116.5 | 131.8 | 153.3 | 134.3 | 142.3 | 148 | 145 | 145.6 | 104.6 | 71.01 | 52.64 | 36.83 | 28.91 | 23.73 | 23.55
490 | 159.3 | 203.9 | 175 | 170.5 | 434.5 | 3396 | 1058 | 142.3 | 144.9 | 160.8 | 206.6 | 201.4 | 158.6 | 165.4 | 129 | 131.6 | 151.9 | 117.1 | 111.7 | 114.4 | 109.4 | 115.3 | 95.2 | 74.57 | 97.95 | 97.82 | 86.43 | 87.14 | 89.54 | 108.7 | 101.7 | 126.1 | 114 | 116.6 | 125.9 | 119.6 | 117.4 | 131.8 | 117.8 | 134.4 | 111.5 | 81.16 | 51.61 | 37.98 | 28.23 | 27.19 | 20.22
495 | 179.2 | 193.3 | 139.5 | 183.3 | 222.3 | 2050 | 3125 | 206.8 | 162.9 | 125.6 | 171 | 165.2 | 155.7 | 172.2 | 132.6 | 156.2 | 130.6 | 164.7 | 129.1 | 110.2 | 103.9 | 113.1 | 119.5 | 98.06 | 101.8 | 100.5 | 95.08 | 82.33 | 97.35 | 90.29 | 99.26 | 99.76 | 116.3 | 111.7 | 120.1 | 118.2 | 116.8 | 113.3 | 116 | 109.9 | 101.2 | 85.03 | 57.41 | 34.15 | 26.37 | 24.74 | 18.85
500 | 154.3 | 195.4 | 163.6 | 143.3 | 215.1 | 631.5 | 3543 | 929 | 134.7 | 116.6 | 172.5 | 165.3 | 182.9 | 151 | 137.7 | 161.3 | 145 | 132.5 | 105.7 | 112.8 | 116.5 | 101 | 98.33 | 81.69 | 84.5 | 74.06 | 89.56 | 95.64 | 78.89 | 81.53 | 85.36 | 93.66 | 107 | 103.7 | 104.4 | 110.7 | 115.5 | 118.6 | 107.3 | 89.18 | 83 | 77.47 | 56.27 | 33.02 | 23.18 | 23.9 | 20.68