## Sheet1
Report date: | 15:20:27, 04/15/2024
Sample: | 1
File name:
Run date: | 15:17:41, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/285.0 | 202.4
2 | 225.0/405.0 | 210.2
3 | 225.0/420.0 | 239.9
4 | 225.0/495.0 | 202.1
5 | 230.0/270.0 | 213.7
6 | 230.0/340.0 | 564.8
7 | 230.0/375.0 | 327
8 | 230.0/400.0 | 243.6
9 | 235.0/280.0 | 210.2
10 | 235.0/315.0 | 603.2
11 | 235.0/385.0 | 333.7
12 | 235.0/410.0 | 240.5
13 | 240.0/260.0 | 199.3
14 | 240.0/305.0 | 319.1
15 | 240.0/420.0 | 231
16 | 240.0/430.0 | 242
17 | 240.0/440.0 | 222.6
18 | 245.0/265.0 | 195.2
19 | 245.0/285.0 | 197.3
20 | 245.0/380.0 | 233.3
21 | 245.0/425.0 | 214.6
22 | 245.0/435.0 | 183.6
23 | 245.0/455.0 | 247
24 | 250.0/275.0 | 204.3
25 | 250.0/370.0 | 289
26 | 250.0/400.0 | 218
27 | 250.0/415.0 | 218.8
28 | 250.0/445.0 | 188.5
29 | 250.0/460.0 | 224.2
30 | 255.0/430.0 | 220.9
31 | 255.0/455.0 | 208.1
32 | 260.0/465.0 | 221
33 | 265.0/425.0 | 259.6
34 | 265.0/445.0 | 216.4
35 | 265.0/455.0 | 234.2
36 | 265.0/485.0 | 212.9
37 | 270.0/490.0 | 212.7
38 | 275.0/450.0 | 234.5
39 | 280.0/420.0 | 303.3
40 | 280.0/445.0 | 261
41 | 280.0/455.0 | 251.9
42 | 280.0/475.0 | 261.4
43 | 285.0/330.0 | 3787
44 | 285.0/440.0 | 281.3
45 | 290.0/340.0 | 3381
46 | 290.0/450.0 | 257
47 | 295.0/425.0 | 277.5
48 | 295.0/435.0 | 256.4
49 | 300.0/260.0 | 138.1
50 | 300.0/440.0 | 235.8
51 | 305.0/455.0 | 222
52 | 305.0/485.0 | 165.2
53 | 305.0/495.0 | 155.8
54 | 310.0/265.0 | 120.2
55 | 310.0/445.0 | 179.3
56 | 310.0/475.0 | 176.9
57 | 310.0/490.0 | 164.2
58 | 315.0/270.0 | 100.6
59 | 315.0/355.0 | 439.9
60 | 315.0/425.0 | 177.3
61 | 315.0/440.0 | 197.4
62 | 315.0/455.0 | 183.5
63 | 315.0/465.0 | 178
64 | 320.0/280.0 | 99.7
65 | 320.0/360.0 | 365.7
66 | 320.0/405.0 | 158.9
67 | 320.0/475.0 | 167.3
68 | 320.0/495.0 | 159.1
69 | 325.0/270.0 | 99.33
70 | 325.0/365.0 | 357.6
71 | 325.0/390.0 | 159.8
72 | 325.0/410.0 | 165.3
73 | 325.0/430.0 | 172.9
74 | 325.0/450.0 | 166
75 | 325.0/465.0 | 167
76 | 325.0/480.0 | 156.6
77 | 330.0/260.0 | 74.54
78 | 330.0/280.0 | 76.89
79 | 330.0/370.0 | 318.1
80 | 330.0/415.0 | 150.4
81 | 330.0/445.0 | 162.3
82 | 330.0/460.0 | 163.2
83 | 330.0/475.0 | 148
84 | 330.0/490.0 | 159.3
85 | 335.0/290.0 | 74.05
86 | 335.0/380.0 | 290.3
87 | 335.0/440.0 | 167.3
88 | 335.0/485.0 | 130
89 | 335.0/495.0 | 129.7
90 | 340.0/255.0 | 75.36
91 | 340.0/295.0 | 78.68
92 | 340.0/385.0 | 281.5
93 | 340.0/425.0 | 142.9
94 | 340.0/435.0 | 158.1
95 | 345.0/390.0 | 220
96 | 345.0/455.0 | 160.8
97 | 345.0/470.0 | 155.9
98 | 345.0/490.0 | 129.4
99 | 350.0/270.0 | 68.6
100 | 350.0/300.0 | 68.15
101 | 350.0/395.0 | 211.7
102 | 350.0/445.0 | 159
103 | 355.0/255.0 | 55.18
104 | 355.0/280.0 | 49.17
105 | 355.0/405.0 | 227.2
106 | 360.0/265.0 | 49.06
107 | 360.0/295.0 | 51.55
108 | 360.0/310.0 | 48.87
109 | 360.0/410.0 | 212.8
110 | 360.0/435.0 | 147.9
111 | 365.0/315.0 | 45.52
112 | 365.0/415.0 | 190.6
113 | 370.0/260.0 | 48.64
114 | 370.0/280.0 | 41.72
115 | 370.0/295.0 | 46.83
116 | 370.0/310.0 | 47.48
117 | 370.0/420.0 | 218.5
118 | 375.0/430.0 | 225.6
119 | 375.0/465.0 | 267.8
120 | 380.0/275.0 | 40.72
121 | 380.0/435.0 | 240.3
122 | 385.0/265.0 | 47.97
123 | 385.0/325.0 | 48
124 | 385.0/445.0 | 265.1
125 | 385.0/495.0 | 196.5
126 | 390.0/270.0 | 41.44
127 | 390.0/285.0 | 39.34
128 | 390.0/310.0 | 42.66
129 | 390.0/450.0 | 315.8
130 | 395.0/280.0 | 35.33
131 | 395.0/290.0 | 34.42
132 | 400.0/305.0 | 31.97
133 | 400.0/350.0 | 36.19
134 | 400.0/460.0 | 343.4
135 | 405.0/260.0 | 34.24
136 | 405.0/290.0 | 35.04
137 | 405.0/315.0 | 27.36
138 | 405.0/330.0 | 30.81
139 | 405.0/360.0 | 33.36
140 | 405.0/470.0 | 307.9
141 | 410.0/320.0 | 25.9
142 | 410.0/335.0 | 29.59
143 | 410.0/355.0 | 28.18
144 | 415.0/270.0 | 27.09
145 | 415.0/295.0 | 28.6
146 | 415.0/305.0 | 29.67
147 | 415.0/315.0 | 26.76
148 | 415.0/340.0 | 26.37
149 | 420.0/275.0 | 28.65
150 | 420.0/310.0 | 27.21
151 | 420.0/325.0 | 25.18
152 | 420.0/355.0 | 26.51
153 | 425.0/285.0 | 29.51
154 | 425.0/295.0 | 27.89
155 | 425.0/340.0 | 25.42
156 | 425.0/360.0 | 24.62
157 | 430.0/255.0 | 24.14
158 | 430.0/290.0 | 26.97
159 | 430.0/330.0 | 21.99
160 | 435.0/320.0 | 26.96
161 | 435.0/365.0 | 22.64
162 | 440.0/265.0 | 21.42
163 | 445.0/270.0 | 19.13
164 | 445.0/280.0 | 20.36
165 | 445.0/310.0 | 21.72
166 | 445.0/385.0 | 22.23
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 140.3 | 197.6 | 162.6 | 128.7 | 182.8 | 3432 | 9999.9 | 3981 | 224.1 | 169.9 | 104.7 | 108.6 | 116.2 | 130.4 | 126.8 | 123.4 | 107.3 | 125.7 | 84.53 | 123.7 | 113 | 62.98 | 71.96 | 61.31 | 59.43 | 46.54 | 46.95 | 48.83 | 45 | 55.56 | 41.84 | 42.18 | 29.46 | 37.95 | 37.39 | 34.13 | 31.84 | 29.18 | 24.4 | 25.68 | 27.93 | 22.44 | 16.73 | 17.68 | 13.32 | 13.93 | 12.71
255 | 147 | 143.3 | 168.5 | 178.7 | 193.8 | 323.3 | 3065 | 9999.9 | 7110 | 319 | 129.4 | 144.1 | 123.1 | 116.1 | 109.5 | 117.6 | 125.6 | 107.7 | 86.43 | 99.58 | 92.89 | 89.79 | 67.4 | 67.4 | 75.36 | 44.99 | 42.23 | 55.18 | 41.03 | 50.43 | 42.94 | 36.1 | 35.98 | 31.48 | 37.3 | 28.88 | 31.63 | 26.58 | 25.66 | 25.66 | 26.36 | 19.27 | 24.14 | 17.96 | 21 | 15.88 | 13.28
260 | 209.8 | 150.3 | 122.5 | 180.3 | 199.3 | 174.5 | 328.8 | 3569 | 9999.9 | 9457 | 459.5 | 141.6 | 110.1 | 126.1 | 119.7 | 135.3 | 138.1 | 84.86 | 100 | 89.05 | 70.27 | 73.06 | 74.54 | 52.77 | 57.58 | 54.08 | 42.05 | 49.39 | 41.84 | 40.5 | 48.64 | 43.65 | 45.68 | 35.81 | 34.34 | 27.26 | 25.64 | 34.24 | 27.73 | 22.79 | 22.06 | 23.42 | 19.22 | 20.29 | 16.79 | 16.48 | 14.09
265 | 156.9 | 135.6 | 193.6 | 179.7 | 173.4 | 195.2 | 167.5 | 381.2 | 4484 | 9999.9 | 9999.9 | 542.2 | 172.4 | 113 | 116.3 | 115.5 | 105.8 | 104.6 | 120.2 | 76.28 | 62.51 | 76.56 | 54 | 65.42 | 47.34 | 51.1 | 47.85 | 41.53 | 49.06 | 36.25 | 44.76 | 39.03 | 37.9 | 47.97 | 32.28 | 37.45 | 26.78 | 29.86 | 28.22 | 26.07 | 20.18 | 24.06 | 18.25 | 18.07 | 21.42 | 17.35 | 12.86
270 | 202.5 | 177.5 | 213.7 | 177.7 | 180.7 | 177 | 159.6 | 168.5 | 448 | 6105 | 9999.9 | 9999.9 | 736.5 | 141 | 125.6 | 110.3 | 129.3 | 92.72 | 84.83 | 100.6 | 82.77 | 99.33 | 59.71 | 64.84 | 55.02 | 54.84 | 68.6 | 43.14 | 33.51 | 43.6 | 44.8 | 42.7 | 35.55 | 39.72 | 41.44 | 29.85 | 29.59 | 29.29 | 22.51 | 27.09 | 27.02 | 23.91 | 21.33 | 16.32 | 18.35 | 19.13 | 16.01
275 | 159.3 | 181.5 | 164.5 | 172.3 | 172.2 | 155.6 | 204.3 | 168.9 | 178.8 | 539.6 | 8814 | 9999.9 | 9999.9 | 851.7 | 117.9 | 120.3 | 125.3 | 101.9 | 96.11 | 92.26 | 77.55 | 73.11 | 66.52 | 66.52 | 66.38 | 54.25 | 52.98 | 42.38 | 42.73 | 41.13 | 33.44 | 31.17 | 40.72 | 33.74 | 36.04 | 32.5 | 29.02 | 25.95 | 26.55 | 21.2 | 28.65 | 26.37 | 25.23 | 22.68 | 20.95 | 17.92 | 15.75
280 | 144.2 | 198.1 | 179.3 | 210.2 | 156.1 | 157.2 | 195.1 | 174.7 | 178.5 | 183.1 | 721.3 | 9999.9 | 9999.9 | 9999.9 | 846.9 | 153.2 | 140.2 | 125.1 | 95.47 | 88.79 | 99.7 | 70.35 | 76.89 | 74.01 | 50.46 | 56.87 | 46.23 | 49.17 | 44.15 | 38.82 | 41.72 | 40.01 | 33.96 | 32.48 | 34.69 | 35.33 | 34.91 | 27.33 | 26.87 | 27.06 | 24.23 | 23.82 | 20.09 | 18.82 | 18.21 | 20.36 | 12.97
285 | 192.3 | 202.4 | 115 | 206.3 | 174.3 | 197.3 | 154.1 | 182.8 | 233.7 | 213.9 | 187.9 | 821.9 | 9999.9 | 9999.9 | 9999.9 | 1097 | 181.8 | 129.7 | 102 | 100.1 | 80.45 | 81.84 | 74.7 | 73.25 | 57.98 | 59.2 | 57.57 | 43.33 | 38.64 | 37.96 | 40.79 | 33.68 | 34.35 | 26.61 | 39.34 | 29.38 | 29.76 | 29.75 | 27.37 | 19.58 | 22.01 | 29.51 | 26.63 | 24.89 | 19.29 | 19.3 | 16.04
290 | 204.4 | 178.9 | 148.5 | 208.1 | 194.1 | 189.4 | 131.1 | 157.3 | 230.1 | 252.7 | 288.1 | 423.3 | 1015 | 9999.9 | 9999.9 | 9999.9 | 1054 | 128.9 | 130 | 136.3 | 109.7 | 78.99 | 70.79 | 74.05 | 72.02 | 50.23 | 50.22 | 48.8 | 49.48 | 41.6 | 39.45 | 35.61 | 31.63 | 32.38 | 27.11 | 34.42 | 26.05 | 35.04 | 28.94 | 19.09 | 20.33 | 22.38 | 26.97 | 23.04 | 19.08 | 17.62 | 12.67
295 | 208.9 | 247.9 | 283.6 | 292.9 | 242.3 | 158.5 | 141.5 | 205.1 | 258.2 | 351 | 455.7 | 632.1 | 713.5 | 1389 | 9999.9 | 9999.9 | 9999.9 | 1355 | 131.8 | 150.4 | 129.6 | 94.21 | 68.72 | 67.96 | 78.68 | 49.75 | 50.87 | 41.09 | 51.55 | 43.64 | 46.83 | 43.29 | 29.45 | 29.7 | 26.13 | 25.13 | 26.79 | 28.19 | 26.35 | 28.6 | 18.26 | 27.89 | 22.69 | 23.42 | 18.17 | 17.8 | 20.04
300 | 208.6 | 269.5 | 310.6 | 297.3 | 265.7 | 240.5 | 222.4 | 289.5 | 225.2 | 484 | 806.2 | 1013 | 1159 | 1147 | 1537 | 9999.9 | 9999.9 | 9999.9 | 1403 | 152.4 | 113.8 | 95.52 | 68.29 | 73.19 | 65.19 | 58.94 | 68.15 | 52.18 | 43.05 | 34.47 | 43.73 | 42.6 | 34.33 | 33.98 | 33.79 | 31.58 | 30.42 | 22.68 | 25.46 | 26.67 | 25.41 | 26.94 | 22.61 | 20.9 | 18.26 | 21.98 | 19.63
305 | 262 | 301.6 | 313.6 | 283.9 | 319.1 | 262.7 | 251.6 | 296.6 | 396 | 557.6 | 783.2 | 1240 | 1639 | 1593 | 1396 | 1488 | 9999.9 | 9999.9 | 9999.9 | 1159 | 139.8 | 123.3 | 100.1 | 86.68 | 74.36 | 69.1 | 61.26 | 46.21 | 44.88 | 42.69 | 44.97 | 34.09 | 33.6 | 32.75 | 39.03 | 27.3 | 31.97 | 27.98 | 21.1 | 29.67 | 24.31 | 23.73 | 24.29 | 17.65 | 16.49 | 19 | 20.93
310 | 265.3 | 377.1 | 450.1 | 406 | 292.3 | 308.8 | 299.5 | 352.8 | 484.2 | 717.1 | 1009 | 1507 | 2171 | 2106 | 2241 | 1285 | 1179 | 9999.9 | 9999.9 | 9999.9 | 1254 | 139.7 | 107.3 | 84.66 | 80.89 | 71.97 | 57.94 | 44.78 | 48.87 | 40.99 | 47.48 | 37.34 | 35.24 | 27.61 | 42.66 | 25.39 | 23.97 | 24.21 | 23.77 | 19.15 | 27.21 | 27.08 | 21.89 | 18.94 | 21.58 | 21.72 | 17.34
315 | 271.7 | 394.7 | 433.3 | 603.2 | 293.3 | 332.8 | 312 | 417.1 | 540.1 | 815.5 | 1300 | 1798 | 2474 | 3072 | 2609 | 1503 | 801.4 | 1021 | 9999.9 | 9999.9 | 9999.9 | 1260 | 119.2 | 95.59 | 94.86 | 64.91 | 65.58 | 61.59 | 35.55 | 45.52 | 43.28 | 37.74 | 38.53 | 26.34 | 33.02 | 26.61 | 22.91 | 27.36 | 25.02 | 26.76 | 22.46 | 21.25 | 21.09 | 23.74 | 20.38 | 15.63 | 18.87
320 | 261 | 457.4 | 536.5 | 570.5 | 320.9 | 269.8 | 333.4 | 390 | 578.6 | 913.7 | 1515 | 2133 | 2823 | 3317 | 3352 | 1971 | 920 | 443.8 | 922.9 | 9999.9 | 9999.9 | 9999.9 | 1106 | 150.3 | 109.5 | 87.04 | 72.31 | 62.32 | 47.69 | 41.56 | 42.03 | 39.03 | 34.82 | 43.05 | 33.37 | 25.37 | 24.71 | 23.35 | 25.9 | 23.63 | 22.36 | 22.7 | 21.27 | 26.96 | 23.49 | 22.05 | 18.97
325 | 276.1 | 432 | 545.3 | 546 | 462.2 | 395.7 | 314.5 | 400.3 | 659.6 | 1063 | 1619 | 2196 | 2813 | 3567 | 3366 | 2326 | 1133 | 485.5 | 304.4 | 890.8 | 9999.9 | 9999.9 | 9999.9 | 1223 | 138.8 | 94.98 | 89.35 | 68.36 | 64.18 | 55.21 | 54.37 | 48.01 | 40.18 | 48 | 31.67 | 31.79 | 30.23 | 25.85 | 24.56 | 16.87 | 25.18 | 21.14 | 18.69 | 20.41 | 21.96 | 22.52 | 19.03
330 | 311.8 | 411.9 | 530.8 | 498.6 | 473.8 | 313.7 | 370.7 | 481 | 662 | 970.4 | 1757 | 2296 | 3187 | 3787 | 3220 | 2641 | 1415 | 502.1 | 293.1 | 234.7 | 867.7 | 9999.9 | 9999.9 | 9999.9 | 1058 | 142.6 | 93.19 | 72.65 | 64.92 | 50.02 | 54.17 | 47.11 | 47.5 | 32.17 | 32.35 | 32.92 | 27.37 | 30.81 | 25.08 | 23.8 | 17.9 | 20.72 | 21.99 | 20.12 | 18.63 | 25.08 | 23.86
335 | 328.7 | 438.6 | 540.8 | 510.7 | 377.7 | 298.7 | 393.4 | 494 | 713.7 | 1016 | 1735 | 2165 | 3135 | 3571 | 3351 | 2398 | 1443 | 661.7 | 267 | 192.7 | 211.9 | 831.3 | 9999.9 | 9999.9 | 9999.9 | 1045 | 115.3 | 90.64 | 70.78 | 59.58 | 50.3 | 38.1 | 39.65 | 31.53 | 37.59 | 32.61 | 27.22 | 26.46 | 29.59 | 21.46 | 20.59 | 20.78 | 14.41 | 17.99 | 19.9 | 19.75 | 20.47
340 | 268.8 | 417.4 | 564.8 | 420.5 | 376.6 | 306.8 | 317.3 | 399.2 | 635.1 | 931.4 | 1536 | 1997 | 2722 | 3269 | 3381 | 2315 | 1253 | 758.8 | 353 | 166.3 | 163.1 | 203.7 | 837.2 | 9999.9 | 9999.9 | 9999.9 | 910.6 | 118.2 | 75.07 | 74.33 | 54.56 | 50.66 | 42.65 | 34.43 | 36.65 | 34.84 | 34.55 | 28.65 | 24.33 | 26.37 | 22.99 | 25.42 | 17.93 | 15.33 | 19.93 | 20.93 | 18.63
345 | 268.7 | 374.4 | 475.6 | 392.9 | 383.6 | 335.6 | 331.9 | 429.9 | 657.6 | 934.3 | 1478 | 1998 | 2707 | 3063 | 2849 | 2111 | 1134 | 665.8 | 515.5 | 237.4 | 167.9 | 163.3 | 224.4 | 820.2 | 9999.9 | 9999.9 | 9999.9 | 866.8 | 104.3 | 92.42 | 74.32 | 56.78 | 47.97 | 41.54 | 37.3 | 35.87 | 31.68 | 26.77 | 20.99 | 20.68 | 23.3 | 23 | 19.25 | 19.91 | 19.96 | 17.59 | 15.82
350 | 293.6 | 320 | 449 | 355.3 | 288.5 | 247 | 341.1 | 410.5 | 557.4 | 842.1 | 1356 | 1806 | 2391 | 2772 | 2641 | 1912 | 923.2 | 474.8 | 419 | 329 | 199.8 | 127.5 | 140.5 | 173.6 | 820 | 9999.9 | 9999.9 | 9999.9 | 805 | 118.6 | 83.05 | 69.94 | 48.26 | 49.94 | 38.53 | 31.69 | 36.19 | 31.05 | 27.56 | 25.1 | 23.79 | 23.45 | 23.75 | 19.13 | 18.52 | 17.68 | 18.12
355 | 261.1 | 324.2 | 428.9 | 398.2 | 285.8 | 272.6 | 250.1 | 298.1 | 482.2 | 833.2 | 1156 | 1614 | 2121 | 2225 | 2424 | 1780 | 883.4 | 405.3 | 228.8 | 439.9 | 297.3 | 152.2 | 114.9 | 114.6 | 187.9 | 816.6 | 9999.9 | 9999.9 | 9999.9 | 803 | 113.9 | 72.61 | 50.52 | 49.25 | 37.74 | 38.26 | 32.69 | 26.17 | 28.18 | 24.93 | 26.51 | 24.25 | 22.16 | 19.91 | 18.4 | 18.81 | 18.4
360 | 229.1 | 277.2 | 404.1 | 359.2 | 328.9 | 290.3 | 288.8 | 297.1 | 428.7 | 602.8 | 1050 | 1501 | 1840 | 2065 | 1934 | 1363 | 772.7 | 355.8 | 194.1 | 236.3 | 365.7 | 229.2 | 118.5 | 105.2 | 132.1 | 177.4 | 801.1 | 9999.9 | 9999.9 | 9999.9 | 691.7 | 117.3 | 72.58 | 54.57 | 39.36 | 38.1 | 30.37 | 33.36 | 27.48 | 22.2 | 24.53 | 24.62 | 21.31 | 20.23 | 20.67 | 14.82 | 16.97
365 | 233.5 | 284.2 | 345.7 | 351.8 | 344.9 | 232.2 | 274.1 | 365.4 | 371.2 | 595.2 | 875.2 | 1137 | 1652 | 1803 | 1644 | 1261 | 759.1 | 342.4 | 205.8 | 204.3 | 219.4 | 357.6 | 204.1 | 144.6 | 102.6 | 116.1 | 162.5 | 820.6 | 9999.9 | 9999.9 | 9999.9 | 691.8 | 93.36 | 62.64 | 61.24 | 42.16 | 33.71 | 32.5 | 24.7 | 25.41 | 25.87 | 23.24 | 18.18 | 22.64 | 18.85 | 18.88 | 16.04
370 | 189.3 | 280.5 | 304.7 | 298.3 | 228.2 | 228.1 | 289 | 244.8 | 386.1 | 501.8 | 695.3 | 903 | 1249 | 1416 | 1563 | 1092 | 551.5 | 287.5 | 233.8 | 193.3 | 134.9 | 265.9 | 318.1 | 135.9 | 121.9 | 119 | 100.5 | 163.4 | 801.6 | 9999.9 | 9999.9 | 9999.9 | 642.6 | 83.92 | 69.59 | 48.47 | 39.06 | 31.22 | 32.58 | 30.05 | 26.55 | 20.74 | 20.71 | 17.32 | 16.72 | 21.69 | 18.2
375 | 214 | 304.6 | 327 | 255.7 | 222 | 180.6 | 203.6 | 227 | 336.6 | 470.8 | 649.6 | 916.3 | 1138 | 1137 | 1213 | 874.4 | 501.2 | 278.2 | 178.2 | 152.1 | 116.9 | 145.9 | 294.9 | 246.6 | 129.7 | 115.8 | 93.72 | 117.8 | 164.8 | 815.8 | 9999.9 | 9999.9 | 9999.9 | 565.2 | 107 | 66.76 | 45.99 | 36.24 | 30.88 | 25.16 | 25.85 | 25.1 | 20.47 | 19.63 | 19.52 | 18.44 | 17.84
380 | 179.8 | 232.7 | 276.5 | 276 | 221 | 233.3 | 218.7 | 230.5 | 258 | 427.4 | 525.9 | 706 | 885 | 1008 | 1063 | 718.6 | 476.9 | 280.7 | 184.2 | 169.3 | 130.6 | 126.9 | 178.8 | 290.3 | 185.9 | 114.5 | 93.47 | 81.56 | 99.86 | 144.3 | 802.3 | 9999.9 | 9999.9 | 9999.9 | 561.3 | 79.42 | 60.5 | 47.95 | 34.59 | 29.68 | 26.31 | 25.69 | 25.26 | 22.77 | 18.56 | 17.51 | 15.23
385 | 182.5 | 170.2 | 263.2 | 333.7 | 242.3 | 188.4 | 202.4 | 163.9 | 306.4 | 354.2 | 458.4 | 570.1 | 680 | 925.7 | 800.9 | 624.2 | 412.6 | 239.9 | 186.6 | 161.2 | 134.1 | 131.5 | 135.1 | 186.3 | 281.5 | 171.8 | 95.25 | 83.7 | 86.74 | 106.5 | 143.4 | 797.7 | 9999.9 | 9999.9 | 9999.9 | 466.9 | 87.91 | 64.85 | 43.98 | 30.84 | 31.42 | 26.59 | 22.09 | 21.86 | 19.71 | 22.23 | 17.07
390 | 186.5 | 269.9 | 195.7 | 273.7 | 175.7 | 183.5 | 207 | 185.5 | 225.3 | 274.1 | 350.7 | 480.9 | 597.8 | 666.1 | 727.9 | 491.7 | 354 | 215.2 | 183.1 | 150.1 | 154.5 | 159.8 | 118.2 | 160.9 | 161.2 | 220 | 135.5 | 88.23 | 85.45 | 94.44 | 86.65 | 138.7 | 762.8 | 9999.9 | 9999.9 | 9999.9 | 503.2 | 69.32 | 52.36 | 46.01 | 35.53 | 27.28 | 23.51 | 19.8 | 20.92 | 19.01 | 16.09
395 | 205.7 | 192.6 | 233.3 | 227.6 | 186.5 | 160.3 | 177.5 | 203.7 | 202.5 | 239.8 | 310 | 403.2 | 535.2 | 603.4 | 653 | 438.8 | 284 | 231.3 | 169.8 | 131.2 | 152.5 | 134.6 | 139.8 | 157.7 | 147.6 | 203.9 | 211.7 | 108.1 | 85.25 | 75.01 | 85.75 | 100.4 | 131.6 | 780.4 | 9999.9 | 9999.9 | 9999.9 | 424 | 72.56 | 56.63 | 38.93 | 32.06 | 31.36 | 24.58 | 21.55 | 19.22 | 17.21
400 | 194.8 | 186.3 | 243.6 | 231.8 | 128.3 | 205.7 | 218 | 202.4 | 233.5 | 243.8 | 273.5 | 390.5 | 379.1 | 492.8 | 528.1 | 389 | 283.4 | 188.6 | 157.2 | 136.4 | 139.8 | 126.3 | 137 | 137.2 | 146.6 | 137.1 | 194.9 | 178.5 | 105.5 | 82.17 | 86.07 | 88.01 | 80.85 | 118.5 | 760.7 | 9999.9 | 9999.9 | 9999.9 | 355.6 | 70.44 | 50.29 | 35.74 | 32.2 | 25.37 | 21.04 | 19.08 | 21.64
405 | 158.6 | 210.2 | 195.7 | 215.7 | 186.3 | 186.7 | 193.6 | 203.5 | 180.4 | 197.6 | 252.1 | 341.9 | 401.5 | 368.6 | 457 | 344.6 | 257 | 185.7 | 210 | 141.9 | 158.9 | 134.4 | 135.9 | 118.8 | 111.9 | 98.16 | 108.5 | 227.2 | 135.9 | 83.66 | 84.15 | 82.58 | 74.27 | 75.1 | 115.5 | 739.7 | 9999.9 | 9999.9 | 9999.9 | 374.5 | 58.74 | 45.28 | 38.46 | 31.61 | 29.87 | 22.12 | 18.41
410 | 192.9 | 207.1 | 212 | 240.5 | 161.4 | 211.5 | 215.2 | 164.1 | 158.8 | 230.8 | 237.3 | 242.4 | 304.4 | 373.8 | 340.7 | 315.6 | 225.8 | 187.5 | 188.8 | 164.1 | 136 | 165.3 | 137.8 | 136.6 | 112.7 | 113.6 | 91.7 | 127.2 | 212.8 | 117.5 | 90.04 | 99.47 | 68.79 | 75.67 | 71.46 | 121.5 | 754.8 | 9999.9 | 9999.9 | 9999.9 | 332.3 | 59.57 | 44.76 | 31.97 | 25.42 | 24.23 | 22.5
415 | 208.3 | 191.7 | 200.9 | 187.9 | 210.3 | 193.6 | 218.8 | 182.5 | 169.6 | 222.4 | 250.5 | 280.9 | 277.3 | 338 | 336.1 | 239.2 | 214.4 | 211.8 | 187.6 | 150.5 | 140.2 | 138.8 | 150.4 | 147.6 | 122.3 | 119.1 | 105.1 | 113.5 | 182.8 | 190.6 | 117.8 | 114.6 | 86.41 | 66.39 | 70.34 | 72.89 | 128.1 | 759.9 | 9999.9 | 9999.9 | 9999.9 | 323.9 | 57.29 | 43.55 | 33.74 | 24.62 | 21
420 | 138.5 | 239.9 | 237.7 | 145.3 | 231 | 199.6 | 166.9 | 174.1 | 146.7 | 177.9 | 193.9 | 236.1 | 303.3 | 280.2 | 286.6 | 254.9 | 191.3 | 199 | 162.3 | 166.4 | 156.7 | 133 | 135.9 | 135.8 | 106 | 124.1 | 103.6 | 105.7 | 142.5 | 188.5 | 218.5 | 146.4 | 87.42 | 77.63 | 77.83 | 74 | 84.93 | 139.6 | 758.5 | 9999.9 | 9999.9 | 9999.9 | 287.6 | 59.36 | 41.18 | 34.46 | 22.31
425 | 171.5 | 161.4 | 218.9 | 183.1 | 212 | 214.6 | 152.7 | 159.1 | 156.5 | 259.6 | 231.4 | 227.4 | 222.3 | 223 | 271 | 277.5 | 184 | 165.6 | 159.9 | 177.3 | 157.7 | 145.1 | 133.4 | 142.4 | 142.9 | 131.2 | 96.88 | 108 | 108.3 | 134.9 | 207.4 | 185.8 | 108.3 | 109.1 | 96.58 | 92.81 | 95.07 | 107.5 | 146.8 | 770 | 9999.9 | 9999.9 | 9999.9 | 242.8 | 59.11 | 40.81 | 29.35
430 | 250.8 | 215.3 | 216.3 | 181.8 | 242 | 162.3 | 153 | 220.9 | 181.7 | 160.8 | 230.6 | 227.6 | 233.2 | 237.8 | 253.1 | 216.5 | 181.9 | 171.1 | 163.1 | 159.2 | 149.8 | 172.9 | 137.5 | 142.3 | 119.5 | 134.3 | 142.4 | 131.7 | 109.5 | 119.3 | 177.5 | 225.6 | 139.8 | 112.5 | 124.7 | 115.8 | 125.4 | 115.9 | 124.1 | 155.2 | 772.8 | 9999.9 | 9999.9 | 9999.9 | 249.5 | 51.1 | 34.06
435 | 391 | 213.9 | 243.1 | 161.7 | 177 | 183.6 | 179.4 | 179.5 | 147.1 | 212.6 | 217 | 205.4 | 228.2 | 230.7 | 221.8 | 256.4 | 205.5 | 164.3 | 154.1 | 166.9 | 150.3 | 149.5 | 147.1 | 154.6 | 158.1 | 138.7 | 147.8 | 129.4 | 147.9 | 125.5 | 146.2 | 220.9 | 240.3 | 168.5 | 165.6 | 164.3 | 169.2 | 157.6 | 154.5 | 154.1 | 157.2 | 775.9 | 9999.9 | 9999.9 | 9999.9 | 246.7 | 42.54
440 | 531.6 | 392.4 | 195.6 | 193.8 | 222.6 | 175.5 | 177.2 | 152.7 | 159.4 | 177.1 | 195.4 | 215 | 260.9 | 281.3 | 219.3 | 218 | 235.8 | 172.8 | 148.5 | 197.4 | 170.8 | 163.2 | 139 | 167.3 | 144.1 | 128.2 | 132.5 | 135.9 | 129.7 | 143.1 | 172.4 | 210.3 | 233 | 221.7 | 201.7 | 193.5 | 211.5 | 200 | 182.9 | 167.2 | 144.3 | 159.4 | 758.3 | 9999.9 | 9999.9 | 9999.9 | 193.9
445 | 309.5 | 685 | 194.9 | 230.6 | 177.4 | 171.9 | 188.5 | 173.2 | 169.5 | 216.4 | 156.2 | 205.2 | 261 | 246.6 | 235.3 | 169.2 | 198.3 | 170.2 | 179.3 | 173.2 | 145.5 | 158.2 | 162.3 | 148.8 | 153.8 | 155.2 | 159 | 134 | 150.1 | 166.7 | 177 | 235.2 | 216.9 | 265.1 | 263.6 | 217.4 | 227 | 237 | 224.4 | 197.6 | 161.8 | 123.2 | 137.1 | 725.5 | 9999.9 | 9999.9 | 9999.9
450 | 275.1 | 944.4 | 405.6 | 231.5 | 240.7 | 209.2 | 173.1 | 142.1 | 175.3 | 171.6 | 188.8 | 234.5 | 206.4 | 222.9 | 257 | 215.3 | 214.6 | 140.4 | 166.2 | 151.5 | 151.9 | 166 | 148.6 | 146.6 | 153.2 | 152.2 | 154.2 | 154.3 | 169.9 | 171.3 | 178.7 | 222.1 | 229.6 | 242.3 | 315.8 | 282.7 | 267.7 | 265.9 | 243.3 | 215.7 | 179 | 127 | 92.3 | 113.1 | 732.2 | 9999.9 | 9999.9
455 | 249.9 | 538.7 | 1068 | 233.9 | 229.6 | 247 | 152.4 | 208.1 | 172.9 | 234.2 | 219.6 | 223.3 | 251.9 | 190.8 | 228 | 160 | 174.3 | 222 | 168.7 | 183.5 | 177.5 | 156.7 | 154.7 | 145.1 | 153.8 | 160.8 | 142.6 | 145.8 | 153.8 | 168.6 | 184.2 | 244.8 | 233.1 | 268.7 | 308.8 | 323.3 | 297.7 | 277.4 | 271 | 231 | 176.8 | 134.9 | 88.62 | 66.01 | 95.63 | 730 | 9999.9
460 | 232.3 | 343.5 | 1279 | 684.5 | 193.1 | 206 | 224.2 | 150.2 | 188.4 | 159.9 | 208.1 | 220.7 | 240.8 | 231.8 | 204.5 | 204.2 | 186.9 | 191.3 | 141 | 168.2 | 166.1 | 152.8 | 163.2 | 160.1 | 162 | 141.7 | 136.9 | 142 | 145.6 | 191.2 | 204.8 | 254.5 | 226.4 | 246.4 | 279.5 | 327.2 | 343.4 | 307.4 | 298.6 | 262.1 | 189 | 130.6 | 90.58 | 63.27 | 49.99 | 100.2 | 700.1
465 | 232.4 | 217.7 | 839.3 | 1756 | 335.3 | 219.8 | 207.2 | 152.9 | 221 | 165.3 | 213 | 241.2 | 246.4 | 238.6 | 227.8 | 209.4 | 214.6 | 155.1 | 149.7 | 178 | 145 | 167 | 163.1 | 146.4 | 113.2 | 146.4 | 155 | 158.9 | 170.8 | 211 | 203.5 | 267.8 | 239.9 | 270.1 | 272.2 | 306.5 | 329.9 | 300.2 | 289.6 | 253.8 | 187.6 | 133.5 | 91.29 | 55.05 | 49.28 | 43.97 | 83.38
470 | 182.1 | 153.6 | 273.2 | 2409 | 934.7 | 205.8 | 152.5 | 179.8 | 198.5 | 189.5 | 179.2 | 231.8 | 192.1 | 204.7 | 195.3 | 156.1 | 179.7 | 172.2 | 148.1 | 149.7 | 163.2 | 154.3 | 141.9 | 144 | 135 | 155.9 | 119.7 | 170 | 168 | 179.6 | 191.6 | 222.6 | 219.9 | 237.2 | 253.3 | 288 | 303 | 307.9 | 287.8 | 250.2 | 181.6 | 134.5 | 80.63 | 55.02 | 42.09 | 35.81 | 34.66
475 | 175.7 | 217.1 | 228.8 | 1305 | 2470 | 269.5 | 200.7 | 155.7 | 132.1 | 153.7 | 178.8 | 172.5 | 261.4 | 227.9 | 168.6 | 157.2 | 180.8 | 166.2 | 176.9 | 149.3 | 167.3 | 140.8 | 148 | 139.9 | 113.7 | 126.7 | 126.9 | 125.1 | 163 | 174.3 | 187.8 | 238.1 | 224.8 | 241.4 | 248.1 | 255.5 | 279.7 | 297.8 | 287.1 | 233.7 | 175 | 136.8 | 86.47 | 59.53 | 38.77 | 29.13 | 35.02
480 | 172.4 | 212.3 | 230.1 | 419.7 | 3219 | 1014 | 175.5 | 169.8 | 169.1 | 180.1 | 183.6 | 199 | 246 | 209.2 | 205.8 | 199.3 | 172.2 | 133.1 | 155.7 | 140 | 140.4 | 156.6 | 146 | 114.5 | 121.3 | 115.8 | 128 | 126.2 | 136.4 | 143.4 | 167 | 190.4 | 197.7 | 212.4 | 252.3 | 240.1 | 265.1 | 256.6 | 274.2 | 232.1 | 172 | 120.2 | 80.02 | 54.66 | 37.57 | 29.14 | 24.13
485 | 183.7 | 197.3 | 196.3 | 228.5 | 1832 | 3012 | 291.2 | 152.7 | 161.6 | 212.9 | 169.3 | 167.7 | 179.6 | 199.4 | 189.6 | 159.6 | 153.4 | 165.2 | 150.8 | 115.2 | 130.9 | 144.3 | 125.3 | 130 | 121.9 | 119.8 | 111.8 | 120.5 | 122.7 | 140.7 | 149.5 | 167.9 | 174.9 | 208.5 | 215.6 | 225.1 | 222.9 | 234 | 255.5 | 230.5 | 171 | 108.8 | 75.39 | 53.97 | 35.3 | 33.66 | 21.9
490 | 183.2 | 194.9 | 202.8 | 199.1 | 494.8 | 3997 | 1120 | 150.4 | 180.6 | 127.7 | 212.7 | 212.2 | 172.8 | 203.3 | 151.2 | 171.2 | 146.4 | 139.7 | 164.2 | 111.3 | 143.6 | 130.9 | 159.3 | 118.5 | 125.4 | 129.4 | 99.93 | 107.2 | 118.8 | 153.7 | 138.4 | 175 | 167.2 | 184.5 | 214.7 | 210.7 | 230.7 | 205.3 | 215.6 | 200 | 175.9 | 105.3 | 77.39 | 49.54 | 37.85 | 31.06 | 24.27
495 | 153.6 | 202.1 | 192 | 188.6 | 204.4 | 2372 | 3251 | 256.8 | 153.2 | 186.6 | 198.7 | 188.6 | 221.6 | 206.2 | 209.6 | 189.9 | 140 | 155.8 | 128.6 | 158.2 | 159.1 | 117.9 | 118.4 | 129.7 | 107.2 | 111.1 | 104.2 | 122.4 | 118.6 | 148.2 | 131.3 | 167.1 | 171.3 | 196.5 | 189.3 | 197.9 | 206.8 | 191 | 192.7 | 182.8 | 158.8 | 117.7 | 83.11 | 45.57 | 34.34 | 28.05 | 24.64
500 | 207.8 | 181.5 | 170.1 | 226.8 | 169.3 | 720.8 | 4241 | 844.8 | 183.9 | 135 | 186.1 | 172.8 | 159 | 199.4 | 147 | 168.5 | 143.7 | 119.4 | 128.1 | 106.2 | 121.1 | 144.1 | 104.2 | 82.95 | 93.62 | 106.2 | 117 | 91.19 | 104.8 | 115.6 | 124.2 | 150.9 | 135.8 | 165.6 | 181.6 | 153.9 | 170 | 182.1 | 179.7 | 154.1 | 130.1 | 103.1 | 71.18 | 54.76 | 27.05 | 26.37 | 25.83