## Sheet1
Report date: | 15:24:10, 04/15/2024
Sample: | 1
File name:
Run date: | 15:21:29, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/265.0 | 194.5
2 | 225.0/290.0 | 272
3 | 225.0/380.0 | 303.8
4 | 225.0/490.0 | 220.8
5 | 230.0/330.0 | 667.4
6 | 230.0/345.0 | 537
7 | 230.0/385.0 | 284.9
8 | 235.0/265.0 | 194.4
9 | 235.0/355.0 | 466.4
10 | 235.0/375.0 | 358.1
11 | 235.0/405.0 | 312.7
12 | 235.0/440.0 | 265.6
13 | 240.0/275.0 | 239.6
14 | 240.0/420.0 | 238
15 | 245.0/265.0 | 273.7
16 | 245.0/365.0 | 269
17 | 245.0/400.0 | 216.2
18 | 245.0/415.0 | 213.4
19 | 245.0/425.0 | 228.3
20 | 245.0/440.0 | 236.2
21 | 245.0/455.0 | 240.5
22 | 250.0/380.0 | 267
23 | 250.0/445.0 | 216.4
24 | 255.0/280.0 | 236.4
25 | 255.0/405.0 | 244.7
26 | 255.0/450.0 | 209.7
27 | 260.0/285.0 | 250.7
28 | 260.0/430.0 | 215.9
29 | 265.0/395.0 | 346.8
30 | 270.0/455.0 | 232
31 | 275.0/435.0 | 244.7
32 | 275.0/450.0 | 274.3
33 | 275.0/465.0 | 281.1
34 | 275.0/480.0 | 249.1
35 | 280.0/420.0 | 326.8
36 | 280.0/490.0 | 211.4
37 | 285.0/335.0 | 3467
38 | 285.0/440.0 | 271.4
39 | 290.0/260.0 | 141.7
40 | 290.0/325.0 | 3166
41 | 290.0/420.0 | 307.5
42 | 290.0/430.0 | 246.7
43 | 290.0/445.0 | 236
44 | 295.0/480.0 | 173.4
45 | 300.0/260.0 | 115.4
46 | 300.0/460.0 | 189.1
47 | 305.0/275.0 | 157.3
48 | 305.0/430.0 | 210.5
49 | 305.0/455.0 | 175.7
50 | 305.0/465.0 | 189.3
51 | 305.0/485.0 | 162.4
52 | 310.0/445.0 | 168.6
53 | 310.0/470.0 | 182.7
54 | 310.0/490.0 | 185.5
55 | 315.0/270.0 | 113.6
56 | 315.0/380.0 | 199
57 | 315.0/410.0 | 179.9
58 | 315.0/485.0 | 166.1
59 | 320.0/285.0 | 125
60 | 320.0/360.0 | 325.6
61 | 320.0/395.0 | 155.2
62 | 320.0/435.0 | 179.6
63 | 320.0/450.0 | 154.5
64 | 320.0/475.0 | 167.1
65 | 325.0/365.0 | 368.2
66 | 325.0/385.0 | 163
67 | 325.0/400.0 | 180.7
68 | 325.0/445.0 | 167.8
69 | 325.0/465.0 | 150.9
70 | 330.0/280.0 | 98.53
71 | 330.0/370.0 | 285.7
72 | 330.0/410.0 | 160.9
73 | 330.0/495.0 | 132.9
74 | 335.0/295.0 | 98.66
75 | 335.0/380.0 | 271.5
76 | 335.0/405.0 | 134.3
77 | 335.0/465.0 | 147.9
78 | 335.0/485.0 | 134.6
79 | 340.0/385.0 | 274.7
80 | 340.0/425.0 | 131.7
81 | 340.0/455.0 | 153
82 | 345.0/285.0 | 67.19
83 | 345.0/390.0 | 231.2
84 | 345.0/415.0 | 119.6
85 | 345.0/430.0 | 137.3
86 | 345.0/475.0 | 144.4
87 | 350.0/265.0 | 64.78
88 | 350.0/440.0 | 151.5
89 | 350.0/465.0 | 144.7
90 | 355.0/255.0 | 60.05
91 | 355.0/270.0 | 57.06
92 | 355.0/405.0 | 206.3
93 | 360.0/265.0 | 53.66
94 | 360.0/280.0 | 52.1
95 | 360.0/295.0 | 54.41
96 | 360.0/325.0 | 70.37
97 | 360.0/410.0 | 202.8
98 | 365.0/270.0 | 51.2
99 | 365.0/305.0 | 59.6
100 | 365.0/420.0 | 219.1
101 | 365.0/445.0 | 172.3
102 | 370.0/255.0 | 51.59
103 | 370.0/320.0 | 64.75
104 | 370.0/425.0 | 174.6
105 | 370.0/480.0 | 172
106 | 375.0/265.0 | 49.83
107 | 375.0/280.0 | 47.44
108 | 375.0/315.0 | 47.05
109 | 375.0/430.0 | 214.4
110 | 380.0/260.0 | 54.52
111 | 380.0/330.0 | 54.79
112 | 380.0/435.0 | 201.5
113 | 385.0/270.0 | 40.41
114 | 385.0/295.0 | 33.98
115 | 385.0/335.0 | 40.4
116 | 385.0/445.0 | 259.4
117 | 390.0/260.0 | 40.44
118 | 390.0/315.0 | 36.93
119 | 390.0/325.0 | 38.94
120 | 390.0/345.0 | 41.24
121 | 390.0/450.0 | 275.9
122 | 395.0/275.0 | 39.38
123 | 395.0/310.0 | 36.83
124 | 395.0/320.0 | 33.03
125 | 395.0/460.0 | 305.7
126 | 400.0/260.0 | 34.74
127 | 400.0/270.0 | 36.33
128 | 400.0/465.0 | 310.8
129 | 405.0/290.0 | 36.26
130 | 405.0/330.0 | 29.2
131 | 405.0/340.0 | 34.16
132 | 405.0/375.0 | 46.32
133 | 405.0/470.0 | 274.4
134 | 410.0/265.0 | 31.43
135 | 410.0/295.0 | 32.53
136 | 410.0/325.0 | 26.17
137 | 415.0/260.0 | 27.82
138 | 415.0/275.0 | 29.3
139 | 415.0/310.0 | 25.72
140 | 415.0/340.0 | 26.36
141 | 420.0/255.0 | 28.87
142 | 420.0/270.0 | 29.29
143 | 420.0/320.0 | 24.18
144 | 420.0/350.0 | 25.96
145 | 425.0/280.0 | 27.66
146 | 425.0/305.0 | 27.23
147 | 425.0/330.0 | 24.16
148 | 430.0/255.0 | 24.03
149 | 430.0/275.0 | 24.08
150 | 430.0/310.0 | 25.84
151 | 430.0/370.0 | 27.26
152 | 435.0/285.0 | 28.73
153 | 435.0/320.0 | 27.28
154 | 435.0/375.0 | 25.63
155 | 440.0/265.0 | 21.81
156 | 440.0/275.0 | 22.66
157 | 440.0/310.0 | 25.54
158 | 440.0/350.0 | 28.42
159 | 445.0/355.0 | 21.64
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 177.6 | 199.6 | 157.1 | 124.9 | 209.1 | 3641 | 9999.9 | 3746 | 203.2 | 120 | 115.5 | 129.3 | 101.9 | 123.4 | 119.2 | 133.2 | 111.8 | 108.9 | 104.3 | 106.8 | 67.67 | 76.01 | 73.01 | 56.92 | 55.85 | 39.88 | 47.12 | 43.16 | 51.99 | 54.19 | 49.46 | 36.45 | 36.57 | 37.99 | 36.66 | 38.17 | 33.6 | 30.15 | 25.53 | 22.44 | 25.31 | 22.63 | 23.34 | 19.19 | 14.58 | 11.71 | 12.1
255 | 165.6 | 137.9 | 169.9 | 172.2 | 187 | 353.5 | 3349 | 9999.9 | 7640 | 416.1 | 118.1 | 129.3 | 98.63 | 108.9 | 122.5 | 128.8 | 111.8 | 119.1 | 98.72 | 97.05 | 76 | 69.71 | 68.76 | 69.32 | 62.28 | 53.75 | 48.02 | 60.05 | 42.16 | 40.03 | 51.59 | 48.92 | 41.7 | 32.5 | 31.66 | 28.51 | 29.05 | 26.69 | 24.33 | 22.94 | 28.87 | 20.16 | 24.03 | 18.42 | 20.01 | 16.42 | 13.57
260 | 121.8 | 193.6 | 154.6 | 152.8 | 168.9 | 217.8 | 363.7 | 3679 | 9999.9 | 9228 | 480.5 | 99.72 | 132 | 117.5 | 141.7 | 99.29 | 115.4 | 113.3 | 89.82 | 102.5 | 94.63 | 78.05 | 80.21 | 63.41 | 69.61 | 47.29 | 57.53 | 50.89 | 46.84 | 36.91 | 39.79 | 37.85 | 54.52 | 31.02 | 40.44 | 30.83 | 34.74 | 29.69 | 24.8 | 27.82 | 23.35 | 21.85 | 23.2 | 20.23 | 20.07 | 18.52 | 13.51
265 | 145.6 | 194.5 | 176.5 | 194.4 | 152.2 | 273.7 | 181.3 | 359.7 | 4553 | 9999.9 | 9999.9 | 591.6 | 151.8 | 98.62 | 120.6 | 110 | 93.29 | 116.8 | 73.23 | 111.3 | 95.85 | 73.97 | 73.52 | 55.61 | 62.44 | 61.13 | 64.78 | 37.37 | 53.66 | 42.79 | 40.67 | 49.83 | 35.42 | 35.26 | 34.96 | 35.71 | 31.77 | 28.2 | 31.43 | 24.65 | 25.4 | 25.03 | 21.92 | 20.11 | 21.81 | 19.07 | 13.96
270 | 174.6 | 149.4 | 168.8 | 151.5 | 188.4 | 193.6 | 183.5 | 167.4 | 463.6 | 6308 | 9999.9 | 9999.9 | 707.4 | 122.1 | 136.2 | 117.6 | 124.1 | 107.5 | 101.8 | 113.6 | 94.54 | 71.38 | 78.21 | 65.66 | 58.03 | 55.12 | 56.91 | 57.06 | 44.98 | 51.2 | 42.38 | 28.82 | 39.94 | 40.41 | 36.39 | 31.42 | 36.33 | 25.06 | 25.1 | 27.14 | 29.29 | 24.66 | 22.61 | 17.96 | 18.04 | 15.17 | 15.72
275 | 147.5 | 131.8 | 171.2 | 225.7 | 239.6 | 146.9 | 183.2 | 171.2 | 188.5 | 541.3 | 7501 | 9999.9 | 9999.9 | 840.4 | 139.8 | 157.2 | 141.9 | 157.3 | 143.2 | 89.27 | 80.61 | 71.25 | 78.75 | 70.03 | 66.46 | 55.28 | 60.68 | 53.67 | 43.01 | 45.42 | 37.3 | 35.12 | 39.59 | 31.99 | 33.23 | 39.38 | 31.4 | 31.84 | 24.13 | 29.3 | 26.62 | 18.12 | 24.08 | 18.7 | 22.66 | 19.7 | 16.86
280 | 190.6 | 156.8 | 169.9 | 158.3 | 209 | 164.9 | 150.8 | 236.4 | 162.3 | 192.9 | 649.9 | 9999.9 | 9999.9 | 9999.9 | 897 | 145.9 | 147.7 | 131.2 | 117.9 | 86.11 | 85.83 | 95.6 | 98.53 | 70.91 | 58.77 | 59.08 | 52.39 | 48.43 | 52.1 | 40.2 | 37.04 | 47.44 | 31.71 | 31.38 | 31.58 | 38.52 | 26.26 | 29.24 | 24.22 | 21.06 | 26.88 | 27.66 | 19.6 | 23.79 | 17.96 | 19.61 | 17.11
285 | 225.1 | 216.5 | 159.7 | 226.3 | 149.1 | 132.1 | 136.7 | 164 | 250.7 | 232.9 | 231.9 | 824.5 | 9999.9 | 9999.9 | 9999.9 | 1116 | 160.9 | 134.9 | 124.1 | 109.1 | 125 | 74.56 | 70.82 | 73.68 | 58.72 | 67.19 | 52.54 | 50.6 | 48.13 | 36.23 | 39.03 | 35.99 | 35.99 | 31.36 | 30.69 | 35.39 | 32.59 | 33.05 | 22.68 | 23.73 | 23.19 | 25.61 | 20.72 | 28.73 | 22.05 | 17.71 | 15.77
290 | 214.2 | 272 | 207.4 | 229 | 185.9 | 207.7 | 204.1 | 156 | 172.3 | 305.5 | 363.2 | 398.1 | 1027 | 9999.9 | 9999.9 | 9999.9 | 1118 | 133 | 117.5 | 128.6 | 103.8 | 107.8 | 63.77 | 65.03 | 49.7 | 59.7 | 51.56 | 46.53 | 48.88 | 38.46 | 44.29 | 42.97 | 36.24 | 32.22 | 30.77 | 33.83 | 27.73 | 36.26 | 30.34 | 30.02 | 25.95 | 22.25 | 26.78 | 26.92 | 23.42 | 19.53 | 17.08
295 | 241.7 | 222 | 283.6 | 271.7 | 207.8 | 197.8 | 188.7 | 166.7 | 177.4 | 383.8 | 519.9 | 544.6 | 652.9 | 1205 | 9999.9 | 9999.9 | 9999.9 | 1263 | 176.4 | 121 | 121.2 | 109.7 | 73.36 | 98.66 | 54.55 | 62.65 | 50.29 | 39.78 | 54.41 | 50.73 | 50.68 | 34.31 | 30.56 | 33.98 | 29.11 | 32.93 | 24.07 | 29.3 | 32.53 | 26.68 | 26.51 | 22.96 | 21.38 | 20.55 | 17.84 | 22.68 | 16.4
300 | 212.5 | 246.3 | 303.1 | 308 | 200.3 | 229.8 | 194.5 | 208.7 | 266.7 | 359.3 | 707 | 980.7 | 991.9 | 974.2 | 1354 | 9999.9 | 9999.9 | 9999.9 | 1338 | 143.9 | 126.5 | 123.3 | 95.97 | 95.9 | 64.08 | 69.82 | 60.9 | 52.85 | 46.54 | 43.92 | 35.88 | 40.78 | 38.59 | 32.51 | 26.22 | 26.71 | 29.5 | 27.67 | 32.33 | 23.62 | 25.07 | 20.58 | 20.85 | 20.65 | 19.85 | 20.12 | 18.98
305 | 227.1 | 285.2 | 340.8 | 293.4 | 337.4 | 232.4 | 229.2 | 301.3 | 367.2 | 468.1 | 845.2 | 1200 | 1480 | 1487 | 1364 | 1468 | 9999.9 | 9999.9 | 9999.9 | 1204 | 162.4 | 140.7 | 101.7 | 96.65 | 78.84 | 61.91 | 51.28 | 54.88 | 49.29 | 59.6 | 51.02 | 40.84 | 33.61 | 31.56 | 31.08 | 24.25 | 29.94 | 29.03 | 26.46 | 23.82 | 25.65 | 27.23 | 22.36 | 16.72 | 18.06 | 22.99 | 21.18
310 | 306.3 | 297.6 | 367.2 | 390.3 | 332 | 236.7 | 271.4 | 280.5 | 405.3 | 723 | 983.7 | 1462 | 1953 | 2014 | 1697 | 1112 | 1220 | 9999.9 | 9999.9 | 9999.9 | 1330 | 179.9 | 110.6 | 107 | 73.78 | 80.44 | 47.8 | 61.97 | 50.77 | 40.86 | 34.93 | 41.1 | 34.02 | 30.36 | 27.77 | 36.83 | 30.98 | 23.15 | 25.29 | 25.72 | 22.41 | 24.76 | 25.84 | 22.05 | 25.54 | 20.83 | 18.6
315 | 265.1 | 343.6 | 473.7 | 459.7 | 340.9 | 220.9 | 417.8 | 327 | 516.3 | 824.8 | 1205 | 1785 | 2204 | 2687 | 2561 | 1476 | 737.1 | 1009 | 9999.9 | 9999.9 | 9999.9 | 1362 | 119.8 | 129.9 | 84.51 | 89.27 | 72.23 | 66.94 | 55.18 | 45.73 | 43.81 | 47.05 | 38.61 | 30.5 | 36.93 | 26.56 | 28.02 | 25.02 | 18.58 | 24.88 | 22.45 | 24.43 | 18.19 | 24.91 | 21.43 | 17.17 | 18.15
320 | 252.3 | 405.2 | 560.5 | 426.8 | 420.9 | 263.5 | 287.7 | 387.5 | 666.2 | 923.2 | 1433 | 2076 | 2471 | 2982 | 2676 | 1951 | 904.9 | 444.8 | 914.8 | 9999.9 | 9999.9 | 9999.9 | 1065 | 154.5 | 109.2 | 82.49 | 69.58 | 65.6 | 51.34 | 40.46 | 64.75 | 44.47 | 39.18 | 35.67 | 29.27 | 33.03 | 30.17 | 31.99 | 21.53 | 24.15 | 24.18 | 22.48 | 25.44 | 27.28 | 25.05 | 21.35 | 21.2
325 | 302.8 | 538.9 | 558.7 | 574 | 443 | 281.3 | 328 | 406.5 | 622.7 | 918.9 | 1397 | 2341 | 2715 | 2928 | 3166 | 1973 | 1011 | 481.3 | 336 | 895.2 | 9999.9 | 9999.9 | 9999.9 | 1050 | 134.5 | 91.28 | 73.85 | 60.08 | 70.37 | 52.77 | 51.72 | 45.2 | 32.83 | 33.72 | 38.94 | 27.56 | 22.77 | 24.2 | 26.17 | 22.89 | 21.05 | 20.26 | 21.77 | 23.13 | 21.7 | 20.36 | 19.12
330 | 254 | 377.7 | 667.4 | 548.1 | 370.2 | 328.5 | 295.3 | 347 | 571.7 | 1100 | 1483 | 2434 | 2848 | 3193 | 3008 | 2283 | 1155 | 499.9 | 240.7 | 265.1 | 842.1 | 9999.9 | 9999.9 | 9999.9 | 988.5 | 123.1 | 106.3 | 64.89 | 61.85 | 57.35 | 49.95 | 44.21 | 54.79 | 35.75 | 30.26 | 23.21 | 27.66 | 29.2 | 24.86 | 23.4 | 21.44 | 24.16 | 20.22 | 19.2 | 20.94 | 20.52 | 21.83
335 | 222.4 | 499.3 | 598.1 | 591.6 | 303.2 | 321.7 | 312 | 448.1 | 680.8 | 888.3 | 1561 | 1938 | 2928 | 3467 | 3095 | 2216 | 1280 | 580.6 | 270.3 | 172.2 | 223.9 | 819.2 | 9999.9 | 9999.9 | 9999.9 | 1008 | 138.6 | 99.71 | 70.89 | 63.01 | 51.08 | 41.32 | 37.89 | 40.4 | 36.11 | 30.31 | 24.33 | 22.11 | 23.1 | 25.96 | 22.73 | 22.56 | 22.95 | 21.48 | 21.38 | 20.76 | 20.36
340 | 326.1 | 307 | 480.7 | 545.3 | 386.5 | 262.1 | 286.7 | 437.1 | 585.2 | 978.8 | 1466 | 2155 | 2705 | 3273 | 2978 | 1950 | 1063 | 738.9 | 334.8 | 159.8 | 133.5 | 232.6 | 847.7 | 9999.9 | 9999.9 | 9999.9 | 953.9 | 123.7 | 93.23 | 60.69 | 48.89 | 56.08 | 44.65 | 32.34 | 30.02 | 28.55 | 28.06 | 34.16 | 23.51 | 26.36 | 21.1 | 23.18 | 20.18 | 17.01 | 15.8 | 17.44 | 19.25
345 | 264.2 | 374.3 | 537 | 461.2 | 326.6 | 341.8 | 283.8 | 396.8 | 535.7 | 905.5 | 1389 | 2081 | 2433 | 2801 | 2722 | 1902 | 847.8 | 513.7 | 528.9 | 195.2 | 170.2 | 168.6 | 170.1 | 851.4 | 9999.9 | 9999.9 | 9999.9 | 871.2 | 121.3 | 86.3 | 70.31 | 54.75 | 42.25 | 38.7 | 41.24 | 30.03 | 26.26 | 29.72 | 25.95 | 23.7 | 21.63 | 21.53 | 20.68 | 19.17 | 20.7 | 14.64 | 12.47
350 | 293.2 | 356.9 | 461.1 | 360.2 | 288.5 | 241.4 | 296.6 | 370.7 | 497.4 | 826.7 | 1234 | 1727 | 2065 | 2586 | 2415 | 1709 | 942.8 | 454.4 | 445.1 | 393.4 | 138.9 | 130.1 | 156.4 | 174.5 | 820.6 | 9999.9 | 9999.9 | 9999.9 | 846 | 117.1 | 77.33 | 71.45 | 51.43 | 45.04 | 38.82 | 31.96 | 24.75 | 24.09 | 24.7 | 24.51 | 25.96 | 21.53 | 19.49 | 23.22 | 28.42 | 19.04 | 16.08
355 | 291.3 | 294.8 | 444 | 466.4 | 329.8 | 240.1 | 293.4 | 333.2 | 558.6 | 843 | 1215 | 1541 | 1970 | 2168 | 2176 | 1398 | 841.4 | 434.4 | 252.3 | 378.6 | 254.6 | 129.5 | 117.4 | 121.5 | 160.6 | 787.6 | 9999.9 | 9999.9 | 9999.9 | 768.5 | 109.9 | 82.25 | 60.36 | 41.5 | 43.37 | 41.56 | 31.89 | 26.98 | 26.64 | 24.87 | 25.44 | 23.49 | 23.55 | 21.18 | 19.93 | 21.64 | 18.04
360 | 183.4 | 342.1 | 387.9 | 413.5 | 280.7 | 228.5 | 226.4 | 253.2 | 421.8 | 551.3 | 975.4 | 1242 | 1594 | 1740 | 1716 | 1366 | 644.3 | 352.2 | 208.9 | 206.1 | 325.6 | 203.9 | 124.7 | 124.9 | 129.6 | 172.7 | 787.1 | 9999.9 | 9999.9 | 9999.9 | 694 | 94.55 | 65.98 | 51.26 | 46.47 | 34.79 | 36.16 | 33.11 | 30.31 | 23.81 | 23.77 | 24.02 | 22.17 | 21.46 | 17.92 | 14.35 | 15.12
365 | 223.7 | 339.5 | 361.2 | 292.3 | 258.1 | 269 | 250.2 | 295.2 | 391.7 | 512 | 767.3 | 1052 | 1536 | 1635 | 1576 | 1056 | 599.3 | 332.5 | 214.2 | 141.8 | 198.2 | 368.2 | 197.3 | 116.3 | 127.2 | 117.2 | 155.7 | 810.2 | 9999.9 | 9999.9 | 9999.9 | 635.2 | 102 | 61.57 | 46.78 | 46.66 | 37.76 | 29.95 | 25.79 | 23.16 | 24.56 | 21.86 | 20.12 | 18.82 | 18.15 | 16.78 | 20.68
370 | 179.7 | 300.1 | 341.6 | 258.2 | 248.1 | 253.8 | 220.7 | 255 | 359.6 | 470.9 | 628.2 | 892.1 | 1220 | 1348 | 1268 | 981.6 | 546.4 | 295 | 197.7 | 176.9 | 137.7 | 243.7 | 285.7 | 131.1 | 112.2 | 101.3 | 121 | 159.7 | 802 | 9999.9 | 9999.9 | 9999.9 | 585.7 | 90.76 | 68.64 | 52.42 | 40.74 | 39.45 | 33.58 | 29.4 | 24.65 | 27.05 | 27.26 | 17.04 | 20.16 | 17.94 | 19.31
375 | 277.4 | 275.7 | 275.7 | 358.1 | 228 | 188.9 | 212.5 | 239.5 | 291.3 | 384.8 | 586 | 887.7 | 958.4 | 1184 | 1044 | 915.2 | 490.6 | 312 | 196.6 | 147.5 | 104 | 152.4 | 257.1 | 245.5 | 144.2 | 83.02 | 94.82 | 107.1 | 174.7 | 781.8 | 9999.9 | 9999.9 | 9999.9 | 537.4 | 82.89 | 56.2 | 43.13 | 46.32 | 40.48 | 29.25 | 25.59 | 20.48 | 20.91 | 25.63 | 20.03 | 17.97 | 16.32
380 | 225.1 | 303.8 | 270.7 | 276.9 | 265.4 | 210.4 | 267 | 199.7 | 278.8 | 295.7 | 573.6 | 758.2 | 827.3 | 930.3 | 980.7 | 722.2 | 383.7 | 259.6 | 157.9 | 199 | 141.9 | 124.7 | 172.5 | 271.5 | 185.6 | 103.4 | 97.37 | 101.5 | 112.6 | 153 | 761.6 | 9999.9 | 9999.9 | 9999.9 | 530.4 | 80.3 | 58.75 | 40.15 | 36.53 | 33.41 | 32.34 | 21.36 | 25.04 | 24.34 | 18.63 | 19.01 | 17.86
385 | 233.4 | 240 | 284.9 | 253.9 | 245.8 | 167.1 | 228.5 | 236.4 | 233.4 | 312.9 | 400 | 591.6 | 741.4 | 813.9 | 732.8 | 592.9 | 375.5 | 228.5 | 153.4 | 169.1 | 125.3 | 163 | 120.5 | 166.6 | 274.7 | 165.9 | 92.31 | 90.49 | 79.41 | 98.16 | 151.3 | 785.2 | 9999.9 | 9999.9 | 9999.9 | 472.5 | 84.36 | 62.22 | 36.19 | 38.33 | 33.12 | 26.57 | 23.69 | 24.97 | 16.89 | 18.6 | 18.2
390 | 175.1 | 183.2 | 273.3 | 257.9 | 202.5 | 194.3 | 190 | 214.8 | 244 | 266.9 | 354.2 | 506.8 | 612.6 | 727.6 | 594.1 | 499.5 | 291.8 | 190.5 | 156.9 | 174.5 | 134.7 | 132.6 | 127.9 | 131 | 165.7 | 231.2 | 126.6 | 89.45 | 92.06 | 84.38 | 88.37 | 125.6 | 771.9 | 9999.9 | 9999.9 | 9999.9 | 460.8 | 77.9 | 54.93 | 43.01 | 27.32 | 29.95 | 28.64 | 23.27 | 22.73 | 17.42 | 17.47
395 | 161.9 | 174.2 | 253 | 195 | 185.6 | 214.6 | 214.4 | 171 | 269.4 | 346.8 | 275 | 413 | 457 | 563.1 | 473.5 | 431.8 | 279.9 | 201.8 | 151.9 | 143.6 | 155.2 | 126.1 | 121.6 | 131.1 | 120.9 | 214.4 | 201 | 116.8 | 70.31 | 81.96 | 85.61 | 83.78 | 132.3 | 766.3 | 9999.9 | 9999.9 | 9999.9 | 367.6 | 70.22 | 49.58 | 37.56 | 32.18 | 26.71 | 28.01 | 20.79 | 19.77 | 18.04
400 | 169.8 | 209.2 | 264.9 | 195.8 | 194.7 | 216.2 | 192.4 | 172.9 | 222.7 | 240.6 | 270.2 | 326.5 | 430 | 452.4 | 460.4 | 379 | 266.1 | 162.4 | 156.8 | 146.1 | 137.1 | 180.7 | 131.4 | 131.8 | 119.7 | 120.5 | 192.7 | 188.2 | 91.83 | 70.37 | 86.45 | 75.73 | 77.32 | 120.3 | 755.2 | 9999.9 | 9999.9 | 9999.9 | 367.3 | 57.23 | 43.57 | 37.17 | 29.79 | 22.02 | 20.21 | 16.56 | 19.06
405 | 172.3 | 230.4 | 191.7 | 312.7 | 233.6 | 171.1 | 219.9 | 244.7 | 197.1 | 217.1 | 196 | 312 | 359.4 | 396.9 | 341.7 | 275.2 | 214.1 | 158.8 | 162.7 | 142 | 152.1 | 127.6 | 132.3 | 134.3 | 99.95 | 106.5 | 133.5 | 206.3 | 129.2 | 88.01 | 81.17 | 77.04 | 62.74 | 85.09 | 123 | 742.5 | 9999.9 | 9999.9 | 9999.9 | 379.2 | 60.56 | 47.62 | 33.08 | 27.77 | 22.64 | 18.07 | 16.88
410 | 176.1 | 211 | 225.3 | 238.1 | 195.9 | 192.2 | 202.1 | 183 | 164.1 | 195 | 227.1 | 229.4 | 306.7 | 315.4 | 305.1 | 296.4 | 199 | 168.9 | 138.9 | 179.9 | 143.4 | 139.1 | 160.9 | 111.3 | 104.8 | 94.47 | 106.5 | 125.8 | 202.8 | 117.6 | 79.32 | 79.85 | 72.54 | 58.64 | 67.29 | 120.8 | 743.3 | 9999.9 | 9999.9 | 9999.9 | 319 | 50.62 | 40.75 | 31.75 | 27.9 | 22.16 | 18.83
415 | 219.7 | 207.7 | 198.1 | 198.6 | 207.1 | 213.4 | 166.3 | 175.4 | 161.4 | 168.7 | 195.9 | 319.1 | 320.1 | 306.7 | 274.8 | 248.6 | 213.4 | 194.2 | 147.3 | 131.4 | 152.4 | 123.6 | 116.1 | 121.3 | 114.3 | 119.6 | 100.7 | 118.8 | 140.4 | 210.7 | 109.5 | 80.41 | 68.53 | 68.99 | 72 | 69.38 | 118.8 | 741.8 | 9999.9 | 9999.9 | 9999.9 | 296.8 | 61.06 | 39.21 | 31.05 | 23.39 | 22.01
420 | 190.2 | 199.2 | 223 | 212.6 | 238 | 196.7 | 219.3 | 198.1 | 193.3 | 178.5 | 176 | 208.9 | 326.8 | 264.3 | 307.5 | 243.2 | 202.6 | 159.4 | 161.2 | 154 | 155.3 | 144.9 | 139.1 | 133.8 | 122.3 | 107.7 | 109.2 | 101.3 | 130.5 | 219.1 | 169.7 | 106.3 | 81.54 | 78.43 | 70.27 | 70.16 | 82.28 | 124.6 | 763.9 | 9999.9 | 9999.9 | 9999.9 | 272 | 58.09 | 34.7 | 27.46 | 24.53
425 | 208.1 | 201.7 | 178.8 | 205.6 | 191.1 | 228.3 | 224.2 | 137.4 | 182.7 | 207.3 | 226.3 | 253.3 | 282.6 | 249 | 225.3 | 242.2 | 172.8 | 186.1 | 159.1 | 158.3 | 144.1 | 144.1 | 137.7 | 88.48 | 131.7 | 120 | 111.8 | 116.2 | 102.2 | 125.1 | 174.6 | 142.6 | 96.91 | 94.12 | 81.03 | 78.71 | 85.23 | 100.7 | 128.5 | 766.3 | 9999.9 | 9999.9 | 9999.9 | 236.6 | 50.78 | 38.5 | 26.22
430 | 298.4 | 167.4 | 182.6 | 227.9 | 201.1 | 173.8 | 187.4 | 171.2 | 215.9 | 197.6 | 201.8 | 220 | 201.8 | 219.2 | 246.7 | 209 | 187.2 | 210.5 | 147.9 | 143.6 | 149 | 122.2 | 144.8 | 107.8 | 122.3 | 137.3 | 119.3 | 109.1 | 116.7 | 119 | 155.6 | 214.4 | 133.7 | 119.9 | 114.3 | 114.8 | 113.7 | 120.9 | 107.4 | 136.1 | 752.4 | 9999.9 | 9999.9 | 9999.9 | 240.1 | 44.09 | 32.78
435 | 430.7 | 159.2 | 186.2 | 253.6 | 232.9 | 225.1 | 166.6 | 176.8 | 213.3 | 167.9 | 201.6 | 244.7 | 214.1 | 233.8 | 207.9 | 179.1 | 206.3 | 189 | 168.6 | 159.3 | 179.6 | 145.7 | 157.7 | 124.3 | 123.6 | 129.6 | 122.9 | 124.2 | 131.5 | 126.5 | 125.5 | 180.5 | 201.5 | 163.5 | 144.2 | 128.8 | 145.1 | 145 | 132.7 | 134.4 | 150.2 | 772.6 | 9999.9 | 9999.9 | 9999.9 | 215.1 | 38.94
440 | 515.4 | 324.7 | 209.3 | 265.6 | 205 | 236.2 | 155.9 | 152.2 | 175.2 | 159.2 | 196 | 231.4 | 201.5 | 271.4 | 194.2 | 215.8 | 214.9 | 165.8 | 153.9 | 151.1 | 142.5 | 163 | 145.1 | 146.4 | 138.1 | 129.7 | 151.5 | 135.3 | 127.4 | 154.1 | 139.2 | 171.4 | 200.3 | 212.1 | 188.4 | 175.7 | 186.4 | 175.6 | 175.6 | 152 | 126.3 | 148.1 | 743 | 9999.9 | 9999.9 | 9999.9 | 189.6
445 | 372.5 | 621.6 | 187 | 196.7 | 209.8 | 213.8 | 216.4 | 181.2 | 181.7 | 201.9 | 221.7 | 231 | 177.2 | 225.4 | 236 | 227.4 | 169.4 | 162.1 | 168.6 | 168.2 | 151.2 | 167.8 | 162.4 | 163.3 | 128 | 140.5 | 123.1 | 135.8 | 152.8 | 172.3 | 166.3 | 166.8 | 181.6 | 259.4 | 249 | 221.5 | 235.7 | 224.2 | 192.4 | 180.8 | 140.6 | 115.7 | 129.6 | 724.1 | 9999.9 | 9999.9 | 9999.9
450 | 214.8 | 935.9 | 442.7 | 242.9 | 197.6 | 196.3 | 169.1 | 209.7 | 141.3 | 199 | 210.1 | 274.3 | 222.5 | 233.4 | 209.1 | 159.1 | 162.2 | 127.5 | 147.2 | 125.7 | 154.5 | 142.5 | 159.5 | 152.5 | 133 | 136.5 | 128 | 141.1 | 129.5 | 152.5 | 148.8 | 178.1 | 210.4 | 228 | 275.9 | 258.5 | 224.5 | 223.2 | 217.6 | 189.5 | 155.9 | 108 | 76.09 | 114.3 | 723.9 | 9999.9 | 9999.9
455 | 216.3 | 560.4 | 1072 | 245.2 | 195.8 | 240.5 | 166.2 | 160 | 165.1 | 229.5 | 232 | 214.7 | 168.9 | 193.1 | 213.1 | 191.6 | 147 | 175.7 | 151.2 | 152.1 | 150.7 | 151.8 | 155.9 | 142.2 | 153 | 145.5 | 139.2 | 151.2 | 149.1 | 165.5 | 185.8 | 201 | 215.7 | 241.3 | 266.2 | 283.1 | 263.4 | 252.4 | 238.5 | 210.8 | 164.3 | 118.1 | 80.7 | 61.21 | 89.91 | 719.1 | 9999.9
460 | 229.1 | 231.5 | 1343 | 761 | 266.6 | 226.8 | 148.8 | 132.3 | 199.9 | 170.1 | 230.4 | 203.5 | 203.9 | 209.3 | 182 | 157.3 | 189.1 | 158.5 | 158.3 | 144 | 142.2 | 133.5 | 128 | 134.7 | 137.6 | 115.8 | 124.1 | 141.1 | 160.9 | 162.4 | 197.3 | 197.7 | 222.4 | 232.4 | 254.7 | 305.7 | 302.3 | 265.5 | 235.5 | 215.5 | 160.5 | 119.8 | 78.23 | 49.85 | 48.77 | 86.42 | 699
465 | 220.2 | 197.9 | 972.4 | 1519 | 296.4 | 229.8 | 248.2 | 163.5 | 189 | 216.4 | 220.8 | 281.1 | 241.7 | 241.6 | 182.8 | 178.9 | 155.6 | 189.3 | 156.5 | 130.2 | 127 | 150.9 | 139.2 | 147.9 | 141.8 | 124.9 | 144.7 | 140.1 | 147 | 173.7 | 165.4 | 190.6 | 215.3 | 219.5 | 251.4 | 265.3 | 310.8 | 265.1 | 253.7 | 221.6 | 177.3 | 119.3 | 79.72 | 50.56 | 40.31 | 45.76 | 85.27
470 | 199 | 165.9 | 304 | 2305 | 1182 | 229.5 | 214.1 | 155.6 | 171.6 | 218.7 | 214.7 | 229.9 | 222.2 | 212 | 175.2 | 165.1 | 137.9 | 148.7 | 182.7 | 155.6 | 143.4 | 132.8 | 137.3 | 145.2 | 138.6 | 121.4 | 123.3 | 135.8 | 143.9 | 172.3 | 170.8 | 178 | 208 | 223.6 | 224.9 | 233.2 | 262.9 | 274.4 | 251.6 | 206.3 | 155.3 | 119 | 84.94 | 54.6 | 40.15 | 37.15 | 33.66
475 | 204.6 | 187.5 | 198.4 | 1385 | 2214 | 254 | 221 | 188.9 | 172 | 186.6 | 230.3 | 237.5 | 213.7 | 202.3 | 180.7 | 160.5 | 146.4 | 130.1 | 176.5 | 113.5 | 167.1 | 142.4 | 149.4 | 133.7 | 120.9 | 144.4 | 118 | 133.2 | 140.5 | 164.1 | 158.3 | 178.9 | 192.8 | 206 | 211.1 | 225.2 | 246.2 | 250.4 | 247.9 | 199 | 157.8 | 108.6 | 76.77 | 43.72 | 36.89 | 27.89 | 28.62
480 | 237.7 | 202.1 | 198.8 | 417.9 | 2768 | 1099 | 211.8 | 124.2 | 147.5 | 177.2 | 151.8 | 249.1 | 202 | 168.9 | 169.2 | 173.4 | 146.9 | 107.1 | 138.6 | 126.9 | 125.5 | 119.7 | 127.7 | 115.3 | 104.9 | 114.6 | 123.5 | 114.1 | 136.6 | 146 | 172 | 162.4 | 179.2 | 193.3 | 195.9 | 204.9 | 215.9 | 220.8 | 227.5 | 215.8 | 148 | 93.32 | 61.81 | 46.76 | 37.94 | 31.77 | 27
485 | 182.4 | 204.9 | 221.1 | 279.7 | 1664 | 2655 | 247.3 | 188.4 | 183.2 | 177 | 194 | 207.1 | 186.9 | 170.8 | 151.2 | 171.1 | 140.7 | 162.4 | 138.1 | 166.1 | 146 | 102.7 | 106.4 | 134.6 | 115.3 | 126.4 | 125.3 | 104.8 | 117 | 126 | 147.1 | 166.8 | 169.7 | 180.8 | 194.9 | 191.9 | 207.1 | 213.2 | 198.4 | 205.3 | 146.5 | 101.4 | 59.73 | 45.19 | 35.76 | 29.76 | 26.42
490 | 125.8 | 220.8 | 172.3 | 148.9 | 522.7 | 3797 | 1144 | 175.2 | 216.7 | 165.4 | 156.2 | 190.2 | 211.4 | 159.7 | 153.2 | 165.3 | 154.8 | 158.1 | 185.5 | 137.8 | 141.3 | 123.9 | 121.7 | 123.8 | 103.1 | 99.86 | 99.1 | 105.6 | 107.4 | 129.1 | 131 | 146.9 | 166.2 | 178.5 | 186.6 | 165 | 196.7 | 190.3 | 189.9 | 173.2 | 152 | 104.7 | 55.95 | 45.26 | 31.36 | 30.56 | 24.01
495 | 192 | 216.6 | 166.3 | 187.6 | 214.6 | 2073 | 3091 | 289.8 | 186.4 | 155.9 | 188.1 | 155.6 | 123.8 | 178.9 | 170.9 | 154.1 | 177.3 | 146 | 136.5 | 146.3 | 107 | 107.7 | 132.9 | 111.3 | 115.5 | 113.8 | 123.5 | 104.7 | 109.1 | 112.9 | 126.8 | 151.3 | 141.1 | 166 | 159.8 | 170.4 | 163.7 | 173.2 | 149 | 139.2 | 140.3 | 101.2 | 65.49 | 39.61 | 33.8 | 23.98 | 23.51
500 | 231.5 | 197.2 | 188.7 | 239.7 | 238.4 | 687 | 4125 | 856.9 | 147.9 | 146.7 | 180.8 | 173.2 | 145.5 | 181.9 | 200.3 | 181.7 | 138.6 | 163.8 | 118.8 | 158.2 | 132.7 | 125.9 | 95.88 | 92.28 | 95.45 | 108.7 | 101.6 | 103.3 | 114.8 | 102.3 | 121.7 | 136.1 | 127 | 136 | 147.3 | 152 | 157.4 | 149 | 149.3 | 138.6 | 107.9 | 103 | 65.89 | 41.47 | 29.78 | 28.8 | 22.4