## Sheet1
Report date: | 13:34:45, 04/15/2024
Sample: | 1
File name:
Run date: | 13:32:03, 04/15/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/275.0 | 34.11
2 | 225.0/310.0 | 43.15
3 | 225.0/335.0 | 40.53
4 | 225.0/410.0 | 50.51
5 | 225.0/425.0 | 59.1
6 | 225.0/485.0 | 47.64
7 | 230.0/280.0 | 30.11
8 | 230.0/300.0 | 67.92
9 | 230.0/325.0 | 47.03
10 | 230.0/340.0 | 73.84
11 | 230.0/350.0 | 75.88
12 | 230.0/380.0 | 58.7
13 | 230.0/405.0 | 32.74
14 | 230.0/415.0 | 62
15 | 235.0/275.0 | 35.55
16 | 235.0/285.0 | 41.55
17 | 235.0/295.0 | 48.53
18 | 235.0/355.0 | 52.03
19 | 235.0/365.0 | 49.33
20 | 235.0/375.0 | 52.62
21 | 235.0/395.0 | 45.23
22 | 240.0/305.0 | 36.98
23 | 240.0/320.0 | 44.31
24 | 240.0/330.0 | 47.94
25 | 240.0/345.0 | 37.54
26 | 240.0/370.0 | 37.39
27 | 240.0/410.0 | 69.56
28 | 240.0/440.0 | 66.86
29 | 245.0/270.0 | 75.82
30 | 245.0/295.0 | 38.51
31 | 245.0/310.0 | 58.14
32 | 245.0/380.0 | 80.89
33 | 245.0/400.0 | 54.91
34 | 245.0/435.0 | 54.02
35 | 245.0/460.0 | 47.33
36 | 250.0/275.0 | 80.1
37 | 250.0/355.0 | 68.28
38 | 250.0/395.0 | 80.28
39 | 250.0/405.0 | 52.53
40 | 250.0/440.0 | 56.54
41 | 255.0/280.0 | 160.1
42 | 255.0/320.0 | 36.73
43 | 255.0/365.0 | 51.6
44 | 255.0/375.0 | 47.94
45 | 255.0/415.0 | 54.54
46 | 255.0/445.0 | 37.6
47 | 255.0/475.0 | 44.39
48 | 260.0/285.0 | 125.1
49 | 260.0/315.0 | 51.88
50 | 260.0/340.0 | 47.88
51 | 260.0/370.0 | 48.45
52 | 260.0/385.0 | 37.53
53 | 260.0/400.0 | 40.38
54 | 260.0/430.0 | 42.2
55 | 260.0/440.0 | 33.47
56 | 265.0/290.0 | 206.5
57 | 265.0/450.0 | 42.25
58 | 265.0/460.0 | 36.75
59 | 265.0/480.0 | 28.9
60 | 270.0/295.0 | 253.9
61 | 270.0/370.0 | 44.86
62 | 270.0/380.0 | 48.97
63 | 270.0/405.0 | 45.9
64 | 270.0/420.0 | 38.27
65 | 270.0/445.0 | 42.24
66 | 270.0/475.0 | 38.9
67 | 275.0/305.0 | 328.2
68 | 275.0/365.0 | 75.24
69 | 275.0/440.0 | 28.49
70 | 275.0/465.0 | 48.11
71 | 275.0/480.0 | 38.31
72 | 280.0/310.0 | 310.6
73 | 280.0/335.0 | 95
74 | 280.0/355.0 | 64.7
75 | 280.0/375.0 | 50.12
76 | 280.0/410.0 | 54.26
77 | 280.0/420.0 | 33.05
78 | 280.0/430.0 | 42.85
79 | 280.0/450.0 | 41.24
80 | 285.0/260.0 | 20.73
81 | 285.0/315.0 | 324.7
82 | 285.0/345.0 | 88.89
83 | 285.0/380.0 | 69.76
84 | 285.0/390.0 | 52.55
85 | 285.0/405.0 | 45.08
86 | 285.0/465.0 | 28.26
87 | 290.0/255.0 | 18.62
88 | 290.0/320.0 | 310.6
89 | 290.0/400.0 | 41.7
90 | 290.0/450.0 | 34.09
91 | 290.0/485.0 | 33.94
92 | 295.0/260.0 | 26.25
93 | 295.0/330.0 | 267.8
94 | 295.0/375.0 | 48.71
95 | 295.0/395.0 | 41.54
96 | 295.0/420.0 | 42.94
97 | 295.0/445.0 | 39.48
98 | 295.0/460.0 | 30.11
99 | 295.0/490.0 | 28.49
100 | 300.0/335.0 | 337.9
101 | 300.0/410.0 | 32.08
102 | 300.0/425.0 | 35.02
103 | 300.0/470.0 | 35.85
104 | 305.0/270.0 | 13.88
105 | 305.0/340.0 | 287.4
106 | 305.0/380.0 | 37.23
107 | 305.0/390.0 | 33.57
108 | 305.0/480.0 | 28.15
109 | 310.0/265.0 | 12.71
110 | 310.0/350.0 | 212.1
111 | 310.0/375.0 | 35.21
112 | 310.0/415.0 | 31.41
113 | 310.0/430.0 | 37.02
114 | 315.0/275.0 | 14.42
115 | 315.0/355.0 | 233.9
116 | 315.0/385.0 | 42.39
117 | 315.0/410.0 | 34.67
118 | 315.0/440.0 | 27.48
119 | 315.0/465.0 | 23.76
120 | 315.0/475.0 | 27.34
121 | 315.0/490.0 | 19.38
122 | 320.0/290.0 | 18.82
123 | 320.0/360.0 | 236.2
124 | 320.0/405.0 | 37.09
125 | 320.0/455.0 | 29.76
126 | 320.0/470.0 | 24.1
127 | 325.0/275.0 | 9.114
128 | 325.0/365.0 | 206.4
129 | 325.0/395.0 | 35.72
130 | 325.0/415.0 | 46.62
131 | 325.0/430.0 | 34.59
132 | 325.0/450.0 | 23.95
133 | 325.0/485.0 | 23.37
134 | 330.0/260.0 | 6.637
135 | 330.0/280.0 | 9.595
136 | 330.0/375.0 | 203.3
137 | 330.0/405.0 | 37.95
138 | 330.0/425.0 | 27.77
139 | 330.0/435.0 | 30.24
140 | 330.0/455.0 | 28.1
141 | 330.0/470.0 | 24.88
142 | 330.0/495.0 | 14.78
143 | 335.0/265.0 | 6.582
144 | 335.0/305.0 | 14.43
145 | 335.0/380.0 | 178.8
146 | 335.0/450.0 | 23.95
147 | 335.0/490.0 | 16.96
148 | 340.0/270.0 | 6.637
149 | 340.0/295.0 | 11.26
150 | 340.0/385.0 | 183.3
151 | 340.0/445.0 | 28.43
152 | 340.0/465.0 | 21.35
153 | 340.0/485.0 | 18.3
154 | 345.0/260.0 | 7.27
155 | 345.0/310.0 | 9.699
156 | 345.0/390.0 | 169.3
157 | 345.0/420.0 | 37.23
158 | 345.0/440.0 | 28.31
159 | 345.0/460.0 | 22.52
160 | 345.0/480.0 | 19.65
161 | 350.0/290.0 | 8.02
162 | 350.0/400.0 | 134.2
163 | 350.0/425.0 | 25.43
164 | 350.0/455.0 | 24.84
165 | 350.0/490.0 | 19.93
166 | 355.0/270.0 | 6.158
167 | 355.0/280.0 | 5.338
168 | 355.0/300.0 | 8.724
169 | 355.0/315.0 | 8.079
170 | 355.0/405.0 | 144.2
171 | 355.0/445.0 | 26.92
172 | 355.0/460.0 | 21.94
173 | 360.0/275.0 | 7.004
174 | 360.0/410.0 | 121.7
175 | 360.0/440.0 | 25.1
176 | 360.0/450.0 | 24.35
177 | 360.0/475.0 | 14.82
178 | 360.0/490.0 | 17.8
179 | 365.0/305.0 | 8.592
180 | 365.0/330.0 | 9.454
181 | 365.0/415.0 | 110.4
182 | 365.0/470.0 | 16.37
183 | 365.0/480.0 | 17.17
184 | 370.0/265.0 | 8.72
185 | 370.0/295.0 | 5.265
186 | 370.0/310.0 | 9.043
187 | 370.0/320.0 | 8.046
188 | 370.0/425.0 | 111.8
189 | 370.0/455.0 | 19.45
190 | 375.0/330.0 | 7.335
191 | 375.0/430.0 | 105.1
192 | 375.0/460.0 | 19.1
193 | 380.0/270.0 | 7.181
194 | 380.0/300.0 | 5.202
195 | 380.0/435.0 | 90.46
196 | 385.0/280.0 | 6.808
197 | 385.0/320.0 | 5.092
198 | 385.0/350.0 | 7.53
199 | 385.0/410.0 | 14.58
200 | 385.0/420.0 | 14.78
201 | 385.0/445.0 | 70.75
202 | 385.0/485.0 | 14.68
203 | 390.0/255.0 | 5.528
204 | 390.0/270.0 | 7.682
205 | 390.0/325.0 | 8.307
206 | 390.0/355.0 | 6.323
207 | 390.0/425.0 | 14.94
208 | 390.0/450.0 | 73.8
209 | 390.0/470.0 | 14.95
210 | 390.0/490.0 | 15.17
211 | 395.0/275.0 | 6.673
212 | 395.0/295.0 | 4.429
213 | 395.0/305.0 | 4.201
214 | 395.0/315.0 | 5.133
215 | 395.0/365.0 | 7.652
216 | 395.0/460.0 | 58.14
217 | 400.0/260.0 | 4.766
218 | 400.0/280.0 | 4.232
219 | 400.0/440.0 | 11.06
220 | 400.0/465.0 | 47.69
221 | 405.0/285.0 | 3.963
222 | 405.0/330.0 | 3.764
223 | 405.0/365.0 | 5.196
224 | 405.0/470.0 | 41.12
225 | 410.0/310.0 | 4.206
226 | 410.0/440.0 | 9.748
227 | 410.0/475.0 | 36.84
228 | 415.0/260.0 | 3.823
229 | 415.0/295.0 | 4.278
230 | 415.0/485.0 | 28.89
231 | 420.0/275.0 | 4.609
232 | 420.0/305.0 | 4.24
233 | 420.0/490.0 | 26.99
234 | 425.0/260.0 | 4.115
235 | 425.0/290.0 | 4.068
236 | 425.0/455.0 | 7.071
237 | 430.0/340.0 | 4.258
238 | 430.0/400.0 | 5.78
239 | 430.0/475.0 | 7.038
240 | 435.0/275.0 | 4.652
241 | 435.0/295.0 | 3.884
242 | 435.0/330.0 | 3.447
243 | 435.0/355.0 | 3.388
244 | 440.0/365.0 | 3.569
245 | 445.0/475.0 | 5.927
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 37.65 | 35.89 | 73.64 | 27.13 | 50.63 | 1234 | 3788 | 959.2 | 24.48 | 12.87 | 18.15 | 20.02 | 15.56 | 4.435 | 14.41 | 18.64 | 9.804 | 7.531 | 17.35 | 7.739 | 5.296 | 4.405 | 5.367 | 2.452 | 9.882 | 4.107 | 7.362 | 7.268 | 1.798 | 7.564 | 3.838 | 2.799 | 0.535 | 2.566 | 4.888 | 4.021 | 1.341 | 2.566 | 3.032 | 2.8 | 1.088 | 3.049 | 1.226 | 2.562 | 0.99 | 3.704 | 1.373
255 | 7.676 | 18.09 | 20.95 | 29.93 | 21.96 | 126.6 | 1063 | 3825 | 1786 | 86.44 | 26.73 | 23.15 | 26.2 | 3.509 | 18.62 | 10.55 | 6.877 | 1.044 | 9.042 | 3.447 | 8.012 | 11.24 | 0.789 | 5.15 | 8.25 | 4.574 | 4.496 | 4.052 | 2.112 | 4.369 | 8.699 | 2.746 | 2.85 | 2.429 | 5.528 | 4.617 | 2.016 | 3.893 | 2.443 | 1.992 | 1.698 | 3.084 | 2.35 | 2.716 | 1.888 | 1.543 | 2.403
260 | 6.592 | 29.79 | 6.533 | 15.73 | 63.07 | 50.26 | 98.2 | 1188 | 4467 | 2248 | 112.3 | 14.53 | 17.89 | 20.73 | 7.119 | 26.25 | 7.082 | 9.95 | 6.406 | 5.574 | 5.283 | 3.729 | 6.637 | 2.458 | 6.04 | 7.27 | 2.996 | 3.931 | 4.294 | 5.292 | 5.947 | 4.358 | 4.793 | 4.365 | 2.298 | 2.674 | 4.766 | 3.964 | 2.494 | 3.823 | 1.571 | 4.115 | 2.913 | 3.702 | 2.659 | 2.252 | 1.527
265 | 20.9 | 6.591 | 12.44 | 23.95 | 40.52 | 53.82 | 46.06 | 86.81 | 1500 | 6218 | 3309 | 120.1 | 15.86 | 5.204 | 12.34 | 20.98 | 11.59 | 3.829 | 12.71 | 12.64 | 3.935 | 3.589 | 1.774 | 6.582 | 3.009 | 3.42 | 4.66 | 3.936 | 5.239 | 7.715 | 8.72 | 4.195 | 3.97 | 4.578 | 4.026 | 2.392 | 3.782 | 3.434 | 1.215 | 3.502 | 1.931 | 1.744 | 1.759 | 2.203 | 2.562 | 1.845 | 2.485
270 | 6.808 | 30.53 | 2.513 | 31.65 | 19.79 | 75.82 | 67.62 | 50.18 | 104.8 | 1775 | 7496 | 3658 | 131.9 | 18.1 | 9.989 | 9.212 | 10.23 | 13.88 | 9.194 | 9.365 | 6.995 | 8.004 | 5.603 | 6.437 | 6.637 | 4.38 | 4.24 | 6.158 | 1.726 | 3.211 | 3.827 | 3.65 | 7.181 | 1.72 | 7.682 | 5.284 | 2.095 | 2.599 | 2.584 | 2.188 | 3.473 | 3.313 | 1.348 | 2.114 | 2.163 | 2.92 | 2.666
275 | 5.63 | 34.11 | 23.76 | 35.55 | 17.7 | 72.93 | 80.1 | 72.92 | 44.83 | 137.3 | 2059 | 9711 | 4629 | 155 | 17.61 | 16.26 | 8.082 | 9.128 | 13.47 | 14.42 | 4.418 | 9.114 | 3.283 | 2.955 | 5.463 | 3.694 | 3.226 | 2.877 | 7.004 | 6.353 | 4.213 | 3.284 | 2.582 | 4.069 | 4.068 | 6.673 | 4.085 | 1.493 | 2.033 | 3.42 | 4.609 | 1.793 | 1.864 | 4.652 | 1.196 | 2.863 | 2.882
280 | 13.86 | 7.436 | 30.11 | 22.96 | 7.147 | 13.22 | 52.05 | 160.1 | 73.55 | 43.1 | 171.1 | 2803 | 9999.9 | 5765 | 145.8 | 11.21 | 14.44 | 8.981 | 10.01 | 10.84 | 10.02 | 6.098 | 9.595 | 6.007 | 6.828 | 3.303 | 4.066 | 5.338 | 2.619 | 5.309 | 5.083 | 3.396 | 3.933 | 6.808 | 3.469 | 2.954 | 4.232 | 1.444 | 1.217 | 1.429 | 3.414 | 2.737 | 2.91 | 2.839 | 2.45 | 2.17 | 2.119
285 | 65.26 | 14.41 | 19.33 | 41.55 | 14.52 | 24.29 | 53.3 | 73.63 | 125.1 | 87.91 | 53.61 | 210.4 | 2924 | 9999.9 | 5890 | 172.5 | 16.16 | 9.88 | 9.365 | 10.29 | 6.217 | 8.021 | 6.91 | 5.051 | 6.429 | 3.078 | 5.821 | 3.007 | 4.608 | 3.959 | 2.94 | 2.562 | 3.636 | 6.765 | 3.574 | 2.126 | 3.422 | 3.963 | 3.474 | 3.061 | 2.452 | 2.745 | 1.577 | 3.663 | 2.287 | 2.793 | 1.147
290 | 22.63 | 34.3 | 9.28 | 22.1 | 32.62 | 29.65 | 44.07 | 30.06 | 84.91 | 206.5 | 90.59 | 40.97 | 227.2 | 3347 | 9999.9 | 5843 | 120.7 | 10.4 | 10.49 | 15.86 | 18.82 | 7.189 | 4.579 | 8.534 | 7.341 | 6.448 | 8.02 | 3.086 | 5.368 | 4.525 | 4.353 | 2.161 | 3.537 | 1.565 | 2.052 | 2.631 | 3.098 | 3.152 | 2.803 | 3.484 | 2.953 | 4.068 | 2.161 | 1.738 | 1.387 | 3.113 | 1.028
295 | 50.22 | 31.41 | 46.74 | 48.53 | 17.41 | 38.51 | 17.46 | 18.38 | 32.99 | 142.5 | 253.9 | 88.48 | 75.89 | 278.7 | 3975 | 9999.9 | 5782 | 151.4 | 15.94 | 14.59 | 9.018 | 9.398 | 7.911 | 8.953 | 11.26 | 7.642 | 2.28 | 6.46 | 5.077 | 3.822 | 5.265 | 2.829 | 2.631 | 3.063 | 3.214 | 4.429 | 3.075 | 2.781 | 1.074 | 4.278 | 2.931 | 2.223 | 2.298 | 3.884 | 3.759 | 3.545 | 2.098
300 | 17.68 | 34.59 | 67.92 | 24.96 | 35.7 | 28.17 | 13.65 | 39.09 | 33.53 | 44.67 | 207.6 | 200 | 53.28 | 79.69 | 281 | 3748 | 9999.9 | 6085 | 152.9 | 13.89 | 11.83 | 15.76 | 7.191 | 7.797 | 8.042 | 5.948 | 6.657 | 8.724 | 7.248 | 8.026 | 2.926 | 2.083 | 5.202 | 2.773 | 4.083 | 2.144 | 3.204 | 2.043 | 2.638 | 2.641 | 3.676 | 2.921 | 2.833 | 2.036 | 1.977 | 2.413 | 2.725
305 | 13.32 | 35.39 | 32.22 | 36.16 | 36.98 | 25.92 | 40.65 | 28.71 | 29.46 | 46.88 | 80.95 | 328.2 | 196.3 | 61.79 | 63.62 | 272.3 | 3927 | 9999.9 | 5703 | 124 | 12.98 | 16.04 | 8.778 | 14.43 | 11.45 | 6.276 | 2.752 | 4.377 | 4.874 | 8.592 | 7.408 | 4.168 | 3.34 | 2.232 | 3.821 | 4.201 | 2.462 | 2.35 | 3.764 | 1.542 | 4.24 | 0.956 | 2.9 | 2.082 | 1.773 | 1.627 | 1.176
310 | 37.81 | 43.15 | 32.18 | 37.16 | 32.59 | 58.14 | 41.4 | 24.87 | 36.35 | 40.58 | 62.82 | 120.7 | 310.6 | 159.3 | 40 | 61.76 | 283.7 | 3790 | 9999.9 | 5486 | 118.9 | 14.46 | 9.745 | 9.267 | 5.519 | 9.699 | 6.559 | 4.97 | 6.028 | 6.837 | 9.043 | 5.386 | 4.077 | 4.437 | 3.405 | 0.72 | 2.15 | 2.186 | 4.206 | 3.475 | 2.811 | 2.511 | 2.89 | 1.707 | 2.903 | 2.156 | 2.767
315 | 27.14 | 21.05 | 18.74 | 5.581 | 26.83 | 54.6 | 36.52 | 21.07 | 51.88 | 26.37 | 45.89 | 66.73 | 219.6 | 324.7 | 124.5 | 47.6 | 54.76 | 271.2 | 3904 | 9999.9 | 5532 | 118.8 | 14.73 | 16.18 | 11.02 | 2.484 | 6.489 | 8.079 | 4.735 | 7.336 | 5.049 | 3.466 | 4.118 | 1.764 | 3.92 | 5.133 | 3.381 | 1.008 | 3.135 | 2.845 | 2.72 | 1.896 | 3.235 | 2.834 | 2.711 | 0.677 | 2.406
320 | 22.72 | 16.93 | 22.73 | 8.833 | 44.31 | 26.44 | 29.94 | 36.73 | 26.07 | 39.2 | 83.83 | 74.32 | 100.7 | 252.5 | 310.6 | 91.56 | 37.46 | 49.1 | 287.5 | 4091 | 9999.9 | 5150 | 113.6 | 12.36 | 9.643 | 5.052 | 7.04 | 3.4 | 3.084 | 4.198 | 8.046 | 2.617 | 1.399 | 5.092 | 3.456 | 2.099 | 3.141 | 3.158 | 3.675 | 3.059 | 3.46 | 2.393 | 2.442 | 2.91 | 1.452 | 2.508 | 2.291
325 | 15.28 | 44.77 | 47.03 | 40.65 | 8.472 | 21.04 | 29.92 | 36.38 | 22.38 | 38.13 | 34.14 | 77.61 | 85.12 | 85.55 | 255.1 | 213.8 | 37.7 | 34.17 | 43.3 | 292.1 | 4049 | 9999.9 | 5117 | 113.2 | 15.08 | 7.866 | 7.534 | 7.507 | 7.125 | 5.291 | 4.476 | 2.97 | 2.638 | 2.047 | 8.307 | 2.187 | 2.357 | 3.567 | 2.959 | 3.3 | 2.986 | 2.578 | 2.439 | 1.618 | 3.03 | 1.708 | 2.164
330 | 22.76 | 22.23 | 29.43 | 20.72 | 47.94 | 32.67 | 26.67 | 24.61 | 25.8 | 29.32 | 18.12 | 58.71 | 76.81 | 70.6 | 124.4 | 267.8 | 178.6 | 46.62 | 26.09 | 50.46 | 289.9 | 4038 | 9999.9 | 4737 | 85.99 | 6.587 | 3.835 | 7.534 | 6.468 | 9.454 | 3.538 | 7.335 | 2.429 | 1.761 | 2.936 | 3.097 | 3.016 | 3.764 | 1.964 | 2.203 | 3.329 | 2.841 | 2.635 | 3.447 | 2.848 | 2.683 | 1.354
335 | 18.75 | 40.53 | 29.55 | 14.94 | -1.518 | 28.14 | 28.82 | 20.99 | 30.93 | 40.39 | 58.3 | 63.88 | 95 | 85.5 | 64.72 | 123.9 | 337.9 | 127.5 | 20.09 | 29.62 | 34.23 | 282.9 | 3884 | 9999.9 | 4613 | 101.2 | 8.178 | 13.17 | 11.88 | 6.708 | 8.084 | 5.163 | 4.931 | 3.068 | 3.551 | 3.544 | 3.179 | 3.11 | 3.278 | 2.914 | 3.1 | 3.565 | 2.405 | 2.153 | 2.533 | 1.059 | 2.085
340 | 10.03 | 30.53 | 73.84 | 45.32 | 28.33 | 34.96 | 14 | 26.1 | 47.88 | 41.57 | 53.72 | 66.57 | 65.43 | 76.09 | 70.05 | 53.69 | 156.3 | 287.4 | 91.77 | 32.77 | 25.33 | 44.45 | 265.6 | 4063 | 9999.9 | 4211 | 99.64 | 10.84 | 5.604 | 4.848 | 8.008 | 5.362 | 4.274 | 2.999 | 4.026 | 3.618 | 3.148 | 2.85 | 1.933 | 1.412 | 2.564 | 2.963 | 4.258 | 2.3 | 2.754 | 3.66 | 2.572
345 | 27.91 | 22.79 | 40.78 | 4.514 | 37.54 | 33.81 | 15.44 | 33.44 | 44.93 | 35.8 | 44.76 | 29.51 | 60.42 | 88.89 | 86.05 | 54.66 | 57.44 | 193.4 | 205.1 | 45.75 | 30.8 | 24.13 | 35.91 | 272.4 | 3665 | 9999.9 | 4191 | 86.43 | 12.49 | 8.533 | 2.733 | 4.119 | 6.492 | 4.98 | 3.571 | 3.304 | 2.848 | 2.473 | 2.913 | 2.938 | 2.484 | 1.788 | 2.487 | 2.259 | 1.944 | 2.4 | 3.077
350 | -4.762 | 17.15 | 75.88 | 30.99 | 37.2 | 5.506 | 40.74 | 36.85 | 26.46 | 27.19 | 38.83 | 42.69 | 51.45 | 54.89 | 53.52 | 53.25 | 41.21 | 59.58 | 212.1 | 185.3 | 39.83 | 25.09 | 20.45 | 34.43 | 249.7 | 3445 | 9999.9 | 3919 | 83.61 | 6.82 | 9.794 | 6.552 | 6.482 | 7.53 | 3.689 | 3.831 | 3.808 | 2.588 | 1.973 | 2.307 | 3.05 | 1.578 | 2.816 | 1.878 | 2.222 | 0.584 | 2.636
355 | 19.74 | 11.74 | 6.797 | 52.03 | 33.77 | 21.96 | 68.28 | 30.58 | 26.97 | 34.73 | 49.77 | 57.14 | 64.7 | 58.92 | 48.2 | 45.29 | 43.37 | 42.46 | 87.51 | 233.9 | 137.9 | 26.72 | 20.12 | 16.02 | 30.71 | 237.1 | 3284 | 9999.9 | 4072 | 77.3 | 13.5 | 8.433 | 6.003 | 3.914 | 6.323 | 4.843 | 3.85 | 4.142 | 2.267 | 3 | 2.073 | 1.352 | 2.321 | 3.388 | 2.153 | 2.142 | 1.471
360 | 6.108 | 14.12 | 29.09 | 38.14 | 20.25 | 23.05 | 38.76 | 42.38 | 29.95 | 22.51 | 36.28 | 37.41 | 50.89 | 53.97 | 53.23 | 45.45 | 48.32 | 33.3 | 16.53 | 86.03 | 236.2 | 94.66 | 18.5 | 19.29 | 14.93 | 37.35 | 225.2 | 3608 | 9999.9 | 3644 | 59.48 | 5.37 | 6.309 | 6.237 | 3.672 | 4.051 | 3.414 | 5.083 | 2.162 | 2.636 | 2.45 | 1.491 | 2.803 | 2.563 | 2.438 | 2.21 | 1.53
365 | 16.08 | 21.46 | 16.79 | 49.33 | 31.75 | 28.23 | 22.83 | 51.6 | 33.28 | 27.3 | 29.15 | 75.24 | 48.13 | 44.87 | 45.61 | 35.48 | 39.97 | 37.03 | 25.42 | 31.24 | 134.3 | 206.4 | 75.37 | 15 | 20.5 | 17.21 | 27.69 | 241.8 | 3741 | 9999.9 | 3474 | 63.16 | 7.759 | 8.149 | 4.754 | 7.652 | 2.958 | 5.196 | 1.479 | 1.472 | 2.356 | 3.087 | 1.695 | 2.476 | 3.569 | 1.72 | 2.028
370 | 46.4 | 1.891 | 35.34 | 27.61 | 37.39 | 27.53 | 36.96 | 34.47 | 48.45 | 25.5 | 44.86 | 28.72 | 49.56 | 43.59 | 40.77 | 40.18 | 31.96 | 27.45 | 30.19 | 28.49 | 35.96 | 165.3 | 179.3 | 47.36 | 22.85 | 19.85 | 18.71 | 29.8 | 254.5 | 3523 | 9999.9 | 3389 | 48.68 | 5.52 | 5.898 | 3.639 | 5.883 | 5.156 | 3.543 | 2.018 | 3.108 | 2.513 | 3.306 | 3.368 | 3.073 | 2.104 | 2.981
375 | 4.736 | 39.79 | 46.47 | 52.62 | 17.99 | 50.33 | 32.44 | 47.94 | 27.84 | 18.54 | 30.6 | 35.07 | 50.12 | 43.04 | 35.45 | 48.71 | 34.93 | 31.37 | 35.21 | 23.61 | 30.89 | 40.5 | 203.3 | 156 | 26.91 | 18.3 | 19.44 | 16.64 | 35.34 | 240.9 | 3612 | 9999.9 | 2970 | 46.56 | 6.378 | 5.53 | 6.021 | 3.902 | 3.922 | 2.586 | 2.101 | 3.391 | 3.178 | 2.949 | 2.237 | 1.853 | 2.414
380 | 25.91 | 29.11 | 58.7 | 22.01 | 19.04 | 80.89 | 22.97 | 13.84 | 21.33 | 23.98 | 48.97 | 24.46 | 41.32 | 69.76 | 26.08 | 36.16 | 35.97 | 37.23 | 29.36 | 22.98 | 34.35 | 40.87 | 67.37 | 178.8 | 122.1 | 21.98 | 10.47 | 18.07 | 11.83 | 26.99 | 246.2 | 3594 | 9999.9 | 2760 | 37.7 | 10.86 | 6.05 | 2.71 | 1.859 | 3.147 | 2.724 | 2.97 | 2.292 | 1.836 | 2.207 | 2.155 | 1.32
385 | 15.56 | 19.07 | 39.06 | 25.62 | 35.43 | 33.67 | 9.802 | 17.19 | 37.53 | 37.47 | 36.38 | 34.26 | 42.82 | 44.18 | 32.14 | 37.41 | 19.69 | 24.4 | 25.74 | 42.39 | 33.75 | 22.23 | 26.03 | 79.55 | 183.3 | 72.95 | 18.11 | 12.72 | 13.56 | 14.63 | 27.07 | 243.9 | 3367 | 9477 | 2572 | 36.89 | 6.705 | 7.309 | 3.155 | 3.255 | 2.607 | 2.889 | 1.734 | 2.335 | 2.052 | 2.332 | 1.562
390 | 28.61 | 19.82 | 30.86 | 39.58 | 38.16 | 30.99 | 20.54 | 22.44 | 31.52 | 18.87 | 41.93 | 19.62 | 19.13 | 52.55 | 44.59 | 21.77 | 25.02 | 33.57 | 24.98 | 33.42 | 31.88 | 24.14 | 35.14 | 37.99 | 115.2 | 169.3 | 50.5 | 21.45 | 18.43 | 14.78 | 13.3 | 25.87 | 225.5 | 3085 | 8711 | 2322 | 40.07 | 5.217 | 3.163 | 3.283 | 2.852 | 2.851 | 1.706 | 3.023 | 3.301 | 0.93 | 2.362
395 | 13.83 | 33.72 | 18.36 | 45.23 | 27.89 | 28.08 | 80.28 | 18.29 | 12.97 | 18.81 | 20.82 | 32.15 | 29.89 | 37.95 | 32.25 | 41.54 | 31.95 | 31.06 | 31.77 | 21.29 | 32.05 | 35.72 | 29.11 | 33.61 | 45.59 | 139.5 | 133.2 | 39.47 | 20.82 | 11.76 | 15.53 | 12.46 | 25.78 | 211.2 | 3050 | 8411 | 2244 | 26.94 | 6.059 | 3.498 | 3.524 | 4.041 | 3.142 | 2.549 | 2.846 | 2.507 | 1.713
400 | 23.7 | 32.27 | 29.37 | 32.71 | 12.33 | 54.91 | 30.59 | 15.29 | 40.38 | 33.76 | 38.32 | 33.14 | 35.6 | 27.92 | 41.7 | 34.33 | 25.41 | 28.88 | 26.31 | 31.02 | 21.23 | 32.36 | 32.6 | 30.85 | 25.49 | 46.67 | 134.2 | 97.24 | 24.71 | 15.88 | 9.785 | 12.54 | 9.885 | 23.43 | 208.3 | 3020 | 7578 | 1895 | 19.34 | 4.96 | 4.642 | 2.58 | 5.78 | 2.857 | 1.945 | 1.628 | 1.587
405 | 31.68 | 16.91 | 32.74 | 16.18 | 15.84 | 42.5 | 52.53 | 27.92 | 36.79 | 39.61 | 45.9 | 37.29 | 43.38 | 45.08 | 40.53 | 37.69 | 30.31 | 24.65 | 26.54 | 32.79 | 37.09 | 30.93 | 37.95 | 30.19 | 26.58 | 32.06 | 59.38 | 144.2 | 75.49 | 19.33 | 14.92 | 10.28 | 13 | 11.38 | 24.61 | 200.2 | 2326 | 6886 | 1785 | 25.14 | 7.215 | 3.658 | 3.555 | 2.633 | 2.568 | 3.008 | 1.565
410 | 25.32 | 50.51 | 11.19 | 29.77 | 69.56 | 12.68 | 31.68 | 26.84 | 24.02 | 18.28 | 19.88 | 27.12 | 54.26 | 31.67 | 27.41 | 17.59 | 32.08 | 24.22 | 25.48 | 34.67 | 27.65 | 30.93 | 33.5 | 32.88 | 25.71 | 27.26 | 30.65 | 69.82 | 121.7 | 56.05 | 17.6 | 11.76 | 13.9 | 14.58 | 9.264 | 22.6 | 157.3 | 2342 | 6574 | 1537 | 19.49 | 4.978 | 3.415 | 2.966 | 2.165 | 1.557 | 3.687
415 | 20.41 | 21.71 | 62 | 17.89 | 36 | 9.826 | 47.87 | 54.54 | 31.79 | 30.29 | 26.25 | 29.37 | 30.08 | 19.9 | 25.83 | 26.43 | 27.77 | 17.64 | 31.41 | 26.94 | 31.73 | 46.62 | 28.83 | 21.07 | 29.26 | 32.82 | 22.48 | 27.68 | 95.22 | 110.4 | 32.83 | 19.39 | 12.04 | 8.642 | 10.94 | 11.32 | 15.34 | 158.4 | 2262 | 6056 | 1435 | 18.54 | 4.33 | 4.215 | 1.671 | 3.371 | 2.726
420 | 36.62 | 31.19 | 44.89 | 30.25 | 32.41 | 27.76 | 37.74 | 19.73 | 25.52 | 17.98 | 38.27 | 27.36 | 33.05 | 24.26 | 41.81 | 42.94 | 23.76 | 25.4 | 25.95 | 16 | 19.87 | 36.95 | 23.46 | 22.12 | 22.16 | 37.23 | 19.07 | 20.8 | 42.46 | 97.95 | 95.1 | 20.43 | 10.93 | 14.78 | 9.542 | 9.385 | 8.004 | 16.98 | 150.5 | 2115 | 5446 | 1378 | 20.01 | 6.422 | 2.586 | 2.634 | 1.411
425 | 47.54 | 59.1 | 58.36 | 26.51 | 32.3 | 22.17 | 32.85 | 7.317 | 9.366 | 10.52 | 26.32 | 14.82 | 30.53 | 17.52 | 31.34 | 29.76 | 35.02 | 21.78 | 30.62 | 16.8 | 20.81 | 25.13 | 27.77 | 24.41 | 21.32 | 22.83 | 25.43 | 23.75 | 21.85 | 43.23 | 111.8 | 63.53 | 19.32 | 8.967 | 14.94 | 10.21 | 9.654 | 6.322 | 15.33 | 143.5 | 1912 | 5247 | 1589 | 17.45 | 4.127 | 3.264 | 2.402
430 | 72.89 | 41.83 | 33.26 | 17.16 | 26.35 | 44.13 | 27.84 | 21.12 | 42.2 | 24.53 | 35.94 | 31.37 | 42.85 | 21.48 | 31.99 | 32.96 | 34.54 | 24.58 | 37.02 | 17.04 | 31.77 | 34.59 | 21.89 | 24.9 | 22.74 | 23.89 | 23.97 | 15.35 | 15.17 | 21.57 | 54.27 | 105.1 | 35.38 | 14.63 | 11.72 | 8.378 | 8.938 | 7.809 | 7.378 | 15.51 | 128.4 | 1882 | 6159 | 1474 | 13.38 | 5.684 | 3.297
435 | 219.8 | 32.22 | 32.51 | 28.5 | 21.42 | 54.02 | 37.5 | 17.43 | 15.37 | 23.42 | 25.76 | 22.5 | 19.54 | 26.66 | 17.08 | 32.02 | 25.64 | 19.28 | 28.75 | 21.52 | 22.12 | 19.85 | 30.24 | 29.82 | 19.42 | 18.89 | 17.91 | 18.13 | 19.45 | 18.71 | 25.68 | 65.84 | 90.46 | 26.07 | 12.3 | 10.17 | 6.471 | 7.869 | 9.271 | 7.145 | 15 | 127.4 | 2247 | 6280 | 1309 | 13.82 | 2.78
440 | 129.6 | 82.18 | 20.61 | 38.73 | 66.86 | 38.16 | 56.54 | 22.36 | 33.47 | 21.45 | 14.21 | 28.49 | 13.99 | 26.6 | 25.03 | 31.03 | 23.63 | 21.32 | 25.02 | 27.48 | 20.3 | 14.55 | 21.29 | 19.6 | 24.6 | 28.31 | 20.66 | 21.82 | 25.1 | 16.66 | 15.99 | 21.91 | 72.82 | 60.69 | 18.67 | 8.77 | 11.06 | 7.358 | 9.748 | 6.807 | 9.991 | 13.2 | 151.7 | 2404 | 5835 | 1166 | 10.46
445 | 111.4 | 193.3 | 76.7 | 58.89 | 43 | 27.84 | 8.587 | 37.6 | 13.48 | 25.3 | 42.24 | 23.74 | 23.68 | 28.64 | 26.89 | 39.48 | 35.51 | 29.55 | 23.24 | 20.96 | 16.7 | 23.42 | 23.69 | 14.46 | 28.43 | 17.83 | 22.8 | 26.92 | 17.9 | 18.22 | 17.71 | 14.86 | 39.89 | 70.75 | 44.81 | 13.56 | 8.365 | 8.101 | 5.451 | 7.336 | 7.608 | 6.929 | 14.64 | 159.8 | 2241 | 5260 | 1017
450 | 58.91 | 269.5 | 162.5 | 37 | 44.75 | 36.2 | 16.11 | 21.76 | 17.13 | 42.25 | 14.17 | 31.55 | 41.24 | 26.79 | 34.09 | 24.33 | 15.4 | 24.25 | 20.73 | 18.22 | 17.23 | 23.95 | 22.5 | 23.95 | 23.67 | 20.01 | 16.35 | 24.1 | 24.35 | 15.64 | 14.56 | 19.44 | 20.78 | 34.83 | 73.8 | 30.89 | 12.61 | 7.781 | 8.03 | 4.882 | 7.548 | 4.383 | 6.276 | 15.62 | 150.4 | 2358 | 4662
455 | 25.73 | 143.5 | 456 | 37.86 | 29.7 | 39.82 | 22.94 | 16.99 | 20.67 | 18.31 | 17.8 | 22.61 | 20.76 | 23.48 | 23.02 | 25.6 | 20.6 | 14.07 | 13.13 | 21.35 | 29.76 | 23.07 | 28.1 | 21.85 | 17.57 | 15.6 | 24.84 | 16.49 | 16.19 | 19.22 | 19.45 | 13.72 | 13.16 | 23.86 | 48.26 | 52.98 | 20.38 | 9.591 | 6.847 | 7.628 | 5.796 | 7.071 | 6.029 | 7.735 | 14.38 | 156.2 | 1841
460 | 38.46 | 64.46 | 449.3 | 148.3 | 8.37 | 47.33 | 9.588 | 23.22 | 22.53 | 36.75 | 29.54 | 21.86 | 21.3 | 24.07 | 22.38 | 30.11 | 29.97 | 21.3 | 24.38 | 11.14 | 19.24 | 12.17 | 20.75 | 17.83 | 19.83 | 22.52 | 15.68 | 21.94 | 16.45 | 13.73 | 16.54 | 19.1 | 18.25 | 11.78 | 18.5 | 58.14 | 41.9 | 14.66 | 8.95 | 5.678 | 5.83 | 5.65 | 6.231 | 4.453 | 7.633 | 15.51 | 122.5
465 | 43.04 | 37.29 | 217.9 | 372.8 | 45.59 | 24.84 | 11.23 | 38.93 | 18.41 | 22.01 | 29.85 | 48.11 | 19.39 | 28.26 | 27.22 | 17.02 | 23.91 | 15.39 | 18.52 | 23.76 | 20.49 | 21.55 | 22.63 | 17.7 | 21.35 | 18.57 | 20.96 | 21.14 | 16.34 | 14.46 | 17.4 | 15.26 | 16.22 | 8.065 | 12.54 | 26.82 | 47.69 | 29.58 | 10.29 | 5.867 | 4.357 | 5.538 | 4.944 | 4.036 | 4.383 | 4.431 | 13.28
470 | 20.29 | 12.56 | 60.71 | 562.7 | 196.5 | 20.45 | 37.84 | 42.16 | 28.97 | 28.62 | 32.47 | 35.97 | 30.89 | 17.73 | 25.03 | 12.53 | 35.85 | 29.53 | 21.48 | 15.58 | 24.1 | 16.35 | 24.88 | 22.95 | 16.75 | 19.1 | 13.41 | 18.81 | 13.32 | 16.37 | 14.32 | 14.34 | 15.19 | 13.3 | 14.95 | 10.05 | 25.39 | 41.12 | 22.87 | 8.379 | 5.062 | 4.282 | 6.888 | 4.164 | 5.106 | 4.263 | 5.274
475 | 38.94 | 34.27 | 34.62 | 275.5 | 489.7 | 46.3 | 27.26 | 44.39 | 31.57 | 3.222 | 38.9 | 36.63 | 32.74 | 21.37 | 13.07 | 11.38 | 28.2 | 23.36 | 23.62 | 27.34 | 22.18 | 14.87 | 16.94 | 17.58 | 16.52 | 15.47 | 12.09 | 12.09 | 14.82 | 11.42 | 13.64 | 10.3 | 12.94 | 9.688 | 10.26 | 9.253 | 13.09 | 28.7 | 36.84 | 15.49 | 7.019 | 5.49 | 7.038 | 3.78 | 5.583 | 5.927 | 3.89
480 | 38.28 | 31.48 | 17.13 | 62.75 | 683.4 | 261.8 | 4.413 | 12.95 | 16.05 | 28.9 | 18.36 | 38.31 | 36.08 | 33.18 | 24.6 | 18.43 | 17.73 | 28.15 | 23.33 | 15.24 | 21.06 | 10.21 | 16.21 | 17.1 | 10.48 | 19.65 | 14.52 | 15.02 | 13.52 | 17.17 | 13.77 | 10.41 | 9.602 | 11.26 | 10.88 | 9.241 | 8.348 | 12.28 | 29.47 | 24.01 | 9.944 | 7.342 | 5.818 | 5.739 | 5.049 | 3.672 | 3.705
485 | 13.67 | 47.64 | 11.82 | 36.32 | 403.9 | 584.9 | 62.62 | 11.23 | 19.06 | 26.44 | 32.37 | 36.38 | 29.01 | 24.44 | 33.94 | 21.45 | 24.8 | 14.18 | 15.67 | 9.553 | 19.74 | 23.37 | 17.2 | 13.76 | 18.3 | 12.92 | 18.96 | 15.31 | 16.28 | 10.75 | 13.18 | 11.66 | 12.68 | 14.68 | 11.33 | 7.263 | 4.916 | 8.503 | 15.35 | 28.89 | 20.52 | 7.913 | 4.963 | 5.114 | 5.654 | 3.42 | 3.62
490 | 40.59 | 31.82 | 20.99 | 9.834 | 86.7 | 968.9 | 277.7 | 26.4 | 40.05 | 18.79 | 7.215 | 28.65 | 10.9 | 22.96 | 10.31 | 28.49 | 20.07 | 14.03 | 11.36 | 19.38 | 14.78 | 11.45 | 12.22 | 16.96 | 13.97 | 11.53 | 19.93 | 13.98 | 17.8 | 13.03 | 12.05 | 7.923 | 8.293 | 9.959 | 15.17 | 8.213 | 8.652 | 8.47 | 7.52 | 20.72 | 26.99 | 15.7 | 5.385 | 4.543 | 4.214 | 3.226 | 2.671
495 | 24.35 | 22.91 | 25.73 | 41.73 | 29.54 | 419.8 | 640.8 | 35.76 | 25.48 | 11.12 | 25.92 | 20.78 | 25.65 | 35.16 | 23.66 | 17.53 | 8.829 | 16.73 | 16.44 | 14.73 | 10.14 | 13.36 | 14.78 | 13.7 | 12.78 | 10.09 | 10.46 | 12.85 | 9.018 | 15.56 | 9.008 | 12.5 | 10.85 | 8.15 | 10.26 | 7.5 | 7.638 | 8.493 | 6.96 | 9.019 | 23.23 | 19.53 | 8.849 | 4.784 | 4.416 | 3.634 | 2.443
500 | 46.52 | 38.14 | 26.11 | 48.94 | 11.57 | 168.4 | 922.1 | 184.8 | 37.12 | 30.54 | 18.32 | 12.83 | 57.61 | 29.28 | 31.07 | 24.34 | 16.85 | 20.15 | 12.64 | 15.2 | 16.09 | 11.89 | 9.624 | 15.54 | 15.61 | 7.924 | 9.589 | 12.58 | 12.48 | 14.64 | 11.23 | 8.133 | 8.985 | 9.931 | 8.346 | 6.828 | 6.412 | 6.852 | 7.027 | 5.907 | 11.69 | 23.8 | 15.96 | 6.107 | 3.626 | 5.467 | 2.938