## Sheet1
Report date: | 15:31:56, 04/17/2024
Sample: | 1
File name:
Run date: | 15:29:12, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/260.0 | 97.58
2 | 225.0/275.0 | 105.6
3 | 225.0/370.0 | 237.1
4 | 225.0/390.0 | 157.5
5 | 225.0/415.0 | 153.4
6 | 225.0/485.0 | 144.8
7 | 230.0/265.0 | 90.85
8 | 230.0/285.0 | 119.5
9 | 230.0/330.0 | 426.5
10 | 230.0/355.0 | 344.5
11 | 230.0/380.0 | 240.8
12 | 230.0/405.0 | 177.4
13 | 230.0/425.0 | 132
14 | 230.0/490.0 | 155
15 | 235.0/255.0 | 127.4
16 | 235.0/315.0 | 354
17 | 235.0/345.0 | 379.2
18 | 235.0/365.0 | 238.1
19 | 235.0/375.0 | 240.3
20 | 235.0/440.0 | 145.1
21 | 240.0/265.0 | 97.27
22 | 240.0/415.0 | 181.2
23 | 240.0/435.0 | 146.3
24 | 240.0/450.0 | 162
25 | 245.0/270.0 | 109.7
26 | 245.0/280.0 | 150.8
27 | 245.0/360.0 | 289.1
28 | 245.0/425.0 | 168.2
29 | 250.0/400.0 | 142.2
30 | 250.0/415.0 | 152.2
31 | 250.0/470.0 | 126.6
32 | 255.0/275.0 | 116.3
33 | 255.0/420.0 | 125.6
34 | 260.0/285.0 | 178.2
35 | 260.0/415.0 | 127.8
36 | 260.0/465.0 | 136.2
37 | 265.0/470.0 | 110.2
38 | 265.0/480.0 | 124.5
39 | 270.0/460.0 | 146.2
40 | 270.0/485.0 | 117.3
41 | 275.0/440.0 | 174.5
42 | 275.0/455.0 | 147.7
43 | 280.0/460.0 | 145.5
44 | 280.0/475.0 | 135
45 | 285.0/330.0 | 3068
46 | 285.0/450.0 | 177.1
47 | 285.0/465.0 | 137.3
48 | 285.0/480.0 | 135.8
49 | 290.0/320.0 | 3028
50 | 290.0/335.0 | 3141
51 | 290.0/460.0 | 146.2
52 | 290.0/470.0 | 149.3
53 | 300.0/445.0 | 164.4
54 | 300.0/455.0 | 132
55 | 300.0/465.0 | 125.4
56 | 305.0/485.0 | 110
57 | 310.0/260.0 | 70.26
58 | 310.0/415.0 | 208.3
59 | 310.0/450.0 | 146.8
60 | 310.0/465.0 | 128.3
61 | 315.0/265.0 | 61.33
62 | 315.0/390.0 | 245.3
63 | 315.0/405.0 | 209.1
64 | 315.0/440.0 | 192
65 | 320.0/360.0 | 357
66 | 320.0/400.0 | 232.4
67 | 320.0/435.0 | 186
68 | 320.0/455.0 | 153.2
69 | 320.0/480.0 | 109.9
70 | 320.0/490.0 | 112.5
71 | 325.0/260.0 | 57.09
72 | 325.0/275.0 | 70.24
73 | 325.0/285.0 | 79.81
74 | 325.0/365.0 | 373.2
75 | 325.0/385.0 | 238.6
76 | 325.0/395.0 | 228.9
77 | 325.0/440.0 | 168.1
78 | 325.0/460.0 | 135.2
79 | 325.0/470.0 | 129
80 | 330.0/370.0 | 394.7
81 | 330.0/390.0 | 233.3
82 | 330.0/405.0 | 246.5
83 | 330.0/445.0 | 158.9
84 | 330.0/490.0 | 97.78
85 | 335.0/295.0 | 72.07
86 | 335.0/380.0 | 378.4
87 | 335.0/420.0 | 185.1
88 | 335.0/435.0 | 171.9
89 | 335.0/450.0 | 158.6
90 | 335.0/470.0 | 137.1
91 | 340.0/265.0 | 44.25
92 | 340.0/385.0 | 392.2
93 | 340.0/415.0 | 186.8
94 | 345.0/260.0 | 42.45
95 | 345.0/270.0 | 43.75
96 | 345.0/300.0 | 66.34
97 | 345.0/390.0 | 348
98 | 345.0/465.0 | 111.5
99 | 350.0/280.0 | 44.57
100 | 350.0/305.0 | 48.92
101 | 350.0/400.0 | 255.8
102 | 350.0/430.0 | 123.4
103 | 355.0/260.0 | 36.26
104 | 355.0/310.0 | 50.2
105 | 355.0/405.0 | 233.8
106 | 355.0/465.0 | 93.29
107 | 355.0/475.0 | 75.47
108 | 355.0/490.0 | 80.64
109 | 360.0/255.0 | 46.98
110 | 360.0/275.0 | 37.99
111 | 360.0/295.0 | 44.78
112 | 360.0/410.0 | 242.7
113 | 360.0/485.0 | 82.29
114 | 365.0/415.0 | 226.6
115 | 365.0/450.0 | 89.91
116 | 370.0/405.0 | 99.12
117 | 370.0/470.0 | 78.33
118 | 375.0/280.0 | 36.15
119 | 375.0/305.0 | 36.08
120 | 375.0/335.0 | 44.82
121 | 380.0/255.0 | 29.7
122 | 380.0/290.0 | 26.87
123 | 380.0/315.0 | 31.97
124 | 380.0/415.0 | 567.1
125 | 380.0/435.0 | 650.4
126 | 385.0/260.0 | 35
127 | 385.0/270.0 | 35.85
128 | 385.0/300.0 | 27.89
129 | 390.0/265.0 | 36.91
130 | 390.0/280.0 | 31.19
131 | 390.0/310.0 | 26.88
132 | 400.0/260.0 | 31.16
133 | 400.0/290.0 | 24.21
134 | 400.0/300.0 | 24.13
135 | 400.0/330.0 | 23.96
136 | 400.0/340.0 | 27.21
137 | 400.0/350.0 | 26.18
138 | 400.0/440.0 | 42.48
139 | 400.0/465.0 | 86.49
140 | 405.0/265.0 | 28.12
141 | 405.0/280.0 | 26.63
142 | 405.0/470.0 | 68.65
143 | 410.0/295.0 | 25.07
144 | 410.0/320.0 | 17.94
145 | 410.0/350.0 | 26.18
146 | 410.0/455.0 | 32.8
147 | 410.0/475.0 | 60.64
148 | 415.0/315.0 | 24.29
149 | 415.0/325.0 | 19.27
150 | 415.0/365.0 | 27.45
151 | 415.0/485.0 | 52.13
152 | 420.0/255.0 | 20.1
153 | 420.0/275.0 | 21.63
154 | 420.0/300.0 | 24.34
155 | 420.0/340.0 | 17.09
156 | 420.0/490.0 | 57.17
157 | 425.0/295.0 | 21.16
158 | 425.0/365.0 | 18.33
159 | 425.0/470.0 | 32.97
160 | 430.0/290.0 | 19.82
161 | 430.0/305.0 | 20.43
162 | 430.0/355.0 | 18.42
163 | 430.0/385.0 | 27.78
164 | 435.0/270.0 | 16.95
165 | 440.0/300.0 | 19.06
166 | 440.0/320.0 | 21.74
167 | 440.0/360.0 | 17.03
168 | 440.0/380.0 | 17.79
169 | 440.0/395.0 | 20.35
170 | 440.0/480.0 | 25.62
171 | 445.0/305.0 | 19.07
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 84.5 | 89.49 | 112.7 | 103.6 | 102.9 | 3427 | 9999.9 | 3853 | 93.16 | 64.89 | 63.88 | 91.55 | 78.53 | 69 | 84.12 | 46.36 | 71.44 | 50.89 | 33.36 | 44.53 | 58.22 | 44.76 | 58.59 | 45.42 | 37.07 | 26.93 | 40.24 | 24.43 | 39.04 | 39.28 | 31.74 | 26.09 | 27.3 | 26.08 | 32.92 | 31.73 | 17.2 | 24.43 | 22.45 | 17.44 | 14.1 | 15.78 | 10.18 | 12.49 | 11.66 | 11.28 | 6.272
255 | 83.08 | 93.99 | 98.71 | 127.4 | 74.81 | 328.7 | 2803 | 9999.9 | 7099 | 305.6 | 67.18 | 41.61 | 62.74 | 55.1 | 50.95 | 55.24 | 63.42 | 49.32 | 42.42 | 50.45 | 47.65 | 46.36 | 41.09 | 43.29 | 39.92 | 33.39 | 29.99 | 34.63 | 46.98 | 36.01 | 40.58 | 27.23 | 29.7 | 29.55 | 27.9 | 23.57 | 26.74 | 18.95 | 16.24 | 19.89 | 20.1 | 15.62 | 14.6 | 13.26 | 12.52 | 12.07 | 10.3
260 | 84.16 | 97.58 | 68.93 | 93.41 | 75.46 | 119.9 | 233.8 | 3761 | 9999.9 | 9999.9 | 350.5 | 69.8 | 72.7 | 64.23 | 70.43 | 62.04 | 59.22 | 59.87 | 70.26 | 51.59 | 31.49 | 57.09 | 55.64 | 32.03 | 41.38 | 42.45 | 27.05 | 36.26 | 26.18 | 35.42 | 33.16 | 34.36 | 24.18 | 35 | 26.68 | 21.11 | 31.16 | 27.44 | 23.17 | 23.24 | 18.33 | 16.58 | 15.7 | 12.63 | 13.17 | 9.549 | 7.916
265 | 78.79 | 72.94 | 90.85 | 62.88 | 97.27 | 92.16 | 96.26 | 317.7 | 4621 | 9999.9 | 9999.9 | 437.7 | 73.5 | 81.29 | 73.41 | 66.09 | 57.35 | 60.9 | 51.13 | 61.33 | 45.39 | 45.29 | 56.86 | 37.02 | 44.25 | 37.44 | 30.43 | 32.6 | 26.98 | 26.5 | 24.86 | 32.49 | 31.39 | 28.17 | 36.91 | 21.56 | 24.95 | 28.12 | 18.63 | 20.74 | 15.31 | 16.33 | 15.4 | 16.57 | 16.32 | 12 | 8.993
270 | 134.7 | 87.23 | 40.03 | 71.3 | 73.08 | 109.7 | 94.69 | 71.73 | 368.8 | 5754 | 9999.9 | 9999.9 | 617.7 | 101.8 | 79.62 | 73.74 | 73 | 57.8 | 48.22 | 51.03 | 59.22 | 57.33 | 57 | 42.73 | 33.73 | 43.75 | 38.31 | 29.74 | 27.41 | 30.18 | 29.8 | 28.43 | 20.13 | 35.85 | 31.93 | 18.76 | 27.53 | 23.72 | 20.18 | 21.31 | 16.52 | 16.41 | 15.17 | 16.95 | 11.85 | 12.22 | 10.14
275 | 89.63 | 105.6 | 86.43 | 78.31 | 89.5 | 97.61 | 87.25 | 116.3 | 67.13 | 460.8 | 8297 | 9999.9 | 9999.9 | 639.4 | 92.64 | 115.8 | 79.47 | 81.53 | 78.21 | 67.79 | 68.97 | 70.24 | 61.5 | 47.48 | 45.72 | 43.39 | 28.9 | 24.73 | 37.99 | 32.69 | 28.5 | 23.88 | 22.25 | 29.56 | 25.32 | 20.25 | 20.91 | 16.01 | 16.83 | 20.82 | 21.63 | 19.62 | 13.42 | 13.49 | 11.3 | 11.72 | 11.8
280 | 82.83 | 77.51 | 81.44 | 82.76 | 88.27 | 150.8 | 91.85 | 96.2 | 126.9 | 122.3 | 588.6 | 9999.9 | 9999.9 | 9999.9 | 844.5 | 91.3 | 65.85 | 84.07 | 56.65 | 44.68 | 60.74 | 40.56 | 45.41 | 47.61 | 46.53 | 41.44 | 44.57 | 33.2 | 31 | 20.3 | 24.26 | 36.15 | 34.4 | 27.11 | 31.19 | 21.51 | 20.75 | 26.63 | 16.96 | 17.03 | 18.6 | 15.22 | 18.89 | 14.53 | 15.31 | 13.41 | 11.38
285 | 82.55 | 60.93 | 119.5 | 99.37 | 81.81 | 99.38 | 98.84 | 107 | 178.2 | 126.1 | 159.3 | 816.4 | 9999.9 | 9999.9 | 9999.9 | 1052 | 117.6 | 91.35 | 81.1 | 81.11 | 64.91 | 79.81 | 50.33 | 57.44 | 39.31 | 33.29 | 42.57 | 35.62 | 30.96 | 24.47 | 30.97 | 34.73 | 24.42 | 22.98 | 26.52 | 21.6 | 23.06 | 19.08 | 19.61 | 17.93 | 17.06 | 18.25 | 18.34 | 17.91 | 13.04 | 11.61 | 14.91
290 | 100.4 | 111.5 | 99.8 | 117.8 | 107.1 | 62.77 | 98.29 | 71.85 | 129 | 230.8 | 188.8 | 296.1 | 885.3 | 9999.9 | 9999.9 | 9999.9 | 1030 | 103.3 | 94.84 | 77.47 | 67.56 | 60.38 | 48.49 | 60.63 | 43.91 | 35.57 | 38.16 | 36.41 | 41.94 | 34.16 | 29.47 | 20.53 | 26.87 | 23.47 | 24.05 | 21.17 | 24.21 | 24.1 | 20.25 | 19.47 | 14.2 | 16.28 | 19.82 | 13.98 | 13.86 | 13.35 | 16.45
295 | 102.1 | 154 | 183.4 | 129.1 | 135.4 | 143.4 | 76.51 | 118.2 | 115.4 | 306.3 | 384 | 401.4 | 559.9 | 1119 | 9999.9 | 9999.9 | 9999.9 | 1120 | 144.4 | 96.17 | 78.39 | 70 | 55.53 | 72.07 | 26.86 | 48.68 | 36.12 | 43.05 | 44.78 | 28.16 | 25.51 | 23.35 | 23.77 | 25.74 | 17.77 | 15.17 | 22.37 | 22.81 | 25.07 | 19.34 | 14.99 | 21.16 | 17.89 | 15.88 | 14.73 | 16.22 | 15.77
300 | 130.1 | 135.7 | 166 | 208.2 | 143.5 | 147.3 | 165.7 | 147.9 | 231.1 | 328 | 482.7 | 661.8 | 841.6 | 880.9 | 1360 | 9999.9 | 9999.9 | 9999.9 | 1296 | 129.1 | 86.15 | 74.07 | 76.31 | 57.37 | 55.7 | 66.34 | 44.32 | 34.65 | 43.63 | 34.42 | 25.96 | 30 | 25.64 | 27.89 | 19.82 | 19.83 | 24.13 | 15.95 | 19.9 | 21.12 | 24.34 | 14.69 | 17.22 | 13.29 | 19.06 | 18.42 | 17.54
305 | 116.4 | 202.7 | 206.2 | 279.1 | 184.1 | 143.2 | 174.7 | 197 | 315.2 | 374.4 | 664.2 | 959.1 | 1289 | 1244 | 1124 | 1435 | 9999.9 | 9999.9 | 9999.9 | 1055 | 131.4 | 115 | 89.13 | 69.14 | 69.43 | 43.79 | 48.92 | 44.11 | 36.82 | 29.83 | 27.73 | 36.08 | 23.38 | 21.23 | 22.64 | 12.71 | 17.57 | 14.96 | 17.89 | 22.2 | 23.22 | 17.48 | 20.43 | 17.52 | 17.89 | 19.07 | 14.15
310 | 142.2 | 234.4 | 242.2 | 271.2 | 158.2 | 165 | 209.9 | 213 | 372.7 | 603.2 | 833.1 | 1297 | 1994 | 1776 | 1708 | 1057 | 1182 | 9999.9 | 9999.9 | 9999.9 | 1358 | 120.6 | 84.73 | 83.95 | 75.25 | 60.9 | 39.67 | 50.2 | 38.63 | 43.51 | 35.39 | 30.4 | 26.56 | 21.7 | 26.88 | 20.76 | 12.55 | 16.01 | 17.06 | 15.8 | 22.53 | 20.11 | 20.23 | 18.63 | 12.67 | 17.5 | 14.77
315 | 132.5 | 277 | 274.8 | 354 | 307.1 | 195 | 152 | 283.4 | 368.9 | 734.8 | 1131 | 1636 | 1972 | 2461 | 2249 | 1224 | 683.2 | 963.6 | 9999.9 | 9999.9 | 9999.9 | 1303 | 139.7 | 92.01 | 84.89 | 63.4 | 46.42 | 44.24 | 45.15 | 43.55 | 29.72 | 30.93 | 31.97 | 20.4 | 17.48 | 19.31 | 15.75 | 13.18 | 14.81 | 24.29 | 19.07 | 17.32 | 19.92 | 19.84 | 20.34 | 14.18 | 16.61
320 | 138 | 337 | 321 | 350.1 | 239.5 | 223.1 | 176.4 | 281.8 | 483.1 | 798.7 | 1307 | 1740 | 2313 | 2747 | 3028 | 1676 | 852.7 | 461.5 | 925.6 | 9999.9 | 9999.9 | 9999.9 | 1258 | 119.8 | 101.1 | 76.35 | 82.91 | 62.98 | 43.98 | 48.15 | 38.89 | 30.49 | 22.28 | 24.5 | 24.36 | 23.39 | 18.15 | 16.93 | 17.94 | 13.66 | 19.57 | 15.49 | 17.44 | 18.08 | 21.74 | 12.96 | 14.94
325 | 162.5 | 338.4 | 422.2 | 342.5 | 284.4 | 197.2 | 251.1 | 319.3 | 495.5 | 953.2 | 1346 | 2026 | 2792 | 2934 | 2863 | 2059 | 950.5 | 518.5 | 299 | 867.1 | 9999.9 | 9999.9 | 9999.9 | 1217 | 115.7 | 118.8 | 62.22 | 50.13 | 50.23 | 49.04 | 39.88 | 30.12 | 23.01 | 29.95 | 21.72 | 25.57 | 14.68 | 17.03 | 15.95 | 19.27 | 14.12 | 14.38 | 17.88 | 14.42 | 18.42 | 17.15 | 12.61
330 | 216 | 328.2 | 426.5 | 341.9 | 267.4 | 205 | 217.7 | 441.5 | 540 | 1027 | 1479 | 2176 | 2769 | 3068 | 2915 | 2299 | 1132 | 426.7 | 221.1 | 208.1 | 850.3 | 9999.9 | 9999.9 | 9999.9 | 1241 | 131 | 109.5 | 60.03 | 50.29 | 41.08 | 43.18 | 34.81 | 24.99 | 31.32 | 25.74 | 21.71 | 23.96 | 21.53 | 16.75 | 16.25 | 15.18 | 14.73 | 15.9 | 14.5 | 13.81 | 15.24 | 18.31
335 | 187.9 | 291.3 | 408.4 | 354 | 233.9 | 247.5 | 241.3 | 340.6 | 471.3 | 858.1 | 1474 | 1984 | 2765 | 2962 | 3141 | 2181 | 1202 | 595.1 | 215 | 149.6 | 201.3 | 863 | 9999.9 | 9999.9 | 9999.9 | 1127 | 133.3 | 103.3 | 64.16 | 43.36 | 43.96 | 44.82 | 38.56 | 31.99 | 25.19 | 19.15 | 14.8 | 20.23 | 18.22 | 15.45 | 16.62 | 15.94 | 15.86 | 13.61 | 14.09 | 13.73 | 17.28
340 | 216.9 | 360.3 | 370.4 | 367 | 224.9 | 192.4 | 263.6 | 314.9 | 515 | 835.7 | 1320 | 1936 | 2552 | 2721 | 3116 | 1787 | 1007 | 769.8 | 312.8 | 177.1 | 144.8 | 189 | 875.2 | 9999.9 | 9999.9 | 9999.9 | 1181 | 114.5 | 104.1 | 61.91 | 58.33 | 39.08 | 35.81 | 25.74 | 21.46 | 22.86 | 27.21 | 20.95 | 18.07 | 14.57 | 17.09 | 14.14 | 14.86 | 12.96 | 13.98 | 15.35 | 13.62
345 | 226.5 | 270.1 | 363.7 | 379.2 | 196.9 | 181.5 | 243.2 | 386.5 | 426.3 | 652.7 | 1131 | 1834 | 2303 | 2731 | 2778 | 1849 | 904.4 | 555.4 | 391.1 | 253.9 | 129 | 135.1 | 201.8 | 863 | 9999.9 | 9999.9 | 9999.9 | 1044 | 90.77 | 94.76 | 66.49 | 49.56 | 32.94 | 36.01 | 28.98 | 18.34 | 24.22 | 22.54 | 15.59 | 15.32 | 14.45 | 13.78 | 11.93 | 16.49 | 14.74 | 13.32 | 14.04
350 | 162.1 | 300.1 | 307.5 | 317 | 310 | 188.4 | 189.8 | 357.1 | 509.5 | 675.6 | 1165 | 1597 | 2117 | 2209 | 2215 | 1731 | 842.6 | 408.4 | 372.4 | 371.5 | 136.1 | 105.9 | 132.6 | 230.5 | 834.3 | 9999.9 | 9999.9 | 9999.9 | 1024 | 100.3 | 73.26 | 60.11 | 48.3 | 38.8 | 28.47 | 24.33 | 26.18 | 23.09 | 26.18 | 16.89 | 15.83 | 16.91 | 17.99 | 15.77 | 11.12 | 13.95 | 15.6
355 | 157.5 | 322.5 | 344.5 | 217.3 | 277.9 | 195.7 | 221 | 231.9 | 401 | 552.3 | 1004 | 1499 | 1785 | 2261 | 1981 | 1321 | 716.9 | 375.3 | 241.9 | 361.1 | 250 | 116.2 | 113 | 144.6 | 194.2 | 856.7 | 9999.9 | 9999.9 | 9999.9 | 929.5 | 107.4 | 69.63 | 51.3 | 37.51 | 31.42 | 30.09 | 23.96 | 21.49 | 14.41 | 21.75 | 14.08 | 14.6 | 18.42 | 16.54 | 14.9 | 15.47 | 13.56
360 | 116.3 | 171.5 | 273.1 | 191.7 | 175.1 | 289.1 | 167.5 | 273.5 | 327.8 | 534.7 | 867 | 1176 | 1417 | 1778 | 1632 | 1183 | 649 | 317.9 | 185.1 | 221 | 357 | 240.1 | 115.2 | 91.82 | 145.7 | 194.7 | 838.6 | 9999.9 | 9999.9 | 9999.9 | 825.6 | 111.3 | 83.18 | 53.44 | 37.49 | 29.42 | 34.19 | 27.79 | 18.03 | 25.78 | 16.77 | 14.88 | 14.83 | 16.11 | 17.03 | 16.81 | 10.22
365 | 202.3 | 211.9 | 236.2 | 238.1 | 171.1 | 174.4 | 149.5 | 236.8 | 336.8 | 455 | 772 | 961 | 1225 | 1561 | 1389 | 1156 | 519.2 | 273.2 | 208.3 | 151.6 | 190.8 | 373.2 | 164.9 | 148.6 | 130.3 | 114.3 | 160 | 824.4 | 9999.9 | 9999.9 | 9999.9 | 740.3 | 107.6 | 66.02 | 43.34 | 31.65 | 35.61 | 21.84 | 23.74 | 27.45 | 14.89 | 18.33 | 14.49 | 13.3 | 14.17 | 12.48 | 13.58
370 | 141.6 | 237.1 | 173.3 | 218.4 | 134.4 | 140.6 | 151.1 | 231.6 | 260.4 | 420.9 | 545.2 | 785.9 | 1076 | 1319 | 1243 | 883.5 | 419.8 | 266.2 | 174.8 | 169.4 | 155.6 | 321 | 394.7 | 179.9 | 145 | 135.6 | 121.5 | 168 | 825 | 9999.9 | 9999.9 | 9999.9 | 669.7 | 80.43 | 63.45 | 44.97 | 32.31 | 26.99 | 28.64 | 24.1 | 23.24 | 13.51 | 20.04 | 12.45 | 17.25 | 13.89 | 14.23
375 | 117.6 | 184.8 | 181.3 | 240.3 | 190.8 | 160.1 | 170 | 197.2 | 249.2 | 389.1 | 499.1 | 611.5 | 948.5 | 988.6 | 1085 | 761.4 | 436.9 | 246.5 | 181.7 | 168.1 | 202.7 | 182.8 | 343.7 | 339.7 | 185.5 | 126.6 | 116.6 | 126.8 | 157.7 | 831.3 | 9999.9 | 9999.9 | 9999.9 | 632.8 | 74.95 | 58.57 | 45.07 | 28.18 | 29.33 | 19.99 | 18.99 | 19.92 | 20.95 | 14.04 | 16.94 | 13.49 | 11.73
380 | 151.7 | 173.5 | 240.8 | 211.4 | 137.3 | 152.7 | 158.5 | 193.1 | 238.8 | 255.9 | 423 | 560.8 | 697.2 | 894.9 | 949.1 | 619.8 | 367 | 240.2 | 164.4 | 173.7 | 183.1 | 206.5 | 251.5 | 378.4 | 304.8 | 142 | 111.9 | 98.97 | 125.7 | 162 | 819 | 9999.9 | 9999.9 | 9999.9 | 621 | 76.46 | 56.01 | 40.82 | 27.63 | 22.09 | 21.64 | 15.88 | 20.74 | 14.19 | 17.79 | 16.23 | 16.76
385 | 150.1 | 144.3 | 186.6 | 182 | 134.3 | 156.9 | 146.3 | 157.6 | 182.9 | 259.8 | 378.2 | 556.2 | 695.7 | 634.8 | 658.6 | 593.8 | 366.1 | 267 | 206.4 | 176.6 | 194 | 238.6 | 206.9 | 258.7 | 392.2 | 230.9 | 121.3 | 110.7 | 99.69 | 102.5 | 160.7 | 810.2 | 9999.9 | 9999.9 | 9999.9 | 521.5 | 83.95 | 48.66 | 33.96 | 26.99 | 26.22 | 21.44 | 27.78 | 17.39 | 14.04 | 15.13 | 14
390 | 117.6 | 157.5 | 138.4 | 101.2 | 127.1 | 115.2 | 121.6 | 184.9 | 177 | 252.8 | 305.1 | 435.7 | 573 | 614.2 | 555.9 | 576.2 | 293.5 | 224.2 | 181.6 | 245.3 | 193.1 | 216.5 | 233.3 | 215.2 | 240.3 | 348 | 169.2 | 89.46 | 107.1 | 79.17 | 100.6 | 147.1 | 806 | 9999.9 | 9999.9 | 9999.9 | 542.4 | 74.06 | 51.56 | 25.89 | 30.44 | 23.55 | 19.91 | 17.38 | 15.54 | 13.33 | 16.37
395 | 120.5 | 139.2 | 132.7 | 134.7 | 80.43 | 109.2 | 122.1 | 129 | 158.4 | 171.9 | 251.8 | 416.8 | 432.4 | 467.2 | 484.2 | 428 | 311.4 | 193.8 | 170.3 | 193.9 | 190.2 | 228.9 | 227.5 | 213.8 | 210.9 | 263.9 | 240.9 | 128.3 | 81.67 | 77.7 | 68.33 | 85.51 | 171.7 | 805 | 9999.9 | 9999.9 | 9999.9 | 445.4 | 69.88 | 52.65 | 37.38 | 28.97 | 26.07 | 18.21 | 20.35 | 16.94 | 11.34
400 | 88.31 | 123.6 | 162.5 | 146.7 | 138.2 | 135.3 | 142.2 | 99.25 | 157 | 223.8 | 224.6 | 309 | 371.6 | 403.9 | 434.2 | 327 | 254.1 | 182.5 | 157.9 | 201.2 | 232.4 | 218.5 | 229.4 | 185.9 | 183 | 186 | 255.8 | 209.5 | 84.42 | 69.42 | 82.69 | 67.23 | 148.9 | 146.4 | 784.5 | 9999.9 | 9999.9 | 9999.9 | 380.1 | 61.23 | 46.79 | 32.88 | 26.33 | 19.46 | 20.28 | 15.25 | 14.46
405 | 110.2 | 90.04 | 177.4 | 105 | 131.5 | 119.4 | 137.5 | 125.2 | 126.3 | 227.4 | 219 | 245.1 | 352.4 | 380.6 | 378 | 259.1 | 230 | 186.2 | 206.6 | 209.1 | 199.9 | 225.6 | 246.5 | 211.4 | 194.4 | 165.5 | 171.4 | 233.8 | 173.1 | 79.63 | 99.12 | 61.31 | 291.3 | 79.54 | 128.9 | 753 | 9999.9 | 9999.9 | 9999.9 | 426.7 | 57.94 | 44.17 | 30.86 | 24.48 | 18.77 | 19.04 | 16
410 | 84.19 | 96.42 | 83.19 | 100.7 | 100.2 | 118.7 | 109.5 | 124.1 | 75.87 | 151 | 229.3 | 230.8 | 232.5 | 287 | 296.4 | 246.5 | 203.3 | 162 | 161.4 | 203.4 | 224.1 | 224.1 | 237.8 | 184 | 174.9 | 149.6 | 94.37 | 173.2 | 242.7 | 133.2 | 86.66 | 62.42 | 435.8 | 98.36 | 70.63 | 115.5 | 740.8 | 9999.9 | 9999.9 | 9999.9 | 337.9 | 67.96 | 38.41 | 29.69 | 22.92 | 19.55 | 15.32
415 | 136.7 | 153.4 | 141.8 | 142.8 | 181.2 | 103.9 | 152.2 | 103.7 | 127.8 | 111.1 | 166.4 | 175.2 | 214.6 | 251 | 290 | 243.7 | 176.2 | 133.6 | 208.3 | 181.5 | 200 | 206.4 | 177.2 | 182.3 | 186.8 | 136.6 | 109.9 | 109.5 | 202 | 226.6 | 102.1 | 74.71 | 567.1 | 96.62 | 66.14 | 57.67 | 96.34 | 760.9 | 9999.9 | 9999.9 | 9999.9 | 357.4 | 57.5 | 33.87 | 29.42 | 16.82 | 17.42
420 | 84.89 | 123.9 | 95.79 | 138.4 | 116 | 90.86 | 93.01 | 125.6 | 108.1 | 137 | 148 | 184.9 | 217.5 | 194.3 | 239.9 | 238.9 | 154 | 168.7 | 186 | 190.5 | 146.4 | 209.3 | 165.6 | 185.1 | 157 | 134.4 | 118.6 | 107.6 | 118 | 193.8 | 179 | 101.6 | 538.8 | 86.05 | 47.63 | 45.43 | 55.73 | 103.7 | 746 | 9999.9 | 9999.9 | 9999.9 | 306.6 | 55.34 | 39.41 | 26.85 | 18.83
425 | 112.4 | 116.8 | 132 | 128.6 | 103.7 | 168.2 | 77.61 | 78.06 | 96.34 | 115 | 127.9 | 146.6 | 208.5 | 208 | 250.3 | 199.7 | 163.1 | 156.2 | 146.4 | 163.9 | 161 | 205.9 | 170.3 | 152.5 | 145.2 | 136.4 | 115.7 | 93.61 | 85.05 | 102.6 | 176.3 | 130.1 | 529.8 | 82.97 | 53.7 | 38.24 | 47.74 | 54.57 | 105.5 | 739 | 9999.9 | 9999.9 | 9999.9 | 282.7 | 54.14 | 32.5 | 23.54
430 | 202.9 | 117 | 105.8 | 51.5 | 115.4 | 164.3 | 118.7 | 129.1 | 91.51 | 114.4 | 137.9 | 147.4 | 180.2 | 168.9 | 198.6 | 144.2 | 148.8 | 163.3 | 153.6 | 125.3 | 183.5 | 151.6 | 158.9 | 152.4 | 146.7 | 104.4 | 123.4 | 96.46 | 101.2 | 74.92 | 104.2 | 165.8 | 541.1 | 82.28 | 46.24 | 43.53 | 42.45 | 46.55 | 40.65 | 100.3 | 734.9 | 9999.9 | 9999.9 | 9999.9 | 262.7 | 47.69 | 35.57
435 | 310.2 | 136 | 160.7 | 124.4 | 146.3 | 144.5 | 77.58 | 92.84 | 104.3 | 135.7 | 126.2 | 162.7 | 181.1 | 158.5 | 191.5 | 146.7 | 122.8 | 93.32 | 154.9 | 137.3 | 186 | 152.4 | 169.4 | 171.9 | 132.3 | 113.8 | 116.3 | 106 | 93.41 | 82.79 | 74.9 | 114.1 | 650.4 | 94.28 | 38.76 | 41.44 | 35.34 | 45.2 | 39.31 | 48.3 | 97.77 | 742.8 | 9999.9 | 9999.9 | 9999.9 | 250.1 | 50
440 | 422.8 | 347.5 | 116.8 | 145.1 | 119.2 | 111.1 | 111.6 | 101.8 | 73.49 | 129.8 | 116.1 | 174.5 | 157.9 | 145.4 | 143.6 | 139.2 | 118 | 126 | 119.6 | 192 | 125.1 | 168.1 | 128.8 | 128.3 | 134.1 | 103.7 | 103.1 | 96.55 | 70.36 | 56.4 | 80.44 | 75.54 | 588.7 | 139.9 | 53.95 | 36.97 | 42.48 | 40.09 | 31.08 | 35.88 | 39.18 | 89.06 | 739.3 | 9999.9 | 9999.9 | 9999.9 | 221.7
445 | 305.6 | 528.3 | 121.4 | 101.4 | 108.8 | 120.1 | 116.5 | 86.36 | 83.73 | 119.1 | 97.39 | 124.2 | 126 | 165.3 | 138 | 147.2 | 164.4 | 125.3 | 118.3 | 125.7 | 143.7 | 154.3 | 158.9 | 136.4 | 124.2 | 129 | 91.89 | 91.12 | 78.81 | 82.45 | 75.52 | 68.42 | 551.5 | 140.4 | 92.59 | 39.61 | 39.84 | 34.08 | 33.83 | 32.09 | 34.13 | 48.17 | 88.3 | 728.9 | 9999.9 | 9999.9 | 9999.9
450 | 125.8 | 851.7 | 321.1 | 107.5 | 162 | 120.2 | 112.8 | 90.5 | 109.6 | 116.9 | 87.58 | 121.9 | 135.1 | 177.1 | 130.3 | 120.5 | 97.69 | 119 | 146.8 | 138.3 | 133.1 | 131.7 | 144.4 | 158.6 | 115 | 104.1 | 97.91 | 86.49 | 69.28 | 89.91 | 73.12 | 52.4 | 452.3 | 92.4 | 101.3 | 58.9 | 37.78 | 38.59 | 30.51 | 33.36 | 32.87 | 38.46 | 43.1 | 89.04 | 728.2 | 9999.9 | 9999.9
455 | 126.6 | 529.5 | 1150 | 218.2 | 138.8 | 126.5 | 82.43 | 89.21 | 106.8 | 101.5 | 83.1 | 147.7 | 131.6 | 121.5 | 103.4 | 118.2 | 132 | 111.1 | 121 | 133.4 | 153.2 | 114.4 | 104.1 | 112 | 118.8 | 117.2 | 101.5 | 90.6 | 83.29 | 50.42 | 65.15 | 62.42 | 341.6 | 69.44 | 96.42 | 88.98 | 42.05 | 29.88 | 32.8 | 32.63 | 29.1 | 33.03 | 37.68 | 35.33 | 84.55 | 734.4 | 9999.9
460 | 132.3 | 209.7 | 1555 | 549.8 | 108.9 | 116.7 | 105.1 | 107.2 | 87.83 | 89.51 | 146.2 | 112.1 | 145.5 | 125.8 | 146.2 | 106.7 | 112.9 | 108.8 | 115.1 | 94.05 | 108.5 | 135.2 | 112.9 | 110.4 | 99.98 | 83.6 | 94.36 | 85.92 | 87.36 | 64.18 | 69.97 | 61.11 | 330.8 | 64.51 | 44.29 | 75.44 | 70.27 | 45.51 | 31.72 | 27.05 | 27.09 | 33.98 | 31.93 | 35.34 | 41.03 | 96.33 | 711.6
465 | 113.2 | 125.4 | 834.5 | 1552 | 199.3 | 131.3 | 106 | 107.1 | 136.2 | 96.64 | 122.7 | 107.2 | 126.3 | 137.3 | 113.9 | 123.3 | 125.4 | 122.7 | 128.3 | 99.21 | 109.6 | 118.3 | 101.8 | 124.2 | 81.45 | 111.5 | 78.53 | 93.29 | 83.85 | 71.35 | 71.09 | 51.07 | 301.5 | 66.36 | 37.35 | 52.2 | 86.49 | 62.32 | 31.3 | 28.45 | 28.95 | 29.47 | 22.37 | 28.76 | 28.24 | 44.05 | 82.58
470 | 106.6 | 116.1 | 260.5 | 2320 | 809.7 | 112.6 | 126.6 | 118.8 | 92.77 | 110.2 | 99.35 | 104.4 | 99.91 | 112.5 | 149.3 | 89.97 | 92.1 | 120.7 | 108.8 | 112.8 | 125.1 | 129 | 107.1 | 137.1 | 103.7 | 95.78 | 77.62 | 68.1 | 57.62 | 77.56 | 78.33 | 51.66 | 266 | 55.28 | 39.95 | 43.1 | 46.63 | 68.65 | 44.31 | 28.37 | 32.75 | 32.97 | 26.37 | 28.68 | 27.07 | 29.38 | 36.71
475 | 123.3 | 161.1 | 124.1 | 1383 | 2565 | 235.3 | 107.8 | 120.4 | 67.88 | 63.12 | 106.2 | 121.4 | 135 | 110.1 | 126 | 85 | 96.02 | 113.3 | 98.89 | 92.82 | 100.7 | 95.9 | 98.84 | 96.63 | 78.11 | 72.74 | 68.43 | 75.47 | 74.14 | 44.12 | 52.18 | 51.39 | 235.6 | 57.71 | 35.97 | 35.36 | 35.9 | 51.11 | 60.64 | 34.08 | 26.2 | 26.96 | 21.37 | 24.4 | 20.93 | 29.26 | 26.27
480 | 131.2 | 98.81 | 149.3 | 334.9 | 2760 | 961.2 | 95.87 | 90.33 | 99.01 | 124.5 | 95.12 | 109.7 | 96.49 | 135.8 | 73.25 | 90.51 | 91.08 | 97.42 | 93.82 | 107.5 | 109.9 | 107.1 | 76.52 | 97.69 | 93.6 | 76.87 | 80.52 | 70.56 | 61.71 | 55.1 | 49.81 | 42.89 | 185.7 | 49.33 | 39.81 | 34.35 | 38.7 | 38.94 | 51 | 43.9 | 35.97 | 28 | 21.99 | 16.43 | 25.62 | 20.75 | 22.14
485 | 114.4 | 144.8 | 127.2 | 121.5 | 1827 | 3031 | 200.5 | 81.54 | 104.2 | 107.9 | 117.3 | 93.31 | 114.2 | 121.4 | 117.7 | 104.8 | 103 | 110 | 79.17 | 82.29 | 104 | 97.58 | 86.27 | 86.92 | 93.35 | 84 | 82 | 73.7 | 82.29 | 55.42 | 54.19 | 42.84 | 151.4 | 50.77 | 39.09 | 34.68 | 27.93 | 29.84 | 39.33 | 52.13 | 38.27 | 27.97 | 26.88 | 24.29 | 19.2 | 24.32 | 18.46
490 | 90.65 | 105.4 | 155 | 96.74 | 421.9 | 3307 | 1264 | 77.23 | 94.42 | 100.5 | 110.5 | 105.2 | 107.2 | 107 | 101.9 | 116 | 81.34 | 94.4 | 86.92 | 71.67 | 112.5 | 81.11 | 97.78 | 89.74 | 91.36 | 75.72 | 71.03 | 80.64 | 73.18 | 66.43 | 48.56 | 45.39 | 145.4 | 54.07 | 39.03 | 38.62 | 27.97 | 29.22 | 32.17 | 34.97 | 57.17 | 30.16 | 21.64 | 23.01 | 21.2 | 20.64 | 22.23
495 | 110.6 | 96.63 | 88.6 | 111.3 | 121.1 | 2211 | 3063 | 183 | 125.4 | 121.2 | 82.71 | 79.82 | 128.1 | 86.99 | 121.9 | 120.8 | 105.3 | 95.43 | 70.91 | 76.03 | 99.11 | 89.89 | 87.91 | 70.53 | 87.1 | 76.86 | 59.25 | 67.81 | 65.52 | 34.58 | 43.64 | 49.83 | 133.6 | 39.18 | 36.2 | 35.8 | 23.16 | 29.66 | 25.7 | 32.18 | 43.91 | 45.64 | 24.44 | 18.61 | 23.61 | 19.56 | 13.72
500 | 82.8 | 100.1 | 85.34 | 80.19 | 93.11 | 656.6 | 4317 | 827.5 | 94.68 | 91.52 | 103.9 | 131.3 | 116.7 | 118.2 | 85.12 | 110.9 | 84.88 | 90.76 | 70.44 | 77.07 | 72.04 | 61.13 | 71.42 | 65.57 | 77.1 | 77.7 | 53.86 | 54.04 | 49.1 | 56.5 | 47.65 | 40.77 | 111.7 | 40.27 | 33.47 | 33.65 | 26.62 | 24.96 | 28.22 | 26.1 | 28.64 | 41.27 | 35.65 | 25.06 | 24.66 | 21.02 | 19.89