## Sheet1
Report date: | 15:43:16, 04/17/2024
Sample: | 1
File name:
Run date: | 15:40:35, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/270.0 | 115.3
2 | 225.0/365.0 | 237.9
3 | 225.0/395.0 | 214.4
4 | 230.0/330.0 | 563.8
5 | 230.0/350.0 | 449.4
6 | 230.0/370.0 | 273.4
7 | 235.0/285.0 | 142.2
8 | 235.0/325.0 | 467.4
9 | 235.0/375.0 | 314.3
10 | 235.0/420.0 | 220.3
11 | 240.0/450.0 | 181.9
12 | 245.0/290.0 | 149.5
13 | 245.0/380.0 | 197.5
14 | 245.0/415.0 | 164.3
15 | 245.0/440.0 | 138.3
16 | 250.0/275.0 | 149.8
17 | 250.0/385.0 | 179.3
18 | 250.0/395.0 | 153.7
19 | 250.0/425.0 | 131
20 | 250.0/450.0 | 128.5
21 | 255.0/435.0 | 138.5
22 | 255.0/455.0 | 134.4
23 | 255.0/465.0 | 131.7
24 | 260.0/285.0 | 205.8
25 | 265.0/425.0 | 149.4
26 | 265.0/490.0 | 153.2
27 | 270.0/435.0 | 166.5
28 | 270.0/465.0 | 160
29 | 270.0/485.0 | 145.1
30 | 275.0/460.0 | 157.1
31 | 280.0/255.0 | 87.09
32 | 280.0/430.0 | 208.8
33 | 280.0/445.0 | 167.6
34 | 280.0/480.0 | 139.4
35 | 280.0/490.0 | 142
36 | 285.0/325.0 | 3365
37 | 285.0/335.0 | 3488
38 | 285.0/420.0 | 297.4
39 | 285.0/465.0 | 196.6
40 | 285.0/485.0 | 148.6
41 | 290.0/255.0 | 86.36
42 | 290.0/410.0 | 348.2
43 | 290.0/435.0 | 247.9
44 | 290.0/480.0 | 150.9
45 | 295.0/270.0 | 113.4
46 | 295.0/490.0 | 140.8
47 | 300.0/455.0 | 149.7
48 | 300.0/470.0 | 161.2
49 | 300.0/485.0 | 143.7
50 | 305.0/445.0 | 160.1
51 | 310.0/450.0 | 157.7
52 | 315.0/405.0 | 237.7
53 | 315.0/435.0 | 190.9
54 | 315.0/485.0 | 135.2
55 | 320.0/265.0 | 85.61
56 | 320.0/360.0 | 377.3
57 | 320.0/390.0 | 248.7
58 | 320.0/425.0 | 216
59 | 320.0/445.0 | 161.9
60 | 320.0/465.0 | 132.9
61 | 325.0/275.0 | 79.5
62 | 325.0/365.0 | 392.4
63 | 325.0/400.0 | 258.3
64 | 325.0/440.0 | 201.3
65 | 330.0/270.0 | 80.15
66 | 330.0/375.0 | 397.2
67 | 330.0/480.0 | 121
68 | 335.0/380.0 | 403.2
69 | 335.0/405.0 | 249.9
70 | 335.0/455.0 | 163.3
71 | 335.0/485.0 | 113.6
72 | 335.0/495.0 | 111.8
73 | 340.0/285.0 | 69.69
74 | 340.0/295.0 | 82.31
75 | 340.0/385.0 | 398
76 | 340.0/445.0 | 144.3
77 | 340.0/480.0 | 123.9
78 | 345.0/265.0 | 58.99
79 | 345.0/390.0 | 334.4
80 | 345.0/450.0 | 140.1
81 | 345.0/485.0 | 99.14
82 | 350.0/300.0 | 63.48
83 | 350.0/375.0 | 166.5
84 | 350.0/395.0 | 301.5
85 | 350.0/470.0 | 107.9
86 | 355.0/280.0 | 55.67
87 | 355.0/405.0 | 246.7
88 | 360.0/410.0 | 253.2
89 | 365.0/270.0 | 57.32
90 | 365.0/305.0 | 49.88
91 | 365.0/315.0 | 58.08
92 | 365.0/415.0 | 228.4
93 | 365.0/465.0 | 86.18
94 | 365.0/475.0 | 98.6
95 | 370.0/310.0 | 49.46
96 | 370.0/425.0 | 205.8
97 | 375.0/270.0 | 46.4
98 | 375.0/285.0 | 50.24
99 | 375.0/430.0 | 179.3
100 | 375.0/465.0 | 88.91
101 | 380.0/305.0 | 36.51
102 | 380.0/435.0 | 171.4
103 | 385.0/255.0 | 34.77
104 | 385.0/270.0 | 38.97
105 | 385.0/280.0 | 36.09
106 | 385.0/300.0 | 39.2
107 | 385.0/315.0 | 39.17
108 | 385.0/345.0 | 44.65
109 | 385.0/445.0 | 129.7
110 | 385.0/490.0 | 53.78
111 | 390.0/275.0 | 39.16
112 | 390.0/295.0 | 29.62
113 | 390.0/330.0 | 35.86
114 | 390.0/450.0 | 113.5
115 | 395.0/255.0 | 38.15
116 | 395.0/455.0 | 91.89
117 | 400.0/285.0 | 37.21
118 | 400.0/315.0 | 26.88
119 | 400.0/340.0 | 31.86
120 | 405.0/325.0 | 25.74
121 | 405.0/335.0 | 24.43
122 | 405.0/350.0 | 28.71
123 | 405.0/470.0 | 78
124 | 410.0/270.0 | 29.71
125 | 410.0/295.0 | 32.57
126 | 410.0/450.0 | 43.56
127 | 415.0/255.0 | 26.05
128 | 415.0/310.0 | 25.27
129 | 415.0/335.0 | 26.07
130 | 415.0/355.0 | 24.87
131 | 415.0/480.0 | 56.71
132 | 420.0/360.0 | 26.02
133 | 420.0/490.0 | 54.17
134 | 425.0/280.0 | 21.54
135 | 425.0/305.0 | 27.39
136 | 425.0/350.0 | 20.5
137 | 430.0/260.0 | 19.51
138 | 430.0/310.0 | 25.32
139 | 430.0/355.0 | 23.61
140 | 430.0/385.0 | 24.68
141 | 435.0/275.0 | 16.68
142 | 435.0/290.0 | 23.31
143 | 435.0/325.0 | 20.62
144 | 435.0/395.0 | 27.69
145 | 435.0/470.0 | 32.07
146 | 440.0/280.0 | 17.79
147 | 440.0/320.0 | 23.87
148 | 440.0/330.0 | 24
149 | 440.0/370.0 | 20.63
150 | 440.0/490.0 | 34.74
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 101.7 | 74.95 | 122.2 | 161.2 | 97.68 | 3639 | 9999.9 | 3882 | 94.55 | 58.16 | 49.9 | 87.18 | 68.01 | 74.8 | 58.73 | 40.36 | 65.51 | 59.86 | 73.54 | 73.67 | 64.71 | 71.73 | 48.73 | 54.93 | 55.41 | 37.93 | 28.12 | 48.43 | 40.17 | 47.98 | 54.56 | 38.95 | 27.75 | 28.91 | 30.26 | 27.82 | 34.2 | 31.7 | 17.5 | 25.34 | 17.28 | 21.16 | 16.92 | 19.02 | 9.465 | 12.99 | 8.576
255 | 102.4 | 101.5 | 110.3 | 110.1 | 91.85 | 358.7 | 3281 | 9999.9 | 7795 | 294 | 74.07 | 85.98 | 87.09 | 77.77 | 86.36 | 74.48 | 85.1 | 106.3 | 60 | 51.74 | 55.08 | 48.74 | 56.15 | 49.53 | 44.18 | 42.48 | 34.03 | 36.39 | 40.56 | 42.1 | 41.15 | 32.21 | 33.35 | 34.77 | 30.72 | 38.15 | 29.3 | 22.54 | 21.78 | 26.05 | 15.84 | 16.51 | 16.63 | 15.51 | 13.49 | 9.558 | 10.06
260 | 99.32 | 84.43 | 110.4 | 80.16 | 120 | 140.6 | 312.9 | 3923 | 9999.9 | 9999.9 | 473.2 | 118.9 | 80.61 | 63.83 | 83.01 | 76.86 | 75.07 | 65.84 | 72.92 | 66.15 | 47.98 | 50.94 | 52.6 | 37 | 45.04 | 51.23 | 38.61 | 38.37 | 36.13 | 36.92 | 39.81 | 40.91 | 36.85 | 33.06 | 27.84 | 27.24 | 28.13 | 31.38 | 20.41 | 19.47 | 17.99 | 17.32 | 19.51 | 16.58 | 15.24 | 14.12 | 8.995
265 | 117.6 | 107 | 75.88 | 75.86 | 133.9 | 139.6 | 119.4 | 328.8 | 5746 | 9999.9 | 9999.9 | 501.6 | 92.72 | 91.02 | 67.82 | 70.14 | 61.01 | 89.44 | 50.75 | 75.85 | 85.61 | 66.08 | 70.14 | 68.2 | 48.27 | 58.99 | 39.81 | 38.45 | 38.36 | 31.18 | 35.32 | 24.47 | 33.65 | 32.88 | 23.05 | 23.01 | 24.04 | 20.85 | 27.14 | 22.58 | 20.09 | 16.43 | 18.63 | 18.37 | 14.57 | 15.03 | 12.25
270 | 100.3 | 115.3 | 96.96 | 103.6 | 85.97 | 128.6 | 120.1 | 93.68 | 472.8 | 6191 | 9999.9 | 9999.9 | 602.8 | 105.8 | 92.61 | 113.4 | 93.67 | 70.52 | 64.35 | 48.64 | 55.7 | 68.33 | 80.15 | 65.73 | 40.09 | 49.71 | 45.04 | 36.3 | 32.67 | 57.32 | 30.89 | 46.4 | 33.66 | 38.97 | 37.39 | 21.35 | 22.73 | 21.47 | 29.71 | 25.57 | 16.51 | 18.44 | 16.75 | 15.65 | 12.18 | 17.66 | 16.52
275 | 114.7 | 99.2 | 96.22 | 109.2 | 116.5 | 121.5 | 149.8 | 122.2 | 137.9 | 476.4 | 8928 | 9999.9 | 9999.9 | 710.5 | 113.6 | 104.7 | 83.93 | 86.12 | 57.02 | 55.52 | 55.8 | 79.5 | 63.84 | 39.58 | 53.26 | 40.84 | 37.32 | 47.75 | 34.24 | 32.91 | 34.07 | 29.54 | 29.18 | 31.1 | 39.16 | 28.74 | 20.26 | 31.36 | 22 | 25.27 | 22.61 | 19.9 | 15.44 | 16.68 | 16.36 | 14.27 | 15.32
280 | 131.9 | 94.63 | 69.24 | 131 | 84.14 | 122.4 | 113.9 | 124.9 | 144.9 | 105.3 | 660.9 | 9999.9 | 9999.9 | 9999.9 | 929.8 | 110.8 | 111.1 | 111 | 76.13 | 72.47 | 60.23 | 62.58 | 52.34 | 61.27 | 57.29 | 50.31 | 38.56 | 55.67 | 43.55 | 37.64 | 35.27 | 35.34 | 29.71 | 36.09 | 25.86 | 29.95 | 33.04 | 27.22 | 17.16 | 22.19 | 18.94 | 21.54 | 17.66 | 15.53 | 17.79 | 11.8 | 13.09
285 | 107.9 | 121 | 92.81 | 142.2 | 131.5 | 112.7 | 87.22 | 119.8 | 205.8 | 139.7 | 187.2 | 815.6 | 9999.9 | 9999.9 | 9999.9 | 1124 | 121.9 | 124.1 | 82.51 | 93.87 | 59.24 | 70.2 | 42.2 | 52.87 | 69.69 | 50.52 | 49.33 | 42.56 | 33.16 | 40.04 | 48.29 | 50.24 | 27.78 | 28.39 | 26.76 | 30.48 | 37.21 | 37.14 | 20.11 | 23.01 | 19.02 | 20.24 | 16.87 | 19.7 | 15.5 | 15.32 | 14.52
290 | 120.8 | 122 | 130.6 | 116.6 | 93.18 | 149.5 | 113.6 | 102.6 | 155.9 | 247.9 | 249.7 | 287.6 | 985 | 9999.9 | 9999.9 | 9999.9 | 1062 | 120.9 | 103.5 | 95.62 | 83.56 | 72.3 | 71.44 | 70.61 | 45.74 | 49.17 | 47.62 | 36.82 | 47.32 | 33.47 | 43.68 | 32.42 | 27.32 | 30.01 | 26.23 | 23.53 | 26.17 | 29.25 | 23.62 | 24.08 | 20.18 | 17.36 | 18.19 | 23.31 | 17.79 | 16.62 | 15.2
295 | 106.2 | 117.6 | 143.8 | 188.3 | 119.9 | 130.8 | 118.5 | 82.17 | 177.1 | 233.3 | 381.2 | 484.6 | 560.8 | 1215 | 9999.9 | 9999.9 | 9999.9 | 1243 | 141.7 | 103.9 | 99.7 | 90.25 | 81.81 | 54.28 | 82.31 | 48.07 | 63.07 | 45.26 | 48.25 | 42.7 | 37.11 | 37.9 | 25.72 | 29.07 | 29.62 | 25.69 | 23.47 | 25.08 | 32.57 | 28.84 | 16.52 | 20.86 | 21.4 | 21.86 | 21.06 | 16.45 | 12.51
300 | 108.8 | 124.6 | 202.2 | 221 | 182.1 | 121.9 | 132.7 | 139.4 | 232 | 269.6 | 556.9 | 858 | 891.3 | 1042 | 1384 | 9999.9 | 9999.9 | 9999.9 | 1347 | 143.7 | 113.6 | 79.33 | 72 | 72.86 | 64.63 | 51.21 | 63.48 | 51.38 | 48.7 | 46.39 | 31.16 | 33.39 | 29.84 | 39.2 | 21.54 | 21.28 | 22.86 | 22.34 | 25.68 | 26.66 | 20.73 | 16.6 | 14.41 | 16.13 | 18.17 | 22.84 | 16.59
305 | 157.2 | 181.8 | 280.8 | 301.8 | 190.9 | 165.2 | 191.6 | 218.5 | 364.2 | 418.9 | 653.9 | 1148 | 1512 | 1348 | 1273 | 1507 | 9999.9 | 9999.9 | 9999.9 | 1261 | 151.4 | 120.2 | 89.01 | 67.95 | 76.45 | 55.77 | 48.26 | 45.27 | 48.79 | 49.88 | 41.79 | 30.48 | 36.51 | 26.51 | 22.79 | 16.96 | 23.83 | 17.82 | 20.31 | 21.54 | 20.23 | 27.39 | 21.47 | 15.25 | 16.2 | 13.64 | 18.85
310 | 188.9 | 299.9 | 348.6 | 294.8 | 259.9 | 136.8 | 207.9 | 206.4 | 384.9 | 591.9 | 987.1 | 1475 | 2020 | 2025 | 1634 | 1164 | 1300 | 9999.9 | 9999.9 | 9999.9 | 1631 | 135.1 | 126.6 | 110.2 | 67.06 | 63.45 | 62.01 | 46.1 | 40.56 | 34.32 | 49.46 | 28.37 | 27.89 | 27.58 | 26.45 | 19.48 | 25.12 | 19.35 | 18.69 | 25.27 | 19.4 | 20.06 | 25.32 | 18.9 | 17.33 | 14.94 | 17.88
315 | 169.7 | 359.2 | 414.7 | 346.5 | 313.5 | 165.1 | 210.4 | 304.9 | 509.8 | 808.3 | 1069 | 1754 | 2145 | 2705 | 2544 | 1539 | 734.5 | 1053 | 9999.9 | 9999.9 | 9999.9 | 1488 | 190.7 | 119.5 | 75.32 | 68.53 | 55.49 | 62.25 | 43.7 | 58.08 | 38.07 | 33.52 | 37.05 | 39.17 | 25.65 | 25.16 | 26.88 | 23.94 | 16.06 | 18.8 | 13.65 | 20.78 | 22.88 | 21.67 | 22.75 | 15.65 | 16.67
320 | 201.4 | 369.9 | 390.7 | 401.1 | 223.1 | 168.1 | 259.9 | 301.2 | 451.4 | 857.9 | 1425 | 1770 | 2432 | 3240 | 2997 | 1882 | 811.5 | 465.3 | 950.6 | 9999.9 | 9999.9 | 9999.9 | 1271 | 157.6 | 116.1 | 94.06 | 64.91 | 69.56 | 52.57 | 38.45 | 48.63 | 45.4 | 32.71 | 28.06 | 27.86 | 28.37 | 21.62 | 22.57 | 20.69 | 21.49 | 13.9 | 18.42 | 20.92 | 17.86 | 23.87 | 16.99 | 19.49
325 | 256.5 | 389.7 | 466.9 | 467.4 | 317.5 | 224.8 | 300.8 | 369 | 546.7 | 965.2 | 1399 | 2122 | 2958 | 3365 | 3042 | 2404 | 922.9 | 484.5 | 295.1 | 876.4 | 9999.9 | 9999.9 | 9999.9 | 1423 | 157.6 | 96.01 | 67.44 | 64.32 | 58.74 | 51.11 | 50.88 | 40.47 | 38.37 | 28.99 | 30.35 | 24.43 | 23.11 | 25.74 | 19.61 | 18.28 | 16.83 | 14.2 | 18.83 | 20.62 | 18.5 | 17.72 | 14.61
330 | 229.7 | 413.6 | 563.8 | 389.5 | 290 | 247.7 | 293.6 | 422.4 | 635.9 | 944.6 | 1547 | 2168 | 3036 | 3176 | 2992 | 2504 | 1196 | 461.5 | 251.4 | 232 | 881.3 | 9999.9 | 9999.9 | 9999.9 | 1388 | 125.4 | 94.28 | 91.2 | 45.68 | 50.07 | 46.54 | 50.11 | 38.27 | 31.13 | 35.86 | 25.74 | 29.54 | 19.48 | 17.54 | 21.91 | 20 | 13.77 | 14.18 | 14.15 | 24 | 22.03 | 19.14
335 | 280.8 | 392.5 | 515.3 | 386.7 | 372.9 | 304.9 | 250.6 | 382.1 | 552.6 | 958.3 | 1758 | 2177 | 2971 | 3488 | 3029 | 2177 | 1315 | 614.2 | 253 | 183.8 | 231.1 | 902.9 | 9999.9 | 9999.9 | 9999.9 | 1215 | 178.9 | 103.2 | 91.56 | 57.46 | 43.39 | 50.45 | 38.74 | 39 | 32.96 | 26.54 | 20.33 | 24.43 | 17.71 | 26.07 | 21.27 | 17.76 | 16.81 | 15.63 | 17.14 | 18.89 | 22.45
340 | 202.8 | 354.1 | 454.8 | 435 | 277.2 | 267.8 | 272.6 | 418.9 | 602.4 | 1004 | 1353 | 1946 | 2609 | 3430 | 3204 | 2177 | 1136 | 817.7 | 297.9 | 154.1 | 171.6 | 227.7 | 893.5 | 9999.9 | 9999.9 | 9999.9 | 1272 | 164.9 | 87.68 | 79.32 | 54.89 | 51.69 | 48.39 | 31.95 | 26.37 | 28.72 | 31.86 | 20.67 | 21.74 | 25.28 | 21.41 | 19.18 | 15.75 | 12.72 | 15.87 | 16.32 | 18.02
345 | 213.8 | 344.3 | 391.4 | 413.7 | 280.2 | 259 | 209.7 | 274 | 522.3 | 896.5 | 1385 | 1904 | 2448 | 2904 | 2950 | 2031 | 926.5 | 621.3 | 460.4 | 197.4 | 141.1 | 137.2 | 220.5 | 863.4 | 9999.9 | 9999.9 | 9999.9 | 1105 | 145.1 | 105.1 | 105.5 | 60.11 | 40.12 | 44.65 | 42 | 32.41 | 31.83 | 21.03 | 20.03 | 19.66 | 18.59 | 16.24 | 19.91 | 16.51 | 12.07 | 17.61 | 13.98
350 | 216.6 | 306.3 | 449.4 | 391.5 | 316.4 | 234.6 | 218 | 288.5 | 491.8 | 842.7 | 1183 | 1952 | 2102 | 2636 | 2339 | 1669 | 971 | 455.3 | 337 | 323.3 | 168.2 | 156.8 | 144.9 | 193.4 | 840.1 | 9999.9 | 9999.9 | 9999.9 | 1112 | 126.5 | 96.97 | 72.22 | 54.35 | 36.42 | 41.08 | 27.28 | 25.59 | 28.71 | 21.2 | 22.76 | 15.67 | 20.5 | 19.78 | 18.87 | 15.77 | 14.17 | 12.97
355 | 172.9 | 343.8 | 387.9 | 374.1 | 298.3 | 225.3 | 213 | 304.3 | 450.4 | 660.1 | 1166 | 1387 | 2011 | 2383 | 2274 | 1453 | 896.2 | 352.8 | 220.3 | 294.4 | 267.4 | 136.8 | 145.5 | 135.3 | 207.9 | 857.7 | 9999.9 | 9999.9 | 9999.9 | 1112 | 126.7 | 103.8 | 57.31 | 49.26 | 38.23 | 34.75 | 29.35 | 26.05 | 22.2 | 24.87 | 20.58 | 15.96 | 23.61 | 17.73 | 12.18 | 17.43 | 15.09
360 | 185.7 | 207.6 | 326.9 | 248.1 | 210.1 | 198.3 | 251.3 | 233.1 | 342.3 | 553.3 | 813.6 | 1234 | 1677 | 1855 | 1907 | 1405 | 784.1 | 418.5 | 179.4 | 171.4 | 377.3 | 275.4 | 130.4 | 148.2 | 136.3 | 213.8 | 857.1 | 9999.9 | 9999.9 | 9999.9 | 924.7 | 122.5 | 89.29 | 60.69 | 47.81 | 35.19 | 36.35 | 21.56 | 19.43 | 20.37 | 26.02 | 21.08 | 21.49 | 11.63 | 12.99 | 16.05 | 15.14
365 | 173.8 | 237.9 | 230.6 | 209.6 | 184.4 | 191 | 214.3 | 268 | 384.8 | 462.1 | 703.2 | 1211 | 1397 | 1715 | 1489 | 1282 | 647.2 | 330.6 | 175.6 | 173 | 303.9 | 392.4 | 201.2 | 159.8 | 153 | 176.1 | 192.6 | 903.8 | 9999.9 | 9999.9 | 9999.9 | 852.5 | 110.3 | 85.85 | 58.42 | 43.03 | 30.8 | 24.6 | 22.97 | 16.65 | 19.95 | 17.06 | 15.25 | 15.88 | 13.92 | 16.22 | 12.57
370 | 221.7 | 178.7 | 273.4 | 243.1 | 180.6 | 201.8 | 198.2 | 216.4 | 276.4 | 432 | 660.7 | 1013 | 1099 | 1412 | 1248 | 998.7 | 543.1 | 286.4 | 183 | 172.1 | 180.8 | 301.9 | 394.3 | 200.4 | 163.8 | 153.3 | 136.5 | 194.5 | 899.4 | 9999.9 | 9999.9 | 9999.9 | 734.4 | 108.1 | 77.88 | 45.88 | 42.95 | 32.84 | 26.21 | 19.97 | 23.92 | 19.16 | 19.14 | 16.35 | 20.63 | 15.1 | 14.54
375 | 138.3 | 186.3 | 262.7 | 314.3 | 164.4 | 157.4 | 164.6 | 225.2 | 252.3 | 292.2 | 471 | 771.9 | 981.1 | 1115 | 1169 | 855.9 | 535.1 | 262.9 | 227.6 | 162.9 | 214.1 | 286 | 397.2 | 341.4 | 170.6 | 133.1 | 166.5 | 134.2 | 161.2 | 859.3 | 9999.9 | 9999.9 | 9999.9 | 740.4 | 106.9 | 70.75 | 47.28 | 34.18 | 30.75 | 28.41 | 28.14 | 20.44 | 18.64 | 15.54 | 17.03 | 14.67 | 14.39
380 | 123.7 | 235 | 232.8 | 243.7 | 155.2 | 197.5 | 157.5 | 168.3 | 246.6 | 429.1 | 451 | 634.6 | 931.2 | 934.8 | 991.6 | 727.1 | 432 | 260.9 | 204.2 | 182.1 | 214.5 | 261.7 | 295.6 | 403.2 | 278.1 | 158.6 | 150.1 | 130 | 111.8 | 167.6 | 857.1 | 9999.9 | 9999.9 | 9999.9 | 716.4 | 105.5 | 65.75 | 48 | 29.15 | 27.55 | 26.05 | 26.7 | 19.4 | 19.18 | 16.64 | 18.01 | 16.12
385 | 167.8 | 212.4 | 204.5 | 208.9 | 188.6 | 152.3 | 179.3 | 141 | 155 | 287.6 | 349.8 | 473.2 | 700.3 | 771 | 752.2 | 558.3 | 357.5 | 281 | 194.4 | 191.1 | 234.9 | 236.2 | 191.3 | 278.5 | 398 | 237.6 | 142.4 | 112.6 | 104.8 | 120.2 | 155 | 854.5 | 9999.9 | 9999.9 | 9999.9 | 610.3 | 104.3 | 65.72 | 38.31 | 33.17 | 33.55 | 19.4 | 24.68 | 19.1 | 17.98 | 17.53 | 13.18
390 | 118.2 | 153.5 | 183.6 | 167 | 171.4 | 166.1 | 107.4 | 155.5 | 184.4 | 244.5 | 314.6 | 517.1 | 607 | 680.3 | 659.1 | 434.9 | 328.6 | 279.5 | 229.1 | 241.9 | 248.7 | 228.9 | 217.9 | 228 | 311.7 | 334.4 | 162.3 | 124.5 | 106.5 | 97.79 | 106.6 | 143.9 | 808.7 | 9999.9 | 9999.9 | 9999.9 | 638 | 84.9 | 54.8 | 39.08 | 36.62 | 24.78 | 24.46 | 21.84 | 17.5 | 14.47 | 15.98
395 | 107.8 | 214.4 | 198.2 | 188.4 | 157.8 | 149.1 | 153.7 | 131.2 | 185.1 | 199.7 | 298.2 | 439.6 | 596.3 | 553.4 | 614.6 | 402.5 | 273.2 | 257.4 | 193.3 | 176.4 | 236.3 | 249.9 | 209.2 | 249.9 | 248 | 282.3 | 301.5 | 144.2 | 104.2 | 91.15 | 91.82 | 100.8 | 162.2 | 833.8 | 9999.9 | 9999.9 | 9999.9 | 482 | 71.86 | 61.34 | 42.03 | 31.29 | 21.81 | 27.69 | 19.95 | 17.29 | 16.13
400 | 123 | 191.3 | 161.5 | 154.2 | 136.8 | 144.3 | 140.7 | 127.8 | 175.6 | 217.3 | 245.8 | 293.6 | 396.2 | 515.4 | 468.7 | 317.3 | 246.7 | 224.3 | 210.7 | 198.4 | 193.7 | 258.3 | 215.7 | 216.4 | 176.7 | 197.2 | 240.4 | 230.3 | 106 | 84.79 | 73.54 | 77.52 | 93.6 | 140 | 804 | 9999.9 | 9999.9 | 9999.9 | 441.5 | 79.56 | 52.31 | 35.48 | 27.66 | 23.46 | 19.99 | 21.18 | 17.49
405 | 106.7 | 132.7 | 158.8 | 163.1 | 157.7 | 142.9 | 115.1 | 112.7 | 147.2 | 170.4 | 217.1 | 277.6 | 333.1 | 345.3 | 308.1 | 272.5 | 236.3 | 203 | 228.7 | 237.7 | 229 | 248.7 | 231.3 | 249.9 | 188.8 | 178.6 | 181.7 | 246.7 | 190.2 | 96.69 | 95.26 | 81.7 | 82.38 | 81.39 | 149.5 | 778.7 | 9999.9 | 9999.9 | 9999.9 | 471.7 | 69.24 | 46.04 | 34.62 | 30.62 | 26.72 | 28.32 | 18.56
410 | 151.5 | 109.4 | 146.1 | 143.5 | 110 | 130.7 | 119.1 | 146.2 | 158.4 | 174.3 | 167.3 | 292.5 | 293.5 | 301 | 348.2 | 321.3 | 201.3 | 210.5 | 201.1 | 229.3 | 215.2 | 235.4 | 215.6 | 235.7 | 209.3 | 140.2 | 131.4 | 176.4 | 253.2 | 128.7 | 86.48 | 93.02 | 76.09 | 78.24 | 92.79 | 123.8 | 764.4 | 9999.9 | 9999.9 | 9999.9 | 391.6 | 60.04 | 46.32 | 35.69 | 23.07 | 22.03 | 17.97
415 | 81.85 | 137.3 | 125.6 | 152.7 | 119.2 | 164.3 | 124.2 | 91.89 | 148.6 | 110.2 | 202.6 | 238.8 | 258 | 272.2 | 293.1 | 275.1 | 206.4 | 166.6 | 174 | 193.4 | 187.6 | 220.9 | 239.7 | 240.3 | 189.8 | 147.8 | 159.9 | 129.1 | 205.5 | 228.4 | 117.1 | 86.44 | 93.51 | 80.43 | 78.4 | 72.59 | 119.1 | 775.5 | 9999.9 | 9999.9 | 9999.9 | 390.3 | 70.13 | 43 | 25.36 | 25.36 | 18.87
420 | 144.4 | 136.4 | 140.1 | 220.3 | 123.8 | 146.2 | 124.6 | 97.86 | 114 | 125.4 | 182.5 | 177.6 | 202.7 | 297.4 | 275.7 | 224.7 | 199.1 | 176.5 | 150.2 | 161.6 | 200.6 | 174.5 | 217.1 | 211.4 | 180.1 | 137.2 | 95.47 | 127.9 | 142.9 | 223.3 | 180.3 | 146.2 | 97.89 | 77.59 | 78.38 | 67.15 | 69.48 | 110.8 | 764.1 | 9999.9 | 9999.9 | 9999.9 | 340.8 | 61.91 | 38.24 | 27.84 | 22.21
425 | 124.9 | 138.3 | 171.3 | 175.4 | 156.5 | 109.5 | 131 | 114.7 | 139.1 | 149.4 | 137.8 | 161.8 | 185.3 | 197.7 | 208.4 | 195.6 | 163.7 | 160.6 | 165 | 188.8 | 216 | 187.1 | 185.8 | 178.2 | 176.3 | 137.4 | 125.4 | 118.5 | 99.49 | 114.8 | 205.8 | 134.7 | 83.04 | 60.74 | 65.84 | 53.2 | 54.89 | 64.12 | 100.1 | 754.3 | 9999.9 | 9999.9 | 9999.9 | 318.1 | 56.07 | 40.01 | 26.78
430 | 229.6 | 143.1 | 129.9 | 147.6 | 120.1 | 117.4 | 125.6 | 115.4 | 115.8 | 140 | 111 | 181.2 | 208.8 | 203.1 | 166.6 | 180.6 | 173.1 | 128.1 | 137.9 | 177.8 | 163.2 | 174.5 | 187 | 183.3 | 159.2 | 137.7 | 143.1 | 115.7 | 91.59 | 89.25 | 131.4 | 179.3 | 118 | 66.38 | 64.09 | 53.31 | 53.71 | 45.01 | 55.93 | 110 | 746 | 9999.9 | 9999.9 | 9999.9 | 317 | 45.96 | 39.26
435 | 392.8 | 148.6 | 168.1 | 127.3 | 116.5 | 119.1 | 128.7 | 138.5 | 123.8 | 115.4 | 166.5 | 126.7 | 172.2 | 170.4 | 247.9 | 173.3 | 164.9 | 127.5 | 141.9 | 190.9 | 135.5 | 180 | 175.3 | 164.9 | 159.4 | 132.6 | 106.3 | 116.5 | 80.49 | 91.55 | 99.06 | 141.1 | 171.4 | 94.14 | 58.16 | 50.63 | 53.5 | 45.21 | 42.49 | 52.48 | 105.2 | 748.9 | 9999.9 | 9999.9 | 9999.9 | 283.9 | 55.87
440 | 465.3 | 200.5 | 109 | 66.85 | 103.7 | 138.3 | 92.62 | 131.1 | 99.75 | 116.1 | 144 | 135.4 | 155.5 | 186.2 | 205.2 | 138 | 156.2 | 143.7 | 143.7 | 134.1 | 114.9 | 201.3 | 148.9 | 161 | 120.8 | 132.7 | 95.18 | 115.5 | 103.7 | 88.67 | 80.52 | 86.61 | 165.7 | 111.9 | 62.53 | 51.28 | 42.47 | 41.86 | 40.91 | 56.4 | 50.74 | 94.8 | 737.9 | 9999.9 | 9999.9 | 9999.9 | 252.6
445 | 267.1 | 518.6 | 211.4 | 135.2 | 154.2 | 132.2 | 120.9 | 88 | 113.5 | 105.4 | 146.7 | 143.9 | 167.6 | 141.9 | 159.1 | 156.7 | 129 | 160.1 | 145.3 | 130.4 | 161.9 | 153.8 | 133.6 | 127.6 | 144.3 | 118.3 | 101.7 | 89.54 | 96.37 | 87.2 | 90.34 | 80.86 | 87.18 | 129.7 | 83.92 | 50.03 | 42.22 | 39.57 | 37.79 | 40.7 | 49.44 | 48.31 | 102.2 | 734.7 | 9999.9 | 9999.9 | 9999.9
450 | 152.6 | 822.1 | 412.2 | 112.7 | 181.9 | 102.2 | 128.5 | 125.6 | 125.8 | 118.2 | 116.4 | 150.2 | 153.1 | 159.9 | 178.9 | 135.9 | 144.7 | 123.5 | 157.7 | 139.5 | 131.8 | 131.8 | 139.9 | 136.2 | 125.1 | 140.1 | 116 | 108.3 | 85.04 | 80.07 | 68.94 | 67.83 | 80.9 | 92.83 | 113.5 | 66.93 | 47.46 | 36.67 | 43.56 | 35.64 | 34.87 | 43.3 | 48.21 | 102.9 | 744.6 | 9999.9 | 9999.9
455 | 135.6 | 627.6 | 1239 | 182.3 | 124.6 | 117.1 | 117.7 | 134.4 | 114.4 | 91.55 | 129.8 | 127.1 | 155.1 | 138.3 | 135.4 | 137.8 | 149.7 | 140.6 | 124.7 | 140.9 | 146.3 | 111.2 | 145.4 | 163.3 | 138.5 | 127.2 | 114.9 | 110.3 | 89.87 | 90.62 | 87.19 | 78.83 | 73.32 | 65.55 | 86.22 | 91.89 | 55.2 | 35.41 | 35.72 | 36.48 | 34.02 | 34.13 | 35.87 | 34.09 | 96.12 | 742.2 | 9999.9
460 | 124.4 | 223.5 | 1665 | 530.6 | 95.73 | 114.1 | 81.83 | 116 | 112.7 | 107.8 | 147.2 | 157.1 | 152.5 | 145.1 | 147.3 | 111.8 | 131.2 | 120.9 | 111.9 | 133.7 | 114.4 | 108.7 | 139.3 | 150 | 133.8 | 110.7 | 79.82 | 103.9 | 78.48 | 81.93 | 85.18 | 87.26 | 65.88 | 60.34 | 59.03 | 84 | 83.09 | 45.7 | 37.72 | 31.68 | 34.96 | 27.54 | 32.89 | 33.44 | 44.84 | 91.68 | 725.8
465 | 181.8 | 146.8 | 903.2 | 1519 | 221.6 | 152.9 | 110 | 131.7 | 85.22 | 114 | 160 | 134.3 | 123.9 | 196.6 | 155.9 | 91.69 | 133.9 | 146.4 | 131.4 | 128 | 132.9 | 119.9 | 128.5 | 135 | 108.3 | 90.64 | 92.9 | 93.38 | 79.95 | 86.18 | 73.87 | 88.91 | 74.96 | 58.7 | 47.34 | 58.46 | 80.27 | 66.25 | 44.66 | 37.91 | 33.67 | 26.08 | 29.97 | 30.13 | 35.69 | 47.06 | 86.04
470 | 119.9 | 153.9 | 248.9 | 2209 | 933.6 | 125.8 | 119.3 | 121.7 | 109.7 | 93.51 | 131.2 | 137.2 | 134.8 | 170.6 | 137.7 | 138.5 | 161.2 | 160.3 | 137.3 | 96.41 | 124.1 | 114.1 | 121.3 | 124.5 | 87.43 | 105.1 | 107.9 | 83.47 | 77.95 | 81.35 | 69.21 | 68.44 | 51.78 | 58.79 | 53.2 | 47.33 | 53.54 | 78 | 47.66 | 35.52 | 36.28 | 32.83 | 30.15 | 32.07 | 28.08 | 33.14 | 38.28
475 | 101.4 | 121.5 | 99.23 | 1316 | 2326 | 322.9 | 112.4 | 117 | 117 | 94.01 | 100.7 | 110.8 | 133.1 | 108.9 | 117.2 | 126 | 113.8 | 102.6 | 134.5 | 109.9 | 116 | 81.91 | 107 | 115.9 | 96.82 | 92.52 | 93.42 | 85.02 | 73.76 | 98.6 | 56.81 | 73.36 | 56.7 | 55.12 | 41.79 | 44.19 | 38.56 | 76.53 | 65.43 | 43.18 | 31.28 | 30.97 | 26.41 | 26.1 | 29.09 | 31.47 | 31
480 | 135.6 | 135.5 | 116 | 385.4 | 3168 | 1165 | 86.12 | 88.61 | 84.91 | 88.16 | 113.6 | 119.9 | 139.4 | 127.2 | 150.9 | 103.9 | 112.8 | 84.59 | 116.5 | 112.2 | 119.8 | 113.5 | 121 | 90.24 | 123.9 | 95.25 | 94.29 | 69.74 | 74.71 | 69.66 | 71.9 | 59.81 | 49.3 | 52.2 | 49.13 | 39.75 | 40.03 | 38.37 | 49.99 | 56.71 | 37.42 | 28.7 | 32.53 | 24.27 | 25.67 | 22.91 | 26.26
485 | 117.5 | 88.62 | 140.5 | 156.1 | 1803 | 2942 | 223.8 | 109.3 | 102.8 | 92.47 | 145.1 | 131.7 | 130.5 | 148.6 | 103.1 | 116.4 | 143.7 | 129.3 | 98.96 | 135.2 | 89.52 | 104 | 89.6 | 113.6 | 93.24 | 99.14 | 92.98 | 74.51 | 67.09 | 73.33 | 68.09 | 66.57 | 49.75 | 46.95 | 45.72 | 36.54 | 37.65 | 36.79 | 40.64 | 52.32 | 39.3 | 33.37 | 33.13 | 22.33 | 22.4 | 23.72 | 21.13
490 | 109.2 | 146.9 | 132.9 | 88.38 | 444 | 3449 | 929.8 | 103.4 | 121.8 | 153.2 | 88.87 | 77.33 | 142 | 105.8 | 122.3 | 140.8 | 98.72 | 120 | 68.6 | 110.6 | 97.68 | 103.8 | 94.41 | 106.1 | 75.85 | 83.1 | 71.15 | 65.42 | 57.87 | 65.47 | 64.51 | 65.43 | 46.36 | 53.78 | 40.84 | 38.89 | 35.44 | 37.64 | 34.89 | 42.31 | 54.17 | 40.66 | 28.14 | 26.22 | 34.74 | 23.87 | 23.01
495 | 128.7 | 128.5 | 128.3 | 121.2 | 187.1 | 2349 | 3282 | 220.3 | 89.48 | 85.28 | 120.5 | 132.9 | 120.5 | 109 | 109.7 | 124.1 | 103.3 | 112 | 104.7 | 97.03 | 115.7 | 74.37 | 76.2 | 111.8 | 84.69 | 68.58 | 68.44 | 90.55 | 86.09 | 64.15 | 56.09 | 60.98 | 48.85 | 48.27 | 41.83 | 44.28 | 36.26 | 27.5 | 31.15 | 31.44 | 41.97 | 44.54 | 32.77 | 27.98 | 29.75 | 23.68 | 27.15
500 | 122.3 | 192.7 | 121.9 | 127.4 | 99.23 | 783.9 | 4188 | 690.3 | 88.5 | 109.3 | 106.6 | 136.5 | 102.8 | 139.3 | 115.8 | 104.2 | 86.68 | 72.8 | 94.5 | 87.47 | 110.6 | 96.46 | 107 | 98.99 | 78.22 | 68.43 | 96.59 | 74.5 | 68.88 | 65.51 | 55.92 | 49.22 | 49.33 | 38.17 | 48.21 | 34.92 | 39.04 | 33.48 | 33.12 | 27.49 | 37.85 | 52.07 | 40.65 | 30.84 | 21.54 | 24.44 | 24.32