## Sheet1
Report date: | 15:47:14, 04/17/2024
Sample: | 1
File name:
Run date: | 15:44:31, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/280.0 | 140.2
2 | 225.0/415.0 | 208.8
3 | 225.0/430.0 | 201.4
4 | 230.0/270.0 | 123.6
5 | 230.0/325.0 | 474.3
6 | 230.0/340.0 | 486.6
7 | 230.0/400.0 | 194.6
8 | 235.0/255.0 | 146.6
9 | 235.0/345.0 | 499.5
10 | 235.0/375.0 | 266.1
11 | 235.0/390.0 | 201.6
12 | 235.0/435.0 | 144.9
13 | 240.0/265.0 | 153.4
14 | 240.0/420.0 | 143.2
15 | 240.0/430.0 | 161.9
16 | 240.0/450.0 | 169.5
17 | 245.0/270.0 | 150.3
18 | 245.0/330.0 | 326.7
19 | 245.0/415.0 | 175
20 | 245.0/435.0 | 145.6
21 | 250.0/385.0 | 180.9
22 | 250.0/410.0 | 159.7
23 | 250.0/470.0 | 149.5
24 | 255.0/415.0 | 145.5
25 | 255.0/425.0 | 155.1
26 | 255.0/440.0 | 145.7
27 | 255.0/450.0 | 147.5
28 | 260.0/285.0 | 183.2
29 | 260.0/460.0 | 154.5
30 | 265.0/435.0 | 155.1
31 | 265.0/475.0 | 151.1
32 | 265.0/490.0 | 137.6
33 | 270.0/440.0 | 155.7
34 | 270.0/450.0 | 164
35 | 275.0/445.0 | 155.3
36 | 275.0/455.0 | 178.4
37 | 275.0/465.0 | 162.9
38 | 275.0/485.0 | 124.5
39 | 280.0/410.0 | 354.2
40 | 280.0/450.0 | 157.2
41 | 285.0/325.0 | 3133
42 | 285.0/435.0 | 228.3
43 | 285.0/445.0 | 183.2
44 | 285.0/460.0 | 171.2
45 | 285.0/470.0 | 171.3
46 | 285.0/490.0 | 157.4
47 | 290.0/330.0 | 3369
48 | 290.0/440.0 | 196
49 | 290.0/485.0 | 151.8
50 | 295.0/255.0 | 95.65
51 | 295.0/270.0 | 101.3
52 | 295.0/475.0 | 173.8
53 | 300.0/265.0 | 89.39
54 | 300.0/470.0 | 125.7
55 | 305.0/260.0 | 97.13
56 | 305.0/450.0 | 169.3
57 | 310.0/265.0 | 86.61
58 | 310.0/415.0 | 202.5
59 | 310.0/465.0 | 146.8
60 | 310.0/475.0 | 140
61 | 315.0/355.0 | 349.1
62 | 315.0/390.0 | 196.3
63 | 315.0/405.0 | 220.3
64 | 315.0/455.0 | 166.5
65 | 315.0/480.0 | 132.2
66 | 320.0/360.0 | 374.9
67 | 320.0/385.0 | 256.1
68 | 320.0/400.0 | 218.7
69 | 320.0/425.0 | 190.8
70 | 320.0/435.0 | 184.4
71 | 320.0/445.0 | 175.7
72 | 320.0/470.0 | 132.3
73 | 320.0/490.0 | 119.2
74 | 325.0/270.0 | 70.73
75 | 325.0/285.0 | 86.7
76 | 325.0/365.0 | 396.6
77 | 325.0/405.0 | 226.3
78 | 325.0/440.0 | 178.9
79 | 325.0/485.0 | 123.2
80 | 330.0/295.0 | 85.63
81 | 330.0/370.0 | 424
82 | 330.0/415.0 | 228.1
83 | 330.0/465.0 | 145.9
84 | 335.0/280.0 | 70.42
85 | 335.0/380.0 | 332.3
86 | 335.0/435.0 | 173.9
87 | 335.0/480.0 | 116.7
88 | 335.0/490.0 | 120.6
89 | 340.0/275.0 | 65.93
90 | 340.0/295.0 | 80.91
91 | 340.0/385.0 | 371.4
92 | 340.0/405.0 | 202.3
93 | 340.0/445.0 | 162.6
94 | 345.0/260.0 | 75.24
95 | 345.0/390.0 | 338.8
96 | 345.0/460.0 | 143.9
97 | 345.0/480.0 | 105.7
98 | 350.0/285.0 | 63.81
99 | 350.0/395.0 | 328.4
100 | 350.0/430.0 | 153.5
101 | 350.0/440.0 | 146.2
102 | 350.0/470.0 | 120.5
103 | 355.0/305.0 | 59.48
104 | 355.0/405.0 | 289.8
105 | 355.0/465.0 | 126.2
106 | 360.0/265.0 | 44.08
107 | 360.0/290.0 | 52.05
108 | 360.0/410.0 | 243.7
109 | 360.0/450.0 | 118.2
110 | 360.0/490.0 | 79.29
111 | 365.0/270.0 | 43.46
112 | 365.0/285.0 | 50.1
113 | 365.0/415.0 | 227.4
114 | 370.0/290.0 | 40.3
115 | 370.0/470.0 | 73.42
116 | 370.0/480.0 | 73.38
117 | 375.0/280.0 | 41.58
118 | 375.0/450.0 | 82.35
119 | 380.0/260.0 | 51.52
120 | 380.0/300.0 | 47.65
121 | 380.0/325.0 | 43.56
122 | 380.0/435.0 | 144.3
123 | 380.0/490.0 | 65.5
124 | 385.0/270.0 | 42.63
125 | 385.0/290.0 | 37.89
126 | 385.0/310.0 | 36.26
127 | 385.0/445.0 | 113.9
128 | 390.0/275.0 | 37.67
129 | 390.0/315.0 | 36.65
130 | 390.0/450.0 | 120
131 | 390.0/470.0 | 54.3
132 | 395.0/260.0 | 34.75
133 | 395.0/335.0 | 33.35
134 | 395.0/455.0 | 97.46
135 | 400.0/255.0 | 36.22
136 | 400.0/465.0 | 88.66
137 | 400.0/490.0 | 49.33
138 | 405.0/285.0 | 30.5
139 | 405.0/335.0 | 25.48
140 | 405.0/470.0 | 74.55
141 | 410.0/270.0 | 35.41
142 | 410.0/290.0 | 28.51
143 | 410.0/300.0 | 29.68
144 | 410.0/360.0 | 32.04
145 | 410.0/480.0 | 63.19
146 | 415.0/295.0 | 27.51
147 | 415.0/315.0 | 25.91
148 | 415.0/345.0 | 25.86
149 | 420.0/265.0 | 26
150 | 420.0/310.0 | 29.04
151 | 420.0/340.0 | 24.75
152 | 420.0/370.0 | 24.8
153 | 420.0/460.0 | 37.49
154 | 425.0/255.0 | 23.57
155 | 425.0/275.0 | 24.83
156 | 425.0/335.0 | 26.29
157 | 425.0/350.0 | 23.25
158 | 425.0/465.0 | 37.83
159 | 425.0/475.0 | 33.94
160 | 430.0/285.0 | 23.54
161 | 430.0/305.0 | 26.25
162 | 430.0/330.0 | 22.24
163 | 430.0/340.0 | 25.51
164 | 430.0/355.0 | 21.95
165 | 435.0/290.0 | 20.28
166 | 435.0/385.0 | 22.79
167 | 435.0/470.0 | 36.24
168 | 440.0/265.0 | 18.33
169 | 440.0/280.0 | 21.19
170 | 440.0/295.0 | 19.37
171 | 440.0/320.0 | 23.25
172 | 440.0/335.0 | 21.01
173 | 440.0/490.0 | 32.38
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 104.9 | 79.83 | 105.7 | 81.82 | 125.2 | 3463 | 9999.9 | 3518 | 120.4 | 97.6 | 83.62 | 74.8 | 80.21 | 74.99 | 74.03 | 58.72 | 63.44 | 72.01 | 57.06 | 41.01 | 70.14 | 65.18 | 47.93 | 44 | 52.34 | 56.94 | 38.21 | 40.48 | 55.37 | 53.44 | 47.88 | 33.18 | 34.04 | 33.84 | 39.07 | 29.02 | 27.5 | 27.17 | 27.04 | 21.52 | 19.85 | 17.09 | 18.98 | 14.15 | 14.65 | 13.78 | 8.103
255 | 132.5 | 108.1 | 118.8 | 146.6 | 97.52 | 320.9 | 2873 | 9999.9 | 7377 | 318 | 98.8 | 56.69 | 73.51 | 99.23 | 75.61 | 95.65 | 65.41 | 75.6 | 63.49 | 47.26 | 61.23 | 75.01 | 63.07 | 54.23 | 55.07 | 55.94 | 38.67 | 37.1 | 54.27 | 35.82 | 42.84 | 34.08 | 47.81 | 29.81 | 29.63 | 34.23 | 36.22 | 23.66 | 25.2 | 25.04 | 20.47 | 23.57 | 16.55 | 16.49 | 13.2 | 12.22 | 10.48
260 | 87.34 | 114.8 | 92.26 | 114.6 | 109.7 | 135.7 | 287.3 | 3610 | 9999.9 | 9999.9 | 421.1 | 77.75 | 63.99 | 84.97 | 72.62 | 89.36 | 78 | 97.13 | 62.64 | 73.73 | 51.87 | 64.84 | 65.22 | 46.49 | 41.92 | 75.24 | 35.84 | 40.68 | 34.96 | 52.13 | 51.47 | 48.19 | 51.52 | 22.37 | 30.22 | 34.75 | 30.39 | 29.2 | 24.66 | 19.63 | 15.26 | 21.32 | 20.88 | 19.1 | 15.92 | 13.47 | 12.26
265 | 84.03 | 94.7 | 122 | 109.5 | 153.4 | 142.3 | 101.4 | 351.3 | 4833 | 9999.9 | 9999.9 | 563 | 101.1 | 127.5 | 75.54 | 88.73 | 89.39 | 80.8 | 86.61 | 76.37 | 78.16 | 67.34 | 70.28 | 58.27 | 41.53 | 45.88 | 42.93 | 42.5 | 44.08 | 36.27 | 40.35 | 43.74 | 39.22 | 33.58 | 32.05 | 30.41 | 20.65 | 24.99 | 25.99 | 23.44 | 26 | 16.16 | 18.34 | 15.2 | 18.33 | 14.94 | 14.32
270 | 109.3 | 114.3 | 123.6 | 91.29 | 135.7 | 150.3 | 130.8 | 114.9 | 425 | 6009 | 9999.9 | 9999.9 | 701.7 | 113.8 | 75.65 | 101.3 | 74.88 | 80.54 | 76.53 | 55.69 | 68.28 | 70.73 | 67.69 | 40.86 | 57.99 | 54.64 | 46.65 | 42.27 | 36.88 | 43.46 | 32.57 | 26.17 | 34.76 | 42.63 | 34.32 | 28.98 | 27.42 | 22.45 | 35.41 | 23.16 | 23.92 | 21.99 | 18.64 | 19.56 | 16.83 | 17.25 | 10.49
275 | 90.52 | 90.59 | 98.22 | 107.8 | 116.3 | 117.5 | 127.3 | 116.6 | 173.3 | 506.6 | 9108 | 9999.9 | 9999.9 | 716.1 | 110 | 85.09 | 62.09 | 66.92 | 78.02 | 59.84 | 69.98 | 67.19 | 58.18 | 52.79 | 65.93 | 45.79 | 44.22 | 43.53 | 39.01 | 35.86 | 38.01 | 38.8 | 30.24 | 33.16 | 37.67 | 25.84 | 25.61 | 22.73 | 22.51 | 20.97 | 24.45 | 24.83 | 20.37 | 16.81 | 14.07 | 14.56 | 12.02
280 | 113.6 | 140.2 | 113.9 | 137.1 | 91 | 116.4 | 84.7 | 140.7 | 153 | 164.9 | 689.7 | 9999.9 | 9999.9 | 9999.9 | 774.8 | 105 | 99.72 | 77.53 | 88.09 | 78.41 | 52.85 | 49.23 | 68.98 | 70.42 | 61.1 | 50.91 | 51.23 | 39.27 | 29.05 | 38.84 | 39.43 | 41.58 | 22.17 | 30.4 | 33.15 | 28.81 | 28.39 | 20.28 | 27.26 | 20.2 | 20.87 | 19.95 | 15.35 | 14.62 | 21.19 | 14.88 | 15.69
285 | 133.5 | 114.6 | 130.4 | 104.7 | 84.58 | 127.3 | 106.4 | 141.3 | 183.2 | 158.6 | 173.5 | 772.6 | 9999.9 | 9999.9 | 9999.9 | 1037 | 120.2 | 117.8 | 80.49 | 67.71 | 72.01 | 86.7 | 70.93 | 64.26 | 49.31 | 43.48 | 63.81 | 47.95 | 35.48 | 50.1 | 31.66 | 39.48 | 31.25 | 34.98 | 23.5 | 24.41 | 29 | 30.5 | 28.18 | 24.82 | 23.22 | 20.01 | 23.54 | 17.78 | 14.26 | 14.62 | 15.51
290 | 137.8 | 138.6 | 116.4 | 153.2 | 93.09 | 131.9 | 130 | 138.8 | 157 | 232.6 | 272.1 | 274.2 | 956.7 | 9999.9 | 9999.9 | 9999.9 | 963.3 | 140.8 | 129.4 | 105.2 | 79.89 | 81.61 | 73.86 | 75.41 | 51.63 | 47.46 | 44.97 | 44.21 | 52.05 | 35.97 | 40.3 | 33.86 | 28.25 | 37.89 | 27.95 | 30.38 | 25.37 | 23.42 | 28.51 | 24.58 | 23.26 | 19.49 | 17.86 | 20.28 | 16.58 | 18.07 | 14.29
295 | 126 | 156 | 165.1 | 133.9 | 124.7 | 136.1 | 143.3 | 134.5 | 182 | 316.9 | 441.2 | 401.8 | 521.5 | 1210 | 9999.9 | 9999.9 | 9999.9 | 1167 | 130.5 | 109.5 | 69.5 | 79.28 | 85.63 | 71.04 | 80.91 | 65.86 | 46.4 | 38.54 | 39.15 | 40.86 | 32.36 | 34.06 | 34.36 | 34.24 | 21.15 | 25.84 | 23.12 | 21.09 | 26.22 | 27.51 | 24.53 | 16.24 | 19.93 | 17.96 | 19.37 | 15.2 | 16.87
300 | 154 | 137 | 207.3 | 222 | 188.1 | 145 | 165.2 | 161.7 | 219.7 | 302.9 | 472.2 | 873.6 | 787.9 | 950.3 | 1249 | 9999.9 | 9999.9 | 9999.9 | 1337 | 131.2 | 110.7 | 104.6 | 78.05 | 74.86 | 59.01 | 60.32 | 43.52 | 50.3 | 42.59 | 42.17 | 33.03 | 40.19 | 47.65 | 31.71 | 28.78 | 19.68 | 23.01 | 18.79 | 29.68 | 27.15 | 21.94 | 22.92 | 20.63 | 18.72 | 18.45 | 16.63 | 18.44
305 | 141.5 | 279.5 | 275.4 | 256.3 | 263.6 | 138.8 | 187.4 | 216 | 257.8 | 387.1 | 712.3 | 997.4 | 1396 | 1238 | 1277 | 1350 | 9999.9 | 9999.9 | 9999.9 | 1236 | 143.1 | 114 | 102.6 | 83.54 | 79.77 | 56.79 | 58.51 | 59.48 | 45.44 | 42.08 | 30.79 | 39.09 | 35.79 | 24.87 | 25.45 | 23.48 | 17.46 | 21.45 | 20.18 | 22.56 | 22.43 | 23.24 | 26.25 | 23.63 | 17.07 | 22.86 | 19.64
310 | 195.7 | 297.6 | 321.1 | 351.7 | 219.7 | 177.4 | 209.1 | 244.8 | 348.7 | 521.9 | 788.7 | 1285 | 1628 | 1916 | 1531 | 1081 | 1287 | 9999.9 | 9999.9 | 9999.9 | 1392 | 150.8 | 119.8 | 94.41 | 89.43 | 67.27 | 66.86 | 48.83 | 43.4 | 41.71 | 25.18 | 35.05 | 31.1 | 36.26 | 20.52 | 21.11 | 20.68 | 22.26 | 21 | 20.26 | 29.04 | 22.27 | 24.08 | 18.84 | 18.66 | 21.6 | 21.37
315 | 207.4 | 285.3 | 410.2 | 339.7 | 248.5 | 154.3 | 220 | 292.1 | 456.3 | 686.3 | 1102 | 1476 | 2220 | 2646 | 2124 | 1484 | 817.6 | 1037 | 9999.9 | 9999.9 | 9999.9 | 1406 | 145.3 | 114.8 | 84.71 | 85.35 | 67.92 | 62.43 | 44.04 | 54.76 | 41.81 | 40.95 | 30.87 | 27.06 | 36.65 | 24.42 | 25.69 | 23.23 | 22.25 | 25.91 | 16.59 | 21.92 | 24.27 | 23.06 | 19.93 | 19.51 | 18.1
320 | 187.4 | 308.8 | 459 | 399.7 | 217.7 | 252.2 | 237.7 | 398.8 | 525.4 | 845 | 1098 | 1748 | 2577 | 2830 | 2789 | 1844 | 794.5 | 439.6 | 933.1 | 9999.9 | 9999.9 | 9999.9 | 1229 | 166.1 | 124.3 | 101.6 | 75.74 | 64.36 | 46.46 | 53.92 | 42.51 | 34.8 | 40.88 | 32.04 | 27.28 | 27.08 | 23.1 | 20.46 | 21.47 | 19.46 | 17.11 | 21.41 | 21.33 | 22.12 | 23.25 | 20.39 | 16.84
325 | 226.4 | 313.9 | 474.3 | 350.8 | 311.7 | 261.3 | 229.9 | 393.3 | 538.8 | 835.7 | 1310 | 2025 | 2758 | 3133 | 2973 | 2167 | 951.1 | 464.4 | 283.8 | 863.1 | 9999.9 | 9999.9 | 9999.9 | 1520 | 171.1 | 105.6 | 94.48 | 85 | 55.62 | 53.79 | 41.74 | 34.14 | 43.56 | 30.29 | 22.62 | 29.02 | 22.89 | 21.81 | 21.45 | 21.26 | 22.15 | 18.61 | 19.71 | 15.84 | 19.38 | 18.45 | 16.59
330 | 260 | 324.3 | 461.1 | 449.4 | 274.3 | 326.7 | 278.2 | 380.7 | 527.9 | 898.6 | 1410 | 1997 | 2723 | 2796 | 3369 | 2380 | 1240 | 461 | 230.6 | 235.4 | 896.7 | 9999.9 | 9999.9 | 9999.9 | 1385 | 150.4 | 109.4 | 104.4 | 63.54 | 61.07 | 50.97 | 45.74 | 36.17 | 29.23 | 30.36 | 32.9 | 29.87 | 21.19 | 22.66 | 18.85 | 20.09 | 21.92 | 22.24 | 17.22 | 19.23 | 21.57 | 24.37
335 | 221.4 | 325.7 | 448.1 | 424.7 | 250.7 | 278.9 | 306.6 | 389.5 | 522.1 | 966.7 | 1372 | 2282 | 2826 | 3068 | 3330 | 2444 | 1321 | 540.2 | 251.2 | 160 | 262 | 903.7 | 9999.9 | 9999.9 | 9999.9 | 1478 | 153.1 | 119.8 | 94.98 | 73.18 | 63.66 | 40.49 | 44.3 | 35.84 | 30.09 | 33.35 | 22.95 | 25.48 | 24.49 | 22.25 | 18.01 | 26.29 | 16.38 | 17.82 | 21.01 | 16.72 | 19.15
340 | 221.5 | 311.1 | 486.6 | 426.2 | 269.9 | 284.6 | 229.9 | 359.7 | 534.4 | 902.4 | 1343 | 1946 | 2599 | 2982 | 2707 | 2096 | 1037 | 693.9 | 305.5 | 156.3 | 167.4 | 197.9 | 860.4 | 9999.9 | 9999.9 | 9999.9 | 1310 | 146.4 | 118 | 81.34 | 61.08 | 57.08 | 37.1 | 37.8 | 33.06 | 24.96 | 27.2 | 23.79 | 19.64 | 18.22 | 24.75 | 16.72 | 25.51 | 18.56 | 19.29 | 17.7 | 16.1
345 | 191.2 | 349.6 | 449.6 | 499.5 | 310.1 | 205.8 | 246.6 | 314.2 | 509.6 | 916.8 | 1284 | 1827 | 2499 | 2732 | 2697 | 1898 | 922.6 | 520 | 467.7 | 198.2 | 165.4 | 196.4 | 205.1 | 872 | 9999.9 | 9999.9 | 9999.9 | 1108 | 139.6 | 112.1 | 72.25 | 61.72 | 40.71 | 45.15 | 32.36 | 30.94 | 26.94 | 24.5 | 21.99 | 25.86 | 19.36 | 17.27 | 20.63 | 19.03 | 19.1 | 15.96 | 15.17
350 | 173 | 298.3 | 384.2 | 355.2 | 249.5 | 218.5 | 247.7 | 280.8 | 452.6 | 741.5 | 1105 | 1717 | 2238 | 2397 | 2449 | 1615 | 887.2 | 449 | 365.5 | 337.4 | 163.1 | 129.8 | 138.8 | 199.9 | 841.5 | 9999.9 | 9999.9 | 9999.9 | 1141 | 148.5 | 94.94 | 61.71 | 52.86 | 39.54 | 37.13 | 34.07 | 29.17 | 29.65 | 22.5 | 24.61 | 20.78 | 23.25 | 19.91 | 17.72 | 15.82 | 13.9 | 14.11
355 | 210.3 | 254.4 | 413.2 | 275.4 | 273.6 | 218.6 | 238.5 | 264.4 | 308.1 | 575.4 | 953 | 1545 | 1849 | 2082 | 2433 | 1405 | 736.1 | 380.1 | 205.5 | 349.1 | 262.7 | 143.6 | 141.5 | 159.4 | 199.2 | 848.8 | 9999.9 | 9999.9 | 9999.9 | 1057 | 137.8 | 106.2 | 60.35 | 50.8 | 44.42 | 32.93 | 28.71 | 24.5 | 19.32 | 21.08 | 22.11 | 19.8 | 21.95 | 19.04 | 17.07 | 14.53 | 13.23
360 | 185.9 | 258.7 | 350.5 | 265.9 | 197.7 | 159.6 | 220.1 | 222.4 | 300.9 | 565.4 | 808.7 | 1373 | 1711 | 1837 | 1798 | 1359 | 766.8 | 291.4 | 193 | 170.5 | 374.9 | 255.2 | 134.1 | 143.4 | 133.5 | 207.9 | 875.5 | 9999.9 | 9999.9 | 9999.9 | 953 | 133.2 | 83.72 | 53.66 | 42.97 | 40.25 | 32.36 | 20.36 | 32.04 | 26.44 | 21.71 | 17.39 | 20.7 | 14.51 | 16.76 | 15.83 | 13.65
365 | 189.4 | 223.7 | 286.7 | 272.4 | 237.6 | 220.4 | 225.2 | 244.4 | 296 | 581.9 | 790.7 | 1236 | 1522 | 1525 | 1525 | 1075 | 577.5 | 323.1 | 175.9 | 173.6 | 250.6 | 396.6 | 210.4 | 142.5 | 127.8 | 140.5 | 219.2 | 900.9 | 9999.9 | 9999.9 | 9999.9 | 867.8 | 121.3 | 70.57 | 63.57 | 40.88 | 35.85 | 31.7 | 26.05 | 19.59 | 21.7 | 16.82 | 16.41 | 12.93 | 15.81 | 13.18 | 13.99
370 | 129.5 | 225.7 | 188.2 | 213.5 | 196.6 | 142 | 199.1 | 176.8 | 324.7 | 439.2 | 564.8 | 880.7 | 1084 | 1259 | 1332 | 889.7 | 528.8 | 338.4 | 203.8 | 162.5 | 188.8 | 325.7 | 424 | 227.9 | 153.5 | 134.7 | 183.6 | 191.4 | 886.8 | 9999.9 | 9999.9 | 9999.9 | 771.5 | 105.7 | 87.2 | 48.37 | 40.48 | 33.08 | 24 | 23.51 | 24.8 | 20.28 | 18.02 | 17.3 | 15.09 | 18.78 | 15.12
375 | 142.2 | 210.8 | 221.2 | 266.1 | 200.5 | 194.5 | 193 | 197.3 | 245.8 | 347.9 | 556 | 774.5 | 919.1 | 1047 | 1104 | 835.6 | 508.3 | 318.4 | 213.9 | 156.5 | 183 | 255.3 | 393.5 | 319.5 | 162.8 | 142.5 | 134.9 | 122 | 197.1 | 822.9 | 9999.9 | 9999.9 | 9999.9 | 699.5 | 100.7 | 73.96 | 49.42 | 41.75 | 35.1 | 29.95 | 23.38 | 23.53 | 20.31 | 19 | 18.86 | 17.08 | 13.37
380 | 141.5 | 209.3 | 193.2 | 191.7 | 152.6 | 176.5 | 163.2 | 205 | 230.5 | 355.5 | 444.2 | 623.3 | 774.5 | 877.7 | 895.8 | 688.8 | 424.7 | 274.1 | 201.4 | 193.2 | 206.1 | 206.3 | 262.6 | 332.3 | 306.9 | 187.9 | 133.7 | 118.3 | 140.9 | 177.3 | 858.4 | 9999.9 | 9999.9 | 9999.9 | 734.4 | 110.6 | 70.11 | 41.46 | 37.16 | 32.18 | 24.37 | 24.93 | 22 | 18.47 | 15.78 | 18.19 | 11.53
385 | 109 | 195.6 | 199.2 | 143.1 | 182.9 | 177.5 | 180.9 | 167.5 | 243.3 | 246.8 | 378.9 | 595.8 | 667.3 | 688.2 | 704.2 | 558.9 | 343.6 | 265.8 | 213.9 | 188.7 | 256.1 | 221.8 | 189.1 | 272.1 | 371.4 | 238.9 | 145.9 | 109.9 | 106.8 | 116.3 | 170.5 | 846.4 | 9999.9 | 9999.9 | 9999.9 | 607.7 | 90.35 | 63.24 | 48.52 | 32.47 | 31.95 | 25 | 19.03 | 22.79 | 17.52 | 19.14 | 15.12
390 | 147.2 | 133.2 | 150.4 | 201.6 | 185.5 | 127.3 | 127.8 | 149.7 | 190.9 | 261.5 | 337.1 | 457.2 | 598 | 616.3 | 644.5 | 492.8 | 299.3 | 206.2 | 190.5 | 196.3 | 185 | 213 | 227.9 | 232.3 | 281.3 | 338.8 | 189.1 | 131.4 | 86.97 | 95.52 | 116.4 | 168.6 | 805.4 | 9999.9 | 9999.9 | 9999.9 | 578.6 | 79.19 | 65.66 | 45.91 | 32.32 | 37.55 | 24.55 | 22.42 | 21.12 | 17.27 | 12.49
395 | 169.5 | 149 | 138.3 | 197.7 | 173.2 | 181.1 | 151.9 | 173.6 | 186 | 216.9 | 236.9 | 361.3 | 445.3 | 598 | 487.1 | 460.2 | 218.1 | 252.7 | 216.2 | 178.2 | 212.1 | 166.3 | 197.5 | 204.6 | 167 | 261.7 | 328.4 | 136.8 | 99.08 | 101.9 | 95.8 | 95.62 | 159.6 | 816 | 9999.9 | 9999.9 | 9999.9 | 466 | 82.76 | 53.4 | 37.74 | 35.73 | 27.11 | 20.3 | 23.01 | 16.71 | 17.86
400 | 161 | 147.7 | 194.6 | 162.5 | 146.4 | 165.8 | 160 | 124.9 | 172.7 | 222.3 | 243.2 | 314.5 | 324.1 | 470.7 | 388.3 | 371.6 | 269.6 | 223.9 | 220.3 | 190.7 | 218.7 | 214.2 | 195.5 | 183.8 | 186.1 | 181.1 | 234.9 | 209.1 | 106.9 | 82.75 | 95.16 | 79.94 | 97.88 | 137.9 | 794.4 | 9999.9 | 9999.9 | 9999.9 | 434.6 | 78.01 | 49.59 | 37.57 | 27.35 | 28.2 | 20.58 | 17.2 | 18.02
405 | 161 | 156.2 | 148.7 | 135.8 | 144.5 | 156.8 | 104.6 | 131.7 | 175.1 | 190.3 | 245.2 | 280.5 | 297.6 | 371.7 | 348.8 | 293.4 | 201.8 | 194.6 | 203.6 | 220.3 | 181 | 226.3 | 209.8 | 175.3 | 202.3 | 189.3 | 174.8 | 289.8 | 190.4 | 95.62 | 85.31 | 79.19 | 77.06 | 95.71 | 138.6 | 766.3 | 9999.9 | 9999.9 | 9999.9 | 492.5 | 77.03 | 53.51 | 38.47 | 29.57 | 23.76 | 18.86 | 17.83
410 | 149.3 | 104.2 | 113.7 | 142.7 | 105.7 | 122.3 | 159.7 | 136.7 | 104.9 | 184.3 | 201.3 | 274.5 | 354.2 | 327.1 | 274.8 | 291.3 | 199.5 | 179 | 180.7 | 159.4 | 197.1 | 197.6 | 191.8 | 194 | 181.5 | 163.2 | 155.3 | 163.1 | 243.7 | 132.4 | 80.58 | 78.25 | 87.19 | 81.29 | 85.78 | 119.3 | 773.8 | 9999.9 | 9999.9 | 9999.9 | 395.8 | 68.3 | 47.35 | 35.57 | 30.27 | 23.13 | 20.18
415 | 109.9 | 208.8 | 135.5 | 101.7 | 138.3 | 175 | 97.8 | 145.5 | 145.1 | 140 | 205.6 | 214.7 | 251.7 | 267.9 | 276.4 | 219 | 161.5 | 187.3 | 202.5 | 197.9 | 173.2 | 185.3 | 228.1 | 180.5 | 163.1 | 154.4 | 129.2 | 139.2 | 209.7 | 227.4 | 132.2 | 86.09 | 66.16 | 67.32 | 59.08 | 61.91 | 136.8 | 750.6 | 9999.9 | 9999.9 | 9999.9 | 393.6 | 58.2 | 42.45 | 34.38 | 22.85 | 22.11
420 | 106.7 | 162.7 | 139.5 | 116.8 | 143.2 | 125.2 | 134.1 | 135.5 | 114.5 | 132.6 | 150.2 | 199.8 | 250.3 | 255.2 | 240.5 | 187.1 | 152.4 | 153.9 | 163.6 | 179.7 | 176.3 | 194.4 | 202.7 | 192 | 169.4 | 130.4 | 134.1 | 124.5 | 127.3 | 204.3 | 202.4 | 111.5 | 70.35 | 68.14 | 58.74 | 61.34 | 64.53 | 110.2 | 770.9 | 9999.9 | 9999.9 | 9999.9 | 372.6 | 66.95 | 45.16 | 22.44 | 23.81
425 | 145.1 | 143.4 | 143.8 | 134.1 | 133.4 | 125.7 | 133.2 | 155.1 | 101.5 | 158.5 | 170.5 | 216.5 | 239.6 | 220.7 | 218 | 205.2 | 206.3 | 174.8 | 165.3 | 180.7 | 190.8 | 175.3 | 194.6 | 165.4 | 148.3 | 107.8 | 122.8 | 107.5 | 111.5 | 130.7 | 201.8 | 180.8 | 76.88 | 62.41 | 57.96 | 56.42 | 50.68 | 59.88 | 120.2 | 756.8 | 9999.9 | 9999.9 | 9999.9 | 304.7 | 57.33 | 38.93 | 30.2
430 | 196.5 | 201.4 | 170.2 | 89.6 | 161.9 | 136.7 | 131 | 133.7 | 118.8 | 102.1 | 134.7 | 178.1 | 176.2 | 190.2 | 208.6 | 179 | 156 | 140 | 160.8 | 158.7 | 150.3 | 173.8 | 165.7 | 157.6 | 149.3 | 113.7 | 153.5 | 118.2 | 127 | 106.1 | 122.6 | 174.4 | 111.6 | 62.98 | 56.96 | 52.38 | 47.91 | 52.21 | 55.81 | 104.8 | 741.8 | 9999.9 | 9999.9 | 9999.9 | 314.2 | 57.4 | 40.06
435 | 352.3 | 132.6 | 117.2 | 144.9 | 118.1 | 145.6 | 106 | 132.2 | 118.7 | 155.1 | 149.1 | 152.9 | 155.5 | 228.3 | 175.4 | 148.9 | 140.8 | 140.7 | 151.5 | 143 | 184.4 | 157.3 | 171.7 | 173.9 | 149.3 | 113.6 | 135.5 | 122.4 | 112.4 | 85.37 | 80.01 | 134.8 | 144.3 | 76.89 | 56.61 | 61.08 | 48.03 | 50.58 | 49.23 | 55.73 | 106.3 | 752.5 | 9999.9 | 9999.9 | 9999.9 | 305 | 51.54
440 | 427.4 | 294.4 | 174.2 | 127.8 | 105.7 | 101.4 | 102.2 | 145.7 | 103.1 | 136.1 | 155.7 | 125.2 | 154.3 | 156.4 | 196 | 195.8 | 160.2 | 120.7 | 129.6 | 147.2 | 135.6 | 178.9 | 155.6 | 144.2 | 156.7 | 124.1 | 146.2 | 111.5 | 111.2 | 83.05 | 95.88 | 96.67 | 132.7 | 113.3 | 68.08 | 44.75 | 44.47 | 42.23 | 50.46 | 44.8 | 53.02 | 102.2 | 752.7 | 9999.9 | 9999.9 | 9999.9 | 262.7
445 | 303.4 | 539.3 | 188.8 | 123.1 | 163.3 | 156.4 | 122.5 | 83.67 | 110.5 | 136.9 | 143.5 | 155.3 | 136.8 | 183.2 | 136.6 | 153.9 | 146.7 | 125.9 | 125.4 | 115.6 | 175.7 | 140 | 112 | 136.6 | 162.6 | 117.6 | 111.5 | 101.2 | 85.44 | 89.47 | 74.99 | 71.45 | 71.12 | 113.9 | 101 | 51.31 | 40.07 | 43.5 | 36.6 | 41.22 | 40.46 | 50.53 | 99.11 | 734.1 | 9999.9 | 9999.9 | 9999.9
450 | 166.8 | 722 | 428 | 114.8 | 169.5 | 144.6 | 107.9 | 147.5 | 110.1 | 118.5 | 164 | 131.7 | 157.2 | 155.9 | 153 | 113.9 | 134.4 | 169.3 | 156.6 | 141.3 | 139.2 | 112.2 | 126.8 | 136.4 | 160.1 | 101 | 119.3 | 98.9 | 118.2 | 82.93 | 75.15 | 82.35 | 53.32 | 70.26 | 120 | 63.79 | 40.04 | 39.34 | 38.04 | 38.55 | 32.12 | 45.6 | 45.12 | 92.48 | 741.5 | 9999.9 | 9999.9
455 | 144.3 | 526.8 | 1027 | 178 | 124.4 | 114.3 | 107.7 | 87.37 | 115 | 133.2 | 133.4 | 178.4 | 149 | 170.3 | 118.3 | 124.5 | 122.6 | 122.5 | 156.9 | 166.5 | 134.2 | 139.1 | 124.7 | 125.2 | 146 | 130 | 100.9 | 90.2 | 99.26 | 73.96 | 73.19 | 64.64 | 58.42 | 55.38 | 87.69 | 97.46 | 51.27 | 50.79 | 32.2 | 36.99 | 34.88 | 36.04 | 42.87 | 42.92 | 97.64 | 739.4 | 9999.9
460 | 141.5 | 177.3 | 1339 | 585.9 | 154.3 | 152 | 106.4 | 152.4 | 154.5 | 133.7 | 110.9 | 122.1 | 162.3 | 171.2 | 126.3 | 136.5 | 107.3 | 114 | 128.4 | 134.1 | 118.1 | 116.2 | 122.2 | 116 | 112.3 | 143.9 | 110.9 | 116.3 | 103.1 | 93.91 | 73.85 | 61.2 | 61.48 | 58.52 | 51.01 | 92.84 | 78.64 | 42.35 | 40.05 | 34.72 | 37.49 | 29.6 | 34.16 | 33.86 | 39.83 | 96.11 | 716.7
465 | 110.6 | 154.9 | 714.7 | 1669 | 292.7 | 133.4 | 134.4 | 111.6 | 118.7 | 127.4 | 138.9 | 162.9 | 154.4 | 137.3 | 141.7 | 141.1 | 115.3 | 123.5 | 146.8 | 123.5 | 129.5 | 104.8 | 145.9 | 114.4 | 127.2 | 100.8 | 105.7 | 126.2 | 100.1 | 79.04 | 66.09 | 68.08 | 55.26 | 49.34 | 41.24 | 54.67 | 88.66 | 60.62 | 38.73 | 35.68 | 33.15 | 37.83 | 30.79 | 34.27 | 35.51 | 44.61 | 87.72
470 | 142.3 | 132.1 | 259.4 | 2251 | 908.4 | 96.1 | 149.5 | 125.4 | 109 | 115 | 118.5 | 158 | 167.6 | 171.3 | 168.2 | 113.3 | 125.7 | 105.6 | 94.46 | 128.2 | 132.3 | 127.2 | 108.7 | 94.86 | 89.35 | 106.9 | 120.5 | 87.15 | 85.06 | 67.95 | 73.42 | 70.81 | 48.53 | 52.82 | 54.3 | 41.67 | 56.99 | 74.55 | 44.77 | 40.77 | 34.46 | 27.48 | 30.26 | 36.24 | 32.79 | 35.51 | 37.09
475 | 119.2 | 134.7 | 104.9 | 1311 | 2555 | 194.3 | 115.4 | 117 | 123.7 | 151.1 | 102.8 | 101.8 | 161.9 | 149.2 | 142 | 173.8 | 111.7 | 112.4 | 140 | 91.14 | 98.33 | 121.3 | 98.4 | 104.1 | 102 | 75.31 | 96.27 | 92.36 | 77.85 | 70.33 | 69.74 | 68.14 | 56.18 | 51.73 | 51.15 | 44.51 | 39.24 | 49.8 | 59.78 | 33.49 | 31.59 | 33.94 | 24.77 | 31.99 | 32.24 | 35.23 | 29.47
480 | 115 | 131.2 | 142.2 | 362.3 | 2959 | 1168 | 107.7 | 131.3 | 82.73 | 103.6 | 118.9 | 119.9 | 114.7 | 132.7 | 109.3 | 122.3 | 110.8 | 115.2 | 122.2 | 132.2 | 115.9 | 99.3 | 95.7 | 116.7 | 90.98 | 105.7 | 91.78 | 64.49 | 69.3 | 71.47 | 73.38 | 65.36 | 58.12 | 48.29 | 47.16 | 43.87 | 38.7 | 40.77 | 63.19 | 50.53 | 35.59 | 25.58 | 24.99 | 32.02 | 24.97 | 26.14 | 25.32
485 | 137.6 | 118.6 | 117.1 | 160.7 | 1852 | 3415 | 180 | 94.84 | 91.2 | 100.4 | 112.2 | 124.5 | 110.9 | 110.7 | 151.8 | 126.1 | 109.1 | 113.3 | 109.4 | 101.8 | 100 | 123.2 | 103.2 | 89.67 | 97.19 | 93.42 | 76.34 | 69.97 | 76.54 | 75.07 | 58.32 | 57.24 | 51.16 | 52.85 | 42.47 | 40.17 | 26.23 | 28.87 | 47.46 | 48.37 | 40.19 | 32.04 | 33.12 | 25.85 | 27.34 | 22.93 | 26.7
490 | 133.8 | 160.4 | 117.1 | 170.9 | 338.5 | 3602 | 1229 | 119.9 | 126.1 | 137.6 | 88.4 | 74.8 | 124 | 157.4 | 129.4 | 120.9 | 126.4 | 98.38 | 91.72 | 84.97 | 119.2 | 97.59 | 101.2 | 120.6 | 108.5 | 94.07 | 72.31 | 78.74 | 79.29 | 67.29 | 63.44 | 52.14 | 65.5 | 45.28 | 47.46 | 37.73 | 49.33 | 26 | 32.16 | 47 | 47.85 | 46.16 | 31.98 | 27.42 | 32.38 | 28.27 | 27.95
495 | 124.8 | 131.4 | 130.3 | 161.8 | 148.9 | 2355 | 3696 | 189.2 | 119.3 | 99.42 | 108.7 | 137.7 | 132.4 | 155.1 | 112.8 | 111 | 110.3 | 102.2 | 112.4 | 85.31 | 92 | 91.07 | 97.35 | 101.5 | 100 | 97.49 | 83.02 | 73.82 | 69.39 | 57.3 | 72.27 | 61.09 | 56.62 | 44.61 | 40.7 | 39.51 | 26.56 | 34 | 29.69 | 37.79 | 49.91 | 56.59 | 30.56 | 27.72 | 31.66 | 23.48 | 23.52
500 | 111.1 | 175.2 | 135.5 | 133.1 | 139.2 | 694.5 | 3644 | 792.3 | 117.1 | 95.01 | 112.7 | 113.7 | 128.8 | 116.5 | 132.8 | 109.7 | 105.5 | 110.3 | 101.8 | 70.66 | 97.39 | 99.12 | 99.81 | 110.8 | 81.06 | 76.2 | 80.01 | 66.3 | 72.38 | 59.06 | 63.27 | 57.93 | 58.57 | 50.8 | 44.69 | 40.04 | 38.5 | 33.62 | 35.48 | 26.63 | 33.35 | 55.8 | 47.7 | 25.77 | 28.68 | 26.9 | 20.87