## Sheet1
Report date: | 15:50:41, 04/17/2024
Sample: | 1
File name:
Run date: | 15:48:01, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/265.0 | 191.2
2 | 225.0/285.0 | 163.5
3 | 225.0/355.0 | 340.9
4 | 225.0/365.0 | 294.7
5 | 225.0/405.0 | 162
6 | 225.0/485.0 | 207
7 | 230.0/300.0 | 244.4
8 | 230.0/315.0 | 429.7
9 | 230.0/345.0 | 443.8
10 | 230.0/380.0 | 233.3
11 | 230.0/420.0 | 188.7
12 | 235.0/275.0 | 191.8
13 | 235.0/320.0 | 462.7
14 | 235.0/330.0 | 390
15 | 235.0/370.0 | 247.1
16 | 235.0/390.0 | 233.4
17 | 235.0/415.0 | 169.2
18 | 235.0/435.0 | 171.7
19 | 240.0/265.0 | 140.5
20 | 240.0/410.0 | 207.9
21 | 240.0/425.0 | 163.1
22 | 245.0/270.0 | 140.7
23 | 245.0/325.0 | 301.6
24 | 245.0/380.0 | 233.4
25 | 245.0/400.0 | 176
26 | 245.0/430.0 | 144.1
27 | 245.0/445.0 | 184
28 | 250.0/275.0 | 174.1
29 | 250.0/390.0 | 215.6
30 | 250.0/450.0 | 155.6
31 | 255.0/405.0 | 160.4
32 | 255.0/425.0 | 161.1
33 | 255.0/475.0 | 126.3
34 | 260.0/470.0 | 124.7
35 | 260.0/490.0 | 126.9
36 | 265.0/415.0 | 164.3
37 | 265.0/430.0 | 162.7
38 | 265.0/460.0 | 153.7
39 | 270.0/455.0 | 144.8
40 | 270.0/465.0 | 175.5
41 | 270.0/480.0 | 156.3
42 | 270.0/495.0 | 150.5
43 | 275.0/430.0 | 175.5
44 | 275.0/460.0 | 144.9
45 | 275.0/470.0 | 162.7
46 | 280.0/435.0 | 170.9
47 | 280.0/445.0 | 170.4
48 | 285.0/260.0 | 111.7
49 | 285.0/340.0 | 2714
50 | 285.0/440.0 | 197.1
51 | 285.0/450.0 | 174.2
52 | 285.0/460.0 | 161.6
53 | 290.0/330.0 | 3021
54 | 290.0/430.0 | 232.1
55 | 290.0/455.0 | 160.5
56 | 290.0/475.0 | 160
57 | 295.0/270.0 | 97.41
58 | 295.0/465.0 | 170.1
59 | 300.0/265.0 | 105.3
60 | 300.0/445.0 | 178.7
61 | 305.0/275.0 | 108.4
62 | 305.0/440.0 | 162.9
63 | 305.0/485.0 | 105.3
64 | 310.0/255.0 | 76.87
65 | 310.0/270.0 | 103.2
66 | 310.0/445.0 | 169.9
67 | 310.0/465.0 | 137.7
68 | 315.0/355.0 | 358.8
69 | 315.0/380.0 | 195.5
70 | 315.0/395.0 | 190.3
71 | 315.0/410.0 | 221.3
72 | 315.0/450.0 | 140.9
73 | 315.0/460.0 | 142.3
74 | 315.0/480.0 | 116
75 | 320.0/255.0 | 75.16
76 | 320.0/270.0 | 73.7
77 | 320.0/360.0 | 392.5
78 | 320.0/385.0 | 219.9
79 | 320.0/415.0 | 207.8
80 | 325.0/285.0 | 95.14
81 | 325.0/295.0 | 91.36
82 | 325.0/365.0 | 382.6
83 | 325.0/390.0 | 229.5
84 | 325.0/430.0 | 189.9
85 | 325.0/455.0 | 129.7
86 | 325.0/470.0 | 129.6
87 | 330.0/370.0 | 409.9
88 | 330.0/400.0 | 231.8
89 | 330.0/410.0 | 218.3
90 | 330.0/425.0 | 236.8
91 | 335.0/265.0 | 59.93
92 | 335.0/380.0 | 370.3
93 | 335.0/420.0 | 206.4
94 | 335.0/445.0 | 144.6
95 | 335.0/455.0 | 129.3
96 | 335.0/470.0 | 117.3
97 | 335.0/485.0 | 106.1
98 | 340.0/280.0 | 65.72
99 | 340.0/365.0 | 164.3
100 | 340.0/385.0 | 360.6
101 | 340.0/425.0 | 174.3
102 | 340.0/440.0 | 160.8
103 | 345.0/260.0 | 61.47
104 | 345.0/275.0 | 49.43
105 | 345.0/295.0 | 68.87
106 | 345.0/375.0 | 148.1
107 | 345.0/390.0 | 317.2
108 | 345.0/455.0 | 130
109 | 345.0/495.0 | 95.64
110 | 350.0/265.0 | 58.45
111 | 350.0/490.0 | 104.6
112 | 355.0/300.0 | 63.26
113 | 355.0/405.0 | 227.4
114 | 360.0/305.0 | 55.81
115 | 360.0/410.0 | 260.7
116 | 360.0/440.0 | 110.7
117 | 360.0/480.0 | 86.81
118 | 365.0/280.0 | 48.61
119 | 365.0/415.0 | 228.9
120 | 370.0/265.0 | 44.46
121 | 370.0/290.0 | 44.36
122 | 370.0/300.0 | 43.11
123 | 370.0/425.0 | 207
124 | 375.0/255.0 | 56.91
125 | 375.0/280.0 | 41.38
126 | 375.0/335.0 | 58.73
127 | 375.0/430.0 | 162.8
128 | 375.0/450.0 | 80.59
129 | 375.0/465.0 | 79.23
130 | 375.0/490.0 | 61
131 | 380.0/310.0 | 43.94
132 | 380.0/320.0 | 40.39
133 | 380.0/435.0 | 144
134 | 380.0/475.0 | 60.07
135 | 385.0/270.0 | 48.9
136 | 385.0/295.0 | 34.31
137 | 385.0/445.0 | 121.8
138 | 385.0/470.0 | 60.34
139 | 385.0/480.0 | 58.53
140 | 390.0/310.0 | 28.9
141 | 390.0/340.0 | 36.33
142 | 390.0/450.0 | 112.9
143 | 395.0/280.0 | 31.96
144 | 395.0/325.0 | 31.17
145 | 395.0/455.0 | 95.36
146 | 400.0/265.0 | 31.87
147 | 400.0/320.0 | 26.55
148 | 400.0/330.0 | 26.24
149 | 400.0/465.0 | 92.64
150 | 400.0/490.0 | 46
151 | 405.0/260.0 | 30.92
152 | 405.0/290.0 | 31.91
153 | 405.0/305.0 | 26.57
154 | 405.0/345.0 | 28.59
155 | 405.0/470.0 | 72.4
156 | 410.0/255.0 | 30.37
157 | 410.0/270.0 | 31.15
158 | 410.0/350.0 | 27.68
159 | 415.0/285.0 | 25.57
160 | 415.0/295.0 | 31.59
161 | 415.0/340.0 | 20.69
162 | 415.0/355.0 | 27.73
163 | 420.0/325.0 | 23.35
164 | 420.0/360.0 | 26.09
165 | 420.0/370.0 | 28.3
166 | 425.0/280.0 | 23.77
167 | 425.0/310.0 | 25.55
168 | 425.0/335.0 | 20.06
169 | 425.0/365.0 | 26.07
170 | 430.0/275.0 | 22.63
171 | 430.0/290.0 | 25.09
172 | 430.0/315.0 | 23.3
173 | 430.0/345.0 | 22.83
174 | 430.0/370.0 | 22.31
175 | 430.0/390.0 | 32.32
176 | 430.0/480.0 | 27.22
177 | 435.0/260.0 | 23.47
178 | 435.0/280.0 | 26.13
179 | 435.0/295.0 | 21.55
180 | 435.0/355.0 | 21.5
181 | 435.0/470.0 | 32.97
182 | 440.0/270.0 | 18.16
183 | 440.0/335.0 | 18.34
184 | 440.0/365.0 | 18.84
185 | 440.0/385.0 | 23.32
186 | 445.0/320.0 | 20.63
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 119.2 | 152 | 140.2 | 113.8 | 139.1 | 3400 | 9999.9 | 3710 | 85.36 | 109.6 | 97.87 | 98.64 | 47.53 | 85.25 | 63.71 | 110.5 | 70.15 | 85.45 | 47.22 | 59.41 | 69.67 | 54.16 | 81.14 | 61.89 | 57.36 | 51.01 | 35.86 | 42.53 | 47.8 | 34.17 | 45.5 | 42.26 | 32.13 | 41.93 | 33.34 | 32.11 | 32.7 | 25.29 | 21.82 | 23.79 | 19.38 | 21.57 | 15.09 | 12.44 | 8.165 | 11.71 | 13.25
255 | 109.8 | 104.4 | 137.2 | 92.26 | 128.5 | 317.6 | 3194 | 9999.9 | 6833 | 308.7 | 82.55 | 95.01 | 83.99 | 91.66 | 89.76 | 98.5 | 75.01 | 69.83 | 76.87 | 53.31 | 75.16 | 47.97 | 58.46 | 55.33 | 46.33 | 54.6 | 52.93 | 37.26 | 37.67 | 29.11 | 35.27 | 56.91 | 35.76 | 27.04 | 30.15 | 23.75 | 31.68 | 26.18 | 30.37 | 19.27 | 20.62 | 18.61 | 15.07 | 20.03 | 16.02 | 15.14 | 10.3
260 | 133.5 | 124.5 | 88.96 | 108.7 | 89.86 | 116.6 | 329.4 | 3402 | 9999.9 | 9832 | 455.5 | 85.6 | 81.09 | 111.7 | 103.7 | 81.98 | 82.48 | 51.03 | 60.99 | 69.64 | 73.84 | 51.94 | 79.47 | 51.4 | 51 | 61.47 | 55.73 | 39.74 | 36.49 | 38 | 43.32 | 47.08 | 41.27 | 23.43 | 31.85 | 26.76 | 28.88 | 30.92 | 25.66 | 21.49 | 19.77 | 18.08 | 17.08 | 23.47 | 16.66 | 12.51 | 13.13
265 | 129.8 | 191.2 | 96.56 | 140.1 | 140.5 | 140.2 | 96.24 | 322.3 | 4643 | 9999.9 | 9999.9 | 481.5 | 105.4 | 84.5 | 73.96 | 91.97 | 105.3 | 84.18 | 43.39 | 68.77 | 67.35 | 47.74 | 50.03 | 59.93 | 39.32 | 54.58 | 58.45 | 54.09 | 44.62 | 40.79 | 44.46 | 43.97 | 37.02 | 42.17 | 28.4 | 26.21 | 31.87 | 28.98 | 26.36 | 25.25 | 21.95 | 20.04 | 19.45 | 19.45 | 13.85 | 10.32 | 14.59
270 | 131.2 | 116.5 | 86.56 | 114 | 123.2 | 140.7 | 124 | 137.6 | 385.6 | 5850 | 9999.9 | 9999.9 | 697.2 | 113.8 | 74.23 | 97.41 | 82.84 | 89.29 | 103.2 | 51.35 | 73.7 | 67.9 | 53.71 | 59 | 47.53 | 37.73 | 36.05 | 45.03 | 41.73 | 39.05 | 42.26 | 29.19 | 36.39 | 48.9 | 27.33 | 26.43 | 24.03 | 21.71 | 31.15 | 25.3 | 21.05 | 20.94 | 13.6 | 14.54 | 18.16 | 14.31 | 15.58
275 | 115.3 | 105.4 | 96.94 | 191.8 | 145.7 | 103.4 | 174.1 | 131.4 | 138.7 | 513.3 | 8152 | 9999.9 | 9999.9 | 824.7 | 110.3 | 87.92 | 99.29 | 108.4 | 76.09 | 55.01 | 64.82 | 72.77 | 53.15 | 54.51 | 35.89 | 49.43 | 47.76 | 48.61 | 38.12 | 37.36 | 42.06 | 35.7 | 30.6 | 35.33 | 33.6 | 23.46 | 23.61 | 16.92 | 19.01 | 23.57 | 20.27 | 22.29 | 22.63 | 15.29 | 15.34 | 13.81 | 17.63
280 | 142.2 | 136.8 | 105 | 109.2 | 117.7 | 113.4 | 121.4 | 133.1 | 156.1 | 163.9 | 594.5 | 9999.9 | 9999.9 | 9999.9 | 840.2 | 101.6 | 111.4 | 89.48 | 92.96 | 62.68 | 78.77 | 91.91 | 63.59 | 60.09 | 65.72 | 36.25 | 40.33 | 47.57 | 42.53 | 48.61 | 31.41 | 41.38 | 27.24 | 25.55 | 30.88 | 31.96 | 22.22 | 24.25 | 20.71 | 20.46 | 18.4 | 23.77 | 18.68 | 26.13 | 20.57 | 14.98 | 15.75
285 | 103.1 | 163.5 | 139.5 | 114.3 | 91.37 | 103.4 | 110.4 | 106.7 | 169.3 | 160.6 | 150.3 | 816.2 | 9999.9 | 9999.9 | 9999.9 | 1058 | 111.7 | 98.65 | 73.8 | 63.93 | 79.86 | 95.14 | 76.26 | 62.75 | 61.54 | 51.37 | 55.85 | 43.37 | 43.8 | 38.03 | 39.12 | 36.16 | 19.67 | 27.03 | 22.9 | 31.46 | 27.4 | 26.04 | 23.98 | 25.57 | 22.28 | 20.94 | 23.61 | 18.23 | 14.86 | 13.98 | 14.92
290 | 91.92 | 109.8 | 123.2 | 134.8 | 152.3 | 120 | 114.9 | 112.9 | 178.1 | 191.4 | 265.2 | 236.6 | 898.8 | 9999.9 | 9999.9 | 9999.9 | 1020 | 136.9 | 105 | 104 | 65.75 | 85.88 | 74.11 | 57.2 | 51.61 | 58.52 | 56.81 | 49.53 | 37.77 | 42.72 | 44.36 | 25.73 | 20.87 | 32.26 | 24.24 | 25.59 | 18.22 | 31.91 | 23.79 | 18.81 | 23.88 | 20.15 | 25.09 | 20.6 | 17.52 | 16.19 | 14.94
295 | 150.2 | 164.8 | 192.4 | 149.6 | 139.4 | 117 | 96.37 | 164 | 160.7 | 239.7 | 376.4 | 337.7 | 496.4 | 1088 | 9999.9 | 9999.9 | 9999.9 | 1153 | 146.3 | 117.1 | 76.94 | 91.36 | 85.72 | 55.73 | 60.42 | 68.87 | 39.85 | 53.61 | 35.67 | 41.73 | 40.98 | 22.47 | 24.63 | 34.31 | 25.93 | 23.56 | 25.17 | 25.21 | 25.74 | 31.59 | 23.99 | 17.93 | 19.02 | 21.55 | 21.21 | 14.49 | 14.29
300 | 136.3 | 174.7 | 244.4 | 184.7 | 192.7 | 120.1 | 149.9 | 171.1 | 174.8 | 241.8 | 582.6 | 603.1 | 684.8 | 903.6 | 1259 | 9999.9 | 9999.9 | 9999.9 | 1282 | 139.4 | 120.6 | 85.14 | 84.38 | 54.62 | 71.32 | 45.63 | 52.32 | 63.26 | 52.58 | 37.73 | 43.11 | 39.86 | 28.7 | 34.02 | 21.6 | 23.25 | 18.43 | 23.49 | 24.86 | 22.21 | 22.06 | 19.63 | 13.36 | 20.99 | 20.08 | 19.7 | 20.77
305 | 160.2 | 242.4 | 192.3 | 236.9 | 204.3 | 152.6 | 186.2 | 201.3 | 280.4 | 484.8 | 561.2 | 1045 | 1252 | 1245 | 1247 | 1318 | 9999.9 | 9999.9 | 9999.9 | 1098 | 129.5 | 90.26 | 83.56 | 82.5 | 66.14 | 70.45 | 58.19 | 49.91 | 55.81 | 38.96 | 39.62 | 32.52 | 32.85 | 27.65 | 21.34 | 26.88 | 17.39 | 26.57 | 23.48 | 24.08 | 22.81 | 25.13 | 18.42 | 20.47 | 18.98 | 20.24 | 16.27
310 | 179.9 | 239.2 | 240.6 | 278.3 | 249 | 155.8 | 225.4 | 217.1 | 327.7 | 488.6 | 795 | 1061 | 1674 | 1733 | 1392 | 998.4 | 1195 | 9999.9 | 9999.9 | 9999.9 | 1306 | 150.9 | 114.2 | 87.13 | 78.94 | 83.72 | 67.65 | 60.78 | 53.56 | 43.8 | 45.56 | 36.84 | 43.94 | 25.33 | 28.9 | 28.68 | 24.88 | 21.76 | 20.84 | 19.42 | 23.06 | 25.55 | 22.84 | 20.23 | 20.96 | 20.11 | 19.44
315 | 170.7 | 295 | 429.7 | 291.3 | 260 | 216.5 | 226.9 | 255.5 | 353.5 | 753.5 | 1001 | 1359 | 1903 | 2238 | 2125 | 1260 | 666.4 | 1013 | 9999.9 | 9999.9 | 9999.9 | 1269 | 147 | 102.9 | 101.4 | 83 | 63.52 | 57.14 | 43.91 | 45.34 | 38.66 | 36.01 | 29.05 | 29.83 | 19.38 | 23.78 | 25.59 | 21.7 | 21.63 | 19.37 | 20.81 | 22.62 | 23.3 | 18.59 | 19.78 | 19.58 | 15.37
320 | 240.8 | 331.2 | 350.6 | 462.7 | 280.5 | 215.4 | 237.5 | 280.9 | 483.9 | 661.8 | 1039 | 1394 | 2085 | 2580 | 2398 | 1395 | 708.9 | 386.5 | 873.4 | 9999.9 | 9999.9 | 9999.9 | 1189 | 146.1 | 123 | 90.36 | 60.43 | 65.12 | 61.19 | 45.92 | 41.11 | 33.57 | 40.39 | 29.83 | 27.14 | 22.12 | 26.55 | 25.55 | 20.83 | 22.65 | 16.51 | 17.56 | 17.21 | 19.91 | 19.28 | 20.63 | 15.09
325 | 268.2 | 296.7 | 368.5 | 288.9 | 298.5 | 301.6 | 206.4 | 273.5 | 502.5 | 914 | 1316 | 2108 | 2260 | 2804 | 2619 | 2015 | 919.5 | 364.9 | 251.7 | 862.3 | 9999.9 | 9999.9 | 9999.9 | 1252 | 132.9 | 131.3 | 87.74 | 78.83 | 56.37 | 53.45 | 49.17 | 37.58 | 28.31 | 33.59 | 28.54 | 31.17 | 18.09 | 20.71 | 20.25 | 20.24 | 23.35 | 19.1 | 17.53 | 19.72 | 16.78 | 17.87 | 19.2
330 | 219.9 | 313.6 | 371.2 | 390 | 269.8 | 293.2 | 287.1 | 311.9 | 511.9 | 946.3 | 1412 | 2005 | 2398 | 2946 | 3021 | 2029 | 891.6 | 427.6 | 218 | 216.3 | 874.9 | 9999.9 | 9999.9 | 9999.9 | 1186 | 136 | 109.3 | 89.64 | 57.43 | 62.95 | 45.57 | 43.06 | 39.08 | 33.49 | 27.31 | 20.83 | 26.24 | 24.22 | 18.49 | 16.78 | 21.01 | 17.71 | 18.59 | 18.35 | 16.91 | 19.82 | 19.81
335 | 160.5 | 310.7 | 391.4 | 362.9 | 184.3 | 266.2 | 240.6 | 329.6 | 520.9 | 861 | 1327 | 2141 | 2578 | 2470 | 2752 | 1736 | 1122 | 529 | 238.5 | 175 | 209.8 | 866.2 | 9999.9 | 9999.9 | 9999.9 | 1163 | 147.7 | 116.4 | 77.72 | 58.48 | 54.15 | 58.73 | 31.29 | 34.1 | 27.51 | 26.64 | 24.55 | 22.84 | 20.02 | 19.78 | 18.63 | 20.06 | 18.65 | 14.57 | 18.34 | 18.25 | 16.79
340 | 247.2 | 314.8 | 394.6 | 320.6 | 212.5 | 255.6 | 271.6 | 379.4 | 571.8 | 913.3 | 1263 | 1742 | 2174 | 2714 | 2457 | 1759 | 980.9 | 688.4 | 243.1 | 130.9 | 153.3 | 195.9 | 838.5 | 9999.9 | 9999.9 | 9999.9 | 1221 | 128 | 94.19 | 65.78 | 77.88 | 45.58 | 50.02 | 30.86 | 36.33 | 31.94 | 25.66 | 20.51 | 19.64 | 20.69 | 17.1 | 19.69 | 16.61 | 16.23 | 15.75 | 17.86 | 14.62
345 | 260.7 | 307.6 | 443.8 | 405.3 | 263 | 194.6 | 207.6 | 283.6 | 564.3 | 812.5 | 1092 | 1777 | 2061 | 2458 | 2319 | 1624 | 925.5 | 550.2 | 386.9 | 174.9 | 143.1 | 156.4 | 215.3 | 832.4 | 9999.9 | 9999.9 | 9999.9 | 1060 | 133.6 | 89.67 | 60.58 | 59.94 | 42.15 | 45.33 | 26.33 | 21.68 | 24.97 | 28.59 | 25 | 19.56 | 17.71 | 16.3 | 22.83 | 16.25 | 15.91 | 20 | 12.31
350 | 185 | 291.8 | 332.7 | 278.9 | 239.7 | 231.5 | 290.6 | 306 | 467.2 | 671.1 | 1030 | 1400 | 1802 | 2026 | 2185 | 1417 | 838.1 | 397.7 | 343.7 | 354.9 | 142 | 135.2 | 151.1 | 202.9 | 849.6 | 9999.9 | 9999.9 | 9999.9 | 1038 | 121.7 | 94.92 | 73.98 | 41.84 | 41.36 | 37.48 | 30.02 | 26.87 | 25.75 | 27.68 | 25.65 | 21.18 | 22.45 | 17.2 | 19.48 | 16.72 | 14.83 | 14.79
355 | 179.5 | 340.9 | 322.3 | 318.7 | 221.8 | 228.3 | 228.8 | 329.4 | 413.3 | 585 | 949.9 | 1240 | 1807 | 1746 | 1819 | 1420 | 705.7 | 326.9 | 217.5 | 358.8 | 277.7 | 138.4 | 120 | 131.8 | 152.3 | 845.2 | 9999.9 | 9999.9 | 9999.9 | 957.1 | 123.6 | 92.15 | 71.49 | 49.43 | 35.27 | 34.03 | 29.47 | 28.88 | 23.84 | 27.73 | 20.44 | 16.28 | 13.99 | 21.5 | 16.59 | 16.29 | 15.87
360 | 178.7 | 188 | 294.3 | 234.6 | 207.3 | 199.9 | 198.1 | 214.2 | 339.7 | 503.5 | 723.3 | 1127 | 1469 | 1625 | 1651 | 1218 | 586.9 | 286 | 172 | 161.7 | 392.5 | 229.1 | 129.4 | 121.5 | 126.2 | 191 | 809.4 | 9999.9 | 9999.9 | 9999.9 | 853.3 | 102.9 | 87.89 | 66.54 | 48.25 | 39.17 | 36.88 | 21.69 | 21.38 | 23.86 | 26.09 | 23.56 | 17.02 | 16.37 | 15.87 | 14.07 | 15.44
365 | 163.8 | 294.7 | 286.8 | 209.9 | 168.2 | 164.4 | 183.9 | 196.6 | 294.9 | 463.5 | 684.6 | 1103 | 1310 | 1438 | 1315 | 1137 | 590.5 | 296.1 | 189.8 | 172.1 | 238.7 | 382.6 | 223.1 | 139 | 164.3 | 131.1 | 184.1 | 834.2 | 9999.9 | 9999.9 | 9999.9 | 797.1 | 103.4 | 72.43 | 58.25 | 40.12 | 34.69 | 28.17 | 27.29 | 20.87 | 22.72 | 26.07 | 13.87 | 18.14 | 18.84 | 13.97 | 11.53
370 | 157.1 | 145.1 | 235.4 | 247.1 | 180.9 | 136.5 | 164.3 | 209.1 | 267.5 | 395.5 | 617 | 786.3 | 947 | 1077 | 1173 | 798.6 | 496.1 | 254.3 | 159.1 | 151.1 | 192.5 | 286.1 | 409.9 | 174.4 | 141.7 | 135.2 | 147.9 | 183.7 | 818.4 | 9999.9 | 9999.9 | 9999.9 | 676 | 100.7 | 62.46 | 50.36 | 30.31 | 30.69 | 31.17 | 23.13 | 28.3 | 18.98 | 22.31 | 16.37 | 13.22 | 17.1 | 15.4
375 | 156.9 | 211.2 | 178.1 | 244.6 | 151.3 | 171.8 | 165.8 | 199.8 | 227.7 | 293.4 | 396.9 | 669.9 | 850.7 | 1060 | 933.6 | 677.8 | 444 | 239.5 | 186.3 | 171.5 | 168.4 | 172.2 | 338 | 320.8 | 128.3 | 148.1 | 132.2 | 132.5 | 178.4 | 821.9 | 9999.9 | 9999.9 | 9999.9 | 676.4 | 88.59 | 57.45 | 42.08 | 31.91 | 31.66 | 30.06 | 22.06 | 19.58 | 19.75 | 17.54 | 14.54 | 14.3 | 13.76
380 | 131.3 | 124 | 233.3 | 224.1 | 168.4 | 233.4 | 119.4 | 207.2 | 207.1 | 297.7 | 366.6 | 551.7 | 661.3 | 798.9 | 810.3 | 548.8 | 331 | 257.1 | 161.1 | 195.5 | 166.3 | 196.9 | 196.5 | 370.3 | 285.7 | 130.4 | 117 | 104.8 | 145.5 | 157.2 | 805.9 | 9999.9 | 9999.9 | 9999.9 | 638.5 | 80.97 | 66.61 | 42.39 | 32.28 | 32.98 | 24.06 | 19.81 | 18.87 | 20.41 | 20.29 | 14.64 | 16.25
385 | 119.1 | 167.6 | 184 | 190.7 | 188.8 | 153.1 | 174.9 | 191.9 | 186 | 250.5 | 321.7 | 350.8 | 648.7 | 613.4 | 663.7 | 520.8 | 322.1 | 270.9 | 176.9 | 191.5 | 219.9 | 210 | 205.9 | 258.9 | 360.6 | 221.7 | 122.4 | 106.7 | 102.6 | 114.1 | 170 | 804.1 | 9999.9 | 9999.9 | 9999.9 | 527.8 | 82.36 | 58.46 | 39.76 | 32.69 | 26 | 24.97 | 22.6 | 20.2 | 23.32 | 13.37 | 15.77
390 | 114.3 | 144.4 | 184.8 | 233.4 | 153.3 | 114.1 | 215.6 | 169.5 | 143.6 | 192.7 | 300.2 | 379 | 543.4 | 606.6 | 579.6 | 494.2 | 337.2 | 197.2 | 212.6 | 164.9 | 176.1 | 229.5 | 209.1 | 208 | 265.2 | 317.2 | 152.4 | 103.1 | 100.7 | 98.01 | 112.1 | 139 | 790.6 | 9999.9 | 9999.9 | 9999.9 | 531.6 | 70.19 | 60.58 | 44.48 | 34.22 | 29.68 | 32.32 | 23.12 | 21.32 | 15.29 | 18.53
395 | 149.7 | 105.8 | 176.5 | 187.3 | 171.5 | 158.1 | 157.6 | 146.7 | 159.6 | 184.3 | 283.1 | 332.6 | 467.6 | 468.5 | 374 | 401 | 280.7 | 177.2 | 181.5 | 190.3 | 173.8 | 227.8 | 220.4 | 206.5 | 190.1 | 314.7 | 283.6 | 126.3 | 106.2 | 93.04 | 95.67 | 88.98 | 139.1 | 801.2 | 9999.9 | 9999.9 | 9999.9 | 464.3 | 68.94 | 52.74 | 40.03 | 27.59 | 28.61 | 22.15 | 18.31 | 15.92 | 15.81
400 | 113.7 | 150.2 | 140.6 | 170.1 | 122.2 | 176 | 149.3 | 110.9 | 137.6 | 189.3 | 266.9 | 303.9 | 367.8 | 388.4 | 418.1 | 350.9 | 218.7 | 228.4 | 166 | 186.4 | 167.4 | 221.6 | 231.8 | 162 | 168.8 | 176.4 | 248.7 | 221.2 | 125.3 | 88.32 | 92.2 | 82.85 | 82.98 | 132.3 | 772.8 | 9999.9 | 9999.9 | 9999.9 | 398.3 | 64.12 | 50.39 | 33.92 | 24.92 | 21.97 | 21.68 | 21.83 | 14.56
405 | 92.83 | 162 | 133.5 | 144 | 146.4 | 157.5 | 154.2 | 160.4 | 143.5 | 154.5 | 175.6 | 207.2 | 274.5 | 286.6 | 322.8 | 286.9 | 247.5 | 220 | 164.1 | 174.7 | 205.1 | 184.8 | 198.2 | 183.7 | 180.2 | 151.5 | 158.7 | 227.4 | 179.7 | 94.13 | 102.5 | 82.28 | 70.08 | 87.47 | 121.5 | 763.8 | 9999.9 | 9999.9 | 9999.9 | 392.6 | 67.84 | 47.31 | 31.46 | 26.26 | 26.49 | 19.14 | 15.01
410 | 158.6 | 147 | 149.3 | 106.3 | 207.9 | 126.5 | 133.2 | 129.6 | 157.3 | 162.9 | 151.1 | 236.3 | 311.7 | 259.7 | 322 | 260 | 229.1 | 165.2 | 154.4 | 221.3 | 200.2 | 186.1 | 218.3 | 177 | 165.5 | 140.9 | 131.7 | 144.3 | 260.7 | 121.2 | 90.8 | 71.32 | 67.45 | 79.64 | 69.23 | 120.8 | 761.3 | 9999.9 | 9999.9 | 9999.9 | 340.9 | 59.27 | 42.06 | 30.67 | 30.21 | 18.29 | 18.3
415 | 121.8 | 153.1 | 161.6 | 169.2 | 131 | 141.8 | 135.3 | 113.4 | 149.1 | 164.3 | 129.7 | 174.6 | 234 | 261.2 | 264.8 | 199.8 | 179.5 | 171.2 | 144 | 180.5 | 207.8 | 191.2 | 185 | 184.4 | 170.6 | 164.2 | 106.1 | 124.7 | 214.1 | 228.9 | 106.9 | 85.49 | 67.89 | 66.58 | 60.35 | 76.56 | 120 | 751.8 | 9999.9 | 9999.9 | 9999.9 | 355 | 64.89 | 37.35 | 29.17 | 23.21 | 16.73
420 | 90.48 | 127 | 188.7 | 155.6 | 148.6 | 143.2 | 117.7 | 119.6 | 128.9 | 142.6 | 158.9 | 191.9 | 220.4 | 225.4 | 239.3 | 221.4 | 148.9 | 175.6 | 118.8 | 162.7 | 185.5 | 168.8 | 187.1 | 206.4 | 162.8 | 157.3 | 117.2 | 111.2 | 133.3 | 206.3 | 193.3 | 95.62 | 68.8 | 65.22 | 53.62 | 61.76 | 74.76 | 110 | 749.7 | 9999.9 | 9999.9 | 9999.9 | 287.3 | 47.37 | 41.19 | 30.97 | 19.08
425 | 135.8 | 187.9 | 143.5 | 152.5 | 163.1 | 140.8 | 138.5 | 161.1 | 132.9 | 128.3 | 165.1 | 168.1 | 174.2 | 165.1 | 206.8 | 190.6 | 153.6 | 168.8 | 134.9 | 133 | 184.3 | 186.8 | 236.8 | 151.6 | 174.3 | 131.4 | 139.7 | 118.1 | 116.6 | 127.3 | 207 | 135.9 | 65.56 | 70.72 | 53.45 | 53.99 | 69.86 | 56.71 | 96.99 | 745.5 | 9999.9 | 9999.9 | 9999.9 | 287.5 | 54.62 | 36.12 | 29.06
430 | 185.8 | 156.6 | 149.3 | 140.6 | 135.4 | 144.1 | 131 | 133.5 | 113.2 | 162.7 | 100.8 | 175.5 | 167.5 | 155 | 232.1 | 203.9 | 167.7 | 138.1 | 147.1 | 171.9 | 178.7 | 189.9 | 164 | 162.1 | 139 | 125.3 | 114.4 | 84.03 | 108.4 | 101.1 | 102.3 | 162.8 | 107.8 | 60.01 | 53.19 | 53.45 | 49.39 | 49 | 52.96 | 97.92 | 726.5 | 9999.9 | 9999.9 | 9999.9 | 272.6 | 45.61 | 33.49
435 | 366.4 | 153.3 | 84.05 | 171.7 | 167.4 | 123.8 | 133.6 | 99.98 | 109.3 | 140.7 | 121.1 | 167.3 | 170.9 | 161.8 | 184.9 | 181.8 | 154.5 | 161.9 | 135.9 | 156.1 | 161.1 | 162.1 | 166.4 | 134.2 | 136.3 | 122.7 | 96.89 | 96.63 | 105.7 | 97.75 | 81 | 130.6 | 144 | 79.56 | 50.95 | 49.46 | 52.5 | 49.25 | 45.46 | 52.68 | 97.41 | 728.4 | 9999.9 | 9999.9 | 9999.9 | 257.6 | 46.16
440 | 402 | 225.3 | 138 | 166.9 | 149.3 | 155.1 | 120.6 | 69.01 | 107.6 | 120.3 | 152 | 151.7 | 158.6 | 197.1 | 167.8 | 172.7 | 149.4 | 162.9 | 113.8 | 126.1 | 159.5 | 140.9 | 141.1 | 142 | 160.8 | 102.4 | 107.1 | 105.6 | 110.7 | 93.87 | 83.19 | 81.87 | 121.9 | 115.2 | 51.1 | 51.8 | 52.09 | 48.36 | 43.63 | 41.91 | 47.2 | 96.91 | 733.5 | 9999.9 | 9999.9 | 9999.9 | 224
445 | 271.2 | 510.6 | 135.8 | 167.1 | 120.3 | 184 | 94.55 | 112.1 | 107.9 | 108.7 | 130.7 | 126.7 | 170.4 | 148.8 | 158.9 | 133.8 | 178.7 | 121.9 | 169.9 | 131.3 | 130.7 | 125.6 | 133.8 | 144.6 | 137.3 | 125.6 | 118.3 | 105.3 | 74.54 | 88.15 | 65.78 | 73.49 | 73.7 | 121.8 | 83.11 | 62.67 | 54.85 | 39.5 | 40.7 | 39.97 | 39.32 | 52.05 | 96.43 | 701.7 | 9999.9 | 9999.9 | 9999.9
450 | 164.8 | 769.7 | 374.2 | 183.5 | 142.4 | 116.8 | 155.6 | 134.6 | 136.2 | 98.87 | 112.8 | 139.4 | 140.4 | 174.2 | 156.2 | 151.8 | 127.9 | 109.1 | 123.6 | 140.9 | 114.4 | 123.3 | 103.1 | 115.5 | 128.7 | 118.6 | 112.8 | 102.4 | 98.33 | 96.62 | 70.36 | 80.59 | 66.81 | 74.7 | 112.9 | 76.04 | 55.68 | 43.84 | 34.01 | 33.34 | 31.31 | 36.21 | 40.61 | 87 | 730.3 | 9999.9 | 9999.9
455 | 138.5 | 523.4 | 902.4 | 214.4 | 147 | 116.7 | 113.6 | 98.98 | 131.5 | 97.87 | 144.8 | 142 | 139 | 131.1 | 160.5 | 122 | 134.4 | 120.1 | 128.6 | 118.2 | 127.4 | 129.7 | 115.5 | 129.3 | 116.5 | 130 | 109.1 | 93.59 | 84.3 | 82.63 | 64.84 | 76.87 | 56.09 | 55.77 | 75.22 | 95.36 | 65.96 | 40.05 | 32.77 | 32.32 | 27.7 | 34.87 | 35.35 | 33.17 | 92.1 | 726.1 | 9999.9
460 | 158.2 | 216.7 | 1308 | 615.7 | 155.4 | 150.1 | 122.9 | 105.3 | 104.8 | 153.7 | 116.6 | 144.9 | 116.7 | 161.6 | 134.6 | 152.4 | 143.9 | 141.8 | 115.4 | 142.3 | 105.2 | 127.3 | 112.8 | 113.7 | 120 | 101.2 | 110.5 | 103.5 | 84.36 | 75.25 | 71.66 | 70.91 | 60.1 | 59.33 | 64.52 | 87.98 | 77.24 | 48.8 | 42.32 | 35.03 | 33.94 | 28.63 | 31.17 | 32 | 39.58 | 87.14 | 709.6
465 | 127.7 | 148 | 791.6 | 1597 | 194.5 | 120.2 | 132 | 88.26 | 114.2 | 109.6 | 175.5 | 122.6 | 119.5 | 129.3 | 153.4 | 170.1 | 113.9 | 113.7 | 137.7 | 132.5 | 129 | 128.5 | 106 | 116.1 | 91.92 | 84.26 | 87.36 | 100.7 | 86.38 | 72.17 | 58.02 | 79.23 | 52.75 | 42.11 | 47.24 | 56.5 | 92.64 | 68.63 | 35.52 | 31.94 | 28.27 | 30.45 | 27.09 | 31.87 | 27.47 | 37.44 | 84.01
470 | 159.4 | 135.3 | 298.8 | 1933 | 785.1 | 135.6 | 126 | 95.38 | 124.7 | 101.8 | 111.9 | 162.7 | 139.1 | 141.9 | 118.4 | 130.9 | 128.6 | 98.12 | 103.1 | 87.82 | 101.8 | 129.6 | 94.29 | 117.3 | 108.9 | 101.9 | 90.97 | 94.09 | 80.15 | 64.43 | 68.87 | 56.75 | 58.67 | 60.34 | 49.12 | 50.28 | 57.25 | 72.4 | 45.02 | 33.82 | 32.63 | 31.4 | 28.68 | 32.97 | 30.41 | 32.99 | 31.74
475 | 127.8 | 130.7 | 173.6 | 1342 | 1912 | 233.2 | 101.8 | 126.3 | 121.3 | 91.68 | 141.9 | 91.49 | 136.8 | 104.5 | 160 | 104 | 120.7 | 102.3 | 103.1 | 86.3 | 110 | 106.4 | 107 | 88.84 | 98.82 | 85.94 | 90.91 | 89.07 | 74.5 | 65.41 | 64.2 | 49.12 | 60.07 | 53.28 | 37.9 | 46.12 | 39.45 | 58.44 | 58.39 | 42.24 | 31.34 | 27.86 | 23.27 | 24.48 | 23.85 | 26.14 | 26.45
480 | 197.1 | 118.3 | 134.6 | 276.7 | 2862 | 868.7 | 102.5 | 124.6 | 116.7 | 99.07 | 156.3 | 111.1 | 124.9 | 109.5 | 135.4 | 116.3 | 106.4 | 86.71 | 110.9 | 116 | 90.2 | 102.3 | 73.84 | 90.42 | 85.45 | 87.41 | 88.06 | 70.64 | 86.81 | 74.74 | 66.42 | 55.95 | 39.49 | 58.53 | 41.47 | 42.59 | 34.53 | 40.36 | 56.5 | 54.71 | 33.77 | 24.63 | 27.22 | 24.63 | 25.85 | 25.8 | 29.31
485 | 123.1 | 207 | 126.2 | 121 | 1547 | 2627 | 185.1 | 119.1 | 114.2 | 84.51 | 140.7 | 114 | 121.8 | 124.2 | 112 | 96.83 | 98.88 | 105.3 | 91.14 | 113.8 | 97.07 | 96.02 | 97.08 | 106.1 | 87.36 | 73.13 | 86.01 | 73.62 | 71.47 | 64.63 | 63.07 | 51.44 | 48.99 | 49.42 | 40.21 | 42.23 | 31.48 | 28.52 | 39.69 | 53.64 | 51.6 | 27.75 | 23.61 | 24.49 | 21.38 | 24.83 | 26.66
490 | 106.1 | 166.8 | 149 | 98.86 | 448.7 | 3506 | 1154 | 98.5 | 126.9 | 103.5 | 135.4 | 123 | 118.9 | 138.1 | 118 | 107.6 | 111 | 92.59 | 89.92 | 95.37 | 96 | 94.91 | 62.74 | 100.3 | 96.49 | 92.28 | 104.6 | 70.87 | 68.24 | 63.9 | 55.28 | 61 | 57.75 | 38 | 44.11 | 43.65 | 46 | 29.49 | 33.58 | 42.93 | 46.36 | 33.44 | 24.8 | 23.1 | 22.08 | 21.17 | 21.75
495 | 114.8 | 145.9 | 130.4 | 163.4 | 168.7 | 2229 | 3302 | 160.1 | 119.8 | 74.31 | 150.5 | 103.9 | 96.72 | 188.5 | 119.1 | 121 | 102.5 | 123.6 | 95.82 | 89 | 88.97 | 91.53 | 104.6 | 85.83 | 88.82 | 95.64 | 67.89 | 69.07 | 74.22 | 55.76 | 53.27 | 44.61 | 51.42 | 53.69 | 43.48 | 41.66 | 39.38 | 29.71 | 27 | 36.06 | 47.48 | 48.49 | 27.85 | 33.35 | 27.66 | 22.39 | 27.5
500 | 149.8 | 157.1 | 115.1 | 135.3 | 136.9 | 731.3 | 3856 | 800 | 101.5 | 93.38 | 91.67 | 87.52 | 130.8 | 111.9 | 126.8 | 143.3 | 90.41 | 110.6 | 120.1 | 96.96 | 88.42 | 78.29 | 68.31 | 77.3 | 84.32 | 85.41 | 80.57 | 67.54 | 66.63 | 70.12 | 74.99 | 54.13 | 47.2 | 41.12 | 42.84 | 41.61 | 36.18 | 29.91 | 25.29 | 31.94 | 35.27 | 53.04 | 50.21 | 32.29 | 20.37 | 21.38 | 24.48