## Sheet1
Report date: | 15:57:46, 04/17/2024
Sample: | 1
File name:
Run date: | 15:55:06, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/280.0 | 131.9
2 | 225.0/390.0 | 190.4
3 | 225.0/425.0 | 180.2
4 | 225.0/490.0 | 182.5
5 | 230.0/265.0 | 121.6
6 | 230.0/275.0 | 136.2
7 | 230.0/290.0 | 173.5
8 | 230.0/320.0 | 474.7
9 | 230.0/345.0 | 406
10 | 230.0/360.0 | 347.6
11 | 230.0/405.0 | 229.3
12 | 230.0/435.0 | 221.4
13 | 235.0/330.0 | 448.4
14 | 235.0/355.0 | 317.3
15 | 235.0/365.0 | 282.7
16 | 235.0/380.0 | 210.6
17 | 235.0/390.0 | 194.3
18 | 235.0/415.0 | 168.5
19 | 240.0/260.0 | 198.8
20 | 240.0/275.0 | 164
21 | 240.0/385.0 | 187.1
22 | 240.0/400.0 | 166.4
23 | 240.0/420.0 | 199.6
24 | 240.0/440.0 | 152.9
25 | 245.0/270.0 | 162
26 | 245.0/285.0 | 138.9
27 | 245.0/380.0 | 203.2
28 | 245.0/405.0 | 177
29 | 245.0/430.0 | 201.7
30 | 245.0/445.0 | 167.4
31 | 245.0/455.0 | 201
32 | 250.0/290.0 | 158.4
33 | 250.0/450.0 | 164.4
34 | 255.0/275.0 | 166.1
35 | 255.0/425.0 | 142.2
36 | 260.0/405.0 | 224.7
37 | 260.0/445.0 | 148.3
38 | 260.0/460.0 | 135.4
39 | 260.0/470.0 | 187.7
40 | 265.0/290.0 | 262.1
41 | 265.0/425.0 | 172.3
42 | 265.0/485.0 | 144.6
43 | 270.0/460.0 | 169.1
44 | 270.0/475.0 | 141.3
45 | 275.0/490.0 | 155.7
46 | 280.0/440.0 | 194.2
47 | 280.0/480.0 | 161.8
48 | 285.0/325.0 | 3011
49 | 285.0/345.0 | 2606
50 | 285.0/450.0 | 182.9
51 | 285.0/465.0 | 188
52 | 285.0/485.0 | 135.2
53 | 290.0/340.0 | 2792
54 | 290.0/435.0 | 222.7
55 | 290.0/445.0 | 252.3
56 | 290.0/455.0 | 191.8
57 | 295.0/260.0 | 96.05
58 | 295.0/485.0 | 132.7
59 | 300.0/255.0 | 90.24
60 | 300.0/440.0 | 171.6
61 | 300.0/460.0 | 191.4
62 | 305.0/260.0 | 99.05
63 | 305.0/430.0 | 168.8
64 | 305.0/475.0 | 154.9
65 | 305.0/490.0 | 137.2
66 | 310.0/275.0 | 97.8
67 | 310.0/400.0 | 225.5
68 | 310.0/415.0 | 202.6
69 | 310.0/455.0 | 136.3
70 | 310.0/470.0 | 154.7
71 | 315.0/280.0 | 113.2
72 | 315.0/355.0 | 364.4
73 | 315.0/460.0 | 150.5
74 | 315.0/480.0 | 137.1
75 | 320.0/285.0 | 98.77
76 | 320.0/360.0 | 372.9
77 | 320.0/395.0 | 235.7
78 | 320.0/410.0 | 234.1
79 | 320.0/430.0 | 212.8
80 | 320.0/450.0 | 165.2
81 | 320.0/485.0 | 135.9
82 | 325.0/290.0 | 93.51
83 | 325.0/365.0 | 394.6
84 | 325.0/385.0 | 252.5
85 | 325.0/465.0 | 153
86 | 330.0/270.0 | 66.28
87 | 330.0/375.0 | 355
88 | 330.0/400.0 | 243.3
89 | 330.0/435.0 | 188.2
90 | 330.0/445.0 | 167.5
91 | 330.0/460.0 | 146
92 | 335.0/265.0 | 71.69
93 | 335.0/300.0 | 101.4
94 | 335.0/380.0 | 371.4
95 | 335.0/410.0 | 217.7
96 | 335.0/425.0 | 219.9
97 | 335.0/455.0 | 176.1
98 | 335.0/470.0 | 151.6
99 | 335.0/495.0 | 113.5
100 | 340.0/270.0 | 77.57
101 | 340.0/385.0 | 388
102 | 340.0/405.0 | 218.2
103 | 340.0/450.0 | 163.3
104 | 340.0/485.0 | 107
105 | 345.0/280.0 | 59.95
106 | 345.0/390.0 | 351.6
107 | 345.0/470.0 | 136.8
108 | 350.0/295.0 | 73.6
109 | 350.0/400.0 | 277.5
110 | 350.0/415.0 | 177.2
111 | 350.0/460.0 | 124.3
112 | 350.0/480.0 | 125.8
113 | 355.0/275.0 | 64.5
114 | 355.0/405.0 | 241.8
115 | 355.0/430.0 | 143.2
116 | 355.0/445.0 | 133
117 | 360.0/280.0 | 56.9
118 | 360.0/410.0 | 234.7
119 | 360.0/460.0 | 117
120 | 360.0/475.0 | 99.12
121 | 365.0/255.0 | 59.88
122 | 365.0/285.0 | 50.53
123 | 365.0/415.0 | 255.6
124 | 370.0/260.0 | 57.74
125 | 370.0/480.0 | 94.34
126 | 375.0/270.0 | 47.67
127 | 375.0/285.0 | 44.68
128 | 375.0/295.0 | 47.13
129 | 375.0/310.0 | 49.38
130 | 375.0/430.0 | 162.9
131 | 375.0/455.0 | 93.34
132 | 375.0/465.0 | 92.42
133 | 380.0/275.0 | 43.37
134 | 380.0/300.0 | 45.91
135 | 380.0/435.0 | 173.1
136 | 380.0/480.0 | 80
137 | 385.0/270.0 | 51.47
138 | 385.0/320.0 | 37.87
139 | 385.0/445.0 | 129.5
140 | 390.0/280.0 | 39.13
141 | 390.0/305.0 | 40.46
142 | 390.0/450.0 | 116.8
143 | 390.0/475.0 | 58.36
144 | 395.0/260.0 | 36.56
145 | 395.0/455.0 | 94.56
146 | 400.0/280.0 | 37.79
147 | 400.0/315.0 | 29.71
148 | 400.0/325.0 | 27.51
149 | 400.0/465.0 | 88.13
150 | 405.0/260.0 | 33.21
151 | 405.0/290.0 | 38.87
152 | 405.0/305.0 | 27.4
153 | 405.0/365.0 | 41.52
154 | 405.0/470.0 | 80.22
155 | 410.0/295.0 | 32.04
156 | 410.0/315.0 | 24.1
157 | 410.0/340.0 | 29.91
158 | 410.0/475.0 | 67.09
159 | 415.0/325.0 | 24.72
160 | 415.0/355.0 | 25.34
161 | 415.0/365.0 | 34.91
162 | 415.0/480.0 | 66.06
163 | 420.0/350.0 | 27.67
164 | 420.0/490.0 | 56.17
165 | 425.0/265.0 | 24.81
166 | 425.0/280.0 | 26.06
167 | 425.0/330.0 | 24.09
168 | 425.0/355.0 | 26.59
169 | 430.0/270.0 | 27.28
170 | 430.0/290.0 | 20.65
171 | 430.0/315.0 | 30.26
172 | 430.0/350.0 | 23.91
173 | 435.0/265.0 | 23.94
174 | 435.0/285.0 | 21.02
175 | 435.0/300.0 | 23.27
176 | 435.0/310.0 | 25.1
177 | 435.0/340.0 | 19.43
178 | 435.0/365.0 | 21.32
179 | 435.0/385.0 | 28.92
180 | 440.0/260.0 | 22.62
181 | 440.0/290.0 | 21.72
182 | 440.0/320.0 | 25.04
183 | 440.0/360.0 | 20.89
184 | 440.0/375.0 | 21.55
185 | 440.0/495.0 | 32.23
186 | 445.0/355.0 | 22.48
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 96.85 | 114.4 | 130.2 | 109.9 | 128 | 3730 | 9999.9 | 3485 | 99.02 | 112.3 | 85.58 | 105.1 | 87.96 | 70.66 | 84.49 | 79.3 | 85.04 | 72.85 | 47.56 | 70.59 | 59.77 | 53.19 | 37.68 | 67.1 | 46.7 | 53.51 | 49.85 | 55.35 | 61.43 | 59.39 | 50.76 | 57.09 | 35.66 | 39.31 | 36.66 | 33.45 | 27.12 | 31.25 | 28.33 | 28.59 | 24.49 | 22.2 | 21.14 | 17.61 | 13.06 | 12.79 | 12.22
255 | 70.01 | 155.5 | 108.5 | 133.1 | 126.2 | 347.3 | 2808 | 9999.9 | 7190 | 394.5 | 101.4 | 122.5 | 86.68 | 115.6 | 78.88 | 81.88 | 90.24 | 85.66 | 77.72 | 74.82 | 74.16 | 48.83 | 54.91 | 50.61 | 72.86 | 52.51 | 55.27 | 49.38 | 56.96 | 59.88 | 50.87 | 51.76 | 37.93 | 33.12 | 35.53 | 29.39 | 41.89 | 30.1 | 29.14 | 28.13 | 22.45 | 24.78 | 19.83 | 17.39 | 14.52 | 13.13 | 13.74
260 | 121.5 | 114.3 | 120.2 | 139.7 | 198.8 | 131 | 289.5 | 3844 | 9999.9 | 9457 | 430.2 | 115.6 | 79.57 | 87.58 | 81.89 | 96.05 | 61.19 | 99.05 | 77.93 | 78.29 | 57.95 | 63.79 | 53.12 | 58.04 | 56.74 | 46.94 | 50.29 | 43.63 | 45.41 | 50.37 | 57.74 | 38.82 | 43.11 | 30.11 | 32.55 | 36.56 | 26.62 | 33.21 | 31.25 | 28.29 | 24.49 | 21.47 | 22.67 | 19.72 | 22.62 | 19.02 | 13.44
265 | 108.1 | 118.1 | 121.6 | 92.42 | 150.6 | 114.5 | 108.3 | 359.4 | 4837 | 9999.9 | 9999.9 | 450.8 | 121 | 100.9 | 53.56 | 75.74 | 71.59 | 74.75 | 81.6 | 80.56 | 80.18 | 65.43 | 65.55 | 71.69 | 66.42 | 59.56 | 57.18 | 56.45 | 44.53 | 45.06 | 53.33 | 43.91 | 43.15 | 47.12 | 37.45 | 31.27 | 30 | 32.71 | 28.49 | 27.29 | 22.12 | 24.81 | 21.14 | 23.94 | 18.49 | 18.78 | 13.77
270 | 147 | 110.1 | 107.2 | 129.4 | 127.3 | 162 | 137.4 | 120.3 | 393.3 | 5963 | 9999.9 | 9999.9 | 756.4 | 106.7 | 117.9 | 79.03 | 114.3 | 95.96 | 97.57 | 78.63 | 60.13 | 59.9 | 66.28 | 47.93 | 77.57 | 62.63 | 46.55 | 44.88 | 48.8 | 38.32 | 46.48 | 47.67 | 33.43 | 51.47 | 39.43 | 32.02 | 25.95 | 21.2 | 25.47 | 26.96 | 20.87 | 18.37 | 27.28 | 18.27 | 16.58 | 17.17 | 17
275 | 131.7 | 118.9 | 136.2 | 100.1 | 164 | 148.8 | 124.6 | 166.1 | 104.2 | 484.3 | 8197 | 9999.9 | 9999.9 | 720.8 | 115.9 | 115.9 | 107.6 | 78.57 | 97.8 | 64.74 | 61.26 | 76.87 | 53.82 | 61.56 | 68.19 | 55.73 | 46.5 | 64.5 | 48.78 | 44.12 | 44 | 35.67 | 43.37 | 35.24 | 31.77 | 27.87 | 26.19 | 23.56 | 22.08 | 27.85 | 25.28 | 23.27 | 22.02 | 22.71 | 18.77 | 13.34 | 12.6
280 | 110.5 | 131.9 | 129.7 | 121.2 | 86.53 | 113.7 | 110.7 | 155.6 | 134.4 | 161.6 | 627.5 | 9999.9 | 9999.9 | 9999.9 | 1013 | 137.1 | 118.5 | 75.9 | 88.73 | 113.2 | 71.86 | 75.64 | 68.53 | 55.97 | 51.3 | 59.95 | 47.58 | 53.74 | 56.9 | 49.14 | 49.06 | 36.8 | 30.96 | 35.3 | 39.13 | 35.68 | 37.79 | 27.62 | 28.88 | 24.29 | 23.8 | 26.06 | 15.65 | 16.07 | 16.56 | 15.3 | 14.67
285 | 114.7 | 123.1 | 99.96 | 126.4 | 119.3 | 138.9 | 114.5 | 131.8 | 148.2 | 119.1 | 190.6 | 793.9 | 9999.9 | 9999.9 | 9999.9 | 1072 | 112 | 145.3 | 106.9 | 83.03 | 98.77 | 91.9 | 58.41 | 61.42 | 57.98 | 51.47 | 53.48 | 35.34 | 49.97 | 50.53 | 32.97 | 44.68 | 30.56 | 26.12 | 27.26 | 33.08 | 35.46 | 32.97 | 23.4 | 19.95 | 19.07 | 24.88 | 19.92 | 21.02 | 19.34 | 26.27 | 14.13
290 | 119.1 | 139.6 | 173.5 | 146.6 | 142.1 | 112.1 | 158.4 | 129.4 | 163.4 | 262.1 | 195.2 | 252.6 | 903.4 | 9999.9 | 9999.9 | 9999.9 | 1187 | 132.9 | 122.2 | 100.5 | 87.31 | 93.51 | 91.43 | 81.15 | 38.21 | 54.19 | 65.78 | 44.85 | 45.77 | 40.49 | 37.08 | 38.49 | 33.61 | 30.47 | 26.81 | 25.06 | 27.28 | 38.87 | 26.18 | 32.25 | 19.25 | 17.33 | 20.65 | 17.6 | 21.72 | 17.46 | 17.39
295 | 114.4 | 134.4 | 142 | 166.7 | 141.4 | 155.2 | 129.9 | 136.1 | 176.7 | 184 | 380.8 | 391.1 | 482.1 | 1129 | 9999.9 | 9999.9 | 9999.9 | 1339 | 185.4 | 119.6 | 107.4 | 77.73 | 90.79 | 74.84 | 70.42 | 64.23 | 73.6 | 50.75 | 51.28 | 44.99 | 37.64 | 47.13 | 33.79 | 34.58 | 37.05 | 21.67 | 22.68 | 29.26 | 32.04 | 28.04 | 19.05 | 15.7 | 18.01 | 21.56 | 20.98 | 17.67 | 15.01
300 | 88.65 | 205.4 | 169.7 | 162.5 | 227.2 | 147.3 | 211 | 228 | 225.2 | 293.4 | 527.8 | 779.7 | 736.1 | 883.4 | 1309 | 9999.9 | 9999.9 | 9999.9 | 1309 | 147.6 | 125.5 | 74.4 | 84.03 | 101.4 | 64.14 | 74.48 | 54.49 | 63.15 | 50.11 | 43.04 | 46.15 | 35.73 | 45.91 | 31.93 | 35.23 | 22.19 | 19.86 | 23.5 | 27.79 | 29.34 | 28.59 | 21.17 | 20.31 | 23.27 | 18.77 | 22.79 | 19.43
305 | 166.3 | 209.1 | 209.1 | 233.8 | 216.4 | 205.4 | 173.4 | 226.4 | 339.6 | 448.5 | 554.8 | 1029 | 1218 | 1159 | 1050 | 1304 | 9999.9 | 9999.9 | 9999.9 | 1175 | 152 | 118.6 | 85.16 | 84.12 | 82.79 | 79.53 | 61.85 | 65.51 | 44.47 | 49.28 | 36.79 | 45.51 | 40.89 | 31.77 | 40.46 | 18.25 | 24.35 | 27.4 | 22.36 | 23.1 | 26.84 | 22.63 | 18.8 | 20.61 | 16.15 | 23.25 | 21.21
310 | 180.1 | 266.5 | 272.4 | 287.8 | 237.6 | 182.8 | 204.6 | 286.2 | 295.1 | 566 | 739.8 | 1136 | 1672 | 1639 | 1414 | 959 | 1170 | 9999.9 | 9999.9 | 9999.9 | 1565 | 162.5 | 95.19 | 83.28 | 90.86 | 90.22 | 55.66 | 57.88 | 51.98 | 45.73 | 41.66 | 49.38 | 42.91 | 44.1 | 37.63 | 26.8 | 24.11 | 22.63 | 21.05 | 23.72 | 22.83 | 21.58 | 21.62 | 25.1 | 20.35 | 18.11 | 19.61
315 | 188.1 | 336.5 | 332 | 349.2 | 298 | 167 | 253.8 | 307.4 | 397.2 | 619.1 | 959.3 | 1335 | 1977 | 2134 | 2238 | 1319 | 707.5 | 1005 | 9999.9 | 9999.9 | 9999.9 | 1393 | 139.7 | 126.8 | 90 | 89.6 | 65.32 | 61.1 | 59.7 | 55.99 | 56.77 | 42.07 | 43.25 | 32.27 | 30.8 | 24.64 | 29.71 | 20.69 | 24.1 | 21.89 | 22.33 | 22.75 | 30.26 | 23.47 | 20.91 | 19.55 | 16.95
320 | 181.4 | 326.6 | 474.7 | 351.5 | 263.2 | 214.7 | 241.8 | 377.8 | 497.6 | 685 | 943 | 1829 | 2097 | 2481 | 2407 | 1552 | 869 | 458.6 | 907.7 | 9999.9 | 9999.9 | 9999.9 | 1282 | 144.8 | 158.7 | 91.75 | 81.13 | 60.78 | 70.07 | 54.41 | 54.01 | 47.28 | 34.56 | 37.87 | 32.63 | 24.25 | 25.52 | 21.54 | 21.65 | 19.07 | 18.72 | 21.29 | 22.99 | 24.4 | 25.04 | 19.33 | 18.02
325 | 179 | 292.8 | 468.7 | 369.3 | 320.2 | 282.1 | 294.9 | 354.6 | 470.8 | 722.4 | 1201 | 1878 | 2216 | 3011 | 2585 | 2217 | 943.5 | 479.3 | 305 | 897.2 | 9999.9 | 9999.9 | 9999.9 | 1399 | 165 | 148.7 | 93.68 | 69.08 | 79.68 | 46.28 | 53.86 | 45.95 | 46.77 | 31.59 | 25.82 | 20.29 | 27.51 | 22.44 | 20.28 | 24.72 | 22.01 | 21.45 | 20.29 | 21.39 | 21.31 | 25.93 | 19.61
330 | 202.3 | 311.6 | 415.1 | 448.4 | 283.5 | 245.9 | 233.4 | 377.3 | 578.1 | 866.7 | 1315 | 1973 | 2363 | 2615 | 2499 | 1970 | 1080 | 414.1 | 223.4 | 217.9 | 868.9 | 9999.9 | 9999.9 | 9999.9 | 1338 | 155.5 | 146.1 | 80.65 | 62.58 | 60.24 | 62.52 | 48.3 | 42.48 | 31.62 | 27.43 | 20.65 | 25.04 | 22.26 | 18.34 | 20.56 | 20.53 | 24.09 | 20.82 | 17.62 | 21.42 | 19.72 | 16.66
335 | 212 | 387.8 | 394.8 | 442.1 | 371.1 | 244.3 | 270.3 | 386.7 | 543.5 | 859.8 | 1272 | 1729 | 2581 | 2679 | 2661 | 1889 | 1141 | 502.7 | 241.1 | 179.8 | 229.3 | 832 | 9999.9 | 9999.9 | 9999.9 | 1344 | 141.7 | 107.9 | 98.97 | 64.69 | 55.41 | 45.89 | 39.01 | 43.42 | 29.14 | 34.25 | 28.49 | 25.08 | 26.04 | 17.64 | 21.1 | 21.25 | 17.48 | 15.48 | 15.77 | 21.36 | 20.89
340 | 201.7 | 313.4 | 399 | 349.9 | 325.7 | 227.7 | 234.6 | 356.9 | 467.8 | 762.8 | 1350 | 1965 | 2425 | 2520 | 2792 | 1831 | 1003 | 730.6 | 266.5 | 192.4 | 160 | 195.3 | 843.4 | 9999.9 | 9999.9 | 9999.9 | 1358 | 156.1 | 100.6 | 81.79 | 85.51 | 60.88 | 42.72 | 48.13 | 34.19 | 37.12 | 25.49 | 24.51 | 29.91 | 25.37 | 21.71 | 18.77 | 17.96 | 19.43 | 15.98 | 20.84 | 21.23
345 | 186.3 | 261.6 | 406 | 303.6 | 218.4 | 270.7 | 248.2 | 335.1 | 485.8 | 711.8 | 1359 | 1742 | 2097 | 2606 | 2303 | 1732 | 796.4 | 513.3 | 412 | 226.4 | 143.1 | 135.5 | 224.8 | 858 | 9999.9 | 9999.9 | 9999.9 | 1097 | 154.2 | 95.4 | 83.93 | 57.79 | 53.69 | 45.66 | 42.36 | 27.66 | 29.5 | 29.99 | 27.22 | 26.4 | 25.28 | 20.21 | 15.68 | 15.01 | 16.7 | 20.7 | 20.35
350 | 177.7 | 315.6 | 330.1 | 298 | 200.4 | 214.5 | 279.8 | 328.1 | 445.7 | 702.3 | 1003 | 1375 | 1836 | 2196 | 2258 | 1496 | 808.2 | 394.7 | 366 | 334.6 | 163.3 | 131.2 | 142.7 | 235 | 861.6 | 9999.9 | 9999.9 | 9999.9 | 1113 | 147 | 119.8 | 92.84 | 67.49 | 42.51 | 47.56 | 31.63 | 30.7 | 31.06 | 26.32 | 23.41 | 27.67 | 18.79 | 23.91 | 19.8 | 19.29 | 17.33 | 13.7
355 | 189.9 | 214.8 | 300.8 | 317.3 | 251.8 | 223.3 | 229.9 | 296.2 | 357.4 | 634.6 | 912.4 | 1268 | 1694 | 2110 | 1784 | 1399 | 667.2 | 409.7 | 258.9 | 364.4 | 304.6 | 139.9 | 131.5 | 149.3 | 198 | 855.2 | 9999.9 | 9999.9 | 9999.9 | 1053 | 140.9 | 87.8 | 65.71 | 52.86 | 36.74 | 37.01 | 34.26 | 27.2 | 23.73 | 25.34 | 22.99 | 26.59 | 18.37 | 20.4 | 20.07 | 22.48 | 16.39
360 | 203.6 | 274.5 | 347.6 | 227.4 | 258.1 | 185.5 | 137.5 | 257.9 | 310.9 | 501.4 | 742.9 | 1051 | 1390 | 1570 | 1492 | 1131 | 578.7 | 339.7 | 191.1 | 188 | 372.9 | 271.6 | 164.8 | 127.5 | 166.5 | 215.4 | 812.1 | 9999.9 | 9999.9 | 9999.9 | 1047 | 113.2 | 82.61 | 60.82 | 50.25 | 43.96 | 24.99 | 29 | 30.72 | 22.86 | 20.49 | 20.07 | 15.44 | 16.66 | 20.89 | 15.05 | 11.77
365 | 196.8 | 266.3 | 256.6 | 282.7 | 240.3 | 133.9 | 171.2 | 210.5 | 280.5 | 434.8 | 733.8 | 878.3 | 1243 | 1368 | 1341 | 1030 | 490.5 | 316.5 | 175.8 | 144.7 | 238.8 | 394.6 | 209.2 | 169.2 | 137.9 | 188 | 184.4 | 823.4 | 9999.9 | 9999.9 | 9999.9 | 850.9 | 106.7 | 77.86 | 52.3 | 43.79 | 33.94 | 41.52 | 29.27 | 34.91 | 26.46 | 19.95 | 16.52 | 21.32 | 16.12 | 21.19 | 17.42
370 | 167.1 | 215 | 255.2 | 231 | 199.9 | 152.5 | 157.8 | 203.3 | 308 | 385.8 | 560.7 | 787.1 | 1086 | 1250 | 1131 | 807.2 | 508.8 | 276.8 | 186 | 193.3 | 156 | 313.8 | 351.9 | 225.6 | 143.6 | 134.6 | 130.2 | 196 | 847.3 | 9999.9 | 9999.9 | 9999.9 | 756.4 | 100.2 | 80.66 | 47.1 | 43.52 | 34.27 | 33.51 | 26.07 | 25.78 | 25.67 | 18.06 | 21.26 | 19.53 | 16.24 | 14.23
375 | 158.9 | 177.1 | 245.6 | 188.4 | 169.8 | 150 | 138.3 | 212.2 | 228.2 | 360.9 | 524.6 | 636.3 | 889.4 | 1049 | 1016 | 649.1 | 419 | 286 | 200.7 | 172.5 | 204.2 | 220.1 | 355 | 331.8 | 203.9 | 127.3 | 135.1 | 157.1 | 181.8 | 856.1 | 9999.9 | 9999.9 | 9999.9 | 719.4 | 91.74 | 77.41 | 48.75 | 37.62 | 32.12 | 26.58 | 25.19 | 21.16 | 20.17 | 20.36 | 21.55 | 18.31 | 15.45
380 | 187.4 | 166.1 | 191.4 | 210.6 | 168.9 | 203.2 | 165.6 | 188 | 196.4 | 394.8 | 413.6 | 555.8 | 724.4 | 823.1 | 801.5 | 614.9 | 374.6 | 260.8 | 197.9 | 178.7 | 213.4 | 210.1 | 230.8 | 371.4 | 277.3 | 170.8 | 125.9 | 132 | 132.2 | 186.6 | 811.2 | 9999.9 | 9999.9 | 9999.9 | 654.3 | 96.7 | 69.45 | 45.72 | 36.41 | 33.51 | 25.02 | 25.4 | 24.15 | 18.72 | 19.12 | 16.28 | 14.58
385 | 151.4 | 164.2 | 171.2 | 177.3 | 187.1 | 153.3 | 184.2 | 192.7 | 221.6 | 266.6 | 353.8 | 569.3 | 643.1 | 653.5 | 652.6 | 508.2 | 388.4 | 218 | 209.4 | 172.3 | 186.9 | 252.5 | 226 | 260 | 388 | 230.3 | 127.7 | 128.5 | 123.6 | 104.6 | 188.5 | 838.9 | 9999.9 | 9999.9 | 9999.9 | 574.8 | 77.89 | 66.32 | 50.72 | 36.34 | 30.55 | 23.88 | 24.33 | 28.92 | 21.88 | 18.6 | 18.03
390 | 177.2 | 190.4 | 152 | 194.3 | 144.4 | 139.2 | 119.5 | 172.6 | 204.2 | 193.5 | 327.9 | 405.8 | 478.4 | 542.9 | 556.4 | 453.5 | 309.9 | 203 | 175.2 | 194.5 | 229.5 | 202.3 | 183.3 | 215 | 280.6 | 351.6 | 180.7 | 125.6 | 129.4 | 102.6 | 92.82 | 161.9 | 797.9 | 9999.9 | 9999.9 | 9999.9 | 605 | 87.7 | 63.06 | 47.48 | 34.66 | 26.7 | 24.46 | 20.71 | 20.91 | 18.83 | 17.73
395 | 163 | 149.8 | 154.9 | 170.8 | 159.1 | 141.8 | 128.1 | 160.8 | 156.8 | 187.2 | 237 | 328.5 | 420.9 | 471.8 | 417.1 | 454.3 | 285.4 | 235.8 | 203.9 | 187.4 | 235.7 | 223.1 | 214 | 197.9 | 202.5 | 321.1 | 264.3 | 157 | 121.9 | 102.3 | 93.81 | 103.9 | 152.2 | 816.2 | 9999.9 | 9999.9 | 9999.9 | 477.1 | 82.49 | 60.8 | 40.23 | 27.6 | 26.35 | 22.47 | 24.13 | 21.53 | 19.33
400 | 122.4 | 64.82 | 195.8 | 142.1 | 166.4 | 151 | 104.4 | 127.1 | 173.7 | 163.4 | 198.6 | 328.9 | 419.7 | 470.9 | 379.5 | 350.7 | 279.9 | 188 | 225.5 | 180.9 | 232.2 | 237.7 | 243.3 | 217.6 | 189.7 | 184.8 | 277.5 | 237.9 | 118.9 | 110.3 | 105.2 | 95.52 | 101.8 | 143.5 | 769.4 | 9999.9 | 9999.9 | 9999.9 | 407.9 | 68.75 | 48.57 | 32.03 | 34.51 | 26.21 | 27.01 | 18.6 | 13.4
405 | 115 | 120.3 | 229.3 | 115.4 | 135.8 | 177 | 101.1 | 146.9 | 224.7 | 182.6 | 199.1 | 292.9 | 306.7 | 369.4 | 366.8 | 300.8 | 190.5 | 198.6 | 212.3 | 174.7 | 193 | 206.8 | 207 | 213.1 | 218.2 | 189.3 | 195.7 | 241.8 | 199 | 117 | 96.57 | 86 | 88.33 | 83.66 | 131.5 | 767.1 | 9999.9 | 9999.9 | 9999.9 | 432.4 | 69.89 | 54.49 | 43.18 | 25.24 | 26.59 | 23.36 | 21.36
410 | 95.81 | 115.8 | 145 | 156.4 | 133.2 | 134.4 | 148.6 | 157.6 | 164.5 | 109.9 | 212.2 | 231 | 210 | 311.2 | 251.8 | 236.8 | 202.2 | 216.5 | 179.4 | 190.8 | 234.1 | 205.5 | 203.8 | 217.7 | 161.3 | 176.9 | 142.3 | 176.1 | 234.7 | 173.7 | 82.13 | 87.98 | 82.36 | 69.53 | 80.25 | 122.1 | 766.1 | 9999.9 | 9999.9 | 9999.9 | 348.8 | 61.39 | 52.65 | 37.47 | 32.32 | 20.46 | 17
415 | 132.8 | 100.3 | 150.8 | 168.5 | 157.2 | 158.2 | 138.4 | 98.21 | 117.2 | 183.5 | 179.3 | 219.9 | 217.3 | 306.6 | 232.4 | 238.1 | 196.8 | 183.3 | 202.6 | 202.3 | 192.2 | 160.7 | 202.1 | 215.5 | 190.4 | 161.3 | 177.2 | 151.1 | 221.6 | 255.6 | 124.3 | 96.19 | 87.11 | 74.8 | 66.94 | 66.87 | 129.6 | 769.4 | 9999.9 | 9999.9 | 9999.9 | 378.7 | 66.71 | 46.49 | 26.2 | 23.36 | 21.15
420 | 143.7 | 137.5 | 168.2 | 157.5 | 199.6 | 146.6 | 133.3 | 134.8 | 131.3 | 143.7 | 161 | 209.7 | 198.7 | 257.6 | 234.2 | 228.5 | 199.8 | 197.8 | 199.3 | 182.4 | 191.8 | 160.6 | 202.8 | 187.6 | 161.3 | 149.8 | 118.7 | 133.7 | 134 | 229.1 | 219.8 | 114.8 | 104.6 | 68.08 | 57.22 | 60.06 | 80.96 | 108.1 | 744.8 | 9999.9 | 9999.9 | 9999.9 | 337.5 | 53.16 | 48.19 | 27.64 | 23.09
425 | 144.7 | 180.2 | 156.7 | 152.9 | 144.6 | 119.9 | 137.7 | 142.2 | 118.4 | 172.3 | 140.4 | 214.1 | 205.4 | 218.7 | 207.4 | 195 | 161.1 | 160.2 | 182.3 | 193.1 | 195.5 | 189.9 | 191.8 | 219.9 | 172.5 | 163.6 | 166 | 112.8 | 114.3 | 117 | 196.1 | 134.4 | 93.61 | 67.32 | 70.02 | 53.91 | 58.87 | 56.36 | 102 | 756.5 | 9999.9 | 9999.9 | 9999.9 | 280.6 | 59.23 | 35.38 | 23.61
430 | 237.2 | 146.6 | 134.6 | 127 | 114.3 | 201.7 | 131 | 119.4 | 111.4 | 144.7 | 109 | 178.6 | 175.1 | 208.5 | 190.4 | 183.7 | 145.1 | 168.8 | 123.5 | 167.9 | 212.8 | 177.2 | 172.5 | 159.7 | 161.7 | 151.9 | 119.3 | 143.2 | 114 | 94.42 | 122.6 | 162.9 | 118.3 | 55.85 | 62.23 | 50.09 | 55.52 | 49.21 | 67.24 | 107.6 | 747.3 | 9999.9 | 9999.9 | 9999.9 | 300.2 | 51.5 | 41.03
435 | 402.5 | 175.6 | 221.4 | 138.8 | 149.8 | 195.1 | 145.6 | 155.8 | 131.5 | 141.1 | 155.1 | 178.9 | 186.4 | 202.5 | 222.7 | 149.7 | 164.4 | 158.6 | 141 | 173.2 | 167.1 | 148.9 | 188.2 | 157 | 143.8 | 146.8 | 142.9 | 120.6 | 98.32 | 100.5 | 92.29 | 145.6 | 173.1 | 78.49 | 60.73 | 50.17 | 51.69 | 37.27 | 57.64 | 52.26 | 104.8 | 755.9 | 9999.9 | 9999.9 | 9999.9 | 269.2 | 53.33
440 | 388.7 | 235.8 | 165.5 | 150.5 | 152.9 | 151 | 151.9 | 109.5 | 112 | 137.6 | 129 | 175.5 | 194.2 | 174.2 | 154.8 | 170 | 171.6 | 150.7 | 147.2 | 131.3 | 145.1 | 137.5 | 142.3 | 145.3 | 148.4 | 139.4 | 122.4 | 112.3 | 107.4 | 92.46 | 80.73 | 90.67 | 136.5 | 127.3 | 70.35 | 61.42 | 41.61 | 46.38 | 43 | 43.86 | 56.68 | 100.8 | 734.3 | 9999.9 | 9999.9 | 9999.9 | 236.7
445 | 311.3 | 632.7 | 158.8 | 125 | 123.3 | 167.4 | 142.1 | 111.9 | 148.3 | 112.7 | 120.7 | 165.4 | 186.7 | 160.6 | 252.3 | 158.6 | 170.3 | 169.6 | 159.6 | 133.4 | 152.5 | 160.1 | 167.5 | 149.2 | 129.3 | 139.3 | 122.7 | 133 | 110.9 | 92.12 | 78.88 | 88.13 | 97.91 | 129.5 | 95.43 | 55.55 | 49.37 | 42.99 | 39.67 | 46.44 | 42.98 | 51.62 | 102.7 | 738.1 | 9999.9 | 9999.9 | 9999.9
450 | 110.5 | 719.7 | 403.3 | 161.7 | 137 | 135.2 | 164.4 | 142.9 | 121.2 | 131 | 103.3 | 133.5 | 132.6 | 182.9 | 168.5 | 163.2 | 141.4 | 158 | 125.1 | 128.8 | 165.2 | 130.4 | 149.2 | 133.5 | 163.3 | 141.9 | 121.8 | 117.9 | 97.94 | 100.1 | 90.35 | 86.66 | 64.92 | 86.95 | 116.8 | 74.04 | 46.7 | 50.22 | 44.6 | 39.78 | 38.59 | 44.21 | 42.87 | 100.3 | 727.9 | 9999.9 | 9999.9
455 | 164.9 | 579.9 | 1032 | 189.1 | 136.9 | 201 | 108.9 | 114.5 | 105.7 | 116.1 | 127.1 | 156.1 | 151 | 180.8 | 191.8 | 126.5 | 168.6 | 116 | 136.3 | 130.7 | 131.7 | 140.5 | 130.4 | 176.1 | 141.8 | 120.1 | 101.5 | 88.65 | 93.97 | 90.34 | 74.52 | 93.34 | 73.95 | 60.22 | 88.28 | 94.56 | 58 | 40.36 | 38.28 | 36.44 | 36.41 | 38.54 | 41.92 | 37.72 | 90.09 | 731.9 | 9999.9
460 | 133.1 | 200.4 | 1157 | 555.4 | 120.7 | 145.2 | 132.2 | 105.6 | 135.4 | 112.2 | 169.1 | 118.7 | 100.2 | 140 | 174.9 | 131.3 | 191.4 | 123.7 | 122.7 | 150.5 | 110.3 | 119.1 | 146 | 115 | 139 | 101.4 | 124.3 | 107.7 | 117 | 83.03 | 78.09 | 73.65 | 75.3 | 58.73 | 55.3 | 92.45 | 82.92 | 50.81 | 39.01 | 30.76 | 37.05 | 31.33 | 35.76 | 38.21 | 34.27 | 82.37 | 705.6
465 | 188.6 | 183.8 | 857.3 | 1566 | 291.4 | 176.7 | 128.9 | 71.2 | 106.6 | 106.7 | 140 | 134.9 | 179.7 | 188 | 155.1 | 127.8 | 123.1 | 137.6 | 123.8 | 126.1 | 146.6 | 153 | 117.8 | 146.5 | 125.3 | 114.4 | 97.84 | 97.05 | 94.07 | 87.33 | 87.13 | 92.42 | 63.79 | 56.75 | 59.73 | 62.29 | 88.13 | 55.28 | 42.37 | 36.87 | 38.35 | 28.09 | 32.63 | 34.39 | 33.01 | 40.6 | 86.32
470 | 166.4 | 131.1 | 291.4 | 2051 | 849.7 | 137.7 | 137.7 | 120.9 | 187.7 | 141.6 | 118.8 | 130.4 | 153.7 | 133.8 | 140.4 | 126.6 | 136.9 | 139.3 | 154.7 | 109.9 | 127.5 | 128.1 | 119.7 | 151.6 | 111.6 | 136.8 | 131.4 | 101.6 | 96.89 | 93.28 | 93.72 | 76.71 | 65.65 | 48.56 | 45.48 | 42.81 | 70.87 | 80.22 | 47.76 | 39.69 | 39.68 | 29.76 | 30.14 | 34.14 | 31.74 | 36.67 | 37.38
475 | 146.4 | 129.1 | 159.1 | 1174 | 2221 | 210.8 | 182.1 | 96.63 | 117.6 | 115.9 | 141.3 | 101.5 | 117.9 | 131.9 | 143 | 127 | 123.3 | 154.9 | 132.7 | 124.1 | 122.5 | 109.3 | 125.5 | 126.8 | 81.48 | 108.8 | 113.2 | 79.42 | 99.12 | 74.08 | 89.4 | 80.91 | 52.61 | 47.76 | 58.36 | 43.5 | 47.51 | 66.82 | 67.09 | 44.41 | 32.91 | 31.85 | 26.33 | 30.56 | 31.56 | 26.59 | 33.75
480 | 134.4 | 144.9 | 140.9 | 369.1 | 2504 | 1107 | 139.2 | 111.3 | 133.4 | 132.1 | 107.3 | 110.7 | 161.8 | 115.2 | 139.8 | 120.8 | 108.3 | 133 | 111.6 | 137.1 | 113.7 | 117.5 | 89.06 | 120.3 | 85.8 | 94.96 | 125.8 | 93.82 | 74.4 | 73.7 | 94.34 | 59.36 | 80 | 58.55 | 48.04 | 44.44 | 40.71 | 38.44 | 59.42 | 66.06 | 39.57 | 34.4 | 32.23 | 28.58 | 20.64 | 24.4 | 23.55
485 | 136.4 | 144.9 | 196.7 | 177.4 | 1764 | 3244 | 253.6 | 113.6 | 91.03 | 144.6 | 124.4 | 111.8 | 119.2 | 135.2 | 109.9 | 132.7 | 101.4 | 99.12 | 106.8 | 111.2 | 135.9 | 111.7 | 94.83 | 101.8 | 107 | 100.9 | 115.4 | 92.3 | 71.12 | 73.75 | 60.95 | 61.05 | 69.58 | 44.48 | 45.11 | 36.02 | 36.45 | 30.92 | 48.74 | 58.2 | 44.9 | 41.28 | 25.93 | 23.63 | 24.71 | 27.96 | 22.19
490 | 152.1 | 182.5 | 139.3 | 143.8 | 460.5 | 3420 | 1180 | 111.5 | 101.6 | 110.8 | 128.5 | 155.7 | 155.6 | 109.4 | 115.4 | 120.4 | 108.3 | 137.2 | 112.6 | 127.3 | 130.3 | 118.3 | 106.3 | 100 | 101.4 | 88.7 | 87.11 | 100.1 | 99.37 | 76.26 | 78.55 | 70.37 | 66.49 | 43.32 | 42.48 | 35.85 | 36.06 | 33.77 | 32.44 | 48.76 | 56.17 | 35.85 | 30.73 | 24.9 | 29.84 | 23 | 20.8
495 | 125.9 | 135.4 | 115.8 | 182.3 | 167.3 | 1922 | 2917 | 192.4 | 111.7 | 94.47 | 144.3 | 139.5 | 115.7 | 113.5 | 129.6 | 113.4 | 134.7 | 98.44 | 101 | 94.12 | 100.9 | 112.9 | 111.6 | 113.5 | 101.5 | 74.17 | 95.38 | 95.15 | 85.73 | 60.84 | 75.86 | 59.62 | 56.2 | 42 | 57.54 | 36.42 | 38.61 | 30.99 | 34.65 | 38.12 | 50.87 | 53.41 | 33.94 | 25.55 | 32.23 | 28.63 | 25.28
500 | 132.5 | 138.2 | 121.4 | 133.1 | 154.6 | 737.4 | 3700 | 788 | 167.3 | 93.42 | 128.8 | 162.6 | 117.6 | 101.1 | 119.5 | 123.9 | 135.6 | 118 | 131.1 | 128.9 | 114.5 | 101.6 | 113.9 | 84.29 | 89.45 | 89.49 | 91 | 100.3 | 74.93 | 66.98 | 67.8 | 65.41 | 60.59 | 57.17 | 43.07 | 37 | 41.42 | 38.04 | 38.84 | 28.51 | 38.35 | 42.9 | 46.72 | 29.48 | 25.35 | 32.56 | 26.09