## Sheet1
Report date: | 14:56:51, 04/17/2024
Sample: | 1
File name:
Run date: | 14:54:05, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/255.0 | 45.76
2 | 225.0/285.0 | 86.53
3 | 225.0/395.0 | 144.5
4 | 230.0/270.0 | 37.26
5 | 230.0/300.0 | 229
6 | 230.0/320.0 | 445.4
7 | 230.0/330.0 | 603.2
8 | 230.0/340.0 | 545.1
9 | 230.0/360.0 | 273.5
10 | 230.0/375.0 | 221.4
11 | 230.0/405.0 | 126.9
12 | 230.0/415.0 | 132.3
13 | 230.0/495.0 | 100.1
14 | 235.0/265.0 | 86.05
15 | 235.0/305.0 | 264.6
16 | 235.0/350.0 | 374
17 | 235.0/390.0 | 148.9
18 | 235.0/425.0 | 88.88
19 | 240.0/285.0 | 76.91
20 | 240.0/385.0 | 136
21 | 240.0/400.0 | 125.8
22 | 240.0/415.0 | 88.9
23 | 240.0/435.0 | 105.4
24 | 240.0/445.0 | 101.2
25 | 245.0/270.0 | 108.8
26 | 245.0/410.0 | 70.72
27 | 245.0/420.0 | 81.01
28 | 245.0/450.0 | 79.53
29 | 250.0/275.0 | 93.27
30 | 250.0/380.0 | 159.4
31 | 250.0/395.0 | 120.2
32 | 250.0/430.0 | 121.8
33 | 250.0/465.0 | 74.44
34 | 255.0/400.0 | 133.4
35 | 255.0/435.0 | 108.1
36 | 260.0/285.0 | 160.4
37 | 260.0/425.0 | 117.3
38 | 260.0/455.0 | 74.03
39 | 260.0/475.0 | 69.65
40 | 270.0/415.0 | 211.9
41 | 270.0/450.0 | 107.5
42 | 270.0/480.0 | 79.64
43 | 275.0/465.0 | 103.1
44 | 280.0/475.0 | 81.9
45 | 280.0/495.0 | 75.84
46 | 285.0/335.0 | 3226
47 | 285.0/425.0 | 233.8
48 | 285.0/440.0 | 167.2
49 | 285.0/465.0 | 104
50 | 290.0/260.0 | 46.89
51 | 290.0/460.0 | 115.3
52 | 290.0/475.0 | 85.85
53 | 295.0/440.0 | 135.3
54 | 295.0/480.0 | 77.51
55 | 300.0/275.0 | 54.51
56 | 300.0/485.0 | 69.53
57 | 305.0/255.0 | 31.71
58 | 305.0/445.0 | 113.7
59 | 305.0/465.0 | 109.3
60 | 305.0/480.0 | 78.17
61 | 305.0/490.0 | 100.2
62 | 310.0/265.0 | 29.03
63 | 310.0/420.0 | 135.9
64 | 310.0/455.0 | 115.9
65 | 310.0/495.0 | 72.62
66 | 315.0/460.0 | 107.6
67 | 320.0/285.0 | 38.36
68 | 320.0/360.0 | 308.2
69 | 320.0/400.0 | 118.8
70 | 320.0/425.0 | 124.6
71 | 320.0/450.0 | 97.35
72 | 320.0/475.0 | 74.28
73 | 320.0/490.0 | 72.24
74 | 325.0/365.0 | 326.7
75 | 325.0/405.0 | 92.35
76 | 325.0/435.0 | 112.8
77 | 325.0/455.0 | 94.9
78 | 325.0/470.0 | 83.06
79 | 325.0/485.0 | 73.47
80 | 330.0/280.0 | 30.51
81 | 330.0/295.0 | 44.32
82 | 330.0/375.0 | 274.3
83 | 330.0/410.0 | 106.6
84 | 335.0/265.0 | 29.63
85 | 335.0/405.0 | 104.1
86 | 335.0/420.0 | 107.4
87 | 335.0/435.0 | 107.2
88 | 335.0/465.0 | 73.99
89 | 340.0/280.0 | 29.53
90 | 340.0/385.0 | 250.1
91 | 340.0/425.0 | 91.42
92 | 340.0/445.0 | 107
93 | 340.0/485.0 | 59.59
94 | 345.0/255.0 | 26.48
95 | 345.0/390.0 | 241.8
96 | 345.0/415.0 | 90.78
97 | 345.0/475.0 | 71.24
98 | 350.0/270.0 | 22.16
99 | 350.0/300.0 | 29.43
100 | 350.0/400.0 | 214.6
101 | 350.0/420.0 | 86.62
102 | 350.0/440.0 | 84.61
103 | 350.0/465.0 | 78.56
104 | 355.0/265.0 | 16.83
105 | 355.0/320.0 | 33.44
106 | 355.0/405.0 | 208.7
107 | 355.0/430.0 | 82.23
108 | 355.0/455.0 | 90.96
109 | 355.0/485.0 | 57.91
110 | 360.0/290.0 | 19.42
111 | 360.0/305.0 | 19.79
112 | 360.0/410.0 | 188.7
113 | 365.0/275.0 | 15.21
114 | 365.0/320.0 | 33.01
115 | 365.0/395.0 | 67.69
116 | 365.0/415.0 | 180.6
117 | 365.0/460.0 | 69.75
118 | 365.0/485.0 | 51.32
119 | 370.0/310.0 | 15.78
120 | 370.0/455.0 | 62.99
121 | 370.0/470.0 | 56.81
122 | 375.0/430.0 | 132.6
123 | 380.0/270.0 | 25.64
124 | 380.0/315.0 | 16.35
125 | 380.0/435.0 | 104.3
126 | 385.0/290.0 | 16.25
127 | 385.0/440.0 | 111.7
128 | 385.0/490.0 | 34.1
129 | 390.0/275.0 | 20.11
130 | 390.0/300.0 | 13.13
131 | 390.0/450.0 | 87.95
132 | 395.0/255.0 | 16.88
133 | 395.0/280.0 | 18.62
134 | 395.0/320.0 | 15.88
135 | 395.0/345.0 | 17.07
136 | 395.0/425.0 | 40.36
137 | 395.0/455.0 | 84.36
138 | 400.0/305.0 | 14.41
139 | 400.0/360.0 | 20.72
140 | 400.0/435.0 | 33.53
141 | 400.0/465.0 | 76.39
142 | 400.0/490.0 | 25.96
143 | 405.0/290.0 | 15.49
144 | 405.0/300.0 | 13.18
145 | 405.0/350.0 | 16
146 | 405.0/470.0 | 56.92
147 | 410.0/265.0 | 13.57
148 | 410.0/325.0 | 17.52
149 | 410.0/480.0 | 50.61
150 | 415.0/275.0 | 14.13
151 | 415.0/305.0 | 14.07
152 | 415.0/335.0 | 11.52
153 | 415.0/365.0 | 13.36
154 | 415.0/450.0 | 24.91
155 | 415.0/460.0 | 24.77
156 | 415.0/485.0 | 41.19
157 | 420.0/315.0 | 11.45
158 | 420.0/470.0 | 22.12
159 | 420.0/490.0 | 37.01
160 | 425.0/255.0 | 10.45
161 | 425.0/280.0 | 13.93
162 | 425.0/290.0 | 12.1
163 | 425.0/305.0 | 12.57
164 | 425.0/330.0 | 11.34
165 | 425.0/345.0 | 13.69
166 | 425.0/465.0 | 23.52
167 | 430.0/285.0 | 12.59
168 | 430.0/320.0 | 12.6
169 | 430.0/365.0 | 11.52
170 | 430.0/375.0 | 15.15
171 | 435.0/335.0 | 11.43
172 | 435.0/345.0 | 10.23
173 | 440.0/285.0 | 9.233
174 | 440.0/300.0 | 8.691
175 | 440.0/355.0 | 11.04
176 | 445.0/270.0 | 9.608
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 47.33 | 17.27 | 42.01 | 33.37 | 70.89 | 3483 | 9837 | 2753 | 32.91 | 36.73 | 25.29 | 34.35 | 25.33 | 45.45 | 10.65 | 22.23 | 20.85 | 23.8 | 20.59 | 26.22 | 40.48 | 23.36 | 12.83 | 15.39 | 6.311 | 23.92 | 13.67 | 18.47 | 20.36 | 26.96 | 14.56 | 16.25 | 16.04 | 17.23 | 12 | 13.43 | 17.41 | 16.47 | 11.67 | 8.046 | 8.726 | 7.76 | 7.949 | 3.387 | 3.167 | 5.536 | 2.667
255 | 31.68 | 45.76 | 29.82 | 18.72 | 40.59 | 270.3 | 2551 | 9999.9 | 5568 | 166.9 | 51.44 | 26.66 | 12.65 | 26.65 | 27.74 | 25.8 | 19.97 | 31.71 | 21.59 | 25.2 | 26.52 | 12.72 | 18.5 | 15.42 | 24.43 | 26.48 | 4.089 | 14.29 | 17.07 | 21.33 | 20.54 | 16.08 | 12.31 | 12.01 | 9.468 | 16.88 | 14.25 | 8.809 | 11.24 | 10.08 | 6.841 | 10.45 | 9.092 | 6.184 | 6.703 | 3.645 | 3.619
260 | 25.77 | 40.92 | 31.98 | 43.44 | 46.65 | 33.95 | 204.7 | 3416 | 9999.9 | 7414 | 246.9 | 25.47 | 42.39 | 21.55 | 46.89 | 35.99 | 33.71 | 28.42 | 21.42 | 11.33 | 16.34 | 14.29 | 20.17 | 20.6 | 21.42 | 17.52 | 17.29 | 12.84 | 18.29 | 10.59 | 18.59 | 12.08 | 19.16 | 11.36 | 13 | 14.49 | 12.55 | 14.73 | 9.046 | 10.23 | 9.928 | 9.004 | 8.469 | 5.616 | 6.633 | 6.249 | 4.342
265 | 19.95 | 38.3 | 28.57 | 86.05 | 55.66 | 86.19 | 39.76 | 307.2 | 4319 | 9999.9 | 9999.9 | 256.2 | 36.21 | 20.91 | 28.8 | 27.97 | 37.84 | 19.16 | 29.03 | 27.94 | 20.01 | 15.5 | 18.7 | 29.63 | 21.2 | 15.17 | 11.66 | 16.83 | 11.51 | 12.97 | 17.75 | 16.95 | 20.16 | 15.45 | 13.73 | 11.22 | 13.44 | 11.74 | 13.57 | 10.07 | 7.969 | 9.162 | 5.565 | 5.068 | 4.66 | 7.021 | 7.066
270 | 20.63 | 27.89 | 37.26 | 35.56 | 35.78 | 108.8 | 75.05 | 38.49 | 332.4 | 5927 | 9999.9 | 9999.9 | 367.4 | 62.6 | 29.28 | 32.62 | 48.45 | 29.23 | 24.1 | 28.12 | 31.84 | 16.85 | 21.68 | 27.37 | 23.18 | 16.37 | 22.16 | 14.52 | 11.74 | 11.42 | 12.39 | 16.69 | 25.64 | 18.41 | 17.93 | 13.34 | 10.58 | 11.98 | 13.38 | 11.88 | 9.362 | 9.885 | 6.23 | 7.752 | 8.417 | 9.608 | 5.257
275 | 35.03 | 35.25 | 31.58 | 25.9 | 50.91 | 32.66 | 93.27 | 89.94 | 66.23 | 433.5 | 8436 | 9999.9 | 9999.9 | 426 | 52.09 | 17.18 | 54.51 | 34.83 | 20.77 | 27.92 | 33.11 | 22.36 | 18.92 | 23.5 | 22.04 | 13.52 | 13.13 | 10.48 | 10.8 | 15.21 | 11.49 | 14.35 | 14.24 | 12.36 | 20.11 | 15.9 | 10.7 | 7.163 | 10.07 | 14.13 | 13.51 | 8.509 | 9.264 | 8.237 | 5.188 | 5.364 | 5.301
280 | 25.7 | 39.16 | 52.49 | 41 | 43.87 | 39.07 | 64.61 | 82.5 | 90.27 | 82.31 | 597.6 | 9999.9 | 9999.9 | 9999.9 | 552.7 | 67.33 | 49.21 | 41.29 | 42.19 | 27.8 | 32.32 | 21.16 | 30.51 | 25.76 | 29.53 | 26.83 | 18.92 | 15.3 | 12.07 | 12.6 | 12.94 | 13.16 | 15.72 | 11.56 | 11.65 | 18.62 | 15.31 | 13.03 | 8.35 | 9.878 | 12.77 | 13.93 | 10.6 | 6.15 | 6.175 | 5.625 | 6.081
285 | 54.18 | 86.53 | 51.32 | 52.11 | 76.91 | 45.14 | 72.26 | 67.46 | 160.4 | 113.6 | 105.1 | 824 | 9999.9 | 9999.9 | 9999.9 | 666.1 | 74.52 | 67.73 | 51.53 | 28.9 | 38.36 | 25.89 | 20.11 | 25.51 | 19.37 | 17.4 | 17.2 | 13.04 | 16.02 | 11.76 | 11.02 | 9.035 | 12.52 | 5.336 | 8.87 | 12.97 | 14.48 | 13.71 | 10.89 | 10.57 | 13.35 | 10.77 | 12.59 | 7.012 | 9.233 | 6.808 | 7.94
290 | 54.95 | 35.4 | 85.73 | 73.76 | 60.99 | 53.28 | 38.48 | 63.16 | 137.6 | 206.1 | 202.1 | 262 | 923.3 | 9999.9 | 9999.9 | 9999.9 | 694.4 | 79.24 | 41.55 | 37.07 | 30.01 | 21.58 | 39.48 | 29.84 | 26.81 | 20.69 | 22.93 | 9.092 | 19.42 | 13.58 | 9.094 | 9.398 | 9.238 | 16.25 | 13.73 | 8.393 | 13.87 | 15.49 | 14.84 | 10.28 | 8.947 | 12.1 | 10.15 | 8.042 | 7.14 | 5.299 | 6.172
295 | 75.02 | 103.5 | 168 | 150.4 | 84.39 | 38.61 | 79.48 | 90.71 | 83.07 | 257.3 | 387.4 | 525.1 | 685.1 | 1263 | 9999.9 | 9999.9 | 9999.9 | 763.5 | 71.41 | 65.93 | 31.34 | 35.46 | 44.32 | 23.79 | 27.72 | 19.02 | 26.5 | 17.6 | 11.24 | 13.51 | 14.79 | 13.04 | 8.066 | 9.58 | 7.925 | 10.4 | 10.68 | 10.45 | 13.31 | 12.34 | 10.83 | 9.919 | 9.693 | 8.655 | 8.138 | 8.328 | 6.236
300 | 74.34 | 95.47 | 229 | 192.4 | 110.8 | 71.56 | 92.52 | 91.41 | 172.8 | 270.9 | 551.7 | 825.8 | 956.2 | 1054 | 1320 | 9999.9 | 9999.9 | 9999.9 | 805.4 | 109.2 | 78.74 | 56.44 | 35.8 | 23.91 | 24 | 23.24 | 29.43 | 19.57 | 19.63 | 18.57 | 14.78 | 12.42 | 10.6 | 10.79 | 13.13 | 12.81 | 9.21 | 13.18 | 9.63 | 13.42 | 8.607 | 7.436 | 9.878 | 6.295 | 8.691 | 7.99 | 6.435
305 | 127.4 | 221.9 | 186.3 | 264.6 | 189.4 | 139.6 | 166.2 | 173.6 | 299 | 435.5 | 814.5 | 1055 | 1376 | 1410 | 1250 | 1400 | 9999.9 | 9999.9 | 9999.9 | 699.3 | 89.09 | 66.86 | 37.01 | 38.61 | 24.71 | 20.71 | 24.2 | 14.71 | 19.79 | 17.39 | 14.88 | 13.5 | 10.79 | 13.27 | 9.416 | 10.07 | 14.41 | 10.13 | 11.08 | 14.07 | 11.48 | 12.57 | 10.52 | 6.807 | 7.779 | 11.53 | 10.42
310 | 128.2 | 253.3 | 240.5 | 216.6 | 195.9 | 179.8 | 151.9 | 183.3 | 324.8 | 454.5 | 828.2 | 1417 | 1807 | 1877 | 1691 | 983.3 | 1069 | 9999.9 | 9999.9 | 9999.9 | 830.6 | 77.44 | 51.96 | 53.51 | 39.36 | 29.05 | 13.32 | 19.51 | 12.91 | 12.36 | 15.78 | 14.95 | 7.522 | 12.88 | 10.47 | 13.11 | 11.62 | 9.907 | 8.019 | 6.692 | 9.501 | 12.33 | 11.87 | 10.1 | 6.82 | 9.694 | 10.07
315 | 128.2 | 277.1 | 360.7 | 349.4 | 162.3 | 181.5 | 133.2 | 241.3 | 387 | 667.8 | 940.3 | 1512 | 2250 | 2477 | 2121 | 1527 | 748.1 | 971.1 | 9999.9 | 9999.9 | 9999.9 | 836.8 | 94.47 | 68.86 | 49.85 | 34.78 | 28.82 | 25.67 | 15.75 | 16.83 | 11.46 | 12.69 | 16.35 | 15.06 | 12.31 | 12.59 | 10.41 | 5.909 | 6.869 | 8.918 | 11.45 | 9.881 | 12.26 | 12.23 | 8.139 | 6.745 | 7.429
320 | 176.4 | 260.2 | 445.4 | 380 | 176.2 | 188.7 | 170.5 | 245.6 | 409.4 | 795.4 | 1381 | 1654 | 2567 | 2948 | 2704 | 1816 | 817.2 | 384 | 864 | 9999.9 | 9999.9 | 9999.9 | 717 | 85.77 | 70.88 | 36.5 | 29.18 | 33.44 | 24.38 | 33.01 | 13.84 | 11.8 | 12.2 | 10.75 | 9.569 | 15.88 | 13.44 | 8.513 | 11.68 | 9.481 | 10.94 | 8.348 | 12.6 | 10.02 | 10.79 | 9.634 | 10.38
325 | 171.4 | 269.9 | 390.8 | 377.3 | 277.4 | 151.7 | 252.9 | 297.1 | 537.1 | 982 | 1327 | 2101 | 2548 | 3055 | 3075 | 2418 | 1031 | 420.1 | 241.2 | 793.4 | 9999.9 | 9999.9 | 9999.9 | 683.4 | 106.3 | 67.47 | 41.46 | 29.45 | 23.25 | 18.97 | 18.64 | 18.65 | 13.54 | 10.97 | 10.46 | 9.855 | 12.39 | 11.96 | 17.52 | 7.942 | 6.298 | 6.579 | 9.651 | 9.309 | 11.55 | 11.29 | 11.54
330 | 195.8 | 311.6 | 603.2 | 403.6 | 228.6 | 172.9 | 260.7 | 291.2 | 528.7 | 920.2 | 1497 | 2200 | 2908 | 3221 | 3194 | 2356 | 1016 | 440.9 | 166.8 | 160.1 | 786 | 9999.9 | 9999.9 | 9999.9 | 749.7 | 89.47 | 51.93 | 47.11 | 24.84 | 20.27 | 23.5 | 17.38 | 14.36 | 14.84 | 13.65 | 11.24 | 8.158 | 10.32 | 11.44 | 9.035 | 7.565 | 11.34 | 9.653 | 6.42 | 10.86 | 11.21 | 10.92
335 | 185.3 | 259.2 | 425.8 | 358.1 | 356 | 188.7 | 230.8 | 330.8 | 625.3 | 773 | 1398 | 2136 | 2913 | 3226 | 3069 | 2261 | 1262 | 581.3 | 195 | 120.9 | 135.9 | 821.1 | 9999.9 | 9999.9 | 9999.9 | 588.8 | 81.6 | 49.48 | 37.63 | 21.92 | 26.07 | 25.98 | 21.67 | 16.27 | 18.12 | 13.8 | 8.132 | 10.68 | 10.09 | 11.52 | 10.76 | 7.713 | 11.15 | 11.43 | 6.993 | 9.534 | 13.28
340 | 170.9 | 261 | 545.1 | 339.3 | 234.2 | 210.8 | 200.7 | 285 | 532.9 | 874.9 | 1301 | 2104 | 2687 | 3008 | 2901 | 2120 | 1042 | 667.1 | 254.1 | 104.9 | 111.4 | 141.5 | 793.3 | 9999.9 | 9999.9 | 9999.9 | 624.1 | 63.4 | 58.02 | 48.05 | 29.18 | 20.48 | 17.9 | 16.9 | 14.57 | 12.97 | 13.12 | 8.837 | 9.275 | 7.514 | 8.826 | 8.504 | 7.314 | 6.499 | 5.246 | 8.659 | 10.27
345 | 175 | 381.3 | 398 | 278.6 | 191.6 | 185.3 | 262.6 | 287.2 | 442 | 774 | 1327 | 1885 | 2547 | 2776 | 2584 | 1946 | 895.3 | 506.1 | 400.2 | 117.1 | 88.54 | 82.42 | 135.7 | 776.7 | 9999.9 | 9999.9 | 9999.9 | 557.8 | 78.24 | 43.28 | 36.34 | 29.95 | 19.32 | 15.46 | 15.3 | 17.07 | 8.725 | 11.28 | 9.966 | 10.65 | 11.98 | 13.69 | 7.63 | 10.23 | 7.978 | 7.802 | 8.202
350 | 129.1 | 250.8 | 323.3 | 374 | 222.8 | 151.8 | 198.3 | 222.7 | 366.2 | 701 | 1023 | 1582 | 1951 | 2598 | 2511 | 1918 | 804.3 | 367.7 | 302.4 | 308.9 | 92.21 | 75.19 | 95.97 | 145 | 773 | 9999.9 | 9999.9 | 9999.9 | 501.5 | 72.66 | 39.7 | 43.43 | 28.47 | 24.12 | 14.78 | 14.9 | 11.44 | 16 | 9.435 | 9.553 | 8.59 | 9.141 | 7.631 | 8.28 | 9.189 | 8.12 | 6.757
355 | 160.7 | 244.5 | 226.6 | 227.7 | 207.8 | 147.2 | 228.3 | 220.1 | 376.5 | 588 | 927.7 | 1487 | 1697 | 2279 | 2297 | 1603 | 798.4 | 332.6 | 190.1 | 271.1 | 232 | 91.06 | 61.26 | 87.22 | 134 | 770.4 | 9999.9 | 9999.9 | 9999.9 | 489.8 | 61.55 | 38.22 | 27.5 | 25.88 | 19.42 | 15.8 | 13.95 | 15.31 | 11.97 | 12.36 | 6.525 | 8.181 | 8.486 | 7.978 | 11.04 | 6.704 | 8.162
360 | 96.96 | 213.6 | 273.5 | 247.4 | 149.4 | 119.1 | 190.5 | 220.8 | 331.5 | 500.1 | 809.5 | 1309 | 1580 | 1846 | 1732 | 1146 | 633.9 | 237.5 | 144.6 | 156.1 | 308.2 | 187.1 | 82.35 | 64.77 | 72.97 | 125.6 | 763.2 | 9999.9 | 9999.9 | 9999.9 | 416.8 | 55.15 | 42.57 | 30.42 | 20.47 | 19.69 | 20.72 | 12.51 | 10.54 | 12.27 | 11.07 | 10.07 | 11.44 | 7.481 | 8.129 | 9.936 | 7.149
365 | 77.17 | 158.6 | 244.5 | 205.5 | 188.1 | 128.5 | 127.1 | 235.8 | 321.7 | 450.3 | 725.4 | 1179 | 1230 | 1641 | 1467 | 996.2 | 579 | 264.6 | 147 | 93.88 | 175.1 | 326.7 | 141.9 | 71.19 | 64.29 | 76.74 | 134 | 754.9 | 9999.9 | 9999.9 | 9999.9 | 438 | 61.36 | 41.71 | 26.64 | 22.65 | 19.28 | 15.06 | 9.965 | 13.36 | 8.198 | 10.08 | 11.52 | 7.948 | 5.126 | 7.45 | 5.696
370 | 109.9 | 140.3 | 160.8 | 180.7 | 120.4 | 107.7 | 130.4 | 161.1 | 307 | 424.3 | 581.1 | 896.7 | 1106 | 1282 | 1174 | 908.5 | 501.8 | 240.2 | 96.96 | 77.27 | 102 | 217.6 | 259.3 | 105.7 | 62.56 | 76.96 | 56.47 | 121.6 | 765.1 | 9999.9 | 9999.9 | 9999.9 | 381.7 | 59.94 | 35.41 | 28.96 | 18.56 | 15.73 | 14.28 | 12.35 | 11.82 | 13.04 | 6.762 | 8.025 | 6.526 | 7.373 | 4.908
375 | 85.55 | 124.1 | 221.4 | 153.9 | 89.97 | 84.51 | 147.9 | 126.6 | 222.7 | 318.4 | 509.7 | 759 | 975.9 | 988.7 | 1040 | 721.4 | 419.4 | 187.1 | 119.3 | 69.63 | 71.1 | 119.3 | 274.3 | 271.3 | 89.86 | 54.57 | 60.74 | 77.77 | 116.4 | 745.9 | 9999.9 | 9999.9 | 9999.9 | 398.6 | 54.37 | 41.16 | 16.75 | 24.93 | 15.22 | 13.69 | 13.4 | 13.28 | 15.15 | 9.949 | 8.656 | 6.943 | 8.287
380 | 95.73 | 112.8 | 157.2 | 98.34 | 105.6 | 94.33 | 159.4 | 94.81 | 169 | 234.5 | 386.6 | 518 | 768.2 | 929.1 | 910.8 | 666.2 | 346.7 | 164 | 101.8 | 80.08 | 90.85 | 91.98 | 144.1 | 261.7 | 177.2 | 83.93 | 67.87 | 55.62 | 69.45 | 125.9 | 749.9 | 9999.9 | 9999.9 | 9999.9 | 378.5 | 59.26 | 36.01 | 29.62 | 16.39 | 19.07 | 13.37 | 11.84 | 13.61 | 7.986 | 7.744 | 8.817 | 6.106
385 | 139.1 | 113.1 | 109.1 | 128.2 | 136 | 77.23 | 112.1 | 85.16 | 155.5 | 200 | 368.3 | 518.6 | 669.4 | 720 | 706.6 | 510.7 | 375.3 | 156.1 | 154.3 | 79.83 | 77.67 | 101.6 | 91.49 | 135.9 | 250.1 | 159.1 | 76.22 | 69.58 | 50.73 | 61.42 | 109.9 | 751.7 | 9999.9 | 9999.9 | 9999.9 | 318.7 | 60.19 | 32.34 | 27.13 | 21.36 | 12.5 | 12.63 | 10.85 | 9.41 | 6.324 | 10.89 | 8.53
390 | 45.49 | 76.73 | 84.92 | 148.9 | 125.4 | 92.5 | 82.37 | 117.2 | 151.9 | 226.8 | 287.9 | 383.4 | 436.7 | 584.7 | 631.5 | 411 | 281.2 | 172.7 | 122.3 | 97.1 | 78.52 | 89.46 | 89.81 | 75.49 | 175.1 | 241.8 | 108.8 | 53.17 | 50.91 | 62.79 | 62.61 | 115.1 | 755.6 | 9999.9 | 9999.9 | 9999.9 | 316.3 | 47.09 | 36.87 | 21.57 | 12.36 | 11.44 | 11.31 | 12.2 | 8.818 | 7.284 | 6.211
395 | 101.2 | 144.5 | 96.69 | 81.56 | 112.1 | 97.98 | 120.2 | 105.6 | 159 | 179.8 | 216.6 | 356.1 | 472.2 | 445.5 | 460.3 | 350.7 | 259.1 | 119.5 | 99.83 | 75.46 | 103.4 | 93.61 | 79.98 | 77.07 | 102.9 | 163.5 | 177.6 | 89.5 | 51.33 | 67.69 | 46.64 | 52.46 | 114.1 | 749.1 | 9999.9 | 9999.9 | 9999.9 | 262.3 | 44.58 | 29.49 | 24.66 | 15.73 | 10.88 | 12.25 | 12.23 | 10.29 | 5.972
400 | 61.49 | 82.33 | 94.24 | 42.69 | 125.8 | 87.29 | 76.45 | 133.4 | 99.09 | 130.1 | 201.7 | 301.5 | 342.2 | 326 | 378.5 | 267 | 211.1 | 146.9 | 112.7 | 83 | 118.8 | 79.12 | 83.32 | 82.26 | 85.07 | 99.29 | 214.6 | 149.1 | 60.87 | 59.78 | 51.45 | 52.69 | 46.82 | 103.5 | 737.2 | 9999.9 | 9999.9 | 9999.9 | 247 | 43.06 | 27.99 | 19.72 | 18.47 | 11.25 | 8.346 | 8.982 | 10.93
405 | 63.51 | 101 | 126.9 | 88.98 | 115.8 | 65.17 | 79.09 | 113.2 | 92.99 | 146 | 196.6 | 212.5 | 297.9 | 376.6 | 369.2 | 254.5 | 170.2 | 138.5 | 117 | 92.63 | 90.52 | 92.35 | 89.15 | 104.1 | 96.18 | 86.42 | 96.59 | 208.7 | 125.6 | 68.28 | 50.98 | 44.52 | 49.36 | 51.91 | 100.4 | 718.9 | 9999.9 | 9999.9 | 9999.9 | 254 | 34.12 | 30.37 | 18.4 | 15.28 | 11.37 | 12.85 | 8.847
410 | 64.44 | 105.7 | 118.9 | 54.68 | 65.42 | 70.72 | 57.29 | 63.21 | 75.99 | 88.58 | 137.4 | 159 | 245.9 | 224.9 | 279.9 | 263.2 | 176 | 129.2 | 85.15 | 74.24 | 92.57 | 78.9 | 106.6 | 84.88 | 83.09 | 69.59 | 86.22 | 108.5 | 188.7 | 90.51 | 53.83 | 62.87 | 46.95 | 46.87 | 47.32 | 89.79 | 737.7 | 9999.9 | 9999.9 | 9999.9 | 219.6 | 42.61 | 29.31 | 15.56 | 13.24 | 9.238 | 8.744
415 | 77.08 | 52.85 | 132.3 | 58.79 | 88.9 | 66.13 | 67.37 | 70.81 | 70.4 | 116.6 | 211.9 | 139.3 | 210.5 | 238.6 | 203.4 | 220.3 | 149.2 | 99.82 | 96.2 | 94.65 | 96.46 | 76.87 | 104.1 | 87.98 | 80.02 | 90.78 | 80.97 | 87.91 | 146.5 | 180.6 | 91.19 | 64.33 | 56.25 | 43.47 | 34.77 | 45.29 | 90.4 | 740 | 9999.9 | 9999.9 | 9999.9 | 184.6 | 32.45 | 23.61 | 15.74 | 16.66 | 8.232
420 | 88.6 | 63.93 | 87.02 | 58.51 | 66.12 | 81.01 | 58.58 | 70.41 | 70.29 | 111 | 93.82 | 164.6 | 153.9 | 173.4 | 179 | 160.8 | 114.1 | 126 | 135.9 | 87.28 | 95.41 | 91.95 | 96.77 | 107.4 | 82.43 | 72.27 | 86.62 | 72.61 | 105.8 | 171.7 | 158.2 | 69.55 | 50.46 | 47.32 | 31.24 | 26.64 | 45.07 | 90.33 | 719.3 | 9999.9 | 9999.9 | 9999.9 | 188.9 | 33.62 | 21.17 | 16.2 | 11.52
425 | 70.53 | 77.39 | 64.2 | 88.88 | 71.55 | 73.57 | 48.64 | 56.43 | 117.3 | 87.98 | 123.3 | 143.9 | 193.1 | 233.8 | 184.9 | 140.8 | 134.1 | 120.5 | 82.27 | 84.38 | 124.6 | 91.49 | 78.11 | 79.49 | 91.42 | 83.22 | 65.84 | 75.51 | 71.42 | 76.59 | 157.8 | 92.5 | 56.87 | 47.71 | 33.99 | 40.36 | 34.42 | 40.86 | 85.21 | 719 | 9999.9 | 9999.9 | 9999.9 | 149.8 | 29.84 | 19.09 | 13.1
430 | 170.8 | 73.18 | 69.22 | 64.47 | 78.63 | 58.17 | 121.8 | 62.62 | 57.62 | 99.47 | 108.9 | 129.1 | 125.7 | 167.2 | 157.5 | 107.7 | 120 | 110.5 | 107.1 | 96.07 | 86.37 | 74.86 | 83.03 | 97.45 | 73.73 | 83.53 | 74.18 | 82.23 | 71.78 | 55.21 | 99.14 | 132.6 | 84.17 | 41.26 | 39.9 | 32.27 | 29.32 | 24.91 | 39.18 | 80.01 | 707.8 | 9999.9 | 9999.9 | 9999.9 | 153.7 | 31.28 | 17.31
435 | 337.9 | 74.84 | 74.72 | 102.7 | 105.4 | 92.43 | 44.23 | 108.1 | 84.22 | 84.41 | 103.6 | 68.89 | 111.5 | 127.6 | 170.4 | 114.9 | 113.6 | 96.45 | 81.77 | 71.36 | 106.9 | 112.8 | 91.97 | 107.2 | 83.88 | 87.23 | 82.67 | 81.78 | 76.14 | 66.57 | 60.73 | 101.8 | 104.3 | 58.64 | 32.53 | 31.21 | 33.53 | 29.69 | 27.8 | 33.71 | 80.51 | 723.5 | 9999.9 | 9999.9 | 9999.9 | 155.2 | 25.96
440 | 376.6 | 236.1 | 62.41 | 71.99 | 81.4 | 66.59 | 73.23 | 59.79 | 73.05 | 80.49 | 96.75 | 132.3 | 120.6 | 167.2 | 106.2 | 135.3 | 106.3 | 103 | 93.88 | 64.69 | 86.82 | 88.21 | 70.66 | 81.63 | 81.13 | 78.69 | 84.61 | 68.89 | 75.98 | 63.32 | 65.18 | 70.41 | 95.61 | 111.7 | 44.43 | 35.25 | 24.32 | 23.29 | 25.88 | 27.39 | 28.84 | 79.43 | 713.2 | 9999.9 | 9999.9 | 9999.9 | 122.3
445 | 176.7 | 616.5 | 64.52 | 87.67 | 101.2 | 70.05 | 46.77 | 60.68 | 70.31 | 72.88 | 88.67 | 113.1 | 117.3 | 135.9 | 111.7 | 130.6 | 97.28 | 113.7 | 86.07 | 65.8 | 68.03 | 73.09 | 83.45 | 106.5 | 107 | 85.65 | 76.6 | 62.95 | 72.38 | 58.88 | 59.48 | 59.86 | 73.06 | 109.1 | 80.98 | 43.06 | 23.54 | 28.94 | 23.18 | 23.34 | 19.76 | 32.64 | 76.65 | 694.3 | 9999.9 | 9999.9 | 9999.9
450 | 110.5 | 666 | 371.2 | 51.9 | 77.62 | 79.53 | 65.35 | 42.71 | 69.5 | 88.57 | 107.5 | 100.9 | 88.19 | 112.8 | 89.67 | 88.08 | 80.8 | 64.86 | 91.14 | 73.8 | 97.35 | 66.72 | 68.5 | 85.62 | 87.64 | 73.37 | 64.53 | 79.27 | 70.53 | 68.63 | 57.57 | 44.56 | 50.37 | 70.36 | 87.95 | 50.8 | 29.41 | 30.79 | 21.34 | 24.91 | 18.48 | 23.56 | 27.25 | 71.84 | 694.2 | 9999.9 | 9999.9
455 | 77.36 | 488.8 | 760.8 | 162.8 | 60.71 | 50.23 | 53.95 | 60.39 | 74.03 | 50.62 | 103.8 | 68.48 | 92.07 | 89.31 | 102.3 | 79.5 | 42.94 | 82.37 | 115.9 | 56.58 | 75.05 | 94.9 | 80.73 | 64.59 | 94.83 | 73.72 | 60.57 | 90.96 | 55.45 | 44.71 | 62.99 | 55.71 | 45.35 | 46.98 | 64 | 84.36 | 41.65 | 33.98 | 22.65 | 23.52 | 19.1 | 23.07 | 24.56 | 24.94 | 72.47 | 694.5 | 9999.9
460 | 38.39 | 153.7 | 1151 | 565.1 | 87.18 | 21.9 | 40.84 | 44.7 | 69.39 | 67.17 | 101.7 | 87.94 | 89.89 | 99.66 | 115.3 | 108.1 | 79.13 | 91.18 | 82.2 | 107.6 | 63.92 | 73.02 | 77.68 | 64.68 | 56.12 | 64.28 | 71.39 | 62.84 | 49.36 | 69.75 | 52.38 | 50.52 | 41.49 | 39.25 | 39.08 | 71.81 | 65.85 | 29.69 | 18.2 | 24.77 | 15.41 | 18.45 | 23.46 | 16.31 | 23.31 | 67.26 | 677.9
465 | 59.31 | 40.65 | 800 | 1516 | 133.1 | 49.2 | 74.44 | 61.04 | 61.41 | 69.18 | 73.07 | 103.1 | 85.74 | 104 | 66.21 | 84.42 | 79.01 | 109.3 | 65.05 | 85.08 | 54.82 | 57.89 | 66.81 | 73.99 | 62.53 | 75.73 | 78.56 | 72.97 | 42.16 | 55.78 | 54.1 | 43.9 | 38.97 | 36.39 | 34.4 | 44.87 | 76.39 | 50.31 | 23.28 | 18.52 | 20.67 | 23.52 | 18.34 | 19.37 | 21.41 | 27.53 | 67.79
470 | 82.92 | 70.14 | 198.3 | 2142 | 692.9 | 90.2 | 34.43 | 27.2 | 59.54 | 56.95 | 55.56 | 88.42 | 66.5 | 86.09 | 85.66 | 70.5 | 77.94 | 66.86 | 61.16 | 78.98 | 62.42 | 83.06 | 59.52 | 62.95 | 62.66 | 49.97 | 58.46 | 64.47 | 54.64 | 51.73 | 56.81 | 43.53 | 39.44 | 35.48 | 31.4 | 29.3 | 45.85 | 56.92 | 29.56 | 19.26 | 22.12 | 20.78 | 19.48 | 18.6 | 19.66 | 14.26 | 24.7
475 | 88.3 | 65.9 | 82.08 | 1372 | 2079 | 104.1 | 53.36 | 39.11 | 69.65 | 45.08 | 63.25 | 79.34 | 81.9 | 70.64 | 85.85 | 59.09 | 60.35 | 53.83 | 62.74 | 71.9 | 74.28 | 50.84 | 62.38 | 58.64 | 48.45 | 71.24 | 42.25 | 45.07 | 44.36 | 36.95 | 48.64 | 33.48 | 38.55 | 36.74 | 34.29 | 30.42 | 23.32 | 44.44 | 45.69 | 28.42 | 20.36 | 19.04 | 16.9 | 16.87 | 15.43 | 15.23 | 13.68
480 | 89.48 | 55.42 | 52.65 | 361.6 | 2891 | 729.2 | 78.55 | 37.96 | 61.15 | 55.89 | 79.64 | 53.41 | 77.89 | 58.75 | 71.17 | 77.51 | 57.75 | 78.17 | 77.44 | 58.18 | 69.47 | 52.25 | 55.03 | 54.93 | 44.79 | 57.39 | 56.45 | 52.5 | 44.22 | 40.37 | 32.07 | 35.38 | 36.87 | 33.02 | 31.91 | 25.66 | 25.08 | 27.73 | 50.61 | 38.01 | 17.53 | 19.56 | 15.16 | 14.68 | 16.64 | 12.58 | 13.5
485 | 81.24 | 46.46 | 92.07 | 60.25 | 1660 | 2345 | 100 | 60.62 | 49.25 | 65.69 | 78.66 | 76.76 | 76.49 | 59.5 | 69.55 | 57.52 | 69.53 | 39.4 | 42.97 | 43.78 | 55.91 | 73.47 | 50.4 | 32.24 | 59.59 | 58.86 | 47.87 | 57.91 | 41.65 | 51.32 | 34.31 | 36.76 | 32.5 | 27.36 | 26.05 | 19.92 | 21.48 | 26 | 27.45 | 41.19 | 31.77 | 19.04 | 14.88 | 15.02 | 13.39 | 13.24 | 15.38
490 | 74.23 | 40.78 | 98.2 | 45.59 | 371.7 | 3534 | 768.6 | 38.08 | 61.62 | 55.42 | 68.37 | 74.28 | 65.22 | 69.2 | 68.65 | 47.83 | 51.25 | 100.2 | 56.9 | 52.81 | 72.24 | 52.28 | 51.81 | 50.13 | 57.31 | 42.91 | 30.81 | 41.65 | 36.63 | 33.54 | 36.83 | 32.92 | 30.95 | 34.1 | 24.51 | 23.72 | 25.96 | 20.91 | 21.06 | 23.75 | 37.01 | 25.48 | 19.33 | 14.58 | 16.99 | 14.79 | 13.52
495 | 85.95 | 41.84 | 100.1 | 53.98 | 73.3 | 2215 | 2244 | 134.8 | 61.42 | 49.89 | 65.54 | 59.29 | 75.84 | 72.94 | 61.9 | 59.89 | 62.5 | 56.93 | 72.62 | 68.81 | 61.13 | 61.47 | 56.48 | 49.37 | 31.52 | 38.38 | 46.73 | 43.34 | 49.79 | 35.37 | 37.58 | 46.42 | 33.62 | 30.48 | 31.71 | 22.04 | 17.19 | 20.02 | 20.77 | 19.57 | 36.89 | 31.59 | 19.42 | 13.58 | 11.74 | 10.2 | 14.24
500 | 38.8 | 110.3 | 44.88 | 64.54 | 33.22 | 620.9 | 3591 | 656 | 90.25 | 92.86 | 43.35 | 58.69 | 49.98 | 73.15 | 48.79 | 48.6 | 41.15 | 62.26 | 35.26 | 47.26 | 51.48 | 50.53 | 49.72 | 43.28 | 42.44 | 66.41 | 25.52 | 31.19 | 33.13 | 36.75 | 29.48 | 41.58 | 28.59 | 24.19 | 23.8 | 23.45 | 23.14 | 14.74 | 18.77 | 20.89 | 21.86 | 34.43 | 24.97 | 18.13 | 16.82 | 11.02 | 11.65