## Sheet1
Report date: | 15:27:54, 04/17/2024
Sample: | 1
File name:
Run date: | 15:25:12, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/400.0 | 192.7
2 | 225.0/425.0 | 159.9
3 | 230.0/330.0 | 558.2
4 | 230.0/345.0 | 498.1
5 | 230.0/365.0 | 306.8
6 | 230.0/395.0 | 179.3
7 | 230.0/420.0 | 155.6
8 | 230.0/435.0 | 145.1
9 | 235.0/280.0 | 102.8
10 | 235.0/325.0 | 490.5
11 | 235.0/355.0 | 396.5
12 | 235.0/405.0 | 167.3
13 | 235.0/415.0 | 124.7
14 | 240.0/275.0 | 111.9
15 | 240.0/285.0 | 122.5
16 | 240.0/410.0 | 145.8
17 | 240.0/430.0 | 122.7
18 | 245.0/310.0 | 276.3
19 | 245.0/390.0 | 125.4
20 | 245.0/400.0 | 158.9
21 | 245.0/425.0 | 121.4
22 | 245.0/440.0 | 146.7
23 | 245.0/450.0 | 138
24 | 250.0/275.0 | 118.7
25 | 250.0/395.0 | 164.4
26 | 250.0/410.0 | 142.5
27 | 250.0/455.0 | 114
28 | 250.0/470.0 | 125.7
29 | 255.0/430.0 | 126
30 | 255.0/450.0 | 102
31 | 255.0/465.0 | 143.8
32 | 260.0/445.0 | 133.2
33 | 260.0/460.0 | 121.9
34 | 260.0/485.0 | 119
35 | 265.0/425.0 | 175.8
36 | 265.0/490.0 | 110.1
37 | 270.0/465.0 | 138.8
38 | 275.0/450.0 | 160
39 | 275.0/475.0 | 124.8
40 | 275.0/490.0 | 110
41 | 280.0/430.0 | 224.1
42 | 280.0/460.0 | 147
43 | 280.0/480.0 | 123
44 | 285.0/325.0 | 4008
45 | 285.0/335.0 | 3962
46 | 285.0/450.0 | 169
47 | 285.0/465.0 | 150.1
48 | 285.0/475.0 | 122.5
49 | 285.0/485.0 | 142.7
50 | 290.0/330.0 | 4048
51 | 290.0/345.0 | 3939
52 | 290.0/440.0 | 178.4
53 | 290.0/470.0 | 143.8
54 | 295.0/265.0 | 67.25
55 | 295.0/465.0 | 141.3
56 | 295.0/480.0 | 110.5
57 | 305.0/450.0 | 128.8
58 | 305.0/485.0 | 126.6
59 | 310.0/265.0 | 67.07
60 | 310.0/410.0 | 162.4
61 | 310.0/435.0 | 113.8
62 | 310.0/445.0 | 129.1
63 | 310.0/460.0 | 128.9
64 | 315.0/355.0 | 329.5
65 | 315.0/440.0 | 127.1
66 | 315.0/465.0 | 110.4
67 | 315.0/475.0 | 102.2
68 | 320.0/270.0 | 68.57
69 | 320.0/360.0 | 411.3
70 | 320.0/410.0 | 136.9
71 | 320.0/430.0 | 112.9
72 | 325.0/365.0 | 362.1
73 | 325.0/475.0 | 116.5
74 | 325.0/485.0 | 105.4
75 | 330.0/280.0 | 55.99
76 | 330.0/375.0 | 328.9
77 | 330.0/415.0 | 143.1
78 | 330.0/430.0 | 115.9
79 | 330.0/440.0 | 115.5
80 | 330.0/455.0 | 116
81 | 335.0/260.0 | 50.3
82 | 335.0/285.0 | 57.16
83 | 335.0/380.0 | 320.6
84 | 335.0/410.0 | 118
85 | 335.0/425.0 | 131.2
86 | 335.0/450.0 | 106.7
87 | 335.0/460.0 | 105.2
88 | 335.0/480.0 | 99.1
89 | 340.0/265.0 | 44.69
90 | 340.0/275.0 | 47.52
91 | 340.0/385.0 | 334.5
92 | 340.0/435.0 | 112.6
93 | 340.0/455.0 | 111.9
94 | 340.0/475.0 | 95.3
95 | 340.0/485.0 | 101.2
96 | 345.0/295.0 | 57.47
97 | 345.0/390.0 | 274.8
98 | 345.0/445.0 | 112.3
99 | 350.0/400.0 | 236.9
100 | 355.0/270.0 | 35.72
101 | 355.0/300.0 | 37.12
102 | 355.0/445.0 | 101.2
103 | 355.0/460.0 | 103.4
104 | 355.0/470.0 | 93.3
105 | 355.0/485.0 | 86.81
106 | 360.0/265.0 | 34.06
107 | 360.0/285.0 | 38.41
108 | 360.0/315.0 | 47.8
109 | 360.0/415.0 | 240.5
110 | 360.0/435.0 | 104.2
111 | 360.0/450.0 | 93.42
112 | 360.0/495.0 | 69.05
113 | 365.0/275.0 | 35.33
114 | 365.0/395.0 | 93.39
115 | 365.0/485.0 | 59.43
116 | 370.0/290.0 | 33.17
117 | 370.0/305.0 | 40.69
118 | 370.0/425.0 | 180.5
119 | 370.0/460.0 | 75.78
120 | 370.0/470.0 | 73.79
121 | 375.0/255.0 | 40.37
122 | 375.0/270.0 | 32.25
123 | 375.0/430.0 | 143.5
124 | 375.0/495.0 | 53.97
125 | 380.0/260.0 | 36.31
126 | 380.0/275.0 | 31.96
127 | 380.0/295.0 | 29.85
128 | 380.0/310.0 | 33.18
129 | 380.0/435.0 | 125.5
130 | 380.0/490.0 | 55.99
131 | 385.0/265.0 | 34.25
132 | 385.0/325.0 | 30.46
133 | 385.0/445.0 | 114.1
134 | 390.0/300.0 | 26.77
135 | 390.0/310.0 | 25.66
136 | 390.0/320.0 | 32.3
137 | 390.0/450.0 | 96.01
138 | 390.0/485.0 | 41.78
139 | 395.0/275.0 | 31.57
140 | 395.0/315.0 | 26.44
141 | 395.0/340.0 | 30.24
142 | 395.0/430.0 | 51.73
143 | 395.0/460.0 | 85.67
144 | 400.0/255.0 | 27.46
145 | 400.0/325.0 | 28.84
146 | 400.0/465.0 | 74.81
147 | 405.0/265.0 | 24.14
148 | 405.0/290.0 | 25.66
149 | 405.0/305.0 | 20.08
150 | 405.0/320.0 | 19.14
151 | 405.0/330.0 | 23.01
152 | 405.0/470.0 | 70.82
153 | 410.0/295.0 | 26.73
154 | 410.0/325.0 | 19.24
155 | 410.0/345.0 | 20.68
156 | 410.0/360.0 | 27.63
157 | 410.0/455.0 | 34.91
158 | 410.0/475.0 | 57.34
159 | 415.0/275.0 | 20.57
160 | 415.0/300.0 | 24.27
161 | 415.0/350.0 | 20.15
162 | 415.0/485.0 | 51.19
163 | 420.0/280.0 | 18.63
164 | 420.0/290.0 | 21.08
165 | 420.0/305.0 | 23.49
166 | 420.0/335.0 | 18.81
167 | 420.0/455.0 | 36.34
168 | 420.0/490.0 | 63.03
169 | 425.0/255.0 | 20.27
170 | 425.0/350.0 | 19.19
171 | 425.0/470.0 | 30.59
172 | 430.0/270.0 | 17.26
173 | 430.0/280.0 | 20.94
174 | 430.0/315.0 | 21.18
175 | 435.0/300.0 | 19.24
176 | 435.0/320.0 | 19.96
177 | 440.0/260.0 | 15.33
178 | 440.0/275.0 | 14.95
179 | 440.0/345.0 | 16.6
180 | 440.0/365.0 | 15.05
181 | 445.0/390.0 | 17.35
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 74.87 | 77.4 | 100.7 | 104.3 | 123.7 | 3465 | 9999.9 | 3333 | 79.48 | 70.33 | 80.31 | 94.67 | 55.74 | 62.41 | 105.3 | 67.52 | 38.5 | 43.8 | 38.04 | 50.92 | 56.63 | 39.45 | 28.97 | 40.46 | 40.03 | 32.35 | 38.24 | 28.12 | 33.6 | 41.13 | 32.23 | 27.44 | 32.93 | 24.69 | 31.54 | 26.52 | 18.2 | 19.94 | 17.55 | 13.03 | 19.26 | 17.25 | 14.25 | 7.31 | 5.525 | 8.805 | 9.117
255 | 49.64 | 52.7 | 56.01 | 99.3 | 74.97 | 304.9 | 3111 | 9999.9 | 7632 | 251.1 | 59.46 | 45.36 | 62.37 | 70.07 | 87.27 | 47.85 | 53.05 | 43.19 | 54.33 | 48.76 | 54.52 | 41.23 | 48.23 | 41.39 | 31.65 | 26.08 | 36.69 | 32.66 | 24.48 | 37.24 | 32.11 | 40.37 | 28.21 | 21.84 | 24.88 | 22.91 | 27.46 | 20.6 | 18.65 | 12.68 | 18.16 | 20.27 | 14.02 | 12.34 | 9.697 | 9.44 | 6.635
260 | 55.03 | 58.51 | 55.71 | 90.7 | 182.8 | 174.7 | 257.9 | 3762 | 9999.9 | 9357 | 327 | 96.72 | 89.84 | 69.91 | 50.92 | 55.56 | 58.33 | 43.37 | 56.87 | 46.08 | 43.01 | 47.33 | 49.01 | 50.3 | 28.83 | 35.23 | 37.62 | 22.42 | 28.42 | 22.24 | 28.59 | 22.87 | 36.31 | 24.32 | 23.67 | 22.7 | 21.38 | 23.25 | 20.15 | 16.48 | 18.83 | 15.74 | 12.91 | 12.27 | 15.33 | 10.16 | 7.471
265 | 66.58 | 76.05 | 73.61 | 114.4 | 119.6 | 101.7 | 104.7 | 300.4 | 4717 | 9999.9 | 9999.9 | 410.9 | 59.8 | 106.2 | 50.99 | 67.25 | 62.31 | 55.21 | 67.07 | 44.2 | 53.4 | 49.05 | 43.84 | 32.6 | 44.69 | 38.65 | 35.81 | 28.1 | 34.06 | 24.36 | 22.25 | 22.24 | 29.65 | 34.25 | 25.55 | 19.82 | 19.99 | 24.14 | 20.37 | 20.73 | 17.7 | 13.99 | 15.85 | 14.31 | 12.76 | 11.92 | 7.331
270 | 95.9 | 65.07 | 61.83 | 53.07 | 80.1 | 79.67 | 112.3 | 81.35 | 381.1 | 5901 | 9999.9 | 9999.9 | 521 | 69.44 | 76.27 | 58.17 | 48.69 | 43.3 | 43.08 | 54.7 | 68.57 | 45.82 | 31.86 | 36.59 | 41.41 | 38.27 | 25.5 | 35.72 | 21.17 | 26.6 | 24.85 | 32.25 | 31.4 | 27.82 | 26.59 | 23.68 | 20.99 | 18.3 | 16 | 18.3 | 16.13 | 17.25 | 17.26 | 15.18 | 13.98 | 12.79 | 10.51
275 | 85.9 | 81.35 | 49.01 | 82.73 | 111.9 | 59.49 | 118.7 | 101.3 | 85.75 | 452.3 | 7842 | 9999.9 | 9999.9 | 674.5 | 73.67 | 71.02 | 56.87 | 84.47 | 74.11 | 63.23 | 51 | 40.61 | 43.29 | 41.44 | 47.52 | 34.03 | 29.96 | 25.68 | 22.28 | 35.33 | 24.22 | 29.08 | 31.96 | 26.33 | 23.19 | 31.57 | 18.79 | 21.17 | 16.97 | 20.57 | 18.23 | 16.86 | 15.32 | 13.18 | 14.95 | 12.05 | 9.359
280 | 85.52 | 88.39 | 79.42 | 102.8 | 56.62 | 80.58 | 113.2 | 112.4 | 128.9 | 107.2 | 564.4 | 9999.9 | 9999.9 | 9999.9 | 811.7 | 86.66 | 77.74 | 77.3 | 66.98 | 68.44 | 64.08 | 48.61 | 55.99 | 42.35 | 38.68 | 37.61 | 37.79 | 22.97 | 34.1 | 26.67 | 22.67 | 29.22 | 21.57 | 22.64 | 26.55 | 29.4 | 24.94 | 18.92 | 21.48 | 13.18 | 18.63 | 14.67 | 20.94 | 13.68 | 11.95 | 10.99 | 12.1
285 | 116.2 | 97.47 | 97.99 | 85.1 | 122.5 | 85.38 | 84.2 | 118 | 130.4 | 156.1 | 159.5 | 802.9 | 9999.9 | 9999.9 | 9999.9 | 1083 | 123.5 | 98.59 | 98.11 | 82.83 | 51.48 | 49.42 | 48.57 | 57.16 | 37.85 | 21.71 | 34.72 | 33.75 | 38.41 | 28.82 | 27.03 | 21.99 | 17.52 | 22.77 | 23.23 | 24.66 | 22.49 | 20.4 | 21.03 | 16.48 | 16.63 | 16.64 | 15.76 | 15.28 | 13.31 | 10.32 | 11.18
290 | 89.07 | 129.1 | 137.5 | 157.5 | 101.8 | 93.94 | 64.25 | 133.2 | 111.1 | 254.4 | 223.9 | 356.4 | 993.5 | 9999.9 | 9999.9 | 9999.9 | 1165 | 93.63 | 94.71 | 73.24 | 70.04 | 59.29 | 39.35 | 47.75 | 50.32 | 33.6 | 32.18 | 27.76 | 30.67 | 28.06 | 33.17 | 25.66 | 23.33 | 16.3 | 21.72 | 19.17 | 24.73 | 25.66 | 21.94 | 17.5 | 21.08 | 12.56 | 14.66 | 13.12 | 12.74 | 12.46 | 12.52
295 | 138.5 | 154.8 | 176.5 | 175.1 | 116.6 | 103.5 | 110.5 | 120.6 | 163.5 | 343.9 | 496.7 | 490.8 | 800.8 | 1358 | 9999.9 | 9999.9 | 9999.9 | 1221 | 141.4 | 91.97 | 89.97 | 61.1 | 72.96 | 34.34 | 51.57 | 57.47 | 34.15 | 34.55 | 27.94 | 24.21 | 26.45 | 24.78 | 29.85 | 21.33 | 22.27 | 22.32 | 19.87 | 21.16 | 26.73 | 20.63 | 19.33 | 15.38 | 14.82 | 15.77 | 17.48 | 17.73 | 14.19
300 | 128 | 189.9 | 233.1 | 167.2 | 210.8 | 116.8 | 133.3 | 156.1 | 239.5 | 354.7 | 712 | 987 | 1121 | 1281 | 1563 | 9999.9 | 9999.9 | 9999.9 | 1466 | 137.6 | 98.21 | 78.4 | 76.71 | 47.61 | 53.72 | 47.49 | 32.16 | 37.12 | 30.06 | 27.67 | 33.46 | 24.88 | 25.68 | 20.56 | 26.77 | 17.2 | 20.13 | 17.22 | 15.77 | 24.27 | 18.11 | 20.16 | 18.02 | 19.24 | 16.05 | 17.04 | 15.45
305 | 111.1 | 238.5 | 205.3 | 252.1 | 200 | 211.9 | 186.5 | 194.8 | 325.2 | 531 | 791.5 | 1456 | 1604 | 1854 | 1497 | 1562 | 9999.9 | 9999.9 | 9999.9 | 1311 | 164.6 | 113.5 | 81.53 | 51.51 | 57.48 | 54.08 | 36.14 | 30.22 | 36.11 | 35.01 | 40.69 | 23.13 | 23.78 | 21.63 | 21.51 | 21.79 | 17.1 | 20.08 | 15.91 | 15.65 | 23.49 | 22.07 | 14.53 | 14.39 | 14.13 | 17.77 | 17.61
310 | 158.4 | 277.2 | 347.2 | 226.8 | 238 | 276.3 | 206.4 | 271.2 | 344 | 763.8 | 1000 | 1595 | 2179 | 2375 | 1905 | 1415 | 1249 | 9999.9 | 9999.9 | 9999.9 | 1588 | 139.7 | 118.6 | 89.62 | 55.2 | 48.87 | 43.74 | 35.39 | 33.33 | 31.75 | 29.24 | 32.55 | 33.18 | 15.72 | 25.66 | 20.29 | 21.58 | 18.48 | 14.75 | 14.33 | 20.48 | 18.62 | 16.09 | 17.28 | 14.9 | 14.76 | 16.04
315 | 190.4 | 281.4 | 384 | 343.2 | 214.1 | 180.8 | 215 | 318.4 | 449.8 | 800.3 | 1280 | 1672 | 2636 | 2955 | 2587 | 1869 | 911.1 | 1069 | 9999.9 | 9999.9 | 9999.9 | 1591 | 128.7 | 115 | 79.91 | 53.73 | 52.87 | 42.29 | 47.8 | 36.59 | 34.44 | 23.63 | 29.35 | 28.73 | 16.38 | 26.44 | 14.88 | 17.13 | 18.41 | 15.42 | 13.68 | 16.31 | 21.18 | 19.64 | 16.17 | 14.91 | 14.94
320 | 193.8 | 395.9 | 435 | 402.5 | 254 | 258.5 | 301.9 | 369.9 | 543.1 | 821.4 | 1592 | 2213 | 2626 | 3208 | 3341 | 2293 | 1045 | 453.3 | 998.7 | 9999.9 | 9999.9 | 9999.9 | 1348 | 154.1 | 99.69 | 73.14 | 75.18 | 49.25 | 39.05 | 43.63 | 31.78 | 28.45 | 26.54 | 20.29 | 32.3 | 20.45 | 16.96 | 19.14 | 18.06 | 14.44 | 14.34 | 13.15 | 17.73 | 19.96 | 16.94 | 15.96 | 13.53
325 | 211.5 | 322.5 | 474.4 | 490.5 | 347.7 | 272.8 | 330 | 400.3 | 631.7 | 973.1 | 1703 | 2327 | 2985 | 4008 | 3738 | 2651 | 1350 | 486.4 | 272 | 890 | 9999.9 | 9999.9 | 9999.9 | 1388 | 110.6 | 116.1 | 73.36 | 66.47 | 49.03 | 45.06 | 31.58 | 25.88 | 27.79 | 30.46 | 29.7 | 24.76 | 28.84 | 15.44 | 19.24 | 14.32 | 15.1 | 11.82 | 17.11 | 19.03 | 16.58 | 18.6 | 15.18
330 | 229.5 | 341.7 | 558.2 | 421.9 | 339.7 | 218.6 | 235.7 | 414.3 | 645 | 1041 | 1685 | 2852 | 3099 | 3789 | 4048 | 2907 | 1363 | 508.7 | 203 | 216 | 881.7 | 9999.9 | 9999.9 | 9999.9 | 1244 | 138.7 | 100.8 | 67.15 | 45.34 | 44.6 | 39.89 | 32.62 | 33.41 | 27.2 | 24.68 | 19.19 | 17.7 | 23.01 | 17.9 | 18.64 | 14.65 | 11.06 | 11.92 | 16.04 | 15.36 | 16.8 | 18.92
335 | 188.7 | 378.5 | 509.4 | 428.3 | 307.4 | 265 | 314.8 | 343.7 | 577.6 | 1035 | 1704 | 2357 | 3378 | 3962 | 3942 | 2659 | 1484 | 675.9 | 218.2 | 175.7 | 206.2 | 845.2 | 9999.9 | 9999.9 | 9999.9 | 1295 | 137.3 | 108.1 | 72.78 | 50.79 | 41.69 | 22.07 | 25.79 | 21.7 | 22.84 | 24.92 | 14.92 | 16.2 | 17.78 | 14.78 | 18.81 | 15.06 | 14.94 | 11.45 | 16.69 | 16.93 | 19.89
340 | 248.8 | 392.2 | 413.5 | 393.4 | 276.5 | 196.6 | 258.4 | 395.1 | 585.4 | 928.5 | 1594 | 2265 | 3101 | 3568 | 3517 | 2583 | 1323 | 763.8 | 339.3 | 142.4 | 134.3 | 203.8 | 877.2 | 9999.9 | 9999.9 | 9999.9 | 1264 | 142.8 | 108.8 | 60.94 | 37.89 | 38.07 | 38.73 | 26.41 | 24.99 | 30.24 | 24.59 | 20.88 | 17.7 | 17.91 | 12.62 | 10.59 | 12.26 | 12.45 | 15.04 | 13.86 | 14.5
345 | 176.2 | 362.1 | 498.1 | 346.6 | 298.2 | 274 | 239.6 | 367.3 | 625.2 | 843 | 1522 | 2269 | 3217 | 3770 | 3939 | 2373 | 1146 | 657.8 | 489.9 | 172 | 142.5 | 109.5 | 202.4 | 903.4 | 9999.9 | 9999.9 | 9999.9 | 1127 | 108.5 | 77.39 | 68.93 | 46.5 | 36.73 | 24.43 | 28.44 | 27.95 | 22.11 | 17.97 | 20.68 | 19.1 | 18.31 | 12.55 | 13.09 | 14.74 | 16.6 | 14.62 | 12.26
350 | 214.7 | 271.5 | 424.4 | 303.6 | 289.2 | 255.2 | 229.4 | 329.8 | 529.8 | 822.8 | 1339 | 1827 | 2575 | 2860 | 3100 | 2166 | 1090 | 494.7 | 393.7 | 328 | 133.6 | 128.8 | 112.2 | 195.3 | 840 | 9999.9 | 9999.9 | 9999.9 | 1019 | 111.1 | 79.58 | 54.3 | 46.23 | 43.4 | 32.04 | 32.07 | 20.73 | 20.26 | 14.72 | 20.15 | 17.65 | 19.19 | 17.85 | 10.47 | 13.27 | 13.51 | 12.5
355 | 199.5 | 268.4 | 313.6 | 396.5 | 278.8 | 213.4 | 216.1 | 267.1 | 448.2 | 658.7 | 1157 | 1687 | 1999 | 2502 | 2595 | 1915 | 1113 | 454.3 | 212.2 | 329.5 | 276.5 | 125.3 | 92 | 132.9 | 169.3 | 859.5 | 9999.9 | 9999.9 | 9999.9 | 980.6 | 114.1 | 84.18 | 53.61 | 39.73 | 39.23 | 24.04 | 22.28 | 20.57 | 22.12 | 13.96 | 16.1 | 11.91 | 10.28 | 10.85 | 9.634 | 11.5 | 10.85
360 | 173.4 | 226.7 | 274.5 | 301 | 204.4 | 223.6 | 273.9 | 282.2 | 407 | 563.3 | 1052 | 1354 | 1716 | 2090 | 2150 | 1683 | 810.9 | 365.3 | 212.4 | 192.6 | 411.3 | 234.9 | 115.6 | 119.2 | 118.4 | 163.6 | 823.5 | 9999.9 | 9999.9 | 9999.9 | 876.1 | 101.8 | 65.12 | 49.18 | 40.81 | 30.3 | 20.61 | 21.36 | 27.63 | 23.38 | 18.47 | 15.52 | 14.95 | 11.65 | 13.46 | 10.23 | 13.34
365 | 152.3 | 142.7 | 306.8 | 297.7 | 179.4 | 165.4 | 187.6 | 273.2 | 331.5 | 578.2 | 871.9 | 1364 | 1495 | 1886 | 1805 | 1211 | 764.1 | 344.4 | 161.7 | 143.4 | 189.1 | 362.1 | 191.3 | 114.1 | 114.8 | 114.6 | 166.8 | 859.3 | 9999.9 | 9999.9 | 9999.9 | 781.6 | 103 | 74.49 | 47.64 | 33.36 | 27.9 | 21.5 | 18.5 | 19.22 | 17.39 | 17.08 | 12.69 | 12.59 | 15.05 | 11.21 | 13.42
370 | 161.2 | 251 | 277.2 | 222.8 | 207.2 | 142.7 | 161.7 | 253.4 | 303.8 | 454.4 | 731.8 | 898.7 | 1302 | 1492 | 1587 | 1075 | 641.5 | 322.5 | 145.6 | 125.7 | 120.4 | 221.9 | 287.3 | 143.4 | 109.2 | 99.82 | 115.7 | 180.2 | 832.3 | 9999.9 | 9999.9 | 9999.9 | 730.6 | 101.4 | 60.57 | 51.94 | 37.14 | 28.34 | 22.54 | 20.11 | 17.79 | 15.72 | 13.78 | 13.22 | 13.84 | 11.22 | 11.07
375 | 131.5 | 213.7 | 226.6 | 224.6 | 149 | 157.6 | 133.6 | 184.1 | 342 | 371.3 | 596.8 | 774.4 | 1129 | 1274 | 1254 | 1044 | 546.8 | 295.7 | 139.2 | 125.2 | 91.85 | 121.9 | 328.9 | 254 | 133.1 | 104 | 95.66 | 116.4 | 176.8 | 866.1 | 9999.9 | 9999.9 | 9999.9 | 697.2 | 85.02 | 53.67 | 46.03 | 28.12 | 29.96 | 21.22 | 21.71 | 21.14 | 14.68 | 12.64 | 12.72 | 10.91 | 12.26
380 | 125.1 | 129.1 | 194.1 | 216.4 | 131.7 | 144.3 | 128.9 | 149.5 | 265 | 365.5 | 462.6 | 674.1 | 974.9 | 1014 | 1169 | 790.8 | 445.1 | 243 | 140.5 | 133.6 | 117.8 | 102.2 | 149.7 | 320.6 | 223.9 | 108.9 | 83.22 | 126.8 | 101.9 | 160 | 820.1 | 9999.9 | 9999.9 | 9999.9 | 663.3 | 82.54 | 57.23 | 50.04 | 28.64 | 26.79 | 21.92 | 22.56 | 16.65 | 13.46 | 15.08 | 12.59 | 11.73
385 | 136.2 | 142.6 | 159 | 176.3 | 149.3 | 100.2 | 132.5 | 125.2 | 229.1 | 269.7 | 439.8 | 644.5 | 792.5 | 865.9 | 855.5 | 662.1 | 383.1 | 230 | 110.4 | 119.5 | 106.3 | 123.2 | 118.8 | 175.9 | 334.5 | 174.2 | 95.98 | 98.11 | 90.55 | 85.48 | 158.3 | 832.8 | 9999.9 | 9999.9 | 9999.9 | 549.7 | 77.51 | 58.93 | 35.27 | 26 | 26.67 | 21.85 | 19.4 | 15.89 | 15.94 | 13.94 | 13.76
390 | 118.7 | 142.6 | 173.2 | 182.3 | 97.17 | 125.4 | 110.4 | 159.7 | 158.5 | 314.9 | 286.9 | 395.7 | 679.1 | 632 | 789.5 | 574.3 | 331.4 | 157.8 | 120.8 | 120.1 | 99.03 | 119.2 | 99.87 | 104.7 | 203.2 | 274.8 | 135.5 | 77.58 | 95.79 | 70.67 | 90.23 | 143.8 | 805.7 | 9999.9 | 9999.9 | 9999.9 | 549 | 80.95 | 51.25 | 37.56 | 27.34 | 27.72 | 15.39 | 19.05 | 15.19 | 17.35 | 11.5
395 | 92.99 | 95.47 | 179.3 | 148 | 154.9 | 110.4 | 164.4 | 151.6 | 169.9 | 201.1 | 245.9 | 354.9 | 541.1 | 600.7 | 680.9 | 394.2 | 313.1 | 161.7 | 148.2 | 141.9 | 120.9 | 103.2 | 102.8 | 105.2 | 120.9 | 195.2 | 220 | 104.6 | 64.57 | 93.39 | 78.33 | 82.22 | 140.2 | 825.8 | 9999.9 | 9999.9 | 9999.9 | 453.9 | 72.09 | 45.14 | 33.82 | 30.59 | 18.95 | 21.23 | 18.65 | 14.82 | 12
400 | 141.2 | 192.7 | 149.9 | 96.11 | 124.9 | 158.9 | 86.44 | 129.6 | 164.1 | 195.2 | 232.5 | 265 | 401.9 | 466.4 | 501.5 | 382.5 | 239.6 | 164.5 | 144.6 | 109.1 | 98.27 | 112.2 | 99.78 | 73.24 | 104.9 | 116.7 | 236.9 | 207 | 86.33 | 70.55 | 73.2 | 74.16 | 82.04 | 127.6 | 778.6 | 9999.9 | 9999.9 | 9999.9 | 388.4 | 65.36 | 53.14 | 32.46 | 23.1 | 21.71 | 20.59 | 15.52 | 12.34
405 | 84.83 | 155.5 | 103.7 | 167.3 | 79.68 | 145.2 | 96.63 | 121.4 | 111.9 | 196.5 | 196.6 | 274.7 | 335.6 | 398.4 | 402.3 | 395.1 | 244.4 | 183.3 | 136.2 | 147.6 | 113.3 | 123.3 | 87.25 | 93.78 | 107.6 | 96.39 | 131.6 | 198.5 | 141.3 | 96.8 | 66.62 | 66.29 | 62.53 | 75.08 | 127.9 | 759.2 | 9999.9 | 9999.9 | 9999.9 | 399.6 | 55.33 | 44.58 | 32.02 | 22.71 | 19.11 | 17.31 | 15.86
410 | 117.8 | 148.5 | 104.7 | 107.4 | 145.8 | 114.7 | 142.5 | 102.5 | 122.5 | 212.1 | 200.5 | 223 | 272.8 | 321 | 303.9 | 235.6 | 178.8 | 137 | 162.4 | 100.6 | 136.9 | 110.2 | 102.2 | 118 | 106.9 | 96 | 98.54 | 122.8 | 212.3 | 118.9 | 73.25 | 60.11 | 66.53 | 63.52 | 72.43 | 108.4 | 750.3 | 9999.9 | 9999.9 | 9999.9 | 330.1 | 60.01 | 43.31 | 24.33 | 25.19 | 16.94 | 17.52
415 | 118.9 | 118.1 | 110.6 | 124.7 | 108.3 | 120.3 | 118.9 | 114.2 | 107.4 | 141.5 | 198 | 238.6 | 233 | 296 | 321.8 | 256.1 | 168.8 | 131.4 | 115 | 105.2 | 92.25 | 123.4 | 143.1 | 116.7 | 117.4 | 103.7 | 103.1 | 118.7 | 240.5 | 229.5 | 112.8 | 70.73 | 66.2 | 60.71 | 58.72 | 55.82 | 124.2 | 755 | 9999.9 | 9999.9 | 9999.9 | 313.9 | 59.03 | 38.51 | 29.21 | 23.95 | 17.51
420 | 124.1 | 119.7 | 155.6 | 113.2 | 100.1 | 109.6 | 103.8 | 90.82 | 114.3 | 131.6 | 164 | 171 | 220.5 | 239.6 | 295.1 | 238.5 | 214.9 | 143.6 | 91.63 | 104.3 | 93.88 | 100.6 | 124.1 | 99.89 | 98.7 | 80.84 | 89.46 | 99.11 | 137 | 192.4 | 174.7 | 94.08 | 65.02 | 59.79 | 47.21 | 48.29 | 57.35 | 105.8 | 752.3 | 9999.9 | 9999.9 | 9999.9 | 315.2 | 48.5 | 40.76 | 26.64 | 18.61
425 | 116.8 | 159.9 | 125.4 | 99.09 | 106.3 | 121.4 | 87.29 | 123.5 | 149.2 | 175.8 | 155.8 | 194.9 | 182.8 | 205.4 | 174.2 | 216.9 | 152.5 | 126 | 102.1 | 103.7 | 104.5 | 104.3 | 105.4 | 131.2 | 111.3 | 113.9 | 92.9 | 108 | 85.33 | 120.2 | 180.5 | 120.8 | 73.21 | 54.1 | 53.14 | 40.62 | 49.29 | 55.75 | 105 | 747.9 | 9999.9 | 9999.9 | 9999.9 | 264.2 | 50.76 | 33.57 | 21.05
430 | 131 | 138.1 | 103.2 | 93.84 | 122.7 | 76.42 | 107.2 | 126 | 80.49 | 129.9 | 141.1 | 140.9 | 224.1 | 185 | 175.3 | 172.9 | 147.5 | 109.1 | 99.89 | 112.5 | 112.9 | 109 | 115.9 | 109.4 | 110.7 | 107.2 | 110.3 | 88.87 | 88.12 | 84.89 | 112.2 | 143.5 | 97.48 | 55.78 | 41.51 | 51.73 | 40.42 | 49.49 | 47.6 | 100.6 | 729.9 | 9999.9 | 9999.9 | 9999.9 | 263.6 | 39.51 | 29.51
435 | 276.6 | 111.3 | 145.1 | 110.7 | 108.6 | 122.5 | 107.1 | 58.18 | 105.6 | 124 | 136.6 | 137.3 | 173 | 151.5 | 165.9 | 185.4 | 111.2 | 97.85 | 113.8 | 107.7 | 109.4 | 87.48 | 81.12 | 91.88 | 112.6 | 104.1 | 89.86 | 103.3 | 104.2 | 95.31 | 98.23 | 106.8 | 125.5 | 62.35 | 44.6 | 51.45 | 38.52 | 45.61 | 42.93 | 46.1 | 101.6 | 745.1 | 9999.9 | 9999.9 | 9999.9 | 265.7 | 43.19
440 | 435.8 | 249.5 | 107.8 | 88.85 | 108.7 | 146.7 | 108.5 | 95.65 | 103.5 | 112.6 | 105.5 | 135.3 | 150.7 | 172.8 | 178.4 | 148.3 | 142.8 | 104.2 | 102.6 | 127.1 | 94.78 | 113.2 | 115.5 | 108.8 | 99.52 | 105.7 | 102.3 | 86.6 | 101.1 | 83.94 | 88.07 | 67.83 | 115.1 | 98.32 | 58.14 | 34.4 | 30.97 | 33.34 | 45.22 | 42.57 | 45.6 | 95.33 | 725 | 9999.9 | 9999.9 | 9999.9 | 209.7
445 | 213.2 | 556.7 | 150.4 | 148.5 | 146.1 | 112.4 | 91.45 | 100.5 | 133.2 | 90.77 | 96.46 | 148.3 | 151.2 | 113.4 | 165.9 | 158.5 | 128.3 | 91.12 | 129.1 | 90.48 | 89.72 | 98.25 | 99.97 | 90.61 | 91.21 | 112.3 | 82.36 | 101.2 | 80.82 | 72.46 | 80.92 | 64.03 | 74.4 | 114.1 | 67.41 | 48.04 | 36.32 | 33.33 | 35.05 | 35.86 | 31.73 | 41.53 | 91.37 | 717.5 | 9999.9 | 9999.9 | 9999.9
450 | 161.7 | 602.6 | 348.1 | 130.8 | 118.7 | 138 | 72.41 | 102 | 86.34 | 92.48 | 84.06 | 160 | 99.56 | 169 | 160.3 | 137 | 108.7 | 128.8 | 97.57 | 101.7 | 73.32 | 87.85 | 89.32 | 106.7 | 100.1 | 86.79 | 92.7 | 83.87 | 93.42 | 74.43 | 72.62 | 53.79 | 58.07 | 71.49 | 96.01 | 64.05 | 39.79 | 25.53 | 30.05 | 27.81 | 35.49 | 36.93 | 39.63 | 85.94 | 713.8 | 9999.9 | 9999.9
455 | 80.06 | 455.8 | 1109 | 226 | 98.21 | 89.37 | 114 | 93.71 | 103.3 | 114.1 | 110.4 | 140.2 | 103.8 | 143.8 | 161.3 | 128.2 | 128.3 | 112.5 | 99.07 | 89.89 | 107.9 | 93.93 | 116 | 99.09 | 111.9 | 81.07 | 89.74 | 93.3 | 75.98 | 62.99 | 61.25 | 61.16 | 48.25 | 48.56 | 77.15 | 82.49 | 45.74 | 28.32 | 34.91 | 32.74 | 36.34 | 30.47 | 36.16 | 32.4 | 96.15 | 720.3 | 9999.9
460 | 97.11 | 163.4 | 1293 | 791.9 | 106.8 | 106.2 | 106.4 | 120.8 | 121.9 | 97.91 | 129.1 | 126.4 | 147 | 138.8 | 103.6 | 114.1 | 123.8 | 108.9 | 128.9 | 104.1 | 115.8 | 76.02 | 98.7 | 105.2 | 94.01 | 95.09 | 102 | 103.4 | 66.68 | 74.36 | 75.78 | 66.85 | 45.7 | 42.16 | 49.47 | 85.67 | 72.33 | 31.89 | 34.83 | 30.66 | 31.26 | 29.24 | 29.19 | 33.59 | 35.07 | 86.81 | 701.4
465 | 152.9 | 120.5 | 873.6 | 1384 | 215.2 | 98.79 | 91.34 | 143.8 | 99.48 | 136.2 | 138.8 | 100 | 133.9 | 150.1 | 107.8 | 141.3 | 122.1 | 129.6 | 95.96 | 110.4 | 94.16 | 88.61 | 79.44 | 105 | 90.73 | 96.72 | 99.85 | 79.72 | 79.24 | 79.54 | 68.43 | 61.2 | 53.04 | 46.35 | 47 | 43.51 | 74.81 | 57.31 | 27.76 | 28.35 | 26.87 | 29.8 | 27.07 | 27.72 | 30.31 | 37.21 | 76.94
470 | 97.66 | 158.6 | 211.6 | 2055 | 826.4 | 88.25 | 125.7 | 120.4 | 111.6 | 119.9 | 126.4 | 109.4 | 124 | 106.9 | 143.8 | 108.8 | 111.4 | 104.3 | 103.1 | 91.97 | 85.87 | 102.3 | 72.87 | 93.42 | 70.55 | 96.49 | 88.92 | 93.3 | 71.82 | 70.56 | 73.79 | 52.72 | 49 | 43.59 | 43.71 | 39.22 | 53.07 | 70.82 | 44.86 | 38.17 | 26.4 | 30.59 | 30.44 | 28.7 | 25.86 | 30.23 | 36.73
475 | 111.5 | 116.1 | 173.7 | 1396 | 2458 | 180.7 | 98.23 | 96.17 | 90.62 | 81.11 | 110.9 | 124.8 | 102.8 | 122.5 | 100 | 109.8 | 82.61 | 107 | 88.08 | 102.2 | 86.45 | 116.5 | 93.02 | 74 | 95.3 | 80.78 | 60.22 | 76.29 | 74.08 | 62.92 | 59.47 | 47.21 | 37.28 | 39.39 | 37.18 | 32.23 | 32.76 | 51.5 | 57.34 | 32.92 | 30.08 | 24.5 | 29.32 | 23.44 | 22.11 | 24.2 | 27.49
480 | 96.33 | 110 | 102.9 | 321.5 | 2672 | 1041 | 103.6 | 96.59 | 84.3 | 85.78 | 96.79 | 103.6 | 123 | 110.5 | 71.08 | 110.5 | 91.61 | 113.4 | 83.05 | 70.1 | 84.55 | 86.48 | 90.33 | 99.1 | 76.09 | 77.76 | 62.23 | 79.65 | 64.55 | 46.5 | 60.14 | 46.66 | 48.94 | 38.79 | 36.93 | 32.76 | 33.22 | 32.51 | 47.92 | 49.06 | 27.4 | 23.77 | 18.35 | 22.24 | 20.64 | 24.07 | 20.44
485 | 147.7 | 97.18 | 115.4 | 119.9 | 1835 | 2945 | 223.5 | 83.97 | 119 | 94.22 | 76.32 | 99.77 | 97.66 | 142.7 | 106.4 | 89.59 | 70.01 | 126.6 | 82.94 | 79.54 | 77.05 | 105.4 | 89.9 | 74.73 | 101.2 | 61.2 | 63.72 | 86.81 | 46.56 | 59.43 | 56.58 | 53.42 | 48.3 | 34.98 | 41.78 | 31.85 | 32.95 | 32.5 | 33.83 | 51.19 | 39.68 | 21.49 | 21.23 | 23.48 | 19.56 | 21.4 | 19.72
490 | 133.6 | 106.2 | 145.7 | 111.8 | 410.1 | 3726 | 1318 | 115.8 | 82.09 | 110.1 | 91.64 | 110 | 89.12 | 126.1 | 96.96 | 86.28 | 88.53 | 92.53 | 68.09 | 65.69 | 76.7 | 98.92 | 78.96 | 85.09 | 89.65 | 79.42 | 68.14 | 56.27 | 68.86 | 39.92 | 41.12 | 52.57 | 55.99 | 40.43 | 34.69 | 32.51 | 31.21 | 32.21 | 28.91 | 48.21 | 63.03 | 37.29 | 26.11 | 22 | 19.93 | 21.27 | 20.74
495 | 137.3 | 130.6 | 114.6 | 97.97 | 141 | 2180 | 2916 | 201.4 | 77.85 | 96.12 | 95.55 | 106.2 | 118.3 | 110.7 | 110.3 | 103 | 81.62 | 96.66 | 92.84 | 94.11 | 83.85 | 100.9 | 84.84 | 72.64 | 83.03 | 75.76 | 70.9 | 58.98 | 69.05 | 52.4 | 53.64 | 53.97 | 42.46 | 33.34 | 34.82 | 29.22 | 35.25 | 28.36 | 29.91 | 31.46 | 39.7 | 40.58 | 27.17 | 18.1 | 22.33 | 21.04 | 19.6
500 | 93.88 | 120.7 | 122.5 | 96.97 | 102.6 | 672.9 | 4278 | 798.7 | 84.43 | 92.44 | 99.55 | 93.78 | 102 | 109.1 | 110.1 | 73.36 | 79.04 | 76.44 | 74.71 | 68.92 | 103.1 | 81.07 | 79.06 | 76.85 | 66.4 | 67.43 | 62.32 | 74.91 | 54.19 | 56.91 | 51.38 | 40.99 | 51.2 | 36.74 | 33.1 | 30.07 | 27.56 | 26.12 | 21.71 | 27.6 | 27.59 | 40.33 | 42.11 | 23.15 | 21.3 | 23.7 | 23.54