## Sheet1
Report date: | 15:07:27, 04/17/2024
Sample: | 1
File name:
Run date: | 15:04:44, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/265.0 | 61.87
2 | 225.0/310.0 | 273.4
3 | 225.0/365.0 | 289.1
4 | 225.0/380.0 | 156.3
5 | 225.0/405.0 | 111.3
6 | 225.0/415.0 | 118.5
7 | 230.0/325.0 | 494
8 | 230.0/385.0 | 143.3
9 | 230.0/420.0 | 121.7
10 | 230.0/435.0 | 106.6
11 | 235.0/260.0 | 59.1
12 | 235.0/280.0 | 86.41
13 | 235.0/365.0 | 245.3
14 | 235.0/410.0 | 125
15 | 235.0/440.0 | 91.73
16 | 245.0/285.0 | 78.77
17 | 245.0/385.0 | 149.4
18 | 245.0/395.0 | 126.8
19 | 245.0/415.0 | 127.4
20 | 245.0/430.0 | 109.7
21 | 245.0/450.0 | 87.53
22 | 250.0/405.0 | 121.7
23 | 250.0/435.0 | 101
24 | 250.0/460.0 | 109.8
25 | 255.0/280.0 | 129.7
26 | 255.0/430.0 | 116.2
27 | 255.0/440.0 | 92.21
28 | 260.0/425.0 | 115.6
29 | 260.0/460.0 | 105.4
30 | 260.0/480.0 | 85.01
31 | 265.0/470.0 | 123.2
32 | 265.0/485.0 | 96.07
33 | 270.0/430.0 | 136
34 | 275.0/440.0 | 129.6
35 | 275.0/460.0 | 118.9
36 | 280.0/420.0 | 227.1
37 | 280.0/435.0 | 145.6
38 | 280.0/470.0 | 129.2
39 | 285.0/325.0 | 3158
40 | 285.0/335.0 | 3508
41 | 285.0/440.0 | 154.5
42 | 285.0/450.0 | 113.1
43 | 285.0/480.0 | 113.1
44 | 290.0/475.0 | 91.54
45 | 295.0/260.0 | 39.33
46 | 295.0/460.0 | 109.2
47 | 295.0/470.0 | 113.1
48 | 295.0/490.0 | 83.74
49 | 300.0/455.0 | 111.3
50 | 305.0/260.0 | 51.24
51 | 305.0/440.0 | 126.1
52 | 305.0/460.0 | 79.84
53 | 305.0/470.0 | 85.49
54 | 305.0/485.0 | 102.4
55 | 310.0/495.0 | 95
56 | 315.0/255.0 | 38.92
57 | 315.0/265.0 | 40.14
58 | 315.0/275.0 | 50.03
59 | 315.0/405.0 | 129.4
60 | 315.0/415.0 | 120.1
61 | 315.0/465.0 | 85.13
62 | 315.0/485.0 | 76.51
63 | 320.0/260.0 | 37.1
64 | 320.0/285.0 | 47.59
65 | 320.0/360.0 | 302.4
66 | 320.0/395.0 | 114.5
67 | 320.0/410.0 | 104.9
68 | 320.0/445.0 | 116.2
69 | 325.0/300.0 | 78.2
70 | 325.0/365.0 | 333.3
71 | 325.0/420.0 | 127.5
72 | 325.0/470.0 | 89.25
73 | 330.0/375.0 | 291
74 | 330.0/445.0 | 127.8
75 | 330.0/490.0 | 71.81
76 | 335.0/285.0 | 44.08
77 | 335.0/380.0 | 295.5
78 | 335.0/400.0 | 87.21
79 | 335.0/430.0 | 102.4
80 | 335.0/460.0 | 89.18
81 | 335.0/480.0 | 72.35
82 | 340.0/260.0 | 26.08
83 | 340.0/290.0 | 34.92
84 | 340.0/385.0 | 235.4
85 | 340.0/410.0 | 94.66
86 | 340.0/440.0 | 96.61
87 | 345.0/265.0 | 27.91
88 | 345.0/310.0 | 48.69
89 | 345.0/390.0 | 221.5
90 | 345.0/415.0 | 81.84
91 | 345.0/485.0 | 64.29
92 | 350.0/295.0 | 34.99
93 | 350.0/425.0 | 90.86
94 | 355.0/300.0 | 27.49
95 | 355.0/405.0 | 170.9
96 | 355.0/445.0 | 92.8
97 | 355.0/470.0 | 70.8
98 | 360.0/260.0 | 18.48
99 | 360.0/410.0 | 187.5
100 | 360.0/435.0 | 74.78
101 | 360.0/485.0 | 55.84
102 | 365.0/255.0 | 21.65
103 | 365.0/290.0 | 20.17
104 | 365.0/415.0 | 178.3
105 | 365.0/475.0 | 54.76
106 | 370.0/270.0 | 19.39
107 | 370.0/285.0 | 22.1
108 | 370.0/310.0 | 19.76
109 | 370.0/465.0 | 54.66
110 | 375.0/260.0 | 21.22
111 | 375.0/280.0 | 21.26
112 | 375.0/315.0 | 23.31
113 | 375.0/330.0 | 36.72
114 | 375.0/430.0 | 126.6
115 | 380.0/285.0 | 17.4
116 | 380.0/295.0 | 17.88
117 | 380.0/435.0 | 127
118 | 380.0/455.0 | 55.19
119 | 380.0/490.0 | 36.87
120 | 385.0/270.0 | 22.95
121 | 385.0/445.0 | 111.2
122 | 385.0/485.0 | 36.66
123 | 390.0/295.0 | 15.58
124 | 390.0/450.0 | 102.2
125 | 395.0/275.0 | 18.08
126 | 395.0/285.0 | 17.61
127 | 395.0/320.0 | 17.44
128 | 395.0/340.0 | 17.84
129 | 395.0/430.0 | 43.96
130 | 395.0/460.0 | 76.38
131 | 400.0/465.0 | 68.38
132 | 400.0/485.0 | 26.12
133 | 405.0/290.0 | 20.38
134 | 405.0/305.0 | 15.58
135 | 405.0/325.0 | 13.37
136 | 405.0/470.0 | 61.45
137 | 410.0/270.0 | 16.97
138 | 410.0/320.0 | 13.66
139 | 410.0/455.0 | 26.48
140 | 410.0/480.0 | 54.62
141 | 415.0/345.0 | 12.1
142 | 415.0/360.0 | 15.5
143 | 415.0/460.0 | 25.8
144 | 420.0/300.0 | 13.6
145 | 420.0/350.0 | 12.14
146 | 420.0/490.0 | 39.81
147 | 425.0/285.0 | 14.82
148 | 425.0/310.0 | 15.51
149 | 425.0/330.0 | 11.31
150 | 425.0/475.0 | 24.37
151 | 430.0/300.0 | 13.67
152 | 430.0/350.0 | 10.89
153 | 430.0/365.0 | 12.02
154 | 430.0/470.0 | 22.94
155 | 430.0/480.0 | 21.01
156 | 435.0/320.0 | 11.79
157 | 435.0/380.0 | 13.43
158 | 440.0/285.0 | 12.95
159 | 440.0/315.0 | 12.56
160 | 440.0/335.0 | 11.36
161 | 445.0/365.0 | 11.11
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 52.83 | 52.88 | 51.17 | 49.13 | 41.14 | 2853 | 8513 | 2859 | 51.58 | 39.07 | 45.4 | 12.9 | 39.89 | 47.39 | 26.76 | 29.72 | 32.71 | 38.33 | 52.94 | 38.26 | 36.3 | 20.21 | 19.17 | 22.02 | 20.99 | 19.93 | 14.58 | 23.74 | 29.79 | 20.61 | 23.12 | 17.79 | 18.67 | 15.5 | 15.77 | 12.88 | 14.02 | 15.84 | 7.947 | 9.657 | 10.21 | 8.282 | 9.361 | 4.474 | 6.462 | 3.387 | 4.563
255 | 39.34 | 31.69 | 28.63 | 57.29 | 73.64 | 259.4 | 2727 | 9999.9 | 6148 | 203.8 | 51.98 | 37.57 | 51.54 | 44.19 | 28.36 | 25.59 | 30.26 | 37.89 | 32.9 | 38.92 | 31.91 | 31.2 | 27.47 | 17.08 | 23.39 | 30.42 | 13.58 | 23.34 | 11.22 | 21.65 | 16.76 | 17.19 | 16.62 | 15.57 | 14.02 | 16.01 | 10.35 | 12.74 | 10.77 | 14.31 | 11.76 | 8.264 | 9.298 | 7.311 | 6.659 | 6.629 | 4.24
260 | 47.09 | 34.24 | 32.99 | 59.1 | 55.83 | 54.89 | 208.7 | 3532 | 9999.9 | 7921 | 303.3 | 46.57 | 64.88 | 53.19 | 25.93 | 39.33 | 28.77 | 51.24 | 18.07 | 25.82 | 37.1 | 31.71 | 24.42 | 20 | 26.08 | 19.93 | 14.29 | 11.62 | 18.48 | 13.55 | 16.88 | 21.22 | 13.97 | 13.45 | 9.196 | 12 | 11.56 | 10.77 | 14.11 | 11.06 | 8.773 | 9.692 | 7.626 | 5.53 | 7.864 | 6.737 | 6.064
265 | 55.43 | 61.87 | 38.65 | 38.41 | 67.09 | 82.27 | 82.13 | 256.2 | 4777 | 9999.9 | 9999.9 | 350.3 | 66.35 | 50.12 | 38.29 | 26.74 | 37.73 | 42.04 | 37.42 | 40.14 | 35.52 | 25.5 | 23.23 | 20.38 | 24.44 | 27.91 | 11.4 | 15.27 | 15.51 | 13.34 | 13.84 | 19.66 | 18.68 | 13.72 | 14.42 | 17.06 | 15.82 | 13.42 | 14.56 | 12.25 | 11.94 | 9.413 | 9.861 | 7.784 | 8.262 | 5.534 | 7.81
270 | 69.14 | 20.86 | 43.96 | 42.1 | 32.35 | 87.45 | 85.87 | 89.13 | 351.7 | 5506 | 9999.9 | 9999.9 | 429.8 | 61.15 | 79.84 | 42.74 | 49.21 | 37.86 | 34.88 | 27.04 | 29.61 | 28.54 | 15.79 | 16.61 | 20.77 | 25.17 | 22.28 | 21.8 | 10.59 | 17.13 | 19.39 | 15.57 | 14.75 | 22.95 | 16.27 | 13.61 | 12.02 | 11.74 | 16.97 | 14.09 | 13.9 | 13.11 | 13.53 | 9.835 | 7.933 | 7.194 | 6.246
275 | 13.73 | 47.81 | 44.47 | 50.37 | 30.28 | 62.35 | 89.41 | 96.42 | 77.17 | 398.2 | 7888 | 9999.9 | 9999.9 | 648.3 | 70.93 | 48.13 | 47.73 | 36.04 | 32.83 | 50.03 | 41.25 | 40.46 | 22.67 | 14.03 | 22.07 | 14.87 | 16.35 | 18.88 | 13.97 | 10.83 | 16.75 | 17.74 | 13.88 | 13.67 | 16.47 | 18.08 | 16.94 | 12.56 | 13.24 | 11.78 | 13.47 | 11.02 | 8.521 | 8.463 | 7.596 | 8.225 | 8.329
280 | 43.69 | 59.25 | 71.67 | 86.41 | 40.01 | 42.01 | 37.64 | 129.7 | 89.68 | 77.09 | 570.5 | 9999.9 | 9999.9 | 9999.9 | 591.2 | 77.02 | 54.55 | 51.38 | 57.81 | 38.6 | 46.32 | 37.91 | 26.53 | 31.48 | 30.24 | 20.41 | 23.32 | 15.55 | 14.04 | 15.55 | 14.16 | 21.26 | 15.17 | 13.38 | 7.54 | 15.54 | 15.47 | 9.296 | 9.909 | 10.62 | 8.996 | 11.28 | 9.018 | 9.638 | 6.776 | 7.999 | 7.226
285 | 35.62 | 52.1 | 43.8 | 42.47 | 51.31 | 78.77 | 30.31 | 70.91 | 100.7 | 95.77 | 142.2 | 792.5 | 9999.9 | 9999.9 | 9999.9 | 800.2 | 86.18 | 52.38 | 59.64 | 31.6 | 47.59 | 47.01 | 34.9 | 44.08 | 24.94 | 19.77 | 23.28 | 17.24 | 19.31 | 14.13 | 22.1 | 13.53 | 17.4 | 11.03 | 13.27 | 17.61 | 17.39 | 15.79 | 13.92 | 10.8 | 11.65 | 14.82 | 9.142 | 10.74 | 12.95 | 9.372 | 10.05
290 | 86.9 | 89.09 | 106 | 52.71 | 86.2 | 70.9 | 87.71 | 81.36 | 111.1 | 236 | 244.8 | 330.9 | 977.3 | 9999.9 | 9999.9 | 9999.9 | 750.1 | 87.43 | 48.53 | 52.66 | 43.97 | 47.81 | 24.58 | 29.65 | 34.92 | 23.18 | 25.93 | 18.86 | 18.82 | 20.17 | 16.3 | 15.57 | 15.4 | 6.965 | 8.039 | 14.08 | 15.64 | 20.38 | 17.95 | 11.78 | 12.69 | 12.78 | 12.4 | 10.48 | 9.39 | 7.186 | 7.599
295 | 78.64 | 111.2 | 133 | 148.1 | 86.93 | 68.36 | 112.2 | 136.9 | 142.2 | 245.8 | 427.9 | 420.3 | 641.4 | 1248 | 9999.9 | 9999.9 | 9999.9 | 824.1 | 93.67 | 56.17 | 55.71 | 33.94 | 33.17 | 23.05 | 25.98 | 30.06 | 34.99 | 21.65 | 16.98 | 19.79 | 15.74 | 16.91 | 17.88 | 8.984 | 15.58 | 13.45 | 13.66 | 13.14 | 17.19 | 13.2 | 9.18 | 9.865 | 10.17 | 10.4 | 10.31 | 8.89 | 7.622
300 | 127.7 | 143.7 | 160.1 | 198.7 | 138.6 | 120.1 | 98.1 | 116.2 | 181.3 | 337 | 521.1 | 784.1 | 1074 | 910.2 | 1345 | 9999.9 | 9999.9 | 9999.9 | 944.9 | 99.71 | 41.28 | 78.2 | 48.85 | 46.04 | 24.25 | 28.88 | 24.05 | 27.49 | 22.33 | 18.79 | 12.81 | 12.15 | 14.19 | 13.33 | 12.93 | 11.25 | 10.61 | 7.61 | 11.95 | 10.63 | 13.6 | 12.03 | 13.67 | 9.366 | 9.932 | 13.94 | 10.16
305 | 146.7 | 188.3 | 227.3 | 227.7 | 173.8 | 131.2 | 141.2 | 183.5 | 302.9 | 444.7 | 620.9 | 1156 | 1289 | 1479 | 1213 | 1388 | 9999.9 | 9999.9 | 9999.9 | 903.6 | 76.49 | 53.09 | 46.25 | 42.73 | 35.49 | 38.24 | 28.58 | 25.78 | 20.96 | 16.26 | 18.64 | 9.929 | 14.54 | 9.579 | 10.58 | 10.7 | 11.39 | 15.58 | 13.88 | 9.504 | 9.86 | 11.3 | 9.48 | 7.937 | 8.985 | 9.617 | 7.524
310 | 142.5 | 273.4 | 254.6 | 254.4 | 194.6 | 129 | 168.6 | 258.9 | 318.6 | 537.1 | 828.9 | 1242 | 1935 | 2002 | 1560 | 1160 | 1186 | 9999.9 | 9999.9 | 9999.9 | 959.3 | 90.65 | 70.02 | 58.63 | 35.82 | 48.69 | 28.3 | 26.75 | 19.36 | 17 | 19.76 | 16.89 | 15.01 | 11.67 | 12.85 | 11.28 | 9.086 | 8.483 | 10.18 | 8.573 | 9.659 | 15.51 | 13.63 | 11.26 | 8.965 | 9.407 | 11.67
315 | 149.4 | 191 | 252.4 | 354.5 | 170.7 | 104.3 | 156.6 | 269.7 | 386.3 | 660 | 1141 | 1658 | 1999 | 2606 | 2407 | 1312 | 846.6 | 957.6 | 9999.9 | 9999.9 | 9999.9 | 1027 | 86.88 | 58.53 | 41.38 | 43.82 | 33.56 | 38.01 | 26.04 | 20.72 | 12.99 | 23.31 | 16.19 | 14.82 | 13.15 | 10.82 | 10.74 | 8.661 | 9.298 | 9.924 | 8.631 | 10.77 | 12.99 | 11.18 | 12.56 | 9.922 | 11.02
320 | 182.6 | 256.6 | 322.9 | 317 | 231.3 | 162.7 | 215.4 | 259 | 440.9 | 767.6 | 1147 | 1780 | 2674 | 2947 | 2862 | 1812 | 783.8 | 450.7 | 860.6 | 9999.9 | 9999.9 | 9999.9 | 791.9 | 90.8 | 62.49 | 44.98 | 49.04 | 30.34 | 27.42 | 21.54 | 21.76 | 21.87 | 14.65 | 14.46 | 13.65 | 17.44 | 12.55 | 11.25 | 13.66 | 12.23 | 10.1 | 9.901 | 11.16 | 11.79 | 10.53 | 7.715 | 7.484
325 | 228.3 | 300.9 | 494 | 399.4 | 223.8 | 228.3 | 247.8 | 341.2 | 552 | 892.3 | 1260 | 2059 | 2776 | 3158 | 2700 | 2187 | 834.3 | 422.3 | 241.4 | 833.3 | 9999.9 | 9999.9 | 9999.9 | 861.4 | 81.16 | 66.44 | 34.29 | 37.99 | 24.85 | 17.82 | 26.81 | 19.37 | 17.93 | 16.55 | 16.65 | 11.49 | 11.26 | 13.37 | 13.08 | 9.226 | 10.08 | 8.304 | 11.01 | 11.26 | 10.54 | 11.11 | 10.22
330 | 155.2 | 354.6 | 442.1 | 375.6 | 258.8 | 252 | 250.4 | 361.2 | 521.7 | 926 | 1551 | 1814 | 2759 | 2946 | 3014 | 2191 | 1154 | 349 | 194.1 | 209.7 | 829 | 9999.9 | 9999.9 | 9999.9 | 724 | 73.49 | 43.4 | 41.74 | 29.33 | 20.25 | 33.51 | 36.72 | 18.29 | 18.58 | 14.7 | 12.93 | 9.9 | 10.6 | 7.743 | 10.64 | 9.794 | 11.31 | 7.693 | 9.189 | 7.964 | 12.18 | 11.26
335 | 149.6 | 381.8 | 454.5 | 342 | 317.4 | 245 | 222.6 | 266.7 | 512.8 | 895.1 | 1347 | 2070 | 2812 | 3508 | 3179 | 2121 | 1276 | 548.6 | 222.9 | 154.6 | 179 | 796.8 | 9999.9 | 9999.9 | 9999.9 | 682.7 | 80.04 | 68.52 | 47.88 | 30.02 | 20.25 | 28.19 | 22.72 | 18.5 | 15.35 | 16.94 | 11.49 | 11.34 | 8.153 | 8.136 | 9.032 | 8.088 | 8.558 | 9.888 | 11.36 | 8.455 | 12.56
340 | 162.5 | 287.3 | 379.4 | 339.4 | 223.3 | 229.3 | 208 | 335.5 | 525.3 | 936.8 | 1396 | 1878 | 2465 | 3155 | 2890 | 2070 | 1127 | 687.5 | 263.6 | 149.8 | 131.5 | 165.6 | 836.6 | 9999.9 | 9999.9 | 9999.9 | 722.8 | 68.66 | 42 | 48.21 | 31.31 | 30.82 | 26.34 | 15.41 | 13.61 | 17.84 | 12.7 | 12.96 | 8.634 | 8.427 | 8.97 | 9.631 | 9.192 | 7.971 | 10.96 | 10.35 | 9.101
345 | 145.8 | 352.9 | 390.6 | 277.4 | 228 | 178.5 | 180.2 | 281.9 | 547 | 777.7 | 1339 | 1734 | 2167 | 2746 | 2652 | 1873 | 1011 | 578.4 | 467.7 | 147.4 | 88.5 | 96.09 | 134.5 | 798.1 | 9999.9 | 9999.9 | 9999.9 | 614.7 | 70.16 | 71.32 | 31.9 | 34.31 | 23.66 | 20.3 | 18.25 | 15.36 | 13.88 | 10.09 | 7.309 | 12.1 | 7.335 | 9.893 | 9.223 | 8.797 | 10.4 | 9.874 | 8.62
350 | 150.6 | 349 | 351.4 | 238.1 | 247.3 | 156.5 | 176.2 | 282.3 | 380.3 | 671.1 | 1068 | 1587 | 2035 | 2359 | 2288 | 1591 | 872 | 369.6 | 380.2 | 322.1 | 119.1 | 71.47 | 81.68 | 157.2 | 822.9 | 9999.9 | 9999.9 | 9999.9 | 579.3 | 72.22 | 50.64 | 45.04 | 24.47 | 24.01 | 13.77 | 16.84 | 13.34 | 13.95 | 10.62 | 8.939 | 12.14 | 9.839 | 10.89 | 10.11 | 8.271 | 7.167 | 10.62
355 | 124.3 | 260.6 | 368.4 | 308.5 | 255 | 134.9 | 186.1 | 197.4 | 491.4 | 688.5 | 894.3 | 1448 | 1942 | 2189 | 1944 | 1452 | 713.6 | 374 | 207.8 | 305.3 | 265.2 | 78.45 | 102.8 | 69.89 | 131.2 | 768.9 | 9999.9 | 9999.9 | 9999.9 | 610.1 | 82.17 | 48.36 | 32.44 | 26.24 | 25.75 | 18.59 | 17.23 | 12.63 | 11.85 | 10.05 | 8.22 | 10.96 | 8.881 | 9.884 | 7.128 | 7.327 | 9.471
360 | 151.9 | 185.6 | 277.6 | 191.9 | 133.7 | 143.4 | 167.3 | 247.7 | 323.4 | 544.7 | 822.9 | 1085 | 1533 | 1831 | 1742 | 1247 | 628.9 | 300.7 | 137.2 | 146.1 | 302.4 | 196.8 | 81.25 | 90.22 | 88.38 | 122.5 | 785.1 | 9999.9 | 9999.9 | 9999.9 | 534.1 | 63.98 | 48.04 | 35.46 | 18.04 | 17.47 | 19.6 | 16.61 | 11 | 15.5 | 11.75 | 11.49 | 7.564 | 10.03 | 8.225 | 8.266 | 9.001
365 | 150.1 | 289.1 | 224.3 | 245.3 | 214.8 | 151.1 | 132.5 | 203.9 | 315.8 | 434.8 | 683.9 | 1087 | 1421 | 1516 | 1536 | 1081 | 546.5 | 237.5 | 109.8 | 97.85 | 168.3 | 333.3 | 166.3 | 72.22 | 75.04 | 67.56 | 113.6 | 756.6 | 9999.9 | 9999.9 | 9999.9 | 458.9 | 66.55 | 50.78 | 27.98 | 24.14 | 18.71 | 16.01 | 12.15 | 10.67 | 11.15 | 10.25 | 12.02 | 9.037 | 8.871 | 11.11 | 4.848
370 | 107.3 | 185.6 | 249.9 | 209.1 | 94.23 | 123.8 | 151.4 | 167.6 | 274.7 | 368.4 | 559.5 | 991.9 | 1176 | 1344 | 1294 | 944.7 | 503.3 | 294.9 | 129.6 | 76.75 | 109.5 | 222.2 | 266.6 | 113.2 | 84.78 | 76.19 | 92.28 | 125.2 | 768.7 | 9999.9 | 9999.9 | 9999.9 | 454.7 | 51.65 | 43.2 | 28.04 | 19.99 | 18.77 | 15.41 | 14.88 | 13.17 | 8.165 | 10.09 | 8.719 | 9.366 | 7.309 | 8.354
375 | 116.5 | 127.5 | 165 | 182.7 | 121.7 | 116.8 | 99.51 | 156.2 | 173.8 | 331.5 | 486.5 | 721.6 | 812 | 1057 | 1132 | 800.6 | 419.7 | 193.1 | 104.5 | 95.13 | 94.9 | 104.4 | 291 | 232.1 | 96.54 | 52.58 | 75.09 | 79.51 | 116.4 | 775.2 | 9999.9 | 9999.9 | 9999.9 | 403.7 | 54.22 | 42.45 | 28.38 | 23.55 | 18.21 | 17.76 | 9.326 | 11.45 | 7.229 | 8.851 | 8.045 | 9.332 | 8.519
380 | 88.91 | 156.3 | 130.7 | 156.9 | 112.7 | 104.8 | 123.7 | 144.1 | 176.4 | 320.3 | 379.7 | 554.1 | 685 | 835.6 | 964.7 | 598.9 | 383 | 202.2 | 106.5 | 79.46 | 81.28 | 78.47 | 128.5 | 295.5 | 191.2 | 61.01 | 53.9 | 72.02 | 72.86 | 132.8 | 759.2 | 9999.9 | 9999.9 | 9999.9 | 406.1 | 51.02 | 45 | 24.13 | 18.06 | 18.18 | 12.15 | 13.57 | 11.95 | 13.43 | 9.642 | 7.556 | 7.413
385 | 73.43 | 131.7 | 143.3 | 136 | 115.4 | 149.4 | 98.86 | 110.7 | 202.3 | 223.5 | 335.9 | 431.3 | 560.2 | 671 | 684.8 | 513.8 | 339.3 | 172.8 | 88.2 | 88.49 | 95.73 | 78.04 | 105.1 | 132.7 | 235.4 | 156 | 72.48 | 54.1 | 55.15 | 73.62 | 126.3 | 762.6 | 9999.9 | 9999.9 | 9999.9 | 340.7 | 50.38 | 35.11 | 26.51 | 16.19 | 18.65 | 14.73 | 14.38 | 9.977 | 9.032 | 10.62 | 7.854
390 | 123.1 | 88.89 | 137.3 | 103.6 | 102.5 | 96.04 | 80.14 | 116.1 | 175.6 | 170.4 | 289.8 | 420.2 | 481.9 | 688.2 | 581.7 | 456.2 | 270.9 | 140.8 | 96.31 | 99.3 | 93.41 | 84.64 | 75.44 | 87.78 | 127.3 | 221.5 | 99.42 | 60.47 | 58.77 | 56.14 | 68.28 | 112.5 | 752.6 | 9999.9 | 9999.9 | 9999.9 | 345.5 | 56.62 | 34.9 | 23.33 | 24.42 | 15.46 | 14.67 | 13.22 | 9.96 | 7.433 | 7.477
395 | 74.85 | 97.98 | 136.6 | 123.7 | 120.9 | 126.8 | 83.53 | 85.16 | 132.2 | 175.9 | 253.1 | 327.9 | 452 | 443.1 | 456.5 | 468.9 | 227.3 | 123.5 | 129.7 | 103.4 | 114.5 | 94.47 | 87.6 | 74.48 | 80.28 | 199.3 | 183.7 | 81.76 | 66.08 | 63.58 | 44.67 | 66.82 | 106.9 | 745.1 | 9999.9 | 9999.9 | 9999.9 | 282 | 48.44 | 36.29 | 26.87 | 19.52 | 12.13 | 13.42 | 11.87 | 9.184 | 5.069
400 | 61.63 | 88.34 | 103.5 | 119.9 | 113.5 | 75.57 | 100.8 | 127.2 | 127 | 140.4 | 177.8 | 279.5 | 333.8 | 334.9 | 357.6 | 325.8 | 174.4 | 132.2 | 130.6 | 101.1 | 106.5 | 100.2 | 78.08 | 87.21 | 72.5 | 87.89 | 173.4 | 134.8 | 83.44 | 61.25 | 54.28 | 56.68 | 54.51 | 104.7 | 744.1 | 9999.9 | 9999.9 | 9999.9 | 264.1 | 43.21 | 34.51 | 21.93 | 16.96 | 13.11 | 10.4 | 10.52 | 9.721
405 | 108.8 | 111.3 | 72.32 | 95.45 | 92.46 | 90.69 | 121.7 | 84.59 | 148.6 | 168.8 | 158.2 | 216 | 245.9 | 317.3 | 353.5 | 234.1 | 141.7 | 127.8 | 120.8 | 129.4 | 77.11 | 92.41 | 87.06 | 74.79 | 77.09 | 61.85 | 102.5 | 170.9 | 141.5 | 62.79 | 50.09 | 48.5 | 56.8 | 56.77 | 108.9 | 714.7 | 9999.9 | 9999.9 | 9999.9 | 280.4 | 48.2 | 26.25 | 20.69 | 13.8 | 11.13 | 14.04 | 9.57
410 | 89.92 | 83.27 | 93.12 | 125 | 101.6 | 124.9 | 71 | 85.05 | 96.83 | 121.4 | 148.8 | 168.1 | 216.4 | 331.5 | 269.6 | 224.1 | 167.8 | 94.06 | 125.1 | 98 | 104.9 | 101.2 | 80.95 | 80.06 | 94.66 | 62.64 | 77.13 | 128.3 | 187.5 | 101.9 | 51.72 | 63.66 | 50.02 | 48.87 | 53.49 | 92.93 | 731.8 | 9999.9 | 9999.9 | 9999.9 | 212.1 | 42.52 | 27.39 | 16.03 | 13.87 | 11.83 | 10.22
415 | 44.56 | 118.5 | 79.64 | 73.94 | 107.1 | 127.4 | 118.3 | 70.37 | 109 | 94.49 | 128.5 | 153.6 | 176.4 | 258.3 | 253.7 | 209.7 | 159.9 | 118.9 | 96.14 | 120.1 | 88.28 | 105.1 | 90.89 | 72.02 | 76.9 | 81.84 | 72.51 | 66.23 | 151.4 | 178.3 | 82.15 | 61.77 | 47.26 | 53.76 | 39.42 | 40.9 | 92 | 735 | 9999.9 | 9999.9 | 9999.9 | 215.8 | 41.64 | 25.29 | 16.09 | 15.76 | 8.648
420 | 55.55 | 71.72 | 121.7 | 84.08 | 96.19 | 61.78 | 76.24 | 64.52 | 66.13 | 94.86 | 126 | 192.4 | 227.1 | 211.1 | 152.1 | 138.3 | 122.7 | 117.8 | 88.17 | 79.48 | 92.65 | 127.5 | 103.6 | 87.95 | 76.08 | 62.86 | 79.28 | 69.33 | 102.6 | 177.6 | 157.6 | 69.56 | 67.11 | 42.85 | 41.75 | 36.7 | 37.37 | 94.14 | 728.5 | 9999.9 | 9999.9 | 9999.9 | 214.4 | 39.65 | 22.21 | 16.7 | 10.97
425 | 78.5 | 75.14 | 74.39 | 78.45 | 80.31 | 105.6 | 42.56 | 87.12 | 115.6 | 99.72 | 107.4 | 125.4 | 168.3 | 219.4 | 190.4 | 135.3 | 126.4 | 97.33 | 89.99 | 93.59 | 79.68 | 112.3 | 98.86 | 100.9 | 71.84 | 85.38 | 90.86 | 73.1 | 82.78 | 85.66 | 150.7 | 103.6 | 49.13 | 47.35 | 40.41 | 38.73 | 37.07 | 45.49 | 87.7 | 716.5 | 9999.9 | 9999.9 | 9999.9 | 186.8 | 39.1 | 20.12 | 14.78
430 | 169.7 | 88.47 | 99.39 | 80.35 | 65.4 | 109.7 | 58.84 | 116.2 | 94.62 | 115.7 | 136 | 100.7 | 110.8 | 132.5 | 142.7 | 132 | 132.8 | 95.24 | 99.52 | 83.83 | 78.73 | 71.34 | 72.06 | 102.4 | 85.69 | 79.07 | 79.67 | 80.07 | 67.11 | 77.21 | 91.97 | 126.6 | 70.42 | 44.99 | 37.8 | 43.96 | 36.12 | 40.19 | 44.4 | 87.64 | 705.1 | 9999.9 | 9999.9 | 9999.9 | 168.9 | 32.31 | 20.28
435 | 292.4 | 80.2 | 106.6 | 87.05 | 83.08 | 82.33 | 101 | 70.96 | 87.9 | 57.67 | 113.7 | 124.8 | 145.6 | 112.8 | 126.1 | 115.1 | 118.7 | 74.98 | 63.41 | 93.13 | 98.48 | 95.77 | 75.26 | 101.9 | 78.9 | 63.45 | 67.76 | 71.98 | 74.78 | 70.34 | 77.46 | 95.78 | 127 | 62.11 | 40.41 | 30.27 | 35.27 | 24.65 | 34.15 | 32.54 | 80.08 | 701.6 | 9999.9 | 9999.9 | 9999.9 | 164.9 | 29.67
440 | 351.3 | 268.8 | 83.37 | 91.73 | 87.28 | 79.67 | 55.56 | 92.21 | 57.03 | 51.25 | 101.7 | 129.6 | 112.5 | 154.5 | 138.1 | 122 | 98.64 | 126.1 | 97.47 | 76.06 | 109.9 | 109.5 | 78.45 | 83.76 | 96.61 | 75.79 | 71.78 | 78.63 | 74.01 | 62.17 | 59.53 | 57.68 | 107.7 | 94.27 | 54.03 | 34.37 | 32.7 | 26.85 | 26.8 | 27.63 | 29.62 | 80.68 | 720.1 | 9999.9 | 9999.9 | 9999.9 | 136.3
445 | 279.6 | 546.5 | 101.2 | 65.84 | 76.96 | 87.34 | 85.3 | 60.28 | 62.43 | 66.83 | 105.4 | 111 | 104.8 | 101.3 | 104.8 | 92.51 | 100.7 | 79.42 | 83.24 | 97.92 | 116.2 | 73.68 | 127.8 | 71.91 | 76.19 | 70.57 | 71.45 | 92.8 | 73.09 | 59.92 | 53.58 | 56.05 | 60.6 | 111.2 | 61.1 | 41.3 | 30.75 | 25.2 | 26.7 | 26.46 | 23.18 | 31.9 | 88.96 | 709.8 | 9999.9 | 9999.9 | 9999.9
450 | 116.5 | 667.2 | 399.1 | 77.08 | 72.48 | 87.53 | 53.17 | 78.12 | 56.35 | 82.74 | 87.75 | 81.43 | 89.06 | 113.1 | 106.4 | 91.91 | 100.6 | 98.4 | 89.1 | 80.33 | 86.3 | 66.91 | 83.48 | 73.85 | 71.05 | 77.2 | 75.3 | 86.68 | 82.14 | 59.67 | 56.83 | 57.63 | 46.57 | 61.84 | 102.2 | 48.89 | 33 | 26.73 | 23.78 | 22.6 | 21.38 | 26.27 | 29.61 | 79.52 | 696.7 | 9999.9 | 9999.9
455 | 78.68 | 413.6 | 770.9 | 91.98 | 75.75 | 87.18 | 65.73 | 78.99 | 73.08 | 69.05 | 100.2 | 105 | 103.1 | 103.1 | 68.11 | 96.57 | 111.3 | 72.93 | 88.04 | 67.21 | 77.38 | 67.29 | 52.96 | 72.77 | 72.96 | 55.8 | 64.14 | 85.15 | 53.77 | 52.54 | 52.71 | 51.02 | 55.19 | 41.12 | 61.08 | 71.45 | 41.13 | 22.87 | 26.48 | 24.77 | 23.66 | 18.86 | 23.21 | 26.37 | 75.8 | 688.1 | 9999.9
460 | 81.06 | 153.1 | 1069 | 477.3 | 87.23 | 76.55 | 109.8 | 86.38 | 105.4 | 63.59 | 106.3 | 118.9 | 115.7 | 89.61 | 96.72 | 109.2 | 77.5 | 79.84 | 79.25 | 52.19 | 74.58 | 69.58 | 84.86 | 89.18 | 73.34 | 75.61 | 60.07 | 67.07 | 64.9 | 60.46 | 52.12 | 47.45 | 37.43 | 35.73 | 30.47 | 76.38 | 67.65 | 31.54 | 21.4 | 25.8 | 18.34 | 19.25 | 24.95 | 22.16 | 25.62 | 69.87 | 676.1
465 | 90.63 | 106.3 | 959.8 | 1450 | 100.5 | 53.94 | 70.1 | 59.52 | 77.05 | 77.37 | 66.69 | 94.32 | 92.93 | 47.23 | 96.19 | 84.61 | 74.58 | 70.46 | 82.12 | 85.13 | 83.61 | 74.36 | 64.11 | 72.27 | 56.72 | 69.15 | 60.86 | 66.16 | 59.47 | 48.04 | 54.66 | 54.09 | 32.58 | 31.85 | 27.27 | 35.11 | 68.38 | 50.34 | 21.94 | 21.63 | 18.63 | 17.83 | 20.37 | 22.7 | 21.03 | 28.56 | 64.23
470 | 100.4 | 66.98 | 182.4 | 2073 | 668.6 | 67.25 | 88.45 | 26.99 | 73.5 | 123.2 | 69.12 | 92.98 | 129.2 | 103.4 | 85.19 | 113.1 | 56.93 | 85.49 | 71.44 | 70.62 | 68.84 | 89.25 | 68.73 | 68.41 | 67.2 | 66.44 | 61.35 | 70.8 | 61.44 | 44.65 | 42.84 | 46.44 | 38.99 | 39 | 34.78 | 30.15 | 38.27 | 61.45 | 31.75 | 23.37 | 16.65 | 20.4 | 22.94 | 18.62 | 19.78 | 18.23 | 23.17
475 | 83.9 | 74.32 | 99.96 | 1335 | 1996 | 125.7 | 68.87 | 50.33 | 74.6 | 98.06 | 54.5 | 87.92 | 95.81 | 80.36 | 91.54 | 86.45 | 57.26 | 75.23 | 73.69 | 72.48 | 71.59 | 47.15 | 58.31 | 64.97 | 56.2 | 58.18 | 60.67 | 50.89 | 53.76 | 54.76 | 43.05 | 45.01 | 37.63 | 31.88 | 28.41 | 31.91 | 22.47 | 48.23 | 46.3 | 26.34 | 20.66 | 24.37 | 18.89 | 17.11 | 13.64 | 15.21 | 16.03
480 | 84.15 | 94.38 | 88.25 | 313.9 | 2620 | 796.2 | 43.68 | 50.05 | 85.01 | 54.9 | 73.48 | 69.7 | 64.44 | 113.1 | 87.02 | 66.82 | 78.21 | 81.82 | 62.6 | 66.97 | 56 | 56.05 | 55.98 | 72.35 | 54.66 | 55.85 | 56.86 | 45.57 | 54.47 | 47.39 | 43.57 | 45.51 | 38.23 | 32.45 | 28.71 | 20.66 | 18.54 | 22.8 | 54.62 | 49.53 | 22.02 | 19.28 | 21.01 | 19.34 | 19.13 | 15.56 | 17.14
485 | 101.4 | 88.59 | 69.69 | 99.49 | 1750 | 2220 | 153.7 | 86.91 | 68.44 | 96.07 | 92.57 | 87.75 | 67.86 | 98.9 | 73.18 | 51.47 | 55.96 | 102.4 | 62.3 | 76.51 | 74.39 | 60.12 | 51.3 | 61.36 | 57 | 64.29 | 48.3 | 48.69 | 55.84 | 44.95 | 34.49 | 38.86 | 32.99 | 36.66 | 30.66 | 21.08 | 26.12 | 21.21 | 30.25 | 42.35 | 34.34 | 20.34 | 21 | 17.42 | 18.3 | 13.54 | 14.34
490 | 76.85 | 64.47 | 53.78 | 76.07 | 358.5 | 3322 | 917.4 | 62.97 | 70.39 | 75.38 | 47.39 | 62.65 | 71.2 | 92.59 | 64.66 | 83.74 | 65.19 | 91.77 | 76.54 | 67.41 | 60.18 | 68.85 | 71.81 | 50.64 | 57.06 | 38.36 | 38.74 | 40.4 | 48.22 | 41.75 | 37.33 | 32.93 | 36.87 | 25.83 | 26.47 | 25.44 | 22.55 | 20.21 | 26.28 | 31.16 | 39.81 | 26.55 | 16.76 | 14.97 | 16.49 | 14.77 | 18.48
495 | 60.07 | 46.75 | 76.75 | 99.83 | 81.14 | 1960 | 2622 | 117.7 | 28.47 | 76.85 | 89.35 | 138.1 | 88.8 | 83.77 | 86.35 | 62.5 | 61.93 | 53.39 | 95 | 59.57 | 80.4 | 55.38 | 49.85 | 62.53 | 42.97 | 50.33 | 46.04 | 50.31 | 45.03 | 49.64 | 42.62 | 38.77 | 25 | 29.92 | 25.98 | 25.19 | 23.96 | 18.67 | 18.33 | 16.9 | 39.12 | 33.05 | 25.15 | 14.81 | 13.86 | 17.36 | 14.55
500 | 93.49 | 46.99 | 78.03 | 86.44 | 89.16 | 522.1 | 3476 | 598.7 | 43.44 | 80.49 | 93.05 | 80.14 | 104.2 | 69.89 | 74.41 | 56.78 | 45.62 | 53.13 | 54.67 | 52.09 | 77.53 | 67.25 | 48.41 | 52.3 | 51.29 | 42.92 | 57.59 | 54.87 | 48.02 | 35.51 | 35.55 | 38.64 | 33.68 | 29.69 | 22.7 | 29.27 | 23.28 | 22.66 | 20.27 | 20.85 | 21.72 | 32.99 | 24.01 | 19.05 | 17.29 | 14.77 | 15.72