## Sheet1
Report date: | 15:11:07, 04/17/2024
Sample: | 1
File name:
Run date: | 15:08:23, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/300.0 | 234.3
2 | 230.0/320.0 | 441.9
3 | 230.0/335.0 | 544.2
4 | 230.0/345.0 | 377.2
5 | 235.0/260.0 | 80.2
6 | 235.0/325.0 | 472.4
7 | 235.0/385.0 | 189.2
8 | 235.0/405.0 | 136.2
9 | 235.0/415.0 | 172.2
10 | 240.0/265.0 | 94.49
11 | 240.0/275.0 | 71.44
12 | 240.0/400.0 | 129.8
13 | 240.0/435.0 | 124.4
14 | 245.0/285.0 | 87.04
15 | 245.0/415.0 | 119.2
16 | 250.0/275.0 | 93.69
17 | 250.0/410.0 | 107.5
18 | 250.0/450.0 | 110.8
19 | 255.0/280.0 | 121.8
20 | 255.0/420.0 | 100.8
21 | 255.0/440.0 | 126.4
22 | 255.0/470.0 | 99.96
23 | 260.0/480.0 | 97.87
24 | 265.0/465.0 | 97.68
25 | 265.0/485.0 | 77.78
26 | 270.0/450.0 | 109.8
27 | 270.0/475.0 | 120.1
28 | 270.0/495.0 | 105.6
29 | 275.0/460.0 | 125.4
30 | 275.0/485.0 | 94.75
31 | 280.0/450.0 | 130.4
32 | 285.0/335.0 | 4058
33 | 285.0/455.0 | 133.2
34 | 285.0/470.0 | 115.8
35 | 290.0/325.0 | 3543
36 | 290.0/345.0 | 3578
37 | 290.0/430.0 | 228.6
38 | 290.0/450.0 | 117.5
39 | 290.0/460.0 | 127.4
40 | 290.0/475.0 | 128.2
41 | 295.0/265.0 | 68.76
42 | 295.0/480.0 | 141.4
43 | 300.0/440.0 | 137.9
44 | 300.0/455.0 | 141.3
45 | 300.0/490.0 | 80.68
46 | 305.0/270.0 | 55.89
47 | 310.0/455.0 | 117.3
48 | 310.0/490.0 | 80.11
49 | 315.0/255.0 | 46.6
50 | 315.0/405.0 | 138.8
51 | 315.0/435.0 | 101.2
52 | 315.0/445.0 | 99.97
53 | 320.0/360.0 | 307.5
54 | 320.0/395.0 | 129.3
55 | 320.0/415.0 | 135.4
56 | 320.0/460.0 | 108.5
57 | 325.0/260.0 | 31.51
58 | 325.0/365.0 | 288.3
59 | 325.0/400.0 | 115.8
60 | 325.0/425.0 | 117.7
61 | 325.0/435.0 | 101.9
62 | 325.0/450.0 | 111.6
63 | 325.0/485.0 | 78.07
64 | 330.0/275.0 | 50.68
65 | 330.0/295.0 | 56.48
66 | 330.0/370.0 | 294.2
67 | 330.0/470.0 | 90.86
68 | 335.0/270.0 | 36.54
69 | 335.0/380.0 | 264.3
70 | 335.0/410.0 | 94.62
71 | 335.0/425.0 | 106.6
72 | 335.0/435.0 | 110.8
73 | 335.0/460.0 | 94.44
74 | 335.0/495.0 | 79.27
75 | 340.0/385.0 | 240.5
76 | 340.0/415.0 | 107.5
77 | 345.0/285.0 | 37.92
78 | 345.0/310.0 | 54.21
79 | 345.0/390.0 | 264.6
80 | 345.0/470.0 | 78.51
81 | 345.0/485.0 | 69.88
82 | 350.0/265.0 | 21.05
83 | 350.0/280.0 | 27.51
84 | 350.0/300.0 | 37.45
85 | 350.0/400.0 | 191.9
86 | 350.0/445.0 | 91.61
87 | 350.0/460.0 | 90.43
88 | 355.0/315.0 | 44.92
89 | 355.0/405.0 | 215.3
90 | 355.0/435.0 | 86.3
91 | 355.0/475.0 | 63.15
92 | 360.0/255.0 | 29.09
93 | 360.0/295.0 | 26.11
94 | 360.0/320.0 | 39.13
95 | 360.0/410.0 | 200.1
96 | 360.0/455.0 | 86.2
97 | 360.0/465.0 | 67.16
98 | 365.0/275.0 | 21.84
99 | 365.0/415.0 | 193.6
100 | 365.0/440.0 | 73.4
101 | 365.0/460.0 | 67.67
102 | 365.0/490.0 | 53.51
103 | 370.0/285.0 | 23.18
104 | 370.0/305.0 | 28.26
105 | 370.0/425.0 | 163.3
106 | 370.0/445.0 | 71.57
107 | 370.0/455.0 | 69.47
108 | 375.0/265.0 | 25.9
109 | 375.0/280.0 | 21.36
110 | 375.0/300.0 | 19.93
111 | 375.0/320.0 | 25.45
112 | 375.0/405.0 | 60.49
113 | 375.0/430.0 | 138.4
114 | 375.0/465.0 | 65.02
115 | 380.0/310.0 | 25.46
116 | 380.0/435.0 | 127.7
117 | 385.0/270.0 | 25.29
118 | 385.0/305.0 | 17.94
119 | 385.0/440.0 | 101.3
120 | 385.0/475.0 | 40.82
121 | 390.0/290.0 | 15.33
122 | 390.0/320.0 | 18.23
123 | 390.0/450.0 | 85.15
124 | 395.0/275.0 | 31.29
125 | 395.0/350.0 | 20.01
126 | 395.0/455.0 | 79.11
127 | 395.0/490.0 | 33.1
128 | 400.0/285.0 | 24.89
129 | 400.0/300.0 | 17.88
130 | 400.0/310.0 | 16.82
131 | 400.0/325.0 | 16.58
132 | 400.0/345.0 | 19.5
133 | 400.0/465.0 | 69.04
134 | 400.0/480.0 | 32.67
135 | 405.0/305.0 | 16.79
136 | 405.0/350.0 | 22.84
137 | 405.0/435.0 | 37.05
138 | 405.0/445.0 | 32.11
139 | 405.0/470.0 | 55.78
140 | 410.0/265.0 | 17.69
141 | 410.0/295.0 | 17.22
142 | 410.0/475.0 | 49.87
143 | 415.0/275.0 | 16.83
144 | 415.0/315.0 | 12.88
145 | 415.0/335.0 | 12.61
146 | 415.0/345.0 | 18.69
147 | 415.0/370.0 | 18.78
148 | 415.0/455.0 | 31.43
149 | 415.0/485.0 | 46.97
150 | 420.0/460.0 | 25.58
151 | 420.0/490.0 | 44.12
152 | 425.0/280.0 | 16.38
153 | 425.0/310.0 | 15.15
154 | 425.0/330.0 | 13.02
155 | 425.0/375.0 | 14.98
156 | 425.0/470.0 | 24.6
157 | 430.0/265.0 | 13.66
158 | 430.0/315.0 | 15.57
159 | 430.0/345.0 | 13.74
160 | 430.0/485.0 | 24.16
161 | 435.0/320.0 | 16.02
162 | 435.0/335.0 | 12.66
163 | 435.0/480.0 | 21.73
164 | 440.0/260.0 | 8.61
165 | 440.0/270.0 | 10.57
166 | 440.0/380.0 | 11.76
167 | 440.0/395.0 | 15.17
168 | 440.0/475.0 | 22.97
169 | 445.0/295.0 | 12.44
170 | 445.0/390.0 | 12.23
171 | 445.0/485.0 | 17.98
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 55.75 | 42.81 | 53.74 | 49.06 | 76.93 | 3978 | 9999.9 | 3394 | 49.61 | 22.5 | 42.6 | 34.47 | 49.03 | 38.13 | 35.09 | 28.15 | 52.13 | 21.33 | 29.63 | 36.95 | 31.58 | 28.79 | 31.01 | 18.73 | 22.95 | 26.04 | 17.7 | 16.99 | 25.73 | 26.38 | 17.5 | 27.09 | 21.86 | 10.06 | 19.7 | 17.88 | 24.12 | 9.942 | 12.12 | 11.54 | 17.52 | 10.22 | 11.43 | 6.218 | 7.236 | 5.362 | 4.335
255 | 55.44 | 33.22 | 55.34 | 73.09 | 85.02 | 338.3 | 2975 | 9999.9 | 7585 | 234.2 | 33.8 | 38.73 | 38.71 | 41.45 | 32.37 | 36.06 | 38.37 | 45.82 | 40.85 | 46.6 | 39.26 | 31.41 | 26.35 | 26.32 | 25.5 | 19.96 | 27.04 | 25.29 | 29.09 | 22.73 | 21.66 | 20.42 | 17.11 | 15.27 | 17.99 | 16.09 | 22.83 | 15.78 | 16.81 | 9.159 | 11.8 | 10.59 | 11.37 | 8.534 | 6.043 | 4.745 | 8.758
260 | 46.37 | 40.41 | 42.46 | 80.2 | 68.26 | 65.74 | 240.2 | 3790 | 9999.9 | 8896 | 327.7 | 37.3 | 33.15 | 35.19 | 32.23 | 40.63 | 55.09 | 41.91 | 42.7 | 24.21 | 19.2 | 31.51 | 22 | 15.33 | 30.4 | 15.75 | 14.46 | 23.54 | 27.08 | 19.87 | 15.66 | 21.81 | 17.23 | 19.64 | 19.12 | 15.08 | 17.39 | 14.86 | 13.19 | 12.46 | 9.133 | 8.849 | 8.412 | 5.415 | 8.61 | 4.867 | 6.959
265 | 57.8 | 47.45 | 32.04 | 41.42 | 94.49 | 76.26 | 77.05 | 269 | 5054 | 9999.9 | 9999.9 | 388.6 | 49.22 | 53.8 | 54 | 68.76 | 32.55 | 48.6 | 45.38 | 42.81 | 30.81 | 25.02 | 29.54 | 31.01 | 33.17 | 14.81 | 21.05 | 15.97 | 19.37 | 16.42 | 13.29 | 25.9 | 18.36 | 21.43 | 16.73 | 12.51 | 12.18 | 15.71 | 17.69 | 13.23 | 10.02 | 10.88 | 13.66 | 7.292 | 6.659 | 6.992 | 6.606
270 | 83.01 | 75.12 | 50.16 | 58.21 | 37.17 | 68.75 | 84.41 | 70.54 | 376.2 | 6164 | 9999.9 | 9999.9 | 544.5 | 55.6 | 88.43 | 35.28 | 43.95 | 55.89 | 55.42 | 37.42 | 34.47 | 19.97 | 31.31 | 36.54 | 33.82 | 14.36 | 16.31 | 15.86 | 21.27 | 16.62 | 12.28 | 13.83 | 13.54 | 25.29 | 24.18 | 17.13 | 13.26 | 13.81 | 12.32 | 15.46 | 12.37 | 12.55 | 10.66 | 7.686 | 10.57 | 8.833 | 9.132
275 | 52.87 | 38.12 | 35.91 | 70.05 | 71.44 | 49.47 | 93.69 | 57.31 | 51.28 | 454.8 | 9999.9 | 9999.9 | 9999.9 | 662.7 | 49.96 | 72.15 | 46.49 | 51.86 | 43.06 | 31.37 | 39.55 | 33.84 | 50.68 | 34.68 | 17.81 | 16.77 | 24.68 | 20.09 | 13.66 | 21.84 | 16.96 | 16.3 | 8.674 | 21.1 | 27.08 | 31.29 | 17.81 | 10.7 | 13.18 | 16.83 | 10.53 | 11 | 8.618 | 9.686 | 7.239 | 7.984 | 8.436
280 | 29 | 52.31 | 52.82 | 56.8 | 57.36 | 47.77 | 61.04 | 121.8 | 79.34 | 87.5 | 694.3 | 9999.9 | 9999.9 | 9999.9 | 648.6 | 91.46 | 75.64 | 50.78 | 56.81 | 34.28 | 44.81 | 41.39 | 48.64 | 37.71 | 32.53 | 16.34 | 27.51 | 16.77 | 16.38 | 10.85 | 20.86 | 21.36 | 14.63 | 19.76 | 13.05 | 18.79 | 18.26 | 14.46 | 11.49 | 11.26 | 10.07 | 16.38 | 13.36 | 11.42 | 10.04 | 6.773 | 8.731
285 | 51.65 | 30.66 | 64.5 | 86.3 | 72.37 | 87.04 | 52.69 | 83.34 | 133.1 | 129.3 | 166.4 | 765.6 | 9999.9 | 9999.9 | 9999.9 | 957.4 | 86.66 | 81.25 | 72.31 | 54.51 | 39.12 | 26.47 | 23.75 | 25.74 | 28.68 | 37.92 | 26.85 | 16.89 | 16.76 | 9.086 | 23.18 | 18.06 | 13.56 | 15.13 | 13.12 | 13.78 | 24.89 | 16.88 | 10.33 | 12.99 | 10.05 | 12.21 | 8.941 | 10.47 | 7.673 | 7.968 | 8.91
290 | 103.4 | 111.2 | 108.2 | 132.3 | 112.6 | 65.6 | 86.33 | 77.23 | 107.5 | 256.1 | 233.3 | 305.8 | 1004 | 9999.9 | 9999.9 | 9999.9 | 874.4 | 75.19 | 65.15 | 66.06 | 46.18 | 33.89 | 52.78 | 40.9 | 23.83 | 25.13 | 27.16 | 11.35 | 18.69 | 14.49 | 20.41 | 19.72 | 15.62 | 11.92 | 15.33 | 11.46 | 18.34 | 17 | 16.26 | 9.229 | 8.213 | 11.73 | 9.218 | 11.81 | 11.79 | 8.922 | 8.434
295 | 76.21 | 138.8 | 140.1 | 128.7 | 108.2 | 84.64 | 82.44 | 148.3 | 134.5 | 320 | 409.8 | 496.5 | 726.7 | 1338 | 9999.9 | 9999.9 | 9999.9 | 934 | 92.81 | 86.32 | 54.03 | 52.5 | 56.48 | 37.68 | 28.53 | 19.58 | 19.9 | 24.98 | 26.11 | 18.26 | 21.58 | 14.8 | 16 | 14.75 | 12.59 | 12.54 | 13.54 | 14.47 | 17.22 | 16.8 | 9.73 | 10.21 | 11.2 | 12.43 | 11.55 | 12.44 | 9.189
300 | 110.1 | 234.3 | 205 | 207.5 | 178.8 | 147.2 | 99.73 | 138.7 | 210.5 | 340.5 | 637.4 | 825.9 | 1033 | 1048 | 1432 | 9999.9 | 9999.9 | 9999.9 | 1178 | 140.1 | 61.78 | 54.51 | 48.24 | 29.4 | 31.37 | 34.23 | 37.45 | 25.18 | 23.16 | 17.05 | 19.72 | 19.93 | 17.14 | 13.83 | 16.11 | 10.09 | 17.88 | 15.08 | 12.16 | 13.84 | 13.07 | 10.91 | 10.72 | 11.02 | 8.327 | 10.15 | 9.546
305 | 137.2 | 197.9 | 265.7 | 274.3 | 186.6 | 100.9 | 129.5 | 241.7 | 330.5 | 385.5 | 857.8 | 1296 | 1369 | 1550 | 1386 | 1517 | 9999.9 | 9999.9 | 9999.9 | 1105 | 94.37 | 73.45 | 51.71 | 33.77 | 42.41 | 32.87 | 32.46 | 20.7 | 21.93 | 20.57 | 28.26 | 13.33 | 17.81 | 17.94 | 17.55 | 11.36 | 11.62 | 16.79 | 11.78 | 13.35 | 14.1 | 14.39 | 10.18 | 6.447 | 6.484 | 8.273 | 10.84
310 | 133.8 | 270.4 | 343.6 | 321.2 | 173.4 | 119.7 | 164.7 | 314.4 | 308.6 | 550 | 952.9 | 1449 | 1954 | 1988 | 1661 | 1173 | 1223 | 9999.9 | 9999.9 | 9999.9 | 1174 | 106.4 | 76.85 | 58.69 | 44.21 | 54.21 | 23.39 | 29.94 | 28.56 | 17.56 | 18.02 | 19.01 | 25.46 | 16.86 | 16.54 | 10.89 | 16.82 | 13.76 | 12.93 | 11.13 | 10.66 | 15.15 | 12.31 | 10.51 | 7.502 | 13.43 | 9.969
315 | 203.6 | 255.8 | 390.9 | 337.2 | 200.1 | 192.7 | 168.5 | 297.1 | 457.9 | 789 | 1420 | 1805 | 2238 | 2558 | 2559 | 1526 | 760.7 | 988.4 | 9999.9 | 9999.9 | 9999.9 | 1070 | 100.1 | 76.71 | 58.01 | 50.51 | 38.48 | 44.92 | 19.74 | 21.25 | 22.65 | 22.73 | 19.97 | 14.44 | 13.62 | 13.28 | 10.18 | 13.09 | 10.56 | 12.88 | 8.54 | 11.42 | 15.57 | 11.36 | 11.51 | 8.684 | 11.32
320 | 143.8 | 326.8 | 441.9 | 380 | 262.3 | 242.5 | 212.4 | 330.2 | 522.7 | 912 | 1271 | 2131 | 2842 | 2923 | 3224 | 2083 | 887.7 | 496.5 | 874.6 | 9999.9 | 9999.9 | 9999.9 | 880.4 | 98.62 | 64.94 | 51.46 | 51.4 | 30.93 | 39.13 | 31.55 | 19.57 | 25.45 | 17.19 | 18.05 | 18.23 | 12.57 | 10.92 | 12.31 | 11 | 10.09 | 9.675 | 11.67 | 13.4 | 16.02 | 13.61 | 10.85 | 10.2
325 | 203.3 | 386.2 | 424.9 | 472.4 | 283.9 | 260.3 | 244.7 | 327.1 | 584.4 | 1075 | 1475 | 2360 | 2948 | 3250 | 3543 | 2418 | 1026 | 457.9 | 254.5 | 785.4 | 9999.9 | 9999.9 | 9999.9 | 917.1 | 108.3 | 61.13 | 55.72 | 45.65 | 35.61 | 28.57 | 20.2 | 24.57 | 21.84 | 17.75 | 14.13 | 13.42 | 16.58 | 15.96 | 12.51 | 13.15 | 9.787 | 8.548 | 10.9 | 14.16 | 13.32 | 10.64 | 11.99
330 | 205.7 | 314.6 | 435.6 | 415.3 | 252.7 | 226.9 | 215.8 | 329.7 | 611.8 | 856.1 | 1591 | 2300 | 3004 | 3638 | 3426 | 2409 | 1183 | 460.3 | 190.9 | 167.9 | 825.6 | 9999.9 | 9999.9 | 9999.9 | 953.8 | 81.31 | 60.73 | 38.59 | 36.38 | 35.23 | 26.14 | 22.6 | 23.03 | 19.83 | 13.88 | 14.91 | 12.02 | 7.427 | 12.38 | 10.02 | 11.85 | 13.02 | 9.761 | 10.42 | 11.71 | 14.84 | 10.29
335 | 227.3 | 348.1 | 544.2 | 371.2 | 328.6 | 234.3 | 211.1 | 394.7 | 556.5 | 1076 | 1540 | 2354 | 3063 | 4058 | 3396 | 2638 | 1398 | 608.2 | 188.9 | 126.2 | 166.7 | 824 | 9999.9 | 9999.9 | 9999.9 | 839.8 | 91.96 | 57.46 | 46.18 | 37 | 34.87 | 32.55 | 24.84 | 25.02 | 14.03 | 14.09 | 14.98 | 10.22 | 10.69 | 12.61 | 11.78 | 10.62 | 10.65 | 12.66 | 11.22 | 13.5 | 13.92
340 | 166.1 | 293.2 | 349.7 | 336.3 | 332.1 | 280.2 | 277.6 | 341.1 | 585.4 | 976.7 | 1383 | 1936 | 3199 | 3561 | 3548 | 2105 | 1109 | 711.5 | 286.4 | 99.12 | 143.5 | 152.8 | 812.6 | 9999.9 | 9999.9 | 9999.9 | 933.9 | 82.54 | 56.67 | 42.78 | 33.98 | 32.48 | 17.59 | 21.06 | 19.21 | 15.59 | 14.65 | 11.18 | 7.521 | 9.933 | 9.503 | 8.768 | 9.453 | 10.76 | 8.569 | 8.13 | 10.57
345 | 161.8 | 300.9 | 377.2 | 336.6 | 276 | 238.4 | 203.5 | 353.6 | 580.8 | 750 | 1489 | 1807 | 2945 | 2999 | 3578 | 2156 | 997 | 533.4 | 413.9 | 172.4 | 83.59 | 112.5 | 166.7 | 802.7 | 9999.9 | 9999.9 | 9999.9 | 811 | 85.24 | 66.28 | 39.15 | 28.73 | 28.75 | 18.46 | 17.19 | 15.51 | 19.5 | 12.56 | 12.2 | 18.69 | 11.99 | 11.96 | 13.74 | 9.939 | 7.699 | 7.666 | 13.64
350 | 170.8 | 230.9 | 366.8 | 365.4 | 207.6 | 161.1 | 233 | 314.5 | 515.2 | 721 | 1493 | 2014 | 2522 | 2763 | 2623 | 1867 | 1001 | 475.2 | 353.2 | 393.9 | 86 | 77.14 | 100.8 | 155.1 | 785.3 | 9999.9 | 9999.9 | 9999.9 | 735.2 | 79.09 | 65.8 | 41.9 | 29.08 | 16.58 | 18.16 | 20.01 | 16.19 | 22.84 | 15.9 | 14.53 | 9.427 | 10.37 | 11.6 | 10.16 | 9.276 | 7.969 | 11.2
355 | 118.1 | 253.3 | 325.6 | 307.8 | 277.8 | 160.4 | 265.5 | 240 | 436.4 | 719.4 | 1075 | 1577 | 1915 | 2413 | 2645 | 1532 | 762.7 | 393.7 | 216.2 | 339.4 | 232.8 | 100.4 | 80.47 | 100.3 | 152.8 | 777.9 | 9999.9 | 9999.9 | 9999.9 | 731.4 | 71.75 | 59.19 | 30.37 | 22.51 | 25.8 | 16.48 | 18.6 | 22.51 | 10.68 | 10.65 | 11.88 | 9.671 | 12.31 | 11.32 | 11.12 | 8.302 | 9.833
360 | 95.16 | 238.4 | 317.1 | 301.8 | 184.3 | 180.7 | 143.2 | 265.5 | 385.9 | 626.8 | 891.1 | 1313 | 1870 | 2014 | 1886 | 1483 | 702 | 350.4 | 132 | 150 | 307.5 | 214.3 | 91.46 | 88.9 | 72.57 | 135.3 | 779.1 | 9999.9 | 9999.9 | 9999.9 | 615.8 | 65.92 | 63.37 | 34.93 | 21.4 | 18.1 | 20.05 | 15.11 | 18.71 | 13.05 | 11.76 | 10.69 | 9.563 | 9.048 | 10.81 | 8.972 | 8.016
365 | 145.1 | 211.4 | 269 | 243.9 | 187.9 | 124.4 | 124.5 | 224.3 | 343.5 | 492.2 | 745.4 | 1033 | 1527 | 1734 | 1562 | 1165 | 698.7 | 321 | 146.5 | 110.6 | 164 | 288.3 | 158 | 70.75 | 76.32 | 75.53 | 137.4 | 777.7 | 9999.9 | 9999.9 | 9999.9 | 618.5 | 75.49 | 60.13 | 34.84 | 20.87 | 22.21 | 17.27 | 19.26 | 15.26 | 13.86 | 12.61 | 9.424 | 9.446 | 9.215 | 8.338 | 11.91
370 | 104.4 | 227.8 | 248.3 | 222.5 | 166.6 | 185 | 116.9 | 151.2 | 312.1 | 441.8 | 696 | 1074 | 1166 | 1340 | 1471 | 923.7 | 537.1 | 266.3 | 116.8 | 103.5 | 97.23 | 246.3 | 294.2 | 122.2 | 79.58 | 85.51 | 88.19 | 126.6 | 770.2 | 9999.9 | 9999.9 | 9999.9 | 509.9 | 72.1 | 46.49 | 37.98 | 29.89 | 18.66 | 17.77 | 18.78 | 10.21 | 8.481 | 10.16 | 9.878 | 6.748 | 9.529 | 8.646
375 | 109.3 | 131.1 | 212.4 | 163 | 125.3 | 130.6 | 125.2 | 157.9 | 219.1 | 301.5 | 585.4 | 760.6 | 1012 | 1096 | 1317 | 819.9 | 389.9 | 212.6 | 131.2 | 87.6 | 99.7 | 129.8 | 238.2 | 217.2 | 101.5 | 61.25 | 61.65 | 79.58 | 138.4 | 806 | 9999.9 | 9999.9 | 9999.9 | 497.8 | 68.37 | 41.9 | 35 | 20.75 | 16.99 | 16.71 | 12.32 | 14.98 | 12.57 | 11.46 | 9.567 | 11.08 | 8.9
380 | 99.05 | 142.2 | 169 | 156.2 | 135.1 | 116.2 | 113.9 | 194 | 182.6 | 278.5 | 455.6 | 586.8 | 782.6 | 1031 | 900.5 | 839.5 | 392.3 | 188.4 | 95.1 | 88.55 | 95.24 | 86.98 | 153.3 | 264.3 | 192.7 | 96.2 | 73.73 | 66.73 | 81.67 | 139.4 | 791.2 | 9999.9 | 9999.9 | 9999.9 | 486.7 | 63.98 | 47.3 | 42.58 | 20.33 | 18.99 | 15.07 | 14.72 | 12.81 | 10.72 | 11.76 | 9.959 | 9.651
385 | 101.6 | 134.3 | 168.7 | 189.2 | 128 | 74.14 | 142 | 126.6 | 188.8 | 215.3 | 499.7 | 462.2 | 643.4 | 906.9 | 821.4 | 524.6 | 321.3 | 178.2 | 100.4 | 95.64 | 74.15 | 90.6 | 120.1 | 154.4 | 240.5 | 181.9 | 64.79 | 65.81 | 53.06 | 71.35 | 123.7 | 772.3 | 9999.9 | 9999.9 | 9999.9 | 406.7 | 58.25 | 48.41 | 26.05 | 19.33 | 22.13 | 13.52 | 11.3 | 11.07 | 9.806 | 8.543 | 7.572
390 | 161.5 | 77.72 | 97.5 | 137.9 | 103.3 | 104.6 | 73.93 | 104.2 | 145.4 | 211.3 | 350.7 | 454.3 | 548 | 656.2 | 636.6 | 422.4 | 234.4 | 177.3 | 112.8 | 69.29 | 68.47 | 97.81 | 106 | 111.9 | 179.9 | 264.6 | 113.7 | 64.86 | 58.19 | 63.12 | 68.05 | 118.4 | 754.8 | 9999.9 | 9999.9 | 9999.9 | 409.2 | 51.78 | 39.87 | 20.87 | 19.47 | 16.56 | 13.25 | 12.99 | 11.2 | 12.23 | 9.291
395 | 142.7 | 78.76 | 124.5 | 119.2 | 129.6 | 93.35 | 81.68 | 129.7 | 133.9 | 191.4 | 280.2 | 349.1 | 450.1 | 510.5 | 555.8 | 324.9 | 244.3 | 168.2 | 103 | 104.7 | 129.3 | 106.6 | 101.8 | 92.37 | 94.39 | 174.4 | 184.6 | 95.29 | 62.39 | 46.82 | 61.29 | 58.18 | 121.7 | 768.7 | 9999.9 | 9999.9 | 9999.9 | 323 | 54.71 | 37.67 | 27.17 | 17.39 | 16.56 | 10.11 | 15.17 | 8.594 | 8.105
400 | 105.2 | 83.47 | 122.4 | 117.7 | 129.8 | 97.75 | 76.3 | 108.3 | 137.2 | 134.1 | 178.7 | 286.1 | 380.8 | 445.7 | 505.8 | 353.4 | 163.8 | 138 | 97.85 | 103.2 | 94.84 | 115.8 | 85.59 | 87.24 | 86.15 | 89.76 | 191.9 | 167 | 70.59 | 52.79 | 52.5 | 56.56 | 55.87 | 116.5 | 756.5 | 9999.9 | 9999.9 | 9999.9 | 292.2 | 48.05 | 31.01 | 20.24 | 19.87 | 11.88 | 9.965 | 10.72 | 13.24
405 | 83.81 | 123.2 | 96.29 | 136.2 | 108.1 | 89.55 | 66.56 | 97.68 | 123.6 | 147.9 | 202.7 | 290 | 279.6 | 325.3 | 312.7 | 287.2 | 171.2 | 131.2 | 112.7 | 138.8 | 133.2 | 97.52 | 110.5 | 78.33 | 94.45 | 96.38 | 112.3 | 215.3 | 131.1 | 68.86 | 46.06 | 60.49 | 51.33 | 60.64 | 103.2 | 740.5 | 9999.9 | 9999.9 | 9999.9 | 293.2 | 46.1 | 39.52 | 21.62 | 15.81 | 13.6 | 11.82 | 11.42
410 | 90.35 | 74.68 | 114.6 | 115.6 | 77.58 | 79 | 107.5 | 84.69 | 109.6 | 129.7 | 144.4 | 238.8 | 253.4 | 266.3 | 280.1 | 190.9 | 129.9 | 129.4 | 71.7 | 95.99 | 116.6 | 99.15 | 76.16 | 94.62 | 92.83 | 93.1 | 86.09 | 124.1 | 200.1 | 104.4 | 70.02 | 50.47 | 55.92 | 56.02 | 56.53 | 95.59 | 732.3 | 9999.9 | 9999.9 | 9999.9 | 255.7 | 42.99 | 30.12 | 18.88 | 14.5 | 14.32 | 13.27
415 | 99.22 | 111 | 137 | 172.2 | 90.55 | 119.2 | 83.8 | 64.85 | 89.56 | 118.6 | 155.4 | 205.4 | 214.5 | 254 | 246 | 201.3 | 157.9 | 96.07 | 116.5 | 112.9 | 135.4 | 98.94 | 92.96 | 93.92 | 107.5 | 82.45 | 77.14 | 93.72 | 153.8 | 193.6 | 95.78 | 63.41 | 51.1 | 52.59 | 46.57 | 51.33 | 104.4 | 732.9 | 9999.9 | 9999.9 | 9999.9 | 230.3 | 44 | 26.02 | 18.55 | 17.82 | 14.28
420 | 95.32 | 115.5 | 68.79 | 135.6 | 92.11 | 79.83 | 75.19 | 100.8 | 84.83 | 83.14 | 134 | 196.1 | 195.5 | 218.9 | 231.4 | 212.3 | 130.1 | 126.9 | 105.8 | 75.13 | 115.7 | 93.33 | 97.73 | 92.68 | 87.99 | 80.89 | 88.19 | 82.32 | 114.4 | 174.8 | 152.5 | 74.65 | 51.07 | 49.29 | 41.57 | 41.83 | 47.28 | 94.44 | 730.3 | 9999.9 | 9999.9 | 9999.9 | 221.4 | 38 | 23.83 | 16.28 | 16.22
425 | 93.63 | 122.1 | 95.97 | 129.8 | 104 | 96.6 | 92.61 | 72.51 | 66.52 | 109.3 | 97.5 | 149.2 | 162 | 184.7 | 179.2 | 179.6 | 122.4 | 83.66 | 101 | 77.2 | 102.5 | 117.7 | 91.85 | 106.6 | 88.07 | 88.63 | 69.47 | 70.69 | 67.87 | 94.71 | 163.3 | 118.8 | 59.72 | 50.69 | 37.8 | 36.48 | 43.27 | 40.08 | 92.54 | 718.6 | 9999.9 | 9999.9 | 9999.9 | 194.5 | 33.66 | 23.5 | 14.25
430 | 134.8 | 105.8 | 89.76 | 76.91 | 107.9 | 68.45 | 63.65 | 79.71 | 64.56 | 117.9 | 115.4 | 125.3 | 133.3 | 177.7 | 228.6 | 156 | 117.4 | 93.55 | 68.09 | 79.18 | 93.68 | 93.28 | 90.06 | 101.3 | 86.13 | 87.35 | 84.11 | 64.48 | 68.48 | 72.25 | 98.8 | 138.4 | 80.89 | 44.59 | 40.77 | 38.14 | 36.71 | 28.21 | 39.13 | 85.91 | 701.8 | 9999.9 | 9999.9 | 9999.9 | 198.1 | 34.35 | 25.03
435 | 287 | 114.5 | 112.9 | 88.7 | 124.4 | 93.83 | 85.77 | 59.94 | 63.31 | 75.72 | 88.35 | 140.6 | 149.2 | 151.9 | 146.9 | 117.3 | 105.7 | 108.9 | 95.58 | 101.2 | 93.25 | 101.9 | 96.64 | 110.8 | 90.85 | 86.2 | 74.87 | 86.3 | 76.59 | 73.36 | 67.39 | 108.5 | 127.7 | 60.86 | 34.14 | 35.17 | 32.19 | 37.05 | 28.19 | 39.81 | 80.69 | 716.2 | 9999.9 | 9999.9 | 9999.9 | 195.5 | 31.28
440 | 481.1 | 218.1 | 64.22 | 78.52 | 63.44 | 76.03 | 90.1 | 126.4 | 104.6 | 95.39 | 77.46 | 105.6 | 133.9 | 129 | 101.7 | 110.4 | 137.9 | 120.2 | 76.17 | 96.79 | 91.88 | 84.89 | 92.62 | 104.4 | 93.25 | 90.57 | 63.72 | 62.45 | 71.32 | 73.4 | 65.9 | 66.71 | 97.37 | 101.3 | 56.52 | 29.67 | 31.6 | 29 | 24.83 | 29.82 | 32.9 | 81.25 | 699.7 | 9999.9 | 9999.9 | 9999.9 | 150.3
445 | 247.9 | 516.8 | 121.2 | 75.23 | 69.85 | 46.58 | 55.86 | 64.92 | 80.01 | 90.52 | 65.58 | 91.31 | 82.78 | 133.3 | 111 | 115.8 | 104 | 78.94 | 85.17 | 99.97 | 88.45 | 93.93 | 88.04 | 106.9 | 93.98 | 73.42 | 91.61 | 75.9 | 75.57 | 59.11 | 71.57 | 51.74 | 65.66 | 99.05 | 68.15 | 31.87 | 24.39 | 32.11 | 23.44 | 26.52 | 27.64 | 33.43 | 76.19 | 703.5 | 9999.9 | 9999.9 | 9999.9
450 | 103.2 | 721.3 | 344.6 | 137 | 68.4 | 86.79 | 110.8 | 58.32 | 78.89 | 70.13 | 109.8 | 76.32 | 130.4 | 101.9 | 117.5 | 78.83 | 109.7 | 83.47 | 103.4 | 88.65 | 69.09 | 111.6 | 74.66 | 81.91 | 66.67 | 67.91 | 82.41 | 74.76 | 72.64 | 69.48 | 57.28 | 58.03 | 45.24 | 64.99 | 85.15 | 56.26 | 36.47 | 27.86 | 27.63 | 22.61 | 24.7 | 27.65 | 31.93 | 72.81 | 697.7 | 9999.9 | 9999.9
455 | 81.25 | 484.4 | 1035 | 127.2 | 78.69 | 56.74 | 99.48 | 60.43 | 47.26 | 62.58 | 108.3 | 120.2 | 125.9 | 133.2 | 92.43 | 107.4 | 141.3 | 90.36 | 117.3 | 77.19 | 72 | 78.14 | 74.57 | 91.55 | 84.65 | 69.7 | 79.31 | 71.94 | 86.2 | 60.35 | 69.47 | 53.15 | 44.1 | 45.7 | 63.9 | 79.11 | 43.29 | 26.16 | 22.35 | 31.43 | 24.48 | 25.39 | 24.53 | 32.26 | 76.02 | 708.7 | 9999.9
460 | 47.67 | 179.3 | 1136 | 639 | 112.3 | 65.6 | 90.81 | 65.74 | 51.73 | 78.92 | 72.57 | 125.4 | 98.38 | 96.51 | 127.4 | 96.77 | 100.4 | 93.6 | 116.9 | 94.52 | 108.5 | 65.57 | 91.65 | 94.44 | 66.55 | 66.69 | 90.43 | 63.82 | 65.5 | 67.67 | 57.15 | 58.96 | 50.37 | 35.16 | 40.74 | 71.96 | 64.72 | 25.82 | 21.35 | 20.08 | 25.58 | 24.3 | 20.44 | 23.1 | 27.75 | 70.34 | 682.6
465 | 84.01 | 89.11 | 888.3 | 1681 | 152.9 | 69.24 | 84.86 | 71.52 | 73.86 | 97.68 | 90.14 | 69.03 | 110.1 | 86.23 | 95.04 | 101.3 | 95.51 | 96.97 | 78.14 | 77.72 | 102.5 | 92.33 | 85.82 | 79.03 | 65.38 | 73.76 | 64.36 | 66.43 | 67.16 | 48.81 | 54.74 | 65.02 | 45.57 | 24.68 | 27.13 | 39.77 | 69.04 | 54.03 | 28.73 | 24.68 | 23.69 | 18.61 | 19.94 | 22.4 | 23.7 | 28.75 | 70.24
470 | 72.02 | 100.1 | 248.6 | 2237 | 861.7 | 69.77 | 45.68 | 99.96 | 81.94 | 86.38 | 98.18 | 81.59 | 111.6 | 115.8 | 81.04 | 82.15 | 69.09 | 87.28 | 85.99 | 79.75 | 77.68 | 77.86 | 90.86 | 62.66 | 60.5 | 78.51 | 50.71 | 61.83 | 66.33 | 60.97 | 61.31 | 43.9 | 34.56 | 33.47 | 30.75 | 26.21 | 42.53 | 55.78 | 37.55 | 22.71 | 19.65 | 24.6 | 23.55 | 21.3 | 17.71 | 22.4 | 24.65
475 | 122.4 | 103 | 68.82 | 1253 | 2348 | 210 | 56.28 | 77.02 | 78.19 | 64.04 | 120.1 | 83.95 | 82.37 | 109.9 | 128.2 | 79.85 | 80.56 | 89.48 | 89.12 | 73.67 | 74.07 | 74.56 | 76.78 | 56.17 | 55.71 | 58.96 | 60.5 | 63.15 | 57.28 | 53.37 | 49.01 | 37.94 | 38.62 | 40.82 | 35.6 | 30.24 | 28.76 | 47.85 | 49.87 | 26.35 | 21.3 | 15.92 | 20.8 | 16.08 | 22.97 | 15.26 | 21.6
480 | 94.55 | 156.4 | 83.38 | 344.7 | 2951 | 1009 | 48.46 | 59.87 | 97.87 | 68.69 | 86.49 | 72.78 | 75.66 | 89.02 | 85.23 | 141.4 | 75.09 | 92.1 | 54.4 | 63.55 | 51.08 | 74.11 | 71.05 | 47.15 | 55.07 | 64 | 53.48 | 62.39 | 59.13 | 51.2 | 38.51 | 39.57 | 37.89 | 31.44 | 27.77 | 30.43 | 32.67 | 28.61 | 46.78 | 43.76 | 22.91 | 20.03 | 18.6 | 21.73 | 16.68 | 14.88 | 13.8
485 | 118 | 130.4 | 81.2 | 93.28 | 1503 | 3171 | 115.6 | 82.25 | 72.84 | 77.78 | 69.34 | 94.75 | 74.29 | 69.65 | 84.32 | 78.6 | 54.45 | 62.81 | 65.26 | 51.19 | 57.68 | 78.07 | 65.11 | 64.38 | 61.05 | 69.88 | 52.99 | 59.36 | 48.36 | 49.24 | 47.58 | 45.4 | 40.17 | 28.4 | 23.68 | 26.44 | 32.49 | 28.3 | 31.87 | 46.97 | 29.86 | 20.27 | 24.16 | 18.31 | 16.48 | 17.98 | 13.02
490 | 76.29 | 141.2 | 95.02 | 113.7 | 360.8 | 3771 | 1085 | 100.8 | 59.43 | 70.46 | 101.9 | 80.73 | 59.3 | 82.04 | 94.26 | 54.05 | 80.68 | 60.01 | 80.11 | 67.12 | 77.83 | 63.12 | 64.57 | 70.47 | 55.14 | 62.24 | 50.48 | 42.2 | 43.22 | 53.51 | 39.15 | 38.75 | 32.71 | 23.68 | 27.54 | 33.1 | 25.43 | 19.29 | 21.47 | 31.3 | 44.12 | 31.3 | 20.01 | 15.73 | 16.96 | 16.34 | 14.68
495 | 87.56 | 84 | 89.03 | 101.4 | 65.25 | 2411 | 2967 | 129.4 | 62.7 | 92.28 | 105.6 | 101.7 | 105.5 | 90.12 | 96.34 | 99.57 | 71.9 | 74.11 | 49.23 | 80.2 | 79.26 | 60.9 | 57.79 | 79.27 | 61.76 | 59.44 | 45.15 | 37.25 | 49.63 | 42.43 | 39.37 | 33.78 | 38.35 | 24.25 | 24.24 | 23.82 | 32.84 | 23.5 | 20.68 | 24.65 | 38.42 | 46.07 | 23.18 | 21.21 | 15.27 | 16.49 | 13.15
500 | 88.92 | 104.8 | 73.6 | 90.12 | 72.12 | 747 | 3949 | 775.4 | 48.83 | 82.13 | 62.56 | 89.67 | 77.07 | 82.31 | 81.74 | 61.15 | 57.28 | 57.32 | 81.53 | 77.74 | 42.27 | 56.97 | 51.4 | 54.94 | 57.57 | 49.92 | 48.88 | 44.03 | 52.93 | 42.76 | 41.21 | 29.26 | 35.96 | 28.54 | 27.11 | 21.14 | 23.87 | 25 | 20.47 | 26.02 | 28.33 | 38.33 | 26.94 | 17.51 | 17.18 | 13.94 | 14.7