## Sheet1
Report date: | 15:14:50, 04/17/2024
Sample: | 1
File name:
Run date: | 15:11:39, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/365.0 | 234
2 | 230.0/280.0 | 120.5
3 | 230.0/315.0 | 391.5
4 | 230.0/325.0 | 483.6
5 | 230.0/335.0 | 479.6
6 | 230.0/350.0 | 459.8
7 | 230.0/425.0 | 85.71
8 | 235.0/270.0 | 96.83
9 | 235.0/320.0 | 398.4
10 | 235.0/400.0 | 158.5
11 | 235.0/410.0 | 121.3
12 | 235.0/445.0 | 117.4
13 | 245.0/265.0 | 120.9
14 | 245.0/410.0 | 109.3
15 | 245.0/430.0 | 114.4
16 | 245.0/455.0 | 79.16
17 | 250.0/275.0 | 138.4
18 | 250.0/390.0 | 116
19 | 255.0/420.0 | 129.1
20 | 255.0/435.0 | 103
21 | 255.0/455.0 | 75.51
22 | 255.0/470.0 | 104.6
23 | 260.0/285.0 | 152.3
24 | 260.0/445.0 | 116.3
25 | 265.0/430.0 | 124.2
26 | 265.0/490.0 | 72.93
27 | 270.0/415.0 | 193.5
28 | 270.0/425.0 | 150.2
29 | 270.0/455.0 | 110.5
30 | 270.0/465.0 | 101.9
31 | 275.0/440.0 | 132.4
32 | 275.0/450.0 | 112.2
33 | 275.0/485.0 | 91.33
34 | 280.0/255.0 | 58.93
35 | 280.0/435.0 | 160.5
36 | 280.0/465.0 | 128.3
37 | 285.0/475.0 | 112.7
38 | 290.0/330.0 | 3189
39 | 290.0/445.0 | 136.9
40 | 290.0/455.0 | 137.9
41 | 290.0/480.0 | 92.01
42 | 290.0/490.0 | 117.8
43 | 295.0/270.0 | 60.38
44 | 295.0/465.0 | 105.1
45 | 295.0/475.0 | 112.8
46 | 300.0/265.0 | 60.62
47 | 300.0/470.0 | 106.4
48 | 300.0/490.0 | 96.38
49 | 305.0/420.0 | 121.7
50 | 305.0/460.0 | 109.3
51 | 305.0/475.0 | 87.77
52 | 305.0/495.0 | 76.14
53 | 310.0/255.0 | 61.99
54 | 310.0/445.0 | 105.2
55 | 310.0/470.0 | 96.13
56 | 315.0/275.0 | 52.4
57 | 315.0/355.0 | 354.7
58 | 315.0/405.0 | 120.9
59 | 315.0/420.0 | 109
60 | 315.0/465.0 | 80.14
61 | 315.0/480.0 | 99.78
62 | 315.0/490.0 | 88.97
63 | 320.0/260.0 | 47.72
64 | 320.0/280.0 | 46.21
65 | 320.0/360.0 | 367.7
66 | 320.0/395.0 | 109.9
67 | 320.0/450.0 | 105.6
68 | 325.0/275.0 | 43.29
69 | 325.0/290.0 | 62.98
70 | 325.0/365.0 | 324.2
71 | 325.0/400.0 | 119.3
72 | 325.0/435.0 | 108
73 | 325.0/455.0 | 86.23
74 | 325.0/470.0 | 99.28
75 | 330.0/285.0 | 42.4
76 | 330.0/370.0 | 303.9
77 | 330.0/405.0 | 132.5
78 | 330.0/420.0 | 122
79 | 330.0/440.0 | 105.3
80 | 335.0/265.0 | 31.96
81 | 335.0/300.0 | 47.05
82 | 335.0/380.0 | 265.3
83 | 335.0/450.0 | 89
84 | 335.0/475.0 | 85.03
85 | 335.0/485.0 | 76.51
86 | 340.0/290.0 | 44.4
87 | 340.0/385.0 | 254.1
88 | 340.0/410.0 | 100.2
89 | 340.0/425.0 | 92.37
90 | 340.0/440.0 | 98.35
91 | 340.0/460.0 | 88.78
92 | 345.0/255.0 | 31.76
93 | 345.0/275.0 | 32.33
94 | 345.0/300.0 | 43.79
95 | 345.0/390.0 | 257.2
96 | 345.0/435.0 | 95.72
97 | 345.0/445.0 | 96.52
98 | 345.0/480.0 | 75
99 | 350.0/265.0 | 27.69
100 | 350.0/285.0 | 33.29
101 | 350.0/395.0 | 226
102 | 350.0/425.0 | 92.01
103 | 350.0/455.0 | 83.1
104 | 350.0/470.0 | 64.93
105 | 350.0/485.0 | 60.66
106 | 355.0/255.0 | 32.56
107 | 355.0/305.0 | 34.56
108 | 355.0/405.0 | 198.4
109 | 355.0/435.0 | 86.61
110 | 355.0/465.0 | 75.06
111 | 355.0/480.0 | 65.81
112 | 360.0/310.0 | 32.22
113 | 360.0/410.0 | 197.9
114 | 360.0/430.0 | 84.44
115 | 365.0/270.0 | 25.3
116 | 365.0/305.0 | 31.21
117 | 365.0/320.0 | 30.49
118 | 365.0/420.0 | 199.8
119 | 365.0/440.0 | 80.66
120 | 365.0/450.0 | 78.82
121 | 370.0/255.0 | 29.02
122 | 370.0/470.0 | 57.45
123 | 370.0/490.0 | 47.41
124 | 375.0/260.0 | 22.83
125 | 375.0/280.0 | 23.46
126 | 375.0/315.0 | 23.42
127 | 375.0/430.0 | 144.4
128 | 380.0/265.0 | 23.13
129 | 380.0/305.0 | 21.54
130 | 380.0/435.0 | 130.6
131 | 385.0/285.0 | 18.92
132 | 385.0/315.0 | 21.39
133 | 385.0/415.0 | 58.68
134 | 385.0/470.0 | 51.03
135 | 390.0/320.0 | 22.42
136 | 390.0/345.0 | 27.76
137 | 390.0/450.0 | 84.6
138 | 390.0/490.0 | 35.16
139 | 395.0/260.0 | 16.66
140 | 395.0/280.0 | 21.64
141 | 395.0/295.0 | 16.64
142 | 395.0/430.0 | 36.4
143 | 395.0/455.0 | 71.13
144 | 395.0/485.0 | 27.77
145 | 400.0/265.0 | 18.9
146 | 400.0/320.0 | 15.5
147 | 400.0/340.0 | 18.43
148 | 400.0/355.0 | 27.22
149 | 400.0/460.0 | 67.93
150 | 400.0/495.0 | 30.17
151 | 405.0/260.0 | 17.9
152 | 405.0/285.0 | 21.8
153 | 405.0/305.0 | 15.48
154 | 405.0/330.0 | 14.15
155 | 405.0/365.0 | 23.15
156 | 405.0/440.0 | 36.67
157 | 410.0/265.0 | 16.19
158 | 410.0/295.0 | 17.52
159 | 410.0/325.0 | 14.39
160 | 410.0/475.0 | 54.02
161 | 415.0/300.0 | 18.84
162 | 415.0/320.0 | 14.88
163 | 415.0/450.0 | 27.04
164 | 415.0/485.0 | 50.88
165 | 420.0/260.0 | 14.98
166 | 420.0/305.0 | 18.49
167 | 420.0/330.0 | 13.06
168 | 420.0/360.0 | 15.03
169 | 420.0/465.0 | 22.47
170 | 420.0/490.0 | 45.19
171 | 425.0/265.0 | 14.42
172 | 425.0/280.0 | 13.4
173 | 425.0/325.0 | 12.97
174 | 425.0/365.0 | 12.76
175 | 425.0/470.0 | 21.85
176 | 430.0/290.0 | 15.15
177 | 430.0/310.0 | 15.98
178 | 430.0/340.0 | 12.1
179 | 430.0/355.0 | 13.71
180 | 430.0/380.0 | 13.76
181 | 430.0/465.0 | 23.76
182 | 435.0/260.0 | 10.84
183 | 435.0/280.0 | 12.44
184 | 435.0/295.0 | 12.6
185 | 435.0/335.0 | 11.64
186 | 440.0/270.0 | 11.68
187 | 440.0/325.0 | 15.24
188 | 440.0/345.0 | 11.17
189 | 440.0/375.0 | 11.62
190 | 440.0/490.0 | 18.73
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 34.54 | 80.05 | 104.2 | 49.48 | 100.5 | 3278 | 9999.9 | 2826 | 48.01 | 38.53 | 52.86 | 71.54 | 43.41 | 51.53 | 22.67 | 40.93 | 41.76 | 46.07 | 31.42 | 28.64 | 39.19 | 27.67 | 43.39 | 33.27 | 27.55 | 19.21 | 22.83 | 23.16 | 23.37 | 15.61 | 23.67 | 20.2 | 19.85 | 15.45 | 17.25 | 15.79 | 19.65 | 17.31 | 10.89 | 9.483 | 11.94 | 10.48 | 4.91 | 7.608 | 6.748 | 6.231 | 5.963
255 | 50.38 | 46.56 | 54.71 | 55.11 | 46.23 | 302.7 | 3080 | 9999.9 | 6760 | 154.3 | 79.79 | 43.75 | 58.93 | 47.3 | 38.47 | 45.6 | 49.62 | 39.66 | 61.99 | 23.32 | 42.77 | 18.82 | 26.4 | 31.04 | 14.59 | 31.76 | 20.65 | 32.56 | 22.2 | 25.83 | 29.02 | 18.58 | 22.03 | 19.56 | 16.5 | 14.2 | 15 | 13.56 | 14.17 | 9.876 | 12 | 11.54 | 6.785 | 7.754 | 8.408 | 5.239 | 5.761
260 | 51.52 | 43.18 | 56.59 | 63.07 | 107.6 | 80.86 | 246.5 | 3398 | 9999.9 | 7606 | 229 | 53.16 | 50.63 | 42.07 | 45.29 | 49.7 | 41.99 | 21.3 | 54.63 | 20.95 | 47.72 | 34.77 | 33.58 | 23.99 | 18.42 | 16.67 | 25.14 | 17.92 | 20.16 | 22.84 | 20.03 | 22.83 | 22.58 | 21.12 | 15.34 | 16.66 | 15.33 | 17.9 | 12.1 | 9.541 | 14.98 | 7.64 | 6.656 | 10.84 | 7.391 | 6.92 | 6.515
265 | 51.61 | 53.56 | 64.95 | 68.38 | 101 | 120.9 | 69.01 | 266.5 | 4472 | 9999.9 | 9999.9 | 310.2 | 40.15 | 45.72 | 25.89 | 50.3 | 60.62 | 28.55 | 42.7 | 27.26 | 39.02 | 38.43 | 27.68 | 31.96 | 25.58 | 15.61 | 27.69 | 27.51 | 19.34 | 19.85 | 17.73 | 16.19 | 23.13 | 20.38 | 15.81 | 13.94 | 18.9 | 13.12 | 16.19 | 12.54 | 12.24 | 14.42 | 8.698 | 7.339 | 7.098 | 6.922 | 6.41
270 | 17.1 | 59.98 | 64.21 | 96.83 | 67.23 | 92.75 | 56.95 | 67.93 | 335.6 | 5621 | 9999.9 | 9999.9 | 478.8 | 32.98 | 45.79 | 60.38 | 47.24 | 22.07 | 30.84 | 34.55 | 40.29 | 39.63 | 26.98 | 29.81 | 19.61 | 28.1 | 22.28 | 17.72 | 14.46 | 25.3 | 19.24 | 16.19 | 18.18 | 20.34 | 18.89 | 13.84 | 16.45 | 12.53 | 15.27 | 12.54 | 12.3 | 12.12 | 12.38 | 8.97 | 11.68 | 7.286 | 8.122
275 | 33.88 | 62.87 | 39.86 | 63.89 | 43 | 107 | 138.4 | 113.5 | 72.81 | 434.9 | 6727 | 9999.9 | 9999.9 | 563 | 53.52 | 54.65 | 46.07 | 49.61 | 45.38 | 52.4 | 35.17 | 43.29 | 31.74 | 22.51 | 26.44 | 32.33 | 25.36 | 15.55 | 22.43 | 21.66 | 17.15 | 14.81 | 13.27 | 18.49 | 19.64 | 16.81 | 15.92 | 14.5 | 13.33 | 13.29 | 13.72 | 10.74 | 11.17 | 9.848 | 9.003 | 7.276 | 8.415
280 | 60.06 | 45.93 | 120.5 | 37.5 | 64.06 | 64.54 | 49.72 | 108.7 | 80.45 | 119 | 499.5 | 9113 | 9999.9 | 9999.9 | 669.7 | 52.47 | 57.37 | 51.61 | 50.28 | 35.13 | 46.21 | 28.03 | 33.45 | 22.99 | 32.29 | 20.49 | 27.61 | 23.91 | 23.69 | 14.68 | 14.49 | 23.46 | 12.68 | 13.09 | 20.03 | 21.64 | 14.21 | 16.33 | 13.67 | 11.82 | 10.88 | 13.4 | 11.2 | 12.44 | 8.881 | 7.526 | 8.524
285 | 63.89 | 73.9 | 76.05 | 64.87 | 33.99 | 56.57 | 73.67 | 76.6 | 152.3 | 111.5 | 163.8 | 691 | 9999.9 | 9999.9 | 9999.9 | 802.2 | 55.57 | 85.16 | 44.3 | 42.14 | 34.11 | 35.39 | 42.4 | 24.35 | 30.37 | 10.27 | 33.29 | 25.78 | 27.52 | 20.42 | 16.06 | 23.37 | 10.28 | 18.92 | 15.57 | 17.77 | 17.53 | 21.8 | 16.66 | 13.97 | 8.192 | 12.64 | 10.33 | 10.46 | 8.718 | 6.865 | 8.687
290 | 101.4 | 93.58 | 114.4 | 106.2 | 76.48 | 105.4 | 83.84 | 59.79 | 119 | 219 | 178.9 | 314.9 | 1013 | 9999.9 | 9999.9 | 9999.9 | 894.3 | 80.97 | 56.63 | 56.73 | 45.19 | 62.98 | 35.63 | 41.1 | 44.4 | 24.36 | 18.36 | 18.4 | 24.75 | 18.68 | 19.48 | 15.66 | 9.256 | 12.11 | 14.7 | 8.871 | 14.69 | 20.78 | 16.46 | 16.4 | 10.89 | 12.02 | 15.15 | 10.21 | 8.565 | 7.256 | 7.812
295 | 68.82 | 133.7 | 132.3 | 98.16 | 79.17 | 97.97 | 71.95 | 94.38 | 145.5 | 272.3 | 427.7 | 540.4 | 707.4 | 1218 | 9999.9 | 9999.9 | 9999.9 | 979.8 | 78.82 | 54.56 | 75.24 | 56.83 | 34.29 | 32.53 | 23.82 | 20.48 | 31.53 | 27.39 | 18.76 | 24.58 | 20.22 | 11.94 | 10.57 | 11.2 | 13.56 | 16.64 | 14.31 | 17.07 | 17.52 | 12.96 | 11.35 | 11.73 | 9.965 | 12.6 | 10.7 | 7.954 | 7.221
300 | 97.07 | 153.7 | 204.3 | 216.2 | 137.8 | 118.7 | 94.87 | 116.2 | 225.7 | 313.9 | 558.9 | 862.5 | 848.8 | 991.5 | 1319 | 9999.9 | 9999.9 | 9999.9 | 977.6 | 98.99 | 91.39 | 53.94 | 39.06 | 47.05 | 30.79 | 43.79 | 36.58 | 24.36 | 23.21 | 22.01 | 20.07 | 13.81 | 17.42 | 16.27 | 15.09 | 15.69 | 11.45 | 12.65 | 13.2 | 18.84 | 16.75 | 12.38 | 11.3 | 10.17 | 9.282 | 12.25 | 12.18
305 | 98.17 | 166 | 245.6 | 200.6 | 131.7 | 77.74 | 93.02 | 186.6 | 276.1 | 442.1 | 736.9 | 1145 | 1364 | 1391 | 1333 | 1251 | 9999.9 | 9999.9 | 9999.9 | 847.4 | 98.66 | 89.39 | 45.94 | 36.08 | 33.41 | 34.53 | 24.3 | 34.56 | 22.11 | 31.21 | 19.13 | 11.76 | 21.54 | 12.44 | 13.45 | 14.71 | 14.52 | 15.48 | 7.536 | 10.64 | 18.49 | 12.41 | 14.37 | 9.652 | 10.96 | 9.898 | 10.7
310 | 137.2 | 219.7 | 350.8 | 317.4 | 217.4 | 142.2 | 141.7 | 276.9 | 380.3 | 541.4 | 780.8 | 1372 | 1822 | 1811 | 1550 | 1014 | 1104 | 9999.9 | 9999.9 | 9999.9 | 1046 | 101.2 | 73.29 | 50.79 | 38.66 | 32.1 | 27.54 | 28.12 | 32.22 | 23.05 | 22.36 | 16.41 | 14.75 | 20.31 | 15.17 | 15.46 | 12.74 | 8.801 | 10.47 | 8.55 | 12.11 | 15.59 | 15.98 | 10.54 | 8.744 | 8.848 | 7.538
315 | 179.7 | 246.4 | 391.5 | 347.6 | 198.1 | 176.5 | 175.4 | 271.4 | 409.3 | 682.6 | 1071 | 1481 | 2055 | 2601 | 2306 | 1259 | 745.5 | 976.8 | 9999.9 | 9999.9 | 9999.9 | 1014 | 85.82 | 67.52 | 51.73 | 40.44 | 35.91 | 30 | 31.26 | 25.56 | 15.01 | 23.42 | 18.1 | 21.39 | 14.92 | 15.14 | 14.12 | 12.2 | 12.1 | 8.776 | 10.15 | 12.83 | 15.76 | 14.23 | 11.81 | 9.995 | 8.686
320 | 191.7 | 291.2 | 320.3 | 398.4 | 230.2 | 201.7 | 200.4 | 293.6 | 457.2 | 737.1 | 1256 | 1764 | 2405 | 2440 | 2664 | 1608 | 944.5 | 406.8 | 840.9 | 9999.9 | 9999.9 | 9999.9 | 856.6 | 96.16 | 77.64 | 60.65 | 41.36 | 44.69 | 23.9 | 30.49 | 20.5 | 23.26 | 14.85 | 15.28 | 22.42 | 13.89 | 15.5 | 14.54 | 11.24 | 14.88 | 13.59 | 9.903 | 14.9 | 11.64 | 11.14 | 9.817 | 11.67
325 | 218 | 238.6 | 483.6 | 331.4 | 244.4 | 186.6 | 332.8 | 385 | 423.9 | 830.9 | 1211 | 1727 | 3040 | 2937 | 3127 | 2296 | 971.6 | 393.8 | 224.2 | 807 | 9999.9 | 9999.9 | 9999.9 | 1037 | 89.12 | 58.8 | 45.65 | 30.85 | 30.22 | 24.08 | 24.65 | 23.13 | 18.53 | 15.83 | 18.34 | 18.29 | 14.26 | 11.94 | 14.39 | 11.42 | 11.35 | 12.97 | 11.56 | 12.41 | 15.24 | 9.483 | 13.27
330 | 178 | 321.4 | 440 | 362.1 | 209.3 | 231.4 | 246.5 | 372.5 | 450.9 | 909 | 1477 | 1942 | 2761 | 3132 | 3189 | 2087 | 1055 | 368.4 | 170.6 | 188.1 | 792.4 | 9999.9 | 9999.9 | 9999.9 | 844 | 91.8 | 69.64 | 47.83 | 44.58 | 21.49 | 31.4 | 21.84 | 22.3 | 18.34 | 13.37 | 14.33 | 9.383 | 14.15 | 9.168 | 11.98 | 13.06 | 8.976 | 9.324 | 8.684 | 11.76 | 13.22 | 13.25
335 | 164.6 | 300.3 | 479.6 | 338.1 | 246.9 | 175.8 | 314.5 | 395.5 | 516.5 | 959.6 | 1352 | 2210 | 2628 | 3109 | 2995 | 2267 | 1253 | 524.8 | 204.1 | 124.7 | 195.3 | 807.2 | 9999.9 | 9999.9 | 9999.9 | 840.7 | 84.27 | 64.84 | 35.63 | 27.65 | 31.56 | 26.74 | 22.24 | 20.53 | 15.32 | 16.17 | 14.55 | 9.542 | 12.22 | 11.69 | 8.926 | 8.832 | 9.949 | 11.64 | 8.652 | 10.87 | 11.22
340 | 181.1 | 375.8 | 408.7 | 303.5 | 224.8 | 170.3 | 207.7 | 337.1 | 573.8 | 989.8 | 1455 | 1935 | 2731 | 3095 | 3029 | 1998 | 1231 | 668.1 | 287.6 | 115.6 | 99.44 | 150 | 827.5 | 9999.9 | 9999.9 | 9999.9 | 772.8 | 104.2 | 55.02 | 41.82 | 36.08 | 25.78 | 22.03 | 23.42 | 15.26 | 15.54 | 18.43 | 15.49 | 15.11 | 13.51 | 13.89 | 9.289 | 12.1 | 9.449 | 9.523 | 14.48 | 10.9
345 | 194.2 | 310.4 | 391.2 | 336.5 | 166.8 | 187.9 | 187.2 | 371.1 | 468.8 | 642.8 | 1304 | 2000 | 2479 | 2635 | 2939 | 1894 | 1043 | 543.7 | 454.4 | 151.1 | 90.22 | 104.9 | 163.1 | 776.4 | 9999.9 | 9999.9 | 9999.9 | 683 | 76.53 | 54.72 | 39.88 | 24.81 | 24.62 | 22.84 | 27.76 | 17.82 | 15.93 | 14.98 | 15.16 | 15.19 | 15.83 | 12.7 | 10.45 | 8.654 | 11.17 | 5.692 | 9.996
350 | 122.3 | 256 | 459.8 | 278.6 | 166.2 | 207.7 | 187.6 | 317.5 | 422.6 | 653.2 | 972.9 | 1522 | 2167 | 2270 | 2414 | 1661 | 923.5 | 417.7 | 360.2 | 331.8 | 115.9 | 100.7 | 84.61 | 152.8 | 761 | 9999.9 | 9999.9 | 9999.9 | 678.2 | 83.05 | 50.38 | 27.47 | 30.79 | 23.46 | 18.1 | 18.16 | 18.67 | 15.75 | 13.98 | 11.53 | 12.39 | 10.2 | 10.82 | 8.337 | 10.92 | 7.414 | 7.438
355 | 138.6 | 275.9 | 356.8 | 261.7 | 167.4 | 171.2 | 236.7 | 213.7 | 353.6 | 609.4 | 974 | 1481 | 1979 | 2065 | 1933 | 1426 | 779.3 | 300.3 | 200.3 | 354.7 | 228.9 | 104.8 | 81 | 113.3 | 137.2 | 772.8 | 9999.9 | 9999.9 | 9999.9 | 672.7 | 77.11 | 44.21 | 32.47 | 23.64 | 25.03 | 19.31 | 27.22 | 16.46 | 19.59 | 12.64 | 10.47 | 11.39 | 13.71 | 7.971 | 6.614 | 9.191 | 8.205
360 | 126.1 | 209.3 | 255.6 | 240.4 | 168.8 | 127.1 | 161.9 | 250.1 | 384.3 | 510.2 | 915.2 | 1126 | 1546 | 1969 | 1926 | 1341 | 638.3 | 340.9 | 132 | 162.6 | 367.7 | 200 | 89 | 82.71 | 86.26 | 139.8 | 768 | 9999.9 | 9999.9 | 9999.9 | 567.5 | 71.5 | 49.96 | 42.54 | 32.47 | 21.55 | 20.13 | 20.04 | 17.64 | 12.24 | 15.03 | 11.43 | 13.67 | 10.25 | 8.37 | 9.006 | 11.04
365 | 116.8 | 234 | 188 | 244.3 | 192.3 | 152.3 | 142.7 | 188.9 | 300.6 | 424.6 | 622.5 | 955.8 | 1384 | 1717 | 1599 | 1235 | 560.9 | 271.9 | 114.7 | 122.5 | 179.1 | 324.2 | 145.4 | 81.15 | 83.57 | 81.14 | 145.1 | 758.5 | 9999.9 | 9999.9 | 9999.9 | 549.1 | 75 | 49.9 | 30.09 | 19.05 | 21.3 | 23.15 | 12.78 | 10.63 | 11.18 | 12.76 | 11.9 | 7.79 | 7.284 | 8.225 | 9.654
370 | 154.6 | 187.3 | 214.8 | 230.6 | 140.4 | 108.6 | 115.2 | 179.3 | 298.6 | 407.9 | 562.9 | 817.9 | 1082 | 1249 | 1280 | 875.7 | 474.5 | 271.1 | 128.6 | 93.3 | 99.92 | 226.1 | 303.9 | 107.6 | 75.53 | 70.61 | 94.25 | 128.5 | 760.8 | 9999.9 | 9999.9 | 9999.9 | 443.8 | 66.45 | 51.14 | 33.31 | 25.89 | 21.92 | 15.45 | 14.96 | 11.24 | 10.2 | 9.469 | 9.14 | 9.052 | 8.972 | 9.907
375 | 90.73 | 150.1 | 198.1 | 172.9 | 130.9 | 113.1 | 144 | 154.7 | 231.3 | 249.9 | 473.9 | 642 | 983.4 | 1092 | 971.5 | 767.7 | 400.2 | 181.4 | 151.8 | 67.85 | 116 | 113.8 | 266.6 | 242.5 | 87.53 | 62.25 | 96.57 | 79.32 | 131.4 | 786.5 | 9999.9 | 9999.9 | 9999.9 | 431.7 | 53.29 | 42.9 | 32.45 | 21.23 | 19.08 | 13.99 | 13.62 | 13.6 | 8.906 | 10.58 | 11.62 | 9.395 | 7.398
380 | 67.93 | 126.5 | 168.1 | 163.5 | 116.1 | 111.8 | 111.6 | 126.5 | 201.2 | 251.3 | 419.6 | 586 | 761.2 | 905.9 | 866.5 | 603.9 | 376.4 | 152.7 | 107.5 | 100.6 | 81.41 | 82.26 | 123.3 | 265.3 | 192 | 99.88 | 69.81 | 74.52 | 71.99 | 115.2 | 749.3 | 9999.9 | 9999.9 | 9999.9 | 448.3 | 65.58 | 38.02 | 30.9 | 15.23 | 15.8 | 15.61 | 11.55 | 13.76 | 11.67 | 10.24 | 6.824 | 8.59
385 | 138.4 | 133.4 | 159.4 | 143.5 | 101.8 | 87.86 | 106.9 | 102.2 | 134.8 | 210.2 | 302.6 | 475.1 | 668.9 | 734.9 | 763.4 | 519.2 | 323.2 | 162.3 | 120.2 | 94.91 | 98.98 | 74.74 | 90.18 | 153.9 | 254.1 | 139.9 | 63.6 | 62.16 | 78.6 | 80.92 | 116.6 | 755.1 | 9999.9 | 9999.9 | 9999.9 | 359.4 | 51.22 | 39.19 | 25.6 | 26.06 | 17.68 | 13.59 | 10.94 | 10.72 | 9.167 | 14.68 | 8.258
390 | 82.97 | 89.09 | 166.8 | 146 | 125.5 | 95.79 | 116 | 93.61 | 147.9 | 213.9 | 283.8 | 336.4 | 540.4 | 571.8 | 566.3 | 405.8 | 237.3 | 161 | 112.1 | 92.57 | 83.67 | 94.85 | 93.77 | 85.75 | 142.6 | 257.2 | 107.8 | 52.24 | 60.66 | 72.09 | 66.08 | 104.4 | 739.9 | 9999.9 | 9999.9 | 9999.9 | 358.9 | 49.65 | 32.92 | 29.33 | 18.35 | 13.92 | 12.92 | 14.29 | 9.524 | 12.57 | 7.959
395 | 98.18 | 126.2 | 112 | 152.1 | 94.14 | 89.9 | 72.28 | 107.6 | 125.4 | 182.2 | 214.5 | 315.7 | 453.2 | 474.2 | 413.4 | 362.5 | 231.2 | 152.6 | 118.4 | 90.44 | 109.9 | 101.6 | 99.41 | 94.07 | 79.97 | 185.5 | 226 | 90.82 | 53.79 | 58.54 | 53.27 | 67.67 | 109 | 759.9 | 9999.9 | 9999.9 | 9999.9 | 291 | 55.1 | 38.56 | 28.35 | 18.53 | 17.52 | 14.56 | 10.33 | 11.16 | 7.064
400 | 74.65 | 74.03 | 109.1 | 158.5 | 153.1 | 85.71 | 96.77 | 96.26 | 102.4 | 133.6 | 176.2 | 315.4 | 367 | 400.4 | 376.1 | 288.7 | 183.9 | 104.7 | 116.9 | 94.81 | 107.5 | 119.3 | 81.02 | 75.07 | 83.73 | 111.7 | 187.7 | 177.6 | 84.69 | 57.48 | 46.6 | 58.22 | 57.43 | 121.2 | 746.5 | 9999.9 | 9999.9 | 9999.9 | 273.9 | 47.31 | 34.36 | 22.5 | 18.12 | 13.44 | 13.5 | 8.907 | 9.615
405 | 52.15 | 88.04 | 85.01 | 111.5 | 66.27 | 74.53 | 96.61 | 95.04 | 118.2 | 116.2 | 172.2 | 271.4 | 281.6 | 312.8 | 344.1 | 205.9 | 169.8 | 103.7 | 100.2 | 120.9 | 92.65 | 89.41 | 132.5 | 111.6 | 91.9 | 78.2 | 97.47 | 198.4 | 127.2 | 63.9 | 51.62 | 45.41 | 51.71 | 59.44 | 102 | 714.4 | 9999.9 | 9999.9 | 9999.9 | 275 | 42.72 | 28.58 | 21.23 | 16.1 | 12.13 | 15.51 | 10.34
410 | 93.91 | 78.57 | 106.5 | 121.3 | 61.63 | 109.3 | 89.99 | 107.3 | 111.4 | 91.53 | 141 | 216.6 | 203.7 | 284.2 | 256.7 | 254.3 | 185.5 | 97.41 | 82.93 | 94.67 | 88.79 | 93.46 | 85.29 | 74.54 | 100.2 | 86.36 | 92.94 | 138.3 | 197.9 | 95.32 | 61.04 | 54.62 | 54.53 | 43.01 | 55.47 | 96.48 | 716.2 | 9999.9 | 9999.9 | 9999.9 | 226.1 | 41.73 | 31.17 | 22.96 | 15.28 | 12.99 | 10.39
415 | 66.21 | 66.24 | 75.64 | 107.7 | 64.54 | 51.14 | 65.97 | 65.1 | 62.9 | 172.7 | 193.5 | 146 | 203.6 | 201.5 | 213.9 | 167.4 | 131.7 | 112.8 | 105.1 | 98.09 | 98.3 | 108.6 | 101.9 | 93.2 | 89.54 | 74.42 | 94.19 | 92.14 | 153.6 | 188.4 | 87.91 | 55.63 | 48.21 | 58.68 | 41.67 | 46.19 | 88.71 | 726.9 | 9999.9 | 9999.9 | 9999.9 | 218.9 | 37.14 | 26.16 | 16.79 | 15.52 | 11.97
420 | 100.8 | 89.34 | 78.5 | 115.5 | 51.93 | 57.5 | 98.18 | 129.1 | 81.53 | 99.09 | 106.9 | 157.2 | 186.6 | 194.2 | 222.8 | 189.5 | 102.7 | 121.7 | 96.15 | 109 | 86.38 | 108.8 | 122 | 77.3 | 82.9 | 73.83 | 72.65 | 90.17 | 94.38 | 199.8 | 157.9 | 70.35 | 52.18 | 48.06 | 42.71 | 45.12 | 45.76 | 93.6 | 718 | 9999.9 | 9999.9 | 9999.9 | 206.8 | 35.23 | 27.36 | 17.98 | 11.08
425 | 64.02 | 80.77 | 85.71 | 71.28 | 52.12 | 90.39 | 59.49 | 97.02 | 102.5 | 86.61 | 150.2 | 133 | 113.9 | 195.3 | 179.8 | 151.4 | 124.8 | 121.6 | 81.55 | 90.3 | 78.46 | 95.27 | 114.5 | 83.86 | 92.37 | 78.59 | 92.01 | 78.3 | 69.53 | 92.93 | 157.7 | 106.2 | 55.01 | 41.85 | 41.86 | 31.54 | 27.98 | 41.58 | 86.94 | 706.3 | 9999.9 | 9999.9 | 9999.9 | 179.2 | 33.3 | 20.12 | 18.05
430 | 125.5 | 112.4 | 81.62 | 73.9 | 88.29 | 114.4 | 86.66 | 77.59 | 106.5 | 124.2 | 104.6 | 115.6 | 136.3 | 146.3 | 144.2 | 169.7 | 120.7 | 94.23 | 98.11 | 77.79 | 83.97 | 92.27 | 95.97 | 89.97 | 89.72 | 93.72 | 75.05 | 67.37 | 84.44 | 61.52 | 96.17 | 144.4 | 73.88 | 37.56 | 32.05 | 36.4 | 32.72 | 34.33 | 35.75 | 85.2 | 705.4 | 9999.9 | 9999.9 | 9999.9 | 170.2 | 27.3 | 20
435 | 254.6 | 106.2 | 98.91 | 73.56 | 57.36 | 83.53 | 57.04 | 103 | 75.15 | 90.17 | 71.38 | 109.6 | 160.5 | 121.9 | 139.9 | 104.9 | 108.2 | 98.42 | 88.13 | 86.71 | 76.22 | 108 | 88.8 | 86.26 | 77.96 | 95.72 | 76.18 | 86.61 | 73.92 | 75.1 | 80.48 | 116 | 130.6 | 68.08 | 37.49 | 35.03 | 27.09 | 31.6 | 42.08 | 41.99 | 79.51 | 705.6 | 9999.9 | 9999.9 | 9999.9 | 164.8 | 34.08
440 | 314.1 | 352.5 | 97.77 | 88.19 | 85.54 | 66.05 | 78.76 | 75.45 | 79.97 | 103.6 | 104 | 132.4 | 119 | 123.9 | 123.5 | 106.8 | 113.2 | 80.09 | 95.55 | 86.31 | 94.72 | 68.53 | 105.3 | 84.92 | 98.35 | 94.64 | 91.21 | 77.69 | 70.93 | 80.66 | 54.29 | 65.42 | 106.9 | 97.39 | 58.84 | 28.64 | 35.87 | 36.67 | 25.18 | 29.6 | 31.1 | 76.47 | 694 | 9999.9 | 9999.9 | 9999.9 | 136.6
445 | 225.3 | 549.3 | 87.57 | 117.4 | 102 | 85.54 | 79.45 | 75.6 | 116.3 | 69.76 | 93.02 | 61.14 | 131.4 | 126.8 | 136.9 | 88.22 | 94.78 | 93.74 | 105.2 | 75.75 | 89.18 | 83.36 | 86.31 | 81.12 | 84.05 | 96.52 | 76.88 | 77.85 | 57.99 | 60.7 | 61.7 | 62.73 | 58.7 | 96.91 | 76.57 | 37.6 | 28.06 | 26.01 | 29.07 | 19.67 | 25.87 | 31.37 | 70.26 | 686.1 | 9999.9 | 9999.9 | 9999.9
450 | 87.62 | 633.1 | 387.6 | 88.14 | 85.54 | 64.69 | 73.79 | 59.03 | 75.43 | 95.6 | 98.88 | 112.2 | 106.2 | 113.4 | 128.4 | 105.7 | 91.72 | 93.79 | 96.13 | 77.35 | 105.6 | 64.12 | 82.34 | 89 | 78.63 | 71.08 | 74.51 | 74.41 | 55.12 | 78.82 | 59.42 | 49.41 | 56.5 | 70.59 | 84.6 | 47.82 | 38 | 24.23 | 18.52 | 27.04 | 24.82 | 21.61 | 28.52 | 77.49 | 690.3 | 9999.9 | 9999.9
455 | 67.97 | 450.7 | 877.8 | 113.8 | 68.37 | 79.16 | 61.54 | 75.51 | 54.6 | 75.79 | 110.5 | 102.2 | 93.73 | 117.4 | 137.9 | 92.35 | 86.89 | 86.44 | 79.68 | 82.23 | 67.26 | 86.23 | 64.93 | 76.2 | 65.65 | 76.85 | 83.1 | 71.37 | 53.45 | 63.62 | 49.39 | 45.73 | 48.85 | 47.94 | 61.65 | 71.13 | 45.41 | 31.11 | 22.44 | 22.56 | 21.35 | 21.63 | 20.87 | 24.43 | 71.95 | 689.6 | 9999.9
460 | 105.8 | 111.1 | 1273 | 545.1 | 93.23 | 65.51 | 47.22 | 63.89 | 84.18 | 74.38 | 66.55 | 77.17 | 112.1 | 75.48 | 123.9 | 83.56 | 78.44 | 109.3 | 53.67 | 74.99 | 76.19 | 80.31 | 66.13 | 66.76 | 88.78 | 62.68 | 73.19 | 59.39 | 55.01 | 57.24 | 54.74 | 53.8 | 44.7 | 40.93 | 39.88 | 59.1 | 67.93 | 32.14 | 23.33 | 25.48 | 19.49 | 21.18 | 20.37 | 23.99 | 27.27 | 73.83 | 674.7
465 | 76.78 | 104.8 | 730.9 | 1524 | 150.4 | 105.9 | 66.84 | 101.5 | 88.07 | 82.62 | 101.9 | 91.23 | 128.3 | 100.3 | 82.87 | 105.1 | 81.75 | 88.65 | 70.87 | 80.14 | 71.96 | 79.31 | 73.52 | 78.3 | 80.28 | 73.19 | 60.23 | 75.06 | 72.67 | 62.93 | 56.09 | 39.65 | 46.48 | 40.69 | 36.76 | 42.96 | 61 | 59.2 | 24.03 | 18.73 | 22.47 | 20.07 | 23.76 | 22.28 | 22.12 | 27.85 | 68.47
470 | 94.58 | 71.18 | 211.6 | 1990 | 665.8 | 114.5 | 61.37 | 104.6 | 93.36 | 72.09 | 75.4 | 91.65 | 105.9 | 103.2 | 89.45 | 86.88 | 106.4 | 81.65 | 96.13 | 74.67 | 81.16 | 99.28 | 84.03 | 62.84 | 53.12 | 61.55 | 64.93 | 63.78 | 62.04 | 50.24 | 57.45 | 45.57 | 35.48 | 51.03 | 35.75 | 25.08 | 44.55 | 55.42 | 36.1 | 25.07 | 19.4 | 21.85 | 21.34 | 17.83 | 19.34 | 20.61 | 27.09
475 | 132.9 | 73.45 | 120.6 | 1312 | 2151 | 159.3 | 51.58 | 89.55 | 78.33 | 61.03 | 68.2 | 60.65 | 80.2 | 112.7 | 76.6 | 112.8 | 78.54 | 87.77 | 70.51 | 58.6 | 60.12 | 73.5 | 73.88 | 85.03 | 84.63 | 55.51 | 59.72 | 61.87 | 61.44 | 58.92 | 38.18 | 45.96 | 25.18 | 32.56 | 27.07 | 29.05 | 28.33 | 44.63 | 54.02 | 26.94 | 24.31 | 16.5 | 17.92 | 17.29 | 17.41 | 17.45 | 16.97
480 | 59.48 | 85.79 | 58.09 | 243.3 | 2564 | 725.1 | 64.59 | 83.98 | 65.04 | 48.29 | 49.5 | 62.89 | 57.5 | 88.38 | 92.01 | 71.51 | 58.21 | 82.07 | 79.03 | 99.78 | 73.52 | 69.85 | 74.79 | 63.59 | 66.03 | 75 | 58.01 | 65.81 | 57.04 | 47.46 | 41.92 | 42.93 | 35.94 | 33.46 | 29.7 | 26.47 | 28.52 | 30.16 | 46.44 | 38.04 | 22.63 | 16.64 | 16.09 | 17.9 | 15.13 | 15.49 | 14.72
485 | 98.93 | 87.79 | 68.48 | 124.1 | 1713 | 2332 | 123.8 | 74.27 | 70.66 | 64.65 | 68.03 | 91.33 | 78.55 | 84.63 | 71.62 | 67.44 | 66.78 | 52.93 | 68.45 | 51.06 | 61.48 | 60.57 | 59.54 | 76.51 | 57.16 | 46.74 | 60.66 | 51.87 | 49.63 | 38.53 | 39.11 | 42.36 | 34.08 | 29.3 | 25.38 | 27.77 | 24.71 | 23.16 | 23.75 | 50.88 | 31.11 | 20.99 | 19.87 | 17.67 | 16.29 | 15.39 | 18.23
490 | 60.79 | 77.04 | 64.83 | 95.15 | 429.9 | 3151 | 1200 | 59.91 | 54.68 | 72.93 | 67.5 | 76.72 | 66.01 | 92.41 | 117.8 | 74.68 | 96.38 | 74.71 | 87.41 | 88.97 | 80.64 | 80.55 | 65.3 | 64.17 | 52.59 | 45.71 | 52.32 | 56.6 | 43.8 | 39.71 | 47.41 | 40.23 | 31.15 | 33.94 | 35.16 | 23.77 | 27.24 | 22.13 | 18.48 | 28.96 | 45.19 | 28.8 | 18.96 | 14.85 | 18.73 | 14.56 | 14.07
495 | 74.64 | 73.97 | 69.25 | 71.43 | 102.9 | 1844 | 2998 | 145.7 | 66.12 | 68.71 | 91.18 | 67.03 | 61.65 | 89.99 | 56.76 | 66.42 | 63.92 | 76.14 | 60.84 | 84.77 | 52.22 | 76.18 | 70.81 | 67.05 | 57.33 | 45.22 | 48.28 | 35.08 | 44.19 | 42.49 | 42.6 | 46.82 | 35.2 | 33 | 24.62 | 20.15 | 30.17 | 21.1 | 23.85 | 21.73 | 30.47 | 35.9 | 28.07 | 17.98 | 15.41 | 13.12 | 14.69
500 | 93.44 | 43.07 | 103.9 | 85.97 | 97.13 | 621.6 | 3384 | 712.3 | 67.25 | 60.91 | 125.8 | 87.23 | 105.7 | 66.16 | 73.03 | 71.07 | 68.68 | 64.49 | 78.04 | 74.93 | 77.6 | 61.06 | 41.74 | 54.5 | 46.84 | 38.57 | 46.46 | 43 | 41.91 | 35.42 | 34.39 | 34.59 | 27.79 | 28.08 | 23.98 | 26.42 | 21.85 | 15.44 | 22.88 | 19.23 | 23.47 | 33.24 | 28.69 | 18.59 | 13.29 | 14.36 | 14.8