## Sheet1
Report date: | 15:21:10, 04/17/2024
Sample: | 1
File name:
Run date: | 15:18:27, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/290.0 | 131.5
2 | 225.0/360.0 | 297.5
3 | 225.0/400.0 | 152
4 | 225.0/410.0 | 140.7
5 | 225.0/425.0 | 129
6 | 230.0/255.0 | 90.61
7 | 230.0/280.0 | 110.2
8 | 230.0/315.0 | 372.7
9 | 230.0/325.0 | 417.8
10 | 230.0/345.0 | 380.8
11 | 230.0/365.0 | 290.8
12 | 230.0/380.0 | 205.4
13 | 230.0/405.0 | 146.8
14 | 230.0/430.0 | 132.4
15 | 235.0/320.0 | 385.2
16 | 235.0/350.0 | 347.1
17 | 235.0/420.0 | 183.1
18 | 240.0/260.0 | 113.6
19 | 240.0/360.0 | 256.1
20 | 240.0/410.0 | 145.5
21 | 240.0/435.0 | 121.8
22 | 240.0/445.0 | 104.1
23 | 245.0/295.0 | 159
24 | 245.0/415.0 | 118.9
25 | 245.0/425.0 | 132.8
26 | 245.0/455.0 | 140.5
27 | 250.0/290.0 | 125
28 | 250.0/370.0 | 195.5
29 | 250.0/405.0 | 127.2
30 | 250.0/445.0 | 93.38
31 | 255.0/280.0 | 130.8
32 | 255.0/450.0 | 112
33 | 255.0/465.0 | 135
34 | 255.0/475.0 | 93.87
35 | 260.0/435.0 | 113
36 | 260.0/480.0 | 103.7
37 | 260.0/490.0 | 90.43
38 | 265.0/415.0 | 133.7
39 | 270.0/485.0 | 102.6
40 | 275.0/445.0 | 147.3
41 | 275.0/460.0 | 122.5
42 | 275.0/480.0 | 104.9
43 | 280.0/435.0 | 158.7
44 | 280.0/455.0 | 145.1
45 | 280.0/475.0 | 103.2
46 | 285.0/320.0 | 2998
47 | 285.0/445.0 | 140
48 | 285.0/480.0 | 114.7
49 | 290.0/330.0 | 3264
50 | 290.0/350.0 | 2574
51 | 290.0/475.0 | 100.5
52 | 290.0/485.0 | 98.37
53 | 295.0/255.0 | 56.97
54 | 295.0/445.0 | 147.6
55 | 295.0/470.0 | 119
56 | 300.0/260.0 | 56.32
57 | 300.0/450.0 | 112
58 | 300.0/485.0 | 108.2
59 | 305.0/265.0 | 65.16
60 | 305.0/480.0 | 112.2
61 | 310.0/255.0 | 57.32
62 | 310.0/275.0 | 58.52
63 | 310.0/440.0 | 113
64 | 310.0/450.0 | 109.1
65 | 310.0/465.0 | 112.8
66 | 310.0/490.0 | 84.65
67 | 315.0/415.0 | 128.3
68 | 315.0/425.0 | 109.8
69 | 315.0/460.0 | 103.9
70 | 315.0/480.0 | 79.37
71 | 320.0/270.0 | 68.24
72 | 320.0/360.0 | 297.2
73 | 320.0/395.0 | 115.4
74 | 320.0/405.0 | 127.8
75 | 320.0/465.0 | 127.9
76 | 320.0/475.0 | 89.43
77 | 325.0/265.0 | 39.33
78 | 325.0/365.0 | 343.9
79 | 325.0/400.0 | 118.4
80 | 325.0/420.0 | 108.9
81 | 325.0/430.0 | 104.4
82 | 325.0/460.0 | 109.6
83 | 330.0/290.0 | 59.73
84 | 330.0/370.0 | 305.5
85 | 330.0/390.0 | 131.9
86 | 330.0/410.0 | 127.8
87 | 330.0/435.0 | 114.4
88 | 330.0/450.0 | 94.97
89 | 335.0/270.0 | 46.44
90 | 335.0/380.0 | 276.6
91 | 335.0/420.0 | 107
92 | 335.0/440.0 | 99.3
93 | 335.0/485.0 | 80.35
94 | 340.0/255.0 | 39.29
95 | 340.0/385.0 | 284.1
96 | 340.0/415.0 | 100.9
97 | 340.0/465.0 | 108.2
98 | 345.0/265.0 | 49.79
99 | 345.0/300.0 | 52.73
100 | 345.0/310.0 | 46.62
101 | 345.0/390.0 | 247.8
102 | 345.0/450.0 | 103.4
103 | 345.0/490.0 | 69.52
104 | 350.0/290.0 | 33.09
105 | 350.0/315.0 | 45.59
106 | 350.0/395.0 | 226.4
107 | 350.0/435.0 | 113.7
108 | 350.0/470.0 | 71.17
109 | 355.0/310.0 | 40.09
110 | 355.0/405.0 | 203.6
111 | 355.0/460.0 | 79.4
112 | 355.0/480.0 | 69.58
113 | 355.0/490.0 | 64.48
114 | 360.0/275.0 | 30.86
115 | 360.0/300.0 | 33.41
116 | 360.0/325.0 | 47.69
117 | 360.0/410.0 | 202.8
118 | 360.0/435.0 | 87.61
119 | 365.0/255.0 | 32.29
120 | 365.0/395.0 | 75.47
121 | 365.0/415.0 | 201.3
122 | 370.0/280.0 | 38.53
123 | 370.0/300.0 | 28.77
124 | 370.0/315.0 | 32.52
125 | 370.0/400.0 | 67.08
126 | 370.0/425.0 | 166.7
127 | 370.0/455.0 | 62.95
128 | 375.0/270.0 | 36.91
129 | 375.0/295.0 | 27.18
130 | 375.0/310.0 | 29.74
131 | 375.0/430.0 | 134.5
132 | 375.0/465.0 | 59.57
133 | 375.0/485.0 | 54.12
134 | 380.0/265.0 | 26.97
135 | 380.0/435.0 | 122.5
136 | 385.0/255.0 | 23.81
137 | 385.0/270.0 | 24.87
138 | 385.0/290.0 | 21.09
139 | 385.0/440.0 | 117.3
140 | 390.0/305.0 | 16.19
141 | 390.0/330.0 | 24.58
142 | 390.0/350.0 | 23.55
143 | 390.0/450.0 | 91.45
144 | 390.0/480.0 | 42.7
145 | 390.0/495.0 | 38.3
146 | 395.0/255.0 | 21.76
147 | 395.0/345.0 | 23.83
148 | 395.0/430.0 | 43.04
149 | 395.0/455.0 | 74.33
150 | 400.0/335.0 | 23.28
151 | 400.0/465.0 | 69.85
152 | 400.0/485.0 | 30.73
153 | 405.0/270.0 | 22.33
154 | 405.0/285.0 | 24.17
155 | 405.0/315.0 | 17.89
156 | 405.0/355.0 | 20.29
157 | 405.0/470.0 | 66.29
158 | 410.0/295.0 | 19.2
159 | 410.0/330.0 | 17.13
160 | 410.0/475.0 | 56.83
161 | 415.0/275.0 | 18.92
162 | 415.0/485.0 | 44.48
163 | 420.0/305.0 | 18.11
164 | 420.0/465.0 | 27.13
165 | 420.0/490.0 | 47.06
166 | 425.0/285.0 | 16.43
167 | 425.0/310.0 | 17.63
168 | 425.0/330.0 | 14.98
169 | 430.0/295.0 | 15.79
170 | 430.0/345.0 | 17.3
171 | 430.0/355.0 | 15.24
172 | 430.0/365.0 | 17.31
173 | 435.0/270.0 | 15.38
174 | 435.0/285.0 | 16.54
175 | 435.0/315.0 | 17.28
176 | 435.0/490.0 | 19.93
177 | 440.0/275.0 | 13.81
178 | 440.0/320.0 | 16.93
179 | 445.0/395.0 | 14.78
180 | 445.0/485.0 | 20.07
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 74.34 | 80.06 | 74.65 | 66.57 | 77.5 | 3832 | 9999.9 | 3329 | 77.58 | 74.49 | 52.66 | 36.72 | 31.57 | 47.52 | 50.91 | 29.71 | 53.02 | 28.85 | 46.03 | 46.24 | 49.26 | 44.77 | 29.33 | 47.37 | 31.81 | 19.16 | 34.28 | 21.82 | 30.9 | 26.39 | 30.08 | 25.81 | 21.35 | 23.15 | 21.21 | 20.76 | 19.36 | 15.56 | 13.51 | 13.26 | 10.55 | 14.62 | 11.86 | 8.061 | 6.08 | 10.78 | 6.616
255 | 65.69 | 39.29 | 90.61 | 69.05 | 77.28 | 325.5 | 3061 | 9999.9 | 6328 | 236.7 | 70.23 | 55.14 | 46.19 | 57.21 | 43.1 | 56.97 | 25.79 | 30.17 | 57.32 | 47.61 | 47.45 | 35.76 | 36.15 | 20.63 | 39.29 | 25.77 | 23.38 | 26.85 | 24.17 | 32.29 | 27.34 | 21.24 | 21.72 | 23.81 | 18.27 | 21.76 | 19.23 | 17.12 | 12.39 | 14.37 | 11.22 | 11.59 | 10.33 | 9.638 | 8.358 | 7.378 | 9.518
260 | 41.87 | 38.27 | 65.15 | 75.66 | 113.6 | 80.5 | 239.2 | 3412 | 9999.9 | 7589 | 326.8 | 65.82 | 44.87 | 50.29 | 31.47 | 40.74 | 56.32 | 36.99 | 36.01 | 36.68 | 28.58 | 30.75 | 30.41 | 32.11 | 29.96 | 35.48 | 32.67 | 30.23 | 22.68 | 17.13 | 28.67 | 22.37 | 19.91 | 18.32 | 18.99 | 18.49 | 18.46 | 17.94 | 16.72 | 12.32 | 11.15 | 13.51 | 8.323 | 11.22 | 7.57 | 6.931 | 7.356
265 | 53.67 | 58.83 | 72.78 | 67.21 | 64.1 | 119.2 | 110.9 | 316.5 | 4758 | 9999.9 | 9999.9 | 357.6 | 53.63 | 71.95 | 69.59 | 38.93 | 42.47 | 65.16 | 55.18 | 43.62 | 29.81 | 39.33 | 30.37 | 45.66 | 35.59 | 49.79 | 30.85 | 23.78 | 20.71 | 26.38 | 26 | 23.76 | 26.97 | 22.82 | 20.48 | 15.71 | 15.32 | 18.79 | 18 | 14.29 | 15.47 | 13.79 | 11.6 | 12.84 | 10.26 | 11.27 | 9.294
270 | 55.51 | 56.95 | 54.24 | 53.94 | 61.18 | 102.5 | 105.7 | 82.24 | 377.5 | 6146 | 9999.9 | 9999.9 | 495.2 | 86.44 | 62.49 | 57.36 | 50.53 | 45.84 | 40.62 | 42.08 | 68.24 | 19.7 | 45 | 46.44 | 39.12 | 41.9 | 22.48 | 23.83 | 29.25 | 27.78 | 20.36 | 36.91 | 16.07 | 24.87 | 17.95 | 15.47 | 17.59 | 22.33 | 13.14 | 18.61 | 16.71 | 10.25 | 12.2 | 15.38 | 10.03 | 11.35 | 9.149
275 | 78.61 | 36.59 | 66.02 | 53 | 72.81 | 66.81 | 85.78 | 92.11 | 106.8 | 457.4 | 8338 | 9999.9 | 9999.9 | 559.5 | 91.33 | 75.17 | 79.63 | 46.05 | 58.52 | 57.65 | 54.52 | 39.73 | 31.54 | 45.21 | 22.48 | 34.36 | 31.31 | 25.14 | 30.86 | 22.97 | 31.29 | 24.28 | 18.6 | 17.88 | 18.24 | 19.47 | 15.96 | 18.27 | 17.23 | 18.92 | 14.29 | 14.17 | 10.5 | 11.38 | 13.81 | 10.36 | 8.261
280 | 89.95 | 64.66 | 110.2 | 83.69 | 45.55 | 75.32 | 82.07 | 130.8 | 98.56 | 104.5 | 589 | 9999.9 | 9999.9 | 9999.9 | 701.3 | 63.82 | 68.33 | 70.64 | 46.8 | 51.94 | 42.99 | 43.92 | 31.13 | 44.96 | 32.22 | 28.35 | 28.61 | 24.98 | 27.81 | 19.79 | 38.53 | 17.61 | 18.42 | 19.11 | 17.63 | 19.76 | 20.62 | 16.39 | 15.1 | 17.46 | 14.11 | 15.31 | 12.23 | 9.876 | 8.748 | 8.43 | 9.663
285 | 58.12 | 87.86 | 29.27 | 104 | 71 | 109.4 | 60.21 | 109.9 | 148.7 | 117.6 | 146.5 | 795.7 | 9999.9 | 9999.9 | 9999.9 | 896.2 | 95.19 | 69.67 | 47.8 | 49.95 | 59.39 | 56.3 | 53.48 | 44.02 | 28.07 | 32.06 | 23.3 | 13.92 | 31.3 | 22.31 | 28.8 | 18.4 | 14.43 | 19.16 | 19.72 | 18.93 | 21.08 | 24.17 | 13.8 | 11.69 | 16.29 | 16.43 | 13.46 | 16.54 | 14.54 | 10.6 | 6.806
290 | 77.26 | 131.5 | 116.4 | 99.36 | 78.64 | 108.1 | 125 | 74.72 | 163.6 | 204.1 | 187.8 | 330.3 | 918.8 | 9999.9 | 9999.9 | 9999.9 | 959 | 109.5 | 83.82 | 65.24 | 62.76 | 51.16 | 59.73 | 27.67 | 30.2 | 31.66 | 33.09 | 23.43 | 31.02 | 27.72 | 20.45 | 20.66 | 15.92 | 21.09 | 15.07 | 13.77 | 20.29 | 14.59 | 18.4 | 16.47 | 16.56 | 14.98 | 14.57 | 13.68 | 14.42 | 11.74 | 8.664
295 | 84.79 | 106.3 | 141.9 | 145.3 | 118.5 | 159 | 113.1 | 140 | 119.2 | 239.5 | 409.7 | 480.7 | 596.8 | 1277 | 9999.9 | 9999.9 | 9999.9 | 993.7 | 114 | 63.78 | 56.27 | 55.77 | 46.47 | 36.86 | 36.58 | 28.56 | 27.61 | 26.24 | 30.92 | 22.56 | 22.75 | 27.18 | 20.81 | 11.78 | 14.69 | 14 | 16.72 | 12.06 | 19.2 | 16.41 | 14.44 | 12.92 | 15.79 | 13.53 | 12.35 | 7.912 | 8.925
300 | 162.3 | 145.1 | 215.4 | 175.9 | 114.9 | 151 | 113 | 145.9 | 221 | 324.5 | 562.5 | 723.3 | 931.1 | 992.4 | 1315 | 9999.9 | 9999.9 | 9999.9 | 1175 | 113.5 | 78.49 | 69.39 | 66.07 | 44.78 | 45.66 | 52.73 | 30.34 | 31.26 | 33.41 | 23.61 | 28.77 | 23.37 | 20.55 | 18.53 | 14.09 | 14.09 | 16.2 | 12.77 | 16.05 | 16.32 | 14.25 | 11.7 | 15.62 | 13.56 | 11.34 | 10.47 | 10.62
305 | 111.2 | 230.3 | 280.8 | 244.8 | 139.3 | 149.3 | 173.2 | 157.6 | 280.7 | 551.5 | 638.2 | 1167 | 1287 | 1438 | 1191 | 1417 | 9999.9 | 9999.9 | 9999.9 | 1058 | 99.28 | 103 | 80.32 | 61.88 | 44.99 | 40.24 | 37.95 | 34.1 | 31.99 | 32.19 | 23.66 | 25.48 | 18.89 | 14.77 | 16.19 | 16.01 | 15.01 | 14.36 | 11.52 | 15.62 | 18.11 | 12.43 | 11.19 | 9.45 | 11.39 | 13.15 | 11.35
310 | 142.6 | 254.8 | 312.1 | 223 | 160.7 | 162.2 | 132.7 | 186.7 | 358.1 | 524.2 | 786.7 | 1333 | 1757 | 1905 | 1682 | 1115 | 1247 | 9999.9 | 9999.9 | 9999.9 | 1091 | 109.7 | 76.77 | 45.52 | 44.21 | 46.62 | 32.98 | 40.09 | 27.85 | 26.72 | 19.71 | 29.74 | 14.56 | 15.85 | 14.41 | 13.2 | 10.2 | 15.72 | 12.44 | 15.55 | 13.53 | 17.63 | 12.6 | 12.97 | 13.27 | 11.92 | 10.59
315 | 195.8 | 268.7 | 372.7 | 344 | 187.5 | 206.4 | 206.4 | 250.1 | 372.9 | 663.4 | 1185 | 1514 | 2174 | 2387 | 2215 | 1467 | 768.1 | 921.1 | 9999.9 | 9999.9 | 9999.9 | 1214 | 102.5 | 86.18 | 73.48 | 35.54 | 45.59 | 28.81 | 31.3 | 20.15 | 32.52 | 24.33 | 24.99 | 18.24 | 16.02 | 11.71 | 12.48 | 17.89 | 10.43 | 16.03 | 14.75 | 13.4 | 16.21 | 17.28 | 14.15 | 10.58 | 12.63
320 | 189.3 | 314.3 | 333.5 | 385.2 | 200.5 | 171 | 214 | 311.8 | 473.5 | 791.3 | 1322 | 1817 | 2274 | 2998 | 2820 | 1559 | 830.7 | 394.4 | 886.7 | 9999.9 | 9999.9 | 9999.9 | 960.6 | 109.8 | 82.83 | 79.8 | 39.51 | 44.82 | 30.42 | 26.94 | 25.66 | 23.31 | 19.64 | 15.75 | 15.26 | 14.16 | 16.65 | 11.68 | 12.55 | 12.05 | 11.73 | 12.81 | 15.87 | 13.85 | 16.93 | 13.45 | 13.29
325 | 216 | 285.9 | 417.8 | 332 | 255.7 | 266.3 | 229.8 | 312.5 | 465.9 | 882.8 | 1321 | 1872 | 2515 | 2669 | 3158 | 2093 | 903.5 | 482.2 | 261.2 | 865.1 | 9999.9 | 9999.9 | 9999.9 | 1050 | 118.6 | 74.38 | 48.79 | 41.43 | 47.69 | 23.29 | 34.99 | 24.81 | 28.72 | 20.29 | 19.43 | 16.59 | 17.54 | 14.4 | 10.65 | 11.1 | 14.09 | 14.07 | 15.21 | 14.32 | 12.83 | 16.55 | 11.54
330 | 216.6 | 290.8 | 378.2 | 343.9 | 281.4 | 204.2 | 245.8 | 342.8 | 495.7 | 789.6 | 1511 | 2151 | 2548 | 2896 | 3264 | 2326 | 1177 | 413.9 | 204.2 | 198.6 | 817.1 | 9999.9 | 9999.9 | 9999.9 | 977.6 | 111.8 | 74.96 | 56.77 | 43.53 | 47.31 | 36.31 | 23.2 | 24 | 14.46 | 24.58 | 18.76 | 17.35 | 12.8 | 17.13 | 10.71 | 14.2 | 14.98 | 11.39 | 13.79 | 14.95 | 15.12 | 13.19
335 | 246.9 | 335.1 | 380.4 | 351.8 | 266.1 | 171.4 | 254 | 337.2 | 480.4 | 914.6 | 1450 | 1650 | 2524 | 2992 | 3154 | 2197 | 1352 | 526.4 | 200.4 | 143.2 | 196.4 | 785.4 | 9999.9 | 9999.9 | 9999.9 | 934 | 90.65 | 71.24 | 51.63 | 51.36 | 26.52 | 29.8 | 21.77 | 20.65 | 19.32 | 22.78 | 23.28 | 16.34 | 10.51 | 13.17 | 13.97 | 12.32 | 9.312 | 9.159 | 11.77 | 13.32 | 12.43
340 | 209.1 | 256.2 | 368 | 301.6 | 286.7 | 214.3 | 224.8 | 306.6 | 492.2 | 795.5 | 1413 | 1860 | 2604 | 2983 | 3066 | 2246 | 1075 | 728.5 | 320.1 | 122.4 | 108.3 | 166.8 | 818.8 | 9999.9 | 9999.9 | 9999.9 | 913.8 | 94.68 | 74.6 | 50.91 | 36.76 | 31.59 | 24.86 | 24.24 | 18.24 | 20.03 | 16.67 | 16.11 | 9.174 | 14.03 | 14.62 | 15.02 | 12.12 | 10.51 | 10.66 | 12.88 | 13.08
345 | 180.5 | 277.3 | 380.8 | 300.4 | 223.3 | 171.3 | 262.6 | 333.9 | 476.3 | 751.6 | 1474 | 1776 | 2625 | 2988 | 2421 | 1816 | 969.5 | 589.7 | 412.1 | 160.4 | 109.4 | 110 | 172.5 | 782.1 | 9999.9 | 9999.9 | 9999.9 | 801.3 | 76.28 | 62.4 | 41.52 | 35.73 | 30.98 | 23.42 | 22.12 | 23.83 | 19.03 | 16.5 | 13.06 | 13.05 | 12.25 | 16.34 | 17.3 | 14.15 | 8.758 | 12.09 | 10.96
350 | 161.5 | 307.7 | 287.9 | 347.1 | 235.4 | 181.8 | 232.5 | 306 | 481.4 | 631.5 | 1063 | 1756 | 2104 | 2381 | 2574 | 1649 | 803.3 | 405.9 | 350.9 | 353.4 | 98.6 | 108.7 | 104.1 | 152.8 | 792.3 | 9999.9 | 9999.9 | 9999.9 | 779.5 | 86.37 | 66.21 | 48.81 | 37.97 | 21.39 | 23.55 | 21.49 | 16.89 | 15.19 | 16.74 | 16.14 | 13.51 | 12.71 | 13.47 | 11.72 | 12.06 | 11.33 | 10.62
355 | 157.9 | 217.4 | 315.8 | 296.9 | 169.9 | 159.3 | 178 | 279.2 | 373.9 | 587.2 | 909.7 | 1403 | 1945 | 2283 | 2325 | 1479 | 755.6 | 321.8 | 183.1 | 317.9 | 280.7 | 90.54 | 103.9 | 110.8 | 168 | 790 | 9999.9 | 9999.9 | 9999.9 | 696 | 90.44 | 65.95 | 52.75 | 33.37 | 18.98 | 20.45 | 16.19 | 20.29 | 16.94 | 15.29 | 9.588 | 12.56 | 15.24 | 10.37 | 11.71 | 11.62 | 10.44
360 | 147.1 | 297.5 | 245.6 | 213.7 | 256.1 | 156.9 | 164.5 | 266.4 | 351.7 | 538.8 | 827.5 | 1085 | 1654 | 1810 | 1650 | 1327 | 745.9 | 308.8 | 131.1 | 140.1 | 297.2 | 209.4 | 100 | 88.4 | 97.84 | 131.8 | 770.4 | 9999.9 | 9999.9 | 9999.9 | 642.2 | 80.45 | 65.75 | 41.68 | 29.68 | 23.78 | 24 | 14.84 | 13.53 | 12.48 | 11.71 | 11.8 | 14.15 | 10.8 | 12.26 | 8.825 | 10.18
365 | 187.7 | 231.2 | 290.8 | 191.9 | 158.7 | 132.8 | 142.2 | 171.6 | 319.4 | 433.9 | 758.6 | 973.8 | 1203 | 1544 | 1451 | 1149 | 585 | 291.1 | 154.6 | 94.12 | 185.3 | 343.9 | 171.6 | 93.48 | 73.73 | 87.97 | 146.6 | 775 | 9999.9 | 9999.9 | 9999.9 | 606.5 | 64.66 | 63.28 | 46.12 | 26.42 | 25.37 | 19.76 | 19.46 | 15.91 | 10.78 | 15.06 | 17.31 | 12.55 | 9.337 | 11.15 | 9.543
370 | 139 | 200.5 | 273.1 | 207.9 | 173.6 | 130.9 | 195.5 | 166.9 | 222.2 | 356.7 | 670.7 | 793.7 | 1217 | 1287 | 1303 | 860.1 | 542.4 | 268.6 | 144.2 | 79.63 | 75.11 | 209.8 | 305.5 | 117.9 | 59.96 | 80.14 | 95.82 | 132.3 | 764.2 | 9999.9 | 9999.9 | 9999.9 | 537.4 | 67.15 | 47.08 | 30.45 | 26.68 | 22.29 | 21.33 | 16.89 | 11.98 | 9.267 | 11.73 | 11.82 | 10.94 | 9.515 | 10.9
375 | 128.7 | 132.8 | 168.8 | 142.1 | 133.2 | 123.4 | 142.8 | 186.4 | 246.5 | 314.5 | 554 | 781.3 | 1061 | 1091 | 1105 | 756.2 | 401.8 | 195.3 | 129 | 94.31 | 86.57 | 109.5 | 261.9 | 244.5 | 101.1 | 85.66 | 97.03 | 75.92 | 123.1 | 790.5 | 9999.9 | 9999.9 | 9999.9 | 521 | 58.2 | 53.07 | 34.68 | 31.46 | 23.84 | 13.9 | 18.44 | 13.8 | 10.89 | 11.85 | 9.353 | 10.47 | 8.904
380 | 115.8 | 185.6 | 205.4 | 170.7 | 166.3 | 168.1 | 162.6 | 159.7 | 200.5 | 303.8 | 392.8 | 646.5 | 784.4 | 822.2 | 881 | 599.5 | 403.5 | 185.9 | 119.9 | 88.76 | 81.84 | 95.93 | 136.8 | 276.6 | 207.2 | 83.55 | 77.28 | 71.36 | 68.77 | 127.2 | 786.2 | 9999.9 | 9999.9 | 9999.9 | 466.3 | 65.46 | 40.94 | 26.19 | 25.68 | 22.35 | 17.59 | 18.61 | 13.76 | 8.548 | 11.24 | 9.089 | 8.966
385 | 105 | 181.2 | 167.4 | 162.3 | 109.5 | 125.3 | 120.7 | 108.2 | 186.8 | 255.9 | 340.1 | 428.3 | 678.7 | 702 | 835.6 | 452.3 | 314.3 | 161.8 | 128.4 | 103.2 | 80.51 | 99.21 | 88.98 | 127.4 | 284.1 | 153.6 | 65.11 | 62.89 | 57.9 | 74.87 | 138.3 | 773.5 | 9999.9 | 9999.9 | 9999.9 | 389.7 | 57.35 | 47.63 | 29.96 | 20.46 | 20.81 | 20.07 | 18.34 | 15.09 | 14.58 | 10.51 | 12.71
390 | 100.2 | 111.5 | 116.9 | 163 | 153.9 | 122.8 | 112.2 | 118.2 | 115.1 | 204 | 247 | 365.4 | 492.9 | 542.4 | 666.1 | 434.3 | 293.1 | 140.5 | 132.9 | 93.81 | 78.14 | 104.7 | 131.9 | 96.06 | 146.1 | 247.8 | 148.9 | 72.12 | 81.03 | 58.93 | 87.38 | 115.9 | 765 | 9999.9 | 9999.9 | 9999.9 | 409.5 | 54.23 | 35.02 | 28.12 | 24.57 | 17.3 | 13.59 | 13.42 | 12.03 | 10.96 | 10.23
395 | 85.44 | 122.1 | 123 | 144 | 98.17 | 105 | 122 | 123.9 | 164.4 | 154.1 | 228.5 | 323.9 | 398.8 | 508.3 | 485.9 | 381.8 | 272.4 | 168.7 | 120.7 | 99.08 | 115.4 | 108.1 | 106.4 | 81.16 | 94.55 | 190.3 | 226.4 | 71.11 | 68.14 | 75.47 | 62.42 | 66.37 | 116.6 | 766.4 | 9999.9 | 9999.9 | 9999.9 | 337.6 | 48.74 | 42 | 27.04 | 20.98 | 17.11 | 13.05 | 14.47 | 14.78 | 9.419
400 | 94.85 | 152 | 139.5 | 146.7 | 109.2 | 74.38 | 115.7 | 113.2 | 106.2 | 147.9 | 248 | 321.3 | 338.8 | 377.1 | 366.2 | 323.5 | 218.1 | 130.7 | 100.2 | 93.82 | 75.89 | 118.4 | 87.71 | 88.03 | 93.57 | 96.66 | 205.5 | 185 | 75.03 | 63.77 | 67.08 | 65.16 | 68.2 | 105.2 | 740.8 | 9999.9 | 9999.9 | 9999.9 | 290.6 | 62.87 | 36.44 | 25.3 | 17.01 | 12.87 | 11.23 | 11.56 | 11.18
405 | 85.87 | 132 | 146.8 | 99.58 | 78.78 | 60.48 | 127.2 | 103.8 | 108.5 | 127.5 | 193.1 | 232.1 | 277.4 | 330.4 | 349.2 | 256.7 | 166 | 126 | 114.4 | 65.9 | 127.8 | 102.4 | 95.24 | 83.97 | 83.35 | 95.43 | 114.6 | 203.6 | 131.1 | 64.97 | 64.8 | 55.56 | 62.71 | 57.07 | 102.9 | 725.1 | 9999.9 | 9999.9 | 9999.9 | 319.4 | 51.19 | 31.82 | 24.45 | 16.53 | 16.63 | 14.82 | 10.43
410 | 94.87 | 140.7 | 109.5 | 107.9 | 145.5 | 64.15 | 99.81 | 74.74 | 92.79 | 130.4 | 182.5 | 173.1 | 298 | 247.3 | 309.9 | 264.4 | 180.3 | 123.2 | 77.17 | 121.3 | 100.1 | 108.3 | 127.8 | 88.5 | 86.24 | 93.47 | 88.41 | 112.5 | 202.8 | 122.9 | 57.7 | 62.22 | 52.57 | 45.1 | 44.79 | 98.84 | 740 | 9999.9 | 9999.9 | 9999.9 | 257.5 | 41.43 | 33.08 | 19.99 | 15.94 | 16.35 | 12.66
415 | 52.26 | 139.6 | 74.64 | 73.02 | 99.4 | 118.9 | 91.67 | 80.56 | 103.8 | 133.7 | 106.8 | 176 | 166.3 | 222.6 | 274.7 | 199.2 | 128.2 | 89.62 | 95.57 | 128.3 | 109.3 | 107.7 | 93.15 | 95.03 | 100.9 | 96.14 | 75.79 | 90.3 | 153.1 | 201.3 | 96.96 | 53.1 | 42.73 | 46.42 | 47.99 | 56.81 | 102 | 735.4 | 9999.9 | 9999.9 | 9999.9 | 240.4 | 48.08 | 25.1 | 19.64 | 16.83 | 14.23
420 | 92.69 | 104.2 | 93.64 | 183.1 | 102.9 | 97.8 | 74.04 | 102.6 | 104.9 | 114.7 | 127 | 152.8 | 201.5 | 234.5 | 182.7 | 159 | 131.4 | 110.2 | 94.93 | 76.46 | 107.1 | 108.9 | 94.48 | 107 | 99.7 | 95.83 | 82.1 | 69.42 | 109.1 | 176.6 | 152.4 | 74.47 | 58.48 | 46.81 | 42.2 | 43.29 | 49.71 | 89.29 | 729.8 | 9999.9 | 9999.9 | 9999.9 | 233.7 | 41.66 | 30.69 | 21.44 | 16.83
425 | 84.93 | 129 | 109 | 81.08 | 88.24 | 132.8 | 73.42 | 84.82 | 108 | 108.2 | 111.7 | 119 | 141.9 | 207 | 170.1 | 160.7 | 136.6 | 96.16 | 83.05 | 109.8 | 83.92 | 90.27 | 94.18 | 89.85 | 67.61 | 89.04 | 76.68 | 74.86 | 76.78 | 104.1 | 166.7 | 124.8 | 57.16 | 44.05 | 37.45 | 41.25 | 39.71 | 43.57 | 90.62 | 738.5 | 9999.9 | 9999.9 | 9999.9 | 201.8 | 34.82 | 25.98 | 15.78
430 | 216.6 | 88.18 | 132.4 | 114.6 | 78.26 | 113.4 | 58.35 | 104.1 | 111.3 | 76.2 | 92.65 | 149.5 | 105 | 164 | 149.5 | 145.8 | 93.42 | 102.9 | 89.16 | 88.31 | 80.38 | 104.4 | 90.95 | 87.48 | 85.65 | 84.78 | 103.3 | 90.02 | 75.58 | 81.13 | 95.42 | 134.5 | 92.22 | 47.8 | 38.08 | 43.04 | 28.16 | 44.18 | 44.33 | 87.15 | 701.6 | 9999.9 | 9999.9 | 9999.9 | 192.5 | 32.63 | 20.76
435 | 281.6 | 100.5 | 100.2 | 96.4 | 121.8 | 76.9 | 91.07 | 87.24 | 113 | 65.72 | 91.74 | 154.8 | 158.7 | 131.5 | 156.3 | 118.9 | 109.2 | 95.51 | 98.31 | 90.51 | 74.15 | 89.71 | 114.4 | 98.47 | 100.4 | 90.19 | 113.7 | 76.05 | 87.61 | 81.17 | 80.63 | 105.2 | 122.5 | 66.83 | 45.08 | 42.46 | 39.29 | 39.3 | 35.67 | 46.57 | 82.96 | 713.4 | 9999.9 | 9999.9 | 9999.9 | 193.1 | 32.56
440 | 381.1 | 220.4 | 94.04 | 107.1 | 79.66 | 78.51 | 81.76 | 85.81 | 101.4 | 60.5 | 102.8 | 113.4 | 121.4 | 124.7 | 122.3 | 127.9 | 95.46 | 103.3 | 113 | 90.41 | 94.55 | 82.22 | 85.13 | 99.3 | 94.82 | 80.39 | 79.62 | 75.22 | 69.56 | 58.21 | 60.75 | 67.24 | 107.8 | 117.3 | 57.17 | 42.34 | 30.55 | 36.47 | 30.82 | 35.67 | 31.42 | 81.16 | 702.3 | 9999.9 | 9999.9 | 9999.9 | 148.9
445 | 253.9 | 482.9 | 105.4 | 93.93 | 104.1 | 67.08 | 93.38 | 65.8 | 90.95 | 96.6 | 116.4 | 147.3 | 112.8 | 140 | 118.9 | 147.6 | 106.1 | 95.33 | 67.58 | 72.49 | 85.01 | 84.37 | 82.01 | 85.76 | 84.84 | 76.37 | 90.61 | 79.74 | 81.4 | 65.28 | 55.37 | 59.53 | 56.6 | 105 | 79.58 | 40.14 | 30.06 | 32.86 | 32.27 | 26.35 | 24.89 | 31.56 | 76.44 | 698.9 | 9999.9 | 9999.9 | 9999.9
450 | 118.3 | 706.7 | 371.8 | 88.05 | 64.59 | 69.72 | 61.63 | 112 | 71.85 | 82.39 | 108.8 | 96 | 86.54 | 112.5 | 104.6 | 93.95 | 112 | 96.5 | 109.1 | 88.73 | 74.76 | 91.36 | 94.97 | 69.94 | 74.49 | 103.4 | 102.3 | 74.99 | 87.74 | 60.5 | 59.47 | 39.9 | 56.98 | 78.43 | 91.45 | 60.94 | 33.23 | 26.84 | 29.39 | 23.11 | 23.94 | 28.76 | 27.6 | 73.06 | 703.1 | 9999.9 | 9999.9
455 | 64.92 | 495.3 | 906.2 | 212.9 | 90.79 | 140.5 | 114.6 | 80.41 | 81.12 | 103.3 | 81.19 | 115.6 | 145.1 | 129.6 | 115.1 | 118.6 | 95.15 | 82.83 | 62.75 | 90.44 | 96.14 | 60.74 | 89.34 | 81.82 | 74.59 | 81.73 | 77.46 | 59.04 | 78.73 | 58.07 | 62.95 | 62.22 | 39.33 | 41.82 | 67.26 | 74.33 | 46.16 | 32.9 | 32.09 | 24.36 | 22.4 | 26.13 | 25.96 | 27.22 | 77.1 | 707.1 | 9999.9
460 | 88.22 | 160.2 | 1124 | 537.6 | 117.1 | 88.16 | 48.84 | 78.79 | 50.01 | 106.5 | 118.5 | 122.5 | 105.1 | 88.74 | 93.44 | 109.6 | 108.2 | 75.82 | 83.3 | 103.9 | 85.64 | 109.6 | 82.95 | 62.93 | 71.28 | 67.11 | 75.39 | 79.4 | 72.81 | 62.14 | 43.66 | 51.67 | 47.45 | 34.4 | 35.64 | 66.03 | 57.92 | 36.15 | 29.84 | 22.68 | 26.25 | 21.81 | 20.71 | 26.84 | 25.37 | 70.1 | 678.5
465 | 108 | 63.32 | 700.9 | 1656 | 191.4 | 100.3 | 104.6 | 135 | 81.41 | 70.68 | 84.01 | 112.5 | 110.4 | 96.57 | 96.48 | 104 | 93.13 | 79.48 | 112.8 | 64.34 | 127.9 | 99.04 | 63.76 | 87.04 | 108.2 | 89.49 | 58.61 | 61.6 | 58.47 | 59.5 | 47.58 | 59.57 | 40.82 | 32.79 | 32.58 | 41.41 | 69.85 | 57.81 | 33.77 | 19.05 | 27.13 | 21.3 | 19.81 | 21.55 | 23.56 | 25.73 | 68.98
470 | 162.7 | 66.08 | 223 | 2395 | 908 | 84.7 | 98.83 | 82.78 | 95.95 | 112.6 | 109.4 | 117.7 | 72.37 | 82.71 | 95 | 119 | 73.17 | 91.77 | 103.2 | 68.38 | 68.25 | 103.2 | 68.72 | 74.2 | 73.67 | 60.48 | 71.17 | 64.15 | 56.47 | 55.77 | 46.46 | 51.68 | 41.52 | 39.45 | 31.75 | 33.13 | 41.09 | 66.29 | 38.29 | 23.03 | 26.51 | 22.76 | 22.6 | 20.63 | 18.48 | 19.6 | 28.44
475 | 74.99 | 79.55 | 86.9 | 1434 | 2235 | 213.2 | 82.69 | 93.87 | 82.75 | 81.23 | 94.87 | 75.68 | 103.2 | 78.92 | 100.5 | 68.37 | 57.61 | 88.06 | 83.02 | 60.64 | 89.43 | 88.16 | 53.51 | 68.1 | 65.96 | 59.68 | 66.32 | 57.71 | 56.08 | 49.95 | 45.22 | 48.76 | 44.31 | 27.01 | 29.4 | 25.14 | 32.9 | 54.01 | 56.83 | 30.48 | 23.67 | 22.36 | 18.87 | 20.6 | 17.34 | 20.5 | 15.27
480 | 105.4 | 106.4 | 85.46 | 322.4 | 2872 | 1023 | 80.98 | 83.61 | 103.7 | 97.65 | 90.57 | 104.9 | 52.45 | 114.7 | 61.95 | 78.89 | 76.82 | 112.2 | 66.12 | 79.37 | 76.23 | 71.41 | 59.8 | 68.43 | 59.31 | 61.66 | 54.94 | 69.58 | 65.03 | 41.16 | 46.03 | 45.36 | 39.82 | 27.06 | 42.7 | 22.74 | 26.1 | 30.03 | 52.05 | 40.79 | 29.05 | 21.51 | 19.17 | 16.29 | 17.15 | 17.28 | 16.66
485 | 73.78 | 108.8 | 99.98 | 156.9 | 1887 | 2845 | 89.13 | 76.66 | 65.49 | 57.69 | 102.6 | 74.27 | 85.63 | 92.17 | 98.37 | 86.3 | 108.2 | 60.29 | 73.76 | 78.34 | 77.98 | 62.93 | 71.78 | 80.35 | 61.6 | 58.18 | 52.81 | 56.15 | 50.61 | 52.5 | 53.03 | 54.12 | 36.77 | 36.72 | 30.05 | 26.16 | 30.73 | 28.63 | 32.63 | 44.48 | 35.14 | 21.1 | 15.75 | 19.51 | 20.07 | 20.07 | 16.75
490 | 148.5 | 86.97 | 126.9 | 77.77 | 425.7 | 3737 | 1047 | 74.43 | 90.43 | 79.43 | 99.66 | 76.82 | 67.21 | 101.6 | 91.66 | 74.95 | 64.31 | 80.99 | 84.65 | 60.71 | 58.05 | 54.9 | 58.75 | 65.53 | 64.49 | 69.52 | 55.88 | 64.48 | 45.82 | 44.44 | 42.03 | 36.16 | 44.09 | 26.89 | 33.49 | 26.52 | 24.28 | 22.85 | 25.19 | 33.12 | 47.06 | 26.31 | 17.59 | 19.93 | 15.8 | 19.35 | 17.82
495 | 65.18 | 89.31 | 118.3 | 114.1 | 94.97 | 2210 | 2904 | 140.7 | 82.44 | 82.82 | 99.19 | 63.92 | 69.36 | 79.99 | 94.07 | 84.13 | 50.34 | 78.78 | 80.71 | 77.35 | 68.65 | 81.94 | 52.72 | 59.45 | 49.9 | 37.51 | 64.57 | 44.91 | 39.49 | 48.96 | 40.69 | 39.4 | 36.6 | 31.45 | 38.3 | 26.74 | 19.56 | 28.16 | 25.82 | 24.07 | 41.76 | 36.51 | 24.93 | 15.69 | 16.66 | 12.94 | 17.93
500 | 86.27 | 87.01 | 100.3 | 118.9 | 87.84 | 667.3 | 3908 | 751 | 77.58 | 80.42 | 80.21 | 82.61 | 76.16 | 67.76 | 85.26 | 91.57 | 91.84 | 60.88 | 79.89 | 71.6 | 58.54 | 57.32 | 62.43 | 74.43 | 60.83 | 59.2 | 54.41 | 54.9 | 51.85 | 43.3 | 43.78 | 45.84 | 43.85 | 34.71 | 27.1 | 28.54 | 24.25 | 22.93 | 23 | 20.65 | 27.3 | 39.37 | 34.63 | 24.14 | 14.37 | 13.38 | 14.01