## Sheet1
Report date: | 15:24:38, 04/17/2024
Sample: | 1
File name:
Run date: | 15:21:57, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/255.0 | 103.5
2 | 225.0/280.0 | 91.95
3 | 230.0/265.0 | 120.7
4 | 230.0/330.0 | 576.5
5 | 230.0/360.0 | 314.5
6 | 230.0/375.0 | 260.6
7 | 230.0/385.0 | 273.1
8 | 230.0/430.0 | 161.4
9 | 230.0/490.0 | 126.3
10 | 235.0/315.0 | 451.6
11 | 235.0/340.0 | 545.9
12 | 235.0/350.0 | 503.3
13 | 235.0/400.0 | 171.7
14 | 240.0/420.0 | 154.4
15 | 240.0/430.0 | 128.8
16 | 245.0/290.0 | 127.3
17 | 245.0/360.0 | 290.8
18 | 245.0/390.0 | 169.5
19 | 245.0/400.0 | 151
20 | 245.0/415.0 | 123.3
21 | 245.0/445.0 | 137.9
22 | 250.0/420.0 | 154.6
23 | 250.0/430.0 | 111.7
24 | 250.0/450.0 | 157.9
25 | 255.0/395.0 | 163.2
26 | 255.0/435.0 | 127.9
27 | 255.0/455.0 | 136.3
28 | 255.0/470.0 | 134.3
29 | 260.0/465.0 | 139.4
30 | 265.0/445.0 | 137.7
31 | 265.0/485.0 | 122.3
32 | 270.0/480.0 | 142.5
33 | 275.0/460.0 | 138.5
34 | 275.0/475.0 | 127.9
35 | 280.0/440.0 | 181
36 | 280.0/470.0 | 151.2
37 | 285.0/335.0 | 4052
38 | 285.0/445.0 | 154.1
39 | 285.0/465.0 | 167.4
40 | 285.0/475.0 | 120.5
41 | 290.0/480.0 | 120.1
42 | 295.0/450.0 | 159.9
43 | 295.0/475.0 | 123.6
44 | 295.0/485.0 | 114.9
45 | 300.0/265.0 | 70.1
46 | 305.0/460.0 | 117.9
47 | 310.0/425.0 | 170.1
48 | 310.0/450.0 | 125.1
49 | 310.0/480.0 | 108.9
50 | 315.0/260.0 | 53.37
51 | 315.0/280.0 | 92.65
52 | 315.0/435.0 | 145.2
53 | 315.0/490.0 | 96.72
54 | 320.0/360.0 | 354.2
55 | 320.0/385.0 | 137.7
56 | 320.0/420.0 | 146.2
57 | 320.0/455.0 | 117.8
58 | 320.0/465.0 | 120.8
59 | 320.0/485.0 | 90.37
60 | 325.0/285.0 | 56.22
61 | 325.0/365.0 | 372.4
62 | 325.0/405.0 | 135.2
63 | 325.0/480.0 | 105.3
64 | 330.0/260.0 | 45.79
65 | 330.0/270.0 | 49.53
66 | 330.0/370.0 | 347.3
67 | 330.0/415.0 | 130.8
68 | 330.0/440.0 | 130.6
69 | 330.0/450.0 | 134.6
70 | 330.0/460.0 | 105.8
71 | 330.0/475.0 | 107.7
72 | 335.0/275.0 | 58.66
73 | 335.0/285.0 | 54.45
74 | 335.0/380.0 | 317.6
75 | 335.0/435.0 | 119
76 | 340.0/255.0 | 37.04
77 | 340.0/280.0 | 53.39
78 | 340.0/385.0 | 320.2
79 | 340.0/415.0 | 127.6
80 | 340.0/440.0 | 117.9
81 | 340.0/470.0 | 108.3
82 | 345.0/270.0 | 41.12
83 | 345.0/390.0 | 240.4
84 | 345.0/425.0 | 137.7
85 | 345.0/445.0 | 116.8
86 | 350.0/435.0 | 124
87 | 350.0/465.0 | 93.54
88 | 355.0/265.0 | 37.8
89 | 355.0/290.0 | 42.41
90 | 355.0/305.0 | 45.37
91 | 355.0/405.0 | 219.9
92 | 360.0/255.0 | 41.61
93 | 365.0/275.0 | 29.69
94 | 365.0/295.0 | 31.63
95 | 365.0/415.0 | 264.4
96 | 365.0/440.0 | 127.2
97 | 365.0/460.0 | 112.7
98 | 365.0/485.0 | 72.05
99 | 370.0/255.0 | 42.23
100 | 370.0/305.0 | 35.49
101 | 370.0/490.0 | 56.92
102 | 375.0/330.0 | 35.88
103 | 375.0/430.0 | 150.1
104 | 375.0/485.0 | 59.83
105 | 380.0/265.0 | 44.29
106 | 380.0/305.0 | 28.62
107 | 380.0/410.0 | 71.56
108 | 380.0/435.0 | 142.8
109 | 385.0/310.0 | 29.79
110 | 385.0/320.0 | 28.01
111 | 385.0/445.0 | 121.9
112 | 390.0/280.0 | 28.77
113 | 390.0/450.0 | 107.4
114 | 390.0/490.0 | 41.35
115 | 395.0/305.0 | 21.12
116 | 395.0/340.0 | 32.53
117 | 395.0/480.0 | 36.85
118 | 400.0/285.0 | 25.94
119 | 400.0/315.0 | 22.72
120 | 400.0/460.0 | 81.08
121 | 405.0/260.0 | 26.02
122 | 405.0/290.0 | 30.67
123 | 405.0/335.0 | 21.17
124 | 405.0/470.0 | 68.23
125 | 410.0/275.0 | 23.37
126 | 410.0/330.0 | 19.35
127 | 410.0/450.0 | 37.87
128 | 410.0/475.0 | 58.48
129 | 415.0/300.0 | 20.62
130 | 415.0/325.0 | 16.73
131 | 415.0/345.0 | 23.77
132 | 415.0/360.0 | 22.92
133 | 415.0/460.0 | 31.81
134 | 415.0/480.0 | 53.11
135 | 420.0/490.0 | 46.2
136 | 425.0/255.0 | 18.06
137 | 425.0/305.0 | 20.42
138 | 425.0/315.0 | 19.51
139 | 425.0/460.0 | 31.84
140 | 430.0/285.0 | 16.88
141 | 430.0/325.0 | 17.22
142 | 430.0/385.0 | 22.51
143 | 430.0/470.0 | 29.06
144 | 435.0/260.0 | 13.49
145 | 435.0/320.0 | 21.42
146 | 435.0/340.0 | 14.57
147 | 440.0/295.0 | 16.95
148 | 440.0/485.0 | 25.08
149 | 445.0/360.0 | 14.35
150 | 445.0/395.0 | 18.67
151 | 445.0/495.0 | 22.81
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 84.13 | 69.75 | 55.39 | 86.65 | 105.1 | 3938 | 9999.9 | 3229 | 78.56 | 76.13 | 43.18 | 60.71 | 48 | 76.34 | 31.01 | 60.76 | 72.74 | 50.88 | 48.21 | 51.12 | 51.44 | 44.84 | 41.07 | 35.32 | 36.53 | 39.74 | 27.06 | 30.51 | 26.77 | 37.87 | 34.23 | 27.52 | 21.58 | 20.39 | 24.28 | 24.49 | 22 | 25.03 | 14.76 | 14.82 | 15.56 | 13.98 | 12.92 | 11.83 | 7.344 | 8.073 | 6.333
255 | 94.7 | 103.5 | 78.79 | 92.45 | 65.22 | 338.8 | 3323 | 9999.9 | 6757 | 255.8 | 51.69 | 52.24 | 44.07 | 45.39 | 61.83 | 46.39 | 53.59 | 53.73 | 44.55 | 47.81 | 42.72 | 39.41 | 39.59 | 27.46 | 37.04 | 29.4 | 34.19 | 30.63 | 41.61 | 30.38 | 42.23 | 29.28 | 21.45 | 25.55 | 26.36 | 23.51 | 22.75 | 19.6 | 18.33 | 13.14 | 13.66 | 18.06 | 12.99 | 12.04 | 11.62 | 8.592 | 7.73
260 | 123 | 69.28 | 56.33 | 84.87 | 105.8 | 117.1 | 303.2 | 3637 | 9999.9 | 9583 | 318.1 | 38.7 | 53.85 | 52.62 | 28.34 | 42.9 | 39.65 | 57.11 | 44.82 | 53.37 | 34.12 | 27.55 | 45.79 | 30.76 | 29.26 | 27.81 | 28.58 | 18.09 | 31.16 | 26.43 | 26.15 | 31.83 | 36.23 | 25.77 | 26.53 | 25.2 | 21.39 | 26.02 | 21.29 | 15.78 | 15.83 | 12.74 | 10.26 | 13.49 | 11.81 | 8.916 | 6.473
265 | 83.3 | 56.33 | 120.7 | 107.1 | 70.79 | 100.5 | 95.14 | 296.9 | 5038 | 9999.9 | 9999.9 | 369.5 | 61.68 | 66.89 | 71.15 | 53.31 | 70.1 | 59.66 | 49.18 | 47.42 | 42.34 | 47.03 | 29.11 | 39.48 | 29.93 | 29.16 | 26.75 | 37.8 | 25.3 | 23.25 | 26.68 | 31.63 | 44.29 | 27.93 | 26.44 | 17.86 | 19.19 | 20.21 | 21.88 | 16.85 | 17.37 | 13.05 | 10.6 | 11.33 | 12.08 | 11.14 | 8.347
270 | 48.55 | 72.39 | 62.65 | 83.93 | 55.69 | 86.15 | 93.06 | 64.63 | 391.8 | 6239 | 9999.9 | 9999.9 | 708 | 65.5 | 112 | 56.87 | 61.17 | 50.55 | 60.24 | 37.84 | 37.14 | 47.99 | 49.53 | 45.76 | 33.43 | 41.12 | 32.18 | 28.83 | 28.9 | 24.61 | 24.88 | 31.68 | 31.6 | 23.21 | 25.75 | 26.04 | 15.39 | 12.96 | 21.46 | 18.91 | 18.66 | 18.43 | 13.77 | 10.95 | 14.1 | 13.14 | 9.23
275 | 87.72 | 56.67 | 47.51 | 80.99 | 50.54 | 71.66 | 89.52 | 119 | 92.29 | 479.9 | 8406 | 9999.9 | 9999.9 | 722.4 | 91.63 | 71.49 | 61.84 | 59.69 | 56.75 | 63.95 | 51.24 | 53.75 | 40.79 | 58.66 | 29.76 | 33.83 | 28.33 | 24.83 | 27.94 | 29.69 | 23.37 | 27.07 | 25.52 | 23.19 | 22.15 | 26.72 | 17.91 | 17.21 | 23.37 | 18.41 | 18.87 | 17.3 | 16.82 | 14.07 | 14.38 | 10.34 | 10.65
280 | 42.72 | 91.95 | 79.22 | 51.44 | 66.83 | 94.04 | 72.43 | 111.1 | 111.7 | 110.7 | 630.6 | 9999.9 | 9999.9 | 9999.9 | 756.2 | 62.83 | 68.87 | 67.71 | 67.65 | 92.65 | 43.99 | 52.34 | 42.14 | 35.46 | 53.39 | 38.76 | 27.13 | 24.89 | 25.01 | 29.01 | 28.87 | 24.83 | 19.58 | 17.08 | 28.77 | 26.92 | 22.44 | 14.38 | 15.67 | 18.23 | 14.17 | 17.95 | 14.75 | 12.04 | 12.29 | 16.5 | 12.31
285 | 49.13 | 66.07 | 71.35 | 84.08 | 91.53 | 106.1 | 61.74 | 100.8 | 135.4 | 118.3 | 147 | 779.6 | 9999.9 | 9999.9 | 9999.9 | 996 | 124.5 | 89.77 | 74.96 | 54.28 | 35.61 | 56.22 | 45.68 | 54.45 | 51.14 | 45.51 | 32.57 | 37 | 32.39 | 27.35 | 29.66 | 22.78 | 19.92 | 23.29 | 27.8 | 22.08 | 25.94 | 25.75 | 23.32 | 15.67 | 15.79 | 15.95 | 16.88 | 12.45 | 13.32 | 11.66 | 11.99
290 | 71.9 | 102.7 | 142.5 | 89.21 | 107.8 | 127.3 | 72.83 | 109.9 | 148.9 | 263 | 295.2 | 315.6 | 971.4 | 9999.9 | 9999.9 | 9999.9 | 1138 | 113.7 | 96.47 | 67.05 | 70.97 | 45.11 | 54.57 | 34.36 | 36.91 | 33.87 | 33.49 | 42.41 | 34.03 | 21.32 | 24.69 | 18.94 | 21 | 20.58 | 17.59 | 20.46 | 16.17 | 30.67 | 21.65 | 18.47 | 18.18 | 15.61 | 16.76 | 14.75 | 13.26 | 13.34 | 12.12
295 | 106.1 | 116.5 | 133.5 | 164.7 | 169.4 | 59.32 | 132.9 | 116.5 | 160.2 | 249.5 | 534.3 | 520.5 | 749.8 | 1314 | 9999.9 | 9999.9 | 9999.9 | 1247 | 125.8 | 93.35 | 86.07 | 64.14 | 62.84 | 57.85 | 48.88 | 46.97 | 26.64 | 28.06 | 26.58 | 31.63 | 28.51 | 27.63 | 23.68 | 21.87 | 18.47 | 16.93 | 16.16 | 23.29 | 20.26 | 18.92 | 16.29 | 14.08 | 14.44 | 16.58 | 16.95 | 10.6 | 9.829
300 | 133.8 | 154.4 | 195 | 266.5 | 179.9 | 77.88 | 126.4 | 176.2 | 228.3 | 393.3 | 630.9 | 900.5 | 1087 | 1183 | 1555 | 9999.9 | 9999.9 | 9999.9 | 1429 | 132.2 | 109.1 | 81.63 | 64.93 | 51.14 | 59.99 | 46.92 | 44.89 | 40.92 | 30.36 | 28.8 | 29.49 | 17.3 | 20.84 | 19.91 | 15.62 | 17.88 | 15.3 | 17.46 | 19.49 | 20.62 | 20.32 | 15.33 | 14.24 | 11.23 | 14.83 | 13.91 | 12.74
305 | 174.8 | 234.3 | 303.8 | 222.7 | 208.8 | 171.8 | 148.4 | 213.9 | 288.8 | 535.2 | 809.3 | 1241 | 1674 | 1579 | 1463 | 1632 | 9999.9 | 9999.9 | 9999.9 | 1258 | 152 | 139 | 78.38 | 65.9 | 54.55 | 58.14 | 35.51 | 45.37 | 29.96 | 34.13 | 35.49 | 22.28 | 28.62 | 23.24 | 18.01 | 21.12 | 15.66 | 15.97 | 13.09 | 18.67 | 19.28 | 20.42 | 15.04 | 11.81 | 12.75 | 15.82 | 14.6
310 | 111.4 | 229 | 361.5 | 347.2 | 274.7 | 201.3 | 169.3 | 281.8 | 337.1 | 679.8 | 1025 | 1723 | 2260 | 2419 | 1986 | 1157 | 1263 | 9999.9 | 9999.9 | 9999.9 | 1479 | 144.1 | 87.71 | 81.9 | 76.65 | 56.76 | 34.86 | 37.74 | 38.49 | 37.21 | 25.44 | 26.63 | 24.87 | 29.79 | 21.72 | 16.85 | 15.8 | 11.7 | 16.56 | 16.62 | 17.29 | 18 | 18.02 | 16.2 | 15.21 | 12.88 | 11.4
315 | 198.7 | 241.1 | 375.6 | 451.6 | 298.4 | 236.6 | 244.9 | 356.7 | 444.8 | 915.4 | 1491 | 1981 | 2948 | 3139 | 2782 | 1708 | 821.8 | 1050 | 9999.9 | 9999.9 | 9999.9 | 1420 | 177.2 | 84.61 | 68.57 | 56.33 | 58.35 | 42.81 | 45.91 | 34.66 | 32.29 | 29.9 | 28.24 | 20.32 | 16.62 | 19.2 | 22.72 | 13.65 | 16.12 | 12.92 | 19.44 | 19.51 | 19.42 | 17.91 | 12.78 | 12.1 | 13.61
320 | 178 | 309.9 | 433.8 | 382.9 | 355.5 | 303.3 | 293.6 | 311.6 | 558 | 926.8 | 1477 | 2225 | 2905 | 3353 | 3572 | 2166 | 1058 | 524.9 | 898.1 | 9999.9 | 9999.9 | 9999.9 | 1284 | 141 | 111.7 | 73.6 | 46.14 | 63.77 | 41.78 | 41.74 | 31 | 22.1 | 25.34 | 28.01 | 19.18 | 18.4 | 17.59 | 19.16 | 16.29 | 14.42 | 18.93 | 15.91 | 14.67 | 21.42 | 14.06 | 15.54 | 13.09
325 | 167.3 | 314.1 | 513.1 | 432.6 | 278.5 | 279.1 | 260.5 | 342.2 | 683.9 | 988.8 | 1743 | 2450 | 3452 | 3832 | 3631 | 2410 | 1278 | 480.5 | 284.1 | 895.6 | 9999.9 | 9999.9 | 9999.9 | 1315 | 147.6 | 89.1 | 67.72 | 59.17 | 45.5 | 52.88 | 34.78 | 32.99 | 24.76 | 23.67 | 22.34 | 22.5 | 18.19 | 19.5 | 14.78 | 16.73 | 14.32 | 15.87 | 17.22 | 9.889 | 15.76 | 17.02 | 15.33
330 | 209 | 374.3 | 576.5 | 519.8 | 253.7 | 262.2 | 266.9 | 380.6 | 720.5 | 1092 | 1706 | 2519 | 3096 | 3981 | 3631 | 2758 | 1349 | 539.1 | 243.9 | 243.1 | 867.1 | 9999.9 | 9999.9 | 9999.9 | 1277 | 122.3 | 85.93 | 70.6 | 47.46 | 50.97 | 30.82 | 35.88 | 31.42 | 30.61 | 22.47 | 20.98 | 13.94 | 17.7 | 19.35 | 15.69 | 9.088 | 13.82 | 8.993 | 12.33 | 15.64 | 17.21 | 16.22
335 | 197 | 324.1 | 490.8 | 468.5 | 283.7 | 218.5 | 287.5 | 377.2 | 598 | 1026 | 1790 | 2599 | 3535 | 4052 | 3788 | 2798 | 1566 | 601.3 | 245 | 168.4 | 206.2 | 896 | 9999.9 | 9999.9 | 9999.9 | 1206 | 123.9 | 98.79 | 75.16 | 57.09 | 45.37 | 35.72 | 31.88 | 20.3 | 19.61 | 18.43 | 18.82 | 21.17 | 16.6 | 16.39 | 10.49 | 15.51 | 10.9 | 12.75 | 13.83 | 17.15 | 16.03
340 | 220.6 | 369.7 | 472.1 | 545.9 | 232.9 | 201.5 | 238.6 | 343.3 | 663.4 | 1025 | 1664 | 2291 | 2947 | 3677 | 3669 | 2753 | 1289 | 849.7 | 299.7 | 152.6 | 162.8 | 204.7 | 852.4 | 9999.9 | 9999.9 | 9999.9 | 1184 | 113.1 | 84.37 | 63.27 | 56.69 | 33.61 | 36.62 | 29.69 | 21.1 | 32.53 | 21.52 | 17.74 | 12.34 | 15.35 | 16.52 | 15.83 | 11.75 | 14.57 | 10.98 | 13.41 | 10.96
345 | 211.9 | 257.9 | 352.8 | 426.9 | 275.1 | 238.7 | 262.9 | 381.7 | 706.1 | 863.9 | 1372 | 2105 | 3290 | 3668 | 3560 | 2480 | 1119 | 634.3 | 500 | 168.1 | 125.9 | 135.7 | 189.9 | 871.5 | 9999.9 | 9999.9 | 9999.9 | 994.7 | 106.4 | 88.36 | 64.85 | 38.77 | 40.7 | 26.42 | 26.48 | 25.75 | 19.22 | 19.9 | 22.81 | 23.77 | 17.15 | 16.95 | 10.88 | 10.3 | 9.066 | 13.78 | 13.6
350 | 165.6 | 237.3 | 337.3 | 503.3 | 232.8 | 230.9 | 208.4 | 306.3 | 575.6 | 815.8 | 1429 | 1786 | 2637 | 3172 | 2643 | 2279 | 1102 | 487.1 | 420.6 | 356.1 | 102.9 | 106.3 | 135.2 | 157.6 | 827.3 | 9999.9 | 9999.9 | 9999.9 | 970.7 | 101.8 | 82.59 | 55.37 | 51.59 | 29.87 | 33.33 | 23.94 | 23.52 | 21.91 | 14.9 | 18.48 | 13.8 | 12.46 | 11.63 | 10.57 | 12.97 | 12.81 | 10.9
355 | 146 | 333 | 293.4 | 388.5 | 257.3 | 207.8 | 284.5 | 334.3 | 472.2 | 789.8 | 1173 | 1727 | 2286 | 2462 | 2560 | 1734 | 991.4 | 444.1 | 220.4 | 314.4 | 268.1 | 103.8 | 139.8 | 129.5 | 161 | 828.8 | 9999.9 | 9999.9 | 9999.9 | 899.9 | 110 | 77.84 | 57.39 | 43.43 | 38.41 | 23.65 | 23.06 | 21.63 | 16.58 | 22.73 | 16.06 | 14.94 | 11.32 | 10.62 | 12.07 | 10.83 | 13.17
360 | 183.8 | 254.5 | 314.5 | 305 | 185.9 | 290.8 | 246.5 | 256.7 | 382.1 | 643.2 | 1114 | 1366 | 1939 | 1986 | 2370 | 1633 | 771.1 | 390.1 | 186.1 | 201.8 | 354.2 | 193.4 | 126.4 | 108 | 116.6 | 202.8 | 837.1 | 9999.9 | 9999.9 | 9999.9 | 899.5 | 110.3 | 68.93 | 48.23 | 40.04 | 22.52 | 18.58 | 22.3 | 19.48 | 22.92 | 15.23 | 13.79 | 14.97 | 11.52 | 13.63 | 14.35 | 8.508
365 | 150.3 | 214 | 281.9 | 304.9 | 215.9 | 157.9 | 217.9 | 234.9 | 310.6 | 545.9 | 959.8 | 1281 | 1745 | 2214 | 1993 | 1377 | 822.4 | 382.3 | 160.9 | 119.8 | 179.3 | 372.4 | 152.8 | 104.2 | 114.1 | 120.7 | 153.9 | 838.2 | 9999.9 | 9999.9 | 9999.9 | 754.8 | 96.78 | 70.28 | 53.84 | 39.89 | 27.87 | 23.6 | 22.29 | 22.26 | 17.01 | 14.89 | 14.99 | 13.15 | 14.08 | 10.05 | 10.76
370 | 117.4 | 207.3 | 156 | 256.5 | 193.7 | 157.2 | 187.7 | 220.1 | 289.3 | 437.6 | 769.4 | 989.9 | 1365 | 1609 | 1671 | 1174 | 652.5 | 319.6 | 166.5 | 80.01 | 121 | 255.6 | 347.3 | 127.3 | 97.06 | 101 | 117.6 | 173.5 | 834.9 | 9999.9 | 9999.9 | 9999.9 | 688.3 | 87.48 | 67.36 | 39.77 | 31.55 | 26.79 | 24.72 | 17.22 | 17.5 | 16.46 | 17.15 | 11.85 | 15.79 | 11.21 | 13.91
375 | 150.7 | 178 | 260.6 | 207.3 | 193.7 | 156.8 | 154.9 | 181.3 | 253.4 | 436.4 | 640.6 | 941.1 | 1136 | 1286 | 1268 | 986.3 | 469.6 | 254.6 | 176.4 | 142.8 | 108.6 | 118.5 | 308.1 | 269.2 | 110.9 | 100.1 | 90.26 | 96.77 | 149.1 | 848.1 | 9999.9 | 9999.9 | 9999.9 | 660.7 | 80.14 | 52.24 | 43.29 | 35.18 | 22.5 | 24.42 | 14.89 | 15.48 | 15.29 | 13.78 | 15.56 | 13.5 | 10.2
380 | 140.6 | 166.1 | 217.1 | 191 | 142.8 | 130.7 | 138.9 | 147.5 | 265.5 | 347.7 | 489.7 | 769.7 | 876.5 | 1163 | 1044 | 751.2 | 423.6 | 215.4 | 128.8 | 142.4 | 95.91 | 89.76 | 158.6 | 317.6 | 237.1 | 94.06 | 91.84 | 89.24 | 97.19 | 159.1 | 810 | 9999.9 | 9999.9 | 9999.9 | 614.2 | 76.48 | 61.39 | 40.72 | 29.16 | 30.22 | 19.56 | 21.57 | 18.16 | 18.19 | 17.23 | 15.52 | 13.59
385 | 122.8 | 142.5 | 273.1 | 156.5 | 176.7 | 145 | 154.2 | 194.7 | 187.8 | 279 | 428.9 | 622.7 | 879.9 | 832.4 | 817.4 | 688.1 | 395 | 238.2 | 130.6 | 116.7 | 137.7 | 117.9 | 108.6 | 163.6 | 320.2 | 161.7 | 95.06 | 79.45 | 98.53 | 98.08 | 137.6 | 820.3 | 9999.9 | 9999.9 | 9999.9 | 510 | 75.18 | 50.02 | 36.49 | 27.84 | 22.41 | 18.11 | 22.51 | 17.67 | 15.23 | 12.15 | 11.04
390 | 119 | 122.6 | 181 | 132.1 | 140.4 | 169.5 | 129.2 | 139.6 | 158 | 260.3 | 330.5 | 460.8 | 565 | 828.4 | 709.4 | 530.2 | 357.5 | 245.7 | 120.7 | 122.1 | 97.26 | 119.2 | 107.6 | 140.6 | 183.3 | 240.4 | 135.9 | 110.3 | 89.23 | 83.27 | 73.16 | 138.9 | 796 | 9999.9 | 9999.9 | 9999.9 | 531.6 | 62.62 | 52.04 | 32.45 | 24.04 | 21.84 | 16.84 | 15.06 | 14.81 | 14.87 | 8.179
395 | 96.93 | 158.3 | 167.8 | 124.4 | 138.8 | 131.5 | 125.3 | 163.2 | 133.7 | 187.1 | 278.7 | 359.8 | 473.7 | 525 | 564.6 | 478.8 | 343.1 | 179.4 | 158.9 | 130.1 | 88.68 | 118.5 | 91.38 | 118.8 | 100 | 224.5 | 220.8 | 108.8 | 77.4 | 79.66 | 76.78 | 87.25 | 122.8 | 811.8 | 9999.9 | 9999.9 | 9999.9 | 439.3 | 68.5 | 53.68 | 30.2 | 21.87 | 22.98 | 17.29 | 16.8 | 18.67 | 11.55
400 | 121.6 | 126 | 133 | 171.7 | 124.7 | 151 | 145 | 122.9 | 140.8 | 182 | 242.1 | 337.6 | 406.2 | 524.1 | 507.2 | 396.1 | 288 | 154.8 | 147.5 | 102.9 | 128.1 | 134.2 | 131.9 | 92.95 | 105.1 | 131.6 | 197.2 | 182.6 | 94.05 | 87.01 | 71.99 | 76.29 | 74.91 | 128.2 | 780.3 | 9999.9 | 9999.9 | 9999.9 | 388.7 | 63.42 | 46.37 | 28.32 | 27.83 | 17.31 | 18.65 | 17.68 | 12.55
405 | 121.9 | 121.8 | 123 | 103.2 | 130.7 | 144.2 | 143 | 93.54 | 127.6 | 162.1 | 208.1 | 311.2 | 367.9 | 413.8 | 416.3 | 306 | 231.5 | 162 | 139.6 | 117.8 | 112.6 | 135.2 | 131.2 | 104.5 | 113.2 | 104.9 | 128.9 | 219.9 | 135.1 | 131.9 | 81.15 | 64.7 | 66.61 | 75.28 | 125 | 761.5 | 9999.9 | 9999.9 | 9999.9 | 416.1 | 60.8 | 43.99 | 37.76 | 31.17 | 23.53 | 14.88 | 11.72
410 | 85.21 | 85.24 | 118.6 | 120.2 | 106.3 | 101.6 | 108.5 | 68.94 | 112.5 | 150.6 | 187.6 | 274.5 | 309.5 | 358.1 | 364.3 | 275.6 | 184.3 | 147 | 123 | 111.6 | 85.46 | 131.6 | 115.3 | 115.9 | 122.5 | 120.7 | 97.19 | 144.6 | 199.9 | 172.5 | 91.39 | 61.73 | 71.56 | 57.68 | 61.75 | 109 | 753.5 | 9999.9 | 9999.9 | 9999.9 | 328.9 | 61.01 | 39.03 | 31.98 | 22.1 | 16.66 | 13.76
415 | 131.2 | 79.22 | 123.1 | 130.2 | 101.1 | 123.3 | 98.08 | 75.31 | 107.6 | 168.8 | 214.3 | 272.1 | 308.1 | 276.4 | 292.7 | 261.3 | 213.3 | 127.4 | 126.6 | 120.3 | 119.1 | 113.6 | 130.8 | 106.1 | 127.6 | 108 | 93.06 | 115.8 | 204.4 | 264.4 | 124.8 | 70.92 | 61.74 | 57.28 | 64.49 | 64 | 106.2 | 752.4 | 9999.9 | 9999.9 | 9999.9 | 315.8 | 48.7 | 45.1 | 27.43 | 21.14 | 18.14
420 | 89.64 | 109.5 | 122.7 | 143.1 | 154.4 | 106.3 | 154.6 | 94.79 | 101.7 | 153.8 | 150.5 | 215.7 | 246.5 | 266.2 | 255.6 | 185 | 192.5 | 157.6 | 135.4 | 121.3 | 146.2 | 136.6 | 114.1 | 95.51 | 104 | 114.1 | 102.9 | 98.44 | 126.8 | 243.3 | 189 | 95.04 | 72.17 | 54.48 | 53.67 | 44.36 | 54.64 | 112 | 752.2 | 9999.9 | 9999.9 | 9999.9 | 280.2 | 51.66 | 33.19 | 22.76 | 18.33
425 | 107.8 | 68.34 | 153.1 | 130.2 | 112.7 | 72.74 | 83.58 | 113.6 | 122.8 | 139.1 | 109.5 | 201.2 | 225 | 200.9 | 225.8 | 201.3 | 173.2 | 126.1 | 170.1 | 112.9 | 108.5 | 107.9 | 104.5 | 117.9 | 129 | 137.7 | 96.18 | 77.08 | 89.7 | 155.8 | 162.1 | 120.4 | 65.56 | 60.27 | 45 | 42.9 | 46.51 | 53.96 | 98.49 | 752 | 9999.9 | 9999.9 | 9999.9 | 238.5 | 44.45 | 30.31 | 21.88
430 | 254.5 | 102.7 | 161.4 | 88.07 | 128.8 | 92.05 | 111.7 | 88.32 | 127.9 | 136.4 | 122.5 | 154.5 | 163.9 | 187.3 | 244.1 | 171.8 | 131.7 | 125.1 | 122.5 | 131.8 | 120.1 | 120.7 | 122.3 | 116.6 | 101.9 | 122.9 | 96.6 | 88.84 | 85.83 | 147.2 | 113.1 | 150.1 | 97.47 | 56.57 | 42.67 | 44.48 | 48.29 | 46.69 | 46.25 | 93.49 | 736.7 | 9999.9 | 9999.9 | 9999.9 | 239.9 | 42.02 | 28.19
435 | 288.4 | 102.9 | 127.7 | 88.45 | 114 | 105.4 | 88.03 | 127.9 | 125.6 | 118.1 | 131.5 | 137.4 | 164.8 | 176.4 | 137.2 | 163.9 | 135.5 | 122 | 98.02 | 145.2 | 139.7 | 110.8 | 114.5 | 119 | 107.6 | 109.3 | 124 | 108.6 | 93.45 | 119.4 | 88.36 | 138.7 | 142.8 | 70.98 | 48.03 | 42.72 | 39.14 | 31.57 | 41.91 | 51.09 | 102.8 | 723.4 | 9999.9 | 9999.9 | 9999.9 | 240.7 | 39.19
440 | 391.8 | 237 | 124.2 | 89.3 | 102.8 | 90.48 | 68.19 | 84.71 | 112.3 | 107.6 | 94.7 | 131.3 | 181 | 123.2 | 160.1 | 169.4 | 119.5 | 134.5 | 102.2 | 101.2 | 104 | 93.48 | 130.6 | 112.4 | 117.9 | 108.1 | 95.1 | 98.52 | 70.72 | 127.2 | 80.57 | 75.08 | 107.5 | 101.8 | 64.91 | 39.88 | 38.98 | 39.17 | 34.51 | 35.54 | 39.19 | 88.4 | 729.7 | 9999.9 | 9999.9 | 9999.9 | 194.7
445 | 300 | 461.6 | 162.8 | 120.1 | 98.28 | 137.9 | 122.4 | 95.77 | 108.9 | 137.7 | 102.2 | 149.2 | 140.6 | 154.1 | 149.2 | 132.6 | 108 | 113.8 | 117.6 | 104.1 | 103.5 | 113.1 | 117 | 94.02 | 94.17 | 116.8 | 104.2 | 80.94 | 70.44 | 123.4 | 95.42 | 76.49 | 79.62 | 121.9 | 81.6 | 41.91 | 34.77 | 38.13 | 29.56 | 28.15 | 29.88 | 43.1 | 93.32 | 714.8 | 9999.9 | 9999.9 | 9999.9
450 | 145.1 | 687.4 | 395.9 | 145.2 | 63.36 | 68.47 | 157.9 | 116.2 | 105.1 | 96.01 | 94.14 | 143 | 132.5 | 100.6 | 135.9 | 159.9 | 85.2 | 113.1 | 125.1 | 99.3 | 102 | 108.4 | 134.6 | 125.2 | 111.7 | 97.53 | 100.8 | 96.32 | 78.23 | 108.6 | 66.85 | 74.43 | 54.44 | 71.25 | 107.4 | 68.41 | 41.93 | 27.33 | 37.87 | 29.42 | 26.79 | 31.52 | 41.99 | 85.99 | 711.1 | 9999.9 | 9999.9
455 | 99.3 | 539.9 | 995.5 | 164.8 | 139.3 | 89.48 | 88.88 | 136.3 | 67.12 | 85.82 | 83.14 | 127.1 | 116.2 | 130.8 | 139.7 | 107.5 | 101.2 | 93.71 | 105 | 104.1 | 117.8 | 96.9 | 93.02 | 98.92 | 109.9 | 106.1 | 105.4 | 94.68 | 98.92 | 100.8 | 65.03 | 67.73 | 57.76 | 48.13 | 83.78 | 79.27 | 47.36 | 33.2 | 31.25 | 25.53 | 24.53 | 28.89 | 27.69 | 36.49 | 83.85 | 719.5 | 9999.9
460 | 115.3 | 140.9 | 1415 | 685.5 | 100.9 | 112.8 | 93.92 | 63.61 | 135.6 | 79.7 | 86.15 | 138.5 | 124.8 | 132 | 127.2 | 121.7 | 89.5 | 117.9 | 112.4 | 88.58 | 106.3 | 103.1 | 105.8 | 96.2 | 109.4 | 97.37 | 80.01 | 93.39 | 79.82 | 112.7 | 70.99 | 71.26 | 59.15 | 50.61 | 40.17 | 75.92 | 81.08 | 34.92 | 28.65 | 31.81 | 29.26 | 31.84 | 27.1 | 26.86 | 32.52 | 82.07 | 702.4
465 | 108.9 | 123.7 | 885.9 | 1618 | 149.3 | 139.1 | 93.02 | 120.8 | 139.4 | 132.6 | 96.71 | 91.15 | 129.5 | 167.4 | 156.6 | 107.9 | 97.53 | 91.58 | 77.65 | 88.92 | 120.8 | 111.7 | 96.86 | 103.1 | 105.5 | 82.36 | 93.54 | 84.38 | 77.98 | 87.67 | 66.89 | 65.92 | 59.98 | 53.83 | 40.74 | 47.41 | 69.59 | 65.78 | 34.84 | 26.28 | 22.58 | 25.56 | 28.18 | 28.79 | 29.25 | 31.72 | 76.67
470 | 104 | 116 | 234.3 | 2000 | 990.8 | 95.06 | 101.1 | 134.3 | 114 | 118.2 | 90.91 | 83.2 | 151.2 | 108.2 | 113.2 | 123.6 | 93.54 | 64.47 | 102.2 | 69.43 | 111 | 105.2 | 104.9 | 84.08 | 108.3 | 77.14 | 86.08 | 88.2 | 78.43 | 74.89 | 45.8 | 63.05 | 41.79 | 49.68 | 42.26 | 33.37 | 43.78 | 68.23 | 48.18 | 32.88 | 30.32 | 26.07 | 29.06 | 27.39 | 26.02 | 29.51 | 31.57
475 | 104.9 | 111.5 | 116.7 | 1420 | 2360 | 196 | 124.9 | 108.5 | 89.4 | 61.57 | 115.5 | 127.9 | 112.6 | 120.5 | 98.68 | 123.6 | 92.69 | 87.9 | 100.8 | 70.18 | 86.66 | 94.62 | 107.7 | 96.62 | 95.58 | 88.4 | 74.35 | 78.9 | 69.16 | 68.65 | 66.25 | 53.69 | 39.32 | 43.75 | 34.82 | 32.17 | 31.78 | 48.84 | 58.48 | 32.54 | 25.14 | 21.61 | 25.3 | 20.17 | 22.41 | 24.79 | 24.34
480 | 123.1 | 108.5 | 111.8 | 335 | 3228 | 1164 | 92.26 | 71.88 | 120 | 99.04 | 142.5 | 101.5 | 104.8 | 98.15 | 120.1 | 106.1 | 95.31 | 82.04 | 108.9 | 97.73 | 69.03 | 105.3 | 81.64 | 85 | 82.19 | 80.1 | 76.06 | 74.74 | 56.4 | 60.62 | 58.61 | 42.7 | 47.07 | 41.82 | 34.03 | 36.85 | 32.54 | 25.78 | 46.73 | 53.11 | 32.47 | 21.72 | 20.15 | 20.8 | 21.9 | 18.58 | 19.63
485 | 99.7 | 142 | 125.7 | 168.4 | 1950 | 3105 | 188.7 | 84.45 | 68.49 | 122.3 | 111.6 | 97.8 | 105 | 104.9 | 105 | 114.9 | 98.39 | 101.2 | 92.35 | 74.59 | 90.37 | 76.35 | 81.19 | 77 | 76.84 | 83.89 | 59.4 | 73.88 | 65.87 | 72.05 | 45.74 | 59.83 | 56.79 | 38.58 | 39.2 | 29.55 | 28.63 | 28.89 | 32.18 | 51.87 | 39.21 | 25.8 | 20.51 | 20.92 | 25.08 | 21.53 | 15.76
490 | 119 | 121.7 | 126.3 | 112.2 | 434.4 | 3910 | 1014 | 154.1 | 89.86 | 69.63 | 83.17 | 101.9 | 86.85 | 94.21 | 97.22 | 100.7 | 94.01 | 70.95 | 77.32 | 96.72 | 76.34 | 66.7 | 81.31 | 72.81 | 73.43 | 55.93 | 65.16 | 73.96 | 51.64 | 45.88 | 56.92 | 42.82 | 38.3 | 34.12 | 41.35 | 30.21 | 27.64 | 22.54 | 32.81 | 32.06 | 46.2 | 30.52 | 21.74 | 18.34 | 20.06 | 21.92 | 14.66
495 | 90.98 | 106.6 | 99.37 | 84.26 | 132 | 2492 | 3161 | 177.8 | 99.68 | 96.64 | 82.91 | 114.8 | 104.9 | 145.9 | 130.9 | 86.96 | 78.69 | 107.5 | 77.5 | 72.67 | 71.8 | 86.91 | 87.01 | 84.95 | 61.34 | 79.06 | 72.99 | 53.81 | 49.74 | 51.64 | 51.91 | 46.05 | 37.98 | 35.75 | 34.51 | 25.05 | 32.8 | 28.34 | 27.92 | 28.01 | 41.66 | 47.38 | 24.59 | 20.82 | 21.16 | 22.81 | 15.85
500 | 88.89 | 79.95 | 98.44 | 130.3 | 135.1 | 743.8 | 4106 | 759.1 | 97.36 | 87.69 | 118.4 | 115.6 | 88.98 | 114.3 | 93.38 | 97.54 | 107.3 | 81.79 | 69.4 | 90.17 | 60.38 | 72.93 | 75.65 | 76.42 | 76.4 | 76.46 | 51.68 | 56.6 | 59.52 | 51.78 | 55.19 | 50.75 | 43.87 | 37.19 | 32.83 | 26 | 24.53 | 28.61 | 29.44 | 21.98 | 29.67 | 48.33 | 36.26 | 22.24 | 21.83 | 18.61 | 17.93