## Sheet1
Report date: | 14:53:08, 04/17/2024
Sample: | 1
File name:
Run date: | 14:50:20, 04/17/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 220.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/260.0 | 44.16
2 | 225.0/275.0 | 45.25
3 | 225.0/285.0 | 61.04
4 | 225.0/300.0 | 61.61
5 | 225.0/310.0 | 59.32
6 | 225.0/335.0 | 61.8
7 | 225.0/355.0 | 48.86
8 | 225.0/370.0 | 66.68
9 | 230.0/255.0 | 60.24
10 | 230.0/290.0 | 66.1
11 | 230.0/305.0 | 50.37
12 | 230.0/395.0 | 65.07
13 | 230.0/415.0 | 59.11
14 | 235.0/275.0 | 52.72
15 | 235.0/330.0 | 58.93
16 | 235.0/375.0 | 89.08
17 | 235.0/410.0 | 45.44
18 | 235.0/440.0 | 53.84
19 | 240.0/260.0 | 84.8
20 | 240.0/300.0 | 70.29
21 | 240.0/320.0 | 64.37
22 | 240.0/345.0 | 54.45
23 | 240.0/370.0 | 56.33
24 | 240.0/390.0 | 64.4
25 | 240.0/400.0 | 52.71
26 | 240.0/420.0 | 59.48
27 | 240.0/430.0 | 59.27
28 | 245.0/265.0 | 84.16
29 | 245.0/285.0 | 34.52
30 | 245.0/305.0 | 55.82
31 | 245.0/340.0 | 77.42
32 | 245.0/350.0 | 47.85
33 | 245.0/380.0 | 48.28
34 | 245.0/445.0 | 52
35 | 250.0/295.0 | 64.41
36 | 250.0/310.0 | 53.13
37 | 250.0/360.0 | 45.02
38 | 250.0/375.0 | 58.46
39 | 250.0/390.0 | 55.32
40 | 255.0/280.0 | 130.6
41 | 255.0/320.0 | 55.09
42 | 255.0/335.0 | 71.53
43 | 255.0/355.0 | 87.53
44 | 255.0/370.0 | 55.75
45 | 255.0/420.0 | 52.6
46 | 255.0/430.0 | 45.05
47 | 260.0/285.0 | 105.3
48 | 260.0/330.0 | 89.49
49 | 260.0/340.0 | 59.62
50 | 260.0/375.0 | 71.42
51 | 260.0/400.0 | 58.12
52 | 260.0/425.0 | 37.91
53 | 260.0/445.0 | 40.72
54 | 260.0/485.0 | 42.39
55 | 265.0/310.0 | 84.13
56 | 265.0/345.0 | 71.63
57 | 265.0/405.0 | 49.14
58 | 265.0/450.0 | 55.36
59 | 265.0/465.0 | 41.85
60 | 265.0/480.0 | 33.77
61 | 270.0/295.0 | 203.8
62 | 270.0/385.0 | 60.79
63 | 270.0/395.0 | 52.55
64 | 270.0/410.0 | 63.76
65 | 270.0/435.0 | 67.49
66 | 270.0/470.0 | 39.36
67 | 275.0/305.0 | 236.6
68 | 275.0/335.0 | 136.1
69 | 275.0/350.0 | 89.12
70 | 275.0/420.0 | 59.5
71 | 280.0/255.0 | 21.68
72 | 280.0/310.0 | 383
73 | 280.0/330.0 | 101.4
74 | 280.0/410.0 | 70.6
75 | 280.0/450.0 | 54.74
76 | 280.0/460.0 | 59.54
77 | 280.0/480.0 | 43
78 | 285.0/315.0 | 359.1
79 | 285.0/340.0 | 140.1
80 | 285.0/375.0 | 145.7
81 | 285.0/435.0 | 63.99
82 | 285.0/455.0 | 49.71
83 | 285.0/485.0 | 43.46
84 | 290.0/320.0 | 362.2
85 | 290.0/360.0 | 116.2
86 | 290.0/440.0 | 66.53
87 | 290.0/470.0 | 54.34
88 | 295.0/255.0 | 45.38
89 | 295.0/330.0 | 324.6
90 | 295.0/385.0 | 88.96
91 | 295.0/395.0 | 89.24
92 | 295.0/405.0 | 79.99
93 | 295.0/430.0 | 75.41
94 | 295.0/460.0 | 74.81
95 | 295.0/490.0 | 31.8
96 | 300.0/335.0 | 348.7
97 | 300.0/400.0 | 77.77
98 | 300.0/420.0 | 82.59
99 | 300.0/450.0 | 64.67
100 | 305.0/265.0 | 26.88
101 | 305.0/280.0 | 33.55
102 | 305.0/340.0 | 416.3
103 | 305.0/395.0 | 92
104 | 305.0/470.0 | 51.52
105 | 305.0/480.0 | 45.14
106 | 310.0/345.0 | 358.6
107 | 310.0/375.0 | 80.27
108 | 310.0/390.0 | 74.19
109 | 310.0/400.0 | 74.52
110 | 310.0/410.0 | 79.1
111 | 310.0/430.0 | 78.16
112 | 310.0/475.0 | 41.65
113 | 315.0/280.0 | 21.17
114 | 315.0/370.0 | 81.22
115 | 315.0/385.0 | 67.61
116 | 315.0/405.0 | 75.48
117 | 315.0/465.0 | 66.59
118 | 315.0/485.0 | 43.41
119 | 320.0/260.0 | 23.27
120 | 320.0/295.0 | 28.74
121 | 320.0/360.0 | 313.4
122 | 320.0/400.0 | 75.93
123 | 320.0/425.0 | 68.27
124 | 320.0/455.0 | 65.89
125 | 320.0/475.0 | 56.33
126 | 320.0/495.0 | 43.4
127 | 325.0/255.0 | 15.53
128 | 325.0/285.0 | 21.61
129 | 325.0/365.0 | 281.9
130 | 325.0/405.0 | 83.45
131 | 325.0/420.0 | 88.48
132 | 325.0/440.0 | 77.55
133 | 325.0/450.0 | 73.37
134 | 330.0/370.0 | 234
135 | 330.0/395.0 | 77.07
136 | 330.0/425.0 | 74.43
137 | 335.0/265.0 | 19.73
138 | 335.0/295.0 | 16.07
139 | 335.0/380.0 | 255.6
140 | 335.0/400.0 | 67.05
141 | 335.0/410.0 | 67.53
142 | 335.0/445.0 | 65.54
143 | 335.0/465.0 | 56.76
144 | 335.0/490.0 | 38.41
145 | 340.0/310.0 | 20.76
146 | 340.0/385.0 | 230.1
147 | 340.0/440.0 | 63.43
148 | 340.0/455.0 | 55.49
149 | 340.0/470.0 | 47.33
150 | 345.0/260.0 | 16.12
151 | 345.0/285.0 | 21.16
152 | 345.0/390.0 | 219
153 | 345.0/480.0 | 35.68
154 | 350.0/395.0 | 166.4
155 | 350.0/420.0 | 57.33
156 | 350.0/445.0 | 55.05
157 | 350.0/475.0 | 39.93
158 | 350.0/490.0 | 26.15
159 | 355.0/285.0 | 14.52
160 | 355.0/300.0 | 15.72
161 | 355.0/310.0 | 12.6
162 | 355.0/405.0 | 156.1
163 | 355.0/455.0 | 34.54
164 | 355.0/465.0 | 36.67
165 | 355.0/495.0 | 22.14
166 | 360.0/255.0 | 12.72
167 | 360.0/410.0 | 168.4
168 | 365.0/295.0 | 11.76
169 | 365.0/305.0 | 9.744
170 | 365.0/340.0 | 15.3
171 | 365.0/415.0 | 127.2
172 | 365.0/480.0 | 29.32
173 | 365.0/490.0 | 21.25
174 | 370.0/300.0 | 8.792
175 | 370.0/315.0 | 9.571
176 | 370.0/325.0 | 12.06
177 | 370.0/425.0 | 112.2
178 | 370.0/450.0 | 26.65
179 | 370.0/465.0 | 29.4
180 | 370.0/495.0 | 18.19
181 | 375.0/275.0 | 13.27
182 | 375.0/290.0 | 6.71
183 | 375.0/310.0 | 8.248
184 | 375.0/430.0 | 114.2
185 | 375.0/470.0 | 22.9
186 | 375.0/490.0 | 23.85
187 | 380.0/405.0 | 19.84
188 | 380.0/415.0 | 27.45
189 | 380.0/440.0 | 80.89
190 | 380.0/475.0 | 20.69
191 | 385.0/290.0 | 6.899
192 | 385.0/315.0 | 7.775
193 | 385.0/335.0 | 10.66
194 | 385.0/355.0 | 9.854
195 | 385.0/445.0 | 68.73
196 | 390.0/285.0 | 7.826
197 | 390.0/310.0 | 7.4
198 | 390.0/340.0 | 8.627
199 | 390.0/450.0 | 72.49
200 | 395.0/270.0 | 6.678
201 | 395.0/290.0 | 7.224
202 | 395.0/455.0 | 54.45
203 | 395.0/480.0 | 11.72
204 | 400.0/280.0 | 8.852
205 | 400.0/310.0 | 7.274
206 | 400.0/325.0 | 6.303
207 | 400.0/350.0 | 7.971
208 | 400.0/465.0 | 50.61
209 | 405.0/260.0 | 8.589
210 | 405.0/295.0 | 4.817
211 | 405.0/320.0 | 6.235
212 | 405.0/470.0 | 48.61
213 | 410.0/290.0 | 8.897
214 | 410.0/305.0 | 6.687
215 | 410.0/335.0 | 5.849
216 | 410.0/355.0 | 4.451
217 | 410.0/480.0 | 35.5
218 | 415.0/270.0 | 5.32
219 | 415.0/285.0 | 5.878
220 | 415.0/295.0 | 6.792
221 | 415.0/350.0 | 5.941
222 | 415.0/485.0 | 35.26
223 | 420.0/300.0 | 6.999
224 | 420.0/345.0 | 6.994
225 | 420.0/365.0 | 5.383
226 | 420.0/450.0 | 10.9
227 | 420.0/460.0 | 9.994
228 | 420.0/490.0 | 29.72
229 | 425.0/295.0 | 6.933
230 | 425.0/315.0 | 4.977
231 | 425.0/330.0 | 4.89
232 | 425.0/390.0 | 6.413
233 | 425.0/465.0 | 8.341
234 | 430.0/260.0 | 4.882
235 | 430.0/275.0 | 4.358
236 | 430.0/290.0 | 4.876
237 | 430.0/310.0 | 4.672
238 | 430.0/325.0 | 4.919
239 | 430.0/335.0 | 4.82
240 | 430.0/350.0 | 4.79
241 | 430.0/370.0 | 4.257
242 | 435.0/285.0 | 5.426
243 | 435.0/300.0 | 5.322
244 | 435.0/320.0 | 5.953
245 | 435.0/340.0 | 4.669
246 | 435.0/355.0 | 5.492
247 | 435.0/480.0 | 6.214
248 | 440.0/305.0 | 4.909
249 | 440.0/470.0 | 7.818
250 | 445.0/330.0 | 4.7
251 | 445.0/475.0 | 6.936
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 43.23 | 29.22 | 47.89 | 49.59 | 60.63 | 1067 | 3233 | 889.2 | 17.82 | 26.37 | 15.3 | 21.63 | 18.13 | 19.75 | 21.14 | 22.11 | 16.38 | 35.56 | 24.07 | 8.318 | 21.95 | 9.07 | 10.37 | 10.11 | 7.462 | 10.08 | 10.73 | 8.775 | 9.883 | 8.45 | 11.87 | 4.526 | 7.937 | 4.207 | 3.615 | 5.079 | 4.194 | 3.305 | 4.352 | 4.774 | 5.269 | 6.496 | 3.455 | 3.566 | 3.523 | 2.623 | 1.579
255 | 23.67 | 41.04 | 60.24 | 55.51 | 47.45 | 104.1 | 942.8 | 3687 | 1591 | 79.56 | 11.85 | 15.34 | 21.68 | 9.747 | 6.13 | 45.38 | 16.36 | 30.36 | 11.4 | 10.16 | 9.214 | 15.53 | 5.131 | 18.05 | 8.801 | 11.22 | 9.373 | 8.152 | 12.72 | 6.671 | 9.511 | 5.852 | 6.938 | 5.763 | 5.725 | 3.31 | 6.113 | 6.112 | 5.665 | 3.929 | 1.66 | 1.405 | 3.692 | 3.444 | 1.542 | 2.735 | 2.463
260 | 39.62 | 44.16 | 31.97 | 71.12 | 84.8 | 69.37 | 95.24 | 1120 | 4392 | 2465 | 90.49 | 32.47 | 16.57 | 14.86 | 6.078 | 15.16 | 15.28 | 21.07 | 10.4 | 10.82 | 23.27 | 14.09 | 14.18 | 13.9 | 11.61 | 16.12 | 10.12 | 7.832 | 8.314 | 6.875 | 10.99 | 7.355 | 6.349 | 7.643 | 2.789 | 3.805 | 6.698 | 8.589 | 2.605 | 2.777 | 2.575 | 4.501 | 4.882 | 3.672 | 3.606 | 4.081 | 2.453
265 | 24.51 | 22.99 | 13.82 | 40.91 | 57.59 | 84.16 | 54.33 | 99.8 | 1457 | 6000 | 3344 | 126.5 | 16.62 | 22.63 | 9.602 | 10.77 | 24.3 | 26.88 | 18.22 | 10.51 | 21.15 | 16.19 | 15.15 | 19.73 | 17 | 7.779 | 6.573 | 8.272 | 5.132 | 5.936 | 7.814 | 10.1 | 7.895 | 7.882 | 8.385 | 4.705 | 3.315 | 4.847 | 3.388 | 3.265 | 3.109 | 2.032 | 3.253 | 1.95 | 3.109 | 3.46 | 2.134
270 | 58.68 | 13.92 | 42.89 | 28.23 | 23.83 | 72.13 | 74.16 | 38.6 | 118 | 1694 | 7122 | 3722 | 164 | 15.83 | 36.9 | 28.69 | 16.86 | 23.91 | 12.43 | 15.11 | 21.1 | 16.29 | 12.56 | 8.141 | 11.62 | 11.85 | 10.76 | 7.972 | 4.748 | 7.072 | 4.119 | 9.739 | 3.867 | 3.9 | 3.116 | 6.678 | 3.045 | 3.644 | 4.146 | 5.32 | 4.477 | 2.97 | 3.408 | 3.184 | 3.797 | 3.756 | 4.028
275 | 42.37 | 45.25 | 13.86 | 52.72 | 20.36 | 54.39 | 97.97 | 119.6 | 20.77 | 127.2 | 1971 | 8884 | 4808 | 167.5 | 19.41 | 22.79 | 22.37 | 13.3 | 2.741 | 16.04 | 15.91 | 16.05 | 8.836 | 6.668 | 12.16 | 20.54 | 11.51 | 7.703 | 6.19 | 8.577 | 10.51 | 13.27 | 10.38 | 6.14 | 6.917 | 2.354 | 5.04 | 3.328 | 4.411 | 2.916 | 3.052 | 2.933 | 4.358 | 3.939 | 2.408 | 3.263 | 1.998
280 | 43.74 | 19.18 | 13.02 | 30.48 | 25.91 | 18.25 | 40.02 | 130.6 | 58.8 | 37.31 | 147.7 | 2432 | 9999.9 | 5439 | 192.5 | 25.82 | 27.28 | 33.55 | 3.551 | 21.17 | 15.23 | 17.06 | 8.453 | 15.91 | 9.08 | 20.31 | 4.327 | 9.625 | 6.876 | 4.398 | 8.51 | 12.62 | 9.381 | 10.38 | 4.487 | 5.657 | 8.852 | 3.055 | 4.636 | 3.952 | 3.842 | 3.121 | 2.68 | 4.576 | 1.602 | 3.167 | 2.851
285 | 30 | 61.04 | 14.35 | 43.06 | 18.8 | 34.52 | 17.57 | 69.43 | 105.3 | 79.65 | 57.24 | 191 | 2884 | 9999.9 | 7229 | 178.2 | 36.31 | 21.18 | 22.7 | 19.66 | 17.19 | 21.61 | 14.82 | 15.98 | 14.15 | 21.16 | 9.506 | 14.52 | 6.249 | 9.978 | 9.444 | 5.092 | 6.801 | 2.132 | 7.826 | 5.309 | 5.013 | 5.366 | 3.856 | 5.878 | 3.699 | 2.983 | 4.305 | 5.426 | 2.231 | 4.156 | 3.712
290 | 27.46 | 46.4 | 66.1 | 57.84 | 63.64 | 23.55 | 42.87 | 49.9 | 80.32 | 152.2 | 127.1 | 37.88 | 241.4 | 3230 | 9999.9 | 7558 | 137.9 | 28.58 | 22.22 | 22.48 | 23.34 | 15.79 | 10.01 | 9.83 | 9.996 | 5.861 | 6.349 | 7.66 | 8.506 | 10.77 | 4.329 | 6.71 | 5.13 | 6.899 | 4.787 | 7.224 | 2.508 | 3.25 | 8.897 | 3.675 | 1.297 | 3.192 | 4.876 | 2.704 | 3.469 | 2.042 | 2.97
295 | 35.41 | 47.88 | 64.31 | 29.25 | 28.28 | 37.65 | 64.41 | 29.45 | 75.55 | 176.9 | 203.8 | 68.26 | 78.86 | 279.4 | 3523 | 9999.9 | 7645 | 194.2 | 21.83 | 22.51 | 28.74 | 7.529 | 6.93 | 16.07 | 12.98 | 8.261 | 3.803 | 9.091 | 10.61 | 11.76 | 5.629 | 6.268 | 4.624 | 5.152 | 5.304 | 5.972 | 2.378 | 4.817 | 3.022 | 6.792 | 2.23 | 6.933 | 4.145 | 3.593 | 2.947 | 2.439 | 3.849
300 | 33.08 | 61.61 | 31.32 | 42.23 | 70.29 | 34.7 | 53.66 | 44.7 | 48.07 | 50.3 | 190.8 | 232.5 | 75.47 | 74.94 | 272.8 | 3822 | 9999.9 | 8163 | 228.5 | 19.07 | 21.85 | 12.71 | 18.35 | 12.86 | 15.72 | 12.76 | 10.74 | 15.72 | 8.709 | 5.712 | 8.792 | 5.099 | 4.717 | 4.735 | 3.758 | 4.357 | 2.221 | 2.917 | 3.984 | 3.896 | 6.999 | 2.835 | 3.604 | 5.322 | 1.826 | 3.477 | 2.469
305 | 31.93 | 27.1 | 50.37 | 18.46 | 52.12 | 55.82 | 26.63 | 27.08 | 58.1 | 63.15 | 86.99 | 236.6 | 226.4 | 69.98 | 77.22 | 277.4 | 4249 | 9999.9 | 9005 | 159.6 | 20.29 | 15.72 | 16.15 | 6.549 | 15.56 | 7.283 | 8.555 | 9.31 | 5.695 | 9.744 | 3.605 | 3.128 | 2.878 | 5.012 | 3.723 | 4.051 | 5.01 | 3.711 | 6.687 | 4.822 | 5.703 | 1.718 | 3.157 | 3.636 | 4.909 | 3.526 | 1.332
310 | 44.84 | 59.32 | 43.62 | 46.86 | 16.2 | 44.59 | 53.13 | 21.52 | 41.63 | 84.13 | 54.73 | 129.8 | 383 | 153.1 | 86.31 | 59.77 | 308.8 | 4252 | 9999.9 | 8663 | 189.7 | 15.47 | 20.15 | 16.93 | 20.76 | 18.51 | 6.573 | 12.6 | 6.07 | 6.535 | 6.391 | 8.248 | 1.372 | 6.88 | 7.4 | 4.132 | 7.274 | 4.944 | 3.84 | 4.485 | 6.103 | 2.965 | 4.672 | 2.463 | 2.827 | 2.197 | 3.218
315 | 44.8 | 45.34 | 40.61 | 39.74 | 27.84 | 33.47 | 40.06 | 45.62 | 42.07 | 54.21 | 38.98 | 64.86 | 178.5 | 359.1 | 130.4 | 67.46 | 80.17 | 314.6 | 4723 | 9999.9 | 8639 | 198.3 | 19.86 | 16.6 | 8.17 | 6.956 | 7.451 | 5.421 | 3.499 | 9.027 | 9.571 | 6.348 | 6.434 | 7.775 | 6.611 | 4.778 | 6.393 | 5.645 | 3.773 | 3.716 | 4.055 | 4.977 | 2.298 | 1.066 | 4.005 | 5.149 | 4.178
320 | 20.08 | 36.45 | 30.07 | 36.48 | 64.37 | 61.62 | 49.81 | 55.09 | 47.66 | 61.2 | 58.56 | 82.34 | 85.33 | 247.3 | 362.2 | 103.9 | 92.71 | 76.24 | 361 | 4553 | 9999.9 | 8745 | 144.6 | 20.05 | 23.11 | 8.99 | 7.976 | 9.014 | 5.621 | 5.946 | 6.484 | 2.936 | 4.54 | 4.033 | 6.037 | 3.77 | 4.951 | 6.235 | 4.338 | 4.289 | 3.616 | 3.717 | 3.399 | 5.953 | 5.438 | 5.126 | 3.111
325 | 19.14 | 24.31 | 15.23 | 18.54 | 59.01 | 49.51 | 45.13 | 51.39 | 34.67 | 47.82 | 76.95 | 58.74 | 100.8 | 114.9 | 314.8 | 238.2 | 98.81 | 57.35 | 77.01 | 345.5 | 4815 | 9999.9 | 8243 | 166.2 | 14.29 | 27.13 | 13.23 | 14.15 | 5.832 | 9.578 | 12.06 | 9.527 | 8.168 | 7.393 | 5.909 | 1.402 | 6.303 | 5.531 | 3.392 | 3.238 | 3.209 | 3.26 | 4.919 | 3.352 | 3.481 | 2.527 | 2.528
330 | 22.19 | 17.95 | 8.767 | 58.93 | 28.95 | 43.55 | 46.66 | 50.58 | 89.49 | 49.63 | 82.93 | 86.63 | 101.4 | 68.42 | 131.8 | 324.6 | 279.7 | 71.16 | 50.07 | 72.38 | 350.6 | 4792 | 9999.9 | 7296 | 133.4 | 22.68 | 15.77 | 11.48 | 3.467 | 9.153 | 10.63 | 8.824 | 3.08 | 5.51 | 3.465 | 4.048 | 3.048 | 5.01 | 4.568 | 4.529 | 3.564 | 4.89 | 2.094 | 3.536 | 4.658 | 4.7 | 3.146
335 | 30.01 | 61.8 | 45.77 | 18.56 | 18.22 | 66.34 | 54.84 | 71.53 | 42.67 | 61.23 | 98.19 | 136.1 | 95.54 | 112.2 | 144.8 | 180.3 | 348.7 | 207.1 | 79.82 | 69.84 | 62.08 | 335.1 | 4854 | 9999.9 | 7075 | 149.4 | 15.38 | 12.84 | 9.995 | 4.55 | 7.61 | 5.589 | 4.556 | 10.66 | 6.805 | 4.678 | 5.523 | 3.316 | 5.849 | 3.355 | 3.437 | 2.591 | 4.82 | 3.641 | 2.961 | 3.702 | 4.819
340 | 30.05 | 55.63 | 28.7 | 36.97 | 45.73 | 77.42 | 68.34 | 49.74 | 59.62 | 45.97 | 81.3 | 79.55 | 96.81 | 140.1 | 111.7 | 82.59 | 140.1 | 416.3 | 136.8 | 62.61 | 55.64 | 60.96 | 334.8 | 4331 | 9999.9 | 6561 | 147.4 | 11.39 | 14.31 | 15.3 | 4.89 | 5.097 | 3.55 | 3.557 | 8.627 | 6.905 | 6.635 | 4.014 | 4.264 | 2.332 | 3.902 | 3.37 | 4.226 | 4.669 | 3.331 | 4.416 | 1.983
345 | 23.3 | 59.3 | 39.91 | 44.14 | 54.45 | 38.78 | 55.9 | 44.07 | 52.37 | 71.63 | 66 | 73.6 | 105.6 | 127.5 | 96.91 | 97.65 | 99.08 | 270.5 | 358.6 | 119.5 | 47.72 | 23.08 | 47.59 | 317.4 | 4600 | 9999.9 | 6046 | 97.51 | 9.071 | 12.16 | 11.99 | 8.927 | 8.956 | 6.334 | 5.834 | 3.428 | 2.398 | 3.901 | 4.012 | 3.192 | 6.994 | 3.261 | 1.739 | 2.703 | 3 | 2.256 | 1.971
350 | 15.32 | 18.32 | 33.51 | 32.17 | 26.42 | 47.85 | 45.73 | 41.32 | 54.53 | 58.1 | 73.29 | 89.12 | 69.29 | 118.7 | 113.9 | 81.66 | 109.3 | 99.45 | 317.5 | 302.6 | 67.52 | 27.26 | 38.01 | 36.53 | 316.4 | 4394 | 9999.9 | 5846 | 103.4 | 11.85 | 11.51 | 10.73 | 5.209 | 7.382 | 7.059 | 3.52 | 7.971 | 5.936 | 2.575 | 5.941 | 5.503 | 3 | 4.79 | 4.524 | 2.791 | 1.204 | 1.081
355 | 31.98 | 48.86 | 15.65 | 42.93 | 10.63 | 40.98 | 25.28 | 87.53 | 44.79 | 31 | 50.36 | 78.42 | 88.64 | 96.54 | 94.23 | 101.1 | 77.59 | 62.08 | 116.9 | 281.6 | 230.2 | 52.1 | 29.58 | 50.8 | 42.27 | 315 | 3858 | 9999.9 | 5106 | 101.3 | 9.584 | 11.59 | 7.727 | 9.854 | 3.145 | 4.044 | 6.797 | 2.84 | 4.451 | 3.78 | 4.203 | 3.746 | 2.87 | 5.492 | 2.734 | 3.973 | 3.076
360 | 16.63 | 29.17 | 44.73 | 38.7 | 28.83 | 29.27 | 45.02 | 27.64 | 43.56 | 51.95 | 64.7 | 67.54 | 89.92 | 98.35 | 116.2 | 102.9 | 101.4 | 64.67 | 56.84 | 105.7 | 313.4 | 122.6 | 43.86 | 37.46 | 24.39 | 43.6 | 266.9 | 4260 | 9999.9 | 4725 | 79.75 | 9.861 | 8.326 | 7.18 | 7.587 | 2.957 | 6.023 | 3.642 | 2.52 | 4.223 | 3.685 | 3.869 | 2.677 | 2.377 | 2.455 | 4.103 | 2.589
365 | 48.01 | 39.44 | 48.67 | 49.68 | 30.61 | 40.28 | 37.86 | 35.82 | 34.15 | 37.27 | 59.07 | 67.57 | 83.25 | 108.9 | 114.8 | 72.45 | 86.4 | 56.8 | 45.18 | 72.33 | 167 | 281.9 | 105.9 | 29.02 | 27.63 | 27.47 | 42.65 | 291 | 4082 | 9999.9 | 4475 | 69.21 | 7.194 | 9.574 | 8.306 | 3.826 | 4.21 | 2.075 | 2.714 | 5.356 | 5.383 | 2.717 | 2.428 | 1.849 | 2.985 | 2.389 | 2.411
370 | 25.77 | 66.68 | 23.48 | 40.97 | 56.33 | 37.5 | 38.1 | 55.75 | 40.67 | 44.7 | 61.09 | 62.06 | 74 | 99.05 | 99.87 | 99.24 | 99.05 | 88.54 | 69.81 | 81.22 | 52.87 | 189.9 | 234 | 66.59 | 36.3 | 26.97 | 22.19 | 42.35 | 287.8 | 3513 | 9999.9 | 4346 | 57.61 | 11.44 | 4.872 | 7.609 | 7.212 | 7.05 | 3.519 | 3.092 | 3.741 | 4.007 | 4.257 | 3.355 | 1.936 | 3.511 | 3.766
375 | 11.3 | 40.25 | 34.79 | 89.08 | 42.32 | 44.45 | 58.46 | 22.11 | 71.42 | 59.99 | 44.45 | 68.06 | 70.47 | 145.7 | 69.23 | 89.15 | 93.4 | 60.12 | 80.27 | 63.43 | 52.21 | 95.79 | 216.1 | 204 | 58.41 | 36.3 | 23.09 | 28.72 | 45.4 | 253.2 | 3499 | 9999.9 | 4020 | 58.04 | 9.971 | 9.958 | 5.316 | 6.053 | 4.815 | 2.495 | 4.737 | 3.09 | 4.029 | 1.856 | 2.422 | 2.891 | 1.881
380 | 38.81 | 0.558 | 25.18 | 27.22 | 38.12 | 48.28 | 36.71 | 55.35 | 60.88 | 58.05 | 44.07 | 73.75 | 59.7 | 93.07 | 77.07 | 77.4 | 65.4 | 65.42 | 57.79 | 62.36 | 54.31 | 81.89 | 95.74 | 255.6 | 181.3 | 50.77 | 26.99 | 27.9 | 24.94 | 37.47 | 237.6 | 3362 | 9999.9 | 3420 | 56.45 | 9.139 | 6.151 | 7.117 | 5.638 | 5.023 | 3.11 | 1.769 | 1.911 | 2.678 | 3.265 | 2.104 | 2.002
385 | 60.1 | 19.1 | 18.99 | 44.26 | 44.06 | 46.92 | 53.69 | 35.1 | 31.44 | 49.13 | 60.79 | 49.79 | 58.14 | 79.4 | 67.1 | 88.96 | 60.52 | 41.55 | 63.85 | 67.61 | 59.2 | 71.41 | 56.27 | 107.4 | 230.1 | 112.1 | 31.21 | 26.68 | 22.34 | 25.12 | 29.98 | 233 | 3294 | 9999.9 | 2851 | 42.33 | 9.201 | 6.408 | 5.393 | 4.319 | 2.506 | 6.305 | 2.219 | 1.995 | 2.842 | 2.76 | 2.184
390 | 59.22 | 49.23 | 16.78 | 20.21 | 64.4 | 49.38 | 55.32 | 46.42 | 45.81 | 24.58 | 38.63 | 36.94 | 62.36 | 52.77 | 74.6 | 55.99 | 70.73 | 69.37 | 74.19 | 63.17 | 53.74 | 56.03 | 54.39 | 54.21 | 122.1 | 219 | 58.7 | 23.08 | 22.88 | 24.37 | 16.3 | 31.39 | 225.6 | 3053 | 9374 | 2868 | 43.66 | 8.537 | 5.804 | 3.849 | 5.485 | 6.413 | 3.855 | 2.634 | 3.776 | 2.788 | 1.757
395 | 29.01 | 25.46 | 65.07 | 46.99 | 39.79 | 48.14 | 41.76 | 44.2 | 14.24 | 34.51 | 52.55 | 40.91 | 48.1 | 48.88 | 36.72 | 89.24 | 69.65 | 92 | 57.16 | 54.2 | 71.54 | 64.75 | 77.07 | 62.44 | 48.69 | 150.4 | 166.4 | 58.3 | 26.49 | 24.12 | 23.59 | 11.83 | 23.47 | 210.2 | 3040 | 9599 | 2731 | 36.64 | 5.744 | 4.677 | 4.927 | 3.467 | 2.526 | 4.189 | 3.47 | 3.229 | 2.051
400 | 24.82 | 25.25 | 43.48 | 18.83 | 52.71 | 33.87 | 29.3 | 34.38 | 58.12 | 16.63 | 41.74 | 31.31 | 51.21 | 56.86 | 62.18 | 69.54 | 77.77 | 52.67 | 74.52 | 62.7 | 75.93 | 57.35 | 66.33 | 67.05 | 51.06 | 65.44 | 157.3 | 128.9 | 39.37 | 19.68 | 17.16 | 13.23 | 17.45 | 22.59 | 205.8 | 2964 | 8886 | 2158 | 29.28 | 7.441 | 3.817 | 1.764 | 3.637 | 5.624 | 4.192 | 2.051 | 2.179
405 | 10.35 | 29.13 | 45.63 | 33.09 | 50.55 | 28.38 | 28.86 | 34.13 | 36.6 | 49.14 | 39.51 | 44.75 | 48.52 | 55.24 | 74.33 | 79.99 | 55.44 | 54.01 | 64.82 | 75.48 | 62.78 | 83.45 | 51.69 | 45.88 | 49.59 | 47.96 | 74.31 | 156.1 | 130.1 | 17.28 | 19.23 | 12.49 | 19.84 | 11.81 | 26.91 | 200 | 2687 | 7516 | 2068 | 36.85 | 8.479 | 6.269 | 6.146 | 6.506 | 2.553 | 3.79 | 2.761
410 | 65.32 | 34.07 | 30.08 | 45.44 | 44.77 | 37.48 | 38.66 | 43.14 | 26.91 | 42.91 | 63.76 | 41 | 70.6 | 54.47 | 72.65 | 64.45 | 47.93 | 57.52 | 79.1 | 68.76 | 67.38 | 48.93 | 53.53 | 67.53 | 57.48 | 54.61 | 54.16 | 85.41 | 168.4 | 62.47 | 25.78 | 20.48 | 17.28 | 15.36 | 11.48 | 24.01 | 181.4 | 2572 | 6951 | 1909 | 33.2 | 5.87 | 3.964 | 4.537 | 2.105 | 6.782 | 3.806
415 | 32.62 | 11.87 | 59.11 | 42.84 | 36.98 | 23.45 | 46.27 | 41.14 | 24.32 | 41.22 | 37.54 | 36.01 | 41.68 | 38.84 | 36.06 | 45.98 | 51.44 | 70.34 | 72.07 | 66.85 | 55.3 | 65.41 | 63.67 | 60.8 | 58.7 | 52.08 | 40.86 | 51.34 | 111.4 | 127.2 | 41.03 | 16.75 | 27.45 | 11.71 | 14.13 | 9.319 | 19.4 | 171.9 | 2111 | 6073 | 2508 | 25.09 | 4.891 | 4.115 | 3.053 | 4.078 | 3.326
420 | 22.33 | 43.22 | 38.89 | 32.58 | 59.48 | 21.02 | 50.06 | 52.6 | 36.5 | 29.57 | 37.02 | 59.5 | 42.48 | 50.99 | 52.87 | 72.11 | 82.59 | 55.39 | 57.79 | 61.76 | 58.22 | 88.48 | 66.76 | 47.78 | 52.92 | 47.6 | 57.33 | 41.9 | 50.65 | 120.9 | 84.42 | 25.66 | 21.95 | 12.35 | 14.36 | 11.09 | 13.78 | 17.45 | 146.7 | 1922 | 9419 | 1693 | 18.39 | 6.222 | 5.13 | 4.671 | 4.208
425 | 66.67 | 47.63 | 35.58 | 33.57 | 42 | 20.53 | 28.99 | 28.02 | 37.91 | 32.31 | 36.43 | 58.55 | 32.66 | 28.73 | 35.78 | 60.33 | 63.59 | 50.06 | 59.21 | 58.45 | 68.27 | 62.46 | 74.43 | 53.56 | 54.8 | 45.34 | 39.56 | 45.72 | 33.95 | 60.08 | 112.2 | 70.15 | 22.23 | 17.78 | 16.77 | 11.05 | 12.18 | 10.14 | 16.91 | 131.7 | 3115 | 5715 | 1398 | 17.11 | 4.879 | 3.029 | 2.728
430 | 72.79 | 43.75 | 38.03 | 24.61 | 59.27 | 46.89 | 34.58 | 45.05 | 23.12 | 21.12 | 34.26 | 25.4 | 24.13 | 48.7 | 41.78 | 75.41 | 47.83 | 47.16 | 78.16 | 61.44 | 41.79 | 70.73 | 74.03 | 53.89 | 48.13 | 43.36 | 34.22 | 37.45 | 32.13 | 38.11 | 72.56 | 114.2 | 53.27 | 13.03 | 10.97 | 12.62 | 11.8 | 8.568 | 6.853 | 16.78 | 206 | 1949 | 4926 | 1221 | 15.76 | 4.781 | 4.235
435 | 140.1 | 52.47 | 18.71 | 16.87 | 31.76 | 41.25 | 36.36 | 28.53 | 33.65 | 34.69 | 67.49 | 58.38 | 49.31 | 63.99 | 41.59 | 48.79 | 50.53 | 60.85 | 62.05 | 55.99 | 59.96 | 70.76 | 55.55 | 54.61 | 51.27 | 43.66 | 44.98 | 33.62 | 38.25 | 28.75 | 29.28 | 81.77 | 76.15 | 33.29 | 17.12 | 16.01 | 13.66 | 9.262 | 9.782 | 9.595 | 22.11 | 132 | 1750 | 4508 | 1168 | 15.66 | 3.571
440 | 140.1 | 84.84 | 18.32 | 53.84 | 30.46 | 17.34 | 34.21 | 32.74 | 22.31 | 28.18 | 37.63 | 50.3 | 42.53 | 41.17 | 66.53 | 38.02 | 57.17 | 50.09 | 68.86 | 49.21 | 73.11 | 77.55 | 64.3 | 50.54 | 63.43 | 51.01 | 36.01 | 38.24 | 28.86 | 25.28 | 25.47 | 38.95 | 80.89 | 60.46 | 21.71 | 8.867 | 12.86 | 9.031 | 7.564 | 7.754 | 7.785 | 16.15 | 115.9 | 1560 | 4481 | 1080 | 13.07
445 | 86.41 | 209.9 | 45.7 | 31.68 | 24.15 | 52 | 30.77 | 32.05 | 40.72 | 31.11 | 27.92 | 34.18 | 24.39 | 29.64 | 39.51 | 45.99 | 35.28 | 42.49 | 35.37 | 66.68 | 72.57 | 58.54 | 44.97 | 65.54 | 56.78 | 47.4 | 55.05 | 40.83 | 29.44 | 33.92 | 19.72 | 30.39 | 48.67 | 68.73 | 51.67 | 20.62 | 11.23 | 10.16 | 6.792 | 8.701 | 8.306 | 6.266 | 14.09 | 108.2 | 1584 | 4142 | 1017
450 | 37.86 | 218.9 | 139 | 29.21 | 11.37 | 17.76 | 30.44 | 32.07 | 24.25 | 55.36 | 26.77 | 35.12 | 54.74 | 17.23 | 28.38 | 46.96 | 64.67 | 50.32 | 52.72 | 46.41 | 45.35 | 73.37 | 51.82 | 40.48 | 49.62 | 41.03 | 45.39 | 31.8 | 32.3 | 17.23 | 26.65 | 23.97 | 20.07 | 46.01 | 72.49 | 35.85 | 14.65 | 10.05 | 6.882 | 6.538 | 10.9 | 9.393 | 6.978 | 13.42 | 107.6 | 1478 | 4024
455 | 79.32 | 162.6 | 326.3 | 71.26 | 42.41 | 39.77 | 28.96 | 27.25 | 22.8 | 20.89 | 26.05 | 37.12 | 32.13 | 49.71 | 34.97 | 53.19 | 31.98 | 37.55 | 45.02 | 54.99 | 65.89 | 60.17 | 46.33 | 50.89 | 55.49 | 29.2 | 31.95 | 34.54 | 21.57 | 18.01 | 24.73 | 21.41 | 17.85 | 15.06 | 47.4 | 54.45 | 26.82 | 9.108 | 5.691 | 6.029 | 5.787 | 5.347 | 4.733 | 5.531 | 15.01 | 97.1 | 1368
460 | 50.27 | 28.28 | 371.9 | 127 | 47.02 | 35.01 | 36.26 | 30.47 | 27.05 | 32.28 | 21.64 | 17.95 | 59.54 | 29.39 | 20.16 | 74.81 | 53.26 | 42.47 | 42.7 | 40.2 | 55.11 | 50.63 | 35.46 | 36.96 | 46.28 | 29.32 | 30.32 | 30.7 | 29.41 | 23.17 | 25.1 | 20.41 | 17.68 | 13.75 | 20.06 | 47.13 | 49.55 | 13.14 | 9.267 | 7.909 | 9.994 | 6.142 | 5.605 | 6.367 | 9.347 | 12.05 | 90.4
465 | 29.95 | 34.1 | 199 | 410.6 | 44.82 | 32.31 | 14.97 | 30.31 | 37.11 | 41.85 | 29.84 | 20.11 | 47.6 | 28.94 | 53.9 | 20.01 | 36.01 | 34.59 | 31.68 | 66.59 | 44.71 | 33.73 | 41.78 | 56.76 | 46.75 | 30.76 | 22.91 | 36.67 | 29.61 | 24.52 | 29.4 | 18.01 | 21.32 | 14.11 | 8.008 | 21.11 | 50.61 | 31.11 | 12.01 | 8.179 | 5.409 | 8.341 | 4.459 | 5.19 | 6.542 | 4.724 | 11.35
470 | 31.97 | 4.265 | 89.26 | 481.6 | 219.1 | 57.62 | 31.31 | 33.73 | 14.04 | 6.464 | 39.36 | 39.23 | 17.45 | 22.05 | 54.34 | 15.17 | 27.93 | 51.52 | 32.23 | 41.66 | 44.37 | 25.15 | 28.42 | 34.86 | 47.33 | 30.51 | 37.74 | 24.81 | 24.43 | 17.49 | 17.93 | 22.9 | 13.65 | 12.76 | 12.54 | 17.06 | 30.29 | 48.61 | 26.39 | 6.15 | 6.016 | 6.786 | 5.983 | 4.776 | 7.818 | 5.372 | 6.794
475 | 40.91 | 31.75 | 28.4 | 325.8 | 464.5 | 34.51 | 24.69 | 19.89 | 16.04 | 5.445 | 23.86 | 21.96 | 39.75 | 32.81 | 42.15 | 27.59 | 32.12 | 34.16 | 41.65 | 31.25 | 56.33 | 43.62 | 43.38 | 33.71 | 37.45 | 30.41 | 39.93 | 32.74 | 23.65 | 22.4 | 20.99 | 18.67 | 20.69 | 13.8 | 14.46 | 8.488 | 19.11 | 36.73 | 34.94 | 17.05 | 10.39 | 9.194 | 5.927 | 5.264 | 5.683 | 6.936 | 3.521
480 | 54.32 | 45.44 | 31.68 | 74.99 | 667 | 195.5 | 31.24 | 31.94 | 32.35 | 33.77 | 27.42 | 14.03 | 43 | 32.02 | 39.42 | 20.18 | 34.68 | 45.14 | 34.93 | 39.51 | 41.3 | 37.15 | 26.98 | 29.46 | 26.33 | 35.68 | 28.62 | 30.95 | 19.47 | 29.32 | 21.02 | 20.81 | 15.6 | 15.57 | 10.33 | 11.72 | 9.9 | 15.15 | 35.5 | 31.28 | 9.311 | 6.563 | 4.802 | 6.214 | 3.682 | 5.372 | 3.267
485 | 41.52 | 43.64 | 10.79 | 52.03 | 415.8 | 630.8 | 39.26 | 37.12 | 42.39 | 21.6 | 25.63 | 12.49 | 14.29 | 43.46 | 33.37 | 21.1 | 32.17 | 29.57 | 17.71 | 43.41 | 39.53 | 29.87 | 25.51 | 23.02 | 25.92 | 25.9 | 18.77 | 14.96 | 17.9 | 16.16 | 18.67 | 21.79 | 20.87 | 14.57 | 12.48 | 5.44 | 9.826 | 8.774 | 19.99 | 35.26 | 22.72 | 9.493 | 5.641 | 4.338 | 4.022 | 5.43 | 6.014
490 | 44.84 | 35.4 | 38.52 | 27.02 | 106.7 | 758.7 | 306.5 | 16.02 | 34.03 | 25.5 | 12.31 | 24.97 | 30.78 | 30 | 21.85 | 31.8 | 27.89 | 22.47 | 22.42 | 30.23 | 32.73 | 28.75 | 32.32 | 38.41 | 32.45 | 23.18 | 26.15 | 20.22 | 20.3 | 21.25 | 16.34 | 23.85 | 18.19 | 16.27 | 9.396 | 10.74 | 8.609 | 9.373 | 10.28 | 24.81 | 29.72 | 13.37 | 8.906 | 5.874 | 6.027 | 3.525 | 3.449
495 | 4.238 | 15.09 | 66.68 | 37.57 | 44.58 | 440.3 | 771.5 | 43.05 | 9.349 | 30.73 | 12.8 | 32.51 | 30.02 | 20.43 | 8.825 | 26.1 | 26.54 | 52.38 | 37.17 | 41.28 | 43.4 | 27.46 | 25.53 | 26.36 | 28 | 20.44 | 20.56 | 22.14 | 16.83 | 17.31 | 18.19 | 11.09 | 11.52 | 12.02 | 5.977 | 9.851 | 5.147 | 9.109 | 9.936 | 10.82 | 23.7 | 27.82 | 8.784 | 3.704 | 6.14 | 3.794 | 5.185
500 | 52.83 | 100.5 | 38.42 | 62.7 | 26.36 | 105.3 | 856 | 246.6 | 7.742 | 33.94 | 26.09 | 32.67 | 32.22 | 11.55 | 23.76 | 19.58 | 25.82 | 22.27 | 22.31 | 19.28 | 20.88 | 28.11 | 36.15 | 26.86 | 31.09 | 17.63 | 21.86 | 16.79 | 19.76 | 15.44 | 13.29 | 14.33 | 13.33 | 9.659 | 8.548 | 11.09 | 11.57 | 7.081 | 8.248 | 8.303 | 17.3 | 28.77 | 15.21 | 6.731 | 7.25 | 5.004 | 4.114