## Sheet1
Report date: | 14:32:01, 04/09/2024
Sample: | 1
File name:
Run date: | 14:29:07, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/270.0 | 65.45
2 | 205.0/430.0 | 91.92
3 | 205.0/450.0 | 93.89
4 | 205.0/480.0 | 117.4
5 | 205.0/490.0 | 110
6 | 210.0/260.0 | 52.18
7 | 210.0/305.0 | 108.4
8 | 210.0/360.0 | 118
9 | 210.0/460.0 | 100.8
10 | 215.0/265.0 | 67.91
11 | 215.0/275.0 | 89.54
12 | 215.0/370.0 | 118.6
13 | 215.0/380.0 | 95.11
14 | 215.0/395.0 | 95.16
15 | 215.0/470.0 | 109.3
16 | 215.0/485.0 | 102.1
17 | 220.0/415.0 | 96.18
18 | 220.0/480.0 | 93.99
19 | 225.0/255.0 | 44.49
20 | 225.0/265.0 | 52.6
21 | 225.0/280.0 | 50.69
22 | 225.0/320.0 | 312.7
23 | 225.0/410.0 | 110
24 | 225.0/425.0 | 101.9
25 | 230.0/325.0 | 395.1
26 | 230.0/340.0 | 367.1
27 | 230.0/375.0 | 212.7
28 | 230.0/400.0 | 119.2
29 | 230.0/415.0 | 97.69
30 | 235.0/285.0 | 120.9
31 | 235.0/305.0 | 284.7
32 | 235.0/355.0 | 288.1
33 | 240.0/400.0 | 93.17
34 | 240.0/410.0 | 95.58
35 | 240.0/430.0 | 67.89
36 | 245.0/380.0 | 118.6
37 | 245.0/425.0 | 83.59
38 | 245.0/440.0 | 84.15
39 | 250.0/395.0 | 100.1
40 | 250.0/455.0 | 101.2
41 | 255.0/280.0 | 116.1
42 | 255.0/385.0 | 130.9
43 | 255.0/425.0 | 79.06
44 | 255.0/460.0 | 90.51
45 | 260.0/285.0 | 146.9
46 | 260.0/475.0 | 76.64
47 | 260.0/490.0 | 79.16
48 | 265.0/440.0 | 112.5
49 | 265.0/480.0 | 66.38
50 | 270.0/425.0 | 102.8
51 | 270.0/460.0 | 109.4
52 | 270.0/475.0 | 77.35
53 | 270.0/485.0 | 78.53
54 | 275.0/430.0 | 134.3
55 | 275.0/490.0 | 67.85
56 | 280.0/255.0 | 43.37
57 | 280.0/445.0 | 85.46
58 | 280.0/470.0 | 75.57
59 | 280.0/495.0 | 73.22
60 | 285.0/335.0 | 2434
61 | 285.0/440.0 | 101.1
62 | 285.0/460.0 | 95.2
63 | 285.0/480.0 | 79.37
64 | 290.0/255.0 | 35.15
65 | 290.0/450.0 | 91.06
66 | 290.0/470.0 | 66.41
67 | 295.0/260.0 | 44.14
68 | 300.0/480.0 | 51.84
69 | 305.0/260.0 | 25.23
70 | 305.0/470.0 | 64.14
71 | 305.0/490.0 | 52.29
72 | 310.0/270.0 | 27.36
73 | 310.0/465.0 | 53.33
74 | 310.0/480.0 | 53.31
75 | 315.0/265.0 | 18.04
76 | 315.0/285.0 | 32.41
77 | 315.0/355.0 | 229.3
78 | 315.0/405.0 | 59.31
79 | 315.0/475.0 | 45.89
80 | 315.0/485.0 | 45.03
81 | 320.0/360.0 | 241.6
82 | 320.0/415.0 | 56.64
83 | 320.0/455.0 | 44.67
84 | 325.0/365.0 | 213.9
85 | 330.0/270.0 | 14.54
86 | 330.0/370.0 | 186.8
87 | 330.0/390.0 | 88.49
88 | 330.0/420.0 | 112.3
89 | 330.0/465.0 | 59.93
90 | 335.0/260.0 | 18.98
91 | 335.0/380.0 | 198.4
92 | 340.0/255.0 | 14.9
93 | 340.0/280.0 | 16.22
94 | 340.0/385.0 | 194
95 | 340.0/445.0 | 47.7
96 | 340.0/455.0 | 41.28
97 | 340.0/490.0 | 34.48
98 | 345.0/390.0 | 184
99 | 345.0/430.0 | 43.06
100 | 350.0/275.0 | 13.41
101 | 350.0/395.0 | 144.4
102 | 350.0/450.0 | 40.36
103 | 350.0/460.0 | 34.68
104 | 350.0/480.0 | 36.32
105 | 355.0/285.0 | 17.45
106 | 355.0/295.0 | 14.29
107 | 355.0/405.0 | 144.3
108 | 355.0/465.0 | 35.05
109 | 355.0/485.0 | 27.95
110 | 355.0/495.0 | 27.26
111 | 360.0/275.0 | 11.89
112 | 360.0/310.0 | 14.81
113 | 360.0/410.0 | 128.5
114 | 360.0/455.0 | 34.1
115 | 360.0/475.0 | 31.99
116 | 365.0/305.0 | 17.7
117 | 365.0/415.0 | 128.5
118 | 365.0/490.0 | 29.72
119 | 370.0/425.0 | 111.2
120 | 370.0/450.0 | 31.67
121 | 370.0/460.0 | 30.75
122 | 375.0/265.0 | 14.28
123 | 375.0/280.0 | 10.92
124 | 375.0/315.0 | 12.92
125 | 375.0/430.0 | 95.85
126 | 380.0/285.0 | 11.38
127 | 380.0/295.0 | 10.32
128 | 380.0/310.0 | 10.96
129 | 380.0/435.0 | 86.89
130 | 380.0/490.0 | 23.93
131 | 385.0/290.0 | 10.41
132 | 385.0/305.0 | 10.7
133 | 385.0/445.0 | 78.94
134 | 390.0/300.0 | 9.827
135 | 390.0/340.0 | 15.23
136 | 390.0/450.0 | 65.72
137 | 390.0/480.0 | 19.38
138 | 395.0/280.0 | 13.1
139 | 395.0/315.0 | 9.599
140 | 395.0/455.0 | 55.77
141 | 400.0/290.0 | 10.12
142 | 400.0/325.0 | 8.818
143 | 400.0/460.0 | 50.53
144 | 405.0/270.0 | 10.11
145 | 405.0/285.0 | 9.669
146 | 405.0/300.0 | 9.25
147 | 405.0/340.0 | 9.348
148 | 405.0/440.0 | 20.59
149 | 405.0/470.0 | 46.72
150 | 410.0/260.0 | 8.959
151 | 410.0/290.0 | 8.986
152 | 410.0/330.0 | 7.603
153 | 410.0/345.0 | 10.79
154 | 410.0/365.0 | 12.12
155 | 410.0/480.0 | 35.11
156 | 415.0/270.0 | 9.042
157 | 415.0/485.0 | 34.87
158 | 420.0/280.0 | 8.799
159 | 420.0/295.0 | 9.158
160 | 420.0/490.0 | 32.12
161 | 425.0/255.0 | 7.522
162 | 425.0/265.0 | 7.332
163 | 425.0/325.0 | 7.806
164 | 425.0/370.0 | 8.034
165 | 430.0/310.0 | 9.087
166 | 435.0/290.0 | 8.514
167 | 435.0/320.0 | 10.14
168 | 435.0/390.0 | 9.516
169 | 440.0/295.0 | 8.226
170 | 440.0/325.0 | 8.872
171 | 440.0/385.0 | 9.394
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 65.77 | 63.98 | 30.37 | 47.03 | 43.37 | 34.81 | 90.04 | 42.24 | 67.47 | 2197 | 6952 | 2115 | 68.08 | 44.65 | 17.77 | 33.49 | 39.22 | 17.22 | 19.51 | 21.55 | 17.21 | 18.01 | 16.21 | 11.24 | 8.486 | 14.84 | 13.86 | 12.53 | 14.69 | 13.91 | 11.76 | 12.31 | 9.877 | 15.25 | 13.63 | 11.31 | 11.64 | 10.2 | 11.28 | 10.55 | 10.35 | 6.368 | 6.792 | 5.776 | 6.537 | 6.82 | 5.109 | 5.044 | 3.209 | 2.79 | 2.696
255 | 32.12 | 32.51 | 35.67 | 36.02 | 33.09 | 44.49 | 31.49 | 68.65 | 43.33 | 195.1 | 2069 | 8533 | 4782 | 181.1 | 48.13 | 31.34 | 43.37 | 20.44 | 35.15 | 20.6 | 17.19 | 19.25 | 14.89 | 16.21 | 12.99 | 11.29 | 12.19 | 14.01 | 14.9 | 11.18 | 10.5 | 10.2 | 11.39 | 10.69 | 11.81 | 12.18 | 9.099 | 10.37 | 8.286 | 8.085 | 7.584 | 6.304 | 7.548 | 7.083 | 5.007 | 7.522 | 6.126 | 4.812 | 4.498 | 5.138 | 3.501
260 | 36.47 | 42.9 | 52.18 | 23.85 | 46.58 | 24.64 | 33.02 | 47.47 | 70.94 | 63.51 | 182.6 | 2584 | 9999.9 | 6227 | 313.2 | 30.79 | 29.33 | 24.93 | 31.3 | 44.14 | 16.75 | 25.23 | 13.61 | 17.02 | 15.88 | 13.43 | 13.84 | 18.98 | 8.177 | 12.89 | 12.07 | 10.67 | 9.506 | 14.17 | 11.6 | 12.86 | 10.52 | 11 | 7.014 | 9.322 | 9.917 | 7.255 | 8.959 | 5.345 | 5.832 | 5.654 | 5.874 | 6.125 | 5.364 | 4.521 | 3.185
265 | 39.02 | 27.17 | 25.27 | 67.91 | 30.01 | 52.6 | 37.56 | 42.15 | 56.73 | 69.31 | 104.3 | 192.9 | 3403 | 9999.9 | 8426 | 280.5 | 26.45 | 43.87 | 37.13 | 21.38 | 19.11 | 16.81 | 14.4 | 18.04 | 14.13 | 9.197 | 13.41 | 14.43 | 8.223 | 8.071 | 11.33 | 6.728 | 9.822 | 8.725 | 10.64 | 14.28 | 13.72 | 11.67 | 9.753 | 8.602 | 7.23 | 7.315 | 8.484 | 5.624 | 6.042 | 7.332 | 5.824 | 5.485 | 5.892 | 5.685 | 6.069
270 | 45.67 | 65.45 | 35.06 | 40.21 | 51.54 | 34.02 | 34.56 | 28.72 | 63.56 | 87.65 | 103 | 60.64 | 238.1 | 4675 | 9999.9 | 9999.9 | 466.9 | 25.21 | 31.83 | 37.1 | 27.01 | 15.09 | 27.36 | 15.57 | 17.89 | 11.39 | 14.54 | 12.32 | 9.511 | 8.162 | 9.491 | 9.66 | 10.5 | 10.55 | 9.964 | 7.489 | 11.81 | 11.8 | 11.52 | 7.841 | 7.034 | 10.11 | 6.686 | 9.042 | 5.604 | 6.08 | 5.617 | 5.922 | 5.072 | 5.133 | 4.623
275 | 59.37 | 38.9 | 39.7 | 89.54 | 56.57 | 37.66 | 29.66 | 28.34 | 40.78 | 27.54 | 94.25 | 57.02 | 73.32 | 341.4 | 6100 | 9999.9 | 9999.9 | 440.1 | 46.51 | 32.11 | 23.11 | 23.48 | 15.02 | 21.35 | 18.7 | 14.75 | 10.98 | 14.65 | 15.11 | 10.99 | 13.41 | 10.11 | 11.89 | 11.28 | 7.066 | 8.857 | 7.966 | 9.386 | 10.27 | 11.54 | 7.105 | 6.505 | 5.602 | 5.924 | 8.116 | 6.021 | 6.558 | 5.617 | 6 | 6.136 | 5.546
280 | 68.9 | 49.23 | 43.03 | 67.01 | 43.19 | 50.69 | 38.27 | 43.92 | 46.81 | 44.74 | 67.61 | 116.1 | 82.76 | 64.19 | 463.9 | 8269 | 9999.9 | 9999.9 | 455.8 | 52.72 | 33.13 | 32.46 | 20.36 | 20.38 | 12.84 | 10.82 | 15.26 | 13.38 | 16.22 | 9.643 | 13.06 | 9.61 | 8.73 | 10.87 | 9.779 | 10.92 | 9.773 | 6.961 | 10.55 | 13.1 | 8.594 | 8.087 | 7.089 | 7.186 | 8.799 | 7.158 | 5.911 | 5.523 | 5.505 | 5.055 | 7.22
285 | 39.9 | 60.49 | 30.77 | 69.69 | 48.71 | 42.5 | 50.42 | 120.9 | 51.26 | 49.75 | 60.47 | 54.33 | 146.9 | 95.99 | 112.7 | 624.7 | 9999.9 | 9999.9 | 9999.9 | 560.1 | 46.85 | 46.29 | 22.38 | 32.41 | 23.14 | 19.59 | 17.78 | 15.3 | 14.09 | 11.92 | 10.28 | 17.45 | 10.55 | 7.806 | 9.895 | 8.418 | 11.38 | 8.115 | 7.581 | 7.292 | 8.356 | 9.669 | 6.521 | 6.669 | 7.604 | 6.501 | 7.894 | 7.94 | 7.427 | 7.178 | 5.403
290 | 36.93 | 32.67 | 48.41 | 58.09 | 51.35 | 73.52 | 110.8 | 95.05 | 57.66 | 57.47 | 54.26 | 75.49 | 129.7 | 233.3 | 164.2 | 306.7 | 885.3 | 9999.9 | 9999.9 | 9999.9 | 508.4 | 46.48 | 37.81 | 29.39 | 25.74 | 13.62 | 13.14 | 10.92 | 14.49 | 12.42 | 11.89 | 12.26 | 9.556 | 9.974 | 9.377 | 9.992 | 8.715 | 10.41 | 7.91 | 8.642 | 10.12 | 7.665 | 8.986 | 6.824 | 5.125 | 5.923 | 8.073 | 8.514 | 6.981 | 6.366 | 7.342
295 | 30.65 | 68.54 | 66.54 | 71.76 | 100.1 | 119.2 | 174.8 | 117.9 | 113.9 | 67.4 | 77.63 | 80.56 | 139.1 | 271.1 | 354 | 420.4 | 502.7 | 1061 | 9999.9 | 9999.9 | 9999.9 | 527.6 | 50.01 | 31.36 | 34.21 | 17.94 | 20.93 | 15.74 | 13.98 | 13.7 | 12.79 | 14.29 | 12.97 | 10.53 | 11.61 | 8.706 | 10.32 | 8.124 | 9.738 | 5.948 | 6.456 | 9.14 | 8.237 | 8.042 | 9.158 | 5.444 | 4.616 | 7.197 | 8.226 | 6.649 | 5.974
300 | 50.5 | 77.33 | 86.13 | 68.13 | 125.4 | 136 | 151.8 | 139.9 | 91.1 | 97.4 | 61.61 | 135.4 | 152.3 | 304.7 | 551 | 724.7 | 781.5 | 769.7 | 1154 | 9999.9 | 9999.9 | 9999.9 | 530 | 50.68 | 43.16 | 21.64 | 22.49 | 16.17 | 13.7 | 13.03 | 12.13 | 10.92 | 8.741 | 9.508 | 8.942 | 8.495 | 6.627 | 5.936 | 9.827 | 6.663 | 7.113 | 9.25 | 6.605 | 8.085 | 8.429 | 5.994 | 5.026 | 6.586 | 7.545 | 6.808 | 6.117
305 | 49.67 | 61.03 | 108.4 | 93.56 | 116 | 219.2 | 225.2 | 284.7 | 130.3 | 107.8 | 126.5 | 182.7 | 200.6 | 354.5 | 614.7 | 967 | 1102 | 1094 | 829.2 | 1068 | 9999.9 | 9999.9 | 9999.9 | 458 | 51.56 | 34.77 | 24.88 | 18.38 | 23.03 | 16.59 | 14.58 | 12.62 | 13.85 | 17.7 | 10.74 | 7.079 | 10.64 | 10.7 | 7.1 | 6.31 | 4.551 | 7.007 | 6.26 | 6.513 | 6.748 | 7.649 | 8.11 | 6.249 | 6.839 | 6.88 | 7.356
310 | 54.22 | 54.18 | 65.38 | 79.69 | 143.2 | 220.1 | 278 | 210.4 | 184.7 | 96.17 | 131.5 | 219.3 | 307.5 | 412.8 | 774.3 | 1204 | 1638 | 1436 | 1102 | 623.7 | 917.2 | 9999.9 | 9999.9 | 9999.9 | 491.4 | 52.9 | 34.67 | 23.43 | 20.56 | 21.43 | 16.64 | 13.2 | 14.81 | 14.54 | 10.44 | 9.261 | 10.96 | 9.608 | 8.158 | 7.433 | 5.947 | 6.327 | 6.108 | 5.991 | 7.496 | 7.242 | 9.087 | 6.105 | 7.169 | 8.196 | 7.338
315 | 81.09 | 65.41 | 75.44 | 102 | 137.9 | 285.5 | 271.4 | 303.6 | 189.6 | 132.1 | 136.9 | 223.6 | 353 | 604.3 | 919.6 | 1241 | 1661 | 1958 | 1377 | 778.1 | 411.5 | 800 | 9999.9 | 9999.9 | 9999.9 | 473.7 | 40.58 | 40.89 | 35.93 | 21.35 | 22.09 | 13.63 | 11.35 | 12.48 | 12.22 | 12.92 | 10.21 | 11.41 | 5.919 | 9.599 | 6.164 | 7.485 | 5.347 | 6.652 | 7.454 | 5.422 | 8.884 | 7.777 | 6.433 | 6.707 | 6.869
320 | 42.4 | 62.2 | 75.84 | 134.8 | 124.7 | 312.7 | 289.2 | 303 | 158.7 | 140.8 | 202.9 | 282.3 | 431.6 | 615.5 | 1022 | 1421 | 1821 | 1953 | 1853 | 997.9 | 419.3 | 224.9 | 753.8 | 9999.9 | 9999.9 | 9999.9 | 402.3 | 53.1 | 42.14 | 25.32 | 21.83 | 22.4 | 18.46 | 19.65 | 13.38 | 12.05 | 9.788 | 8.884 | 9.564 | 7.673 | 7.101 | 7.948 | 5.654 | 5.972 | 6.191 | 4.47 | 8.292 | 10.14 | 7.028 | 6.751 | 6.799
325 | 54.73 | 62.26 | 78.81 | 114.6 | 156.2 | 308.5 | 395.1 | 315 | 229 | 142.2 | 203.1 | 261.6 | 428.2 | 803.3 | 1150 | 1600 | 1961 | 2180 | 2014 | 1306 | 508.3 | 194.9 | 146.6 | 722.9 | 9999.9 | 9999.9 | 9999.9 | 384.9 | 61.72 | 35.26 | 26.74 | 19.53 | 20.69 | 15.5 | 14.26 | 10.93 | 10.24 | 10.71 | 7.721 | 6.67 | 8.818 | 7.363 | 5.724 | 5.786 | 5.264 | 7.806 | 5.618 | 6.209 | 8.872 | 8.451 | 6.612
330 | 55.96 | 47.14 | 73.43 | 157.4 | 156.8 | 263.9 | 305.7 | 285.9 | 209.1 | 186.7 | 169.3 | 305 | 439.1 | 707.1 | 1023 | 1647 | 2198 | 2140 | 2040 | 1380 | 649.3 | 199.9 | 112.1 | 124.1 | 735.2 | 9999.9 | 9999.9 | 9999.9 | 389 | 36.16 | 37.09 | 21.4 | 21.95 | 19.82 | 16.79 | 11.5 | 10.46 | 11.51 | 7.987 | 9.392 | 5.933 | 6.843 | 7.603 | 5.202 | 5.948 | 6.873 | 4.974 | 7.101 | 8.386 | 6.981 | 7.026
335 | 57.23 | 75.69 | 67.64 | 138.1 | 223.6 | 274.3 | 353.1 | 292.2 | 221.1 | 167.2 | 189.6 | 290.7 | 433.8 | 710.7 | 1087 | 1667 | 2313 | 2434 | 2064 | 1301 | 770.9 | 303.3 | 105.8 | 69.5 | 113.6 | 718.7 | 9999.9 | 9999.9 | 9999.9 | 349.5 | 56.84 | 37.99 | 28.35 | 27.15 | 21.44 | 18.14 | 13.72 | 11.29 | 10.75 | 9.174 | 6.927 | 7.505 | 7.021 | 6.276 | 5.847 | 6.438 | 6.909 | 5.981 | 6.42 | 6.288 | 7.205
340 | 37.78 | 66.65 | 64.87 | 101.5 | 195.7 | 266 | 367.1 | 356.3 | 208.2 | 148.4 | 172.6 | 302.7 | 410.3 | 708 | 1007 | 1507 | 1977 | 2173 | 1898 | 1226 | 695.9 | 452.5 | 142.1 | 67.29 | 47.42 | 103 | 725.5 | 9999.9 | 9999.9 | 9999.9 | 353.8 | 49.52 | 36.78 | 25.88 | 21.92 | 17.81 | 11.22 | 12.73 | 15.23 | 9.697 | 8.127 | 9.348 | 6.247 | 5.439 | 7.207 | 7.333 | 5.633 | 5.963 | 5.264 | 6.749 | 8.196
345 | 51.67 | 73.77 | 72.44 | 93.52 | 119.6 | 245.1 | 331.8 | 316.3 | 191.2 | 122.4 | 154.2 | 197.1 | 398.1 | 614.6 | 928.3 | 1357 | 1776 | 2052 | 1745 | 1106 | 536.3 | 328.2 | 302.4 | 84.03 | 59.98 | 63.84 | 108.7 | 723.7 | 9999.9 | 9999.9 | 9999.9 | 305.6 | 44.54 | 36.88 | 25.02 | 22.32 | 13.19 | 11.92 | 10.58 | 6.83 | 7.413 | 8.964 | 10.79 | 5.995 | 5.554 | 6.298 | 5.782 | 5.919 | 6.72 | 7.123 | 5.385
350 | 79.56 | 88.43 | 86.71 | 115.8 | 175.9 | 217.9 | 259.2 | 220.3 | 191.6 | 146.7 | 179 | 253.9 | 351 | 597.1 | 863.2 | 1266 | 1737 | 1792 | 1595 | 950.8 | 482 | 202.3 | 231.4 | 204.1 | 72.28 | 43.62 | 57.84 | 94.15 | 750.9 | 9999.9 | 9999.9 | 9999.9 | 337 | 47.64 | 34 | 21.03 | 14.94 | 15.5 | 11.14 | 10.54 | 7.456 | 5.581 | 6.346 | 7.14 | 6.681 | 5.37 | 5.123 | 4.86 | 6.826 | 6.928 | 5.165
355 | 50.06 | 70.12 | 75.64 | 116 | 153.8 | 210.9 | 265.7 | 288.1 | 179 | 142.3 | 158.3 | 193.4 | 337.6 | 479.9 | 842 | 1148 | 1516 | 1588 | 1498 | 857.2 | 434.6 | 176.3 | 130.8 | 229.3 | 164.9 | 54.32 | 45.88 | 45.16 | 116.4 | 724.7 | 9999.9 | 9999.9 | 9999.9 | 305.4 | 42.09 | 31.67 | 22.51 | 15.13 | 13.57 | 11.7 | 10.41 | 10.69 | 8.984 | 8.603 | 9.483 | 7.824 | 5.627 | 5.585 | 6.503 | 5.952 | 5.624
360 | 52.43 | 92.26 | 118 | 79.33 | 120.7 | 185.6 | 224.3 | 207.4 | 147.6 | 129.3 | 147.6 | 197.4 | 285.8 | 510.7 | 657.1 | 1019 | 1235 | 1293 | 1259 | 703.1 | 424.2 | 173.4 | 92.21 | 101.3 | 241.6 | 111.6 | 55.34 | 52.5 | 61.21 | 99.92 | 704.9 | 9999.9 | 9999.9 | 9999.9 | 287.1 | 47.15 | 28.79 | 19.92 | 15.76 | 12.47 | 12.01 | 10.14 | 7.665 | 8.004 | 7.344 | 6.925 | 6.256 | 5.109 | 5.239 | 6.594 | 6.066
365 | 67.68 | 86.03 | 64.68 | 110.1 | 106 | 163 | 194.2 | 202.5 | 150.8 | 152.6 | 109.9 | 179.1 | 257 | 373.2 | 590.3 | 823.2 | 991 | 1054 | 1063 | 632.9 | 284.6 | 145.6 | 80.64 | 57.05 | 132.7 | 213.9 | 84.71 | 36 | 50.3 | 51.16 | 93.39 | 734.9 | 9999.9 | 9999.9 | 9999.9 | 259 | 45.85 | 27.45 | 19.84 | 16.86 | 12.48 | 9.105 | 12.12 | 10.08 | 7.913 | 6.204 | 6.106 | 6.619 | 6.369 | 5.664 | 6.68
370 | 60.88 | 64.76 | 67.72 | 118.6 | 98.77 | 138.1 | 197.4 | 199.7 | 106.9 | 101.9 | 121.4 | 143.6 | 212.7 | 310.9 | 443.5 | 662 | 892.4 | 971.9 | 895.7 | 548 | 241 | 136.9 | 59.84 | 63.08 | 65 | 148.8 | 186.8 | 67 | 45.56 | 50.15 | 55.53 | 93.72 | 733 | 9999.9 | 9999.9 | 9999.9 | 228.6 | 43.16 | 29.4 | 21.49 | 16.45 | 10.56 | 10.65 | 8.547 | 6.145 | 8.034 | 7.965 | 5.204 | 5.017 | 5.768 | 6.279
375 | 34.87 | 71.79 | 71.54 | 60.5 | 109.8 | 126 | 212.7 | 146.6 | 102.3 | 88.56 | 105.7 | 120.1 | 188.5 | 300.7 | 385 | 554 | 708.6 | 761.8 | 725.2 | 436.9 | 207.9 | 131.4 | 71.4 | 59.16 | 52.47 | 59.34 | 179.5 | 155.5 | 51.31 | 41.29 | 48.4 | 58.66 | 98.79 | 730 | 9999.9 | 9999.9 | 9999.9 | 217.9 | 39.12 | 27.27 | 17.32 | 14.62 | 11.58 | 9.72 | 7.51 | 6.199 | 6.439 | 6.748 | 5.939 | 3.571 | 6.808
380 | 39.02 | 88.67 | 54.21 | 95.11 | 72.02 | 138.4 | 144.4 | 109 | 107.9 | 118.6 | 96.34 | 93.92 | 138.7 | 274.1 | 320.8 | 461.5 | 572.4 | 630.7 | 610.9 | 357.8 | 163.1 | 113.4 | 59.81 | 59.35 | 52.6 | 44.31 | 90.77 | 198.4 | 119.3 | 39.08 | 32.91 | 44.35 | 46.61 | 85.58 | 729.1 | 9999.9 | 9999.9 | 9999.9 | 213.3 | 38.64 | 26.6 | 15.32 | 13.07 | 7.746 | 9.372 | 7.777 | 7.877 | 6.362 | 5.912 | 6.985 | 6.208
385 | 42.37 | 84.77 | 56.52 | 75.58 | 57.02 | 149.4 | 155.6 | 95.61 | 92.71 | 96.78 | 99.89 | 130.9 | 101.3 | 199.8 | 274.1 | 379.9 | 493.3 | 496.4 | 474.3 | 340.3 | 168.8 | 87.45 | 75.69 | 50.5 | 41.07 | 53.58 | 78.19 | 103.6 | 194 | 91.81 | 42.82 | 38.46 | 38.86 | 48.36 | 94.32 | 727.5 | 9999.9 | 9999.9 | 9999.9 | 166.1 | 33.65 | 19.92 | 13.93 | 11.21 | 11.31 | 9.37 | 7.051 | 5.241 | 9.394 | 6.104 | 5.632
390 | 49.43 | 80.74 | 72.76 | 72.46 | 82.92 | 85.83 | 116.1 | 103.4 | 67.73 | 66.69 | 88.86 | 124.6 | 144 | 170.1 | 246.1 | 275.4 | 370.7 | 397.6 | 358.4 | 238.8 | 145.3 | 81.37 | 64.6 | 51.77 | 49.16 | 56.07 | 88.49 | 53.05 | 111.4 | 184 | 65.75 | 37.82 | 32 | 33.12 | 40.57 | 86.8 | 709.5 | 9999.9 | 9999.9 | 9999.9 | 174.5 | 31.44 | 20.82 | 17.91 | 11.66 | 8.705 | 7.338 | 9.516 | 7.406 | 6.337 | 8.135
395 | 67.61 | 60.92 | 79.06 | 95.16 | 89.03 | 84.14 | 104.5 | 98.29 | 69.65 | 55.67 | 100.1 | 83.59 | 81.73 | 195.7 | 228.2 | 250.1 | 334.8 | 299.8 | 304.4 | 215.9 | 127.2 | 66.12 | 59.42 | 56.74 | 55.96 | 48.36 | 82.59 | 45.64 | 59.34 | 125.7 | 144.4 | 48.18 | 40.52 | 38.03 | 34.29 | 39.74 | 85.92 | 720.6 | 9999.9 | 9999.9 | 9999.9 | 140.3 | 26.33 | 20.53 | 16.39 | 12.24 | 10.39 | 7.753 | 6.968 | 8.594 | 7.632
400 | 60.54 | 49.4 | 62.57 | 77.27 | 74.29 | 83.09 | 119.2 | 56.7 | 93.17 | 85.28 | 92.31 | 79.25 | 108.3 | 120.3 | 183 | 190.4 | 302.1 | 301.9 | 214.9 | 168 | 119.5 | 83.92 | 66.26 | 51.37 | 51.66 | 51.03 | 95.98 | 44.22 | 40.16 | 58.22 | 133.9 | 98.2 | 44 | 28.93 | 31.58 | 32.85 | 38.32 | 85.93 | 710.3 | 9999.9 | 9999.9 | 9999.9 | 137 | 29.35 | 20.78 | 13.47 | 11.96 | 9.003 | 9.738 | 6.762 | 7.695
405 | 53.94 | 74 | 51.56 | 65.41 | 81.98 | 94.21 | 86.34 | 65.74 | 60.27 | 77.14 | 72.57 | 79.58 | 96.87 | 99.39 | 146.4 | 162.9 | 203.2 | 229 | 159 | 145.3 | 91.96 | 76.46 | 53.3 | 59.31 | 54.21 | 55.3 | 105 | 47.05 | 48.43 | 46.65 | 61.91 | 144.3 | 80.31 | 35.66 | 24.64 | 33.67 | 29.75 | 35.02 | 71.03 | 683.7 | 9999.9 | 9999.9 | 9999.9 | 159.3 | 28.69 | 20.27 | 12.64 | 8.323 | 9.413 | 8.795 | 5.791
410 | 73.33 | 101.9 | 72.51 | 71.16 | 68.16 | 110 | 92.53 | 78.29 | 95.58 | 77.35 | 59.13 | 76.95 | 80.95 | 106.2 | 113 | 156.8 | 163.7 | 199.6 | 158.5 | 120.5 | 95.97 | 68.97 | 55.72 | 51.74 | 36.27 | 45.12 | 109.4 | 45.8 | 39.71 | 42.59 | 40.99 | 79.98 | 128.5 | 61.4 | 29.6 | 27.22 | 29 | 27.37 | 31.16 | 74.8 | 679.1 | 9999.9 | 9999.9 | 9999.9 | 133.4 | 25.29 | 17.33 | 12.63 | 9.962 | 9.436 | 6.099
415 | 66.86 | 94.75 | 133.6 | 79.07 | 96.18 | 71.87 | 97.69 | 82.83 | 80.25 | 62.09 | 72.89 | 83.67 | 89.61 | 97.84 | 92.14 | 134 | 127.5 | 176.8 | 147.7 | 102.4 | 84.36 | 64.43 | 45.55 | 48.94 | 56.64 | 44.33 | 112.1 | 45.28 | 48.83 | 38.9 | 35.66 | 39.19 | 107.1 | 128.5 | 59.79 | 29.3 | 32.53 | 23.14 | 23.93 | 29.97 | 74.07 | 691.6 | 9999.9 | 9999.9 | 9999.9 | 135.5 | 28.77 | 17.21 | 12.22 | 10.88 | 7.405
420 | 49.12 | 53.88 | 146.4 | 109 | 87.64 | 81.86 | 63.8 | 79.73 | 56.44 | 79.38 | 55.06 | 74.74 | 64.11 | 82.32 | 102.1 | 100.1 | 108.2 | 146.4 | 133.7 | 107.8 | 70.83 | 61.62 | 53.74 | 45.31 | 39.19 | 39.83 | 112.3 | 43.87 | 44.21 | 36.66 | 35.38 | 43.21 | 47.67 | 112.6 | 104.4 | 45.82 | 29.14 | 23.24 | 26.5 | 25.56 | 28.12 | 72.77 | 692.9 | 9999.9 | 9999.9 | 9999.9 | 126.4 | 27.22 | 17.65 | 12.22 | 9.364
425 | 69.91 | 89.5 | 89.88 | 163.7 | 78.42 | 101.9 | 74.49 | 70.04 | 59.87 | 83.59 | 65.11 | 79.06 | 61.69 | 102.4 | 102.8 | 89.96 | 111.8 | 137.2 | 116.6 | 75.58 | 58.92 | 63.78 | 48.03 | 45.26 | 32.82 | 42.83 | 106.2 | 44.63 | 38.84 | 33.72 | 34.53 | 40.6 | 39.9 | 53.64 | 111.2 | 78.2 | 26.88 | 26.12 | 24.3 | 23.61 | 18.4 | 24.75 | 65.94 | 689.2 | 9999.9 | 9999.9 | 9999.9 | 127.6 | 26.98 | 19.22 | 12.21
430 | 75.57 | 91.92 | 50.9 | 195.1 | 143.2 | 51.26 | 66.01 | 65.05 | 67.89 | 65.77 | 64.7 | 78.02 | 50.7 | 61.37 | 74.62 | 134.3 | 99.58 | 102.4 | 85 | 82.96 | 71.21 | 55.52 | 47.14 | 47.55 | 34.54 | 42.63 | 102.1 | 44.17 | 41.74 | 43.06 | 37.46 | 33.38 | 33.3 | 40.2 | 70.01 | 95.85 | 56.94 | 26.92 | 21.47 | 19.57 | 19.89 | 21.14 | 25.34 | 64.2 | 689.7 | 9999.9 | 9999.9 | 9999.9 | 132.6 | 23.99 | 16.75
435 | 89.47 | 81.77 | 55.09 | 140.7 | 250.4 | 89.3 | 45.57 | 59.32 | 57.67 | 56.87 | 59.48 | 59.16 | 52.34 | 89.29 | 77.89 | 89.49 | 91.8 | 89.5 | 90.64 | 88.36 | 67.6 | 48.81 | 45.4 | 45.22 | 36.19 | 43.14 | 101.8 | 46.35 | 43.32 | 39.01 | 39.61 | 36.79 | 35.53 | 38.32 | 29.94 | 77.84 | 86.89 | 36.87 | 23.32 | 16.63 | 17.01 | 18.19 | 19.75 | 22.38 | 64.94 | 688.4 | 9999.9 | 9999.9 | 9999.9 | 127.4 | 22.26
440 | 82.01 | 88.82 | 87.84 | 93.56 | 327.7 | 160.2 | 65.67 | 51.48 | 78.18 | 84.15 | 60.07 | 55.23 | 65.45 | 112.5 | 73.01 | 71.77 | 60.44 | 101.1 | 75.92 | 55.1 | 56.32 | 36.07 | 41.06 | 41.59 | 33.66 | 40.56 | 91.24 | 41.29 | 42.48 | 39.09 | 38.3 | 28.76 | 32.38 | 31.68 | 31.8 | 30.27 | 71.56 | 74.69 | 27.68 | 15.58 | 17.45 | 20.59 | 17.01 | 18.28 | 24.12 | 69.42 | 686.3 | 9999.9 | 9999.9 | 9999.9 | 120.3
445 | 46.7 | 65.84 | 66.03 | 67.61 | 247.2 | 348.1 | 89.04 | 80.79 | 84.29 | 61.31 | 55.62 | 59.43 | 66.89 | 73.59 | 72.77 | 66.4 | 85.46 | 78.28 | 79.47 | 64.52 | 53.26 | 48.33 | 44.16 | 37.37 | 36.9 | 35.56 | 84.1 | 38.28 | 47.7 | 40.91 | 34.8 | 35.87 | 26.64 | 32.15 | 29.63 | 26.86 | 47.64 | 78.94 | 41.6 | 18.68 | 16.19 | 15.9 | 12.01 | 17.62 | 20.05 | 22.25 | 62.25 | 684.2 | 9999.9 | 9999.9 | 9999.9
450 | 61.8 | 93.89 | 59.29 | 76.59 | 76.3 | 468.9 | 220.5 | 97.86 | 61.19 | 69.52 | 63.96 | 66.13 | 56.38 | 51.64 | 80.72 | 79.64 | 71.49 | 85.27 | 91.06 | 62.1 | 47.94 | 48.16 | 40.85 | 35.76 | 37.82 | 39.7 | 81.38 | 27.67 | 27.57 | 38.72 | 40.36 | 31.56 | 30.34 | 30.77 | 31.67 | 30.38 | 25.11 | 43.2 | 65.72 | 41.32 | 20.97 | 16.3 | 14.98 | 18.3 | 15.88 | 17.51 | 25.9 | 67.93 | 701.4 | 9999.9 | 9999.9
455 | 93.17 | 89.34 | 69.25 | 100.7 | 81.02 | 310.5 | 601.5 | 103.5 | 96.18 | 85.54 | 101.2 | 55.98 | 66.13 | 70.58 | 78.97 | 70.36 | 74.39 | 70.6 | 72.59 | 67.24 | 52.08 | 55.41 | 40.78 | 44.02 | 44.67 | 32.09 | 63.84 | 35.12 | 41.28 | 37.39 | 29.34 | 29.82 | 34.1 | 28.82 | 29.45 | 22.81 | 22.57 | 23.71 | 46.38 | 55.77 | 30.67 | 16.69 | 17.31 | 14.98 | 13.36 | 17.18 | 16.97 | 22.48 | 64.36 | 708.3 | 9999.9
460 | 45.44 | 88.49 | 100.8 | 90.2 | 68.7 | 120.9 | 829.1 | 367.1 | 70.62 | 89.76 | 57.55 | 90.51 | 81.28 | 75.98 | 109.4 | 79.03 | 64.19 | 95.2 | 58.93 | 53.16 | 50.17 | 31.33 | 49.18 | 38.53 | 43.34 | 34.59 | 58 | 35.48 | 33.87 | 29.67 | 34.68 | 30.28 | 28.91 | 29.49 | 30.75 | 22.37 | 24.85 | 19.46 | 29.39 | 49.74 | 50.53 | 22.17 | 17.11 | 13.67 | 16.36 | 14.91 | 15.02 | 15.69 | 20.32 | 68.52 | 690.6
465 | 110 | 95.1 | 100.6 | 87.44 | 74.21 | 53.97 | 561.9 | 737.8 | 110.3 | 93.1 | 60.3 | 75.17 | 71.84 | 68.27 | 86.78 | 65.4 | 73.6 | 62.72 | 55.54 | 54.46 | 49.5 | 48.92 | 53.33 | 31.14 | 35.12 | 34.8 | 59.93 | 37.39 | 34.89 | 31.91 | 33.31 | 35.05 | 34.9 | 30.14 | 28.47 | 21.81 | 23.57 | 22.71 | 19.92 | 25.89 | 46.07 | 33.83 | 14.83 | 14.54 | 15.69 | 13.21 | 13.61 | 16.2 | 20.55 | 20.93 | 66.72
470 | 66.72 | 93.58 | 84.86 | 109.3 | 106.2 | 58.05 | 160.8 | 1245 | 504 | 81.52 | 75.8 | 50.42 | 74.65 | 72.1 | 66.32 | 57.51 | 75.57 | 49.23 | 66.41 | 58.59 | 52.95 | 64.14 | 39.14 | 35.36 | 32.98 | 31.03 | 58.11 | 34.82 | 29.11 | 31.56 | 26.06 | 32.55 | 29.91 | 29.34 | 25.43 | 23.77 | 23.7 | 21.44 | 18.68 | 18.66 | 32.26 | 46.72 | 24.8 | 15.57 | 17.17 | 15.65 | 14.01 | 13.31 | 15.39 | 15.17 | 20.05
475 | 44.61 | 81.12 | 69.7 | 99.46 | 63.53 | 49.4 | 88.46 | 841.7 | 1496 | 124.5 | 87.84 | 50.34 | 76.64 | 43.82 | 77.35 | 49.98 | 61.55 | 62.02 | 55.41 | 43.28 | 43.14 | 39.13 | 31.65 | 45.89 | 34.24 | 38.64 | 47.83 | 23.55 | 24.02 | 28.62 | 26.88 | 28.3 | 31.99 | 25.35 | 27.5 | 22.37 | 19.88 | 18.57 | 16.26 | 16.31 | 19.39 | 34.37 | 34.19 | 25.17 | 16.48 | 13.69 | 11.99 | 12.21 | 14.11 | 15.19 | 13.38
480 | 78.05 | 117.4 | 80.04 | 81.69 | 93.99 | 55.18 | 78.22 | 211.8 | 1821 | 526.4 | 54.75 | 69.82 | 53.84 | 66.38 | 61.01 | 48.63 | 74.09 | 79.37 | 44.12 | 43.21 | 51.84 | 30.63 | 53.31 | 36.65 | 37.64 | 27.3 | 44.06 | 25.65 | 30.28 | 30.33 | 36.32 | 26.2 | 28.06 | 27.09 | 25.85 | 20.62 | 17.3 | 19.09 | 19.38 | 16.07 | 16.39 | 20.74 | 35.11 | 31.51 | 18.47 | 14.89 | 10.57 | 11.62 | 11.1 | 12.15 | 13.04
485 | 64.53 | 85.72 | 63.91 | 102.1 | 67.61 | 93.23 | 54.33 | 87.35 | 1174 | 1691 | 122.4 | 79.49 | 66.58 | 42.26 | 78.53 | 55.1 | 65.21 | 59.82 | 50.92 | 48.6 | 44.87 | 46.54 | 40.2 | 45.03 | 27.11 | 25.28 | 37.83 | 26.84 | 27.27 | 21.96 | 20.05 | 27.95 | 24.49 | 24.87 | 19.72 | 21.62 | 22.72 | 20.56 | 18.59 | 17.84 | 16.53 | 15.31 | 18.38 | 34.87 | 25.91 | 12.71 | 11.74 | 11.82 | 10.64 | 10.56 | 11.71
490 | 90.18 | 110 | 99.9 | 97.34 | 81.26 | 82.23 | 66.93 | 62.77 | 255.1 | 2230 | 676 | 46.78 | 79.16 | 53.02 | 63.08 | 67.85 | 64.24 | 54.32 | 56.67 | 45.46 | 37.49 | 52.29 | 31.26 | 35.36 | 29.91 | 29.81 | 33.54 | 33.99 | 34.48 | 28.5 | 29.31 | 25.22 | 27.53 | 29.72 | 21.75 | 18.48 | 23.93 | 23.71 | 15.69 | 17.21 | 12.93 | 14.67 | 12.67 | 24.68 | 32.12 | 18.81 | 11.23 | 11.22 | 11.45 | 11 | 11.29
495 | 94.79 | 72.35 | 60.05 | 81.63 | 88.1 | 97.97 | 73.92 | 82.54 | 86.79 | 1334 | 1962 | 107.2 | 47.54 | 60.5 | 62.85 | 54.64 | 73.22 | 49.79 | 52.94 | 43.85 | 30.81 | 43.46 | 30.45 | 39.57 | 32.21 | 34.8 | 28.9 | 27.05 | 24.67 | 25.84 | 25.1 | 27.26 | 26.28 | 22.97 | 29.06 | 21.24 | 21.67 | 18.06 | 16.19 | 16.36 | 15.34 | 13.69 | 14.58 | 14.51 | 25.47 | 26.8 | 18.21 | 10.26 | 10.4 | 12.02 | 9.738
500 | 81.12 | 89.12 | 84.39 | 60.97 | 76.77 | 85.74 | 102.1 | 52.67 | 73.37 | 408.4 | 2390 | 482.3 | 40.55 | 52.09 | 52.64 | 53.42 | 54.59 | 68.32 | 54.31 | 48.07 | 53.58 | 33.97 | 25.2 | 37.05 | 29.02 | 35.05 | 28.12 | 22.42 | 23.27 | 21.53 | 28 | 20.92 | 26.38 | 23.23 | 20.63 | 20.16 | 19.8 | 16.44 | 12.75 | 13.19 | 17.51 | 14.88 | 10.77 | 11.3 | 18.54 | 27.19 | 23.51 | 12.33 | 10.88 | 10.82 | 10.11