## Sheet1
Report date: | 13:58:15, 04/09/2024
Sample: | 1
File name:
Run date: | 13:54:09, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/480.0 | 62.72
2 | 210.0/260.0 | 35.44
3 | 210.0/290.0 | 67.16
4 | 210.0/305.0 | 97.89
5 | 210.0/380.0 | 79.7
6 | 210.0/420.0 | 146.7
7 | 210.0/470.0 | 89.59
8 | 215.0/255.0 | 66.35
9 | 215.0/395.0 | 79.65
10 | 215.0/465.0 | 83.63
11 | 215.0/490.0 | 86.51
12 | 220.0/260.0 | 40.13
13 | 220.0/400.0 | 92.79
14 | 220.0/440.0 | 326.1
15 | 220.0/475.0 | 76.69
16 | 225.0/390.0 | 104.8
17 | 225.0/405.0 | 83.72
18 | 230.0/320.0 | 515.8
19 | 230.0/330.0 | 533.8
20 | 235.0/255.0 | 52.04
21 | 235.0/280.0 | 34.35
22 | 235.0/395.0 | 107
23 | 235.0/425.0 | 73.75
24 | 235.0/435.0 | 74.47
25 | 240.0/260.0 | 74.64
26 | 240.0/275.0 | 55.75
27 | 240.0/405.0 | 91.04
28 | 245.0/270.0 | 83.99
29 | 245.0/415.0 | 67.28
30 | 245.0/430.0 | 82.5
31 | 245.0/445.0 | 64.52
32 | 250.0/275.0 | 75.44
33 | 250.0/380.0 | 119.6
34 | 255.0/280.0 | 99
35 | 255.0/410.0 | 64.75
36 | 255.0/465.0 | 76.71
37 | 260.0/285.0 | 142.8
38 | 260.0/450.0 | 66.85
39 | 265.0/455.0 | 58.61
40 | 265.0/465.0 | 65.66
41 | 265.0/485.0 | 65.5
42 | 270.0/435.0 | 90.53
43 | 270.0/490.0 | 64.83
44 | 275.0/440.0 | 91.17
45 | 275.0/465.0 | 62.33
46 | 280.0/325.0 | 2866
47 | 280.0/435.0 | 95.72
48 | 280.0/455.0 | 64.14
49 | 280.0/480.0 | 58.91
50 | 285.0/330.0 | 2915
51 | 285.0/490.0 | 44.76
52 | 290.0/450.0 | 70.27
53 | 290.0/460.0 | 67.35
54 | 300.0/265.0 | 22.24
55 | 300.0/470.0 | 51.43
56 | 305.0/275.0 | 18.97
57 | 305.0/460.0 | 37.04
58 | 305.0/475.0 | 33.86
59 | 305.0/490.0 | 31.82
60 | 310.0/420.0 | 54.93
61 | 310.0/480.0 | 31.77
62 | 315.0/355.0 | 219.9
63 | 315.0/435.0 | 36.18
64 | 315.0/475.0 | 31.89
65 | 320.0/360.0 | 206
66 | 320.0/405.0 | 40.94
67 | 320.0/420.0 | 43.07
68 | 320.0/450.0 | 32.14
69 | 320.0/465.0 | 35.4
70 | 320.0/485.0 | 27.97
71 | 325.0/365.0 | 202.2
72 | 325.0/430.0 | 37.73
73 | 325.0/455.0 | 29.37
74 | 330.0/280.0 | 13.6
75 | 330.0/370.0 | 177.1
76 | 330.0/440.0 | 37.64
77 | 330.0/460.0 | 29.07
78 | 330.0/470.0 | 27.2
79 | 335.0/255.0 | 10.71
80 | 335.0/380.0 | 177.6
81 | 335.0/490.0 | 24.58
82 | 340.0/285.0 | 10.1
83 | 340.0/300.0 | 17.29
84 | 340.0/385.0 | 174
85 | 340.0/410.0 | 36.46
86 | 340.0/420.0 | 36.48
87 | 340.0/450.0 | 31.03
88 | 340.0/465.0 | 27.71
89 | 345.0/290.0 | 10.18
90 | 345.0/390.0 | 152.1
91 | 345.0/430.0 | 34.39
92 | 345.0/460.0 | 28.1
93 | 345.0/480.0 | 24.07
94 | 350.0/265.0 | 8.97
95 | 350.0/400.0 | 129.4
96 | 355.0/310.0 | 11.93
97 | 355.0/405.0 | 125.1
98 | 355.0/450.0 | 30.98
99 | 355.0/465.0 | 28.18
100 | 360.0/260.0 | 8.331
101 | 360.0/285.0 | 8.129
102 | 360.0/410.0 | 124.5
103 | 360.0/435.0 | 30.5
104 | 360.0/480.0 | 21.37
105 | 365.0/320.0 | 10.76
106 | 365.0/395.0 | 32.83
107 | 365.0/415.0 | 126.2
108 | 365.0/470.0 | 32.11
109 | 370.0/255.0 | 11.27
110 | 370.0/290.0 | 8.445
111 | 370.0/310.0 | 11.07
112 | 370.0/425.0 | 101.9
113 | 370.0/480.0 | 20.12
114 | 375.0/430.0 | 89.3
115 | 375.0/460.0 | 22.5
116 | 380.0/270.0 | 10.39
117 | 380.0/335.0 | 9.917
118 | 380.0/435.0 | 84.74
119 | 385.0/265.0 | 12.53
120 | 385.0/445.0 | 71.15
121 | 390.0/255.0 | 9.792
122 | 390.0/310.0 | 6.439
123 | 390.0/450.0 | 63.99
124 | 390.0/485.0 | 13.86
125 | 395.0/275.0 | 7.993
126 | 395.0/330.0 | 7.592
127 | 395.0/425.0 | 20.53
128 | 395.0/455.0 | 50.64
129 | 400.0/255.0 | 6.741
130 | 400.0/285.0 | 9.534
131 | 400.0/300.0 | 6.977
132 | 400.0/465.0 | 47.47
133 | 405.0/320.0 | 5.321
134 | 405.0/470.0 | 38.35
135 | 410.0/265.0 | 7.059
136 | 410.0/475.0 | 33.65
137 | 415.0/300.0 | 7.173
138 | 415.0/450.0 | 14.4
139 | 415.0/485.0 | 29.54
140 | 420.0/275.0 | 6.329
141 | 420.0/490.0 | 27.67
142 | 425.0/465.0 | 12.93
143 | 430.0/280.0 | 6.101
144 | 430.0/310.0 | 7.196
145 | 435.0/290.0 | 5.791
146 | 440.0/270.0 | 5.542
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 5.104 | 13.04 | 23.61 | 21.71 | 1.356 | 56.56 | 38.17 | 34.2 | 31.63 | 2426 | 6105 | 1428 | 11.06 | 8.453 | 7.612 | 14.48 | 1.908 | 12.54 | 11.1 | 16.44 | 7.137 | 7.404 | 8.348 | 13.96 | 6.528 | 5 | 8.068 | 4.567 | 7.13 | 4.459 | 5.312 | 7.07 | 7.275 | 8.055 | 7.685 | 6.16 | 7.103 | 5.342 | 7.423 | 8.519 | 4.656 | 6.665 | 5.274 | 4.485 | 4.602 | 3.807 | 3.904 | 2.912 | 4.093 | 3.001 | 2.006
255 | 7.251 | 13.81 | 19.21 | 66.35 | 18.56 | 34.45 | 38.12 | 52.04 | 22.96 | 168.2 | 2107 | 7352 | 3064 | 91.28 | 19.66 | 20.14 | 11.84 | 12.23 | 7.272 | 4.887 | 9.577 | 15.23 | 8.37 | 6.819 | 9.657 | 6.945 | 5.106 | 10.71 | 7.659 | 6.611 | 4.634 | 5.402 | 7.437 | 9.051 | 11.27 | 7.942 | 7.593 | 6.351 | 9.792 | 4.924 | 6.741 | 6.547 | 5.22 | 6.047 | 4.889 | 4.556 | 4.819 | 2.815 | 2.584 | 3.151 | 2.684
260 | 11.31 | 14.97 | 35.44 | 24.25 | 40.13 | 38 | 38.12 | 47.07 | 74.64 | 44.68 | 150.6 | 2393 | 9669 | 4129 | 198.6 | 25.89 | 25.39 | 19.82 | 13.28 | 11.02 | 15.3 | 8.367 | 8.147 | 8.298 | 10.11 | 7.855 | 5.509 | 6.619 | 3.359 | 7.188 | 7.187 | 8.054 | 8.331 | 6.06 | 7.321 | 8.394 | 8.727 | 5.123 | 6.47 | 4.955 | 6.25 | 6.589 | 4.573 | 5.963 | 4.124 | 4.166 | 4.151 | 3.891 | 3.247 | 2.635 | 3.19
265 | 14 | 22.1 | 22.97 | 18.01 | 16.46 | 25.69 | 20.39 | 25.91 | 62.87 | 72.69 | 60.95 | 170 | 3414 | 9999.9 | 5591 | 135.3 | 29.14 | 15.18 | 12.79 | 13.61 | 22.24 | 16.61 | 6.847 | 7.444 | 9.806 | 9.657 | 7.331 | 7.045 | 5.335 | 6.549 | 8.97 | 6.28 | 7.095 | 4.777 | 8.803 | 7.333 | 9.308 | 12.53 | 5.104 | 5.23 | 4.746 | 5.835 | 7.059 | 4.911 | 5.161 | 3.743 | 4.909 | 3.538 | 4.211 | 3.675 | 3.806
270 | 12.12 | 16.04 | 11.55 | 23.62 | 11.55 | 25.26 | 15.72 | 19.94 | 45.8 | 83.99 | 48.79 | 66.36 | 257.3 | 4315 | 9999.9 | 7030 | 242.7 | 35.43 | 18.76 | 20.46 | 18.11 | 11.77 | 12.53 | 11.47 | 11.09 | 11.27 | 6.957 | 6.764 | 8.345 | 4.728 | 7.7 | 6.249 | 6.842 | 6.634 | 3.879 | 5.195 | 10.39 | 7.739 | 5.395 | 5.7 | 6.509 | 6.483 | 5.354 | 6.168 | 6.187 | 4.586 | 4.361 | 3.607 | 5.542 | 3.197 | 3.041
275 | 37.22 | 20.54 | 6.064 | 24.62 | 31.62 | 31.48 | 30.92 | 32.36 | 55.75 | 31.49 | 75.44 | 68.85 | 67.6 | 309.4 | 6040 | 9999.9 | 9163 | 205.1 | 32.02 | 27.59 | 13.26 | 18.97 | 13.25 | 6.142 | 10.26 | 8.293 | 8.333 | 8.479 | 8.658 | 7.495 | 7.097 | 4.912 | 7.147 | 6.022 | 5.827 | 6.948 | 7.818 | 7.732 | 7.966 | 7.993 | 6.631 | 3.418 | 4.138 | 5.496 | 6.329 | 5.468 | 4.154 | 3.939 | 3.649 | 3.277 | 3.233
280 | 18.2 | 10.82 | 30.96 | 26.96 | 34.72 | 19.62 | 31.16 | 34.35 | 18.06 | 22.75 | 37.22 | 99 | 72.17 | 50.49 | 421.5 | 8250 | 9999.9 | 9999.9 | 207.8 | 19.22 | 17.95 | 10.74 | 13.63 | 11.83 | 3.731 | 7.478 | 13.6 | 7.87 | 8.196 | 7.927 | 5.769 | 5.398 | 4.339 | 6.478 | 4.769 | 6.604 | 7.123 | 6.091 | 6.942 | 6.053 | 7.531 | 4.415 | 3.721 | 4.361 | 5.799 | 5.805 | 6.101 | 3.972 | 3.96 | 3.943 | 3.589
285 | 14.62 | 26.72 | 26.03 | 38.39 | 33.41 | 51.98 | 49.23 | 26.08 | 45.61 | 45.17 | 41.57 | 83.63 | 142.8 | 107.3 | 115.1 | 619.4 | 9812 | 9999.9 | 9999.9 | 258.9 | 40.73 | 17.9 | 12.64 | 14 | 11.52 | 9.732 | 7.906 | 6.713 | 10.1 | 7.646 | 6.346 | 4.868 | 8.129 | 6.193 | 6.097 | 5.133 | 7.248 | 4.552 | 6.062 | 5.654 | 9.534 | 5.516 | 4.518 | 4.409 | 4.698 | 4.067 | 4.726 | 4.781 | 3.849 | 4.725 | 3.936
290 | 7.442 | 31.99 | 67.16 | 40.2 | 75.52 | 53.2 | 81.37 | 71.21 | 65.25 | 38.54 | 37.26 | 50.65 | 121.6 | 271.7 | 240.2 | 316 | 951.9 | 9999.9 | 9999.9 | 9999.9 | 239.9 | 19.22 | 24.07 | 19.16 | 14.79 | 12.68 | 6.635 | 9.333 | 8.89 | 10.18 | 6.721 | 7.276 | 6.214 | 7.264 | 8.445 | 7.782 | 5.093 | 4.671 | 4.161 | 4.024 | 7.008 | 6.348 | 6.495 | 4.919 | 4.507 | 4.206 | 4.707 | 5.791 | 5.704 | 3.968 | 4.118
295 | 17.83 | 41.54 | 65.21 | 46.54 | 108.8 | 120 | 158.6 | 139.4 | 97.71 | 37.76 | 59.33 | 89.39 | 138.9 | 316.1 | 455.8 | 518.5 | 611.8 | 1222 | 9999.9 | 9999.9 | 9999.9 | 270.9 | 37.88 | 18.13 | 19.61 | 14.71 | 12.84 | 8.328 | 6.293 | 8.006 | 8.368 | 9.373 | 6.214 | 8.159 | 6.722 | 4.435 | 5.004 | 5.147 | 4.997 | 4.273 | 4.619 | 3.978 | 6.418 | 6.306 | 5.406 | 4.688 | 3.868 | 4.56 | 5.606 | 4.077 | 4.569
300 | 35.34 | 51.46 | 43.35 | 70.97 | 88.54 | 145.5 | 196.9 | 199.3 | 133.3 | 59.18 | 78.53 | 109.4 | 197.6 | 342.9 | 716.2 | 963.8 | 938.7 | 942.1 | 1294 | 9999.9 | 9999.9 | 9999.9 | 238.7 | 36.94 | 27.69 | 16 | 13.83 | 13.32 | 17.29 | 10.3 | 8.778 | 10.16 | 7.515 | 8.09 | 7.993 | 6.389 | 6.343 | 4.834 | 4.29 | 4.136 | 6.977 | 4.785 | 4.248 | 7.173 | 5.385 | 4.98 | 4.767 | 4.138 | 4.251 | 5.094 | 4.151
305 | 44.57 | 45.51 | 97.89 | 65.49 | 131 | 220.8 | 269.1 | 228.1 | 126 | 113.2 | 112.9 | 173.4 | 301.6 | 465.7 | 748.3 | 1235 | 1392 | 1388 | 987.6 | 1089 | 9999.9 | 9999.9 | 9999.9 | 234.7 | 26.16 | 17.29 | 21.02 | 17.58 | 10.47 | 8.535 | 9.404 | 9.324 | 6.027 | 7.403 | 6.598 | 4.084 | 4.345 | 4.735 | 5.866 | 5.78 | 5.13 | 3.651 | 3.923 | 5.052 | 5.332 | 5.494 | 4.422 | 5.531 | 5.151 | 4.707 | 5.043
310 | 34.52 | 37.07 | 56.2 | 61.32 | 132.5 | 200.9 | 363.6 | 316.1 | 183.5 | 112.3 | 119 | 222 | 361.2 | 609.1 | 937.8 | 1493 | 1991 | 1720 | 1306 | 778.6 | 925.9 | 9999.9 | 9999.9 | 9999.9 | 243.5 | 29.11 | 21.65 | 14.71 | 18.23 | 10.38 | 10.92 | 11.93 | 9.757 | 7.807 | 11.07 | 6.901 | 4.75 | 5.307 | 6.439 | 5.274 | 6.217 | 4.211 | 2.383 | 3.618 | 3.46 | 6.1 | 7.196 | 5.366 | 4.036 | 4.419 | 5.718
315 | 45.49 | 59.53 | 63.84 | 98.06 | 143.2 | 318.2 | 461 | 271.9 | 219.7 | 153.8 | 163.5 | 249.7 | 434.4 | 702.4 | 1246 | 1719 | 2266 | 2389 | 1840 | 989.3 | 450.7 | 809.9 | 9999.9 | 9999.9 | 9999.9 | 248.8 | 25.9 | 25.99 | 16.82 | 13.56 | 7.579 | 11.8 | 7.468 | 9.92 | 6.444 | 5.533 | 6.537 | 5.789 | 4.536 | 3.901 | 4.431 | 3.285 | 5.065 | 3.705 | 4.485 | 5.623 | 6.365 | 5.345 | 4.435 | 5.91 | 3.885
320 | 69.62 | 58.14 | 83.39 | 114 | 198.5 | 321.7 | 515.8 | 438.8 | 181.6 | 213.6 | 175.4 | 350.9 | 490.5 | 842.2 | 1313 | 1947 | 2510 | 2600 | 2426 | 1267 | 504.8 | 242.8 | 737.2 | 9999.9 | 9999.9 | 9999.9 | 207.8 | 36.88 | 21.65 | 17.09 | 8.38 | 10.41 | 7.183 | 10.76 | 5.826 | 7.613 | 5.614 | 5.518 | 3.432 | 4.045 | 3.772 | 5.321 | 4.128 | 4.885 | 2.956 | 3.979 | 7.026 | 6.336 | 6.852 | 5.857 | 5.284
325 | 58.77 | 50.42 | 77.46 | 119.2 | 237.6 | 347.7 | 492.7 | 421.8 | 234.3 | 188.9 | 233 | 316.5 | 549.2 | 909.8 | 1434 | 2168 | 2866 | 2615 | 2641 | 1504 | 553.7 | 206.7 | 118.7 | 706.1 | 9999.9 | 9999.9 | 9999.9 | 231.2 | 27.59 | 20.64 | 21.36 | 11.01 | 11.57 | 8.86 | 11.52 | 8.193 | 8.238 | 7.889 | 6.706 | 4.269 | 3.237 | 4.834 | 5.098 | 3.76 | 3.174 | 3.959 | 3.979 | 4.119 | 6.406 | 5.579 | 5.498
330 | 74.49 | 51.22 | 84.66 | 93.25 | 240.7 | 357.6 | 533.8 | 471 | 220.2 | 211.7 | 252.5 | 420.7 | 628.7 | 992.7 | 1441 | 2080 | 2840 | 2915 | 2394 | 1652 | 740.4 | 213.8 | 80.92 | 91.99 | 696.6 | 9999.9 | 9999.9 | 9999.9 | 218.4 | 33.55 | 27.53 | 16.5 | 10.82 | 12.72 | 12.12 | 8.42 | 9.915 | 5.905 | 4.437 | 7.592 | 6.774 | 4.982 | 5.855 | 4.597 | 3.981 | 2.926 | 5.385 | 4.645 | 5.522 | 6.869 | 5.662
335 | 16.61 | 79.49 | 79.13 | 100.7 | 212.7 | 404.5 | 513.9 | 420.4 | 241.3 | 234.3 | 228.9 | 309.5 | 579.8 | 1022 | 1590 | 2105 | 2703 | 2831 | 2540 | 1493 | 806 | 311.8 | 97.45 | 42.96 | 79.99 | 704.7 | 9999.9 | 9999.9 | 9999.9 | 221.6 | 35.71 | 27.61 | 15.89 | 15.15 | 8.355 | 8.751 | 9.917 | 7.999 | 7.05 | 6.156 | 5.895 | 4.896 | 3.964 | 4.101 | 4.898 | 3.574 | 3.794 | 4.679 | 4.361 | 6.12 | 6.519
340 | 58.38 | 41.17 | 64.52 | 106.9 | 183.2 | 316.9 | 427.2 | 340.2 | 200.8 | 180.4 | 244.6 | 338.6 | 559.7 | 938 | 1447 | 2025 | 2748 | 2593 | 2427 | 1380 | 688.7 | 470 | 145.6 | 37.57 | 45.3 | 87.03 | 699.1 | 9999.9 | 9999.9 | 9999.9 | 203.3 | 34 | 24.09 | 19.43 | 13.53 | 12.01 | 7.423 | 6.328 | 4.869 | 6.338 | 6.341 | 3.268 | 5.539 | 3.238 | 4.602 | 4.582 | 3.272 | 4.481 | 5.673 | 6.804 | 6.341
345 | 43.25 | 54.01 | 65.43 | 92.28 | 173.1 | 313.3 | 434 | 396.5 | 218.7 | 191.3 | 223.4 | 347.7 | 532.3 | 884.6 | 1323 | 1763 | 2307 | 2451 | 2187 | 1283 | 595.4 | 365.1 | 268.1 | 66.57 | 39.16 | 41.85 | 83.84 | 698.6 | 9999.9 | 9999.9 | 9999.9 | 194.9 | 25.48 | 26.27 | 17.33 | 13.42 | 10.81 | 7.442 | 6.18 | 5.331 | 6.093 | 5.117 | 5.771 | 5.801 | 5.815 | 3.924 | 4.647 | 4.424 | 4.666 | 5.399 | 4.654
350 | 38.48 | 68.71 | 67.82 | 68.85 | 162.8 | 239.7 | 364.8 | 361.1 | 171.6 | 215.7 | 191.7 | 320.5 | 499.1 | 712.3 | 1174 | 1713 | 2017 | 2298 | 1976 | 1163 | 510.2 | 220.3 | 225.2 | 197.1 | 47.53 | 32.96 | 38.78 | 83.52 | 684.3 | 9999.9 | 9999.9 | 9999.9 | 185.4 | 38.4 | 21.22 | 22.29 | 11.38 | 7.584 | 5.608 | 7.571 | 5.555 | 6.412 | 4.872 | 4.187 | 4.113 | 4.766 | 4.348 | 4.387 | 4.132 | 4.702 | 3.79
355 | 50.98 | 61.51 | 70.41 | 75.04 | 173.3 | 227.9 | 355.1 | 258.9 | 161.3 | 161.7 | 180.5 | 284.5 | 436.3 | 659.1 | 1006 | 1414 | 1776 | 1933 | 1741 | 933.3 | 449.4 | 166.7 | 113.7 | 219.9 | 132.1 | 30.72 | 30.76 | 32.96 | 81.3 | 685.8 | 9999.9 | 9999.9 | 9999.9 | 197.4 | 35.45 | 21.38 | 14.27 | 12.36 | 7.438 | 7.619 | 7.282 | 5.202 | 5.094 | 5.223 | 5.336 | 5.084 | 3.522 | 4.571 | 4.464 | 4.174 | 4.504
360 | 48.34 | 55.93 | 71.21 | 97.73 | 106.1 | 223.5 | 273.1 | 268.8 | 206.6 | 99.94 | 129.4 | 198.5 | 269.8 | 591.9 | 1011 | 1174 | 1568 | 1666 | 1593 | 933.9 | 386.7 | 159.6 | 75.51 | 81.67 | 206 | 110.9 | 32.24 | 30.32 | 38.38 | 80.59 | 701.1 | 9999.9 | 9999.9 | 9999.9 | 180.8 | 35.71 | 24.95 | 15.86 | 11.9 | 8.226 | 7.923 | 6.814 | 5.599 | 5.673 | 4.453 | 5.232 | 4.114 | 4.228 | 4.283 | 3.82 | 4.028
365 | 56.26 | 47.21 | 60.19 | 78.07 | 92.42 | 165 | 276 | 170.5 | 133.9 | 119.8 | 123.8 | 195.4 | 309.4 | 536.6 | 736.8 | 1074 | 1263 | 1404 | 1236 | 733.8 | 370.1 | 125.5 | 61.62 | 48 | 112.7 | 202.2 | 80.19 | 26.73 | 38 | 41.48 | 79.91 | 704 | 9999.9 | 9999.9 | 9999.9 | 171.9 | 35.1 | 20.78 | 12.86 | 10.91 | 9.301 | 7.023 | 5.21 | 6.158 | 5.64 | 5.228 | 5.233 | 5.138 | 4.867 | 4.787 | 3.939
370 | 66.24 | 39.53 | 38.45 | 74.21 | 123.7 | 198.7 | 213.1 | 178.1 | 115.5 | 91.6 | 149 | 183.6 | 239.2 | 372.9 | 628 | 950.8 | 1227 | 1252 | 1015 | 595.5 | 284.3 | 125.2 | 59.78 | 37.91 | 46.86 | 148 | 177.1 | 55.42 | 32.62 | 32.22 | 30.84 | 79.48 | 722.1 | 9999.9 | 9999.9 | 9999.9 | 155 | 28.45 | 18.13 | 13.78 | 11.88 | 8.636 | 6.663 | 6.301 | 6.324 | 5.113 | 4.372 | 4.299 | 4.778 | 4.549 | 4.264
375 | 48.63 | 35.72 | 71.92 | 61.37 | 149.7 | 132.9 | 174.2 | 174 | 159.9 | 117.5 | 80.37 | 151.2 | 171.1 | 372.4 | 461.1 | 724.4 | 920.2 | 959.8 | 859 | 535.2 | 281.4 | 118.6 | 63.76 | 31.01 | 34.49 | 59.25 | 160.3 | 139 | 42.26 | 32.77 | 26.82 | 40.9 | 79.6 | 713.9 | 9999.9 | 9999.9 | 9999.9 | 150.8 | 28.63 | 17.07 | 15.2 | 8.074 | 8.05 | 7.669 | 4.617 | 5.147 | 4.609 | 4.973 | 4.275 | 4.086 | 4.236
380 | 23.79 | 35.41 | 79.7 | 45.24 | 93.84 | 101.9 | 133.8 | 113.9 | 105 | 109.5 | 119.6 | 101.1 | 157.5 | 236.7 | 406.6 | 604.3 | 716.5 | 783.8 | 673.4 | 448.6 | 181.3 | 93.1 | 47.99 | 42.33 | 33.97 | 40.63 | 65.92 | 177.6 | 104.4 | 27.19 | 28.9 | 28.99 | 40.59 | 75.46 | 710.1 | 9999.9 | 9999.9 | 9999.9 | 136.9 | 27.2 | 17.02 | 14.46 | 9.39 | 6.228 | 7.465 | 5.323 | 5.692 | 5.402 | 5.816 | 4.932 | 3.503
385 | 34.92 | 29.2 | 55.86 | 51.71 | 49.39 | 102 | 99.68 | 82.52 | 97.61 | 70.84 | 77.07 | 104.4 | 164.5 | 226.6 | 332.2 | 500.4 | 616.3 | 606.4 | 521.7 | 355.6 | 179.8 | 74.61 | 46.75 | 37.83 | 41.97 | 45.15 | 42.29 | 95.4 | 174 | 72.09 | 32.95 | 30.67 | 29.46 | 27.79 | 76.57 | 715.1 | 9999.9 | 9999.9 | 9999.9 | 123.3 | 22.56 | 16.46 | 11.39 | 10.66 | 6.168 | 5.999 | 5.788 | 5.861 | 4.232 | 5.653 | 4.61
390 | 48.95 | 53.64 | 50.57 | 74.24 | 52.79 | 104.8 | 85.77 | 94.01 | 93.71 | 81.85 | 69.66 | 80.03 | 130.7 | 184.1 | 301.1 | 383.2 | 445.6 | 542.9 | 404.3 | 273.5 | 167.8 | 92.29 | 45.83 | 44.54 | 28.9 | 42.76 | 35.8 | 44.64 | 98.69 | 152.1 | 57.5 | 24.19 | 30.57 | 30.94 | 31.47 | 81.98 | 698.8 | 9999.9 | 9999.9 | 9999.9 | 129.9 | 25.38 | 15.5 | 8.292 | 9.163 | 7.259 | 5.832 | 6.182 | 4.858 | 5.785 | 4.132
395 | 31.77 | 28.23 | 64.07 | 79.65 | 49.92 | 75.81 | 98.64 | 107 | 89.13 | 86.22 | 58.81 | 68.46 | 104.5 | 128.2 | 215.9 | 300 | 352.2 | 432.4 | 325.6 | 217.8 | 150.3 | 81.11 | 49.35 | 34.88 | 29.83 | 43.31 | 38.63 | 42.93 | 45.32 | 122.7 | 126.8 | 45.72 | 23.49 | 32.83 | 25.49 | 31.46 | 75.31 | 707.8 | 9999.9 | 9999.9 | 9999.9 | 106.9 | 24.26 | 15.87 | 10.07 | 8.997 | 8.525 | 6.265 | 5.815 | 4.277 | 4.423
400 | 59.49 | 59.94 | 23.46 | 42.65 | 92.79 | 71.9 | 71.23 | 63.46 | 57.85 | 69.89 | 52.2 | 61.75 | 83.21 | 118.9 | 153.5 | 274.3 | 313.5 | 311.1 | 282.8 | 169.7 | 103.3 | 54.43 | 40.21 | 44.58 | 29.55 | 39.83 | 34.94 | 40.17 | 31.47 | 54.15 | 129.4 | 109.1 | 32.39 | 26.44 | 23.12 | 27 | 31.75 | 73.73 | 694.2 | 9999.9 | 9999.9 | 9999.9 | 103.9 | 21.29 | 14.77 | 10.46 | 7.41 | 6.976 | 6.19 | 6.646 | 4.929
405 | 81.89 | 102.6 | 45.32 | 60.94 | 70.5 | 83.72 | 83.05 | 79.08 | 91.04 | 39.74 | 55.61 | 49.26 | 59.39 | 119 | 159.5 | 223.4 | 259.6 | 244 | 196.7 | 150.1 | 89.97 | 52.93 | 49.66 | 34.63 | 40.94 | 36.98 | 38.32 | 31.85 | 28.79 | 32.72 | 62.86 | 125.1 | 75.46 | 33.35 | 24.55 | 20.03 | 27.46 | 28.01 | 69.61 | 683.3 | 9999.9 | 9999.9 | 9999.9 | 110.4 | 21.76 | 13.34 | 8.238 | 6.964 | 8.252 | 5.134 | 4.002
410 | 27.08 | 78.82 | 80.48 | 67.16 | 43.36 | 75.93 | 58.62 | 70.83 | 44.22 | 56.25 | 62.08 | 64.75 | 59.52 | 134.3 | 134.5 | 171.2 | 213.8 | 216.2 | 171.6 | 111.3 | 80.7 | 54.55 | 39.35 | 32.73 | 33.31 | 34.33 | 29.45 | 30.41 | 36.46 | 34.27 | 32.54 | 69.32 | 124.5 | 64.36 | 22.92 | 21.41 | 25.33 | 24.96 | 25.95 | 67.92 | 678.9 | 9999.9 | 9999.9 | 9999.9 | 94.26 | 20.48 | 17.41 | 11.26 | 8.235 | 6.724 | 6.217
415 | 40.59 | 70.7 | 134.8 | 63.95 | 44.81 | 38.12 | 55.13 | 70.44 | 61.77 | 67.28 | 44.85 | 51.18 | 55.91 | 97.92 | 142.6 | 117.7 | 143.4 | 179.8 | 151.2 | 97.93 | 82.19 | 51.58 | 45.34 | 30.98 | 37.56 | 36.45 | 35.67 | 34.75 | 25.57 | 27.05 | 28.06 | 31.09 | 90.79 | 126.2 | 41.97 | 30.34 | 22.01 | 19.92 | 22.48 | 21.74 | 64.02 | 679.4 | 9999.9 | 9999.9 | 9999.9 | 105.5 | 17.81 | 14.22 | 9.751 | 7.99 | 6.284
420 | 42.38 | 39.26 | 146.7 | 98.36 | 51.13 | 38.29 | 47.85 | 42.02 | 49.27 | 57.72 | 51.11 | 49.67 | 44.63 | 52.77 | 118.9 | 128.4 | 130.7 | 128.5 | 155.6 | 76.14 | 57.47 | 43.62 | 54.93 | 22.28 | 43.07 | 22.2 | 32.56 | 32.62 | 36.48 | 29.29 | 32.92 | 29.44 | 50.96 | 92.17 | 84.01 | 34.43 | 22.52 | 20.81 | 15.07 | 16.32 | 19.46 | 64.15 | 686.1 | 9999.9 | 9999.9 | 9999.9 | 103.1 | 19.81 | 14.33 | 9.532 | 8.116
425 | 41.68 | 92.37 | 89.3 | 121.2 | 37.73 | 48.3 | 62.61 | 73.75 | 31.26 | 44.09 | 50.85 | 53.44 | 63.05 | 73.3 | 80.76 | 89.43 | 97.56 | 118.8 | 113.9 | 79.33 | 59.08 | 37.07 | 39.9 | 23.81 | 25.62 | 30.26 | 31.86 | 29.38 | 28.78 | 28.3 | 27.81 | 28.81 | 28.27 | 43.69 | 101.9 | 64.37 | 27.1 | 20.49 | 14.96 | 20.53 | 19.02 | 21.06 | 62.01 | 688.8 | 9999.9 | 9999.9 | 9724 | 90.14 | 23.43 | 12.67 | 8.195
430 | 29.12 | 56.21 | 39.24 | 146.9 | 104.4 | 40.6 | 38.46 | 49.69 | 51.47 | 82.5 | 50.34 | 40.45 | 46.13 | 56.22 | 78.78 | 96.47 | 85.1 | 100 | 103.2 | 63.06 | 56.79 | 44.8 | 36.9 | 28.45 | 25.36 | 37.73 | 36.18 | 31.31 | 29.34 | 34.39 | 31.7 | 27 | 23.19 | 24.37 | 60.32 | 89.3 | 42.62 | 18.86 | 17.72 | 15.08 | 16.25 | 14.4 | 22.4 | 60.39 | 674.1 | 9999.9 | 9999.9 | 9974 | 98.23 | 20.3 | 15.25
435 | 40.74 | 50.76 | 76.85 | 130.7 | 236.4 | 51.54 | 62.56 | 74.47 | 39.58 | 41.76 | 37.01 | 43.32 | 45.91 | 54.34 | 90.53 | 76.83 | 95.72 | 74.71 | 77.61 | 46.3 | 46.25 | 35.38 | 34.08 | 36.18 | 33.76 | 27.89 | 29.59 | 28.47 | 27.67 | 26.67 | 31.25 | 27.65 | 30.5 | 26.57 | 35.21 | 59.22 | 84.74 | 31.19 | 16.61 | 16.35 | 13.48 | 12.15 | 15.34 | 20.77 | 62.89 | 688 | 9999.9 | 9999.9 | 9999.9 | 94.89 | 19.39
440 | 40.63 | 57.59 | 47.38 | 84.13 | 326.1 | 144.6 | 65.2 | 34.68 | 42.34 | 35.28 | 42.08 | 28.56 | 30.69 | 50.43 | 60.52 | 91.17 | 78.68 | 66.7 | 70.61 | 56.36 | 51.34 | 45.31 | 34.55 | 23.4 | 31.24 | 22.32 | 37.64 | 33.4 | 29.17 | 23.99 | 27.35 | 25.06 | 25.26 | 20.88 | 28.81 | 30.14 | 63.54 | 55.99 | 24.77 | 17.17 | 15.58 | 12.31 | 14.82 | 14.33 | 17.27 | 63.75 | 681.9 | 9999.9 | 9999.9 | 9952 | 80.72
445 | 38.69 | 39.33 | 55.63 | 54.63 | 255.6 | 407.6 | 61.62 | 75.49 | 44.05 | 64.52 | 60.31 | 46.18 | 45.1 | 37.45 | 67.95 | 61.24 | 67.16 | 62.88 | 61.6 | 52.32 | 41.72 | 42.19 | 28.09 | 29.72 | 23.59 | 26.34 | 28 | 27.93 | 23.51 | 25.22 | 27.97 | 27.11 | 25.65 | 24.98 | 26.03 | 26.12 | 31.12 | 71.15 | 45.47 | 20.02 | 11.96 | 12.88 | 13.46 | 9.896 | 14.86 | 19.63 | 63.52 | 683.4 | 9999.9 | 9999.9 | 9560
450 | 45.74 | 50.15 | 53.58 | 59.84 | 81.85 | 598.3 | 253.1 | 48.03 | 58.33 | 40.78 | 29.85 | 42.82 | 66.85 | 45.23 | 48.11 | 52.17 | 50.66 | 60.23 | 70.27 | 51.18 | 34.27 | 26.28 | 28.71 | 27.35 | 32.14 | 21.97 | 30.09 | 24.97 | 31.03 | 26.4 | 29.94 | 30.98 | 21.9 | 22.35 | 25.03 | 20.24 | 22.59 | 41.12 | 63.99 | 32.19 | 14.3 | 13.15 | 12.98 | 14.4 | 11.18 | 15.42 | 17.71 | 61.88 | 687.2 | 9999.9 | 9999.9
455 | 40.91 | 44.16 | 42.21 | 55.14 | 58.2 | 365.2 | 671.5 | 49.27 | 63.74 | 47.46 | 50.79 | 29.07 | 43.35 | 58.61 | 52.02 | 44.27 | 64.14 | 61.27 | 45.07 | 45.75 | 30.46 | 33.21 | 30.34 | 23.04 | 28.95 | 29.37 | 23.47 | 22.6 | 24.04 | 26.78 | 22.97 | 30.42 | 24.16 | 23.24 | 21.63 | 21.14 | 17.78 | 23.44 | 38.01 | 50.64 | 22.42 | 13.03 | 12.58 | 13.32 | 11.14 | 10.1 | 12.05 | 15.41 | 61.99 | 698.8 | 9999.9
460 | 63.88 | 54.2 | 59.83 | 69.22 | 64.77 | 120.9 | 992.2 | 308 | 45 | 50.07 | 44.08 | 51.34 | 50.01 | 46.03 | 29.36 | 52.05 | 54.12 | 60.53 | 67.35 | 48.56 | 32.81 | 37.04 | 33.04 | 26.12 | 20.14 | 22.07 | 29.07 | 22.59 | 22.03 | 28.1 | 26.46 | 23.68 | 22.47 | 21.19 | 19.55 | 22.5 | 19.07 | 14.53 | 17.86 | 44.78 | 44.04 | 17.26 | 12.4 | 10.22 | 10.88 | 10.89 | 12.19 | 12.14 | 16.3 | 61.71 | 679.9
465 | 34.89 | 67.22 | 65.79 | 83.63 | 71.52 | 57.66 | 690.9 | 1049 | 130.5 | 51.43 | 49.29 | 76.71 | 51.69 | 65.66 | 52.23 | 62.33 | 53.41 | 52.47 | 56.38 | 36.61 | 26.44 | 24.84 | 31.98 | 26.04 | 35.4 | 22.13 | 24.86 | 22.78 | 27.71 | 24.87 | 24.07 | 28.18 | 17.72 | 22.79 | 21.16 | 21.52 | 17.07 | 16.86 | 16.08 | 20.88 | 47.47 | 31.73 | 14.3 | 10.88 | 9.482 | 12.93 | 11.95 | 10.93 | 13.1 | 18.89 | 63.15
470 | 64.78 | 50.27 | 89.59 | 60.1 | 73.81 | 47.99 | 202.9 | 1520 | 453.6 | 45.97 | 52.21 | 41.3 | 35.29 | 57.56 | 54.63 | 49.44 | 49.87 | 53.33 | 54.11 | 45.25 | 51.43 | 25.45 | 31.08 | 25.51 | 22.87 | 24.63 | 27.2 | 24.92 | 23.62 | 22.26 | 24.13 | 23.88 | 19.71 | 32.11 | 15.58 | 18.17 | 16.21 | 15.85 | 12.92 | 13.98 | 23.56 | 38.35 | 23.07 | 12.65 | 11.46 | 9.36 | 10.33 | 11.29 | 12.89 | 11.86 | 16.47
475 | 39.09 | 43.02 | 74.54 | 54.34 | 76.69 | 50.61 | 77.38 | 927.7 | 1415 | 54.99 | 61.73 | 36.09 | 41.01 | 61.18 | 41 | 35.34 | 30.53 | 38.81 | 55.11 | 35.3 | 30.79 | 33.86 | 20.98 | 31.89 | 24.93 | 23.48 | 20.03 | 24.11 | 19.55 | 21.47 | 22.33 | 19.52 | 18.04 | 17.28 | 18.8 | 18.28 | 14.74 | 14.78 | 12.8 | 12.16 | 13.58 | 28.98 | 33.65 | 16.63 | 10.95 | 9.032 | 10.39 | 10.74 | 8.773 | 8.971 | 8.923
480 | 51.04 | 62.72 | 49.3 | 47.56 | 36.46 | 56.61 | 60.03 | 219.5 | 1769 | 585.1 | 38.71 | 44.87 | 31.51 | 46.4 | 43.47 | 52.42 | 58.91 | 42.05 | 26.96 | 34.79 | 26.45 | 22.9 | 31.77 | 25.44 | 14.58 | 16.48 | 20.64 | 24.48 | 16.08 | 24.07 | 17.42 | 16.62 | 21.37 | 15.65 | 20.12 | 18.17 | 15.2 | 13.66 | 13.36 | 12.19 | 11.67 | 12.71 | 31.54 | 28.24 | 12.5 | 7.093 | 8.811 | 9.283 | 10.48 | 7.065 | 10.58
485 | 55.85 | 56.82 | 39.69 | 67.86 | 37.25 | 28.98 | 52.9 | 68.56 | 1076 | 1688 | 67.31 | 37.76 | 21.71 | 65.5 | 57.33 | 39.48 | 43.54 | 36.33 | 27.83 | 24.88 | 24.89 | 29 | 17.48 | 22 | 27.97 | 13.67 | 17.22 | 16.42 | 17.24 | 18.9 | 18.46 | 16.66 | 19.2 | 15.46 | 18.07 | 15.42 | 14 | 12.78 | 13.86 | 11.87 | 9.948 | 10.44 | 18.72 | 29.54 | 20.13 | 9.909 | 6.688 | 9.155 | 8.659 | 8.207 | 8.095
490 | 33.57 | 41.88 | 66.65 | 86.51 | 63.68 | 43.77 | 45.99 | 37.32 | 247.2 | 1970 | 511.9 | 45.8 | 41.54 | 52.31 | 64.83 | 36.48 | 31.54 | 44.76 | 41.67 | 24.81 | 24.26 | 31.82 | 30.85 | 17.95 | 21.38 | 22.31 | 21.92 | 24.58 | 20.54 | 18.5 | 13.67 | 16.03 | 13.62 | 15.78 | 16.14 | 18.14 | 15.86 | 13.36 | 13.77 | 9.648 | 12.11 | 9.637 | 10.99 | 22.47 | 27.67 | 16.79 | 7.899 | 9.757 | 9.122 | 7.63 | 8.789
495 | 57.34 | 45.73 | 42.27 | 57.33 | 58.8 | 46.33 | 39.27 | 59.18 | 65.15 | 1212 | 1533 | 91.13 | 36.03 | 48.23 | 40.59 | 35.95 | 33.27 | 36.49 | 46.48 | 23.29 | 18.95 | 17.07 | 20.34 | 22.83 | 28.95 | 21.63 | 21.99 | 21.12 | 17.13 | 20.08 | 15.11 | 13.08 | 17.42 | 18.4 | 13.24 | 14.74 | 15.72 | 11.36 | 13.56 | 12.4 | 10.71 | 10.03 | 8.9 | 14.5 | 21.89 | 23.62 | 12.65 | 9.113 | 8.548 | 8.394 | 7.957
500 | 34.57 | 45.67 | 33.77 | 58.06 | 47.3 | 46.94 | 45.61 | 25.2 | 50.21 | 457.9 | 1953 | 378.7 | 23.32 | 22.91 | 35.66 | 41.41 | 41.13 | 29.34 | 46.46 | 22.45 | 21.42 | 19.43 | 16.98 | 16.72 | 14.97 | 10.31 | 15.54 | 15.79 | 24.1 | 17.04 | 13.74 | 11.2 | 13.57 | 17.41 | 13.73 | 17.76 | 9.485 | 11.81 | 11.24 | 12.81 | 11.36 | 11.38 | 11.48 | 10.24 | 14.09 | 23.16 | 18.97 | 10.73 | 9.085 | 9.4 | 8.525