## Sheet1
Report date: | 14:14:49, 04/09/2024
Sample: | 1
File name:
Run date: | 14:11:51, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/275.0 | 45.79
2 | 205.0/290.0 | 50.07
3 | 205.0/370.0 | 90.07
4 | 205.0/450.0 | 83.21
5 | 205.0/470.0 | 65.92
6 | 205.0/490.0 | 79.97
7 | 210.0/310.0 | 132.4
8 | 210.0/465.0 | 83.74
9 | 210.0/480.0 | 77.54
10 | 215.0/390.0 | 87.06
11 | 215.0/475.0 | 55.09
12 | 215.0/485.0 | 61.2
13 | 220.0/260.0 | 38.46
14 | 225.0/280.0 | 69.07
15 | 225.0/405.0 | 108
16 | 230.0/305.0 | 280.1
17 | 230.0/330.0 | 465.5
18 | 230.0/345.0 | 427.6
19 | 230.0/375.0 | 183.2
20 | 230.0/395.0 | 131.4
21 | 230.0/415.0 | 95.21
22 | 230.0/425.0 | 102.1
23 | 235.0/270.0 | 52.82
24 | 235.0/405.0 | 96.51
25 | 235.0/420.0 | 82.3
26 | 235.0/435.0 | 82.76
27 | 240.0/260.0 | 98.93
28 | 240.0/275.0 | 53.43
29 | 240.0/430.0 | 73.6
30 | 240.0/445.0 | 94.73
31 | 245.0/265.0 | 82.94
32 | 245.0/390.0 | 90.5
33 | 245.0/420.0 | 74.08
34 | 245.0/450.0 | 67.57
35 | 250.0/275.0 | 83.77
36 | 250.0/405.0 | 87.66
37 | 250.0/435.0 | 71.66
38 | 250.0/445.0 | 78.27
39 | 250.0/460.0 | 66.41
40 | 255.0/280.0 | 120.3
41 | 255.0/415.0 | 63.49
42 | 255.0/430.0 | 67.08
43 | 260.0/285.0 | 134.1
44 | 260.0/455.0 | 70.77
45 | 260.0/480.0 | 57.98
46 | 265.0/440.0 | 85.21
47 | 265.0/465.0 | 59.77
48 | 265.0/490.0 | 64.57
49 | 270.0/450.0 | 75.9
50 | 270.0/485.0 | 55.17
51 | 275.0/435.0 | 100.6
52 | 275.0/490.0 | 51.15
53 | 280.0/445.0 | 85.26
54 | 280.0/455.0 | 74.73
55 | 285.0/330.0 | 2812
56 | 285.0/465.0 | 84.63
57 | 290.0/430.0 | 111.6
58 | 290.0/450.0 | 80.88
59 | 290.0/480.0 | 58.36
60 | 300.0/260.0 | 22.83
61 | 300.0/470.0 | 42.88
62 | 305.0/445.0 | 42.71
63 | 310.0/415.0 | 49.75
64 | 310.0/485.0 | 32.15
65 | 315.0/355.0 | 227.7
66 | 315.0/455.0 | 41.89
67 | 315.0/490.0 | 31.14
68 | 320.0/265.0 | 15.59
69 | 320.0/360.0 | 229.1
70 | 320.0/410.0 | 41.03
71 | 320.0/430.0 | 43.26
72 | 320.0/450.0 | 36.51
73 | 325.0/365.0 | 201.8
74 | 325.0/385.0 | 45.54
75 | 325.0/465.0 | 27.84
76 | 325.0/480.0 | 27.2
77 | 330.0/275.0 | 16.74
78 | 330.0/370.0 | 172.7
79 | 330.0/400.0 | 40.49
80 | 330.0/420.0 | 46.17
81 | 330.0/440.0 | 37.63
82 | 335.0/380.0 | 172.8
83 | 335.0/425.0 | 43.01
84 | 335.0/450.0 | 33.42
85 | 335.0/465.0 | 28.48
86 | 335.0/475.0 | 31.34
87 | 335.0/485.0 | 23.29
88 | 340.0/260.0 | 10.92
89 | 340.0/300.0 | 15.96
90 | 340.0/385.0 | 174.8
91 | 340.0/460.0 | 34.3
92 | 340.0/490.0 | 24.39
93 | 345.0/255.0 | 12.46
94 | 345.0/270.0 | 9.139
95 | 345.0/285.0 | 11.45
96 | 345.0/390.0 | 149.4
97 | 345.0/445.0 | 32.69
98 | 350.0/400.0 | 135.7
99 | 350.0/435.0 | 34.31
100 | 355.0/275.0 | 10.01
101 | 355.0/290.0 | 11.42
102 | 355.0/315.0 | 16.15
103 | 355.0/405.0 | 130.4
104 | 360.0/285.0 | 12.08
105 | 360.0/300.0 | 14.15
106 | 360.0/310.0 | 10.89
107 | 360.0/410.0 | 129.8
108 | 360.0/440.0 | 34.79
109 | 360.0/475.0 | 24.73
110 | 360.0/490.0 | 24.41
111 | 365.0/415.0 | 115.3
112 | 365.0/445.0 | 33.64
113 | 365.0/470.0 | 27.9
114 | 370.0/255.0 | 11.57
115 | 370.0/265.0 | 9.295
116 | 370.0/280.0 | 7.031
117 | 370.0/290.0 | 9.55
118 | 370.0/315.0 | 12.82
119 | 370.0/425.0 | 110.5
120 | 370.0/460.0 | 30.69
121 | 375.0/260.0 | 11.41
122 | 375.0/305.0 | 10.49
123 | 375.0/430.0 | 99.98
124 | 375.0/470.0 | 23.17
125 | 375.0/485.0 | 22.53
126 | 380.0/300.0 | 9.104
127 | 380.0/435.0 | 84.73
128 | 380.0/480.0 | 25.63
129 | 385.0/275.0 | 8.484
130 | 385.0/335.0 | 10.14
131 | 385.0/415.0 | 42.61
132 | 385.0/445.0 | 87.82
133 | 385.0/475.0 | 23.54
134 | 390.0/280.0 | 8.681
135 | 390.0/450.0 | 78.49
136 | 395.0/310.0 | 6.414
137 | 395.0/455.0 | 52.96
138 | 400.0/280.0 | 9.185
139 | 400.0/300.0 | 5.747
140 | 400.0/325.0 | 6.817
141 | 400.0/465.0 | 46.97
142 | 405.0/265.0 | 7.752
143 | 405.0/285.0 | 7.618
144 | 405.0/335.0 | 7.419
145 | 405.0/445.0 | 17.03
146 | 405.0/470.0 | 45
147 | 410.0/275.0 | 7.97
148 | 410.0/295.0 | 8.079
149 | 410.0/325.0 | 6.867
150 | 410.0/355.0 | 7.408
151 | 410.0/475.0 | 38.48
152 | 415.0/450.0 | 17.06
153 | 415.0/485.0 | 32.39
154 | 420.0/330.0 | 5.866
155 | 420.0/360.0 | 7.836
156 | 420.0/490.0 | 30.5
157 | 425.0/275.0 | 6.668
158 | 425.0/335.0 | 6.011
159 | 425.0/350.0 | 6.2
160 | 425.0/370.0 | 6.605
161 | 430.0/260.0 | 7.352
162 | 430.0/285.0 | 7.491
163 | 430.0/310.0 | 8.089
164 | 430.0/340.0 | 5.892
165 | 430.0/465.0 | 15.1
166 | 435.0/295.0 | 7.848
167 | 435.0/355.0 | 5.935
168 | 435.0/480.0 | 11.26
169 | 440.0/270.0 | 6.686
170 | 440.0/370.0 | 7.152
171 | 440.0/485.0 | 10.3
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 30.96 | 41.2 | 25.94 | 57.06 | 19.2 | 13.88 | 39.59 | 25.45 | 74.26 | 1931 | 5846 | 1494 | 20.44 | 26.58 | 20.44 | 20.62 | 20.05 | 21.5 | 19.64 | 11.39 | 19.59 | 7.919 | 11.79 | 13.16 | 9.731 | 7.122 | 12 | 6.842 | 7.639 | 5.449 | 6.724 | 7.655 | 9.145 | 11.86 | 10.9 | 8.164 | 5.445 | 7.515 | 8.397 | 6.846 | 9.485 | 6.214 | 5.45 | 5.35 | 4.217 | 5.321 | 4.319 | 3.589 | 3.374 | 1.953 | 2.091
255 | 22.24 | 23.81 | 15.98 | 27.35 | 17.55 | 48.67 | 28.32 | 51.32 | 51.19 | 146.2 | 1919 | 6610 | 3240 | 121.8 | 28.74 | 25.78 | 19.15 | 20.25 | 10.02 | 6.747 | 12.32 | 12.21 | 6.28 | 11.83 | 6.318 | 7.474 | 7.76 | 5.79 | 7.129 | 12.46 | 5.871 | 6.385 | 9.727 | 10.05 | 11.57 | 10.88 | 9.129 | 4.754 | 7.593 | 8.309 | 5.312 | 7.484 | 7.847 | 5.964 | 4.752 | 4.407 | 4.376 | 4.274 | 3.019 | 4.486 | 3.549
260 | 31.15 | 35.68 | 26.16 | 35.19 | 38.46 | 15.05 | 54.13 | 38.94 | 98.93 | 36.88 | 157.2 | 2228 | 8613 | 4093 | 136.2 | 22.37 | 22.45 | 15.96 | 12.22 | 17.41 | 22.83 | 18.01 | 11.09 | 12.47 | 11.67 | 6.482 | 10.23 | 9.949 | 10.92 | 7.855 | 7.295 | 7.163 | 8.627 | 8.862 | 7.445 | 11.41 | 9.015 | 6.723 | 5.561 | 8.911 | 9.086 | 7.596 | 6.229 | 5.658 | 6.036 | 5.335 | 7.352 | 4.224 | 4.292 | 2.881 | 2.806
265 | 22.81 | 43.55 | 34.31 | 21.54 | 30.04 | 23.64 | 17.8 | 22.43 | 71.49 | 82.94 | 46.15 | 170.4 | 3059 | 9999.9 | 5606 | 197.6 | 24.13 | 22.69 | 21.07 | 21.21 | 13.54 | 18 | 8.22 | 10.27 | 15.59 | 10.31 | 9.076 | 8.028 | 6.2 | 8.126 | 5.726 | 8.614 | 7.32 | 7.76 | 9.295 | 7.726 | 6.885 | 7.578 | 6.699 | 6.95 | 6.049 | 7.752 | 7.145 | 5.932 | 6.482 | 4.602 | 4.08 | 4.907 | 5.343 | 3.971 | 3.565
270 | 34.95 | 45.73 | 38.17 | 32.88 | 41.89 | 46.98 | 34.98 | 52.82 | 33.69 | 49.61 | 83.74 | 43.15 | 217.7 | 4028 | 9999.9 | 7345 | 218.3 | 35.75 | 19.81 | 22.47 | 17.1 | 17.23 | 12.55 | 10.67 | 12.89 | 11.24 | 7.003 | 8.577 | 6.42 | 9.139 | 4.808 | 8.035 | 8.2 | 4.507 | 5.78 | 8.268 | 7.641 | 7.891 | 7.431 | 7.062 | 6.685 | 6.361 | 6.933 | 7.319 | 5.572 | 4.552 | 4.073 | 5.217 | 6.686 | 4.213 | 3.206
275 | 40.25 | 45.79 | 16.75 | 38.87 | 38.98 | 44.8 | 50.46 | 29.83 | 53.43 | 33.05 | 83.77 | 66.29 | 91.38 | 286 | 5427 | 9999.9 | 9160 | 275.7 | 21.96 | 25.79 | 20.64 | 18.82 | 11.75 | 9.801 | 10.25 | 12.56 | 16.74 | 6.272 | 9.547 | 5.562 | 9.356 | 10.01 | 9.909 | 5.552 | 5.133 | 8.145 | 5.859 | 8.484 | 7.987 | 6.763 | 6.02 | 4.375 | 7.97 | 4.578 | 6.491 | 6.668 | 5.042 | 4.257 | 4.57 | 2.751 | 3.336
280 | 46.1 | 17.53 | 35.26 | 27.24 | 30.04 | 69.07 | 52.95 | 56.08 | 33.35 | 44 | 74.84 | 120.3 | 93.46 | 54.01 | 389.4 | 7261 | 9999.9 | 9999.9 | 213 | 37.93 | 23.52 | 20.06 | 12.4 | 11.03 | 9.26 | 7.381 | 11.65 | 8.667 | 11.44 | 8.839 | 8.533 | 6.956 | 8.407 | 4.571 | 7.031 | 5.303 | 5.361 | 5.991 | 8.681 | 7.488 | 9.185 | 6.525 | 6.726 | 6.207 | 6.265 | 5.391 | 5.455 | 4.554 | 4.373 | 4.113 | 4.517
285 | 43.11 | 46.91 | 20.96 | 28.49 | 51.81 | 46.35 | 54.07 | 37.2 | 38.1 | 37.06 | 33.19 | 68.15 | 134.1 | 92.61 | 86.38 | 558.2 | 8929 | 9999.9 | 9999.9 | 266.2 | 30.79 | 23.13 | 25.76 | 14.07 | 13.82 | 9.259 | 8.377 | 10.69 | 11.27 | 11.45 | 9.183 | 8.666 | 12.08 | 8.403 | 5.809 | 4.446 | 6.65 | 4.731 | 7.388 | 7.013 | 7.02 | 7.618 | 6.18 | 5.838 | 5.419 | 6.312 | 7.491 | 4.392 | 5.288 | 5.109 | 4.633
290 | 39.24 | 50.07 | 23.92 | 48.61 | 59.26 | 75.37 | 88.27 | 94.47 | 66.49 | 46.98 | 39.39 | 57.23 | 123.9 | 263.6 | 199.8 | 281 | 845.5 | 9999.9 | 9999.9 | 9999.9 | 284.5 | 34.55 | 29.96 | 15.94 | 20.03 | 12.57 | 12.24 | 12.49 | 11.88 | 9.199 | 9.028 | 11.42 | 6.981 | 8.83 | 9.55 | 9.355 | 6.275 | 4.108 | 5.805 | 6.718 | 7.797 | 7.157 | 7.039 | 7.583 | 5.908 | 5.386 | 4.753 | 5.331 | 4.878 | 4.571 | 5.615
295 | 45.46 | 22.54 | 39.67 | 50.18 | 52.7 | 120.7 | 128.6 | 117 | 121.3 | 48.62 | 76.68 | 78.96 | 102.6 | 273.4 | 475.5 | 463 | 564.8 | 1055 | 9999.9 | 9999.9 | 9999.9 | 303.5 | 43.77 | 31.41 | 16.97 | 13.96 | 11.27 | 7.924 | 12.59 | 6.623 | 9.627 | 7.575 | 8.791 | 7.271 | 8.492 | 5.317 | 6.754 | 6.953 | 5.085 | 5.126 | 4.573 | 7.101 | 8.079 | 6.521 | 5.763 | 4.132 | 5.085 | 7.848 | 5.896 | 6.292 | 5.906
300 | 49.13 | 54.02 | 68.41 | 99.04 | 85.11 | 131.6 | 187.8 | 193 | 104.9 | 75.29 | 79.89 | 101.9 | 199.1 | 320.1 | 570.3 | 794.3 | 890.9 | 878.9 | 1161 | 9999.9 | 9999.9 | 9999.9 | 300.4 | 39.26 | 25.31 | 17.14 | 13.51 | 11.24 | 15.96 | 8.888 | 8.886 | 9.347 | 14.15 | 8.083 | 7.16 | 5.766 | 9.104 | 6.322 | 4.214 | 4.348 | 5.747 | 4.654 | 5.411 | 6.626 | 6.822 | 6.602 | 5.74 | 4.248 | 6.321 | 5.575 | 5.307
305 | 51.31 | 52.04 | 36.36 | 92.86 | 126.1 | 170.8 | 280.1 | 230.6 | 111.1 | 83.98 | 96.61 | 123.4 | 251.8 | 410.3 | 715.2 | 1198 | 1312 | 1187 | 880.6 | 1068 | 9999.9 | 9999.9 | 9999.9 | 264.8 | 30.39 | 35.33 | 16.77 | 19.81 | 12.21 | 9.302 | 10.45 | 9.179 | 8.988 | 7.461 | 6.507 | 10.49 | 6.906 | 7.065 | 6.448 | 6.007 | 4.889 | 4.917 | 5.509 | 7.426 | 7.324 | 7.364 | 6.524 | 4.501 | 6.326 | 6.43 | 5.986
310 | 55.51 | 64.03 | 132.4 | 93.4 | 136.1 | 187.4 | 233.9 | 264.3 | 141.2 | 147 | 108.1 | 204.3 | 346.8 | 506.5 | 824.5 | 1254 | 1690 | 1621 | 1231 | 723.1 | 916.5 | 9999.9 | 9999.9 | 9999.9 | 260.6 | 31.83 | 25.47 | 19.19 | 13.34 | 11.85 | 9.927 | 7.43 | 10.89 | 8.604 | 7.435 | 9.407 | 8.165 | 5.384 | 5.81 | 6.414 | 3.991 | 5.094 | 4.463 | 5.076 | 6.135 | 7.339 | 8.089 | 5.512 | 5.054 | 5.872 | 5.944
315 | 40.8 | 43.73 | 76.63 | 86.03 | 159.4 | 289.3 | 330 | 318.6 | 180.7 | 128.3 | 188.5 | 265.4 | 427.8 | 689 | 1075 | 1482 | 1862 | 2227 | 1643 | 863.4 | 414.2 | 784.3 | 9999.9 | 9999.9 | 9999.9 | 253.7 | 33.58 | 25.02 | 14.69 | 14.35 | 10.44 | 16.15 | 9.468 | 10.37 | 12.82 | 7.961 | 8.282 | 5.88 | 6.258 | 5.509 | 5.298 | 5.36 | 4.392 | 5.052 | 5.905 | 5.95 | 7.007 | 6.557 | 5.741 | 5.344 | 5.961
320 | 41.09 | 97.8 | 91.28 | 125.1 | 170.3 | 298.2 | 350.1 | 364.9 | 169.7 | 198.9 | 219.3 | 247.6 | 457.7 | 723 | 1280 | 1631 | 2315 | 2245 | 2105 | 1118 | 518.1 | 218.3 | 728 | 9999.9 | 9999.9 | 9999.9 | 242.2 | 31 | 26.59 | 17.19 | 13.74 | 11.67 | 10.66 | 10.56 | 9.617 | 9.015 | 6.834 | 8.377 | 7.563 | 5.78 | 4.437 | 4.097 | 3.438 | 5.516 | 4.015 | 7.035 | 6.302 | 6.951 | 6.034 | 4.602 | 6.524
325 | 32.53 | 56.29 | 78.42 | 149.7 | 210.3 | 332.9 | 382.1 | 374.7 | 254.7 | 224.8 | 216.5 | 306.8 | 495 | 869.3 | 1436 | 1765 | 2375 | 2507 | 2312 | 1409 | 544.1 | 223.6 | 119.1 | 698.5 | 9999.9 | 9999.9 | 9999.9 | 239.1 | 32.01 | 21.32 | 18.29 | 14.22 | 10.92 | 9.583 | 9.839 | 10.8 | 9.859 | 8.766 | 5.248 | 5.375 | 6.817 | 4.418 | 6.867 | 5.143 | 4.981 | 3.881 | 4.997 | 5.469 | 5.522 | 6.185 | 4.428
330 | 63.94 | 43.69 | 79.24 | 127.5 | 197 | 318.7 | 465.5 | 392.5 | 185.7 | 166.6 | 231.5 | 346.9 | 557.2 | 779.9 | 1265 | 1858 | 2423 | 2812 | 2471 | 1464 | 686.7 | 226.1 | 88.88 | 104.3 | 698.9 | 9999.9 | 9999.9 | 9999.9 | 237.9 | 35.47 | 24.72 | 16.14 | 14.33 | 10.84 | 10.64 | 10.14 | 7.195 | 7.311 | 7.414 | 5.858 | 6.183 | 5.459 | 3.948 | 5.211 | 5.866 | 5.476 | 4.744 | 5.62 | 5.17 | 6.066 | 5.63
335 | 54.95 | 42.98 | 83.99 | 94.93 | 192.1 | 309.2 | 435.6 | 406.5 | 244.9 | 188.4 | 227.2 | 306.3 | 490.2 | 868.7 | 1333 | 1779 | 2302 | 2524 | 2400 | 1534 | 831.4 | 283.7 | 88.62 | 57.52 | 91.04 | 694.9 | 9999.9 | 9999.9 | 9999.9 | 260.8 | 39.93 | 22.88 | 16.46 | 15.65 | 11.78 | 10.33 | 9.032 | 10.14 | 8.524 | 4.424 | 6.19 | 7.419 | 6.069 | 4.697 | 5.438 | 6.011 | 4.989 | 3.651 | 4.372 | 5.259 | 7.206
340 | 45.09 | 57.58 | 104 | 126.2 | 167.1 | 326.2 | 378 | 353.9 | 197.2 | 212.9 | 218.2 | 295.9 | 519.8 | 800.7 | 1304 | 1787 | 2196 | 2542 | 2367 | 1355 | 700.9 | 471.8 | 127.4 | 46.6 | 44.7 | 83.69 | 691.3 | 9999.9 | 9999.9 | 9999.9 | 223.5 | 31.16 | 24.32 | 22.4 | 9.823 | 12.86 | 10.86 | 8.502 | 7.827 | 6.317 | 5.993 | 5.652 | 5.651 | 4.466 | 3.889 | 5.786 | 5.892 | 4.689 | 4.253 | 6.464 | 5.498
345 | 60.85 | 78.91 | 94.8 | 84.63 | 189 | 330.4 | 427.6 | 312.2 | 214.8 | 192.3 | 209.7 | 245.5 | 434.7 | 681 | 1235 | 1735 | 2137 | 2172 | 2051 | 1321 | 558.7 | 320 | 261.9 | 63.08 | 42.41 | 35.67 | 70.66 | 693.1 | 9999.9 | 9999.9 | 9999.9 | 206 | 39.27 | 26.36 | 15.33 | 15.6 | 12.33 | 10.44 | 8.981 | 6.975 | 5.219 | 5.227 | 5.835 | 5.102 | 5.736 | 4.6 | 4.082 | 4.041 | 4.77 | 5.285 | 5.114
350 | 43.95 | 60.66 | 66.34 | 110.6 | 189.4 | 230 | 360.4 | 328.5 | 220.9 | 146.8 | 182.8 | 270.4 | 414.9 | 740.5 | 1151 | 1511 | 1818 | 1936 | 1847 | 1064 | 506 | 207.6 | 240.1 | 192.3 | 42.08 | 37.1 | 47.74 | 81.62 | 689.1 | 9999.9 | 9999.9 | 9999.9 | 224.4 | 29.36 | 25.03 | 16.41 | 15.94 | 11.15 | 10.04 | 6.96 | 7.591 | 6.497 | 6.247 | 5.799 | 4.213 | 6.2 | 4.164 | 4.429 | 4.187 | 4.475 | 5.753
355 | 62.23 | 54.99 | 64.02 | 94.78 | 180.8 | 257.2 | 285 | 287.7 | 131.7 | 94.17 | 146.9 | 220 | 400.6 | 573 | 944.4 | 1227 | 1704 | 1812 | 1604 | 941.9 | 414.3 | 181.8 | 96.48 | 227.7 | 126.1 | 37.34 | 33.08 | 30.11 | 77.18 | 701.8 | 9999.9 | 9999.9 | 9999.9 | 204.8 | 33.39 | 24.22 | 16.44 | 14.28 | 9.075 | 8.44 | 7.95 | 6.017 | 7.408 | 6.942 | 5.468 | 4.652 | 5.161 | 5.935 | 5.15 | 5.116 | 4.786
360 | 60.98 | 78.33 | 82.55 | 82.43 | 132.6 | 225.5 | 236.3 | 210.3 | 160.3 | 136.2 | 131.5 | 236.9 | 345.7 | 544 | 851.5 | 1190 | 1380 | 1526 | 1298 | 792.8 | 384.8 | 130.2 | 66.22 | 84.38 | 229.1 | 97.02 | 45.71 | 28.05 | 41.45 | 83.94 | 687.6 | 9999.9 | 9999.9 | 9999.9 | 175.6 | 28.92 | 22.54 | 16.87 | 11.81 | 10.87 | 7.344 | 7.163 | 5.11 | 5.293 | 7.836 | 4.56 | 4.488 | 4.233 | 5.036 | 4.879 | 4.329
365 | 57.08 | 65.29 | 56.3 | 86.25 | 99.22 | 188 | 189.2 | 163.1 | 126 | 83.34 | 122.2 | 198.6 | 268.1 | 525.7 | 721.9 | 993.5 | 1210 | 1253 | 1090 | 646.6 | 351.5 | 132 | 62.61 | 45.9 | 112.3 | 201.8 | 70.6 | 29.18 | 36.79 | 43.99 | 76.8 | 687.5 | 9999.9 | 9999.9 | 9999.9 | 167.1 | 28.15 | 22.46 | 16.89 | 10.44 | 10.11 | 8.55 | 8.173 | 5.452 | 6.456 | 4.279 | 5.641 | 4.771 | 4.674 | 4.808 | 4.649
370 | 32.02 | 90.07 | 61.85 | 69.74 | 119.7 | 132.2 | 172.4 | 141 | 90.39 | 110.1 | 123.1 | 184.5 | 226.1 | 352.8 | 574.9 | 770.6 | 1031 | 1051 | 997.1 | 597.8 | 300.1 | 122.1 | 59.04 | 58.49 | 52.23 | 125.7 | 172.7 | 53.83 | 29.88 | 33.35 | 37.7 | 76.88 | 706.6 | 9999.9 | 9999.9 | 9999.9 | 145.4 | 26.31 | 20.53 | 12.28 | 9.682 | 9.02 | 6.517 | 7.062 | 5.498 | 6.605 | 5.296 | 5.255 | 7.152 | 4.194 | 4.82
375 | 43.68 | 77.5 | 50.42 | 58.35 | 107 | 137.7 | 183.2 | 145.3 | 98.09 | 81.3 | 133.1 | 155.6 | 237.3 | 286.5 | 457 | 641.3 | 867.5 | 895.9 | 806.2 | 523.5 | 213.2 | 103.8 | 50.63 | 40.65 | 38.21 | 62.08 | 161.8 | 127.8 | 45.73 | 28.95 | 35.45 | 33.17 | 75.21 | 695.5 | 9999.9 | 9999.9 | 9999.9 | 158.6 | 27.98 | 20.08 | 13.43 | 11.84 | 9.327 | 7.062 | 7.354 | 5.035 | 4.8 | 5.464 | 4.282 | 6.07 | 4.593
380 | 29.27 | 48.62 | 46.47 | 43.27 | 68.06 | 115.4 | 147.1 | 128.4 | 116.8 | 90.04 | 89.31 | 126.5 | 169.6 | 261.3 | 400.2 | 517.8 | 662.1 | 751.2 | 609.5 | 378.6 | 173.9 | 96.82 | 48.13 | 48.63 | 38.25 | 36.56 | 74.37 | 172.8 | 115.5 | 32.26 | 29.97 | 32.44 | 37.7 | 77.47 | 701.8 | 9999.9 | 9999.9 | 9999.9 | 158.8 | 27.86 | 17.93 | 16.04 | 12.1 | 7.411 | 8.486 | 7.155 | 7.086 | 4.784 | 5.377 | 5.056 | 5.226
385 | 37.57 | 38.26 | 37.66 | 74.97 | 118.5 | 116.3 | 127.4 | 111 | 95.22 | 61.8 | 66.4 | 90.52 | 155 | 203.5 | 292.7 | 410.8 | 527.1 | 610.3 | 535.2 | 358.4 | 170.8 | 86.57 | 57.07 | 39.83 | 43.27 | 45.54 | 36.92 | 83.82 | 174.8 | 71.8 | 37.05 | 28.24 | 31.88 | 34.09 | 79.54 | 705.5 | 9999.9 | 9999.9 | 9999.9 | 139.1 | 24.99 | 18.61 | 14.54 | 9.538 | 9.823 | 7.145 | 7.25 | 5.347 | 4.697 | 5.018 | 5.04
390 | 72.14 | 75.06 | 79.88 | 87.06 | 51.4 | 72.56 | 124.8 | 113.4 | 73.5 | 90.5 | 69.66 | 57.65 | 135.7 | 197 | 264.7 | 340.7 | 443.7 | 470.8 | 438.3 | 262.6 | 136.3 | 71.84 | 46.89 | 43.07 | 37.85 | 38.78 | 35.47 | 39.52 | 96.23 | 149.4 | 60.92 | 30.56 | 26.53 | 34.87 | 36.66 | 75.92 | 695.9 | 9999.9 | 9999.9 | 9999.9 | 145.4 | 25.57 | 20.86 | 11.37 | 10.29 | 10.18 | 7.668 | 6.721 | 5.742 | 6.127 | 4.869
395 | 42.42 | 35.68 | 64.71 | 65.79 | 55.33 | 63.81 | 131.4 | 90.7 | 88.08 | 57.55 | 52.22 | 54.09 | 109.3 | 182.6 | 226.1 | 253.3 | 321.7 | 362.1 | 323.1 | 205.1 | 109 | 91.07 | 48.44 | 49.63 | 40.82 | 30.22 | 30.11 | 33.82 | 38.12 | 108 | 129.5 | 42.25 | 29.53 | 27.38 | 25.25 | 29.33 | 76.56 | 702.8 | 9999.9 | 9999.9 | 9999.9 | 128.8 | 24.24 | 18.27 | 10.94 | 8.453 | 6.726 | 7.116 | 7.698 | 5.752 | 3.861
400 | 67.96 | 52.43 | 61.26 | 60.95 | 70.57 | 94.66 | 74.44 | 68.21 | 80.22 | 54.55 | 84.56 | 53.57 | 89.06 | 103.7 | 169.2 | 227.6 | 324.4 | 275.5 | 269.7 | 162.7 | 104.7 | 74.73 | 45.54 | 48.61 | 29.62 | 30.96 | 40.49 | 32.44 | 36.93 | 52.06 | 135.7 | 112.8 | 37.52 | 28.13 | 23.01 | 20.98 | 30.31 | 75.37 | 691.8 | 9999.9 | 9999.9 | 9999.9 | 121.6 | 25.7 | 15.78 | 13.08 | 8.021 | 7.501 | 6.765 | 5.399 | 6.223
405 | 95.09 | 65.07 | 56.37 | 64.64 | 52.7 | 108 | 73.83 | 96.51 | 79.24 | 61.07 | 87.66 | 44.94 | 98.46 | 91.43 | 112.4 | 233.8 | 223.5 | 223.1 | 214.6 | 150.1 | 99.56 | 63.52 | 50.04 | 39.18 | 37.01 | 37.85 | 38.21 | 35.91 | 33.97 | 36.02 | 58.85 | 130.4 | 75.69 | 24.5 | 28.48 | 24.97 | 26.24 | 29.31 | 73.91 | 676.6 | 9999.9 | 9999.9 | 9999.9 | 131 | 25.89 | 15.6 | 11.67 | 7.936 | 6.686 | 7.598 | 5.184
410 | 42.36 | 90.52 | 81.44 | 68.19 | 59.41 | 61.18 | 59.21 | 85.86 | 70.53 | 66.6 | 68.79 | 54.39 | 78.39 | 76.91 | 118.8 | 150.6 | 177.7 | 200.7 | 199.6 | 121.8 | 76.83 | 61.85 | 42.2 | 35.61 | 41.03 | 36.04 | 32.53 | 35.26 | 30.2 | 27.74 | 37.22 | 78.01 | 129.8 | 52.01 | 27.51 | 28.65 | 24.98 | 32.96 | 35.09 | 73.33 | 681.4 | 9999.9 | 9999.9 | 9999.9 | 115.6 | 20.32 | 14.06 | 10.54 | 6.883 | 7.726 | 6.763
415 | 33.7 | 94.33 | 120.6 | 40.79 | 61.65 | 51.13 | 95.21 | 52.34 | 65.99 | 40.93 | 55.32 | 63.49 | 63.15 | 61.95 | 106.7 | 149.4 | 171.6 | 146.8 | 150 | 104.3 | 83.56 | 39.04 | 49.75 | 37.17 | 35.39 | 30.59 | 38.38 | 39.1 | 34.52 | 34.9 | 35.88 | 39.48 | 100.3 | 115.3 | 48.5 | 27.32 | 23.88 | 42.61 | 28.18 | 27.78 | 67.72 | 679.5 | 9999.9 | 9999.9 | 9999.9 | 117.1 | 20.36 | 16.35 | 11.55 | 9.15 | 6.187
420 | 51.36 | 72.15 | 138.2 | 85.86 | 64.05 | 39.32 | 61.36 | 82.3 | 50.22 | 74.08 | 26.16 | 51.18 | 64.88 | 63.18 | 77.25 | 146.8 | 116.8 | 149.1 | 108.7 | 104.4 | 57.5 | 48.33 | 47.08 | 35.08 | 34.27 | 29.39 | 46.17 | 37.39 | 30.36 | 33.88 | 31.85 | 33.2 | 48.53 | 114.6 | 91.78 | 34.36 | 23.07 | 35.4 | 26.63 | 23.05 | 25.6 | 65.98 | 678.2 | 9999.9 | 9999.9 | 9999.9 | 101.9 | 22.66 | 15.9 | 9.618 | 8.913
425 | 50.78 | 47.83 | 102.6 | 155 | 80.4 | 44.79 | 102.1 | 64.23 | 67.18 | 45.75 | 50.34 | 44.1 | 68.73 | 70.45 | 92 | 84.32 | 140.7 | 114.8 | 93.94 | 89.71 | 53.73 | 56.6 | 40.37 | 36.48 | 37.05 | 39.85 | 32.63 | 43.01 | 30.39 | 33.6 | 26.64 | 33.05 | 30.87 | 49.18 | 110.5 | 61.51 | 26.95 | 37.95 | 29.39 | 20.78 | 21.02 | 21.86 | 65.18 | 682.8 | 9999.9 | 9999.9 | 9999.9 | 100.2 | 21.16 | 14.98 | 9.954
430 | 43.67 | 46.77 | 42.59 | 195.5 | 139.3 | 61.56 | 74.93 | 40.22 | 73.6 | 46.97 | 40.03 | 67.08 | 51 | 65.5 | 67.68 | 89.22 | 89.2 | 104.4 | 111.6 | 75.73 | 53.41 | 45.44 | 38.06 | 38.63 | 43.26 | 41.08 | 30.8 | 37.19 | 31.31 | 30.37 | 24.44 | 27.5 | 33.14 | 33.28 | 56.16 | 99.98 | 46.96 | 36.14 | 22.42 | 19.57 | 18.29 | 13.76 | 20.04 | 65.24 | 682 | 9999.9 | 9999.9 | 9999.9 | 94.98 | 22.81 | 15.56
435 | 36.04 | 48.38 | 48.9 | 118.9 | 246.1 | 72.63 | 44.76 | 82.76 | 68.98 | 57.64 | 71.66 | 53.55 | 55.82 | 52.54 | 69.55 | 100.6 | 72.18 | 79.01 | 83.69 | 65.18 | 49.53 | 28.38 | 37.66 | 36.02 | 31.58 | 33 | 35.6 | 32.15 | 24.99 | 33.89 | 34.31 | 25.04 | 29.98 | 32.4 | 33.39 | 67.53 | 84.73 | 47.82 | 22.89 | 19.58 | 18.67 | 15.01 | 16.9 | 21.95 | 63.83 | 680.6 | 9999.9 | 9999.9 | 9999.9 | 105.9 | 21.22
440 | 61.8 | 47.54 | 51.73 | 69.81 | 314.4 | 136.8 | 35.95 | 50.46 | 83.08 | 63.65 | 47.64 | 58.11 | 53.46 | 85.21 | 65.92 | 75.38 | 72.27 | 77.87 | 92.34 | 72.95 | 57.96 | 39.14 | 34.77 | 28.09 | 34.06 | 29.11 | 37.63 | 31.14 | 30.57 | 26.61 | 22.05 | 30.94 | 34.79 | 25.2 | 24.74 | 31.01 | 80.11 | 76.53 | 30.06 | 19.61 | 18.3 | 16.73 | 15.9 | 14.84 | 19.02 | 63.88 | 684 | 9999.9 | 9999.9 | 9999.9 | 92.31
445 | 40.26 | 43.14 | 66.48 | 65.43 | 234.9 | 358.9 | 82.75 | 53.14 | 94.73 | 48.82 | 78.27 | 59.59 | 42.46 | 68.47 | 47.46 | 57.34 | 85.26 | 74.55 | 66.83 | 51.62 | 37.18 | 42.71 | 34.09 | 37.39 | 28.55 | 22.93 | 26.92 | 32.14 | 28.63 | 32.69 | 29.69 | 26.67 | 26.98 | 33.64 | 28.82 | 24.35 | 39.72 | 87.82 | 51.82 | 22.35 | 15.31 | 17.03 | 13.68 | 12.47 | 14.69 | 18.29 | 63.89 | 680.4 | 9999.9 | 9999.9 | 9837
450 | 72.71 | 83.21 | 47.7 | 48.44 | 107.6 | 681 | 276.5 | 51.37 | 59.6 | 67.57 | 44.27 | 41.63 | 50.14 | 55.69 | 75.9 | 58.79 | 61.39 | 74.44 | 80.88 | 50.61 | 37.35 | 36.64 | 31.4 | 32.98 | 36.51 | 29.17 | 27.74 | 33.42 | 28.92 | 28.98 | 28.13 | 26.81 | 27.22 | 24.25 | 23.69 | 21.69 | 25.81 | 50.18 | 78.49 | 35.02 | 15 | 12.32 | 14.05 | 17.06 | 16 | 15.68 | 20.78 | 64.43 | 683.9 | 9999.9 | 9999.9
455 | 44.17 | 74.71 | 29.66 | 55.28 | 64.93 | 388.2 | 572.2 | 99.83 | 68.26 | 66.93 | 35.03 | 48.77 | 70.77 | 58.85 | 49.99 | 62.12 | 74.73 | 62.02 | 53.09 | 50.01 | 43.23 | 36.67 | 35.27 | 41.89 | 32.82 | 28.18 | 30.28 | 24.63 | 26.15 | 25.05 | 27.84 | 25.99 | 22.98 | 25.72 | 26.19 | 22.85 | 21.15 | 27.23 | 51.14 | 52.96 | 25.89 | 11.63 | 14.12 | 12.94 | 14.06 | 14.38 | 14.52 | 20.82 | 61.65 | 694.4 | 9999.9
460 | 82.41 | 67.18 | 59.44 | 72.57 | 71.05 | 112.5 | 917.4 | 346.7 | 54.62 | 40.27 | 66.41 | 44.14 | 45.23 | 44.66 | 46.54 | 46.25 | 57.19 | 50.99 | 53.34 | 44.52 | 36.42 | 35.74 | 29.04 | 33.31 | 26.89 | 24.82 | 22.92 | 23.89 | 34.3 | 31.02 | 26.45 | 22.32 | 26.65 | 24.89 | 30.69 | 22.3 | 22.17 | 23.13 | 27.04 | 44.84 | 43.83 | 18.13 | 12.84 | 12.11 | 12.55 | 12.56 | 12.45 | 15.29 | 19.2 | 62.88 | 677.2
465 | 48.03 | 57.46 | 83.74 | 69.47 | 67.24 | 67.44 | 575.2 | 961.3 | 97.12 | 48.94 | 54.21 | 29.3 | 54.28 | 59.77 | 53.92 | 32.96 | 78.6 | 84.63 | 58.23 | 53 | 40.11 | 46.49 | 30.83 | 29.3 | 21.97 | 27.84 | 24.61 | 28.48 | 24.45 | 22.55 | 26.74 | 20.71 | 24.69 | 20.3 | 23.35 | 20.05 | 18.44 | 22.08 | 19.56 | 21.68 | 46.97 | 34.53 | 15.5 | 12.17 | 9.475 | 14.56 | 15.1 | 13.55 | 16.22 | 16.72 | 61.62
470 | 45.11 | 65.92 | 40.44 | 51.31 | 48.72 | 63.89 | 125.3 | 1395 | 445.4 | 75.55 | 49.64 | 43.76 | 52.03 | 36.37 | 48.11 | 28.14 | 57.86 | 55.71 | 47.71 | 37.36 | 42.88 | 34.23 | 31.1 | 33.07 | 22.69 | 20.62 | 20 | 24.73 | 24.03 | 23.34 | 19.17 | 21.33 | 21.22 | 27.9 | 17.15 | 23.17 | 20.76 | 21.28 | 18.38 | 18.34 | 30.95 | 45 | 24.92 | 12.18 | 11.78 | 11.3 | 13.07 | 12.38 | 12.69 | 12.07 | 17.35
475 | 52.88 | 40.34 | 46.25 | 55.09 | 41.84 | 67.32 | 53.32 | 992.9 | 1232 | 91.33 | 37.7 | 42.22 | 28.98 | 43.27 | 37.31 | 46.26 | 61.58 | 61.47 | 39.86 | 31.33 | 24.44 | 33.9 | 27.94 | 26.81 | 19.92 | 26.88 | 27.32 | 31.34 | 29.37 | 24.2 | 24.86 | 21.93 | 24.73 | 18.77 | 17.97 | 18.61 | 18.96 | 23.54 | 15.86 | 16.26 | 18.15 | 31.43 | 38.48 | 17.2 | 9.489 | 11.02 | 10.33 | 8.915 | 10.82 | 10.76 | 10.88
480 | 60.66 | 72.72 | 77.54 | 52.45 | 50.42 | 50.1 | 72.88 | 253.5 | 1602 | 485.3 | 32.4 | 42.44 | 57.98 | 50.84 | 53.3 | 39.57 | 57.76 | 45.85 | 58.36 | 37.58 | 42.15 | 18.04 | 26.59 | 23.74 | 21.76 | 27.2 | 21.96 | 22.23 | 20.94 | 20.79 | 24.14 | 20.09 | 19.24 | 18.14 | 17.29 | 20.87 | 25.63 | 20.2 | 15.08 | 14.94 | 11.72 | 16.15 | 31.15 | 27.04 | 13.18 | 8.557 | 8.829 | 11.26 | 7.828 | 10.12 | 9.396
485 | 43.11 | 57.69 | 43.13 | 61.2 | 44.84 | 56.49 | 51.9 | 51.01 | 1172 | 1417 | 90.7 | 40.37 | 27.55 | 42.03 | 55.17 | 41.17 | 55.49 | 52.56 | 46.68 | 39.54 | 28.42 | 24.11 | 32.15 | 29.27 | 20.65 | 20.62 | 19.99 | 23.29 | 21.04 | 19.94 | 22.53 | 21.75 | 20.62 | 19.81 | 18.6 | 22.53 | 18.25 | 15.79 | 15.34 | 13.45 | 13.64 | 14.07 | 17.65 | 32.39 | 21.25 | 10.9 | 10.8 | 7.032 | 10.3 | 8.879 | 8.361
490 | 62.99 | 79.97 | 40.3 | 51.43 | 68.21 | 66.13 | 98.87 | 70.79 | 225.8 | 1999 | 480.5 | 30.61 | 39.7 | 64.57 | 38.92 | 51.15 | 49.65 | 50.93 | 36.46 | 40.11 | 25.17 | 21.6 | 21.92 | 31.14 | 22.68 | 14.42 | 19.81 | 22.62 | 24.39 | 19.17 | 15.62 | 19.21 | 24.41 | 19.36 | 19.11 | 18.04 | 16.7 | 17.5 | 14.72 | 11.36 | 13.07 | 10.18 | 11.81 | 20.01 | 30.5 | 19.09 | 8.947 | 9.989 | 10.01 | 8.815 | 8.968
495 | 45.85 | 54.28 | 59.69 | 87.34 | 66.51 | 51.7 | 69.76 | 54.92 | 65.48 | 1486 | 1516 | 98.4 | 39.54 | 42.72 | 50.07 | 47.23 | 43.87 | 43.98 | 29.29 | 35.62 | 25.71 | 25.57 | 27.83 | 14.74 | 14 | 20.74 | 22.32 | 18.75 | 13.11 | 10.81 | 14.92 | 20.18 | 19.99 | 16.19 | 15.61 | 15.47 | 16.21 | 21.59 | 12.87 | 11.18 | 13.33 | 11.91 | 10.43 | 14.53 | 25.17 | 30.13 | 15.22 | 10.77 | 9.324 | 9.952 | 7.059
500 | 62.14 | 55.63 | 59.85 | 53.39 | 52.62 | 70.4 | 37.26 | 54.66 | 41.56 | 407.7 | 1954 | 337.2 | 27.42 | 49.68 | 38.49 | 45.18 | 46.26 | 42.54 | 44.07 | 25.92 | 26.38 | 34.43 | 33.27 | 23.3 | 19.62 | 22.71 | 27.66 | 20.22 | 21.27 | 19.07 | 20.33 | 18.6 | 22.38 | 13.16 | 15.16 | 14.1 | 15.52 | 15.98 | 14.31 | 13.08 | 12.3 | 14.64 | 11.68 | 11.16 | 18.02 | 29.04 | 20.85 | 10.95 | 8.082 | 10.07 | 9.36