## Sheet1
Report date: | 14:19:14, 04/09/2024
Sample: | 1
File name:
Run date: | 14:16:02, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/280.0 | 54.44
2 | 205.0/300.0 | 85.15
3 | 205.0/335.0 | 92.07
4 | 205.0/375.0 | 68.69
5 | 205.0/390.0 | 83.01
6 | 205.0/445.0 | 61.39
7 | 210.0/265.0 | 42.79
8 | 210.0/460.0 | 70.28
9 | 210.0/480.0 | 80.36
10 | 215.0/260.0 | 45.52
11 | 215.0/365.0 | 95.54
12 | 215.0/465.0 | 93.1
13 | 220.0/275.0 | 54.53
14 | 220.0/390.0 | 110.9
15 | 220.0/480.0 | 72.32
16 | 225.0/270.0 | 43.43
17 | 225.0/300.0 | 188.8
18 | 225.0/380.0 | 166.3
19 | 225.0/485.0 | 67.62
20 | 230.0/325.0 | 389.7
21 | 230.0/340.0 | 380.6
22 | 230.0/375.0 | 165.2
23 | 230.0/395.0 | 119.4
24 | 230.0/405.0 | 107.9
25 | 230.0/430.0 | 90.75
26 | 235.0/260.0 | 62.24
27 | 235.0/320.0 | 353.7
28 | 235.0/335.0 | 364.9
29 | 235.0/355.0 | 286
30 | 240.0/425.0 | 76.09
31 | 245.0/270.0 | 63.54
32 | 245.0/400.0 | 83.24
33 | 245.0/435.0 | 82.73
34 | 245.0/445.0 | 74.37
35 | 250.0/275.0 | 98.61
36 | 250.0/350.0 | 216.8
37 | 250.0/390.0 | 96.18
38 | 250.0/405.0 | 79.1
39 | 255.0/400.0 | 106.1
40 | 255.0/415.0 | 77.12
41 | 255.0/475.0 | 41.95
42 | 260.0/285.0 | 191.9
43 | 260.0/405.0 | 115.9
44 | 260.0/460.0 | 57.78
45 | 260.0/485.0 | 68.57
46 | 265.0/475.0 | 58.26
47 | 270.0/415.0 | 126.7
48 | 270.0/455.0 | 64.31
49 | 270.0/470.0 | 70.79
50 | 275.0/465.0 | 59.17
51 | 280.0/335.0 | 2210
52 | 280.0/435.0 | 101.4
53 | 280.0/450.0 | 83.09
54 | 280.0/475.0 | 59.85
55 | 280.0/485.0 | 60.98
56 | 285.0/330.0 | 2302
57 | 285.0/465.0 | 66.58
58 | 290.0/460.0 | 54.72
59 | 295.0/450.0 | 55.96
60 | 300.0/485.0 | 42.84
61 | 305.0/260.0 | 21.35
62 | 305.0/475.0 | 42.37
63 | 310.0/265.0 | 18.65
64 | 310.0/460.0 | 39.64
65 | 315.0/255.0 | 18.6
66 | 315.0/290.0 | 28.61
67 | 315.0/355.0 | 261.1
68 | 315.0/400.0 | 43.08
69 | 315.0/415.0 | 45.46
70 | 315.0/425.0 | 42.01
71 | 315.0/440.0 | 49.24
72 | 320.0/360.0 | 229.3
73 | 320.0/385.0 | 43.67
74 | 320.0/475.0 | 33.26
75 | 320.0/490.0 | 29.21
76 | 325.0/365.0 | 203
77 | 325.0/390.0 | 48.79
78 | 325.0/420.0 | 40.34
79 | 325.0/445.0 | 31.93
80 | 325.0/465.0 | 34.06
81 | 325.0/495.0 | 25.64
82 | 330.0/260.0 | 14.56
83 | 330.0/275.0 | 13.4
84 | 330.0/370.0 | 182.1
85 | 330.0/400.0 | 40.88
86 | 330.0/410.0 | 43.41
87 | 330.0/425.0 | 37.8
88 | 330.0/440.0 | 38.8
89 | 335.0/280.0 | 13.71
90 | 335.0/300.0 | 17.62
91 | 335.0/380.0 | 182.2
92 | 335.0/420.0 | 37.3
93 | 335.0/450.0 | 34.37
94 | 335.0/480.0 | 27.25
95 | 340.0/265.0 | 11.55
96 | 340.0/285.0 | 11.88
97 | 340.0/385.0 | 185.4
98 | 340.0/415.0 | 37.6
99 | 340.0/460.0 | 31.13
100 | 340.0/490.0 | 19.63
101 | 345.0/305.0 | 14.51
102 | 345.0/390.0 | 145.5
103 | 345.0/430.0 | 32.66
104 | 345.0/480.0 | 25.02
105 | 350.0/260.0 | 10.74
106 | 350.0/290.0 | 11.48
107 | 350.0/400.0 | 133.4
108 | 350.0/420.0 | 36.06
109 | 350.0/440.0 | 36.43
110 | 350.0/450.0 | 32.9
111 | 355.0/255.0 | 9.547
112 | 355.0/265.0 | 13.26
113 | 355.0/295.0 | 11.06
114 | 355.0/315.0 | 13.17
115 | 355.0/405.0 | 135.1
116 | 355.0/445.0 | 32.26
117 | 355.0/465.0 | 32.55
118 | 355.0/475.0 | 22.12
119 | 355.0/490.0 | 21.96
120 | 360.0/285.0 | 10.12
121 | 360.0/300.0 | 11.3
122 | 360.0/310.0 | 12.54
123 | 360.0/410.0 | 127.2
124 | 365.0/290.0 | 10.85
125 | 365.0/420.0 | 111.4
126 | 365.0/455.0 | 31.96
127 | 365.0/480.0 | 22.1
128 | 370.0/275.0 | 9.568
129 | 370.0/295.0 | 9.04
130 | 370.0/310.0 | 11.46
131 | 370.0/425.0 | 102
132 | 375.0/255.0 | 9.374
133 | 375.0/335.0 | 14.44
134 | 375.0/430.0 | 98.2
135 | 375.0/495.0 | 18.19
136 | 380.0/270.0 | 9.898
137 | 380.0/410.0 | 26.72
138 | 380.0/435.0 | 89.29
139 | 380.0/485.0 | 19.08
140 | 385.0/320.0 | 9.42
141 | 385.0/445.0 | 68.01
142 | 385.0/470.0 | 18.97
143 | 390.0/450.0 | 65.76
144 | 390.0/475.0 | 16.61
145 | 390.0/495.0 | 15.06
146 | 395.0/260.0 | 8.171
147 | 395.0/280.0 | 10.05
148 | 395.0/295.0 | 9.075
149 | 395.0/325.0 | 8.297
150 | 395.0/350.0 | 10.23
151 | 395.0/455.0 | 57.25
152 | 400.0/460.0 | 47.76
153 | 400.0/485.0 | 13.96
154 | 405.0/290.0 | 7.219
155 | 405.0/340.0 | 7.447
156 | 405.0/440.0 | 16.06
157 | 405.0/470.0 | 43.35
158 | 410.0/295.0 | 7.649
159 | 410.0/350.0 | 7.34
160 | 410.0/370.0 | 10.17
161 | 410.0/475.0 | 34.44
162 | 415.0/300.0 | 7.468
163 | 415.0/330.0 | 6.75
164 | 415.0/360.0 | 7.406
165 | 415.0/485.0 | 32.42
166 | 420.0/275.0 | 6.573
167 | 420.0/305.0 | 6.589
168 | 420.0/465.0 | 12.67
169 | 420.0/490.0 | 28.75
170 | 425.0/290.0 | 7.067
171 | 425.0/315.0 | 7.367
172 | 425.0/365.0 | 7.014
173 | 425.0/455.0 | 15.17
174 | 425.0/470.0 | 14.1
175 | 430.0/275.0 | 5.838
176 | 430.0/325.0 | 6.557
177 | 430.0/375.0 | 7.22
178 | 430.0/460.0 | 14.11
179 | 435.0/265.0 | 6.001
180 | 435.0/290.0 | 5.895
181 | 435.0/320.0 | 7.413
182 | 435.0/355.0 | 5.989
183 | 435.0/390.0 | 6.786
184 | 435.0/485.0 | 10.2
185 | 440.0/325.0 | 5.741
186 | 440.0/375.0 | 6.466
187 | 445.0/260.0 | 4.379
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 26.34 | 41.75 | 22.06 | 19.43 | 37.27 | 52.86 | 92.82 | 59.3 | 51.37 | 2999 | 7263 | 2272 | 36.22 | 37.84 | 35.86 | 16 | 20.78 | 27.65 | 10.01 | 15.81 | 14.39 | 14.17 | 12.7 | 15.16 | 11.16 | 10.43 | 10.25 | 9.031 | 5.296 | 7.601 | 5.699 | 8.151 | 13.68 | 12.38 | 8.285 | 7.804 | 9.553 | 8.109 | 7.554 | 5.99 | 5.349 | 6.402 | 5.12 | 4.576 | 4.708 | 3.291 | 3.957 | 2.701 | 2.742 | 1.902 | 2.762
255 | 38.39 | 24.7 | 52.58 | 11.02 | 26.75 | 16.83 | 38.77 | 26.23 | 50.64 | 198.5 | 2368 | 8992 | 4209 | 122 | 13.59 | 22.32 | 12.04 | 26.37 | 23.87 | 13.89 | 27.3 | 14.08 | 15.92 | 18.6 | 5.46 | 10.37 | 13.45 | 8.53 | 4.317 | 6.783 | 6.061 | 9.547 | 7.468 | 8.817 | 9.266 | 9.374 | 7.549 | 5.89 | 6.18 | 7.785 | 6.688 | 7.318 | 7.22 | 5.364 | 5.552 | 5.036 | 3.56 | 2.763 | 3.686 | 2.916 | 2.672
260 | 34.74 | 21.41 | 25.56 | 45.52 | 17.35 | 23.1 | 36.23 | 62.24 | 58.21 | 45.2 | 172.3 | 2762 | 9999.9 | 5516 | 148.9 | 35.41 | 21.74 | 27.3 | 27.3 | 11.93 | 20.45 | 21.35 | 12.19 | 15.78 | 6.339 | 8.685 | 14.56 | 8.157 | 8.106 | 7.187 | 10.74 | 6.337 | 7.36 | 9.522 | 9.309 | 9.122 | 9.33 | 5.622 | 6.699 | 8.171 | 6.357 | 6.026 | 4.959 | 5.765 | 5.488 | 3.753 | 4.011 | 3.041 | 3.848 | 4.379 | 2.633
265 | 26.73 | 32.88 | 42.79 | 21.18 | 32.8 | 32.32 | 19.81 | 47.93 | 52.81 | 53.48 | 60.3 | 214.7 | 3450 | 9999.9 | 6734 | 198.3 | 36.05 | 24.72 | 21.24 | 21.98 | 20.14 | 11.63 | 18.65 | 13.68 | 7.717 | 7.336 | 14.12 | 10.38 | 11.55 | 11.32 | 8.625 | 13.26 | 8.885 | 9.755 | 9.422 | 7.75 | 9.626 | 8.093 | 7.939 | 6.131 | 5.533 | 5.387 | 4.561 | 5.756 | 4.572 | 4.947 | 4.444 | 6.001 | 4.224 | 3.012 | 3.299
270 | 21.96 | 24.78 | 38.93 | 37.03 | 42.99 | 43.43 | 39.05 | 37.7 | 49.15 | 63.54 | 62.46 | 54.34 | 251.7 | 4726 | 9999.9 | 8505 | 255.8 | 37.43 | 27.94 | 24.1 | 14.55 | 14.58 | 15.58 | 11.27 | 15.05 | 10.98 | 9.38 | 9.144 | 8.051 | 10.28 | 5.841 | 6.893 | 6.28 | 7.322 | 8.639 | 7.732 | 9.898 | 9.261 | 7.888 | 6.438 | 6.44 | 6.163 | 5.425 | 5.553 | 4.999 | 5.599 | 3.774 | 5.461 | 4.172 | 4.575 | 3.574
275 | 38.06 | 51.38 | 37.38 | 50.57 | 54.53 | 40.22 | 32.28 | 31.1 | 28.16 | 42.22 | 98.61 | 75.43 | 49.49 | 343.9 | 6034 | 9999.9 | 9937 | 262.5 | 40.78 | 42.29 | 18.72 | 18.11 | 10.89 | 15.66 | 16.64 | 10.03 | 13.4 | 10.74 | 11.79 | 9.201 | 9.29 | 7.994 | 5.619 | 7.647 | 9.568 | 6.94 | 6.598 | 7.678 | 8.088 | 7.976 | 6.726 | 5.17 | 5.17 | 6.311 | 6.573 | 4.414 | 5.838 | 4.705 | 4.296 | 4.549 | 4.192
280 | 33.93 | 54.44 | 30.94 | 38.3 | 44.33 | 32.01 | 41.45 | 31.89 | 42.74 | 18.43 | 62.64 | 110.3 | 111.1 | 75.64 | 420.5 | 7558 | 9999.9 | 9999.9 | 292.5 | 41.84 | 22.76 | 24.12 | 16.02 | 15.36 | 15.81 | 14.65 | 5.776 | 13.71 | 9.093 | 10.84 | 7.147 | 5.516 | 7.799 | 8.296 | 9.314 | 4.465 | 6.513 | 5.071 | 8.125 | 10.05 | 6.145 | 6.31 | 6.498 | 5.671 | 4.214 | 6.164 | 5.156 | 4.627 | 3.512 | 4.477 | 5.099
285 | 27.37 | 30.3 | 40.1 | 32.49 | 44.85 | 50.25 | 53.89 | 35.77 | 51.26 | 37.33 | 71.22 | 100 | 191.9 | 99.13 | 127.6 | 590.4 | 9648 | 9999.9 | 9999.9 | 276.8 | 39.62 | 26.52 | 18.31 | 23.66 | 21.54 | 14.5 | 10.7 | 8.788 | 11.88 | 11.69 | 11.36 | 7.735 | 10.12 | 7.991 | 8.212 | 6.514 | 6.635 | 6.952 | 6.716 | 6.093 | 6.915 | 6.719 | 5.224 | 4.982 | 4.077 | 5.329 | 5.216 | 4.874 | 3.911 | 4.378 | 5.641
290 | 35.73 | 53.84 | 40.12 | 31.1 | 38.99 | 88.14 | 69.4 | 74.94 | 77.99 | 48.14 | 43.68 | 70.15 | 124 | 293.8 | 185.1 | 260.1 | 900.8 | 9999.9 | 9999.9 | 9999.9 | 309.2 | 28.77 | 23.78 | 28.61 | 17.12 | 15.29 | 11.89 | 9.482 | 10.89 | 8.866 | 11.48 | 9.196 | 9.593 | 10.85 | 7.842 | 5.138 | 5.768 | 4.838 | 6.508 | 6.594 | 6.878 | 7.219 | 6.935 | 6.741 | 5.275 | 7.067 | 4.6 | 5.895 | 4.538 | 4.942 | 3.77
295 | 34.68 | 43.21 | 56.61 | 74.12 | 80.63 | 125.2 | 114.6 | 127.7 | 73.6 | 61.07 | 83.02 | 70.87 | 127 | 302.3 | 367 | 414.4 | 481.1 | 1079 | 9999.9 | 9999.9 | 9999.9 | 335 | 28.92 | 23.18 | 18.7 | 15.12 | 12.28 | 8.596 | 10.52 | 9.688 | 9.373 | 11.06 | 5.616 | 6.927 | 9.04 | 7.97 | 7.279 | 5.856 | 5.81 | 9.075 | 5.108 | 5.418 | 7.649 | 5.472 | 5.197 | 4.694 | 4.737 | 5.376 | 4.978 | 5.068 | 5.496
300 | 41.01 | 85.15 | 54.18 | 49 | 81.19 | 188.8 | 173.3 | 175.1 | 120.5 | 92.59 | 101.5 | 137.6 | 153.2 | 290.6 | 601.1 | 749.8 | 723.8 | 837.7 | 1087 | 9999.9 | 9999.9 | 9999.9 | 301.9 | 36.63 | 27.63 | 21.44 | 13.73 | 17.62 | 11.57 | 6.836 | 8.97 | 7.498 | 11.3 | 11.17 | 7.412 | 6.628 | 5.599 | 6.021 | 4.952 | 5.975 | 4.48 | 4.587 | 5.345 | 7.468 | 5.589 | 5.05 | 4.1 | 5.158 | 5.078 | 7.967 | 5.707
305 | 34.48 | 67.11 | 58.4 | 59.98 | 120.3 | 138.5 | 201.4 | 181.8 | 190.9 | 128.8 | 90.74 | 168.4 | 229.8 | 324.5 | 599 | 1078 | 1154 | 1043 | 766 | 1008 | 9999.9 | 9999.9 | 9999.9 | 263.7 | 31.67 | 36.62 | 15.28 | 14.25 | 13.36 | 14.51 | 10.17 | 12.14 | 7.773 | 9.744 | 8.288 | 9.068 | 7.827 | 7.624 | 6.103 | 4.084 | 4.663 | 5.169 | 4.43 | 4.41 | 6.589 | 5.625 | 6.089 | 5.023 | 4.657 | 6.021 | 5.685
310 | 19.16 | 45.99 | 67.04 | 58.91 | 136 | 153.4 | 287.8 | 197.4 | 170.5 | 90.95 | 145.7 | 191.1 | 269.2 | 479.3 | 759.8 | 1176 | 1676 | 1343 | 1086 | 594.5 | 847.8 | 9999.9 | 9999.9 | 9999.9 | 275.6 | 28.97 | 19.09 | 15.94 | 15.12 | 13.65 | 10.74 | 11.91 | 12.54 | 9.997 | 11.46 | 9.353 | 6.903 | 6.36 | 6.985 | 5.672 | 4.663 | 4.111 | 3.806 | 4.644 | 6.051 | 5.405 | 4.928 | 4.806 | 4.754 | 4.887 | 4.939
315 | 41.2 | 65.95 | 42.72 | 91.19 | 142.7 | 235.2 | 323.9 | 278.4 | 192.9 | 131.9 | 172.5 | 190.1 | 359.8 | 590.6 | 906.1 | 1274 | 1774 | 1921 | 1519 | 826.8 | 387.4 | 783.2 | 9999.9 | 9999.9 | 9999.9 | 298.3 | 26.88 | 23.03 | 12.92 | 11.38 | 10.07 | 13.17 | 10.71 | 12.37 | 9.343 | 8.198 | 7.334 | 7.064 | 4.994 | 5.547 | 5.804 | 5.012 | 4.966 | 5.049 | 5.499 | 7.367 | 6.343 | 4.833 | 5.447 | 5.391 | 6.043
320 | 55.71 | 63.35 | 78.8 | 99.42 | 149.9 | 224.5 | 353.7 | 353.7 | 160.5 | 169.9 | 186.2 | 281.1 | 424.2 | 652.1 | 1131 | 1542 | 1885 | 1987 | 1904 | 950.9 | 352 | 186.9 | 717 | 9999.9 | 9999.9 | 9999.9 | 251.7 | 25.98 | 23.34 | 19.23 | 15.75 | 11.13 | 9.923 | 13.74 | 8.387 | 7.428 | 7.885 | 9.42 | 5.96 | 6.974 | 5.358 | 4.195 | 5.265 | 4.409 | 5.255 | 5.105 | 5.386 | 7.413 | 5.265 | 5.554 | 4.78
325 | 64.34 | 65.64 | 68.72 | 115.7 | 179.2 | 224.1 | 389.7 | 303.3 | 218.1 | 124.7 | 179.3 | 274.6 | 449 | 753.9 | 1097 | 1694 | 2090 | 2193 | 1860 | 1216 | 483.5 | 166.7 | 115.8 | 708.1 | 9999.9 | 9999.9 | 9999.9 | 239.7 | 37.19 | 22.71 | 13.55 | 13.71 | 11.93 | 13.87 | 12.43 | 11.74 | 7.991 | 8.901 | 4.58 | 8.297 | 5.16 | 4.617 | 5.908 | 4.592 | 4.567 | 4.935 | 6.557 | 4.101 | 5.741 | 5.103 | 3.67
330 | 49.38 | 70.43 | 90.01 | 114.1 | 173.8 | 272.4 | 280 | 251.9 | 208.6 | 202.5 | 188.5 | 274.5 | 581 | 742.1 | 1209 | 1717 | 2079 | 2302 | 1959 | 1301 | 602.6 | 185.1 | 75.4 | 99.42 | 690.8 | 9999.9 | 9999.9 | 9999.9 | 249.1 | 35.4 | 22 | 20.57 | 16.03 | 15.94 | 14.53 | 7.806 | 8.611 | 8.872 | 6.797 | 4.378 | 5.609 | 6.089 | 5.505 | 6.75 | 5.369 | 4.335 | 4.056 | 4.564 | 5.509 | 5.693 | 5.917
335 | 60.26 | 92.07 | 83.94 | 72.5 | 143.3 | 313.7 | 360.2 | 364.9 | 219.9 | 168.4 | 200.3 | 314.6 | 462.7 | 746.4 | 1116 | 1633 | 2210 | 2106 | 1975 | 1187 | 752 | 287.2 | 64.79 | 50.13 | 81.77 | 688.6 | 9999.9 | 9999.9 | 9999.9 | 225.9 | 30.21 | 24.11 | 16.99 | 12.91 | 14.27 | 14.44 | 8.397 | 6.453 | 5.46 | 6.542 | 6.671 | 3.499 | 6.333 | 4.807 | 4.6 | 4.982 | 4.066 | 4.251 | 5.001 | 5.025 | 5.536
340 | 38.57 | 54.42 | 77.7 | 116.4 | 168.5 | 271 | 380.6 | 327 | 188.6 | 159.3 | 162.6 | 256.8 | 450.5 | 739 | 1129 | 1652 | 1973 | 2194 | 1783 | 1175 | 629.4 | 447.8 | 140.4 | 44.97 | 38.72 | 73.63 | 708.7 | 9999.9 | 9999.9 | 9999.9 | 260.4 | 30.82 | 25.39 | 20.11 | 15.41 | 10.94 | 8.406 | 8.981 | 8.902 | 5.44 | 7.091 | 7.447 | 6.754 | 5.502 | 4.886 | 3.868 | 4.93 | 4.742 | 5.528 | 5.366 | 4.666
345 | 37.39 | 71.56 | 67.51 | 121.4 | 159.5 | 262.1 | 348.9 | 277 | 187.4 | 127.6 | 180.8 | 252.4 | 429.4 | 647.5 | 1057 | 1364 | 1907 | 1942 | 1769 | 1050 | 494.6 | 312.4 | 277.7 | 59.5 | 35.94 | 37.73 | 85.87 | 686.4 | 9999.9 | 9999.9 | 9999.9 | 213.3 | 31.58 | 24.03 | 19.94 | 12.38 | 12.03 | 9.103 | 6.502 | 7.123 | 7.317 | 6.415 | 5.974 | 6.047 | 5.18 | 4.196 | 4.58 | 4.02 | 5.136 | 7.02 | 5.266
350 | 35.84 | 46.82 | 69.84 | 105.5 | 153 | 209.7 | 266.6 | 258.8 | 165.9 | 146.8 | 216.8 | 180.3 | 353 | 565 | 850.5 | 1238 | 1719 | 1726 | 1541 | 933.5 | 441.3 | 196.6 | 218.7 | 207.7 | 43.41 | 34.36 | 38.73 | 79.31 | 692.8 | 9999.9 | 9999.9 | 9999.9 | 209.5 | 37.94 | 29.57 | 17.01 | 12.14 | 9.259 | 8.661 | 10.23 | 6.314 | 7.242 | 7.34 | 5.554 | 6.035 | 3.734 | 3.177 | 5.255 | 4.562 | 4.786 | 5.44
355 | 37.67 | 54.68 | 75.24 | 95.02 | 104.9 | 192.3 | 259.4 | 286 | 120 | 152.5 | 166.1 | 187.9 | 323.1 | 543.8 | 821.6 | 1113 | 1514 | 1699 | 1388 | 811.9 | 405.9 | 149.2 | 89.03 | 261.1 | 138.9 | 38.5 | 35.29 | 30.9 | 87.2 | 693.9 | 9999.9 | 9999.9 | 9999.9 | 220.9 | 37.99 | 24.57 | 17.65 | 10.35 | 7.974 | 7.868 | 6.959 | 6.448 | 6.018 | 5.126 | 6.21 | 4.848 | 5.603 | 5.989 | 4.683 | 5.227 | 4.513
360 | 37.86 | 49.54 | 73.05 | 87.29 | 87.43 | 192.4 | 228.5 | 223.6 | 107.1 | 144.5 | 158.9 | 158.8 | 272.6 | 464.2 | 676.8 | 985 | 1270 | 1351 | 1180 | 748 | 331.3 | 130.9 | 65.6 | 104.5 | 229.3 | 89.11 | 37.81 | 26.3 | 38.38 | 80.54 | 683.7 | 9999.9 | 9999.9 | 9999.9 | 195.2 | 32.8 | 21.85 | 14.86 | 15.22 | 9.983 | 8.271 | 5.932 | 6.878 | 7.406 | 6.034 | 4.77 | 5.292 | 4.208 | 5.045 | 4.283 | 4.49
365 | 59.23 | 56.6 | 57.04 | 95.54 | 73.76 | 153 | 169.6 | 152.8 | 111 | 135.9 | 127.4 | 183.1 | 277.5 | 403.4 | 583.5 | 871.9 | 1032 | 1118 | 933.9 | 544.4 | 305.6 | 122.7 | 52.16 | 46.88 | 108.4 | 203 | 71.49 | 35.38 | 36.48 | 34.81 | 79.84 | 687.8 | 9999.9 | 9999.9 | 9999.9 | 172.8 | 30.41 | 22.03 | 14.13 | 11.22 | 9.377 | 7.583 | 7.71 | 4.554 | 6.339 | 7.014 | 4.156 | 3.601 | 3.714 | 5.375 | 3.85
370 | 51.68 | 42.85 | 37.63 | 69.53 | 90.17 | 153.7 | 153.4 | 110.9 | 113.2 | 65.54 | 126.5 | 167.8 | 203 | 324.6 | 463.9 | 704.6 | 872.9 | 985 | 845.4 | 505.2 | 245.7 | 94.24 | 55.81 | 42.07 | 45.8 | 136.7 | 182.1 | 60.91 | 34.16 | 33.38 | 34.43 | 79.4 | 696.4 | 9999.9 | 9999.9 | 9999.9 | 164.7 | 27 | 17.45 | 14.4 | 8.803 | 8.793 | 10.17 | 8.28 | 6.218 | 5.518 | 5.385 | 4.267 | 6.326 | 4.85 | 4.547
375 | 57.98 | 68.69 | 46.14 | 68.09 | 107.2 | 107.8 | 165.2 | 123.4 | 78.71 | 97.37 | 95.37 | 118.2 | 183.9 | 277.4 | 374.7 | 541 | 767.6 | 748.3 | 677.2 | 417.2 | 222.3 | 106.8 | 61.26 | 31.74 | 37.82 | 57.71 | 180.7 | 140 | 44.21 | 29.32 | 26.95 | 32.27 | 72.12 | 702.8 | 9999.9 | 9999.9 | 9999.9 | 145.2 | 27.53 | 17.14 | 12.4 | 10.08 | 9.196 | 6.578 | 7.568 | 5.655 | 7.22 | 4.836 | 6.466 | 4.768 | 4.388
380 | 54.96 | 46.8 | 39.4 | 71.84 | 97.64 | 166.3 | 138.9 | 118.7 | 73.26 | 48.04 | 83.27 | 76.46 | 132.9 | 224.8 | 411.8 | 421.2 | 553.6 | 611.6 | 538.3 | 343.4 | 180.7 | 79.06 | 48.26 | 45.8 | 43.5 | 37.11 | 68.75 | 182.2 | 102.8 | 41.73 | 26.75 | 34.84 | 33.36 | 87.72 | 693.3 | 9999.9 | 9999.9 | 9999.9 | 144.9 | 21.12 | 15.55 | 15.35 | 8.648 | 7.524 | 6.959 | 4.571 | 6.061 | 4.347 | 5.583 | 4.673 | 4.699
385 | 39.97 | 39.48 | 28.38 | 68.69 | 61.23 | 117.4 | 140.1 | 129.2 | 105.3 | 70.69 | 76.42 | 79.85 | 145.1 | 188.2 | 264.2 | 403.4 | 480.8 | 505.8 | 417.9 | 290 | 172.1 | 71.92 | 36.25 | 34.32 | 43.67 | 37.22 | 40.94 | 86.27 | 185.4 | 82.49 | 32.28 | 30.35 | 31.86 | 36.15 | 72.01 | 701.1 | 9999.9 | 9999.9 | 9999.9 | 116.7 | 25.11 | 19.59 | 15.22 | 8.145 | 7.214 | 7.371 | 6.698 | 5.136 | 4.966 | 5.24 | 3.855
390 | 41.4 | 83.01 | 69.81 | 64.6 | 110.9 | 102.8 | 94.92 | 72.59 | 82.37 | 71.3 | 96.18 | 71.06 | 106.6 | 161.6 | 210.4 | 337.2 | 392.5 | 403.2 | 351 | 251.7 | 135.8 | 60.58 | 40.96 | 36.24 | 33.61 | 48.79 | 38.84 | 39.72 | 99.68 | 145.5 | 51.9 | 32.43 | 24.98 | 33.02 | 33.53 | 74.84 | 681.7 | 9999.9 | 9999.9 | 9999.9 | 129.1 | 19.6 | 18.28 | 10.2 | 7.709 | 7.912 | 5.614 | 6.786 | 5.029 | 4.22 | 6.3
395 | 42.22 | 63.78 | 63.31 | 57.76 | 58.08 | 108.3 | 119.4 | 98.76 | 100 | 72.41 | 75.17 | 78.33 | 95.09 | 125.2 | 199.1 | 237.7 | 286.9 | 313.4 | 293.2 | 218.4 | 99.08 | 63.93 | 55.64 | 40.88 | 35.81 | 31.5 | 35.84 | 31.06 | 40.41 | 125.3 | 131.7 | 45.18 | 35.75 | 28.47 | 27.41 | 31.32 | 69.08 | 686.8 | 9999.9 | 9999.9 | 9999.9 | 106.5 | 20.07 | 14.25 | 10.13 | 9.059 | 7.837 | 5.04 | 5.524 | 6.468 | 4.976
400 | 86.53 | 36.84 | 39.81 | 31.07 | 61.49 | 69.6 | 86.61 | 60.99 | 79.97 | 83.24 | 64.02 | 106.1 | 94.71 | 91.96 | 158.6 | 219 | 250.7 | 257.3 | 258.5 | 157.8 | 93.36 | 61.4 | 37.64 | 43.08 | 40.88 | 36.75 | 40.88 | 35.51 | 30.43 | 54.23 | 133.4 | 98.03 | 40.07 | 21.03 | 25.49 | 23.44 | 29.37 | 70.93 | 678.5 | 9999.9 | 9999.9 | 9914 | 95.95 | 18.52 | 15.06 | 8.868 | 7.625 | 6.202 | 6.262 | 4.338 | 4.598
405 | 70.36 | 94.13 | 42.34 | 53.16 | 66.17 | 61.5 | 107.9 | 55.23 | 75.37 | 52.58 | 79.1 | 57.69 | 115.9 | 91.81 | 102.1 | 167.6 | 234.5 | 211.2 | 210.9 | 133.7 | 87.42 | 55.64 | 35.3 | 36.18 | 34.88 | 35.56 | 33.71 | 27.91 | 37.57 | 30.18 | 70.61 | 135.1 | 74.91 | 31.09 | 27.04 | 22.64 | 24.92 | 26.78 | 65.62 | 666.1 | 9999.9 | 9999.9 | 9999.9 | 117.9 | 22.06 | 10.9 | 9.924 | 7.438 | 8.267 | 6.014 | 5.485
410 | 39.5 | 152.4 | 92.74 | 57.77 | 39.2 | 59.05 | 72.78 | 70.05 | 70.83 | 53.74 | 53.53 | 63.15 | 67.19 | 94.8 | 98.49 | 153.7 | 141.1 | 166.6 | 142.5 | 121.7 | 76.11 | 44.03 | 39.51 | 44.44 | 38.88 | 26.62 | 43.41 | 33.33 | 32.34 | 29.7 | 36.31 | 72.01 | 127.2 | 64.14 | 23.76 | 24.11 | 26.72 | 23.92 | 27.43 | 63.64 | 674.6 | 9999.9 | 9999.9 | 9614 | 94.43 | 19.34 | 12.3 | 10.88 | 8.403 | 4.694 | 6.373
415 | 29.52 | 86.9 | 154.3 | 86.57 | 48.38 | 55.06 | 89.57 | 81.05 | 81.56 | 71.42 | 46.96 | 77.12 | 68.62 | 81.84 | 126.7 | 111.9 | 134.5 | 161.4 | 143.1 | 103.7 | 77.8 | 49.3 | 34.6 | 45.46 | 31.54 | 39.04 | 38.59 | 31.41 | 37.6 | 33.93 | 28.7 | 43.3 | 97.31 | 103 | 45.64 | 25.7 | 25.03 | 22.68 | 19.85 | 24.26 | 61.96 | 672.5 | 9999.9 | 9999.9 | 9136 | 98.15 | 18.44 | 13.48 | 9.254 | 6.974 | 6.38
420 | 46.59 | 52.26 | 190.2 | 130.6 | 36.55 | 45.12 | 53.26 | 39.39 | 44.86 | 60.49 | 47.63 | 58.83 | 53.88 | 79.28 | 100.2 | 115.9 | 117.6 | 130.1 | 117.9 | 91.36 | 64.99 | 49.95 | 44.67 | 37.81 | 28.23 | 40.34 | 31.05 | 37.3 | 28.85 | 33.08 | 36.06 | 31.66 | 44.08 | 111.4 | 93.65 | 34.82 | 19.87 | 20.02 | 19.09 | 17.68 | 20.51 | 62.54 | 675.8 | 9999.9 | 9999.9 | 9000 | 101.1 | 17.71 | 14.12 | 11.34 | 7.27
425 | 40.6 | 33.64 | 162.1 | 267.7 | 74.61 | 58.58 | 58.39 | 55.91 | 76.09 | 63.93 | 57.95 | 67.74 | 46.66 | 79.61 | 72.16 | 91.1 | 99.48 | 108.6 | 96.01 | 80.63 | 48.35 | 39.03 | 31.98 | 42.01 | 34.4 | 32.78 | 37.8 | 36.11 | 33.65 | 29.39 | 29.93 | 26.79 | 29.23 | 49.85 | 102 | 65.5 | 23.91 | 18.08 | 17.46 | 14.38 | 15.05 | 20.34 | 63.57 | 669.6 | 9999.9 | 9999.9 | 8715 | 92.3 | 17.76 | 14.48 | 8.669
430 | 54.94 | 42.15 | 44.74 | 378.1 | 191.8 | 48.75 | 90.75 | 44.61 | 63.59 | 57.41 | 60.85 | 42.19 | 54.36 | 77.31 | 85.59 | 81.72 | 93.63 | 89.03 | 70.48 | 57.98 | 44.94 | 39.68 | 37.29 | 34.97 | 33.3 | 35.18 | 28.34 | 23.81 | 26.52 | 32.66 | 29.35 | 27.73 | 29.08 | 31.61 | 64.41 | 98.2 | 52.46 | 21.44 | 15.13 | 15.13 | 14.5 | 16.31 | 17.59 | 58.34 | 668.9 | 9999.9 | 9999.9 | 8786 | 90.17 | 17.93 | 13.52
435 | 81.69 | 36.68 | 36.51 | 250.2 | 419.4 | 85.93 | 62.8 | 31.93 | 62.28 | 82.73 | 40.57 | 33.57 | 52.6 | 60.1 | 67.68 | 63.87 | 101.4 | 89.93 | 87.51 | 72.46 | 48.68 | 28.81 | 34.42 | 41.22 | 38.32 | 38.23 | 31.34 | 31.7 | 31.15 | 27.97 | 32.08 | 26.45 | 27.64 | 30.93 | 35.24 | 65.05 | 89.29 | 28.86 | 12.84 | 15.53 | 15 | 14.17 | 14.45 | 16.56 | 59.73 | 669.5 | 9999.9 | 9999.9 | 9147 | 88.7 | 16.66
440 | 53.39 | 60.11 | 57.35 | 75.54 | 669.2 | 214.3 | 44.84 | 50.21 | 51.92 | 55.46 | 28.49 | 42.08 | 60.97 | 61.99 | 54.24 | 78.94 | 71.19 | 88.8 | 72.96 | 58.3 | 40.2 | 26.11 | 31.85 | 49.24 | 28.64 | 25.02 | 38.8 | 31.28 | 28.09 | 31.27 | 36.43 | 31.91 | 28.81 | 31.73 | 32.61 | 33.61 | 78.38 | 62.13 | 23.79 | 16.26 | 14.92 | 16.06 | 12.51 | 11.39 | 18.34 | 59.12 | 669.8 | 9999.9 | 9999.9 | 8683 | 78.29
445 | 58.14 | 61.39 | 49.69 | 52.02 | 415.8 | 667.2 | 54.65 | 51.06 | 48.28 | 74.37 | 67.74 | 34.1 | 45.8 | 35.51 | 59.53 | 68.78 | 53.64 | 57.76 | 59.1 | 39.88 | 45.16 | 34.07 | 28.05 | 33.68 | 27.71 | 31.93 | 22.87 | 26.39 | 29.62 | 28.63 | 28.12 | 32.26 | 24.37 | 25.31 | 28.75 | 26.92 | 33.44 | 68.01 | 51.08 | 14.04 | 12.85 | 13.68 | 13.84 | 12.12 | 13.68 | 18.23 | 59.16 | 665.8 | 9999.9 | 9999.9 | 8429
450 | 53.8 | 37 | 68.62 | 64.35 | 77.14 | 1160 | 313.2 | 41.66 | 49.69 | 48.84 | 59.31 | 56.73 | 49.02 | 51.68 | 63.4 | 64.78 | 83.09 | 62.95 | 41.45 | 55.96 | 54.38 | 37.07 | 30.13 | 33.7 | 26.66 | 30.89 | 23.43 | 34.37 | 19.84 | 27.72 | 32.9 | 27.72 | 26.98 | 24.1 | 28.69 | 16.53 | 22.1 | 34.66 | 65.76 | 31.65 | 17.97 | 11.33 | 14.68 | 14.31 | 14.89 | 13.12 | 18 | 62.07 | 670.1 | 9999.9 | 9999.9
455 | 56.17 | 39.87 | 40.88 | 40.61 | 62.94 | 747.5 | 991.4 | 64.28 | 44.48 | 32.08 | 60.78 | 41.69 | 37.33 | 52.32 | 64.31 | 50.48 | 71.79 | 59.16 | 46.02 | 54.77 | 49.62 | 32.99 | 38.07 | 26.41 | 27.03 | 30.86 | 23.81 | 29.34 | 28.68 | 26.35 | 24.7 | 26.49 | 24.68 | 31.96 | 25.05 | 22.26 | 19.06 | 17.9 | 41.53 | 57.25 | 26.39 | 10.26 | 11.74 | 12.01 | 11.32 | 15.17 | 12.78 | 14.96 | 59.79 | 679.7 | 9999.9
460 | 63.33 | 69.04 | 70.28 | 50.37 | 65.42 | 164 | 1575 | 575.7 | 77.59 | 63.36 | 40.9 | 40.71 | 57.78 | 52.24 | 52.07 | 48 | 66.44 | 35.98 | 54.72 | 51.95 | 26.9 | 38.09 | 39.64 | 27.97 | 26.05 | 26.75 | 20.05 | 26.4 | 31.13 | 28.39 | 27.75 | 25.44 | 22.65 | 20.17 | 22.95 | 18.1 | 20.85 | 21.14 | 21.19 | 47.67 | 47.76 | 18.38 | 12.21 | 10.81 | 10.26 | 11.36 | 14.11 | 11.37 | 15.21 | 57.8 | 668.1
465 | 69.42 | 82.07 | 64.83 | 93.1 | 54.89 | 55.33 | 1183 | 1748 | 91.65 | 77.08 | 59.29 | 36.29 | 41.59 | 39.49 | 52.93 | 59.17 | 55.52 | 66.58 | 45.39 | 37.04 | 34.45 | 33.75 | 31.03 | 30.67 | 19.87 | 34.06 | 28.15 | 27.69 | 19.31 | 24.19 | 32.41 | 32.55 | 26.46 | 27.13 | 23.44 | 22.46 | 15.18 | 16.26 | 13.15 | 23.81 | 42.04 | 31.45 | 12 | 9.562 | 12.67 | 10.42 | 12.29 | 10.85 | 11.11 | 15.02 | 57.74
470 | 54.84 | 47.96 | 41.8 | 84.79 | 82.39 | 41.81 | 224.3 | 2797 | 726.6 | 59.96 | 43.16 | 24.04 | 50.16 | 53.64 | 70.79 | 47.81 | 53.47 | 57.32 | 52.74 | 49.66 | 39.07 | 38.91 | 23.02 | 24.25 | 25.52 | 29.58 | 25.16 | 26.86 | 26.71 | 21.93 | 27.64 | 19.35 | 17.16 | 23.14 | 23.23 | 19.33 | 17.84 | 18.97 | 14.65 | 14.98 | 27.05 | 43.35 | 22.21 | 13.59 | 11.08 | 14.1 | 12.05 | 9.907 | 10.41 | 11.5 | 14.31
475 | 57.41 | 55.22 | 57.27 | 89.76 | 60.31 | 58.55 | 71.18 | 1784 | 2239 | 97.35 | 33.62 | 41.95 | 35 | 58.26 | 42.27 | 55.29 | 59.85 | 55.6 | 49.73 | 33.62 | 38.07 | 42.37 | 24.98 | 28.31 | 33.26 | 23.34 | 20.28 | 16.62 | 18 | 19.28 | 20.5 | 22.12 | 18.12 | 20.22 | 19.55 | 14.92 | 16.72 | 10.66 | 16.61 | 12.97 | 13.62 | 29.71 | 34.44 | 17.37 | 13.08 | 11.21 | 10.07 | 9.469 | 11.27 | 9.829 | 8.967
480 | 53.95 | 37.44 | 80.36 | 60.33 | 72.32 | 24.81 | 68.41 | 328.3 | 3418 | 869.8 | 95.84 | 25.58 | 18.62 | 33.38 | 32.82 | 48.83 | 46.31 | 43.84 | 41.34 | 38.35 | 25.74 | 31.66 | 28.08 | 29.95 | 32.77 | 26.81 | 23.31 | 27.25 | 16.53 | 25.02 | 15.15 | 19.45 | 18.84 | 22.1 | 20.39 | 17.26 | 14.36 | 13.92 | 13.13 | 11.35 | 10.22 | 13.48 | 34.2 | 29.05 | 14.76 | 10.07 | 9.416 | 9.175 | 8.372 | 10.16 | 11.23
485 | 40.74 | 57.76 | 70.2 | 65.67 | 63.05 | 67.62 | 46.66 | 87.78 | 2602 | 2939 | 114.1 | 18.63 | 68.57 | 42.43 | 44.18 | 50.87 | 60.98 | 50.81 | 38.41 | 26.43 | 42.84 | 32.75 | 20.94 | 26.99 | 20.53 | 21.65 | 18.45 | 20.57 | 18.29 | 23.57 | 21.41 | 14.76 | 20.58 | 21.73 | 17.13 | 14.76 | 19.08 | 13.65 | 12.26 | 13.51 | 13.96 | 11.68 | 19.04 | 32.42 | 22.51 | 11.02 | 8.998 | 10.2 | 6.711 | 9.545 | 6.965
490 | 69.42 | 47.72 | 21.33 | 20.23 | 63.26 | 23.71 | 44.74 | 64.09 | 413.3 | 4730 | 788.4 | 59.98 | 59.15 | 44.34 | 38.73 | 54.02 | 43.47 | 50.77 | 40.91 | 26.15 | 29.39 | 32.01 | 27.67 | 27.53 | 29.21 | 23.96 | 22.46 | 13.19 | 19.63 | 14.66 | 18.47 | 21.96 | 21.58 | 16.05 | 14.06 | 17.62 | 17.44 | 13.45 | 14.52 | 10.12 | 13.1 | 10.51 | 12.94 | 22.57 | 28.75 | 15.69 | 9.532 | 9.134 | 7.883 | 8.301 | 7.768
495 | 29.59 | 55.81 | 43.15 | 43.01 | 79.26 | 44.11 | 63.4 | 55.39 | 102.7 | 3225 | 2505 | 80.46 | 50.44 | 45.57 | 49.07 | 66.47 | 32.34 | 41.95 | 24.8 | 46.78 | 20.64 | 31.41 | 21.7 | 18.42 | 23.51 | 25.64 | 19.51 | 20.46 | 16.21 | 18.5 | 16.64 | 18.77 | 23.62 | 20.11 | 14.62 | 18.19 | 13.08 | 13.13 | 15.06 | 12.5 | 9.693 | 10.98 | 10.92 | 12.89 | 27.86 | 22.09 | 14.15 | 10.13 | 9.36 | 9.087 | 8.2
500 | 61.78 | 43.3 | 53.3 | 52.57 | 76.99 | 39.25 | 55.72 | 45.26 | 57.08 | 769 | 4423 | 437.6 | 62.03 | 38.74 | 44.38 | 57.47 | 49.95 | 32.42 | 20.39 | 31.84 | 29.19 | 28.42 | 25.24 | 25.8 | 21.19 | 19.54 | 19.66 | 23.28 | 22.02 | 18.23 | 17.84 | 15.83 | 21.58 | 17.75 | 19.54 | 16.27 | 12.14 | 13.68 | 13.17 | 11.37 | 9.157 | 10.67 | 9.524 | 10.4 | 13.43 | 25.61 | 17.86 | 9.898 | 9.196 | 8.648 | 9.129