## Sheet1
Report date: | 14:23:45, 04/09/2024
Sample: | 1
File name:
Run date: | 14:20:45, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/275.0 | 50.99
2 | 205.0/380.0 | 81.04
3 | 205.0/450.0 | 81.43
4 | 210.0/270.0 | 64.16
5 | 210.0/285.0 | 66.55
6 | 210.0/295.0 | 81.5
7 | 210.0/310.0 | 91.48
8 | 210.0/385.0 | 84.74
9 | 210.0/420.0 | 102
10 | 210.0/480.0 | 83.86
11 | 215.0/395.0 | 95.76
12 | 215.0/405.0 | 97.08
13 | 215.0/490.0 | 83.86
14 | 220.0/260.0 | 46.32
15 | 220.0/470.0 | 72.8
16 | 225.0/270.0 | 49.01
17 | 225.0/375.0 | 160.9
18 | 225.0/405.0 | 102
19 | 225.0/485.0 | 90.37
20 | 230.0/265.0 | 58.81
21 | 230.0/320.0 | 445.6
22 | 230.0/335.0 | 458.6
23 | 230.0/355.0 | 389.6
24 | 230.0/365.0 | 241.7
25 | 230.0/425.0 | 80.81
26 | 235.0/275.0 | 67.98
27 | 235.0/290.0 | 125.6
28 | 235.0/345.0 | 414.8
29 | 235.0/360.0 | 297.2
30 | 235.0/390.0 | 144.3
31 | 235.0/405.0 | 109.5
32 | 240.0/260.0 | 112.3
33 | 240.0/395.0 | 109.3
34 | 240.0/435.0 | 70.54
35 | 245.0/270.0 | 114.4
36 | 245.0/400.0 | 78.12
37 | 245.0/410.0 | 78.36
38 | 245.0/420.0 | 75.95
39 | 245.0/445.0 | 78.39
40 | 250.0/275.0 | 113.4
41 | 250.0/405.0 | 78.97
42 | 250.0/415.0 | 82.75
43 | 250.0/430.0 | 73.01
44 | 250.0/470.0 | 75.62
45 | 255.0/280.0 | 119.2
46 | 255.0/420.0 | 83.02
47 | 255.0/450.0 | 68.53
48 | 260.0/285.0 | 163.2
49 | 260.0/485.0 | 60.66
50 | 265.0/445.0 | 54.73
51 | 265.0/460.0 | 95.9
52 | 265.0/475.0 | 65.51
53 | 270.0/435.0 | 81.97
54 | 270.0/465.0 | 76.67
55 | 275.0/445.0 | 85.22
56 | 275.0/460.0 | 73.01
57 | 275.0/480.0 | 58.99
58 | 280.0/465.0 | 73.44
59 | 285.0/335.0 | 2619
60 | 285.0/450.0 | 97.99
61 | 285.0/480.0 | 57.56
62 | 290.0/475.0 | 58.74
63 | 290.0/485.0 | 51.37
64 | 295.0/490.0 | 47.03
65 | 300.0/470.0 | 44.34
66 | 305.0/265.0 | 25.96
67 | 305.0/465.0 | 47.6
68 | 305.0/490.0 | 37.96
69 | 310.0/280.0 | 26.77
70 | 310.0/450.0 | 51.8
71 | 310.0/460.0 | 44.25
72 | 315.0/270.0 | 25.15
73 | 315.0/355.0 | 237.5
74 | 315.0/485.0 | 27.09
75 | 320.0/260.0 | 18.48
76 | 320.0/285.0 | 20.79
77 | 320.0/360.0 | 220.8
78 | 320.0/395.0 | 45.46
79 | 320.0/405.0 | 45.29
80 | 320.0/425.0 | 41.6
81 | 320.0/440.0 | 40.2
82 | 320.0/490.0 | 25.85
83 | 325.0/365.0 | 199.4
84 | 325.0/390.0 | 48.97
85 | 325.0/415.0 | 42.79
86 | 325.0/465.0 | 34.79
87 | 330.0/265.0 | 14.56
88 | 330.0/375.0 | 174.4
89 | 330.0/435.0 | 38.92
90 | 330.0/480.0 | 28.16
91 | 335.0/380.0 | 193.3
92 | 335.0/400.0 | 45.85
93 | 335.0/425.0 | 41.28
94 | 335.0/455.0 | 34.73
95 | 335.0/470.0 | 32.12
96 | 335.0/485.0 | 27.87
97 | 340.0/280.0 | 13.85
98 | 340.0/290.0 | 19.48
99 | 340.0/385.0 | 182
100 | 340.0/450.0 | 35.06
101 | 345.0/260.0 | 10.88
102 | 345.0/300.0 | 14.15
103 | 345.0/390.0 | 154.4
104 | 345.0/475.0 | 27.35
105 | 350.0/400.0 | 137.6
106 | 350.0/430.0 | 34
107 | 350.0/440.0 | 33.82
108 | 350.0/490.0 | 24.81
109 | 355.0/265.0 | 15.25
110 | 355.0/295.0 | 12.12
111 | 355.0/405.0 | 142.1
112 | 355.0/435.0 | 33.02
113 | 355.0/450.0 | 31.85
114 | 355.0/465.0 | 29.41
115 | 360.0/285.0 | 11.19
116 | 360.0/310.0 | 15.17
117 | 360.0/410.0 | 113.4
118 | 360.0/440.0 | 33.76
119 | 360.0/455.0 | 30.78
120 | 365.0/305.0 | 13.4
121 | 365.0/415.0 | 131.6
122 | 365.0/450.0 | 32.13
123 | 365.0/460.0 | 30.51
124 | 365.0/480.0 | 24.4
125 | 365.0/490.0 | 23.05
126 | 370.0/290.0 | 9.974
127 | 370.0/425.0 | 111.5
128 | 370.0/455.0 | 26.39
129 | 370.0/465.0 | 31.14
130 | 370.0/485.0 | 21.52
131 | 375.0/280.0 | 13.6
132 | 375.0/430.0 | 97.38
133 | 375.0/450.0 | 26.36
134 | 375.0/490.0 | 25.07
135 | 380.0/290.0 | 10.45
136 | 380.0/310.0 | 9.025
137 | 380.0/435.0 | 86.47
138 | 380.0/455.0 | 27.81
139 | 385.0/265.0 | 12.73
140 | 385.0/445.0 | 71.15
141 | 390.0/450.0 | 65.8
142 | 395.0/275.0 | 10.83
143 | 395.0/325.0 | 7.505
144 | 395.0/455.0 | 55.43
145 | 400.0/285.0 | 8.701
146 | 400.0/465.0 | 52.52
147 | 405.0/310.0 | 7.394
148 | 405.0/320.0 | 6.647
149 | 405.0/470.0 | 45.61
150 | 410.0/265.0 | 7.338
151 | 410.0/360.0 | 11.5
152 | 410.0/475.0 | 37.42
153 | 415.0/300.0 | 8.539
154 | 415.0/330.0 | 7.16
155 | 415.0/485.0 | 33.7
156 | 420.0/280.0 | 6.995
157 | 420.0/310.0 | 8.023
158 | 420.0/365.0 | 7.583
159 | 420.0/490.0 | 31.3
160 | 425.0/285.0 | 7.314
161 | 425.0/315.0 | 8.44
162 | 425.0/335.0 | 6.681
163 | 425.0/350.0 | 7.354
164 | 425.0/470.0 | 14.7
165 | 430.0/340.0 | 5.969
166 | 435.0/260.0 | 6.253
167 | 435.0/295.0 | 6.95
168 | 435.0/380.0 | 7.664
169 | 440.0/300.0 | 6.568
170 | 440.0/350.0 | 6.145
171 | 445.0/325.0 | 7.725
172 | 445.0/485.0 | 10.59
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 25 | 29.89 | 30.24 | 25.51 | 32.94 | 44.84 | 34.13 | 34.31 | 78.94 | 1798 | 5740 | 1374 | 58.97 | 28.82 | 9.246 | 17.77 | 17.86 | 12.19 | 16.33 | 26.03 | 20.91 | 9.368 | 9.865 | 10.07 | 10.87 | 13.42 | 10.35 | 13.13 | 6.428 | 8.796 | 9.819 | 7.771 | 9.649 | 11.88 | 7.796 | 6.763 | 9.221 | 8.385 | 7.239 | 7.952 | 8.931 | 8.564 | 4.498 | 4.894 | 5.552 | 5.817 | 5.011 | 3.636 | 3.951 | 2.431 | 2.824
255 | 45.85 | 37.11 | 23.91 | 27.63 | 31.26 | 31.74 | 28.4 | 56.38 | 55.47 | 148.8 | 1816 | 6923 | 3186 | 121 | 28.19 | 18.98 | 26.2 | 21.3 | 12.42 | 21.52 | 16.61 | 17.05 | 11.91 | 14.7 | 9.576 | 9.128 | 13.1 | 11.22 | 6.274 | 7.133 | 7.613 | 7.747 | 9.211 | 9.504 | 9.724 | 11.91 | 6.458 | 8.039 | 6.856 | 5.86 | 8.028 | 8.342 | 6.199 | 5.954 | 4.991 | 3.377 | 5.659 | 4.515 | 3.865 | 2.864 | 2.94
260 | 29.15 | 23.17 | 25.75 | 19.96 | 46.32 | 40.35 | 50.48 | 59.95 | 112.3 | 79.3 | 145.5 | 2160 | 8257 | 4181 | 122.1 | 32.67 | 27.88 | 19.52 | 18.05 | 17.87 | 16.91 | 17.07 | 10.08 | 14.29 | 18.48 | 16.01 | 10.87 | 11.9 | 6.984 | 10.88 | 7.388 | 9.551 | 8.218 | 9.022 | 8.873 | 11.15 | 10.04 | 7.488 | 4.887 | 7.393 | 6.808 | 8.213 | 7.254 | 5.56 | 5.284 | 5.158 | 5.511 | 6.253 | 4.24 | 3.446 | 3.74
265 | 59.17 | 44.88 | 33.55 | 24.85 | 24.62 | 38.04 | 58.81 | 49.01 | 56.2 | 73.99 | 47.13 | 176.4 | 3006 | 9999.9 | 5596 | 170.1 | 34.61 | 24.26 | 15.03 | 22.85 | 21.69 | 25.96 | 14.54 | 16.4 | 10.8 | 10.3 | 14.56 | 10.46 | 8.767 | 5.613 | 6.079 | 15.25 | 6.502 | 9.214 | 7.482 | 12.1 | 11.59 | 12.73 | 6.069 | 5.712 | 7.125 | 7.274 | 7.338 | 6.367 | 5.122 | 5.83 | 5.714 | 4.515 | 5.543 | 5.069 | 2.895
270 | 44.43 | 32.24 | 64.16 | 41.76 | 40.97 | 49.01 | 28.06 | 29.39 | 37.87 | 114.4 | 59.32 | 50.63 | 219.2 | 4063 | 9999.9 | 7115 | 212.6 | 21.94 | 25.69 | 19.21 | 20.27 | 24.57 | 14.88 | 25.15 | 8.38 | 12.1 | 13.47 | 7.126 | 9.556 | 7.821 | 11.16 | 14.4 | 10.46 | 8.167 | 7.006 | 8.953 | 10.03 | 10.72 | 7.695 | 7.215 | 7.711 | 5.119 | 5.945 | 6.272 | 5.367 | 5.985 | 5.163 | 5.554 | 5.072 | 5.218 | 4.717
275 | 25.61 | 50.99 | 34.84 | 38.47 | 35.4 | 31.05 | 48.9 | 67.98 | 34.01 | 42.18 | 113.4 | 107.2 | 63.71 | 308.3 | 5172 | 9999.9 | 9473 | 272.6 | 35.66 | 23.44 | 20.81 | 21.68 | 16.67 | 16.37 | 17.81 | 15.83 | 12.29 | 9.052 | 13.5 | 11.03 | 12.23 | 9.754 | 9.715 | 5.225 | 8.317 | 10.28 | 5.965 | 9.907 | 7.134 | 10.83 | 8.087 | 7.169 | 6.84 | 6.824 | 6.257 | 5.487 | 4.865 | 4.486 | 4.935 | 4.787 | 4.384
280 | 42.73 | 37.12 | 46.19 | 25.46 | 51.43 | 43.81 | 36.56 | 55.99 | 52.22 | 31.6 | 66.86 | 119.2 | 84.62 | 56.65 | 389.6 | 7274 | 9999.9 | 9999.9 | 285.7 | 30.32 | 26.81 | 16.23 | 26.77 | 14.79 | 16.02 | 16.66 | 10.22 | 10.06 | 13.85 | 9.369 | 7.891 | 9.308 | 6.744 | 7.539 | 8.249 | 13.6 | 4.654 | 7.058 | 7.504 | 8.265 | 5.731 | 5.042 | 6.129 | 6.873 | 6.995 | 6.89 | 6.618 | 4.446 | 4.984 | 5.138 | 4.353
285 | 55.02 | 29.84 | 66.55 | 46.9 | 54.09 | 59.04 | 79.48 | 58.27 | 75.46 | 42.37 | 45.18 | 57.99 | 163.2 | 117.9 | 111.8 | 599.5 | 9022 | 9999.9 | 9999.9 | 314 | 34.85 | 32.76 | 15.24 | 17.05 | 20.79 | 18.59 | 13.71 | 9.684 | 12.13 | 11.17 | 7.848 | 7.235 | 11.19 | 9.402 | 6.438 | 5.938 | 8.798 | 4.864 | 6.975 | 7.803 | 8.701 | 8.415 | 6.894 | 4.34 | 5.668 | 7.314 | 7.25 | 3.946 | 5.818 | 4.602 | 4.398
290 | 68.97 | 45.34 | 40.44 | 72.46 | 73.48 | 92.05 | 115.5 | 125.6 | 74.94 | 71.04 | 61.8 | 68.3 | 151.8 | 179.7 | 241.4 | 351.6 | 898.6 | 9999.9 | 9999.9 | 9999.9 | 282.7 | 43.59 | 24.85 | 19.72 | 17.37 | 12.35 | 16.37 | 13.07 | 19.48 | 10.32 | 5.311 | 11.09 | 10.58 | 6.605 | 9.974 | 7.609 | 10.45 | 6.798 | 6.449 | 7.241 | 6.215 | 8.289 | 6.104 | 5.995 | 6.776 | 4.98 | 6.471 | 6.665 | 5.513 | 5.251 | 4.667
295 | 53.21 | 52.25 | 81.5 | 56.67 | 97.71 | 118 | 183.1 | 91.22 | 86.26 | 78.55 | 58.01 | 74.33 | 125.6 | 323.2 | 479.8 | 451 | 569.4 | 1144 | 9999.9 | 9999.9 | 9999.9 | 312.5 | 25.38 | 27.13 | 21 | 15.5 | 16.45 | 13.72 | 11.9 | 13.51 | 10.26 | 12.12 | 8.964 | 10.2 | 9.464 | 10.07 | 8.016 | 6.651 | 6.064 | 6.614 | 4.942 | 6.317 | 7.005 | 8.035 | 6.494 | 6.416 | 5.821 | 6.95 | 5.529 | 6.018 | 5.838
300 | 38.79 | 50.15 | 70.64 | 70.37 | 126 | 140.6 | 185.8 | 188.9 | 140.3 | 108 | 106.7 | 99.43 | 198.1 | 318.7 | 630.8 | 760.8 | 886.4 | 872.4 | 1140 | 9999.9 | 9999.9 | 9999.9 | 275.6 | 36.61 | 32.21 | 17.73 | 20.38 | 14.25 | 12.46 | 14.15 | 12.55 | 6.795 | 8.327 | 11.61 | 8.429 | 9.224 | 6.654 | 6.416 | 5.614 | 4.842 | 4.76 | 5.666 | 5.868 | 8.539 | 7.225 | 6.499 | 6.093 | 4.715 | 6.568 | 5.624 | 5.31
305 | 84.12 | 63.88 | 65.65 | 67.35 | 111.2 | 163 | 256.3 | 224.7 | 147.6 | 89.02 | 97.61 | 183.1 | 247.4 | 457.7 | 740.9 | 1101 | 1279 | 1111 | 788.2 | 1020 | 9999.9 | 9999.9 | 9999.9 | 260.6 | 36.19 | 20.57 | 19.66 | 15.63 | 9.868 | 10.5 | 11.45 | 11.53 | 10.24 | 13.4 | 11.79 | 7.503 | 8.914 | 5.17 | 6.333 | 5.07 | 6.11 | 6.091 | 4.548 | 5.178 | 7.908 | 7.097 | 7.103 | 5.646 | 5.605 | 6.875 | 6.824
310 | 40.27 | 73.82 | 91.48 | 82.3 | 125.9 | 214.8 | 281.5 | 247.2 | 216.7 | 106.1 | 123.3 | 195 | 296.6 | 571.1 | 777.9 | 1257 | 1655 | 1567 | 1203 | 723.8 | 901.1 | 9999.9 | 9999.9 | 9999.9 | 285.7 | 36.77 | 19.27 | 15.98 | 16.8 | 14.01 | 12.53 | 10.57 | 15.17 | 10.49 | 10.24 | 7.602 | 9.025 | 6.366 | 5.435 | 5.456 | 6.822 | 7.394 | 6.217 | 5.943 | 8.023 | 6.916 | 7.393 | 5.791 | 6.071 | 5.954 | 7.514
315 | 50 | 91.54 | 67.74 | 86.88 | 123.9 | 252.6 | 345.5 | 295.8 | 171.9 | 139.4 | 144.8 | 237.1 | 376 | 724.4 | 1076 | 1489 | 2034 | 2158 | 1489 | 869.9 | 422.8 | 781.9 | 9999.9 | 9999.9 | 9999.9 | 277 | 30.3 | 31.15 | 25.68 | 15.25 | 13.96 | 12.49 | 10.37 | 8.721 | 13.11 | 8.057 | 7.87 | 8.055 | 8.038 | 5.043 | 5.702 | 4.603 | 4.411 | 5.226 | 4.65 | 8.44 | 6.061 | 7.201 | 4.326 | 5.312 | 6.275
320 | 95.92 | 62.95 | 109.9 | 113.4 | 196.9 | 277.9 | 445.6 | 296 | 217.7 | 153.3 | 198.6 | 251.5 | 452.2 | 707.6 | 1121 | 1592 | 2161 | 2344 | 1943 | 1157 | 458.7 | 216.5 | 731.8 | 9999.9 | 9999.9 | 9999.9 | 258.5 | 36.55 | 28.37 | 19.64 | 12.17 | 16.2 | 12.47 | 10.45 | 12.81 | 9.585 | 10.5 | 8.582 | 7.311 | 4.281 | 4.269 | 6.647 | 5.464 | 4.588 | 4.021 | 6.353 | 6.893 | 7.595 | 7.011 | 6.708 | 6.764
325 | 59.7 | 72.78 | 92.98 | 113.3 | 200.1 | 274.9 | 396.2 | 354.2 | 257 | 181.5 | 222.6 | 296.8 | 529 | 714.5 | 1299 | 1769 | 2439 | 2554 | 2298 | 1381 | 546.4 | 201.2 | 121.6 | 701.5 | 9999.9 | 9999.9 | 9999.9 | 291.5 | 29.6 | 30.42 | 20.56 | 16.89 | 11.43 | 11.27 | 12.44 | 7.379 | 8.058 | 7.051 | 6.474 | 7.505 | 5.735 | 4.211 | 5.677 | 5.132 | 4.964 | 5.441 | 4.258 | 6.425 | 7.631 | 7.725 | 5.46
330 | 55.23 | 69 | 79.23 | 105.6 | 144.4 | 288.1 | 413.7 | 338.9 | 202.3 | 170.9 | 194.2 | 298.7 | 519 | 831.1 | 1360 | 1813 | 2345 | 2611 | 2279 | 1538 | 685.8 | 211.4 | 86.82 | 92.68 | 696.8 | 9999.9 | 9999.9 | 9999.9 | 271.7 | 33.81 | 30.5 | 26.53 | 17.78 | 12.96 | 13.27 | 11.32 | 11.11 | 8.511 | 8.071 | 7.08 | 6.887 | 4.892 | 6.188 | 7.16 | 4.769 | 4.661 | 4.717 | 4.33 | 7.52 | 7.079 | 8.934
335 | 48.29 | 62.39 | 70.61 | 111.8 | 170.6 | 315.3 | 458.6 | 384.5 | 218.4 | 225.9 | 208.1 | 254.4 | 504.9 | 920.7 | 1338 | 1917 | 2316 | 2619 | 2211 | 1376 | 763.4 | 299.5 | 88.11 | 61.58 | 89.5 | 698.2 | 9999.9 | 9999.9 | 9999.9 | 251.6 | 34.88 | 26.27 | 15.32 | 16.9 | 15.74 | 15.28 | 9.798 | 7.465 | 8.249 | 6.333 | 6.041 | 4.856 | 4.809 | 5.864 | 5.041 | 6.681 | 5.284 | 4.573 | 5.893 | 5.781 | 6.951
340 | 80.32 | 58.03 | 97.22 | 132.1 | 171.3 | 298.5 | 357.3 | 292.4 | 162.1 | 143.6 | 204.5 | 323.5 | 468.8 | 741.8 | 1260 | 1859 | 2410 | 2493 | 2154 | 1229 | 707.9 | 414.6 | 119.4 | 55.97 | 41.37 | 83.21 | 706.3 | 9999.9 | 9999.9 | 9999.9 | 266.5 | 41.54 | 27.62 | 18.68 | 17.55 | 13.84 | 12.3 | 11.16 | 8.877 | 7.225 | 5.937 | 6.826 | 6.607 | 5.233 | 5.465 | 4.709 | 5.969 | 4.833 | 5.092 | 5.518 | 5.901
345 | 55.75 | 60.18 | 96.63 | 110.3 | 137.2 | 370.5 | 411 | 414.8 | 213.3 | 131.4 | 215.5 | 294 | 424.8 | 725.9 | 1197 | 1670 | 2064 | 2101 | 1871 | 1190 | 546.6 | 324.3 | 254.5 | 68.75 | 43.23 | 38.54 | 92.86 | 687.2 | 9999.9 | 9999.9 | 9999.9 | 252.7 | 35.73 | 22.93 | 19.8 | 16.67 | 14.32 | 10.01 | 10.95 | 6.955 | 6.529 | 6.348 | 5.949 | 5.741 | 3.732 | 5.967 | 5.445 | 4.024 | 4.423 | 5.643 | 4.788
350 | 65.93 | 57.62 | 79.53 | 108.6 | 164.3 | 324.1 | 308.5 | 255.7 | 184.7 | 142.7 | 174.1 | 289.8 | 389.8 | 674.2 | 990 | 1387 | 1802 | 1911 | 1668 | 1058 | 538.7 | 219.8 | 253.5 | 187 | 64.42 | 30.25 | 43.7 | 86.58 | 702.6 | 9999.9 | 9999.9 | 9999.9 | 255.3 | 38.32 | 27.7 | 18.13 | 13.72 | 14.04 | 10.35 | 8.327 | 9.292 | 7.772 | 5.598 | 5.261 | 5.335 | 7.354 | 4.685 | 4.34 | 6.145 | 5.902 | 4.734
355 | 66.52 | 46.95 | 114.7 | 107.4 | 158.3 | 200.5 | 389.6 | 249.2 | 163.7 | 137.9 | 186 | 225.3 | 382.7 | 640.7 | 936.5 | 1218 | 1549 | 1660 | 1536 | 981.6 | 416.7 | 180.8 | 117.9 | 237.5 | 137.8 | 48.46 | 40.43 | 50.99 | 81.29 | 696.9 | 9999.9 | 9999.9 | 9999.9 | 233.8 | 39.29 | 29.36 | 18.3 | 13.98 | 9.99 | 8.354 | 10.19 | 7.19 | 7.275 | 7.078 | 5.924 | 6.214 | 6.234 | 4.046 | 5.656 | 5.887 | 5.472
360 | 60.01 | 64.75 | 81.47 | 107 | 121 | 243.5 | 204.5 | 297.2 | 156.2 | 116 | 166.6 | 180.8 | 314 | 470 | 780.4 | 1024 | 1413 | 1502 | 1338 | 778.4 | 365.3 | 172.7 | 72.54 | 97.69 | 220.8 | 100.6 | 36.74 | 40.95 | 43.29 | 80.05 | 687.4 | 9999.9 | 9999.9 | 9999.9 | 222.9 | 40.69 | 27.27 | 18.69 | 14.12 | 11.21 | 9.488 | 7.647 | 11.5 | 8.473 | 5.531 | 5.426 | 3.091 | 3.96 | 5.002 | 5.169 | 4.471
365 | 31.56 | 54.23 | 74.69 | 83.68 | 154.7 | 159.3 | 241.7 | 234 | 146.5 | 117 | 132.1 | 163.8 | 233.1 | 410.2 | 723.8 | 875.7 | 1122 | 1308 | 1107 | 684.8 | 312.7 | 145.5 | 59.95 | 51.21 | 120.6 | 199.4 | 74.41 | 38.65 | 40.23 | 40 | 93.96 | 700.3 | 9999.9 | 9999.9 | 9999.9 | 187.1 | 37.25 | 24.53 | 16.39 | 12.96 | 9.928 | 9.019 | 6.82 | 6.324 | 7.583 | 5.969 | 6.107 | 5.354 | 5.439 | 4.321 | 5.069
370 | 49.22 | 68.98 | 61.5 | 70.16 | 111.3 | 155.1 | 203.4 | 164.3 | 147.2 | 121.7 | 119.5 | 140.2 | 281.6 | 399.1 | 569.5 | 815.3 | 921.6 | 1029 | 946.9 | 620.4 | 303.4 | 124.9 | 60.2 | 41.75 | 55.99 | 146.9 | 173.5 | 50.36 | 35.89 | 36.9 | 39.77 | 86.79 | 717.4 | 9999.9 | 9999.9 | 9999.9 | 186.1 | 34.04 | 23.98 | 14 | 9.934 | 8.757 | 6.21 | 8.776 | 7.002 | 6.778 | 5.732 | 4.596 | 4.794 | 4.313 | 3.177
375 | 67.23 | 68.04 | 75.48 | 69.41 | 122.4 | 160.9 | 145.9 | 148.2 | 110.5 | 113.8 | 74.26 | 148.1 | 229.7 | 306.5 | 427 | 632.6 | 802.4 | 860.6 | 797.5 | 487.8 | 206.5 | 110.8 | 39.59 | 34.87 | 32.24 | 59.31 | 174.4 | 140.2 | 48.33 | 30.96 | 38.71 | 42.54 | 82.79 | 706.2 | 9999.9 | 9999.9 | 9999.9 | 180.9 | 32.17 | 21.8 | 14.04 | 10.68 | 8.826 | 8.919 | 6.568 | 7.921 | 5.426 | 5.186 | 5.166 | 5.604 | 4.21
380 | 57.86 | 81.04 | 69.53 | 80.47 | 70.58 | 156.6 | 112.8 | 125 | 69.03 | 112.7 | 90.64 | 109.7 | 140.9 | 246.8 | 327.6 | 429 | 698.3 | 710.3 | 677.5 | 361 | 187.6 | 99.5 | 64.44 | 40.75 | 35.96 | 44.28 | 62.87 | 193.3 | 115.8 | 37.05 | 33.18 | 23.65 | 45.97 | 87.94 | 700.7 | 9999.9 | 9999.9 | 9999.9 | 172.8 | 29.52 | 17.42 | 15.59 | 10.13 | 8.734 | 7.273 | 7.801 | 5.517 | 7.664 | 5.13 | 4.656 | 6.663
385 | 50.11 | 59.71 | 84.74 | 56.68 | 81.26 | 108.8 | 135.4 | 93.96 | 98.87 | 97.46 | 105.9 | 106.3 | 136.6 | 240.4 | 341.3 | 382 | 537.7 | 592.3 | 593.6 | 328.1 | 211.4 | 93.84 | 46.92 | 32.03 | 40.8 | 44.81 | 44.89 | 86.24 | 182 | 76.56 | 35.01 | 27.74 | 38.02 | 34.97 | 87.18 | 703.5 | 9999.9 | 9999.9 | 9999.9 | 143.4 | 26.05 | 21.82 | 13.29 | 12.44 | 9.74 | 9.151 | 6.835 | 5.494 | 6.078 | 4.143 | 4.254
390 | 40.89 | 32.42 | 63.55 | 52.65 | 90.73 | 93.84 | 141.5 | 144.3 | 79.4 | 56.2 | 94.63 | 80.59 | 122 | 181 | 255.7 | 324.2 | 407.7 | 441.9 | 432.1 | 254 | 135.4 | 68.06 | 46.37 | 43.02 | 41.37 | 48.97 | 34.44 | 47.2 | 102.9 | 154.4 | 54.66 | 26.98 | 33.38 | 28.02 | 41.99 | 79.97 | 689.9 | 9999.9 | 9999.9 | 9999.9 | 155 | 28.04 | 16.86 | 12.34 | 9.106 | 8.788 | 7.001 | 7.103 | 6.36 | 6.786 | 5.543
395 | 49.76 | 57.05 | 68.98 | 95.76 | 43.45 | 87.44 | 119.8 | 97.5 | 109.3 | 62.39 | 62.99 | 102.1 | 103.6 | 174.4 | 223.6 | 260.8 | 343.8 | 361.3 | 326.7 | 219.2 | 118.3 | 68.24 | 57.44 | 39.71 | 45.46 | 39.18 | 32.86 | 34.93 | 43.36 | 116.7 | 123.9 | 51.38 | 28.72 | 31.09 | 30.65 | 36.82 | 77.79 | 697.6 | 9999.9 | 9999.9 | 9999.9 | 129.6 | 23.4 | 19.76 | 12.11 | 10.24 | 8.925 | 6.889 | 6.486 | 6.752 | 6.448
400 | 47.17 | 80.41 | 71.08 | 52.96 | 78.06 | 92.57 | 116.3 | 95.32 | 66.73 | 78.12 | 65.55 | 72.91 | 103.6 | 109.6 | 156.5 | 232 | 268.8 | 339.3 | 283.5 | 173.5 | 100.2 | 71.38 | 45.85 | 36.72 | 39.54 | 29.18 | 31.22 | 45.85 | 39.68 | 48.43 | 137.6 | 109.1 | 37.57 | 28.41 | 27.94 | 29.57 | 36.73 | 79.88 | 688.2 | 9999.9 | 9999.9 | 9999.9 | 121.6 | 23.71 | 16.96 | 11.82 | 11.69 | 7.768 | 6.685 | 6.939 | 5.362
405 | 94.7 | 72.66 | 56.86 | 97.08 | 60.91 | 102 | 88.85 | 109.5 | 94.15 | 69.74 | 78.97 | 67.02 | 79.86 | 115.9 | 167.8 | 198.1 | 233.1 | 226.8 | 194.9 | 163.5 | 95.82 | 64.41 | 51.2 | 31.93 | 45.29 | 41.72 | 38.56 | 42.49 | 34.71 | 40.03 | 59.11 | 142.1 | 76.95 | 27.04 | 23.52 | 28.66 | 24.29 | 27.53 | 73.04 | 679.2 | 9999.9 | 9999.9 | 9999.9 | 132.9 | 24.31 | 16.39 | 9.581 | 11.09 | 8.61 | 9.074 | 5.583
410 | 44.11 | 107.2 | 80.98 | 50.9 | 61.86 | 74.34 | 71.26 | 65.16 | 65.77 | 78.36 | 47.74 | 68 | 75.3 | 134.4 | 129.6 | 180.4 | 209.1 | 198.7 | 180.8 | 115.7 | 78.61 | 59.21 | 48.02 | 49.47 | 37.09 | 37.49 | 37.25 | 37.87 | 43.56 | 47.51 | 44.03 | 75.03 | 113.4 | 57.8 | 32.27 | 24.89 | 22.54 | 26.37 | 26.49 | 66.97 | 675.4 | 9999.9 | 9999.9 | 9999.9 | 113.7 | 21.57 | 13.61 | 11.85 | 8.305 | 6.806 | 7.798
415 | 59.82 | 59.57 | 97.85 | 63.31 | 49.58 | 72.06 | 74.4 | 70.12 | 50.19 | 50.01 | 82.75 | 39.32 | 49.34 | 98.95 | 109.4 | 131.9 | 152.9 | 160.3 | 164.1 | 121.7 | 90.14 | 54.57 | 39.67 | 44.63 | 32.98 | 42.79 | 39.29 | 32.72 | 38.55 | 36.06 | 35.34 | 39.75 | 99.97 | 131.6 | 46.18 | 31.51 | 22.33 | 20.24 | 22.19 | 27.51 | 62.15 | 677.2 | 9999.9 | 9999.9 | 9999.9 | 117.9 | 22.62 | 14.48 | 11.5 | 9.409 | 6.995
420 | 51.13 | 52.46 | 102 | 95.66 | 63.86 | 67.39 | 75.98 | 68.48 | 58.9 | 75.95 | 55.74 | 83.02 | 71.13 | 89.03 | 98.4 | 113.8 | 142 | 137.5 | 126.5 | 77.14 | 73.73 | 58.76 | 44.16 | 37.5 | 40.72 | 33.49 | 38.46 | 37.32 | 29.96 | 31.55 | 38.58 | 32.37 | 48.3 | 104.5 | 101.7 | 36.88 | 24.25 | 23.09 | 19.52 | 18.41 | 22.83 | 65.62 | 680.8 | 9999.9 | 9999.9 | 9999.9 | 107.4 | 21.25 | 17.44 | 11.1 | 8.723
425 | 61.8 | 64.99 | 84.51 | 162.1 | 43.04 | 68.11 | 80.81 | 62.56 | 63.8 | 57.75 | 71.83 | 48.75 | 69.21 | 66.47 | 76.26 | 88.69 | 112.6 | 125.4 | 129.8 | 79.19 | 55.43 | 44.15 | 46.09 | 29.35 | 41.6 | 36.59 | 33.28 | 41.28 | 39.24 | 33.49 | 31.32 | 31.99 | 37.27 | 47.76 | 111.5 | 68.1 | 29.55 | 22.37 | 20.39 | 19.86 | 18.88 | 20.92 | 66.64 | 678.4 | 9999.9 | 9999.9 | 9999.9 | 101.3 | 23.37 | 15.56 | 9.034
430 | 44.31 | 76.35 | 62.63 | 197.8 | 125.7 | 78.85 | 46.56 | 50.77 | 42.37 | 52.08 | 73.01 | 66.99 | 69.44 | 71.23 | 76.44 | 95.44 | 100.7 | 92.37 | 88.61 | 87.19 | 64.64 | 50.59 | 38.92 | 38.74 | 30.17 | 35.56 | 31.95 | 34.88 | 30.28 | 31.92 | 34 | 31.14 | 28.53 | 33 | 62.13 | 97.38 | 44.83 | 23.5 | 17.52 | 18.16 | 20.74 | 15.97 | 22.5 | 59.31 | 673 | 9999.9 | 9999.9 | 9999.9 | 103.1 | 21.11 | 16.71
435 | 41.5 | 63.07 | 58.48 | 114.4 | 248.2 | 92.16 | 54.86 | 49.66 | 70.54 | 65.37 | 48.42 | 40.55 | 50.57 | 63.54 | 81.97 | 69.47 | 99.44 | 99.67 | 83.27 | 89.57 | 52.77 | 38.1 | 41.99 | 32.27 | 32.88 | 29.15 | 38.92 | 32.32 | 33.5 | 28.38 | 31.11 | 33.02 | 29.76 | 32.14 | 33.19 | 62.38 | 86.47 | 35.12 | 18.74 | 13.5 | 16.7 | 15.54 | 19.43 | 20.64 | 63.16 | 679.6 | 9999.9 | 9999.9 | 9999.9 | 107.3 | 22.71
440 | 96.52 | 75.26 | 65.39 | 69.2 | 340.7 | 175.6 | 71.75 | 72.1 | 52.05 | 47.24 | 58.45 | 58.72 | 56.08 | 43.5 | 64.97 | 79.06 | 85.11 | 83.03 | 61.31 | 62.62 | 44.78 | 20.25 | 47.51 | 24.66 | 40.2 | 38.44 | 33.91 | 27.18 | 29.95 | 27.38 | 33.82 | 28.46 | 33.76 | 28.88 | 25.73 | 30.91 | 81.38 | 64.72 | 20.96 | 13.84 | 14.03 | 13.78 | 16.22 | 15.71 | 20.16 | 63.95 | 679.5 | 9999.9 | 9999.9 | 9999.9 | 94.27
445 | 86.85 | 55.44 | 59.03 | 52.33 | 209.2 | 407.6 | 67.41 | 92.32 | 61.96 | 78.39 | 70.4 | 55.65 | 51.56 | 54.73 | 46.96 | 85.22 | 79.56 | 83.85 | 74.92 | 50.42 | 40.14 | 45.47 | 47.67 | 29.7 | 36.33 | 32.4 | 32 | 24.24 | 26.94 | 26.23 | 26.9 | 27.95 | 24.21 | 24.81 | 24.58 | 24.46 | 33.07 | 71.15 | 50.55 | 20.32 | 15.39 | 16.56 | 14.11 | 14.7 | 14.84 | 21.36 | 66.34 | 674 | 9999.9 | 9999.9 | 9999
450 | 72.49 | 81.43 | 50.62 | 83.34 | 117.3 | 445 | 215.8 | 62.48 | 47.82 | 62.42 | 56.16 | 68.53 | 45.42 | 46.38 | 63.88 | 68.95 | 66.52 | 97.99 | 73.15 | 65.47 | 45.48 | 43.28 | 51.8 | 34.68 | 35.69 | 29.98 | 31 | 32.11 | 35.06 | 31.52 | 27.98 | 31.85 | 25.83 | 32.13 | 21.4 | 26.36 | 22.52 | 39.47 | 65.8 | 30.57 | 17.38 | 13.65 | 13.99 | 13.06 | 12.63 | 14.32 | 19.21 | 63.38 | 682.3 | 9999.9 | 9999.9
455 | 47.05 | 44.54 | 44.24 | 58.36 | 76.9 | 355 | 606.5 | 132.7 | 61.9 | 71.15 | 55.28 | 54.88 | 47.48 | 57.25 | 49.12 | 62.1 | 51.71 | 59.15 | 64.65 | 54.41 | 40.03 | 39.79 | 27.34 | 32.36 | 30.75 | 24.33 | 26.29 | 34.73 | 30.26 | 29.5 | 28.35 | 30.29 | 30.78 | 23.89 | 26.39 | 23 | 27.81 | 21.14 | 47.76 | 55.43 | 27.44 | 15.22 | 16.04 | 14.46 | 12.57 | 13.9 | 13.19 | 18.23 | 62.11 | 691.9 | 9999.9
460 | 77.38 | 72.78 | 76.57 | 71.64 | 58.93 | 115.5 | 800.8 | 293.7 | 70.8 | 56.04 | 41.71 | 63.05 | 69.52 | 95.9 | 56.46 | 73.01 | 56.93 | 56.3 | 59.84 | 53.82 | 56.14 | 38.58 | 44.25 | 34.48 | 29.75 | 34.58 | 28.22 | 27.79 | 25.61 | 28.59 | 26.79 | 27.5 | 28.51 | 30.51 | 21.24 | 21.57 | 20.65 | 20.91 | 28.04 | 54.86 | 48.97 | 19.4 | 16.17 | 12.29 | 10.4 | 14.3 | 11.76 | 16.33 | 19.06 | 62.63 | 675.7
465 | 89.47 | 71.26 | 85.15 | 74.55 | 65.5 | 101 | 539.9 | 992.1 | 90.76 | 50.3 | 69.95 | 58.46 | 59.21 | 69.59 | 76.67 | 64.8 | 73.44 | 44.02 | 60.02 | 55.97 | 36.8 | 47.6 | 36.42 | 26.83 | 31.47 | 34.79 | 24.21 | 28.91 | 23.14 | 28.8 | 26.63 | 29.41 | 27.2 | 26.82 | 31.14 | 23.54 | 21.92 | 22.6 | 20.26 | 24.63 | 52.52 | 31.79 | 16.86 | 12.57 | 11.35 | 13.3 | 10.89 | 12.72 | 13.73 | 20.52 | 62.67
470 | 78.61 | 45.98 | 57.85 | 70.32 | 72.8 | 60.94 | 179 | 1065 | 402.6 | 50.32 | 75.62 | 63.54 | 45.57 | 59.09 | 69.2 | 57.21 | 49.9 | 51.63 | 46.26 | 35.24 | 44.34 | 35.69 | 33.69 | 21.63 | 31.43 | 29.38 | 23.2 | 32.12 | 25.01 | 25.62 | 26.14 | 26.51 | 23.15 | 25.2 | 25.24 | 24.63 | 23.68 | 21.72 | 13.66 | 12.96 | 32.09 | 45.61 | 25.01 | 15.36 | 11.7 | 14.7 | 10.9 | 14.23 | 13.09 | 13.8 | 16.89
475 | 79.89 | 49.62 | 44.87 | 33.71 | 46.04 | 70.35 | 75.35 | 747.1 | 1135 | 100.3 | 68.68 | 34.87 | 58.49 | 65.51 | 38.47 | 50.9 | 47.94 | 35.87 | 58.74 | 47.83 | 41.01 | 41.05 | 31.23 | 23.59 | 22.6 | 22.37 | 24.52 | 21.8 | 23.09 | 27.35 | 16.06 | 23.78 | 18.37 | 18.48 | 19.85 | 23.12 | 17.09 | 19 | 13.85 | 14.72 | 17.61 | 33.49 | 37.42 | 21.34 | 11.68 | 11.27 | 10.33 | 9.532 | 11.35 | 10.39 | 12.56
480 | 44.48 | 51.56 | 83.86 | 70.98 | 53.17 | 60.57 | 76.62 | 226.4 | 1578 | 458.8 | 63.26 | 29.91 | 34.55 | 35.73 | 56.32 | 58.99 | 38.02 | 57.56 | 39.82 | 36.57 | 35.19 | 26.14 | 32.75 | 26.73 | 26.83 | 18.25 | 28.16 | 21.72 | 20.42 | 24.59 | 19.56 | 15.14 | 23.66 | 24.4 | 20.4 | 17.56 | 17.41 | 15.84 | 15.01 | 13.31 | 13.16 | 17.6 | 34.21 | 27.2 | 14.46 | 10.75 | 10.58 | 7.607 | 8.867 | 8.699 | 10.73
485 | 57.62 | 50.28 | 63.51 | 70.07 | 49.27 | 90.37 | 47.64 | 78.52 | 1011 | 1350 | 105 | 48.59 | 60.66 | 59.24 | 41.59 | 41.57 | 49.4 | 49.04 | 51.37 | 30.75 | 31.25 | 24.16 | 20.22 | 27.09 | 22.51 | 21.13 | 26 | 27.87 | 24.54 | 22.44 | 20.4 | 17.61 | 22.39 | 19.48 | 21.52 | 19.74 | 18.01 | 15.69 | 15.08 | 14.76 | 10.74 | 13.28 | 17.37 | 33.7 | 25.01 | 12.14 | 10.5 | 10.31 | 9.574 | 10.59 | 8.219
490 | 32.23 | 65.98 | 58.71 | 83.86 | 64.49 | 69.44 | 45.65 | 56.68 | 274.9 | 1833 | 461 | 48.48 | 56.8 | 47.21 | 45.51 | 36.62 | 42.26 | 45.51 | 38.46 | 47.03 | 22.75 | 37.96 | 25.78 | 19.62 | 25.85 | 24.59 | 17.11 | 22.11 | 20.57 | 20.15 | 24.81 | 22.05 | 16.39 | 23.05 | 16.42 | 25.07 | 14.1 | 16.42 | 12.84 | 14.44 | 11.96 | 11.2 | 12.8 | 21.85 | 31.3 | 16.57 | 11.58 | 9.23 | 9.793 | 9.629 | 9.363
495 | 35.45 | 51.15 | 58.76 | 56.01 | 70.77 | 96.71 | 70.16 | 67.65 | 72.14 | 1199 | 1337 | 87.24 | 43.92 | 52.88 | 51.14 | 40 | 44.52 | 59.37 | 47.9 | 39.36 | 34.14 | 27.2 | 25.95 | 24.2 | 24.12 | 23.95 | 23.72 | 21.11 | 20.08 | 21.24 | 17.22 | 16.67 | 19.56 | 16.35 | 17.84 | 15.87 | 17.1 | 15.81 | 13.24 | 13.2 | 14.47 | 12.12 | 10.1 | 14.28 | 22.27 | 29.3 | 16.26 | 8.757 | 9.286 | 9.07 | 9.486
500 | 55.61 | 49.66 | 55.04 | 39.94 | 54.35 | 58.14 | 55.16 | 44.31 | 27.34 | 340.3 | 1939 | 279.7 | 48.46 | 39.18 | 49.53 | 51.24 | 60.82 | 41.87 | 45.12 | 42.77 | 37.12 | 26.39 | 22.78 | 27.5 | 20.54 | 25.85 | 21.08 | 25.52 | 23.01 | 17.58 | 19.46 | 19.63 | 15.35 | 17 | 17.99 | 21.87 | 15.31 | 17.42 | 11.65 | 13.37 | 11.71 | 9.854 | 10.43 | 10.68 | 17.37 | 26.13 | 22.24 | 13.24 | 8.37 | 9.042 | 8.915