## Sheet1
Report date: | 15:18:37, 04/09/2024
Sample: | 1
File name:
Run date: | 15:15:35, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/285.0 | 128.5
2 | 205.0/365.0 | 145.6
3 | 205.0/390.0 | 192.2
4 | 205.0/415.0 | 133.4
5 | 205.0/455.0 | 141.1
6 | 205.0/465.0 | 136.6
7 | 205.0/485.0 | 141.9
8 | 205.0/495.0 | 135.4
9 | 210.0/270.0 | 126.5
10 | 210.0/400.0 | 173.1
11 | 210.0/470.0 | 148.5
12 | 215.0/260.0 | 100.4
13 | 215.0/280.0 | 105.7
14 | 215.0/475.0 | 140.6
15 | 215.0/490.0 | 137.4
16 | 220.0/395.0 | 183.3
17 | 220.0/410.0 | 124.1
18 | 220.0/440.0 | 428.2
19 | 225.0/285.0 | 100.3
20 | 225.0/415.0 | 144.7
21 | 230.0/320.0 | 548.3
22 | 230.0/345.0 | 467.3
23 | 230.0/495.0 | 139.3
24 | 235.0/255.0 | 127.2
25 | 235.0/270.0 | 98.15
26 | 235.0/375.0 | 242.2
27 | 235.0/400.0 | 164.7
28 | 235.0/420.0 | 136.7
29 | 240.0/280.0 | 101.1
30 | 245.0/415.0 | 167.9
31 | 245.0/430.0 | 154.8
32 | 245.0/440.0 | 140.1
33 | 250.0/275.0 | 122.4
34 | 250.0/290.0 | 101.6
35 | 250.0/390.0 | 178.9
36 | 250.0/455.0 | 106.3
37 | 255.0/280.0 | 129.6
38 | 255.0/425.0 | 133.8
39 | 255.0/460.0 | 116.3
40 | 260.0/285.0 | 193.3
41 | 260.0/420.0 | 127.4
42 | 260.0/450.0 | 117.9
43 | 265.0/430.0 | 141.7
44 | 265.0/460.0 | 160.9
45 | 270.0/485.0 | 125.4
46 | 275.0/455.0 | 125.7
47 | 275.0/480.0 | 111.8
48 | 280.0/255.0 | 63.91
49 | 280.0/435.0 | 182.4
50 | 280.0/460.0 | 129.8
51 | 280.0/475.0 | 125
52 | 285.0/335.0 | 3085
53 | 285.0/455.0 | 133.3
54 | 285.0/470.0 | 110.3
55 | 290.0/260.0 | 72.65
56 | 290.0/430.0 | 184
57 | 290.0/450.0 | 126.9
58 | 290.0/480.0 | 110
59 | 305.0/260.0 | 44.53
60 | 305.0/470.0 | 89.62
61 | 310.0/255.0 | 45.15
62 | 310.0/445.0 | 74.78
63 | 310.0/460.0 | 103.1
64 | 310.0/485.0 | 68.08
65 | 315.0/285.0 | 50.56
66 | 315.0/355.0 | 272.8
67 | 315.0/455.0 | 86.25
68 | 320.0/360.0 | 250.4
69 | 320.0/405.0 | 95.41
70 | 320.0/440.0 | 71.72
71 | 320.0/450.0 | 73.18
72 | 320.0/475.0 | 63.39
73 | 325.0/270.0 | 31.78
74 | 325.0/365.0 | 239.6
75 | 325.0/395.0 | 79.44
76 | 325.0/430.0 | 82.54
77 | 325.0/460.0 | 70.87
78 | 330.0/275.0 | 33.84
79 | 330.0/370.0 | 201.6
80 | 330.0/405.0 | 84.55
81 | 330.0/420.0 | 80.76
82 | 330.0/440.0 | 70.68
83 | 330.0/480.0 | 56.3
84 | 330.0/490.0 | 55.29
85 | 335.0/265.0 | 34.64
86 | 335.0/295.0 | 36.95
87 | 335.0/380.0 | 194.5
88 | 335.0/400.0 | 79.84
89 | 335.0/410.0 | 75.72
90 | 335.0/450.0 | 68.57
91 | 335.0/470.0 | 60.78
92 | 335.0/485.0 | 57.21
93 | 340.0/280.0 | 27.55
94 | 340.0/385.0 | 201
95 | 340.0/415.0 | 75.29
96 | 340.0/440.0 | 75.95
97 | 340.0/460.0 | 66.34
98 | 345.0/270.0 | 28.16
99 | 345.0/390.0 | 174.5
100 | 345.0/450.0 | 72.95
101 | 345.0/490.0 | 55.42
102 | 350.0/275.0 | 29.28
103 | 350.0/285.0 | 27.12
104 | 350.0/395.0 | 156.9
105 | 350.0/430.0 | 74.83
106 | 350.0/445.0 | 67.82
107 | 350.0/470.0 | 60.22
108 | 355.0/255.0 | 20.41
109 | 355.0/300.0 | 27.36
110 | 355.0/310.0 | 35.29
111 | 355.0/405.0 | 162.9
112 | 355.0/435.0 | 68.83
113 | 355.0/485.0 | 52.18
114 | 360.0/305.0 | 26.83
115 | 360.0/410.0 | 158.8
116 | 360.0/455.0 | 65.33
117 | 360.0/475.0 | 48.69
118 | 360.0/495.0 | 44.53
119 | 365.0/295.0 | 25.62
120 | 365.0/420.0 | 148.6
121 | 365.0/465.0 | 53.21
122 | 370.0/285.0 | 22.02
123 | 370.0/325.0 | 32.67
124 | 370.0/425.0 | 132.1
125 | 370.0/450.0 | 58.34
126 | 370.0/460.0 | 53.68
127 | 375.0/260.0 | 23.61
128 | 375.0/430.0 | 128.2
129 | 375.0/465.0 | 49.09
130 | 380.0/280.0 | 19.8
131 | 380.0/435.0 | 106.5
132 | 380.0/490.0 | 32.96
133 | 385.0/255.0 | 21.26
134 | 385.0/445.0 | 92.73
135 | 390.0/270.0 | 20.2
136 | 390.0/280.0 | 21.01
137 | 390.0/300.0 | 15.07
138 | 390.0/345.0 | 22.03
139 | 390.0/450.0 | 83.4
140 | 395.0/455.0 | 69.44
141 | 395.0/485.0 | 25.85
142 | 400.0/255.0 | 19.94
143 | 400.0/290.0 | 16.21
144 | 400.0/310.0 | 15.2
145 | 400.0/465.0 | 62.55
146 | 405.0/265.0 | 16.42
147 | 405.0/295.0 | 15.4
148 | 405.0/470.0 | 49.02
149 | 410.0/260.0 | 16.06
150 | 410.0/335.0 | 12.45
151 | 410.0/475.0 | 44.87
152 | 415.0/275.0 | 17.89
153 | 415.0/305.0 | 13.86
154 | 415.0/355.0 | 14.46
155 | 415.0/485.0 | 40.04
156 | 420.0/300.0 | 13.92
157 | 420.0/360.0 | 13.75
158 | 420.0/465.0 | 22.91
159 | 420.0/490.0 | 35.43
160 | 425.0/280.0 | 13.87
161 | 425.0/320.0 | 13.7
162 | 425.0/355.0 | 12.07
163 | 425.0/470.0 | 22.3
164 | 430.0/275.0 | 13.77
165 | 430.0/285.0 | 15.29
166 | 430.0/315.0 | 14.2
167 | 430.0/350.0 | 11.77
168 | 430.0/475.0 | 20.34
169 | 435.0/320.0 | 14.32
170 | 435.0/340.0 | 11.25
171 | 440.0/345.0 | 10.45
172 | 440.0/490.0 | 20.52
173 | 445.0/275.0 | 9.951
174 | 445.0/400.0 | 14.64
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 127.2 | 92.1 | 73.51 | 85.85 | 108.9 | 85.92 | 105.5 | 104.6 | 116.8 | 3406 | 9478 | 2725 | 87.91 | 68.72 | 64.38 | 52.95 | 63.13 | 63.85 | 38.11 | 37.97 | 48.61 | 32.28 | 30.97 | 23.8 | 38.85 | 27.1 | 25.98 | 21.08 | 22.95 | 20.23 | 24.65 | 13.58 | 25.99 | 25.55 | 27.82 | 20.4 | 18.65 | 18.71 | 18.4 | 17.14 | 16.43 | 12.78 | 12.36 | 10.04 | 11.9 | 12.97 | 8.351 | 7.078 | 5.417 | 6.701 | 4.771
255 | 91.04 | 76.08 | 71.17 | 73.27 | 72.96 | 69.89 | 107.2 | 127.2 | 90.72 | 274.5 | 3046 | 9999.9 | 5399 | 197 | 76.33 | 42.26 | 63.91 | 60.98 | 47.71 | 35.58 | 37.1 | 32.31 | 45.15 | 30.32 | 30.45 | 23.84 | 23.06 | 20.85 | 19.17 | 27.43 | 17.34 | 20.41 | 14.69 | 22.83 | 25.46 | 19.28 | 19 | 21.26 | 14.37 | 15.96 | 19.94 | 14.7 | 15.5 | 12.61 | 12.45 | 11.12 | 10.32 | 10.55 | 8.982 | 8.972 | 5.668
260 | 76.88 | 91.62 | 61.87 | 100.4 | 63 | 80.8 | 63.85 | 81.99 | 105.8 | 116 | 239.4 | 3518 | 9999.9 | 7600 | 246.9 | 59.81 | 52.95 | 48.48 | 72.65 | 50.77 | 34.05 | 44.53 | 39.3 | 29.89 | 32.17 | 23.89 | 22.06 | 26.63 | 24.94 | 19.91 | 15.46 | 17.19 | 16.86 | 18.78 | 22.39 | 23.61 | 22.28 | 19.94 | 18.26 | 11.67 | 17.28 | 13.13 | 16.06 | 12.48 | 12.59 | 11.03 | 10.58 | 9.513 | 10.11 | 9.122 | 6.964
265 | 93.4 | 84 | 116.3 | 74.97 | 70.05 | 71.09 | 64.33 | 71.92 | 83.57 | 119.7 | 85.41 | 297.7 | 4764 | 9999.9 | 9999.9 | 316.8 | 61.51 | 60.28 | 51.23 | 48.9 | 45.54 | 31.38 | 25.58 | 27.36 | 29.29 | 20.13 | 27.69 | 34.64 | 20.52 | 23.25 | 20.33 | 18.81 | 19.64 | 17.02 | 20.3 | 21.91 | 22 | 19.35 | 13.93 | 16.09 | 15.22 | 16.42 | 14.19 | 11.86 | 9.802 | 10.36 | 11.24 | 10.83 | 8.214 | 9.415 | 8.414
270 | 86.18 | 106.7 | 126.5 | 102.7 | 73.78 | 61.16 | 88.04 | 98.15 | 81.21 | 111.4 | 100.9 | 85.61 | 367.9 | 6180 | 9999.9 | 9999.9 | 401 | 61.09 | 50.12 | 50.22 | 36.48 | 44.65 | 33.49 | 28.54 | 28.08 | 31.78 | 24.41 | 24.09 | 25.44 | 28.16 | 27.92 | 19.18 | 21.97 | 15.34 | 15.58 | 18.08 | 17.3 | 17.33 | 20.2 | 13.89 | 14.79 | 13.87 | 14.35 | 17.2 | 12.04 | 12.1 | 10.49 | 8.931 | 10.56 | 7.286 | 9.674
275 | 105 | 95.89 | 99.58 | 105.3 | 68.99 | 93.3 | 69.03 | 84.69 | 86.73 | 99.86 | 122.4 | 109.4 | 102.4 | 484 | 7647 | 9999.9 | 9999.9 | 561 | 68.42 | 46.9 | 63.18 | 38.05 | 32.16 | 25.2 | 34.75 | 27.44 | 33.84 | 22.05 | 22.25 | 19.03 | 29.28 | 19.26 | 20.18 | 20.09 | 17.17 | 18.58 | 13.38 | 18.31 | 18.38 | 19.39 | 10.59 | 12.46 | 11.41 | 17.89 | 13.72 | 10.74 | 13.77 | 7.821 | 9.465 | 9.951 | 7.691
280 | 83.6 | 93.3 | 83.52 | 105.7 | 77.95 | 92.91 | 70.92 | 96.15 | 101.1 | 64.64 | 87.22 | 129.6 | 118.4 | 112.5 | 573.5 | 9999.9 | 9999.9 | 9999.9 | 460.7 | 68.31 | 72.28 | 53.09 | 39.88 | 22.88 | 37.77 | 27.55 | 27.51 | 22.03 | 27.55 | 24.32 | 22.25 | 20.07 | 16.97 | 19.74 | 18.58 | 14.33 | 19.8 | 16.4 | 21.01 | 20 | 15.55 | 10.21 | 12.77 | 11.77 | 11.38 | 13.87 | 10.48 | 8.262 | 9.286 | 8.354 | 9.059
285 | 72.21 | 128.5 | 109.1 | 73 | 87.87 | 100.3 | 70.86 | 94.75 | 92.14 | 86.29 | 82.56 | 98.89 | 193.3 | 99.11 | 150.6 | 751.6 | 9999.9 | 9999.9 | 9999.9 | 577.8 | 65.47 | 54.19 | 38.3 | 50.56 | 39.38 | 34.33 | 31.1 | 28.89 | 20.44 | 21.24 | 27.12 | 24.82 | 20.62 | 17.07 | 22.02 | 16.72 | 16.12 | 15.12 | 15.48 | 18.01 | 15.85 | 16.15 | 14.58 | 9.573 | 12.01 | 13.3 | 15.29 | 10.44 | 9.904 | 7.977 | 9.423
290 | 84.48 | 97.12 | 83.6 | 80.12 | 99.66 | 87.84 | 148.2 | 119.6 | 114 | 92.48 | 101.6 | 84.28 | 156.1 | 203.8 | 229.1 | 313.4 | 975.1 | 9999.9 | 9999.9 | 9999.9 | 605.8 | 79.64 | 57.13 | 34.4 | 40.04 | 33.85 | 33.06 | 26.1 | 22.53 | 24.38 | 23.44 | 21.22 | 20.57 | 17.12 | 19.14 | 18.22 | 15.39 | 12.1 | 14.06 | 14.74 | 16.21 | 14.25 | 13.44 | 9.453 | 10.58 | 8.648 | 13.13 | 12.41 | 8.716 | 11.7 | 10.56
295 | 59.97 | 69.99 | 92.15 | 120.2 | 142.1 | 124.4 | 195.5 | 184.7 | 164.9 | 72.47 | 85.67 | 132.3 | 150.1 | 276.3 | 367.8 | 464.9 | 606.8 | 1167 | 9999.9 | 9999.9 | 9999.9 | 613.3 | 72.44 | 52.31 | 39.95 | 40.15 | 32.29 | 36.95 | 30.97 | 30.92 | 17.59 | 22.6 | 21.35 | 25.62 | 16.44 | 16.63 | 15.94 | 15.29 | 14.84 | 13.82 | 13.26 | 15.4 | 13.64 | 14.02 | 13.35 | 10.71 | 12.14 | 11.88 | 11.34 | 9.6 | 10.61
300 | 107.1 | 93 | 124 | 121.4 | 137.4 | 173.4 | 211.2 | 225.3 | 158.6 | 111.1 | 110.3 | 140.4 | 196.6 | 321.1 | 555.5 | 810.3 | 800.9 | 890 | 1286 | 9999.9 | 9999.9 | 9999.9 | 653.1 | 80.73 | 56.47 | 50.59 | 44.68 | 27.15 | 26.42 | 24.76 | 25.54 | 27.36 | 23.34 | 21.39 | 17.04 | 16.41 | 10.71 | 13.42 | 15.07 | 11.91 | 11.66 | 14.05 | 12.27 | 12.23 | 13.92 | 12.37 | 9.593 | 11.01 | 11.34 | 11.28 | 10.35
305 | 107 | 80.8 | 125.3 | 126.9 | 150.9 | 196.3 | 302 | 244.6 | 148.2 | 136.2 | 130.7 | 186.9 | 325.4 | 503.2 | 699.4 | 1021 | 1420 | 1297 | 992.8 | 1203 | 9999.9 | 9999.9 | 9999.9 | 597.4 | 72.55 | 53.22 | 52.47 | 31.86 | 33.29 | 22.15 | 24.63 | 21.97 | 26.83 | 26.75 | 20.08 | 19.95 | 16.88 | 14.2 | 13.48 | 11.85 | 12.51 | 10.2 | 11.1 | 13.86 | 13.57 | 11.74 | 12.65 | 11.46 | 10.42 | 13.83 | 11.32
310 | 87.75 | 105 | 107.2 | 172.1 | 173.3 | 279.2 | 274.5 | 245.8 | 220.8 | 184.6 | 151 | 222.4 | 396.2 | 619.7 | 878.2 | 1435 | 1843 | 1796 | 1473 | 904.8 | 1021 | 9999.9 | 9999.9 | 9999.9 | 630.7 | 62.47 | 58.46 | 39.83 | 33.13 | 38.13 | 29.28 | 35.29 | 20.15 | 24.38 | 21.82 | 18.13 | 17.26 | 16.64 | 13.89 | 10.7 | 15.2 | 9.68 | 10.1 | 9.465 | 10.82 | 11.03 | 12.46 | 12.05 | 8.618 | 10.08 | 10.17
315 | 72.45 | 109.4 | 103.1 | 154.6 | 151.4 | 291.3 | 438.7 | 365.5 | 239 | 167.4 | 218.9 | 227.9 | 401.2 | 732.7 | 1167 | 1749 | 2141 | 2532 | 2022 | 1071 | 592.2 | 898.8 | 9999.9 | 9999.9 | 9999.9 | 640.6 | 65.96 | 51.47 | 38.82 | 39.54 | 35.82 | 26.02 | 27.83 | 20.82 | 21.13 | 21.85 | 16.4 | 16.41 | 15.24 | 13.74 | 12.13 | 9.002 | 9.859 | 8.85 | 9.766 | 12.79 | 14.2 | 11.08 | 10.66 | 10.06 | 10
320 | 123.1 | 113.9 | 130.4 | 166.4 | 210.8 | 374.8 | 548.3 | 415.6 | 270.7 | 196.1 | 259.3 | 402.5 | 518 | 861.5 | 1253 | 1881 | 2351 | 2954 | 2493 | 1459 | 619.9 | 287.7 | 818.4 | 9999.9 | 9999.9 | 9999.9 | 547.9 | 75.5 | 50.34 | 35.28 | 30.11 | 29.15 | 24.63 | 22.06 | 31.49 | 24.42 | 14.08 | 14.53 | 12.43 | 12.88 | 10.23 | 11.75 | 10.35 | 7.853 | 10.71 | 13.7 | 11.54 | 14.32 | 11.33 | 10.03 | 9.944
325 | 144.6 | 92.6 | 126.8 | 194.4 | 230.2 | 396.9 | 503.2 | 413 | 328.9 | 323.8 | 266.1 | 349.8 | 639.3 | 892.2 | 1418 | 2224 | 2602 | 3026 | 2805 | 1759 | 748.3 | 289.7 | 181.3 | 788.4 | 9999.9 | 9999.9 | 9999.9 | 581.9 | 79.85 | 64.08 | 39.95 | 36.23 | 31.16 | 24.33 | 32.67 | 23.84 | 16.2 | 17.34 | 14.1 | 10.72 | 13.17 | 13.02 | 11.17 | 8.215 | 9.644 | 12.84 | 8.885 | 11.26 | 12.05 | 13.37 | 11.11
330 | 99.02 | 111.2 | 123.7 | 148.3 | 257.1 | 373.7 | 484.6 | 388.3 | 257.1 | 255 | 256.1 | 366.9 | 616.8 | 902.9 | 1502 | 2224 | 2795 | 3018 | 2695 | 2032 | 937 | 334.6 | 147.2 | 150 | 758.7 | 9999.9 | 9999.9 | 9999.9 | 562.4 | 83.88 | 61.82 | 37.6 | 34.13 | 31.56 | 29.62 | 20.69 | 18.6 | 17.24 | 18.1 | 14.19 | 14.41 | 13.19 | 11.74 | 9.663 | 8.551 | 10.89 | 9.148 | 10.67 | 12.42 | 11.26 | 12.81
335 | 131 | 56.68 | 151.9 | 180.7 | 272 | 385 | 469.6 | 436.2 | 223.3 | 261 | 216.3 | 451.7 | 603 | 982.5 | 1505 | 2073 | 3020 | 3085 | 2704 | 1788 | 1100 | 390.6 | 143.5 | 112.3 | 132.9 | 766.3 | 9999.9 | 9999.9 | 9999.9 | 514.1 | 80.52 | 53.76 | 31.4 | 34.58 | 32.57 | 28.24 | 19.61 | 20.41 | 15.28 | 14.84 | 11.53 | 10.97 | 12.45 | 11.38 | 10.25 | 11.87 | 8.047 | 9.616 | 9.117 | 9.856 | 12.89
340 | 97.14 | 120 | 125.8 | 219.3 | 261 | 346.9 | 369.3 | 412.3 | 216.4 | 255.2 | 242.2 | 387.4 | 631.4 | 988.2 | 1361 | 2224 | 2628 | 2919 | 2767 | 1652 | 939.3 | 511.5 | 199 | 85.76 | 78.66 | 133.3 | 764.3 | 9999.9 | 9999.9 | 9999.9 | 536.5 | 67.75 | 59.13 | 45.47 | 33.2 | 31.13 | 19.47 | 19.54 | 21.16 | 16.54 | 12.21 | 14.37 | 9.795 | 11.9 | 9.767 | 10.16 | 11.12 | 11.25 | 7.827 | 10.83 | 12.14
345 | 124.1 | 103.5 | 120.4 | 147.5 | 230 | 323.2 | 467.3 | 405.3 | 275.3 | 202.9 | 230.1 | 375.2 | 569.2 | 817.5 | 1336 | 1870 | 2492 | 2618 | 2488 | 1621 | 739.4 | 458.7 | 293.9 | 108.9 | 88.78 | 74.05 | 129.7 | 766.6 | 9999.9 | 9999.9 | 9999.9 | 484.9 | 78.38 | 58.07 | 39.42 | 37.68 | 28.1 | 19.31 | 22.03 | 17.49 | 14.45 | 14.24 | 14.46 | 12.45 | 11.43 | 11.29 | 10.82 | 9.328 | 10.45 | 8.398 | 8.194
350 | 91.18 | 116.3 | 123.4 | 156.6 | 208.4 | 345.9 | 377.1 | 336.8 | 250.1 | 215 | 291.1 | 306.9 | 512.3 | 700.6 | 1207 | 1729 | 2042 | 2426 | 2111 | 1450 | 676 | 308.4 | 270 | 236.1 | 70.3 | 66.99 | 75.74 | 129.1 | 744.6 | 9999.9 | 9999.9 | 9999.9 | 495.2 | 79.04 | 59.26 | 44.43 | 30.84 | 26.68 | 20.61 | 16.97 | 11.3 | 16.14 | 15.11 | 12.88 | 10.07 | 10.68 | 11.77 | 8.302 | 8.738 | 10.52 | 7.164
355 | 118.4 | 122.5 | 130.3 | 167.9 | 202.3 | 309.4 | 314.6 | 309 | 227.9 | 155.6 | 167.5 | 246.6 | 419.3 | 690.4 | 952.6 | 1488 | 1878 | 2184 | 2017 | 1289 | 650.4 | 266.4 | 152.5 | 272.8 | 157.7 | 71.61 | 65.74 | 82.93 | 132.3 | 750.6 | 9999.9 | 9999.9 | 9999.9 | 482.3 | 73.7 | 48.63 | 39.04 | 27.33 | 27.58 | 16.88 | 17.35 | 15.82 | 10.21 | 14.46 | 10.84 | 12.07 | 10.62 | 9.829 | 8.779 | 8.165 | 7.544
360 | 93.32 | 104.6 | 111.2 | 135.3 | 137.1 | 199.6 | 308.9 | 327 | 175.3 | 151 | 165.2 | 276.8 | 426.2 | 665.9 | 909.6 | 1369 | 1590 | 1715 | 1639 | 1133 | 516.6 | 214.2 | 123.2 | 151.3 | 250.4 | 136.7 | 63.22 | 65.52 | 62.83 | 119.6 | 767.4 | 9999.9 | 9999.9 | 9999.9 | 422.4 | 63.76 | 45.35 | 35.58 | 25.66 | 18.24 | 13.12 | 15.21 | 11.41 | 10.28 | 13.75 | 11.59 | 10.63 | 9.51 | 10.45 | 8.093 | 7.749
365 | 134.3 | 145.6 | 114.6 | 149.9 | 147.4 | 194 | 278.5 | 215.1 | 200.2 | 152.7 | 178.3 | 208.7 | 315.6 | 592.1 | 727 | 1127 | 1310 | 1571 | 1473 | 943.2 | 461.3 | 220.6 | 105.7 | 84.38 | 137.5 | 239.6 | 106 | 71.26 | 72.4 | 69.25 | 125.2 | 772.5 | 9999.9 | 9999.9 | 9999.9 | 406.1 | 62.61 | 47.51 | 31.75 | 20.97 | 18.88 | 20.44 | 17.25 | 13.61 | 13.59 | 11.51 | 11.07 | 9.427 | 9.625 | 9.436 | 7.893
370 | 107.5 | 105.3 | 110.3 | 141.7 | 134.7 | 200.6 | 223.6 | 220 | 164.1 | 164.9 | 155.9 | 217.7 | 277.3 | 475.5 | 674.2 | 802.7 | 1098 | 1405 | 1192 | 785.8 | 375.4 | 194.9 | 101.9 | 88.87 | 71.31 | 176.8 | 201.6 | 84.83 | 71.32 | 66.15 | 74.07 | 125.2 | 779.2 | 9999.9 | 9999.9 | 9999.9 | 384.5 | 58.16 | 43.58 | 26.65 | 18.6 | 22.38 | 16.88 | 18.34 | 12.49 | 10.11 | 9.134 | 9.592 | 8.226 | 8.071 | 6.451
375 | 120.6 | 81.03 | 108.9 | 166.6 | 148.4 | 186 | 241.5 | 242.2 | 174.3 | 169.1 | 175.7 | 212.1 | 261 | 354.2 | 492.3 | 827.8 | 1032 | 1106 | 1064 | 663 | 336.8 | 169.5 | 95.83 | 82.73 | 67.83 | 96.86 | 185.7 | 172.3 | 82.31 | 74.92 | 78.68 | 65.73 | 121.2 | 786.7 | 9999.9 | 9999.9 | 9999.9 | 342.8 | 50.88 | 38.09 | 33.34 | 22.35 | 17.56 | 16.96 | 13.16 | 13.16 | 10.6 | 10.37 | 7.752 | 9.52 | 8.491
380 | 119.2 | 82.68 | 116.4 | 152 | 131.4 | 192.1 | 233.4 | 175.8 | 130 | 147.8 | 162.8 | 202.3 | 250.7 | 281.4 | 483 | 611.6 | 850 | 971.6 | 788.8 | 563.8 | 329.1 | 155.9 | 91.94 | 85.26 | 71.48 | 71.55 | 104.1 | 194.5 | 136.3 | 67.9 | 68.7 | 57.99 | 65.49 | 122.1 | 766.5 | 9999.9 | 9999.9 | 9999.9 | 323.4 | 53.99 | 40.27 | 24.77 | 18.25 | 15.87 | 13.05 | 12.53 | 11.87 | 11.05 | 10.03 | 8.193 | 9.004
385 | 78.25 | 121.3 | 115.9 | 88.83 | 111.8 | 138.1 | 207.9 | 175.1 | 113.5 | 110.7 | 118 | 145.4 | 207 | 272 | 345.4 | 612.8 | 637.9 | 746 | 635 | 465.3 | 249.1 | 151.8 | 72.61 | 79.37 | 65.86 | 76.54 | 69.03 | 113.7 | 201 | 114.6 | 64.45 | 59.19 | 62.9 | 67.73 | 100.1 | 763 | 9999.9 | 9999.9 | 9999.9 | 268.7 | 54.88 | 40.22 | 23.02 | 18.96 | 16.72 | 13.87 | 12.35 | 12.12 | 8.677 | 9.916 | 10.89
390 | 104 | 192.2 | 99.97 | 104.9 | 132.8 | 140.8 | 178.1 | 165.6 | 139.6 | 122.2 | 178.9 | 127.8 | 176.3 | 258.6 | 372.1 | 392 | 587.7 | 566.6 | 592 | 392.6 | 232.9 | 139.3 | 92.54 | 84.17 | 60.42 | 63.97 | 71.8 | 70.82 | 122.4 | 174.5 | 107.6 | 58.27 | 63.35 | 59.87 | 66.92 | 120.9 | 762.2 | 9999.9 | 9999.9 | 9999.9 | 290.1 | 46.34 | 35.61 | 21.43 | 18.86 | 16.04 | 11.54 | 10.29 | 11.09 | 10.8 | 9.632
395 | 107.9 | 107.2 | 88.58 | 127.2 | 183.3 | 177.6 | 142.7 | 140.7 | 142.3 | 119.7 | 113.8 | 119.1 | 186.2 | 198.5 | 276.5 | 383.3 | 454.2 | 543.5 | 456.7 | 311.7 | 195.6 | 119.8 | 82.8 | 57.69 | 64.13 | 79.44 | 77.38 | 69.51 | 74.78 | 156.4 | 156.9 | 74.54 | 61.03 | 52.34 | 58.22 | 66.65 | 109.9 | 761.8 | 9999.9 | 9999.9 | 9999.9 | 246.4 | 45.57 | 33.63 | 22.12 | 15.39 | 16.55 | 12.18 | 10.59 | 11.98 | 10.45
400 | 101.3 | 100.3 | 173.1 | 110.3 | 122.8 | 139 | 146.2 | 164.7 | 132.2 | 89.89 | 130.7 | 84.72 | 133.8 | 185.6 | 251.4 | 259 | 371.7 | 435.6 | 373.3 | 261 | 171.3 | 109.3 | 79.52 | 84.71 | 70.55 | 76.72 | 76.34 | 79.84 | 63.6 | 90.91 | 150.6 | 132.2 | 61.95 | 58.6 | 44.23 | 52.52 | 62.75 | 99.85 | 736.5 | 9999.9 | 9999.9 | 9999.9 | 215 | 47.74 | 28.35 | 23.14 | 17.38 | 13.36 | 13.66 | 14.64 | 10.64
405 | 98.5 | 108.7 | 136.4 | 119.9 | 113.9 | 132.6 | 109.7 | 163.8 | 122.1 | 101.5 | 84.46 | 117.7 | 144 | 179.5 | 200.1 | 279.7 | 299 | 297.2 | 320.4 | 214.5 | 135 | 98.02 | 76.7 | 74.73 | 95.41 | 70.05 | 84.55 | 71.21 | 61.28 | 66.38 | 91.6 | 162.9 | 108.1 | 57.31 | 52.2 | 53.15 | 54.21 | 46.1 | 101.2 | 710 | 9999.9 | 9999.9 | 9999.9 | 239.8 | 39.5 | 31.37 | 23.13 | 13.17 | 12.93 | 11.6 | 8.762
410 | 104.5 | 96.72 | 97.31 | 115.2 | 124.1 | 108.3 | 125.1 | 138.1 | 136.2 | 92.12 | 125.5 | 116.8 | 144.2 | 144.9 | 167.4 | 247.6 | 250.3 | 265.1 | 291.8 | 213.3 | 138.4 | 78.01 | 74.32 | 67.29 | 86.4 | 71.11 | 67.14 | 75.72 | 74 | 68.51 | 70.79 | 108.7 | 158.8 | 86.83 | 56.29 | 40.82 | 40.85 | 42.7 | 46.4 | 84.54 | 714.2 | 9999.9 | 9999.9 | 9999.9 | 214.4 | 39.3 | 25.15 | 19.26 | 16.09 | 12.11 | 10.37
415 | 99.85 | 133.4 | 125.7 | 131.9 | 82.64 | 144.7 | 126.7 | 116.6 | 139.9 | 167.9 | 139.2 | 118.7 | 120.1 | 142 | 158.9 | 209 | 224.3 | 239.3 | 256.9 | 181.8 | 118.5 | 92.81 | 79.72 | 75.6 | 76.83 | 70.02 | 75.53 | 64.25 | 75.29 | 69.79 | 71.49 | 73.54 | 123.1 | 143.3 | 76.97 | 51.58 | 46.4 | 39.49 | 44.55 | 39.3 | 80.55 | 712.1 | 9999.9 | 9999.9 | 9999.9 | 218.9 | 40.28 | 25.67 | 18.79 | 13.91 | 11.41
420 | 99.38 | 120.4 | 126.2 | 98.3 | 121.8 | 132.2 | 130.6 | 136.7 | 110 | 99.11 | 122.9 | 97.17 | 127.4 | 107.2 | 128.7 | 197.7 | 179.6 | 176.1 | 188.2 | 135.2 | 116.2 | 79.87 | 75.64 | 70.4 | 66.15 | 60.43 | 80.76 | 71.83 | 69.72 | 66.65 | 59.62 | 85.4 | 83.27 | 148.6 | 120.6 | 64.9 | 41.96 | 33.03 | 38.04 | 32.86 | 40.73 | 88.06 | 711.6 | 9999.9 | 9999.9 | 9999.9 | 199.5 | 38.07 | 27.18 | 20.91 | 15.4
425 | 84.15 | 100.1 | 140.9 | 211.2 | 122.6 | 104.6 | 132.4 | 135.3 | 105.2 | 112.6 | 84.81 | 133.8 | 114.6 | 135.9 | 154.6 | 152.2 | 192.6 | 180.6 | 178.4 | 130 | 108.6 | 70.74 | 71.33 | 70.85 | 64.1 | 62.52 | 77.12 | 75.35 | 73.98 | 68.61 | 71.37 | 60.71 | 68.76 | 73.8 | 132.1 | 91.8 | 54.61 | 38.1 | 31.64 | 28.35 | 32.06 | 38.41 | 82.8 | 715.7 | 9999.9 | 9999.9 | 9999.9 | 183.8 | 38.96 | 27.29 | 17.16
430 | 78.42 | 123.9 | 106.1 | 224.4 | 120.4 | 125.8 | 127.1 | 135.3 | 111.5 | 154.8 | 100.4 | 111.7 | 97.26 | 141.7 | 109.6 | 156.6 | 154.4 | 175.8 | 184 | 138.1 | 120.2 | 86.73 | 64.87 | 64.75 | 65.33 | 82.54 | 70.4 | 62.36 | 66.65 | 62.06 | 74.83 | 66.11 | 63.9 | 54.56 | 80.08 | 128.2 | 71.42 | 45.97 | 33.26 | 30.42 | 29.92 | 28.28 | 29.94 | 76.78 | 710.2 | 9999.9 | 9999.9 | 9999.9 | 182.1 | 39.41 | 23.89
435 | 132.6 | 106.6 | 94.5 | 185.1 | 306.6 | 129.7 | 130.4 | 131.3 | 121.8 | 113.1 | 103.4 | 103 | 92.68 | 121.7 | 115.7 | 148.6 | 182.4 | 173.8 | 159 | 128.9 | 100 | 87.99 | 76.82 | 63.15 | 60.97 | 62.97 | 66.31 | 66.54 | 62.96 | 59.44 | 62.39 | 68.83 | 66.02 | 66.47 | 56.88 | 90.06 | 106.5 | 47.43 | 33.4 | 27.63 | 25.72 | 23.42 | 27.05 | 36.49 | 78.35 | 721.2 | 9999.9 | 9999.9 | 9999.9 | 180.6 | 33.54
440 | 122 | 85.13 | 83.62 | 112.2 | 428.2 | 212.1 | 134 | 103.5 | 107.7 | 140.1 | 104.8 | 101.7 | 93.15 | 121.4 | 105.3 | 139 | 146.1 | 143.4 | 119.6 | 115.6 | 100 | 78.87 | 67.75 | 71.19 | 71.72 | 67.85 | 70.68 | 67.2 | 75.95 | 69.17 | 60.28 | 67.23 | 56.47 | 62.2 | 60.75 | 55.97 | 87.99 | 79.75 | 35.52 | 23.46 | 27.75 | 24.51 | 24.26 | 24.15 | 34.76 | 78.71 | 707.8 | 9999.9 | 9999.9 | 9999.9 | 160.6
445 | 131.4 | 112.8 | 112.3 | 94.53 | 280.6 | 534.4 | 130 | 115.9 | 93.03 | 116 | 92.49 | 102.7 | 115.4 | 94.89 | 119.9 | 122.2 | 150.7 | 126.6 | 119 | 121.2 | 97.74 | 55.86 | 74.78 | 61.24 | 61.65 | 67.77 | 67.9 | 64.81 | 70.37 | 62.61 | 67.82 | 62.97 | 64.38 | 53.07 | 52.67 | 47.12 | 54.29 | 92.73 | 69.72 | 31.69 | 31.22 | 22.93 | 22.09 | 26.38 | 23.25 | 27.85 | 76.08 | 709 | 9999.9 | 9999.9 | 9999.9
450 | 121.7 | 106.7 | 125.1 | 92.21 | 113.6 | 631.7 | 305.5 | 109.5 | 133 | 97.35 | 87.51 | 116 | 117.9 | 96.65 | 109.9 | 115.3 | 122.9 | 121.8 | 126.9 | 117.5 | 88.63 | 77.08 | 64.45 | 61.46 | 73.18 | 57.69 | 68.3 | 68.57 | 60.26 | 72.95 | 63.74 | 59.42 | 61.05 | 47.32 | 58.34 | 47.11 | 39.56 | 58.32 | 83.4 | 38.56 | 22.99 | 24.94 | 23.29 | 22.03 | 24.42 | 25.75 | 29.86 | 72.99 | 707.7 | 9999.9 | 9999.9
455 | 93.52 | 141.1 | 88.69 | 122.7 | 121.5 | 447.9 | 922.5 | 132.3 | 109 | 84.08 | 106.3 | 85.3 | 97.63 | 99.76 | 115.2 | 125.7 | 115 | 133.3 | 107.5 | 93.04 | 93.14 | 72.55 | 59.7 | 86.25 | 64.62 | 61.23 | 56.92 | 56.93 | 65.8 | 63.94 | 62.58 | 58.93 | 65.33 | 55.8 | 48.72 | 48.4 | 45.38 | 39.05 | 58.69 | 69.44 | 39.04 | 24.26 | 22.44 | 22.53 | 22.73 | 20.42 | 27.77 | 28.59 | 77.12 | 724.5 | 9999.9
460 | 112.7 | 99.93 | 102.2 | 120.9 | 163.9 | 177.5 | 1073 | 504.6 | 99.58 | 113.5 | 94.35 | 116.3 | 98.94 | 160.9 | 120.3 | 115.4 | 129.8 | 124.2 | 121 | 72.39 | 79.87 | 81.22 | 103.1 | 56.62 | 65.87 | 70.87 | 46.78 | 61.94 | 66.34 | 54.52 | 52.01 | 59.62 | 56.82 | 49.23 | 53.68 | 42.41 | 38.43 | 31.33 | 35.61 | 56.47 | 57.18 | 26.19 | 19.96 | 22.1 | 20.27 | 19.83 | 22.51 | 22.33 | 27.01 | 77.8 | 702.8
465 | 97.49 | 136.6 | 128.1 | 125.8 | 117.3 | 130.1 | 664.9 | 1328 | 147 | 134 | 100.3 | 106 | 101.2 | 107.1 | 100.7 | 117 | 120.2 | 103.2 | 112.3 | 83.35 | 77.28 | 64.26 | 65.65 | 63.33 | 66.19 | 69.72 | 50.31 | 49.39 | 59.61 | 51.43 | 54.72 | 49.65 | 50.86 | 53.21 | 43.62 | 49.09 | 40.37 | 33.39 | 32.79 | 32.68 | 62.55 | 42.69 | 23.6 | 19.97 | 22.91 | 20.89 | 22.15 | 22.36 | 26.67 | 28.81 | 77.74
470 | 126.1 | 110.1 | 148.5 | 81.15 | 116.5 | 105.3 | 335.7 | 1905 | 727.2 | 120.7 | 91.91 | 105.1 | 104.8 | 101.1 | 85.05 | 101 | 89.31 | 110.3 | 90.76 | 88.65 | 76.53 | 89.62 | 74.78 | 56.84 | 54.66 | 56.39 | 47.43 | 60.78 | 56.28 | 60.01 | 60.22 | 48.85 | 46.8 | 48.55 | 46.37 | 40.79 | 32.55 | 30.12 | 26.22 | 28.36 | 36.29 | 49.02 | 31.76 | 18.86 | 18.76 | 22.3 | 18.34 | 20.54 | 19.37 | 25.68 | 29.59
475 | 110.8 | 100.6 | 120.8 | 140.6 | 92.14 | 79.03 | 138.7 | 1190 | 2042 | 237 | 94.29 | 73.39 | 100.8 | 86.49 | 103.5 | 87.89 | 125 | 103.5 | 101.7 | 100.8 | 77.94 | 60.44 | 58.6 | 58.98 | 63.39 | 41.88 | 48.79 | 44.27 | 48.76 | 50.73 | 42.26 | 43.65 | 48.69 | 47.85 | 45.7 | 37.24 | 36.57 | 32.68 | 28.26 | 23.01 | 22.63 | 41.77 | 44.87 | 27.69 | 18.57 | 19.66 | 20.34 | 17.84 | 18.48 | 20.69 | 19.89
480 | 119.2 | 105.7 | 115.1 | 106.7 | 118.4 | 113.7 | 121.1 | 308.7 | 2494 | 788.8 | 105.5 | 80.11 | 83.98 | 83.56 | 110 | 111.8 | 90.43 | 95.11 | 110 | 83.84 | 64.66 | 53.72 | 48.8 | 47.54 | 42.11 | 48.67 | 56.3 | 50.71 | 47.75 | 46.24 | 44.84 | 51.89 | 45.71 | 42.99 | 42.87 | 43.85 | 27.54 | 29.57 | 19.14 | 20.9 | 26.74 | 26.04 | 42.85 | 36.08 | 20.23 | 18.67 | 18.09 | 17.62 | 17.86 | 16.2 | 19.23
485 | 91.73 | 141.9 | 77.04 | 113 | 101.8 | 93.99 | 104.9 | 131.2 | 1588 | 2359 | 186.8 | 87.51 | 98.75 | 92.65 | 125.4 | 100.7 | 85.11 | 75.91 | 84.66 | 84.12 | 67.03 | 65.05 | 68.08 | 43.88 | 44.62 | 47.17 | 51.61 | 57.21 | 51.31 | 46.59 | 48.5 | 52.18 | 40.79 | 38.56 | 36.84 | 37.49 | 31.63 | 24.2 | 22.47 | 25.85 | 21.15 | 19.22 | 27.3 | 40.04 | 31.24 | 20.61 | 14.94 | 15.62 | 14.24 | 15.27 | 13.64
490 | 89.06 | 123.8 | 102.6 | 137.4 | 101.9 | 103.7 | 129.1 | 117.3 | 371 | 2905 | 839.6 | 80.84 | 80.11 | 90.47 | 83.06 | 88.5 | 91.1 | 93.17 | 60.75 | 72.27 | 59.07 | 50.53 | 62.52 | 46.81 | 44.12 | 46.97 | 55.29 | 41.93 | 51.08 | 55.42 | 40.54 | 39.29 | 44.25 | 33.8 | 32.85 | 28.97 | 32.96 | 27.17 | 25.15 | 22.6 | 20.22 | 22.45 | 21.4 | 31.96 | 35.43 | 22.98 | 15.8 | 15.11 | 20.52 | 15.92 | 15.85
495 | 77.95 | 135.4 | 117.2 | 89.92 | 74.83 | 94.02 | 139.3 | 107.7 | 113.7 | 2006 | 2597 | 156.4 | 103.5 | 75.13 | 126.1 | 83.4 | 115.2 | 107.1 | 85.1 | 68.72 | 65.7 | 67.9 | 52.67 | 53.95 | 40.32 | 43.46 | 51.58 | 42.86 | 41.54 | 41.22 | 47.17 | 34.67 | 44.53 | 38.37 | 36.74 | 32.11 | 29.4 | 30.27 | 26.06 | 21.87 | 22.2 | 16.74 | 22.64 | 18.75 | 30.96 | 30.79 | 18.65 | 13.76 | 17.98 | 13.57 | 14.61
500 | 96.53 | 103.3 | 105.7 | 104 | 65.93 | 132.4 | 94.34 | 91.81 | 86.25 | 595 | 3269 | 666 | 85.16 | 84.87 | 76.61 | 84.3 | 100.7 | 87.61 | 73.33 | 60.61 | 63.39 | 44.41 | 49.84 | 52.88 | 49.42 | 48.63 | 37.96 | 42.29 | 48.42 | 38.47 | 40.97 | 37.45 | 36.05 | 45.45 | 27.96 | 27.38 | 25.68 | 25.29 | 22.91 | 17.95 | 21.92 | 18.04 | 19.33 | 15.66 | 23.83 | 34.88 | 27.26 | 18.34 | 13.03 | 15.37 | 12.06