## Sheet1
Report date: | 16:12:35, 04/09/2024
Sample: | 1
File name:
Run date: | 16:01:58, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/320.0 | 170.4
2 | 205.0/380.0 | 149.5
3 | 205.0/480.0 | 201.8
4 | 210.0/265.0 | 108.5
5 | 210.0/275.0 | 137.6
6 | 210.0/355.0 | 194.8
7 | 210.0/450.0 | 182.8
8 | 210.0/490.0 | 162.2
9 | 215.0/270.0 | 141.1
10 | 215.0/285.0 | 165
11 | 215.0/365.0 | 203.9
12 | 215.0/395.0 | 187.6
13 | 215.0/460.0 | 199.6
14 | 220.0/255.0 | 123.7
15 | 220.0/295.0 | 190.3
16 | 220.0/480.0 | 155
17 | 220.0/495.0 | 141.8
18 | 225.0/270.0 | 128.4
19 | 225.0/280.0 | 162.2
20 | 225.0/330.0 | 471.5
21 | 225.0/390.0 | 206.2
22 | 225.0/415.0 | 178.7
23 | 225.0/450.0 | 631.9
24 | 225.0/490.0 | 145.3
25 | 230.0/325.0 | 447.9
26 | 230.0/335.0 | 511.2
27 | 230.0/365.0 | 349.5
28 | 230.0/380.0 | 272.6
29 | 230.0/405.0 | 188.2
30 | 235.0/275.0 | 116.4
31 | 235.0/315.0 | 422.9
32 | 235.0/425.0 | 157.5
33 | 240.0/385.0 | 191.8
34 | 240.0/410.0 | 145
35 | 240.0/420.0 | 151.3
36 | 240.0/445.0 | 158.3
37 | 245.0/380.0 | 184
38 | 245.0/395.0 | 178.8
39 | 245.0/415.0 | 154.9
40 | 245.0/430.0 | 138.2
41 | 245.0/440.0 | 162.4
42 | 245.0/450.0 | 149.5
43 | 250.0/275.0 | 195.5
44 | 250.0/410.0 | 147.3
45 | 250.0/425.0 | 176.1
46 | 255.0/280.0 | 177.2
47 | 260.0/420.0 | 128.3
48 | 260.0/445.0 | 130.3
49 | 265.0/465.0 | 140.4
50 | 265.0/485.0 | 124.9
51 | 270.0/450.0 | 154
52 | 270.0/475.0 | 142.2
53 | 270.0/490.0 | 144.2
54 | 275.0/435.0 | 178.4
55 | 275.0/465.0 | 163.7
56 | 280.0/470.0 | 132.4
57 | 285.0/255.0 | 79.76
58 | 285.0/325.0 | 3006
59 | 285.0/335.0 | 3122
60 | 285.0/455.0 | 155.5
61 | 285.0/465.0 | 163.1
62 | 285.0/480.0 | 128.7
63 | 290.0/440.0 | 162.7
64 | 295.0/460.0 | 135.1
65 | 300.0/255.0 | 61.45
66 | 305.0/275.0 | 62.05
67 | 305.0/470.0 | 93.92
68 | 310.0/440.0 | 101.6
69 | 315.0/260.0 | 46.96
70 | 315.0/355.0 | 262
71 | 315.0/400.0 | 91.25
72 | 315.0/430.0 | 80.73
73 | 315.0/465.0 | 87.65
74 | 320.0/265.0 | 42.37
75 | 320.0/360.0 | 252.3
76 | 320.0/410.0 | 87.14
77 | 320.0/450.0 | 85.48
78 | 320.0/495.0 | 56.99
79 | 325.0/280.0 | 43.78
80 | 325.0/290.0 | 45.69
81 | 325.0/365.0 | 250.5
82 | 325.0/395.0 | 99.42
83 | 325.0/415.0 | 90.07
84 | 325.0/440.0 | 84.3
85 | 325.0/465.0 | 86.39
86 | 330.0/275.0 | 38.46
87 | 330.0/370.0 | 221.2
88 | 330.0/435.0 | 88.64
89 | 330.0/445.0 | 84.34
90 | 330.0/485.0 | 56.14
91 | 335.0/380.0 | 211
92 | 335.0/400.0 | 88.83
93 | 335.0/425.0 | 100.6
94 | 335.0/480.0 | 62.85
95 | 340.0/260.0 | 33.17
96 | 340.0/280.0 | 36.62
97 | 340.0/385.0 | 225.6
98 | 340.0/450.0 | 83.88
99 | 340.0/475.0 | 63.92
100 | 345.0/285.0 | 32.83
101 | 345.0/390.0 | 173
102 | 350.0/260.0 | 29.12
103 | 350.0/305.0 | 38.33
104 | 350.0/400.0 | 176.8
105 | 350.0/430.0 | 86.96
106 | 350.0/450.0 | 78.71
107 | 350.0/465.0 | 65.9
108 | 350.0/490.0 | 50.61
109 | 355.0/265.0 | 28.88
110 | 355.0/285.0 | 31.91
111 | 355.0/300.0 | 34.3
112 | 355.0/405.0 | 171.3
113 | 355.0/470.0 | 69.8
114 | 355.0/495.0 | 50.85
115 | 360.0/410.0 | 156.5
116 | 360.0/440.0 | 78.16
117 | 365.0/420.0 | 175.1
118 | 365.0/465.0 | 67.92
119 | 365.0/490.0 | 45.25
120 | 370.0/265.0 | 26.09
121 | 370.0/275.0 | 22.89
122 | 370.0/295.0 | 29.51
123 | 370.0/305.0 | 29.59
124 | 370.0/425.0 | 142.8
125 | 370.0/450.0 | 62.82
126 | 375.0/255.0 | 30.72
127 | 375.0/280.0 | 25.75
128 | 375.0/300.0 | 24.54
129 | 375.0/310.0 | 27.17
130 | 375.0/430.0 | 130.4
131 | 375.0/460.0 | 64.68
132 | 380.0/325.0 | 28.75
133 | 380.0/435.0 | 109.9
134 | 385.0/270.0 | 27.19
135 | 385.0/445.0 | 94.11
136 | 390.0/330.0 | 19.5
137 | 390.0/450.0 | 88.92
138 | 390.0/480.0 | 39.93
139 | 395.0/280.0 | 21.52
140 | 395.0/455.0 | 77.98
141 | 395.0/485.0 | 30.92
142 | 400.0/255.0 | 18.93
143 | 400.0/275.0 | 18.83
144 | 400.0/305.0 | 16.68
145 | 400.0/340.0 | 18.67
146 | 400.0/465.0 | 70.01
147 | 405.0/285.0 | 18.73
148 | 405.0/325.0 | 14.28
149 | 405.0/335.0 | 16.2
150 | 405.0/470.0 | 64.78
151 | 410.0/295.0 | 17.17
152 | 410.0/475.0 | 49.57
153 | 415.0/275.0 | 16.36
154 | 415.0/365.0 | 20.25
155 | 415.0/460.0 | 26.93
156 | 415.0/485.0 | 44.14
157 | 420.0/265.0 | 14.57
158 | 420.0/350.0 | 14.72
159 | 420.0/370.0 | 18.99
160 | 420.0/490.0 | 42.44
161 | 425.0/270.0 | 16.42
162 | 425.0/290.0 | 14.63
163 | 425.0/305.0 | 16.02
164 | 425.0/375.0 | 15.69
165 | 430.0/265.0 | 14.04
166 | 430.0/310.0 | 16.04
167 | 430.0/320.0 | 13.92
168 | 430.0/355.0 | 14.19
169 | 430.0/470.0 | 26.64
170 | 435.0/260.0 | 12.65
171 | 435.0/315.0 | 16.27
172 | 435.0/325.0 | 16.29
173 | 435.0/360.0 | 12.92
174 | 440.0/285.0 | 14.57
175 | 440.0/375.0 | 14.11
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 118.1 | 116.9 | 90.95 | 123.4 | 108.5 | 137.7 | 138.7 | 137.5 | 131.8 | 3232 | 8976 | 2532 | 131.1 | 82.67 | 74.16 | 62.2 | 89.31 | 70.33 | 55.67 | 50.46 | 42.52 | 42.83 | 35.38 | 27.52 | 38.96 | 32.67 | 35.29 | 31.56 | 29.74 | 20.13 | 25.08 | 23.16 | 25.28 | 27.08 | 29.72 | 22.57 | 25.02 | 16.28 | 20.16 | 18.53 | 16.08 | 16.62 | 18.34 | 12.95 | 11 | 12.92 | 10.72 | 8.793 | 9.42 | 6.801 | 6.979
255 | 123.4 | 106.7 | 106.5 | 82.16 | 123.7 | 106.9 | 117.4 | 111.6 | 99.9 | 291 | 2701 | 9999.9 | 5331 | 280.8 | 103.4 | 58.63 | 75.17 | 79.76 | 54.96 | 50.16 | 61.45 | 47.83 | 39.17 | 30.22 | 37.69 | 39.06 | 30.92 | 27.63 | 23.44 | 23.67 | 20.88 | 23.44 | 21.29 | 24.33 | 24.42 | 30.72 | 25.5 | 19.86 | 17.23 | 17.63 | 18.93 | 15.5 | 15.52 | 10.03 | 12.19 | 10.04 | 11.98 | 10.21 | 8.831 | 6.82 | 7.879
260 | 81.61 | 114.1 | 105.5 | 116.2 | 110.3 | 91.56 | 89.14 | 129.5 | 113.4 | 131.4 | 285.1 | 3364 | 9999.9 | 6704 | 344.5 | 94.47 | 61.72 | 53.89 | 61.79 | 54.53 | 55.18 | 46.35 | 30.04 | 46.96 | 38.42 | 40.84 | 34.76 | 26.68 | 33.17 | 24.72 | 29.12 | 27.78 | 25.75 | 23.75 | 25.59 | 27.39 | 19.04 | 18.27 | 17.8 | 17.89 | 18.3 | 17.03 | 15.61 | 12.6 | 13.73 | 11.18 | 10.94 | 12.65 | 10.67 | 9.276 | 8.587
265 | 83.8 | 107.8 | 108.5 | 80.24 | 110 | 89.02 | 98.57 | 88.78 | 98.68 | 98.43 | 111 | 328.1 | 4586 | 9999.9 | 9625 | 334.7 | 82.26 | 83.97 | 68.98 | 73.27 | 50.52 | 47.9 | 45.46 | 32.62 | 42.37 | 29.24 | 29.38 | 28.42 | 25.86 | 21.84 | 28.06 | 28.88 | 21.84 | 25.17 | 26.09 | 22.8 | 21.46 | 19.65 | 20.63 | 14.75 | 18.49 | 13.41 | 15.48 | 12.73 | 14.57 | 12.09 | 14.04 | 9.519 | 10.22 | 11.16 | 9.709
270 | 92.65 | 86.74 | 101.1 | 141.1 | 112.6 | 128.4 | 112.8 | 100.5 | 113.1 | 117.6 | 141.1 | 105.6 | 383.1 | 6081 | 9999.9 | 9999.9 | 466.3 | 79.28 | 73.14 | 68.02 | 53.24 | 54.63 | 44.57 | 36.15 | 36.59 | 35.57 | 36.69 | 31.54 | 24.97 | 21.73 | 28.27 | 27.7 | 23.5 | 25.33 | 20.24 | 21.74 | 20.94 | 27.19 | 19.14 | 16.72 | 13.92 | 13.09 | 13.57 | 14.73 | 11.76 | 16.42 | 13.82 | 9.31 | 9.997 | 10.33 | 9.432
275 | 120.4 | 96.26 | 137.6 | 106.6 | 101.8 | 89.15 | 85.72 | 116.4 | 107.4 | 110.1 | 195.5 | 138.1 | 131.8 | 482.6 | 7655 | 9999.9 | 9999.9 | 526.8 | 109.7 | 63.94 | 48.56 | 62.05 | 59.76 | 42.87 | 37.26 | 29.98 | 38.46 | 33.56 | 35.07 | 25.37 | 26.84 | 25.06 | 21.56 | 20.25 | 22.89 | 19.48 | 20.74 | 19.68 | 17.41 | 17.33 | 18.83 | 12.9 | 13.05 | 16.36 | 13.77 | 11.86 | 13.71 | 12.11 | 12.64 | 11.63 | 10.21
280 | 126.8 | 73.66 | 136.2 | 113.3 | 115.8 | 162.2 | 129.8 | 94.48 | 95.22 | 95.99 | 114.5 | 177.2 | 105.6 | 103.7 | 601.2 | 9575 | 9999.9 | 9999.9 | 559.1 | 85.94 | 50.09 | 50.99 | 43.05 | 34.9 | 40.19 | 43.78 | 36.26 | 35.54 | 36.62 | 22.55 | 22.85 | 27.04 | 25.95 | 19.65 | 22.74 | 25.75 | 18.29 | 17.6 | 17.8 | 21.52 | 16.99 | 13.76 | 14.96 | 12.04 | 11.43 | 12.18 | 13.26 | 11.03 | 10.4 | 12.78 | 8.607
285 | 118.3 | 97.35 | 86.84 | 165 | 148.1 | 121.8 | 127.2 | 119.9 | 115.1 | 82.58 | 137.6 | 130.8 | 180.1 | 210.1 | 159 | 755.1 | 9999.9 | 9999.9 | 9999.9 | 625.6 | 98.79 | 70.67 | 61.63 | 41.94 | 41.84 | 39.94 | 36.36 | 32.14 | 25.73 | 32.83 | 27.79 | 31.91 | 28.64 | 23.11 | 20.1 | 16.99 | 18.38 | 18.03 | 15.86 | 15.89 | 13.44 | 18.73 | 17.8 | 11.48 | 11.91 | 11.61 | 10.49 | 12.03 | 14.57 | 10.86 | 8.917
290 | 119.3 | 102.3 | 100.1 | 88.21 | 162 | 138.4 | 151.4 | 150.6 | 95.79 | 100.7 | 131.3 | 127.9 | 156.4 | 244.7 | 260.4 | 310.8 | 968.8 | 9999.9 | 9999.9 | 9999.9 | 624.5 | 71.63 | 65.08 | 68.11 | 41.37 | 45.69 | 44.82 | 45.42 | 28.94 | 27.85 | 27.97 | 23.23 | 21.05 | 21.07 | 21.3 | 20.45 | 20.37 | 18.34 | 13.7 | 16.18 | 15.81 | 17.57 | 14.43 | 12.15 | 12.52 | 14.63 | 12.71 | 11.84 | 12.35 | 9.8 | 9.054
295 | 114.8 | 108.8 | 128.2 | 114.7 | 190.3 | 140.1 | 181.1 | 184.8 | 140.5 | 105.1 | 120.4 | 148.2 | 178.1 | 312.5 | 406.2 | 540 | 577 | 1187 | 9999.9 | 9999.9 | 9999.9 | 652 | 96.25 | 79.28 | 65.27 | 37.34 | 42.97 | 33.83 | 28.65 | 29.49 | 24.46 | 24.03 | 27.69 | 23.94 | 29.51 | 22.27 | 18.72 | 18.46 | 13.6 | 16.17 | 13.12 | 16.79 | 17.17 | 14.78 | 14.32 | 12.63 | 13.51 | 12.2 | 9.708 | 11.56 | 9.757
300 | 143.3 | 125.8 | 119.1 | 127.3 | 157 | 164.8 | 210.8 | 235.8 | 184.8 | 126.9 | 149.3 | 210.6 | 229.8 | 338.1 | 643.4 | 861.1 | 902.7 | 908.3 | 1293 | 9999.9 | 9999.9 | 9999.9 | 698.3 | 72.55 | 69.89 | 65.92 | 39.73 | 39.55 | 31.73 | 34.38 | 25.94 | 34.3 | 28.81 | 19.14 | 24.19 | 24.54 | 21.59 | 17.23 | 16.59 | 13.32 | 11.3 | 16.85 | 15.18 | 15.54 | 14.97 | 14.31 | 12.18 | 11.79 | 12 | 11.5 | 12.93
305 | 144.7 | 146.8 | 129 | 145.1 | 200.7 | 203.4 | 248.9 | 256.9 | 236.6 | 168.2 | 159.1 | 216.5 | 300.2 | 558.8 | 658.8 | 1185 | 1350 | 1378 | 1068 | 1312 | 9999.9 | 9999.9 | 9999.9 | 632.8 | 75.64 | 70.07 | 51.69 | 42.48 | 32.36 | 31.87 | 38.33 | 25.55 | 25.31 | 23.89 | 29.59 | 18.9 | 22 | 15.8 | 15.68 | 12.84 | 16.68 | 14.85 | 14.48 | 16.01 | 15.99 | 16.02 | 12.33 | 9.832 | 11.96 | 11.54 | 13.67
310 | 134.1 | 156.7 | 155.2 | 176.3 | 226.9 | 264.8 | 372.4 | 334.5 | 257.5 | 177.3 | 194.5 | 301.2 | 318.1 | 733.9 | 914.8 | 1357 | 1835 | 1885 | 1418 | 987.7 | 1109 | 9999.9 | 9999.9 | 9999.9 | 666.2 | 89.19 | 54.59 | 51.95 | 50.61 | 34.71 | 34.59 | 29.23 | 29.25 | 26.29 | 23.82 | 27.17 | 21.44 | 16.22 | 13.46 | 14.84 | 15.19 | 13.62 | 14.1 | 14.85 | 15.36 | 14.3 | 16.04 | 14.06 | 12.01 | 11.45 | 11.23
315 | 113 | 113.4 | 125.5 | 154.2 | 221.9 | 298.8 | 351 | 422.9 | 295.7 | 200.1 | 260.7 | 255.1 | 432.1 | 847 | 1204 | 1704 | 1991 | 2385 | 1994 | 1217 | 572.4 | 911.8 | 9999.9 | 9999.9 | 9999.9 | 651.8 | 76.43 | 68.16 | 53.05 | 40.82 | 37.46 | 32.96 | 28.21 | 29.08 | 25.53 | 25.05 | 20.49 | 19.89 | 20.19 | 18.28 | 12.95 | 10.9 | 11.66 | 11 | 13.39 | 13.93 | 11.86 | 16.27 | 12.89 | 10.88 | 11.94
320 | 113.1 | 170.4 | 139.7 | 137.2 | 220 | 345.8 | 415.8 | 355.6 | 253.3 | 245.1 | 249.9 | 344.9 | 508.7 | 960.6 | 1309 | 1760 | 2324 | 2759 | 2612 | 1538 | 664.8 | 355.8 | 830.9 | 9999.9 | 9999.9 | 9999.9 | 585.6 | 71.96 | 65.13 | 53.74 | 46.18 | 32.25 | 30.06 | 30.93 | 24.06 | 24.57 | 23.36 | 22.69 | 19.17 | 13.84 | 13.24 | 14.2 | 11.62 | 10.54 | 11.03 | 12.85 | 13.92 | 12.67 | 13.92 | 12.21 | 12.02
325 | 108.7 | 140.9 | 167 | 144.9 | 224.5 | 399.4 | 447.9 | 436.6 | 314 | 264.8 | 285.4 | 390.7 | 562.4 | 931.8 | 1422 | 2182 | 2663 | 3006 | 2980 | 1842 | 824.7 | 297.5 | 207.9 | 761.4 | 9999.9 | 9999.9 | 9999.9 | 625 | 76.71 | 64.4 | 54.82 | 38.96 | 38.08 | 26.36 | 26.67 | 22.06 | 28.75 | 19.81 | 16.2 | 17.46 | 11.81 | 14.28 | 12.4 | 11.32 | 8.687 | 12.63 | 13.01 | 16.29 | 15.33 | 12.01 | 11.24
330 | 122.4 | 134.3 | 187 | 181.8 | 274.4 | 471.5 | 397.5 | 362.9 | 280.3 | 238.1 | 313.7 | 382.9 | 632.4 | 973.2 | 1595 | 2081 | 2621 | 2871 | 2809 | 1940 | 966 | 335 | 132.2 | 161.9 | 756.6 | 9999.9 | 9999.9 | 9999.9 | 549.9 | 83.95 | 65.01 | 51.09 | 42.23 | 33.07 | 29.91 | 25.92 | 27.1 | 16.79 | 19.5 | 15.79 | 14 | 11.63 | 10.68 | 10.45 | 10.46 | 12.69 | 10.66 | 13.22 | 12.37 | 15.89 | 14.43
335 | 142.3 | 130 | 121.1 | 237.4 | 231.8 | 392.6 | 511.2 | 395 | 297.8 | 301.5 | 283 | 436.1 | 578.7 | 998 | 1473 | 1994 | 2709 | 3122 | 2822 | 1753 | 1059 | 411.3 | 139.3 | 107.5 | 143.8 | 767.2 | 9999.9 | 9999.9 | 9999.9 | 573.8 | 76.75 | 59.9 | 43.22 | 40.8 | 31 | 28.99 | 21.79 | 23.77 | 18.87 | 17.45 | 13.35 | 16.2 | 13.63 | 13.95 | 10.8 | 12.21 | 10.78 | 7.975 | 11.27 | 12.9 | 14.8
340 | 135.2 | 158.3 | 128.9 | 188 | 245.8 | 391.4 | 467.8 | 425.1 | 277.7 | 286 | 281.2 | 367.7 | 618.1 | 826.3 | 1437 | 2234 | 2603 | 2791 | 2602 | 1807 | 890.7 | 598 | 195.8 | 81.47 | 86.14 | 136.8 | 787.3 | 9999.9 | 9999.9 | 9999.9 | 565 | 68.72 | 72.73 | 47.39 | 38.26 | 33.36 | 27.22 | 24.37 | 17.74 | 15.63 | 18.67 | 12.66 | 13.51 | 13.3 | 11.51 | 12.57 | 11.55 | 8.392 | 11.77 | 13.5 | 13.9
345 | 102.7 | 125.4 | 193.1 | 167.9 | 265.6 | 302.9 | 399.6 | 384.1 | 337.9 | 221 | 309 | 360.3 | 568.1 | 855.7 | 1358 | 1923 | 2393 | 2656 | 2592 | 1567 | 752.9 | 433.8 | 292.8 | 131.9 | 83.4 | 94.28 | 137.1 | 769.8 | 9999.9 | 9999.9 | 9999.9 | 528.1 | 81.44 | 51.69 | 46.44 | 37.06 | 30.49 | 17.92 | 22.03 | 16.5 | 16.71 | 15.59 | 15.04 | 14.47 | 12.99 | 12.49 | 9.853 | 12.64 | 11.85 | 12.95 | 13.26
350 | 116.7 | 169.3 | 169.2 | 170 | 207.3 | 275.3 | 425.8 | 393.7 | 237.7 | 193.9 | 205.3 | 375.1 | 503.1 | 786.8 | 1170 | 1673 | 2041 | 2311 | 2293 | 1339 | 718.3 | 305.1 | 287.7 | 218.9 | 87.89 | 58.85 | 83.66 | 147.6 | 756.5 | 9999.9 | 9999.9 | 9999.9 | 496.9 | 75.74 | 53.32 | 43.32 | 31.91 | 21.23 | 23.38 | 17.79 | 16.81 | 13.42 | 14.46 | 12.66 | 14.72 | 12.94 | 10.35 | 11.62 | 11.56 | 10.08 | 10.29
355 | 131.2 | 130.2 | 194.8 | 161.9 | 192.4 | 256.5 | 315 | 372.1 | 237.2 | 192.6 | 240.3 | 286.7 | 463.2 | 718.8 | 961.8 | 1467 | 1987 | 2128 | 1870 | 1311 | 598 | 257.2 | 162.8 | 262 | 161.2 | 72.06 | 76.02 | 77.6 | 131.1 | 759.5 | 9999.9 | 9999.9 | 9999.9 | 502.5 | 79.21 | 56.41 | 40.8 | 36.41 | 24.44 | 17.95 | 14.84 | 16.72 | 14.58 | 13.79 | 13.29 | 12.36 | 14.19 | 10.69 | 10.87 | 10.71 | 10.97
360 | 82.72 | 91.48 | 161.6 | 189.3 | 202.4 | 237.9 | 276.9 | 266.3 | 236.5 | 169.6 | 193.5 | 353.3 | 417.7 | 654.5 | 901.4 | 1292 | 1547 | 1735 | 1704 | 1100 | 566.1 | 226.9 | 134.6 | 129.1 | 252.3 | 115.9 | 68.47 | 83.5 | 87.18 | 129.2 | 756.5 | 9999.9 | 9999.9 | 9999.9 | 447.5 | 73.25 | 54.46 | 38.72 | 27.46 | 24.53 | 22.31 | 18.4 | 19.34 | 14.66 | 12.67 | 11.98 | 11.01 | 12.92 | 12.01 | 11.2 | 9.739
365 | 104.7 | 156 | 110.8 | 203.9 | 198.6 | 183.6 | 349.5 | 223.2 | 214.8 | 214.4 | 181 | 293.3 | 323.3 | 553.4 | 734.4 | 1164 | 1324 | 1564 | 1450 | 966 | 430.8 | 233.2 | 91.96 | 100.1 | 151.5 | 250.5 | 121.7 | 75.21 | 80.26 | 87.77 | 142.3 | 755.4 | 9999.9 | 9999.9 | 9999.9 | 428.6 | 59.16 | 49.48 | 30.15 | 25.26 | 20.51 | 20.43 | 15.22 | 20.25 | 14.66 | 16.75 | 12.13 | 10.84 | 11.15 | 10.41 | 9.211
370 | 146.5 | 146.9 | 107 | 126.2 | 199.3 | 267.3 | 298.3 | 184 | 214.7 | 177.2 | 179.1 | 215.6 | 333.8 | 428.5 | 645.3 | 937.5 | 1126 | 1369 | 1215 | 873.9 | 395.7 | 207.4 | 121.6 | 95.64 | 76.17 | 178.8 | 221.2 | 94.1 | 82.88 | 73.99 | 78.32 | 116 | 771.2 | 9999.9 | 9999.9 | 9999.9 | 371.2 | 65.08 | 41.21 | 32.6 | 25.54 | 24.28 | 18.42 | 17.78 | 18.99 | 14.4 | 13.52 | 12.76 | 10.04 | 9.741 | 9.95
375 | 145.6 | 123.9 | 152.7 | 142.4 | 168.7 | 212.9 | 246.4 | 234.3 | 185.6 | 178.7 | 188.2 | 192.8 | 299 | 423.7 | 541.2 | 822.4 | 966.1 | 1103 | 1073 | 673.4 | 400.5 | 186.4 | 90.72 | 87.16 | 81.16 | 92.84 | 217.6 | 182.9 | 86.07 | 62.97 | 67.29 | 79.3 | 128.5 | 759.2 | 9999.9 | 9999.9 | 9999.9 | 327.2 | 59.22 | 42.88 | 21.27 | 20.35 | 13.91 | 14.65 | 14.1 | 15.69 | 13.74 | 12.93 | 14.11 | 9.917 | 8.445
380 | 106.4 | 149.5 | 125.4 | 109.5 | 150.8 | 180.6 | 272.6 | 177 | 173.6 | 184 | 154.8 | 186 | 209.2 | 295.9 | 457.5 | 652.6 | 837.2 | 822.6 | 808.8 | 561 | 298.3 | 186.1 | 97.14 | 99.81 | 71.79 | 89 | 103.5 | 211 | 146.3 | 74.6 | 71.03 | 63.45 | 72.32 | 110.3 | 775.5 | 9999.9 | 9999.9 | 9999.9 | 326.1 | 51.75 | 34.15 | 31.57 | 20.68 | 17.35 | 16.9 | 15.05 | 15.11 | 12.06 | 11.1 | 10.24 | 10.34
385 | 132 | 132.9 | 134.7 | 113.8 | 143 | 201 | 220 | 162.6 | 191.8 | 163.2 | 127.3 | 187.7 | 217.2 | 260.5 | 358.8 | 599.7 | 668.9 | 787.7 | 734.8 | 437.1 | 271.9 | 151.3 | 105.8 | 82.29 | 81.24 | 73.23 | 96.95 | 138.9 | 225.6 | 96.33 | 59.98 | 60.97 | 62.87 | 69.44 | 118.4 | 766.7 | 9999.9 | 9999.9 | 9999.9 | 290.6 | 52.96 | 32.31 | 29.63 | 20.65 | 17.78 | 14.46 | 12.7 | 14.88 | 10.81 | 10.92 | 10.99
390 | 132 | 122.7 | 137.1 | 124.8 | 134.9 | 206.2 | 192.2 | 178.1 | 136.6 | 136.4 | 164.5 | 188.3 | 179.4 | 252.1 | 316.8 | 450.5 | 599 | 573.6 | 617.4 | 409.2 | 223.3 | 131 | 91.63 | 84.65 | 70.72 | 86.8 | 89.88 | 99.63 | 135.5 | 173 | 107 | 68.93 | 63.58 | 50.65 | 72.89 | 112.1 | 746.9 | 9999.9 | 9999.9 | 9999.9 | 303.9 | 43.62 | 33.06 | 25.1 | 19.65 | 18.47 | 14.82 | 15.17 | 10.53 | 11.63 | 9.944
395 | 100 | 118.2 | 140.1 | 187.6 | 165.5 | 152 | 163.2 | 169.8 | 126.8 | 178.8 | 146.2 | 156.6 | 169.9 | 208.2 | 244.3 | 391.6 | 467.1 | 490.9 | 460.3 | 308.6 | 197.5 | 112.1 | 97.08 | 73.15 | 73.06 | 99.42 | 78.62 | 68.64 | 87.71 | 160.1 | 165.9 | 70.06 | 60.97 | 61.13 | 57.72 | 70.09 | 113.3 | 732.8 | 9999.9 | 9999.9 | 9999.9 | 253.5 | 46.93 | 35.73 | 26.31 | 17.4 | 16.37 | 13.37 | 13.97 | 13.42 | 11.34
400 | 113.6 | 126.5 | 128.5 | 128.8 | 158.8 | 118.2 | 184.1 | 147.4 | 118.9 | 158.6 | 101.8 | 150.3 | 146.5 | 163.7 | 220 | 326.9 | 366.1 | 385 | 413.8 | 300.4 | 182.3 | 90.5 | 87.08 | 91.25 | 76.66 | 76.81 | 83.14 | 88.83 | 78.25 | 90.22 | 176.8 | 139.2 | 69.83 | 58.02 | 55.89 | 56.51 | 56.98 | 99.88 | 735 | 9999.9 | 9999.9 | 9999.9 | 224.9 | 44.4 | 25.53 | 24.78 | 18.03 | 16.59 | 14.84 | 12.56 | 8.982
405 | 114.9 | 174.9 | 145 | 103.7 | 145.2 | 182.5 | 188.2 | 129.5 | 131.4 | 128.6 | 112.9 | 93.99 | 151.9 | 194.4 | 215.1 | 272.4 | 315.4 | 322.8 | 325.4 | 235 | 145.4 | 110 | 89.71 | 81.71 | 81.65 | 80.33 | 81.67 | 83.77 | 73.33 | 74.18 | 95.1 | 171.3 | 115.3 | 60.52 | 54.95 | 51.32 | 47.15 | 47.4 | 96.7 | 712.4 | 9999.9 | 9999.9 | 9999.9 | 238.1 | 42.9 | 34.66 | 21.48 | 18.58 | 15.33 | 12.08 | 14.03
410 | 102.6 | 111.2 | 139 | 134.2 | 115.8 | 131.2 | 157.4 | 115.4 | 145 | 98.9 | 147.3 | 124.6 | 151.9 | 147.5 | 219.1 | 217 | 338.9 | 284 | 235.2 | 209.5 | 139.4 | 85.63 | 75.66 | 76.29 | 87.14 | 85.34 | 83.83 | 73.68 | 78.59 | 69.05 | 87.79 | 101.8 | 156.5 | 101.3 | 59.45 | 48.58 | 41.87 | 48.1 | 48.88 | 90.51 | 707.8 | 9999.9 | 9999.9 | 9999.9 | 211 | 38.57 | 29.23 | 22.02 | 21.12 | 14.64 | 12
415 | 135.1 | 122.9 | 183.3 | 154.3 | 146.1 | 178.7 | 150 | 116.7 | 132.6 | 154.9 | 115.6 | 125.2 | 94.64 | 195 | 181.4 | 232.6 | 254 | 260.1 | 214.6 | 176 | 135.5 | 105.1 | 75.45 | 80.46 | 81.65 | 90.07 | 72.34 | 85.92 | 77.2 | 70.28 | 64.64 | 72.25 | 133.2 | 152.8 | 84.55 | 54.13 | 51.4 | 40.54 | 42.81 | 45.35 | 84.74 | 705.5 | 9999.9 | 9999.9 | 9999.9 | 208.4 | 39.26 | 29.55 | 23.16 | 16.41 | 14.1
420 | 124.9 | 130.3 | 190.6 | 178.4 | 117.8 | 147.2 | 129.2 | 132.7 | 151.3 | 126.4 | 137.4 | 108.2 | 128.3 | 95.24 | 157.1 | 171.5 | 248.5 | 208.9 | 185.3 | 170.6 | 144.2 | 94.43 | 86.93 | 83.4 | 81.55 | 77.37 | 80.99 | 94.87 | 86.62 | 72.65 | 75.86 | 65.67 | 92.79 | 175.1 | 128.2 | 73.28 | 45.61 | 39.7 | 37.08 | 38.99 | 40.55 | 80.16 | 704.2 | 9999.9 | 9999.9 | 9999.9 | 192.8 | 40.06 | 27.61 | 18.78 | 17.65
425 | 124.1 | 113.5 | 177.4 | 222.1 | 155.9 | 144.7 | 155.6 | 157.5 | 148.8 | 127.2 | 176.1 | 124.8 | 107.7 | 137.6 | 154.1 | 174.6 | 200.4 | 190.9 | 189.4 | 124.6 | 132.2 | 90.98 | 93.11 | 71.63 | 77.57 | 81.04 | 79.56 | 100.6 | 71.31 | 77.19 | 77.48 | 66.96 | 70.52 | 83.05 | 142.8 | 94.62 | 56.42 | 44.04 | 40.37 | 33.39 | 38.52 | 41.23 | 81.24 | 712.6 | 9999.9 | 9999.9 | 9999.9 | 189.8 | 36.97 | 27.35 | 17.26
430 | 141.2 | 125.9 | 132.4 | 256.5 | 180.6 | 148.7 | 106.4 | 128.6 | 113.8 | 138.2 | 133 | 119.4 | 115.8 | 132.3 | 124.9 | 110.9 | 171.1 | 155.1 | 143.1 | 136.3 | 102.9 | 99.12 | 69.91 | 80.73 | 72.58 | 80.34 | 73.01 | 98.15 | 70.88 | 81.24 | 86.96 | 64.5 | 71.77 | 61.92 | 82.36 | 130.4 | 70.88 | 44.31 | 35.47 | 33.06 | 35.64 | 33.77 | 34.02 | 83.41 | 696.3 | 9999.9 | 9999.9 | 9999.9 | 185.6 | 35.13 | 28.08
435 | 129.9 | 119.1 | 128.6 | 228.3 | 272.9 | 145.3 | 117.2 | 146.1 | 137.2 | 102.2 | 111.5 | 88.83 | 122.4 | 124.5 | 167.6 | 178.4 | 175.6 | 169.9 | 133.7 | 130.7 | 92.73 | 97.97 | 80.18 | 60.44 | 77.11 | 77.08 | 88.64 | 84.18 | 76.22 | 66.98 | 75.66 | 73.58 | 69.8 | 69.11 | 67.24 | 91.38 | 109.9 | 62.28 | 38.32 | 31.43 | 35.68 | 28.81 | 32.71 | 42.73 | 80.84 | 707.2 | 9999.9 | 9999.9 | 9999.9 | 181.7 | 38.41
440 | 134.5 | 128.9 | 120.3 | 127.3 | 359.8 | 227.7 | 146.2 | 160.7 | 130.2 | 162.4 | 129 | 104.1 | 101.9 | 127.2 | 119.2 | 143 | 169.7 | 144.8 | 162.7 | 103 | 101.3 | 85.02 | 101.6 | 84.75 | 70.66 | 84.3 | 76.47 | 70.55 | 65.81 | 76.26 | 72.03 | 72.37 | 78.16 | 63.86 | 71.84 | 64.98 | 103.8 | 84.14 | 48.21 | 33.08 | 30.81 | 29.24 | 31.88 | 31.08 | 37.26 | 80.03 | 703.1 | 9999.9 | 9999.9 | 9999.9 | 159.2
445 | 130.8 | 125.4 | 112.9 | 114.5 | 207.3 | 431.9 | 145.1 | 157 | 158.3 | 133.7 | 130.2 | 90.59 | 130.3 | 127 | 128 | 138.1 | 97.59 | 140.6 | 126.9 | 129.7 | 95.35 | 98.71 | 92.39 | 77.78 | 74.68 | 72.09 | 84.34 | 68.27 | 77.85 | 77.82 | 68.82 | 74.05 | 66.03 | 63.19 | 52.59 | 57.28 | 67.04 | 94.11 | 69.02 | 35.55 | 32.69 | 28.1 | 31.47 | 28.42 | 27.89 | 30.7 | 75.25 | 704.4 | 9999.9 | 9999.9 | 9999.9
450 | 132.3 | 105.3 | 182.8 | 158.6 | 148.1 | 631.9 | 291.8 | 169.4 | 123 | 149.5 | 111.7 | 86.84 | 84.86 | 122.5 | 154 | 143.1 | 127.3 | 139 | 137.2 | 119.5 | 112.9 | 74.29 | 84.89 | 82.25 | 85.48 | 75.42 | 75.36 | 78.6 | 83.88 | 75.97 | 78.71 | 74.47 | 73.51 | 56.83 | 62.82 | 55.07 | 48.83 | 69.45 | 88.92 | 48.39 | 35.76 | 27.77 | 29.58 | 28.15 | 25.43 | 34.53 | 30.74 | 80.5 | 706 | 9999.9 | 9999.9
455 | 157.9 | 145.3 | 148.2 | 168.3 | 151.3 | 479 | 745.6 | 143 | 118 | 120.8 | 114.6 | 100.6 | 119.8 | 117.5 | 113.5 | 109.2 | 132.4 | 155.5 | 130 | 115.4 | 108.8 | 86.58 | 67.69 | 68.23 | 68.9 | 64.04 | 63.13 | 78.79 | 79.78 | 76.27 | 72.39 | 70.11 | 72.8 | 57.01 | 55.39 | 57.99 | 44.81 | 48.16 | 63.96 | 77.98 | 37.88 | 28.61 | 26.85 | 25.34 | 24.62 | 21.47 | 23.65 | 32.98 | 75.71 | 723.8 | 9999.9
460 | 153.8 | 133.6 | 127.3 | 199.6 | 133 | 207.7 | 1078 | 624.9 | 154.3 | 132.9 | 111 | 122.7 | 125.3 | 123.9 | 128.1 | 127.9 | 113.4 | 133.2 | 129.6 | 135.1 | 95.47 | 84.33 | 71.19 | 73.39 | 65.93 | 68.9 | 59.54 | 65.09 | 70.56 | 64.93 | 63.74 | 54.77 | 62.55 | 56.22 | 59.46 | 64.68 | 49.93 | 38.69 | 46.11 | 65.17 | 60.06 | 30.94 | 23.94 | 26.93 | 24.7 | 22.91 | 25.45 | 24.29 | 27.46 | 74.6 | 694.1
465 | 140 | 124.7 | 134.6 | 158.5 | 141.9 | 119.5 | 822.6 | 1279 | 235.1 | 102.6 | 142.7 | 114 | 140 | 140.4 | 129.9 | 163.7 | 116.5 | 163.1 | 115.4 | 107.9 | 94.87 | 72.05 | 85.51 | 87.65 | 62.76 | 86.39 | 69.49 | 58.56 | 62.37 | 62.45 | 65.9 | 65.45 | 54.92 | 67.92 | 57.84 | 54.99 | 44.67 | 41.65 | 42.06 | 39.34 | 70.01 | 42.94 | 25.7 | 25.22 | 23.32 | 22.47 | 23.52 | 22.25 | 25.72 | 30.5 | 71.23
470 | 144.4 | 117.4 | 136.6 | 157.4 | 166.7 | 174.5 | 251.1 | 1762 | 725 | 158.7 | 164 | 107.3 | 134.6 | 121.1 | 111.5 | 123.4 | 132.4 | 113.1 | 105.1 | 102.5 | 85.82 | 93.92 | 85.88 | 71.83 | 67.06 | 74.12 | 68.35 | 65.24 | 56.23 | 64.48 | 63.41 | 69.8 | 54.39 | 62.02 | 56.83 | 44.07 | 43.5 | 41.68 | 34.49 | 27.09 | 41.44 | 64.78 | 41 | 26.64 | 26.55 | 20.57 | 26.64 | 22.89 | 26.93 | 24.97 | 26.66
475 | 117.3 | 154.5 | 113.2 | 130.4 | 122.5 | 118 | 134.1 | 1027 | 1765 | 191.2 | 123.4 | 112.3 | 107.4 | 111.5 | 142.2 | 89.75 | 112.9 | 102.8 | 101.9 | 91.72 | 72.23 | 78.6 | 73 | 65.91 | 52.55 | 58.08 | 54.54 | 55.67 | 63.92 | 59.37 | 52.34 | 63.91 | 50.81 | 60.94 | 51.54 | 41.41 | 43.05 | 35.7 | 33.73 | 26.05 | 27.78 | 49.34 | 49.57 | 29.27 | 22.55 | 21.19 | 23.75 | 18.61 | 21.93 | 19.93 | 18.16
480 | 132.4 | 201.8 | 128.5 | 133.7 | 155 | 139.9 | 183.3 | 396.7 | 2522 | 921.2 | 111.3 | 101.3 | 106.2 | 90.83 | 121.5 | 103.1 | 124.6 | 128.7 | 108.8 | 86.48 | 84.47 | 73.92 | 65.83 | 67.74 | 55.12 | 58.06 | 49.65 | 62.85 | 53.76 | 55.2 | 47.18 | 62 | 53.23 | 42.55 | 52.17 | 42.33 | 35.59 | 33.82 | 39.93 | 28.06 | 25.36 | 25.43 | 44.99 | 41.8 | 25.47 | 18.38 | 18.25 | 18.93 | 17.31 | 17.4 | 19.99
485 | 111.6 | 155.5 | 142.7 | 112.1 | 139.5 | 128.4 | 113.1 | 153.4 | 1695 | 1965 | 166.3 | 126.9 | 113.5 | 124.9 | 115.2 | 114.5 | 115.3 | 114.3 | 81.85 | 86.23 | 63.66 | 74.61 | 63.91 | 61.29 | 55.46 | 51.17 | 56.14 | 48.64 | 53.44 | 47.83 | 50.18 | 47.25 | 48.58 | 43.58 | 43.18 | 38.96 | 38.25 | 28.4 | 25.63 | 30.92 | 23.77 | 25.48 | 33.17 | 44.14 | 29.69 | 23.55 | 16.65 | 13.71 | 17.65 | 20.45 | 15.2
490 | 115.8 | 121.1 | 162.2 | 129.1 | 139.4 | 145.3 | 129.2 | 151 | 392.9 | 2947 | 775.9 | 118.2 | 110.5 | 109.9 | 144.2 | 120.6 | 112.4 | 108.5 | 103.3 | 101.4 | 79.9 | 70.8 | 64.79 | 67.4 | 56.61 | 50.47 | 50.94 | 49.44 | 52.21 | 49 | 50.61 | 50.08 | 38.38 | 45.25 | 37.73 | 35.94 | 36.23 | 28.31 | 28.74 | 29.62 | 23.73 | 21.92 | 21.32 | 32.1 | 42.44 | 28.39 | 15.85 | 15.37 | 13.94 | 16.64 | 15.82
495 | 120.2 | 137.6 | 133.6 | 118.1 | 141.8 | 130.3 | 113.3 | 128.6 | 118.2 | 1776 | 2306 | 205.2 | 109.5 | 98.69 | 127.5 | 109 | 106.3 | 112 | 82.57 | 94.62 | 62.28 | 67.2 | 62.15 | 51.59 | 56.99 | 51.22 | 54.28 | 51.14 | 50.12 | 47.36 | 46.77 | 50.85 | 37.38 | 42.92 | 45.44 | 43.73 | 33.11 | 31.73 | 26.03 | 23.16 | 21.1 | 22.05 | 21.05 | 26.69 | 34.06 | 34.6 | 21.13 | 17.54 | 16.09 | 17.75 | 15.53
500 | 126 | 89.17 | 121.2 | 127.1 | 133.6 | 114.6 | 143.2 | 148 | 137.9 | 545.3 | 3142 | 594.5 | 117.8 | 101.4 | 86.19 | 114.6 | 116.7 | 105.9 | 80.11 | 82.79 | 73.19 | 64.45 | 53.44 | 58.95 | 43.51 | 55.59 | 37.46 | 49.78 | 56.93 | 56.3 | 45.36 | 42.69 | 43.25 | 49.49 | 40.61 | 33.3 | 32.08 | 28.3 | 28.49 | 27.59 | 21.86 | 23.33 | 21.24 | 22.1 | 22.12 | 34 | 31.13 | 20.17 | 14.5 | 13.26 | 15.39