## Sheet1
Report date: | 15:23:04, 04/09/2024
Sample: | 1
File name:
Run date: | 15:19:50, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/360.0 | 152.4
2 | 205.0/440.0 | 140.4
3 | 205.0/465.0 | 171.7
4 | 210.0/270.0 | 119.5
5 | 210.0/290.0 | 116.7
6 | 210.0/475.0 | 179.7
7 | 210.0/490.0 | 179.5
8 | 215.0/380.0 | 151.4
9 | 220.0/255.0 | 107.7
10 | 220.0/400.0 | 163.1
11 | 225.0/415.0 | 145.3
12 | 230.0/275.0 | 130.5
13 | 230.0/335.0 | 561.1
14 | 230.0/360.0 | 391.5
15 | 230.0/375.0 | 262.5
16 | 230.0/405.0 | 162.3
17 | 230.0/430.0 | 159.9
18 | 235.0/355.0 | 386.1
19 | 235.0/390.0 | 200
20 | 235.0/420.0 | 145.6
21 | 240.0/260.0 | 135.7
22 | 240.0/285.0 | 118.8
23 | 240.0/435.0 | 167.3
24 | 245.0/270.0 | 126.3
25 | 245.0/410.0 | 160.5
26 | 245.0/440.0 | 133.1
27 | 250.0/295.0 | 147.7
28 | 250.0/385.0 | 176.5
29 | 250.0/425.0 | 154.5
30 | 255.0/280.0 | 147
31 | 255.0/445.0 | 120.4
32 | 255.0/455.0 | 123.4
33 | 255.0/475.0 | 114.2
34 | 260.0/465.0 | 149
35 | 260.0/485.0 | 100.5
36 | 265.0/430.0 | 148.3
37 | 270.0/465.0 | 123.4
38 | 275.0/445.0 | 163.1
39 | 275.0/460.0 | 126.9
40 | 280.0/435.0 | 180.8
41 | 280.0/455.0 | 144.4
42 | 280.0/470.0 | 127.7
43 | 280.0/480.0 | 114.4
44 | 285.0/330.0 | 3316
45 | 285.0/475.0 | 111.1
46 | 290.0/445.0 | 131.5
47 | 290.0/465.0 | 121.2
48 | 295.0/260.0 | 55.73
49 | 295.0/275.0 | 84.52
50 | 295.0/440.0 | 140.7
51 | 295.0/450.0 | 128
52 | 300.0/455.0 | 102.4
53 | 300.0/490.0 | 80.47
54 | 310.0/255.0 | 54.7
55 | 310.0/435.0 | 103
56 | 310.0/445.0 | 81.66
57 | 310.0/465.0 | 86.58
58 | 315.0/270.0 | 45.89
59 | 315.0/355.0 | 252.2
60 | 315.0/415.0 | 82.92
61 | 315.0/455.0 | 77.54
62 | 320.0/280.0 | 39.76
63 | 320.0/360.0 | 239.3
64 | 320.0/410.0 | 86.92
65 | 320.0/430.0 | 82.86
66 | 320.0/460.0 | 79.42
67 | 320.0/470.0 | 74.33
68 | 325.0/275.0 | 37.85
69 | 325.0/365.0 | 237.1
70 | 325.0/395.0 | 102.2
71 | 325.0/420.0 | 87.59
72 | 325.0/435.0 | 89.79
73 | 325.0/445.0 | 75.49
74 | 325.0/455.0 | 82.53
75 | 325.0/490.0 | 56.26
76 | 330.0/370.0 | 219
77 | 330.0/430.0 | 91.98
78 | 330.0/450.0 | 82.44
79 | 330.0/485.0 | 56.63
80 | 335.0/265.0 | 33.05
81 | 335.0/285.0 | 33.03
82 | 335.0/380.0 | 215
83 | 335.0/405.0 | 82.61
84 | 335.0/440.0 | 86.69
85 | 340.0/270.0 | 24.74
86 | 340.0/385.0 | 217.3
87 | 340.0/425.0 | 81.66
88 | 340.0/460.0 | 73.64
89 | 340.0/470.0 | 71.22
90 | 345.0/280.0 | 26.26
91 | 345.0/390.0 | 196.1
92 | 345.0/445.0 | 85.88
93 | 350.0/255.0 | 26.18
94 | 350.0/275.0 | 27.89
95 | 350.0/295.0 | 27.62
96 | 350.0/400.0 | 176.6
97 | 350.0/430.0 | 86.95
98 | 350.0/440.0 | 76.85
99 | 350.0/465.0 | 73.68
100 | 355.0/405.0 | 187.9
101 | 355.0/470.0 | 59.83
102 | 360.0/270.0 | 23.25
103 | 360.0/295.0 | 36.23
104 | 360.0/410.0 | 152.8
105 | 360.0/460.0 | 70.77
106 | 360.0/475.0 | 60.63
107 | 365.0/290.0 | 27.38
108 | 365.0/315.0 | 29.39
109 | 365.0/415.0 | 155.7
110 | 365.0/435.0 | 80.93
111 | 365.0/485.0 | 51.92
112 | 370.0/275.0 | 18.65
113 | 370.0/285.0 | 23.4
114 | 370.0/310.0 | 24.77
115 | 370.0/425.0 | 142.6
116 | 375.0/260.0 | 30.25
117 | 375.0/280.0 | 19.62
118 | 375.0/430.0 | 133.4
119 | 380.0/315.0 | 22.72
120 | 380.0/440.0 | 101
121 | 385.0/270.0 | 28.04
122 | 385.0/325.0 | 22.09
123 | 385.0/445.0 | 86.42
124 | 390.0/280.0 | 17.09
125 | 390.0/450.0 | 84.16
126 | 395.0/275.0 | 18.34
127 | 395.0/285.0 | 18.35
128 | 395.0/455.0 | 77.98
129 | 400.0/255.0 | 18.9
130 | 400.0/320.0 | 14.43
131 | 400.0/465.0 | 63.08
132 | 405.0/260.0 | 18.3
133 | 405.0/295.0 | 17.91
134 | 405.0/470.0 | 58.95
135 | 410.0/255.0 | 13.62
136 | 410.0/265.0 | 15.14
137 | 410.0/335.0 | 14.31
138 | 410.0/475.0 | 49.15
139 | 415.0/270.0 | 15.21
140 | 415.0/300.0 | 17.13
141 | 415.0/350.0 | 14.84
142 | 415.0/485.0 | 43.46
143 | 420.0/280.0 | 13.31
144 | 420.0/305.0 | 14.9
145 | 420.0/460.0 | 25.84
146 | 420.0/490.0 | 38.87
147 | 425.0/285.0 | 13.82
148 | 425.0/315.0 | 16.08
149 | 425.0/325.0 | 12.55
150 | 425.0/360.0 | 11.88
151 | 425.0/380.0 | 15.8
152 | 430.0/265.0 | 13.52
153 | 430.0/320.0 | 14.78
154 | 430.0/480.0 | 21.95
155 | 435.0/275.0 | 14.43
156 | 435.0/285.0 | 14.23
157 | 435.0/355.0 | 12.54
158 | 435.0/365.0 | 12.93
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 94.62 | 132 | 85.7 | 62.46 | 67.43 | 96.99 | 86.88 | 94.89 | 124.4 | 3126 | 9541 | 2339 | 88.02 | 63.07 | 55.15 | 49.17 | 71.04 | 67.32 | 40.4 | 41.09 | 40.02 | 39.54 | 31.59 | 28.37 | 25.12 | 18.41 | 25.88 | 22.46 | 19.39 | 25.34 | 16.68 | 20.18 | 23.72 | 30.59 | 22.49 | 21.83 | 22.78 | 17.29 | 19.01 | 15.79 | 15.88 | 12.5 | 12.79 | 9.394 | 11.06 | 14.17 | 8.846 | 10.13 | 8.221 | 7.366 | 6.231
255 | 79.7 | 113.6 | 82.58 | 62.49 | 107.7 | 89.63 | 88.79 | 113.4 | 102.5 | 277 | 2985 | 9999.9 | 5278 | 245.9 | 109.6 | 71.65 | 64.56 | 65.01 | 44.24 | 51.17 | 38.86 | 42.2 | 54.7 | 33.48 | 26.51 | 27.52 | 26.18 | 23.24 | 23.52 | 21.43 | 26.18 | 21.47 | 20.46 | 21.24 | 24.01 | 26.4 | 15.18 | 15.4 | 17.9 | 17.84 | 18.9 | 12.23 | 13.62 | 11.47 | 12.39 | 12.23 | 10.26 | 10.44 | 7.256 | 6.165 | 5.151
260 | 75.15 | 99.33 | 78.47 | 80.84 | 100.5 | 97.04 | 107.6 | 125.7 | 135.7 | 121 | 268.6 | 3508 | 9999.9 | 7895 | 302.7 | 69.5 | 72.39 | 60.41 | 40.12 | 55.73 | 47.51 | 38.28 | 38.03 | 34.13 | 27.81 | 26.3 | 18.27 | 25.63 | 21.65 | 20.01 | 24.84 | 19.69 | 18.85 | 18.04 | 19.54 | 30.25 | 23.75 | 20.82 | 14.56 | 13.68 | 15.92 | 18.3 | 10.21 | 12.37 | 11.66 | 11.53 | 12.91 | 10.72 | 9.325 | 8.028 | 6.23
265 | 91.31 | 66.1 | 83.25 | 92.52 | 104.1 | 87.05 | 78.6 | 122.3 | 105.9 | 119.7 | 74.53 | 275 | 4691 | 9999.9 | 9451 | 315.5 | 85.23 | 66.67 | 50.23 | 47.36 | 34.9 | 41.89 | 43.45 | 39.08 | 31.13 | 25.51 | 26.52 | 33.05 | 19.38 | 18.12 | 20.65 | 22.06 | 21.85 | 20.71 | 18.69 | 23.61 | 21.56 | 25.25 | 18 | 17.01 | 13.21 | 11.59 | 15.14 | 14.17 | 11.81 | 9.835 | 13.52 | 12.49 | 9.316 | 8.035 | 9.173
270 | 62.63 | 95.32 | 119.5 | 91.29 | 67.53 | 61.61 | 78 | 86.58 | 91.58 | 126.3 | 123.2 | 72.2 | 338.9 | 5818 | 9999.9 | 9999.9 | 382.9 | 68.79 | 71.39 | 66.65 | 46.88 | 40.11 | 36.96 | 45.89 | 31.39 | 36.2 | 23.74 | 20.94 | 24.74 | 16.32 | 22.02 | 21.28 | 23.25 | 18.52 | 15.92 | 20.54 | 19.98 | 28.04 | 15.78 | 15.73 | 15.06 | 15.13 | 12.34 | 15.21 | 12.3 | 10.9 | 9.226 | 13.67 | 8.683 | 8.716 | 8.044
275 | 79.5 | 119.2 | 119.2 | 76.87 | 99.15 | 111.7 | 130.5 | 89.88 | 82.44 | 58.82 | 98.25 | 121.3 | 92.71 | 446.5 | 7821 | 9999.9 | 9999.9 | 441.6 | 54.32 | 84.52 | 58.28 | 41.58 | 40.99 | 39.76 | 24.09 | 37.85 | 27.84 | 21.29 | 22.25 | 21.05 | 27.89 | 22.33 | 16.61 | 18.39 | 18.65 | 17.64 | 17.26 | 16.31 | 16.95 | 18.34 | 13.91 | 14.35 | 12.08 | 12.61 | 13.07 | 13.32 | 11.82 | 14.43 | 10.86 | 7.965 | 9.392
280 | 95.98 | 79.5 | 115.5 | 79.88 | 90.94 | 65.06 | 70.95 | 97.72 | 88.16 | 90.5 | 85.46 | 147 | 96.77 | 98.25 | 564.3 | 9999.9 | 9999.9 | 9999.9 | 512.2 | 57.77 | 62.91 | 40.82 | 46.06 | 32.13 | 39.76 | 26.84 | 26.75 | 22.63 | 25.08 | 26.26 | 20.78 | 16.13 | 19.87 | 21.99 | 16.12 | 19.62 | 14.58 | 14.13 | 17.09 | 16.02 | 14.92 | 14.18 | 11.91 | 12.08 | 13.31 | 12.78 | 11.25 | 12.51 | 10.84 | 10.95 | 8.534
285 | 79.08 | 115.1 | 85.85 | 105.7 | 100.1 | 120.4 | 95.07 | 108.4 | 118.8 | 84.59 | 82.53 | 96.3 | 155.6 | 126.6 | 158.3 | 804.1 | 9999.9 | 9999.9 | 9999.9 | 577.6 | 68.74 | 57.6 | 44.71 | 41.54 | 34.92 | 37.86 | 23.58 | 33.03 | 22.71 | 25.96 | 24.31 | 23.83 | 17.31 | 20.42 | 23.4 | 15.68 | 16.95 | 17.69 | 17.01 | 18.35 | 17.35 | 15.91 | 14.23 | 13.1 | 9.937 | 13.82 | 11.27 | 14.23 | 10.99 | 10.53 | 9.615
290 | 90.06 | 106.8 | 116.7 | 69.07 | 106.9 | 126.6 | 150.4 | 135.7 | 104.2 | 89.06 | 86.68 | 97.93 | 146.1 | 202.1 | 214.7 | 287.6 | 931 | 9999.9 | 9999.9 | 9999.9 | 542.8 | 65.17 | 70.96 | 49.93 | 35.93 | 32.72 | 23.76 | 26.71 | 22.26 | 22.62 | 27.14 | 21.09 | 19.56 | 27.38 | 19.29 | 17.71 | 16.27 | 11.29 | 13.4 | 13 | 12.53 | 15.88 | 13.02 | 13.15 | 13.07 | 9.18 | 11.39 | 12.87 | 10.76 | 9.973 | 7.978
295 | 106 | 77.72 | 96.47 | 74.31 | 106.7 | 138.5 | 161.7 | 191.2 | 122.7 | 107.1 | 147.7 | 132 | 163.4 | 305.5 | 416.7 | 499.9 | 621.6 | 1290 | 9999.9 | 9999.9 | 9999.9 | 663.1 | 70.41 | 64.25 | 45.69 | 32.27 | 32.75 | 27.64 | 26.03 | 27.6 | 27.62 | 26.6 | 36.23 | 19.92 | 21.53 | 17.61 | 14.37 | 14.32 | 12.23 | 10.89 | 12.4 | 17.91 | 16.27 | 14.77 | 13.68 | 10.27 | 8.989 | 12.26 | 11.83 | 10.47 | 10.78
300 | 97.28 | 98.04 | 126.3 | 103.6 | 140.2 | 148.7 | 253.1 | 238.6 | 180.3 | 130.7 | 134.5 | 149 | 235 | 389.3 | 635.1 | 934.3 | 991.1 | 1052 | 1289 | 9999.9 | 9999.9 | 9999.9 | 640.9 | 73.96 | 65.06 | 38.08 | 43.81 | 33.47 | 30.55 | 23.05 | 21 | 25.73 | 22.85 | 20.37 | 22.71 | 21.72 | 20.44 | 16.29 | 12.25 | 15.72 | 16.03 | 17.05 | 12.96 | 17.13 | 12.87 | 11.52 | 10.55 | 13.06 | 10.76 | 11.91 | 13.28
305 | 104.6 | 115 | 130.3 | 155.8 | 213.8 | 285.8 | 276.3 | 284 | 204.1 | 143.5 | 159.1 | 195.5 | 315.3 | 495 | 831.7 | 1331 | 1494 | 1401 | 1145 | 1312 | 9999.9 | 9999.9 | 9999.9 | 561.2 | 73.82 | 76.08 | 52.65 | 33.94 | 33.42 | 29.9 | 29.71 | 22.65 | 20.22 | 20.39 | 21.97 | 14.77 | 16.67 | 14.24 | 12.76 | 12.56 | 10.99 | 13.65 | 13.56 | 11.14 | 14.9 | 11.7 | 11.77 | 10.2 | 11.21 | 11.22 | 12.17
310 | 90.1 | 126.8 | 140.5 | 137.6 | 232.3 | 286 | 293.2 | 267.3 | 231.2 | 199.5 | 187.4 | 231.4 | 415.4 | 575.2 | 936 | 1415 | 2077 | 1887 | 1644 | 996.2 | 1050 | 9999.9 | 9999.9 | 9999.9 | 651.4 | 88.39 | 51.46 | 46.41 | 32.29 | 32.32 | 26.35 | 21.65 | 19.65 | 24.61 | 24.77 | 24.21 | 22.65 | 15.04 | 15.44 | 14.44 | 10.12 | 13.75 | 12.88 | 11.75 | 13.72 | 14.49 | 12.55 | 14.09 | 10.57 | 11.3 | 11.79
315 | 91.63 | 128.9 | 149.4 | 174.2 | 202.6 | 268.5 | 432 | 291.6 | 280.2 | 201.1 | 239.6 | 279.4 | 481.8 | 791.7 | 1142 | 1698 | 2297 | 2612 | 2152 | 1262 | 621.7 | 887.6 | 9999.9 | 9999.9 | 9999.9 | 684.9 | 79.89 | 62.02 | 42.51 | 35.23 | 29.78 | 24.29 | 21.65 | 29.39 | 20.34 | 20.91 | 22.72 | 19.18 | 15.02 | 13.52 | 13.17 | 11.32 | 10.55 | 11.73 | 11.46 | 16.08 | 13.39 | 13.26 | 11.76 | 10.92 | 9.012
320 | 145.6 | 104.4 | 135.2 | 136.6 | 256.5 | 375 | 468 | 394.4 | 325 | 225 | 243.2 | 339.2 | 615.2 | 968.2 | 1423 | 1955 | 2620 | 2783 | 2754 | 1687 | 711.9 | 348.9 | 796 | 9999.9 | 9999.9 | 9999.9 | 550.3 | 89.01 | 65.04 | 41.73 | 32.54 | 31.37 | 19.22 | 27.84 | 25.28 | 20.54 | 20.63 | 15.32 | 13.23 | 13.03 | 14.43 | 11.73 | 10.36 | 9.99 | 8.487 | 10.4 | 14.78 | 14.26 | 12.01 | 9.736 | 10.09
325 | 133.6 | 105.7 | 136.8 | 168.9 | 247.9 | 399.9 | 524.7 | 413 | 307.5 | 225.6 | 225 | 435.2 | 635.1 | 1068 | 1691 | 2153 | 2804 | 3127 | 3020 | 2057 | 798.2 | 343.5 | 182.6 | 768.1 | 9999.9 | 9999.9 | 9999.9 | 605 | 64.03 | 54.06 | 39.77 | 31.01 | 29.68 | 28.83 | 23.77 | 21 | 14.82 | 22.09 | 18.65 | 13.93 | 13.96 | 11.88 | 8.48 | 8.721 | 9.787 | 12.55 | 10.33 | 13.28 | 12.07 | 13.38 | 10.74
330 | 122.7 | 130.8 | 161.6 | 185.7 | 265.6 | 402.1 | 527 | 389.8 | 309.4 | 227.2 | 285 | 378.9 | 631.2 | 1050 | 1574 | 2408 | 3147 | 3316 | 2832 | 2112 | 963.6 | 390.9 | 154 | 146.4 | 754.2 | 9999.9 | 9999.9 | 9999.9 | 563.8 | 81.57 | 54.73 | 38.16 | 35.48 | 27.33 | 32.79 | 20.77 | 16.24 | 17.37 | 15.84 | 13.63 | 10.95 | 13.6 | 13.75 | 12.56 | 10.01 | 11.68 | 9.491 | 11.6 | 12.27 | 14.57 | 11.75
335 | 106.3 | 99.63 | 157.9 | 189.7 | 229.6 | 343.1 | 561.1 | 403.7 | 345.2 | 226.9 | 260.3 | 407.5 | 651 | 1009 | 1846 | 2384 | 3018 | 3222 | 3135 | 2049 | 1046 | 438.1 | 151.1 | 98.69 | 144.6 | 793.9 | 9999.9 | 9999.9 | 9999.9 | 510 | 74.09 | 60.27 | 38.18 | 33.09 | 33.18 | 22.78 | 23.42 | 20.16 | 18.26 | 12.73 | 11.03 | 12.92 | 14.31 | 13.6 | 11.98 | 9.157 | 10.3 | 11.2 | 12.09 | 10.67 | 12.24
340 | 78.9 | 124.8 | 131.2 | 150.7 | 277.1 | 434.9 | 536.4 | 418.5 | 272.7 | 195.6 | 283.7 | 365.6 | 589.2 | 1021 | 1514 | 2297 | 2724 | 3019 | 2862 | 1866 | 982.6 | 605.6 | 178 | 83.21 | 83.53 | 131.6 | 771.7 | 9999.9 | 9999.9 | 9999.9 | 567.7 | 73.61 | 55.97 | 48.57 | 33.7 | 33.05 | 23.38 | 18.69 | 16.72 | 11.76 | 15.44 | 14.55 | 12.87 | 12.33 | 9.868 | 11.25 | 11.11 | 10.5 | 9.119 | 11.36 | 9.949
345 | 107 | 157.3 | 120.8 | 174.8 | 253.9 | 359 | 426.1 | 358.8 | 314.4 | 242.7 | 233.3 | 358.9 | 654.7 | 1002 | 1389 | 2207 | 2804 | 2867 | 2606 | 1734 | 892.8 | 472.4 | 312 | 107.5 | 70.63 | 85.99 | 127.8 | 782.1 | 9999.9 | 9999.9 | 9999.9 | 496.4 | 73.82 | 62.78 | 37.88 | 30.65 | 23.16 | 19.36 | 15.89 | 17 | 17.46 | 13.4 | 13.75 | 11.02 | 12.46 | 11.66 | 10.67 | 10.74 | 11 | 11.73 | 11.19
350 | 85.44 | 158 | 110.6 | 158 | 212.1 | 333.1 | 387.7 | 311 | 295.7 | 200.9 | 231.6 | 329.4 | 509.3 | 887.1 | 1211 | 1769 | 2526 | 2419 | 2438 | 1608 | 759.9 | 364.9 | 261.9 | 202.6 | 81.43 | 65.43 | 83.24 | 126.2 | 758.3 | 9999.9 | 9999.9 | 9999.9 | 495.1 | 63.78 | 57.01 | 39.95 | 32.84 | 26.43 | 18.96 | 19.56 | 17.74 | 16.68 | 13.59 | 14.84 | 13.01 | 10.54 | 9.522 | 11.23 | 9.068 | 10.78 | 8.348
355 | 124.4 | 126.9 | 136.5 | 144.1 | 175.5 | 290.3 | 356.6 | 386.1 | 249.3 | 205 | 253.5 | 343.1 | 438.5 | 695.6 | 1159 | 1494 | 2113 | 2259 | 2150 | 1402 | 650.7 | 300.1 | 142 | 252.2 | 162.8 | 68.09 | 75.25 | 80.58 | 127.4 | 770.1 | 9999.9 | 9999.9 | 9999.9 | 476 | 75.51 | 50.27 | 37.77 | 30.34 | 21.09 | 21.27 | 15.6 | 15.49 | 15.4 | 13.42 | 12.98 | 10.57 | 10.83 | 12.54 | 9.937 | 9.492 | 8.774
360 | 126.6 | 152.4 | 116.1 | 124.6 | 145.1 | 265.8 | 391.5 | 295.2 | 255.1 | 223.5 | 265.8 | 274 | 340.2 | 634.1 | 848.5 | 1276 | 1814 | 1924 | 1868 | 1175 | 568.5 | 272.1 | 126.5 | 123.4 | 239.3 | 135.4 | 64.1 | 81.36 | 67.31 | 137.9 | 760.9 | 9999.9 | 9999.9 | 9999.9 | 429.2 | 72.07 | 49.07 | 32.29 | 25.67 | 24.39 | 22.2 | 16.19 | 16.82 | 13.76 | 9.226 | 11.88 | 8.586 | 8.719 | 9.919 | 10.83 | 9.512
365 | 111 | 76.74 | 104.6 | 153.8 | 228.5 | 223 | 264 | 285.4 | 193.2 | 190 | 231.2 | 302.8 | 377 | 547.5 | 805.8 | 1169 | 1500 | 1590 | 1481 | 950.9 | 522.1 | 226 | 132.8 | 101.6 | 146.9 | 237.1 | 103.2 | 63.47 | 78.24 | 74.13 | 129.9 | 764.3 | 9999.9 | 9999.9 | 9999.9 | 409.8 | 62.58 | 46.85 | 32.29 | 26.55 | 19.07 | 19.28 | 17.28 | 12.24 | 11.04 | 10.33 | 9.187 | 12.93 | 11.78 | 8.426 | 8.728
370 | 83.19 | 91.47 | 114 | 145.1 | 186.1 | 178.9 | 199 | 218.8 | 216.5 | 135.9 | 217.9 | 204.3 | 316.2 | 500.8 | 701.8 | 915.5 | 1182 | 1388 | 1225 | 895 | 435.9 | 203.6 | 116.1 | 78.59 | 93.24 | 181.4 | 219 | 90.05 | 74.38 | 65.66 | 80.24 | 132.5 | 778 | 9999.9 | 9999.9 | 9999.9 | 346 | 63.24 | 44.12 | 27.73 | 21.75 | 19.74 | 17.13 | 14.55 | 11.53 | 14.44 | 11.74 | 11.58 | 10.13 | 10.29 | 10.28
375 | 92.77 | 149.9 | 102.3 | 149.2 | 172.6 | 161.1 | 262.5 | 192.7 | 203.7 | 156 | 162.5 | 209.3 | 254.7 | 363.3 | 550.7 | 799.9 | 1093 | 1155 | 1058 | 692.8 | 342.9 | 170.6 | 83.77 | 66.47 | 70.91 | 101.4 | 211.2 | 178 | 86.79 | 58.04 | 62.29 | 72.95 | 120.4 | 768.7 | 9999.9 | 9999.9 | 9999.9 | 355.2 | 57.28 | 36.25 | 25.5 | 22.5 | 20.19 | 15.77 | 12.65 | 14.93 | 11.18 | 11.39 | 10.82 | 10.23 | 9.833
380 | 112.2 | 124.5 | 131.2 | 151.4 | 120.6 | 169.7 | 219.7 | 184.8 | 136.4 | 128.3 | 124.4 | 157.2 | 288.7 | 305.8 | 447.3 | 663.3 | 904.6 | 1004 | 896.6 | 582.4 | 322.2 | 161.4 | 94.22 | 82.3 | 68.51 | 82.99 | 104.9 | 215 | 155 | 75.25 | 65.89 | 73.81 | 70.91 | 118.9 | 776.5 | 9999.9 | 9999.9 | 9999.9 | 351 | 49.99 | 32.47 | 24.66 | 26.67 | 16.33 | 14.36 | 15.8 | 12.23 | 13.89 | 7.868 | 10.84 | 7.475
385 | 128.9 | 101.3 | 123.1 | 145.7 | 138.5 | 164.6 | 207.1 | 186.7 | 134.4 | 147.2 | 176.5 | 148.2 | 216.1 | 289.6 | 453.9 | 548.2 | 666.6 | 782.4 | 770.6 | 422.3 | 266.8 | 155.2 | 115.2 | 89.1 | 66.75 | 88.75 | 82.87 | 125.8 | 217.3 | 114.8 | 76.39 | 63.49 | 59.47 | 70.74 | 121 | 761.8 | 9999.9 | 9999.9 | 9999.9 | 290 | 54.98 | 39.31 | 27.21 | 20.75 | 16.32 | 14.17 | 12.94 | 11.17 | 11.27 | 9.053 | 9.64
390 | 112.7 | 80.91 | 146.6 | 123.9 | 172 | 171.5 | 182.6 | 200 | 126.5 | 114.3 | 134.6 | 132.4 | 158.3 | 253.9 | 364.6 | 416.9 | 580.1 | 637.5 | 588.5 | 366.4 | 211.8 | 129.9 | 90.87 | 88.74 | 76.13 | 80.26 | 86.9 | 89.86 | 142.8 | 196.1 | 92.37 | 58.22 | 59.59 | 57.61 | 76.51 | 107.2 | 753 | 9999.9 | 9999.9 | 9999.9 | 314.9 | 48.23 | 36.4 | 21.67 | 20.37 | 18.91 | 13.99 | 10.88 | 11.38 | 10.35 | 9.025
395 | 103.3 | 88.18 | 114.4 | 111.2 | 118.9 | 154.8 | 165.6 | 178 | 110.2 | 108.4 | 131.2 | 168.9 | 178.8 | 210.7 | 352 | 393.6 | 423.9 | 503 | 480.2 | 328.3 | 230.2 | 115.6 | 106.1 | 87.86 | 72.42 | 102.2 | 81.65 | 74.46 | 75.03 | 166.8 | 167 | 64.23 | 55.76 | 49.77 | 56.62 | 58.18 | 102.1 | 764 | 9999.9 | 9999.9 | 9999.9 | 259.6 | 47.84 | 39.33 | 27.81 | 20.61 | 16.37 | 13.16 | 12.31 | 13.5 | 9.473
400 | 108 | 122 | 95.08 | 117.6 | 163.1 | 147.5 | 140.4 | 136 | 104.8 | 140.7 | 122.7 | 162.9 | 160.6 | 202 | 239.1 | 324.1 | 378.6 | 462.2 | 395.3 | 296.1 | 192.3 | 123.5 | 96.42 | 63.92 | 81.45 | 82.8 | 71.65 | 71.8 | 67.16 | 94.75 | 176.6 | 133.5 | 66.15 | 54 | 49.01 | 52.57 | 58.72 | 104.6 | 739.7 | 9999.9 | 9999.9 | 9999.9 | 219.5 | 46.64 | 31.97 | 20.67 | 22.29 | 16.45 | 14.71 | 13.79 | 9.533
405 | 96.34 | 143.6 | 128.9 | 132 | 105.7 | 116.2 | 162.3 | 113.4 | 123.6 | 100.6 | 103.9 | 124.3 | 113 | 152.8 | 212.3 | 254.2 | 311.8 | 382.4 | 332.9 | 249.2 | 189 | 123.4 | 89.24 | 80.42 | 67.64 | 80.51 | 82 | 82.61 | 81.86 | 79.41 | 94.54 | 187.9 | 111.4 | 60.12 | 55.93 | 52.59 | 56.15 | 54.16 | 87.61 | 710.2 | 9999.9 | 9999.9 | 9999.9 | 260.7 | 44.4 | 30.09 | 22.39 | 19.07 | 14.32 | 10.92 | 11.86
410 | 122.4 | 155.2 | 117.6 | 130 | 84.37 | 107.3 | 157.8 | 103.7 | 152.1 | 160.5 | 133 | 128 | 115.5 | 117.8 | 236.6 | 219.9 | 254.4 | 243 | 229.1 | 196.3 | 135.3 | 107 | 86.96 | 80.24 | 86.92 | 74.12 | 73.88 | 79.09 | 74.66 | 77.23 | 83.83 | 104.3 | 152.8 | 80.74 | 62.21 | 46.5 | 38.5 | 38.47 | 41.85 | 86.32 | 716.1 | 9999.9 | 9999.9 | 9999.9 | 222.9 | 46.01 | 33.39 | 25.34 | 15.27 | 13.32 | 11.12
415 | 189.8 | 132.2 | 182.8 | 134.9 | 100.6 | 145.3 | 132.7 | 133.6 | 150.2 | 123.2 | 110.4 | 104.5 | 107.6 | 153.1 | 161.7 | 195.1 | 227.4 | 252.6 | 236.8 | 214.4 | 121.5 | 92.93 | 79.27 | 82.92 | 82.44 | 82.29 | 78.08 | 73.77 | 76.51 | 71.99 | 79.3 | 71.91 | 136.6 | 155.7 | 85.53 | 63.38 | 47.67 | 42.71 | 47.68 | 41.02 | 90.05 | 714.5 | 9999.9 | 9999.9 | 9999.9 | 221.3 | 43.36 | 33.62 | 22.05 | 15.5 | 13.8
420 | 132.6 | 102.4 | 182.2 | 124.3 | 89.97 | 98.11 | 129.8 | 145.6 | 88.83 | 114.5 | 112.4 | 111.8 | 111 | 106.2 | 128.4 | 199.2 | 208.2 | 230.5 | 213.7 | 154.2 | 107.4 | 87.58 | 68.18 | 78.89 | 57.53 | 87.59 | 71.79 | 67.07 | 66.43 | 75.95 | 72.43 | 68.54 | 82.27 | 143.1 | 127.5 | 63.82 | 49.01 | 50.08 | 36.98 | 33.3 | 40.04 | 82.81 | 720.3 | 9999.9 | 9999.9 | 9999.9 | 213 | 44.8 | 26.59 | 18.24 | 14.6
425 | 137.6 | 141.8 | 169.5 | 174 | 111.2 | 105.9 | 144.9 | 131.9 | 117.2 | 103.8 | 154.5 | 87.28 | 112.3 | 118.9 | 146.6 | 146.2 | 177.7 | 168.7 | 190.3 | 148.2 | 108.9 | 92.57 | 93.7 | 75.16 | 72.56 | 69.32 | 79.46 | 76.67 | 81.66 | 79.86 | 64.18 | 59.66 | 61.64 | 89.86 | 142.6 | 100.9 | 48.81 | 46.81 | 40.77 | 30.67 | 35.82 | 41.89 | 83.12 | 723.9 | 9999.9 | 9999.9 | 9999.9 | 212.7 | 38.24 | 25.07 | 17.17
430 | 110.4 | 128 | 111.3 | 265.6 | 170.1 | 117.9 | 159.9 | 154.5 | 138.1 | 92.91 | 113.7 | 98.88 | 102.1 | 148.3 | 118.4 | 147.1 | 151.7 | 158.2 | 145.2 | 129.4 | 79.28 | 83.38 | 68.73 | 76.05 | 82.86 | 66.24 | 91.98 | 82.62 | 74.42 | 82.4 | 86.95 | 76.42 | 69.63 | 71.87 | 91.31 | 133.4 | 65.46 | 40.72 | 38.86 | 34.71 | 28.41 | 33.36 | 40.29 | 83.74 | 711.6 | 9999.9 | 9999.9 | 9999.9 | 195.5 | 39.55 | 25.16
435 | 87.58 | 120.2 | 124.2 | 250.6 | 290.6 | 123.7 | 133.1 | 117 | 167.3 | 102.5 | 102.9 | 93.19 | 112.7 | 116.4 | 114.8 | 170 | 180.8 | 130.8 | 128.9 | 136.8 | 102.7 | 79.08 | 103 | 70.19 | 77.3 | 89.79 | 76.43 | 81.24 | 75.69 | 65.85 | 71.14 | 63.59 | 67.03 | 80.93 | 67.93 | 94.91 | 100.3 | 56.28 | 38.22 | 31.66 | 29.58 | 27.59 | 32.96 | 39.85 | 87.77 | 728.5 | 9999.9 | 9999.9 | 9999.9 | 183.4 | 36.2
440 | 124.5 | 140.4 | 122.6 | 138.3 | 522.8 | 234 | 116.6 | 89.27 | 125.2 | 133.1 | 106.2 | 89.2 | 122.4 | 129.2 | 107.9 | 138.6 | 163.4 | 132.2 | 130 | 140.7 | 98.27 | 76.26 | 75.28 | 75.05 | 71.34 | 68.17 | 77.81 | 86.69 | 71.68 | 74.14 | 76.85 | 59.95 | 64.17 | 68.54 | 58.79 | 67.3 | 101 | 79.21 | 40.75 | 32.43 | 25.95 | 24.05 | 28.47 | 26.71 | 35.89 | 79.76 | 717.2 | 9999.9 | 9999.9 | 9999.9 | 156.5
445 | 105.1 | 120 | 87.41 | 120.5 | 339.3 | 516.2 | 129.3 | 159.7 | 119.3 | 118.7 | 110.2 | 120.4 | 91.14 | 100.1 | 104.2 | 163.1 | 118.3 | 116.6 | 131.5 | 100.8 | 86.23 | 65.76 | 81.66 | 64.53 | 60.84 | 75.49 | 65.61 | 76.54 | 77.69 | 85.88 | 72.38 | 76.39 | 60.22 | 69.1 | 52.99 | 52.7 | 60.02 | 86.42 | 67.27 | 32.65 | 28.43 | 27.82 | 26.53 | 24.64 | 27.58 | 36.02 | 83.02 | 732.9 | 9999.9 | 9999.9 | 9999.9
450 | 116.5 | 98.97 | 109.8 | 110.7 | 178.7 | 715.1 | 349.6 | 126.8 | 138 | 125.7 | 117.8 | 85.06 | 89.1 | 94.55 | 92.6 | 111.8 | 118.6 | 101.6 | 110.3 | 128 | 80.53 | 86.29 | 71.19 | 77.17 | 69.43 | 71.03 | 82.44 | 75.42 | 71.93 | 69.5 | 65.69 | 64 | 54.04 | 58.44 | 55.07 | 48.14 | 51.5 | 61.64 | 84.16 | 51.58 | 35.34 | 28.98 | 28.93 | 29.85 | 21.24 | 27.01 | 36.24 | 87.61 | 714.8 | 9999.9 | 9999.9
455 | 136.4 | 140.1 | 115.9 | 122.8 | 107.1 | 500.2 | 829 | 166.2 | 122.5 | 101.8 | 113.5 | 123.4 | 117.6 | 102.7 | 100.7 | 114.4 | 144.4 | 139.5 | 93.33 | 92.95 | 102.4 | 74.2 | 73.09 | 77.54 | 70.03 | 82.53 | 69.28 | 69.02 | 69.73 | 73.35 | 57.03 | 61.4 | 61.04 | 62.62 | 53.11 | 53.46 | 38.32 | 49.46 | 62.42 | 77.98 | 35.98 | 28.03 | 28.81 | 23.61 | 19 | 22.79 | 27.59 | 36.35 | 75.32 | 737.2 | 9999.9
460 | 127.5 | 121.5 | 112.9 | 130.9 | 113.1 | 227.4 | 1103 | 543.9 | 139.5 | 165.8 | 89.67 | 77.95 | 118.2 | 99.24 | 95 | 126.9 | 123.4 | 121.4 | 109.8 | 84.88 | 83.93 | 75.56 | 76.95 | 63.88 | 79.42 | 72.18 | 72.74 | 69.61 | 73.64 | 57.15 | 61.18 | 59.83 | 70.77 | 49.52 | 51.17 | 51.15 | 40.8 | 38.76 | 38.23 | 63.55 | 61.93 | 26.6 | 24.67 | 22.9 | 25.84 | 22.99 | 24.41 | 26.36 | 34.42 | 78.75 | 706.1
465 | 101 | 171.7 | 126.7 | 144.6 | 121.6 | 158.4 | 811.5 | 1456 | 253.6 | 115.1 | 115.2 | 107.1 | 149 | 108.8 | 123.4 | 96.52 | 118.3 | 109 | 121.2 | 87.94 | 93.32 | 57.77 | 86.58 | 69.02 | 66.57 | 60.93 | 65.5 | 56.75 | 60.88 | 51.11 | 73.68 | 56.79 | 58.51 | 56.84 | 48.46 | 45.46 | 45.02 | 30.93 | 40.96 | 42.7 | 63.08 | 43.91 | 23.33 | 24.8 | 20.75 | 23.64 | 22.3 | 26.26 | 23.88 | 32.24 | 76.1
470 | 133.7 | 104.8 | 124.9 | 83.98 | 103.5 | 118.2 | 226.7 | 1857 | 770.8 | 129.9 | 87 | 96.5 | 101.3 | 116 | 118 | 119 | 127.7 | 98.78 | 95.6 | 93.32 | 79.84 | 69.56 | 60.27 | 62.04 | 74.33 | 70.02 | 54.44 | 60.1 | 71.22 | 70.92 | 57.84 | 59.83 | 59.28 | 52.79 | 51.32 | 45.98 | 40.23 | 31.85 | 34.17 | 31.64 | 44.45 | 58.95 | 34.97 | 29.15 | 22.68 | 22.42 | 21.46 | 25.1 | 20.71 | 26.34 | 29.24
475 | 104.5 | 110.4 | 179.7 | 116.1 | 121.1 | 134.6 | 129.5 | 1326 | 1807 | 205.9 | 89.1 | 114.2 | 102.1 | 104.1 | 101.1 | 85.77 | 107 | 111.1 | 89.65 | 69.16 | 67.21 | 66.57 | 63.06 | 49.8 | 56.04 | 48.17 | 50.73 | 58.01 | 63.81 | 51.37 | 54.84 | 56.76 | 60.63 | 50.35 | 48.89 | 44.21 | 43.2 | 30.73 | 23.78 | 27.34 | 31.33 | 47.63 | 49.15 | 28.95 | 19.42 | 19.58 | 20.51 | 22.4 | 18.47 | 18.01 | 22.67
480 | 121.5 | 100.2 | 120.7 | 112.2 | 108.9 | 130.7 | 124.7 | 269.4 | 2414 | 733.5 | 92.22 | 111 | 88.47 | 94.42 | 93.77 | 111.3 | 114.4 | 108.2 | 91.21 | 87.08 | 73.72 | 63.64 | 55.66 | 56.77 | 53.25 | 46.51 | 48.04 | 56.11 | 51.06 | 50.68 | 54.37 | 51.94 | 44.21 | 46.91 | 48.65 | 42.8 | 35.07 | 33.62 | 29.59 | 29.69 | 23.56 | 23.99 | 40.78 | 38.85 | 20.11 | 17.3 | 21.95 | 18.01 | 17.54 | 18.66 | 16.07
485 | 103.8 | 97.57 | 99.66 | 97.89 | 66.72 | 121.6 | 125.4 | 141 | 1669 | 2682 | 147.3 | 91.35 | 100.5 | 98.17 | 66.25 | 88.77 | 110.7 | 95.39 | 103.5 | 62.7 | 71.52 | 64.63 | 50.06 | 48.68 | 45.56 | 51.72 | 56.63 | 53.12 | 40.31 | 49.94 | 52.75 | 46.19 | 41.28 | 51.92 | 40.01 | 41.43 | 31.71 | 36.54 | 26.32 | 23.76 | 24.14 | 20.84 | 30 | 43.46 | 38.24 | 19.74 | 19.5 | 17.54 | 14.62 | 14.52 | 13.88
490 | 73.24 | 128.6 | 179.5 | 104.8 | 101.9 | 97.85 | 120.4 | 177.5 | 405.7 | 3127 | 784.8 | 91.9 | 89.19 | 95.9 | 81.37 | 78.81 | 91.11 | 100.9 | 101.7 | 73.71 | 80.47 | 68.38 | 65.63 | 47.71 | 51.04 | 56.26 | 49.67 | 49.34 | 44.3 | 44.67 | 42.37 | 37.37 | 40.25 | 46.45 | 37.33 | 40.44 | 33.01 | 33.89 | 30.07 | 22.18 | 22.25 | 22.57 | 20.23 | 31.02 | 38.87 | 23.95 | 19.63 | 18.05 | 16.56 | 15.89 | 15.3
495 | 116.5 | 104.7 | 170.1 | 126.1 | 116.9 | 120.3 | 165.6 | 108.2 | 107.8 | 1878 | 2505 | 160.9 | 63.93 | 81.8 | 94.36 | 123.3 | 89.88 | 90.95 | 80.49 | 83.41 | 67.04 | 60.85 | 61.66 | 46.13 | 50.15 | 40.71 | 48.31 | 51.64 | 48.14 | 41.44 | 43.19 | 53.37 | 45.65 | 40.25 | 34.51 | 41.31 | 31.52 | 31.74 | 27.98 | 20.86 | 26.1 | 21.42 | 19.51 | 25 | 31.84 | 34.67 | 22.11 | 20.11 | 15.61 | 15.07 | 15.17
500 | 115 | 95.18 | 92.65 | 85.87 | 77.09 | 108.6 | 107.6 | 93.94 | 86.76 | 594.9 | 3240 | 634.2 | 109.5 | 89.71 | 97.91 | 99.3 | 93.38 | 88.18 | 88.06 | 76.25 | 77.82 | 48.13 | 55.54 | 48.67 | 50.67 | 46.88 | 41.51 | 52.81 | 48.2 | 46.92 | 43.58 | 44.18 | 37.76 | 36.52 | 41.46 | 33.07 | 29.15 | 32.46 | 20.51 | 26.75 | 23.89 | 16.39 | 16.41 | 20.91 | 22.02 | 33.54 | 31.48 | 17.98 | 16.43 | 17.17 | 15.55