## Sheet1
Report date: | 15:37:09, 04/09/2024
Sample: | 1
File name:
Run date: | 15:33:54, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/390.0 | 135.3
2 | 205.0/445.0 | 159.5
3 | 205.0/475.0 | 157.7
4 | 210.0/265.0 | 129.2
5 | 210.0/280.0 | 105.1
6 | 210.0/290.0 | 131.4
7 | 210.0/450.0 | 191.4
8 | 210.0/465.0 | 175.1
9 | 215.0/480.0 | 150.7
10 | 220.0/285.0 | 134.3
11 | 220.0/375.0 | 219.2
12 | 220.0/410.0 | 190.9
13 | 220.0/465.0 | 192.7
14 | 225.0/260.0 | 117.2
15 | 225.0/400.0 | 155.6
16 | 225.0/420.0 | 167.1
17 | 225.0/490.0 | 150
18 | 230.0/320.0 | 543.5
19 | 230.0/340.0 | 538.7
20 | 230.0/390.0 | 203.8
21 | 230.0/410.0 | 180.4
22 | 230.0/425.0 | 156.8
23 | 235.0/255.0 | 123.4
24 | 235.0/270.0 | 131.4
25 | 235.0/370.0 | 289.1
26 | 235.0/385.0 | 191.8
27 | 235.0/420.0 | 182.1
28 | 235.0/435.0 | 182.1
29 | 240.0/275.0 | 110.5
30 | 240.0/415.0 | 186.7
31 | 240.0/425.0 | 151.8
32 | 245.0/265.0 | 193.9
33 | 245.0/400.0 | 165.6
34 | 245.0/420.0 | 154
35 | 245.0/430.0 | 151.8
36 | 250.0/450.0 | 152.3
37 | 250.0/465.0 | 173.9
38 | 255.0/280.0 | 155.7
39 | 255.0/435.0 | 139.1
40 | 255.0/455.0 | 144.6
41 | 260.0/445.0 | 156.8
42 | 260.0/475.0 | 128.9
43 | 265.0/480.0 | 121.9
44 | 270.0/490.0 | 135.1
45 | 275.0/455.0 | 146.8
46 | 275.0/465.0 | 138
47 | 280.0/460.0 | 178
48 | 285.0/325.0 | 3776
49 | 285.0/435.0 | 198.1
50 | 285.0/465.0 | 140.5
51 | 285.0/480.0 | 135.4
52 | 290.0/255.0 | 75.15
53 | 290.0/450.0 | 141
54 | 290.0/470.0 | 129.1
55 | 295.0/465.0 | 124.1
56 | 295.0/490.0 | 108.9
57 | 305.0/440.0 | 106.2
58 | 310.0/275.0 | 50.48
59 | 310.0/450.0 | 88.62
60 | 310.0/485.0 | 74.36
61 | 315.0/355.0 | 276.4
62 | 315.0/495.0 | 65.26
63 | 320.0/265.0 | 46.55
64 | 320.0/360.0 | 266.1
65 | 320.0/385.0 | 99.61
66 | 320.0/400.0 | 92.37
67 | 320.0/410.0 | 100.5
68 | 320.0/430.0 | 100.7
69 | 320.0/480.0 | 78.46
70 | 325.0/365.0 | 246.8
71 | 325.0/415.0 | 108.7
72 | 325.0/460.0 | 77.48
73 | 325.0/485.0 | 67.72
74 | 330.0/275.0 | 38.8
75 | 330.0/370.0 | 226.1
76 | 330.0/405.0 | 101.5
77 | 330.0/425.0 | 95.04
78 | 330.0/475.0 | 68.56
79 | 335.0/280.0 | 44.26
80 | 335.0/380.0 | 235.1
81 | 335.0/420.0 | 103.1
82 | 335.0/440.0 | 91.69
83 | 335.0/455.0 | 83.53
84 | 335.0/465.0 | 78.78
85 | 335.0/485.0 | 60.34
86 | 340.0/385.0 | 206.2
87 | 340.0/430.0 | 94.17
88 | 340.0/445.0 | 92.7
89 | 345.0/270.0 | 26.18
90 | 345.0/305.0 | 38.87
91 | 345.0/390.0 | 211.4
92 | 345.0/415.0 | 93.8
93 | 345.0/450.0 | 83.93
94 | 345.0/460.0 | 90.02
95 | 350.0/430.0 | 95.94
96 | 355.0/265.0 | 26.14
97 | 355.0/275.0 | 29.31
98 | 355.0/405.0 | 190
99 | 355.0/445.0 | 86.16
100 | 360.0/260.0 | 26.45
101 | 360.0/295.0 | 25.6
102 | 360.0/410.0 | 181.1
103 | 360.0/435.0 | 77.66
104 | 360.0/450.0 | 80.24
105 | 360.0/460.0 | 74.75
106 | 360.0/490.0 | 55.25
107 | 365.0/270.0 | 22.73
108 | 365.0/290.0 | 28.52
109 | 365.0/415.0 | 170.2
110 | 365.0/445.0 | 78.28
111 | 370.0/255.0 | 31.98
112 | 370.0/285.0 | 22.68
113 | 370.0/305.0 | 23.81
114 | 370.0/425.0 | 145.3
115 | 375.0/300.0 | 24.81
116 | 375.0/315.0 | 26.36
117 | 375.0/430.0 | 134.3
118 | 375.0/490.0 | 46.3
119 | 380.0/260.0 | 27.67
120 | 380.0/295.0 | 19.66
121 | 380.0/435.0 | 109.1
122 | 380.0/485.0 | 43.74
123 | 385.0/270.0 | 24.7
124 | 385.0/445.0 | 99.4
125 | 390.0/275.0 | 22.2
126 | 390.0/315.0 | 18.76
127 | 390.0/450.0 | 78.61
128 | 395.0/260.0 | 20.43
129 | 395.0/280.0 | 21.19
130 | 395.0/320.0 | 16.35
131 | 395.0/335.0 | 19.4
132 | 395.0/455.0 | 76.59
133 | 400.0/285.0 | 20.26
134 | 400.0/295.0 | 19.37
135 | 400.0/330.0 | 17.64
136 | 400.0/465.0 | 63.1
137 | 405.0/260.0 | 20.27
138 | 405.0/310.0 | 15.49
139 | 405.0/335.0 | 17.1
140 | 405.0/470.0 | 53.45
141 | 410.0/265.0 | 19.92
142 | 410.0/325.0 | 16.16
143 | 410.0/340.0 | 16.45
144 | 410.0/350.0 | 18.33
145 | 410.0/480.0 | 52.63
146 | 415.0/295.0 | 21.27
147 | 415.0/455.0 | 28.01
148 | 415.0/485.0 | 48.38
149 | 420.0/275.0 | 17.08
150 | 420.0/300.0 | 19.71
151 | 420.0/490.0 | 43.36
152 | 425.0/355.0 | 15.25
153 | 425.0/365.0 | 17.24
154 | 430.0/285.0 | 17.19
155 | 430.0/310.0 | 17.48
156 | 430.0/325.0 | 15.89
157 | 430.0/340.0 | 13.85
158 | 435.0/270.0 | 14.37
159 | 435.0/290.0 | 14.28
160 | 435.0/335.0 | 13.23
161 | 440.0/325.0 | 17.12
162 | 440.0/360.0 | 12.35
163 | 440.0/375.0 | 13.6
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 83.9 | 105.9 | 77.85 | 93.06 | 62.52 | 82.4 | 121.5 | 77.54 | 114.3 | 3449 | 9999.9 | 3042 | 109.7 | 56.99 | 54.08 | 55.94 | 78.27 | 46.86 | 63.76 | 53.49 | 54.87 | 31.09 | 37.24 | 30.15 | 30.31 | 38.4 | 23.21 | 30.7 | 24.09 | 29.16 | 17.59 | 22.44 | 26 | 29.91 | 25.12 | 20.11 | 20.53 | 20.41 | 23.9 | 19.16 | 17.45 | 16.15 | 17.64 | 11.69 | 13.05 | 14.45 | 10.94 | 10.85 | 9.344 | 7.28 | 7.76
255 | 101.4 | 109.3 | 127.1 | 117.7 | 76.02 | 88.54 | 122.1 | 123.4 | 100.6 | 336.7 | 2877 | 9999.9 | 5664 | 274.7 | 87.33 | 75.76 | 58.89 | 54.98 | 75.15 | 47.41 | 53.24 | 52.1 | 35.4 | 35.61 | 36 | 32.81 | 23.9 | 19.96 | 26.93 | 25.21 | 31.49 | 26.27 | 21.37 | 23.11 | 31.98 | 22.58 | 17.84 | 18.64 | 20.3 | 19.31 | 17.52 | 14.1 | 15.29 | 12.09 | 11.81 | 12.38 | 11.12 | 10.57 | 10.01 | 8.941 | 5.905
260 | 103.6 | 95.39 | 81.88 | 86.86 | 73.25 | 117.2 | 101.3 | 81.5 | 117.6 | 149.3 | 262.4 | 3589 | 9999.9 | 7588 | 305.2 | 48.22 | 55.91 | 50.86 | 71.02 | 64.83 | 57.97 | 39.92 | 38.5 | 34.44 | 27.76 | 33.68 | 27.99 | 30.53 | 25.72 | 21.17 | 22.38 | 20.3 | 26.45 | 22.52 | 25.22 | 25.29 | 27.67 | 21.17 | 18.43 | 20.43 | 15.86 | 20.27 | 15.65 | 13.49 | 11.3 | 13.78 | 12.99 | 11.3 | 10.26 | 8.944 | 7.413
265 | 64.65 | 106.6 | 129.2 | 84.4 | 57.59 | 90.58 | 93.57 | 57.27 | 80.88 | 193.9 | 126.8 | 321.1 | 4614 | 9999.9 | 9999.9 | 356.9 | 62.66 | 56.01 | 50.72 | 61.7 | 48.82 | 42.76 | 39.32 | 27.42 | 46.55 | 27.9 | 35.9 | 28.78 | 24.38 | 22.51 | 24.65 | 26.14 | 22.99 | 20.33 | 22.47 | 20.59 | 22.85 | 19.25 | 17.59 | 13.26 | 15.57 | 18.9 | 19.92 | 16.66 | 16.41 | 13.64 | 12.45 | 9.79 | 9.923 | 10.52 | 8.41
270 | 89.19 | 73.55 | 115.3 | 93.55 | 71.59 | 89.31 | 99.44 | 131.4 | 72.22 | 108.8 | 152.4 | 114.4 | 370.9 | 6205 | 9999.9 | 9999.9 | 443.2 | 83.85 | 56.66 | 61.09 | 42.95 | 39.62 | 50.4 | 46.35 | 33.55 | 35.64 | 36.93 | 25.16 | 22.96 | 26.18 | 18.13 | 20.96 | 22.03 | 22.73 | 20.58 | 20.47 | 17.44 | 24.7 | 21.22 | 18.35 | 18.58 | 16.22 | 16.57 | 16.14 | 15.96 | 14.38 | 11.96 | 14.37 | 9.62 | 12.11 | 8.07
275 | 86.03 | 92.09 | 82.18 | 95.04 | 118.2 | 98.32 | 103.8 | 76.1 | 110.5 | 87.06 | 123.5 | 100.2 | 98.8 | 462.7 | 8183 | 9999.9 | 9999.9 | 525.5 | 94.97 | 72.18 | 57.13 | 43.03 | 50.48 | 34.64 | 28.4 | 28.34 | 38.8 | 24.02 | 26.22 | 24.75 | 24.09 | 29.31 | 24.51 | 16.15 | 20.67 | 18.63 | 16.24 | 20.87 | 22.2 | 20.93 | 15.98 | 11.73 | 15.11 | 15.25 | 17.08 | 16.31 | 13.02 | 13.01 | 11.42 | 10.09 | 8.624
280 | 89.49 | 88.18 | 105.1 | 93.87 | 129.3 | 93.66 | 93.49 | 86.05 | 106.5 | 97.05 | 101.7 | 155.7 | 139.8 | 107.3 | 646.3 | 9999.9 | 9999.9 | 9999.9 | 559.9 | 73.59 | 43.39 | 42.99 | 47.04 | 44.06 | 42.84 | 40.68 | 29.39 | 44.26 | 31.66 | 24.64 | 20.98 | 24.09 | 22.59 | 23.54 | 19.1 | 19.31 | 19.22 | 14.79 | 17.91 | 21.19 | 19.37 | 14.94 | 15.75 | 15.56 | 15.54 | 15.92 | 12.74 | 12.31 | 11.56 | 10.22 | 9.228
285 | 103.6 | 77.65 | 81.09 | 75.41 | 134.3 | 116.5 | 103.4 | 93.65 | 78.54 | 83.58 | 116.6 | 100.5 | 154.8 | 149.4 | 191.2 | 791.5 | 9999.9 | 9999.9 | 9999.9 | 783.4 | 102 | 55.91 | 58.29 | 42.81 | 34.38 | 40.51 | 26.71 | 27.81 | 26.79 | 27.5 | 22.01 | 21.64 | 21.05 | 21.58 | 22.68 | 21.41 | 17.92 | 16.61 | 14.34 | 16.78 | 20.26 | 17.82 | 16.53 | 15.57 | 14.31 | 12.6 | 17.19 | 13.67 | 13.65 | 11.68 | 10.63
290 | 97.5 | 103.7 | 131.4 | 83.14 | 108 | 112.4 | 130.1 | 159.6 | 124.6 | 95.88 | 119.8 | 126.5 | 152 | 277.7 | 290.9 | 312 | 1022 | 9999.9 | 9999.9 | 9999.9 | 684 | 77.22 | 70.25 | 63.27 | 45.61 | 36.3 | 32.44 | 29.28 | 26.61 | 34.56 | 23.21 | 21.63 | 25.53 | 28.52 | 19.54 | 15.87 | 18.1 | 16.41 | 13.74 | 13.86 | 15.37 | 15.41 | 16.33 | 11.33 | 12.3 | 13.09 | 12 | 14.28 | 11.03 | 11.71 | 10.77
295 | 78.36 | 117.4 | 126.8 | 127 | 140.5 | 208.1 | 184.3 | 150.3 | 131.9 | 157.2 | 150.5 | 151.3 | 180.7 | 290.6 | 519.1 | 562.7 | 679 | 1243 | 9999.9 | 9999.9 | 9999.9 | 762.3 | 90.58 | 66.09 | 53.9 | 41.19 | 34.61 | 38.68 | 32.03 | 35.2 | 22.19 | 25.53 | 25.6 | 17.03 | 15.41 | 18.56 | 19.66 | 13.68 | 15.91 | 11.39 | 19.37 | 16.64 | 20.83 | 21.27 | 13.46 | 12.64 | 12.95 | 11.61 | 12.08 | 15.5 | 11.82
300 | 71.89 | 115.4 | 103.4 | 141.1 | 161.2 | 182.7 | 283.6 | 303 | 185.5 | 145.2 | 148 | 162.6 | 327.2 | 375.5 | 766.2 | 942.2 | 1038 | 1087 | 1366 | 9999.9 | 9999.9 | 9999.9 | 784.3 | 86.68 | 62.13 | 52.12 | 45.82 | 40.17 | 32.77 | 28.54 | 26.09 | 24.65 | 18.18 | 20.82 | 17.91 | 24.81 | 18 | 18.08 | 16.73 | 15.04 | 11.75 | 15.44 | 14.32 | 16.47 | 19.71 | 14.6 | 12.11 | 11.49 | 9.957 | 12.51 | 12.85
305 | 74.68 | 92.33 | 115.9 | 164.9 | 190.5 | 277.3 | 298.5 | 291.2 | 232.6 | 198.9 | 192.9 | 234.8 | 329.3 | 535.4 | 820 | 1366 | 1580 | 1646 | 1350 | 1428 | 9999.9 | 9999.9 | 9999.9 | 716.4 | 86.08 | 69.35 | 47.39 | 33 | 35.63 | 38.87 | 25.9 | 29.25 | 26.17 | 22.3 | 23.81 | 21.72 | 16.74 | 17.85 | 15.41 | 13.93 | 12.24 | 13.67 | 13.73 | 15.08 | 18.58 | 18.56 | 13 | 13.89 | 11.25 | 9.933 | 11.76
310 | 122.5 | 90.74 | 158.1 | 180.8 | 214.6 | 266.6 | 387.3 | 325.9 | 249.2 | 156.6 | 227.1 | 293 | 417.2 | 683.6 | 1184 | 1709 | 2307 | 2332 | 1791 | 1143 | 1121 | 9999.9 | 9999.9 | 9999.9 | 704.4 | 89.93 | 83.9 | 47.59 | 41.8 | 36.75 | 35.58 | 28.52 | 31.51 | 25.57 | 19.33 | 21.45 | 16.64 | 17.53 | 17.14 | 15.96 | 11.83 | 15.49 | 11.71 | 11.03 | 12.83 | 15.48 | 17.48 | 14.56 | 13.37 | 11.85 | 12.73
315 | 98.54 | 93.83 | 136 | 191.7 | 229.1 | 281.9 | 507.2 | 504.4 | 288.8 | 234.2 | 251 | 301.7 | 623.5 | 892.4 | 1381 | 1927 | 2594 | 3008 | 2390 | 1458 | 714.5 | 954.2 | 9999.9 | 9999.9 | 9999.9 | 734.4 | 80.96 | 64.34 | 58.98 | 33.31 | 35.5 | 34.14 | 33.67 | 23.88 | 25.43 | 26.36 | 20.93 | 15.37 | 18.76 | 14.13 | 13.89 | 10.28 | 11.37 | 12.09 | 12.22 | 15.68 | 16.22 | 14.13 | 14.1 | 11.97 | 9.639
320 | 113.1 | 115.5 | 114.3 | 260.8 | 205.4 | 344.2 | 543.5 | 451.5 | 313.6 | 309.2 | 278.8 | 423.6 | 621.1 | 1002 | 1380 | 2339 | 2993 | 3395 | 2963 | 1826 | 788 | 353.7 | 829.1 | 9999.9 | 9999.9 | 9999.9 | 730.7 | 76.52 | 51.91 | 43.42 | 36.66 | 30.29 | 27.93 | 24.18 | 28.97 | 21.15 | 21.44 | 16.98 | 13.53 | 16.35 | 16.18 | 15.52 | 13.9 | 12.95 | 13.61 | 12.4 | 13.98 | 14.82 | 15.65 | 13.54 | 9.404
325 | 122.7 | 134.1 | 115.5 | 224.5 | 276.9 | 444.2 | 524.2 | 490.2 | 298.8 | 269.6 | 323.4 | 448.8 | 736.8 | 1218 | 1732 | 2299 | 3313 | 3776 | 3282 | 2076 | 1019 | 407 | 200.5 | 800.8 | 9999.9 | 9999.9 | 9999.9 | 726.6 | 82.68 | 64.46 | 54.3 | 44.55 | 35.91 | 27.67 | 29.37 | 26.09 | 22.86 | 20.8 | 18.5 | 14.78 | 14.45 | 13.99 | 16.16 | 12.7 | 13.22 | 12.38 | 15.89 | 12.2 | 17.12 | 12.91 | 12.31
330 | 109.2 | 110.1 | 127.8 | 209.2 | 243.9 | 440.2 | 501.8 | 461.6 | 307.5 | 289.2 | 319 | 424.8 | 741.3 | 1227 | 1751 | 2532 | 3607 | 3658 | 3535 | 2293 | 1035 | 350.2 | 174.9 | 171.6 | 786.4 | 9999.9 | 9999.9 | 9999.9 | 659.3 | 99.13 | 69.81 | 46.96 | 36.97 | 38 | 28.53 | 23.03 | 24.12 | 14.74 | 17.05 | 12.19 | 17.64 | 15.44 | 12.49 | 11.9 | 12.95 | 10.98 | 10.22 | 12 | 15.71 | 12.93 | 14.25
335 | 110.2 | 117.2 | 148.8 | 174.3 | 237.8 | 453.6 | 537.5 | 499.2 | 369.7 | 267.6 | 325.1 | 399.8 | 682.9 | 1067 | 1761 | 2754 | 3195 | 3714 | 3551 | 2294 | 1204 | 450.7 | 178.5 | 118.4 | 153.9 | 780.8 | 9999.9 | 9999.9 | 9999.9 | 612.9 | 84.55 | 64.05 | 52.87 | 34.74 | 33.73 | 30.79 | 24.41 | 18 | 19.37 | 19.4 | 11.59 | 17.1 | 16.44 | 14.44 | 14.21 | 10.02 | 12.78 | 13.23 | 10.74 | 11.89 | 14.19
340 | 85.31 | 114.1 | 136.1 | 192.7 | 266.6 | 353.1 | 538.7 | 455.4 | 329.1 | 313.9 | 298.1 | 384.2 | 669.2 | 1073 | 1719 | 2670 | 3035 | 3489 | 3245 | 2249 | 1097 | 641.2 | 204.5 | 90.09 | 88.17 | 141.2 | 788.3 | 9999.9 | 9999.9 | 9999.9 | 651.9 | 79.76 | 60.57 | 43.93 | 34.72 | 31.04 | 20.84 | 24.18 | 19.61 | 17.88 | 15.14 | 14.91 | 16.45 | 15.16 | 11.93 | 10.72 | 13.85 | 10.58 | 8.541 | 10.65 | 13.07
345 | 120.9 | 135.5 | 146.8 | 162.2 | 260.6 | 319.8 | 516.2 | 459.4 | 294.5 | 255.5 | 298.8 | 434.7 | 552.4 | 1049 | 1630 | 2157 | 3111 | 3489 | 3043 | 2022 | 921.7 | 487.3 | 304.2 | 106.2 | 77.73 | 93.78 | 144.1 | 793.1 | 9999.9 | 9999.9 | 9999.9 | 554.9 | 80.14 | 63.6 | 47.74 | 32.87 | 31.26 | 24.34 | 21.22 | 18.7 | 16.66 | 13.97 | 14.22 | 13.66 | 12.3 | 12.5 | 12.36 | 13.05 | 8.878 | 11.03 | 11.52
350 | 144.9 | 152.4 | 141.5 | 177.7 | 219.1 | 377.6 | 440.3 | 392.8 | 304.3 | 218.1 | 252.7 | 363.6 | 541.9 | 989.8 | 1320 | 1974 | 2610 | 2846 | 2958 | 1875 | 801.1 | 352 | 306.1 | 242.7 | 97.18 | 77.98 | 84.43 | 143.4 | 789.1 | 9999.9 | 9999.9 | 9999.9 | 579.4 | 87.16 | 56.22 | 40.71 | 31.05 | 26.09 | 23.42 | 18.39 | 17.82 | 14.49 | 18.33 | 14.49 | 13.02 | 13.3 | 13.37 | 8.943 | 10.53 | 9.541 | 9.136
355 | 124.9 | 121.9 | 136.5 | 203.9 | 237.4 | 298.6 | 449.1 | 340.4 | 253.3 | 208.7 | 203.2 | 323.6 | 520.1 | 840.7 | 1345 | 1882 | 2213 | 2660 | 2373 | 1600 | 725.9 | 314.8 | 193.5 | 276.4 | 179.7 | 79.64 | 64.26 | 89.55 | 155.6 | 796.9 | 9999.9 | 9999.9 | 9999.9 | 569.5 | 84.24 | 64.08 | 39.94 | 33.3 | 26.74 | 21.29 | 23.53 | 17.35 | 16.46 | 13.65 | 13.38 | 15.25 | 13.11 | 9.755 | 11.02 | 9.079 | 7.945
360 | 111.2 | 138 | 135 | 141.2 | 183.8 | 299 | 375.5 | 287.7 | 217.6 | 219.1 | 227.4 | 259.6 | 444.6 | 655 | 1092 | 1524 | 1957 | 2231 | 2099 | 1347 | 637.3 | 277.3 | 143.7 | 121.3 | 266.1 | 138.7 | 60.77 | 77.28 | 96.83 | 141.3 | 779 | 9999.9 | 9999.9 | 9999.9 | 520.4 | 82.26 | 51.86 | 39.54 | 28.07 | 21.67 | 17.53 | 17.1 | 16.23 | 15.61 | 14.69 | 14.14 | 11.66 | 10.12 | 12.35 | 11.03 | 9.713
365 | 111.8 | 160.7 | 153 | 177.8 | 159.2 | 244.9 | 333.2 | 245.1 | 234.1 | 192.9 | 226.8 | 268.3 | 355 | 663.4 | 954.3 | 1380 | 1609 | 1866 | 1779 | 1197 | 537.8 | 268.5 | 144.2 | 84.46 | 169.8 | 246.8 | 101.9 | 84.46 | 80.07 | 94.63 | 132.5 | 769.9 | 9999.9 | 9999.9 | 9999.9 | 483.1 | 72.45 | 55.82 | 33.06 | 25.55 | 24.55 | 21.72 | 22.02 | 19.46 | 14.19 | 17.24 | 13.69 | 11.26 | 10.14 | 10.52 | 8.201
370 | 92.6 | 128.7 | 93.96 | 185 | 185.2 | 252 | 287.2 | 289.1 | 219 | 175.2 | 206.4 | 202.5 | 313.9 | 501.1 | 820.6 | 1045 | 1392 | 1489 | 1425 | 957.6 | 459.5 | 211.1 | 120.1 | 97.85 | 96.11 | 173.1 | 226.1 | 98.81 | 91.93 | 73.03 | 86.52 | 144.4 | 793.4 | 9999.9 | 9999.9 | 9999.9 | 427.3 | 70.84 | 49.87 | 34.91 | 27.52 | 20.81 | 19.58 | 16.37 | 15.78 | 15.88 | 11.12 | 12.64 | 9.428 | 9.686 | 10.02
375 | 105.5 | 156.6 | 106.6 | 170.1 | 219.2 | 214.4 | 213.4 | 260.7 | 195.1 | 186.6 | 162.7 | 208.2 | 267.3 | 430.1 | 586.7 | 911.6 | 1188 | 1310 | 1233 | 846.4 | 400.5 | 239.2 | 129.1 | 109.3 | 91.99 | 100.4 | 206.9 | 188 | 94.7 | 74.52 | 74.82 | 87.82 | 131.6 | 775.2 | 9999.9 | 9999.9 | 9999.9 | 418.1 | 63.5 | 42.07 | 34.08 | 27.23 | 25.54 | 17.18 | 14.8 | 15.84 | 11.91 | 12.96 | 13.6 | 10.43 | 10.07
380 | 104 | 154.1 | 136.9 | 103.4 | 154.4 | 179.5 | 236.7 | 165.6 | 178 | 182.3 | 142.1 | 209.6 | 262.8 | 411.7 | 558.3 | 796.4 | 921.9 | 972.8 | 949.6 | 648.5 | 371.3 | 206.7 | 120.3 | 98.62 | 87.36 | 86.12 | 127.1 | 235.1 | 173.9 | 82.92 | 76.64 | 82.11 | 79.2 | 117.2 | 773.9 | 9999.9 | 9999.9 | 9999.9 | 428.6 | 64.35 | 44.96 | 34.29 | 24.13 | 17.94 | 19.13 | 13.81 | 13.66 | 14.31 | 11.62 | 10.41 | 10.63
385 | 138 | 122 | 111.3 | 142 | 145.4 | 147.5 | 172.4 | 191.8 | 154.2 | 157.8 | 120.8 | 165.8 | 206.5 | 304.3 | 432.6 | 634.2 | 810.7 | 835.2 | 786.4 | 548.5 | 315.2 | 201.3 | 114.7 | 82.23 | 99.61 | 76.83 | 88.03 | 139.1 | 206.2 | 136 | 84.01 | 63.48 | 77.3 | 65.67 | 124.6 | 782.5 | 9999.9 | 9999.9 | 9999.9 | 357.8 | 61.32 | 46.15 | 30.93 | 22.78 | 16.71 | 15.56 | 12.84 | 13.94 | 11.95 | 12.32 | 11.38
390 | 116.5 | 135.3 | 133.9 | 134.3 | 118.4 | 147.3 | 203.8 | 188.5 | 185.2 | 132.6 | 139.8 | 185.8 | 242.2 | 253.4 | 397.7 | 523.6 | 594.4 | 673.7 | 686.4 | 470.2 | 259.3 | 127.5 | 107.9 | 86.55 | 92.99 | 79.39 | 79.57 | 89.59 | 157.9 | 211.4 | 91.8 | 68.3 | 65.2 | 63.63 | 73.55 | 126.3 | 756.8 | 9999.9 | 9999.9 | 9999.9 | 378.5 | 62.19 | 40.22 | 31.02 | 21.53 | 17.77 | 15.76 | 13.14 | 12.94 | 11.38 | 11.58
395 | 136.1 | 119.2 | 120.4 | 134.9 | 163.1 | 149.9 | 198.3 | 163.9 | 165.8 | 148.9 | 126.9 | 142.2 | 201.4 | 249.1 | 297.9 | 436.2 | 569.2 | 552.8 | 496.1 | 377.1 | 219.2 | 153.8 | 107.7 | 90.04 | 89.72 | 79.9 | 94.2 | 85.66 | 97.15 | 179.3 | 172.9 | 74.52 | 66.94 | 57.06 | 60.16 | 71.61 | 111.2 | 775.4 | 9999.9 | 9999.9 | 9999.9 | 314.4 | 53.02 | 39.35 | 27.93 | 25.05 | 19.78 | 14.21 | 12.67 | 12.28 | 10.55
400 | 120.9 | 109 | 126.9 | 120.1 | 150 | 155.6 | 152.4 | 158.6 | 155.2 | 165.6 | 116.4 | 139.2 | 167.8 | 223 | 276.3 | 379.4 | 456.5 | 464 | 473 | 352.1 | 207.5 | 130.6 | 83.7 | 72.65 | 92.37 | 87.97 | 87.51 | 80.56 | 90.11 | 91.98 | 169.1 | 161 | 80.83 | 60.74 | 61.72 | 53.58 | 65.92 | 119 | 753.1 | 9999.9 | 9999.9 | 9999.9 | 278.6 | 55.04 | 35.11 | 27.21 | 20.16 | 15.08 | 15.13 | 12.93 | 13.98
405 | 129 | 158.9 | 125.1 | 96.53 | 129.9 | 132.5 | 143.8 | 116.4 | 143.9 | 123.2 | 113.9 | 111.8 | 152.4 | 188.5 | 245 | 284.4 | 341.2 | 398.4 | 370.3 | 276.3 | 147.2 | 133.9 | 99.34 | 95.17 | 84.78 | 82.24 | 101.5 | 74.29 | 91.53 | 85.33 | 107.6 | 190 | 127.3 | 60.76 | 60.33 | 58.64 | 58.34 | 59.53 | 107.2 | 729.5 | 9999.9 | 9999.9 | 9999.9 | 305 | 56.81 | 36.02 | 25.61 | 17.43 | 16.92 | 15.23 | 10.36
410 | 104 | 128.5 | 142.4 | 148.8 | 190.9 | 136.9 | 180.4 | 154.1 | 177.8 | 91.88 | 121.9 | 143.4 | 141.9 | 204.3 | 235.9 | 257.3 | 309.1 | 304.3 | 321.4 | 233.4 | 139.8 | 102.2 | 80.25 | 98.2 | 100.5 | 97.11 | 96.32 | 87.25 | 83.65 | 90.19 | 80.88 | 120.9 | 181.1 | 98.56 | 59.51 | 50.8 | 48.52 | 58.01 | 56.68 | 101.7 | 737.7 | 9999.9 | 9999.9 | 9999.9 | 271.5 | 50.21 | 34.9 | 23.97 | 17.97 | 17.07 | 11.81
415 | 126.7 | 187.5 | 225.1 | 132.9 | 126.4 | 128.9 | 148 | 158 | 186.7 | 129.4 | 131.6 | 125.3 | 128.7 | 175.8 | 171.8 | 254.5 | 251.3 | 278.6 | 274 | 205.2 | 149.5 | 107.3 | 102.7 | 90.49 | 97.53 | 108.7 | 87.64 | 91.15 | 91.69 | 93.8 | 72.11 | 87.78 | 143.5 | 170.2 | 87.6 | 60.85 | 54.24 | 47.03 | 47.16 | 46.61 | 96.13 | 747.1 | 9999.9 | 9999.9 | 9999.9 | 258.8 | 47.92 | 32.11 | 21.74 | 18.06 | 12.93
420 | 114.7 | 142.4 | 205.2 | 139.7 | 109.7 | 167.1 | 109 | 182.1 | 139.7 | 154 | 126.6 | 121.7 | 126.7 | 154.8 | 194.2 | 222.8 | 266.1 | 255.1 | 273.2 | 216.4 | 127 | 119.1 | 84.51 | 87.04 | 87.8 | 100.5 | 91.98 | 103.1 | 76.35 | 90.69 | 72.47 | 82.58 | 81.21 | 145.8 | 137 | 76.47 | 52.38 | 50.53 | 46.11 | 40.12 | 49.01 | 103.1 | 742.6 | 9999.9 | 9999.9 | 9999.9 | 241.8 | 45.05 | 34.36 | 23.95 | 14.93
425 | 116.7 | 160.7 | 159 | 244.4 | 135.3 | 118.2 | 156.8 | 140.9 | 151.8 | 127.3 | 118.6 | 108.5 | 79.85 | 136.1 | 132.1 | 201.3 | 220.4 | 230.2 | 241 | 164.8 | 122.7 | 105.3 | 97.69 | 86.75 | 86.29 | 77.47 | 95.04 | 79.3 | 92.47 | 90.39 | 68.11 | 74.53 | 75.65 | 87.19 | 145.3 | 107 | 56.05 | 46.6 | 45.2 | 31.93 | 41.16 | 42.63 | 90.6 | 746.8 | 9999.9 | 9999.9 | 9999.9 | 216.8 | 48.63 | 33.45 | 21.47
430 | 122.9 | 147 | 91.3 | 332 | 173.6 | 103.3 | 143.7 | 106.6 | 142.9 | 151.8 | 104.5 | 78.67 | 103.6 | 134.4 | 143.4 | 186.6 | 194 | 185.7 | 210.4 | 172.8 | 116.8 | 102.7 | 97.66 | 77.73 | 100.7 | 90.48 | 76.91 | 76.74 | 94.17 | 84.92 | 95.94 | 84.76 | 74.67 | 69.1 | 94.7 | 134.3 | 80.7 | 40.53 | 44.24 | 40.41 | 39.53 | 41.14 | 43.76 | 93.47 | 734.3 | 9999.9 | 9999.9 | 9999.9 | 214.6 | 43.84 | 29.89
435 | 108.8 | 148.7 | 141.1 | 230.6 | 376.3 | 148.7 | 146.3 | 182.1 | 142.4 | 109.6 | 76.23 | 139.1 | 112.1 | 136.8 | 147.4 | 173 | 193.1 | 198.1 | 158.9 | 146.2 | 103.4 | 100.9 | 87.47 | 81.5 | 88.64 | 86.82 | 81.6 | 91.47 | 86.04 | 79.66 | 71.58 | 74.45 | 77.66 | 65.47 | 66.45 | 94.85 | 109.1 | 56.83 | 42.14 | 44.04 | 35.7 | 31.79 | 35.84 | 36.04 | 87.94 | 745.5 | 9999.9 | 9999.9 | 9999.9 | 202.8 | 39.35
440 | 113.8 | 121.8 | 135.9 | 135.6 | 519.2 | 291.1 | 115.6 | 156.3 | 119.9 | 130.2 | 132.1 | 114.2 | 108.3 | 135.5 | 118.2 | 159.4 | 157.9 | 184.6 | 151 | 132 | 89.69 | 106.2 | 95.55 | 91.53 | 81.15 | 89.64 | 80.39 | 91.69 | 77.28 | 74.04 | 76.02 | 74.65 | 69.69 | 69.12 | 69.53 | 61.16 | 103.4 | 97.13 | 45.84 | 35.24 | 34.12 | 33.17 | 39.32 | 33.43 | 43.47 | 90.53 | 731.7 | 9999.9 | 9999.9 | 9999.9 | 172.7
445 | 140.2 | 159.5 | 135.8 | 123.2 | 307.4 | 661.3 | 193.7 | 147.8 | 141.3 | 115.5 | 119.1 | 133.9 | 156.8 | 156.2 | 143.8 | 125.3 | 137.9 | 176.4 | 131.7 | 110.9 | 79.37 | 86.71 | 79.85 | 89.49 | 83.89 | 73.4 | 77.28 | 73.22 | 92.7 | 80.81 | 65.1 | 86.16 | 68.95 | 78.28 | 59.07 | 52.03 | 63.82 | 99.4 | 69.1 | 40.47 | 32.55 | 27.63 | 31.02 | 34.24 | 34.62 | 38.67 | 82.7 | 715 | 9999.9 | 9999.9 | 9999.9
450 | 136.8 | 124.6 | 191.4 | 177 | 153.6 | 807 | 366 | 146.8 | 140.5 | 135.7 | 152.3 | 104.3 | 95.15 | 145.4 | 137.2 | 123.5 | 128.6 | 140.6 | 141 | 109.8 | 99.54 | 77.72 | 88.62 | 75.77 | 73.24 | 77.85 | 77.79 | 80.81 | 75.69 | 83.93 | 69.74 | 78.69 | 80.24 | 67.55 | 64.9 | 53.62 | 54.55 | 67.77 | 78.61 | 55.47 | 36.18 | 30.36 | 31.77 | 24.71 | 29.34 | 29.69 | 33.77 | 81.41 | 728.7 | 9999.9 | 9999.9
455 | 130.6 | 137.5 | 140.5 | 175.8 | 149.6 | 526.4 | 1200 | 179.6 | 120 | 131.7 | 119.4 | 144.6 | 98.1 | 117.7 | 123.4 | 146.8 | 131.6 | 155 | 131.3 | 107.7 | 85.87 | 78.75 | 68.81 | 76.95 | 70.04 | 70.08 | 74.96 | 83.53 | 80.9 | 67.97 | 73.45 | 68.24 | 66.96 | 66.09 | 59.12 | 51.12 | 48.86 | 42.36 | 68.73 | 76.59 | 44.68 | 25.97 | 25.22 | 28.01 | 27.29 | 22.11 | 26.83 | 32.53 | 83.72 | 734.9 | 9999.9
460 | 108.5 | 135.5 | 146.2 | 163.2 | 140.3 | 192.3 | 1417 | 555.3 | 124.5 | 115.5 | 119 | 112.6 | 115.2 | 92.59 | 130.6 | 119.6 | 178 | 121 | 117.1 | 117.8 | 101.7 | 87.3 | 85.31 | 80.37 | 73.45 | 77.48 | 77.45 | 72.83 | 76.34 | 90.02 | 75.86 | 70.82 | 74.75 | 66.2 | 65.65 | 51.44 | 49.16 | 39.87 | 45.12 | 66.62 | 57.78 | 33.67 | 29.9 | 27.87 | 26 | 27.55 | 23.86 | 29.94 | 34.64 | 79.55 | 703.6
465 | 141.4 | 136.4 | 175.1 | 147.1 | 192.7 | 142.7 | 946.6 | 1514 | 224.2 | 125.6 | 173.9 | 126.5 | 102.9 | 100.1 | 124.4 | 138 | 123.8 | 140.5 | 105.6 | 124.1 | 97.18 | 98.33 | 86.69 | 78.68 | 67.59 | 71.04 | 74.85 | 78.78 | 68.11 | 70.28 | 67.45 | 65.94 | 73.28 | 66.73 | 61.49 | 50.01 | 49.13 | 39.42 | 38.43 | 43.6 | 63.1 | 48.43 | 31.86 | 26.97 | 23.89 | 26.66 | 25.53 | 24.31 | 28.68 | 30.54 | 77.69
470 | 111.9 | 123.7 | 160.7 | 109.7 | 160.6 | 151.3 | 304.7 | 2309 | 840 | 161.2 | 133.4 | 77.94 | 102.3 | 111.9 | 134.2 | 135.8 | 124.9 | 124.4 | 129.1 | 100.9 | 85.43 | 96.41 | 73.4 | 59.97 | 63.43 | 64.55 | 52.74 | 64.86 | 66.57 | 73.73 | 67.64 | 61.19 | 58.97 | 64.34 | 56.99 | 53.47 | 41.09 | 38.45 | 36.55 | 32.85 | 48.28 | 53.45 | 38.17 | 30.85 | 27.29 | 27.58 | 25.54 | 24.87 | 25.98 | 31.03 | 30.05
475 | 107.5 | 157.7 | 118.9 | 104.7 | 95.51 | 129.3 | 139.2 | 1235 | 2014 | 224.8 | 128.2 | 115.9 | 128.9 | 105.7 | 108.9 | 116.1 | 110.2 | 111.7 | 98.49 | 87.93 | 88.25 | 76.66 | 79.14 | 69.38 | 68.1 | 61.77 | 68.56 | 49.68 | 59.6 | 69.27 | 60.73 | 55.42 | 51.07 | 61.4 | 51.36 | 49.08 | 44.51 | 33.37 | 36.55 | 28.58 | 32.58 | 48.19 | 48.9 | 35.17 | 25.25 | 25.56 | 24.57 | 22.41 | 20.2 | 19.45 | 24.1
480 | 98.48 | 115.3 | 137 | 150.7 | 121.3 | 113.2 | 163.8 | 369.9 | 2851 | 1026 | 80.7 | 92.47 | 99.66 | 121.9 | 77.93 | 120.2 | 119.1 | 135.4 | 85.71 | 95.59 | 83.03 | 74.17 | 60.69 | 56.59 | 78.46 | 60.34 | 63.11 | 58.07 | 56.12 | 59.4 | 60.43 | 54.2 | 46.26 | 46.56 | 47.46 | 42.81 | 38.12 | 39.27 | 28.78 | 25.16 | 29.9 | 37.81 | 52.63 | 41.16 | 23.21 | 21.49 | 23.75 | 22.75 | 22.86 | 18.53 | 17.18
485 | 125 | 127.7 | 120.5 | 134.5 | 132.2 | 130.7 | 121.3 | 158 | 1731 | 2468 | 219.3 | 92.6 | 105.1 | 101.2 | 106.3 | 92.59 | 113.1 | 110 | 78.82 | 98.08 | 79.08 | 60.55 | 74.36 | 61.42 | 55.3 | 67.72 | 52.95 | 60.34 | 59.39 | 57.22 | 51.63 | 45.02 | 44.61 | 44.2 | 46.27 | 36.19 | 43.74 | 34.33 | 28.36 | 29.77 | 24.56 | 27.49 | 33.82 | 48.38 | 34.28 | 23.03 | 20.52 | 21.22 | 17.8 | 18.45 | 16.71
490 | 93.2 | 89.04 | 91.89 | 102.9 | 115.7 | 150 | 144.6 | 111.7 | 460.7 | 3340 | 866.2 | 94.44 | 115.9 | 109.8 | 135.1 | 96.56 | 107.1 | 95.35 | 97.4 | 108.9 | 91.22 | 76.61 | 51.73 | 61.31 | 60.8 | 63.58 | 58 | 47.72 | 55.96 | 54.55 | 46.7 | 44.4 | 55.25 | 40.89 | 42.88 | 46.3 | 37.76 | 36.95 | 27.45 | 29.18 | 25.78 | 27.97 | 21.63 | 37.86 | 43.36 | 27.1 | 21.95 | 18.54 | 19.09 | 19.39 | 13.98
495 | 110.6 | 98.2 | 139.8 | 103.1 | 119.3 | 97.9 | 118.5 | 132.7 | 166.9 | 2100 | 2681 | 175.6 | 111.3 | 84.7 | 123.4 | 119.2 | 113.5 | 106.3 | 91.05 | 74.18 | 49.11 | 61.38 | 60.24 | 65.26 | 48.65 | 60.27 | 55.88 | 47.83 | 52.39 | 48.07 | 47.45 | 47.71 | 46.99 | 38.68 | 49.56 | 41.17 | 35.58 | 34.58 | 31.9 | 25.56 | 27.09 | 27.41 | 25.81 | 26.11 | 36.19 | 35.68 | 22.07 | 19.88 | 18.52 | 19.15 | 16.07
500 | 140.8 | 88.04 | 146 | 105.3 | 90.21 | 111.3 | 116.6 | 153.8 | 122.1 | 779.5 | 3530 | 631.2 | 115.7 | 102.3 | 102.2 | 94.24 | 80.81 | 95.49 | 94.48 | 86.26 | 78.7 | 59.74 | 60.53 | 55.61 | 36.65 | 43.69 | 53.18 | 54.89 | 55.69 | 47.03 | 52.92 | 52.91 | 52.87 | 41.79 | 41.27 | 41.1 | 33.72 | 27.82 | 29.55 | 23.94 | 25.87 | 23.49 | 25.31 | 20.06 | 23.88 | 35.42 | 33.4 | 19.73 | 19.85 | 18.61 | 16.65