## Sheet1
Report date: | 15:41:58, 04/09/2024
Sample: | 1
File name:
Run date: | 15:38:44, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/285.0 | 97.95
2 | 205.0/470.0 | 156.1
3 | 210.0/275.0 | 100.1
4 | 210.0/290.0 | 125.7
5 | 210.0/355.0 | 173.8
6 | 210.0/395.0 | 145.5
7 | 210.0/465.0 | 171
8 | 210.0/485.0 | 143.7
9 | 215.0/280.0 | 103.9
10 | 215.0/300.0 | 156.5
11 | 215.0/385.0 | 163.9
12 | 215.0/460.0 | 159.7
13 | 215.0/475.0 | 153.7
14 | 215.0/490.0 | 122.6
15 | 220.0/255.0 | 137.5
16 | 220.0/290.0 | 115.1
17 | 220.0/380.0 | 167.4
18 | 225.0/275.0 | 144.3
19 | 225.0/395.0 | 206.3
20 | 225.0/420.0 | 157.2
21 | 230.0/330.0 | 526.9
22 | 230.0/350.0 | 438.7
23 | 230.0/380.0 | 213.2
24 | 235.0/270.0 | 110.5
25 | 235.0/335.0 | 503.7
26 | 235.0/375.0 | 216
27 | 235.0/385.0 | 236.7
28 | 235.0/395.0 | 202.7
29 | 235.0/435.0 | 183.7
30 | 240.0/265.0 | 148.7
31 | 240.0/275.0 | 157.9
32 | 240.0/405.0 | 153.9
33 | 240.0/445.0 | 165.4
34 | 245.0/270.0 | 130.8
35 | 245.0/310.0 | 237.5
36 | 245.0/365.0 | 238.1
37 | 250.0/390.0 | 206.2
38 | 250.0/405.0 | 159.8
39 | 250.0/415.0 | 159.2
40 | 250.0/430.0 | 141.9
41 | 250.0/455.0 | 130.5
42 | 255.0/460.0 | 137.7
43 | 260.0/465.0 | 122.1
44 | 260.0/485.0 | 131.5
45 | 265.0/450.0 | 138
46 | 265.0/470.0 | 127.4
47 | 270.0/460.0 | 130.2
48 | 270.0/480.0 | 112.3
49 | 275.0/465.0 | 155.8
50 | 275.0/490.0 | 110.4
51 | 280.0/430.0 | 181.9
52 | 280.0/445.0 | 169.7
53 | 280.0/480.0 | 127.9
54 | 285.0/335.0 | 3155
55 | 285.0/450.0 | 175.8
56 | 285.0/470.0 | 122.5
57 | 285.0/490.0 | 100.6
58 | 290.0/255.0 | 79
59 | 290.0/430.0 | 203.9
60 | 290.0/460.0 | 138.2
61 | 300.0/265.0 | 63.11
62 | 300.0/450.0 | 111.9
63 | 300.0/485.0 | 91.24
64 | 305.0/270.0 | 57.14
65 | 305.0/455.0 | 106.4
66 | 305.0/475.0 | 84.49
67 | 310.0/280.0 | 60.43
68 | 310.0/415.0 | 106.4
69 | 310.0/430.0 | 91.01
70 | 315.0/285.0 | 64.85
71 | 315.0/355.0 | 221.6
72 | 315.0/410.0 | 93.34
73 | 315.0/470.0 | 77.42
74 | 320.0/360.0 | 248.1
75 | 320.0/405.0 | 84.04
76 | 320.0/420.0 | 84.71
77 | 320.0/435.0 | 88.45
78 | 320.0/490.0 | 65.63
79 | 325.0/270.0 | 38.42
80 | 325.0/365.0 | 236.9
81 | 325.0/455.0 | 80.15
82 | 330.0/280.0 | 44.39
83 | 330.0/290.0 | 38.58
84 | 330.0/370.0 | 250.2
85 | 330.0/395.0 | 110.6
86 | 330.0/415.0 | 99.4
87 | 330.0/440.0 | 85.25
88 | 330.0/450.0 | 90.82
89 | 335.0/255.0 | 28.05
90 | 335.0/275.0 | 31.46
91 | 335.0/380.0 | 205.1
92 | 335.0/470.0 | 70.89
93 | 340.0/270.0 | 31.52
94 | 340.0/385.0 | 224.2
95 | 340.0/415.0 | 81.14
96 | 340.0/445.0 | 83.6
97 | 340.0/465.0 | 75.93
98 | 340.0/485.0 | 63.64
99 | 345.0/275.0 | 29.71
100 | 345.0/300.0 | 33.92
101 | 345.0/390.0 | 193.8
102 | 345.0/420.0 | 81.42
103 | 345.0/435.0 | 85.24
104 | 345.0/450.0 | 80.75
105 | 350.0/260.0 | 25.37
106 | 350.0/285.0 | 29.2
107 | 350.0/305.0 | 30.31
108 | 350.0/395.0 | 186.5
109 | 350.0/430.0 | 95.99
110 | 350.0/490.0 | 54.88
111 | 355.0/295.0 | 26.62
112 | 355.0/320.0 | 40.21
113 | 355.0/405.0 | 174
114 | 355.0/450.0 | 80.8
115 | 355.0/485.0 | 57.5
116 | 360.0/275.0 | 27.75
117 | 360.0/300.0 | 24.91
118 | 360.0/410.0 | 165.8
119 | 365.0/420.0 | 164.8
120 | 365.0/440.0 | 69.21
121 | 370.0/280.0 | 24.05
122 | 370.0/290.0 | 23.48
123 | 370.0/310.0 | 24.63
124 | 370.0/400.0 | 64.53
125 | 370.0/425.0 | 145.2
126 | 370.0/445.0 | 65.98
127 | 370.0/470.0 | 63.76
128 | 375.0/260.0 | 27.91
129 | 375.0/270.0 | 22.59
130 | 375.0/295.0 | 22.61
131 | 375.0/430.0 | 116.3
132 | 380.0/435.0 | 105
133 | 380.0/485.0 | 40.57
134 | 385.0/265.0 | 26.53
135 | 385.0/290.0 | 19.67
136 | 385.0/300.0 | 19.23
137 | 385.0/320.0 | 18.23
138 | 385.0/445.0 | 91.06
139 | 385.0/465.0 | 47.01
140 | 390.0/340.0 | 23.2
141 | 390.0/450.0 | 81.15
142 | 395.0/280.0 | 21.74
143 | 395.0/305.0 | 16.67
144 | 395.0/430.0 | 36.86
145 | 395.0/455.0 | 69.5
146 | 400.0/330.0 | 16.17
147 | 400.0/345.0 | 18.48
148 | 400.0/465.0 | 62.3
149 | 405.0/295.0 | 18.6
150 | 405.0/470.0 | 61.98
151 | 410.0/270.0 | 17.86
152 | 410.0/320.0 | 15.28
153 | 410.0/350.0 | 18.01
154 | 410.0/475.0 | 47.58
155 | 415.0/280.0 | 13.43
156 | 415.0/450.0 | 28.81
157 | 415.0/485.0 | 43.76
158 | 420.0/265.0 | 16.52
159 | 420.0/310.0 | 15.34
160 | 420.0/490.0 | 42.8
161 | 425.0/270.0 | 15.26
162 | 425.0/305.0 | 16.46
163 | 425.0/335.0 | 14.33
164 | 425.0/350.0 | 12.94
165 | 430.0/280.0 | 13.71
166 | 430.0/320.0 | 14.29
167 | 435.0/315.0 | 15.84
168 | 440.0/295.0 | 14.95
169 | 440.0/365.0 | 11.89
170 | 445.0/325.0 | 15.48
171 | 445.0/375.0 | 12.28
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 139.4 | 87.38 | 71.96 | 114.5 | 72.83 | 116.7 | 131.5 | 109.3 | 113.1 | 2820 | 8729 | 2569 | 87.51 | 61.66 | 60.82 | 68.1 | 80.73 | 57.53 | 54.46 | 53.38 | 37.91 | 43.9 | 41.6 | 31.74 | 40.69 | 19.9 | 30.64 | 22.95 | 25.13 | 22.01 | 21.94 | 16.46 | 21.88 | 30.27 | 26.98 | 18.36 | 21.12 | 17.98 | 21.96 | 19.13 | 22.24 | 13.92 | 12.26 | 14.22 | 11.08 | 10.88 | 12.31 | 10.49 | 7.574 | 6.976 | 5.204
255 | 109.2 | 87.49 | 84.21 | 81.38 | 137.5 | 109.4 | 95.72 | 120.8 | 99.58 | 267 | 2532 | 9831 | 5271 | 225.7 | 60.18 | 69.82 | 71.3 | 66.84 | 79 | 51.37 | 51.28 | 50.83 | 39.15 | 37.12 | 29.71 | 26.91 | 23.18 | 28.05 | 26.67 | 25.46 | 22.07 | 18.14 | 21.65 | 24.42 | 20.99 | 20.17 | 21.03 | 22.45 | 18.33 | 14.23 | 19.43 | 17.69 | 14.24 | 13.74 | 15.05 | 10.02 | 10.68 | 11.44 | 9.007 | 8.787 | 5.604
260 | 95.46 | 74.39 | 91.46 | 106.5 | 97.11 | 109.5 | 97.54 | 108.4 | 147.7 | 128.9 | 269.2 | 3246 | 9999.9 | 6868 | 305.5 | 93.11 | 64.32 | 68.12 | 60.12 | 57.11 | 56.01 | 44.39 | 39.03 | 37.5 | 38 | 31.77 | 24.34 | 26.96 | 26.84 | 20.68 | 25.37 | 22.66 | 20.85 | 20.22 | 22.94 | 27.91 | 23.77 | 16.55 | 19.08 | 14.02 | 14.4 | 16.52 | 11.33 | 13.92 | 11.58 | 13.33 | 12.55 | 11.56 | 9.273 | 9.734 | 7.281
265 | 101.3 | 98.88 | 87.63 | 80.06 | 127.3 | 95.95 | 106.8 | 82.99 | 148.7 | 113.2 | 110.4 | 289.8 | 4256 | 9999.9 | 9434 | 377.4 | 95.86 | 61.88 | 49.1 | 51.08 | 63.11 | 52.56 | 27.24 | 34.64 | 37.2 | 36.71 | 27.56 | 28.2 | 21.07 | 26.3 | 24.07 | 22.21 | 16.77 | 21.37 | 17.64 | 20.18 | 20.7 | 26.53 | 18.69 | 15.28 | 13.97 | 14.02 | 15.85 | 13.59 | 16.52 | 13.52 | 12.95 | 10.94 | 10.41 | 11.35 | 7.788
270 | 88.22 | 96.29 | 54.6 | 85.35 | 87.69 | 87.39 | 83.58 | 110.5 | 86.73 | 130.8 | 116.1 | 108.7 | 344.9 | 5999 | 9999.9 | 9999.9 | 434.5 | 49.5 | 57.01 | 57.9 | 42.32 | 57.14 | 37.69 | 29.84 | 34.91 | 38.42 | 37.43 | 26.49 | 31.52 | 26.65 | 17.47 | 18.62 | 16.29 | 17.08 | 16.56 | 22.59 | 21.09 | 19.1 | 17.91 | 14.57 | 12.55 | 14.89 | 17.86 | 13.55 | 14.62 | 15.26 | 11.57 | 10.57 | 10.48 | 9.727 | 8.094
275 | 99.14 | 81.76 | 100.1 | 81.87 | 84.17 | 144.3 | 124.8 | 74.15 | 157.9 | 73.25 | 99.76 | 105.9 | 108 | 469.9 | 7885 | 9999.9 | 9999.9 | 521.7 | 75.06 | 80.76 | 66.47 | 52.38 | 59.77 | 33.85 | 35.75 | 30.81 | 28.77 | 31.46 | 24.35 | 29.71 | 25.92 | 22.59 | 27.75 | 25.71 | 16.76 | 18.41 | 14.11 | 20.85 | 19.26 | 15.65 | 17.04 | 14.35 | 13.44 | 11.85 | 14.91 | 15.25 | 13.16 | 9.533 | 9.416 | 11.22 | 8.713
280 | 117 | 84.73 | 96.8 | 103.9 | 92.66 | 119.8 | 109.6 | 95.24 | 110.9 | 112.4 | 77.08 | 117.7 | 129.7 | 113.8 | 604.6 | 9999.9 | 9999.9 | 9999.9 | 530.9 | 69.14 | 54.24 | 51.24 | 60.43 | 40.13 | 35.55 | 41.55 | 44.39 | 25.71 | 21.45 | 25.65 | 22.38 | 24.17 | 21.01 | 22.28 | 24.05 | 19.35 | 18.09 | 14.02 | 15.95 | 21.74 | 21.12 | 14.32 | 11.88 | 13.43 | 11.34 | 12.86 | 13.71 | 9.654 | 9.081 | 12.02 | 8.165
285 | 90.73 | 97.95 | 82.53 | 77.85 | 81.34 | 94.91 | 89.69 | 108.6 | 93.71 | 115.3 | 113.9 | 116.2 | 163.1 | 134 | 171.3 | 766.2 | 9999.9 | 9999.9 | 9999.9 | 680.3 | 60.48 | 64.98 | 53.72 | 64.85 | 34.8 | 36.83 | 31.71 | 34.47 | 26.62 | 24.51 | 29.2 | 24.63 | 22.16 | 21.36 | 17.9 | 20.45 | 15.12 | 14.59 | 14.33 | 16.49 | 17.84 | 17.61 | 13.13 | 11.47 | 11.82 | 12.21 | 13.44 | 11.15 | 10.88 | 9.285 | 9.213
290 | 77.89 | 71.62 | 125.7 | 105.5 | 115.1 | 110.7 | 116.6 | 160.1 | 124.9 | 98.09 | 111.9 | 103.2 | 201.1 | 231.7 | 272.7 | 337.6 | 925 | 9999.9 | 9999.9 | 9999.9 | 656.8 | 81.84 | 74.81 | 56.53 | 38.39 | 35.82 | 38.58 | 35.56 | 24.11 | 22.98 | 27.81 | 19.3 | 18.62 | 19.8 | 23.48 | 20.47 | 16.82 | 19.67 | 12.69 | 14.89 | 14.72 | 15.18 | 13.77 | 14.05 | 10.95 | 11.3 | 11.97 | 12.26 | 11.8 | 10.8 | 10.78
295 | 102.9 | 97.61 | 124.2 | 127.1 | 104.3 | 190.9 | 180.6 | 193.9 | 151.4 | 114 | 148.4 | 138.7 | 181.2 | 347.1 | 444.4 | 465.6 | 640.5 | 1185 | 9999.9 | 9999.9 | 9999.9 | 703.6 | 84.63 | 58.54 | 57.26 | 36.46 | 36.72 | 29.37 | 27.26 | 25.58 | 22.52 | 26.62 | 20.61 | 17.65 | 15.63 | 22.61 | 16.81 | 14.42 | 15.48 | 14.21 | 16.11 | 18.6 | 15.77 | 17.08 | 12.76 | 10.03 | 11.15 | 11.7 | 14.95 | 10.48 | 8.525
300 | 107.5 | 118.4 | 106.5 | 156.5 | 118.9 | 195 | 206.3 | 213.1 | 160 | 165.7 | 151.1 | 164.7 | 229.3 | 353.3 | 609.5 | 802.6 | 876.1 | 972.5 | 1360 | 9999.9 | 9999.9 | 9999.9 | 688 | 79.97 | 56.9 | 53.78 | 29.92 | 36.94 | 30.81 | 33.92 | 22.58 | 23.41 | 24.91 | 16.06 | 19.63 | 20.38 | 16 | 19.23 | 16.6 | 13.24 | 14.33 | 13.07 | 14.62 | 12.72 | 12.66 | 14.55 | 12.26 | 11.53 | 10.89 | 10.73 | 11.09
305 | 76.51 | 110.3 | 103.9 | 142.6 | 178 | 284.1 | 294.8 | 236.6 | 261.3 | 162.2 | 165.5 | 190.2 | 305.7 | 463.6 | 787.5 | 1187 | 1447 | 1388 | 1133 | 1268 | 9999.9 | 9999.9 | 9999.9 | 621.4 | 76.42 | 64.32 | 48.04 | 39.49 | 36 | 26.95 | 30.31 | 27.31 | 23.58 | 24.52 | 20.58 | 21.86 | 14.36 | 16.19 | 15.1 | 16.67 | 13.33 | 13.39 | 13.69 | 13.54 | 14.16 | 16.46 | 9.858 | 12.29 | 10.32 | 11.24 | 14.52
310 | 104.7 | 135.5 | 132.5 | 152.6 | 222.9 | 285.9 | 429 | 344.3 | 206.1 | 237.5 | 188.5 | 255.1 | 366.3 | 622.6 | 963.2 | 1393 | 1806 | 2018 | 1491 | 938 | 1026 | 9999.9 | 9999.9 | 9999.9 | 607 | 86.35 | 59.42 | 44.53 | 44.11 | 26.69 | 19.44 | 24.63 | 25.79 | 21.21 | 24.63 | 23.12 | 22.74 | 17.43 | 16.9 | 14.78 | 14.06 | 13.94 | 10.67 | 11.82 | 15.34 | 14.3 | 13.83 | 13.47 | 12.75 | 11.49 | 11.38
315 | 102.6 | 87.18 | 123.2 | 164 | 183.7 | 327.9 | 428.6 | 387.5 | 304.1 | 205.3 | 169.1 | 299.4 | 454.7 | 781.2 | 1249 | 1657 | 2145 | 2354 | 2028 | 1242 | 597.2 | 874.6 | 9999.9 | 9999.9 | 9999.9 | 647.1 | 73.7 | 62.58 | 51.13 | 35.41 | 31.48 | 34.03 | 30.65 | 27.05 | 22.02 | 18.59 | 19.35 | 18.02 | 16.36 | 16.75 | 11.63 | 10.8 | 9.734 | 10.87 | 12.75 | 12.25 | 14.26 | 15.84 | 13.25 | 10.6 | 11.1
320 | 118.9 | 130.5 | 104.1 | 147.6 | 248.9 | 342.9 | 498 | 346.8 | 315.3 | 232.7 | 289.8 | 345.8 | 518.6 | 865.2 | 1366 | 1824 | 2304 | 2613 | 2611 | 1475 | 661.2 | 307.7 | 781.6 | 9999.9 | 9999.9 | 9999.9 | 542.5 | 77.72 | 59.71 | 44.51 | 31.76 | 40.21 | 30.36 | 27.26 | 19.14 | 18 | 15.29 | 18.23 | 14.61 | 12.17 | 10.75 | 10.47 | 15.28 | 11.48 | 11.19 | 10.62 | 14.29 | 14.1 | 13.01 | 11.59 | 10.92
325 | 108.1 | 167.2 | 118 | 168.7 | 264.4 | 359.1 | 497.1 | 443.5 | 324.7 | 200.8 | 291.7 | 412 | 575 | 930.7 | 1434 | 1975 | 2762 | 2872 | 2860 | 1875 | 784.4 | 309.4 | 183 | 758.2 | 9999.9 | 9999.9 | 9999.9 | 592.5 | 78.18 | 57.21 | 44.05 | 34.74 | 33.63 | 28.93 | 28.24 | 24.37 | 23.87 | 17.41 | 15.63 | 15.25 | 14.25 | 10.13 | 13.06 | 12.62 | 10.69 | 11.55 | 14.19 | 11.8 | 14.98 | 15.48 | 11.26
330 | 91.93 | 124.9 | 131.1 | 219.4 | 246.8 | 372 | 526.9 | 488 | 244.9 | 271.3 | 277.9 | 390.3 | 661.4 | 989.2 | 1533 | 2050 | 2859 | 3048 | 2769 | 2069 | 911.5 | 321.8 | 159.6 | 170.9 | 780.4 | 9999.9 | 9999.9 | 9999.9 | 585.8 | 83.13 | 58.8 | 44.57 | 35.07 | 31.56 | 32.47 | 25.06 | 22.29 | 14.86 | 15.95 | 15.84 | 16.17 | 14.08 | 14.56 | 11.8 | 12.14 | 11.2 | 11 | 9.157 | 13.01 | 13.49 | 13.01
335 | 115 | 103.5 | 165.6 | 203.8 | 280.1 | 335.7 | 492 | 503.7 | 310.4 | 241.9 | 351.5 | 366.3 | 663.9 | 943.9 | 1479 | 2216 | 2841 | 3155 | 3018 | 1919 | 1031 | 411.2 | 127.7 | 104.4 | 144.4 | 776.8 | 9999.9 | 9999.9 | 9999.9 | 561.8 | 74.87 | 50.69 | 44.99 | 36.9 | 28.17 | 27.21 | 21.4 | 19.52 | 18.26 | 15.89 | 15.04 | 14.14 | 15.23 | 11.78 | 10.2 | 14.33 | 12.19 | 10.52 | 11.91 | 12.15 | 14.45
340 | 82.35 | 144.8 | 125 | 168.9 | 248.3 | 362.3 | 419.9 | 374.4 | 297.3 | 243.7 | 278 | 374.1 | 680.1 | 935.3 | 1476 | 2111 | 2556 | 3088 | 2824 | 1735 | 894.8 | 563.5 | 194.9 | 101.6 | 67.64 | 120.7 | 765.2 | 9999.9 | 9999.9 | 9999.9 | 589 | 86.32 | 56.91 | 39.5 | 34.53 | 31.3 | 22.67 | 18.79 | 23.2 | 17.73 | 14.13 | 12.94 | 15.65 | 11 | 10.84 | 10.67 | 9.314 | 11.93 | 11.45 | 10.27 | 12.1
345 | 105.6 | 122.2 | 148.4 | 185.6 | 192.9 | 351.1 | 401.2 | 354.3 | 256.4 | 224.7 | 243.3 | 383.3 | 578.9 | 950.9 | 1457 | 1889 | 2771 | 2782 | 2535 | 1699 | 811.5 | 441.7 | 321.9 | 101.4 | 79.05 | 76.83 | 143.1 | 751.8 | 9999.9 | 9999.9 | 9999.9 | 496.9 | 73.16 | 55.5 | 37.36 | 33.98 | 25.43 | 20.94 | 17.58 | 14.33 | 18.48 | 13.36 | 16.63 | 12.47 | 9.112 | 10.97 | 12.35 | 12.04 | 12.41 | 10.06 | 10.86
350 | 102.3 | 141.4 | 138.9 | 178.2 | 225.4 | 344.9 | 438.7 | 385.6 | 231.5 | 246.2 | 240.2 | 389.3 | 498.9 | 814.5 | 1262 | 1674 | 2127 | 2453 | 2212 | 1510 | 713.5 | 298.7 | 294.7 | 202.6 | 95.26 | 67.3 | 95.85 | 123.4 | 759.6 | 9999.9 | 9999.9 | 9999.9 | 499.6 | 70.72 | 52.28 | 45.06 | 29.32 | 23.61 | 20.07 | 20.07 | 17.17 | 12.62 | 18.01 | 12.05 | 11.67 | 12.94 | 10.48 | 8.995 | 9.593 | 9.938 | 7.755
355 | 97.29 | 136.2 | 173.8 | 100.6 | 229.2 | 294.8 | 370.9 | 312.9 | 256.7 | 198.3 | 209.7 | 330.6 | 449.6 | 712.9 | 1039 | 1516 | 2084 | 2111 | 1982 | 1333 | 645.4 | 303.4 | 165 | 221.6 | 187.3 | 81.25 | 103.7 | 67.7 | 124.8 | 764.8 | 9999.9 | 9999.9 | 9999.9 | 475.1 | 71.13 | 54.71 | 37.11 | 24.83 | 22.82 | 16.39 | 18.21 | 17.62 | 12.96 | 15.26 | 12.25 | 11.46 | 11.37 | 11.45 | 8.517 | 10.52 | 8.222
360 | 123.4 | 175.7 | 129.3 | 167.7 | 162 | 247.4 | 364 | 297.5 | 191.6 | 157.8 | 277.3 | 288.4 | 406.8 | 615.5 | 933.8 | 1318 | 1712 | 1917 | 1772 | 1153 | 586.8 | 281.8 | 112.3 | 124.5 | 248.1 | 150 | 96 | 73.39 | 84.92 | 112.3 | 741.6 | 9999.9 | 9999.9 | 9999.9 | 405.6 | 70.87 | 54.71 | 35.83 | 28.42 | 22.99 | 18.42 | 14 | 14.74 | 13.96 | 12.89 | 13.3 | 13.01 | 9.797 | 9.411 | 11.45 | 8.952
365 | 118.8 | 142.7 | 116.4 | 174.9 | 195.7 | 258.6 | 319.3 | 239.7 | 180.4 | 238.1 | 194.5 | 216.2 | 346.8 | 556.1 | 789.6 | 1245 | 1361 | 1721 | 1470 | 930.6 | 470.5 | 215.6 | 124.2 | 80.37 | 164 | 236.9 | 149.9 | 77.01 | 65.82 | 78.88 | 119.4 | 739.8 | 9999.9 | 9999.9 | 9999.9 | 405.8 | 66.01 | 46.08 | 32.52 | 22.28 | 17.48 | 17.46 | 17.25 | 17.06 | 13.3 | 14.15 | 9.227 | 9.881 | 11.89 | 9.61 | 8.622
370 | 133.5 | 117.7 | 130.8 | 128 | 189.7 | 213 | 256.6 | 195.2 | 145.7 | 182.8 | 205.4 | 183.8 | 343.4 | 417.2 | 715.3 | 1008 | 1138 | 1358 | 1187 | 867.6 | 412.6 | 185.5 | 99.29 | 84.39 | 97.28 | 168.6 | 250.2 | 98.6 | 71.91 | 67.6 | 76.12 | 111.7 | 774.1 | 9999.9 | 9999.9 | 9999.9 | 374.5 | 60.46 | 46.44 | 33.19 | 20.72 | 20.83 | 19.24 | 14.27 | 13.51 | 15.18 | 12.93 | 10.25 | 9.513 | 12.08 | 11.36
375 | 110 | 114.8 | 126.2 | 132 | 120.7 | 183.3 | 201.8 | 216 | 176.4 | 175 | 174.8 | 185.7 | 237.2 | 401.2 | 646.2 | 725.6 | 969.7 | 1146 | 1104 | 673 | 368.1 | 162.1 | 91.86 | 93.59 | 90.4 | 92.32 | 207.4 | 179.5 | 90.85 | 62.19 | 72 | 72.1 | 124.2 | 766.3 | 9999.9 | 9999.9 | 9999.9 | 327.1 | 61 | 38.79 | 27.37 | 24.42 | 19.64 | 15.7 | 15.58 | 14.38 | 13.11 | 10.99 | 10.85 | 12.28 | 9.031
380 | 112.8 | 96.26 | 126.9 | 153.2 | 167.4 | 132.5 | 213.2 | 204.5 | 146.8 | 159.4 | 168.8 | 157.5 | 271.9 | 416 | 423.9 | 590.4 | 819 | 958.3 | 889.1 | 552.9 | 280.2 | 171.9 | 101 | 77.66 | 81.97 | 75.34 | 124 | 205.1 | 158.6 | 60.26 | 66.08 | 55.62 | 66.05 | 116.7 | 755 | 9999.9 | 9999.9 | 9999.9 | 321.7 | 49.35 | 35.81 | 24.52 | 23.77 | 20.09 | 16.73 | 15.68 | 12.01 | 11.78 | 12.5 | 10.69 | 9.739
385 | 132.6 | 113.9 | 116.9 | 163.9 | 134.3 | 168.4 | 195.2 | 236.7 | 151.6 | 152.9 | 147.7 | 135.1 | 274.9 | 298.2 | 351.9 | 536.5 | 659.4 | 805.1 | 680.8 | 460.9 | 264.3 | 128.2 | 90.39 | 81.77 | 82.64 | 91.59 | 118.1 | 125.7 | 224.2 | 119.1 | 66.16 | 58.9 | 63.02 | 67.82 | 106.6 | 747.3 | 9999.9 | 9999.9 | 9999.9 | 271.9 | 50.73 | 33.12 | 27.25 | 19.95 | 19.99 | 11.61 | 13.05 | 11.73 | 9.327 | 13.62 | 10.06
390 | 84.14 | 106.6 | 102.1 | 126 | 93.2 | 138.5 | 173.6 | 156 | 144.5 | 151.9 | 206.2 | 176.6 | 180.3 | 244.7 | 344.2 | 417.3 | 528.1 | 622.6 | 595 | 397.4 | 216.3 | 124 | 97.42 | 88.82 | 75.93 | 84.93 | 90.91 | 79.07 | 129 | 193.8 | 98.02 | 63.03 | 57.74 | 58.77 | 64.63 | 103.4 | 740.6 | 9999.9 | 9999.9 | 9999.9 | 303.4 | 42.26 | 33.59 | 24.97 | 21.83 | 15 | 14.73 | 13.72 | 11.99 | 12.33 | 9.842
395 | 117.5 | 117.2 | 145.5 | 114 | 173.8 | 206.3 | 159.9 | 202.7 | 164.1 | 142.6 | 129.5 | 114.7 | 201.6 | 231.7 | 249.9 | 422.3 | 403.5 | 575.9 | 512.5 | 318.4 | 200.4 | 126.4 | 93.68 | 87.05 | 78.09 | 88.5 | 110.6 | 73.08 | 74.86 | 159.1 | 186.5 | 81.77 | 50.88 | 58.67 | 54.46 | 52.38 | 106.1 | 743.9 | 9999.9 | 9999.9 | 9999.9 | 264.9 | 47.99 | 34.97 | 22.54 | 20.32 | 16.24 | 13.25 | 12.9 | 13.48 | 10.08
400 | 110 | 84.37 | 132.4 | 124.3 | 165.2 | 100.8 | 159 | 128 | 107.2 | 113.5 | 134.9 | 120.1 | 141 | 203.3 | 223.6 | 302.3 | 352.8 | 426.7 | 346.6 | 275.9 | 167.6 | 119.5 | 91.2 | 70.92 | 69.96 | 73.91 | 79.73 | 82.46 | 72.57 | 104.8 | 175.1 | 131.8 | 76.54 | 49.94 | 64.53 | 56.34 | 54.24 | 100.7 | 733.8 | 9999.9 | 9999.9 | 9999.9 | 238.1 | 43.98 | 31.73 | 24.16 | 19.43 | 16.76 | 14 | 13.26 | 9.156
405 | 76.86 | 155.2 | 100.7 | 97.64 | 140.3 | 113.1 | 151.7 | 153.6 | 153.9 | 133.5 | 159.8 | 118.8 | 147.3 | 177.8 | 223.5 | 278 | 328.7 | 334.5 | 330.9 | 232.6 | 159.1 | 114.9 | 84.55 | 74.27 | 84.04 | 73.7 | 89.2 | 86.31 | 69.5 | 75.41 | 101.6 | 174 | 120.5 | 65.04 | 53.06 | 44.6 | 57.82 | 45.61 | 91.62 | 709.7 | 9999.9 | 9999.9 | 9999.9 | 246.9 | 44.72 | 32.07 | 20.57 | 15.04 | 16.03 | 12.27 | 11.66
410 | 106.2 | 132.8 | 148.1 | 107.8 | 146.6 | 94.85 | 154.6 | 124.7 | 101.6 | 129.8 | 131.2 | 106.7 | 114.6 | 147.2 | 163.7 | 215.3 | 289.9 | 299.2 | 309.3 | 218 | 130.3 | 96.33 | 79.72 | 93.34 | 70.09 | 79.13 | 98.44 | 80.43 | 65.61 | 71.7 | 67.25 | 102.6 | 165.8 | 78.13 | 53.1 | 49.09 | 50.06 | 44.47 | 52.55 | 88.95 | 715 | 9999.9 | 9999.9 | 9999.9 | 213.8 | 41.57 | 31.25 | 20.02 | 14.79 | 15.09 | 11.38
415 | 126.6 | 136.1 | 201.6 | 92.61 | 104.9 | 139.3 | 126.1 | 139.6 | 138 | 146.7 | 159.2 | 109.7 | 109.3 | 144.6 | 162.9 | 166.6 | 213.7 | 241.1 | 246.4 | 186 | 129.4 | 86.26 | 106.4 | 89.26 | 78.57 | 66.49 | 99.4 | 76.11 | 81.14 | 72.82 | 78.71 | 76.56 | 145 | 156.5 | 76.29 | 62.11 | 47.88 | 40.33 | 44.79 | 42.05 | 83.56 | 716.8 | 9999.9 | 9999.9 | 9999.9 | 197.5 | 41.01 | 29.53 | 21.17 | 14.49 | 13.22
420 | 81.37 | 96.82 | 155.8 | 152.5 | 157 | 157.2 | 143.2 | 164.4 | 139.6 | 111.4 | 108.9 | 105.7 | 139.2 | 174.1 | 180.6 | 183 | 189.7 | 202 | 196.4 | 141.6 | 117.4 | 96.59 | 73.3 | 75.68 | 84.71 | 75.47 | 87.36 | 78.81 | 76.08 | 81.42 | 78.03 | 71.3 | 87.76 | 164.8 | 144.2 | 67.19 | 55.35 | 46.75 | 38.81 | 38.26 | 45.02 | 88.17 | 715 | 9999.9 | 9999.9 | 9999.9 | 188 | 41.73 | 27.05 | 18.71 | 15.67
425 | 100.5 | 117.7 | 177.7 | 170.7 | 137.8 | 147.1 | 134.5 | 165.8 | 115.1 | 107.3 | 133.8 | 58.46 | 106.4 | 99.45 | 161.8 | 139.8 | 177.4 | 212.1 | 193 | 149.9 | 110.4 | 86.04 | 74.25 | 68.04 | 66.07 | 71.29 | 89.22 | 87.33 | 84.54 | 81.23 | 80.7 | 68.11 | 64.01 | 80.88 | 145.2 | 99.83 | 59.76 | 44.04 | 30.21 | 31.52 | 32.73 | 39.99 | 87.91 | 713.5 | 9999.9 | 9999.9 | 9999.9 | 176.4 | 37.3 | 28.02 | 16.64
430 | 121.6 | 129.7 | 105 | 237.3 | 229 | 112.9 | 157.3 | 178.8 | 124.8 | 121.1 | 141.9 | 120.5 | 87.57 | 154.5 | 154.8 | 153.2 | 181.9 | 160.9 | 203.9 | 149.2 | 103.6 | 77.9 | 91.01 | 83.49 | 82.19 | 77.28 | 85.64 | 83.58 | 80.81 | 78.53 | 95.99 | 71.31 | 62.67 | 54.25 | 99.65 | 116.3 | 62.22 | 41.16 | 35.18 | 36.86 | 34.26 | 36.16 | 36.24 | 86.73 | 706 | 9999.9 | 9999.9 | 9999.9 | 174.8 | 37.52 | 25
435 | 105.3 | 105.4 | 144.2 | 219.5 | 322.7 | 167.8 | 155.4 | 183.7 | 118 | 74.23 | 110.6 | 107.3 | 115.5 | 94.25 | 139.2 | 147.5 | 175.2 | 150.4 | 154.5 | 117.8 | 97.87 | 89.78 | 77.24 | 84.5 | 88.45 | 80.17 | 83.83 | 65.9 | 73.5 | 85.24 | 77.66 | 79.06 | 68.09 | 67.39 | 61.14 | 93.31 | 105 | 63.05 | 38.15 | 32.54 | 30.96 | 31.87 | 33.76 | 37.44 | 83.89 | 713.6 | 9999.9 | 9999.9 | 9999.9 | 178.6 | 33.61
440 | 123.9 | 121.4 | 139.8 | 129.9 | 361.9 | 218.2 | 94.45 | 131.1 | 111.3 | 108.1 | 123.8 | 97.69 | 103.3 | 106.5 | 108.1 | 127.1 | 151 | 152.9 | 142 | 139.4 | 101.1 | 93.86 | 94.03 | 79.39 | 83.8 | 78.13 | 85.25 | 70.13 | 80.34 | 67.37 | 76.34 | 74.96 | 62.46 | 69.21 | 56.28 | 65.01 | 92.72 | 82.28 | 38.71 | 35.99 | 31.77 | 28.42 | 25.89 | 27.97 | 37.53 | 79.86 | 714.2 | 9999.9 | 9999.9 | 9999.9 | 154.6
445 | 105.5 | 113.2 | 131.5 | 129.1 | 241.4 | 386.5 | 159.5 | 116.8 | 165.4 | 142.5 | 95.33 | 88.43 | 133.6 | 134.4 | 130.1 | 137.4 | 169.7 | 119.1 | 141.9 | 102.3 | 107.1 | 77.47 | 77.65 | 70.89 | 59.79 | 62.95 | 83.4 | 80.78 | 83.6 | 78.58 | 81.08 | 72.02 | 69.91 | 60.24 | 65.98 | 45.76 | 68.6 | 91.06 | 67.1 | 36.16 | 29.25 | 29.48 | 26.37 | 24.03 | 29.65 | 32.61 | 75.81 | 707.5 | 9999.9 | 9999.9 | 9999.9
450 | 104.3 | 147.4 | 113.5 | 121.8 | 137.5 | 616.3 | 300.6 | 137.7 | 131.6 | 120.4 | 123.9 | 102.9 | 137.5 | 138 | 124.4 | 156.9 | 160.9 | 175.8 | 122.7 | 88.87 | 111.9 | 78.15 | 68.56 | 73.11 | 77.14 | 78.76 | 90.82 | 70.57 | 65.97 | 80.75 | 77.76 | 80.8 | 63.76 | 69.35 | 54.36 | 52.17 | 51.54 | 69.81 | 81.15 | 48.43 | 26.34 | 27.77 | 27.39 | 28.81 | 25.92 | 27.77 | 30.27 | 78.64 | 705.1 | 9999.9 | 9999.9
455 | 129 | 144.6 | 136.9 | 121.4 | 92.65 | 418.5 | 755.7 | 168.3 | 118 | 110.8 | 130.5 | 103.6 | 118.6 | 122.4 | 115.9 | 139.3 | 129.9 | 123.3 | 105 | 103.8 | 85.99 | 106.4 | 80.1 | 67.81 | 68.7 | 80.15 | 66.37 | 67.29 | 60.98 | 68.48 | 71.4 | 64.88 | 63.08 | 59.91 | 58.51 | 46.39 | 41.61 | 51.27 | 63.7 | 69.5 | 42.59 | 30.49 | 24.95 | 24.22 | 23.03 | 24.16 | 28.41 | 30 | 74.48 | 717 | 9999.9
460 | 116.8 | 103.8 | 131.9 | 159.7 | 111.2 | 165.3 | 1066 | 460.9 | 163.4 | 142.1 | 97.84 | 137.7 | 104.5 | 127 | 130.2 | 113.4 | 129.4 | 126 | 138.2 | 107.2 | 89.56 | 80.48 | 76.76 | 63.97 | 77.18 | 77.31 | 66.57 | 68.51 | 75.78 | 69.13 | 67.47 | 63.15 | 60.99 | 55.58 | 56.43 | 45.4 | 44.9 | 42.54 | 42.44 | 67.45 | 60.74 | 31.7 | 28.06 | 24.53 | 24.66 | 22.31 | 22.91 | 24.44 | 30.05 | 73.07 | 696.4
465 | 104.8 | 148.2 | 171 | 127.2 | 128 | 149.4 | 743.7 | 1424 | 195.3 | 121.8 | 129.4 | 111.5 | 122.1 | 110.6 | 127.9 | 155.8 | 134.9 | 90.89 | 126.3 | 89.75 | 70.62 | 63.26 | 71.22 | 62.99 | 65.84 | 70.97 | 62.41 | 56.5 | 75.93 | 66.55 | 70.55 | 61.22 | 62.31 | 53.23 | 61.79 | 41.68 | 42.47 | 47.01 | 36.94 | 46.15 | 62.3 | 54.21 | 26.31 | 24.8 | 24 | 23.41 | 22.06 | 22.3 | 23.49 | 28.55 | 73.05
470 | 137.4 | 156.1 | 117.5 | 135.9 | 133.4 | 143.1 | 262.9 | 1774 | 718.1 | 131.8 | 132.6 | 99.78 | 90.44 | 127.4 | 109.1 | 111.5 | 114.7 | 122.5 | 101.8 | 98.59 | 71.26 | 66.18 | 67.15 | 77.42 | 70.59 | 67.62 | 66.35 | 70.89 | 62.02 | 60.36 | 64.67 | 58.18 | 54.34 | 49.46 | 63.76 | 45.21 | 49.14 | 34.85 | 35.91 | 33.04 | 39.16 | 61.98 | 34.47 | 25.72 | 23.17 | 20.79 | 20.92 | 22.59 | 22.04 | 21.54 | 27.62
475 | 132.2 | 141 | 138.8 | 153.7 | 116.8 | 124.9 | 119.6 | 1224 | 1827 | 188.5 | 107.5 | 120 | 91.78 | 112.3 | 107.4 | 116.3 | 106.3 | 100.6 | 109.6 | 77.3 | 71.34 | 84.49 | 58.09 | 64.07 | 65.68 | 65.42 | 57.01 | 56.53 | 65.67 | 54.75 | 62.93 | 55.9 | 52.23 | 50.37 | 48 | 48.11 | 36.76 | 34.63 | 30.13 | 30.56 | 30.63 | 42.31 | 47.58 | 30.17 | 20.8 | 18.85 | 20.04 | 17.45 | 16.56 | 18.08 | 21.22
480 | 129.2 | 129.4 | 115.4 | 114.5 | 101.5 | 134.9 | 121.7 | 338.2 | 2270 | 910.5 | 92.2 | 89.98 | 112.1 | 110.7 | 112.3 | 95.92 | 127.9 | 107.4 | 88.78 | 78.34 | 64.49 | 71.56 | 57.68 | 49.12 | 69.82 | 53.37 | 51.67 | 55.54 | 50.1 | 52.57 | 54.95 | 53.22 | 52.61 | 45.56 | 40.33 | 42.49 | 36 | 31.34 | 30.22 | 27.18 | 24.74 | 31.92 | 47.58 | 40.3 | 22.5 | 16.35 | 17.66 | 17.16 | 17.86 | 20.18 | 16.93
485 | 125.5 | 136.1 | 143.7 | 106.1 | 102.4 | 110.5 | 128.3 | 195.2 | 1567 | 2200 | 171.2 | 89.64 | 131.5 | 115.8 | 81.88 | 78.66 | 127.8 | 87.26 | 76.06 | 88.17 | 91.24 | 67.38 | 58.9 | 54.22 | 47.81 | 53.52 | 53.47 | 49.33 | 63.64 | 53.34 | 49.74 | 57.5 | 51.87 | 50.25 | 38.95 | 37.03 | 40.57 | 32.68 | 29.67 | 29.21 | 25.11 | 23.49 | 33.56 | 43.76 | 33.3 | 19.9 | 16.58 | 14.41 | 16.88 | 16.05 | 15.79
490 | 98.91 | 121.6 | 121.9 | 122.6 | 110.7 | 113.5 | 122.8 | 124.6 | 474.1 | 2670 | 721 | 126.2 | 120.9 | 86.22 | 97.96 | 110.4 | 90.2 | 100.6 | 87.08 | 84.86 | 78.37 | 57.41 | 59.48 | 56.67 | 65.63 | 55.42 | 52.22 | 43.69 | 42.9 | 51.53 | 54.88 | 50.01 | 46.41 | 45.04 | 37.89 | 36.17 | 35.7 | 30.92 | 25.51 | 23.89 | 22.88 | 19.66 | 24.2 | 33.36 | 42.8 | 25.32 | 16.46 | 16.26 | 17.27 | 17.65 | 14.4
495 | 88.85 | 170.7 | 102.8 | 103.2 | 167.1 | 95.53 | 105.5 | 128 | 144.2 | 1860 | 2365 | 178.9 | 100 | 93.81 | 105.8 | 104.6 | 97.54 | 91.29 | 82.65 | 78.96 | 76.44 | 68.4 | 63.72 | 49.88 | 47.54 | 49.3 | 50.12 | 46.51 | 58.74 | 51.3 | 43.69 | 49.74 | 45.18 | 37.79 | 45.91 | 37.5 | 37.19 | 33.04 | 27.99 | 25.9 | 19.91 | 20.47 | 21.4 | 20.03 | 35.77 | 34.04 | 22.19 | 15.75 | 17.24 | 16.41 | 16.52
500 | 134.5 | 170.3 | 135.3 | 111.6 | 99.74 | 160 | 143.8 | 117.2 | 115.5 | 538.8 | 2978 | 680.8 | 93 | 100.7 | 96.15 | 92.69 | 81.37 | 77.14 | 95.18 | 76.56 | 63.17 | 56.31 | 51.99 | 48.85 | 53.9 | 45.72 | 45.67 | 47.32 | 45.83 | 43.9 | 47.59 | 45.03 | 45.07 | 48.17 | 35.68 | 35.06 | 35.13 | 30.26 | 22.95 | 26.4 | 18.79 | 18.68 | 17.16 | 19.17 | 25.65 | 37.32 | 25.82 | 20.27 | 15.54 | 18.5 | 14.19