## Sheet1
Report date: | 15:55:20, 04/09/2024
Sample: | 1
File name:
Run date: | 15:52:11, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/270.0 | 116.4
2 | 205.0/300.0 | 154.7
3 | 205.0/350.0 | 177.9
4 | 205.0/365.0 | 159.7
5 | 205.0/460.0 | 160.5
6 | 205.0/475.0 | 174.8
7 | 210.0/290.0 | 133.4
8 | 210.0/305.0 | 137.7
9 | 210.0/400.0 | 156.4
10 | 210.0/415.0 | 171.3
11 | 210.0/450.0 | 170.2
12 | 210.0/485.0 | 168.2
13 | 215.0/265.0 | 142.4
14 | 215.0/285.0 | 159
15 | 215.0/345.0 | 282.8
16 | 215.0/375.0 | 147.2
17 | 215.0/405.0 | 167.8
18 | 215.0/455.0 | 137.8
19 | 215.0/495.0 | 159
20 | 220.0/370.0 | 223.2
21 | 220.0/415.0 | 183.5
22 | 220.0/480.0 | 165.6
23 | 225.0/255.0 | 117.3
24 | 225.0/405.0 | 199.9
25 | 225.0/420.0 | 165.9
26 | 225.0/475.0 | 152.7
27 | 230.0/260.0 | 143.6
28 | 230.0/295.0 | 212.4
29 | 230.0/380.0 | 287.7
30 | 230.0/415.0 | 166.7
31 | 230.0/435.0 | 161.2
32 | 230.0/495.0 | 185.1
33 | 235.0/265.0 | 127.2
34 | 235.0/310.0 | 353.4
35 | 235.0/320.0 | 453.9
36 | 235.0/335.0 | 493.5
37 | 235.0/420.0 | 145.7
38 | 235.0/440.0 | 178.1
39 | 240.0/280.0 | 121.7
40 | 240.0/385.0 | 202.4
41 | 245.0/415.0 | 164.4
42 | 245.0/435.0 | 191.5
43 | 250.0/275.0 | 154.9
44 | 255.0/280.0 | 157.8
45 | 255.0/390.0 | 251.4
46 | 255.0/440.0 | 131.1
47 | 255.0/450.0 | 184.4
48 | 260.0/435.0 | 154.7
49 | 260.0/445.0 | 133.1
50 | 260.0/470.0 | 128.4
51 | 265.0/415.0 | 193.4
52 | 270.0/460.0 | 143
53 | 275.0/450.0 | 164.5
54 | 275.0/470.0 | 137.8
55 | 275.0/480.0 | 134.1
56 | 280.0/455.0 | 176.8
57 | 280.0/475.0 | 155.8
58 | 285.0/325.0 | 3058
59 | 285.0/440.0 | 203.8
60 | 285.0/460.0 | 159.1
61 | 285.0/485.0 | 121
62 | 290.0/260.0 | 78.84
63 | 290.0/450.0 | 168.9
64 | 290.0/495.0 | 120.1
65 | 295.0/465.0 | 141.9
66 | 300.0/460.0 | 137.4
67 | 300.0/495.0 | 103.6
68 | 310.0/270.0 | 52.47
69 | 310.0/410.0 | 142.6
70 | 315.0/255.0 | 49.62
71 | 315.0/265.0 | 49.96
72 | 315.0/355.0 | 283.1
73 | 315.0/395.0 | 143.8
74 | 315.0/405.0 | 137.6
75 | 315.0/445.0 | 112.5
76 | 315.0/460.0 | 98.62
77 | 315.0/490.0 | 75.61
78 | 320.0/360.0 | 255.8
79 | 320.0/420.0 | 144.2
80 | 320.0/435.0 | 122.1
81 | 320.0/485.0 | 78.11
82 | 325.0/365.0 | 269.7
83 | 325.0/385.0 | 136.8
84 | 325.0/400.0 | 144.5
85 | 325.0/440.0 | 116.1
86 | 325.0/450.0 | 111
87 | 325.0/465.0 | 96.46
88 | 325.0/480.0 | 81.7
89 | 330.0/270.0 | 35.25
90 | 330.0/285.0 | 48.58
91 | 330.0/375.0 | 236.7
92 | 330.0/390.0 | 132.7
93 | 330.0/405.0 | 143.7
94 | 330.0/445.0 | 114.3
95 | 330.0/490.0 | 75.66
96 | 335.0/280.0 | 35.23
97 | 335.0/380.0 | 255.2
98 | 335.0/400.0 | 135.4
99 | 335.0/415.0 | 132.9
100 | 335.0/425.0 | 134.4
101 | 335.0/470.0 | 89.47
102 | 340.0/265.0 | 30.54
103 | 340.0/385.0 | 239.4
104 | 340.0/410.0 | 130
105 | 340.0/435.0 | 135.1
106 | 340.0/465.0 | 96.9
107 | 340.0/485.0 | 79.2
108 | 345.0/255.0 | 32.3
109 | 345.0/275.0 | 32.94
110 | 345.0/390.0 | 220.3
111 | 345.0/420.0 | 117
112 | 345.0/470.0 | 96.12
113 | 350.0/400.0 | 210
114 | 350.0/445.0 | 112.1
115 | 350.0/490.0 | 72.96
116 | 355.0/385.0 | 82.22
117 | 355.0/405.0 | 192.4
118 | 355.0/455.0 | 99.62
119 | 360.0/290.0 | 28.26
120 | 360.0/310.0 | 33.38
121 | 360.0/320.0 | 36.25
122 | 360.0/410.0 | 187.7
123 | 360.0/445.0 | 102.8
124 | 360.0/465.0 | 91
125 | 365.0/275.0 | 28.7
126 | 365.0/415.0 | 180.1
127 | 370.0/295.0 | 29.16
128 | 370.0/315.0 | 30.96
129 | 370.0/425.0 | 167.5
130 | 370.0/465.0 | 86.71
131 | 370.0/485.0 | 67.47
132 | 375.0/260.0 | 26.84
133 | 375.0/275.0 | 25.67
134 | 375.0/290.0 | 22.73
135 | 375.0/430.0 | 160.2
136 | 380.0/265.0 | 24.46
137 | 380.0/320.0 | 23.52
138 | 380.0/440.0 | 130.3
139 | 385.0/270.0 | 24.39
140 | 385.0/295.0 | 21.52
141 | 385.0/305.0 | 19.86
142 | 385.0/445.0 | 122.5
143 | 390.0/260.0 | 24.05
144 | 390.0/290.0 | 17.44
145 | 390.0/450.0 | 102.9
146 | 395.0/255.0 | 21.16
147 | 395.0/295.0 | 16.83
148 | 395.0/330.0 | 18.01
149 | 395.0/455.0 | 81.69
150 | 400.0/285.0 | 18.7
151 | 400.0/340.0 | 19.02
152 | 400.0/465.0 | 81.52
153 | 405.0/290.0 | 19.71
154 | 405.0/470.0 | 65.3
155 | 410.0/295.0 | 18.86
156 | 410.0/335.0 | 16.99
157 | 410.0/355.0 | 19.15
158 | 415.0/270.0 | 18.39
159 | 415.0/310.0 | 15.15
160 | 415.0/485.0 | 50.41
161 | 420.0/260.0 | 16.41
162 | 420.0/275.0 | 15.73
163 | 420.0/300.0 | 16.72
164 | 420.0/335.0 | 14.2
165 | 420.0/365.0 | 18.99
166 | 420.0/375.0 | 17.92
167 | 420.0/490.0 | 46.5
168 | 425.0/305.0 | 15.27
169 | 425.0/340.0 | 12.99
170 | 425.0/355.0 | 12.29
171 | 430.0/290.0 | 15.96
172 | 430.0/315.0 | 16.82
173 | 430.0/370.0 | 14.1
174 | 430.0/460.0 | 30.36
175 | 435.0/285.0 | 14.27
176 | 435.0/335.0 | 12.68
177 | 435.0/375.0 | 14.99
178 | 440.0/265.0 | 12.85
179 | 440.0/300.0 | 14.12
180 | 440.0/315.0 | 16.13
181 | 440.0/325.0 | 15.52
182 | 440.0/350.0 | 13.01
183 | 440.0/370.0 | 13.08
184 | 440.0/485.0 | 21.26
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 129.3 | 123.2 | 84.61 | 135 | 147.3 | 110.2 | 113.7 | 102.5 | 118 | 3010 | 8181 | 2924 | 114.7 | 97.16 | 67.53 | 94.06 | 67.7 | 56.99 | 51.94 | 56.69 | 64.17 | 45.48 | 46.69 | 46.87 | 45.1 | 34.69 | 29.5 | 32.63 | 40.08 | 30.16 | 28.25 | 26.92 | 27.75 | 31.75 | 25.24 | 24.24 | 23.08 | 20.01 | 18.87 | 18.54 | 21.93 | 13.52 | 14.07 | 13.72 | 12.77 | 9.337 | 9 | 12.12 | 8.618 | 6.971 | 6.102
255 | 107.3 | 89.74 | 102.8 | 117.1 | 96.49 | 117.3 | 105.5 | 110.2 | 111.1 | 299 | 2568 | 9999.9 | 5578 | 237.2 | 87.34 | 77.95 | 72.53 | 89.98 | 50.99 | 54.54 | 55.5 | 42.69 | 39.05 | 49.62 | 30.22 | 29.25 | 29.37 | 31.28 | 30.4 | 32.3 | 23.28 | 18.63 | 25.99 | 25.13 | 25.33 | 22.45 | 20.71 | 17.51 | 20.14 | 21.16 | 19.36 | 13.29 | 14.08 | 14.19 | 15.06 | 12.49 | 12.08 | 12.45 | 8.213 | 7.971 | 7.076
260 | 106.8 | 95.94 | 102.9 | 93.83 | 85.54 | 93.96 | 143.6 | 108.5 | 137.5 | 136.8 | 260.5 | 3187 | 9999.9 | 6746 | 285.4 | 87.83 | 56.79 | 52.33 | 78.84 | 71.11 | 47.61 | 42.82 | 36.98 | 39.73 | 36.28 | 40.05 | 30.04 | 28.13 | 25.57 | 27.5 | 25.93 | 26.34 | 19.13 | 19.44 | 25.26 | 26.84 | 20.76 | 18.04 | 24.05 | 19.13 | 19.82 | 15.75 | 15.14 | 13.11 | 16.41 | 13.04 | 12.67 | 10.29 | 12.01 | 9.543 | 7.402
265 | 115 | 114.3 | 82.8 | 142.4 | 124.5 | 100.8 | 79.45 | 127.2 | 95.31 | 167.9 | 100.2 | 279.6 | 4472 | 9999.9 | 9999.9 | 358.5 | 83.76 | 90.93 | 60.35 | 62 | 53.52 | 47.38 | 49.59 | 49.96 | 34.61 | 41.11 | 26.48 | 27.5 | 30.54 | 28.36 | 26.37 | 19.01 | 23.05 | 24.36 | 20.27 | 19.23 | 24.46 | 22.46 | 18.91 | 14.29 | 17.24 | 15.52 | 16.52 | 13.55 | 12.77 | 13.72 | 12.38 | 9.817 | 12.85 | 10.78 | 7.337
270 | 99.01 | 116.4 | 90.14 | 104.9 | 104.3 | 71.74 | 96.89 | 107 | 114.8 | 114.5 | 146.3 | 97.79 | 372.4 | 5124 | 9999.9 | 9999.9 | 531.1 | 75.69 | 59.31 | 54.9 | 44.14 | 39.69 | 52.47 | 38.3 | 37.41 | 29.77 | 35.25 | 26.97 | 28.07 | 27.78 | 19.34 | 20.21 | 18.92 | 23.2 | 20.63 | 19.04 | 22.93 | 24.39 | 22.6 | 22.61 | 12.98 | 13.3 | 13.66 | 18.39 | 13.79 | 14.27 | 11.33 | 12.64 | 11.45 | 10.58 | 10.26
275 | 95.3 | 94.54 | 87.21 | 110 | 112 | 67.09 | 101 | 104.9 | 99.49 | 129.7 | 154.9 | 115.2 | 97.07 | 452.2 | 7396 | 9999.9 | 9999.9 | 554.3 | 71.17 | 87.07 | 50.09 | 57.68 | 41.67 | 35.37 | 35.75 | 29.09 | 32.58 | 27.01 | 24.55 | 32.94 | 19.73 | 23.42 | 20.06 | 28.7 | 15.61 | 25.67 | 17.78 | 20.1 | 19.85 | 20.22 | 14.05 | 13.31 | 12.54 | 15.22 | 15.73 | 13.29 | 12.62 | 12.74 | 11.32 | 9.804 | 10.98
280 | 78.14 | 113.8 | 92.55 | 145.2 | 108.7 | 101.1 | 109.7 | 98.89 | 121.7 | 92.94 | 98.31 | 157.8 | 136.9 | 110 | 595.1 | 9999.9 | 9999.9 | 9999.9 | 570.4 | 86.73 | 79.67 | 60.73 | 35.23 | 35.97 | 32.91 | 28.71 | 30.91 | 35.23 | 28.55 | 30.91 | 28.18 | 24.95 | 22.94 | 22.5 | 19.47 | 18.79 | 16.36 | 13.51 | 18.78 | 18.08 | 17.76 | 15.6 | 14.88 | 15.33 | 12.31 | 13.27 | 13.6 | 13.77 | 10.51 | 9.184 | 9.978
285 | 100.5 | 89.9 | 117.3 | 159 | 146.1 | 87.44 | 103.6 | 83.37 | 106.1 | 104.7 | 125.4 | 88.43 | 163.3 | 123.1 | 138.9 | 804.2 | 9999.9 | 9999.9 | 9999.9 | 678.9 | 95.4 | 62.15 | 47.06 | 44.84 | 45.65 | 39.62 | 48.58 | 24.42 | 29.97 | 23.57 | 26.1 | 25.17 | 23.3 | 20.34 | 21.13 | 21.5 | 19.96 | 18.36 | 16.1 | 14.77 | 18.7 | 15.53 | 17.59 | 13.08 | 11.7 | 13.59 | 13.67 | 14.27 | 10.67 | 8.859 | 10.46
290 | 81.1 | 109.9 | 133.4 | 98.03 | 102.5 | 144.9 | 174.5 | 116.5 | 119.4 | 133.4 | 129.9 | 94.45 | 170.2 | 234.9 | 245.3 | 302.9 | 1001 | 9999.9 | 9999.9 | 9999.9 | 645 | 76.08 | 74.61 | 49.35 | 46.68 | 36.77 | 41.89 | 41.38 | 39.91 | 31.85 | 27.45 | 24.01 | 28.26 | 22.49 | 20.78 | 22.73 | 22.27 | 15.78 | 17.44 | 16.41 | 16.77 | 19.71 | 17.52 | 13.4 | 14 | 12.46 | 15.96 | 12.93 | 13.29 | 11.39 | 11.1
295 | 73.77 | 125.4 | 110 | 133.9 | 154.7 | 172.9 | 212.4 | 166.8 | 186 | 124.2 | 151.3 | 139.2 | 193.2 | 300.2 | 468.6 | 484.7 | 584 | 1165 | 9999.9 | 9999.9 | 9999.9 | 703.8 | 99.96 | 62.9 | 51.72 | 46.26 | 47.81 | 35.24 | 36.35 | 33.81 | 21.24 | 23.41 | 22.67 | 21 | 29.16 | 19.17 | 19.73 | 21.52 | 15.52 | 16.83 | 15.96 | 14.55 | 18.86 | 17.71 | 12.97 | 11.93 | 12.78 | 13.31 | 10.98 | 12.25 | 9.482
300 | 107.6 | 154.7 | 127.8 | 111.8 | 121.9 | 206.9 | 181.7 | 277.9 | 169 | 174.5 | 138.4 | 160.4 | 268.2 | 444.1 | 681.8 | 913.3 | 934.5 | 893.8 | 1356 | 9999.9 | 9999.9 | 9999.9 | 705.3 | 80.59 | 65.83 | 47.51 | 50.41 | 38.9 | 34.67 | 33.15 | 26.22 | 22.45 | 25.05 | 20.99 | 24.43 | 17.39 | 20.55 | 18.3 | 14.61 | 12.49 | 13.07 | 11.54 | 14.05 | 13.05 | 16.72 | 12.69 | 11.94 | 11.81 | 14.12 | 12.86 | 12.53
305 | 142.7 | 118.2 | 137.7 | 135.9 | 132.7 | 258.4 | 249.6 | 325.5 | 183.3 | 214.6 | 212.4 | 209.9 | 347.1 | 487.7 | 809 | 1170 | 1407 | 1276 | 1242 | 1241 | 9999.9 | 9999.9 | 9999.9 | 618.5 | 82.95 | 69.23 | 44.84 | 47.01 | 39.36 | 36.58 | 32.06 | 29.32 | 27.64 | 17.98 | 22.58 | 17.13 | 18 | 19.86 | 19.27 | 15.1 | 13.91 | 15.03 | 15.76 | 12.85 | 15.06 | 15.27 | 15.12 | 10.91 | 11.81 | 9.725 | 15.32
310 | 113.6 | 113.1 | 121.3 | 121.5 | 204.5 | 335.2 | 334.7 | 353.4 | 279.8 | 213.6 | 194.6 | 225.6 | 354.7 | 599.1 | 899.3 | 1358 | 2024 | 1926 | 1486 | 937.1 | 1119 | 9999.9 | 9999.9 | 9999.9 | 716 | 79.96 | 60.74 | 50.16 | 43.49 | 34.43 | 35.43 | 31.17 | 33.38 | 30.13 | 20.65 | 20.11 | 17.6 | 17.07 | 16.28 | 14.08 | 11.73 | 11.16 | 11.23 | 15.15 | 13.21 | 12.33 | 15.21 | 14.19 | 11.66 | 11.16 | 12.38
315 | 129.4 | 121.7 | 136 | 150.5 | 166.8 | 304.6 | 332.3 | 311.6 | 223.9 | 219.3 | 203.8 | 278.6 | 515.9 | 706.1 | 1051 | 1664 | 2224 | 2402 | 2185 | 1184 | 601.3 | 893.9 | 9999.9 | 9999.9 | 9999.9 | 696.3 | 89.24 | 64.04 | 44.74 | 37.41 | 32.29 | 31 | 28.51 | 24.14 | 30.96 | 22.49 | 20.3 | 18.9 | 14.59 | 12.22 | 12.92 | 12.31 | 8.503 | 14.99 | 13.69 | 13.93 | 16.82 | 13.52 | 16.13 | 13.47 | 11.03
320 | 108.6 | 127.5 | 178 | 184 | 245.1 | 301.5 | 417.1 | 453.9 | 316.2 | 205.3 | 250.1 | 362.1 | 544.1 | 921.5 | 1238 | 1878 | 2431 | 2879 | 2482 | 1553 | 643.8 | 308.1 | 810 | 9999.9 | 9999.9 | 9999.9 | 639.9 | 71.4 | 58.71 | 49.68 | 40.03 | 30.35 | 36.25 | 25.67 | 26.41 | 18.06 | 23.52 | 16.73 | 17.13 | 14.27 | 14.01 | 12.87 | 11.74 | 11.24 | 10.86 | 12.14 | 16.73 | 13.33 | 13.85 | 12.71 | 10.78
325 | 140.8 | 99.69 | 155.7 | 165.2 | 225 | 344.4 | 442.2 | 416.7 | 299.1 | 236.5 | 267.9 | 313.9 | 631.6 | 963.3 | 1507 | 2008 | 2467 | 3058 | 2716 | 1840 | 773.5 | 325.6 | 215.7 | 794.2 | 9999.9 | 9999.9 | 9999.9 | 650.6 | 74.81 | 62.35 | 53.76 | 36.18 | 33.84 | 24.96 | 31.01 | 20.52 | 21.73 | 19.8 | 16.99 | 16.04 | 15.23 | 12.63 | 11.3 | 12.43 | 12.6 | 10.44 | 11.83 | 14.28 | 15.52 | 14.5 | 12.89
330 | 145.8 | 129.6 | 156.8 | 136.8 | 260.3 | 377.5 | 440.7 | 448.6 | 291.5 | 247 | 283.2 | 391.5 | 635.5 | 1038 | 1338 | 2357 | 2750 | 3053 | 2838 | 2001 | 953.3 | 321.8 | 180.2 | 171.2 | 771.4 | 9999.9 | 9999.9 | 9999.9 | 611.5 | 79.15 | 70.18 | 49.06 | 38.15 | 33.42 | 33.2 | 26.56 | 28.13 | 22.72 | 15.63 | 18.01 | 15.2 | 14.54 | 13.74 | 13.83 | 13.61 | 12.5 | 10.64 | 11.27 | 14.28 | 15.61 | 13.63
335 | 123.4 | 139.4 | 127.6 | 214.4 | 277.1 | 322.2 | 454.8 | 493.5 | 341.4 | 288.7 | 313.1 | 436.3 | 572.4 | 918.6 | 1651 | 2155 | 2832 | 3001 | 2789 | 1726 | 1049 | 432.4 | 152.3 | 119.2 | 149.4 | 788.3 | 9999.9 | 9999.9 | 9999.9 | 618.9 | 84.06 | 64.44 | 43.34 | 36.35 | 32.38 | 22.08 | 27.41 | 24.23 | 15.17 | 15.72 | 16.61 | 15.66 | 16.99 | 12.01 | 14.2 | 11.45 | 10.8 | 12.68 | 9.908 | 14.54 | 14.86
340 | 127 | 133.2 | 129.9 | 161.7 | 193.9 | 417 | 422.6 | 442.6 | 274.1 | 238 | 296.2 | 408.4 | 531.6 | 952.8 | 1354 | 2073 | 2742 | 2940 | 2565 | 1751 | 934.2 | 569.9 | 211.9 | 111.3 | 104 | 131.9 | 770.5 | 9999.9 | 9999.9 | 9999.9 | 589.6 | 75.88 | 59.16 | 47.06 | 35.35 | 27.66 | 29.47 | 27.16 | 21.4 | 16.06 | 19.02 | 15.26 | 10.68 | 12.88 | 12.49 | 12.99 | 11.49 | 11.78 | 8.969 | 10.79 | 14.05
345 | 101.1 | 141.7 | 159.7 | 282.8 | 234.5 | 322.5 | 372.5 | 442.2 | 258.1 | 246.2 | 246.4 | 415.6 | 534 | 936.5 | 1352 | 2035 | 2325 | 2630 | 2612 | 1633 | 821.2 | 481.7 | 328.8 | 143.5 | 96.37 | 83.98 | 129.8 | 769.9 | 9999.9 | 9999.9 | 9999.9 | 489.2 | 72.84 | 65.5 | 45.87 | 33.87 | 30.76 | 24.73 | 21.64 | 16.43 | 15.41 | 16.29 | 12.08 | 11.09 | 11.18 | 9.875 | 12.19 | 12.62 | 9.611 | 12.01 | 10.77
350 | 122.7 | 177.9 | 119.9 | 157.4 | 273.3 | 297.4 | 366.2 | 388.9 | 259.9 | 234.1 | 237 | 330.4 | 540.6 | 805.1 | 1185 | 1748 | 2053 | 2526 | 2297 | 1566 | 714.6 | 340.7 | 290.7 | 249.6 | 102.6 | 81.9 | 87.59 | 135.4 | 775.8 | 9999.9 | 9999.9 | 9999.9 | 515.9 | 74.2 | 53.83 | 44.54 | 33.66 | 26.79 | 22.39 | 19.68 | 19.41 | 16.25 | 13.98 | 13.22 | 13.72 | 10.6 | 9.495 | 11.2 | 13.01 | 12.05 | 9.551
355 | 116.2 | 135.1 | 124.3 | 141.1 | 212.6 | 284.2 | 359.9 | 309 | 270.2 | 209 | 283.9 | 303.9 | 452.5 | 641.1 | 992.4 | 1506 | 1988 | 2157 | 2051 | 1323 | 676.5 | 314 | 197.2 | 283.1 | 209.3 | 98.12 | 84.03 | 101 | 151.2 | 775.3 | 9999.9 | 9999.9 | 9999.9 | 485.7 | 89.08 | 60.27 | 42.24 | 32.4 | 24.99 | 18.4 | 19.3 | 16.97 | 19.15 | 14.2 | 11.17 | 12.29 | 11.06 | 11.71 | 9.859 | 11.22 | 10.63
360 | 114 | 153.5 | 148.8 | 163 | 206.3 | 254.6 | 339.8 | 291.2 | 229.2 | 223.2 | 208.8 | 321.5 | 380.9 | 600.2 | 844.6 | 1263 | 1662 | 1704 | 1827 | 1189 | 580.8 | 291.5 | 167 | 162.6 | 255.8 | 165.3 | 114.7 | 89.8 | 87.54 | 143 | 769.1 | 9999.9 | 9999.9 | 9999.9 | 463.3 | 76.03 | 52.32 | 42.08 | 30.17 | 17.71 | 14.04 | 19.2 | 15.67 | 16.69 | 13.75 | 10.39 | 11.99 | 11.43 | 12.87 | 10.17 | 8.577
365 | 139.3 | 159.7 | 115.4 | 97.5 | 198.1 | 239.5 | 307 | 275.7 | 207.7 | 205.8 | 208.8 | 242.2 | 414.7 | 501.3 | 765.2 | 1191 | 1438 | 1609 | 1446 | 1025 | 537.3 | 279.1 | 166.2 | 132.8 | 178.2 | 269.7 | 143.4 | 82.31 | 85.63 | 91.06 | 134.3 | 764.2 | 9999.9 | 9999.9 | 9999.9 | 427.4 | 66.28 | 52.14 | 37.37 | 24.61 | 22.05 | 23.24 | 16.98 | 15.08 | 18.99 | 12.02 | 12.18 | 12.49 | 12.47 | 10.57 | 10.98
370 | 113.9 | 106.5 | 122.4 | 125.8 | 223.2 | 189.9 | 217.4 | 264.8 | 224.8 | 180.7 | 161.2 | 207.1 | 322.7 | 501.8 | 689.5 | 869.3 | 1242 | 1320 | 1165 | 824.3 | 519.2 | 234.7 | 159.5 | 108.1 | 130.8 | 193.3 | 228.8 | 129 | 93.33 | 88.61 | 98.29 | 130.8 | 771.6 | 9999.9 | 9999.9 | 9999.9 | 387.8 | 67.65 | 45.87 | 30.65 | 23.91 | 21.94 | 19.89 | 18.23 | 16 | 12.15 | 14.1 | 11.33 | 13.08 | 11.97 | 11.04
375 | 80.42 | 117.3 | 143 | 147.2 | 138.8 | 182.2 | 235.1 | 215 | 161.7 | 145.7 | 176 | 166.2 | 301.9 | 393.3 | 527.8 | 741 | 1011 | 1084 | 1104 | 660.9 | 416.6 | 218.8 | 142.9 | 126.5 | 123.8 | 130.8 | 236.7 | 204.7 | 102.7 | 88.88 | 78.91 | 81.27 | 130.4 | 768.3 | 9999.9 | 9999.9 | 9999.9 | 371.4 | 61.16 | 44.74 | 28.59 | 20.63 | 19.2 | 15.65 | 17.92 | 17.19 | 12.1 | 14.99 | 11.52 | 9.128 | 9.555
380 | 129 | 133 | 130.1 | 144.9 | 161.8 | 167.8 | 287.7 | 154 | 154.6 | 158.1 | 214.8 | 198.3 | 240.4 | 366.3 | 455.4 | 654.8 | 840.6 | 898.3 | 910.6 | 624.3 | 339.6 | 195.4 | 138.3 | 144.8 | 126.4 | 115.8 | 145 | 255.2 | 188.3 | 101.7 | 86.34 | 70.73 | 78.52 | 113.5 | 784.5 | 9999.9 | 9999.9 | 9999.9 | 347.4 | 54.75 | 39.71 | 26.69 | 20.44 | 19.7 | 14.99 | 13.28 | 11.79 | 13.56 | 10.8 | 11.58 | 9.618
385 | 122.4 | 128.1 | 136.3 | 121.9 | 143.1 | 145.6 | 185.4 | 182.6 | 202.4 | 147.1 | 170.1 | 199.4 | 221.8 | 347.4 | 387.8 | 513.4 | 640.9 | 782.2 | 792.6 | 528.8 | 315.4 | 174.8 | 148.4 | 130.7 | 130 | 136.8 | 112.9 | 166 | 239.4 | 141.2 | 68.31 | 82.22 | 73.47 | 72.76 | 130.5 | 769 | 9999.9 | 9999.9 | 9999.9 | 299.6 | 52.43 | 40.43 | 31.59 | 19.84 | 15.37 | 15.4 | 15.88 | 14.71 | 11.9 | 10.37 | 9.087
390 | 94.09 | 121.1 | 151.8 | 126.2 | 120.5 | 111.1 | 203.8 | 194.5 | 158.4 | 149.1 | 162.7 | 251.4 | 165.4 | 229.7 | 325.9 | 491.7 | 613.6 | 629.6 | 621.3 | 485.6 | 258.6 | 186.9 | 149 | 139.1 | 118.2 | 129.2 | 132.7 | 127.4 | 156.3 | 220.3 | 113.9 | 73.81 | 80.96 | 71.67 | 73.2 | 120.9 | 758.2 | 9999.9 | 9999.9 | 9999.9 | 326.8 | 51.56 | 36.76 | 26.42 | 20.09 | 16.21 | 15.79 | 14.51 | 14.68 | 12.89 | 9.008
395 | 130.5 | 136.4 | 152.7 | 145.1 | 160.6 | 161.6 | 183.5 | 193 | 139.3 | 156.5 | 108.4 | 200.6 | 171 | 232.1 | 375 | 326.4 | 546.9 | 583.4 | 524.8 | 355.8 | 234.7 | 166.7 | 127.9 | 143.8 | 122.1 | 127.5 | 111.8 | 123.8 | 105.2 | 185.7 | 179.2 | 92.79 | 82.31 | 65.46 | 68.27 | 68.11 | 117.6 | 758.9 | 9999.9 | 9999.9 | 9999.9 | 253.2 | 44.64 | 34.87 | 25.63 | 19.46 | 15.87 | 16.35 | 12.83 | 13.96 | 11.77
400 | 144.1 | 135.3 | 156.4 | 144.8 | 153.4 | 140.9 | 155.5 | 133.8 | 132.5 | 140.7 | 121.1 | 129.1 | 150.7 | 211.5 | 271 | 377.6 | 409.9 | 453.3 | 451.1 | 283.2 | 233.2 | 140.6 | 149.1 | 114.5 | 140.8 | 144.5 | 118.1 | 135.4 | 117.8 | 121.8 | 210 | 163.1 | 82.84 | 75.44 | 68.41 | 59.58 | 59.5 | 103.5 | 742 | 9999.9 | 9999.9 | 9999.9 | 236.8 | 42.52 | 35.64 | 23.63 | 23.72 | 18.62 | 16.29 | 13.49 | 14.17
405 | 111 | 97.63 | 124.9 | 167.8 | 132.7 | 199.9 | 164 | 135 | 124.9 | 137.6 | 115.4 | 179 | 182.6 | 181.6 | 228.9 | 308.6 | 420.9 | 334.2 | 326.3 | 275.7 | 200.7 | 150 | 127.5 | 137.6 | 124 | 138.8 | 143.7 | 117.9 | 126.2 | 128 | 153.7 | 192.4 | 133.1 | 86.31 | 75.3 | 65.29 | 70.63 | 60.57 | 102.8 | 712.5 | 9999.9 | 9999.9 | 9999.9 | 251.9 | 43.8 | 32.88 | 21.72 | 19.6 | 16.26 | 14.08 | 11.99
410 | 116.6 | 87.38 | 116.6 | 116.8 | 115.8 | 180.8 | 157.1 | 136.5 | 138.7 | 132.5 | 121.5 | 130.3 | 161.4 | 177.1 | 209.3 | 210.7 | 270.4 | 337.8 | 303.6 | 246.1 | 190.5 | 129.8 | 142.6 | 131.8 | 116.2 | 117.1 | 117.3 | 107.2 | 130 | 116.3 | 109.7 | 141.3 | 187.7 | 115.6 | 72.64 | 67.22 | 65.29 | 58.84 | 57.46 | 95.81 | 722.9 | 9999.9 | 9999.9 | 9999.9 | 235.6 | 37.91 | 31.8 | 23.67 | 17.02 | 15.38 | 10.93
415 | 136.8 | 145.9 | 171.3 | 89.37 | 183.5 | 127.7 | 166.7 | 134.8 | 92.47 | 164.4 | 106.7 | 119.1 | 163.7 | 193.4 | 163.5 | 226.2 | 269.5 | 272.3 | 284.2 | 235.8 | 144.6 | 149.9 | 134.4 | 118.3 | 118.3 | 119.1 | 123.5 | 132.9 | 125.9 | 113.7 | 105 | 131.5 | 157.5 | 180.1 | 93.58 | 81.54 | 76.89 | 54.52 | 48.54 | 51.41 | 97.71 | 720.1 | 9999.9 | 9999.9 | 9999.9 | 225.3 | 47.05 | 30.42 | 20.13 | 18.53 | 11.46
420 | 119.4 | 122.1 | 156 | 114.6 | 93.21 | 165.9 | 130.4 | 145.7 | 120.1 | 135.7 | 107.2 | 154.7 | 170.7 | 171.3 | 166.6 | 192 | 235.1 | 206.9 | 204.1 | 201.7 | 132.2 | 129 | 119.5 | 124.7 | 144.2 | 124.2 | 104.9 | 125.1 | 111.7 | 117 | 111.1 | 108.2 | 114.8 | 176.8 | 142.2 | 86.22 | 71.79 | 49.99 | 49.31 | 44.52 | 46.79 | 88.53 | 714.1 | 9999.9 | 9999.9 | 9999.9 | 218.2 | 38.83 | 27.92 | 18.36 | 17.13
425 | 140.1 | 98.42 | 182.2 | 234.5 | 168.8 | 123.7 | 154 | 117.2 | 86.83 | 146.7 | 131.5 | 116.5 | 145.7 | 133.5 | 180.7 | 228.9 | 239.7 | 233.8 | 231.6 | 188.3 | 156.9 | 138.8 | 136.9 | 104.7 | 101.1 | 116.9 | 123.3 | 134.4 | 121.5 | 116.2 | 107.2 | 112.2 | 114 | 130.5 | 167.5 | 121.7 | 74.34 | 48.59 | 50.54 | 47.54 | 37.36 | 43.64 | 88.2 | 718.7 | 9999.9 | 9999.9 | 9999.9 | 193.1 | 38.04 | 27.36 | 19.06
430 | 116.7 | 119.3 | 133.7 | 255 | 214.9 | 101.9 | 157.7 | 141.7 | 153.4 | 170.7 | 164.6 | 118.9 | 111.8 | 120.2 | 153.4 | 163.7 | 203.1 | 228.1 | 195.5 | 165.2 | 122.8 | 107.5 | 113.1 | 113.3 | 113.3 | 111.5 | 108.5 | 122 | 113.2 | 113.7 | 111 | 106.4 | 103.5 | 96.14 | 121.2 | 160.2 | 92.14 | 61.41 | 52.38 | 42.02 | 40.06 | 39.99 | 39.19 | 86.77 | 709.4 | 9999.9 | 9999.9 | 9999.9 | 185.2 | 36.57 | 27.94
435 | 113.3 | 160.6 | 151.1 | 183.4 | 270.8 | 115.1 | 161.2 | 146.4 | 125.1 | 191.5 | 117.4 | 107.5 | 154.7 | 105.8 | 181.1 | 173.3 | 184.5 | 162.8 | 173.8 | 160.1 | 112.7 | 109.3 | 113.9 | 102.2 | 122.1 | 102.4 | 107.8 | 113.1 | 135.1 | 114.4 | 112.4 | 104.5 | 106 | 94.09 | 95.89 | 129.9 | 127.5 | 72.61 | 46.49 | 43.67 | 37.74 | 34.02 | 33.9 | 38.77 | 86.63 | 727.3 | 9999.9 | 9999.9 | 9999.9 | 190.2 | 35.79
440 | 138.3 | 106.8 | 144.2 | 118.7 | 386.4 | 244.1 | 130.9 | 178.1 | 110.1 | 131.3 | 103 | 131.1 | 113.7 | 127.5 | 120.8 | 155.8 | 199.8 | 203.8 | 178.9 | 150.9 | 110.5 | 105.1 | 102.7 | 110.8 | 111.2 | 116.1 | 96.7 | 114.2 | 105.3 | 110.6 | 105.4 | 101.9 | 92.76 | 94.35 | 95.52 | 95.89 | 130.3 | 114.3 | 64.66 | 45.36 | 40.59 | 39.4 | 36.31 | 29.72 | 38.26 | 86.24 | 715.2 | 9999.9 | 9999.9 | 9999.9 | 162.8
445 | 142.3 | 111.7 | 144 | 139.3 | 247.1 | 463 | 152.2 | 158.9 | 112.2 | 146.1 | 111.7 | 102.4 | 133.1 | 113.1 | 122.4 | 113.8 | 149.3 | 167.7 | 144.3 | 153.9 | 129 | 110.6 | 101.3 | 112.5 | 96.8 | 96.29 | 114.3 | 98.2 | 102.5 | 106.6 | 112.1 | 97.55 | 102.8 | 93.1 | 93.04 | 89.37 | 88.45 | 122.5 | 83.09 | 38.81 | 37.42 | 35.16 | 29.15 | 33.14 | 36.64 | 39.47 | 82.92 | 700.4 | 9999.9 | 9999.9 | 9999.9
450 | 108.8 | 130.3 | 170.2 | 131.9 | 161.7 | 653.3 | 307.2 | 171.9 | 169.6 | 152.8 | 123.9 | 184.4 | 102.4 | 111.9 | 123.2 | 164.5 | 154.8 | 132.8 | 168.9 | 138.8 | 130.8 | 112.6 | 97.5 | 95.26 | 105.7 | 111 | 86.82 | 94.03 | 102.2 | 107.4 | 110.7 | 87.43 | 98.13 | 88.45 | 81.11 | 69.06 | 68.74 | 83.33 | 102.9 | 62.53 | 40.91 | 34.26 | 34.15 | 31.92 | 29.04 | 30.39 | 37.32 | 82.64 | 717.1 | 9999.9 | 9999.9
455 | 124.9 | 120.7 | 134.1 | 137.8 | 130.5 | 402.6 | 825.6 | 200.3 | 175.9 | 148 | 157.9 | 129.5 | 132.7 | 132.5 | 132.3 | 155.3 | 176.8 | 138.5 | 142.5 | 112.5 | 103.7 | 111.1 | 94.08 | 92.42 | 100.6 | 95.18 | 89.04 | 90.35 | 90.19 | 102.5 | 95.31 | 99.62 | 83.43 | 90.52 | 88.61 | 75.91 | 66.87 | 71.37 | 79.89 | 81.69 | 46.46 | 37.61 | 34.34 | 32.69 | 28.39 | 30.03 | 25.66 | 33.35 | 82.64 | 724.2 | 9999.9
460 | 123.4 | 160.5 | 118.8 | 112 | 160.3 | 209.8 | 914.6 | 502.1 | 125.8 | 105.2 | 120.5 | 136.1 | 104.6 | 110.6 | 143 | 120.1 | 128.7 | 159.1 | 130.7 | 106.9 | 137.4 | 105 | 81.9 | 98.62 | 93.14 | 77.08 | 87.31 | 84.69 | 86.45 | 90.27 | 95.39 | 95.38 | 85.74 | 86.15 | 77.86 | 78.34 | 63.89 | 67.45 | 60.31 | 81.5 | 72.4 | 39.22 | 36.62 | 30.27 | 27.99 | 28.69 | 30.36 | 25.13 | 34.19 | 77.4 | 700.5
465 | 154.1 | 156.4 | 138.5 | 105.7 | 150.4 | 142.8 | 729 | 1359 | 186.2 | 149.4 | 148.1 | 148.6 | 104.5 | 110.8 | 126.2 | 133.5 | 142.8 | 140.4 | 134.3 | 141.9 | 99.72 | 93.95 | 79.69 | 83.98 | 83.16 | 96.46 | 81.72 | 86.04 | 96.9 | 95.38 | 88.48 | 77.93 | 91 | 75.64 | 86.71 | 78.42 | 66.85 | 51.64 | 46.25 | 50.38 | 81.52 | 54.72 | 33.96 | 32.42 | 29 | 28.19 | 23.37 | 26.12 | 26.2 | 30.87 | 76.58
470 | 117 | 149.8 | 140.2 | 122.7 | 154.6 | 127.8 | 243.2 | 1774 | 671.1 | 115.5 | 125.8 | 112.1 | 128.4 | 112.4 | 131.6 | 137.8 | 137.2 | 134.4 | 132 | 103.6 | 72.04 | 93.85 | 74.68 | 72.21 | 79.5 | 81.6 | 81.97 | 89.47 | 80.91 | 96.12 | 77.97 | 83.08 | 80.32 | 75.09 | 68.22 | 70.5 | 50.74 | 58.21 | 47.83 | 37.18 | 47.05 | 65.3 | 43.24 | 31.53 | 28.96 | 28.73 | 25.48 | 24.78 | 26.11 | 29.89 | 27.68
475 | 87.41 | 174.8 | 129.9 | 117.1 | 126.4 | 152.7 | 119.2 | 1079 | 1772 | 174.9 | 119.6 | 123.8 | 105.9 | 112.3 | 114.4 | 103.3 | 155.8 | 119.6 | 122.4 | 101.8 | 73.71 | 93.3 | 63.47 | 74.91 | 67.41 | 71.78 | 68.72 | 77.34 | 72.85 | 78.69 | 72.93 | 72 | 74.84 | 63.3 | 60.6 | 57.63 | 58.15 | 44.42 | 46.22 | 37.77 | 38.88 | 56.55 | 55.81 | 37.25 | 24.74 | 27.49 | 22.29 | 24.47 | 21.74 | 25.14 | 21.61
480 | 114.2 | 131.3 | 116.7 | 106.5 | 165.6 | 143 | 92.28 | 269.7 | 2402 | 791.6 | 129.9 | 109.8 | 122.5 | 93.78 | 116.1 | 134.1 | 107.3 | 118.1 | 111 | 104.3 | 91.38 | 70.53 | 76.6 | 64.06 | 68.98 | 81.7 | 66.32 | 57.19 | 68.91 | 74.16 | 68.35 | 67.38 | 73.18 | 72.16 | 66.84 | 62.7 | 52.89 | 48.97 | 39.51 | 35.87 | 30.49 | 34.25 | 53.58 | 44.46 | 28.32 | 24.8 | 22.22 | 21.66 | 19.9 | 22.67 | 18.38
485 | 136.4 | 150.3 | 168.2 | 151.6 | 134.2 | 100.7 | 117.2 | 168.7 | 1588 | 2207 | 211.9 | 129.4 | 120.8 | 122.9 | 115.6 | 95.69 | 116.1 | 121 | 101.6 | 97.62 | 81.85 | 78.5 | 61.63 | 72.81 | 78.11 | 59.82 | 57.25 | 67.27 | 79.2 | 64.37 | 64.46 | 65.47 | 65.74 | 54.96 | 67.47 | 54.54 | 50.7 | 41.55 | 39.75 | 38.18 | 30.99 | 33.78 | 34.8 | 50.41 | 37.51 | 24.16 | 26.43 | 18.4 | 21.26 | 19.86 | 18.89
490 | 152.7 | 99.86 | 133.1 | 130 | 130.7 | 144.2 | 158.7 | 92.58 | 358 | 2797 | 729.7 | 103.5 | 126 | 96.78 | 82.37 | 101.2 | 102.4 | 102 | 105.2 | 102.8 | 90.08 | 89.63 | 66.41 | 75.61 | 63.54 | 61.99 | 75.66 | 57.4 | 65.98 | 62.41 | 72.96 | 72.29 | 71.73 | 58.25 | 59.14 | 49.88 | 45.84 | 43.13 | 44.09 | 34.62 | 32.08 | 30.14 | 24.24 | 37.43 | 46.5 | 27.98 | 24.63 | 18.01 | 17.6 | 20.78 | 21.48
495 | 127.2 | 154.2 | 119.1 | 159 | 93.88 | 135.7 | 185.1 | 123.6 | 149.8 | 1743 | 2410 | 169.6 | 103.8 | 101.6 | 114.4 | 87.65 | 107.7 | 115.9 | 120.1 | 85.05 | 103.6 | 95.24 | 68.63 | 67.54 | 72.22 | 69.02 | 52.21 | 65.5 | 58.1 | 60.09 | 69.32 | 63.35 | 53.86 | 58.49 | 58.83 | 48.2 | 46.91 | 44.39 | 32.81 | 34.15 | 36.43 | 24.75 | 28.68 | 26.19 | 39.53 | 40.93 | 21.52 | 18.15 | 17.56 | 17.28 | 17.43
500 | 145.2 | 120.7 | 130.3 | 78.53 | 122.3 | 137.1 | 116.8 | 124.3 | 102.8 | 694.2 | 2918 | 639.5 | 100.7 | 97.34 | 126.5 | 96.11 | 106.8 | 116.8 | 83.87 | 90.96 | 75.83 | 80.25 | 59.02 | 55.3 | 65.37 | 62.55 | 59.66 | 61.67 | 60.33 | 54.55 | 64.15 | 55.17 | 58.69 | 60.7 | 55.09 | 44.79 | 48.82 | 43.57 | 34.77 | 29.24 | 35.17 | 24.83 | 22.28 | 24.52 | 28.23 | 41.76 | 31.07 | 23.48 | 18.64 | 15.87 | 20.41