## Sheet1
Report date: | 15:14:04, 04/09/2024
Sample: | 1
File name:
Run date: | 15:11:07, 04/09/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 450.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 250.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 12000 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/275.0 | 97.67
2 | 205.0/305.0 | 120.4
3 | 205.0/445.0 | 120.4
4 | 205.0/475.0 | 136.7
5 | 210.0/260.0 | 90.81
6 | 210.0/270.0 | 103.8
7 | 210.0/285.0 | 103.7
8 | 210.0/320.0 | 154.8
9 | 210.0/390.0 | 143
10 | 210.0/420.0 | 151.1
11 | 210.0/465.0 | 144.4
12 | 210.0/485.0 | 105.5
13 | 215.0/290.0 | 134.8
14 | 215.0/425.0 | 254.9
15 | 215.0/490.0 | 140.1
16 | 220.0/255.0 | 96.18
17 | 220.0/280.0 | 105.6
18 | 220.0/395.0 | 155.7
19 | 220.0/420.0 | 140.8
20 | 220.0/475.0 | 123.2
21 | 225.0/265.0 | 89.61
22 | 225.0/295.0 | 187.2
23 | 225.0/410.0 | 147.6
24 | 225.0/425.0 | 129.5
25 | 225.0/480.0 | 166.1
26 | 230.0/275.0 | 105.1
27 | 230.0/325.0 | 530.9
28 | 230.0/335.0 | 477.3
29 | 230.0/345.0 | 480.2
30 | 230.0/380.0 | 244.8
31 | 230.0/415.0 | 152.3
32 | 235.0/255.0 | 144
33 | 235.0/330.0 | 463.2
34 | 235.0/360.0 | 416.8
35 | 235.0/405.0 | 155.8
36 | 235.0/440.0 | 136.1
37 | 240.0/295.0 | 172.6
38 | 240.0/375.0 | 197.2
39 | 240.0/410.0 | 124.6
40 | 240.0/435.0 | 173
41 | 245.0/280.0 | 87.01
42 | 245.0/415.0 | 126.3
43 | 245.0/455.0 | 100.8
44 | 250.0/275.0 | 107.6
45 | 250.0/290.0 | 108.3
46 | 250.0/410.0 | 141.9
47 | 255.0/280.0 | 123.9
48 | 255.0/430.0 | 114.7
49 | 255.0/450.0 | 108.3
50 | 255.0/465.0 | 97.63
51 | 260.0/285.0 | 183.3
52 | 260.0/460.0 | 127.9
53 | 260.0/475.0 | 97.31
54 | 260.0/490.0 | 108
55 | 265.0/465.0 | 102.1
56 | 270.0/440.0 | 134.3
57 | 270.0/480.0 | 125.8
58 | 275.0/410.0 | 273.9
59 | 275.0/470.0 | 124.4
60 | 280.0/465.0 | 124.4
61 | 285.0/260.0 | 63.91
62 | 285.0/335.0 | 3068
63 | 285.0/420.0 | 221.7
64 | 285.0/445.0 | 136.1
65 | 285.0/475.0 | 119.6
66 | 285.0/490.0 | 100.1
67 | 290.0/465.0 | 112.7
68 | 295.0/460.0 | 104.6
69 | 295.0/480.0 | 93.5
70 | 300.0/490.0 | 72.89
71 | 310.0/265.0 | 36.67
72 | 310.0/465.0 | 66.67
73 | 315.0/355.0 | 231.2
74 | 315.0/390.0 | 87.16
75 | 315.0/430.0 | 72.68
76 | 315.0/455.0 | 65.54
77 | 315.0/490.0 | 47.88
78 | 320.0/360.0 | 245.6
79 | 320.0/380.0 | 76.48
80 | 320.0/400.0 | 72.76
81 | 320.0/475.0 | 67.97
82 | 325.0/365.0 | 208.5
83 | 325.0/395.0 | 68.52
84 | 325.0/435.0 | 78.81
85 | 325.0/455.0 | 62.32
86 | 325.0/490.0 | 52.97
87 | 330.0/280.0 | 29.08
88 | 330.0/375.0 | 196.4
89 | 330.0/420.0 | 71.96
90 | 330.0/460.0 | 62.17
91 | 330.0/480.0 | 51.37
92 | 335.0/255.0 | 28.74
93 | 335.0/270.0 | 27.12
94 | 335.0/290.0 | 30.55
95 | 335.0/380.0 | 202.9
96 | 335.0/445.0 | 66.18
97 | 335.0/485.0 | 50.01
98 | 340.0/265.0 | 27.27
99 | 340.0/385.0 | 207.2
100 | 340.0/410.0 | 65.45
101 | 340.0/430.0 | 66.64
102 | 340.0/450.0 | 70.6
103 | 345.0/275.0 | 34.1
104 | 345.0/295.0 | 30.23
105 | 345.0/390.0 | 184.1
106 | 345.0/435.0 | 65.81
107 | 345.0/455.0 | 64.67
108 | 350.0/285.0 | 20.6
109 | 350.0/395.0 | 157.2
110 | 350.0/450.0 | 60.81
111 | 350.0/490.0 | 44.83
112 | 355.0/405.0 | 156.3
113 | 355.0/445.0 | 59.44
114 | 355.0/470.0 | 47.7
115 | 360.0/275.0 | 25.6
116 | 360.0/410.0 | 142.8
117 | 360.0/440.0 | 56.16
118 | 360.0/475.0 | 46.06
119 | 365.0/255.0 | 23.75
120 | 365.0/270.0 | 22.73
121 | 365.0/295.0 | 19.48
122 | 365.0/305.0 | 21.12
123 | 365.0/415.0 | 156.2
124 | 365.0/455.0 | 52.09
125 | 370.0/280.0 | 22.15
126 | 370.0/425.0 | 138.7
127 | 370.0/490.0 | 36.36
128 | 375.0/260.0 | 26.14
129 | 375.0/290.0 | 21.55
130 | 375.0/325.0 | 26.23
131 | 375.0/430.0 | 113.9
132 | 375.0/480.0 | 40.5
133 | 380.0/255.0 | 23.6
134 | 380.0/340.0 | 27.66
135 | 380.0/435.0 | 107.1
136 | 385.0/270.0 | 20.74
137 | 385.0/305.0 | 14.88
138 | 385.0/330.0 | 19.24
139 | 385.0/445.0 | 86.23
140 | 390.0/275.0 | 19.62
141 | 390.0/285.0 | 15.95
142 | 390.0/450.0 | 76.43
143 | 395.0/280.0 | 20.75
144 | 395.0/305.0 | 12.37
145 | 395.0/320.0 | 15.8
146 | 395.0/455.0 | 63.85
147 | 400.0/285.0 | 14.05
148 | 400.0/330.0 | 15.27
149 | 405.0/260.0 | 16.26
150 | 405.0/290.0 | 15.71
151 | 405.0/315.0 | 12.35
152 | 405.0/340.0 | 15.44
153 | 405.0/470.0 | 47.75
154 | 410.0/265.0 | 14.92
155 | 410.0/310.0 | 12.74
156 | 410.0/325.0 | 10.74
157 | 410.0/335.0 | 12.8
158 | 410.0/345.0 | 13.08
159 | 410.0/450.0 | 22.19
160 | 410.0/475.0 | 47.39
161 | 415.0/275.0 | 15.11
162 | 415.0/295.0 | 16.41
163 | 415.0/485.0 | 36.93
164 | 420.0/270.0 | 13.01
165 | 420.0/305.0 | 14.59
166 | 420.0/330.0 | 11.35
167 | 420.0/490.0 | 36.17
168 | 425.0/290.0 | 13.05
169 | 430.0/255.0 | 13.2
170 | 430.0/310.0 | 13.6
171 | 430.0/355.0 | 11.91
172 | 435.0/290.0 | 11.02
173 | 435.0/315.0 | 12.31
174 | 435.0/475.0 | 22.08
175 | 440.0/275.0 | 11.11
176 | 440.0/320.0 | 13.77
177 | 440.0/350.0 | 8.929
178 | 440.0/385.0 | 11.08
179 | 445.0/300.0 | 12.07
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400 | 405 | 410 | 415 | 420 | 425 | 430 | 435 | 440 | 445 | 450
250 | 74.73 | 67.16 | 63.84 | 87.38 | 74.17 | 80.74 | 90.17 | 79.56 | 145.9 | 2936 | 9755 | 2722 | 87.5 | 53.91 | 61.79 | 73.95 | 48.06 | 48.89 | 52.51 | 48.42 | 45.15 | 43.84 | 30.31 | 25.15 | 23.27 | 31.56 | 22.96 | 24.47 | 24.41 | 20.29 | 16.6 | 14.76 | 24.42 | 22.65 | 21.09 | 18.47 | 16.61 | 15.27 | 19.03 | 16.11 | 14.31 | 12.33 | 11.53 | 10.86 | 12.32 | 9.574 | 7.206 | 7.116 | 5.839 | 5.055 | 4.471
255 | 68.8 | 108 | 80.14 | 72.74 | 96.18 | 76.71 | 92.98 | 144 | 101.5 | 278 | 2709 | 9999.9 | 5078 | 230.6 | 62.29 | 49.56 | 52.27 | 62.68 | 58.45 | 34.57 | 34.39 | 30.47 | 30.15 | 32.2 | 27.71 | 19.1 | 24.16 | 28.74 | 22.61 | 19.71 | 12.69 | 21.98 | 21.75 | 23.75 | 22.76 | 21.9 | 23.6 | 16.8 | 16.4 | 14.23 | 14.6 | 12.23 | 11.75 | 9.087 | 9.984 | 8.125 | 13.2 | 8.922 | 7.911 | 6.608 | 4.559
260 | 68.68 | 78.18 | 90.81 | 65.95 | 87.86 | 35.84 | 103.9 | 104.4 | 131.4 | 90.46 | 228.9 | 3227 | 9999.9 | 6804 | 262.6 | 54.75 | 56.58 | 63.91 | 40.07 | 44.76 | 39.74 | 37.44 | 35.89 | 35.76 | 25.99 | 27.32 | 19.87 | 19.89 | 19.38 | 20.2 | 18.41 | 17.55 | 19.3 | 18.96 | 19.29 | 26.14 | 19.74 | 15.35 | 17.69 | 13.94 | 13.36 | 16.26 | 11.6 | 10.74 | 10.05 | 12.07 | 11.59 | 9.582 | 6.996 | 7.26 | 6.477
265 | 66.47 | 84.92 | 58.85 | 75.81 | 85.36 | 89.61 | 83.99 | 65.25 | 90.87 | 120.8 | 104.5 | 289.5 | 4584 | 9999.9 | 9177 | 345.6 | 69.5 | 62.65 | 42.26 | 41.24 | 38.43 | 20.05 | 36.67 | 18.89 | 26.34 | 25.65 | 18.28 | 26.83 | 27.27 | 24.38 | 22 | 18.35 | 20.51 | 13.77 | 17.67 | 19.47 | 17.65 | 17.3 | 17.61 | 10.63 | 11.67 | 13.79 | 14.92 | 10.08 | 12.99 | 12.91 | 8.36 | 7.934 | 8.261 | 7.287 | 7.686
270 | 87.41 | 88.27 | 103.8 | 88.86 | 52.88 | 67.65 | 56.11 | 74.38 | 98.63 | 85.8 | 99.8 | 92.66 | 344.1 | 5795 | 9999.9 | 9999.9 | 439.1 | 66.07 | 60.7 | 46.47 | 52.83 | 44.59 | 33.7 | 36.47 | 22.6 | 27.62 | 22.83 | 27.12 | 22.62 | 23.72 | 17.47 | 17.49 | 14.35 | 22.73 | 20.83 | 15.93 | 17.81 | 20.74 | 16.72 | 14.63 | 13.44 | 11.59 | 13.37 | 7.862 | 13.01 | 11.36 | 9.931 | 9.471 | 10.23 | 8.563 | 6.926
275 | 87.59 | 97.67 | 63.32 | 81.01 | 79.5 | 75.95 | 105.1 | 78.94 | 67.6 | 84.64 | 107.6 | 80.87 | 121.3 | 449.4 | 7706 | 9999.9 | 9999.9 | 448.5 | 77.12 | 82.28 | 53.05 | 41.99 | 46.7 | 33.8 | 25.09 | 28.98 | 19.83 | 26.74 | 24.01 | 34.1 | 19.74 | 24.1 | 25.6 | 17.72 | 15.45 | 17.39 | 14.14 | 13.5 | 19.62 | 18.91 | 13.8 | 12.66 | 11.48 | 15.11 | 10.85 | 10.66 | 8.09 | 8.924 | 11.11 | 7.369 | 9.481
280 | 84.55 | 89 | 95.16 | 80.77 | 105.6 | 73.39 | 71.79 | 73.92 | 79.86 | 87.01 | 66 | 123.9 | 116.4 | 118.2 | 566.1 | 9999.9 | 9999.9 | 9999.9 | 472.9 | 65.33 | 54.71 | 52.02 | 30.9 | 34.7 | 30.16 | 27.48 | 29.08 | 23.02 | 22.57 | 22.7 | 20.36 | 20.74 | 20.92 | 17.49 | 22.15 | 12.54 | 13.14 | 14.27 | 13.71 | 20.75 | 13.61 | 14.17 | 9.627 | 11.54 | 11.84 | 10.9 | 9.529 | 9.868 | 10.56 | 8.933 | 8.369
285 | 69.38 | 91.26 | 103.7 | 93.2 | 66.07 | 132.6 | 111.7 | 109.1 | 90.37 | 78.13 | 68.74 | 91.25 | 183.3 | 120.7 | 137.1 | 773.7 | 9999.9 | 9999.9 | 9999.9 | 555 | 64.88 | 34.34 | 49.84 | 36.16 | 40.98 | 28.46 | 29.06 | 25.31 | 25.1 | 18.86 | 20.6 | 17.72 | 20.15 | 18.35 | 20.11 | 18.95 | 15.59 | 13.95 | 15.95 | 12.31 | 14.05 | 13.75 | 12.24 | 12.39 | 10.89 | 11.76 | 10.04 | 10.94 | 10.47 | 8.939 | 7.774
290 | 94.7 | 71.62 | 89.8 | 134.8 | 112 | 140.8 | 115.7 | 144 | 109.4 | 68.62 | 108.3 | 77.8 | 148.6 | 219.8 | 217.2 | 274.3 | 910.4 | 9999.9 | 9999.9 | 9999.9 | 535.3 | 67.55 | 54.77 | 38.67 | 39.32 | 33.55 | 27.65 | 30.55 | 26.9 | 21.94 | 17.35 | 19.59 | 12.63 | 17.49 | 16.08 | 21.55 | 14.39 | 14.48 | 13.88 | 11.03 | 11.81 | 15.71 | 14.03 | 9.967 | 10 | 13.05 | 9.874 | 11.02 | 10.81 | 10.96 | 8.947
295 | 52.5 | 60.63 | 62.67 | 107.4 | 111.2 | 187.2 | 138.2 | 157.9 | 172.6 | 120.8 | 102.5 | 96.51 | 147.2 | 254.4 | 380.2 | 397.1 | 576.9 | 1119 | 9999.9 | 9999.9 | 9999.9 | 586.6 | 65.2 | 44.85 | 43.86 | 30.59 | 23.31 | 25.41 | 20.57 | 30.23 | 19.19 | 21.61 | 15.87 | 19.48 | 16.57 | 16.69 | 15 | 11.85 | 12.07 | 9.265 | 10.5 | 12 | 15.41 | 16.41 | 10.31 | 10.46 | 10.13 | 9.737 | 10.39 | 9.425 | 7.821
300 | 92.99 | 79.04 | 102 | 105.1 | 116.1 | 154.8 | 185.6 | 214.7 | 156.9 | 109.6 | 80.71 | 155.7 | 222.8 | 306.4 | 612.1 | 832.2 | 887.7 | 876.7 | 1194 | 9999.9 | 9999.9 | 9999.9 | 574.7 | 74.34 | 55.92 | 40.82 | 33.63 | 34.53 | 27.18 | 24.75 | 18.24 | 22.17 | 20.08 | 18.09 | 18.48 | 17.47 | 13.16 | 10.2 | 9.778 | 11.88 | 10.35 | 9.996 | 9.972 | 15.59 | 11.72 | 9.848 | 10.52 | 9.054 | 10.88 | 12.07 | 8.547
305 | 86.96 | 120.4 | 105.4 | 109.3 | 176.9 | 229.8 | 258.8 | 264 | 161.2 | 131.7 | 174.1 | 173.8 | 258.8 | 438.5 | 744.6 | 1084 | 1279 | 1289 | 993.6 | 1228 | 9999.9 | 9999.9 | 9999.9 | 519.9 | 57.18 | 53.42 | 52.88 | 42.93 | 33.04 | 31.53 | 27.39 | 25.8 | 18.65 | 21.12 | 19.93 | 14.15 | 12.97 | 14.88 | 10.62 | 12.37 | 11.22 | 10.7 | 10.85 | 11.36 | 14.59 | 11.98 | 11.31 | 9.32 | 9.773 | 10.36 | 10.09
310 | 110.7 | 96.49 | 90.74 | 128.4 | 235.5 | 240.2 | 305.5 | 288.5 | 235.1 | 154.4 | 185.7 | 201.9 | 416.7 | 565.3 | 857.8 | 1317 | 1756 | 1757 | 1432 | 866.4 | 993.1 | 9999.9 | 9999.9 | 9999.9 | 550.7 | 72.78 | 63.57 | 43.92 | 36.02 | 38.85 | 25.27 | 27.3 | 20.8 | 18.92 | 20.69 | 17.08 | 14.32 | 12.71 | 10.52 | 11.74 | 10.94 | 11.41 | 12.74 | 11.15 | 11.87 | 12.33 | 13.6 | 9.436 | 10.27 | 9.04 | 10.35
315 | 113.2 | 135 | 116.5 | 169.4 | 182 | 306.3 | 425 | 350.9 | 259.9 | 224.4 | 257.5 | 344.1 | 491.9 | 767.6 | 1124 | 1570 | 2148 | 2268 | 2089 | 1241 | 553.2 | 860.4 | 9999.9 | 9999.9 | 9999.9 | 586.7 | 59.61 | 59.38 | 34.81 | 37.06 | 31.76 | 22.8 | 24.14 | 23.02 | 22.77 | 18.55 | 13.36 | 15.61 | 10.03 | 9.865 | 10.45 | 12.35 | 8.407 | 10.2 | 9.607 | 11.54 | 11.28 | 12.31 | 11.95 | 10.85 | 9.375
320 | 95.44 | 108.3 | 154.8 | 127.4 | 213 | 334.9 | 470.9 | 386.4 | 268 | 168.9 | 246.8 | 304.1 | 499 | 905 | 1349 | 1872 | 2588 | 2511 | 2442 | 1409 | 610.3 | 338.3 | 785.9 | 9999.9 | 9999.9 | 9999.9 | 501.3 | 66.87 | 60.61 | 45.91 | 39.21 | 27.33 | 25.81 | 18.39 | 22.79 | 24.39 | 18.13 | 13.64 | 14.69 | 15.8 | 9.817 | 11.4 | 9.082 | 10.29 | 10.42 | 9.822 | 10.47 | 11.72 | 13.77 | 10.04 | 9.79
325 | 95.57 | 81 | 118.6 | 169.6 | 225 | 405.8 | 530.9 | 402.3 | 271.3 | 215 | 292.2 | 332.6 | 542.3 | 958 | 1536 | 2035 | 2709 | 2591 | 2827 | 1698 | 725.8 | 313.1 | 155.6 | 777.1 | 9999.9 | 9999.9 | 9999.9 | 522.1 | 67.3 | 46.56 | 32.18 | 37.48 | 26.16 | 22.45 | 23.21 | 26.23 | 18.23 | 14.95 | 16.31 | 14.67 | 13.66 | 8.213 | 10.74 | 7.796 | 9.374 | 7.61 | 9.453 | 9.95 | 11 | 11.92 | 11.04
330 | 80.63 | 87.3 | 127.4 | 148 | 192.5 | 403.7 | 458.9 | 463.2 | 269.7 | 222.4 | 308.8 | 369.6 | 564.1 | 959.2 | 1419 | 2084 | 2784 | 2819 | 2759 | 1930 | 901.6 | 322.9 | 142.1 | 146.3 | 763.6 | 9999.9 | 9999.9 | 9999.9 | 473.3 | 69.75 | 44.32 | 37.23 | 30.62 | 25.34 | 20.71 | 20.33 | 17.68 | 19.24 | 15.8 | 11.81 | 15.27 | 10.89 | 9.368 | 9.973 | 11.35 | 8.128 | 10.26 | 8.266 | 10.3 | 10.5 | 11.61
335 | 140.4 | 109.3 | 120.6 | 163.7 | 261.8 | 365.4 | 477.3 | 432 | 311.5 | 231 | 302.2 | 409.2 | 566 | 971.5 | 1506 | 2080 | 2749 | 3068 | 2837 | 1839 | 985.1 | 400.2 | 136.1 | 70.05 | 125.1 | 755.2 | 9999.9 | 9999.9 | 9999.9 | 481.9 | 67.33 | 56.64 | 38.01 | 28.22 | 29.47 | 25.77 | 25 | 15.87 | 16.39 | 14.73 | 13.63 | 9.267 | 12.8 | 11.92 | 9.197 | 8.038 | 8.924 | 8.923 | 10.3 | 11.82 | 12.68
340 | 124.1 | 102.2 | 137.3 | 204.6 | 233.8 | 355.5 | 469.6 | 375.6 | 320 | 179.1 | 206.7 | 342.2 | 605.9 | 912.1 | 1370 | 1959 | 2659 | 2908 | 2649 | 1636 | 890.8 | 529.4 | 187 | 75.58 | 70.69 | 126.8 | 764.1 | 9999.9 | 9999.9 | 9999.9 | 490.8 | 65.7 | 52.53 | 33.03 | 29.85 | 21.04 | 27.66 | 22.92 | 14.83 | 13.34 | 15.31 | 15.44 | 10.68 | 11.97 | 7.896 | 7.785 | 8.237 | 9.156 | 9.436 | 9.542 | 10.62
345 | 95.12 | 116.4 | 119.5 | 132.6 | 225 | 316 | 480.2 | 386.4 | 215.3 | 224.6 | 240.4 | 335.6 | 541 | 864.4 | 1330 | 1923 | 2489 | 2787 | 2522 | 1577 | 761.2 | 447.8 | 299.8 | 95.13 | 72.29 | 74.77 | 134 | 728.7 | 9999.9 | 9999.9 | 9999.9 | 453.7 | 67.62 | 54.68 | 35.92 | 27.47 | 23.86 | 21.33 | 17.9 | 12.62 | 13.35 | 11.51 | 13.08 | 11.42 | 8.879 | 9.548 | 10.32 | 8.907 | 6.998 | 10.44 | 8.704
350 | 89.09 | 94.78 | 137.5 | 195.8 | 207 | 301.3 | 372.8 | 316.3 | 218 | 234.7 | 195.9 | 352.4 | 461.4 | 775.3 | 1124 | 1584 | 2221 | 2227 | 2316 | 1371 | 703.6 | 267.5 | 293.6 | 208.8 | 84.73 | 63.48 | 64.86 | 107.4 | 750.4 | 9999.9 | 9999.9 | 9999.9 | 420.7 | 63.9 | 54.89 | 40.51 | 34.26 | 20.04 | 19.85 | 16.52 | 12.71 | 13.14 | 10.18 | 8.341 | 9.997 | 9.724 | 11.4 | 7.48 | 8.929 | 7.957 | 7.185
355 | 111.8 | 127.3 | 133 | 178.6 | 168.2 | 303.7 | 323.7 | 318.3 | 207.6 | 159.4 | 222 | 264.1 | 487.2 | 622.1 | 1013 | 1540 | 2030 | 2179 | 2020 | 1286 | 634.3 | 255.2 | 144.6 | 231.2 | 164.8 | 78.43 | 59.04 | 57.59 | 120.1 | 743.5 | 9999.9 | 9999.9 | 9999.9 | 420.5 | 63.24 | 43.17 | 31.94 | 26.84 | 17.17 | 18.13 | 14.98 | 11.72 | 12.57 | 12.7 | 10.43 | 10.69 | 11.91 | 8.548 | 7.828 | 7.453 | 9.9
360 | 80.77 | 112.1 | 138.5 | 145 | 142 | 241.5 | 288.4 | 416.8 | 195.9 | 164.5 | 192.7 | 292.2 | 329.3 | 617.4 | 920.2 | 1266 | 1532 | 1786 | 1624 | 1133 | 525.3 | 228.1 | 101.1 | 118.2 | 245.6 | 137.8 | 64.41 | 60.8 | 74.16 | 119 | 749.6 | 9999.9 | 9999.9 | 9999.9 | 390 | 66.83 | 47.46 | 31.29 | 22.97 | 19.13 | 16.75 | 15.18 | 13.4 | 13.71 | 11.84 | 8.371 | 11.13 | 9.664 | 9.564 | 10.19 | 6.783
365 | 100 | 99.3 | 110.2 | 132.1 | 177.4 | 229.8 | 255.1 | 278.6 | 213.8 | 156.6 | 166.5 | 246.7 | 351.1 | 534.3 | 691 | 1089 | 1442 | 1458 | 1358 | 909.4 | 460.3 | 212.5 | 94.56 | 85.54 | 122.5 | 208.5 | 98.11 | 68.62 | 59.37 | 69.21 | 122.4 | 757.2 | 9999.9 | 9999.9 | 9999.9 | 368.7 | 61.23 | 44.36 | 30.55 | 23.07 | 16.61 | 16.34 | 12.09 | 12.28 | 10.66 | 9.783 | 10.28 | 7.931 | 7.966 | 9.339 | 10.66
370 | 76.8 | 131.6 | 95.48 | 125.3 | 161.8 | 222.9 | 232.2 | 208.9 | 168.7 | 121.8 | 159.8 | 196.6 | 312.9 | 432.3 | 689.7 | 935.5 | 1126 | 1339 | 1190 | 791.6 | 394 | 174.8 | 83.16 | 57.94 | 69.75 | 167.5 | 179.1 | 92.38 | 50.69 | 58.65 | 75.31 | 108.2 | 750.4 | 9999.9 | 9999.9 | 9999.9 | 317.7 | 51.15 | 46.15 | 25.19 | 22.69 | 21.5 | 14.85 | 14.8 | 13.92 | 10.49 | 9.319 | 7.832 | 7.502 | 8.313 | 10.14
375 | 85.3 | 80.84 | 78.53 | 136 | 117.2 | 164.3 | 193 | 178.8 | 197.2 | 139.5 | 175 | 199.7 | 248.4 | 445.9 | 486.6 | 761.8 | 935.1 | 993.7 | 1049 | 664.2 | 312.7 | 187.6 | 75.89 | 58.89 | 64.67 | 76.6 | 196.4 | 167.2 | 81.96 | 62.57 | 55.66 | 77.55 | 119.5 | 765.5 | 9999.9 | 9999.9 | 9999.9 | 309.1 | 53.38 | 34.8 | 23.25 | 18.8 | 17.55 | 14.17 | 12.85 | 12.47 | 9.68 | 10.16 | 9.089 | 9.233 | 8.864
380 | 109.7 | 81.44 | 101.3 | 107.7 | 135.5 | 196.2 | 244.8 | 173.8 | 162.7 | 115.4 | 155.6 | 172.6 | 217.8 | 298.9 | 457.1 | 571.8 | 770.1 | 796.2 | 794.6 | 512.3 | 292.2 | 147.7 | 77.58 | 68.5 | 76.48 | 69.5 | 99.57 | 202.9 | 138.8 | 56.2 | 52.36 | 62.7 | 56.25 | 126 | 771.7 | 9999.9 | 9999.9 | 9999.9 | 313.4 | 48.94 | 32.01 | 23.16 | 21.53 | 15.34 | 13.85 | 12.16 | 12.02 | 10.86 | 9.307 | 9.352 | 7.648
385 | 117.9 | 94.42 | 112.5 | 93.49 | 81.98 | 137.4 | 198.4 | 188.3 | 162 | 107.2 | 136.8 | 137.5 | 152.9 | 218.4 | 380.8 | 448.5 | 637.8 | 754.4 | 609.2 | 423 | 211.5 | 155.9 | 93.5 | 62.26 | 57.08 | 61.76 | 70.79 | 109 | 207.2 | 120.3 | 58.79 | 43.91 | 51.49 | 61.18 | 111.1 | 763.3 | 9999.9 | 9999.9 | 9999.9 | 244.1 | 42.99 | 34.8 | 25.61 | 18.17 | 14.82 | 12.28 | 11 | 9.792 | 11.08 | 8.038 | 6.246
390 | 87.01 | 98.41 | 143 | 112.1 | 144.5 | 129.6 | 138.2 | 142.4 | 138.8 | 124.6 | 84.83 | 128.4 | 184.3 | 195.2 | 312.5 | 451.3 | 577.6 | 572.6 | 531.4 | 364.8 | 191.7 | 119 | 70.03 | 87.16 | 67.84 | 63.53 | 53.22 | 64.68 | 136.1 | 184.1 | 90.18 | 51.32 | 46.31 | 50.39 | 63.55 | 112.1 | 738.4 | 9999.9 | 9999.9 | 9999.9 | 255.2 | 43.05 | 31.61 | 22.18 | 14.74 | 13.27 | 12.26 | 12.6 | 9.404 | 10.52 | 7.299
395 | 95.22 | 84.46 | 88.72 | 125.1 | 155.7 | 132.7 | 149.3 | 122.9 | 108.7 | 90.67 | 121.5 | 130.6 | 159 | 214.3 | 272.8 | 384.7 | 447 | 412.2 | 484.3 | 323 | 165.1 | 132.6 | 68.05 | 50.47 | 63.74 | 68.52 | 68.2 | 63.86 | 76.88 | 155.8 | 157.2 | 60.78 | 50.1 | 43.58 | 55.36 | 49.39 | 95.9 | 738.4 | 9999.9 | 9999.9 | 9999.9 | 235.4 | 43.75 | 31.1 | 24.16 | 12.1 | 13.15 | 11.39 | 12.18 | 10.2 | 6.749
400 | 104 | 121.5 | 99.15 | 80.66 | 138.7 | 70.72 | 137.8 | 134.8 | 132.3 | 120.6 | 102.9 | 134.8 | 138.6 | 189.2 | 252.5 | 272.2 | 350.6 | 378.4 | 387.4 | 237.9 | 155.5 | 92.89 | 70.3 | 71.66 | 72.76 | 68.06 | 61.79 | 62.23 | 55.29 | 76.01 | 154.9 | 130.7 | 54.83 | 45.29 | 44.31 | 43.85 | 57.06 | 89.3 | 721.5 | 9999.9 | 9999.9 | 9999.9 | 212 | 42.95 | 27.65 | 21.04 | 19.42 | 15.4 | 11.68 | 11.54 | 8.265
405 | 78.23 | 107.4 | 91.79 | 86.59 | 140.4 | 128.3 | 102.9 | 155.8 | 107.4 | 97.03 | 124.9 | 92.8 | 138.9 | 152.9 | 181.2 | 213.4 | 294.2 | 315.6 | 319.9 | 227.1 | 148.7 | 86.04 | 60.09 | 57.21 | 49.8 | 65.93 | 61.69 | 59.69 | 61.6 | 74.22 | 94.1 | 156.3 | 98.76 | 48.25 | 44.92 | 40.93 | 35.72 | 47.17 | 90.21 | 709.6 | 9999.9 | 9999.9 | 9999.9 | 225.7 | 36.33 | 28.32 | 19.21 | 18.8 | 13.39 | 13.53 | 10.13
410 | 122.8 | 154.4 | 118 | 92.89 | 127.4 | 147.6 | 118.5 | 108.7 | 124.6 | 92.19 | 141.9 | 109.4 | 129.5 | 143.6 | 174.6 | 273.9 | 226.4 | 294.4 | 250.5 | 211.4 | 122 | 95.43 | 72.09 | 70.63 | 47.92 | 58.02 | 62.83 | 61.21 | 65.45 | 62.88 | 56.98 | 99.95 | 142.8 | 83.96 | 39.14 | 46.97 | 38.92 | 39.8 | 41.9 | 84.89 | 701.8 | 9999.9 | 9999.9 | 9999.9 | 194.9 | 35.36 | 23.73 | 19.22 | 15.69 | 12.87 | 9.815
415 | 118.8 | 94.66 | 138.4 | 94.26 | 102.6 | 94.29 | 152.3 | 131.4 | 108.5 | 126.3 | 126 | 120.4 | 127.7 | 102.4 | 150.6 | 205.8 | 211.6 | 178.5 | 235.5 | 150.5 | 104.6 | 83.53 | 63.63 | 69.04 | 58.78 | 53.63 | 70.5 | 62.98 | 60.79 | 57 | 57.76 | 61.58 | 109.6 | 156.2 | 71.97 | 45.46 | 33.36 | 33.38 | 38.51 | 37.35 | 82.33 | 717.7 | 9999.9 | 9999.9 | 9999.9 | 193.2 | 37.58 | 26.1 | 20.8 | 13.59 | 14.12
420 | 110.2 | 94.23 | 151.1 | 131.3 | 140.8 | 122.4 | 119.7 | 94.9 | 98.98 | 91.66 | 121.8 | 103.5 | 94.22 | 102.2 | 131.3 | 177.8 | 194.3 | 221.7 | 178.5 | 113.3 | 96.9 | 96.52 | 83.56 | 71.67 | 67.78 | 62.56 | 71.96 | 68.98 | 63.97 | 51.36 | 56.46 | 55.87 | 62.29 | 134.5 | 120.3 | 51.74 | 42.03 | 38.01 | 33.58 | 31.86 | 36.88 | 79.22 | 719.9 | 9999.9 | 9999.9 | 9999.9 | 187.6 | 37.25 | 30.75 | 18.93 | 14.57
425 | 115.8 | 128.7 | 127.3 | 254.9 | 87.79 | 129.5 | 115.3 | 96.7 | 109.7 | 79.25 | 102.3 | 86.22 | 118.7 | 123.2 | 133.5 | 146.2 | 185.6 | 218.6 | 174.6 | 135 | 79.3 | 68.95 | 69.79 | 61.54 | 52.27 | 51.53 | 67.19 | 54.14 | 63.07 | 54.52 | 50.06 | 52.6 | 51.61 | 65.96 | 138.7 | 80.15 | 44.54 | 35.37 | 27.81 | 29.2 | 32.33 | 31.83 | 79.74 | 714.1 | 9999.9 | 9999.9 | 9999.9 | 174 | 31.58 | 22.32 | 16.22
430 | 90.72 | 126.3 | 122.1 | 208.6 | 124.3 | 87.33 | 90.29 | 92.11 | 147.9 | 96.32 | 109.1 | 114.7 | 100.9 | 98.21 | 116 | 135.4 | 187.7 | 139.3 | 159.6 | 104.8 | 91.36 | 61.98 | 58.46 | 72.68 | 50.27 | 62.92 | 62.29 | 63.4 | 66.64 | 62.6 | 56.97 | 55.72 | 49.48 | 51.81 | 81.49 | 113.9 | 66.97 | 32.12 | 25.88 | 29.41 | 26.38 | 27.44 | 33.16 | 74.47 | 706.5 | 9999.9 | 9999.9 | 9999.9 | 164.6 | 32.84 | 25.38
435 | 123 | 78.31 | 106.1 | 152.9 | 294.9 | 145.7 | 110 | 81.41 | 173 | 99.47 | 105.3 | 87.91 | 95.33 | 102.2 | 115.3 | 127.9 | 127.8 | 151.9 | 149.3 | 99.06 | 84.17 | 65.95 | 59.96 | 65.1 | 58.59 | 78.81 | 73.02 | 54.38 | 57.51 | 65.81 | 60.75 | 56.8 | 54.49 | 54.55 | 54.39 | 95.44 | 107.1 | 50.38 | 25.49 | 29.74 | 25.96 | 26.16 | 25.81 | 30.74 | 75.64 | 714.5 | 9999.9 | 9999.9 | 9999.9 | 172.4 | 29.7
440 | 94.09 | 88.79 | 69.29 | 97.65 | 388 | 258.8 | 99.39 | 136.1 | 122.5 | 112.8 | 84.41 | 111 | 115.7 | 118.4 | 134.3 | 123.6 | 152.4 | 124.4 | 144 | 119.9 | 71.55 | 62.02 | 48.01 | 60.41 | 69.73 | 70.47 | 63.85 | 58.9 | 58.8 | 59.1 | 56.15 | 54.46 | 56.16 | 48.89 | 53.39 | 53.63 | 89.35 | 81.2 | 33.6 | 27.67 | 22.84 | 24.11 | 22.81 | 27.91 | 33.56 | 73.27 | 712.1 | 9999.9 | 9999.9 | 9999.9 | 144.5
445 | 116.4 | 120.4 | 116.7 | 104.1 | 234.9 | 434.8 | 128.4 | 111.3 | 91.34 | 94.81 | 77.64 | 78.79 | 87.62 | 95.54 | 92.83 | 124.4 | 99.41 | 136.1 | 120.4 | 114.1 | 72.69 | 56.3 | 57.85 | 46.25 | 64.92 | 58.7 | 63.67 | 66.18 | 62.76 | 54.1 | 58.48 | 59.44 | 50.75 | 45.02 | 53.94 | 42.41 | 56.67 | 86.23 | 62.43 | 26.97 | 21.33 | 21.99 | 20.95 | 19.73 | 21.15 | 32.01 | 75.28 | 691.2 | 9999.9 | 9999.9 | 9999.9
450 | 94.29 | 115.4 | 99.19 | 107.9 | 124.4 | 590.9 | 380.5 | 106.2 | 77.38 | 81.14 | 106.3 | 108.3 | 102.9 | 98.56 | 98.53 | 119.9 | 112.2 | 113.8 | 113.1 | 86.45 | 68.09 | 61.67 | 56.95 | 61.32 | 61.14 | 60.03 | 52.98 | 57.62 | 70.6 | 58.36 | 60.81 | 56.56 | 52.17 | 43.99 | 44.34 | 33.6 | 40.07 | 51.68 | 76.43 | 41.33 | 26.83 | 21.06 | 22.19 | 21.85 | 18.26 | 23.45 | 30.33 | 75.31 | 707.2 | 9999.9 | 9999.9
455 | 114.4 | 91.24 | 84.98 | 107.9 | 107 | 434.4 | 913.1 | 115 | 86.9 | 100.8 | 81.98 | 87.38 | 99.61 | 83.52 | 76.05 | 99.91 | 82.17 | 110.3 | 112 | 94.34 | 67.43 | 62.87 | 64.62 | 65.54 | 49.69 | 62.32 | 49.96 | 59.48 | 50.58 | 64.67 | 52.17 | 43.61 | 51.06 | 52.09 | 51.79 | 36.88 | 33.91 | 28.99 | 53.53 | 63.85 | 31.21 | 21.43 | 21.93 | 22.17 | 20.26 | 21.36 | 24.69 | 27.03 | 74.03 | 714.5 | 9999.9
460 | 97.28 | 115.5 | 104.9 | 131.3 | 113.6 | 195 | 1015 | 460.8 | 136.8 | 85.1 | 90.9 | 93.45 | 127.9 | 82.24 | 93.26 | 86.3 | 107.6 | 95.31 | 89.12 | 104.6 | 68.08 | 68.92 | 66.17 | 57.5 | 54.42 | 53.36 | 62.17 | 48.4 | 55.9 | 60.95 | 53.18 | 46.26 | 49.86 | 42.72 | 45.08 | 37.11 | 37.83 | 29.34 | 32.3 | 60.48 | 55.47 | 26.17 | 20.47 | 19.87 | 18.01 | 21.36 | 20.69 | 22.28 | 25.39 | 74.45 | 693.8
465 | 141.9 | 79.2 | 144.4 | 143.8 | 131 | 112.3 | 648.9 | 1372 | 142.7 | 103.3 | 87.33 | 97.63 | 86.34 | 102.1 | 86.46 | 100.9 | 124.4 | 78.04 | 112.7 | 97.87 | 64.48 | 55.47 | 66.67 | 63.33 | 56.99 | 54.37 | 54.58 | 45.27 | 40.49 | 55.47 | 50.21 | 43.78 | 47.7 | 41.14 | 46.91 | 32.03 | 32.91 | 28.64 | 31.1 | 30.33 | 54.71 | 34.71 | 22.62 | 21.01 | 20.06 | 21.4 | 19.73 | 18.6 | 23.92 | 30.02 | 71.3
470 | 96.82 | 117.7 | 132.8 | 92.99 | 104 | 138.1 | 250.3 | 1744 | 704.2 | 93.98 | 97.35 | 97.19 | 90.61 | 84.5 | 114.5 | 124.4 | 109.7 | 88.19 | 105.1 | 87.94 | 67.45 | 65 | 63.06 | 49.95 | 53.75 | 51.81 | 50.13 | 43.22 | 44.49 | 50.62 | 42.65 | 47.7 | 44.41 | 44.38 | 40.38 | 35.91 | 31.5 | 28.83 | 24.85 | 24.38 | 35.94 | 47.75 | 36.79 | 21.97 | 15.94 | 20.77 | 18.11 | 18.94 | 17.62 | 21.72 | 26.01
475 | 121.5 | 136.7 | 91.53 | 102.4 | 123.2 | 103.9 | 135.3 | 1078 | 1768 | 174.6 | 94.32 | 62.05 | 97.31 | 81.59 | 93.13 | 117.9 | 115.5 | 119.6 | 81.09 | 84.34 | 74.41 | 55.26 | 34.95 | 54.95 | 67.97 | 45.91 | 44.99 | 48.19 | 51.42 | 51.59 | 42.33 | 40.98 | 46.06 | 36.95 | 40.98 | 32.85 | 28.38 | 30.06 | 23.95 | 22.76 | 22.49 | 43.22 | 47.39 | 24.46 | 17.17 | 19.04 | 17.53 | 22.08 | 18.29 | 17.75 | 18.83
480 | 107.5 | 88.77 | 80.52 | 119.6 | 102.8 | 166.1 | 90.51 | 296.6 | 2276 | 729.2 | 105.7 | 92.13 | 73.7 | 98.95 | 125.8 | 98.81 | 106.5 | 102.5 | 77.56 | 93.5 | 48.74 | 55.11 | 49.37 | 40.28 | 47.54 | 43.26 | 51.37 | 35.67 | 51.37 | 45 | 30.15 | 36.83 | 44.09 | 37.85 | 33.65 | 40.5 | 31.01 | 23.9 | 19.6 | 20.33 | 22.46 | 23.59 | 38.96 | 35.18 | 20.81 | 13.19 | 16.7 | 18.12 | 15.27 | 16 | 15.6
485 | 82.99 | 101.8 | 105.5 | 99.38 | 111.1 | 130.1 | 102.7 | 118.5 | 1506 | 2031 | 156.3 | 64.54 | 83.53 | 76.82 | 77.42 | 106.7 | 106.6 | 93.75 | 84.67 | 79.52 | 64.08 | 49.63 | 44.91 | 43.68 | 38.28 | 47.4 | 35.01 | 50.01 | 40.19 | 39.44 | 41.54 | 40.15 | 36.28 | 34.83 | 35.11 | 37.01 | 31.64 | 26.8 | 22.69 | 22.22 | 19.95 | 15.75 | 27.12 | 36.93 | 26.73 | 19.04 | 15.93 | 15.76 | 15.66 | 14.99 | 15.34
490 | 107.9 | 87.93 | 94.8 | 140.1 | 114 | 123.4 | 104.2 | 75.56 | 336 | 2942 | 794.8 | 78.6 | 108 | 103 | 85.53 | 90.37 | 81.66 | 100.1 | 75.66 | 66.56 | 72.89 | 45.91 | 45.22 | 47.88 | 40.76 | 52.97 | 49.04 | 41.89 | 42.82 | 44.48 | 44.83 | 34.11 | 38.72 | 33.79 | 36.36 | 33.75 | 24.31 | 27.46 | 20.75 | 20.54 | 20.25 | 18.01 | 17.24 | 33.35 | 36.17 | 20.38 | 17.44 | 16.09 | 13.12 | 15.04 | 14.68
495 | 90.88 | 104.9 | 74.89 | 126.8 | 115.5 | 121.5 | 92.57 | 86.62 | 125.5 | 1821 | 2094 | 162.3 | 77.29 | 82.05 | 85.68 | 86.83 | 104.3 | 96.06 | 80.5 | 64.01 | 59.87 | 43.41 | 55.84 | 40.8 | 43.09 | 37.49 | 44.56 | 40.76 | 42.21 | 36.31 | 39.59 | 26.35 | 28.85 | 30.86 | 36.18 | 31.99 | 28.27 | 20.48 | 18.32 | 20.41 | 14.69 | 15.35 | 15.27 | 19.69 | 30.06 | 31.37 | 20.93 | 18.1 | 13.07 | 16.32 | 14.26
500 | 98.84 | 76.68 | 91.91 | 105 | 104.4 | 125.9 | 105.4 | 78.15 | 100.2 | 554.1 | 3099 | 541.7 | 68.56 | 73.19 | 78.05 | 83.63 | 94.03 | 81.02 | 61.72 | 59.34 | 47.37 | 43.66 | 47.91 | 49.12 | 44.34 | 46.32 | 37.91 | 46.48 | 38.94 | 35.71 | 41.67 | 39.73 | 35.62 | 33.39 | 21.86 | 25.24 | 31.61 | 26.09 | 24.98 | 17.16 | 17.91 | 15.85 | 15.85 | 16.3 | 20.13 | 28.91 | 29.94 | 16.91 | 11.98 | 11.94 | 13.68